## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_503_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_503_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_503_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_503_0_node_6 | 20 | n |  | TRUE
4 | bus_MV_503_0_node_7 | 20 | n |  | TRUE
5 | bus_MV_503_0_node_8 | 20 | n |  | TRUE
6 | bus_MV_503_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_503_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_503_0_node_47 | 20 | n |  | TRUE
9 | bus_MV_503_0_node_9 | 20 | n |  | TRUE
10 | bus_MV_503_0_node_13 | 20 | n |  | TRUE
11 | bus_MV_503_0_node_60 | 20 | n |  | TRUE
12 | bus_MV_503_0_node_43 | 20 | n |  | TRUE
13 | bus_MV_503_0_node_46 | 20 | n |  | TRUE
14 | bus_MV_503_0_node_45 | 20 | n |  | TRUE
15 | bus_MV_503_0_node_10 | 20 | n |  | TRUE
16 | bus_MV_503_0_node_41 | 20 | n |  | TRUE
17 | bus_MV_503_0_node_42 | 20 | n |  | TRUE
18 | bus_MV_503_0_node_12 | 20 | n |  | TRUE
19 | bus_MV_503_0_node_11 | 20 | n |  | TRUE
20 | bus_MV_503_0_node_57 | 20 | n |  | TRUE
21 | bus_MV_503_0_node_37 | 20 | n |  | TRUE
22 | bus_MV_503_0_node_39 | 20 | n |  | TRUE
23 | bus_MV_503_0_node_36 | 20 | n |  | TRUE
24 | bus_MV_503_0_node_34 | 20 | n |  | TRUE
25 | bus_MV_503_0_node_40 | 20 | n |  | TRUE
26 | bus_MV_503_0_node_14 | 20 | n |  | TRUE
27 | bus_MV_503_0_node_15 | 20 | n |  | TRUE
28 | bus_MV_503_0_node_16 | 20 | n |  | TRUE
29 | bus_MV_503_0_node_58 | 20 | n |  | TRUE
30 | bus_MV_503_0_node_35 | 20 | n |  | TRUE
31 | bus_MV_503_0_node_56 | 20 | n |  | TRUE
32 | bus_MV_503_0_node_17 | 20 | n |  | TRUE
33 | bus_MV_503_0_node_18 | 20 | n |  | TRUE
34 | bus_MV_503_0_node_19 | 20 | n |  | TRUE
35 | bus_MV_503_0_node_20 | 20 | n |  | TRUE
36 | bus_MV_503_0_node_38 | 20 | n |  | TRUE
37 | bus_MV_503_0_node_21 | 20 | n |  | TRUE
38 | bus_MV_503_0_node_33 | 20 | n |  | TRUE
39 | bus_MV_503_0_node_22 | 20 | n |  | TRUE
40 | bus_MV_503_0_node_23 | 20 | n |  | TRUE
41 | bus_MV_503_0_node_28 | 20 | n |  | TRUE
42 | bus_MV_503_0_node_59 | 20 | n |  | TRUE
43 | bus_MV_503_0_node_52 | 20 | n |  | TRUE
44 | bus_MV_503_0_node_32 | 20 | n |  | TRUE
45 | bus_MV_503_0_node_24 | 20 | n |  | TRUE
46 | bus_MV_503_0_node_25 | 20 | n |  | TRUE
47 | bus_MV_503_0_node_26 | 20 | n |  | TRUE
48 | bus_MV_503_0_node_27 | 20 | n |  | TRUE
49 | bus_MV_503_0_node_55 | 20 | n |  | TRUE
50 | bus_MV_503_0_node_49 | 20 | n |  | TRUE
51 | bus_MV_503_0_node_53 | 20 | n |  | TRUE
52 | bus_MV_503_0_node_31 | 20 | n |  | TRUE
53 | bus_MV_503_0_node_29 | 20 | n |  | TRUE
54 | bus_MV_503_0_node_54 | 20 | n |  | TRUE
55 | bus_MV_503_0_node_50 | 20 | n |  | TRUE
56 | bus_MV_503_0_node_48 | 20 | n |  | TRUE
57 | bus_MV_503_0_node_51 | 20 | n |  | TRUE
58 | bus_HV_503_0_node_58 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_503_0_load_0 | 0 | 0.36489 | 0.17672 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_503_0_load_47 | 8 | 0.1132 | 0.054827 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_503_0_load_9 | 9 | 0.14589 | 0.070659 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_503_0_load_13 | 10 | 0.091537 | 0.044333 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_503_0_load_60 | 11 | 0.39839 | 0.19295 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_503_0_load_43 | 12 | 0.19433 | 0.094119 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_503_0_load_45 | 14 | 0.083771 | 0.040572 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_503_0_load_42 | 17 | 0.088513 | 0.042869 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_503_0_load_57 | 20 | 0.17653 | 0.085496 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_503_0_load_37 | 21 | 0.26355 | 0.12764 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_503_0_load_39 | 22 | 0.25028 | 0.12122 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_503_0_load_40 | 25 | 0.08349 | 0.040436 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_503_0_load_14 | 26 | 0.34357 | 0.1664 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_503_0_load_58 | 29 | 0.17762 | 0.086026 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_503_0_load_56 | 31 | 0.24326 | 0.11782 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_503_0_load_17 | 32 | 0.36471 | 0.17664 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_503_0_load_38 | 36 | 0.38485 | 0.18639 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_503_0_load_21 | 37 | 0.31671 | 0.15339 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_503_0_load_22 | 39 | 0.38345 | 0.18571 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_503_0_load_23 | 40 | 0.26665 | 0.12914 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_503_0_load_59 | 42 | 0.86276 | 0.41785 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_503_0_load_52 | 43 | 0.27763 | 0.13446 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_503_0_load_25 | 46 | 0.19889 | 0.096327 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_503_0_load_55 | 49 | 0.2921 | 0.14147 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_503_0_load_49 | 50 | 0.11698 | 0.056654 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_503_0_load_53 | 51 | 0.09968 | 0.048277 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_503_0_load_29 | 53 | 0.12046 | 0.058342 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_503_0_load_54 | 54 | 0.1132 | 0.054827 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_503_0_load_50 | 55 | 0.20018 | 0.096951 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_503_0_load_48 | 56 | 0.11156 | 0.054032 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_503_0_load_51 | 57 | 0.14448 | 0.069973 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_503_0_line_0 |  | 0 | 1 | 0.060595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_503_0_line_1 |  | 0 | 2 | 0.073075 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_503_0_line_2 |  | 1 | 3 | 0.45611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_503_0_line_3 |  | 1 | 4 | 0.50384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_503_0_line_4 |  | 2 | 5 | 0.25417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_503_0_line_5 |  | 3 | 10 | 0.12139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_503_0_line_6 |  | 4 | 11 | 0.056211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_503_0_line_7 |  | 5 | 12 | 0.027476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_503_0_line_8 |  | 6 | 7 | 0.30081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_503_0_line_9 |  | 6 | 8 | 0.063427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_503_0_line_10 |  | 7 | 9 | 0.00695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_503_0_line_11 |  | 8 | 13 | 0.011452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_503_0_line_12 |  | 9 | 15 | 0.058529 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_503_0_line_13 |  | 10 | 16 | 1.9237 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_503_0_line_14 |  | 11 | 14 | 0.084575 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_503_0_line_15 |  | 12 | 17 | 0.046205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_503_0_line_16 |  | 13 | 56 | 0.045403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_503_0_line_17 |  | 13 | 14 | 0.087371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_503_0_line_18 |  | 15 | 18 | 0.49453 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_503_0_line_19 |  | 16 | 25 | 0.031826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_503_0_line_20 |  | 18 | 22 | 0.088415 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_503_0_line_21 |  | 19 | 20 | 0.060425 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_503_0_line_22 |  | 19 | 21 | 0.34171 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_503_0_line_23 |  | 20 | 23 | 0.32179 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_503_0_line_24 |  | 21 | 24 | 0.024319 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_503_0_line_25 |  | 22 | 23 | 0.092797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_503_0_line_26 |  | 24 | 36 | 0.15234 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_503_0_line_27 |  | 26 | 27 | 0.027947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_503_0_line_28 |  | 27 | 28 | 1.0683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_503_0_line_29 |  | 27 | 29 | 0.93719 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_503_0_line_30 |  | 28 | 31 | 0.01368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_503_0_line_31 |  | 29 | 30 | 0.032967 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
32 | MV_503_0_line_32 |  | 30 | 52 | 0.5 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
33 | MV_503_0_line_33 |  | 32 | 33 | 0.039753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_503_0_line_34 |  | 33 | 34 | 0.74286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_503_0_line_35 |  | 34 | 35 | 0.63657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_503_0_line_36 |  | 34 | 36 | 0.063411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_503_0_line_37 |  | 35 | 37 | 0.16012 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_503_0_line_38 |  | 36 | 38 | 0.050835 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_503_0_line_39 |  | 38 | 44 | 0.28444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_503_0_line_40 |  | 39 | 40 | 0.039427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_503_0_line_41 |  | 40 | 41 | 0.038991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_503_0_line_42 |  | 40 | 42 | 0.18452 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_503_0_line_43 |  | 41 | 43 | 0.023717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_503_0_line_44 |  | 42 | 44 | 0.025356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_503_0_line_45 |  | 43 | 54 | 0.039096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_503_0_line_46 |  | 43 | 55 | 0.032343 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_503_0_line_47 |  | 44 | 53 | 0.17449 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
48 | MV_503_0_line_48 |  | 45 | 46 | 0.031716 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_503_0_line_49 |  | 45 | 47 | 0.46056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_503_0_line_50 |  | 46 | 48 | 0.14331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_503_0_line_51 |  | 47 | 49 | 0.026212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_503_0_line_52 |  | 48 | 50 | 0.027491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_503_0_line_53 |  | 49 | 51 | 0.011503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_503_0_line_54 |  | 51 | 57 | 0.024002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_503_0_line_55 |  | 52 | 53 | 0.017979 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
56 | MV_503_0_line_56 |  | 55 | 57 | 0.00052009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_503_0_trafo_58 | 25 MVA 110/20 kV | 58 | 29 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2676860.3304 | 1237372.0878
1 | 2676917.1854 | 1237392.3266
2 | 2676799.2786 | 1237331.7368
3 | 2677164.0748 | 1237303.4663
4 | 2677112.0391 | 1237716.6228
5 | 2676613.0633 | 1237277.3948
6 | 2676918.2362 | 1237764.955
7 | 2676706.2585 | 1237895.6718
8 | 2676952.3949 | 1237713.431
9 | 2676700.0114 | 1237892.589
10 | 2677153.7015 | 1237423.3929
11 | 2677063.9771 | 1237700.6324
12 | 2676587.1138 | 1237268.3651
13 | 2676959.0624 | 1237704.1303
14 | 2677005.1009 | 1237639.9155
15 | 2676672.7567 | 1237944.4177
16 | 2679046.0221 | 1237769.657
17 | 2676568.7476 | 1237225.9669
18 | 2676598.6584 | 1238326.8281
19 | 2676692.5874 | 1238804.3956
20 | 2676662.3617 | 1238759.185
21 | 2676418.9662 | 1239009.0784
22 | 2676551.6447 | 1238401.7076
23 | 2676502.0138 | 1238480.1895
24 | 2676394.9215 | 1239005.4332
25 | 2679071.2733 | 1237788.6561
26 | 2675687.1801 | 1237949.9824
27 | 2675677.7058 | 1237976.28
28 | 2675047.4193 | 1237856.5454
29 | 2676274.4152 | 1238698.9595
30 | 2676307.3875 | 1238701.4181
31 | 2675034.6046 | 1237851.6579
32 | 2676540.0092 | 1239327.9827
33 | 2676572.7675 | 1239306.8675
34 | 2676346.3822 | 1239213.0319
35 | 2676221.185 | 1239471.6268
36 | 2676346.288 | 1239149.7976
37 | 2676096.9078 | 1239572.5925
38 | 2676350.9632 | 1239099.1779
39 | 2675953.4317 | 1239226.1917
40 | 2675965.91 | 1239188.9342
41 | 2675971.5164 | 1239150.5813
42 | 2676147.5505 | 1239221.3851
43 | 2675949.1562 | 1239143.5905
44 | 2676163.042 | 1239201.2808
45 | 2675845.1452 | 1239411.6817
46 | 2675845.9224 | 1239443.3886
47 | 2675855.8406 | 1239128.176
48 | 2675848.3242 | 1239586.6779
49 | 2675881.7024 | 1239132.448
50 | 2675849.5166 | 1239614.1427
51 | 2675893.0513 | 1239134.3227
52 | 2676138.0919 | 1239024.7488
53 | 2676155.9907 | 1239026.9354
54 | 2675953.4203 | 1239104.7279
55 | 2675917.246 | 1239138.3193
56 | 2676951.883 | 1237661.6225
57 | 2675916.7328 | 1239138.2346
58 | 2676274.4152 | 1238698.9595

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98878 | -0.065277 | 0.36489 | 0.17672
1 | 0.98883 | -0.06572 | 0 | 0
2 | 0.98876 | -0.065062 | 0 | 0
3 | 0.98873 | -0.065074 | 0 | 0
4 | 0.98936 | -0.069723 | 0 | 0
5 | 0.98866 | -0.064249 | 0 | 0
6 | 0.98991 | -0.070907 | 0 | 0
7 | 0.99049 | -0.075581 | 0 | 0
8 | 0.98978 | -0.069904 | 0.1132 | 0.054827
9 | 0.99051 | -0.075688 | 0.14589 | 0.070659
10 | 0.9887 | -0.064849 | 0.091537 | 0.044333
11 | 0.98942 | -0.070145 | 0.39839 | 0.19295
12 | 0.98865 | -0.064348 | 0.19433 | 0.094119
13 | 0.98976 | -0.069738 | 0 | 0
14 | 0.98962 | -0.068577 | 0.083771 | 0.040572
15 | 0.99063 | -0.076684 | 0 | 0
16 | 0.98839 | -0.067147 | 0 | 0
17 | 0.98864 | -0.0643 | 0.088513 | 0.042869
18 | 0.99169 | -0.084883 | 0 | 0
19 | 0.99356 | -0.076101 | 0 | 0
20 | 0.99339 | -0.074824 | 0.17653 | 0.085496
21 | 0.99494 | -0.065238 | 0.26355 | 0.12764
22 | 0.99197 | -0.082557 | 0.25028 | 0.12122
23 | 0.9922 | -0.084334 | 0 | 0
24 | 0.99505 | -0.064388 | 0 | 0
25 | 0.98839 | -0.067116 | 0.08349 | 0.040436
26 | 0.99895 | -0.008695 | 0.34357 | 0.1664
27 | 0.99896 | -0.0088096 | 0 | 0
28 | 0.99863 | -0.0065834 | 0 | 0
29 | 1 | 0 | -7.1446 | -3.2898
30 | 0.99991 | -0.0017192 | 0 | 0
31 | 0.99863 | -0.0065436 | 0.24326 | 0.11782
32 | 0.99533 | -0.055701 | 0.36471 | 0.17664
33 | 0.99534 | -0.055875 | 0 | 0
34 | 0.99569 | -0.058681 | 0 | 0
35 | 0.99543 | -0.056563 | 0 | 0
36 | 0.99574 | -0.059062 | 0.38485 | 0.18639
37 | 0.99533 | -0.057183 | 0.31671 | 0.15339
38 | 0.99608 | -0.056472 | 0 | 0
39 | 0.99646 | -0.070293 | 0.38345 | 0.18571
40 | 0.99648 | -0.070474 | 0.26665 | 0.12914
41 | 0.99641 | -0.069846 | 0 | 0
42 | 0.99722 | -0.065438 | 0.86276 | 0.41785
43 | 0.99636 | -0.069463 | 0.27763 | 0.13446
44 | 0.99732 | -0.066305 | 0 | 0
45 | 0.99609 | -0.06731 | 0 | 0
46 | 0.99608 | -0.067199 | 0.19889 | 0.096327
47 | 0.99628 | -0.068761 | 0 | 0
48 | 0.99606 | -0.067018 | 0 | 0
49 | 0.99629 | -0.068834 | 0.2921 | 0.14147
50 | 0.99606 | -0.06698 | 0.11698 | 0.056654
51 | 0.9963 | -0.068906 | 0.09968 | 0.048277
52 | 0.99848 | -0.027744 | 0 | 0
53 | 0.99843 | -0.028679 | 0.12046 | 0.058342
54 | 0.99636 | -0.069411 | 0.1132 | 0.054827
55 | 0.99632 | -0.069089 | 0.20018 | 0.096951
56 | 0.98976 | -0.069677 | 0.11156 | 0.054032
57 | 0.99632 | -0.069084 | 0.14448 | 0.069973
58 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.64777 | -0.30498 | 0.64781 | 0.30357 | 3.5316e-05 | -0.0014041 | 0.020903 | 0.020885 | 0.020903 | 0.98878 | -0.065277 | 0.98883 | -0.06572 | 9.5013
1 | 0.28288 | 0.12825 | -0.28288 | -0.12996 | 8.04e-06 | -0.0017034 | 0.009068 | 0.0090887 | 0.0090887 | 0.98878 | -0.065277 | 0.98876 | -0.065062 | 4.1312
2 | 0.17508 | 0.068325 | -0.17506 | -0.078967 | 1.8722e-05 | -0.010642 | 0.0054865 | 0.005607 | 0.005607 | 0.98883 | -0.06572 | 0.98873 | -0.065074 | 2.5486
3 | -0.82288 | -0.3719 | 0.82335 | 0.36027 | 0.00046497 | -0.011631 | 0.026362 | 0.026223 | 0.026362 | 0.98883 | -0.06572 | 0.98936 | -0.069723 | 11.9829
4 | 0.28288 | 0.12996 | -0.28285 | -0.13588 | 2.8255e-05 | -0.005924 | 0.0090887 | 0.0091623 | 0.0091623 | 0.98876 | -0.065062 | 0.98866 | -0.064249 | 4.1647
5 | 0.17506 | 0.078967 | -0.17505 | -0.081799 | 5.1258e-06 | -0.0028317 | 0.005607 | 0.0056415 | 0.0056415 | 0.98873 | -0.065074 | 0.9887 | -0.064849 | 2.5643
6 | -0.82335 | -0.36027 | 0.8234 | 0.35897 | 5.1571e-05 | -0.0012985 | 0.026223 | 0.026207 | 0.026223 | 0.98936 | -0.069723 | 0.98942 | -0.070145 | 11.9195
7 | 0.28285 | 0.13588 | -0.28284 | -0.13591 | 4.1097e-06 | -2.9486e-05 | 0.0091623 | 0.0091627 | 0.0091627 | 0.98866 | -0.064249 | 0.98865 | -0.064348 | 4.3632
8 | -1.531 | -0.69667 | 1.532 | 0.68991 | 0.00096457 | -0.006756 | 0.049052 | 0.048967 | 0.049052 | 0.98991 | -0.070907 | 0.99049 | -0.075581 | 22.2963
9 | 1.531 | 0.69667 | -1.5308 | -0.69809 | 0.00020381 | -0.0014233 | 0.049052 | 0.04907 | 0.04907 | 0.98991 | -0.070907 | 0.98978 | -0.069904 | 22.3044
10 | -1.532 | -0.68991 | 1.532 | 0.68976 | 2.2246e-05 | -0.0001562 | 0.048967 | 0.048965 | 0.048967 | 0.99049 | -0.075581 | 0.99051 | -0.075688 | 22.2578
11 | 1.4176 | 0.64327 | -1.4176 | -0.64352 | 3.1518e-05 | -0.00025852 | 0.045402 | 0.045406 | 0.045406 | 0.98978 | -0.069904 | 0.98976 | -0.069738 | 20.6389
12 | -1.6779 | -0.76042 | 1.6781 | 0.75911 | 0.00022515 | -0.0013044 | 0.053688 | 0.053671 | 0.053688 | 0.99051 | -0.075688 | 0.99063 | -0.076684 | 24.4036
13 | 0.083515 | 0.037465 | -0.08349 | -0.039694 | 2.473e-05 | -0.0022288 | 0.0026725 | 0.0027 | 0.0027 | 0.9887 | -0.064849 | 0.98839 | -0.067147 | 1.2857
14 | -1.2218 | -0.55192 | 1.222 | 0.55196 | 0.00023055 | 4.5549e-05 | 0.039116 | 0.039115 | 0.039116 | 0.98942 | -0.070145 | 0.98962 | -0.068577 | 18.6265
15 | 0.088514 | 0.041791 | -0.088513 | -0.042869 | 5.0627e-07 | -0.0010781 | 0.0028581 | 0.0028717 | 0.0028717 | 0.98865 | -0.064348 | 0.98864 | -0.0643 | 1.3053
16 | 0.11156 | 0.05297 | -0.11156 | -0.054032 | 7.8932e-07 | -0.0010617 | 0.003602 | 0.0036154 | 0.0036154 | 0.98976 | -0.069738 | 0.98976 | -0.069677 | 1.6433
17 | 1.306 | 0.59055 | -1.3058 | -0.59254 | 0.00020396 | -0.0019828 | 0.041804 | 0.041829 | 0.041829 | 0.98976 | -0.069738 | 0.98962 | -0.068577 | 19.0131
18 | -1.6781 | -0.75911 | 1.68 | 0.74807 | 0.0018969 | -0.011037 | 0.053671 | 0.053533 | 0.053671 | 0.99063 | -0.076684 | 0.99169 | -0.084883 | 24.3961
19 | 0.08349 | 0.039694 | -0.08349 | -0.040436 | 3.1081e-07 | -0.00074225 | 0.0027 | 0.0027094 | 0.0027094 | 0.98839 | -0.067147 | 0.98839 | -0.067116 | 1.2315
20 | -1.68 | -0.74807 | 1.6805 | 0.74825 | 0.00045143 | 0.00017893 | 0.053533 | 0.053532 | 0.053533 | 0.99169 | -0.084883 | 0.99197 | -0.082557 | 25.4919
21 | 2.1103 | 0.95259 | -2.1099 | -0.95391 | 0.00036514 | -0.0013156 | 0.067271 | 0.067288 | 0.067288 | 0.99356 | -0.076101 | 0.99339 | -0.074824 | 30.5854
22 | -2.1103 | -0.95259 | 2.113 | 0.95391 | 0.0027549 | 0.0013224 | 0.067271 | 0.067266 | 0.067271 | 0.99356 | -0.076101 | 0.99494 | -0.065238 | 32.0337
23 | 1.9334 | 0.86841 | -1.9312 | -0.86743 | 0.002175 | 0.00098373 | 0.06159 | 0.061595 | 0.061595 | 0.99339 | -0.074824 | 0.9922 | -0.084334 | 29.3309
24 | -2.3766 | -1.0816 | 2.3768 | 1.0817 | 0.00024869 | 0.00012703 | 0.07576 | 0.075759 | 0.07576 | 0.99494 | -0.065238 | 0.99505 | -0.064388 | 36.076
25 | -1.9307 | -0.86947 | 1.9312 | 0.86743 | 0.0004702 | -0.0020412 | 0.061621 | 0.061595 | 0.061621 | 0.99197 | -0.082557 | 0.9922 | -0.084334 | 28.0095
26 | -2.3768 | -1.0817 | 2.3784 | 1.0825 | 0.0015577 | 0.00079553 | 0.075759 | 0.075757 | 0.075759 | 0.99505 | -0.064388 | 0.99574 | -0.059062 | 36.0758
27 | -0.34357 | -0.1664 | 0.34358 | 0.16574 | 4.5371e-06 | -0.00066452 | 0.011032 | 0.011023 | 0.011032 | 0.99895 | -0.008695 | 0.99896 | -0.0088096 | 5.0145
28 | 0.24335 | 0.092073 | -0.24327 | -0.11749 | 8.3604e-05 | -0.02542 | 0.0075187 | 0.0078093 | 0.0078093 | 0.99896 | -0.0088096 | 0.99863 | -0.0065834 | 3.5497
29 | -0.58693 | -0.25781 | 0.5875 | 0.25705 | 0.00057263 | -0.00075898 | 0.018525 | 0.018512 | 0.018525 | 0.99896 | -0.0088096 | 1 | 0 | 8.8214
30 | 0.24327 | 0.11749 | -0.24326 | -0.11782 | 1.1143e-06 | -0.0003254 | 0.0078093 | 0.0078134 | 0.0078134 | 0.99863 | -0.0065834 | 0.99863 | -0.0065436 | 3.5516
31 | 6.5431 | 3.0223 | -6.5426 | -3.023 | 0.00052235 | -0.00077974 | 0.20806 | 0.20807 | 0.20807 | 1 | 0 | 0.99991 | -0.0017192 | 49.4238
32 | 6.5426 | 3.023 | -6.5347 | -3.0348 | 0.0079318 | -0.011789 | 0.20807 | 0.20831 | 0.20831 | 0.99991 | -0.0017192 | 0.99848 | -0.027744 | 49.4788
33 | -0.36471 | -0.17664 | 0.36472 | 0.1757 | 7.3236e-06 | -0.00093815 | 0.011753 | 0.011741 | 0.011753 | 0.99533 | -0.055701 | 0.99534 | -0.055875 | 5.3423
34 | -0.36472 | -0.1757 | 0.36486 | 0.15816 | 0.00013421 | -0.017538 | 0.011741 | 0.011529 | 0.011741 | 0.99534 | -0.055875 | 0.99569 | -0.058681 | 5.337
35 | 0.31683 | 0.13818 | -0.31674 | -0.15322 | 8.6871e-05 | -0.015038 | 0.010021 | 0.010204 | 0.010204 | 0.99569 | -0.058681 | 0.99543 | -0.056563 | 4.6381
36 | -0.68168 | -0.29634 | 0.68172 | 0.29485 | 3.9283e-05 | -0.0014894 | 0.02155 | 0.021533 | 0.02155 | 0.99569 | -0.058681 | 0.99574 | -0.059062 | 9.7957
37 | 0.31674 | 0.15322 | -0.31671 | -0.15339 | 2.971e-05 | -0.00017078 | 0.010204 | 0.010206 | 0.010206 | 0.99543 | -0.056563 | 0.99533 | -0.057183 | 4.8601
38 | -3.4449 | -1.5637 | 3.446 | 1.5643 | 0.0010896 | 0.00062227 | 0.10968 | 0.10968 | 0.10968 | 0.99574 | -0.059062 | 0.99608 | -0.056472 | 52.2284
39 | -3.446 | -1.5643 | 3.4506 | 1.559 | 0.0045645 | -0.0053926 | 0.10968 | 0.1096 | 0.10968 | 0.99608 | -0.056472 | 0.99732 | -0.066305 | 49.854
40 | -0.38345 | -0.18571 | 0.38345 | 0.18478 | 8.011e-06 | -0.00093236 | 0.012343 | 0.012331 | 0.012343 | 0.99646 | -0.070293 | 0.99648 | -0.070474 | 5.6103
41 | 1.4435 | 0.67867 | -1.4434 | -0.67957 | 0.00011117 | -0.00089137 | 0.046208 | 0.046219 | 0.046219 | 0.99648 | -0.070474 | 0.99641 | -0.069846 | 21.0087
42 | -2.0936 | -0.9926 | 2.095 | 0.99331 | 0.001481 | 0.00070879 | 0.067121 | 0.067118 | 0.067121 | 0.99648 | -0.070474 | 0.99722 | -0.065438 | 31.9624
43 | 1.4434 | 0.67957 | -1.4433 | -0.68011 | 6.7648e-05 | -0.00054212 | 0.046219 | 0.046226 | 0.046226 | 0.99641 | -0.069846 | 0.99636 | -0.069463 | 21.0119
44 | -2.9578 | -1.4112 | 2.9581 | 1.4106 | 0.00030462 | -0.00051174 | 0.094868 | 0.09486 | 0.094868 | 0.99722 | -0.065438 | 0.99732 | -0.066305 | 43.1217
45 | 0.1132 | 0.053901 | -0.1132 | -0.054827 | 6.9095e-07 | -0.00092647 | 0.0036327 | 0.0036443 | 0.0036443 | 0.99636 | -0.069463 | 0.99636 | -0.069411 | 1.6565
46 | 1.0524 | 0.49175 | -1.0524 | -0.4925 | 4.8924e-05 | -0.00075206 | 0.033657 | 0.033666 | 0.033666 | 0.99636 | -0.069463 | 0.99632 | -0.069089 | 15.3028
47 | -6.4087 | -2.9696 | 6.4139 | 2.9769 | 0.0051987 | 0.0073018 | 0.20445 | 0.20444 | 0.20445 | 0.99732 | -0.066305 | 0.99843 | -0.028679 | 49.8653
48 | 0.31588 | 0.14819 | -0.31587 | -0.14894 | 4.3331e-06 | -0.00075006 | 0.010112 | 0.010121 | 0.010121 | 0.99609 | -0.06731 | 0.99608 | -0.067199 | 4.6004
49 | -0.31588 | -0.14819 | 0.31594 | 0.13729 | 6.2045e-05 | -0.010894 | 0.010112 | 0.0099814 | 0.010112 | 0.99609 | -0.06731 | 0.99628 | -0.068761 | 4.5962
50 | 0.11698 | 0.052609 | -0.11698 | -0.056003 | 2.6728e-06 | -0.003394 | 0.0037173 | 0.0037587 | 0.0037587 | 0.99608 | -0.067199 | 0.99606 | -0.067018 | 1.7085
51 | -0.31594 | -0.13729 | 0.31594 | 0.13667 | 3.4838e-06 | -0.00062017 | 0.0099814 | 0.0099742 | 0.0099814 | 0.99628 | -0.068761 | 0.99629 | -0.068834 | 4.537
52 | 0.11698 | 0.056003 | -0.11698 | -0.056654 | 5.1962e-07 | -0.00065105 | 0.0037587 | 0.0037669 | 0.0037669 | 0.99606 | -0.067018 | 0.99606 | -0.06698 | 1.7122
53 | -0.60804 | -0.27814 | 0.60805 | 0.27787 | 5.7629e-06 | -0.0002709 | 0.019374 | 0.019371 | 0.019374 | 0.99629 | -0.068834 | 0.9963 | -0.068906 | 8.8063
54 | -0.70773 | -0.32615 | 0.70774 | 0.32559 | 1.6331e-05 | -0.00056402 | 0.022579 | 0.022572 | 0.022579 | 0.9963 | -0.068906 | 0.99632 | -0.069084 | 10.2632
55 | 6.5347 | 3.0348 | -6.5344 | -3.0352 | 0.00028554 | -0.00042258 | 0.20831 | 0.20831 | 0.20831 | 0.99848 | -0.027744 | 0.99843 | -0.028679 | 49.4808
56 | 0.85222 | 0.39555 | -0.85222 | -0.39556 | 5.1451e-07 | -1.2174e-05 | 0.027222 | 0.027223 | 0.027223 | 0.99632 | -0.069089 | 0.99632 | -0.069084 | 12.3739

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.3222 | 3.3758

## res_load
| p_mw | q_mvar
0 | 0.36489 | 0.17672
1 | 0.1132 | 0.054827
2 | 0.14589 | 0.070659
3 | 0.091537 | 0.044333
4 | 0.39839 | 0.19295
5 | 0.19433 | 0.094119
6 | 0.083771 | 0.040572
7 | 0.088513 | 0.042869
8 | 0.17653 | 0.085496
9 | 0.26355 | 0.12764
10 | 0.25028 | 0.12122
11 | 0.08349 | 0.040436
12 | 0.34357 | 0.1664
13 | 0.17762 | 0.086026
14 | 0.24326 | 0.11782
15 | 0.36471 | 0.17664
16 | 0.38485 | 0.18639
17 | 0.31671 | 0.15339
18 | 0.38345 | 0.18571
19 | 0.26665 | 0.12914
20 | 0.86276 | 0.41785
21 | 0.27763 | 0.13446
22 | 0.19889 | 0.096327
23 | 0.2921 | 0.14147
24 | 0.11698 | 0.056654
25 | 0.09968 | 0.048277
26 | 0.12046 | 0.058342
27 | 0.1132 | 0.054827
28 | 0.20018 | 0.096951
29 | 0.11156 | 0.054032
30 | 0.14448 | 0.069973

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1