## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_511_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_511_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_511_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_511_0_node_73 | 20 | n |  | TRUE
4 | bus_MV_511_0_node_72 | 20 | n |  | TRUE
5 | bus_MV_511_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_511_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_511_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_511_0_node_11 | 20 | n |  | TRUE
9 | bus_MV_511_0_node_12 | 20 | n |  | TRUE
10 | bus_MV_511_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_511_0_node_10 | 20 | n |  | TRUE
12 | bus_MV_511_0_node_79 | 20 | n |  | TRUE
13 | bus_MV_511_0_node_7 | 20 | n |  | TRUE
14 | bus_MV_511_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_511_0_node_45 | 20 | n |  | TRUE
16 | bus_MV_511_0_node_8 | 20 | n |  | TRUE
17 | bus_MV_511_0_node_16 | 20 | n |  | TRUE
18 | bus_MV_511_0_node_17 | 20 | n |  | TRUE
19 | bus_MV_511_0_node_66 | 20 | n |  | TRUE
20 | bus_MV_511_0_node_102 | 20 | n |  | TRUE
21 | bus_MV_511_0_node_14 | 20 | n |  | TRUE
22 | bus_MV_511_0_node_13 | 20 | n |  | TRUE
23 | bus_MV_511_0_node_95 | 20 | n |  | TRUE
24 | bus_MV_511_0_node_92 | 20 | n |  | TRUE
25 | bus_MV_511_0_node_74 | 20 | n |  | TRUE
26 | bus_MV_511_0_node_65 | 20 | n |  | TRUE
27 | bus_MV_511_0_node_15 | 20 | n |  | TRUE
28 | bus_MV_511_0_node_103 | 20 | n |  | TRUE
29 | bus_MV_511_0_node_96 | 20 | n |  | TRUE
30 | bus_MV_511_0_node_48 | 20 | n |  | TRUE
31 | bus_MV_511_0_node_18 | 20 | n |  | TRUE
32 | bus_MV_511_0_node_81 | 20 | n |  | TRUE
33 | bus_MV_511_0_node_22 | 20 | n |  | TRUE
34 | bus_MV_511_0_node_47 | 20 | n |  | TRUE
35 | bus_MV_511_0_node_91 | 20 | n |  | TRUE
36 | bus_MV_511_0_node_89 | 20 | n |  | TRUE
37 | bus_MV_511_0_node_49 | 20 | n |  | TRUE
38 | bus_MV_511_0_node_88 | 20 | n |  | TRUE
39 | bus_MV_511_0_node_83 | 20 | n |  | TRUE
40 | bus_MV_511_0_node_46 | 20 | n |  | TRUE
41 | bus_MV_511_0_node_50 | 20 | n |  | TRUE
42 | bus_MV_511_0_node_69 | 20 | n |  | TRUE
43 | bus_MV_511_0_node_75 | 20 | n |  | TRUE
44 | bus_MV_511_0_node_31 | 20 | n |  | TRUE
45 | bus_MV_511_0_node_80 | 20 | n |  | TRUE
46 | bus_MV_511_0_node_19 | 20 | n |  | TRUE
47 | bus_MV_511_0_node_20 | 20 | n |  | TRUE
48 | bus_MV_511_0_node_21 | 20 | n |  | TRUE
49 | bus_MV_511_0_node_99 | 20 | n |  | TRUE
50 | bus_MV_511_0_node_87 | 20 | n |  | TRUE
51 | bus_MV_511_0_node_23 | 20 | n |  | TRUE
52 | bus_MV_511_0_node_25 | 20 | n |  | TRUE
53 | bus_MV_511_0_node_30 | 20 | n |  | TRUE
54 | bus_MV_511_0_node_27 | 20 | n |  | TRUE
55 | bus_MV_511_0_node_28 | 20 | n |  | TRUE
56 | bus_MV_511_0_node_44 | 20 | n |  | TRUE
57 | bus_MV_511_0_node_41 | 20 | n |  | TRUE
58 | bus_MV_511_0_node_97 | 20 | n |  | TRUE
59 | bus_MV_511_0_node_29 | 20 | n |  | TRUE
60 | bus_MV_511_0_node_94 | 20 | n |  | TRUE
61 | bus_MV_511_0_node_32 | 20 | n |  | TRUE
62 | bus_MV_511_0_node_82 | 20 | n |  | TRUE
63 | bus_MV_511_0_node_39 | 20 | n |  | TRUE
64 | bus_MV_511_0_node_52 | 20 | n |  | TRUE
65 | bus_MV_511_0_node_54 | 20 | n |  | TRUE
66 | bus_MV_511_0_node_55 | 20 | n |  | TRUE
67 | bus_MV_511_0_node_33 | 20 | n |  | TRUE
68 | bus_MV_511_0_node_34 | 20 | n |  | TRUE
69 | bus_MV_511_0_node_35 | 20 | n |  | TRUE
70 | bus_MV_511_0_node_36 | 20 | n |  | TRUE
71 | bus_MV_511_0_node_93 | 20 | n |  | TRUE
72 | bus_MV_511_0_node_37 | 20 | n |  | TRUE
73 | bus_MV_511_0_node_40 | 20 | n |  | TRUE
74 | bus_MV_511_0_node_98 | 20 | n |  | TRUE
75 | bus_MV_511_0_node_59 | 20 | n |  | TRUE
76 | bus_MV_511_0_node_43 | 20 | n |  | TRUE
77 | bus_MV_511_0_node_38 | 20 | n |  | TRUE
78 | bus_MV_511_0_node_58 | 20 | n |  | TRUE
79 | bus_MV_511_0_node_57 | 20 | n |  | TRUE
80 | bus_MV_511_0_node_100 | 20 | n |  | TRUE
81 | bus_MV_511_0_node_56 | 20 | n |  | TRUE
82 | bus_MV_511_0_node_42 | 20 | n |  | TRUE
83 | bus_MV_511_0_node_64 | 20 | n |  | TRUE
84 | bus_MV_511_0_node_78 | 20 | n |  | TRUE
85 | bus_MV_511_0_node_101 | 20 | n |  | TRUE
86 | bus_MV_511_0_node_51 | 20 | n |  | TRUE
87 | bus_MV_511_0_node_77 | 20 | n |  | TRUE
88 | bus_MV_511_0_node_90 | 20 | n |  | TRUE
89 | bus_MV_511_0_node_84 | 20 | n |  | TRUE
90 | bus_MV_511_0_node_60 | 20 | n |  | TRUE
91 | bus_MV_511_0_node_61 | 20 | n |  | TRUE
92 | bus_MV_511_0_node_62 | 20 | n |  | TRUE
93 | bus_MV_511_0_node_63 | 20 | n |  | TRUE
94 | bus_MV_511_0_node_76 | 20 | n |  | TRUE
95 | bus_MV_511_0_node_67 | 20 | n |  | TRUE
96 | bus_MV_511_0_node_68 | 20 | n |  | TRUE
97 | bus_MV_511_0_node_71 | 20 | n |  | TRUE
98 | bus_MV_511_0_node_70 | 20 | n |  | TRUE
99 | bus_MV_511_0_node_85 | 20 | n |  | TRUE
100 | bus_MV_511_0_node_86 | 20 | n |  | TRUE
101 | bus_HV_511_0_node_16 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_511_0_load_0 | 0 | 0.15697 | 0.076024 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_511_0_load_73 | 3 | 0.075322 | 0.03648 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_511_0_load_72 | 4 | 0.16056 | 0.077763 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_511_0_load_3 | 5 | 0.091547 | 0.044338 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_511_0_load_79 | 12 | 0.086185 | 0.041741 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_511_0_load_45 | 15 | 0.28865 | 0.1398 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_511_0_load_16 | 17 | 0.35111 | 0.17005 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_511_0_load_66 | 19 | 0.088992 | 0.043101 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_511_0_load_102 | 20 | 0.26257 | 0.12717 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_511_0_load_95 | 23 | 0.21065 | 0.10202 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_511_0_load_92 | 24 | 0.26937 | 0.13046 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_511_0_load_74 | 25 | 0.078518 | 0.038028 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_511_0_load_65 | 26 | 0.079138 | 0.038328 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_511_0_load_103 | 28 | 0.37754 | 0.18285 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_511_0_load_96 | 29 | 0.22421 | 0.10859 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_511_0_load_81 | 32 | 0.18172 | 0.088012 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_511_0_load_22 | 33 | 0.26598 | 0.12882 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_511_0_load_91 | 35 | 2.3556 | 1.1409 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_511_0_load_88 | 38 | 0.076683 | 0.037139 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_511_0_load_83 | 39 | 0.097472 | 0.047208 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_511_0_load_75 | 43 | 0.080453 | 0.038965 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_511_0_load_80 | 45 | 0.13882 | 0.067233 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_511_0_load_19 | 46 | 0.35752 | 0.17315 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_511_0_load_99 | 49 | 0.080924 | 0.039193 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_511_0_load_87 | 50 | 0.075137 | 0.03639 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_511_0_load_23 | 51 | 0.24158 | 0.117 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_511_0_load_44 | 56 | 0.21437 | 0.10382 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_511_0_load_41 | 57 | 0.23575 | 0.11418 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_511_0_load_97 | 58 | 0.31465 | 0.15239 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_511_0_load_94 | 60 | 0.41344 | 0.20024 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_511_0_load_82 | 62 | 0.07008 | 0.033941 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_511_0_load_55 | 66 | 0.24083 | 0.11664 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_511_0_load_33 | 67 | 0.16543 | 0.08012 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_511_0_load_93 | 71 | 0.24386 | 0.11811 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_511_0_load_98 | 74 | 0.26278 | 0.12727 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_511_0_load_58 | 78 | 0.18264 | 0.088455 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_511_0_load_57 | 79 | 0.086151 | 0.041725 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_511_0_load_100 | 80 | 0.16968 | 0.082182 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_511_0_load_56 | 81 | 0.35904 | 0.17389 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_511_0_load_64 | 83 | 0.1944 | 0.094153 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_511_0_load_78 | 84 | 0.11572 | 0.056047 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_511_0_load_101 | 85 | 0.41089 | 0.199 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_511_0_load_51 | 86 | 0.21657 | 0.10489 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_511_0_load_90 | 88 | 0.13541 | 0.065583 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_511_0_load_60 | 90 | 0.1271 | 0.061557 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_511_0_load_63 | 93 | 0.24105 | 0.11675 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_511_0_load_67 | 95 | 0.11861 | 0.057446 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_511_0_load_70 | 98 | 0.07087 | 0.034324 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_511_0_load_86 | 100 | 0.11602 | 0.056193 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_511_0_line_0 |  | 0 | 1 | 0.062005 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_511_0_line_1 |  | 1 | 2 | 0.29482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_511_0_line_2 |  | 2 | 3 | 0.045147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_511_0_line_3 |  | 3 | 4 | 0.064629 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_511_0_line_4 |  | 4 | 7 | 0.058305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_511_0_line_5 |  | 5 | 6 | 0.016435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_511_0_line_6 |  | 6 | 7 | 0.14891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_511_0_line_7 |  | 6 | 8 | 0.78854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_511_0_line_8 |  | 6 | 9 | 0.15597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_511_0_line_9 |  | 8 | 21 | 0.9353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_511_0_line_10 |  | 8 | 22 | 0.45919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_511_0_line_11 |  | 8 | 23 | 0.053436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_511_0_line_12 |  | 8 | 24 | 0.24948 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
13 | MV_511_0_line_13 |  | 9 | 25 | 0.051554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_511_0_line_14 |  | 10 | 11 | 0.15139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_511_0_line_15 |  | 10 | 12 | 0.025095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_511_0_line_16 |  | 11 | 20 | 0.016151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_511_0_line_17 |  | 11 | 14 | 0.33862 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_511_0_line_18 |  | 13 | 14 | 0.62966 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_511_0_line_19 |  | 13 | 15 | 0.10516 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
20 | MV_511_0_line_20 |  | 14 | 18 | 0.39821 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_511_0_line_21 |  | 14 | 19 | 0.034264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_511_0_line_22 |  | 14 | 16 | 0.10175 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_511_0_line_23 |  | 15 | 40 | 0.021011 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_511_0_line_24 |  | 16 | 17 | 0.028558 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_511_0_line_25 |  | 18 | 33 | 0.051163 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_511_0_line_26 |  | 18 | 31 | 0.26119 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_511_0_line_27 |  | 21 | 27 | 0.3749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_511_0_line_28 |  | 21 | 28 | 0.014582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_511_0_line_29 |  | 22 | 26 | 0.068001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_511_0_line_30 |  | 23 | 42 | 0.049565 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_511_0_line_31 |  | 24 | 41 | 0.045347 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_511_0_line_32 |  | 25 | 43 | 0.0016609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_511_0_line_33 |  | 27 | 29 | 0.014436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_511_0_line_34 |  | 27 | 30 | 0.32019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_511_0_line_35 |  | 30 | 36 | 0.059269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_511_0_line_36 |  | 30 | 37 | 0.19122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_511_0_line_37 |  | 30 | 38 | 0.046298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_511_0_line_38 |  | 30 | 34 | 0.072324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_511_0_line_39 |  | 31 | 32 | 0.012217 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_511_0_line_40 |  | 32 | 44 | 0.031641 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_511_0_line_41 |  | 32 | 45 | 0.037682 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_511_0_line_42 |  | 34 | 35 | 0.071394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_511_0_line_43 |  | 35 | 49 | 0.13642 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_511_0_line_44 |  | 35 | 48 | 0.13658 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_511_0_line_45 |  | 36 | 88 | 0.03121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_511_0_line_46 |  | 37 | 39 | 0.025117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_511_0_line_47 |  | 39 | 89 | 0.0028418 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_511_0_line_48 |  | 40 | 41 | 0.36809 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_511_0_line_49 |  | 42 | 97 | 0.044366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_511_0_line_50 |  | 42 | 96 | 0.05199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_511_0_line_51 |  | 44 | 61 | 0.2635 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_511_0_line_52 |  | 46 | 47 | 0.016607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_511_0_line_53 |  | 47 | 48 | 0.041914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_511_0_line_54 |  | 48 | 50 | 0.056687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_511_0_line_55 |  | 51 | 52 | 0.010376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_511_0_line_56 |  | 52 | 53 | 0.11772 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_511_0_line_57 |  | 53 | 61 | 0.23618 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
58 | MV_511_0_line_58 |  | 53 | 62 | 0.059734 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
59 | MV_511_0_line_59 |  | 54 | 55 | 0.12629 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_511_0_line_60 |  | 54 | 56 | 0.049174 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_511_0_line_61 |  | 54 | 57 | 0.17284 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_511_0_line_62 |  | 55 | 58 | 0.038252 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_511_0_line_63 |  | 57 | 63 | 0.058181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_511_0_line_64 |  | 57 | 59 | 0.1999 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_511_0_line_65 |  | 58 | 64 | 0.23417 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_511_0_line_66 |  | 58 | 65 | 0.23732 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
67 | MV_511_0_line_67 |  | 59 | 60 | 0.048049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_511_0_line_68 |  | 62 | 66 | 0.44487 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
69 | MV_511_0_line_69 |  | 63 | 73 | 0.20166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_511_0_line_70 |  | 64 | 86 | 0.10867 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_511_0_line_71 |  | 65 | 66 | 0.005731 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
72 | MV_511_0_line_72 |  | 67 | 68 | 0.033568 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_511_0_line_73 |  | 68 | 69 | 0.27027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_511_0_line_74 |  | 68 | 70 | 0.60236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_511_0_line_75 |  | 69 | 71 | 0.021888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_511_0_line_76 |  | 70 | 72 | 0.53203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_511_0_line_77 |  | 70 | 73 | 0.45058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_511_0_line_78 |  | 70 | 74 | 0.012866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_511_0_line_79 |  | 72 | 75 | 0.045431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_511_0_line_80 |  | 72 | 76 | 0.60504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_511_0_line_81 |  | 72 | 77 | 0.52041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_511_0_line_82 |  | 72 | 78 | 0.061911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_511_0_line_83 |  | 73 | 81 | 0.004578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_511_0_line_84 |  | 75 | 85 | 0.0086181 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_511_0_line_85 |  | 76 | 84 | 0.12906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_511_0_line_86 |  | 76 | 82 | 0.3046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_511_0_line_87 |  | 77 | 79 | 0.0035316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_511_0_line_88 |  | 77 | 80 | 0.26658 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_511_0_line_89 |  | 82 | 83 | 0.11749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_511_0_line_90 |  | 84 | 87 | 0.00445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_511_0_line_91 |  | 87 | 94 | 0.010817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_511_0_line_92 |  | 89 | 99 | 0.012018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_511_0_line_93 |  | 90 | 91 | 0.02413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_511_0_line_94 |  | 91 | 92 | 0.008636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_511_0_line_95 |  | 92 | 93 | 0.074382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_511_0_line_96 |  | 93 | 94 | 0.075783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_511_0_line_97 |  | 95 | 96 | 0.016221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_511_0_line_98 |  | 97 | 98 | 0.017234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_511_0_line_99 |  | 99 | 100 | 0.023311 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_511_0_trafo_16 | 25 MVA 110/20 kV | 101 | 17 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2700563.6827 | 1262071.7331
1 | 2700623.5819 | 1262087.7537
2 | 2700440.6863 | 1262021.6355
3 | 2700398.0006 | 1262006.9326
4 | 2700336.8949 | 1261985.885
5 | 2700165.0838 | 1261900.2626
6 | 2700180.1243 | 1261906.9895
7 | 2700283.3888 | 1261967.3221
8 | 2700403.4296 | 1262337.9415
9 | 2700125.4855 | 1261787.5662
10 | 2699972.2849 | 1262907.2086
11 | 2700049.243 | 1262824.8419
12 | 2699967.3787 | 1262931.7793
13 | 2700277.8781 | 1262522.186
14 | 2699933.4891 | 1262663.0516
15 | 2700372.5465 | 1262567.985
16 | 2699939.3981 | 1262610.3747
17 | 2699911.8376 | 1262604.0038
18 | 2699765.2744 | 1262827.7367
19 | 2699967.26 | 1262668.8445
20 | 2700065.1249 | 1262828.0243
21 | 2699957.4974 | 1262326.5355
22 | 2700632.6742 | 1262193.718
23 | 2700418.8946 | 1262286.7841
24 | 2700536.6367 | 1262548.8782
25 | 2700077.5815 | 1261768.9659
26 | 2700572.0529 | 1262171.4611
27 | 2699884.4058 | 1262076.8064
28 | 2699953.5302 | 1262340.5689
29 | 2699888.1755 | 1262062.8697
30 | 2699662.1258 | 1262060.4551
31 | 2699596.4665 | 1262817.5945
32 | 2699585.6408 | 1262823.317
33 | 2699720.5296 | 1262852.547
34 | 2699635.9801 | 1262116.1716
35 | 2699612.96 | 1262181.7855
36 | 2699675.2329 | 1262002.6506
37 | 2699740.3912 | 1261946.0913
38 | 2699617.3357 | 1262048.7351
39 | 2699764.8719 | 1261951.1132
40 | 2700383.5132 | 1262550.0452
41 | 2700577.4898 | 1262568.0218
42 | 2700436.6355 | 1262240.5027
43 | 2700076.0072 | 1261768.4366
44 | 2699569.1128 | 1262796.3054
45 | 2699559.0704 | 1262850.0375
46 | 2699656.7036 | 1262333.3215
47 | 2699640.6049 | 1262329.0579
48 | 2699600.1877 | 1262317.7679
49 | 2699504.0916 | 1262263.9953
50 | 2699583.522 | 1262371.5155
51 | 2699404.7149 | 1262609.0194
52 | 2699413.3041 | 1262614.8797
53 | 2699475.3889 | 1262589.9585
54 | 2699130.1999 | 1262673.0762
55 | 2699049.4854 | 1262618.7906
56 | 2699101.5159 | 1262713.0173
57 | 2699270.1427 | 1262774.5067
58 | 2699019.1948 | 1262595.4309
59 | 2699141.0528 | 1262927.1338
60 | 2699110.8079 | 1262964.5133
61 | 2699359.199 | 1262734.38
62 | 2699425.028 | 1262557.8349
63 | 2699312.4856 | 1262814.5282
64 | 2698787.3607 | 1262628.4038
65 | 2699027.3506 | 1262358.2504
66 | 2699030.0276 | 1262353.1799
67 | 2699312.9015 | 1263381.5803
68 | 2699279.9017 | 1263377.623
69 | 2699119.2511 | 1263346.9587
70 | 2699488.6257 | 1263056.9102
71 | 2699118.4171 | 1263368.8294
72 | 2699763.2089 | 1263211.6297
73 | 2699413.9686 | 1262823.5293
74 | 2699490.7477 | 1263069.6008
75 | 2699738.375 | 1263174.2133
76 | 2700138.5105 | 1263220.7463
77 | 2699896.4822 | 1263412.9567
78 | 2699808.4385 | 1263252.546
79 | 2699898.17 | 1263416.0573
80 | 2699642.7994 | 1263494.8561
81 | 2699409.4033 | 1262823.041
82 | 2700170.6894 | 1263466.4945
83 | 2700228.6976 | 1263568.6621
84 | 2700055.1517 | 1263126.035
85 | 2699731.8385 | 1263179.83
86 | 2698725.8967 | 1262538.7818
87 | 2700051.1388 | 1263124.0878
88 | 2699645.0771 | 1261994.6061
89 | 2699767.7136 | 1261951.1339
90 | 2699894.8042 | 1263111.9908
91 | 2699906.515 | 1263090.8934
92 | 2699910.7037 | 1263083.3357
93 | 2699973.166 | 1263086.3466
94 | 2700041.379 | 1263119.3632
95 | 2700485.6742 | 1262268.9187
96 | 2700486.4475 | 1262255.3942
97 | 2700449.4818 | 1262198.0302
98 | 2700451.8408 | 1262212.829
99 | 2699764.6163 | 1261962.7468
100 | 2699787.1858 | 1261968.58
101 | 2699911.8376 | 1262604.0038

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99485 | -0.067057 | 0.15697 | 0.076024
1 | 0.99487 | -0.066938 | 0 | 0
2 | 0.99493 | -0.06743 | 0 | 0
3 | 0.99494 | -0.067494 | 0.075322 | 0.03648
4 | 0.99496 | -0.067638 | 0.16056 | 0.077763
5 | 0.99506 | -0.068443 | 0.091547 | 0.044338
6 | 0.99506 | -0.068461 | 0 | 0
7 | 0.99499 | -0.067876 | 0 | 0
8 | 0.9957 | -0.073106 | 0 | 0
9 | 0.99503 | -0.068192 | 0 | 0
10 | 0.99936 | -0.0010326 | 0 | 0
11 | 0.99938 | -0.0011657 | 0 | 0
12 | 0.99936 | -0.0010072 | 0.086185 | 0.041741
13 | 0.99838 | -0.007961 | 0 | 0
14 | 0.99953 | -0.0023936 | 0 | 0
15 | 0.99799 | -0.030504 | 0.28865 | 0.1398
16 | 0.9999 | -0.00052573 | 0 | 0
17 | 1 | 0 | -11.2125 | -5.0679
18 | 0.99887 | -0.005701 | 0 | 0
19 | 0.99952 | -0.002358 | 0.088992 | 0.043101
20 | 0.99937 | -0.0011151 | 0.26257 | 0.12717
21 | 0.99102 | -0.031538 | 0 | 0
22 | 0.99566 | -0.072876 | 0 | 0
23 | 0.99568 | -0.072861 | 0.21065 | 0.10202
24 | 0.99718 | -0.03513 | 0.26937 | 0.13046
25 | 0.99502 | -0.068096 | 0.078518 | 0.038028
26 | 0.99565 | -0.072814 | 0.079138 | 0.038328
27 | 0.98933 | -0.016114 | 0 | 0
28 | 0.99101 | -0.031472 | 0.37754 | 0.18285
29 | 0.98932 | -0.016074 | 0.22421 | 0.10859
30 | 0.98797 | -0.0036013 | 0 | 0
31 | 0.99846 | -0.0077115 | 0 | 0
32 | 0.99844 | -0.0078041 | 0.18172 | 0.088012
33 | 0.99884 | -0.0058659 | 0.26598 | 0.12882
34 | 0.9877 | -0.001083 | 0 | 0
35 | 0.98744 | 0.001412 | 2.3556 | 1.1409
36 | 0.98796 | -0.0035084 | 0 | 0
37 | 0.98792 | -0.0031471 | 0 | 0
38 | 0.98796 | -0.0035594 | 0.076683 | 0.037139
39 | 0.98791 | -0.0030833 | 0.097472 | 0.047208
40 | 0.99795 | -0.030678 | 0 | 0
41 | 0.99731 | -0.033653 | 0 | 0
42 | 0.99566 | -0.072989 | 0 | 0
43 | 0.99502 | -0.068094 | 0.080453 | 0.038965
44 | 0.99839 | -0.0080312 | 0 | 0
45 | 0.99843 | -0.0078675 | 0.13882 | 0.067233
46 | 0.98729 | 0.00090078 | 0.35752 | 0.17315
47 | 0.9873 | 0.00082812 | 0 | 0
48 | 0.98732 | 0.0006466 | 0 | 0
49 | 0.98742 | 0.0012742 | 0.080924 | 0.039193
50 | 0.98732 | 0.00069643 | 0.075137 | 0.03639
51 | 0.99739 | -0.016123 | 0.24158 | 0.117
52 | 0.99739 | -0.016153 | 0 | 0
53 | 0.99743 | -0.016483 | 0 | 0
54 | 0.99317 | -0.10093 | 0 | 0
55 | 0.99372 | -0.10536 | 0 | 0
56 | 0.99315 | -0.10106 | 0.21437 | 0.10382
57 | 0.9921 | -0.10925 | 0.23575 | 0.11418
58 | 0.99397 | -0.10341 | 0.31465 | 0.15239
59 | 0.99194 | -0.11029 | 0 | 0
60 | 0.99192 | -0.11005 | 0.41344 | 0.20024
61 | 0.998 | -0.009888 | 0 | 0
62 | 0.99729 | -0.01806 | 0.07008 | 0.033941
63 | 0.99191 | -0.10781 | 0 | 0
64 | 0.99387 | -0.10403 | 0 | 0
65 | 0.99508 | -0.074793 | 0 | 0
66 | 0.99509 | -0.074651 | 0.24083 | 0.11664
67 | 0.98967 | -0.090701 | 0.16543 | 0.08012
68 | 0.98968 | -0.090768 | 0 | 0
69 | 0.98959 | -0.090028 | 0 | 0
70 | 0.98999 | -0.093204 | 0 | 0
71 | 0.98959 | -0.089963 | 0.24386 | 0.11811
72 | 0.98896 | -0.085104 | 0 | 0
73 | 0.99126 | -0.10276 | 0 | 0
74 | 0.98999 | -0.093163 | 0.26278 | 0.12727
75 | 0.98893 | -0.084877 | 0 | 0
76 | 0.98843 | -0.081049 | 0 | 0
77 | 0.98879 | -0.083694 | 0 | 0
78 | 0.98894 | -0.084968 | 0.18264 | 0.088455
79 | 0.98879 | -0.08369 | 0.086151 | 0.041725
80 | 0.9887 | -0.084257 | 0.16968 | 0.082182
81 | 0.99125 | -0.10274 | 0.35904 | 0.17389
82 | 0.98836 | -0.080449 | 0 | 0
83 | 0.98833 | -0.08018 | 0.1944 | 0.094153
84 | 0.98835 | -0.080336 | 0.11572 | 0.056047
85 | 0.98893 | -0.084921 | 0.41089 | 0.199
86 | 0.99383 | -0.10432 | 0.21657 | 0.10489
87 | 0.98835 | -0.080317 | 0 | 0
88 | 0.98795 | -0.0034573 | 0.13541 | 0.065583
89 | 0.98791 | -0.0030794 | 0 | 0
90 | 0.98829 | -0.079788 | 0.1271 | 0.061557
91 | 0.9883 | -0.079826 | 0 | 0
92 | 0.9883 | -0.079839 | 0 | 0
93 | 0.98831 | -0.079946 | 0.24105 | 0.11675
94 | 0.98835 | -0.080271 | 0 | 0
95 | 0.99565 | -0.072895 | 0.11861 | 0.057446
96 | 0.99565 | -0.072918 | 0 | 0
97 | 0.99565 | -0.072953 | 0 | 0
98 | 0.99565 | -0.072939 | 0.07087 | 0.034324
99 | 0.98791 | -0.0030629 | 0 | 0
100 | 0.9879 | -0.0030301 | 0.11602 | 0.056193
101 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15697 | -0.076024 | 0.15697 | 0.075953 | 2.829e-06 | -7.1491e-05 | 0.0050609 | 0.0050599 | 0.0050609 | 0.99485 | -0.067057 | 0.99487 | -0.066938 | 2.4099
1 | -0.15697 | -0.075953 | 0.15698 | 0.068988 | 9.9057e-06 | -0.0069647 | 0.0050599 | 0.0049752 | 0.0050599 | 0.99487 | -0.066938 | 0.99493 | -0.06743 | 2.3
2 | -0.15698 | -0.068988 | 0.15698 | 0.067921 | 1.4882e-06 | -0.0010666 | 0.0049752 | 0.0049628 | 0.0049752 | 0.99493 | -0.06743 | 0.99494 | -0.067494 | 2.2615
3 | -0.23231 | -0.1044 | 0.23231 | 0.10288 | 4.6999e-06 | -0.0015261 | 0.0073896 | 0.0073715 | 0.0073896 | 0.99494 | -0.067494 | 0.99496 | -0.067638 | 3.3589
4 | -0.39287 | -0.18064 | 0.39288 | 0.17926 | 1.2235e-05 | -0.0013745 | 0.012546 | 0.012529 | 0.012546 | 0.99496 | -0.067638 | 0.99499 | -0.067876 | 5.7027
5 | -0.091547 | -0.044338 | 0.091547 | 0.04395 | 1.9074e-07 | -0.00038848 | 0.002951 | 0.0029461 | 0.002951 | 0.99506 | -0.068443 | 0.99506 | -0.068461 | 1.3413
6 | 0.39292 | 0.17575 | -0.39288 | -0.17926 | 3.1102e-05 | -0.0035108 | 0.012487 | 0.012529 | 0.012529 | 0.99506 | -0.068461 | 0.99499 | -0.067876 | 5.6951
7 | -0.64344 | -0.29175 | 0.64388 | 0.27323 | 0.00043748 | -0.018524 | 0.020496 | 0.020279 | 0.020496 | 0.99506 | -0.068461 | 0.9957 | -0.073106 | 9.3164
8 | 0.15898 | 0.07205 | -0.15897 | -0.075736 | 5.3861e-06 | -0.0036857 | 0.0050636 | 0.0051087 | 0.0051087 | 0.99506 | -0.068461 | 0.99503 | -0.068192 | 2.3221
9 | 3.9295 | 1.8425 | -3.9097 | -1.8587 | 0.019811 | -0.016159 | 0.12583 | 0.1261 | 0.1261 | 0.9957 | -0.073106 | 0.99102 | -0.031538 | 57.3179
10 | 0.079142 | 0.025851 | -0.079138 | -0.036719 | 3.7317e-06 | -0.010868 | 0.0024138 | 0.0025294 | 0.0025294 | 0.9957 | -0.073106 | 0.99566 | -0.072876 | 1.1497
11 | 0.40015 | 0.1894 | -0.40014 | -0.19066 | 1.1767e-05 | -0.0012614 | 0.012835 | 0.012851 | 0.012851 | 0.9957 | -0.073106 | 0.99568 | -0.072861 | 5.8413
12 | -5.0526 | -2.331 | 5.0586 | 2.3375 | 0.0059602 | 0.006506 | 0.16132 | 0.16132 | 0.16132 | 0.9957 | -0.073106 | 0.99718 | -0.03513 | 46.0927
13 | 0.15897 | 0.075736 | -0.15897 | -0.076954 | 1.8016e-06 | -0.0012182 | 0.0051087 | 0.005124 | 0.005124 | 0.99503 | -0.068192 | 0.99502 | -0.068096 | 2.3291
14 | -0.086186 | -0.041143 | 0.086187 | 0.037533 | 1.5136e-06 | -0.0036096 | 0.0027587 | 0.0027154 | 0.0027587 | 0.99936 | -0.0010326 | 0.99938 | -0.0011657 | 1.2539
15 | 0.086186 | 0.041143 | -0.086185 | -0.041741 | 2.5564e-07 | -0.00059834 | 0.0027587 | 0.0027662 | 0.0027662 | 0.99936 | -0.0010326 | 0.99936 | -0.0010072 | 1.2573
16 | 0.26257 | 0.12678 | -0.26257 | -0.12717 | 1.5304e-06 | -0.00038469 | 0.0084224 | 0.0084272 | 0.0084272 | 0.99938 | -0.0011657 | 0.99937 | -0.0011151 | 3.8305
17 | -0.34876 | -0.16432 | 0.34881 | 0.15626 | 5.5567e-05 | -0.0080595 | 0.011136 | 0.011039 | 0.011136 | 0.99938 | -0.0011657 | 0.99953 | -0.0023936 | 5.0619
18 | -5.6219 | -2.5874 | 5.6281 | 2.5514 | 0.0062136 | -0.035981 | 0.17894 | 0.17847 | 0.17894 | 0.99838 | -0.007961 | 0.99953 | -0.0023936 | 28.0476
19 | 5.6219 | 2.5874 | -5.6207 | -2.5843 | 0.0012022 | 0.003088 | 0.17894 | 0.17895 | 0.17895 | 0.99838 | -0.007961 | 0.99799 | -0.030504 | 27.7435
20 | 5.1275 | 2.3128 | -5.1242 | -2.3359 | 0.0032533 | -0.023148 | 0.16245 | 0.16275 | 0.16275 | 0.99953 | -0.0023936 | 0.99887 | -0.005701 | 25.5097
21 | 0.088992 | 0.042284 | -0.088992 | -0.043101 | 3.7171e-07 | -0.00081721 | 0.0028456 | 0.0028558 | 0.0028558 | 0.99953 | -0.0023936 | 0.99952 | -0.002358 | 1.2981
22 | -11.1934 | -5.0627 | 11.1973 | 5.0586 | 0.0039571 | -0.0041611 | 0.35481 | 0.35473 | 0.35481 | 0.99953 | -0.0023936 | 0.9999 | -0.00052573 | 55.6124
23 | 5.3321 | 2.4445 | -5.3319 | -2.4457 | 0.00018692 | -0.0012095 | 0.16967 | 0.16969 | 0.16969 | 0.99799 | -0.030504 | 0.99795 | -0.030678 | 26.5966
24 | -11.1973 | -5.0586 | 11.1985 | 5.0574 | 0.0011103 | -0.0011689 | 0.35473 | 0.35471 | 0.35473 | 0.9999 | -0.00052573 | 1 | 0 | 55.6005
25 | 0.26599 | 0.12876 | -0.26598 | -0.12882 | 6.6495e-06 | -5.6774e-05 | 0.0085404 | 0.0085412 | 0.0085412 | 0.99887 | -0.005701 | 0.99884 | -0.0058659 | 4.0672
26 | 4.8582 | 2.2071 | -4.8563 | -2.2224 | 0.0019218 | -0.015285 | 0.15421 | 0.15441 | 0.15441 | 0.99887 | -0.005701 | 0.99846 | -0.0077115 | 24.2022
27 | 3.5321 | 1.6762 | -3.5256 | -1.683 | 0.0064976 | -0.0068488 | 0.11388 | 0.11399 | 0.11399 | 0.99102 | -0.031538 | 0.98933 | -0.016114 | 51.8157
28 | 0.37754 | 0.18251 | -0.37754 | -0.18285 | 2.9057e-06 | -0.00034107 | 0.012215 | 0.012219 | 0.012219 | 0.99102 | -0.031538 | 0.99101 | -0.031472 | 5.5543
29 | 0.079138 | 0.036719 | -0.079138 | -0.038328 | 5.8538e-07 | -0.0016093 | 0.0025294 | 0.0025494 | 0.0025494 | 0.99566 | -0.072876 | 0.99565 | -0.072814 | 1.1588
30 | 0.18949 | 0.088641 | -0.18948 | -0.088698 | 3.249e-06 | -5.6624e-05 | 0.0060651 | 0.0060659 | 0.0060659 | 0.99568 | -0.072861 | 0.99566 | -0.072989 | 2.8885
31 | -5.328 | -2.468 | 5.3286 | 2.4669 | 0.00063279 | -0.0010873 | 0.16998 | 0.16996 | 0.16998 | 0.99718 | -0.03513 | 0.99731 | -0.033653 | 46.9568
32 | 0.080453 | 0.038926 | -0.080453 | -0.038965 | 1.4874e-08 | -3.9256e-05 | 0.002593 | 0.0025935 | 0.0025935 | 0.99502 | -0.068096 | 0.99502 | -0.068094 | 1.1788
33 | 0.22421 | 0.10825 | -0.22421 | -0.10859 | 1.0178e-06 | -0.00033705 | 0.007265 | 0.0072693 | 0.0072693 | 0.98933 | -0.016114 | 0.98932 | -0.016074 | 3.3042
34 | 3.3014 | 1.5748 | -3.2965 | -1.5808 | 0.0048735 | -0.0060266 | 0.10673 | 0.10682 | 0.10682 | 0.98933 | -0.016114 | 0.98797 | -0.0036013 | 48.5562
35 | 0.13541 | 0.063475 | -0.13541 | -0.064856 | 1.5168e-06 | -0.0013808 | 0.0043698 | 0.0043871 | 0.0043871 | 0.98797 | -0.0036013 | 0.98796 | -0.0035084 | 1.9941
36 | 0.21351 | 0.097474 | -0.2135 | -0.10193 | 1.2102e-05 | -0.0044525 | 0.0068579 | 0.006913 | 0.006913 | 0.98797 | -0.0036013 | 0.98792 | -0.0031471 | 3.1423
37 | 0.076683 | 0.03606 | -0.076683 | -0.037139 | 3.8098e-07 | -0.0010789 | 0.002476 | 0.0024896 | 0.0024896 | 0.98797 | -0.0036013 | 0.98796 | -0.0035594 | 1.1316
38 | 2.8709 | 1.3838 | -2.8701 | -1.3852 | 0.00083747 | -0.0014367 | 0.093122 | 0.093143 | 0.093143 | 0.98797 | -0.0036013 | 0.9877 | -0.001083 | 42.3377
39 | 4.8563 | 2.2224 | -4.8562 | -2.2231 | 9.0012e-05 | -0.00071455 | 0.15441 | 0.15442 | 0.15442 | 0.99846 | -0.0077115 | 0.99844 | -0.0078041 | 24.2037
40 | 4.5357 | 2.0679 | -4.5355 | -2.0698 | 0.00020312 | -0.0018674 | 0.14413 | 0.14415 | 0.14415 | 0.99844 | -0.0078041 | 0.99839 | -0.0080312 | 22.5939
41 | 0.13882 | 0.067189 | -0.13882 | -0.067233 | 1.3351e-06 | -4.4008e-05 | 0.004459 | 0.0044596 | 0.0044596 | 0.99844 | -0.0078041 | 0.99843 | -0.0078675 | 2.1236
42 | 2.8701 | 1.3852 | -2.8693 | -1.3866 | 0.00082706 | -0.0014172 | 0.093143 | 0.093164 | 0.093164 | 0.9877 | -0.001083 | 0.98744 | 0.001412 | 42.3473
43 | 0.080925 | 0.039035 | -0.080924 | -0.039193 | 1.6783e-06 | -0.00015774 | 0.0026267 | 0.0026287 | 0.0026287 | 0.98744 | 0.001412 | 0.98742 | 0.0012742 | 1.2518
44 | 0.43271 | 0.20674 | -0.43267 | -0.20687 | 4.7839e-05 | -0.000129 | 0.01402 | 0.014022 | 0.014022 | 0.98744 | 0.001412 | 0.98732 | 0.0006466 | 6.6771
45 | 0.13541 | 0.064856 | -0.13541 | -0.065583 | 8.0361e-07 | -0.0007271 | 0.0043871 | 0.0043963 | 0.0043963 | 0.98796 | -0.0035084 | 0.98795 | -0.0034573 | 1.9983
46 | 0.2135 | 0.10193 | -0.2135 | -0.10251 | 1.6042e-06 | -0.00058481 | 0.006913 | 0.0069204 | 0.0069204 | 0.98792 | -0.0031471 | 0.98791 | -0.0030833 | 3.1456
47 | 0.11602 | 0.055303 | -0.11602 | -0.05537 | 5.3529e-08 | -6.6203e-05 | 0.0037558 | 0.0037566 | 0.0037566 | 0.98791 | -0.0030833 | 0.98791 | -0.0030794 | 1.7075
48 | 5.3319 | 2.4457 | -5.3286 | -2.4669 | 0.0032803 | -0.021171 | 0.16969 | 0.16996 | 0.16996 | 0.99795 | -0.030678 | 0.99731 | -0.033653 | 26.6403
49 | 0.070871 | 0.032866 | -0.07087 | -0.033916 | 3.0558e-07 | -0.00105 | 0.002265 | 0.002278 | 0.002278 | 0.99566 | -0.072989 | 0.99565 | -0.072953 | 1.0354
50 | 0.11861 | 0.055832 | -0.11861 | -0.057062 | 1.0067e-06 | -0.0012303 | 0.0038009 | 0.0038162 | 0.0038162 | 0.99566 | -0.072989 | 0.99565 | -0.072918 | 1.7346
51 | 4.5355 | 2.0698 | -4.5338 | -2.0854 | 0.0016942 | -0.015543 | 0.14415 | 0.14435 | 0.14435 | 0.99839 | -0.0080312 | 0.998 | -0.009888 | 22.625
52 | -0.35752 | -0.17315 | 0.35752 | 0.17277 | 2.9897e-06 | -0.00038562 | 0.011615 | 0.01161 | 0.011615 | 0.98729 | 0.00090078 | 0.9873 | 0.00082812 | 5.2795
53 | -0.35752 | -0.17277 | 0.35753 | 0.17179 | 7.5343e-06 | -0.00097327 | 0.01161 | 0.011598 | 0.01161 | 0.9873 | 0.00082812 | 0.98732 | 0.0006466 | 5.2773
54 | 0.075137 | 0.035071 | -0.075137 | -0.03639 | 4.4783e-07 | -0.0013192 | 0.0024244 | 0.002441 | 0.002441 | 0.98732 | 0.0006466 | 0.98732 | 0.00069643 | 1.1095
55 | -0.24158 | -0.117 | 0.24158 | 0.11676 | 8.357e-07 | -0.0002462 | 0.0077689 | 0.0077658 | 0.0077689 | 0.99739 | -0.016123 | 0.99739 | -0.016153 | 3.5313
56 | -0.24158 | -0.11676 | 0.24159 | 0.11396 | 9.4351e-06 | -0.0027934 | 0.0077658 | 0.0077309 | 0.0077658 | 0.99739 | -0.016153 | 0.99743 | -0.016483 | 3.5299
57 | -4.5314 | -2.0917 | 4.5338 | 2.0854 | 0.0023785 | -0.0063369 | 0.14445 | 0.14435 | 0.14445 | 0.99743 | -0.016483 | 0.998 | -0.009888 | 39.902
58 | 4.2898 | 1.9777 | -4.2893 | -1.9794 | 0.00053936 | -0.0016465 | 0.13671 | 0.13674 | 0.13674 | 0.99743 | -0.016483 | 0.99729 | -0.01806 | 37.7733
59 | -3.4333 | -1.5624 | 3.4354 | 1.56 | 0.002026 | -0.0023749 | 0.10964 | 0.1096 | 0.10964 | 0.99317 | -0.10093 | 0.99372 | -0.10536 | 49.8363
60 | 0.21437 | 0.10377 | -0.21437 | -0.10382 | 4.199e-06 | -5.5274e-05 | 0.0069225 | 0.0069233 | 0.0069233 | 0.99317 | -0.10093 | 0.99315 | -0.10106 | 3.2968
61 | 3.219 | 1.4586 | -3.2157 | -1.4568 | 0.0032493 | 0.0018319 | 0.10272 | 0.10272 | 0.10272 | 0.99317 | -0.10093 | 0.9921 | -0.10925 | 48.9152
62 | -3.4354 | -1.56 | 3.4362 | 1.5605 | 0.00081872 | 0.00046772 | 0.1096 | 0.1096 | 0.1096 | 0.99372 | -0.10536 | 0.99397 | -0.10341 | 52.1924
63 | 2.5664 | 1.1437 | -2.5659 | -1.1449 | 0.00051926 | -0.001213 | 0.081756 | 0.081772 | 0.081772 | 0.9921 | -0.10925 | 0.99191 | -0.10781 | 37.169
64 | 0.41352 | 0.19892 | -0.41345 | -0.19911 | 6.3508e-05 | -0.00019507 | 0.013352 | 0.013355 | 0.013355 | 0.9921 | -0.10925 | 0.99194 | -0.11029 | 6.3595
65 | 0.2166 | 0.1045 | -0.21658 | -0.10477 | 2.0363e-05 | -0.00026341 | 0.0069844 | 0.0069879 | 0.0069879 | 0.99397 | -0.10341 | 0.99387 | -0.10403 | 3.3276
66 | -3.9674 | -1.8174 | 3.9709 | 1.8211 | 0.0034992 | 0.0037074 | 0.12674 | 0.12673 | 0.12674 | 0.99397 | -0.10341 | 0.99508 | -0.074793 | 36.2106
67 | 0.41345 | 0.19911 | -0.41344 | -0.20024 | 1.1453e-05 | -0.0011254 | 0.013355 | 0.013369 | 0.013369 | 0.99194 | -0.11029 | 0.99192 | -0.11005 | 6.0769
68 | 4.2192 | 1.9454 | -4.2118 | -1.9375 | 0.0073867 | 0.007894 | 0.13449 | 0.13449 | 0.13449 | 0.99729 | -0.01806 | 0.99509 | -0.074651 | 38.4264
69 | 2.5659 | 1.1449 | -2.5641 | -1.1491 | 0.0018014 | -0.0041999 | 0.081772 | 0.081828 | 0.081828 | 0.99191 | -0.10781 | 0.99126 | -0.10276 | 37.1945
70 | 0.21658 | 0.10477 | -0.21657 | -0.10489 | 9.4569e-06 | -0.00012222 | 0.0069879 | 0.0069895 | 0.0069895 | 0.99387 | -0.10403 | 0.99383 | -0.10432 | 3.3283
71 | -3.9709 | -1.8211 | 3.971 | 1.8209 | 4.4458e-05 | -0.00016237 | 0.12673 | 0.12673 | 0.12673 | 0.99508 | -0.074793 | 0.99509 | -0.074651 | 35.0093
72 | -0.16543 | -0.08012 | 0.16543 | 0.079335 | 1.2858e-06 | -0.00078463 | 0.0053614 | 0.0053515 | 0.0053614 | 0.98967 | -0.090701 | 0.98968 | -0.090768 | 2.437
73 | 0.24389 | 0.11128 | -0.24387 | -0.1176 | 2.228e-05 | -0.0063133 | 0.0078194 | 0.0078977 | 0.0078977 | 0.98968 | -0.090768 | 0.98959 | -0.090028 | 3.5899
74 | -0.40932 | -0.19062 | 0.40945 | 0.17657 | 0.00013768 | -0.01405 | 0.01317 | 0.013002 | 0.01317 | 0.98968 | -0.090768 | 0.98999 | -0.093204 | 5.9865
75 | 0.24387 | 0.1176 | -0.24386 | -0.11811 | 1.8241e-06 | -0.00051124 | 0.0078977 | 0.0079042 | 0.0079042 | 0.98959 | -0.090028 | 0.98959 | -0.089963 | 3.5928
76 | 1.5299 | 0.68144 | -1.5282 | -0.69337 | 0.001699 | -0.011933 | 0.048835 | 0.048984 | 0.048984 | 0.98999 | -0.093204 | 0.98896 | -0.085104 | 22.2655
77 | -2.2021 | -0.98498 | 2.2051 | 0.9753 | 0.0029711 | -0.009676 | 0.070343 | 0.070217 | 0.070343 | 0.98999 | -0.093204 | 0.99126 | -0.10276 | 31.9739
78 | 0.26278 | 0.12697 | -0.26278 | -0.12727 | 1.2444e-06 | -0.0003007 | 0.0085099 | 0.0085138 | 0.0085138 | 0.98999 | -0.093204 | 0.98999 | -0.093163 | 3.8699
79 | 0.4109 | 0.19794 | -0.41089 | -0.19899 | 1.0761e-05 | -0.0010577 | 0.013313 | 0.013327 | 0.013327 | 0.98896 | -0.085104 | 0.98893 | -0.084877 | 6.0576
80 | 0.67874 | 0.29704 | -0.67836 | -0.31105 | 0.0003807 | -0.014008 | 0.021626 | 0.021795 | 0.021795 | 0.98896 | -0.085104 | 0.98843 | -0.081049 | 9.9069
81 | 0.2559 | 0.11139 | -0.25585 | -0.12352 | 4.6931e-05 | -0.012136 | 0.0081466 | 0.0082945 | 0.0082945 | 0.98896 | -0.085104 | 0.98879 | -0.083694 | 3.7702
82 | 0.18264 | 0.08701 | -0.18264 | -0.088455 | 2.8911e-06 | -0.0014448 | 0.0059053 | 0.0059236 | 0.0059236 | 0.98896 | -0.085104 | 0.98894 | -0.084968 | 2.6925
83 | 0.35904 | 0.17378 | -0.35904 | -0.17389 | 8.2482e-07 | -0.00010716 | 0.011616 | 0.011618 | 0.011618 | 0.99126 | -0.10276 | 0.99125 | -0.10274 | 5.2808
84 | 0.41089 | 0.19899 | -0.41089 | -0.199 | 2.7271e-06 | -8.3537e-06 | 0.013327 | 0.013327 | 0.013327 | 0.98893 | -0.084877 | 0.98893 | -0.084921 | 6.3461
85 | 0.48393 | 0.22674 | -0.48389 | -0.22973 | 4.2073e-05 | -0.0029979 | 0.015608 | 0.015645 | 0.015645 | 0.98843 | -0.081049 | 0.98835 | -0.080336 | 7.1115
86 | 0.19442 | 0.084315 | -0.19441 | -0.091415 | 1.5789e-05 | -0.0071002 | 0.0061892 | 0.0062746 | 0.0062746 | 0.98843 | -0.081049 | 0.98836 | -0.080449 | 2.8521
87 | 0.086151 | 0.041642 | -0.086151 | -0.041725 | 3.6792e-08 | -8.2429e-05 | 0.0027936 | 0.0027946 | 0.0027946 | 0.98879 | -0.083694 | 0.98879 | -0.08369 | 1.2703
88 | 0.1697 | 0.08188 | -0.16968 | -0.082182 | 1.4383e-05 | -0.00030211 | 0.0055009 | 0.0055049 | 0.0055049 | 0.98879 | -0.083694 | 0.9887 | -0.084257 | 2.6214
89 | 0.19441 | 0.091415 | -0.1944 | -0.094153 | 6.2089e-06 | -0.0027383 | 0.0062746 | 0.0063091 | 0.0063091 | 0.98836 | -0.080449 | 0.98833 | -0.08018 | 2.8678
90 | 0.36817 | 0.17369 | -0.36817 | -0.17379 | 8.3994e-07 | -0.00010354 | 0.01189 | 0.011891 | 0.011891 | 0.98835 | -0.080336 | 0.98835 | -0.080317 | 5.4051
91 | 0.36817 | 0.17379 | -0.36817 | -0.17404 | 2.0424e-06 | -0.00025168 | 0.011891 | 0.011894 | 0.011894 | 0.98835 | -0.080317 | 0.98835 | -0.080271 | 5.4065
92 | 0.11602 | 0.05537 | -0.11602 | -0.055649 | 2.2661e-07 | -0.00027998 | 0.0037566 | 0.0037601 | 0.0037601 | 0.98791 | -0.0030794 | 0.98791 | -0.0030629 | 1.7091
93 | -0.1271 | -0.061557 | 0.1271 | 0.060994 | 5.4717e-07 | -0.00056255 | 0.004125 | 0.0041179 | 0.004125 | 0.98829 | -0.079788 | 0.9883 | -0.079826 | 1.875
94 | -0.1271 | -0.060994 | 0.1271 | 0.060793 | 1.9538e-07 | -0.00020134 | 0.0041179 | 0.0041153 | 0.0041179 | 0.9883 | -0.079826 | 0.9883 | -0.079839 | 1.8718
95 | -0.1271 | -0.060793 | 0.1271 | 0.059059 | 1.6729e-06 | -0.0017341 | 0.0041153 | 0.0040937 | 0.0041153 | 0.9883 | -0.079839 | 0.98831 | -0.079946 | 1.8706
96 | -0.36815 | -0.1758 | 0.36817 | 0.17404 | 1.434e-05 | -0.0017632 | 0.011916 | 0.011894 | 0.011916 | 0.98831 | -0.079946 | 0.98835 | -0.080271 | 5.4166
97 | -0.11861 | -0.057446 | 0.11861 | 0.057062 | 3.1577e-07 | -0.00038384 | 0.0038211 | 0.0038162 | 0.0038211 | 0.99565 | -0.072895 | 0.99565 | -0.072918 | 1.7368
98 | 0.07087 | 0.033916 | -0.07087 | -0.034324 | 1.1966e-07 | -0.00040788 | 0.002278 | 0.0022831 | 0.0022831 | 0.99565 | -0.072953 | 0.99565 | -0.072939 | 1.0378
99 | 0.11602 | 0.055649 | -0.11602 | -0.056193 | 4.408e-07 | -0.00054307 | 0.0037601 | 0.003767 | 0.003767 | 0.98791 | -0.0030629 | 0.9879 | -0.0030301 | 1.7123

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.5636 | 5.2379

## res_load
| p_mw | q_mvar
0 | 0.15697 | 0.076024
1 | 0.075322 | 0.03648
2 | 0.16056 | 0.077763
3 | 0.091547 | 0.044338
4 | 0.086185 | 0.041741
5 | 0.28865 | 0.1398
6 | 0.35111 | 0.17005
7 | 0.088992 | 0.043101
8 | 0.26257 | 0.12717
9 | 0.21065 | 0.10202
10 | 0.26937 | 0.13046
11 | 0.078518 | 0.038028
12 | 0.079138 | 0.038328
13 | 0.37754 | 0.18285
14 | 0.22421 | 0.10859
15 | 0.18172 | 0.088012
16 | 0.26598 | 0.12882
17 | 2.3556 | 1.1409
18 | 0.076683 | 0.037139
19 | 0.097472 | 0.047208
20 | 0.080453 | 0.038965
21 | 0.13882 | 0.067233
22 | 0.35752 | 0.17315
23 | 0.080924 | 0.039193
24 | 0.075137 | 0.03639
25 | 0.24158 | 0.117
26 | 0.21437 | 0.10382
27 | 0.23575 | 0.11418
28 | 0.31465 | 0.15239
29 | 0.41344 | 0.20024
30 | 0.07008 | 0.033941
31 | 0.24083 | 0.11664
32 | 0.16543 | 0.08012
33 | 0.24386 | 0.11811
34 | 0.26278 | 0.12727
35 | 0.18264 | 0.088455
36 | 0.086151 | 0.041725
37 | 0.16968 | 0.082182
38 | 0.35904 | 0.17389
39 | 0.1944 | 0.094153
40 | 0.11572 | 0.056047
41 | 0.41089 | 0.199
42 | 0.21657 | 0.10489
43 | 0.13541 | 0.065583
44 | 0.1271 | 0.061557
45 | 0.24105 | 0.11675
46 | 0.11861 | 0.057446
47 | 0.07087 | 0.034324
48 | 0.11602 | 0.056193

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1