## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_513_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_513_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_513_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_513_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_513_0_node_73 | 20 | n |  | TRUE
5 | bus_MV_513_0_node_19 | 20 | n |  | TRUE
6 | bus_MV_513_0_node_9 | 20 | n |  | TRUE
7 | bus_MV_513_0_node_15 | 20 | n |  | TRUE
8 | bus_MV_513_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_513_0_node_11 | 20 | n |  | TRUE
10 | bus_MV_513_0_node_39 | 20 | n |  | TRUE
11 | bus_MV_513_0_node_38 | 20 | n |  | TRUE
12 | bus_MV_513_0_node_18 | 20 | n |  | TRUE
13 | bus_MV_513_0_node_4 | 20 | n |  | TRUE
14 | bus_MV_513_0_node_95 | 20 | n |  | TRUE
15 | bus_MV_513_0_node_26 | 20 | n |  | TRUE
16 | bus_MV_513_0_node_8 | 20 | n |  | TRUE
17 | bus_MV_513_0_node_7 | 20 | n |  | TRUE
18 | bus_MV_513_0_node_80 | 20 | n |  | TRUE
19 | bus_MV_513_0_node_79 | 20 | n |  | TRUE
20 | bus_MV_513_0_node_93 | 20 | n |  | TRUE
21 | bus_MV_513_0_node_94 | 20 | n |  | TRUE
22 | bus_MV_513_0_node_23 | 20 | n |  | TRUE
23 | bus_MV_513_0_node_81 | 20 | n |  | TRUE
24 | bus_MV_513_0_node_37 | 20 | n |  | TRUE
25 | bus_MV_513_0_node_12 | 20 | n |  | TRUE
26 | bus_MV_513_0_node_13 | 20 | n |  | TRUE
27 | bus_MV_513_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_513_0_node_20 | 20 | n |  | TRUE
29 | bus_MV_513_0_node_30 | 20 | n |  | TRUE
30 | bus_MV_513_0_node_40 | 20 | n |  | TRUE
31 | bus_MV_513_0_node_74 | 20 | n |  | TRUE
32 | bus_MV_513_0_node_16 | 20 | n |  | TRUE
33 | bus_MV_513_0_node_14 | 20 | n |  | TRUE
34 | bus_MV_513_0_node_22 | 20 | n |  | TRUE
35 | bus_MV_513_0_node_32 | 20 | n |  | TRUE
36 | bus_MV_513_0_node_36 | 20 | n |  | TRUE
37 | bus_MV_513_0_node_29 | 20 | n |  | TRUE
38 | bus_MV_513_0_node_21 | 20 | n |  | TRUE
39 | bus_MV_513_0_node_28 | 20 | n |  | TRUE
40 | bus_MV_513_0_node_31 | 20 | n |  | TRUE
41 | bus_MV_513_0_node_33 | 20 | n |  | TRUE
42 | bus_MV_513_0_node_75 | 20 | n |  | TRUE
43 | bus_MV_513_0_node_76 | 20 | n |  | TRUE
44 | bus_MV_513_0_node_77 | 20 | n |  | TRUE
45 | bus_MV_513_0_node_78 | 20 | n |  | TRUE
46 | bus_MV_513_0_node_92 | 20 | n |  | TRUE
47 | bus_MV_513_0_node_24 | 20 | n |  | TRUE
48 | bus_MV_513_0_node_84 | 20 | n |  | TRUE
49 | bus_MV_513_0_node_27 | 20 | n |  | TRUE
50 | bus_MV_513_0_node_25 | 20 | n |  | TRUE
51 | bus_MV_513_0_node_85 | 20 | n |  | TRUE
52 | bus_MV_513_0_node_82 | 20 | n |  | TRUE
53 | bus_MV_513_0_node_97 | 20 | n |  | TRUE
54 | bus_MV_513_0_node_83 | 20 | n |  | TRUE
55 | bus_MV_513_0_node_86 | 20 | n |  | TRUE
56 | bus_MV_513_0_node_35 | 20 | n |  | TRUE
57 | bus_MV_513_0_node_52 | 20 | n |  | TRUE
58 | bus_MV_513_0_node_53 | 20 | n |  | TRUE
59 | bus_MV_513_0_node_65 | 20 | n |  | TRUE
60 | bus_MV_513_0_node_50 | 20 | n |  | TRUE
61 | bus_MV_513_0_node_51 | 20 | n |  | TRUE
62 | bus_MV_513_0_node_71 | 20 | n |  | TRUE
63 | bus_MV_513_0_node_49 | 20 | n |  | TRUE
64 | bus_MV_513_0_node_70 | 20 | n |  | TRUE
65 | bus_MV_513_0_node_48 | 20 | n |  | TRUE
66 | bus_MV_513_0_node_47 | 20 | n |  | TRUE
67 | bus_MV_513_0_node_41 | 20 | n |  | TRUE
68 | bus_MV_513_0_node_43 | 20 | n |  | TRUE
69 | bus_MV_513_0_node_45 | 20 | n |  | TRUE
70 | bus_MV_513_0_node_46 | 20 | n |  | TRUE
71 | bus_MV_513_0_node_42 | 20 | n |  | TRUE
72 | bus_MV_513_0_node_44 | 20 | n |  | TRUE
73 | bus_MV_513_0_node_54 | 20 | n |  | TRUE
74 | bus_MV_513_0_node_55 | 20 | n |  | TRUE
75 | bus_MV_513_0_node_57 | 20 | n |  | TRUE
76 | bus_MV_513_0_node_87 | 20 | n |  | TRUE
77 | bus_MV_513_0_node_100 | 20 | n |  | TRUE
78 | bus_MV_513_0_node_66 | 20 | n |  | TRUE
79 | bus_MV_513_0_node_72 | 20 | n |  | TRUE
80 | bus_MV_513_0_node_96 | 20 | n |  | TRUE
81 | bus_MV_513_0_node_99 | 20 | n |  | TRUE
82 | bus_MV_513_0_node_69 | 20 | n |  | TRUE
83 | bus_MV_513_0_node_63 | 20 | n |  | TRUE
84 | bus_MV_513_0_node_58 | 20 | n |  | TRUE
85 | bus_MV_513_0_node_59 | 20 | n |  | TRUE
86 | bus_MV_513_0_node_64 | 20 | n |  | TRUE
87 | bus_MV_513_0_node_61 | 20 | n |  | TRUE
88 | bus_MV_513_0_node_98 | 20 | n |  | TRUE
89 | bus_MV_513_0_node_91 | 20 | n |  | TRUE
90 | bus_MV_513_0_node_90 | 20 | n |  | TRUE
91 | bus_MV_513_0_node_88 | 20 | n |  | TRUE
92 | bus_MV_513_0_node_89 | 20 | n |  | TRUE
93 | bus_HV_513_0_node_24 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_513_0_load_0 | 0 | 0.41501 | 0.201 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_513_0_load_1 | 1 | 0.075293 | 0.036466 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_513_0_load_2 | 2 | 0.12808 | 0.062033 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_513_0_load_73 | 4 | 0.078171 | 0.03786 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_513_0_load_19 | 5 | 0.34753 | 0.16832 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_513_0_load_15 | 7 | 0.37513 | 0.18168 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_513_0_load_38 | 11 | 0.25676 | 0.12435 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_513_0_load_4 | 13 | 0.38079 | 0.18442 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_513_0_load_95 | 14 | 0.098711 | 0.047808 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_513_0_load_79 | 19 | 1.3918 | 0.67408 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_513_0_load_93 | 20 | 0.14673 | 0.071067 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_513_0_load_94 | 21 | 0.33166 | 0.16063 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_513_0_load_81 | 23 | 0.27223 | 0.13185 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_513_0_load_37 | 24 | 0.19875 | 0.096258 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_513_0_load_12 | 25 | 0.41219 | 0.19963 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_513_0_load_13 | 26 | 0.18313 | 0.088692 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_513_0_load_20 | 28 | 0.32897 | 0.15933 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_513_0_load_30 | 29 | 0.072131 | 0.034935 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_513_0_load_40 | 30 | 0.37737 | 0.18277 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_513_0_load_74 | 31 | 0.078054 | 0.037803 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_513_0_load_16 | 32 | 0.24029 | 0.11638 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_513_0_load_14 | 33 | 0.28219 | 0.13667 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_513_0_load_22 | 34 | 0.31872 | 0.15437 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_513_0_load_36 | 36 | 0.2171 | 0.10515 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_513_0_load_21 | 38 | 0.22425 | 0.10861 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_513_0_load_75 | 42 | 0.23516 | 0.11389 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_513_0_load_92 | 46 | 0.33868 | 0.16403 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_513_0_load_84 | 48 | 0.32715 | 0.15845 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_513_0_load_85 | 51 | 0.10028 | 0.048569 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_513_0_load_82 | 52 | 0.3446 | 0.1669 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_513_0_load_97 | 53 | 0.3907 | 0.18923 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_513_0_load_53 | 58 | 0.35301 | 0.17097 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_513_0_load_65 | 59 | 0.36543 | 0.17698 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_513_0_load_71 | 62 | 0.33087 | 0.16025 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_513_0_load_70 | 64 | 0.27298 | 0.13221 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_513_0_load_47 | 66 | 0.26264 | 0.1272 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_513_0_load_41 | 67 | 0.26351 | 0.12762 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_513_0_load_45 | 69 | 0.12538 | 0.060724 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_513_0_load_54 | 73 | 0.20065 | 0.097178 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_513_0_load_55 | 74 | 0.36384 | 0.17622 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_513_0_load_100 | 77 | 0.39125 | 0.18949 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_513_0_load_66 | 78 | 0.33998 | 0.16466 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_513_0_load_72 | 79 | 0.075772 | 0.036698 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_513_0_load_96 | 80 | 0.15051 | 0.072894 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_513_0_load_99 | 81 | 0.36225 | 0.17544 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_513_0_load_69 | 82 | 0.25963 | 0.12575 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_513_0_load_59 | 85 | 0.2046 | 0.099091 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_513_0_load_64 | 86 | 0.10876 | 0.052674 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_513_0_load_98 | 88 | 0.39913 | 0.19331 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_513_0_load_91 | 89 | 0.07422 | 0.035946 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_513_0_load_88 | 91 | 0.59045 | 0.28597 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_513_0_line_0 |  | 0 | 1 | 0.014317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_513_0_line_1 |  | 0 | 2 | 0.019365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_513_0_line_2 |  | 1 | 3 | 0.023514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_513_0_line_3 |  | 2 | 4 | 0.073494 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_513_0_line_4 |  | 3 | 5 | 0.001513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_513_0_line_5 |  | 4 | 10 | 0.023983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_513_0_line_6 |  | 5 | 12 | 0.008278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_513_0_line_7 |  | 6 | 7 | 0.016876 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
8 | MV_513_0_line_8 |  | 6 | 8 | 0.080214 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_513_0_line_9 |  | 7 | 24 | 0.016468 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
10 | MV_513_0_line_10 |  | 8 | 15 | 0.042833 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
11 | MV_513_0_line_11 |  | 9 | 10 | 0.016144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_513_0_line_12 |  | 9 | 11 | 0.039942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_513_0_line_13 |  | 12 | 32 | 0.023113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_513_0_line_14 |  | 13 | 14 | 0.043867 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_513_0_line_15 |  | 14 | 16 | 0.00219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_513_0_line_16 |  | 15 | 21 | 0.035344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_513_0_line_17 |  | 15 | 22 | 0.11828 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_513_0_line_18 |  | 16 | 20 | 0.0077965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_513_0_line_19 |  | 16 | 17 | 0.10101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_513_0_line_20 |  | 17 | 18 | 0.085391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_513_0_line_21 |  | 17 | 19 | 0.018342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_513_0_line_22 |  | 18 | 23 | 0.012372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_513_0_line_23 |  | 20 | 21 | 0.015926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_513_0_line_24 |  | 22 | 47 | 0.24349 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_513_0_line_25 |  | 22 | 34 | 0.029536 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_513_0_line_26 |  | 23 | 72 | 0.040855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_513_0_line_27 |  | 24 | 26 | 0.045756 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
28 | MV_513_0_line_28 |  | 25 | 26 | 0.028697 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_513_0_line_29 |  | 26 | 27 | 0.038251 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
30 | MV_513_0_line_30 |  | 27 | 32 | 0.013144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_513_0_line_31 |  | 27 | 28 | 0.026067 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_513_0_line_32 |  | 28 | 29 | 0.039939 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_513_0_line_33 |  | 28 | 30 | 0.16115 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_513_0_line_34 |  | 28 | 31 | 0.10231 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_513_0_line_35 |  | 29 | 39 | 0.013875 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_513_0_line_36 |  | 30 | 40 | 0.030097 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_513_0_line_37 |  | 33 | 34 | 0.065595 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_513_0_line_38 |  | 35 | 36 | 0.032366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_513_0_line_39 |  | 35 | 37 | 0.12913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_513_0_line_40 |  | 37 | 38 | 0.010399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_513_0_line_41 |  | 38 | 39 | 0.007651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_513_0_line_42 |  | 40 | 41 | 0.20887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_513_0_line_43 |  | 41 | 42 | 0.033774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_513_0_line_44 |  | 42 | 43 | 0.02889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_513_0_line_45 |  | 43 | 44 | 0.053141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_513_0_line_46 |  | 43 | 45 | 0.15651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_513_0_line_47 |  | 44 | 46 | 0.040468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_513_0_line_48 |  | 45 | 89 | 0.015083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_513_0_line_49 |  | 47 | 48 | 0.035117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_513_0_line_50 |  | 47 | 49 | 0.22692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_513_0_line_51 |  | 48 | 54 | 0.036065 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_513_0_line_52 |  | 49 | 53 | 0.03329 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_513_0_line_53 |  | 50 | 51 | 0.032997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_513_0_line_54 |  | 50 | 52 | 0.035375 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_513_0_line_55 |  | 51 | 55 | 0.033118 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_513_0_line_56 |  | 52 | 54 | 0.035569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_513_0_line_57 |  | 53 | 56 | 0.36297 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_513_0_line_58 |  | 55 | 76 | 0.098831 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_513_0_line_59 |  | 55 | 77 | 0.14469 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_513_0_line_60 |  | 55 | 63 | 0.40182 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_513_0_line_61 |  | 55 | 65 | 0.26726 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_513_0_line_62 |  | 56 | 57 | 0.13546 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_513_0_line_63 |  | 56 | 58 | 0.10529 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_513_0_line_64 |  | 57 | 59 | 0.042148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_513_0_line_65 |  | 60 | 61 | 0.23317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_513_0_line_66 |  | 60 | 62 | 0.054843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_513_0_line_67 |  | 61 | 78 | 0.013639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_513_0_line_68 |  | 62 | 79 | 0.012008 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_513_0_line_69 |  | 63 | 64 | 0.039977 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_513_0_line_70 |  | 65 | 66 | 0.034132 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_513_0_line_71 |  | 67 | 68 | 0.011985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_513_0_line_72 |  | 68 | 69 | 0.051561 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_513_0_line_73 |  | 68 | 70 | 0.15368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_513_0_line_74 |  | 69 | 71 | 0.033983 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_513_0_line_75 |  | 70 | 73 | 0.078763 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_513_0_line_76 |  | 71 | 72 | 0.22553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_513_0_line_77 |  | 73 | 74 | 0.27995 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_513_0_line_78 |  | 73 | 75 | 0.39181 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_513_0_line_79 |  | 75 | 84 | 0.44055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_513_0_line_80 |  | 75 | 85 | 0.022551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_513_0_line_81 |  | 76 | 80 | 0.029961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_513_0_line_82 |  | 78 | 83 | 0.036461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_513_0_line_83 |  | 79 | 80 | 0.38511 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_513_0_line_84 |  | 80 | 81 | 0.149 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_513_0_line_85 |  | 80 | 82 | 0.26759 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_513_0_line_86 |  | 83 | 87 | 0.58429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_513_0_line_87 |  | 84 | 86 | 0.060844 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_513_0_line_88 |  | 87 | 88 | 0.02946 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_513_0_line_89 |  | 89 | 90 | 0.015344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_513_0_line_90 |  | 90 | 92 | 0.028646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_513_0_line_91 |  | 91 | 92 | 0.04482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_513_0_trafo_24 | 25 MVA 110/20 kV | 93 | 47 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2697212.3917 | 1261786.0073
1 | 2697226.4304 | 1261788.8155
2 | 2697216.1901 | 1261767.0188
3 | 2697249.4874 | 1261793.4276
4 | 2697198.3873 | 1261695.7136
5 | 2697250.9745 | 1261793.7301
6 | 2697250.0264 | 1261713.0266
7 | 2697266.8467 | 1261711.7298
8 | 2697245.7369 | 1261632.9576
9 | 2697168.8247 | 1261710.4013
10 | 2697174.4052 | 1261695.4919
11 | 2697129.1994 | 1261704.5236
12 | 2697259.1166 | 1261795.3542
13 | 2697198.2245 | 1261629.1515
14 | 2697201.4383 | 1261585.402
15 | 2697260.1013 | 1261592.6053
16 | 2697201.7828 | 1261583.2392
17 | 2697250.635 | 1261541.8195
18 | 2697292.5956 | 1261547.8143
19 | 2697253.2514 | 1261523.6646
20 | 2697209.4807 | 1261584.4755
21 | 2697225.2048 | 1261587.0009
22 | 2697360.2795 | 1261610.3898
23 | 2697294.4439 | 1261535.5816
24 | 2697268.3836 | 1261728.1257
25 | 2697325.1711 | 1261765.8831
26 | 2697296.4331 | 1261764.2758
27 | 2697294.7717 | 1261802.4907
28 | 2697320.3319 | 1261807.6042
29 | 2697360.1654 | 1261810.5024
30 | 2697464.5341 | 1261879.5479
31 | 2697331.3111 | 1261909.3251
32 | 2697281.845 | 1261799.9094
33 | 2697376.4422 | 1261703.843
34 | 2697368.6981 | 1261638.7069
35 | 2697478.1603 | 1261795.8264
36 | 2697506.6584 | 1261784.0976
37 | 2697383.3398 | 1261820.3514
38 | 2697373.2955 | 1261817.5505
39 | 2697373.5195 | 1261809.9035
40 | 2697493.7942 | 1261884.1894
41 | 2697465.9025 | 1261962.9162
42 | 2697499.6048 | 1261965.1143
43 | 2697528.4336 | 1261966.9945
44 | 2697549.3746 | 1261998.0763
45 | 2697617.7073 | 1261971.6041
46 | 2697540.1373 | 1262037.4761
47 | 2697526.0927 | 1261521.4929
48 | 2697559.7936 | 1261511.963
49 | 2697614.666 | 1261610.9154
50 | 2697634.7715 | 1261519.2503
51 | 2697662.128 | 1261501.6696
52 | 2697620.057 | 1261487.0813
53 | 2697639.5465 | 1261633.0329
54 | 2697584.7536 | 1261485.9312
55 | 2697688.7218 | 1261481.9327
56 | 2697869.8072 | 1261913.611
57 | 2697980.5805 | 1261922.3407
58 | 2697849.4088 | 1262016.9024
59 | 2698021.8884 | 1261930.7137
60 | 2698117.0053 | 1261319.4875
61 | 2698085.7684 | 1261167.6681
62 | 2698064.43 | 1261303.8928
63 | 2698081.8173 | 1261565.2267
64 | 2698120.4906 | 1261575.354
65 | 2697927.8829 | 1261601.2283
66 | 2697925.8564 | 1261635.3003
67 | 2697403.8641 | 1261290.925
68 | 2697394.1375 | 1261283.8814
69 | 2697363.9837 | 1261325.7064
70 | 2697394.4351 | 1261168.3813
71 | 2697388.2636 | 1261349.4825
72 | 2697302.3604 | 1261495.7436
73 | 2697398.3313 | 1261089.7148
74 | 2697406.4839 | 1260809.8885
75 | 2697709.8334 | 1260852.0577
76 | 2697652.7247 | 1261401.8843
77 | 2697823.0474 | 1261535.696
78 | 2698073.2736 | 1261162.1993
79 | 2698052.9545 | 1261300.3581
80 | 2697677.1813 | 1261384.6491
81 | 2697825.7002 | 1261372.6626
82 | 2697810.0516 | 1261152.38
83 | 2698039.8716 | 1261147.5799
84 | 2697651.819 | 1260638.1484
85 | 2697724.1781 | 1260834.6249
86 | 2697617.2634 | 1260588.2044
87 | 2698060.1715 | 1260833.3828
88 | 2698042.969 | 1260809.4671
89 | 2697632.741 | 1261972.8234
90 | 2697648.0353 | 1261974.0622
91 | 2697635.2471 | 1261919.4981
92 | 2697650.3607 | 1261945.5106
93 | 2697526.0927 | 1261521.4929

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99794 | -0.02368 | 0.41501 | 0.201
1 | 0.99796 | -0.023829 | 0.075293 | 0.036466
2 | 0.99793 | -0.023575 | 0.12808 | 0.062033
3 | 0.99799 | -0.024094 | 0 | 0
4 | 0.99788 | -0.023886 | 0.078171 | 0.03786
5 | 0.99799 | -0.024111 | 0.34753 | 0.16832
6 | 0.99858 | -0.013439 | 0 | 0
7 | 0.99855 | -0.013549 | 0.37513 | 0.18168
8 | 0.99872 | -0.012914 | 0 | 0
9 | 0.99787 | -0.023766 | 0 | 0
10 | 0.99788 | -0.023815 | 0 | 0
11 | 0.99786 | -0.023644 | 0.25676 | 0.12435
12 | 0.998 | -0.024238 | 0 | 0
13 | 0.99856 | -0.0020767 | 0.38079 | 0.18442
14 | 0.99859 | -0.0018742 | 0.098711 | 0.047808
15 | 0.99887 | -0.0044177 | 0 | 0
16 | 0.99859 | -0.0018868 | 0 | 0
17 | 0.99821 | 0.0014808 | 0 | 0
18 | 0.99805 | 0.0029165 | 0 | 0
19 | 0.99818 | 0.001787 | 1.3918 | 0.67408
20 | 0.99862 | -0.0021908 | 0.14673 | 0.071067
21 | 0.9987 | -0.0028394 | 0.33166 | 0.16063
22 | 0.99922 | -0.0030423 | 0 | 0
23 | 0.99802 | 0.0031255 | 0.27223 | 0.13185
24 | 0.99851 | -0.014009 | 0.19875 | 0.096258
25 | 0.99824 | -0.020122 | 0.41219 | 0.19963
26 | 0.99825 | -0.020264 | 0.18313 | 0.088692
27 | 0.99807 | -0.024833 | 0 | 0
28 | 0.99794 | -0.025682 | 0.32897 | 0.15933
29 | 0.9979 | -0.025946 | 0.072131 | 0.034935
30 | 0.99744 | -0.029062 | 0.37737 | 0.18277
31 | 0.99792 | -0.025779 | 0.078054 | 0.037803
32 | 0.99804 | -0.024594 | 0.24029 | 0.11638
33 | 0.99917 | -0.0030546 | 0.28219 | 0.13667
34 | 0.9992 | -0.0028304 | 0.31872 | 0.15437
35 | 0.99785 | -0.025496 | 0 | 0
36 | 0.99784 | -0.025412 | 0.2171 | 0.10515
37 | 0.99789 | -0.025814 | 0 | 0
38 | 0.99789 | -0.025838 | 0.22425 | 0.10861
39 | 0.99789 | -0.025877 | 0 | 0
40 | 0.99739 | -0.028643 | 0 | 0
41 | 0.99706 | -0.025697 | 0 | 0
42 | 0.99701 | -0.025214 | 0.23516 | 0.11389
43 | 0.99697 | -0.024881 | 0 | 0
44 | 0.99695 | -0.02467 | 0 | 0
45 | 0.99684 | -0.023672 | 0 | 0
46 | 0.99693 | -0.024506 | 0.33868 | 0.16403
47 | 1 | 0 | -14.5022 | -6.9011
48 | 0.99984 | 0.001454 | 0.32715 | 0.15845
49 | 0.99968 | 0.0029051 | 0 | 0
50 | 0.99926 | -8.7934e-05 | 0 | 0
51 | 0.99914 | 0.0010174 | 0.10028 | 0.048569
52 | 0.99946 | 0.0012616 | 0.3446 | 0.1669
53 | 0.99961 | 0.0024449 | 0.3907 | 0.18923
54 | 0.99961 | -7.4383e-05 | 0 | 0
55 | 0.99902 | 0.0020889 | 0 | 0
56 | 0.99911 | -0.00085195 | 0 | 0
57 | 0.99904 | -0.00028127 | 0 | 0
58 | 0.99903 | -0.0013025 | 0.35301 | 0.17097
59 | 0.99902 | -9.7995e-05 | 0.36543 | 0.17698
60 | 0.99779 | -0.00069258 | 0 | 0
61 | 0.99757 | 0.001112 | 0 | 0
62 | 0.99784 | -0.0011049 | 0.33087 | 0.16025
63 | 0.9988 | 0.00075073 | 0 | 0
64 | 0.99878 | 0.00061846 | 0.27298 | 0.13221
65 | 0.99888 | 0.0012344 | 0 | 0
66 | 0.99886 | 0.0011257 | 0.26264 | 0.1272
67 | 0.99743 | 0.0069225 | 0.26351 | 0.12762
68 | 0.99744 | 0.0068846 | 0 | 0
69 | 0.99751 | 0.0062357 | 0.12538 | 0.060724
70 | 0.99726 | 0.0083588 | 0 | 0
71 | 0.99759 | 0.0068125 | 0 | 0
72 | 0.99796 | 0.0036838 | 0 | 0
73 | 0.99713 | 0.0074292 | 0.20065 | 0.097178
74 | 0.99693 | 0.006187 | 0.36384 | 0.17622
75 | 0.9969 | 0.0055119 | 0 | 0
76 | 0.99878 | 0.0042057 | 0 | 0
77 | 0.99891 | 0.0014024 | 0.39125 | 0.18949
78 | 0.99756 | 0.0012202 | 0.33998 | 0.16466
79 | 0.99785 | -0.0012423 | 0.075772 | 0.036698
80 | 0.9987 | 0.0048505 | 0.15051 | 0.072894
81 | 0.9986 | 0.0041954 | 0.36225 | 0.17544
82 | 0.99857 | 0.0040051 | 0.25963 | 0.12575
83 | 0.99754 | 0.0013616 | 0 | 0
84 | 0.99684 | 0.0059003 | 0 | 0
85 | 0.99689 | 0.0055671 | 0.2046 | 0.099091
86 | 0.99683 | 0.0059772 | 0.10876 | 0.052674
87 | 0.99724 | 0.0039054 | 0 | 0
88 | 0.99722 | 0.0037625 | 0.39913 | 0.19331
89 | 0.99682 | -0.023554 | 0.07422 | 0.035946
90 | 0.99681 | -0.023446 | 0 | 0
91 | 0.99676 | -0.022928 | 0.59045 | 0.28597
92 | 0.99679 | -0.023245 | 0 | 0
93 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.87805 | -0.42281 | 0.87806 | 0.42247 | 1.5187e-05 | -0.00033592 | 0.028191 | 0.028186 | 0.028191 | 0.99794 | -0.02368 | 0.99796 | -0.023829 | 12.8139
1 | 0.46304 | 0.22181 | -0.46303 | -0.22227 | 5.7045e-06 | -0.00045876 | 0.014852 | 0.014858 | 0.014858 | 0.99794 | -0.02368 | 0.99793 | -0.023575 | 6.7534
2 | -0.95335 | -0.45894 | 0.95338 | 0.45838 | 2.9398e-05 | -0.00055042 | 0.030606 | 0.030599 | 0.030606 | 0.99796 | -0.023829 | 0.99799 | -0.024094 | 13.9119
3 | 0.33495 | 0.16023 | -0.33494 | -0.16031 | 1.5108e-05 | -7.7908e-05 | 0.010741 | 0.010742 | 0.010742 | 0.99793 | -0.023575 | 0.99788 | -0.023886 | 5.1152
4 | -0.95338 | -0.45838 | 0.95338 | 0.45835 | 1.8914e-06 | -3.5418e-05 | 0.030599 | 0.030599 | 0.030599 | 0.99799 | -0.024094 | 0.99799 | -0.024111 | 13.9087
5 | 0.25677 | 0.12245 | -0.25676 | -0.12302 | 2.1702e-06 | -0.00056955 | 0.0082294 | 0.0082365 | 0.0082365 | 0.99788 | -0.023886 | 0.99788 | -0.023815 | 3.7439
6 | -1.3009 | -0.62667 | 1.3009 | 0.62648 | 1.9279e-05 | -0.00019114 | 0.041768 | 0.041766 | 0.041768 | 0.99799 | -0.024111 | 0.998 | -0.024238 | 18.9856
7 | 5.2507 | 2.5167 | -5.2506 | -2.5177 | 0.00014776 | -0.00097409 | 0.16833 | 0.16834 | 0.16834 | 0.99858 | -0.013439 | 0.99855 | -0.013549 | 26.3854
8 | -5.2507 | -2.5167 | 5.2514 | 2.512 | 0.00070201 | -0.0046311 | 0.16833 | 0.16826 | 0.16833 | 0.99858 | -0.013439 | 0.99872 | -0.012914 | 26.3833
9 | 4.8754 | 2.336 | -4.8752 | -2.3364 | 0.00019429 | -0.00042209 | 0.15629 | 0.1563 | 0.1563 | 0.99855 | -0.013549 | 0.99851 | -0.014009 | 43.1757
10 | -5.2514 | -2.512 | 5.2518 | 2.5132 | 0.00043293 | 0.0011051 | 0.16826 | 0.16826 | 0.16826 | 0.99872 | -0.012914 | 0.99887 | -0.0044177 | 26.0872
11 | -0.25676 | -0.12341 | 0.25676 | 0.12302 | 1.4629e-06 | -0.00038338 | 0.0082413 | 0.0082365 | 0.0082413 | 0.99787 | -0.023766 | 0.99788 | -0.023815 | 3.746
12 | 0.25676 | 0.12341 | -0.25676 | -0.12435 | 3.6268e-06 | -0.00094852 | 0.0082413 | 0.0082532 | 0.0082532 | 0.99787 | -0.023766 | 0.99786 | -0.023644 | 3.7515
13 | -1.3009 | -0.62648 | 1.301 | 0.62594 | 5.3816e-05 | -0.00053371 | 0.041766 | 0.041759 | 0.041766 | 0.998 | -0.024238 | 0.99804 | -0.024594 | 18.9845
14 | -0.38079 | -0.18442 | 0.3808 | 0.18438 | 1.1693e-05 | -4.4896e-05 | 0.012232 | 0.012231 | 0.012232 | 0.99856 | -0.0020767 | 0.99859 | -0.0018742 | 5.8245
15 | -0.47951 | -0.23219 | 0.47951 | 0.23214 | 6.9346e-07 | -5.1936e-05 | 0.015401 | 0.015401 | 0.015401 | 0.99859 | -0.0018742 | 0.99859 | -0.0018868 | 7.0007
16 | 3.8925 | 1.8531 | -3.8918 | -1.8537 | 0.00073251 | -0.00062453 | 0.12459 | 0.1246 | 0.1246 | 0.99887 | -0.0044177 | 0.9987 | -0.0028394 | 56.6377
17 | -9.1444 | -4.3663 | 9.1475 | 4.3606 | 0.0031335 | -0.0056529 | 0.29285 | 0.29276 | 0.29285 | 0.99887 | -0.0044177 | 0.99922 | -0.0030423 | 45.9019
18 | -3.413 | -1.6225 | 3.4131 | 1.6223 | 0.00012422 | -0.00014879 | 0.10925 | 0.10924 | 0.10925 | 0.99859 | -0.0018868 | 0.99862 | -0.0021908 | 49.6571
19 | 2.9335 | 1.3903 | -2.9323 | -1.3924 | 0.0011879 | -0.0020515 | 0.093845 | 0.093875 | 0.093875 | 0.99859 | -0.0018868 | 0.99821 | 0.0014808 | 42.6704
20 | 1.5405 | 0.71874 | -1.5402 | -0.72069 | 0.00027563 | -0.0019494 | 0.049159 | 0.049184 | 0.049184 | 0.99821 | 0.0014808 | 0.99805 | 0.0029165 | 22.3565
21 | 1.3918 | 0.67366 | -1.3918 | -0.67408 | 4.8973e-05 | -0.00042184 | 0.044718 | 0.044723 | 0.044723 | 0.99821 | 0.0014808 | 0.99818 | 0.001787 | 20.3288
22 | 1.5402 | 0.72069 | -1.5402 | -0.72097 | 3.9959e-05 | -0.00028238 | 0.049184 | 0.049188 | 0.049188 | 0.99805 | 0.0029165 | 0.99802 | 0.0031255 | 22.3582
23 | -3.5599 | -1.6934 | 3.5602 | 1.6931 | 0.00027608 | -0.00029733 | 0.11396 | 0.11395 | 0.11396 | 0.99862 | -0.0021908 | 0.9987 | -0.0028394 | 51.7982
24 | -9.7485 | -4.6509 | 9.7558 | 4.6397 | 0.0073217 | -0.011164 | 0.31204 | 0.31185 | 0.31204 | 0.99922 | -0.0030423 | 1 | 0 | 48.9094
25 | 0.60094 | 0.29027 | -0.60093 | -0.29097 | 1.4664e-05 | -0.00069975 | 0.01928 | 0.019289 | 0.019289 | 0.99922 | -0.0030423 | 0.9992 | -0.0028304 | 8.7678
26 | 1.2679 | 0.58912 | -1.2678 | -0.59006 | 8.9223e-05 | -0.00094508 | 0.04044 | 0.040452 | 0.040452 | 0.99802 | 0.0031255 | 0.99796 | 0.0036838 | 18.3871
27 | 4.6765 | 2.2401 | -4.6755 | -2.2391 | 0.00094398 | 0.0010224 | 0.14991 | 0.14991 | 0.14991 | 0.99851 | -0.014009 | 0.99825 | -0.020264 | 42.8321
28 | -0.41219 | -0.19963 | 0.4122 | 0.19895 | 6.7159e-06 | -0.00068078 | 0.013244 | 0.013236 | 0.013244 | 0.99824 | -0.020122 | 0.99825 | -0.020264 | 6.0202
29 | 4.0802 | 1.9515 | -4.0796 | -1.9508 | 0.0006007 | 0.00063918 | 0.13079 | 0.13079 | 0.13079 | 0.99825 | -0.020264 | 0.99807 | -0.024833 | 37.3695
30 | 1.5413 | 0.74202 | -1.5413 | -0.74232 | 4.2959e-05 | -0.00029986 | 0.049477 | 0.049481 | 0.049481 | 0.99807 | -0.024833 | 0.99804 | -0.024594 | 22.4915
31 | 2.5383 | 1.2088 | -2.538 | -1.2086 | 0.0003071 | 0.00016136 | 0.081316 | 0.081316 | 0.081316 | 0.99807 | -0.024833 | 0.99794 | -0.025682 | 38.7221
32 | 0.51352 | 0.24406 | -0.5135 | -0.2441 | 1.9249e-05 | -3.5424e-05 | 0.016447 | 0.016448 | 0.016448 | 0.99794 | -0.025682 | 0.9979 | -0.025946 | 7.8322
33 | 1.6174 | 0.76757 | -1.6167 | -0.76728 | 0.00077014 | 0.00029089 | 0.051789 | 0.051791 | 0.051791 | 0.99794 | -0.025682 | 0.99744 | -0.029062 | 24.6626
34 | 0.078056 | 0.037683 | -0.078054 | -0.037803 | 1.1466e-06 | -0.00012092 | 0.0025073 | 0.0025088 | 0.0025088 | 0.99794 | -0.025682 | 0.99792 | -0.025779 | 1.1947
35 | 0.44137 | 0.20916 | -0.44136 | -0.20949 | 3.6989e-06 | -0.00032879 | 0.014129 | 0.014133 | 0.014133 | 0.9979 | -0.025946 | 0.99789 | -0.025877 | 6.4242
36 | 1.2393 | 0.58451 | -1.2392 | -0.58521 | 6.3202e-05 | -0.00069614 | 0.039657 | 0.039665 | 0.039665 | 0.99744 | -0.029062 | 0.99739 | -0.028643 | 18.0297
37 | -0.28219 | -0.13667 | 0.2822 | 0.1366 | 9.5898e-06 | -7.2173e-05 | 0.0090589 | 0.0090579 | 0.0090589 | 0.99917 | -0.0030546 | 0.9992 | -0.0028304 | 4.3138
38 | 0.2171 | 0.10438 | -0.2171 | -0.10515 | 2.1013e-06 | -0.00076882 | 0.0069688 | 0.0069785 | 0.0069785 | 0.99785 | -0.025496 | 0.99784 | -0.025412 | 3.172
39 | -0.2171 | -0.10438 | 0.21711 | 0.10131 | 8.3262e-06 | -0.0030676 | 0.0069688 | 0.0069308 | 0.0069688 | 0.99785 | -0.025496 | 0.99789 | -0.025814 | 3.1676
40 | -0.21711 | -0.10131 | 0.21711 | 0.10106 | 6.6658e-07 | -0.00024704 | 0.0069308 | 0.0069278 | 0.0069308 | 0.99789 | -0.025814 | 0.99789 | -0.025838 | 3.1504
41 | -0.44136 | -0.20967 | 0.44136 | 0.20949 | 2.0406e-06 | -0.0001813 | 0.014136 | 0.014133 | 0.014136 | 0.99789 | -0.025838 | 0.99789 | -0.025877 | 6.4252
42 | 1.2392 | 0.58521 | -1.2388 | -0.59004 | 0.00043939 | -0.004829 | 0.039665 | 0.039727 | 0.039727 | 0.99739 | -0.028643 | 0.99706 | -0.025697 | 18.0577
43 | 1.2388 | 0.59004 | -1.2387 | -0.59082 | 7.1177e-05 | -0.0007805 | 0.039727 | 0.039737 | 0.039737 | 0.99706 | -0.025697 | 0.99701 | -0.025214 | 18.0622
44 | 1.0036 | 0.47692 | -1.0035 | -0.4776 | 3.9929e-05 | -0.00067379 | 0.032172 | 0.03218 | 0.03218 | 0.99701 | -0.025214 | 0.99697 | -0.024881 | 14.6273
45 | 0.3387 | 0.16181 | -0.33869 | -0.16307 | 8.3927e-06 | -0.0012586 | 0.010869 | 0.010885 | 0.010885 | 0.99697 | -0.024881 | 0.99695 | -0.02467 | 4.9476
46 | 0.66482 | 0.31578 | -0.66473 | -0.31947 | 9.51e-05 | -0.0036855 | 0.021311 | 0.021358 | 0.021358 | 0.99697 | -0.024881 | 0.99684 | -0.023672 | 9.708
47 | 0.33869 | 0.16307 | -0.33868 | -0.16403 | 6.4077e-06 | -0.00095841 | 0.010885 | 0.010897 | 0.010897 | 0.99695 | -0.02467 | 0.99693 | -0.024506 | 4.9531
48 | 0.66473 | 0.31947 | -0.66472 | -0.31982 | 9.1868e-06 | -0.00035512 | 0.021358 | 0.021362 | 0.021362 | 0.99684 | -0.023672 | 0.99682 | -0.023554 | 9.71
49 | 3.6224 | 1.7235 | -3.6218 | -1.7242 | 0.00062875 | -0.00065182 | 0.1158 | 0.11581 | 0.11581 | 1 | 0 | 0.99984 | 0.001454 | 52.6423
50 | 1.11 | 0.52733 | -1.1096 | -0.53264 | 0.00038196 | -0.0053029 | 0.035475 | 0.035542 | 0.035542 | 1 | 0 | 0.99968 | 0.0029051 | 16.1556
51 | 3.2946 | 1.5657 | -3.2939 | -1.5653 | 0.00071273 | 0.0004034 | 0.10532 | 0.10532 | 0.10532 | 0.99984 | 0.001454 | 0.99961 | -7.4383e-05 | 50.1518
52 | 1.1096 | 0.53264 | -1.1095 | -0.53263 | 7.4928e-05 | 7.2193e-06 | 0.035542 | 0.035543 | 0.035543 | 0.99968 | 0.0029051 | 0.99961 | 0.0024449 | 16.9252
53 | 2.9482 | 1.3988 | -2.9478 | -1.3995 | 0.00039153 | -0.00067045 | 0.094271 | 0.094281 | 0.094281 | 0.99926 | -8.7934e-05 | 0.99914 | 0.0010174 | 42.8549
54 | -2.9482 | -1.3988 | 2.9488 | 1.3991 | 0.00056012 | 0.00030866 | 0.094271 | 0.094271 | 0.094271 | 0.99926 | -8.7934e-05 | 0.99946 | 0.0012616 | 44.891
55 | 2.8475 | 1.3509 | -2.8472 | -1.3516 | 0.00036665 | -0.0006805 | 0.091062 | 0.091071 | 0.091071 | 0.99914 | 0.0010174 | 0.99902 | 0.0020889 | 41.3961
56 | -3.2934 | -1.566 | 3.2939 | 1.5653 | 0.00052675 | -0.00069221 | 0.10533 | 0.10532 | 0.10533 | 0.99946 | 0.0012616 | 0.99961 | -7.4383e-05 | 47.8769
57 | 0.71883 | 0.3434 | -0.71849 | -0.34362 | 0.00034237 | -0.00021831 | 0.023006 | 0.023012 | 0.023012 | 0.99961 | 0.0024449 | 0.99911 | -0.00085195 | 10.9579
58 | 1.9202 | 0.90367 | -1.9197 | -0.90588 | 0.00049638 | -0.0022073 | 0.061322 | 0.061351 | 0.061351 | 0.99902 | 0.0020889 | 0.99878 | 0.0042057 | 27.8869
59 | 0.39129 | 0.18934 | -0.39125 | -0.18949 | 4.0679e-05 | -0.00014689 | 0.012561 | 0.012563 | 0.012563 | 0.99902 | 0.0020889 | 0.99891 | 0.0014024 | 5.9824
60 | 0.27304 | 0.13172 | -0.27299 | -0.13217 | 5.4975e-05 | -0.00044422 | 0.0087599 | 0.0087659 | 0.0087659 | 0.99902 | 0.0020889 | 0.9988 | 0.00075073 | 4.1742
61 | 0.26268 | 0.12687 | -0.26265 | -0.12717 | 3.3851e-05 | -0.00029719 | 0.0084294 | 0.0084334 | 0.0084334 | 0.99902 | 0.0020889 | 0.99888 | 0.0012344 | 4.0159
62 | 0.36546 | 0.17276 | -0.36544 | -0.17598 | 2.4755e-05 | -0.003221 | 0.01168 | 0.01172 | 0.01172 | 0.99911 | -0.00085195 | 0.99904 | -0.00028127 | 5.3272
63 | 0.35303 | 0.17086 | -0.35301 | -0.17097 | 2.4093e-05 | -0.00011037 | 0.011332 | 0.011334 | 0.011334 | 0.99911 | -0.00085195 | 0.99903 | -0.0013025 | 5.397
64 | 0.36544 | 0.17598 | -0.36543 | -0.17698 | 7.7371e-06 | -0.0010021 | 0.01172 | 0.011733 | 0.011733 | 0.99904 | -0.00028127 | 0.99902 | -9.7995e-05 | 5.333
65 | 0.73944 | 0.33742 | -0.73927 | -0.34291 | 0.00017262 | -0.0054902 | 0.023515 | 0.023582 | 0.023582 | 0.99779 | -0.00069258 | 0.99757 | 0.001112 | 10.7192
66 | -0.73944 | -0.33742 | 0.73948 | 0.33613 | 4.0459e-05 | -0.0012917 | 0.023515 | 0.0235 | 0.023515 | 0.99779 | -0.00069258 | 0.99784 | -0.0011049 | 10.6887
67 | 0.73927 | 0.34291 | -0.73926 | -0.34323 | 1.0128e-05 | -0.00032106 | 0.023582 | 0.023586 | 0.023586 | 0.99757 | 0.001112 | 0.99756 | 0.0012202 | 10.721
68 | -1.0703 | -0.49638 | 1.0704 | 0.4961 | 1.8674e-05 | -0.00027992 | 0.034133 | 0.03413 | 0.034133 | 0.99784 | -0.0011049 | 0.99785 | -0.0012423 | 15.515
69 | 0.27299 | 0.13217 | -0.27298 | -0.13221 | 5.4736e-06 | -4.4181e-05 | 0.0087659 | 0.0087665 | 0.0087665 | 0.9988 | 0.00075073 | 0.99878 | 0.00061846 | 4.1745
70 | 0.26265 | 0.12717 | -0.26264 | -0.1272 | 4.3254e-06 | -3.7946e-05 | 0.0084334 | 0.0084339 | 0.0084339 | 0.99888 | 0.0012344 | 0.99886 | 0.0011257 | 4.0161
71 | -0.26351 | -0.12762 | 0.26351 | 0.12734 | 1.1484e-06 | -0.00028435 | 0.0084738 | 0.0084702 | 0.0084738 | 0.99743 | 0.0069225 | 0.99744 | 0.0068846 | 3.8517
72 | -1.1418 | -0.53573 | 1.1419 | 0.53453 | 9.1675e-05 | -0.0011977 | 0.036502 | 0.036487 | 0.036502 | 0.99744 | 0.0068846 | 0.99751 | 0.0062357 | 16.5916
73 | 0.87826 | 0.40839 | -0.8781 | -0.41199 | 0.00016147 | -0.0036019 | 0.028032 | 0.028077 | 0.028077 | 0.99744 | 0.0068846 | 0.99726 | 0.0083588 | 12.7622
74 | -1.2672 | -0.59526 | 1.2673 | 0.59528 | 9.9398e-05 | 2.1889e-05 | 0.040518 | 0.040517 | 0.040518 | 0.99751 | 0.0062357 | 0.99759 | 0.0068125 | 19.2942
75 | 0.8781 | 0.41199 | -0.87799 | -0.41202 | 0.00011063 | -2.4207e-05 | 0.028077 | 0.028078 | 0.028078 | 0.99726 | 0.0083588 | 0.99713 | 0.0074292 | 13.3704
76 | -1.2673 | -0.59528 | 1.2678 | 0.59006 | 0.00049347 | -0.0052145 | 0.040517 | 0.040452 | 0.040517 | 0.99759 | 0.0068125 | 0.99796 | 0.0036838 | 18.4169
77 | 0.36391 | 0.17593 | -0.36384 | -0.17622 | 6.8324e-05 | -0.00028942 | 0.011702 | 0.011706 | 0.011706 | 0.99713 | 0.0074292 | 0.99693 | 0.006187 | 5.5743
78 | 0.31343 | 0.13891 | -0.31336 | -0.13934 | 6.8808e-05 | -0.00042186 | 0.0099253 | 0.0099308 | 0.0099308 | 0.99713 | 0.0074292 | 0.9969 | 0.0055119 | 4.7289
79 | 0.10877 | 0.04078 | -0.10876 | -0.05123 | 6.8779e-06 | -0.010451 | 0.0033636 | 0.0034815 | 0.0034815 | 0.9969 | 0.0055119 | 0.99684 | 0.0059003 | 1.5825
80 | 0.2046 | 0.098556 | -0.2046 | -0.099091 | 1.3033e-06 | -0.0005347 | 0.0065762 | 0.0065829 | 0.0065829 | 0.9969 | 0.0055119 | 0.99689 | 0.0055671 | 2.9922
81 | 1.9197 | 0.90588 | -1.9195 | -0.90654 | 0.00015057 | -0.00066888 | 0.061351 | 0.06136 | 0.06136 | 0.99878 | 0.0042057 | 0.9987 | 0.0048505 | 27.8909
82 | 0.39928 | 0.17857 | -0.39927 | -0.17944 | 7.8045e-06 | -0.00086397 | 0.012657 | 0.012668 | 0.012668 | 0.99756 | 0.0012202 | 0.99754 | 0.0013616 | 5.758
83 | -1.1461 | -0.5328 | 1.1471 | 0.53291 | 0.00091723 | 0.00011636 | 0.036565 | 0.036559 | 0.036565 | 0.99785 | -0.0012423 | 0.9987 | 0.0048505 | 17.4118
84 | 0.36228 | 0.17529 | -0.36225 | -0.17544 | 3.5934e-05 | -0.00015489 | 0.011633 | 0.011635 | 0.011635 | 0.9987 | 0.0048505 | 0.9986 | 0.0041954 | 5.5407
85 | 0.25967 | 0.12545 | -0.25963 | -0.12575 | 3.3143e-05 | -0.00029782 | 0.0083357 | 0.0083397 | 0.0083397 | 0.9987 | 0.0048505 | 0.99857 | 0.0040051 | 3.9713
86 | 0.39927 | 0.17944 | -0.39914 | -0.19328 | 0.00012683 | -0.01384 | 0.012668 | 0.012837 | 0.012837 | 0.99754 | 0.0013616 | 0.99724 | 0.0039054 | 5.8352
87 | 0.10876 | 0.05123 | -0.10876 | -0.052674 | 9.8959e-07 | -0.0014432 | 0.0034815 | 0.0034995 | 0.0034995 | 0.99684 | 0.0059003 | 0.99683 | 0.0059772 | 1.5907
88 | 0.39914 | 0.19328 | -0.39913 | -0.19331 | 8.6504e-06 | -2.9556e-05 | 0.012837 | 0.012838 | 0.012838 | 0.99724 | 0.0039054 | 0.99722 | 0.0037625 | 6.1133
89 | 0.5905 | 0.28388 | -0.59049 | -0.28424 | 7.3765e-06 | -0.00036185 | 0.018974 | 0.018978 | 0.018978 | 0.99682 | -0.023554 | 0.99681 | -0.023446 | 8.6266
90 | 0.59049 | 0.28424 | -0.59048 | -0.28491 | 1.3781e-05 | -0.0006755 | 0.018978 | 0.018987 | 0.018987 | 0.99681 | -0.023446 | 0.99679 | -0.023245 | 8.6305
91 | -0.59045 | -0.28597 | 0.59048 | 0.28491 | 2.1586e-05 | -0.0010568 | 0.019 | 0.018987 | 0.019 | 0.99676 | -0.022928 | 0.99679 | -0.023245 | 8.6366

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.5022 | 6.9011

## res_load
| p_mw | q_mvar
0 | 0.41501 | 0.201
1 | 0.075293 | 0.036466
2 | 0.12808 | 0.062033
3 | 0.078171 | 0.03786
4 | 0.34753 | 0.16832
5 | 0.37513 | 0.18168
6 | 0.25676 | 0.12435
7 | 0.38079 | 0.18442
8 | 0.098711 | 0.047808
9 | 1.3918 | 0.67408
10 | 0.14673 | 0.071067
11 | 0.33166 | 0.16063
12 | 0.27223 | 0.13185
13 | 0.19875 | 0.096258
14 | 0.41219 | 0.19963
15 | 0.18313 | 0.088692
16 | 0.32897 | 0.15933
17 | 0.072131 | 0.034935
18 | 0.37737 | 0.18277
19 | 0.078054 | 0.037803
20 | 0.24029 | 0.11638
21 | 0.28219 | 0.13667
22 | 0.31872 | 0.15437
23 | 0.2171 | 0.10515
24 | 0.22425 | 0.10861
25 | 0.23516 | 0.11389
26 | 0.33868 | 0.16403
27 | 0.32715 | 0.15845
28 | 0.10028 | 0.048569
29 | 0.3446 | 0.1669
30 | 0.3907 | 0.18923
31 | 0.35301 | 0.17097
32 | 0.36543 | 0.17698
33 | 0.33087 | 0.16025
34 | 0.27298 | 0.13221
35 | 0.26264 | 0.1272
36 | 0.26351 | 0.12762
37 | 0.12538 | 0.060724
38 | 0.20065 | 0.097178
39 | 0.36384 | 0.17622
40 | 0.39125 | 0.18949
41 | 0.33998 | 0.16466
42 | 0.075772 | 0.036698
43 | 0.15051 | 0.072894
44 | 0.36225 | 0.17544
45 | 0.25963 | 0.12575
46 | 0.2046 | 0.099091
47 | 0.10876 | 0.052674
48 | 0.39913 | 0.19331
49 | 0.07422 | 0.035946
50 | 0.59045 | 0.28597

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1