## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_514_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_514_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_514_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_514_0_node_49 | 20 | n |  | TRUE
4 | bus_MV_514_0_node_48 | 20 | n |  | TRUE
5 | bus_MV_514_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_514_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_514_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_514_0_node_7 | 20 | n |  | TRUE
9 | bus_MV_514_0_node_8 | 20 | n |  | TRUE
10 | bus_MV_514_0_node_9 | 20 | n |  | TRUE
11 | bus_MV_514_0_node_94 | 20 | n |  | TRUE
12 | bus_MV_514_0_node_6 | 20 | n |  | TRUE
13 | bus_MV_514_0_node_23 | 20 | n |  | TRUE
14 | bus_MV_514_0_node_98 | 20 | n |  | TRUE
15 | bus_MV_514_0_node_11 | 20 | n |  | TRUE
16 | bus_MV_514_0_node_20 | 20 | n |  | TRUE
17 | bus_MV_514_0_node_28 | 20 | n |  | TRUE
18 | bus_MV_514_0_node_59 | 20 | n |  | TRUE
19 | bus_MV_514_0_node_10 | 20 | n |  | TRUE
20 | bus_MV_514_0_node_25 | 20 | n |  | TRUE
21 | bus_MV_514_0_node_87 | 20 | n |  | TRUE
22 | bus_MV_514_0_node_89 | 20 | n |  | TRUE
23 | bus_MV_514_0_node_22 | 20 | n |  | TRUE
24 | bus_MV_514_0_node_99 | 20 | n |  | TRUE
25 | bus_MV_514_0_node_21 | 20 | n |  | TRUE
26 | bus_MV_514_0_node_24 | 20 | n |  | TRUE
27 | bus_MV_514_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_514_0_node_93 | 20 | n |  | TRUE
29 | bus_MV_514_0_node_26 | 20 | n |  | TRUE
30 | bus_MV_514_0_node_12 | 20 | n |  | TRUE
31 | bus_MV_514_0_node_13 | 20 | n |  | TRUE
32 | bus_MV_514_0_node_15 | 20 | n |  | TRUE
33 | bus_MV_514_0_node_16 | 20 | n |  | TRUE
34 | bus_MV_514_0_node_88 | 20 | n |  | TRUE
35 | bus_MV_514_0_node_60 | 20 | n |  | TRUE
36 | bus_MV_514_0_node_18 | 20 | n |  | TRUE
37 | bus_MV_514_0_node_19 | 20 | n |  | TRUE
38 | bus_MV_514_0_node_27 | 20 | n |  | TRUE
39 | bus_MV_514_0_node_29 | 20 | n |  | TRUE
40 | bus_MV_514_0_node_33 | 20 | n |  | TRUE
41 | bus_MV_514_0_node_30 | 20 | n |  | TRUE
42 | bus_MV_514_0_node_78 | 20 | n |  | TRUE
43 | bus_MV_514_0_node_79 | 20 | n |  | TRUE
44 | bus_MV_514_0_node_31 | 20 | n |  | TRUE
45 | bus_MV_514_0_node_66 | 20 | n |  | TRUE
46 | bus_MV_514_0_node_65 | 20 | n |  | TRUE
47 | bus_MV_514_0_node_77 | 20 | n |  | TRUE
48 | bus_MV_514_0_node_80 | 20 | n |  | TRUE
49 | bus_MV_514_0_node_67 | 20 | n |  | TRUE
50 | bus_MV_514_0_node_73 | 20 | n |  | TRUE
51 | bus_MV_514_0_node_71 | 20 | n |  | TRUE
52 | bus_MV_514_0_node_72 | 20 | n |  | TRUE
53 | bus_MV_514_0_node_81 | 20 | n |  | TRUE
54 | bus_MV_514_0_node_90 | 20 | n |  | TRUE
55 | bus_MV_514_0_node_34 | 20 | n |  | TRUE
56 | bus_MV_514_0_node_35 | 20 | n |  | TRUE
57 | bus_MV_514_0_node_36 | 20 | n |  | TRUE
58 | bus_MV_514_0_node_37 | 20 | n |  | TRUE
59 | bus_MV_514_0_node_38 | 20 | n |  | TRUE
60 | bus_MV_514_0_node_50 | 20 | n |  | TRUE
61 | bus_MV_514_0_node_45 | 20 | n |  | TRUE
62 | bus_MV_514_0_node_56 | 20 | n |  | TRUE
63 | bus_MV_514_0_node_64 | 20 | n |  | TRUE
64 | bus_MV_514_0_node_51 | 20 | n |  | TRUE
65 | bus_MV_514_0_node_43 | 20 | n |  | TRUE
66 | bus_MV_514_0_node_58 | 20 | n |  | TRUE
67 | bus_MV_514_0_node_54 | 20 | n |  | TRUE
68 | bus_MV_514_0_node_62 | 20 | n |  | TRUE
69 | bus_MV_514_0_node_39 | 20 | n |  | TRUE
70 | bus_MV_514_0_node_40 | 20 | n |  | TRUE
71 | bus_MV_514_0_node_41 | 20 | n |  | TRUE
72 | bus_MV_514_0_node_85 | 20 | n |  | TRUE
73 | bus_MV_514_0_node_102 | 20 | n |  | TRUE
74 | bus_MV_514_0_node_100 | 20 | n |  | TRUE
75 | bus_MV_514_0_node_83 | 20 | n |  | TRUE
76 | bus_MV_514_0_node_103 | 20 | n |  | TRUE
77 | bus_MV_514_0_node_44 | 20 | n |  | TRUE
78 | bus_MV_514_0_node_46 | 20 | n |  | TRUE
79 | bus_MV_514_0_node_47 | 20 | n |  | TRUE
80 | bus_MV_514_0_node_52 | 20 | n |  | TRUE
81 | bus_MV_514_0_node_53 | 20 | n |  | TRUE
82 | bus_MV_514_0_node_55 | 20 | n |  | TRUE
83 | bus_MV_514_0_node_57 | 20 | n |  | TRUE
84 | bus_MV_514_0_node_76 | 20 | n |  | TRUE
85 | bus_MV_514_0_node_74 | 20 | n |  | TRUE
86 | bus_MV_514_0_node_61 | 20 | n |  | TRUE
87 | bus_MV_514_0_node_63 | 20 | n |  | TRUE
88 | bus_MV_514_0_node_82 | 20 | n |  | TRUE
89 | bus_MV_514_0_node_84 | 20 | n |  | TRUE
90 | bus_MV_514_0_node_86 | 20 | n |  | TRUE
91 | bus_MV_514_0_node_92 | 20 | n |  | TRUE
92 | bus_MV_514_0_node_68 | 20 | n |  | TRUE
93 | bus_MV_514_0_node_95 | 20 | n |  | TRUE
94 | bus_MV_514_0_node_96 | 20 | n |  | TRUE
95 | bus_MV_514_0_node_69 | 20 | n |  | TRUE
96 | bus_MV_514_0_node_70 | 20 | n |  | TRUE
97 | bus_MV_514_0_node_97 | 20 | n |  | TRUE
98 | bus_MV_514_0_node_75 | 20 | n |  | TRUE
99 | bus_HV_514_0_node_55 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_514_0_load_0 | 0 | 0.2925 | 0.14166 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_514_0_load_2 | 2 | 0.10815 | 0.052381 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_514_0_load_49 | 3 | 2.0527 | 0.99415 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_514_0_load_3 | 5 | 0.15571 | 0.075415 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_514_0_load_94 | 11 | 0.42624 | 0.20644 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_514_0_load_98 | 14 | 0.40589 | 0.19658 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_514_0_load_20 | 16 | 0.27925 | 0.13525 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_514_0_load_59 | 18 | 0.51453 | 0.2492 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_514_0_load_25 | 20 | 0.34831 | 0.1687 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_514_0_load_87 | 21 | 0.27016 | 0.13084 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_514_0_load_89 | 22 | 0.29093 | 0.14091 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_514_0_load_99 | 24 | 0.2696 | 0.13057 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_514_0_load_24 | 26 | 0.21604 | 0.10463 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_514_0_load_17 | 27 | 0.35079 | 0.16989 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_514_0_load_93 | 28 | 0.20811 | 0.10079 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_514_0_load_26 | 29 | 0.37456 | 0.18141 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_514_0_load_12 | 30 | 0.1984 | 0.096091 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_514_0_load_88 | 34 | 0.30251 | 0.14651 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_514_0_load_60 | 35 | 0.14051 | 0.068051 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_514_0_load_78 | 42 | 0.16658 | 0.080681 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_514_0_load_79 | 43 | 0.094851 | 0.045939 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_514_0_load_66 | 45 | 0.16126 | 0.0781 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_514_0_load_65 | 46 | 0.10723 | 0.051932 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_514_0_load_80 | 48 | 0.094752 | 0.045891 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_514_0_load_73 | 50 | 0.084119 | 0.040741 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_514_0_load_71 | 51 | 0.098645 | 0.047776 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_514_0_load_81 | 53 | 0.072057 | 0.034899 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_514_0_load_34 | 55 | 0.054682 | 0.026483 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_514_0_load_50 | 60 | 0.26605 | 0.12885 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_514_0_load_64 | 63 | 0.98927 | 0.47913 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_514_0_load_51 | 64 | 0.16453 | 0.079684 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_514_0_load_43 | 65 | 1.0694 | 0.51795 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_514_0_load_58 | 66 | 0.10395 | 0.050345 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_514_0_load_62 | 68 | 0.41047 | 0.1988 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_514_0_load_39 | 69 | 0.22036 | 0.10672 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_514_0_load_102 | 73 | 0.26923 | 0.13039 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_514_0_load_100 | 74 | 0.22994 | 0.11136 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_514_0_load_103 | 76 | 0.38004 | 0.18406 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_514_0_load_47 | 79 | 1.7939 | 0.86883 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_514_0_load_52 | 80 | 1.1869 | 0.57483 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_514_0_load_53 | 81 | 0.094752 | 0.045891 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_514_0_load_76 | 84 | 0.094744 | 0.045887 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_514_0_load_74 | 85 | 0.5623 | 0.27233 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_514_0_load_61 | 86 | 0.1155 | 0.055939 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_514_0_load_63 | 87 | 0.44086 | 0.21352 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_514_0_load_82 | 88 | 0.11097 | 0.053744 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_514_0_load_86 | 90 | 0.10969 | 0.053125 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_514_0_load_92 | 91 | 0.31196 | 0.15109 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_514_0_load_95 | 93 | 0.35363 | 0.17127 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_514_0_load_69 | 95 | 0.089129 | 0.043167 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_514_0_load_97 | 97 | 0.16692 | 0.080843 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_514_0_line_0 |  | 0 | 1 | 0.061069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_514_0_line_1 |  | 1 | 2 | 0.084883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_514_0_line_2 |  | 2 | 3 | 0.024767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_514_0_line_3 |  | 3 | 4 | 0.0035534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_514_0_line_4 |  | 4 | 78 | 0.024179 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_514_0_line_5 |  | 5 | 6 | 0.0246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_514_0_line_6 |  | 6 | 7 | 0.14371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_514_0_line_7 |  | 6 | 8 | 0.7692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_514_0_line_8 |  | 6 | 9 | 0.4235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_514_0_line_9 |  | 6 | 10 | 0.98301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_514_0_line_10 |  | 7 | 11 | 0.014621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_514_0_line_11 |  | 8 | 15 | 0.30959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_514_0_line_12 |  | 8 | 16 | 0.029796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_514_0_line_13 |  | 8 | 12 | 0.5361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_514_0_line_14 |  | 9 | 17 | 0.24901 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
15 | MV_514_0_line_15 |  | 9 | 18 | 0.025156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_514_0_line_16 |  | 10 | 19 | 0.29507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_514_0_line_17 |  | 10 | 20 | 0.062511 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_514_0_line_18 |  | 12 | 13 | 0.53952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_514_0_line_19 |  | 12 | 14 | 0.015277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_514_0_line_20 |  | 13 | 28 | 0.082377 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_514_0_line_21 |  | 15 | 22 | 0.032883 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_514_0_line_22 |  | 17 | 29 | 0.037199 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_514_0_line_23 |  | 19 | 21 | 0.029138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_514_0_line_24 |  | 23 | 24 | 0.017372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_514_0_line_25 |  | 23 | 25 | 0.42683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_514_0_line_26 |  | 25 | 26 | 0.083946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_514_0_line_27 |  | 25 | 27 | 0.30436 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_514_0_line_28 |  | 27 | 36 | 0.043762 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_514_0_line_29 |  | 28 | 37 | 0.05319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_514_0_line_30 |  | 29 | 38 | 0.022214 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_514_0_line_31 |  | 30 | 31 | 0.099809 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_514_0_line_32 |  | 31 | 32 | 0.52891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_514_0_line_33 |  | 31 | 33 | 0.51676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_514_0_line_34 |  | 32 | 34 | 0.053581 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_514_0_line_35 |  | 33 | 35 | 0.017148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_514_0_line_36 |  | 33 | 36 | 0.33804 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_514_0_line_37 |  | 36 | 37 | 0.4137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_514_0_line_38 |  | 38 | 39 | 0.14775 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_514_0_line_39 |  | 38 | 40 | 0.321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_514_0_line_40 |  | 39 | 41 | 0.15411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_514_0_line_41 |  | 39 | 42 | 0.00071628 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_514_0_line_42 |  | 40 | 46 | 0.10286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_514_0_line_43 |  | 40 | 44 | 0.087179 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_514_0_line_44 |  | 41 | 43 | 0.019775 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_514_0_line_45 |  | 42 | 47 | 0.026578 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_514_0_line_46 |  | 43 | 48 | 5.5511e-05 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_514_0_line_47 |  | 44 | 45 | 0.017227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_514_0_line_48 |  | 45 | 49 | 0.043731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_514_0_line_49 |  | 46 | 53 | 1.2979 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_514_0_line_50 |  | 46 | 54 | 0.80618 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_514_0_line_51 |  | 47 | 98 | 0.035273 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_514_0_line_52 |  | 49 | 92 | 0.004328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_514_0_line_53 |  | 50 | 51 | 0.038031 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_514_0_line_54 |  | 50 | 52 | 0.072053 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_514_0_line_55 |  | 51 | 96 | 0.035866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_514_0_line_56 |  | 52 | 97 | 0.049747 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_514_0_line_57 |  | 52 | 94 | 0.069412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_514_0_line_58 |  | 53 | 88 | 0.013236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_514_0_line_59 |  | 54 | 91 | 0.13458 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_514_0_line_60 |  | 55 | 56 | 0.035218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_514_0_line_61 |  | 55 | 57 | 0.12757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_514_0_line_62 |  | 56 | 58 | 0.36661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_514_0_line_63 |  | 57 | 59 | 1.4713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_514_0_line_64 |  | 58 | 60 | 0.029823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_514_0_line_65 |  | 59 | 61 | 0.60084 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
66 | MV_514_0_line_66 |  | 59 | 62 | 0.061087 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
67 | MV_514_0_line_67 |  | 59 | 63 | 0.051739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_514_0_line_68 |  | 60 | 64 | 0.058966 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_514_0_line_69 |  | 61 | 65 | 0.039572 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
70 | MV_514_0_line_70 |  | 62 | 66 | 0.011745 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_514_0_line_71 |  | 62 | 67 | 0.015292 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
72 | MV_514_0_line_72 |  | 63 | 68 | 0.046128 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_514_0_line_73 |  | 65 | 77 | 0.026376 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
74 | MV_514_0_line_74 |  | 67 | 80 | 0.029456 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
75 | MV_514_0_line_75 |  | 68 | 87 | 0.040177 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_514_0_line_76 |  | 68 | 86 | 0.041951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_514_0_line_77 |  | 69 | 70 | 0.004138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_514_0_line_78 |  | 70 | 71 | 0.3014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_514_0_line_79 |  | 71 | 76 | 0.013888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_514_0_line_80 |  | 71 | 73 | 0.43496 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_514_0_line_81 |  | 72 | 73 | 0.024634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_514_0_line_82 |  | 72 | 74 | 0.16869 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_514_0_line_83 |  | 72 | 75 | 0.35385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_514_0_line_84 |  | 75 | 89 | 0.007563 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_514_0_line_85 |  | 75 | 88 | 0.023797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_514_0_line_86 |  | 77 | 78 | 0.028026 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
87 | MV_514_0_line_87 |  | 78 | 79 | 0.059708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_514_0_line_88 |  | 80 | 81 | 0.0027579 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
89 | MV_514_0_line_89 |  | 81 | 82 | 0.024329 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
90 | MV_514_0_line_90 |  | 82 | 83 | 0.009438 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
91 | MV_514_0_line_91 |  | 83 | 84 | 0.009859 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
92 | MV_514_0_line_92 |  | 84 | 85 | 0.014406 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
93 | MV_514_0_line_93 |  | 85 | 98 | 0.0049863 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
94 | MV_514_0_line_94 |  | 89 | 90 | 0.023071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_514_0_line_95 |  | 92 | 93 | 0.052699 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_514_0_line_96 |  | 93 | 94 | 0.011417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_514_0_line_97 |  | 95 | 96 | 0.02869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_514_0_trafo_55 | 25 MVA 110/20 kV | 99 | 82 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2674662.5496 | 1250155.5809
1 | 2674723.7435 | 1250154.1842
2 | 2674790.4881 | 1250205.8446
3 | 2674809.7554 | 1250221.4066
4 | 2674808.1076 | 1250224.5547
5 | 2675786.337 | 1250372.1314
6 | 2675794.7831 | 1250349.2672
7 | 2675839.6884 | 1250404.0925
8 | 2675628.1192 | 1250168.1958
9 | 2675916.7168 | 1250547.216
10 | 2676066.3457 | 1250025.0873
11 | 2675854.2523 | 1250405.8023
12 | 2675406.7244 | 1250099.0587
13 | 2675475.6113 | 1249877.9081
14 | 2675422.0176 | 1250098.1082
15 | 2675785.2338 | 1250070.6424
16 | 2675632.5346 | 1250138.7308
17 | 2675668.2705 | 1250530.405
18 | 2675915.1375 | 1250572.3224
19 | 2675945.1205 | 1249857.9561
20 | 2676029.0539 | 1250075.2566
21 | 2675927.5551 | 1249834.6698
22 | 2675814.7582 | 1250056.165
23 | 2674933.118 | 1250050.7297
24 | 2674927.6793 | 1250034.2267
25 | 2675091.2912 | 1250045.8608
26 | 2675175.0286 | 1250039.9536
27 | 2675088.9199 | 1249741.5102
28 | 2675498.8613 | 1249798.8802
29 | 2675631.0465 | 1250527.8837
30 | 2675647.449 | 1249787.2435
31 | 2675747.25 | 1249786.0058
32 | 2676023.5943 | 1249632.2868
33 | 2675444.1995 | 1249662.3186
34 | 2675976.388 | 1249657.6334
35 | 2675443.9962 | 1249645.1955
36 | 2675108.5484 | 1249702.3971
37 | 2675446.2088 | 1249790.3148
38 | 2675608.8177 | 1250526.3768
39 | 2675464.9872 | 1250505.6067
40 | 2675532.9893 | 1250747.9826
41 | 2675408.7499 | 1250447.6267
42 | 2675464.2752 | 1250505.5291
43 | 2675389.1015 | 1250445.3956
44 | 2675576.4466 | 1250710.9317
45 | 2675593.0632 | 1250715.475
46 | 2675533.5055 | 1250850.7792
47 | 2675437.8547 | 1250502.637
48 | 2675389.0464 | 1250445.3893
49 | 2675636.2186 | 1250721.1571
50 | 2675765.1793 | 1250648.2472
51 | 2675794.297 | 1250672.7124
52 | 2675774.3107 | 1250719.7197
53 | 2675517.8622 | 1252148.5698
54 | 2675807.2257 | 1251609.0675
55 | 2674619.4114 | 1250606.1645
56 | 2674584.181 | 1250603.6082
57 | 2674747.0279 | 1250615.4235
58 | 2674339.7374 | 1250497.6497
59 | 2675349.3164 | 1250408.1756
60 | 2674369.4755 | 1250499.9013
61 | 2674865.4742 | 1250289.3815
62 | 2675384.6616 | 1250434.4107
63 | 2675350.5779 | 1250356.4515
64 | 2674398.8125 | 1250551.0518
65 | 2674832.6614 | 1250267.2626
66 | 2675396.3359 | 1250435.699
67 | 2675371.2768 | 1250438.5324
68 | 2675348.4768 | 1250310.3716
69 | 2675259.9043 | 1252730.9466
70 | 2675256.1832 | 1252732.7785
71 | 2675132.31 | 1252570.1208
72 | 2675474.2622 | 1252300.0681
73 | 2675457.8554 | 1252281.6568
74 | 2675528.1172 | 1252459.927
75 | 2675537.6972 | 1252179.8439
76 | 2675119.2317 | 1252565.3404
77 | 2674810.6039 | 1250252.8623
78 | 2674827.9002 | 1250238.5258
79 | 2674877.1514 | 1250272.2498
80 | 2675368.3786 | 1250467.8308
81 | 2675368.0711 | 1250470.5715
82 | 2675364.3051 | 1250494.5845
83 | 2675373.7137 | 1250495.616
84 | 2675383.5141 | 1250496.6889
85 | 2675397.8345 | 1250498.2566
86 | 2675351.2883 | 1250268.5146
87 | 2675388.2142 | 1250316.2987
88 | 2675524.9515 | 1252159.7477
89 | 2675545.1066 | 1252178.226
90 | 2675558.4517 | 1252197.0457
91 | 2675680.6211 | 1251654.694
92 | 2675640.5586 | 1250721.2125
93 | 2675693.2575 | 1250721.3408
94 | 2675704.7053 | 1250721.0869
95 | 2675858.8428 | 1250673.7898
96 | 2675830.1552 | 1250673.4556
97 | 2675779.2714 | 1250769.2191
98 | 2675402.7913 | 1250498.7992
99 | 2675364.3051 | 1250494.5845

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99828 | -0.0050784 | 0.2925 | 0.14166
1 | 0.9983 | -0.0052901 | 0 | 0
2 | 0.99833 | -0.0055747 | 0.10815 | 0.052381
3 | 0.99835 | -0.0056879 | 2.0527 | 0.99415
4 | 0.99836 | -0.0057916 | 0 | 0
5 | 0.99662 | 0.0053543 | 0.15571 | 0.075415
6 | 0.99662 | 0.0053086 | 0 | 0
7 | 0.99654 | 0.0060276 | 0 | 0
8 | 0.99402 | 0.025498 | 0 | 0
9 | 0.9987 | -0.010523 | 0 | 0
10 | 0.99585 | 0.011413 | 0 | 0
11 | 0.99654 | 0.0061025 | 0.42624 | 0.20644
12 | 0.99259 | 0.036732 | 0 | 0
13 | 0.99143 | 0.045859 | 0 | 0
14 | 0.99258 | 0.036807 | 0.40589 | 0.19658
15 | 0.9939 | 0.026515 | 0 | 0
16 | 0.99401 | 0.025598 | 0.27925 | 0.13525
17 | 0.99929 | -0.0034875 | 0 | 0
18 | 0.99868 | -0.010368 | 0.51453 | 0.2492
19 | 0.99575 | 0.012296 | 0 | 0
20 | 0.99581 | 0.011148 | 0.34831 | 0.1687
21 | 0.99574 | 0.01239 | 0.27016 | 0.13084
22 | 0.99388 | 0.026398 | 0.29093 | 0.14091
23 | 0.98978 | 0.04949 | 0 | 0
24 | 0.98977 | 0.049547 | 0.2696 | 0.13057
25 | 0.98993 | 0.048234 | 0 | 0
26 | 0.9899 | 0.04845 | 0.21604 | 0.10463
27 | 0.99021 | 0.050388 | 0.35079 | 0.16989
28 | 0.99116 | 0.043796 | 0.20811 | 0.10079
29 | 0.99934 | -0.0032086 | 0.37456 | 0.18141
30 | 0.9895 | 0.049764 | 0.1984 | 0.096091
31 | 0.98954 | 0.050009 | 0 | 0
32 | 0.98933 | 0.05175 | 0 | 0
33 | 0.98987 | 0.047472 | 0 | 0
34 | 0.9893 | 0.051549 | 0.30251 | 0.14651
35 | 0.98986 | 0.047501 | 0.14051 | 0.068051
36 | 0.99028 | 0.050888 | 0 | 0
37 | 0.99106 | 0.044587 | 0 | 0
38 | 0.99937 | -0.0030317 | 0 | 0
39 | 0.99973 | -0.0012821 | 0 | 0
40 | 0.99824 | 0.0069295 | 0 | 0
41 | 0.9997 | -0.00095507 | 0 | 0
42 | 0.99974 | -0.0012734 | 0.16658 | 0.080681
43 | 0.99969 | -0.00091048 | 0.094851 | 0.045939
44 | 0.99814 | 0.0078928 | 0 | 0
45 | 0.99812 | 0.0080846 | 0.16126 | 0.0781
46 | 0.998 | 0.009029 | 0.10723 | 0.051932
47 | 0.9998 | -0.00094401 | 0 | 0
48 | 0.99969 | -0.00091042 | 0.094752 | 0.045891
49 | 0.99807 | 0.0084887 | 0 | 0
50 | 0.9979 | 0.0081701 | 0.084119 | 0.040741
51 | 0.99789 | 0.0080784 | 0.098645 | 0.047776
52 | 0.99794 | 0.0084178 | 0 | 0
53 | 0.99451 | -0.01517 | 0.072057 | 0.034899
54 | 0.99752 | 0.0059323 | 0 | 0
55 | 0.99868 | 0.0048457 | 0.054682 | 0.026483
56 | 0.99866 | 0.0050053 | 0 | 0
57 | 0.99876 | 0.0041999 | 0 | 0
58 | 0.99846 | 0.0067787 | 0 | 0
59 | 0.99965 | -0.0014525 | 0 | 0
60 | 0.99844 | 0.006932 | 0.26605 | 0.12885
61 | 0.9986 | -0.0054399 | 0 | 0
62 | 0.9998 | -0.00080944 | 0 | 0
63 | 0.99952 | -0.00024628 | 0.98927 | 0.47913
64 | 0.99842 | 0.0068143 | 0.16453 | 0.079684
65 | 0.99853 | -0.0056911 | 1.0694 | 0.51795
66 | 0.9998 | -0.00079494 | 0.10395 | 0.050345
67 | 0.99984 | -0.00064603 | 0 | 0
68 | 0.99943 | -0.00078999 | 0.41047 | 0.1988
69 | 0.99333 | -0.012736 | 0.22036 | 0.10672
70 | 0.99334 | -0.012747 | 0 | 0
71 | 0.99342 | -0.013481 | 0 | 0
72 | 0.99395 | -0.010239 | 0 | 0
73 | 0.99393 | -0.0099929 | 0.26923 | 0.13039
74 | 0.99388 | -0.010715 | 0.22994 | 0.11136
75 | 0.99445 | -0.014654 | 0 | 0
76 | 0.99341 | -0.013417 | 0.38004 | 0.18406
77 | 0.9985 | -0.0058248 | 0 | 0
78 | 0.99843 | -0.0064967 | 0 | 0
79 | 0.9983 | -0.0052137 | 1.7939 | 0.86883
80 | 0.99992 | -0.00033069 | 1.1869 | 0.57483
81 | 0.99993 | -0.00029732 | 0.094752 | 0.045891
82 | 1 | 0 | -17.7398 | -8.2661
83 | 0.99997 | -0.00012485 | 0 | 0
84 | 0.99995 | -0.00025519 | 0.094744 | 0.045887
85 | 0.99991 | -0.0004439 | 0.5623 | 0.27233
86 | 0.99943 | -0.00073329 | 0.1155 | 0.055939
87 | 0.9994 | -0.0010044 | 0.44086 | 0.21352
88 | 0.99449 | -0.014975 | 0.11097 | 0.053744
89 | 0.99445 | -0.014645 | 0 | 0
90 | 0.99445 | -0.014614 | 0.10969 | 0.053125
91 | 0.99744 | 0.0054215 | 0.31196 | 0.15109
92 | 0.99807 | 0.0085289 | 0 | 0
93 | 0.99799 | 0.0080056 | 0.35363 | 0.17127
94 | 0.99798 | 0.0080633 | 0 | 0
95 | 0.99788 | 0.0081444 | 0.089129 | 0.043167
96 | 0.99788 | 0.0081143 | 0 | 0
97 | 0.99792 | 0.008317 | 0.16692 | 0.080843
98 | 0.99989 | -0.00050591 | 0 | 0
99 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.2925 | -0.14166 | 0.29251 | 0.14021 | 7.1868e-06 | -0.001451 | 0.0093981 | 0.0093799 | 0.0093981 | 0.99828 | -0.0050784 | 0.9983 | -0.0052901 | 4.2719
1 | -0.29251 | -0.14021 | 0.29252 | 0.1382 | 9.9432e-06 | -0.0020169 | 0.0093799 | 0.0093548 | 0.0093799 | 0.9983 | -0.0052901 | 0.99833 | -0.0055747 | 4.2636
2 | -0.40067 | -0.19058 | 0.40068 | 0.18999 | 5.439e-06 | -0.00058777 | 0.012829 | 0.012822 | 0.012829 | 0.99833 | -0.0055747 | 0.99835 | -0.0056879 | 5.8316
3 | -2.4533 | -1.1841 | 2.4534 | 1.1841 | 2.9433e-05 | -7.583e-05 | 0.07877 | 0.078769 | 0.07877 | 0.99835 | -0.0056879 | 0.99836 | -0.0057916 | 35.8047
4 | -2.4534 | -1.1841 | 2.4536 | 1.1836 | 0.00020026 | -0.00051605 | 0.078769 | 0.078762 | 0.078769 | 0.99836 | -0.0057916 | 0.99843 | -0.0064967 | 35.8042
5 | -0.15571 | -0.075415 | 0.15571 | 0.074832 | 8.2357e-07 | -0.00058314 | 0.0050114 | 0.0050041 | 0.0050114 | 0.99662 | 0.0053543 | 0.99662 | 0.0053086 | 2.2779
6 | 0.42628 | 0.20269 | -0.42624 | -0.20609 | 3.5975e-05 | -0.0033973 | 0.013672 | 0.013715 | 0.013715 | 0.99662 | 0.0053086 | 0.99654 | 0.0060276 | 6.234
7 | 2.6774 | 1.193 | -2.67 | -1.209 | 0.0074209 | -0.015993 | 0.084902 | 0.085118 | 0.085118 | 0.99662 | 0.0053086 | 0.99402 | 0.025498 | 38.69
8 | -3.8784 | -1.7392 | 3.887 | 1.7317 | 0.0085615 | -0.0075247 | 0.12312 | 0.123 | 0.12312 | 0.99662 | 0.0053086 | 0.9987 | -0.010523 | 55.9623
9 | 0.61902 | 0.26866 | -0.61852 | -0.29181 | 0.00050842 | -0.023143 | 0.019546 | 0.019825 | 0.019825 | 0.99662 | 0.0053086 | 0.99585 | 0.011413 | 9.0112
10 | 0.42624 | 0.20609 | -0.42624 | -0.20644 | 3.6726e-06 | -0.00034559 | 0.013715 | 0.013719 | 0.013719 | 0.99654 | 0.0060276 | 0.99654 | 0.0061025 | 6.2359
11 | 0.29098 | 0.13358 | -0.29094 | -0.14087 | 3.6078e-05 | -0.0072922 | 0.0092982 | 0.0093887 | 0.0093887 | 0.99402 | 0.025498 | 0.9939 | 0.026515 | 4.2676
12 | 0.27925 | 0.13455 | -0.27925 | -0.13525 | 3.2267e-06 | -0.00070196 | 0.0090021 | 0.009011 | 0.009011 | 0.99402 | 0.025498 | 0.99401 | 0.025598 | 4.0959
13 | 2.0997 | 0.94087 | -2.0965 | -0.95255 | 0.0032028 | -0.011679 | 0.066821 | 0.066972 | 0.066972 | 0.99402 | 0.025498 | 0.99259 | 0.036732 | 30.4417
14 | -4.4015 | -1.9803 | 4.4038 | 1.9734 | 0.0023392 | -0.0068256 | 0.13951 | 0.13941 | 0.13951 | 0.9987 | -0.010523 | 0.99929 | -0.0034875 | 38.5384
15 | 0.51454 | 0.2486 | -0.51453 | -0.2492 | 9.167e-06 | -0.00059634 | 0.016518 | 0.016525 | 0.016525 | 0.9987 | -0.010523 | 0.99868 | -0.010368 | 7.5115
16 | 0.27019 | 0.12318 | -0.27016 | -0.13015 | 2.9475e-05 | -0.0069774 | 0.0086077 | 0.0086936 | 0.0086936 | 0.99585 | 0.011413 | 0.99575 | 0.012296 | 3.9516
17 | 0.34833 | 0.16863 | -0.34831 | -0.1687 | 1.4018e-05 | -6.5225e-05 | 0.011218 | 0.011219 | 0.011219 | 0.99585 | 0.011413 | 0.99581 | 0.011148 | 5.3425
18 | 1.6906 | 0.75632 | -1.6885 | -0.76838 | 0.0020956 | -0.012055 | 0.053865 | 0.054016 | 0.054016 | 0.99259 | 0.036732 | 0.99143 | 0.045859 | 24.5529
19 | 0.40589 | 0.19622 | -0.40589 | -0.19658 | 3.5074e-06 | -0.00035833 | 0.013112 | 0.013116 | 0.013116 | 0.99259 | 0.036732 | 0.99258 | 0.036807 | 5.9619
20 | 1.6885 | 0.76838 | -1.6881 | -0.76821 | 0.00042825 | 0.00017161 | 0.054016 | 0.054018 | 0.054018 | 0.99143 | 0.045859 | 0.99116 | 0.043796 | 25.7227
21 | 0.29094 | 0.14087 | -0.29093 | -0.14091 | 5.1646e-06 | -3.5543e-05 | 0.0093887 | 0.0093892 | 0.0093892 | 0.9939 | 0.026515 | 0.99388 | 0.026398 | 4.471
22 | -4.4038 | -1.9734 | 4.4041 | 1.9712 | 0.00022335 | -0.0022083 | 0.13941 | 0.13938 | 0.13941 | 0.99929 | -0.0034875 | 0.99934 | -0.0032086 | 21.8508
23 | 0.27016 | 0.13015 | -0.27016 | -0.13084 | 2.9429e-06 | -0.00068892 | 0.0086936 | 0.0087023 | 0.0087023 | 0.99575 | 0.012296 | 0.99574 | 0.01239 | 3.9556
24 | 0.2696 | 0.13017 | -0.2696 | -0.13057 | 1.7692e-06 | -0.00040581 | 0.0087316 | 0.0087367 | 0.0087367 | 0.98978 | 0.04949 | 0.98977 | 0.049547 | 3.9712
25 | -0.2696 | -0.13017 | 0.26964 | 0.12019 | 4.2825e-05 | -0.0099726 | 0.0087316 | 0.008609 | 0.0087316 | 0.98978 | 0.04949 | 0.98993 | 0.048234 | 3.9689
26 | 0.21605 | 0.10267 | -0.21604 | -0.10463 | 5.4722e-06 | -0.0019624 | 0.0069755 | 0.0070002 | 0.0070002 | 0.98993 | 0.048234 | 0.9899 | 0.04845 | 3.1819
27 | -0.48569 | -0.22287 | 0.48582 | 0.22259 | 0.00013165 | -0.0002737 | 0.015583 | 0.015579 | 0.015583 | 0.98993 | 0.048234 | 0.99021 | 0.050388 | 7.4206
28 | -0.83661 | -0.39249 | 0.83667 | 0.39247 | 5.6588e-05 | -1.5784e-05 | 0.02694 | 0.02694 | 0.02694 | 0.99021 | 0.050388 | 0.99028 | 0.050888 | 12.8287
29 | 1.48 | 0.66742 | -1.4798 | -0.66862 | 0.00015882 | -0.0012004 | 0.047285 | 0.0473 | 0.0473 | 0.99116 | 0.043796 | 0.99106 | 0.044587 | 21.5001
30 | -4.7786 | -2.1526 | 4.7788 | 2.1513 | 0.00015732 | -0.0013054 | 0.1514 | 0.15138 | 0.1514 | 0.99934 | -0.0032086 | 0.99937 | -0.0030317 | 23.73
31 | -0.1984 | -0.096091 | 0.19841 | 0.095979 | 7.3537e-06 | -0.00011206 | 0.0064313 | 0.0064298 | 0.0064313 | 0.9895 | 0.049764 | 0.98954 | 0.050009 | 3.0625
32 | 0.30259 | 0.13411 | -0.30252 | -0.14646 | 6.6849e-05 | -0.012343 | 0.0096556 | 0.0098073 | 0.0098073 | 0.98954 | 0.050009 | 0.98933 | 0.05175 | 4.4579
33 | -0.501 | -0.23009 | 0.50118 | 0.21806 | 0.00017684 | -0.012033 | 0.016083 | 0.015939 | 0.016083 | 0.98954 | 0.050009 | 0.98987 | 0.047472 | 7.3106
34 | 0.30252 | 0.14646 | -0.30251 | -0.14651 | 9.1828e-06 | -5.6854e-05 | 0.0098073 | 0.0098081 | 0.0098081 | 0.98933 | 0.05175 | 0.9893 | 0.051549 | 4.6705
35 | 0.14051 | 0.06765 | -0.14051 | -0.068051 | 4.7401e-07 | -0.00040102 | 0.0045479 | 0.004553 | 0.004553 | 0.98987 | 0.047472 | 0.98986 | 0.047501 | 2.0695
36 | -0.64169 | -0.28571 | 0.64194 | 0.28547 | 0.00025267 | -0.00023731 | 0.020485 | 0.02048 | 0.020485 | 0.98987 | 0.047472 | 0.99028 | 0.050888 | 9.7546
37 | -1.4786 | -0.67794 | 1.4798 | 0.66862 | 0.0012387 | -0.0093267 | 0.047417 | 0.0473 | 0.047417 | 0.99028 | 0.050888 | 0.99106 | 0.044587 | 21.5533
38 | -7.5538 | -3.4564 | 7.5565 | 3.4486 | 0.0026274 | -0.0077954 | 0.23995 | 0.23984 | 0.23995 | 0.99937 | -0.0030317 | 0.99973 | -0.0012821 | 37.6104
39 | 2.7751 | 1.305 | -2.7717 | -1.3117 | 0.0033661 | -0.0066474 | 0.088581 | 0.088675 | 0.088675 | 0.99937 | -0.0030317 | 0.99824 | 0.0069295 | 40.3069
40 | 0.18961 | 0.087681 | -0.1896 | -0.091356 | 7.5422e-06 | -0.0036753 | 0.0060321 | 0.0060775 | 0.0060775 | 0.99973 | -0.0012821 | 0.9997 | -0.00095507 | 2.7625
41 | -7.7461 | -3.5362 | 7.7461 | 3.5362 | 1.338e-05 | -3.7447e-05 | 0.24587 | 0.24587 | 0.24587 | 0.99973 | -0.0012821 | 0.99974 | -0.0012734 | 38.5384
42 | 1.8177 | 0.857 | -1.8173 | -0.85931 | 0.000464 | -0.002309 | 0.058115 | 0.058145 | 0.058145 | 0.99824 | 0.0069295 | 0.998 | 0.009029 | 26.4296
43 | 0.95397 | 0.45467 | -0.95386 | -0.45671 | 0.00010879 | -0.0020417 | 0.03056 | 0.030586 | 0.030586 | 0.99824 | 0.0069295 | 0.99814 | 0.0078928 | 13.9028
44 | 0.1896 | 0.091356 | -0.1896 | -0.091828 | 9.7602e-07 | -0.00047156 | 0.0060775 | 0.0060834 | 0.0060834 | 0.9997 | -0.00095507 | 0.99969 | -0.00091048 | 2.7652
45 | -7.9127 | -3.6169 | 7.9132 | 3.6155 | 0.00051826 | -0.0013774 | 0.25122 | 0.2512 | 0.25122 | 0.99974 | -0.0012734 | 0.9998 | -0.00094401 | 39.3758
46 | 0.094752 | 0.045889 | -0.094752 | -0.045891 | 6.6385e-10 | -1.3256e-06 | 0.0030401 | 0.0030401 | 0.0030401 | 0.99969 | -0.00091048 | 0.99969 | -0.00091042 | 1.3819
47 | 0.95386 | 0.45671 | -0.95384 | -0.45711 | 2.1518e-05 | -0.00040338 | 0.030586 | 0.030591 | 0.030591 | 0.99814 | 0.0078928 | 0.99812 | 0.0080846 | 13.9051
48 | 0.79258 | 0.37901 | -0.79254 | -0.38004 | 3.7712e-05 | -0.001029 | 0.025409 | 0.025422 | 0.025422 | 0.99812 | 0.0080846 | 0.99807 | 0.0084887 | 11.5555
49 | 1.3979 | 0.6573 | -1.3933 | -0.65594 | 0.0046187 | 0.0013551 | 0.044682 | 0.044701 | 0.044701 | 0.998 | 0.009029 | 0.99451 | -0.01517 | 21.2861
50 | 0.31213 | 0.15008 | -0.31198 | -0.15094 | 0.00014432 | -0.00086772 | 0.010018 | 0.01003 | 0.01003 | 0.998 | 0.009029 | 0.99752 | 0.0059323 | 4.7761
51 | -7.9132 | -3.6155 | 7.9139 | 3.6137 | 0.00068768 | -0.0018284 | 0.2512 | 0.25117 | 0.2512 | 0.9998 | -0.00094401 | 0.99989 | -0.00050591 | 39.3727
52 | 0.79254 | 0.38004 | -0.79254 | -0.38014 | 3.7344e-06 | -0.00010183 | 0.025422 | 0.025423 | 0.025423 | 0.99807 | 0.0084887 | 0.99807 | 0.0085289 | 11.5561
53 | 0.18778 | 0.089365 | -0.18777 | -0.089408 | 2.4525e-06 | -4.3675e-05 | 0.0060158 | 0.0060164 | 0.0060164 | 0.9979 | 0.0081701 | 0.99789 | 0.0080784 | 2.865
54 | -0.2719 | -0.13011 | 0.27191 | 0.13003 | 9.7595e-06 | -7.9548e-05 | 0.0087196 | 0.0087185 | 0.0087196 | 0.9979 | 0.0081701 | 0.99794 | 0.0084178 | 4.1522
55 | 0.08913 | 0.041633 | -0.08913 | -0.042485 | 3.8921e-07 | -0.00085261 | 0.0028458 | 0.0028564 | 0.0028564 | 0.99789 | 0.0080784 | 0.99788 | 0.0081143 | 1.2983
56 | 0.16692 | 0.080785 | -0.16692 | -0.080843 | 2.5509e-06 | -5.7546e-05 | 0.0053643 | 0.0053651 | 0.0053651 | 0.99794 | 0.0084178 | 0.99792 | 0.008317 | 2.5548
57 | -0.43883 | -0.21081 | 0.43885 | 0.20917 | 1.8351e-05 | -0.0016451 | 0.014083 | 0.014062 | 0.014083 | 0.99794 | 0.0084178 | 0.99798 | 0.0080633 | 6.4013
58 | 1.3212 | 0.62105 | -1.3212 | -0.62135 | 3.1736e-05 | -0.00030315 | 0.042377 | 0.042381 | 0.042381 | 0.99451 | -0.01517 | 0.99449 | -0.014975 | 19.264
59 | 0.31198 | 0.15094 | -0.31196 | -0.15109 | 2.4125e-05 | -0.00014474 | 0.01003 | 0.010032 | 0.010032 | 0.99752 | 0.0059323 | 0.99744 | 0.0054215 | 4.777
60 | 0.43069 | 0.19822 | -0.43068 | -0.19906 | 8.837e-06 | -0.00083601 | 0.013705 | 0.013715 | 0.013715 | 0.99868 | 0.0048457 | 0.99866 | 0.0050053 | 6.234
61 | -0.48537 | -0.22471 | 0.48541 | 0.22168 | 4.0612e-05 | -0.0030261 | 0.015461 | 0.015424 | 0.015461 | 0.99868 | 0.0048457 | 0.99876 | 0.0041999 | 7.0275
62 | 0.43068 | 0.19906 | -0.43059 | -0.20776 | 9.2776e-05 | -0.0087004 | 0.013715 | 0.013823 | 0.013823 | 0.99866 | 0.0050053 | 0.99846 | 0.0067787 | 6.283
63 | -0.48541 | -0.22168 | 0.48586 | 0.18674 | 0.00045504 | -0.034938 | 0.015424 | 0.015031 | 0.015424 | 0.99876 | 0.0041999 | 0.99965 | -0.0014525 | 7.0109
64 | 0.43059 | 0.20776 | -0.43058 | -0.20847 | 7.6119e-06 | -0.0007076 | 0.013823 | 0.013831 | 0.013831 | 0.99846 | 0.0067787 | 0.99844 | 0.006932 | 6.287
65 | 5.3233 | 2.5297 | -5.3179 | -2.5644 | 0.005393 | -0.034649 | 0.1702 | 0.17067 | 0.17067 | 0.99965 | -0.0014525 | 0.9986 | -0.0054399 | 26.7508
66 | -7.7657 | -3.6616 | 7.7668 | 3.6585 | 0.0011601 | -0.0031829 | 0.24793 | 0.24789 | 0.24793 | 0.99965 | -0.0014525 | 0.9998 | -0.00080944 | 38.861
67 | 1.9565 | 0.94519 | -1.9562 | -0.94634 | 0.00027201 | -0.0011536 | 0.062746 | 0.062761 | 0.062761 | 0.99965 | -0.0014525 | 0.99952 | -0.00024628 | 28.5279
68 | 0.16453 | 0.079616 | -0.16453 | -0.079684 | 2.9346e-06 | -6.8335e-05 | 0.0052847 | 0.0052856 | 0.0052856 | 0.99844 | 0.006932 | 0.99842 | 0.0068143 | 2.5169
69 | 5.3179 | 2.5644 | -5.3176 | -2.5666 | 0.00035624 | -0.0022787 | 0.17067 | 0.1707 | 0.1707 | 0.9986 | -0.0054399 | 0.99853 | -0.0056911 | 26.7557
70 | 0.10395 | 0.050065 | -0.10395 | -0.050345 | 1.742e-07 | -0.00028027 | 0.0033313 | 0.0033348 | 0.0033348 | 0.9998 | -0.00080944 | 0.9998 | -0.00079494 | 1.5158
71 | -7.8708 | -3.7085 | 7.8711 | 3.7077 | 0.0002982 | -0.00079257 | 0.25122 | 0.25121 | 0.25122 | 0.9998 | -0.00080944 | 0.99984 | -0.00064603 | 39.3757
72 | 0.96693 | 0.46721 | -0.96685 | -0.46722 | 7.906e-05 | -5.4891e-06 | 0.031015 | 0.031016 | 0.031016 | 0.99952 | -0.00024628 | 0.99943 | -0.00078999 | 14.7695
73 | 4.2482 | 2.0487 | -4.248 | -2.0503 | 0.00015155 | -0.001567 | 0.13635 | 0.13637 | 0.13637 | 0.99853 | -0.0056911 | 0.9985 | -0.0058248 | 21.3746
74 | -7.8711 | -3.7077 | 7.8717 | 3.7062 | 0.00057432 | -0.0015269 | 0.25121 | 0.25118 | 0.25121 | 0.99984 | -0.00064603 | 0.99992 | -0.00033069 | 39.3739
75 | 0.44087 | 0.21348 | -0.44086 | -0.21352 | 1.433e-05 | -3.8932e-05 | 0.014148 | 0.014149 | 0.014149 | 0.99943 | -0.00078999 | 0.9994 | -0.0010044 | 6.7376
76 | 0.1155 | 0.054938 | -0.1155 | -0.055939 | 7.6691e-07 | -0.0010003 | 0.0036942 | 0.0037067 | 0.0037067 | 0.99943 | -0.00078999 | 0.99943 | -0.00073329 | 1.6849
77 | -0.22036 | -0.10672 | 0.22036 | 0.10663 | 2.7964e-07 | -9.7404e-05 | 0.0071154 | 0.0071142 | 0.0071154 | 0.99333 | -0.012736 | 0.99334 | -0.012747 | 3.2343
78 | -0.22036 | -0.10663 | 0.22038 | 0.099532 | 2.0112e-05 | -0.0070953 | 0.0071142 | 0.0070268 | 0.0071142 | 0.99334 | -0.012747 | 0.99342 | -0.013481 | 3.2337
79 | 0.38004 | 0.18373 | -0.38004 | -0.18406 | 2.7906e-06 | -0.00032641 | 0.012266 | 0.01227 | 0.01227 | 0.99342 | -0.013481 | 0.99341 | -0.013417 | 5.5775
80 | -0.60042 | -0.28326 | 0.60071 | 0.28293 | 0.00028832 | -0.00033211 | 0.019292 | 0.019285 | 0.019292 | 0.99342 | -0.013481 | 0.99393 | -0.0099929 | 9.1865
81 | 0.86996 | 0.41275 | -0.86993 | -0.41333 | 2.5727e-05 | -0.00057343 | 0.027966 | 0.027973 | 0.027973 | 0.99395 | -0.010239 | 0.99393 | -0.0099929 | 12.715
82 | 0.22995 | 0.11117 | -0.22994 | -0.11136 | 1.6544e-05 | -0.00018857 | 0.0074181 | 0.0074207 | 0.0074207 | 0.99395 | -0.010239 | 0.99388 | -0.010715 | 3.5336
83 | -1.0999 | -0.52393 | 1.1005 | 0.51575 | 0.0005897 | -0.0081759 | 0.035384 | 0.03528 | 0.035384 | 0.99395 | -0.010239 | 0.99445 | -0.014654 | 16.0835
84 | 0.10969 | 0.052402 | -0.10969 | -0.05258 | 1.2581e-07 | -0.00017854 | 0.0035288 | 0.0035311 | 0.0035311 | 0.99445 | -0.014654 | 0.99445 | -0.014645 | 1.605
85 | -1.2102 | -0.56815 | 1.2102 | 0.5676 | 4.784e-05 | -0.00054773 | 0.038809 | 0.038802 | 0.038809 | 0.99445 | -0.014654 | 0.99449 | -0.014975 | 17.6404
86 | 4.248 | 2.0503 | -4.2478 | -2.051 | 0.00025176 | -0.00077555 | 0.13637 | 0.13638 | 0.13638 | 0.9985 | -0.0058248 | 0.99843 | -0.0064967 | 37.6746
87 | 1.7942 | 0.86749 | -1.7939 | -0.86883 | 0.00026473 | -0.0013424 | 0.05762 | 0.057638 | 0.057638 | 0.99843 | -0.0064967 | 0.9983 | -0.0052137 | 26.1991
88 | -9.0585 | -4.281 | 9.0586 | 4.2809 | 7.13e-05 | -0.00013311 | 0.28925 | 0.28925 | 0.28925 | 0.99992 | -0.00033069 | 0.99993 | -0.00029732 | 45.3374
89 | -9.1533 | -4.3268 | 9.154 | 4.3256 | 0.00064221 | -0.0011669 | 0.29229 | 0.29227 | 0.29229 | 0.99993 | -0.00029732 | 1 | 0 | 45.8134
90 | 8.5718 | 3.9299 | -8.5716 | -3.9304 | 0.00021611 | -0.0004713 | 0.27221 | 0.27222 | 0.27222 | 1 | 0 | 0.99997 | -0.00012485 | 42.6678
91 | 8.5716 | 3.9304 | -8.5713 | -3.9309 | 0.00022576 | -0.00049228 | 0.27222 | 0.27223 | 0.27223 | 0.99997 | -0.00012485 | 0.99995 | -0.00025519 | 42.6689
92 | 8.4766 | 3.885 | -8.4763 | -3.8857 | 0.00032258 | -0.00072338 | 0.26919 | 0.2692 | 0.2692 | 0.99995 | -0.00025519 | 0.99991 | -0.0004439 | 42.1944
93 | 7.914 | 3.6134 | -7.9139 | -3.6137 | 9.7202e-05 | -0.0002585 | 0.25117 | 0.25117 | 0.25117 | 0.99991 | -0.0004439 | 0.99989 | -0.00050591 | 39.3685
94 | 0.10969 | 0.05258 | -0.10969 | -0.053125 | 3.8478e-07 | -0.00054463 | 0.0035311 | 0.0035379 | 0.0035379 | 0.99445 | -0.014645 | 0.99445 | -0.014614 | 1.6082
95 | 0.79254 | 0.38014 | -0.79248 | -0.38017 | 6.0691e-05 | -2.465e-05 | 0.025423 | 0.025424 | 0.025424 | 0.99807 | 0.0085289 | 0.99799 | 0.0080056 | 12.1068
96 | 0.43885 | 0.2089 | -0.43885 | -0.20917 | 3.0132e-06 | -0.0002706 | 0.014059 | 0.014062 | 0.014062 | 0.99799 | 0.0080056 | 0.99798 | 0.0080633 | 6.3919
97 | -0.089129 | -0.043167 | 0.08913 | 0.042485 | 3.1342e-07 | -0.000682 | 0.0028649 | 0.0028564 | 0.0028649 | 0.99788 | 0.0081444 | 0.99788 | 0.0081143 | 1.3022

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 17.7398 | 8.2661

## res_load
| p_mw | q_mvar
0 | 0.2925 | 0.14166
1 | 0.10815 | 0.052381
2 | 2.0527 | 0.99415
3 | 0.15571 | 0.075415
4 | 0.42624 | 0.20644
5 | 0.40589 | 0.19658
6 | 0.27925 | 0.13525
7 | 0.51453 | 0.2492
8 | 0.34831 | 0.1687
9 | 0.27016 | 0.13084
10 | 0.29093 | 0.14091
11 | 0.2696 | 0.13057
12 | 0.21604 | 0.10463
13 | 0.35079 | 0.16989
14 | 0.20811 | 0.10079
15 | 0.37456 | 0.18141
16 | 0.1984 | 0.096091
17 | 0.30251 | 0.14651
18 | 0.14051 | 0.068051
19 | 0.16658 | 0.080681
20 | 0.094851 | 0.045939
21 | 0.16126 | 0.0781
22 | 0.10723 | 0.051932
23 | 0.094752 | 0.045891
24 | 0.084119 | 0.040741
25 | 0.098645 | 0.047776
26 | 0.072057 | 0.034899
27 | 0.054682 | 0.026483
28 | 0.26605 | 0.12885
29 | 0.98927 | 0.47913
30 | 0.16453 | 0.079684
31 | 1.0694 | 0.51795
32 | 0.10395 | 0.050345
33 | 0.41047 | 0.1988
34 | 0.22036 | 0.10672
35 | 0.26923 | 0.13039
36 | 0.22994 | 0.11136
37 | 0.38004 | 0.18406
38 | 1.7939 | 0.86883
39 | 1.1869 | 0.57483
40 | 0.094752 | 0.045891
41 | 0.094744 | 0.045887
42 | 0.5623 | 0.27233
43 | 0.1155 | 0.055939
44 | 0.44086 | 0.21352
45 | 0.11097 | 0.053744
46 | 0.10969 | 0.053125
47 | 0.31196 | 0.15109
48 | 0.35363 | 0.17127
49 | 0.089129 | 0.043167
50 | 0.16692 | 0.080843

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1