## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_528_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_528_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_528_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_528_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_528_0_node_20 | 20 | n |  | TRUE
5 | bus_MV_528_0_node_21 | 20 | n |  | TRUE
6 | bus_MV_528_0_node_16 | 20 | n |  | TRUE
7 | bus_MV_528_0_node_19 | 20 | n |  | TRUE
8 | bus_MV_528_0_node_2 | 20 | n |  | TRUE
9 | bus_MV_528_0_node_24 | 20 | n |  | TRUE
10 | bus_MV_528_0_node_95 | 20 | n |  | TRUE
11 | bus_MV_528_0_node_17 | 20 | n |  | TRUE
12 | bus_MV_528_0_node_25 | 20 | n |  | TRUE
13 | bus_MV_528_0_node_92 | 20 | n |  | TRUE
14 | bus_MV_528_0_node_35 | 20 | n |  | TRUE
15 | bus_MV_528_0_node_18 | 20 | n |  | TRUE
16 | bus_MV_528_0_node_85 | 20 | n |  | TRUE
17 | bus_MV_528_0_node_84 | 20 | n |  | TRUE
18 | bus_MV_528_0_node_96 | 20 | n |  | TRUE
19 | bus_MV_528_0_node_27 | 20 | n |  | TRUE
20 | bus_MV_528_0_node_29 | 20 | n |  | TRUE
21 | bus_MV_528_0_node_26 | 20 | n |  | TRUE
22 | bus_MV_528_0_node_6 | 20 | n |  | TRUE
23 | bus_MV_528_0_node_8 | 20 | n |  | TRUE
24 | bus_MV_528_0_node_7 | 20 | n |  | TRUE
25 | bus_MV_528_0_node_10 | 20 | n |  | TRUE
26 | bus_MV_528_0_node_9 | 20 | n |  | TRUE
27 | bus_MV_528_0_node_57 | 20 | n |  | TRUE
28 | bus_MV_528_0_node_38 | 20 | n |  | TRUE
29 | bus_MV_528_0_node_55 | 20 | n |  | TRUE
30 | bus_MV_528_0_node_56 | 20 | n |  | TRUE
31 | bus_MV_528_0_node_64 | 20 | n |  | TRUE
32 | bus_MV_528_0_node_11 | 20 | n |  | TRUE
33 | bus_MV_528_0_node_58 | 20 | n |  | TRUE
34 | bus_MV_528_0_node_52 | 20 | n |  | TRUE
35 | bus_MV_528_0_node_12 | 20 | n |  | TRUE
36 | bus_MV_528_0_node_13 | 20 | n |  | TRUE
37 | bus_MV_528_0_node_14 | 20 | n |  | TRUE
38 | bus_MV_528_0_node_15 | 20 | n |  | TRUE
39 | bus_MV_528_0_node_80 | 20 | n |  | TRUE
40 | bus_MV_528_0_node_51 | 20 | n |  | TRUE
41 | bus_MV_528_0_node_53 | 20 | n |  | TRUE
42 | bus_MV_528_0_node_54 | 20 | n |  | TRUE
43 | bus_MV_528_0_node_97 | 20 | n |  | TRUE
44 | bus_MV_528_0_node_63 | 20 | n |  | TRUE
45 | bus_MV_528_0_node_49 | 20 | n |  | TRUE
46 | bus_MV_528_0_node_93 | 20 | n |  | TRUE
47 | bus_MV_528_0_node_39 | 20 | n |  | TRUE
48 | bus_MV_528_0_node_91 | 20 | n |  | TRUE
49 | bus_MV_528_0_node_48 | 20 | n |  | TRUE
50 | bus_MV_528_0_node_70 | 20 | n |  | TRUE
51 | bus_MV_528_0_node_31 | 20 | n |  | TRUE
52 | bus_MV_528_0_node_37 | 20 | n |  | TRUE
53 | bus_MV_528_0_node_77 | 20 | n |  | TRUE
54 | bus_MV_528_0_node_36 | 20 | n |  | TRUE
55 | bus_MV_528_0_node_32 | 20 | n |  | TRUE
56 | bus_MV_528_0_node_30 | 20 | n |  | TRUE
57 | bus_MV_528_0_node_73 | 20 | n |  | TRUE
58 | bus_MV_528_0_node_71 | 20 | n |  | TRUE
59 | bus_MV_528_0_node_72 | 20 | n |  | TRUE
60 | bus_MV_528_0_node_81 | 20 | n |  | TRUE
61 | bus_MV_528_0_node_33 | 20 | n |  | TRUE
62 | bus_MV_528_0_node_34 | 20 | n |  | TRUE
63 | bus_MV_528_0_node_89 | 20 | n |  | TRUE
64 | bus_MV_528_0_node_90 | 20 | n |  | TRUE
65 | bus_MV_528_0_node_40 | 20 | n |  | TRUE
66 | bus_MV_528_0_node_87 | 20 | n |  | TRUE
67 | bus_MV_528_0_node_86 | 20 | n |  | TRUE
68 | bus_MV_528_0_node_88 | 20 | n |  | TRUE
69 | bus_MV_528_0_node_67 | 20 | n |  | TRUE
70 | bus_MV_528_0_node_76 | 20 | n |  | TRUE
71 | bus_MV_528_0_node_75 | 20 | n |  | TRUE
72 | bus_MV_528_0_node_66 | 20 | n |  | TRUE
73 | bus_MV_528_0_node_41 | 20 | n |  | TRUE
74 | bus_MV_528_0_node_94 | 20 | n |  | TRUE
75 | bus_MV_528_0_node_61 | 20 | n |  | TRUE
76 | bus_MV_528_0_node_59 | 20 | n |  | TRUE
77 | bus_MV_528_0_node_62 | 20 | n |  | TRUE
78 | bus_MV_528_0_node_60 | 20 | n |  | TRUE
79 | bus_MV_528_0_node_42 | 20 | n |  | TRUE
80 | bus_MV_528_0_node_43 | 20 | n |  | TRUE
81 | bus_MV_528_0_node_44 | 20 | n |  | TRUE
82 | bus_MV_528_0_node_65 | 20 | n |  | TRUE
83 | bus_MV_528_0_node_45 | 20 | n |  | TRUE
84 | bus_MV_528_0_node_46 | 20 | n |  | TRUE
85 | bus_MV_528_0_node_47 | 20 | n |  | TRUE
86 | bus_MV_528_0_node_82 | 20 | n |  | TRUE
87 | bus_MV_528_0_node_74 | 20 | n |  | TRUE
88 | bus_MV_528_0_node_79 | 20 | n |  | TRUE
89 | bus_MV_528_0_node_68 | 20 | n |  | TRUE
90 | bus_MV_528_0_node_78 | 20 | n |  | TRUE
91 | bus_MV_528_0_node_69 | 20 | n |  | TRUE
92 | bus_MV_528_0_node_83 | 20 | n |  | TRUE
93 | bus_HV_528_0_node_36 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_528_0_load_0 | 0 | 0.40185 | 0.19462 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_528_0_load_16 | 6 | 0.38727 | 0.18756 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_528_0_load_19 | 7 | 0.34192 | 0.1656 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_528_0_load_24 | 9 | 0.18107 | 0.087695 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_528_0_load_95 | 10 | 0.3449 | 0.16704 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_528_0_load_25 | 12 | 0.25043 | 0.12129 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_528_0_load_92 | 13 | 0.26726 | 0.12944 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_528_0_load_84 | 17 | 0.28552 | 0.13828 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_528_0_load_96 | 18 | 0.30731 | 0.14884 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_528_0_load_26 | 21 | 0.28602 | 0.13853 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_528_0_load_6 | 22 | 0.35766 | 0.17322 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_528_0_load_38 | 28 | 0.2338 | 0.11324 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_528_0_load_64 | 31 | 0.58431 | 0.283 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_528_0_load_58 | 33 | 0.12872 | 0.06234 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_528_0_load_12 | 35 | 0.28553 | 0.13829 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_528_0_load_80 | 39 | 0.47211 | 0.22865 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_528_0_load_51 | 40 | 0.20519 | 0.09938 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_528_0_load_54 | 42 | 0.1152 | 0.055792 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_528_0_load_97 | 43 | 0.093081 | 0.045081 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_528_0_load_63 | 44 | 0.89021 | 0.43115 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_528_0_load_93 | 46 | 0.22621 | 0.10956 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_528_0_load_91 | 48 | 0.23663 | 0.11461 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_528_0_load_70 | 50 | 0.85526 | 0.41422 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_528_0_load_37 | 52 | 0.099507 | 0.048193 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_528_0_load_77 | 53 | 0.25563 | 0.12381 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_528_0_load_36 | 54 | 0.24127 | 0.11685 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_528_0_load_32 | 55 | 0.31004 | 0.15016 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_528_0_load_73 | 57 | 0.16663 | 0.080702 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_528_0_load_72 | 59 | 0.11683 | 0.056582 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_528_0_load_81 | 60 | 0.078716 | 0.038124 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_528_0_load_33 | 61 | 0.30605 | 0.14823 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_528_0_load_90 | 64 | 0.25239 | 0.12224 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_528_0_load_87 | 66 | 0.60924 | 0.29507 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_528_0_load_76 | 70 | 0.2116 | 0.10248 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_528_0_load_75 | 71 | 0.19602 | 0.094939 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_528_0_load_94 | 74 | 0.23929 | 0.11589 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_528_0_load_59 | 76 | 0.1139 | 0.055167 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_528_0_load_62 | 77 | 0.1135 | 0.05497 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_528_0_load_60 | 78 | 0.21639 | 0.1048 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_528_0_load_42 | 79 | 0.15966 | 0.077328 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_528_0_load_65 | 82 | 0.34094 | 0.16512 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_528_0_load_45 | 83 | 0.13278 | 0.064309 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_528_0_load_82 | 86 | 0.49185 | 0.23821 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_528_0_load_74 | 87 | 0.63925 | 0.3096 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_528_0_load_78 | 90 | 0.18474 | 0.089472 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_528_0_load_83 | 92 | 2.1493 | 1.0409 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_528_0_line_0 |  | 0 | 1 | 0.004474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_528_0_line_1 |  | 1 | 2 | 0.33814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_528_0_line_2 |  | 1 | 3 | 0.39038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_528_0_line_3 |  | 2 | 10 | 0.015185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_528_0_line_4 |  | 2 | 11 | 0.20607 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_528_0_line_5 |  | 2 | 8 | 0.39471 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_528_0_line_6 |  | 3 | 12 | 0.003894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_528_0_line_7 |  | 4 | 5 | 0.14923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_528_0_line_8 |  | 4 | 6 | 0.21893 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_528_0_line_9 |  | 4 | 7 | 0.044531 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_528_0_line_10 |  | 5 | 50 | 0.062021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_528_0_line_11 |  | 6 | 11 | 0.010754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_528_0_line_12 |  | 8 | 9 | 0.029427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_528_0_line_13 |  | 10 | 15 | 0.062579 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_528_0_line_14 |  | 13 | 14 | 0.052197 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_528_0_line_15 |  | 14 | 63 | 0.40759 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_528_0_line_16 |  | 14 | 62 | 0.18423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_528_0_line_17 |  | 15 | 16 | 0.29298 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_528_0_line_18 |  | 16 | 17 | 0.008822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_528_0_line_19 |  | 18 | 19 | 0.31171 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_528_0_line_20 |  | 19 | 20 | 0.30989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_528_0_line_21 |  | 19 | 21 | 0.074284 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_528_0_line_22 |  | 20 | 51 | 0.32626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_528_0_line_23 |  | 20 | 55 | 0.023856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_528_0_line_24 |  | 22 | 23 | 0.017802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_528_0_line_25 |  | 22 | 24 | 0.11335 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_528_0_line_26 |  | 23 | 25 | 0.053395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_528_0_line_27 |  | 24 | 26 | 0.19752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_528_0_line_28 |  | 24 | 27 | 0.43943 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_528_0_line_29 |  | 25 | 31 | 0.034489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_528_0_line_30 |  | 26 | 28 | 0.006784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_528_0_line_31 |  | 26 | 29 | 0.21439 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_528_0_line_32 |  | 26 | 30 | 0.2029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_528_0_line_33 |  | 27 | 43 | 0.044911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_528_0_line_34 |  | 28 | 47 | 0.005015 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_528_0_line_35 |  | 29 | 48 | 0.011685 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_528_0_line_36 |  | 30 | 46 | 0.068141 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_528_0_line_37 |  | 32 | 33 | 0.006722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_528_0_line_38 |  | 32 | 34 | 0.027107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_528_0_line_39 |  | 34 | 41 | 0.008472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_528_0_line_40 |  | 34 | 40 | 0.05982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_528_0_line_41 |  | 35 | 36 | 0.001524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_528_0_line_42 |  | 36 | 37 | 0.076793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_528_0_line_43 |  | 36 | 38 | 0.098139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_528_0_line_44 |  | 37 | 39 | 0.041239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_528_0_line_45 |  | 38 | 40 | 0.057772 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_528_0_line_46 |  | 39 | 49 | 0.046908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_528_0_line_47 |  | 41 | 42 | 0.028191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_528_0_line_48 |  | 44 | 45 | 0.048049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_528_0_line_49 |  | 45 | 85 | 0.17339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_528_0_line_50 |  | 47 | 65 | 0.207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_528_0_line_51 |  | 47 | 73 | 0.29814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_528_0_line_52 |  | 49 | 88 | 0.059995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_528_0_line_53 |  | 49 | 85 | 0.12595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_528_0_line_54 |  | 50 | 51 | 0.05421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_528_0_line_55 |  | 51 | 58 | 0.11092 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_528_0_line_56 |  | 51 | 56 | 0.1897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_528_0_line_57 |  | 52 | 53 | 0.11081 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
58 | MV_528_0_line_58 |  | 52 | 54 | 0.075926 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
59 | MV_528_0_line_59 |  | 53 | 70 | 0.036148 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_528_0_line_60 |  | 54 | 66 | 0.09797 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
61 | MV_528_0_line_61 |  | 56 | 57 | 0.0084092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_528_0_line_62 |  | 58 | 59 | 0.061758 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_528_0_line_63 |  | 58 | 60 | 0.30624 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_528_0_line_64 |  | 59 | 82 | 0.12364 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
65 | MV_528_0_line_65 |  | 61 | 62 | 0.067556 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_528_0_line_66 |  | 63 | 64 | 0.031955 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_528_0_line_67 |  | 63 | 65 | 0.18843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_528_0_line_68 |  | 64 | 68 | 0.02045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_528_0_line_69 |  | 65 | 74 | 0.018671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_528_0_line_70 |  | 66 | 67 | 0.015359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_528_0_line_71 |  | 67 | 68 | 0.26187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_528_0_line_72 |  | 69 | 70 | 0.013659 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
73 | MV_528_0_line_73 |  | 69 | 71 | 0.0022524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_528_0_line_74 |  | 69 | 72 | 0.014074 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
75 | MV_528_0_line_75 |  | 72 | 89 | 0.099186 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
76 | MV_528_0_line_76 |  | 72 | 82 | 0.039053 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
77 | MV_528_0_line_77 |  | 73 | 75 | 0.039087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_528_0_line_78 |  | 73 | 76 | 0.023403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_528_0_line_79 |  | 75 | 77 | 0.027056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_528_0_line_80 |  | 76 | 78 | 0.037134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_528_0_line_81 |  | 79 | 80 | 0.030539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_528_0_line_82 |  | 80 | 81 | 0.014396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_528_0_line_83 |  | 81 | 83 | 0.010187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_528_0_line_84 |  | 81 | 84 | 0.18953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_528_0_line_85 |  | 84 | 85 | 0.19457 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_528_0_line_86 |  | 84 | 86 | 0.032506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_528_0_line_87 |  | 85 | 87 | 0.041601 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_528_0_line_88 |  | 86 | 89 | 0.04928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_528_0_line_89 |  | 88 | 90 | 0.061722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_528_0_line_90 |  | 89 | 91 | 0.053703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_528_0_line_91 |  | 91 | 92 | 0.10428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_528_0_trafo_36 | 25 MVA 110/20 kV | 93 | 54 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2681991.2828 | 1251807.563
1 | 2681986.8033 | 1251807.8235
2 | 2682192.5681 | 1251612.0721
3 | 2681940.5392 | 1251629.6286
4 | 2682473.3828 | 1251900.0216
5 | 2682559.3555 | 1251959.3964
6 | 2682275.8999 | 1251805.5283
7 | 2682515.0076 | 1251915.8462
8 | 2682054.8416 | 1251432.9524
9 | 2682069.5972 | 1251407.4711
10 | 2682203.8434 | 1251601.8653
11 | 2682265.1295 | 1251804.945
12 | 2681937.2238 | 1251627.5701
13 | 2682475.9951 | 1251370.9853
14 | 2682512.7297 | 1251333.9023
15 | 2682264.021 | 1251619.0353
16 | 2682555.9227 | 1251644.1797
17 | 2682558.1057 | 1251652.7277
18 | 2682089.9923 | 1252083.8246
19 | 2682359.444 | 1252240.547
20 | 2682604.6448 | 1252309.2781
21 | 2682350.197 | 1252166.8412
22 | 2683072.363 | 1251624.8374
23 | 2683079.8924 | 1251640.7103
24 | 2682998.7836 | 1251538.6087
25 | 2683128.3666 | 1251645.0489
26 | 2682898.9851 | 1251412.5511
27 | 2683278.1409 | 1251877.8147
28 | 2682892.6257 | 1251414.9639
29 | 2682963.6932 | 1251208.1595
30 | 2683086.3299 | 1251334.6496
31 | 2683157.787 | 1251663.0472
32 | 2683258.894 | 1251839.1375
33 | 2683255.4314 | 1251844.9043
34 | 2683282.3954 | 1251852.7669
35 | 2683134.8802 | 1251901.0095
36 | 2683136.1901 | 1251901.7952
37 | 2683072.9365 | 1251873.9762
38 | 2683221.0141 | 1251951.1449
39 | 2683052.0626 | 1251909.5418
40 | 2683252.541 | 1251904.6045
41 | 2683286.8745 | 1251845.5689
42 | 2683262.5555 | 1251831.31
43 | 2683311.7061 | 1251882.1342
44 | 2683015.1385 | 1251828.8383
45 | 2682973.951 | 1251804.0928
46 | 2683147.3576 | 1251364.9615
47 | 2682890.8874 | 1251410.2583
48 | 2682962.8373 | 1251196.5055
49 | 2683028.3191 | 1251949.9967
50 | 2682563.4182 | 1252021.284
51 | 2682566.9693 | 1252075.378
52 | 2682661.5588 | 1251908.2652
53 | 2682769.9359 | 1251931.3439
54 | 2682672.5237 | 1251833.1352
55 | 2682600.1744 | 1252332.7111
56 | 2682574.757 | 1252188.6046
57 | 2682580.3833 | 1252194.8543
58 | 2682673.7777 | 1252072.0202
59 | 2682700.0508 | 1252036.9473
60 | 2682916.4168 | 1252258.863
61 | 2682651.9544 | 1251124.1414
62 | 2682614.393 | 1251180.2929
63 | 2682729.4269 | 1251553.854
64 | 2682749.4976 | 1251578.7194
65 | 2682777.5073 | 1251432.5125
66 | 2682723.2019 | 1251749.2908
67 | 2682726.5137 | 1251734.2925
68 | 2682769.3677 | 1251573.6486
69 | 2682819.628 | 1251927.9712
70 | 2682806.0008 | 1251928.8961
71 | 2682821.875 | 1251927.8156
72 | 2682820.6545 | 1251942.0071
73 | 2682750.1344 | 1251303.0114
74 | 2682770.9354 | 1251415.0299
75 | 2682715.2889 | 1251320.9161
76 | 2682758.6071 | 1251324.827
77 | 2682725.9076 | 1251345.6686
78 | 2682776.8205 | 1251355.2786
79 | 2683006.4249 | 1252029.9175
80 | 2683008.8309 | 1252060.3619
81 | 2683023.2251 | 1252059.2294
82 | 2682781.6657 | 1251944.0666
83 | 2683022.4229 | 1252049.074
84 | 2682930.9479 | 1252014.4371
85 | 2682934.5252 | 1251906.1394
86 | 2682898.5012 | 1252016.3959
87 | 2682939.9215 | 1251864.8902
88 | 2683079.7508 | 1251981.1408
89 | 2682849.3106 | 1252019.3656
90 | 2683133.1924 | 1252012.0221
91 | 2682834.7082 | 1252060.7368
92 | 2682850.3173 | 1252159.7306
93 | 2682672.5237 | 1251833.1352

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99513 | -0.10388 | 0.40185 | 0.19462
1 | 0.99514 | -0.1039 | 0 | 0
2 | 0.99542 | -0.10627 | 0 | 0
3 | 0.99501 | -0.10284 | 0 | 0
4 | 0.9968 | -0.096779 | 0 | 0
5 | 0.99722 | -0.10043 | 0 | 0
6 | 0.99602 | -0.10226 | 0.38727 | 0.18756
7 | 0.99677 | -0.096965 | 0.34192 | 0.1656
8 | 0.99533 | -0.10554 | 0 | 0
9 | 0.99532 | -0.10548 | 0.18107 | 0.087695
10 | 0.9954 | -0.10616 | 0.3449 | 0.16704
11 | 0.996 | -0.10209 | 0 | 0
12 | 0.99501 | -0.10283 | 0.25043 | 0.12129
13 | 0.99782 | 0.00062293 | 0.26726 | 0.12944
14 | 0.99785 | 0.00079237 | 0 | 0
15 | 0.99537 | -0.10638 | 0 | 0
16 | 0.99521 | -0.10741 | 0 | 0
17 | 0.9952 | -0.10738 | 0.28552 | 0.13828
18 | 0.99681 | -0.099552 | 0.30731 | 0.14884
19 | 0.99699 | -0.098383 | 0 | 0
20 | 0.99723 | -0.10051 | 0 | 0
21 | 0.99695 | -0.098641 | 0.28602 | 0.13853
22 | 0.9965 | 0.0097631 | 0.35766 | 0.17322
23 | 0.99649 | 0.0098858 | 0 | 0
24 | 0.99671 | 0.011087 | 0 | 0
25 | 0.99645 | 0.010257 | 0 | 0
26 | 0.99697 | 0.0087082 | 0 | 0
27 | 0.99663 | 0.01054 | 0 | 0
28 | 0.99698 | 0.00859 | 0.2338 | 0.11324
29 | 0.99687 | 0.0080888 | 0 | 0
30 | 0.99688 | 0.0081467 | 0 | 0
31 | 0.99642 | 0.010499 | 0.58431 | 0.283
32 | 0.99643 | -0.069128 | 0 | 0
33 | 0.99643 | -0.069118 | 0.12872 | 0.06234
34 | 0.99643 | -0.069169 | 0 | 0
35 | 0.99654 | -0.070125 | 0.28553 | 0.13829
36 | 0.99654 | -0.07013 | 0 | 0
37 | 0.99661 | -0.070772 | 0 | 0
38 | 0.99649 | -0.069634 | 0 | 0
39 | 0.99665 | -0.071112 | 0.47211 | 0.22865
40 | 0.99645 | -0.069336 | 0.20519 | 0.09938
41 | 0.99643 | -0.069158 | 0 | 0
42 | 0.99643 | -0.069119 | 0.1152 | 0.055792
43 | 0.99662 | 0.010589 | 0.093081 | 0.045081
44 | 0.9967 | -0.071415 | 0.89021 | 0.43115
45 | 0.99675 | -0.071929 | 0 | 0
46 | 0.99685 | 0.007959 | 0.22621 | 0.10956
47 | 0.99699 | 0.0084886 | 0 | 0
48 | 0.99686 | 0.0080552 | 0.23663 | 0.11461
49 | 0.99672 | -0.071763 | 0 | 0
50 | 0.99739 | -0.10193 | 0.85526 | 0.41422
51 | 0.9976 | -0.1038 | 0 | 0
52 | 0.99942 | -0.032376 | 0.099507 | 0.048193
53 | 0.99858 | -0.079278 | 0.25563 | 0.12381
54 | 1 | 0 | -15.1714 | -7.2067
55 | 0.99722 | -0.10042 | 0.31004 | 0.15016
56 | 0.99756 | -0.10345 | 0 | 0
57 | 0.99756 | -0.10344 | 0.16663 | 0.080702
58 | 0.99785 | -0.10108 | 0 | 0
59 | 0.99793 | -0.10072 | 0.11683 | 0.056582
60 | 0.9978 | -0.10138 | 0.078716 | 0.038124
61 | 0.99774 | 0.001192 | 0.30605 | 0.14823
62 | 0.99778 | 0.0014432 | 0 | 0
63 | 0.99814 | -0.0017704 | 0 | 0
64 | 0.99833 | -0.00048946 | 0.25239 | 0.12224
65 | 0.99757 | 0.0033665 | 0 | 0
66 | 0.99955 | -0.011156 | 0.60924 | 0.29507
67 | 0.99949 | -0.01061 | 0 | 0
68 | 0.99841 | -0.0012274 | 0 | 0
69 | 0.9984 | -0.079991 | 0 | 0
70 | 0.99845 | -0.079799 | 0.2116 | 0.10248
71 | 0.9984 | -0.079986 | 0.19602 | 0.094939
72 | 0.99835 | -0.080187 | 0 | 0
73 | 0.99682 | 0.0099563 | 0 | 0
74 | 0.99756 | 0.00342 | 0.23929 | 0.11589
75 | 0.99682 | 0.010007 | 0 | 0
76 | 0.99681 | 0.010048 | 0.1139 | 0.055167
77 | 0.99681 | 0.010043 | 0.1135 | 0.05497
78 | 0.9968 | 0.010143 | 0.21639 | 0.1048
79 | 0.99759 | -0.079566 | 0.15966 | 0.077328
80 | 0.9976 | -0.079624 | 0 | 0
81 | 0.9976 | -0.079651 | 0 | 0
82 | 0.99829 | -0.080436 | 0.34094 | 0.16512
83 | 0.9976 | -0.079634 | 0.13278 | 0.064309
84 | 0.99767 | -0.080274 | 0 | 0
85 | 0.99695 | -0.073751 | 0 | 0
86 | 0.9978 | -0.081459 | 0.49185 | 0.23821
87 | 0.99691 | -0.073432 | 0.63925 | 0.3096
88 | 0.99671 | -0.071638 | 0 | 0
89 | 0.99804 | -0.083543 | 0 | 0
90 | 0.9967 | -0.071504 | 0.18474 | 0.089472
91 | 0.99789 | -0.082167 | 0 | 0
92 | 0.9976 | -0.079482 | 2.1493 | 1.0409
93 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.40185 | -0.19462 | 0.40185 | 0.19452 | 1.0019e-06 | -0.00010549 | 0.012952 | 0.012951 | 0.012952 | 0.99513 | -0.10388 | 0.99514 | -0.1039 | 5.8874
1 | -0.65232 | -0.3065 | 0.65251 | 0.29856 | 0.0001964 | -0.0079391 | 0.020908 | 0.02081 | 0.020908 | 0.99514 | -0.1039 | 0.99542 | -0.10627 | 9.5034
2 | 0.25047 | 0.11198 | -0.25043 | -0.1212 | 3.3474e-05 | -0.0092191 | 0.0079588 | 0.0080718 | 0.0080718 | 0.99514 | -0.1039 | 0.99501 | -0.10284 | 3.669
3 | 0.63048 | 0.30437 | -0.63048 | -0.30473 | 8.3586e-06 | -0.00035676 | 0.020303 | 0.020308 | 0.020308 | 0.99542 | -0.10627 | 0.9954 | -0.10616 | 9.2309
4 | -1.4641 | -0.6806 | 1.4649 | 0.68086 | 0.00080488 | 0.00026025 | 0.046823 | 0.04682 | 0.046823 | 0.99542 | -0.10627 | 0.996 | -0.10209 | 22.2965
5 | 0.18109 | 0.077668 | -0.18107 | -0.087 | 1.7537e-05 | -0.0093318 | 0.0057143 | 0.0058263 | 0.0058263 | 0.99542 | -0.10627 | 0.99533 | -0.10554 | 2.6483
6 | 0.25043 | 0.1212 | -0.25043 | -0.12129 | 3.3876e-07 | -9.1948e-05 | 0.0080718 | 0.008073 | 0.008073 | 0.99501 | -0.10284 | 0.99501 | -0.10283 | 3.6695
7 | -2.1955 | -1.0343 | 2.1965 | 1.0311 | 0.00098352 | -0.00325 | 0.070285 | 0.070241 | 0.070285 | 0.9968 | -0.096779 | 0.99722 | -0.10043 | 31.9475
8 | 1.8536 | 0.86878 | -1.8522 | -0.86818 | 0.0013709 | 0.00059924 | 0.059283 | 0.059287 | 0.059287 | 0.9968 | -0.096779 | 0.99602 | -0.10226 | 28.2317
9 | 0.34193 | 0.16555 | -0.34192 | -0.1656 | 9.6043e-06 | -4.6805e-05 | 0.011002 | 0.011003 | 0.011003 | 0.9968 | -0.096779 | 0.99677 | -0.096965 | 5.2393
10 | -2.1965 | -1.0311 | 2.1969 | 1.0297 | 0.0004084 | -0.0013517 | 0.070241 | 0.070223 | 0.070241 | 0.99722 | -0.10043 | 0.99739 | -0.10193 | 31.9277
11 | 1.4649 | 0.68062 | -1.4649 | -0.68086 | 3.1469e-05 | -0.00024538 | 0.046816 | 0.04682 | 0.04682 | 0.99602 | -0.10226 | 0.996 | -0.10209 | 21.2816
12 | 0.18107 | 0.087 | -0.18107 | -0.087695 | 1.3356e-06 | -0.00069565 | 0.0058263 | 0.0058351 | 0.0058351 | 0.99533 | -0.10554 | 0.99532 | -0.10548 | 2.6523
13 | 0.28558 | 0.13769 | -0.28557 | -0.13776 | 9.4264e-06 | -6.8115e-05 | 0.0091943 | 0.0091952 | 0.0091952 | 0.9954 | -0.10616 | 0.99537 | -0.10638 | 4.3787
14 | -0.26726 | -0.12944 | 0.26727 | 0.12938 | 6.8634e-06 | -5.7745e-05 | 0.0085911 | 0.0085903 | 0.0085911 | 0.99782 | 0.00062293 | 0.99785 | 0.00079237 | 4.091
15 | -0.57336 | -0.27317 | 0.57354 | 0.26353 | 0.0001825 | -0.0096386 | 0.018373 | 0.018255 | 0.018373 | 0.99785 | 0.00079237 | 0.99814 | -0.0017704 | 8.3515
16 | 0.30609 | 0.14378 | -0.30607 | -0.14816 | 2.3671e-05 | -0.0043724 | 0.0097834 | 0.009838 | 0.009838 | 0.99785 | 0.00079237 | 0.99778 | 0.0014432 | 4.4718
17 | 0.28557 | 0.13776 | -0.28552 | -0.13808 | 4.4158e-05 | -0.00031882 | 0.0091952 | 0.0091996 | 0.0091996 | 0.99537 | -0.10638 | 0.99521 | -0.10741 | 4.3808
18 | 0.28552 | 0.13808 | -0.28552 | -0.13828 | 9.9704e-07 | -0.00020832 | 0.0091996 | 0.0092022 | 0.0092022 | 0.99521 | -0.10741 | 0.9952 | -0.10738 | 4.1828
19 | -0.30731 | -0.14884 | 0.30737 | 0.1485 | 5.4283e-05 | -0.00033582 | 0.0098887 | 0.0098841 | 0.0098887 | 0.99681 | -0.099552 | 0.99699 | -0.098383 | 4.7089
20 | -0.5934 | -0.28695 | 0.59355 | 0.27964 | 0.00014996 | -0.0073117 | 0.019085 | 0.018993 | 0.019085 | 0.99699 | -0.098383 | 0.99723 | -0.10051 | 8.675
21 | 0.28603 | 0.13844 | -0.28602 | -0.13853 | 1.1206e-05 | -8.1125e-05 | 0.009201 | 0.0092022 | 0.0092022 | 0.99699 | -0.098383 | 0.99695 | -0.098641 | 4.382
22 | -0.9036 | -0.42923 | 0.90396 | 0.42159 | 0.00036405 | -0.0076416 | 0.028958 | 0.028863 | 0.028958 | 0.99723 | -0.10051 | 0.9976 | -0.1038 | 13.1629
23 | 0.31005 | 0.1496 | -0.31004 | -0.15016 | 3.165e-06 | -0.00056549 | 0.0099653 | 0.0099724 | 0.0099724 | 0.99723 | -0.10051 | 0.99722 | -0.10042 | 4.5329
24 | 0.58436 | 0.2805 | -0.58435 | -0.28092 | 8.3821e-06 | -0.00041958 | 0.018778 | 0.018783 | 0.018783 | 0.9965 | 0.0097631 | 0.99649 | 0.0098858 | 8.5377
25 | -0.94203 | -0.45373 | 0.94221 | 0.45371 | 0.00018529 | -1.8348e-05 | 0.03029 | 0.030288 | 0.03029 | 0.9965 | 0.0097631 | 0.99671 | 0.011087 | 14.4238
26 | 0.58435 | 0.28092 | -0.58433 | -0.28218 | 2.517e-05 | -0.0012584 | 0.018783 | 0.018799 | 0.018799 | 0.99649 | 0.0098858 | 0.99645 | 0.010257 | 8.5449
27 | -1.0353 | -0.49721 | 1.0356 | 0.49261 | 0.00029126 | -0.0045999 | 0.033264 | 0.033205 | 0.033264 | 0.99671 | 0.011087 | 0.99697 | 0.0087082 | 15.12
28 | 0.093088 | 0.0435 | -0.093082 | -0.044016 | 6.9488e-06 | -0.00051675 | 0.002976 | 0.0029824 | 0.0029824 | 0.99671 | 0.011087 | 0.99663 | 0.01054 | 1.4202
29 | 0.58433 | 0.28218 | -0.58431 | -0.283 | 1.628e-05 | -0.00081278 | 0.018799 | 0.018809 | 0.018809 | 0.99645 | 0.010257 | 0.99642 | 0.010499 | 8.5496
30 | -1.4985 | -0.71622 | 1.4985 | 0.71606 | 2.0944e-05 | -0.00015478 | 0.04809 | 0.048088 | 0.04809 | 0.99697 | 0.0087082 | 0.99698 | 0.00859 | 21.8593
31 | 0.23666 | 0.11435 | -0.23663 | -0.11459 | 2.2133e-05 | -0.0002405 | 0.0076105 | 0.0076137 | 0.0076137 | 0.99697 | 0.0087082 | 0.99687 | 0.0080888 | 3.6256
32 | 0.22624 | 0.10925 | -0.22622 | -0.10948 | 1.9139e-05 | -0.00022874 | 0.0072746 | 0.0072777 | 0.0072777 | 0.99697 | 0.0087082 | 0.99688 | 0.0081467 | 3.4656
33 | 0.093082 | 0.044016 | -0.093081 | -0.045081 | 5.3566e-07 | -0.0010649 | 0.0029824 | 0.0029957 | 0.0029957 | 0.99663 | 0.01054 | 0.99662 | 0.010589 | 1.3617
34 | -1.7323 | -0.8293 | 1.7323 | 0.82918 | 2.0704e-05 | -0.00011288 | 0.05561 | 0.055609 | 0.05561 | 0.99698 | 0.00859 | 0.99699 | 0.0084886 | 25.2774
35 | 0.23663 | 0.11459 | -0.23663 | -0.11461 | 1.2069e-06 | -1.3107e-05 | 0.0076137 | 0.0076139 | 0.0076139 | 0.99687 | 0.0080888 | 0.99686 | 0.0080552 | 3.6257
36 | 0.22622 | 0.10948 | -0.22621 | -0.10956 | 6.4311e-06 | -7.6809e-05 | 0.0072777 | 0.0072787 | 0.0072787 | 0.99688 | 0.0081467 | 0.99685 | 0.007959 | 3.466
37 | 0.12872 | 0.062181 | -0.12872 | -0.06234 | 1.54e-07 | -0.00015931 | 0.0041414 | 0.0041434 | 0.0041434 | 0.99643 | -0.069128 | 0.99643 | -0.069118 | 1.8834
38 | -0.12872 | -0.062181 | 0.12872 | 0.061539 | 6.1945e-07 | -0.00064241 | 0.0041414 | 0.0041333 | 0.0041414 | 0.99643 | -0.069128 | 0.99643 | -0.069169 | 1.8824
39 | 0.1152 | 0.054923 | -0.1152 | -0.055124 | 1.547e-07 | -0.00020079 | 0.0036973 | 0.0036998 | 0.0036998 | 0.99643 | -0.069169 | 0.99643 | -0.069158 | 1.6817
40 | -0.24392 | -0.11646 | 0.24392 | 0.11505 | 4.8858e-06 | -0.0014167 | 0.0078306 | 0.007813 | 0.0078306 | 0.99643 | -0.069169 | 0.99645 | -0.069336 | 3.5594
41 | -0.28553 | -0.13829 | 0.28553 | 0.13825 | 1.718e-07 | -3.6085e-05 | 0.0091901 | 0.0091897 | 0.0091901 | 0.99654 | -0.070125 | 0.99654 | -0.07013 | 4.1773
42 | -0.73469 | -0.34899 | 0.73474 | 0.34719 | 5.6857e-05 | -0.0018041 | 0.023561 | 0.023539 | 0.023561 | 0.99654 | -0.07013 | 0.99661 | -0.070772 | 10.7097
43 | 0.44916 | 0.21074 | -0.44913 | -0.21306 | 2.7116e-05 | -0.0023188 | 0.014372 | 0.014401 | 0.014401 | 0.99654 | -0.07013 | 0.99649 | -0.069634 | 6.5458
44 | -0.73474 | -0.34719 | 0.73477 | 0.34622 | 3.0488e-05 | -0.00096896 | 0.023539 | 0.023527 | 0.023539 | 0.99661 | -0.070772 | 0.99665 | -0.071112 | 10.6994
45 | 0.44913 | 0.21306 | -0.44911 | -0.21443 | 1.6013e-05 | -0.0013649 | 0.014401 | 0.014418 | 0.014418 | 0.99649 | -0.069634 | 0.99645 | -0.069336 | 6.5536
46 | -1.2069 | -0.57487 | 1.207 | 0.57379 | 9.3851e-05 | -0.0010847 | 0.03872 | 0.038706 | 0.03872 | 0.99665 | -0.071112 | 0.99672 | -0.071763 | 17.6
47 | 0.1152 | 0.055124 | -0.1152 | -0.055792 | 5.1633e-07 | -0.00066814 | 0.0036998 | 0.0037082 | 0.0037082 | 0.99643 | -0.069158 | 0.99643 | -0.069119 | 1.6855
48 | -0.89021 | -0.43115 | 0.89026 | 0.43002 | 5.2619e-05 | -0.0011241 | 0.028648 | 0.028634 | 0.028648 | 0.9967 | -0.071415 | 0.99675 | -0.071929 | 13.0218
49 | -0.89026 | -0.43002 | 0.89045 | 0.42596 | 0.00018944 | -0.0040576 | 0.028634 | 0.028582 | 0.028634 | 0.99675 | -0.071929 | 0.99695 | -0.073751 | 13.0153
50 | -2.1762 | -1.0341 | 2.1776 | 1.0296 | 0.0013438 | -0.0045169 | 0.069763 | 0.069702 | 0.069763 | 0.99699 | 0.0084886 | 0.99757 | 0.0033665 | 31.7105
51 | 0.44388 | 0.20488 | -0.4438 | -0.21194 | 8.0242e-05 | -0.0070507 | 0.014155 | 0.014243 | 0.014243 | 0.99699 | 0.0084886 | 0.99682 | 0.0099563 | 6.4739
52 | 0.18474 | 0.086587 | -0.18474 | -0.088009 | 2.805e-06 | -0.0014222 | 0.0059091 | 0.0059267 | 0.0059267 | 0.99672 | -0.071763 | 0.99671 | -0.071638 | 2.694
53 | -1.3917 | -0.66038 | 1.3921 | 0.65749 | 0.00033441 | -0.002889 | 0.044615 | 0.044578 | 0.044615 | 0.99672 | -0.071763 | 0.99695 | -0.073751 | 20.2796
54 | -3.0521 | -1.444 | 3.0528 | 1.4429 | 0.00069105 | -0.0010829 | 0.097726 | 0.09771 | 0.097726 | 0.99739 | -0.10193 | 0.9976 | -0.1038 | 44.4207
55 | -4.1234 | -1.9405 | 4.1244 | 1.9373 | 0.00093136 | -0.0031112 | 0.13187 | 0.13182 | 0.13187 | 0.9976 | -0.1038 | 0.99785 | -0.10108 | 36.4286
56 | 0.16664 | 0.075997 | -0.16663 | -0.080502 | 7.1868e-06 | -0.0045053 | 0.0052997 | 0.0053552 | 0.0053552 | 0.9976 | -0.1038 | 0.99756 | -0.10345 | 2.4342
57 | 11.1947 | 5.3209 | -11.1897 | -5.3074 | 0.0050705 | 0.013482 | 0.35802 | 0.35802 | 0.35802 | 0.99942 | -0.032376 | 0.99858 | -0.079278 | 55.507
58 | -11.2942 | -5.3691 | 11.2978 | 5.3785 | 0.0035366 | 0.0094052 | 0.36121 | 0.36121 | 0.36121 | 0.99942 | -0.032376 | 1 | 0 | 56.0018
59 | 10.934 | 5.1836 | -10.9327 | -5.1851 | 0.0013669 | -0.0014948 | 0.34981 | 0.34984 | 0.34984 | 0.99858 | -0.079278 | 0.99845 | -0.079799 | 54.8335
60 | 3.8597 | 1.8177 | -3.8583 | -1.8163 | 0.0013641 | 0.0014372 | 0.12316 | 0.12316 | 0.12316 | 1 | 0 | 0.99955 | -0.011156 | 35.1881
61 | 0.16663 | 0.080502 | -0.16663 | -0.080702 | 3.221e-07 | -0.0001997 | 0.0053552 | 0.0053577 | 0.0053577 | 0.99756 | -0.10345 | 0.99756 | -0.10344 | 2.4353
62 | -4.2031 | -1.9751 | 4.2034 | 1.9714 | 0.00034433 | -0.0036701 | 0.13435 | 0.1343 | 0.13435 | 0.99785 | -0.10108 | 0.99793 | -0.10072 | 21.0581
63 | 0.07872 | 0.037762 | -0.078716 | -0.038124 | 3.4873e-06 | -0.00036182 | 0.0025258 | 0.0025304 | 0.0025304 | 0.99785 | -0.10108 | 0.9978 | -0.10138 | 1.2049
64 | -4.3203 | -2.028 | 4.3211 | 2.0301 | 0.00084131 | 0.0020921 | 0.13806 | 0.13806 | 0.13806 | 0.99793 | -0.10072 | 0.99829 | -0.080436 | 21.4043
65 | -0.30605 | -0.14823 | 0.30607 | 0.14816 | 1.1651e-05 | -7.299e-05 | 0.009839 | 0.009838 | 0.009839 | 0.99774 | 0.001192 | 0.99778 | 0.0014432 | 4.6852
66 | -2.9919 | -1.4045 | 2.9924 | 1.4048 | 0.00052022 | 0.00028783 | 0.095589 | 0.095588 | 0.095589 | 0.99814 | -0.0017704 | 0.99833 | -0.00048946 | 45.5184
67 | 2.4183 | 1.141 | -2.4168 | -1.145 | 0.0015055 | -0.0040331 | 0.077335 | 0.07739 | 0.07739 | 0.99814 | -0.0017704 | 0.99757 | 0.0033665 | 35.1774
68 | -3.2448 | -1.527 | 3.2451 | 1.5266 | 0.00029355 | -0.0003996 | 0.1037 | 0.10369 | 0.1037 | 0.99833 | -0.00048946 | 0.99841 | -0.0012274 | 47.1349
69 | 0.23929 | 0.11545 | -0.23929 | -0.11589 | 1.4744e-06 | -0.00044318 | 0.0076883 | 0.0076938 | 0.0076938 | 0.99757 | 0.0033665 | 0.99756 | 0.00342 | 3.4972
70 | 3.2491 | 1.5212 | -3.2488 | -1.5215 | 0.00022012 | -0.00030107 | 0.10361 | 0.10361 | 0.10361 | 0.99955 | -0.011156 | 0.99949 | -0.01061 | 47.0973
71 | 3.2488 | 1.5215 | -3.2451 | -1.5266 | 0.003756 | -0.0051253 | 0.10361 | 0.10369 | 0.10369 | 0.99949 | -0.01061 | 0.99841 | -0.0012274 | 47.1321
72 | -10.7206 | -5.0832 | 10.7211 | 5.0826 | 0.00049667 | -0.00057581 | 0.34305 | 0.34304 | 0.34305 | 0.9984 | -0.079991 | 0.99845 | -0.079799 | 53.7697
73 | 0.19602 | 0.094885 | -0.19602 | -0.094939 | 1.1925e-07 | -5.3571e-05 | 0.0062969 | 0.0062976 | 0.0062976 | 0.9984 | -0.079991 | 0.9984 | -0.079986 | 2.8625
74 | 10.5245 | 4.9883 | -10.524 | -4.9889 | 0.00049319 | -0.0006037 | 0.33675 | 0.33676 | 0.33676 | 0.9984 | -0.079991 | 0.99835 | -0.080187 | 52.7845
75 | 5.8617 | 2.796 | -5.86 | -2.7981 | 0.0016898 | -0.0021624 | 0.18779 | 0.18783 | 0.18783 | 0.99835 | -0.080187 | 0.99804 | -0.083543 | 51.8865
76 | 4.6623 | 2.1929 | -4.662 | -2.1952 | 0.00026789 | -0.0022947 | 0.14898 | 0.14901 | 0.14901 | 0.99835 | -0.080187 | 0.99829 | -0.080436 | 23.3557
77 | 0.1135 | 0.053401 | -0.1135 | -0.054329 | 6.9073e-07 | -0.00092712 | 0.0036325 | 0.0036441 | 0.0036441 | 0.99682 | 0.0099563 | 0.99682 | 0.010007 | 1.6564
78 | 0.3303 | 0.15853 | -0.3303 | -0.15909 | 3.5195e-06 | -0.00055418 | 0.01061 | 0.010617 | 0.010617 | 0.99682 | 0.0099563 | 0.99681 | 0.010048 | 4.8259
79 | 0.1135 | 0.054329 | -0.1135 | -0.05497 | 4.8071e-07 | -0.00064175 | 0.0036441 | 0.0036521 | 0.0036521 | 0.99682 | 0.010007 | 0.99681 | 0.010043 | 1.6601
80 | 0.21639 | 0.10392 | -0.21639 | -0.1048 | 2.3996e-06 | -0.00088024 | 0.0069519 | 0.0069629 | 0.0069629 | 0.99681 | 0.010048 | 0.9968 | 0.010143 | 3.165
81 | -0.15966 | -0.077328 | 0.15966 | 0.076603 | 1.0725e-06 | -0.00072534 | 0.0051336 | 0.0051244 | 0.0051336 | 0.99759 | -0.079566 | 0.9976 | -0.079624 | 2.3334
82 | -0.15966 | -0.076603 | 0.15966 | 0.076261 | 5.0426e-07 | -0.00034192 | 0.0051244 | 0.0051202 | 0.0051244 | 0.9976 | -0.079624 | 0.9976 | -0.079651 | 2.3293
83 | 0.13278 | 0.064067 | -0.13278 | -0.064309 | 2.4768e-07 | -0.00024198 | 0.0042662 | 0.0042692 | 0.0042692 | 0.9976 | -0.079651 | 0.9976 | -0.079634 | 1.9405
84 | -0.29245 | -0.14033 | 0.29247 | 0.13583 | 2.216e-05 | -0.0044974 | 0.0093863 | 0.0093307 | 0.0093863 | 0.9976 | -0.079651 | 0.99767 | -0.080274 | 4.2665
85 | 2.9241 | 1.3881 | -2.9218 | -1.3921 | 0.0022798 | -0.0039443 | 0.093657 | 0.093714 | 0.093714 | 0.99767 | -0.080274 | 0.99695 | -0.073751 | 42.5975
86 | -3.2165 | -1.524 | 3.217 | 1.5233 | 0.00046023 | -0.00063609 | 0.10299 | 0.10298 | 0.10299 | 0.99767 | -0.080274 | 0.9978 | -0.081459 | 46.8124
87 | 0.63927 | 0.30862 | -0.63925 | -0.3096 | 2.3479e-05 | -0.00098021 | 0.020555 | 0.020567 | 0.020567 | 0.99695 | -0.073751 | 0.99691 | -0.073432 | 9.3488
88 | -3.7088 | -1.7615 | 3.7098 | 1.7606 | 0.00092821 | -0.00089639 | 0.11879 | 0.11877 | 0.11879 | 0.9978 | -0.081459 | 0.99804 | -0.083543 | 53.9946
89 | 0.18474 | 0.088009 | -0.18474 | -0.089472 | 2.9033e-06 | -0.0014631 | 0.0059267 | 0.0059451 | 0.0059451 | 0.99671 | -0.071638 | 0.9967 | -0.071504 | 2.7023
90 | 2.1503 | 1.0375 | -2.1499 | -1.0387 | 0.00034197 | -0.0011756 | 0.069056 | 0.069072 | 0.069072 | 0.99804 | -0.083543 | 0.99789 | -0.082167 | 31.3966
91 | 2.1499 | 1.0387 | -2.1493 | -1.0409 | 0.00066447 | -0.0022814 | 0.069072 | 0.069104 | 0.069104 | 0.99789 | -0.082167 | 0.9976 | -0.079482 | 31.4108

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 15.4127 | 7.3235

## res_load
| p_mw | q_mvar
0 | 0.40185 | 0.19462
1 | 0.38727 | 0.18756
2 | 0.34192 | 0.1656
3 | 0.18107 | 0.087695
4 | 0.3449 | 0.16704
5 | 0.25043 | 0.12129
6 | 0.26726 | 0.12944
7 | 0.28552 | 0.13828
8 | 0.30731 | 0.14884
9 | 0.28602 | 0.13853
10 | 0.35766 | 0.17322
11 | 0.2338 | 0.11324
12 | 0.58431 | 0.283
13 | 0.12872 | 0.06234
14 | 0.28553 | 0.13829
15 | 0.47211 | 0.22865
16 | 0.20519 | 0.09938
17 | 0.1152 | 0.055792
18 | 0.093081 | 0.045081
19 | 0.89021 | 0.43115
20 | 0.22621 | 0.10956
21 | 0.23663 | 0.11461
22 | 0.85526 | 0.41422
23 | 0.099507 | 0.048193
24 | 0.25563 | 0.12381
25 | 0.24127 | 0.11685
26 | 0.31004 | 0.15016
27 | 0.16663 | 0.080702
28 | 0.11683 | 0.056582
29 | 0.078716 | 0.038124
30 | 0.30605 | 0.14823
31 | 0.25239 | 0.12224
32 | 0.60924 | 0.29507
33 | 0.2116 | 0.10248
34 | 0.19602 | 0.094939
35 | 0.23929 | 0.11589
36 | 0.1139 | 0.055167
37 | 0.1135 | 0.05497
38 | 0.21639 | 0.1048
39 | 0.15966 | 0.077328
40 | 0.34094 | 0.16512
41 | 0.13278 | 0.064309
42 | 0.49185 | 0.23821
43 | 0.63925 | 0.3096
44 | 0.18474 | 0.089472
45 | 2.1493 | 1.0409

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1