## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_530_1_node_23 | 20 | n |  | TRUE
1 | bus_MV_530_1_node_167 | 20 | n |  | TRUE
2 | bus_MV_530_1_node_81 | 20 | n |  | TRUE
3 | bus_MV_530_1_node_127 | 20 | n |  | TRUE
4 | bus_MV_530_1_node_57 | 20 | n |  | TRUE
5 | bus_MV_530_1_node_24 | 20 | n |  | TRUE
6 | bus_MV_530_1_node_25 | 20 | n |  | TRUE
7 | bus_MV_530_1_node_26 | 20 | n |  | TRUE
8 | bus_MV_530_1_node_27 | 20 | n |  | TRUE
9 | bus_MV_530_1_node_28 | 20 | n |  | TRUE
10 | bus_MV_530_1_node_48 | 20 | n |  | TRUE
11 | bus_MV_530_1_node_159 | 20 | n |  | TRUE
12 | bus_MV_530_1_node_150 | 20 | n |  | TRUE
13 | bus_MV_530_1_node_43 | 20 | n |  | TRUE
14 | bus_MV_530_1_node_29 | 20 | n |  | TRUE
15 | bus_MV_530_1_node_30 | 20 | n |  | TRUE
16 | bus_MV_530_1_node_187 | 20 | n |  | TRUE
17 | bus_MV_530_1_node_138 | 20 | n |  | TRUE
18 | bus_MV_530_1_node_147 | 20 | n |  | TRUE
19 | bus_MV_530_1_node_148 | 20 | n |  | TRUE
20 | bus_MV_530_1_node_173 | 20 | n |  | TRUE
21 | bus_MV_530_1_node_45 | 20 | n |  | TRUE
22 | bus_MV_530_1_node_35 | 20 | n |  | TRUE
23 | bus_MV_530_1_node_31 | 20 | n |  | TRUE
24 | bus_MV_530_1_node_32 | 20 | n |  | TRUE
25 | bus_MV_530_1_node_34 | 20 | n |  | TRUE
26 | bus_MV_530_1_node_33 | 20 | n |  | TRUE
27 | bus_MV_530_1_node_88 | 20 | n |  | TRUE
28 | bus_MV_530_1_node_97 | 20 | n |  | TRUE
29 | bus_MV_530_1_node_189 | 20 | n |  | TRUE
30 | bus_MV_530_1_node_50 | 20 | n |  | TRUE
31 | bus_MV_530_1_node_49 | 20 | n |  | TRUE
32 | bus_MV_530_1_node_89 | 20 | n |  | TRUE
33 | bus_MV_530_1_node_95 | 20 | n |  | TRUE
34 | bus_MV_530_1_node_184 | 20 | n |  | TRUE
35 | bus_MV_530_1_node_36 | 20 | n |  | TRUE
36 | bus_MV_530_1_node_38 | 20 | n |  | TRUE
37 | bus_MV_530_1_node_37 | 20 | n |  | TRUE
38 | bus_MV_530_1_node_42 | 20 | n |  | TRUE
39 | bus_MV_530_1_node_39 | 20 | n |  | TRUE
40 | bus_MV_530_1_node_84 | 20 | n |  | TRUE
41 | bus_MV_530_1_node_156 | 20 | n |  | TRUE
42 | bus_MV_530_1_node_155 | 20 | n |  | TRUE
43 | bus_MV_530_1_node_125 | 20 | n |  | TRUE
44 | bus_MV_530_1_node_85 | 20 | n |  | TRUE
45 | bus_MV_530_1_node_54 | 20 | n |  | TRUE
46 | bus_MV_530_1_node_55 | 20 | n |  | TRUE
47 | bus_MV_530_1_node_47 | 20 | n |  | TRUE
48 | bus_MV_530_1_node_46 | 20 | n |  | TRUE
49 | bus_MV_530_1_node_141 | 20 | n |  | TRUE
50 | bus_MV_530_1_node_139 | 20 | n |  | TRUE
51 | bus_MV_530_1_node_149 | 20 | n |  | TRUE
52 | bus_MV_530_1_node_143 | 20 | n |  | TRUE
53 | bus_MV_530_1_node_53 | 20 | n |  | TRUE
54 | bus_MV_530_1_node_140 | 20 | n |  | TRUE
55 | bus_MV_530_1_node_124 | 20 | n |  | TRUE
56 | bus_MV_530_1_node_51 | 20 | n |  | TRUE
57 | bus_MV_530_1_node_52 | 20 | n |  | TRUE
58 | bus_MV_530_1_node_152 | 20 | n |  | TRUE
59 | bus_MV_530_1_node_134 | 20 | n |  | TRUE
60 | bus_MV_530_1_node_154 | 20 | n |  | TRUE
61 | bus_MV_530_1_node_131 | 20 | n |  | TRUE
62 | bus_MV_530_1_node_121 | 20 | n |  | TRUE
63 | bus_MV_530_1_node_126 | 20 | n |  | TRUE
64 | bus_MV_530_1_node_86 | 20 | n |  | TRUE
65 | bus_MV_530_1_node_87 | 20 | n |  | TRUE
66 | bus_MV_530_1_node_132 | 20 | n |  | TRUE
67 | bus_MV_530_1_node_130 | 20 | n |  | TRUE
68 | bus_MV_530_1_node_90 | 20 | n |  | TRUE
69 | bus_MV_530_1_node_91 | 20 | n |  | TRUE
70 | bus_MV_530_1_node_92 | 20 | n |  | TRUE
71 | bus_MV_530_1_node_94 | 20 | n |  | TRUE
72 | bus_MV_530_1_node_151 | 20 | n |  | TRUE
73 | bus_MV_530_1_node_157 | 20 | n |  | TRUE
74 | bus_MV_530_1_node_178 | 20 | n |  | TRUE
75 | bus_MV_530_1_node_142 | 20 | n |  | TRUE
76 | bus_MV_530_1_node_98 | 20 | n |  | TRUE
77 | bus_MV_530_1_node_177 | 20 | n |  | TRUE
78 | bus_MV_530_1_node_128 | 20 | n |  | TRUE
79 | bus_MV_530_1_node_123 | 20 | n |  | TRUE
80 | bus_MV_530_1_node_129 | 20 | n |  | TRUE
81 | bus_MV_530_1_node_133 | 20 | n |  | TRUE
82 | bus_MV_530_1_node_172 | 20 | n |  | TRUE
83 | bus_MV_530_1_node_176 | 20 | n |  | TRUE
84 | bus_MV_530_1_node_175 | 20 | n |  | TRUE
85 | bus_MV_530_1_node_163 | 20 | n |  | TRUE
86 | bus_MV_530_1_node_164 | 20 | n |  | TRUE
87 | bus_MV_530_1_node_165 | 20 | n |  | TRUE
88 | bus_MV_530_1_node_166 | 20 | n |  | TRUE
89 | bus_MV_530_1_node_174 | 20 | n |  | TRUE
90 | bus_MV_530_1_node_182 | 20 | n |  | TRUE
91 | bus_MV_530_1_node_183 | 20 | n |  | TRUE
92 | bus_MV_530_1_node_185 | 20 | n |  | TRUE
93 | bus_MV_530_1_node_192 | 20 | n |  | TRUE
94 | bus_HV_530_1_node_25 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_530_1_load_167 | 1 | 0.091025 | 0.044085 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_530_1_load_24 | 5 | 0.3225 | 0.15619 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_530_1_load_48 | 10 | 0.21368 | 0.10349 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_530_1_load_159 | 11 | 0.10264 | 0.049709 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_530_1_load_150 | 12 | 0.084607 | 0.040977 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_530_1_load_43 | 13 | 0.29445 | 0.14261 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_530_1_load_30 | 15 | 0.21743 | 0.10531 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_530_1_load_187 | 16 | 0.24861 | 0.12041 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_530_1_load_138 | 17 | 0.55117 | 0.26694 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_530_1_load_147 | 18 | 0.12303 | 0.059585 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_530_1_load_148 | 19 | 0.33321 | 0.16138 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_530_1_load_173 | 20 | 0.12573 | 0.060893 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_530_1_load_31 | 23 | 0.3069 | 0.14864 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_530_1_load_88 | 27 | 0.36172 | 0.17519 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_530_1_load_189 | 29 | 0.21044 | 0.10192 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_530_1_load_49 | 31 | 0.29862 | 0.14463 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_530_1_load_95 | 33 | 0.2661 | 0.12888 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_530_1_load_36 | 35 | 0.2749 | 0.13314 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_530_1_load_84 | 40 | 0.3495 | 0.16927 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_530_1_load_156 | 41 | 0.34192 | 0.1656 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_530_1_load_155 | 42 | 0.11924 | 0.05775 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_530_1_load_85 | 44 | 0.1078 | 0.052212 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_530_1_load_54 | 45 | 0.23593 | 0.11427 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_530_1_load_139 | 50 | 0.085661 | 0.041487 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_530_1_load_149 | 51 | 0.11037 | 0.053453 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_530_1_load_143 | 52 | 0.14037 | 0.067983 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_530_1_load_51 | 56 | 0.29474 | 0.14275 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_530_1_load_152 | 58 | 0.090132 | 0.043653 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_530_1_load_154 | 60 | 0.069214 | 0.033522 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_530_1_load_121 | 62 | 0.32203 | 0.15597 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_530_1_load_126 | 63 | 0.33425 | 0.16188 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_530_1_load_86 | 64 | 0.092017 | 0.044566 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_530_1_load_87 | 65 | 0.13181 | 0.06384 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_530_1_load_151 | 72 | 0.68523 | 0.33187 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_530_1_load_157 | 73 | 0.15725 | 0.07616 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_530_1_load_178 | 74 | 0.24116 | 0.1168 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_530_1_load_177 | 77 | 0.39082 | 0.18928 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_530_1_load_123 | 79 | 0.268 | 0.1298 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_530_1_load_129 | 80 | 0.95804 | 0.464 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_530_1_load_172 | 82 | 0.071936 | 0.03484 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_530_1_load_176 | 83 | 0.13214 | 0.064001 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_530_1_load_163 | 85 | 0.11808 | 0.057187 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_530_1_load_165 | 87 | 0.18489 | 0.089545 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_530_1_load_174 | 89 | 0.28763 | 0.13931 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_530_1_load_185 | 92 | 0.40845 | 0.19782 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_530_1_load_192 | 93 | 0.25214 | 0.12212 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_530_1_line_0 |  | 0 | 1 | 0.045186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_530_1_line_1 |  | 0 | 2 | 0.21628 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_530_1_line_2 |  | 0 | 3 | 0.20306 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_530_1_line_3 |  | 1 | 4 | 0.16629 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_530_1_line_4 |  | 2 | 62 | 0.002625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_530_1_line_5 |  | 3 | 63 | 0.03407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_530_1_line_6 |  | 3 | 78 | 0.14195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_530_1_line_7 |  | 4 | 58 | 0.02018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_530_1_line_8 |  | 4 | 46 | 0.089434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_530_1_line_9 |  | 5 | 6 | 0.00012293 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_530_1_line_10 |  | 6 | 7 | 0.21461 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
11 | MV_530_1_line_11 |  | 6 | 8 | 0.13229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_530_1_line_12 |  | 7 | 9 | 0.13973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_530_1_line_13 |  | 7 | 10 | 0.006647 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
14 | MV_530_1_line_14 |  | 7 | 11 | 0.11405 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_530_1_line_15 |  | 8 | 12 | 0.031009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_530_1_line_16 |  | 9 | 13 | 0.004119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_530_1_line_17 |  | 10 | 18 | 0.083894 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_530_1_line_18 |  | 10 | 19 | 0.098483 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_530_1_line_19 |  | 10 | 20 | 0.11213 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_530_1_line_20 |  | 11 | 53 | 0.050347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_530_1_line_21 |  | 13 | 21 | 0.045515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_530_1_line_22 |  | 14 | 15 | 0.009032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_530_1_line_23 |  | 14 | 16 | 0.081476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_530_1_line_24 |  | 14 | 17 | 0.17045 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_530_1_line_25 |  | 15 | 22 | 0.081413 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_530_1_line_26 |  | 17 | 78 | 0.063361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_530_1_line_27 |  | 18 | 30 | 0.053072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_530_1_line_28 |  | 19 | 68 | 0.006488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_530_1_line_29 |  | 20 | 70 | 0.051381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_530_1_line_30 |  | 21 | 47 | 0.030095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_530_1_line_31 |  | 22 | 30 | 0.061888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_530_1_line_32 |  | 22 | 31 | 0.003463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_530_1_line_33 |  | 23 | 24 | 0.075987 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_530_1_line_34 |  | 24 | 25 | 0.028036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_530_1_line_35 |  | 25 | 28 | 0.006197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_530_1_line_36 |  | 25 | 29 | 0.017981 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_530_1_line_37 |  | 25 | 26 | 0.10383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_530_1_line_38 |  | 26 | 27 | 0.029054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_530_1_line_39 |  | 27 | 32 | 0.02399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_530_1_line_40 |  | 28 | 33 | 0.031817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_530_1_line_41 |  | 29 | 34 | 0.033063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_530_1_line_42 |  | 32 | 68 | 0.089356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_530_1_line_43 |  | 34 | 91 | 0.19257 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_530_1_line_44 |  | 35 | 36 | 0.009131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_530_1_line_45 |  | 35 | 37 | 0.1057 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_530_1_line_46 |  | 36 | 38 | 0.025521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_530_1_line_47 |  | 37 | 39 | 0.088204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_530_1_line_48 |  | 38 | 41 | 0.041283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_530_1_line_49 |  | 38 | 42 | 0.02195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_530_1_line_50 |  | 39 | 40 | 0.042992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_530_1_line_51 |  | 40 | 44 | 0.017179 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_530_1_line_52 |  | 41 | 43 | 0.050443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_530_1_line_53 |  | 43 | 55 | 0.099513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_530_1_line_54 |  | 43 | 47 | 0.14844 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_530_1_line_55 |  | 44 | 64 | 0.039033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_530_1_line_56 |  | 45 | 46 | 0.006962 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_530_1_line_57 |  | 47 | 51 | 0.0043125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_530_1_line_58 |  | 48 | 49 | 0.005211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_530_1_line_59 |  | 48 | 50 | 0.013814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_530_1_line_60 |  | 49 | 52 | 0.032626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_530_1_line_61 |  | 49 | 53 | 0.001182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_530_1_line_62 |  | 50 | 54 | 0.021657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_530_1_line_63 |  | 53 | 57 | 0.004076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_530_1_line_64 |  | 54 | 75 | 0.044146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_530_1_line_65 |  | 55 | 79 | 0.035185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_530_1_line_66 |  | 56 | 57 | 0.00505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_530_1_line_67 |  | 59 | 60 | 0.03567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_530_1_line_68 |  | 59 | 61 | 0.43749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_530_1_line_69 |  | 61 | 82 | 0.029339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_530_1_line_70 |  | 61 | 66 | 0.056535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_530_1_line_71 |  | 64 | 65 | 0.031731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_530_1_line_72 |  | 65 | 66 | 0.013915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_530_1_line_73 |  | 66 | 67 | 0.02829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_530_1_line_74 |  | 67 | 81 | 0.098774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_530_1_line_75 |  | 67 | 80 | 0.050659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_530_1_line_76 |  | 69 | 70 | 0.11919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_530_1_line_77 |  | 69 | 71 | 0.11213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_530_1_line_78 |  | 69 | 72 | 0.042377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_530_1_line_79 |  | 71 | 73 | 0.034869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_530_1_line_80 |  | 74 | 75 | 0.05069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_530_1_line_81 |  | 76 | 77 | 0.007627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_530_1_line_82 |  | 76 | 78 | 0.19415 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_530_1_line_83 |  | 81 | 83 | 0.015086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_530_1_line_84 |  | 83 | 84 | 0.023191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_530_1_line_85 |  | 84 | 88 | 0.008175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_530_1_line_86 |  | 85 | 86 | 0.012793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_530_1_line_87 |  | 86 | 87 | 0.02671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_530_1_line_88 |  | 86 | 88 | 0.011966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_530_1_line_89 |  | 88 | 89 | 0.031023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_530_1_line_90 |  | 90 | 91 | 0.082484 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_530_1_line_91 |  | 90 | 92 | 0.0077284 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_530_1_line_92 |  | 91 | 93 | 0.039823 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_530_1_trafo_25 | 25 MVA 110/20 kV | 94 | 6 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2682530.76 | 1249174.1943
1 | 2682495.1731 | 1249202.0122
2 | 2682736.7597 | 1249108.3055
3 | 2682653.9767 | 1249012.7914
4 | 2682356.7732 | 1249109.8274
5 | 2682223.4584 | 1249019.3431
6 | 2682223.5691 | 1249019.2895
7 | 2682183.9003 | 1248870.1628
8 | 2682170.3113 | 1249044.6477
9 | 2682103.729 | 1248955.3372
10 | 2682189.6411 | 1248866.7844
11 | 2682105.6745 | 1248787.1641
12 | 2682149.9203 | 1249067.2258
13 | 2682101.4812 | 1248951.8813
14 | 2682391.0506 | 1248921.2866
15 | 2682384.1543 | 1248915.4309
16 | 2682435.806 | 1248989.37
17 | 2682551.149 | 1248862.7786
18 | 2682270.2074 | 1248843.3919
19 | 2682236.786 | 1248780.3187
20 | 2682173.1174 | 1248755.8773
21 | 2682063.277 | 1248976.4594
22 | 2682335.8889 | 1248849.8676
23 | 2682436.5301 | 1248735.9597
24 | 2682385.8818 | 1248679.3139
25 | 2682376.6918 | 1248665.1314
26 | 2682306.9632 | 1248681.5196
27 | 2682283.0053 | 1248698.0548
28 | 2682381.8821 | 1248661.7232
29 | 2682368.243 | 1248649.2467
30 | 2682292.2712 | 1248891.6484
31 | 2682336.146 | 1248846.5798
32 | 2682263.226 | 1248711.7126
33 | 2682407.4906 | 1248642.7428
34 | 2682352.1588 | 1248620.3353
35 | 2682004.3458 | 1249123.6638
36 | 2681996.8502 | 1249128.9084
37 | 2682064.3293 | 1249210.6913
38 | 2681975.9037 | 1249143.5741
39 | 2682122.8143 | 1249246.0828
40 | 2682094.4896 | 1249276.301
41 | 2681953.2804 | 1249109.0503
42 | 2681958.066 | 1249156.3654
43 | 2681925.3102 | 1249067.0739
44 | 2682081.3598 | 1249287.3787
45 | 2682311.9006 | 1249162.154
46 | 2682317.8997 | 1249165.7177
47 | 2682056.4161 | 1248997.4689
48 | 2682075.7048 | 1248739.4678
49 | 2682078.3842 | 1248743.9415
50 | 2682080.1626 | 1248730.487
51 | 2682054.5216 | 1248993.5948
52 | 2682050.7384 | 1248761.2658
53 | 2682079.5519 | 1248744.1467
54 | 2682098.634 | 1248719.1814
55 | 2681878.3044 | 1248991.5133
56 | 2682087.4471 | 1248739.5304
57 | 2682083.077 | 1248742.0829
58 | 2682342.1437 | 1249095.928
59 | 2681983.4582 | 1249449.4711
60 | 2681948.4689 | 1249456.4081
61 | 2681990.8205 | 1249303.2427
62 | 2682738.8057 | 1249109.9575
63 | 2682684.0622 | 1249025.2312
64 | 2682051.694 | 1249312.7463
65 | 2682027.5772 | 1249333.3683
66 | 2682017.0018 | 1249342.4115
67 | 2682015.1563 | 1249363.9018
68 | 2682233.4727 | 1248774.7353
69 | 2682221.4095 | 1248628.0043
70 | 2682187.9798 | 1248706.7211
71 | 2682258.4657 | 1248589.5009
72 | 2682241.1551 | 1248590.5133
73 | 2682276.5546 | 1248559.6904
74 | 2682134.9953 | 1248662.0651
75 | 2682086.3454 | 1248676.78
76 | 2682549.9447 | 1248790.7002
77 | 2682547.0371 | 1248797.7538
78 | 2682597.5077 | 1248905.97
79 | 2681884.3195 | 1248979.1984
80 | 2681979.2227 | 1249399.611
81 | 2682069.7659 | 1249393.3237
82 | 2682009.877 | 1249281.492
83 | 2682080.7475 | 1249382.9807
84 | 2682098.6263 | 1249368.2381
85 | 2682087.9658 | 1249361.169
86 | 2682098.3373 | 1249353.6789
87 | 2682119.5924 | 1249337.5034
88 | 2682105.2623 | 1249363.4375
89 | 2682130.3898 | 1249345.2433
90 | 2682334.1894 | 1248587.4059
91 | 2682363.8642 | 1248533.9675
92 | 2682326.6856 | 1248585.5559
93 | 2682363.1716 | 1248494.1508
94 | 2682223.5691 | 1249019.2895

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99664 | -0.0084527 | 0 | 0
1 | 0.99662 | -0.0082358 | 0.091025 | 0.044085
2 | 0.99651 | -0.0093036 | 0 | 0
3 | 0.99693 | -0.0065495 | 0 | 0
4 | 0.99651 | -0.0089363 | 0 | 0
5 | 1 | 4.7428e-07 | 0.3225 | 0.15619
6 | 1 | 0 | -11.4505 | -5.4449
7 | 0.99923 | -0.0030509 | 0 | 0
8 | 0.99999 | 0.00011435 | 0 | 0
9 | 0.99853 | 0.0031895 | 0 | 0
10 | 0.9992 | -0.0032894 | 0.21368 | 0.10349
11 | 0.99904 | -0.0042983 | 0.10264 | 0.049709
12 | 0.99998 | 0.00014501 | 0.084607 | 0.040977
13 | 0.99851 | 0.0033741 | 0.29445 | 0.14261
14 | 0.99791 | -0.0049835 | 0 | 0
15 | 0.99794 | -0.0052205 | 0.21743 | 0.10531
16 | 0.99787 | -0.0052296 | 0.24861 | 0.12041
17 | 0.99725 | -0.009378 | 0.55117 | 0.26694
18 | 0.99873 | -0.0063752 | 0.12303 | 0.059585
19 | 0.9988 | -0.0059735 | 0.33321 | 0.16138
20 | 0.999 | -0.0046869 | 0.12573 | 0.060893
21 | 0.9983 | 0.0052546 | 0 | 0
22 | 0.99833 | -0.0026603 | 0 | 0
23 | 0.99822 | -0.0014567 | 0.3069 | 0.14864
24 | 0.99827 | -0.0011736 | 0 | 0
25 | 0.99828 | -0.0012762 | 0 | 0
26 | 0.99847 | -0.0030048 | 0 | 0
27 | 0.99852 | -0.0034854 | 0.36172 | 0.17519
28 | 0.99828 | -0.0012567 | 0 | 0
29 | 0.99826 | -0.0010969 | 0.21044 | 0.10192
30 | 0.99855 | -0.0046631 | 0 | 0
31 | 0.99833 | -0.0026479 | 0.29862 | 0.14463
32 | 0.99858 | -0.0039853 | 0 | 0
33 | 0.99827 | -0.0011558 | 0.2661 | 0.12888
34 | 0.99823 | -0.00084945 | 0 | 0
35 | 0.99667 | 0.004089 | 0.2749 | 0.13314
36 | 0.9967 | 0.0037986 | 0 | 0
37 | 0.99616 | 0.00062705 | 0 | 0
38 | 0.99679 | 0.0029879 | 0 | 0
39 | 0.99588 | 0.0031482 | 0 | 0
40 | 0.99574 | 0.0043818 | 0.3495 | 0.16927
41 | 0.99695 | 0.0016209 | 0.34192 | 0.1656
42 | 0.99679 | 0.003019 | 0.11924 | 0.05775
43 | 0.99715 | -0.00025283 | 0 | 0
44 | 0.99569 | 0.0048032 | 0.1078 | 0.052212
45 | 0.99648 | -0.0086694 | 0.23593 | 0.11427
46 | 0.99649 | -0.0086891 | 0 | 0
47 | 0.99816 | 0.0065001 | 0 | 0
48 | 0.99899 | -0.0038284 | 0 | 0
49 | 0.99899 | -0.0038478 | 0 | 0
50 | 0.99898 | -0.0037769 | 0.085661 | 0.041487
51 | 0.99816 | 0.0065058 | 0.11037 | 0.053453
52 | 0.99898 | -0.0037937 | 0.14037 | 0.067983
53 | 0.99899 | -0.0038541 | 0 | 0
54 | 0.99897 | -0.0037177 | 0 | 0
55 | 0.99712 | 5.5203e-05 | 0 | 0
56 | 0.99898 | -0.0038219 | 0.29474 | 0.14275
57 | 0.99899 | -0.0038397 | 0 | 0
58 | 0.99651 | -0.0089147 | 0.090132 | 0.043653
59 | 0.99543 | 0.0069512 | 0 | 0
60 | 0.99543 | 0.00698 | 0.069214 | 0.033522
61 | 0.99547 | 0.006755 | 0 | 0
62 | 0.99651 | -0.0092935 | 0.32203 | 0.15597
63 | 0.99692 | -0.0064133 | 0.33425 | 0.16188
64 | 0.99559 | 0.0057116 | 0.092017 | 0.044566
65 | 0.99551 | 0.0064167 | 0.13181 | 0.06384
66 | 0.99548 | 0.0067043 | 0 | 0
67 | 0.99542 | 0.0072658 | 0 | 0
68 | 0.99878 | -0.0058394 | 0 | 0
69 | 0.99881 | -0.0030351 | 0 | 0
70 | 0.99894 | -0.004194 | 0 | 0
71 | 0.99879 | -0.0028392 | 0 | 0
72 | 0.99878 | -0.0026883 | 0.68523 | 0.33187
73 | 0.99878 | -0.0027744 | 0.15725 | 0.07616
74 | 0.99894 | -0.0034504 | 0.24116 | 0.1168
75 | 0.99896 | -0.003595 | 0 | 0
76 | 0.99703 | -0.0074374 | 0 | 0
77 | 0.99703 | -0.0074016 | 0.39082 | 0.18928
78 | 0.99713 | -0.0083196 | 0 | 0
79 | 0.99711 | 0.00016773 | 0.268 | 0.1298
80 | 0.99536 | 0.0078499 | 0.95804 | 0.464
81 | 0.99533 | 0.008101 | 0 | 0
82 | 0.99547 | 0.0067798 | 0.071936 | 0.03484
83 | 0.99531 | 0.0082299 | 0.13214 | 0.064001
84 | 0.9953 | 0.0083917 | 0 | 0
85 | 0.99528 | 0.00851 | 0.11808 | 0.057187
86 | 0.99529 | 0.0084919 | 0 | 0
87 | 0.99528 | 0.008551 | 0.18489 | 0.089545
88 | 0.99529 | 0.0084489 | 0 | 0
89 | 0.99528 | 0.0085559 | 0.28763 | 0.13931
90 | 0.99803 | 0.0010245 | 0 | 0
91 | 0.99807 | 0.00062507 | 0 | 0
92 | 0.99802 | 0.00098619 | 0.40845 | 0.19782
93 | 0.99805 | 0.00050318 | 0.25214 | 0.12212
94 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.41714 | 0.198 | -0.41713 | -0.19907 | 1.0801e-05 | -0.0010684 | 0.013374 | 0.013388 | 0.013388 | 0.99664 | -0.0084527 | 0.99662 | -0.0082358 | 6.0853
1 | 0.32207 | 0.15567 | -0.32203 | -0.15591 | 4.1383e-05 | -0.00023051 | 0.010361 | 0.010365 | 0.010365 | 0.99664 | -0.0084527 | 0.99651 | -0.0093036 | 4.9355
2 | -0.73921 | -0.35367 | 0.73942 | 0.35356 | 0.0002038 | -0.00011321 | 0.023736 | 0.023733 | 0.023736 | 0.99664 | -0.0084527 | 0.99693 | -0.0065495 | 11.3027
3 | 0.3261 | 0.15498 | -0.32607 | -0.15516 | 3.2413e-05 | -0.00017686 | 0.010458 | 0.010461 | 0.010461 | 0.99662 | -0.0082358 | 0.99651 | -0.0089363 | 4.9813
4 | 0.32203 | 0.15591 | -0.32203 | -0.15597 | 3.7648e-07 | -6.2126e-05 | 0.010365 | 0.010365 | 0.010365 | 0.99651 | -0.0093036 | 0.99651 | -0.0092935 | 4.7115
5 | 0.33425 | 0.16108 | -0.33425 | -0.16188 | 5.2553e-06 | -0.00080691 | 0.010744 | 0.010754 | 0.010754 | 0.99693 | -0.0065495 | 0.99692 | -0.0064133 | 4.8883
6 | -1.0737 | -0.51464 | 1.0739 | 0.51133 | 0.00022497 | -0.0033024 | 0.034477 | 0.034434 | 0.034477 | 0.99693 | -0.0065495 | 0.99713 | -0.0083196 | 15.6712
7 | 0.090132 | 0.043175 | -0.090132 | -0.043653 | 2.2626e-07 | -0.00047839 | 0.0028951 | 0.0029011 | 0.0029011 | 0.99651 | -0.0089363 | 0.99651 | -0.0089147 | 1.3187
8 | 0.23594 | 0.11198 | -0.23593 | -0.1141 | 6.8578e-06 | -0.0021184 | 0.0075656 | 0.0075921 | 0.0075921 | 0.99651 | -0.0089363 | 0.99649 | -0.0086891 | 3.451
9 | -0.3225 | -0.15619 | 0.3225 | 0.15619 | 1.756e-08 | -2.9299e-06 | 0.010344 | 0.010344 | 0.010344 | 1 | 4.7428e-07 | 1 | 0 | 4.7019
10 | 11.0293 | 5.2412 | -11.0211 | -5.25 | 0.0082446 | -0.0088317 | 0.35251 | 0.35268 | 0.35268 | 1 | 0 | 0.99923 | -0.0030509 | 55.2786
11 | 0.084609 | 0.037079 | -0.084607 | -0.040237 | 1.2735e-06 | -0.0031582 | 0.0026667 | 0.0027046 | 0.0027046 | 1 | 0 | 0.99999 | 0.00011435 | 1.2294
12 | 3.9244 | 1.8615 | -3.9215 | -1.864 | 0.0029384 | -0.0024572 | 0.12548 | 0.12553 | 0.12553 | 0.99923 | -0.0030509 | 0.99853 | 0.0031895 | 57.0573
13 | 6.2319 | 2.9752 | -6.2318 | -2.9754 | 0.00012779 | -0.00013481 | 0.1995 | 0.19951 | 0.19951 | 0.99923 | -0.0030509 | 0.9992 | -0.0032894 | 55.1124
14 | 0.86477 | 0.41325 | -0.86461 | -0.41329 | 0.00015581 | -3.8328e-05 | 0.027689 | 0.027691 | 0.027691 | 0.99923 | -0.0030509 | 0.99904 | -0.0042983 | 13.1861
15 | 0.084607 | 0.040237 | -0.084607 | -0.040977 | 3.0384e-07 | -0.00074025 | 0.0027046 | 0.0027138 | 0.0027138 | 0.99999 | 0.00011435 | 0.99998 | 0.00014501 | 1.2336
16 | 3.9215 | 1.864 | -3.9214 | -1.864 | 8.6645e-05 | -7.2353e-05 | 0.12553 | 0.12553 | 0.12553 | 0.99853 | 0.0031895 | 0.99851 | 0.0033741 | 57.0578
17 | 2.9086 | 1.3903 | -2.9073 | -1.3896 | 0.0012966 | 0.00071222 | 0.093137 | 0.093138 | 0.093138 | 0.9992 | -0.0032894 | 0.99873 | -0.0063752 | 44.3515
18 | 2.1409 | 1.0212 | -2.1401 | -1.0208 | 0.00082401 | 0.0003988 | 0.068527 | 0.068529 | 0.068529 | 0.9992 | -0.0032894 | 0.9988 | -0.0059735 | 32.6327
19 | 0.9686 | 0.4604 | -0.96841 | -0.46041 | 0.0001918 | -1.3484e-05 | 0.030984 | 0.030985 | 0.030985 | 0.9992 | -0.0032894 | 0.999 | -0.0046869 | 14.7549
20 | 0.76198 | 0.36358 | -0.76194 | -0.36477 | 4.0026e-05 | -0.0011878 | 0.024396 | 0.024411 | 0.024411 | 0.99904 | -0.0042983 | 0.99899 | -0.0038541 | 11.0957
21 | 3.627 | 1.7214 | -3.6262 | -1.7223 | 0.00081868 | -0.00084041 | 0.11607 | 0.11608 | 0.11608 | 0.99851 | 0.0033741 | 0.9983 | 0.0052546 | 52.7646
22 | -2.266 | -1.0822 | 2.2661 | 1.082 | 6.3627e-05 | -0.00019588 | 0.072643 | 0.072641 | 0.072643 | 0.99791 | -0.0049835 | 0.99794 | -0.0052205 | 33.0197
23 | 0.24862 | 0.12032 | -0.24861 | -0.12041 | 9.269e-06 | -9.1051e-05 | 0.0079901 | 0.0079913 | 0.0079913 | 0.99791 | -0.0049835 | 0.99787 | -0.0052296 | 3.8054
24 | 2.0174 | 0.96193 | -2.0161 | -0.96133 | 0.0012695 | 0.00059269 | 0.064654 | 0.064656 | 0.064656 | 0.99791 | -0.0049835 | 0.99725 | -0.009378 | 30.7886
25 | -2.4835 | -1.1874 | 2.4844 | 1.1878 | 0.00091974 | 0.00047927 | 0.079629 | 0.079628 | 0.079629 | 0.99794 | -0.0052205 | 0.99833 | -0.0026603 | 37.9187
26 | 1.4649 | 0.69439 | -1.4648 | -0.69584 | 0.00018636 | -0.001449 | 0.046929 | 0.046948 | 0.046948 | 0.99725 | -0.009378 | 0.99713 | -0.0083196 | 21.3398
27 | 2.7843 | 1.33 | -2.7837 | -1.3311 | 0.00056367 | -0.0010965 | 0.089187 | 0.089203 | 0.089203 | 0.99873 | -0.0063752 | 0.99855 | -0.0046631 | 40.5467
28 | 1.8069 | 0.8594 | -1.8068 | -0.85955 | 2.8966e-05 | -0.00014594 | 0.057828 | 0.05783 | 0.05783 | 0.9988 | -0.0059735 | 0.99878 | -0.0058394 | 26.2864
29 | 0.84268 | 0.39952 | -0.84263 | -0.40073 | 4.9843e-05 | -0.0012095 | 0.026949 | 0.026964 | 0.026964 | 0.999 | -0.0046869 | 0.99894 | -0.004194 | 12.2563
30 | 3.6262 | 1.7223 | -3.6256 | -1.7228 | 0.00054142 | -0.0005554 | 0.11608 | 0.11609 | 0.11609 | 0.9983 | 0.0052546 | 0.99816 | 0.0065001 | 52.7687
31 | -2.783 | -1.3324 | 2.7837 | 1.3311 | 0.00065755 | -0.001278 | 0.089221 | 0.089203 | 0.089221 | 0.99833 | -0.0026603 | 0.99855 | -0.0046631 | 40.5551
32 | 0.29862 | 0.14455 | -0.29862 | -0.14463 | 4.2554e-07 | -8.228e-05 | 0.0095933 | 0.0095943 | 0.0095943 | 0.99833 | -0.0026603 | 0.99833 | -0.0026479 | 4.3611
33 | -0.3069 | -0.14864 | 0.30691 | 0.14855 | 1.3164e-05 | -8.215e-05 | 0.0098612 | 0.0098601 | 0.0098612 | 0.99822 | -0.0014567 | 0.99827 | -0.0011736 | 4.6958
34 | -0.30691 | -0.14855 | 0.30691 | 0.14789 | 3.6357e-06 | -0.000666 | 0.0098601 | 0.0098517 | 0.0098601 | 0.99827 | -0.0011736 | 0.99828 | -0.0012762 | 4.4819
35 | 0.2661 | 0.12798 | -0.2661 | -0.12812 | 6.0333e-07 | -0.00014727 | 0.0085387 | 0.0085405 | 0.0085405 | 0.99828 | -0.0012762 | 0.99828 | -0.0012567 | 3.8821
36 | 0.8712 | 0.4141 | -0.87118 | -0.41452 | 1.8681e-05 | -0.00042229 | 0.027894 | 0.027899 | 0.027899 | 0.99828 | -0.0012762 | 0.99826 | -0.0010969 | 12.6814
37 | -1.4442 | -0.68996 | 1.4445 | 0.68758 | 0.00029675 | -0.002383 | 0.046284 | 0.046253 | 0.046284 | 0.99828 | -0.0012762 | 0.99847 | -0.0030048 | 21.0382
38 | -1.4445 | -0.68758 | 1.4446 | 0.68691 | 8.2964e-05 | -0.000667 | 0.046253 | 0.046245 | 0.046253 | 0.99847 | -0.0030048 | 0.99852 | -0.0034854 | 21.0242
39 | -1.8063 | -0.8621 | 1.8064 | 0.86156 | 0.00010722 | -0.00053932 | 0.057864 | 0.057857 | 0.057864 | 0.99852 | -0.0034854 | 0.99858 | -0.0039853 | 26.3017
40 | 0.2661 | 0.12812 | -0.2661 | -0.12888 | 3.1016e-06 | -0.00075612 | 0.0085405 | 0.00855 | 0.00855 | 0.99828 | -0.0012567 | 0.99827 | -0.0011558 | 3.8864
41 | 0.66074 | 0.3126 | -0.66072 | -0.31338 | 1.9731e-05 | -0.00078079 | 0.021138 | 0.021147 | 0.021147 | 0.99826 | -0.0010969 | 0.99823 | -0.00084945 | 9.6125
42 | -1.8064 | -0.86156 | 1.8068 | 0.85955 | 0.00039913 | -0.0020095 | 0.057857 | 0.05783 | 0.057857 | 0.99858 | -0.0039853 | 0.99878 | -0.0058394 | 26.2985
43 | 0.66072 | 0.31338 | -0.66061 | -0.31793 | 0.00011528 | -0.0045467 | 0.021147 | 0.021205 | 0.021205 | 0.99823 | -0.00084945 | 0.99807 | 0.00062507 | 9.6385
44 | -2.7811 | -1.3206 | 2.7812 | 1.3205 | 9.693e-05 | -0.00018782 | 0.089174 | 0.089171 | 0.089174 | 0.99667 | 0.004089 | 0.9967 | 0.0037986 | 40.5335
45 | 2.5063 | 1.1875 | -2.505 | -1.1869 | 0.0012151 | 0.00063585 | 0.080327 | 0.080329 | 0.080329 | 0.99667 | 0.004089 | 0.99616 | 0.00062705 | 38.2518
46 | -2.7812 | -1.3205 | 2.7815 | 1.3199 | 0.00027089 | -0.00052503 | 0.089171 | 0.089163 | 0.089171 | 0.9967 | 0.0037986 | 0.99679 | 0.0029879 | 40.5322
47 | 2.505 | 1.1869 | -2.5043 | -1.1887 | 0.00076006 | -0.0018638 | 0.080329 | 0.080355 | 0.080355 | 0.99616 | 0.00062705 | 0.99588 | 0.0031482 | 36.5248
48 | -2.9008 | -1.3772 | 2.9012 | 1.3763 | 0.00047655 | -0.00083816 | 0.092994 | 0.092982 | 0.092994 | 0.99679 | 0.0029879 | 0.99695 | 0.0016209 | 42.2699
49 | 0.11924 | 0.05723 | -0.11924 | -0.05775 | 4.3066e-07 | -0.0005206 | 0.0038304 | 0.0038369 | 0.0038369 | 0.99679 | 0.0029879 | 0.99679 | 0.003019 | 1.7441
50 | 2.5043 | 1.1887 | -2.5039 | -1.1896 | 0.00037064 | -0.00090794 | 0.080355 | 0.080367 | 0.080367 | 0.99588 | 0.0031482 | 0.99574 | 0.0043818 | 36.5306
51 | 2.1544 | 1.0204 | -2.1543 | -1.0208 | 0.00010954 | -0.00037416 | 0.06911 | 0.069115 | 0.069115 | 0.99574 | 0.0043818 | 0.99569 | 0.0048032 | 31.4157
52 | -3.2432 | -1.5419 | 3.2439 | 1.5409 | 0.00072801 | -0.00098134 | 0.10398 | 0.10397 | 0.10398 | 0.99695 | 0.0016209 | 0.99715 | -0.00025283 | 47.2646
53 | 0.26801 | 0.1266 | -0.268 | -0.12896 | 9.8155e-06 | -0.0023595 | 0.008581 | 0.0086104 | 0.0086104 | 0.99715 | -0.00025283 | 0.99712 | 5.5203e-05 | 3.9138
54 | -3.5119 | -1.6676 | 3.5152 | 1.6695 | 0.00335 | 0.001922 | 0.11255 | 0.11255 | 0.11255 | 0.99715 | -0.00025283 | 0.99816 | 0.0065001 | 53.5943
55 | 2.0465 | 0.96854 | -2.0463 | -0.9694 | 0.00022457 | -0.00085724 | 0.065642 | 0.065653 | 0.065653 | 0.99569 | 0.0048032 | 0.99559 | 0.0057116 | 29.8425
56 | -0.23593 | -0.11427 | 0.23593 | 0.1141 | 5.3588e-07 | -0.0001649 | 0.0075942 | 0.0075921 | 0.0075942 | 0.99648 | -0.0086694 | 0.99649 | -0.0086891 | 3.4519
57 | 0.11037 | 0.05335 | -0.11037 | -0.053453 | 7.241e-08 | -0.00010257 | 0.0035452 | 0.0035465 | 0.0035465 | 0.99816 | 0.0065001 | 0.99816 | 0.0065058 | 1.6121
58 | -0.32683 | -0.15518 | 0.32683 | 0.15506 | 7.6028e-07 | -0.00012394 | 0.010455 | 0.010453 | 0.010455 | 0.99899 | -0.0038284 | 0.99899 | -0.0038478 | 4.7522
59 | 0.32683 | 0.15518 | -0.32683 | -0.15551 | 2.0166e-06 | -0.00032857 | 0.010455 | 0.010459 | 0.010459 | 0.99899 | -0.0038284 | 0.99898 | -0.0037769 | 4.7541
60 | 0.14037 | 0.067206 | -0.14037 | -0.067983 | 8.8276e-07 | -0.00077713 | 0.0044971 | 0.0045069 | 0.0045069 | 0.99899 | -0.0038478 | 0.99898 | -0.0037937 | 2.0486
61 | -0.4672 | -0.22227 | 0.4672 | 0.22224 | 3.5278e-07 | -2.806e-05 | 0.01495 | 0.01495 | 0.01495 | 0.99899 | -0.0038478 | 0.99899 | -0.0038541 | 6.7957
62 | 0.24117 | 0.11403 | -0.24117 | -0.11454 | 1.7195e-06 | -0.00051551 | 0.0077087 | 0.0077151 | 0.0077151 | 0.99898 | -0.0037769 | 0.99897 | -0.0037177 | 3.5069
63 | 0.29474 | 0.14253 | -0.29474 | -0.14263 | 4.8708e-07 | -9.6977e-05 | 0.0094606 | 0.0094618 | 0.0094618 | 0.99899 | -0.0038541 | 0.99899 | -0.0038397 | 4.3008
64 | 0.24117 | 0.11454 | -0.24116 | -0.11559 | 3.5139e-06 | -0.0010508 | 0.0077151 | 0.0077282 | 0.0077282 | 0.99897 | -0.0037177 | 0.99896 | -0.003595 | 3.5128
65 | 0.268 | 0.12896 | -0.268 | -0.1298 | 3.4867e-06 | -0.00083421 | 0.0086104 | 0.0086209 | 0.0086209 | 0.99712 | 5.5203e-05 | 0.99711 | 0.00016773 | 3.9186
66 | -0.29474 | -0.14275 | 0.29474 | 0.14263 | 6.0367e-07 | -0.00012015 | 0.0094634 | 0.0094618 | 0.0094634 | 0.99898 | -0.0038219 | 0.99899 | -0.0038397 | 4.3015
67 | 0.069214 | 0.032678 | -0.069214 | -0.033522 | 2.3573e-07 | -0.00084384 | 0.0022197 | 0.0022302 | 0.0022302 | 0.99543 | 0.0069512 | 0.99543 | 0.00698 | 1.0137
68 | -0.069214 | -0.032678 | 0.069217 | 0.022328 | 2.7246e-06 | -0.01035 | 0.0022197 | 0.0021091 | 0.0022197 | 0.99543 | 0.0069512 | 0.99547 | 0.006755 | 1.0089
69 | 0.071936 | 0.034146 | -0.071936 | -0.03484 | 2.0963e-07 | -0.00069411 | 0.0023091 | 0.0023178 | 0.0023178 | 0.99547 | 0.006755 | 0.99547 | 0.0067798 | 1.0536
70 | -0.14115 | -0.056474 | 0.14115 | 0.055137 | 1.4622e-06 | -0.0013372 | 0.0044087 | 0.0043945 | 0.0044087 | 0.99547 | 0.006755 | 0.99548 | 0.0067043 | 2.004
71 | 1.9543 | 0.92483 | -1.9541 | -0.92553 | 0.0001665 | -0.00070151 | 0.062689 | 0.062698 | 0.062698 | 0.99559 | 0.0057116 | 0.99551 | 0.0064167 | 28.4992
72 | 1.8223 | 0.86169 | -1.8222 | -0.862 | 6.3471e-05 | -0.00031042 | 0.058452 | 0.058456 | 0.058456 | 0.99551 | 0.0064167 | 0.99548 | 0.0067043 | 26.5707
73 | 1.6811 | 0.80686 | -1.6809 | -0.8075 | 0.00011044 | -0.00063656 | 0.054073 | 0.054081 | 0.054081 | 0.99548 | 0.0067043 | 0.99542 | 0.0072658 | 24.5823
74 | 0.72284 | 0.34468 | -0.72277 | -0.347 | 7.121e-05 | -0.0023154 | 0.023224 | 0.023253 | 0.023253 | 0.99542 | 0.0072658 | 0.99533 | 0.008101 | 10.5696
75 | 0.9581 | 0.46282 | -0.95804 | -0.464 | 6.4427e-05 | -0.0011793 | 0.030857 | 0.030872 | 0.030872 | 0.99542 | 0.0072658 | 0.99536 | 0.0078499 | 14.0329
76 | -0.84252 | -0.40353 | 0.84263 | 0.40073 | 0.00011584 | -0.002805 | 0.026999 | 0.026964 | 0.026999 | 0.99881 | -0.0030351 | 0.99894 | -0.004194 | 12.2724
77 | 0.15725 | 0.07266 | -0.15725 | -0.075329 | 3.7767e-06 | -0.0026697 | 0.0050067 | 0.0050395 | 0.0050395 | 0.99881 | -0.0030351 | 0.99879 | -0.0028392 | 2.2907
78 | 0.68526 | 0.33087 | -0.68523 | -0.33187 | 2.738e-05 | -0.0010012 | 0.021993 | 0.022006 | 0.022006 | 0.99881 | -0.0030351 | 0.99878 | -0.0026883 | 10.0027
79 | 0.15725 | 0.075329 | -0.15725 | -0.07616 | 1.1847e-06 | -0.00083017 | 0.0050395 | 0.0050499 | 0.0050499 | 0.99879 | -0.0028392 | 0.99878 | -0.0027744 | 2.2954
80 | -0.24116 | -0.1168 | 0.24116 | 0.11559 | 4.0495e-06 | -0.0012065 | 0.0077433 | 0.0077282 | 0.0077433 | 0.99894 | -0.0034504 | 0.99896 | -0.003595 | 3.5197
81 | 0.39082 | 0.1891 | -0.39082 | -0.18928 | 1.6093e-06 | -0.00018054 | 0.012571 | 0.012573 | 0.012573 | 0.99703 | -0.0074374 | 0.99703 | -0.0074016 | 5.715
82 | -0.39082 | -0.1891 | 0.39086 | 0.18451 | 4.0769e-05 | -0.0045963 | 0.012571 | 0.012513 | 0.012571 | 0.99703 | -0.0074374 | 0.99713 | -0.0083196 | 5.714
83 | 0.72277 | 0.347 | -0.72276 | -0.34735 | 1.0892e-05 | -0.00035359 | 0.023253 | 0.023258 | 0.023258 | 0.99533 | 0.008101 | 0.99531 | 0.0082299 | 10.5717
84 | 0.59061 | 0.28335 | -0.5906 | -0.2839 | 1.118e-05 | -0.00054522 | 0.018999 | 0.019006 | 0.019006 | 0.99531 | 0.0082299 | 0.9953 | 0.0083917 | 8.6391
85 | 0.5906 | 0.2839 | -0.5906 | -0.28409 | 3.9428e-06 | -0.00019218 | 0.019006 | 0.019009 | 0.019009 | 0.9953 | 0.0083917 | 0.99529 | 0.0084489 | 8.6402
86 | -0.11808 | -0.057187 | 0.11808 | 0.056885 | 2.4706e-07 | -0.00030251 | 0.0038053 | 0.0038014 | 0.0038053 | 0.99528 | 0.00851 | 0.99529 | 0.0084919 | 1.7297
87 | 0.18489 | 0.088914 | -0.18489 | -0.089545 | 1.2642e-06 | -0.00063135 | 0.0059504 | 0.0059584 | 0.0059584 | 0.99529 | 0.0084919 | 0.99528 | 0.008551 | 2.7084
88 | -0.30297 | -0.1458 | 0.30297 | 0.14552 | 1.5186e-06 | -0.00028257 | 0.0097519 | 0.0097483 | 0.0097519 | 0.99529 | 0.0084919 | 0.99529 | 0.0084489 | 4.4327
89 | 0.28763 | 0.13857 | -0.28763 | -0.13931 | 3.555e-06 | -0.00073268 | 0.0092602 | 0.0092695 | 0.0092695 | 0.99529 | 0.0084489 | 0.99528 | 0.0085559 | 4.2134
90 | -0.40845 | -0.19781 | 0.40847 | 0.19586 | 1.8939e-05 | -0.0019561 | 0.013127 | 0.013102 | 0.013127 | 0.99803 | 0.0010245 | 0.99807 | 0.00062507 | 5.9667
91 | 0.40845 | 0.19781 | -0.40845 | -0.19782 | 2.3727e-06 | -7.7036e-06 | 0.013127 | 0.013127 | 0.013127 | 0.99803 | 0.0010245 | 0.99802 | 0.00098619 | 6.2509
92 | 0.25214 | 0.12207 | -0.25214 | -0.12212 | 4.6584e-06 | -4.4438e-05 | 0.0081025 | 0.0081031 | 0.0081031 | 0.99807 | 0.00062507 | 0.99805 | 0.00050318 | 3.8586

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.4505 | 5.4449

## res_load
| p_mw | q_mvar
0 | 0.091025 | 0.044085
1 | 0.3225 | 0.15619
2 | 0.21368 | 0.10349
3 | 0.10264 | 0.049709
4 | 0.084607 | 0.040977
5 | 0.29445 | 0.14261
6 | 0.21743 | 0.10531
7 | 0.24861 | 0.12041
8 | 0.55117 | 0.26694
9 | 0.12303 | 0.059585
10 | 0.33321 | 0.16138
11 | 0.12573 | 0.060893
12 | 0.3069 | 0.14864
13 | 0.36172 | 0.17519
14 | 0.21044 | 0.10192
15 | 0.29862 | 0.14463
16 | 0.2661 | 0.12888
17 | 0.2749 | 0.13314
18 | 0.3495 | 0.16927
19 | 0.34192 | 0.1656
20 | 0.11924 | 0.05775
21 | 0.1078 | 0.052212
22 | 0.23593 | 0.11427
23 | 0.085661 | 0.041487
24 | 0.11037 | 0.053453
25 | 0.14037 | 0.067983
26 | 0.29474 | 0.14275
27 | 0.090132 | 0.043653
28 | 0.069214 | 0.033522
29 | 0.32203 | 0.15597
30 | 0.33425 | 0.16188
31 | 0.092017 | 0.044566
32 | 0.13181 | 0.06384
33 | 0.68523 | 0.33187
34 | 0.15725 | 0.07616
35 | 0.24116 | 0.1168
36 | 0.39082 | 0.18928
37 | 0.268 | 0.1298
38 | 0.95804 | 0.464
39 | 0.071936 | 0.03484
40 | 0.13214 | 0.064001
41 | 0.11808 | 0.057187
42 | 0.18489 | 0.089545
43 | 0.28763 | 0.13931
44 | 0.40845 | 0.19782
45 | 0.25214 | 0.12212

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1