## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_537_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_537_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_537_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_537_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_537_0_node_79 | 20 | n |  | TRUE
5 | bus_MV_537_0_node_78 | 20 | n |  | TRUE
6 | bus_MV_537_0_node_3 | 20 | n |  | TRUE
7 | bus_MV_537_0_node_107 | 20 | n |  | TRUE
8 | bus_MV_537_0_node_102 | 20 | n |  | TRUE
9 | bus_MV_537_0_node_80 | 20 | n |  | TRUE
10 | bus_MV_537_0_node_9 | 20 | n |  | TRUE
11 | bus_MV_537_0_node_103 | 20 | n |  | TRUE
12 | bus_MV_537_0_node_5 | 20 | n |  | TRUE
13 | bus_MV_537_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_537_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_537_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_537_0_node_36 | 20 | n |  | TRUE
17 | bus_MV_537_0_node_95 | 20 | n |  | TRUE
18 | bus_MV_537_0_node_13 | 20 | n |  | TRUE
19 | bus_MV_537_0_node_10 | 20 | n |  | TRUE
20 | bus_MV_537_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_537_0_node_115 | 20 | n |  | TRUE
22 | bus_MV_537_0_node_12 | 20 | n |  | TRUE
23 | bus_MV_537_0_node_48 | 20 | n |  | TRUE
24 | bus_MV_537_0_node_59 | 20 | n |  | TRUE
25 | bus_MV_537_0_node_14 | 20 | n |  | TRUE
26 | bus_MV_537_0_node_113 | 20 | n |  | TRUE
27 | bus_MV_537_0_node_61 | 20 | n |  | TRUE
28 | bus_MV_537_0_node_60 | 20 | n |  | TRUE
29 | bus_MV_537_0_node_38 | 20 | n |  | TRUE
30 | bus_MV_537_0_node_43 | 20 | n |  | TRUE
31 | bus_MV_537_0_node_45 | 20 | n |  | TRUE
32 | bus_MV_537_0_node_39 | 20 | n |  | TRUE
33 | bus_MV_537_0_node_47 | 20 | n |  | TRUE
34 | bus_MV_537_0_node_62 | 20 | n |  | TRUE
35 | bus_MV_537_0_node_114 | 20 | n |  | TRUE
36 | bus_MV_537_0_node_77 | 20 | n |  | TRUE
37 | bus_MV_537_0_node_15 | 20 | n |  | TRUE
38 | bus_MV_537_0_node_16 | 20 | n |  | TRUE
39 | bus_MV_537_0_node_17 | 20 | n |  | TRUE
40 | bus_MV_537_0_node_76 | 20 | n |  | TRUE
41 | bus_MV_537_0_node_71 | 20 | n |  | TRUE
42 | bus_MV_537_0_node_110 | 20 | n |  | TRUE
43 | bus_MV_537_0_node_72 | 20 | n |  | TRUE
44 | bus_MV_537_0_node_75 | 20 | n |  | TRUE
45 | bus_MV_537_0_node_91 | 20 | n |  | TRUE
46 | bus_MV_537_0_node_57 | 20 | n |  | TRUE
47 | bus_MV_537_0_node_51 | 20 | n |  | TRUE
48 | bus_MV_537_0_node_94 | 20 | n |  | TRUE
49 | bus_MV_537_0_node_50 | 20 | n |  | TRUE
50 | bus_MV_537_0_node_52 | 20 | n |  | TRUE
51 | bus_MV_537_0_node_49 | 20 | n |  | TRUE
52 | bus_MV_537_0_node_19 | 20 | n |  | TRUE
53 | bus_MV_537_0_node_20 | 20 | n |  | TRUE
54 | bus_MV_537_0_node_105 | 20 | n |  | TRUE
55 | bus_MV_537_0_node_21 | 20 | n |  | TRUE
56 | bus_MV_537_0_node_98 | 20 | n |  | TRUE
57 | bus_MV_537_0_node_46 | 20 | n |  | TRUE
58 | bus_MV_537_0_node_24 | 20 | n |  | TRUE
59 | bus_MV_537_0_node_22 | 20 | n |  | TRUE
60 | bus_MV_537_0_node_26 | 20 | n |  | TRUE
61 | bus_MV_537_0_node_23 | 20 | n |  | TRUE
62 | bus_MV_537_0_node_25 | 20 | n |  | TRUE
63 | bus_MV_537_0_node_73 | 20 | n |  | TRUE
64 | bus_MV_537_0_node_27 | 20 | n |  | TRUE
65 | bus_MV_537_0_node_81 | 20 | n |  | TRUE
66 | bus_MV_537_0_node_65 | 20 | n |  | TRUE
67 | bus_MV_537_0_node_28 | 20 | n |  | TRUE
68 | bus_MV_537_0_node_108 | 20 | n |  | TRUE
69 | bus_MV_537_0_node_29 | 20 | n |  | TRUE
70 | bus_MV_537_0_node_30 | 20 | n |  | TRUE
71 | bus_MV_537_0_node_32 | 20 | n |  | TRUE
72 | bus_MV_537_0_node_83 | 20 | n |  | TRUE
73 | bus_MV_537_0_node_31 | 20 | n |  | TRUE
74 | bus_MV_537_0_node_33 | 20 | n |  | TRUE
75 | bus_MV_537_0_node_35 | 20 | n |  | TRUE
76 | bus_MV_537_0_node_66 | 20 | n |  | TRUE
77 | bus_MV_537_0_node_34 | 20 | n |  | TRUE
78 | bus_MV_537_0_node_63 | 20 | n |  | TRUE
79 | bus_MV_537_0_node_64 | 20 | n |  | TRUE
80 | bus_MV_537_0_node_68 | 20 | n |  | TRUE
81 | bus_MV_537_0_node_70 | 20 | n |  | TRUE
82 | bus_MV_537_0_node_67 | 20 | n |  | TRUE
83 | bus_MV_537_0_node_84 | 20 | n |  | TRUE
84 | bus_MV_537_0_node_120 | 20 | n |  | TRUE
85 | bus_MV_537_0_node_112 | 20 | n |  | TRUE
86 | bus_MV_537_0_node_96 | 20 | n |  | TRUE
87 | bus_MV_537_0_node_86 | 20 | n |  | TRUE
88 | bus_MV_537_0_node_69 | 20 | n |  | TRUE
89 | bus_MV_537_0_node_111 | 20 | n |  | TRUE
90 | bus_MV_537_0_node_87 | 20 | n |  | TRUE
91 | bus_MV_537_0_node_40 | 20 | n |  | TRUE
92 | bus_MV_537_0_node_37 | 20 | n |  | TRUE
93 | bus_MV_537_0_node_109 | 20 | n |  | TRUE
94 | bus_MV_537_0_node_44 | 20 | n |  | TRUE
95 | bus_MV_537_0_node_97 | 20 | n |  | TRUE
96 | bus_MV_537_0_node_100 | 20 | n |  | TRUE
97 | bus_MV_537_0_node_101 | 20 | n |  | TRUE
98 | bus_MV_537_0_node_99 | 20 | n |  | TRUE
99 | bus_MV_537_0_node_106 | 20 | n |  | TRUE
100 | bus_MV_537_0_node_41 | 20 | n |  | TRUE
101 | bus_MV_537_0_node_42 | 20 | n |  | TRUE
102 | bus_MV_537_0_node_58 | 20 | n |  | TRUE
103 | bus_MV_537_0_node_53 | 20 | n |  | TRUE
104 | bus_MV_537_0_node_54 | 20 | n |  | TRUE
105 | bus_MV_537_0_node_56 | 20 | n |  | TRUE
106 | bus_MV_537_0_node_55 | 20 | n |  | TRUE
107 | bus_MV_537_0_node_74 | 20 | n |  | TRUE
108 | bus_MV_537_0_node_89 | 20 | n |  | TRUE
109 | bus_MV_537_0_node_88 | 20 | n |  | TRUE
110 | bus_MV_537_0_node_104 | 20 | n |  | TRUE
111 | bus_MV_537_0_node_119 | 20 | n |  | TRUE
112 | bus_MV_537_0_node_118 | 20 | n |  | TRUE
113 | bus_MV_537_0_node_116 | 20 | n |  | TRUE
114 | bus_MV_537_0_node_117 | 20 | n |  | TRUE
115 | bus_HV_537_0_node_88 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_537_0_load_0 | 0 | 0.25577 | 0.12387 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_537_0_load_78 | 5 | 0.40221 | 0.1948 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_537_0_load_107 | 7 | 0.10179 | 0.0493 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_537_0_load_102 | 8 | 0.2215 | 0.10728 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_537_0_load_80 | 9 | 0.24546 | 0.11888 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_537_0_load_5 | 12 | 0.25296 | 0.12251 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_537_0_load_36 | 16 | 0.23186 | 0.11229 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_537_0_load_95 | 17 | 0.1273 | 0.061654 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_537_0_load_115 | 21 | 0.2334 | 0.11304 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_537_0_load_48 | 23 | 0.41492 | 0.20096 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_537_0_load_59 | 24 | 0.276 | 0.13367 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_537_0_load_113 | 26 | 0.29332 | 0.14206 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_537_0_load_60 | 28 | 0.29253 | 0.14168 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_537_0_load_47 | 33 | 0.40101 | 0.19422 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_537_0_load_114 | 35 | 0.30362 | 0.14705 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_537_0_load_77 | 36 | 0.31805 | 0.15404 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_537_0_load_15 | 37 | 0.39348 | 0.19057 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_537_0_load_76 | 40 | 0.37475 | 0.1815 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_537_0_load_110 | 42 | 0.31819 | 0.1541 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_537_0_load_75 | 44 | 0.25581 | 0.1239 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_537_0_load_91 | 45 | 0.22456 | 0.10876 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_537_0_load_57 | 46 | 0.35044 | 0.16972 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_537_0_load_94 | 48 | 0.35703 | 0.17292 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_537_0_load_49 | 51 | 0.39891 | 0.1932 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_537_0_load_19 | 52 | 0.30465 | 0.14755 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_537_0_load_105 | 54 | 0.13115 | 0.06352 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_537_0_load_22 | 59 | 0.39797 | 0.19275 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_537_0_load_26 | 60 | 0.32651 | 0.15814 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_537_0_load_73 | 63 | 0.18457 | 0.089389 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_537_0_load_81 | 65 | 0.24682 | 0.11954 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_537_0_load_108 | 68 | 0.26905 | 0.13031 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_537_0_load_29 | 69 | 0.20514 | 0.099355 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_537_0_load_83 | 72 | 0.28209 | 0.13662 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_537_0_load_35 | 75 | 0.2402 | 0.11634 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_537_0_load_63 | 78 | 0.37121 | 0.17978 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_537_0_load_64 | 79 | 0.40103 | 0.19423 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_537_0_load_67 | 82 | 0.19164 | 0.092817 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_537_0_load_120 | 84 | 0.19868 | 0.096226 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_537_0_load_112 | 85 | 0.27332 | 0.13237 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_537_0_load_96 | 86 | 0.14001 | 0.06781 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_537_0_load_86 | 87 | 0.23372 | 0.1132 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_537_0_load_111 | 89 | 0.33923 | 0.1643 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_537_0_load_87 | 90 | 0.32409 | 0.15696 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_537_0_load_109 | 93 | 0.12579 | 0.060921 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_537_0_load_44 | 94 | 0.07271 | 0.035215 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_537_0_load_97 | 95 | 0.074669 | 0.036164 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_537_0_load_99 | 98 | 0.24754 | 0.11989 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_537_0_load_106 | 99 | 0.099857 | 0.048363 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_537_0_load_41 | 100 | 0.19424 | 0.094075 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_537_0_load_58 | 102 | 0.077018 | 0.037301 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_537_0_load_53 | 103 | 0.40913 | 0.19815 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_537_0_load_74 | 107 | 0.24903 | 0.12061 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_537_0_load_88 | 109 | 0.23988 | 0.11618 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_537_0_load_119 | 111 | 0.41458 | 0.20079 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_537_0_load_117 | 114 | 0.35556 | 0.1722 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 109 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_537_0_line_0 |  | 0 | 1 | 0.004992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_537_0_line_1 |  | 1 | 2 | 0.21458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_537_0_line_2 |  | 1 | 3 | 0.14153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_537_0_line_3 |  | 2 | 4 | 0.078018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_537_0_line_4 |  | 2 | 5 | 0.008222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_537_0_line_5 |  | 3 | 8 | 0.038538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_537_0_line_6 |  | 3 | 6 | 0.07614 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_537_0_line_7 |  | 4 | 9 | 0.005829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_537_0_line_8 |  | 6 | 7 | 0.028262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_537_0_line_9 |  | 7 | 10 | 0.015022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_537_0_line_10 |  | 8 | 11 | 0.010889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_537_0_line_11 |  | 10 | 18 | 0.41196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_537_0_line_12 |  | 10 | 13 | 0.39932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_537_0_line_13 |  | 11 | 110 | 0.029947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_537_0_line_14 |  | 12 | 13 | 0.064563 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_537_0_line_15 |  | 13 | 14 | 0.082676 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
16 | MV_537_0_line_16 |  | 14 | 15 | 0.032454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_537_0_line_17 |  | 14 | 16 | 0.001871 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
18 | MV_537_0_line_18 |  | 15 | 17 | 0.05086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_537_0_line_19 |  | 16 | 29 | 0.031535 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
20 | MV_537_0_line_20 |  | 17 | 30 | 0.044956 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_537_0_line_21 |  | 18 | 25 | 0.028365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_537_0_line_22 |  | 18 | 26 | 0.0029257 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_537_0_line_23 |  | 19 | 20 | 0.27831 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_537_0_line_24 |  | 19 | 21 | 0.093672 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_537_0_line_25 |  | 20 | 22 | 0.21179 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_537_0_line_26 |  | 20 | 23 | 0.044077 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_537_0_line_27 |  | 21 | 31 | 0.006036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_537_0_line_28 |  | 22 | 24 | 0.005965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_537_0_line_29 |  | 23 | 33 | 0.033569 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_537_0_line_30 |  | 25 | 27 | 0.081477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_537_0_line_31 |  | 25 | 28 | 0.029151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_537_0_line_32 |  | 27 | 34 | 0.19801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_537_0_line_33 |  | 27 | 35 | 0.024295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_537_0_line_34 |  | 29 | 91 | 0.013574 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_537_0_line_35 |  | 30 | 101 | 0.003621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_537_0_line_36 |  | 31 | 32 | 0.05541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_537_0_line_37 |  | 32 | 94 | 0.015864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_537_0_line_38 |  | 32 | 92 | 0.034213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_537_0_line_39 |  | 34 | 36 | 0.004448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_537_0_line_40 |  | 35 | 105 | 0.004156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_537_0_line_41 |  | 37 | 38 | 0.029817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_537_0_line_42 |  | 38 | 39 | 0.19693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_537_0_line_43 |  | 38 | 40 | 0.12516 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_537_0_line_44 |  | 39 | 42 | 0.004426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_537_0_line_45 |  | 40 | 41 | 0.03726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_537_0_line_46 |  | 41 | 43 | 0.1077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_537_0_line_47 |  | 41 | 88 | 0.19821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_537_0_line_48 |  | 43 | 44 | 0.023883 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_537_0_line_49 |  | 43 | 45 | 0.59272 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_537_0_line_50 |  | 43 | 46 | 0.082202 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_537_0_line_51 |  | 46 | 102 | 0.013953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_537_0_line_52 |  | 46 | 50 | 0.059503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_537_0_line_53 |  | 47 | 48 | 0.022516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_537_0_line_54 |  | 47 | 49 | 0.27921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_537_0_line_55 |  | 49 | 50 | 0.31384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_537_0_line_56 |  | 49 | 51 | 0.003848 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_537_0_line_57 |  | 52 | 53 | 0.028691 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
58 | MV_537_0_line_58 |  | 52 | 54 | 0.13049 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
59 | MV_537_0_line_59 |  | 53 | 55 | 0.23263 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
60 | MV_537_0_line_60 |  | 54 | 56 | 0.036631 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
61 | MV_537_0_line_61 |  | 55 | 58 | 0.041677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_537_0_line_62 |  | 55 | 59 | 0.074034 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
63 | MV_537_0_line_63 |  | 56 | 57 | 0.19782 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_537_0_line_64 |  | 57 | 95 | 0.016884 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
65 | MV_537_0_line_65 |  | 58 | 60 | 0.010426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_537_0_line_66 |  | 59 | 61 | 0.049061 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_537_0_line_67 |  | 60 | 64 | 0.038226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_537_0_line_68 |  | 61 | 62 | 0.024449 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
69 | MV_537_0_line_69 |  | 62 | 63 | 0.049365 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
70 | MV_537_0_line_70 |  | 63 | 65 | 0.069865 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
71 | MV_537_0_line_71 |  | 64 | 67 | 0.081066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_537_0_line_72 |  | 65 | 66 | 0.059662 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
73 | MV_537_0_line_73 |  | 66 | 76 | 0.014259 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
74 | MV_537_0_line_74 |  | 66 | 85 | 0.023389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_537_0_line_75 |  | 67 | 68 | 0.004665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_537_0_line_76 |  | 69 | 70 | 0.013756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_537_0_line_77 |  | 70 | 71 | 0.42736 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_537_0_line_78 |  | 70 | 72 | 0.21037 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_537_0_line_79 |  | 71 | 76 | 0.028869 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
80 | MV_537_0_line_80 |  | 71 | 77 | 0.12752 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
81 | MV_537_0_line_81 |  | 71 | 74 | 0.18249 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_537_0_line_82 |  | 71 | 78 | 0.004555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_537_0_line_83 |  | 72 | 83 | 0.029074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_537_0_line_84 |  | 73 | 74 | 0.48218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_537_0_line_85 |  | 73 | 75 | 0.004359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_537_0_line_86 |  | 74 | 79 | 0.058181 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_537_0_line_87 |  | 76 | 86 | 0.035389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_537_0_line_88 |  | 77 | 80 | 0.089784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_537_0_line_89 |  | 77 | 81 | 0.34806 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
90 | MV_537_0_line_90 |  | 77 | 82 | 0.036295 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_537_0_line_91 |  | 80 | 87 | 0.004977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_537_0_line_92 |  | 81 | 90 | 0.045815 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
93 | MV_537_0_line_93 |  | 81 | 88 | 0.18915 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
94 | MV_537_0_line_94 |  | 83 | 84 | 0.179 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_537_0_line_95 |  | 88 | 89 | 0.063882 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
96 | MV_537_0_line_96 |  | 89 | 108 | 0.092693 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
97 | MV_537_0_line_97 |  | 91 | 96 | 0.019787 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_537_0_line_98 |  | 91 | 97 | 0.051953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_537_0_line_99 |  | 91 | 93 | 0.056237 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
100 | MV_537_0_line_100 |  | 92 | 93 | 0.036756 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
101 | MV_537_0_line_101 |  | 93 | 95 | 0.059755 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
102 | MV_537_0_line_102 |  | 96 | 98 | 0.045667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_537_0_line_103 |  | 97 | 99 | 0.026083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_537_0_line_104 |  | 100 | 101 | 0.010148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_537_0_line_105 |  | 103 | 104 | 0.029733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_537_0_line_106 |  | 104 | 105 | 0.28555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_537_0_line_107 |  | 105 | 106 | 0.15914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_537_0_line_108 |  | 106 | 107 | 0.01995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_537_0_line_109 |  | 108 | 109 | 0.035911 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
110 | MV_537_0_line_110 |  | 110 | 111 | 0.012149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_537_0_line_111 |  | 111 | 112 | 0.042961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_537_0_line_112 |  | 112 | 113 | 0.12403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_537_0_line_113 |  | 113 | 114 | 0.003086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_537_0_trafo_88 | 25 MVA 110/20 kV | 115 | 109 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2683159.4047 | 1249064.8529
1 | 2683154.6937 | 1249063.1634
2 | 2683043.5704 | 1249123.7063
3 | 2683123.6618 | 1248989.6182
4 | 2682984.9563 | 1249092.4291
5 | 2683051.6011 | 1249121.8396
6 | 2683175.5407 | 1249007.4145
7 | 2683187.2574 | 1248981.696
8 | 2683088.4392 | 1248973.9801
9 | 2682979.7612 | 1249095.1028
10 | 2683193.4851 | 1248968.026
11 | 2683078.295 | 1248976.4615
12 | 2683138.0378 | 1248691.0878
13 | 2683201.7982 | 1248680.9413
14 | 2683231.4571 | 1248637.2363
15 | 2683239.8148 | 1248661.605
16 | 2683232.4312 | 1248635.6377
17 | 2683281.009 | 1248689.8843
18 | 2683180.5638 | 1249256.8809
19 | 2683417.4698 | 1248641.1421
20 | 2683367.2537 | 1248807.7036
21 | 2683350.3678 | 1248575.7835
22 | 2683311.3048 | 1248928.8847
23 | 2683327.6988 | 1248788.2554
24 | 2683308.8195 | 1248934.3093
25 | 2683169.3228 | 1249261.5266
26 | 2683182.079 | 1249254.3781
27 | 2683155.706 | 1249333.211
28 | 2683141.4935 | 1249252.5853
29 | 2683205.9154 | 1248618.464
30 | 2683319.8991 | 1248709.2095
31 | 2683344.3746 | 1248576.6332
32 | 2683293.626 | 1248574.8966
33 | 2683349.3036 | 1248762.5623
34 | 2683021.4254 | 1249274.3522
35 | 2683148.1328 | 1249356.2997
36 | 2683024.2375 | 1249270.9001
37 | 2683432.9547 | 1249114.2363
38 | 2683456.0102 | 1249133.1378
39 | 2683458.9209 | 1249294.7875
40 | 2683567.2808 | 1249075.8404
41 | 2683602.1684 | 1249062.489
42 | 2683458.0894 | 1249299.1346
43 | 2683616.8292 | 1249132.8812
44 | 2683598.0075 | 1249147.5823
45 | 2683928.3943 | 1249637.1027
46 | 2683673.2679 | 1249192.6462
47 | 2683868.2423 | 1249376.9803
48 | 2683875.4601 | 1249355.7222
49 | 2683636.9665 | 1249473.2402
50 | 2683653.6969 | 1249248.8207
51 | 2683633.2669 | 1249472.1427
52 | 2683519.2251 | 1248541.0338
53 | 2683536.7192 | 1248518.3078
54 | 2683405.8008 | 1248476.52
55 | 2683568.414 | 1248660.8711
56 | 2683370.8284 | 1248465.623
57 | 2683289.4338 | 1248521.7651
58 | 2683537.5494 | 1248643.6901
59 | 2683629.5243 | 1248702.6636
60 | 2683529.4956 | 1248650.3112
61 | 2683648.567 | 1248657.4321
62 | 2683658.2262 | 1248634.9628
63 | 2683676.9511 | 1248589.271
64 | 2683501.8277 | 1248676.4111
65 | 2683740.6246 | 1248618.0245
66 | 2683783.4849 | 1248659.5274
67 | 2683424.0809 | 1248658.0921
68 | 2683419.5028 | 1248657.127
69 | 2684035.3595 | 1248811.1683
70 | 2684026.4537 | 1248821.6525
71 | 2683818.6039 | 1248656.1879
72 | 2683977.2084 | 1249026.1799
73 | 2684045.7378 | 1248636.6108
74 | 2683840.4415 | 1248556.0558
75 | 2684049.2736 | 1248639.1739
76 | 2683792.8548 | 1248659.1484
77 | 2683826.0322 | 1248731.1262
78 | 2683819.543 | 1248651.7312
79 | 2683783.4117 | 1248544.5412
80 | 2683839.5238 | 1248808.2408
81 | 2683713.8178 | 1248933.1462
82 | 2683858.7048 | 1248746.9333
83 | 2684002.6868 | 1249040.1112
84 | 2684156.8979 | 1249130.9878
85 | 2683785.7008 | 1248682.8093
86 | 2683794.3593 | 1248694.4846
87 | 2683834.5426 | 1248808.5595
88 | 2683577.743 | 1248928.9234
89 | 2683547.7886 | 1248872.4705
90 | 2683753.209 | 1248956.542
91 | 2683202.4445 | 1248612.333
92 | 2683266.0331 | 1248579.5458
93 | 2683232.4003 | 1248564.7182
94 | 2683294.992 | 1248590.7013
95 | 2683285.9955 | 1248538.2952
96 | 2683190.5744 | 1248597.1441
97 | 2683178.0718 | 1248632.3836
98 | 2683216.7029 | 1248560.7472
99 | 2683195.0731 | 1248651.6364
100 | 2683322.8986 | 1248698.9107
101 | 2683323.5265 | 1248709.0381
102 | 2683686.3343 | 1249197.5392
103 | 2683250.0955 | 1249514.3033
104 | 2683228.2122 | 1249503.0655
105 | 2683152.1336 | 1249357.4678
106 | 2683203.2811 | 1249382.4817
107 | 2683216.671 | 1249367.6934
108 | 2683455.1458 | 1248875.5236
109 | 2683437.637 | 1248906.9004
110 | 2683054.0064 | 1248959.4086
111 | 2683045.5504 | 1248950.6615
112 | 2683015.6028 | 1248919.7748
113 | 2683065.4016 | 1248819.9206
114 | 2683068.0526 | 1248821.5145
115 | 2683437.637 | 1248906.9004

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99216 | -0.10825 | 0.25577 | 0.12387
1 | 0.99216 | -0.10827 | 0 | 0
2 | 0.99198 | -0.10665 | 0 | 0
3 | 0.99232 | -0.10974 | 0 | 0
4 | 0.99196 | -0.10642 | 0 | 0
5 | 0.99198 | -0.10661 | 0.40221 | 0.1948
6 | 0.99251 | -0.11141 | 0 | 0
7 | 0.99258 | -0.11202 | 0.10179 | 0.0493
8 | 0.99228 | -0.10929 | 0.2215 | 0.10728
9 | 0.99196 | -0.1064 | 0.24546 | 0.11888
10 | 0.99262 | -0.11237 | 0 | 0
11 | 0.99226 | -0.10919 | 0 | 0
12 | 0.99456 | -0.12986 | 0.25296 | 0.12251
13 | 0.99459 | -0.12966 | 0 | 0
14 | 0.99477 | -0.12761 | 0 | 0
15 | 0.99476 | -0.12749 | 0 | 0
16 | 0.99477 | -0.12758 | 0.23186 | 0.11229
17 | 0.99474 | -0.1273 | 0.1273 | 0.061654
18 | 0.99163 | -0.1037 | 0 | 0
19 | 0.99442 | -0.12616 | 0 | 0
20 | 0.99403 | -0.12263 | 0 | 0
21 | 0.99462 | -0.12481 | 0.2334 | 0.11304
22 | 0.99396 | -0.12196 | 0 | 0
23 | 0.99396 | -0.12307 | 0.41492 | 0.20096
24 | 0.99396 | -0.12194 | 0.276 | 0.13367
25 | 0.99158 | -0.10319 | 0 | 0
26 | 0.99163 | -0.10371 | 0.29332 | 0.14206
27 | 0.99144 | -0.10202 | 0 | 0
28 | 0.99157 | -0.10309 | 0.29253 | 0.14168
29 | 0.99481 | -0.12699 | 0 | 0
30 | 0.99473 | -0.1272 | 0 | 0
31 | 0.99463 | -0.12491 | 0 | 0
32 | 0.99472 | -0.12575 | 0 | 0
33 | 0.99394 | -0.12324 | 0.40101 | 0.19422
34 | 0.99136 | -0.10128 | 0 | 0
35 | 0.99141 | -0.10175 | 0.30362 | 0.14705
36 | 0.99136 | -0.10126 | 0.31805 | 0.15404
37 | 0.99809 | -0.022381 | 0.39348 | 0.19057
38 | 0.9981 | -0.022521 | 0 | 0
39 | 0.99802 | -0.021799 | 0 | 0
40 | 0.99828 | -0.021381 | 0.37475 | 0.1815
41 | 0.99833 | -0.021853 | 0 | 0
42 | 0.99802 | -0.021783 | 0.31819 | 0.1541
43 | 0.9981 | -0.019829 | 0 | 0
44 | 0.99809 | -0.019903 | 0.25581 | 0.1239
45 | 0.99784 | -0.021461 | 0.22456 | 0.10876
46 | 0.99791 | -0.021126 | 0.35044 | 0.16972
47 | 0.99743 | -0.016884 | 0 | 0
48 | 0.99742 | -0.016787 | 0.35703 | 0.17292
49 | 0.99755 | -0.018013 | 0 | 0
50 | 0.99786 | -0.020644 | 0 | 0
51 | 0.99755 | -0.017995 | 0.39891 | 0.1932
52 | 0.99589 | -0.097597 | 0.30465 | 0.14755
53 | 0.99593 | -0.096795 | 0 | 0
54 | 0.99544 | -0.11244 | 0.13115 | 0.06352
55 | 0.99629 | -0.090269 | 0 | 0
56 | 0.99539 | -0.1134 | 0 | 0
57 | 0.9951 | -0.1186 | 0 | 0
58 | 0.99626 | -0.089979 | 0 | 0
59 | 0.99657 | -0.080727 | 0.39797 | 0.19275
60 | 0.99625 | -0.089906 | 0.32651 | 0.15814
61 | 0.99666 | -0.07916 | 0 | 0
62 | 0.9967 | -0.078379 | 0 | 0
63 | 0.99679 | -0.0768 | 0.18457 | 0.089389
64 | 0.99624 | -0.089788 | 0 | 0
65 | 0.99708 | -0.067122 | 0.24682 | 0.11954
66 | 0.99733 | -0.058618 | 0 | 0
67 | 0.99621 | -0.089531 | 0 | 0
68 | 0.99621 | -0.089516 | 0.26905 | 0.13031
69 | 0.99704 | -0.053726 | 0.20514 | 0.099355
70 | 0.99704 | -0.05376 | 0 | 0
71 | 0.99742 | -0.057108 | 0 | 0
72 | 0.99685 | -0.055008 | 0.28209 | 0.13662
73 | 0.99712 | -0.054649 | 0 | 0
74 | 0.99727 | -0.055862 | 0 | 0
75 | 0.99712 | -0.054636 | 0.2402 | 0.11634
76 | 0.99736 | -0.058124 | 0 | 0
77 | 0.99771 | -0.051759 | 0 | 0
78 | 0.99741 | -0.057088 | 0.37121 | 0.17978
79 | 0.99722 | -0.056146 | 0.40103 | 0.19423
80 | 0.99769 | -0.051514 | 0 | 0
81 | 0.99855 | -0.036551 | 0 | 0
82 | 0.9977 | -0.051844 | 0.19164 | 0.092817
83 | 0.99684 | -0.05494 | 0 | 0
84 | 0.99677 | -0.055374 | 0.19868 | 0.096226
85 | 0.99732 | -0.058542 | 0.27332 | 0.13237
86 | 0.99735 | -0.058066 | 0.14001 | 0.06781
87 | 0.99768 | -0.0515 | 0.23372 | 0.1132
88 | 0.99902 | -0.028029 | 0 | 0
89 | 0.99922 | -0.024463 | 0.33923 | 0.1643
90 | 0.99852 | -0.036731 | 0.32409 | 0.15696
91 | 0.99482 | -0.12674 | 0 | 0
92 | 0.99478 | -0.1263 | 0 | 0
93 | 0.99488 | -0.12562 | 0.12579 | 0.060921
94 | 0.99472 | -0.12573 | 0.07271 | 0.035215
95 | 0.99508 | -0.11904 | 0.074669 | 0.036164
96 | 0.99481 | -0.12668 | 0 | 0
97 | 0.99481 | -0.12668 | 0 | 0
98 | 0.9948 | -0.12655 | 0.24754 | 0.11989
99 | 0.99481 | -0.12665 | 0.099857 | 0.048363
100 | 0.99472 | -0.12716 | 0.19424 | 0.094075
101 | 0.99473 | -0.12719 | 0 | 0
102 | 0.99791 | -0.021113 | 0.077018 | 0.037301
103 | 0.99124 | -0.10023 | 0.40913 | 0.19815
104 | 0.99126 | -0.10037 | 0 | 0
105 | 0.99141 | -0.10172 | 0 | 0
106 | 0.99136 | -0.10126 | 0 | 0
107 | 0.99135 | -0.1012 | 0.24903 | 0.12061
108 | 0.99989 | -0.002048 | 0 | 0
109 | 1 | 0 | -14.4986 | -6.7802
110 | 0.99224 | -0.10892 | 0 | 0
111 | 0.99222 | -0.10881 | 0.41458 | 0.20079
112 | 0.9922 | -0.10864 | 0 | 0
113 | 0.99215 | -0.10811 | 0 | 0
114 | 0.99215 | -0.1081 | 0.35556 | 0.1722
115 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.25577 | -0.12387 | 0.25577 | 0.12376 | 4.5553e-07 | -0.00011719 | 0.0082685 | 0.0082671 | 0.0082685 | 0.99216 | -0.10825 | 0.99216 | -0.10827 | 3.7584
1 | 0.64781 | 0.30652 | -0.64768 | -0.31152 | 0.00012493 | -0.0050054 | 0.020852 | 0.020915 | 0.020915 | 0.99216 | -0.10827 | 0.99198 | -0.10665 | 9.5068
2 | -0.90357 | -0.43027 | 0.90373 | 0.42699 | 0.00015997 | -0.0032795 | 0.029119 | 0.029077 | 0.029119 | 0.99216 | -0.10827 | 0.99232 | -0.10974 | 13.2357
3 | 0.24547 | 0.11691 | -0.24546 | -0.11875 | 6.5393e-06 | -0.001831 | 0.0079122 | 0.0079353 | 0.0079353 | 0.99198 | -0.10665 | 0.99196 | -0.10642 | 3.607
4 | 0.40221 | 0.19461 | -0.40221 | -0.1948 | 1.8561e-06 | -0.00019262 | 0.013003 | 0.013005 | 0.013005 | 0.99198 | -0.10665 | 0.99198 | -0.10661 | 5.9115
5 | 0.99176 | 0.47416 | -0.99171 | -0.47505 | 5.2632e-05 | -0.00089041 | 0.031979 | 0.03199 | 0.03199 | 0.99232 | -0.10974 | 0.99228 | -0.10929 | 14.541
6 | -1.8955 | -0.90115 | 1.8959 | 0.89947 | 0.00037878 | -0.0016781 | 0.061056 | 0.061033 | 0.061056 | 0.99232 | -0.10974 | 0.99251 | -0.11141 | 27.7526
7 | 0.24546 | 0.11875 | -0.24546 | -0.11888 | 4.9012e-07 | -0.0001368 | 0.0079353 | 0.007937 | 0.007937 | 0.99196 | -0.10642 | 0.99196 | -0.1064 | 3.6077
8 | -1.8959 | -0.89947 | 1.896 | 0.89885 | 0.00014053 | -0.00062307 | 0.061033 | 0.061025 | 0.061033 | 0.99251 | -0.11141 | 0.99258 | -0.11202 | 27.7425
9 | -1.9978 | -0.94815 | 1.9979 | 0.94782 | 8.2945e-05 | -0.00032877 | 0.064314 | 0.06431 | 0.064314 | 0.99258 | -0.11202 | 0.99262 | -0.11237 | 29.2338
10 | 0.77021 | 0.36777 | -0.7702 | -0.36803 | 8.964e-06 | -0.00025333 | 0.024831 | 0.024834 | 0.024834 | 0.99228 | -0.10929 | 0.99226 | -0.10919 | 11.2881
11 | 1.8681 | 0.87434 | -1.8661 | -0.88344 | 0.0019828 | -0.0090935 | 0.059985 | 0.060105 | 0.060105 | 0.99262 | -0.11237 | 0.99163 | -0.1037 | 27.3204
12 | -3.866 | -1.8222 | 3.8742 | 1.8152 | 0.008228 | -0.0069718 | 0.12429 | 0.12418 | 0.12429 | 0.99262 | -0.11237 | 0.99459 | -0.12966 | 56.4975
13 | 0.7702 | 0.36803 | -0.77018 | -0.36872 | 2.4665e-05 | -0.00069667 | 0.024834 | 0.024843 | 0.024843 | 0.99226 | -0.10919 | 0.99224 | -0.10892 | 11.2921
14 | -0.25296 | -0.12251 | 0.25296 | 0.12244 | 7.6547e-06 | -7.1446e-05 | 0.008158 | 0.008157 | 0.008158 | 0.99456 | -0.12986 | 0.99459 | -0.12966 | 3.8848
15 | -4.1272 | -1.9376 | 4.1279 | 1.9353 | 0.00069914 | -0.0022981 | 0.13233 | 0.1323 | 0.13233 | 0.99459 | -0.12966 | 0.99477 | -0.12761 | 36.5565
16 | 0.32155 | 0.15238 | -0.32155 | -0.15314 | 4.6238e-06 | -0.0007654 | 0.010326 | 0.010335 | 0.010335 | 0.99477 | -0.12761 | 0.99476 | -0.12749 | 4.6979
17 | -4.4494 | -2.0877 | 4.4494 | 2.0876 | 6.9649e-06 | -0.00013507 | 0.14263 | 0.14262 | 0.14263 | 0.99477 | -0.12761 | 0.99477 | -0.12758 | 16.9389
18 | 0.32155 | 0.15314 | -0.32154 | -0.15434 | 7.2635e-06 | -0.0011995 | 0.010335 | 0.010351 | 0.010351 | 0.99476 | -0.12749 | 0.99474 | -0.1273 | 4.7048
19 | -4.6813 | -2.1999 | 4.6814 | 2.1976 | 0.00012999 | -0.002265 | 0.1501 | 0.15007 | 0.1501 | 0.99477 | -0.12758 | 0.99481 | -0.12699 | 17.8266
20 | 0.19424 | 0.092688 | -0.19424 | -0.09375 | 2.3463e-06 | -0.0010614 | 0.0062459 | 0.0062592 | 0.0062592 | 0.99474 | -0.1273 | 0.99473 | -0.1272 | 2.8451
21 | 1.5728 | 0.74138 | -1.5727 | -0.74202 | 9.7037e-05 | -0.00063713 | 0.050618 | 0.050626 | 0.050626 | 0.99163 | -0.1037 | 0.99158 | -0.10319 | 23.0119
22 | 0.29332 | 0.14206 | -0.29332 | -0.14206 | 4.6921e-07 | -3.1406e-06 | 0.0094875 | 0.0094876 | 0.0094876 | 0.99163 | -0.1037 | 0.99163 | -0.10371 | 4.5179
23 | 1.0925 | 0.51723 | -1.092 | -0.52367 | 0.00045853 | -0.0064325 | 0.035089 | 0.035171 | 0.035171 | 0.99442 | -0.12616 | 0.99403 | -0.12263 | 15.9868
24 | -1.0925 | -0.51723 | 1.0927 | 0.51725 | 0.00020548 | 1.8102e-05 | 0.035089 | 0.035088 | 0.035089 | 0.99442 | -0.12616 | 0.99462 | -0.12481 | 16.709
25 | 0.27602 | 0.12854 | -0.276 | -0.13353 | 2.2262e-05 | -0.0049896 | 0.0088426 | 0.0089048 | 0.0089048 | 0.99403 | -0.12263 | 0.99396 | -0.12196 | 4.0476
26 | 0.816 | 0.39512 | -0.81594 | -0.39514 | 5.4442e-05 | -1.7889e-05 | 0.026329 | 0.02633 | 0.02633 | 0.99403 | -0.12263 | 0.99396 | -0.12307 | 12.538
27 | -1.3261 | -0.63029 | 1.3261 | 0.63016 | 1.4633e-05 | -0.00013823 | 0.042614 | 0.042612 | 0.042614 | 0.99462 | -0.12481 | 0.99463 | -0.12491 | 19.3701
28 | 0.276 | 0.13353 | -0.276 | -0.13367 | 6.3156e-07 | -0.00014052 | 0.0089048 | 0.0089066 | 0.0089066 | 0.99396 | -0.12196 | 0.99396 | -0.12194 | 4.0485
29 | 0.40102 | 0.19418 | -0.40101 | -0.19422 | 1.0016e-05 | -3.3318e-05 | 0.01294 | 0.012941 | 0.012941 | 0.99396 | -0.12307 | 0.99394 | -0.12324 | 6.1623
30 | 1.2802 | 0.60102 | -1.28 | -0.60288 | 0.00018449 | -0.0018577 | 0.041172 | 0.041196 | 0.041196 | 0.99158 | -0.10319 | 0.99144 | -0.10202 | 18.7255
31 | 0.29254 | 0.141 | -0.29253 | -0.14168 | 3.4816e-06 | -0.00068329 | 0.0094541 | 0.0094628 | 0.0094628 | 0.99158 | -0.10319 | 0.99157 | -0.10309 | 4.3013
32 | 0.31808 | 0.1493 | -0.31806 | -0.15394 | 2.7827e-05 | -0.0046386 | 0.010231 | 0.010289 | 0.010289 | 0.99144 | -0.10202 | 0.99136 | -0.10128 | 4.6769
33 | 0.96191 | 0.45358 | -0.96187 | -0.45414 | 3.1106e-05 | -0.00056094 | 0.030965 | 0.030972 | 0.030972 | 0.99144 | -0.10202 | 0.99141 | -0.10175 | 14.0783
34 | -4.6814 | -2.1976 | 4.6815 | 2.1966 | 5.5939e-05 | -0.00097502 | 0.15007 | 0.15006 | 0.15007 | 0.99481 | -0.12699 | 0.99482 | -0.12674 | 17.8231
35 | 0.19424 | 0.09375 | -0.19424 | -0.093835 | 1.8943e-07 | -8.549e-05 | 0.0062592 | 0.0062603 | 0.0062603 | 0.99473 | -0.1272 | 0.99473 | -0.12719 | 2.8456
36 | -1.3261 | -0.63016 | 1.3262 | 0.62889 | 0.00013427 | -0.0012691 | 0.042612 | 0.042596 | 0.042612 | 0.99463 | -0.12491 | 0.99472 | -0.12575 | 19.3693
37 | 0.07271 | 0.03484 | -0.07271 | -0.035215 | 1.1618e-07 | -0.00037474 | 0.0023398 | 0.0023445 | 0.0023445 | 0.99472 | -0.12575 | 0.99472 | -0.12573 | 1.0657
38 | -1.3989 | -0.66373 | 1.399 | 0.66295 | 9.2208e-05 | -0.00078098 | 0.044936 | 0.044926 | 0.044936 | 0.99472 | -0.12575 | 0.99478 | -0.1263 | 20.4255
39 | 0.31806 | 0.15394 | -0.31805 | -0.15404 | 6.2876e-07 | -0.00010419 | 0.010289 | 0.010291 | 0.010291 | 0.99136 | -0.10128 | 0.99136 | -0.10126 | 4.6775
40 | 0.65826 | 0.30709 | -0.65826 | -0.30719 | 2.482e-06 | -9.6796e-05 | 0.02115 | 0.021151 | 0.021151 | 0.99141 | -0.10175 | 0.99141 | -0.10172 | 9.6142
41 | -0.39348 | -0.19057 | 0.39349 | 0.18986 | 6.3603e-06 | -0.00070731 | 0.012645 | 0.012636 | 0.012645 | 0.99809 | -0.022381 | 0.9981 | -0.022521 | 5.7477
42 | 0.31821 | 0.14932 | -0.31819 | -0.154 | 2.7327e-05 | -0.0046756 | 0.010166 | 0.010225 | 0.010225 | 0.9981 | -0.022521 | 0.99802 | -0.021799 | 4.6476
43 | -0.7117 | -0.33919 | 0.71182 | 0.33911 | 0.00011593 | -7.6255e-05 | 0.022802 | 0.0228 | 0.022802 | 0.9981 | -0.022521 | 0.99828 | -0.021381 | 10.8582
44 | 0.31819 | 0.154 | -0.31819 | -0.1541 | 6.178e-07 | -0.00010508 | 0.010225 | 0.010226 | 0.010226 | 0.99802 | -0.021799 | 0.99802 | -0.021783 | 4.6482
45 | -1.0866 | -0.52061 | 1.0866 | 0.51974 | 6.0363e-05 | -0.0008687 | 0.034841 | 0.03483 | 0.034841 | 0.99828 | -0.021381 | 0.99833 | -0.021853 | 15.8369
46 | 1.6648 | 0.78633 | -1.6644 | -0.78877 | 0.00040777 | -0.0024414 | 0.053238 | 0.05327 | 0.05327 | 0.99833 | -0.021853 | 0.9981 | -0.019829 | 24.2137
47 | -2.7514 | -1.3061 | 2.7535 | 1.302 | 0.002051 | -0.0041117 | 0.088068 | 0.08801 | 0.088068 | 0.99833 | -0.021853 | 0.99902 | -0.028029 | 40.031
48 | 0.25582 | 0.12387 | -0.25581 | -0.1239 | 2.8757e-06 | -2.6601e-05 | 0.0082205 | 0.0082209 | 0.0082209 | 0.9981 | -0.019829 | 0.99809 | -0.019903 | 3.9147
49 | 0.22462 | 0.10809 | -0.22456 | -0.10876 | 5.4958e-05 | -0.0006703 | 0.0072096 | 0.0072184 | 0.0072184 | 0.9981 | -0.019829 | 0.99784 | -0.021461 | 3.4373
50 | 1.1839 | 0.55681 | -1.1837 | -0.55678 | 0.00020972 | 3.3622e-05 | 0.037841 | 0.037842 | 0.037842 | 0.9981 | -0.019829 | 0.99791 | -0.021126 | 18.0199
51 | 0.077018 | 0.03697 | -0.077018 | -0.037301 | 1.1395e-07 | -0.00033171 | 0.0024713 | 0.0024755 | 0.0024755 | 0.99791 | -0.021126 | 0.99791 | -0.021113 | 1.1252
52 | 0.75628 | 0.35009 | -0.75623 | -0.35149 | 4.6201e-05 | -0.001401 | 0.024108 | 0.024125 | 0.024125 | 0.99791 | -0.021126 | 0.99786 | -0.020644 | 10.966
53 | 0.35703 | 0.17238 | -0.35703 | -0.17292 | 3.96e-06 | -0.00053365 | 0.011475 | 0.011481 | 0.011481 | 0.99743 | -0.016884 | 0.99742 | -0.016787 | 5.2188
54 | -0.35703 | -0.17238 | 0.35708 | 0.16576 | 4.8724e-05 | -0.0066186 | 0.011475 | 0.011392 | 0.011475 | 0.99743 | -0.016884 | 0.99755 | -0.018013 | 5.2157
55 | -0.75599 | -0.35887 | 0.75623 | 0.35149 | 0.00024478 | -0.0073863 | 0.024217 | 0.024125 | 0.024217 | 0.99755 | -0.018013 | 0.99786 | -0.020644 | 11.0077
56 | 0.39891 | 0.19311 | -0.39891 | -0.1932 | 8.4505e-07 | -9.1176e-05 | 0.012825 | 0.012826 | 0.012826 | 0.99755 | -0.018013 | 0.99755 | -0.017995 | 5.8302
57 | -7.0698 | -3.3155 | 7.0701 | 3.3136 | 0.00026896 | -0.0019273 | 0.22635 | 0.22632 | 0.22635 | 0.99589 | -0.097597 | 0.99593 | -0.096795 | 26.882
58 | 6.7651 | 3.168 | -6.763 | -3.1652 | 0.0021806 | 0.0028222 | 0.21654 | 0.21654 | 0.21654 | 0.99589 | -0.097597 | 0.99544 | -0.11244 | 26.4073
59 | -7.0701 | -3.3136 | 7.0722 | 3.298 | 0.0021785 | -0.015636 | 0.22632 | 0.2261 | 0.22632 | 0.99593 | -0.096795 | 0.99629 | -0.090269 | 26.8789
60 | 6.6318 | 3.1017 | -6.6315 | -3.1041 | 0.00030222 | -0.0024957 | 0.21231 | 0.21235 | 0.21235 | 0.99544 | -0.11244 | 0.99539 | -0.1134 | 25.2195
61 | 0.5956 | 0.28428 | -0.59558 | -0.28526 | 2.0359e-05 | -0.00098165 | 0.019123 | 0.019135 | 0.019135 | 0.99629 | -0.090269 | 0.99626 | -0.089979 | 8.6977
62 | -7.6678 | -3.5823 | 7.6694 | 3.5844 | 0.0015867 | 0.002107 | 0.24523 | 0.24522 | 0.24523 | 0.99629 | -0.090269 | 0.99657 | -0.080727 | 29.9055
63 | 6.6315 | 3.1041 | -6.6299 | -3.1176 | 0.0016338 | -0.013471 | 0.21235 | 0.21253 | 0.21253 | 0.99539 | -0.1134 | 0.9951 | -0.1186 | 25.2414
64 | 6.6299 | 3.1176 | -6.6297 | -3.1188 | 0.00013958 | -0.0011492 | 0.21253 | 0.21255 | 0.21255 | 0.9951 | -0.1186 | 0.99508 | -0.11904 | 25.2433
65 | 0.59558 | 0.28526 | -0.59557 | -0.28551 | 5.0971e-06 | -0.00024556 | 0.019135 | 0.019138 | 0.019138 | 0.99626 | -0.089979 | 0.99625 | -0.089906 | 8.6991
66 | -8.0674 | -3.7771 | 8.068 | 3.7739 | 0.00059766 | -0.0031744 | 0.25803 | 0.25798 | 0.25803 | 0.99657 | -0.080727 | 0.99666 | -0.07916 | 30.645
67 | 0.26906 | 0.12737 | -0.26906 | -0.12828 | 3.802e-06 | -0.00090471 | 0.0086259 | 0.0086372 | 0.0086372 | 0.99625 | -0.089906 | 0.99624 | -0.089788 | 3.926
68 | -8.068 | -3.7739 | 8.0683 | 3.7724 | 0.00029776 | -0.0015823 | 0.25798 | 0.25796 | 0.25798 | 0.99666 | -0.07916 | 0.9967 | -0.078379 | 30.6395
69 | -8.0683 | -3.7724 | 8.0689 | 3.7692 | 0.00060104 | -0.0031954 | 0.25796 | 0.25792 | 0.25796 | 0.9967 | -0.078379 | 0.99679 | -0.0768 | 30.6368
70 | -8.2534 | -3.8586 | 8.2552 | 3.8609 | 0.0017335 | 0.00233 | 0.26385 | 0.26385 | 0.26385 | 0.99679 | -0.0768 | 0.99708 | -0.067122 | 32.1774
71 | 0.26906 | 0.12828 | -0.26905 | -0.1302 | 8.0959e-06 | -0.0019185 | 0.0086372 | 0.0086613 | 0.0086613 | 0.99624 | -0.089788 | 0.99621 | -0.089531 | 3.9369
72 | -8.502 | -3.9804 | 8.5036 | 3.9825 | 0.0015707 | 0.0021205 | 0.27179 | 0.27179 | 0.27179 | 0.99708 | -0.067122 | 0.99733 | -0.058618 | 33.1453
73 | -8.7769 | -4.1144 | 8.7771 | 4.1135 | 0.00020541 | -0.00089511 | 0.28057 | 0.28056 | 0.28057 | 0.99733 | -0.058618 | 0.99736 | -0.058124 | 33.3222
74 | 0.27332 | 0.13182 | -0.27332 | -0.13237 | 2.4107e-06 | -0.00055474 | 0.0087833 | 0.0087903 | 0.0087903 | 0.99733 | -0.058618 | 0.99732 | -0.058542 | 3.9956
75 | 0.26905 | 0.1302 | -0.26905 | -0.13031 | 4.6724e-07 | -0.0001104 | 0.0086613 | 0.0086627 | 0.0086627 | 0.99621 | -0.089531 | 0.99621 | -0.089516 | 3.9376
76 | -0.20514 | -0.099355 | 0.20514 | 0.099028 | 7.9932e-07 | -0.00032627 | 0.0065995 | 0.0065953 | 0.0065995 | 0.99704 | -0.053726 | 0.99704 | -0.05376 | 2.9998
77 | -0.68602 | -0.33079 | 0.6863 | 0.32073 | 0.00027582 | -0.010065 | 0.022051 | 0.021925 | 0.022051 | 0.99704 | -0.05376 | 0.99742 | -0.057108 | 10.0232
78 | 0.48088 | 0.23176 | -0.48079 | -0.23196 | 8.9554e-05 | -0.00019352 | 0.015456 | 0.015459 | 0.015459 | 0.99704 | -0.05376 | 0.99685 | -0.055008 | 7.3613
79 | 8.9175 | 4.1786 | -8.9171 | -4.1804 | 0.00042922 | -0.0018001 | 0.28502 | 0.28505 | 0.28505 | 0.99742 | -0.057108 | 0.99736 | -0.058124 | 33.8541
80 | -10.6164 | -4.9737 | 10.6191 | 4.9665 | 0.0026858 | -0.0072298 | 0.33931 | 0.33919 | 0.33931 | 0.99742 | -0.057108 | 0.99771 | -0.051759 | 40.2984
81 | 0.64139 | 0.29466 | -0.64129 | -0.29896 | 0.00010193 | -0.0043038 | 0.020429 | 0.020481 | 0.020481 | 0.99742 | -0.057108 | 0.99727 | -0.055862 | 9.3096
82 | 0.37121 | 0.17968 | -0.37121 | -0.17978 | 8.6643e-07 | -0.00010794 | 0.011936 | 0.011937 | 0.011937 | 0.99742 | -0.057108 | 0.99741 | -0.057088 | 5.4261
83 | 0.1987 | 0.095332 | -0.19869 | -0.096022 | 1.583e-06 | -0.00068933 | 0.006382 | 0.0063907 | 0.0063907 | 0.99685 | -0.055008 | 0.99684 | -0.05494 | 2.9049
84 | -0.2402 | -0.11623 | 0.24024 | 0.1048 | 3.7718e-05 | -0.011437 | 0.0077255 | 0.007587 | 0.0077255 | 0.99712 | -0.054649 | 0.99727 | -0.055862 | 3.5116
85 | 0.2402 | 0.11623 | -0.2402 | -0.11634 | 3.4738e-07 | -0.00010337 | 0.0077255 | 0.0077268 | 0.0077268 | 0.99712 | -0.054649 | 0.99712 | -0.054636 | 3.5122
86 | 0.40105 | 0.19417 | -0.40103 | -0.19423 | 1.7246e-05 | -5.8272e-05 | 0.012898 | 0.012899 | 0.012899 | 0.99727 | -0.055862 | 0.99722 | -0.056146 | 6.1423
87 | 0.14001 | 0.06697 | -0.14001 | -0.06781 | 9.5561e-07 | -0.00084021 | 0.0044922 | 0.0045027 | 0.0045027 | 0.99736 | -0.058124 | 0.99735 | -0.058066 | 2.0467
88 | 0.23373 | 0.11095 | -0.23372 | -0.11308 | 6.7407e-06 | -0.0021318 | 0.0074858 | 0.0075125 | 0.0075125 | 0.99771 | -0.051759 | 0.99769 | -0.051514 | 3.4148
89 | -11.0445 | -5.1702 | 11.0524 | 5.151 | 0.0079224 | -0.019221 | 0.35284 | 0.35251 | 0.35284 | 0.99771 | -0.051759 | 0.99855 | -0.036551 | 41.9049
90 | 0.19165 | 0.092775 | -0.19164 | -0.092817 | 2.4545e-06 | -4.1594e-05 | 0.0061606 | 0.0061611 | 0.0061611 | 0.99771 | -0.051759 | 0.9977 | -0.051844 | 2.9339
91 | 0.23372 | 0.11308 | -0.23372 | -0.1132 | 3.7506e-07 | -0.00011817 | 0.0075125 | 0.007514 | 0.007514 | 0.99769 | -0.051514 | 0.99768 | -0.0515 | 3.4155
92 | 0.3241 | 0.15691 | -0.32409 | -0.15696 | 8.8461e-06 | -4.8994e-05 | 0.01041 | 0.01041 | 0.01041 | 0.99855 | -0.036551 | 0.99852 | -0.036731 | 4.9574
93 | -11.3765 | -5.3079 | 11.3811 | 5.2977 | 0.004557 | -0.010233 | 0.36292 | 0.36275 | 0.36292 | 0.99855 | -0.036551 | 0.99902 | -0.028029 | 43.1026
94 | 0.19869 | 0.096022 | -0.19868 | -0.096226 | 1.303e-05 | -0.00020416 | 0.0063907 | 0.0063934 | 0.0063934 | 0.99684 | -0.05494 | 0.99677 | -0.055374 | 3.0445
95 | -14.1345 | -6.5996 | 14.1369 | 6.5969 | 0.002375 | -0.0026919 | 0.45076 | 0.4507 | 0.45076 | 0.99902 | -0.028029 | 0.99922 | -0.024463 | 53.534
96 | -14.4761 | -6.7612 | 14.4832 | 6.7712 | 0.0070386 | 0.0099508 | 0.46158 | 0.46158 | 0.46158 | 0.99922 | -0.024463 | 0.99989 | -0.002048 | 56.2908
97 | 0.24755 | 0.11835 | -0.24755 | -0.11881 | 1.6758e-06 | -0.00046705 | 0.007962 | 0.0079679 | 0.0079679 | 0.99482 | -0.12674 | 0.99481 | -0.12668 | 3.6218
98 | 0.099858 | 0.046519 | -0.099857 | -0.047747 | 7.1209e-07 | -0.0012274 | 0.0031967 | 0.0032119 | 0.0032119 | 0.99482 | -0.12674 | 0.99481 | -0.12668 | 1.4599
99 | -5.0289 | -2.3615 | 5.0292 | 2.3575 | 0.00026739 | -0.0040071 | 0.16122 | 0.16116 | 0.16122 | 0.99482 | -0.12674 | 0.99488 | -0.12562 | 19.1468
100 | -1.399 | -0.66295 | 1.3992 | 0.66299 | 0.00013218 | 3.9364e-05 | 0.044926 | 0.044925 | 0.044926 | 0.99478 | -0.1263 | 0.99488 | -0.12562 | 21.3933
101 | -6.5541 | -3.0814 | 6.5551 | 3.0826 | 0.00094046 | 0.0012085 | 0.21014 | 0.21014 | 0.21014 | 0.99488 | -0.12562 | 0.99508 | -0.11904 | 25.6273
102 | 0.24755 | 0.11881 | -0.24754 | -0.11989 | 3.8771e-06 | -0.0010779 | 0.0079679 | 0.0079815 | 0.0079815 | 0.99481 | -0.12668 | 0.9948 | -0.12655 | 3.6279
103 | 0.099857 | 0.047747 | -0.099857 | -0.048363 | 3.6008e-07 | -0.00061621 | 0.0032119 | 0.0032196 | 0.0032196 | 0.99481 | -0.12668 | 0.99481 | -0.12665 | 1.4635
104 | -0.19424 | -0.094075 | 0.19424 | 0.093835 | 5.312e-07 | -0.00023959 | 0.0062633 | 0.0062603 | 0.0062633 | 0.99472 | -0.12716 | 0.99473 | -0.12719 | 2.847
105 | -0.40913 | -0.19815 | 0.40914 | 0.19746 | 6.9524e-06 | -0.00069548 | 0.013239 | 0.01323 | 0.013239 | 0.99124 | -0.10023 | 0.99126 | -0.10037 | 6.0177
106 | -0.40914 | -0.19746 | 0.40921 | 0.19078 | 6.63e-05 | -0.0066804 | 0.01323 | 0.013146 | 0.01323 | 0.99126 | -0.10037 | 0.99141 | -0.10172 | 6.0137
107 | 0.24905 | 0.11641 | -0.24903 | -0.12014 | 1.3692e-05 | -0.0037303 | 0.0080048 | 0.0080515 | 0.0080515 | 0.99141 | -0.10172 | 0.99136 | -0.10126 | 3.6598
108 | 0.24903 | 0.12014 | -0.24903 | -0.12061 | 1.7278e-06 | -0.00046761 | 0.0080515 | 0.0080574 | 0.0080574 | 0.99136 | -0.10126 | 0.99135 | -0.1012 | 3.6625
109 | -14.4832 | -6.7712 | 14.4846 | 6.7697 | 0.0014001 | -0.0014581 | 0.46158 | 0.46155 | 0.46158 | 0.99989 | -0.002048 | 1 | 0 | 54.8197
110 | 0.77018 | 0.36872 | -0.77017 | -0.369 | 1.0011e-05 | -0.00028261 | 0.024843 | 0.024846 | 0.024846 | 0.99224 | -0.10892 | 0.99222 | -0.10881 | 11.2937
111 | 0.35559 | 0.16821 | -0.35558 | -0.16922 | 7.5202e-06 | -0.0010076 | 0.011445 | 0.011457 | 0.011457 | 0.99222 | -0.10881 | 0.9922 | -0.10864 | 5.2078
112 | 0.35558 | 0.16922 | -0.35556 | -0.17213 | 2.1805e-05 | -0.0029088 | 0.011457 | 0.011494 | 0.011494 | 0.9922 | -0.10864 | 0.99215 | -0.10811 | 5.2245
113 | 0.35556 | 0.17213 | -0.35556 | -0.1722 | 5.4433e-07 | -7.2367e-05 | 0.011494 | 0.011495 | 0.011495 | 0.99215 | -0.10811 | 0.99215 | -0.1081 | 5.2249

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.7385 | 6.8964

## res_load
| p_mw | q_mvar
0 | 0.25577 | 0.12387
1 | 0.40221 | 0.1948
2 | 0.10179 | 0.0493
3 | 0.2215 | 0.10728
4 | 0.24546 | 0.11888
5 | 0.25296 | 0.12251
6 | 0.23186 | 0.11229
7 | 0.1273 | 0.061654
8 | 0.2334 | 0.11304
9 | 0.41492 | 0.20096
10 | 0.276 | 0.13367
11 | 0.29332 | 0.14206
12 | 0.29253 | 0.14168
13 | 0.40101 | 0.19422
14 | 0.30362 | 0.14705
15 | 0.31805 | 0.15404
16 | 0.39348 | 0.19057
17 | 0.37475 | 0.1815
18 | 0.31819 | 0.1541
19 | 0.25581 | 0.1239
20 | 0.22456 | 0.10876
21 | 0.35044 | 0.16972
22 | 0.35703 | 0.17292
23 | 0.39891 | 0.1932
24 | 0.30465 | 0.14755
25 | 0.13115 | 0.06352
26 | 0.39797 | 0.19275
27 | 0.32651 | 0.15814
28 | 0.18457 | 0.089389
29 | 0.24682 | 0.11954
30 | 0.26905 | 0.13031
31 | 0.20514 | 0.099355
32 | 0.28209 | 0.13662
33 | 0.2402 | 0.11634
34 | 0.37121 | 0.17978
35 | 0.40103 | 0.19423
36 | 0.19164 | 0.092817
37 | 0.19868 | 0.096226
38 | 0.27332 | 0.13237
39 | 0.14001 | 0.06781
40 | 0.23372 | 0.1132
41 | 0.33923 | 0.1643
42 | 0.32409 | 0.15696
43 | 0.12579 | 0.060921
44 | 0.07271 | 0.035215
45 | 0.074669 | 0.036164
46 | 0.24754 | 0.11989
47 | 0.099857 | 0.048363
48 | 0.19424 | 0.094075
49 | 0.077018 | 0.037301
50 | 0.40913 | 0.19815
51 | 0.24903 | 0.12061
52 | 0.23988 | 0.11618
53 | 0.41458 | 0.20079
54 | 0.35556 | 0.1722

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1