## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_542_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_542_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_542_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_542_0_node_1 | 20 | n |  | TRUE
4 | bus_MV_542_0_node_69 | 20 | n |  | TRUE
5 | bus_MV_542_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_542_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_542_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_542_0_node_70 | 20 | n |  | TRUE
9 | bus_MV_542_0_node_87 | 20 | n |  | TRUE
10 | bus_MV_542_0_node_63 | 20 | n |  | TRUE
11 | bus_MV_542_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_542_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_542_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_542_0_node_46 | 20 | n |  | TRUE
15 | bus_MV_542_0_node_59 | 20 | n |  | TRUE
16 | bus_MV_542_0_node_27 | 20 | n |  | TRUE
17 | bus_MV_542_0_node_93 | 20 | n |  | TRUE
18 | bus_MV_542_0_node_26 | 20 | n |  | TRUE
19 | bus_MV_542_0_node_89 | 20 | n |  | TRUE
20 | bus_MV_542_0_node_45 | 20 | n |  | TRUE
21 | bus_MV_542_0_node_104 | 20 | n |  | TRUE
22 | bus_MV_542_0_node_44 | 20 | n |  | TRUE
23 | bus_MV_542_0_node_103 | 20 | n |  | TRUE
24 | bus_MV_542_0_node_10 | 20 | n |  | TRUE
25 | bus_MV_542_0_node_12 | 20 | n |  | TRUE
26 | bus_MV_542_0_node_13 | 20 | n |  | TRUE
27 | bus_MV_542_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_542_0_node_20 | 20 | n |  | TRUE
29 | bus_MV_542_0_node_14 | 20 | n |  | TRUE
30 | bus_MV_542_0_node_52 | 20 | n |  | TRUE
31 | bus_MV_542_0_node_24 | 20 | n |  | TRUE
32 | bus_MV_542_0_node_15 | 20 | n |  | TRUE
33 | bus_MV_542_0_node_34 | 20 | n |  | TRUE
34 | bus_MV_542_0_node_31 | 20 | n |  | TRUE
35 | bus_MV_542_0_node_16 | 20 | n |  | TRUE
36 | bus_MV_542_0_node_47 | 20 | n |  | TRUE
37 | bus_MV_542_0_node_33 | 20 | n |  | TRUE
38 | bus_MV_542_0_node_106 | 20 | n |  | TRUE
39 | bus_MV_542_0_node_19 | 20 | n |  | TRUE
40 | bus_MV_542_0_node_18 | 20 | n |  | TRUE
41 | bus_MV_542_0_node_49 | 20 | n |  | TRUE
42 | bus_MV_542_0_node_48 | 20 | n |  | TRUE
43 | bus_MV_542_0_node_98 | 20 | n |  | TRUE
44 | bus_MV_542_0_node_21 | 20 | n |  | TRUE
45 | bus_MV_542_0_node_57 | 20 | n |  | TRUE
46 | bus_MV_542_0_node_55 | 20 | n |  | TRUE
47 | bus_MV_542_0_node_22 | 20 | n |  | TRUE
48 | bus_MV_542_0_node_50 | 20 | n |  | TRUE
49 | bus_MV_542_0_node_41 | 20 | n |  | TRUE
50 | bus_MV_542_0_node_23 | 20 | n |  | TRUE
51 | bus_MV_542_0_node_42 | 20 | n |  | TRUE
52 | bus_MV_542_0_node_40 | 20 | n |  | TRUE
53 | bus_MV_542_0_node_51 | 20 | n |  | TRUE
54 | bus_MV_542_0_node_35 | 20 | n |  | TRUE
55 | bus_MV_542_0_node_88 | 20 | n |  | TRUE
56 | bus_MV_542_0_node_54 | 20 | n |  | TRUE
57 | bus_MV_542_0_node_29 | 20 | n |  | TRUE
58 | bus_MV_542_0_node_30 | 20 | n |  | TRUE
59 | bus_MV_542_0_node_56 | 20 | n |  | TRUE
60 | bus_MV_542_0_node_73 | 20 | n |  | TRUE
61 | bus_MV_542_0_node_95 | 20 | n |  | TRUE
62 | bus_MV_542_0_node_38 | 20 | n |  | TRUE
63 | bus_MV_542_0_node_97 | 20 | n |  | TRUE
64 | bus_MV_542_0_node_37 | 20 | n |  | TRUE
65 | bus_MV_542_0_node_107 | 20 | n |  | TRUE
66 | bus_MV_542_0_node_79 | 20 | n |  | TRUE
67 | bus_MV_542_0_node_92 | 20 | n |  | TRUE
68 | bus_MV_542_0_node_78 | 20 | n |  | TRUE
69 | bus_MV_542_0_node_76 | 20 | n |  | TRUE
70 | bus_MV_542_0_node_86 | 20 | n |  | TRUE
71 | bus_MV_542_0_node_25 | 20 | n |  | TRUE
72 | bus_MV_542_0_node_65 | 20 | n |  | TRUE
73 | bus_MV_542_0_node_28 | 20 | n |  | TRUE
74 | bus_MV_542_0_node_32 | 20 | n |  | TRUE
75 | bus_MV_542_0_node_58 | 20 | n |  | TRUE
76 | bus_MV_542_0_node_96 | 20 | n |  | TRUE
77 | bus_MV_542_0_node_36 | 20 | n |  | TRUE
78 | bus_MV_542_0_node_53 | 20 | n |  | TRUE
79 | bus_MV_542_0_node_74 | 20 | n |  | TRUE
80 | bus_MV_542_0_node_77 | 20 | n |  | TRUE
81 | bus_MV_542_0_node_94 | 20 | n |  | TRUE
82 | bus_MV_542_0_node_60 | 20 | n |  | TRUE
83 | bus_MV_542_0_node_61 | 20 | n |  | TRUE
84 | bus_MV_542_0_node_62 | 20 | n |  | TRUE
85 | bus_MV_542_0_node_64 | 20 | n |  | TRUE
86 | bus_MV_542_0_node_67 | 20 | n |  | TRUE
87 | bus_MV_542_0_node_68 | 20 | n |  | TRUE
88 | bus_MV_542_0_node_66 | 20 | n |  | TRUE
89 | bus_MV_542_0_node_102 | 20 | n |  | TRUE
90 | bus_MV_542_0_node_90 | 20 | n |  | TRUE
91 | bus_MV_542_0_node_91 | 20 | n |  | TRUE
92 | bus_MV_542_0_node_71 | 20 | n |  | TRUE
93 | bus_MV_542_0_node_72 | 20 | n |  | TRUE
94 | bus_MV_542_0_node_85 | 20 | n |  | TRUE
95 | bus_MV_542_0_node_82 | 20 | n |  | TRUE
96 | bus_MV_542_0_node_83 | 20 | n |  | TRUE
97 | bus_MV_542_0_node_84 | 20 | n |  | TRUE
98 | bus_MV_542_0_node_81 | 20 | n |  | TRUE
99 | bus_MV_542_0_node_100 | 20 | n |  | TRUE
100 | bus_MV_542_0_node_101 | 20 | n |  | TRUE
101 | bus_MV_542_0_node_99 | 20 | n |  | TRUE
102 | bus_MV_542_0_node_105 | 20 | n |  | TRUE
103 | bus_HV_542_0_node_63 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_542_0_load_0 | 0 | 0.17299 | 0.083781 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_542_0_load_2 | 1 | 0.32252 | 0.1562 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_542_0_load_3 | 2 | 0.32325 | 0.15656 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_542_0_load_69 | 4 | 0.21148 | 0.10242 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_542_0_load_6 | 6 | 0.31203 | 0.15112 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_542_0_load_5 | 7 | 0.32816 | 0.15894 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_542_0_load_70 | 8 | 0.32854 | 0.15912 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_542_0_load_87 | 9 | 0.18612 | 0.090144 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_542_0_load_7 | 11 | 0.35992 | 0.17432 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_542_0_load_59 | 15 | 0.30063 | 0.1456 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_542_0_load_93 | 17 | 0.15188 | 0.073559 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_542_0_load_89 | 19 | 0.23609 | 0.11434 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_542_0_load_104 | 21 | 0.79572 | 0.38538 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_542_0_load_103 | 23 | 0.35938 | 0.17405 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_542_0_load_10 | 24 | 0.36429 | 0.17643 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_542_0_load_52 | 30 | 0.15534 | 0.075234 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_542_0_load_34 | 33 | 0.31579 | 0.15294 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_542_0_load_47 | 36 | 0.39948 | 0.19348 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_542_0_load_106 | 38 | 0.1815 | 0.087903 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_542_0_load_49 | 41 | 0.38194 | 0.18498 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_542_0_load_48 | 42 | 0.38482 | 0.18638 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_542_0_load_98 | 43 | 0.40105 | 0.19424 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_542_0_load_55 | 46 | 0.25081 | 0.12147 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_542_0_load_50 | 48 | 0.30537 | 0.1479 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_542_0_load_42 | 51 | 0.30235 | 0.14643 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_542_0_load_51 | 53 | 0.38909 | 0.18845 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_542_0_load_88 | 55 | 0.22445 | 0.10871 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_542_0_load_54 | 56 | 0.36986 | 0.17913 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_542_0_load_73 | 60 | 0.19316 | 0.093552 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_542_0_load_95 | 61 | 0.20887 | 0.10116 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_542_0_load_97 | 63 | 0.30944 | 0.14987 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_542_0_load_107 | 65 | 0.38989 | 0.18883 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_542_0_load_92 | 67 | 0.22436 | 0.10866 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_542_0_load_78 | 68 | 0.18923 | 0.091647 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_542_0_load_86 | 70 | 0.1213 | 0.058747 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_542_0_load_25 | 71 | 0.29586 | 0.14329 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_542_0_load_28 | 73 | 0.32282 | 0.15635 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_542_0_load_58 | 75 | 0.3184 | 0.15421 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_542_0_load_96 | 76 | 0.2625 | 0.12714 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_542_0_load_36 | 77 | 0.29261 | 0.14172 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_542_0_load_53 | 78 | 0.29108 | 0.14098 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_542_0_load_74 | 79 | 0.068287 | 0.033073 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_542_0_load_94 | 81 | 0.29396 | 0.14237 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_542_0_load_60 | 82 | 0.16585 | 0.080327 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_542_0_load_67 | 86 | 0.32557 | 0.15768 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_542_0_load_68 | 87 | 0.32394 | 0.15689 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_542_0_load_102 | 89 | 0.3203 | 0.15513 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_542_0_load_90 | 90 | 0.30491 | 0.14768 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_542_0_load_91 | 91 | 0.32111 | 0.15552 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_542_0_load_71 | 92 | 0.087172 | 0.042219 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_542_0_load_85 | 94 | 0.1162 | 0.056276 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_542_0_load_83 | 96 | 0.15286 | 0.074035 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_542_0_load_84 | 97 | 0.091182 | 0.044161 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_542_0_load_100 | 99 | 0.35701 | 0.17291 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_542_0_load_99 | 101 | 0.32901 | 0.15935 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_542_0_load_105 | 102 | 0.20888 | 0.10116 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_542_0_line_0 |  | 0 | 1 | 0.023955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_542_0_line_1 |  | 0 | 2 | 0.025989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_542_0_line_2 |  | 0 | 3 | 0.050828 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_542_0_line_3 |  | 1 | 4 | 0.050545 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_542_0_line_4 |  | 3 | 5 | 0.056736 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_542_0_line_5 |  | 4 | 8 | 0.016571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_542_0_line_6 |  | 4 | 7 | 0.042872 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_542_0_line_7 |  | 5 | 6 | 0.051022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_542_0_line_8 |  | 6 | 9 | 0.072044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_542_0_line_9 |  | 8 | 92 | 0.10076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_542_0_line_10 |  | 9 | 10 | 0.028557 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_542_0_line_11 |  | 10 | 83 | 0.059847 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
12 | MV_542_0_line_12 |  | 11 | 12 | 0.03239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_542_0_line_13 |  | 12 | 13 | 0.41847 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_542_0_line_14 |  | 13 | 14 | 0.11935 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_542_0_line_15 |  | 13 | 15 | 0.025565 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_542_0_line_16 |  | 14 | 19 | 0.0076949 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_542_0_line_17 |  | 14 | 20 | 0.15238 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
18 | MV_542_0_line_18 |  | 14 | 16 | 0.044007 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
19 | MV_542_0_line_19 |  | 16 | 17 | 0.061905 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
20 | MV_542_0_line_20 |  | 16 | 18 | 0.19924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_542_0_line_21 |  | 17 | 72 | 0.048055 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
22 | MV_542_0_line_22 |  | 18 | 71 | 0.037237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_542_0_line_23 |  | 20 | 21 | 0.009467 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_542_0_line_24 |  | 20 | 22 | 0.26902 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
25 | MV_542_0_line_25 |  | 22 | 23 | 0.004183 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
26 | MV_542_0_line_26 |  | 23 | 78 | 0.19081 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_542_0_line_27 |  | 23 | 77 | 0.31107 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
28 | MV_542_0_line_28 |  | 24 | 25 | 0.025142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_542_0_line_29 |  | 24 | 26 | 0.041965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_542_0_line_30 |  | 25 | 27 | 0.55314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_542_0_line_31 |  | 26 | 28 | 0.18383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_542_0_line_32 |  | 27 | 38 | 0.013933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_542_0_line_33 |  | 27 | 39 | 0.42365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_542_0_line_34 |  | 28 | 43 | 0.023325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_542_0_line_35 |  | 28 | 44 | 0.22311 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_542_0_line_36 |  | 29 | 30 | 0.062731 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_542_0_line_37 |  | 29 | 31 | 0.18507 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_542_0_line_38 |  | 30 | 43 | 0.13111 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_542_0_line_39 |  | 31 | 53 | 0.004328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_542_0_line_40 |  | 31 | 47 | 0.72051 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
41 | MV_542_0_line_41 |  | 32 | 33 | 0.042311 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_542_0_line_42 |  | 32 | 34 | 0.28894 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_542_0_line_43 |  | 34 | 56 | 0.086511 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_542_0_line_44 |  | 34 | 57 | 0.30281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_542_0_line_45 |  | 34 | 58 | 0.60342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_542_0_line_46 |  | 34 | 54 | 0.075514 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_542_0_line_47 |  | 35 | 36 | 0.007168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_542_0_line_48 |  | 35 | 37 | 0.19026 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_542_0_line_49 |  | 37 | 53 | 0.059382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_542_0_line_50 |  | 37 | 58 | 0.54575 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_542_0_line_51 |  | 39 | 42 | 0.083836 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_542_0_line_52 |  | 39 | 40 | 0.45041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_542_0_line_53 |  | 40 | 41 | 0.038712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_542_0_line_54 |  | 44 | 45 | 0.51286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_542_0_line_55 |  | 44 | 46 | 0.004297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_542_0_line_56 |  | 45 | 61 | 0.020728 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_542_0_line_57 |  | 45 | 59 | 0.18074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_542_0_line_58 |  | 47 | 48 | 0.061543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_542_0_line_59 |  | 47 | 49 | 0.11967 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
60 | MV_542_0_line_60 |  | 49 | 65 | 0.006622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_542_0_line_61 |  | 49 | 52 | 0.14521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_542_0_line_62 |  | 49 | 62 | 0.21705 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
63 | MV_542_0_line_63 |  | 50 | 51 | 0.021064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_542_0_line_64 |  | 50 | 52 | 0.16723 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_542_0_line_65 |  | 52 | 66 | 0.079031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_542_0_line_66 |  | 52 | 67 | 0.014881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_542_0_line_67 |  | 54 | 55 | 0.078212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_542_0_line_68 |  | 57 | 73 | 0.020088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_542_0_line_69 |  | 58 | 74 | 0.54381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_542_0_line_70 |  | 58 | 75 | 0.014829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_542_0_line_71 |  | 59 | 60 | 0.095219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_542_0_line_72 |  | 62 | 63 | 0.005925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_542_0_line_73 |  | 62 | 64 | 0.11845 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
74 | MV_542_0_line_74 |  | 64 | 77 | 0.032137 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
75 | MV_542_0_line_75 |  | 66 | 70 | 0.0098769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_542_0_line_76 |  | 66 | 69 | 0.02654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_542_0_line_77 |  | 68 | 69 | 0.021782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_542_0_line_78 |  | 69 | 79 | 0.020112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_542_0_line_79 |  | 72 | 88 | 0.32709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_542_0_line_80 |  | 72 | 84 | 0.3615 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
81 | MV_542_0_line_81 |  | 74 | 76 | 0.004709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_542_0_line_82 |  | 78 | 80 | 0.098224 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_542_0_line_83 |  | 80 | 81 | 0.0064341 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_542_0_line_84 |  | 82 | 83 | 0.022408 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
85 | MV_542_0_line_85 |  | 82 | 84 | 0.025976 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
86 | MV_542_0_line_86 |  | 84 | 85 | 0.038089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_542_0_line_87 |  | 85 | 86 | 0.049515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_542_0_line_88 |  | 85 | 87 | 0.046207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_542_0_line_89 |  | 86 | 90 | 0.004239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_542_0_line_90 |  | 88 | 89 | 0.087519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_542_0_line_91 |  | 90 | 91 | 0.020092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_542_0_line_92 |  | 92 | 93 | 0.074837 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_542_0_line_93 |  | 92 | 94 | 0.04403 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_542_0_line_94 |  | 93 | 95 | 0.14687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_542_0_line_95 |  | 94 | 97 | 0.028143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_542_0_line_96 |  | 95 | 101 | 0.060703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_542_0_line_97 |  | 95 | 98 | 0.10046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_542_0_line_98 |  | 96 | 97 | 0.019268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_542_0_line_99 |  | 98 | 99 | 0.13753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_542_0_line_100 |  | 98 | 100 | 0.18193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_542_0_line_101 |  | 100 | 102 | 0.026319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_542_0_trafo_63 | 25 MVA 110/20 kV | 103 | 10 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2683848.3569 | 1250184.1588
1 | 2683870.731 | 1250175.5995
2 | 2683839.0709 | 1250159.8852
3 | 2683800.8839 | 1250202.3198
4 | 2683891.6605 | 1250129.5913
5 | 2683759.1938 | 1250228.3833
6 | 2683765.3411 | 1250271.0988
7 | 2683926.801 | 1250154.1499
8 | 2683886.4408 | 1250113.8639
9 | 2683797.3903 | 1250334.791
10 | 2683804.5702 | 1250361.7463
11 | 2684153.0955 | 1250803.8476
12 | 2684124.2318 | 1250790.2166
13 | 2684155.7299 | 1250601.4337
14 | 2684068.3209 | 1250604.6179
15 | 2684171.3806 | 1250581.2186
16 | 2684091.3924 | 1250591.8579
17 | 2684041.9376 | 1250554.6229
18 | 2684157.096 | 1250448.4277
19 | 2684066.9573 | 1250597.2044
20 | 2683975.6625 | 1250613.311
21 | 2683981.3939 | 1250605.7643
22 | 2683936.3791 | 1250820.2203
23 | 2683936.4406 | 1250824.402
24 | 2683083.6122 | 1249951.4813
25 | 2683069.2924 | 1249930.7874
26 | 2683107.6466 | 1249984.7318
27 | 2683274.1656 | 1249904.4311
28 | 2683175.0935 | 1250078.3139
29 | 2683032.2755 | 1250238.1528
30 | 2683068.2996 | 1250186.7971
31 | 2683163.857 | 1250368.2942
32 | 2682654.8534 | 1250521.4888
33 | 2682636.4885 | 1250483.3711
34 | 2682839.3136 | 1250743.8849
35 | 2682976.6997 | 1250322.2483
36 | 2682969.7174 | 1250320.5382
37 | 2683140.1548 | 1250419.6221
38 | 2683287.4833 | 1249900.2262
39 | 2683386.9052 | 1249789.3636
40 | 2683649.7675 | 1249755.4416
41 | 2683611.1758 | 1249751.183
42 | 2683342.7096 | 1249718.1226
43 | 2683153.4147 | 1250087.0719
44 | 2683284.6992 | 1250056.8924
45 | 2683550.591 | 1250050.318
46 | 2683280.5672 | 1250058.1131
47 | 2683519.5074 | 1250656.3871
48 | 2683480.2593 | 1250610.7335
49 | 2683508.858 | 1250775.5815
50 | 2683698.1808 | 1250674.0539
51 | 2683718.5217 | 1250679.7454
52 | 2683602.4357 | 1250811.1606
53 | 2683168.1024 | 1250369.1989
54 | 2682784.5909 | 1250691.8483
55 | 2682829.6936 | 1250628.6597
56 | 2682925.8247 | 1250743.6722
57 | 2682720.4475 | 1250928.8626
58 | 2683186.5016 | 1250770.7339
59 | 2683491.9644 | 1250026.6633
60 | 2683484.9559 | 1249932.7655
61 | 2683570.5354 | 1250044.6727
62 | 2683563.6916 | 1250948.7503
63 | 2683561.7475 | 1250943.152
64 | 2683646.3394 | 1250986.7
65 | 2683502.7809 | 1250778.2535
66 | 2683629.5693 | 1250885.3765
67 | 2683611.7736 | 1250822.7472
68 | 2683640.4353 | 1250858.3109
69 | 2683654.1035 | 1250875.2708
70 | 2683620.311 | 1250888.8169
71 | 2684140.8106 | 1250414.9826
72 | 2684003.5472 | 1250525.7184
73 | 2682739.3858 | 1250922.0107
74 | 2683276.3395 | 1251042.3537
75 | 2683194.7153 | 1250758.3733
76 | 2683273.5309 | 1251046.1392
77 | 2683677.126 | 1250996.2194
78 | 2683943.945 | 1251015.062
79 | 2683670.8118 | 1250864.1494
80 | 2683845.7292 | 1251016.3172
81 | 2683841.9638 | 1251021.5345
82 | 2683848.3651 | 1250385.892
83 | 2683828.2654 | 1250395.6288
84 | 2683873.0541 | 1250377.8158
85 | 2683878.7281 | 1250340.2124
86 | 2683858.6951 | 1250295.3834
87 | 2683916.0778 | 1250333.3493
88 | 2683989.3443 | 1250369.3227
89 | 2683978.4862 | 1250283.149
90 | 2683857.1575 | 1250291.4331
91 | 2683849.869 | 1250272.7094
92 | 2683868.5205 | 1250022.2507
93 | 2683812.3752 | 1249986.7327
94 | 2683911.6855 | 1250030.9372
95 | 2683764.8088 | 1250032.5945
96 | 2683911.1793 | 1249983.5281
97 | 2683911.385 | 1250002.7954
98 | 2683695.3877 | 1250045.1456
99 | 2683774.1135 | 1250138.1046
100 | 2683727.2143 | 1250204.169
101 | 2683791.4823 | 1250085.5554
102 | 2683751.8553 | 1250194.7323
103 | 2683804.5702 | 1250361.7463

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99885 | 0.005705 | 0.17299 | 0.083781
1 | 0.99878 | 0.0063997 | 0.32252 | 0.1562
2 | 0.99884 | 0.0058053 | 0.32325 | 0.15656
3 | 0.99915 | 0.0076686 | 0 | 0
4 | 0.99856 | 0.0049529 | 0.21148 | 0.10242
5 | 0.99937 | 0.0056923 | 0 | 0
6 | 0.99957 | 0.00392 | 0.31203 | 0.15112
7 | 0.99853 | 0.0047823 | 0.32816 | 0.15894
8 | 0.99853 | 0.0052628 | 0.32854 | 0.15912
9 | 0.99987 | 0.0011564 | 0.18612 | 0.090144
10 | 1 | 0 | -15.7729 | -7.3399
11 | 0.99822 | -0.024498 | 0.35992 | 0.17432
12 | 0.99823 | -0.024637 | 0 | 0
13 | 0.99842 | -0.026291 | 0 | 0
14 | 0.99852 | -0.027144 | 0 | 0
15 | 0.99841 | -0.026384 | 0.30063 | 0.1456
16 | 0.99862 | -0.025388 | 0 | 0
17 | 0.99876 | -0.022843 | 0.15188 | 0.073559
18 | 0.99854 | -0.024722 | 0 | 0
19 | 0.99852 | -0.027122 | 0.23609 | 0.11434
20 | 0.99822 | -0.032679 | 0 | 0
21 | 0.99821 | -0.032589 | 0.79572 | 0.38538
22 | 0.99774 | -0.041606 | 0 | 0
23 | 0.99773 | -0.041744 | 0.35938 | 0.17405
24 | 0.99104 | -0.14357 | 0.36429 | 0.17643
25 | 0.99101 | -0.14334 | 0 | 0
26 | 0.99111 | -0.14414 | 0 | 0
27 | 0.99034 | -0.13796 | 0 | 0
28 | 0.99141 | -0.14662 | 0 | 0
29 | 0.99238 | -0.14022 | 0 | 0
30 | 0.99207 | -0.14252 | 0.15534 | 0.075234
31 | 0.99328 | -0.13345 | 0 | 0
32 | 0.9907 | -0.11419 | 0 | 0
33 | 0.99068 | -0.11435 | 0.31579 | 0.15294
34 | 0.99088 | -0.11306 | 0 | 0
35 | 0.99295 | -0.13286 | 0 | 0
36 | 0.99294 | -0.13283 | 0.39948 | 0.19348
37 | 0.99309 | -0.13193 | 0 | 0
38 | 0.99033 | -0.13793 | 0.1815 | 0.087903
39 | 0.98992 | -0.13445 | 0 | 0
40 | 0.9897 | -0.13253 | 0 | 0
41 | 0.98968 | -0.13235 | 0.38194 | 0.18498
42 | 0.98986 | -0.13484 | 0.38482 | 0.18638
43 | 0.99147 | -0.14708 | 0.40105 | 0.19424
44 | 0.99123 | -0.14516 | 0 | 0
45 | 0.99097 | -0.14306 | 0 | 0
46 | 0.99123 | -0.14514 | 0.25081 | 0.12147
47 | 0.99528 | -0.11034 | 0 | 0
48 | 0.99525 | -0.11011 | 0.30537 | 0.1479
49 | 0.99604 | -0.090572 | 0 | 0
50 | 0.99577 | -0.089671 | 0 | 0
51 | 0.99577 | -0.089594 | 0.30235 | 0.14643
52 | 0.99587 | -0.089046 | 0 | 0
53 | 0.99326 | -0.13333 | 0.38909 | 0.18845
54 | 0.99085 | -0.11328 | 0 | 0
55 | 0.99082 | -0.11307 | 0.22445 | 0.10871
56 | 0.99082 | -0.11345 | 0.36986 | 0.17913
57 | 0.99075 | -0.11195 | 0 | 0
58 | 0.99183 | -0.12145 | 0 | 0
59 | 0.99092 | -0.14269 | 0 | 0
60 | 0.9909 | -0.14247 | 0.19316 | 0.093552
61 | 0.99096 | -0.14311 | 0.20887 | 0.10116
62 | 0.99636 | -0.084679 | 0 | 0
63 | 0.99636 | -0.084657 | 0.30944 | 0.14987
64 | 0.99654 | -0.081312 | 0 | 0
65 | 0.99604 | -0.09054 | 0.38989 | 0.18883
66 | 0.99583 | -0.088699 | 0 | 0
67 | 0.99587 | -0.089006 | 0.22436 | 0.10866
68 | 0.99582 | -0.08857 | 0.18923 | 0.091647
69 | 0.99583 | -0.088619 | 0 | 0
70 | 0.99583 | -0.088685 | 0.1213 | 0.058747
71 | 0.99853 | -0.024591 | 0.29586 | 0.14329
72 | 0.99887 | -0.020839 | 0 | 0
73 | 0.99075 | -0.11187 | 0.32282 | 0.15635
74 | 0.99165 | -0.11994 | 0 | 0
75 | 0.99183 | -0.12139 | 0.3184 | 0.15421
76 | 0.99165 | -0.11993 | 0.2625 | 0.12714
77 | 0.99659 | -0.080397 | 0.29261 | 0.14172
78 | 0.99751 | -0.043104 | 0.29108 | 0.14098
79 | 0.99582 | -0.088603 | 0.068287 | 0.033073
80 | 0.99745 | -0.043455 | 0 | 0
81 | 0.99745 | -0.043478 | 0.29396 | 0.14237
82 | 0.99978 | -0.0040073 | 0.16585 | 0.080327
83 | 0.99984 | -0.0029159 | 0 | 0
84 | 0.99971 | -0.0052559 | 0 | 0
85 | 0.99965 | -0.0046823 | 0 | 0
86 | 0.99959 | -0.0041219 | 0.32557 | 0.15768
87 | 0.99963 | -0.0045048 | 0.32394 | 0.15689
88 | 0.99873 | -0.019708 | 0 | 0
89 | 0.9987 | -0.019377 | 0.3203 | 0.15513
90 | 0.99959 | -0.0040903 | 0.30491 | 0.14768
91 | 0.99958 | -0.0040133 | 0.32111 | 0.15552
92 | 0.99835 | 0.006759 | 0.087172 | 0.042219
93 | 0.99827 | 0.0074843 | 0 | 0
94 | 0.99832 | 0.0065624 | 0.1162 | 0.056276
95 | 0.9981 | 0.0089327 | 0 | 0
96 | 0.99831 | 0.0066785 | 0.15286 | 0.074035
97 | 0.99831 | 0.0066434 | 0.091182 | 0.044161
98 | 0.99803 | 0.009555 | 0 | 0
99 | 0.99797 | 0.01013 | 0.35701 | 0.17291
100 | 0.99798 | 0.009979 | 0 | 0
101 | 0.99808 | 0.0091698 | 0.32901 | 0.15935
102 | 0.99797 | 0.010044 | 0.20888 | 0.10116
103 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 2.5343 | 1.2054 | -2.5341 | -1.2059 | 0.00021039 | -0.0005082 | 0.081106 | 0.081113 | 0.081113 | 0.99885 | 0.005705 | 0.99878 | 0.0063997 | 36.8696
1 | 0.32325 | 0.15594 | -0.32325 | -0.15656 | 3.7355e-06 | -0.00061798 | 0.010372 | 0.01038 | 0.01038 | 0.99885 | 0.005705 | 0.99884 | 0.0058053 | 4.7182
2 | -3.0306 | -1.4451 | 3.0314 | 1.4455 | 0.00085266 | 0.00047352 | 0.097033 | 0.097032 | 0.097033 | 0.99885 | 0.005705 | 0.99915 | 0.0076686 | 46.2062
3 | 2.2116 | 1.0497 | -2.2112 | -1.0494 | 0.00045086 | 0.00022223 | 0.070756 | 0.070757 | 0.070757 | 0.99878 | 0.0063997 | 0.99856 | 0.0049529 | 33.6937
4 | -3.0314 | -1.4455 | 3.0321 | 1.4444 | 0.00071301 | -0.0011411 | 0.097032 | 0.097015 | 0.097032 | 0.99915 | 0.0076686 | 0.99937 | 0.0056923 | 44.1056
5 | 1.6715 | 0.78812 | -1.6714 | -0.7885 | 6.3144e-05 | -0.00037577 | 0.053424 | 0.053429 | 0.053429 | 0.99856 | 0.0049529 | 0.99853 | 0.0052628 | 24.2857
6 | 0.32817 | 0.15889 | -0.32816 | -0.15894 | 8.4873e-06 | -4.5716e-05 | 0.010541 | 0.010541 | 0.010541 | 0.99856 | 0.0049529 | 0.99853 | 0.0047823 | 5.0197
7 | -3.0321 | -1.4444 | 3.0328 | 1.4434 | 0.00064099 | -0.0010268 | 0.097015 | 0.097 | 0.097015 | 0.99937 | 0.0056923 | 0.99957 | 0.00392 | 44.0979
8 | -3.3448 | -1.5945 | 3.3459 | 1.5931 | 0.0011012 | -0.0013925 | 0.10701 | 0.10699 | 0.10701 | 0.99957 | 0.00392 | 0.99987 | 0.0011564 | 48.6422
9 | 1.3429 | 0.62938 | -1.3427 | -0.6317 | 0.00024746 | -0.0023249 | 0.042876 | 0.042905 | 0.042905 | 0.99853 | 0.0052628 | 0.99835 | 0.006759 | 19.5024
10 | -3.532 | -1.6833 | 3.5325 | 1.6827 | 0.00048643 | -0.00053745 | 0.11296 | 0.11295 | 0.11296 | 0.99987 | 0.0011564 | 1 | 0 | 51.3464
11 | 12.2264 | 5.6467 | -12.2247 | -5.6497 | 0.0016555 | -0.003052 | 0.38877 | 0.38882 | 0.38882 | 1 | 0 | 0.99984 | -0.0029159 | 46.1787
12 | -0.35992 | -0.17432 | 0.35992 | 0.17355 | 5.7786e-06 | -0.00076889 | 0.011565 | 0.011555 | 0.011565 | 0.99822 | -0.024498 | 0.99823 | -0.024637 | 5.2568
13 | -0.35992 | -0.17355 | 0.36 | 0.16361 | 7.3799e-05 | -0.0099361 | 0.011555 | 0.011433 | 0.011555 | 0.99823 | -0.024637 | 0.99842 | -0.026291 | 5.2524
14 | -0.66064 | -0.30919 | 0.66071 | 0.30637 | 7.0748e-05 | -0.0028199 | 0.021089 | 0.021055 | 0.021089 | 0.99842 | -0.026291 | 0.99852 | -0.027144 | 9.5861
15 | 0.30064 | 0.14558 | -0.30063 | -0.1456 | 4.2488e-06 | -2.7762e-05 | 0.0096578 | 0.0096582 | 0.0096582 | 0.99842 | -0.026291 | 0.99841 | -0.026384 | 4.5991
16 | 0.23609 | 0.11416 | -0.23609 | -0.11434 | 5.9063e-07 | -0.00018301 | 0.0075814 | 0.0075837 | 0.0075837 | 0.99852 | -0.027144 | 0.99852 | -0.027122 | 3.4472
17 | 9.1062 | 4.2102 | -9.1038 | -4.2197 | 0.0023469 | -0.0094499 | 0.29004 | 0.29018 | 0.29018 | 0.99852 | -0.027144 | 0.99822 | -0.032679 | 34.463
18 | -10.003 | -4.6308 | 10.0038 | 4.6282 | 0.00081773 | -0.002602 | 0.31867 | 0.31863 | 0.31867 | 0.99852 | -0.027144 | 0.99862 | -0.025388 | 37.8471
19 | -10.2997 | -4.7658 | 10.3009 | 4.7622 | 0.0012191 | -0.0035982 | 0.32807 | 0.32801 | 0.32807 | 0.99862 | -0.025388 | 0.99876 | -0.022843 | 38.9627
20 | 0.29589 | 0.13767 | -0.29586 | -0.14241 | 2.3818e-05 | -0.0047364 | 0.0094339 | 0.0094925 | 0.0094925 | 0.99862 | -0.025388 | 0.99854 | -0.024722 | 4.3148
21 | -10.4528 | -4.8358 | 10.4537 | 4.833 | 0.00097437 | -0.0027684 | 0.33289 | 0.33284 | 0.33289 | 0.99876 | -0.022843 | 0.99887 | -0.020839 | 39.5351
22 | 0.29586 | 0.14241 | -0.29586 | -0.14329 | 4.4847e-06 | -0.00088515 | 0.0094925 | 0.0095037 | 0.0095037 | 0.99854 | -0.024722 | 0.99853 | -0.024591 | 4.3199
23 | 0.79572 | 0.38516 | -0.79572 | -0.38538 | 8.2613e-06 | -0.00022278 | 0.025565 | 0.025568 | 0.025568 | 0.99822 | -0.032679 | 0.99821 | -0.032589 | 11.622
24 | 8.3081 | 3.8345 | -8.3046 | -3.8518 | 0.0034505 | -0.017304 | 0.26462 | 0.26487 | 0.26487 | 0.99822 | -0.032679 | 0.99774 | -0.041606 | 31.4567
25 | 8.3046 | 3.8518 | -8.3046 | -3.8521 | 5.3703e-05 | -0.00026885 | 0.26487 | 0.26487 | 0.26487 | 0.99774 | -0.041606 | 0.99773 | -0.041744 | 31.4572
26 | 0.58518 | 0.28308 | -0.58506 | -0.28323 | 0.00012028 | -0.00015137 | 0.018808 | 0.018811 | 0.018811 | 0.99773 | -0.041744 | 0.99751 | -0.043104 | 8.9576
27 | 7.36 | 3.395 | -7.3539 | -3.3869 | 0.0060975 | 0.0080273 | 0.23451 | 0.23452 | 0.23452 | 0.99773 | -0.041744 | 0.99659 | -0.080397 | 28.6003
28 | 0.94944 | 0.42429 | -0.94941 | -0.42487 | 3.0806e-05 | -0.00058042 | 0.030292 | 0.030299 | 0.030299 | 0.99104 | -0.14357 | 0.99101 | -0.14334 | 13.7721
29 | -1.3137 | -0.60072 | 1.3138 | 0.59977 | 9.9164e-05 | -0.00095473 | 0.042078 | 0.042066 | 0.042078 | 0.99104 | -0.14357 | 0.99111 | -0.14414 | 19.1263
30 | 0.94941 | 0.42487 | -0.94873 | -0.43763 | 0.00068138 | -0.01276 | 0.030299 | 0.030455 | 0.030455 | 0.99101 | -0.14334 | 0.99034 | -0.13796 | 13.8432
31 | -1.3138 | -0.59977 | 1.3143 | 0.59558 | 0.00043373 | -0.0041841 | 0.042066 | 0.042014 | 0.042066 | 0.99111 | -0.14414 | 0.99141 | -0.14662 | 19.1209
32 | 0.1815 | 0.087577 | -0.1815 | -0.087903 | 6.423e-07 | -0.00032608 | 0.0058742 | 0.0058784 | 0.0058784 | 0.99034 | -0.13796 | 0.99033 | -0.13793 | 2.672
33 | 0.76723 | 0.35005 | -0.76689 | -0.35986 | 0.00034344 | -0.0098146 | 0.024582 | 0.024703 | 0.024703 | 0.99034 | -0.13796 | 0.98992 | -0.13445 | 11.2288
34 | -1.9674 | -0.88799 | 1.9675 | 0.88748 | 0.00012299 | -0.00051094 | 0.062849 | 0.062843 | 0.062849 | 0.99141 | -0.14662 | 0.99147 | -0.14708 | 28.5679
35 | 0.6531 | 0.2924 | -0.65297 | -0.2976 | 0.00012969 | -0.0051964 | 0.020836 | 0.020898 | 0.020898 | 0.99141 | -0.14662 | 0.99123 | -0.14516 | 9.4993
36 | 2.526 | 1.158 | -2.5252 | -1.1576 | 0.00073027 | 0.00038369 | 0.080832 | 0.080833 | 0.080833 | 0.99238 | -0.14022 | 0.99207 | -0.14252 | 38.4917
37 | -2.526 | -1.158 | 2.5281 | 1.1592 | 0.0021544 | 0.0011316 | 0.080832 | 0.080829 | 0.080832 | 0.99238 | -0.14022 | 0.99328 | -0.13345 | 38.4913
38 | 2.3699 | 1.0824 | -2.3685 | -1.0817 | 0.0013426 | 0.00068701 | 0.075811 | 0.075813 | 0.075813 | 0.99207 | -0.14252 | 0.99147 | -0.14708 | 36.1016
39 | 2.6068 | 1.2097 | -2.6068 | -1.2098 | 4.0306e-05 | -8.9993e-05 | 0.083522 | 0.083523 | 0.083523 | 0.99328 | -0.13345 | 0.99326 | -0.13333 | 37.9649
40 | -5.1349 | -2.3688 | 5.1443 | 2.3512 | 0.0093831 | -0.017617 | 0.16435 | 0.16405 | 0.16435 | 0.99328 | -0.13345 | 0.99528 | -0.11034 | 45.4006
41 | 0.3158 | 0.1529 | -0.31579 | -0.15294 | 7.8801e-06 | -4.4639e-05 | 0.010224 | 0.010224 | 0.010224 | 0.9907 | -0.11419 | 0.99068 | -0.11435 | 4.8687
42 | -0.3158 | -0.1529 | 0.31585 | 0.1526 | 5.3787e-05 | -0.00030492 | 0.010224 | 0.010219 | 0.010224 | 0.9907 | -0.11419 | 0.99088 | -0.11306 | 4.8684
43 | 0.36988 | 0.17904 | -0.36986 | -0.17913 | 2.2094e-05 | -8.7557e-05 | 0.011972 | 0.011973 | 0.011973 | 0.99088 | -0.11306 | 0.99082 | -0.11345 | 5.7015
44 | 0.32287 | 0.1488 | -0.32282 | -0.15588 | 4.3731e-05 | -0.0070849 | 0.010357 | 0.010445 | 0.010445 | 0.99088 | -0.11306 | 0.99075 | -0.11195 | 4.7478
45 | -1.2331 | -0.58722 | 1.2343 | 0.57344 | 0.0012697 | -0.013783 | 0.039789 | 0.039613 | 0.039789 | 0.99088 | -0.11306 | 0.99183 | -0.12145 | 18.0858
46 | 0.22446 | 0.10679 | -0.22446 | -0.10688 | 7.0569e-06 | -8.4089e-05 | 0.0072417 | 0.0072428 | 0.0072428 | 0.99088 | -0.11306 | 0.99085 | -0.11328 | 3.449
47 | 0.39949 | 0.19331 | -0.39948 | -0.19348 | 1.5933e-06 | -0.00016826 | 0.012902 | 0.012905 | 0.012905 | 0.99295 | -0.13286 | 0.99294 | -0.13283 | 5.8657
48 | -0.39949 | -0.19331 | 0.39954 | 0.19312 | 5.6419e-05 | -0.00018864 | 0.012902 | 0.0129 | 0.012902 | 0.99295 | -0.13286 | 0.99309 | -0.13193 | 6.144
49 | -2.2173 | -1.0226 | 2.2177 | 1.0213 | 0.00039927 | -0.0012801 | 0.070977 | 0.07096 | 0.070977 | 0.99309 | -0.13193 | 0.99326 | -0.13333 | 32.2623
50 | 1.8178 | 0.82947 | -1.8153 | -0.84157 | 0.0024643 | -0.012104 | 0.05808 | 0.058236 | 0.058236 | 0.99309 | -0.13193 | 0.99183 | -0.12145 | 26.471
51 | 0.38484 | 0.18629 | -0.38482 | -0.18638 | 2.3224e-05 | -8.3525e-05 | 0.012468 | 0.01247 | 0.01247 | 0.98992 | -0.13445 | 0.98986 | -0.13484 | 5.9379
52 | 0.38204 | 0.17357 | -0.38195 | -0.18408 | 9.0986e-05 | -0.010509 | 0.012237 | 0.012367 | 0.012367 | 0.98992 | -0.13445 | 0.9897 | -0.13253 | 5.6214
53 | 0.38195 | 0.18408 | -0.38194 | -0.18498 | 7.9115e-06 | -0.00090299 | 0.012367 | 0.012379 | 0.012379 | 0.9897 | -0.13253 | 0.98968 | -0.13235 | 5.6266
54 | 0.40216 | 0.17623 | -0.40204 | -0.18822 | 0.0001132 | -0.011994 | 0.012787 | 0.012932 | 0.012932 | 0.99123 | -0.14516 | 0.99097 | -0.14306 | 5.8781
55 | 0.25081 | 0.12137 | -0.25081 | -0.12147 | 3.778e-07 | -0.00010069 | 0.0081147 | 0.008116 | 0.008116 | 0.99123 | -0.14516 | 0.99123 | -0.14514 | 3.6891
56 | 0.20887 | 0.10114 | -0.20887 | -0.10116 | 1.6878e-06 | -2.3243e-05 | 0.0067602 | 0.0067605 | 0.0067605 | 0.99097 | -0.14306 | 0.99096 | -0.14311 | 3.2193
57 | 0.19318 | 0.087087 | -0.19317 | -0.091322 | 9.2701e-06 | -0.0042347 | 0.0061727 | 0.0062245 | 0.0062245 | 0.99097 | -0.14306 | 0.99092 | -0.14269 | 2.8293
58 | 0.30538 | 0.14645 | -0.30537 | -0.1479 | 7.9429e-06 | -0.0014532 | 0.0098232 | 0.0098416 | 0.0098416 | 0.99528 | -0.11034 | 0.99525 | -0.11011 | 4.4734
59 | -5.4497 | -2.4976 | 5.453 | 2.5013 | 0.0033212 | 0.0036497 | 0.17388 | 0.17387 | 0.17388 | 0.99528 | -0.11034 | 0.99604 | -0.090572 | 49.6788
60 | 0.38989 | 0.18868 | -0.38989 | -0.18883 | 1.3934e-06 | -0.00015644 | 0.012554 | 0.012556 | 0.012556 | 0.99604 | -0.090572 | 0.99604 | -0.09054 | 5.7071
61 | 0.90573 | 0.43042 | -0.90557 | -0.43381 | 0.00016399 | -0.0033904 | 0.029064 | 0.029106 | 0.029106 | 0.99604 | -0.090572 | 0.99587 | -0.089046 | 13.2302
62 | -6.7486 | -3.1204 | 6.7505 | 3.1056 | 0.0018426 | -0.014766 | 0.21549 | 0.21529 | 0.21549 | 0.99604 | -0.090572 | 0.99636 | -0.084679 | 25.5923
63 | 0.30235 | 0.14594 | -0.30235 | -0.14643 | 2.6655e-06 | -0.00049789 | 0.0097328 | 0.0097391 | 0.0097391 | 0.99577 | -0.089671 | 0.99577 | -0.089594 | 4.4268
64 | -0.30235 | -0.14594 | 0.30238 | 0.14576 | 2.8217e-05 | -0.0001803 | 0.0097328 | 0.0097303 | 0.0097328 | 0.99577 | -0.089671 | 0.99587 | -0.089046 | 4.6347
65 | 0.37883 | 0.17975 | -0.37882 | -0.18161 | 1.5617e-05 | -0.0018667 | 0.012155 | 0.012178 | 0.012178 | 0.99587 | -0.089046 | 0.99583 | -0.088699 | 5.5355
66 | 0.22436 | 0.10831 | -0.22436 | -0.10866 | 1.0367e-06 | -0.00035207 | 0.0072216 | 0.007226 | 0.007226 | 0.99587 | -0.089046 | 0.99587 | -0.089006 | 3.2846
67 | 0.22446 | 0.10688 | -0.22445 | -0.10871 | 5.4948e-06 | -0.0018317 | 0.0072428 | 0.0072659 | 0.0072659 | 0.99085 | -0.11328 | 0.99082 | -0.11307 | 3.3027
68 | 0.32282 | 0.15588 | -0.32282 | -0.15635 | 2.9276e-06 | -0.00046992 | 0.010445 | 0.010451 | 0.010451 | 0.99075 | -0.11195 | 0.99075 | -0.11187 | 4.7506
69 | 0.26255 | 0.11427 | -0.2625 | -0.12702 | 5.1347e-05 | -0.012755 | 0.008334 | 0.0084892 | 0.0084892 | 0.99183 | -0.12145 | 0.99165 | -0.11994 | 3.8587
70 | 0.3184 | 0.15386 | -0.3184 | -0.15421 | 2.0981e-06 | -0.00034767 | 0.010292 | 0.010297 | 0.010297 | 0.99183 | -0.12145 | 0.99183 | -0.12139 | 4.6804
71 | 0.19317 | 0.091322 | -0.19316 | -0.093552 | 4.9472e-06 | -0.0022308 | 0.0062245 | 0.0062526 | 0.0062526 | 0.99092 | -0.14269 | 0.9909 | -0.14247 | 2.8421
72 | 0.30944 | 0.14973 | -0.30944 | -0.14987 | 7.8478e-07 | -0.0001402 | 0.0099599 | 0.0099617 | 0.0099617 | 0.99636 | -0.084679 | 0.99636 | -0.084657 | 4.528
73 | -7.0599 | -3.2554 | 7.061 | 3.2474 | 0.0010992 | -0.0079767 | 0.22525 | 0.22514 | 0.22525 | 0.99636 | -0.084679 | 0.99654 | -0.081312 | 26.7512
74 | -7.061 | -3.2474 | 7.0613 | 3.2452 | 0.00029805 | -0.0021649 | 0.22514 | 0.22511 | 0.22514 | 0.99654 | -0.081312 | 0.99659 | -0.080397 | 26.7383
75 | 0.1213 | 0.058514 | -0.1213 | -0.058747 | 2.011e-07 | -0.0002338 | 0.003904 | 0.0039069 | 0.0039069 | 0.99583 | -0.088699 | 0.99583 | -0.088685 | 1.7759
76 | 0.25752 | 0.1231 | -0.25752 | -0.12373 | 2.428e-06 | -0.00062769 | 0.0082741 | 0.008282 | 0.008282 | 0.99583 | -0.088699 | 0.99583 | -0.088619 | 3.7645
77 | -0.18923 | -0.091647 | 0.18923 | 0.091132 | 1.0791e-06 | -0.00051541 | 0.006095 | 0.0060885 | 0.006095 | 0.99582 | -0.08857 | 0.99583 | -0.088619 | 2.7704
78 | 0.068288 | 0.032597 | -0.068287 | -0.033073 | 1.2955e-07 | -0.00047616 | 0.0021935 | 0.0021995 | 0.0021995 | 0.99583 | -0.088619 | 0.99582 | -0.088603 | 0.99978
79 | 0.32036 | 0.14527 | -0.32032 | -0.15305 | 4.5546e-05 | -0.0077773 | 0.010166 | 0.010261 | 0.010261 | 0.99887 | -0.020839 | 0.99873 | -0.019708 | 4.6641
80 | -10.7741 | -4.9783 | 10.7819 | 4.9579 | 0.0077758 | -0.020443 | 0.34301 | 0.34267 | 0.34301 | 0.99887 | -0.020839 | 0.99971 | -0.0052559 | 40.7371
81 | 0.2625 | 0.12702 | -0.2625 | -0.12714 | 4.5315e-07 | -0.00011043 | 0.0084892 | 0.0084906 | 0.0084906 | 0.99165 | -0.11994 | 0.99165 | -0.11993 | 3.8594
82 | 0.29397 | 0.14226 | -0.29396 | -0.14236 | 1.5635e-05 | -0.00010688 | 0.0094512 | 0.0094527 | 0.0094527 | 0.99751 | -0.043104 | 0.99745 | -0.043455 | 4.5013
83 | 0.29396 | 0.14236 | -0.29396 | -0.14237 | 1.0243e-06 | -7.0004e-06 | 0.0094527 | 0.0094527 | 0.0094527 | 0.99745 | -0.043455 | 0.99745 | -0.043478 | 4.5013
84 | -12.2241 | -5.6509 | 12.2247 | 5.6497 | 0.00062 | -0.0011423 | 0.38885 | 0.38882 | 0.38885 | 0.99978 | -0.0040073 | 0.99984 | -0.0029159 | 46.1812
85 | 12.0583 | 5.5706 | -12.0576 | -5.5719 | 0.00069927 | -0.0013417 | 0.38353 | 0.38355 | 0.38355 | 0.99978 | -0.0040073 | 0.99971 | -0.0052559 | 45.5522
86 | 1.2757 | 0.61404 | -1.2756 | -0.61493 | 8.5009e-05 | -0.00088362 | 0.040882 | 0.040893 | 0.040893 | 0.99971 | -0.0052559 | 0.99965 | -0.0046823 | 18.5878
87 | 0.95166 | 0.45914 | -0.9516 | -0.4603 | 6.1574e-05 | -0.0011631 | 0.030513 | 0.030528 | 0.030528 | 0.99965 | -0.0046823 | 0.99959 | -0.0041219 | 13.8762
88 | 0.32395 | 0.15579 | -0.32394 | -0.15689 | 6.6557e-06 | -0.0011005 | 0.01038 | 0.010394 | 0.010394 | 0.99965 | -0.0046823 | 0.99963 | -0.0045048 | 4.7246
89 | 0.62603 | 0.30262 | -0.62603 | -0.30272 | 2.2821e-06 | -0.00010045 | 0.020081 | 0.020082 | 0.020082 | 0.99959 | -0.0041219 | 0.99959 | -0.0040903 | 9.1282
90 | 0.32032 | 0.15305 | -0.3203 | -0.15513 | 1.2333e-05 | -0.0020806 | 0.010261 | 0.010287 | 0.010287 | 0.99873 | -0.019708 | 0.9987 | -0.019377 | 4.676
91 | 0.32112 | 0.15504 | -0.32111 | -0.15552 | 2.8462e-06 | -0.00047848 | 0.010298 | 0.010304 | 0.010304 | 0.99959 | -0.0040903 | 0.99958 | -0.0040133 | 4.6837
92 | 0.89523 | 0.41619 | -0.89515 | -0.41794 | 8.1475e-05 | -0.0017566 | 0.028546 | 0.028568 | 0.028568 | 0.99835 | 0.006759 | 0.99827 | 0.0074843 | 12.9854
93 | 0.36025 | 0.1733 | -0.36024 | -0.17334 | 1.0483e-05 | -4.5823e-05 | 0.011559 | 0.01156 | 0.01156 | 0.99835 | 0.006759 | 0.99832 | 0.0065624 | 5.5048
94 | 0.89515 | 0.41794 | -0.89499 | -0.42139 | 0.00016025 | -0.0034463 | 0.028568 | 0.028611 | 0.028611 | 0.99827 | 0.0074843 | 0.9981 | 0.0089327 | 13.0049
95 | 0.24405 | 0.11707 | -0.24405 | -0.11774 | 2.3041e-06 | -0.00066901 | 0.0078268 | 0.0078352 | 0.0078352 | 0.99832 | 0.0065624 | 0.99831 | 0.0066434 | 3.5615
96 | 0.32902 | 0.1579 | -0.32901 | -0.15935 | 9.044e-06 | -0.0014411 | 0.010555 | 0.010573 | 0.010573 | 0.9981 | 0.0089327 | 0.99808 | 0.0091698 | 4.806
97 | 0.56597 | 0.26348 | -0.56593 | -0.26586 | 4.3796e-05 | -0.0023763 | 0.018056 | 0.018085 | 0.018085 | 0.9981 | 0.0089327 | 0.99803 | 0.009555 | 8.2207
98 | -0.15286 | -0.074035 | 0.15286 | 0.073577 | 6.1976e-07 | -0.00045832 | 0.0049114 | 0.0049056 | 0.0049114 | 0.99831 | 0.0066785 | 0.99831 | 0.0066434 | 2.2324
99 | 0.35704 | 0.16965 | -0.35701 | -0.17291 | 2.4088e-05 | -0.0032635 | 0.011434 | 0.011475 | 0.011475 | 0.99803 | 0.009555 | 0.99797 | 0.01013 | 5.2157
100 | 0.20889 | 0.096214 | -0.20888 | -0.10054 | 1.0833e-05 | -0.0043233 | 0.0066521 | 0.0067054 | 0.0067054 | 0.99803 | 0.009555 | 0.99798 | 0.009979 | 3.0479
101 | 0.20888 | 0.10054 | -0.20888 | -0.10116 | 1.5817e-06 | -0.00062539 | 0.0067054 | 0.0067133 | 0.0067133 | 0.99798 | 0.009979 | 0.99797 | 0.010044 | 3.0515

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 15.7729 | 7.3399

## res_load
| p_mw | q_mvar
0 | 0.17299 | 0.083781
1 | 0.32252 | 0.1562
2 | 0.32325 | 0.15656
3 | 0.21148 | 0.10242
4 | 0.31203 | 0.15112
5 | 0.32816 | 0.15894
6 | 0.32854 | 0.15912
7 | 0.18612 | 0.090144
8 | 0.35992 | 0.17432
9 | 0.30063 | 0.1456
10 | 0.15188 | 0.073559
11 | 0.23609 | 0.11434
12 | 0.79572 | 0.38538
13 | 0.35938 | 0.17405
14 | 0.36429 | 0.17643
15 | 0.15534 | 0.075234
16 | 0.31579 | 0.15294
17 | 0.39948 | 0.19348
18 | 0.1815 | 0.087903
19 | 0.38194 | 0.18498
20 | 0.38482 | 0.18638
21 | 0.40105 | 0.19424
22 | 0.25081 | 0.12147
23 | 0.30537 | 0.1479
24 | 0.30235 | 0.14643
25 | 0.38909 | 0.18845
26 | 0.22445 | 0.10871
27 | 0.36986 | 0.17913
28 | 0.19316 | 0.093552
29 | 0.20887 | 0.10116
30 | 0.30944 | 0.14987
31 | 0.38989 | 0.18883
32 | 0.22436 | 0.10866
33 | 0.18923 | 0.091647
34 | 0.1213 | 0.058747
35 | 0.29586 | 0.14329
36 | 0.32282 | 0.15635
37 | 0.3184 | 0.15421
38 | 0.2625 | 0.12714
39 | 0.29261 | 0.14172
40 | 0.29108 | 0.14098
41 | 0.068287 | 0.033073
42 | 0.29396 | 0.14237
43 | 0.16585 | 0.080327
44 | 0.32557 | 0.15768
45 | 0.32394 | 0.15689
46 | 0.3203 | 0.15513
47 | 0.30491 | 0.14768
48 | 0.32111 | 0.15552
49 | 0.087172 | 0.042219
50 | 0.1162 | 0.056276
51 | 0.15286 | 0.074035
52 | 0.091182 | 0.044161
53 | 0.35701 | 0.17291
54 | 0.32901 | 0.15935
55 | 0.20888 | 0.10116

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1