## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_547_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_547_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_547_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_547_0_node_9 | 20 | n |  | TRUE
4 | bus_MV_547_0_node_16 | 20 | n |  | TRUE
5 | bus_MV_547_0_node_76 | 20 | n |  | TRUE
6 | bus_MV_547_0_node_96 | 20 | n |  | TRUE
7 | bus_MV_547_0_node_4 | 20 | n |  | TRUE
8 | bus_MV_547_0_node_8 | 20 | n |  | TRUE
9 | bus_MV_547_0_node_54 | 20 | n |  | TRUE
10 | bus_MV_547_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_547_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_547_0_node_14 | 20 | n |  | TRUE
13 | bus_MV_547_0_node_23 | 20 | n |  | TRUE
14 | bus_MV_547_0_node_6 | 20 | n |  | TRUE
15 | bus_MV_547_0_node_97 | 20 | n |  | TRUE
16 | bus_MV_547_0_node_11 | 20 | n |  | TRUE
17 | bus_MV_547_0_node_70 | 20 | n |  | TRUE
18 | bus_MV_547_0_node_10 | 20 | n |  | TRUE
19 | bus_MV_547_0_node_68 | 20 | n |  | TRUE
20 | bus_MV_547_0_node_88 | 20 | n |  | TRUE
21 | bus_MV_547_0_node_53 | 20 | n |  | TRUE
22 | bus_MV_547_0_node_71 | 20 | n |  | TRUE
23 | bus_MV_547_0_node_13 | 20 | n |  | TRUE
24 | bus_MV_547_0_node_12 | 20 | n |  | TRUE
25 | bus_MV_547_0_node_93 | 20 | n |  | TRUE
26 | bus_MV_547_0_node_94 | 20 | n |  | TRUE
27 | bus_MV_547_0_node_56 | 20 | n |  | TRUE
28 | bus_MV_547_0_node_98 | 20 | n |  | TRUE
29 | bus_MV_547_0_node_15 | 20 | n |  | TRUE
30 | bus_MV_547_0_node_84 | 20 | n |  | TRUE
31 | bus_MV_547_0_node_40 | 20 | n |  | TRUE
32 | bus_MV_547_0_node_80 | 20 | n |  | TRUE
33 | bus_MV_547_0_node_17 | 20 | n |  | TRUE
34 | bus_MV_547_0_node_79 | 20 | n |  | TRUE
35 | bus_MV_547_0_node_81 | 20 | n |  | TRUE
36 | bus_MV_547_0_node_77 | 20 | n |  | TRUE
37 | bus_MV_547_0_node_78 | 20 | n |  | TRUE
38 | bus_MV_547_0_node_75 | 20 | n |  | TRUE
39 | bus_MV_547_0_node_73 | 20 | n |  | TRUE
40 | bus_MV_547_0_node_74 | 20 | n |  | TRUE
41 | bus_MV_547_0_node_69 | 20 | n |  | TRUE
42 | bus_MV_547_0_node_67 | 20 | n |  | TRUE
43 | bus_MV_547_0_node_65 | 20 | n |  | TRUE
44 | bus_MV_547_0_node_55 | 20 | n |  | TRUE
45 | bus_MV_547_0_node_42 | 20 | n |  | TRUE
46 | bus_MV_547_0_node_90 | 20 | n |  | TRUE
47 | bus_MV_547_0_node_47 | 20 | n |  | TRUE
48 | bus_MV_547_0_node_18 | 20 | n |  | TRUE
49 | bus_MV_547_0_node_20 | 20 | n |  | TRUE
50 | bus_MV_547_0_node_22 | 20 | n |  | TRUE
51 | bus_MV_547_0_node_19 | 20 | n |  | TRUE
52 | bus_MV_547_0_node_21 | 20 | n |  | TRUE
53 | bus_MV_547_0_node_83 | 20 | n |  | TRUE
54 | bus_MV_547_0_node_41 | 20 | n |  | TRUE
55 | bus_MV_547_0_node_38 | 20 | n |  | TRUE
56 | bus_MV_547_0_node_24 | 20 | n |  | TRUE
57 | bus_MV_547_0_node_25 | 20 | n |  | TRUE
58 | bus_MV_547_0_node_26 | 20 | n |  | TRUE
59 | bus_MV_547_0_node_28 | 20 | n |  | TRUE
60 | bus_MV_547_0_node_31 | 20 | n |  | TRUE
61 | bus_MV_547_0_node_30 | 20 | n |  | TRUE
62 | bus_MV_547_0_node_27 | 20 | n |  | TRUE
63 | bus_MV_547_0_node_92 | 20 | n |  | TRUE
64 | bus_MV_547_0_node_32 | 20 | n |  | TRUE
65 | bus_MV_547_0_node_60 | 20 | n |  | TRUE
66 | bus_MV_547_0_node_33 | 20 | n |  | TRUE
67 | bus_MV_547_0_node_35 | 20 | n |  | TRUE
68 | bus_MV_547_0_node_61 | 20 | n |  | TRUE
69 | bus_MV_547_0_node_34 | 20 | n |  | TRUE
70 | bus_MV_547_0_node_59 | 20 | n |  | TRUE
71 | bus_MV_547_0_node_57 | 20 | n |  | TRUE
72 | bus_MV_547_0_node_91 | 20 | n |  | TRUE
73 | bus_MV_547_0_node_29 | 20 | n |  | TRUE
74 | bus_MV_547_0_node_39 | 20 | n |  | TRUE
75 | bus_MV_547_0_node_85 | 20 | n |  | TRUE
76 | bus_MV_547_0_node_66 | 20 | n |  | TRUE
77 | bus_MV_547_0_node_48 | 20 | n |  | TRUE
78 | bus_MV_547_0_node_58 | 20 | n |  | TRUE
79 | bus_MV_547_0_node_36 | 20 | n |  | TRUE
80 | bus_MV_547_0_node_37 | 20 | n |  | TRUE
81 | bus_MV_547_0_node_43 | 20 | n |  | TRUE
82 | bus_MV_547_0_node_44 | 20 | n |  | TRUE
83 | bus_MV_547_0_node_45 | 20 | n |  | TRUE
84 | bus_MV_547_0_node_46 | 20 | n |  | TRUE
85 | bus_MV_547_0_node_95 | 20 | n |  | TRUE
86 | bus_MV_547_0_node_82 | 20 | n |  | TRUE
87 | bus_MV_547_0_node_86 | 20 | n |  | TRUE
88 | bus_MV_547_0_node_49 | 20 | n |  | TRUE
89 | bus_MV_547_0_node_62 | 20 | n |  | TRUE
90 | bus_MV_547_0_node_89 | 20 | n |  | TRUE
91 | bus_MV_547_0_node_63 | 20 | n |  | TRUE
92 | bus_MV_547_0_node_64 | 20 | n |  | TRUE
93 | bus_MV_547_0_node_72 | 20 | n |  | TRUE
94 | bus_MV_547_0_node_87 | 20 | n |  | TRUE
95 | bus_HV_547_0_node_22 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_547_0_load_0 | 0 | 0.27523 | 0.1333 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_547_0_load_76 | 5 | 0.13156 | 0.063716 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_547_0_load_96 | 6 | 0.10323 | 0.049997 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_547_0_load_54 | 9 | 0.4036 | 0.19547 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_547_0_load_23 | 13 | 0.3968 | 0.19218 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_547_0_load_97 | 15 | 0.17566 | 0.085077 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_547_0_load_70 | 17 | 0.58078 | 0.28128 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_547_0_load_88 | 20 | 0.097568 | 0.047254 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_547_0_load_53 | 21 | 0.25434 | 0.12318 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_547_0_load_71 | 22 | 0.15579 | 0.075452 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_547_0_load_93 | 25 | 0.19674 | 0.095284 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_547_0_load_94 | 26 | 0.37821 | 0.18318 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_547_0_load_98 | 28 | 0.37606 | 0.18214 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_547_0_load_84 | 30 | 0.30568 | 0.14805 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_547_0_load_40 | 31 | 0.16238 | 0.078643 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_547_0_load_80 | 32 | 0.2568 | 0.12438 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_547_0_load_79 | 34 | 0.082944 | 0.040172 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_547_0_load_81 | 35 | 0.30372 | 0.1471 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_547_0_load_78 | 37 | 0.37869 | 0.18341 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_547_0_load_73 | 39 | 0.69399 | 0.33612 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_547_0_load_69 | 41 | 0.070146 | 0.033973 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_547_0_load_67 | 42 | 0.1527 | 0.073955 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_547_0_load_55 | 44 | 0.38107 | 0.18456 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_547_0_load_47 | 47 | 0.34327 | 0.16625 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_547_0_load_18 | 48 | 0.15655 | 0.075823 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_547_0_load_83 | 53 | 0.12426 | 0.060184 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_547_0_load_41 | 54 | 0.39846 | 0.19298 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_547_0_load_24 | 56 | 0.27419 | 0.1328 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_547_0_load_27 | 62 | 0.45471 | 0.22022 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_547_0_load_92 | 63 | 0.31253 | 0.15137 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_547_0_load_60 | 65 | 0.17074 | 0.082694 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_547_0_load_61 | 68 | 0.47081 | 0.22802 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_547_0_load_59 | 70 | 0.3326 | 0.16108 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_547_0_load_57 | 71 | 0.39485 | 0.19123 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_547_0_load_91 | 72 | 0.90686 | 0.43921 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_547_0_load_39 | 74 | 0.34989 | 0.16946 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_547_0_load_85 | 75 | 0.20274 | 0.098193 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_547_0_load_58 | 78 | 0.21064 | 0.10202 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_547_0_load_36 | 79 | 0.28828 | 0.13962 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_547_0_load_37 | 80 | 0.093588 | 0.045327 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_547_0_load_43 | 81 | 0.16723 | 0.080994 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_547_0_load_95 | 85 | 0.39391 | 0.19078 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_547_0_load_86 | 87 | 0.079164 | 0.038341 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_547_0_load_49 | 88 | 0.40499 | 0.19615 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_547_0_load_62 | 89 | 0.094299 | 0.045671 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_547_0_load_89 | 90 | 0.11509 | 0.055739 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_547_0_load_63 | 91 | 0.90709 | 0.43933 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_547_0_load_87 | 94 | 0.082284 | 0.039852 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_547_0_line_0 |  | 0 | 1 | 0.10425 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_547_0_line_1 |  | 1 | 2 | 0.17937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_547_0_line_2 |  | 1 | 3 | 0.074252 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
3 | MV_547_0_line_3 |  | 1 | 4 | 0.26226 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
4 | MV_547_0_line_4 |  | 1 | 5 | 0.30502 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_547_0_line_5 |  | 2 | 6 | 0.019484 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_547_0_line_6 |  | 3 | 21 | 0.004513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_547_0_line_7 |  | 3 | 7 | 0.31097 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
8 | MV_547_0_line_8 |  | 3 | 14 | 0.42256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_547_0_line_9 |  | 4 | 32 | 0.037523 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
10 | MV_547_0_line_10 |  | 5 | 36 | 0.01261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_547_0_line_11 |  | 7 | 8 | 0.14883 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
12 | MV_547_0_line_12 |  | 7 | 9 | 0.003834 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_547_0_line_13 |  | 8 | 20 | 0.078782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_547_0_line_14 |  | 8 | 10 | 0.2083 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
15 | MV_547_0_line_15 |  | 10 | 11 | 0.17815 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_547_0_line_16 |  | 10 | 12 | 0.096412 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
17 | MV_547_0_line_17 |  | 10 | 13 | 0.005964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_547_0_line_18 |  | 11 | 17 | 0.056879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_547_0_line_19 |  | 11 | 18 | 0.2088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_547_0_line_20 |  | 11 | 19 | 0.031145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_547_0_line_21 |  | 12 | 29 | 0.010427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_547_0_line_22 |  | 12 | 30 | 0.037391 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
23 | MV_547_0_line_23 |  | 14 | 15 | 0.003504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_547_0_line_24 |  | 14 | 16 | 0.3924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_547_0_line_25 |  | 16 | 23 | 0.14596 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_547_0_line_26 |  | 16 | 24 | 0.22108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_547_0_line_27 |  | 16 | 25 | 0.04547 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_547_0_line_28 |  | 18 | 22 | 0.031921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_547_0_line_29 |  | 19 | 41 | 0.027242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_547_0_line_30 |  | 19 | 42 | 0.071797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_547_0_line_31 |  | 22 | 43 | 0.005095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_547_0_line_32 |  | 23 | 27 | 0.40231 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_547_0_line_33 |  | 23 | 28 | 0.003087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_547_0_line_34 |  | 24 | 26 | 0.003125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_547_0_line_35 |  | 27 | 44 | 0.005204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_547_0_line_36 |  | 29 | 31 | 0.03515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_547_0_line_37 |  | 30 | 45 | 0.014638 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
38 | MV_547_0_line_38 |  | 32 | 46 | 0.003041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_547_0_line_39 |  | 32 | 47 | 0.26739 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
40 | MV_547_0_line_40 |  | 33 | 34 | 0.032713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_547_0_line_41 |  | 33 | 35 | 0.028426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_547_0_line_42 |  | 34 | 37 | 0.013025 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_547_0_line_43 |  | 35 | 38 | 0.039527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_547_0_line_44 |  | 36 | 37 | 0.041041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_547_0_line_45 |  | 38 | 40 | 0.063478 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_547_0_line_46 |  | 39 | 40 | 0.029007 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_547_0_line_47 |  | 43 | 76 | 0.22697 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_547_0_line_48 |  | 43 | 93 | 0.01314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_547_0_line_49 |  | 43 | 92 | 0.3021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_547_0_line_50 |  | 45 | 55 | 0.070698 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
51 | MV_547_0_line_51 |  | 46 | 90 | 0.034237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_547_0_line_52 |  | 47 | 84 | 0.065913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_547_0_line_53 |  | 47 | 81 | 0.1825 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_547_0_line_54 |  | 48 | 49 | 0.005422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_547_0_line_55 |  | 49 | 50 | 0.004725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_547_0_line_56 |  | 50 | 53 | 0.026261 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
57 | MV_547_0_line_57 |  | 51 | 52 | 0.050653 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
58 | MV_547_0_line_58 |  | 51 | 53 | 0.032647 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
59 | MV_547_0_line_59 |  | 52 | 54 | 0.011327 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
60 | MV_547_0_line_60 |  | 54 | 55 | 0.023283 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
61 | MV_547_0_line_61 |  | 55 | 80 | 0.023959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_547_0_line_62 |  | 56 | 57 | 0.009536 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_547_0_line_63 |  | 56 | 58 | 0.013872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_547_0_line_64 |  | 57 | 59 | 0.035159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_547_0_line_65 |  | 58 | 60 | 0.041758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_547_0_line_66 |  | 59 | 61 | 0.11633 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_547_0_line_67 |  | 59 | 62 | 0.11787 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_547_0_line_68 |  | 60 | 63 | 0.018439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_547_0_line_69 |  | 60 | 64 | 0.42298 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_547_0_line_70 |  | 61 | 75 | 0.024673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_547_0_line_71 |  | 61 | 73 | 0.090792 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_547_0_line_72 |  | 64 | 65 | 0.012532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_547_0_line_73 |  | 66 | 67 | 0.124 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_547_0_line_74 |  | 66 | 68 | 0.060018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_547_0_line_75 |  | 67 | 72 | 0.095267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_547_0_line_76 |  | 67 | 69 | 0.13481 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_547_0_line_77 |  | 68 | 77 | 0.034513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_547_0_line_78 |  | 69 | 70 | 0.031998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_547_0_line_79 |  | 69 | 71 | 0.026435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_547_0_line_80 |  | 71 | 78 | 0.017362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_547_0_line_81 |  | 73 | 74 | 0.004076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_547_0_line_82 |  | 75 | 76 | 0.023495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_547_0_line_83 |  | 77 | 88 | 0.2167 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_547_0_line_84 |  | 77 | 89 | 0.14692 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_547_0_line_85 |  | 77 | 84 | 0.17714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_547_0_line_86 |  | 79 | 80 | 0.042658 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_547_0_line_87 |  | 81 | 82 | 0.004747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_547_0_line_88 |  | 82 | 83 | 0.061428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_547_0_line_89 |  | 83 | 85 | 0.011547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_547_0_line_90 |  | 83 | 86 | 0.065448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_547_0_line_91 |  | 86 | 87 | 0.032856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_547_0_line_92 |  | 91 | 92 | 0.068487 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_547_0_line_93 |  | 93 | 94 | 0.020926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_547_0_trafo_22 | 25 MVA 110/20 kV | 95 | 50 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2682175.4826 | 1246389.9138
1 | 2682183.5268 | 1246285.9715
2 | 2682288.1742 | 1246330.3881
3 | 2682169.1847 | 1246225.1173
4 | 2682039.0373 | 1246504.8425
5 | 2682048.0899 | 1246559.2741
6 | 2682273.4954 | 1246318.9206
7 | 2682060.4386 | 1246062.3487
8 | 2681972.4875 | 1246047.0437
9 | 2682060.9823 | 1246058.5534
10 | 2681837.9123 | 1246025.7034
11 | 2681910.8552 | 1245955.9926
12 | 2681788.3995 | 1246011.1099
13 | 2681843.7416 | 1246027.0403
14 | 2682336.7521 | 1246097.0917
15 | 2682337.2083 | 1246093.6177
16 | 2682273.4846 | 1245954.4542
17 | 2681922.1555 | 1245900.7416
18 | 2681842.5432 | 1245833.6606
19 | 2681940.0103 | 1245964.2902
20 | 2681987.9561 | 1245969.8198
21 | 2682166.3933 | 1246221.5649
22 | 2681850.5986 | 1245806.0854
23 | 2682246.4552 | 1245867.0378
24 | 2682080.3517 | 1245911.9478
25 | 2682266.4616 | 1245999.3785
26 | 2682077.2775 | 1245911.3381
27 | 2682161.8863 | 1245654.9446
28 | 2682247.8159 | 1245864.2658
29 | 2681790.9266 | 1246003.1834
30 | 2681776.8324 | 1246046.6663
31 | 2681801.9268 | 1245969.7991
32 | 2682001.8247 | 1246499.2349
33 | 2682070.9484 | 1246625.4276
34 | 2682038.6755 | 1246620.0805
35 | 2682066.0241 | 1246653.4234
36 | 2682041.4071 | 1246569.9673
37 | 2682036.0201 | 1246610.5989
38 | 2682059.8519 | 1246692.4564
39 | 2682100.1806 | 1246646.8195
40 | 2682095.2241 | 1246675.4001
41 | 2681934.8045 | 1245991.0235
42 | 2681952.8982 | 1245893.674
43 | 2681853.4542 | 1245801.8658
44 | 2682167.0953 | 1245655.2726
45 | 2681772.3191 | 1246060.5909
46 | 2682001.6014 | 1246502.2674
47 | 2681750.2686 | 1246408.5944
48 | 2681877.2077 | 1246181.0367
49 | 2681878.0297 | 1246175.6775
50 | 2681878.7364 | 1246171.006
51 | 2681820.341 | 1246171.1226
52 | 2681780.249 | 1246146.2516
53 | 2681852.805 | 1246167.6732
54 | 2681770.6337 | 1246140.2636
55 | 2681750.8699 | 1246127.9555
56 | 2681683.7746 | 1245822.3753
57 | 2681693.3354 | 1245822.1623
58 | 2681689.2093 | 1245809.6075
59 | 2681715.4827 | 1245832.9863
60 | 2681653.5244 | 1245807.3923
61 | 2681793.859 | 1245847.6105
62 | 2681652.3041 | 1245932.4861
63 | 2681645.2394 | 1245791.2332
64 | 2681702.4708 | 1245703.1459
65 | 2681714.9752 | 1245702.3177
66 | 2681607.637 | 1246379.3889
67 | 2681588.856 | 1246284.4057
68 | 2681642.6818 | 1246424.1792
69 | 2681657.7027 | 1246305.9354
70 | 2681640.2176 | 1246287.9212
71 | 2681684.0694 | 1246306.6954
72 | 2681633.705 | 1246202.4852
73 | 2681824.2124 | 1245907.0724
74 | 2681821.5704 | 1245910.1826
75 | 2681803.7557 | 1245825.0095
76 | 2681814.9168 | 1245805.9705
77 | 2681653.6257 | 1246453.8205
78 | 2681685.5803 | 1246289.3994
79 | 2681717.8791 | 1246074.5954
80 | 2681731.4725 | 1246113.9447
81 | 2681798.8155 | 1246584.5164
82 | 2681799.4758 | 1246589.2178
83 | 2681810.7273 | 1246643.7573
84 | 2681692.2509 | 1246418.3598
85 | 2681807.0242 | 1246654.2583
86 | 2681856.211 | 1246651.0346
87 | 2681852.2441 | 1246618.948
88 | 2681680.239 | 1246668.8773
89 | 2681581.3214 | 1246581.722
90 | 2681996.4935 | 1246536.1209
91 | 2681949.7196 | 1245748.4112
92 | 2681937.3259 | 1245815.7671
93 | 2681866.2419 | 1245804.8889
94 | 2681886.1276 | 1245811.2504
95 | 2681878.7364 | 1246171.006

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99748 | -0.047948 | 0.27523 | 0.1333
1 | 0.99753 | -0.047599 | 0 | 0
2 | 0.99751 | -0.047407 | 0 | 0
3 | 0.99763 | -0.045836 | 0 | 0
4 | 0.99698 | -0.065775 | 0 | 0
5 | 0.99659 | -0.053666 | 0.13156 | 0.063716
6 | 0.99751 | -0.047383 | 0.10323 | 0.049997
7 | 0.99817 | -0.036222 | 0 | 0
8 | 0.99845 | -0.031374 | 0 | 0
9 | 0.99817 | -0.036204 | 0.4036 | 0.19547
10 | 0.99883 | -0.024486 | 0 | 0
11 | 0.99799 | -0.017109 | 0 | 0
12 | 0.99909 | -0.019738 | 0 | 0
13 | 0.99883 | -0.024458 | 0.3968 | 0.19218
14 | 0.99683 | -0.039064 | 0 | 0
15 | 0.99682 | -0.039056 | 0.17566 | 0.085077
16 | 0.99616 | -0.03335 | 0 | 0
17 | 0.99795 | -0.016715 | 0.58078 | 0.28128
18 | 0.99722 | -0.010346 | 0 | 0
19 | 0.99798 | -0.017032 | 0 | 0
20 | 0.99844 | -0.031286 | 0.097568 | 0.047254
21 | 0.99763 | -0.045822 | 0.25434 | 0.12318
22 | 0.9971 | -0.0093051 | 0.15579 | 0.075452
23 | 0.99602 | -0.032125 | 0 | 0
24 | 0.99605 | -0.03238 | 0 | 0
25 | 0.99614 | -0.033459 | 0.19674 | 0.095284
26 | 0.99605 | -0.032366 | 0.37821 | 0.18318
27 | 0.99583 | -0.030402 | 0 | 0
28 | 0.99602 | -0.032111 | 0.37606 | 0.18214
29 | 0.99909 | -0.019718 | 0 | 0
30 | 0.9992 | -0.017872 | 0.30568 | 0.14805
31 | 0.99908 | -0.019651 | 0.16238 | 0.078643
32 | 0.9969 | -0.066677 | 0.2568 | 0.12438
33 | 0.99643 | -0.052192 | 0 | 0
34 | 0.99648 | -0.052577 | 0.082944 | 0.040172
35 | 0.9964 | -0.051857 | 0.30372 | 0.1471
36 | 0.99657 | -0.05345 | 0 | 0
37 | 0.99649 | -0.052742 | 0.37869 | 0.18341
38 | 0.99636 | -0.051533 | 0 | 0
39 | 0.99628 | -0.050766 | 0.69399 | 0.33612
40 | 0.99631 | -0.051008 | 0 | 0
41 | 0.99798 | -0.017009 | 0.070146 | 0.033973
42 | 0.99797 | -0.016904 | 0.1527 | 0.073955
43 | 0.99708 | -0.0091483 | 0 | 0
44 | 0.99582 | -0.030378 | 0.38107 | 0.18456
45 | 0.99924 | -0.017124 | 0 | 0
46 | 0.9969 | -0.066673 | 0 | 0
47 | 0.99569 | -0.09657 | 0.34327 | 0.16625
48 | 1 | 1.8927e-05 | 0.15655 | 0.075823
49 | 1 | 8.7939e-06 | 0 | 0
50 | 1 | 0 | -14.1009 | -6.6312
51 | 0.9997 | -0.0089358 | 0 | 0
52 | 0.99954 | -0.011676 | 0 | 0
53 | 0.99992 | -0.0014325 | 0.12426 | 0.060184
54 | 0.99951 | -0.012289 | 0.39846 | 0.19298
55 | 0.99944 | -0.013513 | 0 | 0
56 | 0.99624 | -0.0018468 | 0.27419 | 0.1328
57 | 0.99625 | -0.0019264 | 0 | 0
58 | 0.99624 | -0.0017766 | 0 | 0
59 | 0.99629 | -0.0022187 | 0 | 0
60 | 0.99621 | -0.0015635 | 0 | 0
61 | 0.99647 | -0.0037888 | 0 | 0
62 | 0.99622 | -0.0015832 | 0.45471 | 0.22022
63 | 0.9962 | -0.0014943 | 0.31253 | 0.15137
64 | 0.99612 | -0.00083701 | 0 | 0
65 | 0.99612 | -0.00081133 | 0.17074 | 0.082694
66 | 0.99457 | -0.086314 | 0 | 0
67 | 0.99428 | -0.083616 | 0 | 0
68 | 0.99471 | -0.087611 | 0.47081 | 0.22802
69 | 0.99412 | -0.082114 | 0 | 0
70 | 0.9941 | -0.081986 | 0.3326 | 0.16108
71 | 0.9941 | -0.081922 | 0.39485 | 0.19123
72 | 0.99417 | -0.082577 | 0.90686 | 0.43921
73 | 0.99643 | -0.0034129 | 0 | 0
74 | 0.99643 | -0.0033957 | 0.34989 | 0.16946
75 | 0.99652 | -0.0042196 | 0.20274 | 0.098193
76 | 0.99657 | -0.0046862 | 0 | 0
77 | 0.99481 | -0.088551 | 0 | 0
78 | 0.99409 | -0.081878 | 0.21064 | 0.10202
79 | 0.99941 | -0.013259 | 0.28828 | 0.13962
80 | 0.99943 | -0.013405 | 0.093588 | 0.045327
81 | 0.99546 | -0.098062 | 0.16723 | 0.080994
82 | 0.99546 | -0.098036 | 0 | 0
83 | 0.99542 | -0.097698 | 0 | 0
84 | 0.99545 | -0.094406 | 0 | 0
85 | 0.99542 | -0.097643 | 0.39391 | 0.19078
86 | 0.99541 | -0.097642 | 0 | 0
87 | 0.99541 | -0.097611 | 0.079164 | 0.038341
88 | 0.99464 | -0.089625 | 0.40499 | 0.19615
89 | 0.99479 | -0.088721 | 0.094299 | 0.045671
90 | 0.99689 | -0.066626 | 0.11509 | 0.055739
91 | 0.99665 | -0.0052058 | 0.90709 | 0.43933
92 | 0.99673 | -0.0059504 | 0 | 0
93 | 0.99708 | -0.0091359 | 0 | 0
94 | 0.99708 | -0.0091155 | 0.082284 | 0.039852
95 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.27523 | -0.1333 | 0.27525 | 0.13319 | 1.4547e-05 | -0.00011473 | 0.0088505 | 0.0088489 | 0.0088505 | 0.99748 | -0.047948 | 0.99753 | -0.047599 | 4.2145
1 | 0.10323 | 0.045273 | -0.10323 | -0.049534 | 2.5878e-06 | -0.0042608 | 0.0032621 | 0.0033136 | 0.0033136 | 0.99753 | -0.047599 | 0.99751 | -0.047407 | 1.5062
2 | -6.1516 | -2.9454 | 6.1522 | 2.9403 | 0.00052916 | -0.0051599 | 0.19738 | 0.1973 | 0.19738 | 0.99753 | -0.047599 | 0.99763 | -0.045836 | 23.4412
3 | 4.1805 | 2.002 | -4.1788 | -2.0002 | 0.0016818 | 0.0017598 | 0.13414 | 0.13414 | 0.13414 | 0.99753 | -0.047599 | 0.99698 | -0.065775 | 16.359
4 | 1.5927 | 0.76498 | -1.5913 | -0.76445 | 0.0014209 | 0.00052802 | 0.051131 | 0.051136 | 0.051136 | 0.99753 | -0.047599 | 0.99659 | -0.053666 | 24.3503
5 | 0.10323 | 0.049534 | -0.10323 | -0.049997 | 2.861e-07 | -0.0004628 | 0.0033136 | 0.0033194 | 0.0033194 | 0.99751 | -0.047407 | 0.99751 | -0.047383 | 1.5088
6 | 0.25434 | 0.12308 | -0.25434 | -0.12318 | 4.0282e-07 | -0.00010712 | 0.0081759 | 0.0081773 | 0.0081773 | 0.99763 | -0.045836 | 0.99763 | -0.045822 | 3.717
7 | -7.9168 | -3.7563 | 7.9204 | 3.736 | 0.0036545 | -0.020305 | 0.25356 | 0.25326 | 0.25356 | 0.99763 | -0.045836 | 0.99817 | -0.036222 | 30.1137
8 | 1.5102 | 0.69301 | -1.5089 | -0.70266 | 0.0013074 | -0.0096453 | 0.048082 | 0.048204 | 0.048204 | 0.99763 | -0.045836 | 0.99683 | -0.039064 | 21.9107
9 | 4.1788 | 2.0002 | -4.1785 | -2.0013 | 0.00032616 | -0.0010424 | 0.13414 | 0.13416 | 0.13416 | 0.99698 | -0.065775 | 0.9969 | -0.066677 | 37.0607
10 | 1.4597 | 0.70074 | -1.4597 | -0.70103 | 3.7033e-05 | -0.00028803 | 0.046902 | 0.046905 | 0.046905 | 0.99659 | -0.053666 | 0.99657 | -0.05345 | 21.3206
11 | -8.324 | -3.9314 | 8.3259 | 3.9219 | 0.0019295 | -0.0095617 | 0.26623 | 0.26609 | 0.26623 | 0.99817 | -0.036222 | 0.99845 | -0.031374 | 31.619
12 | 0.4036 | 0.19538 | -0.4036 | -0.19547 | 8.6086e-07 | -9.0952e-05 | 0.012968 | 0.012969 | 0.012969 | 0.99817 | -0.036222 | 0.99817 | -0.036204 | 5.8951
13 | 0.097569 | 0.045379 | -0.097568 | -0.047254 | 1.0256e-06 | -0.0018748 | 0.0031111 | 0.0031344 | 0.0031344 | 0.99845 | -0.031374 | 0.99844 | -0.031286 | 1.4247
14 | -8.4235 | -3.9672 | 8.4263 | 3.9539 | 0.0027605 | -0.013337 | 0.2692 | 0.26901 | 0.2692 | 0.99845 | -0.031374 | 0.99883 | -0.024486 | 31.9719
15 | 3.7218 | 1.7494 | -3.7184 | -1.7527 | 0.0033612 | -0.003243 | 0.11885 | 0.11891 | 0.11891 | 0.99883 | -0.024486 | 0.99799 | -0.017109 | 54.0483
16 | -12.5448 | -5.8953 | 12.5477 | 5.8906 | 0.0028308 | -0.0047521 | 0.4006 | 0.40051 | 0.4006 | 0.99883 | -0.024486 | 0.99909 | -0.019738 | 47.5774
17 | 0.3968 | 0.19204 | -0.3968 | -0.19218 | 1.2925e-06 | -0.00014168 | 0.01274 | 0.012742 | 0.012742 | 0.99883 | -0.024486 | 0.99883 | -0.024458 | 5.7919
18 | 0.58081 | 0.27994 | -0.58078 | -0.28128 | 2.6435e-05 | -0.0013447 | 0.01865 | 0.018667 | 0.018667 | 0.99799 | -0.017109 | 0.99795 | -0.016715 | 8.4849
19 | 2.9147 | 1.3679 | -2.9123 | -1.3721 | 0.0024194 | -0.0042437 | 0.093134 | 0.093195 | 0.093195 | 0.99799 | -0.017109 | 0.99722 | -0.010346 | 42.3612
20 | 0.22285 | 0.10483 | -0.22285 | -0.10557 | 2.1127e-06 | -0.00074 | 0.0071237 | 0.0071329 | 0.0071329 | 0.99799 | -0.017109 | 0.99798 | -0.017032 | 3.2422
21 | 0.16238 | 0.077557 | -0.16238 | -0.077805 | 3.7657e-07 | -0.0002484 | 0.0051994 | 0.0052025 | 0.0052025 | 0.99909 | -0.019738 | 0.99909 | -0.019718 | 2.3648
22 | -12.71 | -5.9681 | 12.7112 | 5.9663 | 0.0011262 | -0.001818 | 0.40571 | 0.40568 | 0.40571 | 0.99909 | -0.019738 | 0.9992 | -0.017872 | 48.1842
23 | 0.17566 | 0.084994 | -0.17566 | -0.085077 | 1.4944e-07 | -8.3087e-05 | 0.0056512 | 0.0056523 | 0.0056523 | 0.99683 | -0.039064 | 0.99682 | -0.039056 | 2.5692
24 | 1.3333 | 0.61766 | -1.3323 | -0.62668 | 0.00095112 | -0.0090214 | 0.042553 | 0.042667 | 0.042667 | 0.99683 | -0.039064 | 0.99616 | -0.03335 | 19.3941
25 | 0.75733 | 0.35357 | -0.75721 | -0.357 | 0.00011451 | -0.0034239 | 0.02422 | 0.024263 | 0.024263 | 0.99616 | -0.03335 | 0.99602 | -0.032125 | 11.0286
26 | 0.37826 | 0.17788 | -0.37822 | -0.1831 | 4.3537e-05 | -0.0052246 | 0.012113 | 0.012178 | 0.012178 | 0.99616 | -0.03335 | 0.99605 | -0.03238 | 5.5356
27 | 0.19674 | 0.095232 | -0.19674 | -0.095284 | 3.2507e-06 | -5.1829e-05 | 0.0063341 | 0.0063348 | 0.0063348 | 0.99616 | -0.03335 | 0.99614 | -0.033459 | 3.0166
28 | 2.9123 | 1.3721 | -2.912 | -1.3728 | 0.00037015 | -0.00064802 | 0.093195 | 0.093204 | 0.093204 | 0.99722 | -0.010346 | 0.9971 | -0.0093051 | 42.3655
29 | 0.070146 | 0.033325 | -0.070146 | -0.033973 | 1.8418e-07 | -0.00064775 | 0.0022464 | 0.0022545 | 0.0022545 | 0.99798 | -0.017032 | 0.99798 | -0.017009 | 1.0248
30 | 0.1527 | 0.072249 | -0.1527 | -0.073955 | 2.2986e-06 | -0.0017066 | 0.0048865 | 0.0049078 | 0.0049078 | 0.99798 | -0.017032 | 0.99797 | -0.016904 | 2.2308
31 | 2.7562 | 1.2973 | -2.7561 | -1.2974 | 5.2906e-05 | -0.00010525 | 0.088193 | 0.088194 | 0.088194 | 0.9971 | -0.0093051 | 0.99708 | -0.0091483 | 40.0883
32 | 0.38115 | 0.17493 | -0.38107 | -0.18444 | 8.0111e-05 | -0.0095037 | 0.012155 | 0.012273 | 0.012273 | 0.99602 | -0.032125 | 0.99583 | -0.030402 | 5.5784
33 | 0.37606 | 0.18206 | -0.37606 | -0.18214 | 6.0437e-07 | -7.2941e-05 | 0.012109 | 0.01211 | 0.01211 | 0.99602 | -0.032125 | 0.99602 | -0.032111 | 5.5047
34 | 0.37822 | 0.1831 | -0.37821 | -0.18318 | 6.1882e-07 | -7.3842e-05 | 0.012178 | 0.012179 | 0.012179 | 0.99605 | -0.03238 | 0.99605 | -0.032366 | 5.5361
35 | 0.38107 | 0.18444 | -0.38107 | -0.18456 | 1.0465e-06 | -0.00012291 | 0.012273 | 0.012274 | 0.012274 | 0.99583 | -0.030402 | 0.99582 | -0.030378 | 5.5791
36 | 0.16238 | 0.077805 | -0.16238 | -0.078643 | 1.2726e-06 | -0.00083734 | 0.0052025 | 0.005213 | 0.005213 | 0.99909 | -0.019718 | 0.99908 | -0.019651 | 2.3695
37 | -13.0168 | -6.1144 | 13.0173 | 6.1137 | 0.00046241 | -0.00069212 | 0.41549 | 0.41547 | 0.41549 | 0.9992 | -0.017872 | 0.99924 | -0.017124 | 49.3454
38 | 0.11509 | 0.054855 | -0.11509 | -0.054927 | 5.5285e-08 | -7.2141e-05 | 0.0036919 | 0.0036928 | 0.0036928 | 0.9969 | -0.066677 | 0.9969 | -0.066673 | 1.6785
39 | 3.8066 | 1.822 | -3.8029 | -1.8182 | 0.0036659 | 0.0038595 | 0.12221 | 0.12221 | 0.12221 | 0.9969 | -0.066677 | 0.99569 | -0.09657 | 34.9169
40 | -0.99784 | -0.47945 | 0.99789 | 0.47869 | 4.4908e-05 | -0.00076221 | 0.032072 | 0.032062 | 0.032072 | 0.99643 | -0.052192 | 0.99648 | -0.052577 | 14.5783
41 | 0.99784 | 0.47945 | -0.9978 | -0.48011 | 3.9045e-05 | -0.00066225 | 0.032072 | 0.032081 | 0.032081 | 0.99643 | -0.052192 | 0.9964 | -0.051857 | 14.5821
42 | -1.0808 | -0.51886 | 1.0809 | 0.51856 | 2.0974e-05 | -0.00030258 | 0.034732 | 0.034728 | 0.034732 | 0.99648 | -0.052577 | 0.99649 | -0.052742 | 15.7874
43 | 0.69408 | 0.33301 | -0.69405 | -0.33394 | 2.6264e-05 | -0.00092915 | 0.022304 | 0.022315 | 0.022315 | 0.9964 | -0.051857 | 0.99636 | -0.051533 | 10.1433
44 | 1.4597 | 0.70103 | -1.4595 | -0.70196 | 0.00012057 | -0.00093735 | 0.046905 | 0.046917 | 0.046917 | 0.99657 | -0.05345 | 0.99649 | -0.052742 | 21.3261
45 | 0.69405 | 0.33394 | -0.69401 | -0.33543 | 4.2236e-05 | -0.001492 | 0.022315 | 0.022334 | 0.022334 | 0.99636 | -0.051533 | 0.99631 | -0.051008 | 10.1519
46 | -0.69399 | -0.33612 | 0.69401 | 0.33543 | 1.9324e-05 | -0.00068173 | 0.022343 | 0.022334 | 0.022343 | 0.99628 | -0.050766 | 0.99631 | -0.051008 | 10.1559
47 | 1.7663 | 0.82772 | -1.7653 | -0.83282 | 0.00096753 | -0.0050977 | 0.056475 | 0.056541 | 0.056541 | 0.99708 | -0.0091483 | 0.99657 | -0.0046862 | 25.7006
48 | 0.082285 | 0.039044 | -0.082284 | -0.039355 | 1.2216e-07 | -0.00031187 | 0.0026369 | 0.0026408 | 0.0026408 | 0.99708 | -0.0091483 | 0.99708 | -0.0091359 | 1.2004
49 | 0.90751 | 0.43066 | -0.90717 | -0.43772 | 0.00034216 | -0.0070668 | 0.029083 | 0.029172 | 0.029172 | 0.99708 | -0.0091483 | 0.99673 | -0.0059504 | 13.2602
50 | -13.0173 | -6.1137 | 13.0195 | 6.1103 | 0.0022329 | -0.0033445 | 0.41547 | 0.41541 | 0.41547 | 0.99924 | -0.017124 | 0.99944 | -0.013513 | 49.3437
51 | 0.11509 | 0.054927 | -0.11509 | -0.055739 | 6.2498e-07 | -0.00081218 | 0.0036928 | 0.0037029 | 0.0037029 | 0.9969 | -0.066673 | 0.99689 | -0.066626 | 1.6832
52 | 2.8192 | 1.3461 | -2.8185 | -1.3474 | 0.00072204 | -0.0013457 | 0.090575 | 0.090594 | 0.090594 | 0.99569 | -0.09657 | 0.99545 | -0.094406 | 41.1791
53 | 0.64046 | 0.30582 | -0.64032 | -0.30595 | 0.00013769 | -0.0001297 | 0.020577 | 0.02058 | 0.02058 | 0.99569 | -0.09657 | 0.99546 | -0.098062 | 9.7998
54 | -0.15655 | -0.075823 | 0.15655 | 0.075693 | 1.8246e-07 | -0.0001294 | 0.0050215 | 0.0050199 | 0.0050215 | 1 | 1.8927e-05 | 1 | 8.7939e-06 | 2.2825
55 | -0.15655 | -0.075693 | 0.15656 | 0.075581 | 1.5889e-07 | -0.00011277 | 0.0050199 | 0.0050185 | 0.0050199 | 1 | 8.7939e-06 | 1 | 0 | 2.2818
56 | 13.9303 | 6.5451 | -13.9294 | -6.5463 | 0.00094875 | -0.0011353 | 0.44431 | 0.44433 | 0.44433 | 1 | 0 | 0.99992 | -0.0014325 | 52.7712
57 | 13.8029 | 6.4829 | -13.8011 | -6.4851 | 0.0017976 | -0.0022168 | 0.44035 | 0.4404 | 0.4404 | 0.9997 | -0.0089358 | 0.99954 | -0.011676 | 52.3036
58 | -13.8029 | -6.4829 | 13.8051 | 6.4861 | 0.0022562 | 0.003182 | 0.44035 | 0.44035 | 0.44035 | 0.9997 | -0.0089358 | 0.99992 | -0.0014325 | 53.7011
59 | 13.8011 | 6.4851 | -13.8007 | -6.4856 | 0.00040205 | -0.00049554 | 0.4404 | 0.44041 | 0.44041 | 0.99954 | -0.011676 | 0.99951 | -0.012289 | 52.3049
60 | 13.4022 | 6.2926 | -13.4014 | -6.2937 | 0.00077917 | -0.0010617 | 0.42762 | 0.42764 | 0.42764 | 0.99951 | -0.012289 | 0.99944 | -0.013513 | 50.789
61 | 0.38188 | 0.18336 | -0.38187 | -0.18393 | 4.7914e-06 | -0.00056999 | 0.012236 | 0.012243 | 0.012243 | 0.99944 | -0.013513 | 0.99943 | -0.013405 | 5.5649
62 | -0.7575 | -0.35479 | 0.75751 | 0.35457 | 7.478e-06 | -0.00022376 | 0.024238 | 0.024235 | 0.024238 | 0.99624 | -0.0018468 | 0.99625 | -0.0019264 | 11.0172
63 | 0.48331 | 0.222 | -0.4833 | -0.22232 | 4.3995e-06 | -0.00032742 | 0.015411 | 0.015415 | 0.015415 | 0.99624 | -0.0018468 | 0.99624 | -0.0017766 | 7.0069
64 | -0.75751 | -0.35457 | 0.75753 | 0.35374 | 2.7557e-05 | -0.00082505 | 0.024235 | 0.024225 | 0.024235 | 0.99625 | -0.0019264 | 0.99629 | -0.0022187 | 11.0159
65 | 0.4833 | 0.22232 | -0.48329 | -0.22331 | 1.3257e-05 | -0.00098558 | 0.015415 | 0.015427 | 0.015427 | 0.99624 | -0.0017766 | 0.99621 | -0.0015635 | 7.0124
66 | -1.2123 | -0.57118 | 1.2125 | 0.5685 | 0.00023395 | -0.0026881 | 0.038829 | 0.038795 | 0.038829 | 0.99629 | -0.0022187 | 0.99647 | -0.0037888 | 17.6497
67 | 0.45474 | 0.21744 | -0.45471 | -0.22022 | 3.3646e-05 | -0.0027833 | 0.014605 | 0.01464 | 0.01464 | 0.99629 | -0.0022187 | 0.99622 | -0.0015832 | 6.6546
68 | 0.31253 | 0.15093 | -0.31253 | -0.15137 | 2.4912e-06 | -0.00043618 | 0.010057 | 0.010063 | 0.010063 | 0.99621 | -0.0015635 | 0.9962 | -0.0014943 | 4.5739
69 | 0.17076 | 0.07238 | -0.17074 | -0.082397 | 1.6666e-05 | -0.010017 | 0.0053743 | 0.0054942 | 0.0054942 | 0.99621 | -0.0015635 | 0.99612 | -0.00083701 | 2.4973
70 | -1.5624 | -0.73571 | 1.5625 | 0.73515 | 8.2433e-05 | -0.00056051 | 0.05003 | 0.050023 | 0.05003 | 0.99647 | -0.0037888 | 0.99652 | -0.0042196 | 22.7409
71 | 0.34991 | 0.16722 | -0.3499 | -0.16937 | 1.5336e-05 | -0.0021478 | 0.011235 | 0.011262 | 0.011262 | 0.99647 | -0.0037888 | 0.99643 | -0.0034129 | 5.1191
72 | 0.17074 | 0.082397 | -0.17074 | -0.082694 | 5.0534e-07 | -0.00029674 | 0.0054942 | 0.0054979 | 0.0054979 | 0.99612 | -0.00083701 | 0.99612 | -0.00081133 | 2.499
73 | 1.8458 | 0.88366 | -1.8452 | -0.88641 | 0.00058439 | -0.0027542 | 0.059398 | 0.059435 | 0.059435 | 0.99457 | -0.086314 | 0.99428 | -0.083616 | 27.0158
74 | -1.8458 | -0.88366 | 1.8461 | 0.88233 | 0.0002826 | -0.0013339 | 0.059398 | 0.05938 | 0.059398 | 0.99457 | -0.086314 | 0.99471 | -0.087611 | 26.9991
75 | 0.90697 | 0.43699 | -0.90686 | -0.43921 | 0.00010877 | -0.0022161 | 0.02923 | 0.029258 | 0.029258 | 0.99428 | -0.083616 | 0.99417 | -0.082577 | 13.2991
76 | 0.93827 | 0.44942 | -0.93811 | -0.45255 | 0.00016442 | -0.0031328 | 0.030205 | 0.030245 | 0.030245 | 0.99428 | -0.083616 | 0.99412 | -0.082114 | 13.7478
77 | -2.3169 | -1.1104 | 2.3172 | 1.1096 | 0.00025611 | -0.00073945 | 0.074562 | 0.074551 | 0.074562 | 0.99471 | -0.087611 | 0.99481 | -0.088551 | 33.8917
78 | 0.3326 | 0.16033 | -0.3326 | -0.16108 | 4.9151e-06 | -0.00075357 | 0.010722 | 0.010731 | 0.010731 | 0.99412 | -0.082114 | 0.9941 | -0.081986 | 4.8779
79 | 0.6055 | 0.29222 | -0.60549 | -0.29284 | 1.3457e-05 | -0.00061976 | 0.019523 | 0.019531 | 0.019531 | 0.99412 | -0.082114 | 0.9941 | -0.081922 | 8.8778
80 | 0.21064 | 0.10161 | -0.21064 | -0.10202 | 1.0698e-06 | -0.00040933 | 0.0067913 | 0.0067964 | 0.0067964 | 0.9941 | -0.081922 | 0.99409 | -0.081878 | 3.0893
81 | 0.3499 | 0.16937 | -0.34989 | -0.16946 | 6.9025e-07 | -9.642e-05 | 0.011262 | 0.011263 | 0.011263 | 0.99643 | -0.0034129 | 0.99643 | -0.0033957 | 5.1196
82 | -1.7652 | -0.83335 | 1.7653 | 0.83282 | 0.00010029 | -0.00052735 | 0.056548 | 0.056541 | 0.056548 | 0.99652 | -0.0042196 | 0.99657 | -0.0046862 | 25.7037
83 | 0.40506 | 0.19593 | -0.40499 | -0.19615 | 6.5837e-05 | -0.00021474 | 0.013057 | 0.01306 | 0.01306 | 0.99481 | -0.088551 | 0.99464 | -0.089625 | 6.2191
84 | 0.094301 | 0.045499 | -0.094299 | -0.045671 | 2.4183e-06 | -0.00017206 | 0.0030383 | 0.0030405 | 0.0030405 | 0.99481 | -0.088551 | 0.99479 | -0.088721 | 1.4479
85 | -2.8165 | -1.351 | 2.8185 | 1.3474 | 0.001942 | -0.0036124 | 0.090646 | 0.090594 | 0.090646 | 0.99481 | -0.088551 | 0.99545 | -0.094406 | 41.2029
86 | -0.28828 | -0.13962 | 0.28828 | 0.1386 | 4.868e-06 | -0.0010159 | 0.009252 | 0.0092392 | 0.009252 | 0.99941 | -0.013259 | 0.99943 | -0.013405 | 4.2054
87 | 0.47309 | 0.22496 | -0.47309 | -0.22507 | 1.4626e-06 | -0.00011188 | 0.015191 | 0.015193 | 0.015193 | 0.99546 | -0.098062 | 0.99546 | -0.098036 | 6.9058
88 | 0.47309 | 0.22507 | -0.47307 | -0.22652 | 1.8951e-05 | -0.0014477 | 0.015193 | 0.015211 | 0.015211 | 0.99546 | -0.098036 | 0.99542 | -0.097698 | 6.914
89 | 0.39391 | 0.1905 | -0.39391 | -0.19078 | 2.4828e-06 | -0.00027244 | 0.012689 | 0.012693 | 0.012693 | 0.99542 | -0.097698 | 0.99542 | -0.097643 | 5.7694
90 | 0.079165 | 0.036015 | -0.079164 | -0.037564 | 5.5997e-07 | -0.0015482 | 0.0025222 | 0.0025411 | 0.0025411 | 0.99542 | -0.097698 | 0.99541 | -0.097642 | 1.1551
91 | 0.079164 | 0.037564 | -0.079164 | -0.038341 | 2.8432e-07 | -0.00077721 | 0.0025411 | 0.0025509 | 0.0025509 | 0.99541 | -0.097642 | 0.99541 | -0.097611 | 1.1595
92 | -0.90709 | -0.43933 | 0.90717 | 0.43772 | 7.7864e-05 | -0.0016013 | 0.029193 | 0.029172 | 0.029193 | 0.99665 | -0.0052058 | 0.99673 | -0.0059504 | 13.2695
93 | 0.082284 | 0.039355 | -0.082284 | -0.039852 | 1.9528e-07 | -0.00049667 | 0.0026408 | 0.002647 | 0.002647 | 0.99708 | -0.0091359 | 0.99708 | -0.0091155 | 1.2032

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.1009 | 6.6312

## res_load
| p_mw | q_mvar
0 | 0.27523 | 0.1333
1 | 0.13156 | 0.063716
2 | 0.10323 | 0.049997
3 | 0.4036 | 0.19547
4 | 0.3968 | 0.19218
5 | 0.17566 | 0.085077
6 | 0.58078 | 0.28128
7 | 0.097568 | 0.047254
8 | 0.25434 | 0.12318
9 | 0.15579 | 0.075452
10 | 0.19674 | 0.095284
11 | 0.37821 | 0.18318
12 | 0.37606 | 0.18214
13 | 0.30568 | 0.14805
14 | 0.16238 | 0.078643
15 | 0.2568 | 0.12438
16 | 0.082944 | 0.040172
17 | 0.30372 | 0.1471
18 | 0.37869 | 0.18341
19 | 0.69399 | 0.33612
20 | 0.070146 | 0.033973
21 | 0.1527 | 0.073955
22 | 0.38107 | 0.18456
23 | 0.34327 | 0.16625
24 | 0.15655 | 0.075823
25 | 0.12426 | 0.060184
26 | 0.39846 | 0.19298
27 | 0.27419 | 0.1328
28 | 0.45471 | 0.22022
29 | 0.31253 | 0.15137
30 | 0.17074 | 0.082694
31 | 0.47081 | 0.22802
32 | 0.3326 | 0.16108
33 | 0.39485 | 0.19123
34 | 0.90686 | 0.43921
35 | 0.34989 | 0.16946
36 | 0.20274 | 0.098193
37 | 0.21064 | 0.10202
38 | 0.28828 | 0.13962
39 | 0.093588 | 0.045327
40 | 0.16723 | 0.080994
41 | 0.39391 | 0.19078
42 | 0.079164 | 0.038341
43 | 0.40499 | 0.19615
44 | 0.094299 | 0.045671
45 | 0.11509 | 0.055739
46 | 0.90709 | 0.43933
47 | 0.082284 | 0.039852

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1