## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_548_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_548_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_548_0_node_4 | 20 | n |  | TRUE
3 | bus_MV_548_0_node_51 | 20 | n |  | TRUE
4 | bus_MV_548_0_node_52 | 20 | n |  | TRUE
5 | bus_MV_548_0_node_2 | 20 | n |  | TRUE
6 | bus_MV_548_0_node_3 | 20 | n |  | TRUE
7 | bus_MV_548_0_node_70 | 20 | n |  | TRUE
8 | bus_MV_548_0_node_82 | 20 | n |  | TRUE
9 | bus_MV_548_0_node_71 | 20 | n |  | TRUE
10 | bus_MV_548_0_node_102 | 20 | n |  | TRUE
11 | bus_MV_548_0_node_57 | 20 | n |  | TRUE
12 | bus_MV_548_0_node_6 | 20 | n |  | TRUE
13 | bus_MV_548_0_node_18 | 20 | n |  | TRUE
14 | bus_MV_548_0_node_16 | 20 | n |  | TRUE
15 | bus_MV_548_0_node_5 | 20 | n |  | TRUE
16 | bus_MV_548_0_node_17 | 20 | n |  | TRUE
17 | bus_MV_548_0_node_19 | 20 | n |  | TRUE
18 | bus_MV_548_0_node_62 | 20 | n |  | TRUE
19 | bus_MV_548_0_node_109 | 20 | n |  | TRUE
20 | bus_MV_548_0_node_8 | 20 | n |  | TRUE
21 | bus_MV_548_0_node_7 | 20 | n |  | TRUE
22 | bus_MV_548_0_node_10 | 20 | n |  | TRUE
23 | bus_MV_548_0_node_9 | 20 | n |  | TRUE
24 | bus_MV_548_0_node_12 | 20 | n |  | TRUE
25 | bus_MV_548_0_node_15 | 20 | n |  | TRUE
26 | bus_MV_548_0_node_112 | 20 | n |  | TRUE
27 | bus_MV_548_0_node_98 | 20 | n |  | TRUE
28 | bus_MV_548_0_node_113 | 20 | n |  | TRUE
29 | bus_MV_548_0_node_13 | 20 | n |  | TRUE
30 | bus_MV_548_0_node_25 | 20 | n |  | TRUE
31 | bus_MV_548_0_node_14 | 20 | n |  | TRUE
32 | bus_MV_548_0_node_78 | 20 | n |  | TRUE
33 | bus_MV_548_0_node_20 | 20 | n |  | TRUE
34 | bus_MV_548_0_node_42 | 20 | n |  | TRUE
35 | bus_MV_548_0_node_28 | 20 | n |  | TRUE
36 | bus_MV_548_0_node_111 | 20 | n |  | TRUE
37 | bus_MV_548_0_node_63 | 20 | n |  | TRUE
38 | bus_MV_548_0_node_21 | 20 | n |  | TRUE
39 | bus_MV_548_0_node_34 | 20 | n |  | TRUE
40 | bus_MV_548_0_node_23 | 20 | n |  | TRUE
41 | bus_MV_548_0_node_22 | 20 | n |  | TRUE
42 | bus_MV_548_0_node_24 | 20 | n |  | TRUE
43 | bus_MV_548_0_node_35 | 20 | n |  | TRUE
44 | bus_MV_548_0_node_93 | 20 | n |  | TRUE
45 | bus_MV_548_0_node_26 | 20 | n |  | TRUE
46 | bus_MV_548_0_node_33 | 20 | n |  | TRUE
47 | bus_MV_548_0_node_83 | 20 | n |  | TRUE
48 | bus_MV_548_0_node_30 | 20 | n |  | TRUE
49 | bus_MV_548_0_node_27 | 20 | n |  | TRUE
50 | bus_MV_548_0_node_29 | 20 | n |  | TRUE
51 | bus_MV_548_0_node_31 | 20 | n |  | TRUE
52 | bus_MV_548_0_node_32 | 20 | n |  | TRUE
53 | bus_MV_548_0_node_110 | 20 | n |  | TRUE
54 | bus_MV_548_0_node_85 | 20 | n |  | TRUE
55 | bus_MV_548_0_node_95 | 20 | n |  | TRUE
56 | bus_MV_548_0_node_94 | 20 | n |  | TRUE
57 | bus_MV_548_0_node_84 | 20 | n |  | TRUE
58 | bus_MV_548_0_node_60 | 20 | n |  | TRUE
59 | bus_MV_548_0_node_36 | 20 | n |  | TRUE
60 | bus_MV_548_0_node_37 | 20 | n |  | TRUE
61 | bus_MV_548_0_node_40 | 20 | n |  | TRUE
62 | bus_MV_548_0_node_38 | 20 | n |  | TRUE
63 | bus_MV_548_0_node_39 | 20 | n |  | TRUE
64 | bus_MV_548_0_node_41 | 20 | n |  | TRUE
65 | bus_MV_548_0_node_86 | 20 | n |  | TRUE
66 | bus_MV_548_0_node_100 | 20 | n |  | TRUE
67 | bus_MV_548_0_node_91 | 20 | n |  | TRUE
68 | bus_MV_548_0_node_89 | 20 | n |  | TRUE
69 | bus_MV_548_0_node_74 | 20 | n |  | TRUE
70 | bus_MV_548_0_node_101 | 20 | n |  | TRUE
71 | bus_MV_548_0_node_90 | 20 | n |  | TRUE
72 | bus_MV_548_0_node_88 | 20 | n |  | TRUE
73 | bus_MV_548_0_node_76 | 20 | n |  | TRUE
74 | bus_MV_548_0_node_75 | 20 | n |  | TRUE
75 | bus_MV_548_0_node_43 | 20 | n |  | TRUE
76 | bus_MV_548_0_node_44 | 20 | n |  | TRUE
77 | bus_MV_548_0_node_45 | 20 | n |  | TRUE
78 | bus_MV_548_0_node_48 | 20 | n |  | TRUE
79 | bus_MV_548_0_node_58 | 20 | n |  | TRUE
80 | bus_MV_548_0_node_47 | 20 | n |  | TRUE
81 | bus_MV_548_0_node_61 | 20 | n |  | TRUE
82 | bus_MV_548_0_node_49 | 20 | n |  | TRUE
83 | bus_MV_548_0_node_59 | 20 | n |  | TRUE
84 | bus_MV_548_0_node_108 | 20 | n |  | TRUE
85 | bus_MV_548_0_node_50 | 20 | n |  | TRUE
86 | bus_MV_548_0_node_80 | 20 | n |  | TRUE
87 | bus_MV_548_0_node_79 | 20 | n |  | TRUE
88 | bus_MV_548_0_node_53 | 20 | n |  | TRUE
89 | bus_MV_548_0_node_97 | 20 | n |  | TRUE
90 | bus_MV_548_0_node_96 | 20 | n |  | TRUE
91 | bus_MV_548_0_node_54 | 20 | n |  | TRUE
92 | bus_MV_548_0_node_55 | 20 | n |  | TRUE
93 | bus_MV_548_0_node_56 | 20 | n |  | TRUE
94 | bus_MV_548_0_node_81 | 20 | n |  | TRUE
95 | bus_MV_548_0_node_103 | 20 | n |  | TRUE
96 | bus_MV_548_0_node_104 | 20 | n |  | TRUE
97 | bus_MV_548_0_node_64 | 20 | n |  | TRUE
98 | bus_MV_548_0_node_65 | 20 | n |  | TRUE
99 | bus_MV_548_0_node_66 | 20 | n |  | TRUE
100 | bus_MV_548_0_node_67 | 20 | n |  | TRUE
101 | bus_MV_548_0_node_68 | 20 | n |  | TRUE
102 | bus_MV_548_0_node_69 | 20 | n |  | TRUE
103 | bus_MV_548_0_node_107 | 20 | n |  | TRUE
104 | bus_MV_548_0_node_99 | 20 | n |  | TRUE
105 | bus_MV_548_0_node_87 | 20 | n |  | TRUE
106 | bus_MV_548_0_node_72 | 20 | n |  | TRUE
107 | bus_MV_548_0_node_106 | 20 | n |  | TRUE
108 | bus_MV_548_0_node_73 | 20 | n |  | TRUE
109 | bus_MV_548_0_node_77 | 20 | n |  | TRUE
110 | bus_MV_548_0_node_92 | 20 | n |  | TRUE
111 | bus_MV_548_0_node_105 | 20 | n |  | TRUE
112 | bus_HV_548_0_node_16 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_548_0_load_0 | 0 | 0.3899 | 0.18884 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_548_0_load_51 | 3 | 0.29666 | 0.14368 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_548_0_load_70 | 7 | 0.38515 | 0.18654 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_548_0_load_82 | 8 | 0.18228 | 0.08828 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_548_0_load_102 | 10 | 0.072535 | 0.035131 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_548_0_load_5 | 15 | 0.39633 | 0.19195 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_548_0_load_19 | 17 | 0.24958 | 0.12088 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_548_0_load_62 | 18 | 0.23246 | 0.11259 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_548_0_load_8 | 20 | 0.24421 | 0.11827 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_548_0_load_112 | 26 | 0.36682 | 0.17766 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_548_0_load_98 | 27 | 0.15257 | 0.073894 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_548_0_load_113 | 28 | 0.26556 | 0.12861 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_548_0_load_25 | 30 | 0.3828 | 0.1854 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_548_0_load_78 | 32 | 0.26139 | 0.12659 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_548_0_load_20 | 33 | 0.31556 | 0.15283 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_548_0_load_42 | 34 | 0.22713 | 0.11 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_548_0_load_111 | 36 | 0.17401 | 0.084278 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_548_0_load_63 | 37 | 0.24713 | 0.11969 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_548_0_load_21 | 38 | 0.33182 | 0.16071 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_548_0_load_34 | 39 | 0.28323 | 0.13717 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_548_0_load_93 | 44 | 0.096488 | 0.046731 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_548_0_load_26 | 45 | 0.18947 | 0.091767 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_548_0_load_83 | 47 | 0.14525 | 0.07035 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_548_0_load_29 | 50 | 0.3386 | 0.16399 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_548_0_load_110 | 53 | 0.41018 | 0.19866 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_548_0_load_94 | 56 | 0.087031 | 0.042151 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_548_0_load_84 | 57 | 0.0685 | 0.033176 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_548_0_load_60 | 58 | 0.24197 | 0.11719 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_548_0_load_36 | 59 | 0.3336 | 0.16157 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_548_0_load_86 | 65 | 0.17597 | 0.085225 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_548_0_load_100 | 66 | 0.11382 | 0.055124 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_548_0_load_91 | 67 | 0.071521 | 0.034639 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_548_0_load_74 | 69 | 0.30789 | 0.14912 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_548_0_load_101 | 70 | 0.068714 | 0.03328 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_548_0_load_88 | 72 | 0.12783 | 0.061911 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_548_0_load_76 | 73 | 0.084618 | 0.040983 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_548_0_load_43 | 75 | 0.21686 | 0.10503 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_548_0_load_58 | 79 | 0.34381 | 0.16651 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_548_0_load_59 | 83 | 0.21899 | 0.10606 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_548_0_load_108 | 84 | 0.1167 | 0.05652 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_548_0_load_80 | 86 | 0.21415 | 0.10372 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_548_0_load_79 | 87 | 0.25606 | 0.12402 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_548_0_load_97 | 89 | 0.090096 | 0.043635 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_548_0_load_96 | 90 | 0.090285 | 0.043727 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_548_0_load_54 | 91 | 0.28211 | 0.13663 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_548_0_load_81 | 94 | 0.16141 | 0.078177 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_548_0_load_104 | 96 | 0.073155 | 0.035431 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_548_0_load_64 | 97 | 0.36771 | 0.17809 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_548_0_load_107 | 103 | 0.32212 | 0.15601 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_548_0_load_99 | 104 | 0.068012 | 0.03294 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_548_0_load_87 | 105 | 0.15754 | 0.076299 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_548_0_load_72 | 106 | 0.20612 | 0.099827 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_548_0_load_77 | 109 | 0.10647 | 0.051568 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_548_0_load_92 | 110 | 0.10472 | 0.050719 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_548_0_line_0 |  | 0 | 1 | 0.006398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_548_0_line_1 |  | 1 | 2 | 0.15943 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
2 | MV_548_0_line_2 |  | 1 | 3 | 0.078721 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
3 | MV_548_0_line_3 |  | 2 | 8 | 0.0060443 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
4 | MV_548_0_line_4 |  | 3 | 4 | 0.023252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_548_0_line_5 |  | 3 | 5 | 0.030688 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_548_0_line_6 |  | 4 | 88 | 0.026029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_548_0_line_7 |  | 5 | 6 | 0.077862 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_548_0_line_8 |  | 6 | 7 | 0.010868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_548_0_line_9 |  | 7 | 9 | 0.018725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_548_0_line_10 |  | 8 | 12 | 0.083271 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
11 | MV_548_0_line_11 |  | 9 | 108 | 0.044777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_548_0_line_12 |  | 9 | 106 | 0.037553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_548_0_line_13 |  | 10 | 11 | 0.028466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_548_0_line_14 |  | 11 | 95 | 0.041483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_548_0_line_15 |  | 11 | 93 | 0.048892 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_548_0_line_16 |  | 12 | 13 | 0.11947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_548_0_line_17 |  | 12 | 14 | 0.24888 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_548_0_line_18 |  | 12 | 15 | 0.004268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_548_0_line_19 |  | 13 | 18 | 0.015172 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_548_0_line_20 |  | 13 | 16 | 0.10947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_548_0_line_21 |  | 14 | 19 | 0.13004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_548_0_line_22 |  | 14 | 20 | 0.00637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_548_0_line_23 |  | 16 | 17 | 0.031783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_548_0_line_24 |  | 18 | 37 | 0.018037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_548_0_line_25 |  | 19 | 36 | 0.021498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_548_0_line_26 |  | 20 | 21 | 0.00432 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_548_0_line_27 |  | 21 | 22 | 0.36066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_548_0_line_28 |  | 22 | 27 | 0.027493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_548_0_line_29 |  | 22 | 23 | 0.28388 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_548_0_line_30 |  | 23 | 24 | 0.28979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_548_0_line_31 |  | 23 | 25 | 0.16442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_548_0_line_32 |  | 23 | 26 | 0.020585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_548_0_line_33 |  | 24 | 28 | 0.01604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_548_0_line_34 |  | 25 | 33 | 0.00498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_548_0_line_35 |  | 25 | 29 | 0.16527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_548_0_line_36 |  | 25 | 31 | 0.15753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_548_0_line_37 |  | 29 | 30 | 0.00303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_548_0_line_38 |  | 31 | 32 | 0.01557 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_548_0_line_39 |  | 34 | 35 | 0.003829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_548_0_line_40 |  | 35 | 49 | 0.084245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_548_0_line_41 |  | 38 | 39 | 0.049754 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_548_0_line_42 |  | 39 | 40 | 0.03588 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_548_0_line_43 |  | 40 | 43 | 0.088415 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_548_0_line_44 |  | 40 | 44 | 0.03401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_548_0_line_45 |  | 40 | 41 | 0.065625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_548_0_line_46 |  | 41 | 42 | 0.54316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_548_0_line_47 |  | 42 | 45 | 0.055294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_548_0_line_48 |  | 43 | 46 | 0.02677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_548_0_line_49 |  | 45 | 49 | 0.003068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_548_0_line_50 |  | 46 | 47 | 0.047492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_548_0_line_51 |  | 46 | 48 | 0.17123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_548_0_line_52 |  | 48 | 51 | 0.1074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_548_0_line_53 |  | 48 | 52 | 0.16004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_548_0_line_54 |  | 48 | 50 | 0.008066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_548_0_line_55 |  | 51 | 53 | 0.011991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_548_0_line_56 |  | 51 | 54 | 0.058574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_548_0_line_57 |  | 52 | 55 | 0.049765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_548_0_line_58 |  | 52 | 56 | 0.024643 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_548_0_line_59 |  | 54 | 57 | 0.050478 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_548_0_line_60 |  | 55 | 58 | 0.008956 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_548_0_line_61 |  | 58 | 80 | 0.024037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_548_0_line_62 |  | 59 | 60 | 0.003651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_548_0_line_63 |  | 60 | 61 | 0.09556 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_548_0_line_64 |  | 61 | 67 | 0.007255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_548_0_line_65 |  | 61 | 68 | 0.011412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_548_0_line_66 |  | 61 | 63 | 0.1559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_548_0_line_67 |  | 62 | 63 | 0.048269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_548_0_line_68 |  | 62 | 64 | 0.084032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_548_0_line_69 |  | 62 | 65 | 0.03125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_548_0_line_70 |  | 63 | 66 | 0.0071285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_548_0_line_71 |  | 64 | 69 | 0.014701 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_548_0_line_72 |  | 66 | 70 | 0.024791 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_548_0_line_73 |  | 68 | 71 | 0.027096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_548_0_line_74 |  | 68 | 72 | 0.0088788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_548_0_line_75 |  | 69 | 73 | 0.0076688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_548_0_line_76 |  | 69 | 74 | 0.035978 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_548_0_line_77 |  | 71 | 110 | 0.039264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_548_0_line_78 |  | 74 | 109 | 0.0015528 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_548_0_line_79 |  | 75 | 76 | 0.065256 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_548_0_line_80 |  | 76 | 77 | 0.37397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_548_0_line_81 |  | 76 | 78 | 0.32165 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_548_0_line_82 |  | 77 | 79 | 0.015061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_548_0_line_83 |  | 78 | 84 | 0.029479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_548_0_line_84 |  | 78 | 80 | 0.18506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_548_0_line_85 |  | 79 | 88 | 0.010879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_548_0_line_86 |  | 80 | 81 | 0.055428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_548_0_line_87 |  | 80 | 82 | 0.29214 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_548_0_line_88 |  | 80 | 83 | 0.034047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_548_0_line_89 |  | 81 | 89 | 0.014708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_548_0_line_90 |  | 81 | 90 | 0.035253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_548_0_line_91 |  | 82 | 85 | 0.39436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_548_0_line_92 |  | 82 | 86 | 0.019754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_548_0_line_93 |  | 85 | 87 | 0.013873 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_548_0_line_94 |  | 91 | 92 | 0.027323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_548_0_line_95 |  | 92 | 93 | 0.046551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_548_0_line_96 |  | 93 | 94 | 0.030999 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_548_0_line_97 |  | 95 | 96 | 0.026148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_548_0_line_98 |  | 96 | 111 | 0.015891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_548_0_line_99 |  | 97 | 98 | 0.004266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_548_0_line_100 |  | 97 | 99 | 0.004297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_548_0_line_101 |  | 98 | 100 | 0.010547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_548_0_line_102 |  | 98 | 101 | 0.023474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_548_0_line_103 |  | 99 | 102 | 0.058192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_548_0_line_104 |  | 100 | 103 | 0.028775 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_548_0_line_105 |  | 101 | 104 | 0.017344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_548_0_line_106 |  | 102 | 105 | 0.038824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_548_0_line_107 |  | 102 | 106 | 0.049371 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
108 | MV_548_0_line_108 |  | 103 | 107 | 0.026093 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_548_0_line_109 |  | 107 | 111 | 0.021821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_548_0_line_110 |  | 108 | 109 | 0.01035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_548_0_trafo_16 | 25 MVA 110/20 kV | 112 | 14 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2683705.1868 | 1246977.7353
1 | 2683699.9434 | 1246974.0475
2 | 2683809.8372 | 1247013.3727
3 | 2683622.982 | 1246990.5963
4 | 2683611.0966 | 1247010.599
5 | 2683635.3892 | 1246962.5283
6 | 2683677.4951 | 1246898.4084
7 | 2683684.5777 | 1246890.1658
8 | 2683814.2267 | 1247009.2174
9 | 2683696.7809 | 1246875.964
10 | 2683618.0785 | 1246896.7782
11 | 2683600.5954 | 1246875.7073
12 | 2683877.1569 | 1247063.7504
13 | 2683932.163 | 1247143.4206
14 | 2683966.0713 | 1246970.7733
15 | 2683880.377 | 1247060.9383
16 | 2683962.4811 | 1247064.2247
17 | 2683989.235 | 1247081.4717
18 | 2683921.7783 | 1247154.4818
19 | 2683881.8067 | 1246881.9934
20 | 2683970.8578 | 1246974.7106
21 | 2683973.3173 | 1246978.1369
22 | 2684243.737 | 1246953.5536
23 | 2684226.9248 | 1246774.6941
24 | 2684109.4414 | 1246809.0411
25 | 2684297.5473 | 1246883.8779
26 | 2684246.7253 | 1246780.5241
27 | 2684259.561 | 1246931.071
28 | 2684098.8227 | 1246821.0883
29 | 2684404.9607 | 1246959.3167
30 | 2684407.4592 | 1246961.0424
31 | 2684411.1992 | 1246872.4192
32 | 2684421.2273 | 1246860.5087
33 | 2684301.5233 | 1246886.8922
34 | 2684476.9181 | 1246760.8615
35 | 2684480.0982 | 1246763.0083
36 | 2683896.5779 | 1246866.3352
37 | 2683910.8209 | 1247168.8093
38 | 2684238.7013 | 1247123.4185
39 | 2684225.8779 | 1247075.3453
40 | 2684261.7487 | 1247074.532
41 | 2684289.8921 | 1247108.2123
42 | 2684583.0247 | 1246833.127
43 | 2684182.355 | 1247064.4416
44 | 2684283.2957 | 1247048.2189
45 | 2684537.2676 | 1246801.8849
46 | 2684170.7735 | 1247051.7567
47 | 2684128.5563 | 1247030.3022
48 | 2684116.1839 | 1247144.0837
49 | 2684534.7237 | 1246800.1585
50 | 2684108.1619 | 1247145.1262
51 | 2684180.9663 | 1247212.1975
52 | 2684021.3164 | 1247233.3826
53 | 2684172.6921 | 1247220.8976
54 | 2684232.6668 | 1247239.7297
55 | 2683973.1416 | 1247240.5723
56 | 2684033.192 | 1247254.9757
57 | 2684255.9578 | 1247194.9463
58 | 2683966.8168 | 1247234.8674
59 | 2683853.1109 | 1246732.8
60 | 2683856.746 | 1246733.2407
61 | 2683834.5745 | 1246791.3811
62 | 2683757.5429 | 1246795.0622
63 | 2683767.7687 | 1246763.728
64 | 2683775.8066 | 1246844.968
65 | 2683734.8744 | 1246773.551
66 | 2683762.379 | 1246759.0626
67 | 2683829.22 | 1246786.4685
68 | 2683843.0095 | 1246799.0949
69 | 2683762.456 | 1246846.1803
70 | 2683743.635 | 1246742.8372
71 | 2683824.1125 | 1246818.5644
72 | 2683849.5291 | 1246793.0716
73 | 2683758.4534 | 1246852.7217
74 | 2683730.2207 | 1246830.2023
75 | 2683711.3327 | 1247095.0862
76 | 2683719.5965 | 1247159.8172
77 | 2683577.3624 | 1247050.0525
78 | 2683810.1043 | 1247231.6595
79 | 2683587.9313 | 1247039.2936
80 | 2683958.1226 | 1247212.45
81 | 2683987.8353 | 1247184.5057
82 | 2684047.4744 | 1247277.1299
83 | 2683987.1912 | 1247199.0406
84 | 2683781.4603 | 1247224.6941
85 | 2684065.6391 | 1247380.0633
86 | 2684058.7731 | 1247288.4429
87 | 2684078.5849 | 1247375.1506
88 | 2683595.4306 | 1247031.3935
89 | 2683983.6123 | 1247170.4179
90 | 2683954.1316 | 1247194.8294
91 | 2683590.1236 | 1246935.8039
92 | 2683566.5236 | 1246921.9167
93 | 2683566.0162 | 1246887.7177
94 | 2683547.4961 | 1246912.576
95 | 2683567.6122 | 1246865.6017
96 | 2683545.7296 | 1246851.2879
97 | 2683613.6845 | 1246816.4482
98 | 2683610.1374 | 1246814.0631
99 | 2683617.254 | 1246818.8558
100 | 2683600.5855 | 1246818.0314
101 | 2683594.1247 | 1246809.5897
102 | 2683645.8877 | 1246807.429
103 | 2683572.462 | 1246824.1193
104 | 2683577.2007 | 1246813.3844
105 | 2683671.54 | 1246778.2873
106 | 2683668.4051 | 1246851.3665
107 | 2683546.9595 | 1246829.6398
108 | 2683723.2253 | 1246839.8328
109 | 2683729.3081 | 1246831.4586
110 | 2683791.9554 | 1246796.0339
111 | 2683532.4312 | 1246842.5892
112 | 2683966.0713 | 1246970.7733

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9983 | -0.031799 | 0.3899 | 0.18884
1 | 0.9983 | -0.031829 | 0 | 0
2 | 0.99873 | -0.030015 | 0 | 0
3 | 0.99788 | -0.055377 | 0.29666 | 0.14368
4 | 0.99777 | -0.054391 | 0 | 0
5 | 0.99767 | -0.056797 | 0 | 0
6 | 0.99731 | -0.05358 | 0 | 0
7 | 0.99726 | -0.05313 | 0.38515 | 0.18654
8 | 0.99875 | -0.029946 | 0.18228 | 0.08828
9 | 0.99719 | -0.052441 | 0 | 0
10 | 0.99671 | -0.050372 | 0.072535 | 0.035131
11 | 0.99671 | -0.050396 | 0 | 0
12 | 0.99922 | -0.0032609 | 0 | 0
13 | 0.99911 | -0.0022569 | 0 | 0
14 | 1 | 0 | -11.769 | -5.524
15 | 0.99922 | -0.0032406 | 0.39633 | 0.19195
16 | 0.99908 | -0.0019438 | 0 | 0
17 | 0.99907 | -0.0018495 | 0.24958 | 0.12088
18 | 0.9991 | -0.0023456 | 0.23246 | 0.11259
19 | 0.99997 | 0.00025362 | 0 | 0
20 | 0.99998 | 0.00013705 | 0.24421 | 0.11827
21 | 0.99997 | 0.00021741 | 0 | 0
22 | 0.99918 | 0.007032 | 0 | 0
23 | 0.9986 | 0.012035 | 0 | 0
24 | 0.9985 | 0.012887 | 0 | 0
25 | 0.9984 | 0.013825 | 0 | 0
26 | 0.99859 | 0.012125 | 0.36682 | 0.17766
27 | 0.99917 | 0.0070817 | 0.15257 | 0.073894
28 | 0.9985 | 0.012938 | 0.26556 | 0.12861
29 | 0.99832 | 0.014563 | 0 | 0
30 | 0.99832 | 0.014577 | 0.3828 | 0.1854
31 | 0.99835 | 0.0143 | 0 | 0
32 | 0.99834 | 0.014251 | 0.26139 | 0.12659
33 | 0.9984 | 0.013844 | 0.31556 | 0.15283
34 | 0.99212 | -0.0065151 | 0.22713 | 0.11
35 | 0.99212 | -0.0065257 | 0 | 0
36 | 0.99997 | 0.00029802 | 0.17401 | 0.084278
37 | 0.99909 | -0.0022924 | 0.24713 | 0.11969
38 | 0.99243 | -0.010168 | 0.33182 | 0.16071
39 | 0.99246 | -0.0099651 | 0.28323 | 0.13717
40 | 0.9925 | -0.0096941 | 0 | 0
41 | 0.99247 | -0.0094342 | 0 | 0
42 | 0.99218 | -0.0070304 | 0 | 0
43 | 0.99263 | -0.010793 | 0 | 0
44 | 0.9925 | -0.0096551 | 0.096488 | 0.046731
45 | 0.99215 | -0.0067604 | 0.18947 | 0.091767
46 | 0.99267 | -0.011123 | 0 | 0
47 | 0.99266 | -0.011041 | 0.14525 | 0.07035
48 | 0.99295 | -0.013498 | 0 | 0
49 | 0.99215 | -0.0067524 | 0 | 0
50 | 0.99294 | -0.013465 | 0.3386 | 0.16399
51 | 0.99288 | -0.012903 | 0 | 0
52 | 0.99337 | -0.017206 | 0 | 0
53 | 0.99287 | -0.012844 | 0.41018 | 0.19866
54 | 0.99287 | -0.012862 | 0 | 0
55 | 0.99351 | -0.0184 | 0 | 0
56 | 0.99337 | -0.01718 | 0.087031 | 0.042151
57 | 0.99287 | -0.012822 | 0.0685 | 0.033176
58 | 0.99354 | -0.018615 | 0.24197 | 0.11719
59 | 0.99664 | -0.049046 | 0.3336 | 0.16157
60 | 0.99664 | -0.04906 | 0 | 0
61 | 0.99668 | -0.049437 | 0 | 0
62 | 0.99686 | -0.051016 | 0 | 0
63 | 0.99681 | -0.05057 | 0 | 0
64 | 0.99696 | -0.05196 | 0 | 0
65 | 0.99685 | -0.050951 | 0.17597 | 0.085225
66 | 0.99681 | -0.050554 | 0.11382 | 0.055124
67 | 0.99668 | -0.04943 | 0.071521 | 0.034639
68 | 0.99668 | -0.049406 | 0 | 0
69 | 0.99698 | -0.052124 | 0.30789 | 0.14912
70 | 0.9968 | -0.050534 | 0.068714 | 0.03328
71 | 0.99667 | -0.049374 | 0 | 0
72 | 0.99668 | -0.049393 | 0.12783 | 0.061911
73 | 0.99698 | -0.052116 | 0.084618 | 0.040983
74 | 0.99708 | -0.051475 | 0 | 0
75 | 0.99576 | -0.037918 | 0.21686 | 0.10503
76 | 0.99578 | -0.037745 | 0 | 0
77 | 0.99751 | -0.052244 | 0 | 0
78 | 0.99439 | -0.025906 | 0 | 0
79 | 0.99758 | -0.052823 | 0.34381 | 0.16651
80 | 0.99361 | -0.019261 | 0 | 0
81 | 0.9936 | -0.019146 | 0 | 0
82 | 0.99344 | -0.017851 | 0 | 0
83 | 0.9936 | -0.019171 | 0.21899 | 0.10606
84 | 0.99438 | -0.025865 | 0.1167 | 0.05652
85 | 0.99331 | -0.016753 | 0 | 0
86 | 0.99343 | -0.0178 | 0.21415 | 0.10372
87 | 0.9933 | -0.01671 | 0.25606 | 0.12402
88 | 0.99763 | -0.053285 | 0 | 0
89 | 0.9936 | -0.01913 | 0.090096 | 0.043635
90 | 0.99359 | -0.019108 | 0.090285 | 0.043727
91 | 0.99666 | -0.049898 | 0.28211 | 0.13663
92 | 0.99667 | -0.04999 | 0 | 0
93 | 0.99668 | -0.050145 | 0 | 0
94 | 0.99668 | -0.050085 | 0.16141 | 0.078177
95 | 0.99674 | -0.050641 | 0 | 0
96 | 0.99676 | -0.050794 | 0.073155 | 0.035431
97 | 0.99686 | -0.051679 | 0.36771 | 0.17809
98 | 0.99685 | -0.051631 | 0 | 0
99 | 0.99686 | -0.051746 | 0 | 0
100 | 0.99684 | -0.051521 | 0 | 0
101 | 0.99685 | -0.051613 | 0 | 0
102 | 0.99696 | -0.052651 | 0 | 0
103 | 0.9968 | -0.05122 | 0.32212 | 0.15601
104 | 0.99685 | -0.051599 | 0.068012 | 0.03294
105 | 0.99695 | -0.052579 | 0.15754 | 0.076299
106 | 0.99711 | -0.051698 | 0.20612 | 0.099827
107 | 0.99678 | -0.051046 | 0 | 0
108 | 0.9971 | -0.051677 | 0 | 0
109 | 0.99708 | -0.051499 | 0.10647 | 0.051568
110 | 0.99667 | -0.049326 | 0.10472 | 0.050719
111 | 0.99677 | -0.050901 | 0 | 0
112 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.3899 | -0.18884 | 0.3899 | 0.18869 | 1.3402e-06 | -0.00015184 | 0.012527 | 0.012525 | 0.012527 | 0.9983 | -0.031799 | 0.9983 | -0.031829 | 5.6943
1 | -8.2684 | -3.8921 | 8.2719 | 3.8841 | 0.0034387 | -0.0080513 | 0.26426 | 0.26414 | 0.26426 | 0.9983 | -0.031829 | 0.99873 | -0.030015 | 41.4201
2 | 7.8785 | 3.7035 | -7.8768 | -3.6988 | 0.0017809 | 0.0046807 | 0.25174 | 0.25174 | 0.25174 | 0.9983 | -0.031829 | 0.99788 | -0.055377 | 39.029
3 | -8.2719 | -3.8841 | 8.272 | 3.8838 | 0.0001303 | -0.00030545 | 0.26414 | 0.26413 | 0.26414 | 0.99873 | -0.030015 | 0.99875 | -0.029946 | 41.4009
4 | 3.9853 | 1.8446 | -3.9848 | -1.845 | 0.00050101 | -0.00040414 | 0.12704 | 0.12705 | 0.12705 | 0.99788 | -0.055377 | 0.99777 | -0.054391 | 57.7487
5 | 3.5948 | 1.7105 | -3.5941 | -1.71 | 0.00072518 | 0.00041776 | 0.11517 | 0.11517 | 0.11517 | 0.99788 | -0.055377 | 0.99767 | -0.056797 | 54.8407
6 | 3.9848 | 1.845 | -3.9842 | -1.8455 | 0.00056091 | -0.00045223 | 0.12705 | 0.12705 | 0.12705 | 0.99777 | -0.054391 | 0.99763 | -0.053285 | 57.7521
7 | 3.5941 | 1.71 | -3.5927 | -1.7115 | 0.0013789 | -0.0014407 | 0.11517 | 0.11519 | 0.11519 | 0.99767 | -0.056797 | 0.99731 | -0.05358 | 52.3584
8 | 3.5927 | 1.7115 | -3.5925 | -1.7117 | 0.00019251 | -0.00020097 | 0.11519 | 0.11519 | 0.11519 | 0.99731 | -0.05358 | 0.99726 | -0.05313 | 52.3599
9 | 3.2074 | 1.5251 | -3.2071 | -1.5255 | 0.0002642 | -0.00036622 | 0.1028 | 0.10281 | 0.10281 | 0.99726 | -0.05313 | 0.99719 | -0.052441 | 46.7318
10 | -8.4543 | -3.9721 | 8.4564 | 3.9778 | 0.0021669 | 0.0057121 | 0.26999 | 0.26998 | 0.26999 | 0.99875 | -0.029946 | 0.99922 | -0.0032609 | 41.8583
11 | 1.4957 | 0.70952 | -1.4956 | -0.71054 | 0.00013733 | -0.0010223 | 0.047925 | 0.047938 | 0.047938 | 0.99719 | -0.052441 | 0.9971 | -0.051677 | 21.79
12 | 1.7113 | 0.81599 | -1.7112 | -0.81684 | 0.00015105 | -0.0008467 | 0.054885 | 0.054896 | 0.054896 | 0.99719 | -0.052441 | 0.99711 | -0.051698 | 24.9529
13 | -0.072535 | -0.035131 | 0.072536 | 0.034455 | 2.0631e-07 | -0.00067513 | 0.0023343 | 0.0023258 | 0.0023343 | 0.99671 | -0.050372 | 0.99671 | -0.050396 | 1.061
14 | -0.51608 | -0.24562 | 0.5161 | 0.24464 | 1.5164e-05 | -0.00097949 | 0.016554 | 0.016541 | 0.016554 | 0.99671 | -0.050396 | 0.99674 | -0.050641 | 7.5244
15 | 0.44354 | 0.21117 | -0.44353 | -0.21232 | 1.3226e-05 | -0.0011557 | 0.014228 | 0.014242 | 0.014242 | 0.99671 | -0.050396 | 0.99668 | -0.050145 | 6.4738
16 | 0.72928 | 0.34653 | -0.72919 | -0.34935 | 8.6912e-05 | -0.0028219 | 0.023326 | 0.023362 | 0.023362 | 0.99922 | -0.0032609 | 0.99911 | -0.0022569 | 10.619
17 | -9.5821 | -4.5162 | 9.5893 | 4.5046 | 0.007198 | -0.011572 | 0.30603 | 0.30584 | 0.30603 | 0.99922 | -0.0032609 | 1 | 0 | 47.9673
18 | 0.39634 | 0.19185 | -0.39633 | -0.19195 | 9.2216e-07 | -0.00010147 | 0.012721 | 0.012722 | 0.012722 | 0.99922 | -0.0032609 | 0.99922 | -0.0032406 | 5.7829
19 | 0.4796 | 0.23183 | -0.47959 | -0.23185 | 6.4036e-06 | -1.4069e-05 | 0.015391 | 0.015391 | 0.015391 | 0.99911 | -0.0022569 | 0.9991 | -0.0023456 | 7.3292
20 | 0.2496 | 0.11752 | -0.24959 | -0.12012 | 9.3233e-06 | -0.0026063 | 0.007971 | 0.0080034 | 0.0080034 | 0.99911 | -0.0022569 | 0.99908 | -0.0019438 | 3.6379
21 | 0.17402 | 0.080662 | -0.17401 | -0.083765 | 5.359e-06 | -0.0031033 | 0.0055369 | 0.0055752 | 0.0055752 | 1 | 0 | 0.99997 | 0.00025362 | 2.5342
22 | 1.9917 | 0.92825 | -1.9917 | -0.92839 | 3.4219e-05 | -0.00014194 | 0.063433 | 0.063435 | 0.063435 | 1 | 0 | 0.99998 | 0.00013705 | 28.8342
23 | 0.24959 | 0.12012 | -0.24958 | -0.12088 | 2.7211e-06 | -0.00075664 | 0.0080034 | 0.0080129 | 0.0080129 | 0.99908 | -0.0019438 | 0.99907 | -0.0018495 | 3.6422
24 | 0.24713 | 0.11926 | -0.24713 | -0.11969 | 1.5147e-06 | -0.00042943 | 0.0079284 | 0.0079338 | 0.0079338 | 0.9991 | -0.0023456 | 0.99909 | -0.0022924 | 3.6063
25 | 0.17401 | 0.083765 | -0.17401 | -0.084278 | 8.931e-07 | -0.00051299 | 0.0055752 | 0.0055816 | 0.0055816 | 0.99997 | 0.00025362 | 0.99997 | 0.00029802 | 2.5371
26 | 1.7475 | 0.81012 | -1.7475 | -0.81021 | 1.7831e-05 | -9.7851e-05 | 0.055603 | 0.055605 | 0.055605 | 0.99998 | 0.00013705 | 0.99997 | 0.00021741 | 25.2748
27 | 1.7475 | 0.81021 | -1.746 | -0.81838 | 0.0014915 | -0.0081615 | 0.055605 | 0.055709 | 0.055709 | 0.99997 | 0.00021741 | 0.99918 | 0.007032 | 25.3225
28 | 0.15257 | 0.073239 | -0.15257 | -0.073894 | 8.7898e-07 | -0.00065508 | 0.0048896 | 0.0048978 | 0.0048978 | 0.99918 | 0.007032 | 0.99917 | 0.0070817 | 2.2263
29 | 1.5934 | 0.74514 | -1.5924 | -0.75161 | 0.00098038 | -0.0064721 | 0.05082 | 0.050903 | 0.050903 | 0.99918 | 0.007032 | 0.9986 | 0.012035 | 23.1378
30 | 0.26559 | 0.12134 | -0.26556 | -0.12823 | 2.7839e-05 | -0.0068909 | 0.0084409 | 0.0085257 | 0.0085257 | 0.9986 | 0.012035 | 0.9985 | 0.012887 | 3.8753
31 | 0.96 | 0.4531 | -0.9598 | -0.45695 | 0.00020703 | -0.0038525 | 0.030687 | 0.030736 | 0.030736 | 0.9986 | 0.012035 | 0.9984 | 0.013825 | 13.9709
32 | 0.36682 | 0.17717 | -0.36682 | -0.17766 | 3.8129e-06 | -0.00048898 | 0.011776 | 0.011782 | 0.011782 | 0.9986 | 0.012035 | 0.99859 | 0.012125 | 5.3556
33 | 0.26556 | 0.12823 | -0.26556 | -0.12861 | 1.5574e-06 | -0.00038136 | 0.0085257 | 0.0085305 | 0.0085305 | 0.9985 | 0.012887 | 0.9985 | 0.012938 | 3.8775
34 | 0.31556 | 0.15271 | -0.31556 | -0.15283 | 6.8316e-07 | -0.00011832 | 0.010136 | 0.010138 | 0.010138 | 0.9984 | 0.013825 | 0.9984 | 0.013844 | 4.6081
35 | 0.38284 | 0.1814 | -0.3828 | -0.18533 | 3.3236e-05 | -0.0039232 | 0.012249 | 0.012298 | 0.012298 | 0.9984 | 0.013825 | 0.99832 | 0.014563 | 5.5901
36 | 0.2614 | 0.12283 | -0.26139 | -0.12658 | 1.4748e-05 | -0.0037447 | 0.0083509 | 0.0083976 | 0.0083976 | 0.9984 | 0.013825 | 0.99835 | 0.0143 | 3.8171
37 | 0.3828 | 0.18533 | -0.3828 | -0.1854 | 6.1193e-07 | -7.192e-05 | 0.012298 | 0.012299 | 0.012299 | 0.99832 | 0.014563 | 0.99832 | 0.014577 | 5.5905
38 | 0.26139 | 0.12658 | -0.26139 | -0.12659 | 1.9563e-06 | -1.7301e-05 | 0.0083976 | 0.0083979 | 0.0083979 | 0.99835 | 0.0143 | 0.99834 | 0.014251 | 3.999
39 | -0.22713 | -0.11 | 0.22713 | 0.10991 | 2.7555e-07 | -8.9905e-05 | 0.0073429 | 0.0073418 | 0.0073429 | 0.99212 | -0.0065151 | 0.99212 | -0.0065257 | 3.3377
40 | -0.22713 | -0.10991 | 0.22713 | 0.10793 | 6.0415e-06 | -0.0019782 | 0.0073418 | 0.0073168 | 0.0073418 | 0.99212 | -0.0065257 | 0.99215 | -0.0067524 | 3.3372
41 | -0.33182 | -0.16071 | 0.33183 | 0.16065 | 1.0194e-05 | -5.2117e-05 | 0.010724 | 0.010723 | 0.010724 | 0.99243 | -0.010168 | 0.99246 | -0.0099651 | 5.1068
42 | -0.61505 | -0.29783 | 0.61508 | 0.2978 | 2.5257e-05 | -2.6372e-05 | 0.019877 | 0.019876 | 0.019877 | 0.99246 | -0.0099651 | 0.9925 | -0.0096941 | 9.4652
43 | -1.1283 | -0.52779 | 1.1285 | 0.52576 | 0.00015483 | -0.0020338 | 0.036231 | 0.036205 | 0.036231 | 0.9925 | -0.0096941 | 0.99263 | -0.010793 | 16.4687
44 | 0.096489 | 0.045932 | -0.096488 | -0.046731 | 4.4005e-07 | -0.00079975 | 0.0031082 | 0.0031183 | 0.0031183 | 0.9925 | -0.0096941 | 0.9925 | -0.0096551 | 1.4174
45 | 0.41676 | 0.18406 | -0.41675 | -0.1856 | 1.5405e-05 | -0.0015388 | 0.013251 | 0.01327 | 0.01327 | 0.9925 | -0.0096941 | 0.99247 | -0.0094342 | 6.0316
46 | 0.41675 | 0.1856 | -0.41662 | -0.19833 | 0.00012916 | -0.012732 | 0.01327 | 0.013425 | 0.013425 | 0.99247 | -0.0094342 | 0.99218 | -0.0070304 | 6.1023
47 | 0.41662 | 0.19833 | -0.41661 | -0.19963 | 1.332e-05 | -0.0012956 | 0.013425 | 0.013441 | 0.013441 | 0.99218 | -0.0070304 | 0.99215 | -0.0067604 | 6.1097
48 | -1.1285 | -0.52576 | 1.1285 | 0.52514 | 4.6836e-05 | -0.0006159 | 0.036205 | 0.036198 | 0.036205 | 0.99263 | -0.010793 | 0.99267 | -0.011123 | 16.457
49 | 0.22713 | 0.10786 | -0.22713 | -0.10793 | 2.1929e-07 | -7.2041e-05 | 0.0073159 | 0.0073168 | 0.0073168 | 0.99215 | -0.0067604 | 0.99215 | -0.0067524 | 3.3258
50 | 0.14526 | 0.069233 | -0.14525 | -0.07035 | 1.3925e-06 | -0.0011169 | 0.0046794 | 0.0046935 | 0.0046935 | 0.99267 | -0.011123 | 0.99266 | -0.011041 | 2.1334
51 | -1.2738 | -0.59438 | 1.2742 | 0.59046 | 0.0003815 | -0.0039166 | 0.040877 | 0.040828 | 0.040877 | 0.99267 | -0.011123 | 0.99295 | -0.013498 | 18.5804
52 | 0.47872 | 0.22647 | -0.47869 | -0.22899 | 3.4056e-05 | -0.0025179 | 0.015396 | 0.015428 | 0.015428 | 0.99295 | -0.013498 | 0.99288 | -0.012903 | 7.0128
53 | -2.0915 | -0.98073 | 2.0925 | 0.97725 | 0.00096295 | -0.0034834 | 0.067158 | 0.067112 | 0.067158 | 0.99295 | -0.013498 | 0.99337 | -0.017206 | 30.5265
54 | 0.33861 | 0.1638 | -0.3386 | -0.16399 | 1.288e-06 | -0.00018949 | 0.010936 | 0.010938 | 0.010938 | 0.99295 | -0.013498 | 0.99294 | -0.013465 | 4.9718
55 | 0.41019 | 0.19838 | -0.41018 | -0.19866 | 2.8101e-06 | -0.0002814 | 0.013248 | 0.013251 | 0.013251 | 0.99288 | -0.012903 | 0.99287 | -0.012844 | 6.0232
56 | 0.068501 | 0.030609 | -0.0685 | -0.031988 | 3.7493e-07 | -0.0013786 | 0.0021814 | 0.0021981 | 0.0021981 | 0.99288 | -0.012903 | 0.99287 | -0.012862 | 0.99912
57 | -2.1795 | -1.0188 | 2.1798 | 1.0177 | 0.00032468 | -0.0010764 | 0.069915 | 0.0699 | 0.069915 | 0.99337 | -0.017206 | 0.99351 | -0.0184 | 31.7794
58 | 0.087032 | 0.041571 | -0.087031 | -0.042151 | 2.5912e-07 | -0.00058054 | 0.0028029 | 0.0028102 | 0.0028102 | 0.99337 | -0.017206 | 0.99337 | -0.01718 | 1.2773
59 | 0.0685 | 0.031988 | -0.0685 | -0.033176 | 3.2777e-07 | -0.001188 | 0.0021981 | 0.0022129 | 0.0022129 | 0.99287 | -0.012862 | 0.99287 | -0.012822 | 1.0059
60 | -2.1798 | -1.0177 | 2.1799 | 1.0176 | 5.8417e-05 | -0.00019375 | 0.0699 | 0.069898 | 0.0699 | 0.99351 | -0.0184 | 0.99354 | -0.018615 | 31.7728
61 | -2.4218 | -1.1347 | 2.422 | 1.1342 | 0.00019376 | -0.00050908 | 0.077709 | 0.077702 | 0.077709 | 0.99354 | -0.018615 | 0.99361 | -0.019261 | 35.3221
62 | -0.3336 | -0.16157 | 0.3336 | 0.16148 | 5.6175e-07 | -8.642e-05 | 0.010736 | 0.010735 | 0.010736 | 0.99664 | -0.049046 | 0.99664 | -0.04906 | 4.8802
63 | -0.3336 | -0.16148 | 0.33362 | 0.15922 | 1.4663e-05 | -0.002262 | 0.010735 | 0.010707 | 0.010735 | 0.99664 | -0.04906 | 0.99668 | -0.049437 | 4.8797
64 | 0.071521 | 0.034467 | -0.071521 | -0.034639 | 5.1261e-08 | -0.00017206 | 0.0022995 | 0.0023017 | 0.0023017 | 0.99668 | -0.049437 | 0.99668 | -0.04943 | 1.0462
65 | 0.23255 | 0.11058 | -0.23255 | -0.11085 | 8.4783e-07 | -0.00027042 | 0.0074582 | 0.0074616 | 0.0074616 | 0.99668 | -0.049437 | 0.99668 | -0.049406 | 3.3916
66 | -0.63769 | -0.30426 | 0.63778 | 0.30059 | 8.6968e-05 | -0.0036723 | 0.020465 | 0.020419 | 0.020465 | 0.99668 | -0.049437 | 0.99681 | -0.05057 | 9.3021
67 | 0.82035 | 0.38711 | -0.82031 | -0.38824 | 4.4488e-05 | -0.001132 | 0.026268 | 0.026282 | 0.026282 | 0.99686 | -0.051016 | 0.99681 | -0.05057 | 11.9466
68 | -0.99632 | -0.47159 | 0.99644 | 0.46963 | 0.00011422 | -0.0019601 | 0.031921 | 0.031896 | 0.031921 | 0.99686 | -0.051016 | 0.99696 | -0.05196 | 14.5095
69 | 0.17597 | 0.084484 | -0.17597 | -0.085225 | 1.3352e-06 | -0.00074106 | 0.0056526 | 0.005662 | 0.005662 | 0.99686 | -0.051016 | 0.99685 | -0.050951 | 2.5736
70 | 0.18253 | 0.087647 | -0.18253 | -0.087816 | 3.2734e-07 | -0.00016902 | 0.0058639 | 0.005866 | 0.005866 | 0.99681 | -0.05057 | 0.99681 | -0.050554 | 2.6664
71 | -0.99644 | -0.46963 | 0.99646 | 0.46929 | 1.9964e-05 | -0.00034296 | 0.031896 | 0.031892 | 0.031896 | 0.99696 | -0.05196 | 0.99698 | -0.052124 | 14.4983
72 | 0.068714 | 0.032692 | -0.068714 | -0.03328 | 1.6126e-07 | -0.00058809 | 0.0022037 | 0.0022111 | 0.0022111 | 0.99681 | -0.050554 | 0.9968 | -0.050534 | 1.005
73 | 0.10472 | 0.049145 | -0.10472 | -0.049788 | 4.0705e-07 | -0.00064253 | 0.0033505 | 0.0033585 | 0.0033585 | 0.99668 | -0.049406 | 0.99667 | -0.049374 | 1.5266
74 | 0.12783 | 0.0617 | -0.12783 | -0.061911 | 2.0048e-07 | -0.00021053 | 0.0041112 | 0.0041138 | 0.0041138 | 0.99668 | -0.049406 | 0.99668 | -0.049393 | 1.8699
75 | 0.084619 | 0.040801 | -0.084618 | -0.040983 | 7.5804e-08 | -0.00018198 | 0.0027201 | 0.0027224 | 0.0027224 | 0.99698 | -0.052124 | 0.99698 | -0.052116 | 1.2374
76 | -1.389 | -0.65921 | 1.3891 | 0.65924 | 0.00012703 | 3.6873e-05 | 0.044517 | 0.044516 | 0.044517 | 0.99698 | -0.052124 | 0.99708 | -0.051475 | 21.1985
77 | 0.10472 | 0.049788 | -0.10472 | -0.050719 | 5.933e-07 | -0.00093108 | 0.0033585 | 0.0033702 | 0.0033702 | 0.99667 | -0.049374 | 0.99667 | -0.049326 | 1.5319
78 | -1.3891 | -0.65924 | 1.3891 | 0.65921 | 4.108e-06 | -3.564e-05 | 0.044516 | 0.044516 | 0.044516 | 0.99708 | -0.051475 | 0.99708 | -0.051499 | 20.2347
79 | -0.21686 | -0.10503 | 0.21687 | 0.10496 | 5.6727e-06 | -7.3692e-05 | 0.0069855 | 0.0069845 | 0.0069855 | 0.99576 | -0.037918 | 0.99578 | -0.037745 | 3.3264
80 | -3.6332 | -1.6863 | 3.6399 | 1.6794 | 0.0067252 | -0.0068742 | 0.11612 | 0.11601 | 0.11612 | 0.99578 | -0.037745 | 0.99751 | -0.052244 | 52.7806
81 | 3.4163 | 1.5814 | -3.4112 | -1.5875 | 0.0051187 | -0.0060862 | 0.10913 | 0.10923 | 0.10923 | 0.99578 | -0.037745 | 0.99439 | -0.025906 | 49.6485
82 | -3.6399 | -1.6794 | 3.6402 | 1.6792 | 0.00027059 | -0.00027757 | 0.11601 | 0.11601 | 0.11601 | 0.99751 | -0.052244 | 0.99758 | -0.052823 | 52.7316
83 | 0.1167 | 0.055824 | -0.1167 | -0.05652 | 5.5634e-07 | -0.00069579 | 0.0037555 | 0.0037643 | 0.0037643 | 0.99439 | -0.025906 | 0.99438 | -0.025865 | 1.711
84 | 3.2945 | 1.5316 | -3.2918 | -1.5352 | 0.0027497 | -0.00355 | 0.10547 | 0.10552 | 0.10552 | 0.99439 | -0.025906 | 0.99361 | -0.019261 | 47.9659
85 | -3.984 | -1.8457 | 3.9842 | 1.8455 | 0.00023446 | -0.00018896 | 0.12706 | 0.12705 | 0.12706 | 0.99758 | -0.052823 | 0.99763 | -0.053285 | 57.7536
86 | 0.18038 | 0.084879 | -0.18038 | -0.086185 | 2.4893e-06 | -0.0013058 | 0.0057919 | 0.0058082 | 0.0058082 | 0.99361 | -0.019261 | 0.9936 | -0.019146 | 2.6401
87 | 0.47033 | 0.2108 | -0.47025 | -0.21766 | 8.7934e-05 | -0.006859 | 0.014974 | 0.015057 | 0.015057 | 0.99361 | -0.019261 | 0.99344 | -0.017851 | 6.8442
88 | 0.219 | 0.10526 | -0.21899 | -0.10606 | 2.2684e-06 | -0.00080187 | 0.0070593 | 0.0070695 | 0.0070695 | 0.99361 | -0.019261 | 0.9936 | -0.019171 | 3.2134
89 | 0.090096 | 0.043289 | -0.090096 | -0.043635 | 1.6583e-07 | -0.00034663 | 0.0029041 | 0.0029084 | 0.0029084 | 0.9936 | -0.019146 | 0.9936 | -0.01913 | 1.322
90 | 0.090286 | 0.042896 | -0.090285 | -0.043727 | 3.9835e-07 | -0.00083084 | 0.0029041 | 0.0029146 | 0.0029146 | 0.9936 | -0.019146 | 0.99359 | -0.019108 | 1.3248
91 | 0.2561 | 0.11441 | -0.25606 | -0.12369 | 3.5457e-05 | -0.009281 | 0.0081505 | 0.0082643 | 0.0082643 | 0.99344 | -0.017851 | 0.99331 | -0.016753 | 3.7565
92 | 0.21415 | 0.10325 | -0.21415 | -0.10372 | 1.2596e-06 | -0.00046509 | 0.0069083 | 0.0069142 | 0.0069142 | 0.99344 | -0.017851 | 0.99343 | -0.0178 | 3.1428
93 | 0.25606 | 0.12369 | -0.25606 | -0.12402 | 1.2655e-06 | -0.00032643 | 0.0082643 | 0.0082685 | 0.0082685 | 0.99331 | -0.016753 | 0.9933 | -0.01671 | 3.7584
94 | -0.28211 | -0.13663 | 0.28211 | 0.13598 | 3.0039e-06 | -0.00064713 | 0.009079 | 0.0090708 | 0.009079 | 0.99666 | -0.049898 | 0.99667 | -0.04999 | 4.1268
95 | -0.28211 | -0.13598 | 0.28212 | 0.13488 | 5.1055e-06 | -0.0011026 | 0.0090708 | 0.009057 | 0.0090708 | 0.99667 | -0.04999 | 0.99668 | -0.050145 | 4.1231
96 | 0.16142 | 0.077442 | -0.16141 | -0.078177 | 1.1147e-06 | -0.0007349 | 0.0051854 | 0.0051946 | 0.0051946 | 0.99668 | -0.050145 | 0.99668 | -0.050085 | 2.3612
97 | -0.5161 | -0.24464 | 0.51611 | 0.24403 | 9.547e-06 | -0.00061743 | 0.016541 | 0.016534 | 0.016541 | 0.99674 | -0.050641 | 0.99676 | -0.050794 | 7.5188
98 | -0.58926 | -0.27946 | 0.58927 | 0.27908 | 7.5662e-06 | -0.00037471 | 0.018888 | 0.018883 | 0.018888 | 0.99676 | -0.050794 | 0.99677 | -0.050901 | 8.5853
99 | 0.97948 | 0.46491 | -0.97947 | -0.46501 | 5.6144e-06 | -9.955e-05 | 0.031397 | 0.031399 | 0.031399 | 0.99686 | -0.051679 | 0.99685 | -0.051631 | 14.2721
100 | -1.3472 | -0.643 | 1.3472 | 0.6429 | 1.0719e-05 | -9.8772e-05 | 0.043228 | 0.043227 | 0.043228 | 0.99686 | -0.051679 | 0.99686 | -0.051746 | 19.6493
101 | 0.91146 | 0.43304 | -0.91145 | -0.43329 | 1.2025e-05 | -0.00024667 | 0.029222 | 0.029225 | 0.029225 | 0.99685 | -0.051631 | 0.99684 | -0.051521 | 13.2842
102 | 0.068012 | 0.031971 | -0.068012 | -0.032528 | 1.4889e-07 | -0.0005569 | 0.0021763 | 0.0021832 | 0.0021832 | 0.99685 | -0.051631 | 0.99685 | -0.051613 | 0.99237
103 | -1.3472 | -0.6429 | 1.3473 | 0.64157 | 0.00014511 | -0.0013378 | 0.043227 | 0.04321 | 0.043227 | 0.99686 | -0.051746 | 0.99696 | -0.052651 | 19.6487
104 | 0.91145 | 0.43329 | -0.91141 | -0.43396 | 3.282e-05 | -0.00067294 | 0.029225 | 0.029234 | 0.029234 | 0.99684 | -0.051521 | 0.9968 | -0.05122 | 13.2881
105 | 0.068012 | 0.032528 | -0.068012 | -0.03294 | 1.1062e-07 | -0.00041147 | 0.0021832 | 0.0021884 | 0.0021884 | 0.99685 | -0.051613 | 0.99685 | -0.051599 | 0.99472
106 | 0.15754 | 0.075378 | -0.15754 | -0.076299 | 1.3284e-06 | -0.00092093 | 0.0050569 | 0.0050685 | 0.0050685 | 0.99696 | -0.052651 | 0.99695 | -0.052579 | 2.3038
107 | -1.5049 | -0.71694 | 1.5051 | 0.71701 | 0.00020493 | 6.977e-05 | 0.048267 | 0.048266 | 0.048267 | 0.99696 | -0.052651 | 0.99711 | -0.051698 | 22.9842
108 | 0.58929 | 0.27795 | -0.58928 | -0.27857 | 1.2407e-05 | -0.00061534 | 0.018869 | 0.018877 | 0.018877 | 0.9968 | -0.05122 | 0.99678 | -0.051046 | 8.5803
109 | 0.58928 | 0.27857 | -0.58927 | -0.27908 | 1.0384e-05 | -0.00051457 | 0.018877 | 0.018883 | 0.018883 | 0.99678 | -0.051046 | 0.99677 | -0.050901 | 8.5832
110 | 1.4956 | 0.71054 | -1.4956 | -0.71078 | 3.1756e-05 | -0.00023627 | 0.047938 | 0.047941 | 0.047941 | 0.9971 | -0.051677 | 0.99708 | -0.051499 | 21.7914

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.769 | 5.524

## res_load
| p_mw | q_mvar
0 | 0.3899 | 0.18884
1 | 0.29666 | 0.14368
2 | 0.38515 | 0.18654
3 | 0.18228 | 0.08828
4 | 0.072535 | 0.035131
5 | 0.39633 | 0.19195
6 | 0.24958 | 0.12088
7 | 0.23246 | 0.11259
8 | 0.24421 | 0.11827
9 | 0.36682 | 0.17766
10 | 0.15257 | 0.073894
11 | 0.26556 | 0.12861
12 | 0.3828 | 0.1854
13 | 0.26139 | 0.12659
14 | 0.31556 | 0.15283
15 | 0.22713 | 0.11
16 | 0.17401 | 0.084278
17 | 0.24713 | 0.11969
18 | 0.33182 | 0.16071
19 | 0.28323 | 0.13717
20 | 0.096488 | 0.046731
21 | 0.18947 | 0.091767
22 | 0.14525 | 0.07035
23 | 0.3386 | 0.16399
24 | 0.41018 | 0.19866
25 | 0.087031 | 0.042151
26 | 0.0685 | 0.033176
27 | 0.24197 | 0.11719
28 | 0.3336 | 0.16157
29 | 0.17597 | 0.085225
30 | 0.11382 | 0.055124
31 | 0.071521 | 0.034639
32 | 0.30789 | 0.14912
33 | 0.068714 | 0.03328
34 | 0.12783 | 0.061911
35 | 0.084618 | 0.040983
36 | 0.21686 | 0.10503
37 | 0.34381 | 0.16651
38 | 0.21899 | 0.10606
39 | 0.1167 | 0.05652
40 | 0.21415 | 0.10372
41 | 0.25606 | 0.12402
42 | 0.090096 | 0.043635
43 | 0.090285 | 0.043727
44 | 0.28211 | 0.13663
45 | 0.16141 | 0.078177
46 | 0.073155 | 0.035431
47 | 0.36771 | 0.17809
48 | 0.32212 | 0.15601
49 | 0.068012 | 0.03294
50 | 0.15754 | 0.076299
51 | 0.20612 | 0.099827
52 | 0.10647 | 0.051568
53 | 0.10472 | 0.050719

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1