## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_557_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_557_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_557_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_557_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_557_0_node_5 | 20 | n |  | TRUE
5 | bus_MV_557_0_node_84 | 20 | n |  | TRUE
6 | bus_MV_557_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_557_0_node_83 | 20 | n |  | TRUE
8 | bus_MV_557_0_node_61 | 20 | n |  | TRUE
9 | bus_MV_557_0_node_49 | 20 | n |  | TRUE
10 | bus_MV_557_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_557_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_557_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_557_0_node_15 | 20 | n |  | TRUE
14 | bus_MV_557_0_node_16 | 20 | n |  | TRUE
15 | bus_MV_557_0_node_13 | 20 | n |  | TRUE
16 | bus_MV_557_0_node_10 | 20 | n |  | TRUE
17 | bus_MV_557_0_node_86 | 20 | n |  | TRUE
18 | bus_MV_557_0_node_12 | 20 | n |  | TRUE
19 | bus_MV_557_0_node_11 | 20 | n |  | TRUE
20 | bus_MV_557_0_node_80 | 20 | n |  | TRUE
21 | bus_MV_557_0_node_14 | 20 | n |  | TRUE
22 | bus_MV_557_0_node_62 | 20 | n |  | TRUE
23 | bus_MV_557_0_node_79 | 20 | n |  | TRUE
24 | bus_MV_557_0_node_55 | 20 | n |  | TRUE
25 | bus_MV_557_0_node_63 | 20 | n |  | TRUE
26 | bus_MV_557_0_node_25 | 20 | n |  | TRUE
27 | bus_MV_557_0_node_35 | 20 | n |  | TRUE
28 | bus_MV_557_0_node_99 | 20 | n |  | TRUE
29 | bus_MV_557_0_node_56 | 20 | n |  | TRUE
30 | bus_MV_557_0_node_54 | 20 | n |  | TRUE
31 | bus_MV_557_0_node_64 | 20 | n |  | TRUE
32 | bus_MV_557_0_node_28 | 20 | n |  | TRUE
33 | bus_MV_557_0_node_68 | 20 | n |  | TRUE
34 | bus_MV_557_0_node_26 | 20 | n |  | TRUE
35 | bus_MV_557_0_node_24 | 20 | n |  | TRUE
36 | bus_MV_557_0_node_17 | 20 | n |  | TRUE
37 | bus_MV_557_0_node_18 | 20 | n |  | TRUE
38 | bus_MV_557_0_node_40 | 20 | n |  | TRUE
39 | bus_MV_557_0_node_44 | 20 | n |  | TRUE
40 | bus_MV_557_0_node_19 | 20 | n |  | TRUE
41 | bus_MV_557_0_node_20 | 20 | n |  | TRUE
42 | bus_MV_557_0_node_21 | 20 | n |  | TRUE
43 | bus_MV_557_0_node_22 | 20 | n |  | TRUE
44 | bus_MV_557_0_node_23 | 20 | n |  | TRUE
45 | bus_MV_557_0_node_65 | 20 | n |  | TRUE
46 | bus_MV_557_0_node_97 | 20 | n |  | TRUE
47 | bus_MV_557_0_node_93 | 20 | n |  | TRUE
48 | bus_MV_557_0_node_27 | 20 | n |  | TRUE
49 | bus_MV_557_0_node_29 | 20 | n |  | TRUE
50 | bus_MV_557_0_node_85 | 20 | n |  | TRUE
51 | bus_MV_557_0_node_101 | 20 | n |  | TRUE
52 | bus_MV_557_0_node_30 | 20 | n |  | TRUE
53 | bus_MV_557_0_node_31 | 20 | n |  | TRUE
54 | bus_MV_557_0_node_32 | 20 | n |  | TRUE
55 | bus_MV_557_0_node_33 | 20 | n |  | TRUE
56 | bus_MV_557_0_node_95 | 20 | n |  | TRUE
57 | bus_MV_557_0_node_34 | 20 | n |  | TRUE
58 | bus_MV_557_0_node_100 | 20 | n |  | TRUE
59 | bus_MV_557_0_node_81 | 20 | n |  | TRUE
60 | bus_MV_557_0_node_82 | 20 | n |  | TRUE
61 | bus_MV_557_0_node_36 | 20 | n |  | TRUE
62 | bus_MV_557_0_node_70 | 20 | n |  | TRUE
63 | bus_MV_557_0_node_71 | 20 | n |  | TRUE
64 | bus_MV_557_0_node_69 | 20 | n |  | TRUE
65 | bus_MV_557_0_node_38 | 20 | n |  | TRUE
66 | bus_MV_557_0_node_92 | 20 | n |  | TRUE
67 | bus_MV_557_0_node_39 | 20 | n |  | TRUE
68 | bus_MV_557_0_node_91 | 20 | n |  | TRUE
69 | bus_MV_557_0_node_50 | 20 | n |  | TRUE
70 | bus_MV_557_0_node_48 | 20 | n |  | TRUE
71 | bus_MV_557_0_node_98 | 20 | n |  | TRUE
72 | bus_MV_557_0_node_89 | 20 | n |  | TRUE
73 | bus_MV_557_0_node_78 | 20 | n |  | TRUE
74 | bus_MV_557_0_node_47 | 20 | n |  | TRUE
75 | bus_MV_557_0_node_42 | 20 | n |  | TRUE
76 | bus_MV_557_0_node_43 | 20 | n |  | TRUE
77 | bus_MV_557_0_node_67 | 20 | n |  | TRUE
78 | bus_MV_557_0_node_66 | 20 | n |  | TRUE
79 | bus_MV_557_0_node_96 | 20 | n |  | TRUE
80 | bus_MV_557_0_node_46 | 20 | n |  | TRUE
81 | bus_MV_557_0_node_75 | 20 | n |  | TRUE
82 | bus_MV_557_0_node_45 | 20 | n |  | TRUE
83 | bus_MV_557_0_node_51 | 20 | n |  | TRUE
84 | bus_MV_557_0_node_52 | 20 | n |  | TRUE
85 | bus_MV_557_0_node_53 | 20 | n |  | TRUE
86 | bus_MV_557_0_node_59 | 20 | n |  | TRUE
87 | bus_MV_557_0_node_57 | 20 | n |  | TRUE
88 | bus_MV_557_0_node_58 | 20 | n |  | TRUE
89 | bus_MV_557_0_node_60 | 20 | n |  | TRUE
90 | bus_MV_557_0_node_94 | 20 | n |  | TRUE
91 | bus_MV_557_0_node_73 | 20 | n |  | TRUE
92 | bus_MV_557_0_node_72 | 20 | n |  | TRUE
93 | bus_MV_557_0_node_74 | 20 | n |  | TRUE
94 | bus_MV_557_0_node_76 | 20 | n |  | TRUE
95 | bus_MV_557_0_node_77 | 20 | n |  | TRUE
96 | bus_MV_557_0_node_87 | 20 | n |  | TRUE
97 | bus_MV_557_0_node_88 | 20 | n |  | TRUE
98 | bus_MV_557_0_node_90 | 20 | n |  | TRUE
99 | bus_MV_557_0_node_102 | 20 | n |  | TRUE
100 | bus_HV_557_0_node_101 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_557_0_load_0 | 0 | 0.19598 | 0.094916 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_557_0_load_2 | 2 | 0.068637 | 0.033242 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_557_0_load_84 | 5 | 0.096897 | 0.04693 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_557_0_load_83 | 7 | 0.85071 | 0.41202 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_557_0_load_61 | 8 | 0.168 | 0.081364 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_557_0_load_6 | 10 | 0.20498 | 0.099279 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_557_0_load_8 | 11 | 0.73958 | 0.35819 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_557_0_load_9 | 12 | 0.50866 | 0.24635 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_557_0_load_16 | 14 | 0.1912 | 0.092601 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_557_0_load_10 | 16 | 0.15257 | 0.073893 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_557_0_load_86 | 17 | 0.078127 | 0.037839 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_557_0_load_80 | 20 | 0.234 | 0.11333 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_557_0_load_62 | 22 | 0.13026 | 0.06309 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_557_0_load_79 | 23 | 0.13865 | 0.067153 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_557_0_load_63 | 25 | 0.086157 | 0.041728 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_557_0_load_25 | 26 | 0.44128 | 0.21372 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_557_0_load_99 | 28 | 0.32767 | 0.1587 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_557_0_load_68 | 33 | 0.09301 | 0.045047 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_557_0_load_26 | 34 | 0.19916 | 0.096459 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_557_0_load_24 | 35 | 0.17438 | 0.084455 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_557_0_load_17 | 36 | 0.17644 | 0.085452 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_557_0_load_18 | 37 | 0.25311 | 0.12259 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_557_0_load_19 | 40 | 0.32012 | 0.15504 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_557_0_load_20 | 41 | 0.42744 | 0.20702 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_557_0_load_97 | 46 | 0.10117 | 0.048999 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_557_0_load_93 | 47 | 0.42638 | 0.20651 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_557_0_load_27 | 48 | 0.42517 | 0.20592 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_557_0_load_101 | 51 | 0.22141 | 0.10724 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_557_0_load_30 | 52 | 0.17359 | 0.084073 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_557_0_load_31 | 53 | 0.09962 | 0.048248 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_557_0_load_95 | 56 | 0.39752 | 0.19253 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_557_0_load_100 | 58 | 1.4521 | 0.70328 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_557_0_load_82 | 60 | 0.38826 | 0.18804 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_557_0_load_36 | 61 | 0.35351 | 0.17121 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_557_0_load_71 | 63 | 0.075466 | 0.03655 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_557_0_load_69 | 64 | 0.11369 | 0.055061 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_557_0_load_91 | 68 | 0.56217 | 0.27227 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_557_0_load_48 | 70 | 0.38711 | 0.18749 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_557_0_load_98 | 71 | 0.29361 | 0.1422 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_557_0_load_89 | 72 | 0.73448 | 0.35572 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_557_0_load_78 | 73 | 0.27815 | 0.13472 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_557_0_load_66 | 78 | 0.088717 | 0.042968 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_557_0_load_96 | 79 | 0.35672 | 0.17277 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_557_0_load_75 | 81 | 0.14598 | 0.0707 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_557_0_load_45 | 82 | 0.39666 | 0.19211 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_557_0_load_51 | 83 | 0.29011 | 0.14051 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_557_0_load_52 | 84 | 0.39003 | 0.1889 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_557_0_load_58 | 88 | 0.24429 | 0.11832 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_557_0_load_60 | 89 | 0.14248 | 0.069008 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_557_0_load_94 | 90 | 0.40821 | 0.19771 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_557_0_load_73 | 91 | 0.20034 | 0.097029 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_557_0_load_72 | 92 | 0.19877 | 0.096268 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_557_0_load_77 | 95 | 0.44665 | 0.21632 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_557_0_load_87 | 96 | 0.26431 | 0.12801 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_557_0_load_102 | 99 | 0.29111 | 0.14099 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_557_0_line_0 |  | 0 | 1 | 0.006108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_557_0_line_1 |  | 0 | 2 | 0.034683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_557_0_line_2 |  | 1 | 3 | 0.27081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_557_0_line_3 |  | 1 | 4 | 0.35966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_557_0_line_4 |  | 3 | 5 | 0.023127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_557_0_line_5 |  | 4 | 8 | 0.004947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_557_0_line_6 |  | 4 | 6 | 0.16494 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_557_0_line_7 |  | 6 | 7 | 0.03375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_557_0_line_8 |  | 7 | 9 | 0.13824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_557_0_line_9 |  | 9 | 69 | 0.089562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_557_0_line_10 |  | 10 | 11 | 0.073385 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
11 | MV_557_0_line_11 |  | 10 | 12 | 0.075775 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_557_0_line_12 |  | 10 | 13 | 0.1156 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
13 | MV_557_0_line_13 |  | 11 | 14 | 0.048413 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
14 | MV_557_0_line_14 |  | 11 | 15 | 0.14401 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_557_0_line_15 |  | 12 | 16 | 0.11825 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_557_0_line_16 |  | 13 | 17 | 0.030244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_557_0_line_17 |  | 13 | 18 | 0.5699 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
18 | MV_557_0_line_18 |  | 14 | 26 | 0.13078 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
19 | MV_557_0_line_19 |  | 15 | 23 | 0.35877 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_557_0_line_20 |  | 18 | 21 | 0.30848 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
21 | MV_557_0_line_21 |  | 18 | 22 | 0.11864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_557_0_line_22 |  | 18 | 19 | 0.22927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_557_0_line_23 |  | 19 | 20 | 0.027902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_557_0_line_24 |  | 20 | 27 | 0.058826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_557_0_line_25 |  | 21 | 24 | 0.25535 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
26 | MV_557_0_line_26 |  | 21 | 25 | 0.052922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_557_0_line_27 |  | 24 | 28 | 0.082927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_557_0_line_28 |  | 24 | 29 | 1.3047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_557_0_line_29 |  | 24 | 30 | 0.52317 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
30 | MV_557_0_line_30 |  | 25 | 31 | 0.0706 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_557_0_line_31 |  | 26 | 35 | 0.089703 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
32 | MV_557_0_line_32 |  | 27 | 59 | 0.009192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_557_0_line_33 |  | 27 | 54 | 0.10612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_557_0_line_34 |  | 27 | 57 | 0.084685 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_557_0_line_35 |  | 29 | 86 | 0.35923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_557_0_line_36 |  | 29 | 87 | 0.14166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_557_0_line_37 |  | 29 | 88 | 0.0573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_557_0_line_38 |  | 30 | 78 | 0.051852 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
39 | MV_557_0_line_39 |  | 30 | 85 | 0.085224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_557_0_line_40 |  | 31 | 43 | 0.009183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_557_0_line_41 |  | 32 | 33 | 0.04567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_557_0_line_42 |  | 32 | 34 | 0.028795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_557_0_line_43 |  | 34 | 35 | 0.035094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_557_0_line_44 |  | 35 | 48 | 0.07588 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
45 | MV_557_0_line_45 |  | 36 | 37 | 0.077885 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_557_0_line_46 |  | 37 | 38 | 0.066904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_557_0_line_47 |  | 38 | 39 | 1.0031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_557_0_line_48 |  | 39 | 79 | 0.034665 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_557_0_line_49 |  | 39 | 75 | 0.1839 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
50 | MV_557_0_line_50 |  | 39 | 76 | 1.2457 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
51 | MV_557_0_line_51 |  | 40 | 41 | 0.065764 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_557_0_line_52 |  | 40 | 42 | 0.095826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_557_0_line_53 |  | 41 | 43 | 0.068829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_557_0_line_54 |  | 42 | 44 | 0.087567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_557_0_line_55 |  | 43 | 45 | 0.00164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_557_0_line_56 |  | 44 | 46 | 0.03219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_557_0_line_57 |  | 45 | 47 | 0.052717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_557_0_line_58 |  | 48 | 49 | 0.055325 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
59 | MV_557_0_line_59 |  | 49 | 50 | 0.032323 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
60 | MV_557_0_line_60 |  | 50 | 51 | 0.007044 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
61 | MV_557_0_line_61 |  | 52 | 53 | 0.036647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_557_0_line_62 |  | 52 | 54 | 0.06334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_557_0_line_63 |  | 54 | 55 | 0.089353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_557_0_line_64 |  | 55 | 56 | 0.10224 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_557_0_line_65 |  | 57 | 58 | 0.10913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_557_0_line_66 |  | 59 | 60 | 0.053414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_557_0_line_67 |  | 61 | 62 | 0.053388 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_557_0_line_68 |  | 62 | 63 | 0.29631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_557_0_line_69 |  | 62 | 64 | 0.2914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_557_0_line_70 |  | 63 | 83 | 0.14463 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_557_0_line_71 |  | 64 | 80 | 0.10292 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
72 | MV_557_0_line_72 |  | 64 | 75 | 0.53638 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
73 | MV_557_0_line_73 |  | 65 | 66 | 0.46708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_557_0_line_74 |  | 65 | 67 | 0.26623 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_557_0_line_75 |  | 65 | 68 | 0.057876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_557_0_line_76 |  | 66 | 71 | 0.046856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_557_0_line_77 |  | 67 | 69 | 0.060271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_557_0_line_78 |  | 67 | 70 | 0.017648 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
79 | MV_557_0_line_79 |  | 68 | 72 | 0.027973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_557_0_line_80 |  | 69 | 73 | 0.095675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_557_0_line_81 |  | 70 | 74 | 0.075655 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
82 | MV_557_0_line_82 |  | 72 | 96 | 0.022638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_557_0_line_83 |  | 74 | 80 | 0.1518 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
84 | MV_557_0_line_84 |  | 76 | 77 | 0.12403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_557_0_line_85 |  | 76 | 78 | 0.039771 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
86 | MV_557_0_line_86 |  | 77 | 81 | 0.030484 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_557_0_line_87 |  | 80 | 82 | 0.008543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_557_0_line_88 |  | 81 | 91 | 0.011319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_557_0_line_89 |  | 84 | 85 | 0.069515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_557_0_line_90 |  | 86 | 90 | 0.007572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_557_0_line_91 |  | 87 | 89 | 0.059888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_557_0_line_92 |  | 91 | 92 | 0.013914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_557_0_line_93 |  | 92 | 93 | 0.063481 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_557_0_line_94 |  | 93 | 94 | 0.010076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_557_0_line_95 |  | 94 | 95 | 0.049965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_557_0_line_96 |  | 96 | 97 | 0.0027902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_557_0_line_97 |  | 97 | 98 | 0.090609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_557_0_line_98 |  | 98 | 99 | 0.091073 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_557_0_trafo_101 | 25 MVA 110/20 kV | 100 | 51 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2609904.568 | 1269565.7081
1 | 2609903.457 | 1269559.702
2 | 2609937.7171 | 1269555.5065
3 | 2610042.9962 | 1269340.9259
4 | 2610139.1168 | 1269416.3201
5 | 2610055.5775 | 1269321.521
6 | 2610237.4767 | 1269304.2094
7 | 2610256.6313 | 1269276.4218
8 | 2610135.1115 | 1269413.4001
9 | 2610335.9883 | 1269163.236
10 | 2609642.6285 | 1269415.4132
11 | 2609679.4628 | 1269351.942
12 | 2609708.1665 | 1269453.447
13 | 2609527.0286 | 1269414.3733
14 | 2609721.9712 | 1269332.1782
15 | 2609625.5804 | 1269218.3937
16 | 2609672.655 | 1269566.2393
17 | 2609503.4051 | 1269395.4893
18 | 2609405.8149 | 1269186.642
19 | 2609427.2114 | 1269022.3044
20 | 2609446.7775 | 1269002.4182
21 | 2609222.1915 | 1268996.5872
22 | 2609316.5798 | 1269192.6209
23 | 2609896.9608 | 1268989.9204
24 | 2609289.88 | 1268815.376
25 | 2609192.3971 | 1269040.3252
26 | 2609821.8485 | 1269247.7551
27 | 2609486.6355 | 1268959.4657
28 | 2609350.5313 | 1268872.122
29 | 2609283.9129 | 1268415.3075
30 | 2609559.6221 | 1268493.1098
31 | 2609152.6499 | 1269098.674
32 | 2609700.4592 | 1269155.8712
33 | 2609668.8041 | 1269187.3997
34 | 2609725.8563 | 1269169.442
35 | 2609756.8128 | 1269185.9735
36 | 2610257.3786 | 1268719.9986
37 | 2610304.7125 | 1268658.148
38 | 2610345.0945 | 1268604.7917
39 | 2609851.2441 | 1268631.8499
40 | 2609248.6642 | 1269184.4941
41 | 2609205.029 | 1269141.6184
42 | 2609193.4649 | 1269257.838
43 | 2609147.4764 | 1269106.2714
44 | 2609120.0032 | 1269210.1803
45 | 2609146.5187 | 1269107.6042
46 | 2609137.9823 | 1269183.4446
47 | 2609101.6479 | 1269079.7157
48 | 2609794.031 | 1269119.8477
49 | 2609821.1621 | 1269071.6321
50 | 2609837.0102 | 1269043.4607
51 | 2609840.4666 | 1269037.3176
52 | 2609436.1866 | 1268871.6013
53 | 2609413.9678 | 1268900.2486
54 | 2609483.0158 | 1268884.1624
55 | 2609535.7114 | 1268832.7104
56 | 2609606.9508 | 1268906.0434
57 | 2609548.7548 | 1269004.2744
58 | 2609622.1829 | 1269081.4138
59 | 2609480.2576 | 1268952.8286
60 | 2609436.7727 | 1268929.0205
61 | 2610436.7236 | 1268855.6951
62 | 2610443.0189 | 1268908.7102
63 | 2610149.6191 | 1268948.8078
64 | 2610157.2925 | 1268899.9582
65 | 2610558.353 | 1269085.0605
66 | 2610554.5555 | 1269278.5125
67 | 2610374.4243 | 1269089.2507
68 | 2610534.1105 | 1269137.6151
69 | 2610350.3006 | 1269106.6209
70 | 2610356.7858 | 1269089.8204
71 | 2610534.6163 | 1269320.9404
72 | 2610522.3922 | 1269163.0156
73 | 2610296.2926 | 1269185.4945
74 | 2610310.7274 | 1269029.6979
75 | 2609695.3081 | 1268646.504
76 | 2609506.2139 | 1268418.7053
77 | 2609440.5883 | 1268317.3185
78 | 2609529.7698 | 1268450.722
79 | 2609885.535 | 1268636.9326
80 | 2610257.3271 | 1268924.1645
81 | 2609425.0355 | 1268291.1001
82 | 2610261.3808 | 1268916.6551
83 | 2610039.137 | 1269042.142
84 | 2609660.2762 | 1268481.5087
85 | 2609603.9965 | 1268522.3241
86 | 2609406.8352 | 1268503.6849
87 | 2609337.0339 | 1268319.7345
88 | 2609316.3499 | 1268462.5425
89 | 2609372.1766 | 1268368.3017
90 | 2609401.7495 | 1268498.0618
91 | 2609419.2609 | 1268281.3655
92 | 2609412.1622 | 1268269.3987
93 | 2609390.5325 | 1268210.1084
94 | 2609400.3123 | 1268207.5665
95 | 2609417.5407 | 1268254.3263
96 | 2610512.9094 | 1269183.5712
97 | 2610511.7405 | 1269186.1047
98 | 2610471.8947 | 1269248.256
99 | 2610435.6764 | 1269331.818
100 | 2609840.4666 | 1269037.3176

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99163 | -0.13197 | 0.19598 | 0.094916
1 | 0.99163 | -0.13199 | 0 | 0
2 | 0.99163 | -0.13194 | 0.068637 | 0.033242
3 | 0.9916 | -0.13174 | 0 | 0
4 | 0.9918 | -0.13329 | 0 | 0
5 | 0.99159 | -0.13171 | 0.096897 | 0.04693
6 | 0.99191 | -0.13416 | 0 | 0
7 | 0.99193 | -0.13433 | 0.85071 | 0.41202
8 | 0.9918 | -0.13328 | 0.168 | 0.081364
9 | 0.99217 | -0.13644 | 0 | 0
10 | 0.99818 | -0.068859 | 0.20498 | 0.099279
11 | 0.99834 | -0.067895 | 0.73958 | 0.35819
12 | 0.99811 | -0.068262 | 0.50866 | 0.24635
13 | 0.99768 | -0.098239 | 0 | 0
14 | 0.99846 | -0.067229 | 0.1912 | 0.092601
15 | 0.9983 | -0.068243 | 0 | 0
16 | 0.99808 | -0.068482 | 0.15257 | 0.073893
17 | 0.99768 | -0.098211 | 0.078127 | 0.037839
18 | 0.99649 | -0.10528 | 0 | 0
19 | 0.99568 | -0.09795 | 0 | 0
20 | 0.99558 | -0.097053 | 0.234 | 0.11333
21 | 0.99598 | -0.10839 | 0 | 0
22 | 0.99647 | -0.1051 | 0.13026 | 0.06309
23 | 0.99824 | -0.067744 | 0.13865 | 0.067153
24 | 0.99562 | -0.11067 | 0 | 0
25 | 0.99589 | -0.10756 | 0.086157 | 0.041728
26 | 0.9991 | -0.029242 | 0.44128 | 0.21372
27 | 0.9954 | -0.095322 | 0 | 0
28 | 0.99559 | -0.11035 | 0.32767 | 0.1587
29 | 0.99431 | -0.10067 | 0 | 0
30 | 0.99497 | -0.11464 | 0 | 0
31 | 0.99577 | -0.10652 | 0 | 0
32 | 0.99954 | -0.0023229 | 0 | 0
33 | 0.99953 | -0.0022736 | 0.09301 | 0.045047
34 | 0.99954 | -0.0023523 | 0.19916 | 0.096459
35 | 0.99955 | -0.0024702 | 0.17438 | 0.084455
36 | 0.993 | -0.11792 | 0.17644 | 0.085452
37 | 0.99303 | -0.11775 | 0.25311 | 0.12259
38 | 0.99307 | -0.11809 | 0 | 0
39 | 0.99361 | -0.12244 | 0 | 0
40 | 0.99565 | -0.10541 | 0.32012 | 0.15504
41 | 0.99569 | -0.10572 | 0.42744 | 0.20702
42 | 0.99564 | -0.10531 | 0 | 0
43 | 0.99576 | -0.10639 | 0 | 0
44 | 0.99563 | -0.10522 | 0 | 0
45 | 0.99576 | -0.10638 | 0 | 0
46 | 0.99562 | -0.10518 | 0.10117 | 0.048999
47 | 0.99573 | -0.10611 | 0.42638 | 0.20651
48 | 0.99975 | -0.0013848 | 0.42517 | 0.20592
49 | 0.9999 | -0.00057663 | 0 | 0
50 | 0.99998 | -0.00010327 | 0 | 0
51 | 1 | 0 | -16.4716 | -7.29
52 | 0.99528 | -0.0943 | 0.17359 | 0.084073
53 | 0.99528 | -0.094257 | 0.09962 | 0.048248
54 | 0.99531 | -0.094502 | 0 | 0
55 | 0.99526 | -0.09408 | 0 | 0
56 | 0.99518 | -0.094576 | 0.39752 | 0.19253
57 | 0.99524 | -0.093856 | 0 | 0
58 | 0.99504 | -0.091951 | 1.4521 | 0.70328
59 | 0.99539 | -0.09528 | 0 | 0
60 | 0.99536 | -0.095031 | 0.38826 | 0.18804
61 | 0.99267 | -0.12335 | 0.35351 | 0.17121
62 | 0.99271 | -0.12312 | 0 | 0
63 | 0.99257 | -0.12187 | 0.075466 | 0.03655
64 | 0.99298 | -0.12546 | 0.11369 | 0.055061
65 | 0.99173 | -0.1323 | 0 | 0
66 | 0.99155 | -0.13083 | 0 | 0
67 | 0.99246 | -0.1389 | 0 | 0
68 | 0.99159 | -0.13101 | 0.56217 | 0.27227
69 | 0.99233 | -0.1378 | 0 | 0
70 | 0.99254 | -0.13689 | 0.38711 | 0.18749
71 | 0.99154 | -0.13067 | 0.29361 | 0.1422
72 | 0.99154 | -0.13058 | 0.73448 | 0.35572
73 | 0.9923 | -0.13748 | 0.27815 | 0.13472
74 | 0.99271 | -0.13499 | 0 | 0
75 | 0.99345 | -0.12326 | 0 | 0
76 | 0.99487 | -0.11528 | 0 | 0
77 | 0.99471 | -0.11384 | 0 | 0
78 | 0.99491 | -0.11501 | 0.088717 | 0.042968
79 | 0.99359 | -0.12259 | 0.35672 | 0.17277
80 | 0.99282 | -0.13454 | 0 | 0
81 | 0.99467 | -0.11349 | 0.14598 | 0.0707
82 | 0.99281 | -0.1345 | 0.39666 | 0.19211
83 | 0.99249 | -0.12239 | 0.29011 | 0.14051
84 | 0.9949 | -0.11393 | 0.39003 | 0.1889
85 | 0.99493 | -0.11425 | 0 | 0
86 | 0.99412 | -0.099001 | 0 | 0
87 | 0.99428 | -0.10046 | 0 | 0
88 | 0.99429 | -0.10051 | 0.24429 | 0.11832
89 | 0.99427 | -0.10036 | 0.14248 | 0.069008
90 | 0.99411 | -0.098963 | 0.40821 | 0.19771
91 | 0.99466 | -0.11337 | 0.20034 | 0.097029
92 | 0.99465 | -0.11327 | 0.19877 | 0.096268
93 | 0.99461 | -0.11293 | 0 | 0
94 | 0.9946 | -0.11288 | 0 | 0
95 | 0.99458 | -0.11261 | 0.44665 | 0.21632
96 | 0.99153 | -0.13043 | 0.26431 | 0.12801
97 | 0.99153 | -0.13042 | 0 | 0
98 | 0.99149 | -0.13011 | 0 | 0
99 | 0.99144 | -0.13043 | 0.29111 | 0.14099
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26461 | -0.12734 | 0.26461 | 0.1272 | 5.9577e-07 | -0.00014323 | 0.0085488 | 0.008547 | 0.0085488 | 0.99163 | -0.13197 | 0.99163 | -0.13199 | 3.8858
1 | 0.068637 | 0.032428 | -0.068637 | -0.033242 | 2.2717e-07 | -0.00081423 | 0.0022099 | 0.0022201 | 0.0022201 | 0.99163 | -0.13197 | 0.99163 | -0.13194 | 1.0091
2 | 0.096901 | 0.04003 | -0.096898 | -0.046387 | 3.4489e-06 | -0.0063569 | 0.0030521 | 0.0031275 | 0.0031275 | 0.99163 | -0.13199 | 0.9916 | -0.13174 | 1.4216
3 | -0.36151 | -0.16723 | 0.36158 | 0.1588 | 6.3991e-05 | -0.0084265 | 0.011596 | 0.011495 | 0.011596 | 0.99163 | -0.13199 | 0.9918 | -0.13329 | 5.2707
4 | 0.096898 | 0.046387 | -0.096897 | -0.04693 | 3.0263e-07 | -0.00054284 | 0.0031275 | 0.0031343 | 0.0031343 | 0.9916 | -0.13174 | 0.99159 | -0.13171 | 1.4247
5 | 0.168 | 0.081248 | -0.168 | -0.081364 | 1.9491e-07 | -0.00011613 | 0.0054316 | 0.005433 | 0.005433 | 0.9918 | -0.13329 | 0.9918 | -0.13328 | 2.4696
6 | -0.52957 | -0.24005 | 0.52964 | 0.2362 | 6.2891e-05 | -0.0038555 | 0.016924 | 0.016877 | 0.016924 | 0.9918 | -0.13329 | 0.99191 | -0.13416 | 7.6925
7 | -0.52964 | -0.2362 | 0.52965 | 0.23541 | 1.2827e-05 | -0.00078904 | 0.016877 | 0.016868 | 0.016877 | 0.99191 | -0.13416 | 0.99193 | -0.13433 | 7.6715
8 | -1.3804 | -0.64743 | 1.3807 | 0.64429 | 0.00036302 | -0.0031408 | 0.044371 | 0.044331 | 0.044371 | 0.99193 | -0.13433 | 0.99217 | -0.13644 | 20.1687
9 | -1.3807 | -0.64429 | 1.381 | 0.64225 | 0.00023484 | -0.0020357 | 0.044331 | 0.044305 | 0.044331 | 0.99217 | -0.13644 | 0.99233 | -0.1378 | 20.1505
10 | -14.0352 | -6.1338 | 14.0374 | 6.1259 | 0.0022242 | -0.0079373 | 0.44297 | 0.44286 | 0.44297 | 0.99818 | -0.068859 | 0.99834 | -0.067895 | 34.7156
11 | 0.66128 | 0.31832 | -0.66123 | -0.32011 | 4.562e-05 | -0.001789 | 0.021225 | 0.021247 | 0.021247 | 0.99818 | -0.068859 | 0.99811 | -0.068262 | 9.6579
12 | 13.1689 | 5.7162 | -13.1654 | -5.707 | 0.0035571 | 0.0092469 | 0.41518 | 0.41518 | 0.41518 | 0.99818 | -0.068859 | 0.99768 | -0.098239 | 32.1848
13 | -14.9157 | -6.5425 | 14.9173 | 6.5374 | 0.0016588 | -0.0051302 | 0.47096 | 0.47089 | 0.47096 | 0.99834 | -0.067895 | 0.99846 | -0.067229 | 36.9091
14 | 0.13867 | 0.058451 | -0.13866 | -0.058619 | 4.8602e-06 | -0.0001683 | 0.0043513 | 0.0043532 | 0.0043532 | 0.99834 | -0.067895 | 0.9983 | -0.068243 | 2.073
15 | 0.15258 | 0.073756 | -0.15257 | -0.073893 | 5.0632e-06 | -0.00013746 | 0.0049013 | 0.0049031 | 0.0049031 | 0.99811 | -0.068262 | 0.99808 | -0.068482 | 2.3348
16 | 0.078128 | 0.03712 | -0.078127 | -0.037839 | 2.5381e-07 | -0.00071868 | 0.0025028 | 0.0025118 | 0.0025118 | 0.99768 | -0.098239 | 0.99768 | -0.098211 | 1.1417
17 | 13.0872 | 5.6698 | -13.0722 | -5.7326 | 0.015025 | -0.062737 | 0.41268 | 0.41351 | 0.41351 | 0.99768 | -0.098239 | 0.99649 | -0.10528 | 32.4064
18 | -15.1085 | -6.63 | 15.1138 | 6.6439 | 0.0053119 | 0.013924 | 0.47703 | 0.47702 | 0.47703 | 0.99846 | -0.067229 | 0.9991 | -0.029242 | 36.9788
19 | 0.13866 | 0.058619 | -0.13865 | -0.067153 | 9.2843e-06 | -0.0085338 | 0.0043532 | 0.0044552 | 0.0044552 | 0.9983 | -0.068243 | 0.99824 | -0.067744 | 2.0251
20 | 10.193 | 4.3623 | -10.188 | -4.398 | 0.0049235 | -0.035701 | 0.32119 | 0.32163 | 0.32163 | 0.99649 | -0.10528 | 0.99598 | -0.10839 | 25.2061
21 | 0.13027 | 0.060278 | -0.13026 | -0.06309 | 2.7613e-06 | -0.0028119 | 0.0041582 | 0.0041931 | 0.0041931 | 0.99649 | -0.10528 | 0.99647 | -0.1051 | 1.9059
22 | 2.749 | 1.31 | -2.7466 | -1.3147 | 0.0023837 | -0.0047242 | 0.088216 | 0.088284 | 0.088284 | 0.99649 | -0.10528 | 0.99568 | -0.09795 | 40.1291
23 | 2.7466 | 1.3147 | -2.7463 | -1.3153 | 0.00029035 | -0.00057427 | 0.088284 | 0.088292 | 0.088292 | 0.99568 | -0.09795 | 0.99558 | -0.097053 | 40.1328
24 | 2.5123 | 1.202 | -2.5118 | -1.2032 | 0.00051223 | -0.00124 | 0.080754 | 0.080771 | 0.080771 | 0.99558 | -0.097053 | 0.9954 | -0.095322 | 36.7141
25 | 8.8264 | 3.7513 | -8.8233 | -3.7814 | 0.0030523 | -0.0301 | 0.27797 | 0.27833 | 0.27833 | 0.99598 | -0.10839 | 0.99562 | -0.11067 | 21.8129
26 | 1.3617 | 0.6467 | -1.3615 | -0.64791 | 0.00013492 | -0.0012133 | 0.043692 | 0.043707 | 0.043707 | 0.99598 | -0.10839 | 0.99589 | -0.10756 | 19.867
27 | 0.32769 | 0.15674 | -0.32767 | -0.1587 | 1.2309e-05 | -0.0019589 | 0.010532 | 0.010557 | 0.010557 | 0.99562 | -0.11067 | 0.99559 | -0.11035 | 4.7985
28 | 0.7962 | 0.33978 | -0.79508 | -0.37029 | 0.001113 | -0.030509 | 0.0251 | 0.025464 | 0.025464 | 0.99562 | -0.11067 | 0.99431 | -0.10067 | 11.5746
29 | 7.6994 | 3.2849 | -7.6947 | -3.3473 | 0.0047762 | -0.062437 | 0.24271 | 0.24346 | 0.24346 | 0.99562 | -0.11067 | 0.99497 | -0.11464 | 19.0797
30 | 1.2754 | 0.60618 | -1.2752 | -0.60781 | 0.000158 | -0.0016248 | 0.040933 | 0.040953 | 0.040953 | 0.99589 | -0.10756 | 0.99577 | -0.10652 | 18.6152
31 | -15.5551 | -6.8576 | 15.559 | 6.8678 | 0.003863 | 0.01014 | 0.49118 | 0.49118 | 0.49118 | 0.9991 | -0.029242 | 0.99955 | -0.0024702 | 38.076
32 | 0.38828 | 0.18657 | -0.38827 | -0.18678 | 1.9156e-06 | -0.00021688 | 0.012493 | 0.012496 | 0.012496 | 0.9954 | -0.095322 | 0.99539 | -0.09528 | 5.6798
33 | 0.67085 | 0.31779 | -0.67079 | -0.32028 | 6.5755e-05 | -0.0024908 | 0.021528 | 0.021559 | 0.021559 | 0.9954 | -0.095322 | 0.99531 | -0.094502 | 9.7996
34 | 1.4527 | 0.69887 | -1.4524 | -0.7008 | 0.00024723 | -0.0019297 | 0.04675 | 0.046776 | 0.046776 | 0.9954 | -0.095322 | 0.99524 | -0.093856 | 21.2617
35 | 0.4083 | 0.18907 | -0.40821 | -0.19753 | 8.2495e-05 | -0.0084536 | 0.013063 | 0.013169 | 0.013169 | 0.99431 | -0.10067 | 0.99412 | -0.099001 | 5.9858
36 | 0.14249 | 0.064252 | -0.14248 | -0.067595 | 3.9292e-06 | -0.0033426 | 0.004538 | 0.0045788 | 0.0045788 | 0.99431 | -0.10067 | 0.99428 | -0.10046 | 2.0813
37 | 0.2443 | 0.11697 | -0.24429 | -0.11832 | 4.7406e-06 | -0.0013511 | 0.0078637 | 0.0078807 | 0.0078807 | 0.99431 | -0.10067 | 0.99429 | -0.10051 | 3.5822
38 | 7.3046 | 3.1621 | -7.3042 | -3.1683 | 0.00042738 | -0.0062095 | 0.23094 | 0.23101 | 0.23101 | 0.99497 | -0.11464 | 0.99491 | -0.11501 | 18.1042
39 | 0.39006 | 0.18525 | -0.39004 | -0.18726 | 1.7894e-05 | -0.002009 | 0.012528 | 0.012554 | 0.012554 | 0.99497 | -0.11464 | 0.99493 | -0.11425 | 5.7062
40 | 1.2752 | 0.60781 | -1.2752 | -0.60802 | 2.0562e-05 | -0.0002113 | 0.040953 | 0.040956 | 0.040956 | 0.99577 | -0.10652 | 0.99576 | -0.10639 | 18.6164
41 | 0.093011 | 0.043958 | -0.09301 | -0.045047 | 5.4066e-07 | -0.0010893 | 0.0029711 | 0.0029847 | 0.0029847 | 0.99954 | -0.0023229 | 0.99953 | -0.0022736 | 1.3567
42 | -0.093011 | -0.043958 | 0.093011 | 0.043271 | 3.3838e-07 | -0.00068679 | 0.0029711 | 0.0029627 | 0.0029711 | 0.99954 | -0.0023229 | 0.99954 | -0.0023523 | 1.3505
43 | -0.29217 | -0.13973 | 0.29218 | 0.13889 | 4.0943e-06 | -0.00083594 | 0.0093535 | 0.0093431 | 0.0093535 | 0.99954 | -0.0023523 | 0.99955 | -0.0024702 | 4.2516
44 | -16.0255 | -7.0911 | 16.0285 | 7.0833 | 0.0030023 | -0.0078382 | 0.50611 | 0.506 | 0.50611 | 0.99955 | -0.0024702 | 0.99975 | -0.0013848 | 39.6637
45 | -0.17644 | -0.085452 | 0.17644 | 0.085363 | 4.5062e-06 | -8.8862e-05 | 0.0056991 | 0.0056979 | 0.0056991 | 0.993 | -0.11792 | 0.99303 | -0.11775 | 2.7139
46 | -0.42955 | -0.20795 | 0.42957 | 0.20638 | 1.7166e-05 | -0.0015702 | 0.013873 | 0.013853 | 0.013873 | 0.99303 | -0.11775 | 0.99307 | -0.11809 | 6.3061
47 | -0.42957 | -0.20638 | 0.42982 | 0.18282 | 0.00025165 | -0.023557 | 0.013853 | 0.01357 | 0.013853 | 0.99307 | -0.11809 | 0.99361 | -0.12244 | 6.297
48 | 0.35673 | 0.17273 | -0.35672 | -0.17277 | 8.19e-06 | -3.5726e-05 | 0.011515 | 0.011516 | 0.011516 | 0.99361 | -0.12244 | 0.99359 | -0.12259 | 5.4836
49 | 5.4291 | 2.4518 | -5.4282 | -2.4741 | 0.00085241 | -0.022332 | 0.17307 | 0.17334 | 0.17334 | 0.99361 | -0.12244 | 0.99345 | -0.12326 | 13.585
50 | -6.2156 | -2.8074 | 6.2231 | 2.6568 | 0.0074869 | -0.15052 | 0.19815 | 0.19634 | 0.19815 | 0.99361 | -0.12244 | 0.99487 | -0.11528 | 15.5289
51 | -0.42129 | -0.19894 | 0.42131 | 0.19739 | 1.5997e-05 | -0.0015519 | 0.013508 | 0.013489 | 0.013508 | 0.99565 | -0.10541 | 0.99569 | -0.10572 | 6.1401
52 | 0.10117 | 0.043898 | -0.10117 | -0.046166 | 1.3189e-06 | -0.0022677 | 0.0031976 | 0.0032244 | 0.0032244 | 0.99565 | -0.10541 | 0.99564 | -0.10531 | 1.4656
53 | -0.84875 | -0.40441 | 0.84882 | 0.4028 | 6.8221e-05 | -0.0016091 | 0.027258 | 0.027238 | 0.027258 | 0.99569 | -0.10572 | 0.99576 | -0.10639 | 12.39
54 | 0.10117 | 0.046166 | -0.10117 | -0.048238 | 1.2249e-06 | -0.0020722 | 0.0032244 | 0.0032498 | 0.0032498 | 0.99564 | -0.10531 | 0.99563 | -0.10522 | 1.4772
55 | 0.42639 | 0.20522 | -0.42639 | -0.20526 | 4.1201e-07 | -3.8703e-05 | 0.013719 | 0.013719 | 0.013719 | 0.99576 | -0.10639 | 0.99576 | -0.10638 | 6.2359
56 | 0.10117 | 0.048238 | -0.10117 | -0.048999 | 4.5518e-07 | -0.00076173 | 0.0032498 | 0.0032593 | 0.0032593 | 0.99563 | -0.10522 | 0.99562 | -0.10518 | 1.4815
57 | 0.42639 | 0.20526 | -0.42638 | -0.20651 | 1.3261e-05 | -0.0012441 | 0.013719 | 0.013735 | 0.013735 | 0.99576 | -0.10638 | 0.99573 | -0.10611 | 6.2431
58 | -16.4537 | -7.2892 | 16.456 | 7.2836 | 0.0023077 | -0.0056504 | 0.51963 | 0.51955 | 0.51963 | 0.99975 | -0.0013848 | 0.9999 | -0.00057663 | 40.7234
59 | -16.456 | -7.2836 | 16.4574 | 7.2803 | 0.0013479 | -0.0033024 | 0.51955 | 0.5195 | 0.51955 | 0.9999 | -0.00057663 | 0.99998 | -0.00010327 | 40.717
60 | -16.4574 | -7.2803 | 16.4576 | 7.2795 | 0.00029371 | -0.00071977 | 0.5195 | 0.51949 | 0.5195 | 0.99998 | -0.00010327 | 1 | 0 | 40.7133
61 | 0.09962 | 0.047381 | -0.09962 | -0.048248 | 5.0255e-07 | -0.0008666 | 0.0031996 | 0.0032105 | 0.0032105 | 0.99528 | -0.0943 | 0.99528 | -0.094257 | 1.4593
62 | -0.27321 | -0.13145 | 0.27322 | 0.12996 | 6.5251e-06 | -0.0014962 | 0.0087938 | 0.0087751 | 0.0087938 | 0.99528 | -0.0943 | 0.99531 | -0.094502 | 3.9972
63 | 0.39757 | 0.19032 | -0.39755 | -0.19243 | 1.9536e-05 | -0.0021075 | 0.012784 | 0.012811 | 0.012811 | 0.99531 | -0.094502 | 0.99526 | -0.09408 | 5.8231
64 | 0.39755 | 0.19243 | -0.39752 | -0.19253 | 2.9899e-05 | -0.00010216 | 0.012811 | 0.012812 | 0.012812 | 0.99526 | -0.09408 | 0.99518 | -0.094576 | 6.1011
65 | 1.4524 | 0.7008 | -1.4521 | -0.70328 | 0.00031899 | -0.0024857 | 0.046776 | 0.046808 | 0.046808 | 0.99524 | -0.093856 | 0.99504 | -0.091951 | 21.2765
66 | 0.38827 | 0.18678 | -0.38826 | -0.18804 | 1.1148e-05 | -0.0012603 | 0.012496 | 0.012512 | 0.012512 | 0.99539 | -0.09528 | 0.99536 | -0.095031 | 5.6871
67 | -0.35351 | -0.17121 | 0.35352 | 0.17116 | 1.241e-05 | -5.5033e-05 | 0.011423 | 0.011422 | 0.011423 | 0.99267 | -0.12335 | 0.99271 | -0.12312 | 5.4393
68 | 0.36565 | 0.16995 | -0.3656 | -0.1769 | 5.4786e-05 | -0.0069548 | 0.011725 | 0.011812 | 0.011812 | 0.99271 | -0.12312 | 0.99257 | -0.12187 | 5.3692
69 | -0.71917 | -0.3411 | 0.71938 | 0.33431 | 0.00020765 | -0.0067967 | 0.023146 | 0.023062 | 0.023146 | 0.99271 | -0.12312 | 0.99298 | -0.12546 | 10.5211
70 | 0.29013 | 0.14035 | -0.29011 | -0.14051 | 2.2646e-05 | -0.0001559 | 0.0093735 | 0.0093757 | 0.0093757 | 0.99257 | -0.12187 | 0.99249 | -0.12239 | 4.4646
71 | 4.5927 | 2.1499 | -4.5923 | -2.1491 | 0.00039928 | 0.00079318 | 0.14742 | 0.14742 | 0.14742 | 0.99298 | -0.12546 | 0.99282 | -0.13454 | 11.4283
72 | -5.4257 | -2.5392 | 5.4282 | 2.4741 | 0.0025017 | -0.065083 | 0.17415 | 0.17334 | 0.17415 | 0.99298 | -0.12546 | 0.99345 | -0.12326 | 13.6485
73 | 0.29367 | 0.13015 | -0.29361 | -0.1411 | 5.5284e-05 | -0.01095 | 0.0093501 | 0.0094839 | 0.0094839 | 0.99173 | -0.1323 | 0.99155 | -0.13083 | 4.3109
74 | -2.1461 | -1.0224 | 2.1478 | 1.0167 | 0.0016999 | -0.0057522 | 0.069197 | 0.069119 | 0.069197 | 0.99173 | -0.1323 | 0.99246 | -0.1389 | 31.4531
75 | 1.8525 | 0.89227 | -1.8522 | -0.89355 | 0.00027685 | -0.0012768 | 0.059851 | 0.059868 | 0.059868 | 0.99173 | -0.1323 | 0.99159 | -0.13101 | 27.2127
76 | 0.29361 | 0.1411 | -0.29361 | -0.1422 | 5.6346e-06 | -0.0010982 | 0.0094839 | 0.0094979 | 0.0094979 | 0.99155 | -0.13083 | 0.99154 | -0.13067 | 4.3172
77 | 1.6594 | 0.77337 | -1.6591 | -0.77472 | 0.00022823 | -0.0013495 | 0.05325 | 0.053267 | 0.053267 | 0.99246 | -0.1389 | 0.99233 | -0.1378 | 24.2125
78 | -3.8072 | -1.79 | 3.8074 | 1.7903 | 0.00024259 | 0.00025562 | 0.12237 | 0.12237 | 0.12237 | 0.99246 | -0.1389 | 0.99254 | -0.13689 | 34.9624
79 | 1.29 | 0.62128 | -1.2899 | -0.62191 | 6.4899e-05 | -0.00063742 | 0.041684 | 0.041692 | 0.041692 | 0.99159 | -0.13101 | 0.99154 | -0.13058 | 18.9508
80 | 0.27816 | 0.13247 | -0.27815 | -0.13472 | 1.0292e-05 | -0.0022463 | 0.0089627 | 0.008991 | 0.008991 | 0.99233 | -0.1378 | 0.9923 | -0.13748 | 4.0868
81 | -4.1945 | -1.9778 | 4.1952 | 1.9757 | 0.0006646 | -0.0020743 | 0.13488 | 0.13485 | 0.13488 | 0.99254 | -0.13689 | 0.99271 | -0.13499 | 37.2589
82 | 0.55546 | 0.26619 | -0.55545 | -0.26672 | 9.7221e-06 | -0.0005285 | 0.017933 | 0.017939 | 0.017939 | 0.99154 | -0.13058 | 0.99153 | -0.13043 | 8.1542
83 | -4.1952 | -1.9757 | 4.1956 | 1.9571 | 0.00042573 | -0.018561 | 0.13485 | 0.13461 | 0.13485 | 0.99271 | -0.13499 | 0.99282 | -0.13454 | 10.5678
84 | 0.992 | 0.47323 | -0.99183 | -0.47611 | 0.0001686 | -0.0028804 | 0.031892 | 0.031929 | 0.031929 | 0.99487 | -0.11528 | 0.99471 | -0.11384 | 14.513
85 | -7.2151 | -3.1301 | 7.2155 | 3.1253 | 0.00031993 | -0.0047667 | 0.22821 | 0.22815 | 0.22821 | 0.99487 | -0.11528 | 0.99491 | -0.11501 | 17.8848
86 | 0.99183 | 0.47611 | -0.99179 | -0.47682 | 4.1499e-05 | -0.00070782 | 0.031929 | 0.031938 | 0.031938 | 0.99471 | -0.11384 | 0.99467 | -0.11349 | 14.5171
87 | 0.39666 | 0.19191 | -0.39666 | -0.19211 | 1.8726e-06 | -0.0002005 | 0.012813 | 0.012815 | 0.012815 | 0.99282 | -0.13454 | 0.99281 | -0.1345 | 5.825
88 | 0.84581 | 0.40612 | -0.8458 | -0.40639 | 1.1206e-05 | -0.00026404 | 0.02723 | 0.027234 | 0.027234 | 0.99467 | -0.11349 | 0.99466 | -0.11337 | 12.379
89 | -0.39003 | -0.1889 | 0.39004 | 0.18726 | 1.4649e-05 | -0.0016386 | 0.012574 | 0.012554 | 0.012574 | 0.9949 | -0.11393 | 0.99493 | -0.11425 | 5.7156
90 | 0.40821 | 0.19753 | -0.40821 | -0.19771 | 1.7533e-06 | -0.00017815 | 0.013169 | 0.013171 | 0.013171 | 0.99412 | -0.099001 | 0.99411 | -0.098963 | 5.9868
91 | 0.14248 | 0.067595 | -0.14248 | -0.069008 | 1.6826e-06 | -0.0014131 | 0.0045788 | 0.0045965 | 0.0045965 | 0.99428 | -0.10046 | 0.99427 | -0.10036 | 2.0893
92 | 0.64546 | 0.30936 | -0.64545 | -0.30968 | 8.0172e-06 | -0.00032628 | 0.020773 | 0.020777 | 0.020777 | 0.99466 | -0.11337 | 0.99465 | -0.11327 | 9.4443
93 | 0.44668 | 0.21341 | -0.44666 | -0.21491 | 1.7517e-05 | -0.0014942 | 0.014368 | 0.014386 | 0.014386 | 0.99465 | -0.11327 | 0.99461 | -0.11293 | 6.5393
94 | 0.44666 | 0.21491 | -0.44666 | -0.21515 | 2.7846e-06 | -0.00023716 | 0.014386 | 0.014389 | 0.014389 | 0.99461 | -0.11293 | 0.9946 | -0.11288 | 6.5407
95 | 0.44666 | 0.21515 | -0.44665 | -0.21632 | 1.3826e-05 | -0.001176 | 0.014389 | 0.014404 | 0.014404 | 0.9946 | -0.11288 | 0.99458 | -0.11261 | 6.5474
96 | 0.29114 | 0.13871 | -0.29114 | -0.13877 | 3.2844e-07 | -6.5398e-05 | 0.0093891 | 0.0093899 | 0.0093899 | 0.99153 | -0.13043 | 0.99153 | -0.13042 | 4.2681
97 | 0.29114 | 0.13877 | -0.29113 | -0.14089 | 1.0696e-05 | -0.0021236 | 0.0093899 | 0.0094167 | 0.0094167 | 0.99153 | -0.13042 | 0.99149 | -0.13011 | 4.2803
98 | 0.29113 | 0.14089 | -0.29111 | -0.14099 | 1.4391e-05 | -9.7862e-05 | 0.0094167 | 0.009418 | 0.009418 | 0.99149 | -0.13011 | 0.99144 | -0.13043 | 4.4848

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 16.6931 | 7.3973

## res_load
| p_mw | q_mvar
0 | 0.19598 | 0.094916
1 | 0.068637 | 0.033242
2 | 0.096897 | 0.04693
3 | 0.85071 | 0.41202
4 | 0.168 | 0.081364
5 | 0.20498 | 0.099279
6 | 0.73958 | 0.35819
7 | 0.50866 | 0.24635
8 | 0.1912 | 0.092601
9 | 0.15257 | 0.073893
10 | 0.078127 | 0.037839
11 | 0.234 | 0.11333
12 | 0.13026 | 0.06309
13 | 0.13865 | 0.067153
14 | 0.086157 | 0.041728
15 | 0.44128 | 0.21372
16 | 0.32767 | 0.1587
17 | 0.09301 | 0.045047
18 | 0.19916 | 0.096459
19 | 0.17438 | 0.084455
20 | 0.17644 | 0.085452
21 | 0.25311 | 0.12259
22 | 0.32012 | 0.15504
23 | 0.42744 | 0.20702
24 | 0.10117 | 0.048999
25 | 0.42638 | 0.20651
26 | 0.42517 | 0.20592
27 | 0.22141 | 0.10724
28 | 0.17359 | 0.084073
29 | 0.09962 | 0.048248
30 | 0.39752 | 0.19253
31 | 1.4521 | 0.70328
32 | 0.38826 | 0.18804
33 | 0.35351 | 0.17121
34 | 0.075466 | 0.03655
35 | 0.11369 | 0.055061
36 | 0.56217 | 0.27227
37 | 0.38711 | 0.18749
38 | 0.29361 | 0.1422
39 | 0.73448 | 0.35572
40 | 0.27815 | 0.13472
41 | 0.088717 | 0.042968
42 | 0.35672 | 0.17277
43 | 0.14598 | 0.0707
44 | 0.39666 | 0.19211
45 | 0.29011 | 0.14051
46 | 0.39003 | 0.1889
47 | 0.24429 | 0.11832
48 | 0.14248 | 0.069008
49 | 0.40821 | 0.19771
50 | 0.20034 | 0.097029
51 | 0.19877 | 0.096268
52 | 0.44665 | 0.21632
53 | 0.26431 | 0.12801
54 | 0.29111 | 0.14099

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1