## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_561_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_561_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_561_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_561_0_node_62 | 20 | n |  | TRUE
4 | bus_MV_561_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_561_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_561_0_node_58 | 20 | n |  | TRUE
7 | bus_MV_561_0_node_60 | 20 | n |  | TRUE
8 | bus_MV_561_0_node_77 | 20 | n |  | TRUE
9 | bus_MV_561_0_node_59 | 20 | n |  | TRUE
10 | bus_MV_561_0_node_61 | 20 | n |  | TRUE
11 | bus_MV_561_0_node_42 | 20 | n |  | TRUE
12 | bus_MV_561_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_561_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_561_0_node_37 | 20 | n |  | TRUE
15 | bus_MV_561_0_node_7 | 20 | n |  | TRUE
16 | bus_MV_561_0_node_9 | 20 | n |  | TRUE
17 | bus_MV_561_0_node_54 | 20 | n |  | TRUE
18 | bus_MV_561_0_node_39 | 20 | n |  | TRUE
19 | bus_MV_561_0_node_26 | 20 | n |  | TRUE
20 | bus_MV_561_0_node_51 | 20 | n |  | TRUE
21 | bus_MV_561_0_node_52 | 20 | n |  | TRUE
22 | bus_MV_561_0_node_68 | 20 | n |  | TRUE
23 | bus_MV_561_0_node_74 | 20 | n |  | TRUE
24 | bus_MV_561_0_node_53 | 20 | n |  | TRUE
25 | bus_MV_561_0_node_56 | 20 | n |  | TRUE
26 | bus_MV_561_0_node_38 | 20 | n |  | TRUE
27 | bus_MV_561_0_node_10 | 20 | n |  | TRUE
28 | bus_MV_561_0_node_11 | 20 | n |  | TRUE
29 | bus_MV_561_0_node_12 | 20 | n |  | TRUE
30 | bus_MV_561_0_node_14 | 20 | n |  | TRUE
31 | bus_MV_561_0_node_17 | 20 | n |  | TRUE
32 | bus_MV_561_0_node_13 | 20 | n |  | TRUE
33 | bus_MV_561_0_node_83 | 20 | n |  | TRUE
34 | bus_MV_561_0_node_15 | 20 | n |  | TRUE
35 | bus_MV_561_0_node_22 | 20 | n |  | TRUE
36 | bus_MV_561_0_node_76 | 20 | n |  | TRUE
37 | bus_MV_561_0_node_16 | 20 | n |  | TRUE
38 | bus_MV_561_0_node_34 | 20 | n |  | TRUE
39 | bus_MV_561_0_node_31 | 20 | n |  | TRUE
40 | bus_MV_561_0_node_30 | 20 | n |  | TRUE
41 | bus_MV_561_0_node_29 | 20 | n |  | TRUE
42 | bus_MV_561_0_node_84 | 20 | n |  | TRUE
43 | bus_MV_561_0_node_20 | 20 | n |  | TRUE
44 | bus_MV_561_0_node_55 | 20 | n |  | TRUE
45 | bus_MV_561_0_node_18 | 20 | n |  | TRUE
46 | bus_MV_561_0_node_19 | 20 | n |  | TRUE
47 | bus_MV_561_0_node_21 | 20 | n |  | TRUE
48 | bus_MV_561_0_node_23 | 20 | n |  | TRUE
49 | bus_MV_561_0_node_27 | 20 | n |  | TRUE
50 | bus_MV_561_0_node_24 | 20 | n |  | TRUE
51 | bus_MV_561_0_node_28 | 20 | n |  | TRUE
52 | bus_MV_561_0_node_25 | 20 | n |  | TRUE
53 | bus_MV_561_0_node_48 | 20 | n |  | TRUE
54 | bus_MV_561_0_node_41 | 20 | n |  | TRUE
55 | bus_MV_561_0_node_35 | 20 | n |  | TRUE
56 | bus_MV_561_0_node_32 | 20 | n |  | TRUE
57 | bus_MV_561_0_node_33 | 20 | n |  | TRUE
58 | bus_MV_561_0_node_36 | 20 | n |  | TRUE
59 | bus_MV_561_0_node_40 | 20 | n |  | TRUE
60 | bus_MV_561_0_node_43 | 20 | n |  | TRUE
61 | bus_MV_561_0_node_45 | 20 | n |  | TRUE
62 | bus_MV_561_0_node_71 | 20 | n |  | TRUE
63 | bus_MV_561_0_node_46 | 20 | n |  | TRUE
64 | bus_MV_561_0_node_69 | 20 | n |  | TRUE
65 | bus_MV_561_0_node_75 | 20 | n |  | TRUE
66 | bus_MV_561_0_node_63 | 20 | n |  | TRUE
67 | bus_MV_561_0_node_64 | 20 | n |  | TRUE
68 | bus_MV_561_0_node_65 | 20 | n |  | TRUE
69 | bus_MV_561_0_node_67 | 20 | n |  | TRUE
70 | bus_MV_561_0_node_66 | 20 | n |  | TRUE
71 | bus_MV_561_0_node_86 | 20 | n |  | TRUE
72 | bus_MV_561_0_node_87 | 20 | n |  | TRUE
73 | bus_MV_561_0_node_82 | 20 | n |  | TRUE
74 | bus_MV_561_0_node_70 | 20 | n |  | TRUE
75 | bus_MV_561_0_node_78 | 20 | n |  | TRUE
76 | bus_MV_561_0_node_79 | 20 | n |  | TRUE
77 | bus_MV_561_0_node_80 | 20 | n |  | TRUE
78 | bus_MV_561_0_node_81 | 20 | n |  | TRUE
79 | bus_MV_561_0_node_85 | 20 | n |  | TRUE
80 | bus_MV_561_0_node_88 | 20 | n |  | TRUE
81 | bus_HV_561_0_node_24 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_561_0_load_0 | 0 | 0.20671 | 0.10011 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_561_0_load_3 | 2 | 0.27388 | 0.13264 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_561_0_load_62 | 3 | 0.40211 | 0.19475 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_561_0_load_4 | 5 | 0.30463 | 0.14754 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_561_0_load_77 | 8 | 0.075606 | 0.036618 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_561_0_load_59 | 9 | 0.24839 | 0.1203 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_561_0_load_42 | 11 | 0.2721 | 0.13178 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_561_0_load_6 | 13 | 0.40116 | 0.19429 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_561_0_load_37 | 14 | 0.29072 | 0.1408 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_561_0_load_54 | 17 | 0.35401 | 0.17146 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_561_0_load_39 | 18 | 0.28829 | 0.13963 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_561_0_load_68 | 22 | 0.34665 | 0.16789 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_561_0_load_74 | 23 | 0.073716 | 0.035702 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_561_0_load_53 | 24 | 0.26664 | 0.12914 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_561_0_load_56 | 25 | 0.26282 | 0.12729 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_561_0_load_38 | 26 | 0.38441 | 0.18618 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_561_0_load_10 | 27 | 0.33245 | 0.16101 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_561_0_load_83 | 33 | 0.60793 | 0.29443 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_561_0_load_76 | 36 | 0.087935 | 0.042589 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_561_0_load_34 | 38 | 0.27453 | 0.13296 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_561_0_load_31 | 39 | 0.3601 | 0.17441 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_561_0_load_29 | 41 | 0.24065 | 0.11655 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_561_0_load_55 | 44 | 0.32281 | 0.15635 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_561_0_load_18 | 45 | 0.33451 | 0.16201 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_561_0_load_21 | 47 | 0.29861 | 0.14462 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_561_0_load_23 | 48 | 0.28331 | 0.13721 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_561_0_load_48 | 53 | 0.27916 | 0.1352 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_561_0_load_41 | 54 | 0.18977 | 0.091908 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_561_0_load_32 | 56 | 0.38327 | 0.18563 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_561_0_load_40 | 59 | 0.24462 | 0.11848 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_561_0_load_71 | 62 | 0.094026 | 0.045539 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_561_0_load_46 | 63 | 0.24189 | 0.11715 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_561_0_load_75 | 65 | 0.073214 | 0.035459 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_561_0_load_63 | 66 | 0.30891 | 0.14961 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_561_0_load_64 | 67 | 0.069286 | 0.033557 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_561_0_load_86 | 71 | 0.25421 | 0.12312 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_561_0_load_87 | 72 | 0.38693 | 0.1874 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_561_0_load_78 | 75 | 0.08329 | 0.040339 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_561_0_load_79 | 76 | 0.070599 | 0.034193 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_561_0_load_81 | 78 | 0.37348 | 0.18089 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_561_0_load_88 | 80 | 0.11558 | 0.055979 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_561_0_line_0 |  | 0 | 1 | 0.086358 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_561_0_line_1 |  | 0 | 2 | 0.13772 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_561_0_line_2 |  | 0 | 3 | 0.2011 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_561_0_line_3 |  | 1 | 4 | 0.07206 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_561_0_line_4 |  | 2 | 5 | 0.07985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_561_0_line_5 |  | 3 | 11 | 0.081505 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_561_0_line_6 |  | 3 | 10 | 0.053294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_561_0_line_7 |  | 4 | 12 | 0.16858 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
8 | MV_561_0_line_8 |  | 4 | 13 | 0.009716 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
9 | MV_561_0_line_9 |  | 6 | 7 | 0.10296 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_561_0_line_10 |  | 6 | 8 | 0.02552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_561_0_line_11 |  | 7 | 9 | 0.027544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_561_0_line_12 |  | 9 | 10 | 0.058578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_561_0_line_13 |  | 11 | 60 | 0.13364 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_561_0_line_14 |  | 12 | 14 | 0.054636 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
15 | MV_561_0_line_15 |  | 13 | 15 | 0.041679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_561_0_line_16 |  | 14 | 19 | 0.005499 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
17 | MV_561_0_line_17 |  | 15 | 16 | 0.062383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_561_0_line_18 |  | 16 | 17 | 0.11476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_561_0_line_19 |  | 16 | 18 | 0.073253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_561_0_line_20 |  | 17 | 25 | 0.18091 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_561_0_line_21 |  | 17 | 24 | 0.080102 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_561_0_line_22 |  | 18 | 26 | 0.073398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_561_0_line_23 |  | 19 | 50 | 0.16494 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
24 | MV_561_0_line_24 |  | 19 | 52 | 0.1741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_561_0_line_25 |  | 20 | 21 | 0.10736 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_561_0_line_26 |  | 20 | 22 | 0.039987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_561_0_line_27 |  | 21 | 23 | 0.002909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_561_0_line_28 |  | 21 | 24 | 0.13601 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_561_0_line_29 |  | 22 | 64 | 0.021114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_561_0_line_30 |  | 23 | 65 | 0.0003753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_561_0_line_31 |  | 26 | 62 | 0.093863 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_561_0_line_32 |  | 27 | 28 | 0.053531 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_561_0_line_33 |  | 27 | 29 | 0.058084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_561_0_line_34 |  | 28 | 30 | 0.3382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_561_0_line_35 |  | 29 | 31 | 0.10367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_561_0_line_36 |  | 30 | 34 | 0.94524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_561_0_line_37 |  | 30 | 35 | 0.10739 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_561_0_line_38 |  | 30 | 32 | 0.22976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_561_0_line_39 |  | 31 | 40 | 0.055616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_561_0_line_40 |  | 31 | 41 | 0.005772 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_561_0_line_41 |  | 32 | 33 | 0.052901 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_561_0_line_42 |  | 33 | 42 | 0.058715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_561_0_line_43 |  | 34 | 36 | 0.29427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_561_0_line_44 |  | 35 | 39 | 0.057938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_561_0_line_45 |  | 35 | 43 | 0.053422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_561_0_line_46 |  | 37 | 38 | 0.008398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_561_0_line_47 |  | 37 | 39 | 0.089097 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_561_0_line_48 |  | 40 | 44 | 0.01027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_561_0_line_49 |  | 42 | 79 | 0.46329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_561_0_line_50 |  | 43 | 45 | 0.044865 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_561_0_line_51 |  | 45 | 46 | 0.11192 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_561_0_line_52 |  | 46 | 47 | 0.052349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_561_0_line_53 |  | 46 | 48 | 0.093012 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_561_0_line_54 |  | 47 | 49 | 0.032578 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_561_0_line_55 |  | 48 | 50 | 0.10608 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
56 | MV_561_0_line_56 |  | 49 | 51 | 0.084266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_561_0_line_57 |  | 51 | 54 | 0.082429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_561_0_line_58 |  | 52 | 53 | 0.006627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_561_0_line_59 |  | 54 | 55 | 0.060272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_561_0_line_60 |  | 55 | 57 | 0.23349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_561_0_line_61 |  | 56 | 57 | 0.006794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_561_0_line_62 |  | 58 | 59 | 0.006077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_561_0_line_63 |  | 58 | 60 | 0.087764 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_561_0_line_64 |  | 60 | 61 | 0.006692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_561_0_line_65 |  | 61 | 63 | 0.006087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_561_0_line_66 |  | 64 | 74 | 0.06161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_561_0_line_67 |  | 66 | 67 | 0.035455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_561_0_line_68 |  | 66 | 68 | 0.045175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_561_0_line_69 |  | 68 | 69 | 0.14604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_561_0_line_70 |  | 69 | 72 | 0.028432 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_561_0_line_71 |  | 69 | 70 | 0.37452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_561_0_line_72 |  | 70 | 71 | 0.033913 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_561_0_line_73 |  | 72 | 73 | 0.03185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_561_0_line_74 |  | 73 | 77 | 0.22477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_561_0_line_75 |  | 74 | 75 | 0.044236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_561_0_line_76 |  | 75 | 76 | 0.016153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_561_0_line_77 |  | 76 | 77 | 0.040979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_561_0_line_78 |  | 77 | 78 | 0.031645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_561_0_line_79 |  | 79 | 80 | 0.021773 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_561_0_trafo_24 | 25 MVA 110/20 kV | 81 | 50 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2611435.2212 | 1268561.6253
1 | 2611453.6024 | 1268477.2458
2 | 2611299.1538 | 1268540.3723
3 | 2611341.7796 | 1268739.6938
4 | 2611467.9014 | 1268406.6237
5 | 2611220.1032 | 1268527.5468
6 | 2611126.151 | 1268752.3618
7 | 2611202.1764 | 1268731.8791
8 | 2611128.1789 | 1268777.8011
9 | 2611229.76 | 1268733.4211
10 | 2611288.4651 | 1268735.8341
11 | 2611423.1064 | 1268745.0757
12 | 2611589.1104 | 1268450.1339
13 | 2611469.7033 | 1268397.076
14 | 2611578.1997 | 1268503.6726
15 | 2611478.0075 | 1268356.23
16 | 2611490.5127 | 1268295.1112
17 | 2611376.3043 | 1268283.9169
18 | 2611559.6703 | 1268319.2623
19 | 2611577.113 | 1268509.0631
20 | 2611456.0434 | 1267980.4236
21 | 2611413.6786 | 1268079.0335
22 | 2611470.0237 | 1267942.9465
23 | 2611411.0336 | 1268077.8224
24 | 2611362.4428 | 1268205.0238
25 | 2611199.331 | 1268321.4293
26 | 2611629.6958 | 1268341.9149
27 | 2612033.7102 | 1268552.1898
28 | 2612020.1364 | 1268603.3761
29 | 2611976.8224 | 1268539.666
30 | 2611953.6364 | 1268764.2997
31 | 2611963.1102 | 1268450.7091
32 | 2612036.7155 | 1268732.6674
33 | 2612089.5932 | 1268731.1062
34 | 2611981.3977 | 1268931.0954
35 | 2611868.7966 | 1268698.461
36 | 2611691.164 | 1268892.9563
37 | 2611866.8026 | 1268845.2271
38 | 2611867.4405 | 1268853.6009
39 | 2611863.79 | 1268756.1805
40 | 2611974.1301 | 1268397.0602
41 | 2611957.5143 | 1268449.2301
42 | 2612148.287 | 1268729.5257
43 | 2611873.1848 | 1268645.2211
44 | 2611964.7696 | 1268392.7716
45 | 2611876.9917 | 1268600.5195
46 | 2611767.0155 | 1268579.7527
47 | 2611760.3811 | 1268631.5093
48 | 2611774.4084 | 1268487.0354
49 | 2611760.2714 | 1268664.0876
50 | 2611672.0366 | 1268459.236
51 | 2611766.009 | 1268745.8343
52 | 2611563.9566 | 1268583.6789
53 | 2611564.0146 | 1268577.0521
54 | 2611773.0249 | 1268827.9616
55 | 2611777.1421 | 1268888.0899
56 | 2611877.2147 | 1269000.5352
57 | 2611877.1333 | 1269007.3287
58 | 2611562.2399 | 1268827.6029
59 | 2611568.335 | 1268827.6148
60 | 2611556.7395 | 1268746.2794
61 | 2611563.4516 | 1268746.3369
62 | 2611648.3385 | 1268249.9218
63 | 2611568.86 | 1268743.5121
64 | 2611490.3322 | 1267948.9344
65 | 2611410.6924 | 1268077.6662
66 | 2611632.763 | 1268138.0893
67 | 2611664.3997 | 1268154.0942
68 | 2611653.6463 | 1268098.046
69 | 2611689.9404 | 1268026.7672
70 | 2611786.2953 | 1268215.6792
71 | 2611773.3117 | 1268247.0088
72 | 2611703.0927 | 1268001.5421
73 | 2611717.5232 | 1267973.1284
74 | 2611518.2923 | 1267893.9944
75 | 2611557.2699 | 1267914.9119
76 | 2611571.1197 | 1267923.2173
77 | 2611605.871 | 1267944.9116
78 | 2611584.6245 | 1267968.42
79 | 2612247.902 | 1269046.943
80 | 2612269.6615 | 1269047.7107
81 | 2611672.0366 | 1268459.236

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99816 | -0.018615 | 0.20671 | 0.10011
1 | 0.99854 | -0.016153 | 0 | 0
2 | 0.998 | -0.019605 | 0.27388 | 0.13264
3 | 0.99758 | -0.022398 | 0.40211 | 0.19475
4 | 0.99875 | -0.018061 | 0 | 0
5 | 0.99797 | -0.019317 | 0.30463 | 0.14754
6 | 0.99752 | -0.021897 | 0 | 0
7 | 0.99753 | -0.021979 | 0 | 0
8 | 0.99752 | -0.021875 | 0.075606 | 0.036618
9 | 0.99754 | -0.021998 | 0.24839 | 0.1203
10 | 0.99756 | -0.02221 | 0 | 0
11 | 0.99746 | -0.023168 | 0.2721 | 0.13178
12 | 0.99933 | -0.011846 | 0 | 0
13 | 0.99872 | -0.018292 | 0.40116 | 0.19429
14 | 0.99948 | -0.0091515 | 0.29072 | 0.1408
15 | 0.99853 | -0.016535 | 0 | 0
16 | 0.99824 | -0.013899 | 0 | 0
17 | 0.99759 | -0.018272 | 0.35401 | 0.17146
18 | 0.99813 | -0.014592 | 0.28829 | 0.13963
19 | 0.9995 | -0.008868 | 0 | 0
20 | 0.99644 | -0.022199 | 0 | 0
21 | 0.9967 | -0.024452 | 0 | 0
22 | 0.99634 | -0.021355 | 0.34665 | 0.16789
23 | 0.99669 | -0.024447 | 0.073716 | 0.035702
24 | 0.99723 | -0.020725 | 0.26664 | 0.12914
25 | 0.9975 | -0.018851 | 0.26282 | 0.12729
26 | 0.99808 | -0.014175 | 0.38441 | 0.18618
27 | 0.99723 | -0.017557 | 0.33245 | 0.16101
28 | 0.99729 | -0.018112 | 0 | 0
29 | 0.99719 | -0.017181 | 0 | 0
30 | 0.99768 | -0.021521 | 0 | 0
31 | 0.99711 | -0.016498 | 0 | 0
32 | 0.99746 | -0.019764 | 0 | 0
33 | 0.99742 | -0.019348 | 0.60793 | 0.29443
34 | 0.99757 | -0.021625 | 0 | 0
35 | 0.99802 | -0.018711 | 0 | 0
36 | 0.99754 | -0.02138 | 0.087935 | 0.042589
37 | 0.99793 | -0.018572 | 0 | 0
38 | 0.99793 | -0.018544 | 0.27453 | 0.13296
39 | 0.99798 | -0.018273 | 0.3601 | 0.17441
40 | 0.99709 | -0.016285 | 0 | 0
41 | 0.99711 | -0.016481 | 0.24065 | 0.11655
42 | 0.99741 | -0.019311 | 0 | 0
43 | 0.99818 | -0.019989 | 0 | 0
44 | 0.99709 | -0.016245 | 0.32281 | 0.15635
45 | 0.99832 | -0.021059 | 0.33451 | 0.16201
46 | 0.99889 | -0.016778 | 0 | 0
47 | 0.99883 | -0.01627 | 0.29861 | 0.14462
48 | 0.99952 | -0.012144 | 0.28331 | 0.13721
49 | 0.9988 | -0.016528 | 0 | 0
50 | 1 | 0 | -10.8014 | -5.0915
51 | 0.99874 | -0.016003 | 0 | 0
52 | 0.99944 | -0.0083108 | 0 | 0
53 | 0.99943 | -0.0082886 | 0.27916 | 0.1352
54 | 0.99868 | -0.015479 | 0.18977 | 0.091908
55 | 0.99865 | -0.015227 | 0 | 0
56 | 0.99853 | -0.014166 | 0.38327 | 0.18563
57 | 0.99853 | -0.014197 | 0 | 0
58 | 0.99731 | -0.023736 | 0 | 0
59 | 0.99731 | -0.023718 | 0.24462 | 0.11848
60 | 0.99734 | -0.023987 | 0 | 0
61 | 0.99733 | -0.023968 | 0 | 0
62 | 0.99807 | -0.014282 | 0.094026 | 0.045539
63 | 0.99733 | -0.02395 | 0.24189 | 0.11715
64 | 0.9963 | -0.020997 | 0 | 0
65 | 0.99669 | -0.024447 | 0.073214 | 0.035459
66 | 0.99554 | -0.014413 | 0.30891 | 0.14961
67 | 0.99554 | -0.014385 | 0.069286 | 0.033557
68 | 0.99556 | -0.014615 | 0 | 0
69 | 0.99563 | -0.015248 | 0 | 0
70 | 0.99551 | -0.014206 | 0 | 0
71 | 0.99549 | -0.014312 | 0.25421 | 0.12312
72 | 0.99565 | -0.015438 | 0.38693 | 0.1874
73 | 0.9957 | -0.015799 | 0 | 0
74 | 0.99618 | -0.019946 | 0 | 0
75 | 0.99609 | -0.019189 | 0.08329 | 0.040339
76 | 0.99606 | -0.018927 | 0.070599 | 0.034193
77 | 0.99599 | -0.018298 | 0 | 0
78 | 0.99597 | -0.018156 | 0.37348 | 0.18089
79 | 0.99734 | -0.018831 | 0 | 0
80 | 0.99734 | -0.018861 | 0.11558 | 0.055979
81 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -2.271 | -1.0886 | 2.2718 | 1.089 | 0.00081624 | 0.00040851 | 0.072835 | 0.072834 | 0.072835 | 0.99816 | -0.018615 | 0.99854 | -0.016153 | 34.6835
1 | 0.5786 | 0.27818 | -0.57852 | -0.27829 | 8.4598e-05 | -0.00011079 | 0.018567 | 0.018569 | 0.018569 | 0.99816 | -0.018615 | 0.998 | -0.019605 | 8.8425
2 | 1.4857 | 0.7103 | -1.4849 | -0.71003 | 0.00081274 | 0.00027003 | 0.047626 | 0.047629 | 0.047629 | 0.99816 | -0.018615 | 0.99758 | -0.022398 | 22.6804
3 | -2.2718 | -1.089 | 2.2723 | 1.0874 | 0.00051017 | -0.0015645 | 0.072834 | 0.072813 | 0.072834 | 0.99854 | -0.016153 | 0.99875 | -0.018061 | 33.1064
4 | 0.30464 | 0.14564 | -0.30463 | -0.14754 | 1.0194e-05 | -0.0018958 | 0.009767 | 0.0097909 | 0.0097909 | 0.998 | -0.019605 | 0.99797 | -0.019317 | 4.4504
5 | 0.75877 | 0.36472 | -0.75868 | -0.36476 | 8.6189e-05 | -4.2833e-05 | 0.024362 | 0.024363 | 0.024363 | 0.99758 | -0.022398 | 0.99746 | -0.023168 | 11.6014
6 | 0.32402 | 0.15056 | -0.32401 | -0.15183 | 7.6168e-06 | -0.001264 | 0.010339 | 0.010355 | 0.010355 | 0.99758 | -0.022398 | 0.99756 | -0.02221 | 4.7066
7 | -6.3715 | -3.0375 | 6.3749 | 3.0342 | 0.0033879 | -0.0033101 | 0.20402 | 0.20395 | 0.20402 | 0.99875 | -0.018061 | 0.99933 | -0.011846 | 56.3586
8 | 4.0992 | 1.9501 | -4.0991 | -1.9504 | 8.0789e-05 | -0.00027377 | 0.13121 | 0.13121 | 0.13121 | 0.99875 | -0.018061 | 0.99872 | -0.018292 | 36.2458
9 | -0.075606 | -0.036011 | 0.075607 | 0.033566 | 7.973e-07 | -0.0024458 | 0.0024235 | 0.0023939 | 0.0024235 | 0.99752 | -0.021897 | 0.99753 | -0.021979 | 1.1016
10 | 0.075606 | 0.036011 | -0.075606 | -0.036618 | 2.0072e-07 | -0.00060624 | 0.0024235 | 0.0024311 | 0.0024311 | 0.99752 | -0.021897 | 0.99752 | -0.021875 | 1.105
11 | -0.075607 | -0.033566 | 0.075607 | 0.032911 | 2.1006e-07 | -0.00065434 | 0.0023939 | 0.0023863 | 0.0023939 | 0.99753 | -0.021979 | 0.99754 | -0.021998 | 1.0881
12 | -0.324 | -0.15321 | 0.32401 | 0.15183 | 8.3984e-06 | -0.0013893 | 0.010372 | 0.010355 | 0.010372 | 0.99754 | -0.021998 | 0.99756 | -0.02221 | 4.7144
13 | 0.48658 | 0.23298 | -0.48652 | -0.2331 | 5.8049e-05 | -0.00012235 | 0.015613 | 0.015615 | 0.015615 | 0.99746 | -0.023168 | 0.99734 | -0.023987 | 7.4357
14 | -6.3749 | -3.0342 | 6.3757 | 3.0329 | 0.00083164 | -0.0013212 | 0.20395 | 0.20392 | 0.20395 | 0.99933 | -0.011846 | 0.99948 | -0.0091515 | 48.4433
15 | 3.6979 | 1.7561 | -3.6972 | -1.7569 | 0.00077913 | -0.00076129 | 0.11833 | 0.11834 | 0.11834 | 0.99872 | -0.018292 | 0.99853 | -0.016535 | 53.7904
16 | -6.6665 | -3.1737 | 6.6665 | 3.1736 | 9.1524e-05 | -0.00012583 | 0.21325 | 0.21325 | 0.21325 | 0.99948 | -0.0091515 | 0.9995 | -0.008868 | 50.6532
17 | 3.6972 | 1.7569 | -3.696 | -1.758 | 0.0011665 | -0.0011386 | 0.11834 | 0.11836 | 0.11836 | 0.99853 | -0.016535 | 0.99824 | -0.013899 | 53.7987
18 | 2.9292 | 1.3885 | -2.9274 | -1.3876 | 0.0017968 | 0.00098901 | 0.093743 | 0.093744 | 0.093744 | 0.99824 | -0.013899 | 0.99759 | -0.018272 | 44.6401
19 | 0.76682 | 0.36945 | -0.76675 | -0.36949 | 7.9083e-05 | -3.7598e-05 | 0.024615 | 0.024616 | 0.024616 | 0.99824 | -0.013899 | 0.99813 | -0.014592 | 11.722
20 | 0.26285 | 0.12709 | -0.26282 | -0.12729 | 2.3014e-05 | -0.00020049 | 0.0084486 | 0.0084513 | 0.0084513 | 0.99759 | -0.018272 | 0.9975 | -0.018851 | 4.0244
21 | 2.3105 | 1.089 | -2.3097 | -1.0886 | 0.00077972 | 0.00039326 | 0.073914 | 0.073915 | 0.073915 | 0.99759 | -0.018272 | 0.99723 | -0.020725 | 35.1978
22 | 0.47846 | 0.22987 | -0.47843 | -0.2316 | 2.3126e-05 | -0.001739 | 0.015352 | 0.015374 | 0.015374 | 0.99813 | -0.014592 | 0.99808 | -0.014175 | 6.9881
23 | -6.9457 | -3.3045 | 6.9487 | 3.3009 | 0.0029783 | -0.0035638 | 0.22215 | 0.22207 | 0.22215 | 0.9995 | -0.008868 | 1 | 0 | 52.7678
24 | 0.27918 | 0.1309 | -0.27916 | -0.13505 | 1.854e-05 | -0.004147 | 0.0089056 | 0.0089571 | 0.0089571 | 0.9995 | -0.008868 | 0.99944 | -0.0083108 | 4.0714
25 | -1.8946 | -0.89029 | 1.8951 | 0.8879 | 0.00052685 | -0.0023894 | 0.060646 | 0.060614 | 0.060646 | 0.99644 | -0.022199 | 0.9967 | -0.024452 | 27.5662
26 | 1.8946 | 0.89029 | -1.8944 | -0.89118 | 0.00019637 | -0.0008896 | 0.060646 | 0.060657 | 0.060657 | 0.99644 | -0.022199 | 0.99634 | -0.021355 | 27.5716
27 | 0.14693 | 0.071084 | -0.14693 | -0.071153 | 8.6836e-08 | -6.8972e-05 | 0.0047274 | 0.0047283 | 0.0047283 | 0.9967 | -0.024452 | 0.99669 | -0.024447 | 2.1492
28 | -2.042 | -0.95898 | 2.0431 | 0.95947 | 0.0010346 | 0.00048665 | 0.065342 | 0.06534 | 0.065342 | 0.9967 | -0.024452 | 0.99723 | -0.020725 | 31.115
29 | 1.5477 | 0.72329 | -1.5477 | -0.72377 | 6.907e-05 | -0.00047993 | 0.049499 | 0.049505 | 0.049505 | 0.99634 | -0.021355 | 0.9963 | -0.020997 | 22.5022
30 | 0.073214 | 0.03545 | -0.073214 | -0.035459 | 2.696e-09 | -8.9008e-06 | 0.002356 | 0.0023561 | 0.0023561 | 0.99669 | -0.024447 | 0.99669 | -0.024447 | 1.071
31 | 0.094027 | 0.045428 | -0.094026 | -0.045539 | 1.5263e-06 | -0.00011067 | 0.0030203 | 0.0030217 | 0.0030217 | 0.99808 | -0.014175 | 0.99807 | -0.014282 | 1.4389
32 | -0.89599 | -0.42839 | 0.89605 | 0.42714 | 5.9033e-05 | -0.0012536 | 0.028749 | 0.028733 | 0.028749 | 0.99723 | -0.017557 | 0.99729 | -0.018112 | 13.0678
33 | 0.56355 | 0.26738 | -0.56352 | -0.26875 | 2.5306e-05 | -0.0013716 | 0.018056 | 0.018074 | 0.018074 | 0.99723 | -0.017557 | 0.99719 | -0.017181 | 8.2153
34 | -0.89605 | -0.42714 | 0.89642 | 0.41922 | 0.00037146 | -0.0079241 | 0.028733 | 0.028634 | 0.028733 | 0.99729 | -0.018112 | 0.99768 | -0.021521 | 13.0606
35 | 0.56352 | 0.26875 | -0.56348 | -0.2712 | 4.5285e-05 | -0.0024477 | 0.018074 | 0.018104 | 0.018104 | 0.99719 | -0.017181 | 0.99711 | -0.016498 | 8.2293
36 | 0.087947 | 0.013139 | -0.087938 | -0.035598 | 8.7991e-06 | -0.022459 | 0.002573 | 0.0027453 | 0.0027453 | 0.99768 | -0.021521 | 0.99757 | -0.021625 | 1.2479
37 | -1.7081 | -0.76369 | 1.7087 | 0.76391 | 0.00056078 | 0.0002236 | 0.054138 | 0.054137 | 0.054138 | 0.99768 | -0.021521 | 0.99802 | -0.018711 | 25.7801
38 | 0.72372 | 0.33133 | -0.72356 | -0.33674 | 0.00016316 | -0.0054106 | 0.023031 | 0.023097 | 0.023097 | 0.99768 | -0.021521 | 0.99746 | -0.019764 | 10.4987
39 | 0.32282 | 0.15478 | -0.32282 | -0.1561 | 7.9892e-06 | -0.0013178 | 0.010365 | 0.010381 | 0.010381 | 0.99711 | -0.016498 | 0.99709 | -0.016285 | 4.7188
40 | 0.24065 | 0.11642 | -0.24065 | -0.11655 | 4.6168e-07 | -0.00013688 | 0.0077396 | 0.0077413 | 0.0077413 | 0.99711 | -0.016498 | 0.99711 | -0.016481 | 3.5188
41 | 0.72356 | 0.33674 | -0.72352 | -0.33799 | 3.7701e-05 | -0.0012454 | 0.023097 | 0.023112 | 0.023112 | 0.99746 | -0.019764 | 0.99742 | -0.019348 | 10.5057
42 | 0.11559 | 0.043558 | -0.11559 | -0.044953 | 1.0059e-06 | -0.0013943 | 0.0035752 | 0.0035896 | 0.0035896 | 0.99742 | -0.019348 | 0.99741 | -0.019311 | 1.6316
43 | 0.087938 | 0.035598 | -0.087935 | -0.042589 | 3.0467e-06 | -0.0069908 | 0.0027453 | 0.0028275 | 0.0028275 | 0.99757 | -0.021625 | 0.99754 | -0.02138 | 1.2852
44 | 0.63468 | 0.3057 | -0.63465 | -0.30707 | 3.2142e-05 | -0.0013683 | 0.020376 | 0.020394 | 0.020394 | 0.99802 | -0.018711 | 0.99798 | -0.018273 | 9.2699
45 | -2.3433 | -1.0696 | 2.3437 | 1.0685 | 0.00039583 | -0.0011533 | 0.074507 | 0.074492 | 0.074507 | 0.99802 | -0.018711 | 0.99818 | -0.019989 | 33.8668
46 | 0.27453 | 0.13276 | -0.27453 | -0.13296 | 8.7265e-07 | -0.00019942 | 0.0088213 | 0.0088238 | 0.0088238 | 0.99793 | -0.018572 | 0.99793 | -0.018544 | 4.0108
47 | -0.27453 | -0.13276 | 0.27454 | 0.13266 | 1.2351e-05 | -9.8194e-05 | 0.0088213 | 0.00882 | 0.0088213 | 0.99793 | -0.018572 | 0.99798 | -0.018273 | 4.2006
48 | 0.32282 | 0.1561 | -0.32281 | -0.15635 | 1.4781e-06 | -0.00024334 | 0.010381 | 0.010385 | 0.010385 | 0.99709 | -0.016285 | 0.99709 | -0.016245 | 4.7202
49 | 0.11559 | 0.044953 | -0.11558 | -0.055954 | 8.2413e-06 | -0.011001 | 0.0035896 | 0.0037169 | 0.0037169 | 0.99741 | -0.019311 | 0.99734 | -0.018831 | 1.6895
50 | -2.3437 | -1.0685 | 2.3441 | 1.0675 | 0.0003323 | -0.00096888 | 0.074492 | 0.074479 | 0.074492 | 0.99818 | -0.019989 | 0.99832 | -0.021059 | 33.8599
51 | -2.6786 | -1.2295 | 2.68 | 1.2303 | 0.0014483 | 0.00077392 | 0.085224 | 0.085222 | 0.085224 | 0.99832 | -0.021059 | 0.99889 | -0.016778 | 40.5828
52 | 0.87185 | 0.40981 | -0.87179 | -0.41104 | 5.4199e-05 | -0.001231 | 0.027841 | 0.027856 | 0.027856 | 0.99889 | -0.016778 | 0.99883 | -0.01627 | 12.6618
53 | -3.5519 | -1.6401 | 3.554 | 1.6413 | 0.0021184 | 0.001216 | 0.11306 | 0.11306 | 0.11306 | 0.99889 | -0.016778 | 0.99952 | -0.012144 | 53.8391
54 | 0.57319 | 0.26642 | -0.57317 | -0.26645 | 1.9371e-05 | -2.6667e-05 | 0.018268 | 0.018268 | 0.018268 | 0.99883 | -0.01627 | 0.9988 | -0.016528 | 8.6992
55 | -3.8373 | -1.7785 | 3.8387 | 1.78 | 0.001453 | 0.0015287 | 0.12215 | 0.12215 | 0.12215 | 0.99952 | -0.012144 | 1 | 0 | 34.9002
56 | 0.57317 | 0.26645 | -0.57313 | -0.26844 | 3.7594e-05 | -0.0019958 | 0.018268 | 0.018293 | 0.018293 | 0.9988 | -0.016528 | 0.99874 | -0.016003 | 8.3149
57 | 0.57313 | 0.26844 | -0.57309 | -0.27039 | 3.6872e-05 | -0.0019521 | 0.018293 | 0.018317 | 0.018317 | 0.99874 | -0.016003 | 0.99868 | -0.015479 | 8.3259
58 | 0.27916 | 0.13505 | -0.27916 | -0.1352 | 7.0997e-07 | -0.00015784 | 0.0089571 | 0.0089591 | 0.0089591 | 0.99944 | -0.0083108 | 0.99943 | -0.0082886 | 4.0723
59 | 0.38333 | 0.17849 | -0.38332 | -0.17992 | 1.2038e-05 | -0.0014316 | 0.012223 | 0.01224 | 0.01224 | 0.99868 | -0.015479 | 0.99865 | -0.015227 | 5.5637
60 | 0.38332 | 0.17992 | -0.38327 | -0.18546 | 4.6964e-05 | -0.0055452 | 0.01224 | 0.012309 | 0.012309 | 0.99865 | -0.015227 | 0.99853 | -0.014197 | 5.5952
61 | -0.38327 | -0.18563 | 0.38327 | 0.18546 | 1.3745e-06 | -0.00016133 | 0.012311 | 0.012309 | 0.012311 | 0.99853 | -0.014166 | 0.99853 | -0.014197 | 5.5961
62 | 0.24462 | 0.11833 | -0.24462 | -0.11848 | 5.0201e-07 | -0.00014417 | 0.0078657 | 0.0078675 | 0.0078675 | 0.99731 | -0.023736 | 0.99731 | -0.023718 | 3.5761
63 | -0.24462 | -0.11833 | 0.24463 | 0.11625 | 7.2247e-06 | -0.0020821 | 0.0078657 | 0.0078396 | 0.0078657 | 0.99731 | -0.023736 | 0.99734 | -0.023987 | 3.5753
64 | 0.24189 | 0.11685 | -0.24189 | -0.11701 | 5.4029e-07 | -0.00015877 | 0.0077755 | 0.0077775 | 0.0077775 | 0.99734 | -0.023987 | 0.99733 | -0.023968 | 3.5352
65 | 0.24189 | 0.11701 | -0.24189 | -0.11715 | 4.9168e-07 | -0.00014441 | 0.0077775 | 0.0077793 | 0.0077793 | 0.99733 | -0.023968 | 0.99733 | -0.02395 | 3.5361
66 | 1.5477 | 0.72377 | -1.5475 | -0.72517 | 0.00020164 | -0.0014001 | 0.049505 | 0.049523 | 0.049523 | 0.9963 | -0.020997 | 0.99618 | -0.019946 | 22.5103
67 | 0.069286 | 0.032718 | -0.069286 | -0.033557 | 2.3475e-07 | -0.00083891 | 0.0022218 | 0.0022323 | 0.0022323 | 0.99554 | -0.014413 | 0.99554 | -0.014385 | 1.0147
68 | -0.3782 | -0.18233 | 0.37821 | 0.18127 | 8.929e-06 | -0.0010664 | 0.012175 | 0.012161 | 0.012175 | 0.99554 | -0.014413 | 0.99556 | -0.014615 | 5.5339
69 | -0.37821 | -0.18127 | 0.37824 | 0.17782 | 2.8732e-05 | -0.0034477 | 0.012161 | 0.012118 | 0.012161 | 0.99556 | -0.014615 | 0.99563 | -0.015248 | 5.5278
70 | -0.63249 | -0.29205 | 0.6325 | 0.29138 | 1.548e-05 | -0.00066835 | 0.020199 | 0.020191 | 0.020199 | 0.99563 | -0.015248 | 0.99565 | -0.015438 | 9.1814
71 | 0.25425 | 0.11423 | -0.25422 | -0.12308 | 3.3089e-05 | -0.0088532 | 0.0080816 | 0.0081903 | 0.0081903 | 0.99563 | -0.015248 | 0.99551 | -0.014206 | 3.7229
72 | 0.25422 | 0.12308 | -0.25421 | -0.12312 | 4.0535e-06 | -3.7584e-05 | 0.0081903 | 0.0081908 | 0.0081908 | 0.99551 | -0.014206 | 0.99549 | -0.014312 | 3.9004
73 | -1.0194 | -0.47878 | 1.0195 | 0.47804 | 4.5326e-05 | -0.00074045 | 0.032654 | 0.032645 | 0.032654 | 0.99565 | -0.015438 | 0.9957 | -0.015799 | 14.8428
74 | -1.0195 | -0.47804 | 1.0198 | 0.47281 | 0.00031914 | -0.0052275 | 0.032645 | 0.03258 | 0.032645 | 0.9957 | -0.015799 | 0.99599 | -0.018298 | 14.8386
75 | 1.5475 | 0.72517 | -1.5473 | -0.72617 | 0.00014487 | -0.0010051 | 0.049523 | 0.049536 | 0.049536 | 0.99618 | -0.019946 | 0.99609 | -0.019189 | 22.5162
76 | 1.464 | 0.68583 | -1.464 | -0.6862 | 4.7343e-05 | -0.0003686 | 0.046854 | 0.046858 | 0.046858 | 0.99609 | -0.019189 | 0.99606 | -0.018927 | 21.2993
77 | 1.3934 | 0.65201 | -1.3933 | -0.65295 | 0.00010878 | -0.00093839 | 0.044585 | 0.044597 | 0.044597 | 0.99606 | -0.018927 | 0.99599 | -0.018298 | 20.2714
78 | 0.37349 | 0.18014 | -0.37348 | -0.18089 | 6.1069e-06 | -0.00074769 | 0.012018 | 0.012028 | 0.012028 | 0.99599 | -0.018298 | 0.99597 | -0.018156 | 5.4672
79 | 0.11558 | 0.055954 | -0.11558 | -0.055979 | 5.3599e-07 | -2.5519e-05 | 0.0037169 | 0.0037172 | 0.0037172 | 0.99734 | -0.018831 | 0.99734 | -0.018861 | 1.7701

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.8014 | 5.0915

## res_load
| p_mw | q_mvar
0 | 0.20671 | 0.10011
1 | 0.27388 | 0.13264
2 | 0.40211 | 0.19475
3 | 0.30463 | 0.14754
4 | 0.075606 | 0.036618
5 | 0.24839 | 0.1203
6 | 0.2721 | 0.13178
7 | 0.40116 | 0.19429
8 | 0.29072 | 0.1408
9 | 0.35401 | 0.17146
10 | 0.28829 | 0.13963
11 | 0.34665 | 0.16789
12 | 0.073716 | 0.035702
13 | 0.26664 | 0.12914
14 | 0.26282 | 0.12729
15 | 0.38441 | 0.18618
16 | 0.33245 | 0.16101
17 | 0.60793 | 0.29443
18 | 0.087935 | 0.042589
19 | 0.27453 | 0.13296
20 | 0.3601 | 0.17441
21 | 0.24065 | 0.11655
22 | 0.32281 | 0.15635
23 | 0.33451 | 0.16201
24 | 0.29861 | 0.14462
25 | 0.28331 | 0.13721
26 | 0.27916 | 0.1352
27 | 0.18977 | 0.091908
28 | 0.38327 | 0.18563
29 | 0.24462 | 0.11848
30 | 0.094026 | 0.045539
31 | 0.24189 | 0.11715
32 | 0.073214 | 0.035459
33 | 0.30891 | 0.14961
34 | 0.069286 | 0.033557
35 | 0.25421 | 0.12312
36 | 0.38693 | 0.1874
37 | 0.08329 | 0.040339
38 | 0.070599 | 0.034193
39 | 0.37348 | 0.18089
40 | 0.11558 | 0.055979

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1