## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_564_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_564_0_node_44 | 20 | n |  | TRUE
2 | bus_MV_564_0_node_45 | 20 | n |  | TRUE
3 | bus_MV_564_0_node_47 | 20 | n |  | TRUE
4 | bus_MV_564_0_node_43 | 20 | n |  | TRUE
5 | bus_MV_564_0_node_80 | 20 | n |  | TRUE
6 | bus_MV_564_0_node_102 | 20 | n |  | TRUE
7 | bus_MV_564_0_node_33 | 20 | n |  | TRUE
8 | bus_MV_564_0_node_3 | 20 | n |  | TRUE
9 | bus_MV_564_0_node_48 | 20 | n |  | TRUE
10 | bus_MV_564_0_node_4 | 20 | n |  | TRUE
11 | bus_MV_564_0_node_5 | 20 | n |  | TRUE
12 | bus_MV_564_0_node_36 | 20 | n |  | TRUE
13 | bus_MV_564_0_node_40 | 20 | n |  | TRUE
14 | bus_MV_564_0_node_41 | 20 | n |  | TRUE
15 | bus_MV_564_0_node_49 | 20 | n |  | TRUE
16 | bus_MV_564_0_node_39 | 20 | n |  | TRUE
17 | bus_MV_564_0_node_6 | 20 | n |  | TRUE
18 | bus_MV_564_0_node_7 | 20 | n |  | TRUE
19 | bus_MV_564_0_node_9 | 20 | n |  | TRUE
20 | bus_MV_564_0_node_98 | 20 | n |  | TRUE
21 | bus_MV_564_0_node_26 | 20 | n |  | TRUE
22 | bus_MV_564_0_node_20 | 20 | n |  | TRUE
23 | bus_MV_564_0_node_8 | 20 | n |  | TRUE
24 | bus_MV_564_0_node_10 | 20 | n |  | TRUE
25 | bus_MV_564_0_node_18 | 20 | n |  | TRUE
26 | bus_MV_564_0_node_14 | 20 | n |  | TRUE
27 | bus_MV_564_0_node_11 | 20 | n |  | TRUE
28 | bus_MV_564_0_node_19 | 20 | n |  | TRUE
29 | bus_MV_564_0_node_12 | 20 | n |  | TRUE
30 | bus_MV_564_0_node_17 | 20 | n |  | TRUE
31 | bus_MV_564_0_node_100 | 20 | n |  | TRUE
32 | bus_MV_564_0_node_13 | 20 | n |  | TRUE
33 | bus_MV_564_0_node_42 | 20 | n |  | TRUE
34 | bus_MV_564_0_node_15 | 20 | n |  | TRUE
35 | bus_MV_564_0_node_27 | 20 | n |  | TRUE
36 | bus_MV_564_0_node_24 | 20 | n |  | TRUE
37 | bus_MV_564_0_node_25 | 20 | n |  | TRUE
38 | bus_MV_564_0_node_78 | 20 | n |  | TRUE
39 | bus_MV_564_0_node_103 | 20 | n |  | TRUE
40 | bus_MV_564_0_node_16 | 20 | n |  | TRUE
41 | bus_MV_564_0_node_46 | 20 | n |  | TRUE
42 | bus_MV_564_0_node_22 | 20 | n |  | TRUE
43 | bus_MV_564_0_node_97 | 20 | n |  | TRUE
44 | bus_MV_564_0_node_21 | 20 | n |  | TRUE
45 | bus_MV_564_0_node_23 | 20 | n |  | TRUE
46 | bus_MV_564_0_node_28 | 20 | n |  | TRUE
47 | bus_MV_564_0_node_32 | 20 | n |  | TRUE
48 | bus_MV_564_0_node_29 | 20 | n |  | TRUE
49 | bus_MV_564_0_node_30 | 20 | n |  | TRUE
50 | bus_MV_564_0_node_31 | 20 | n |  | TRUE
51 | bus_MV_564_0_node_72 | 20 | n |  | TRUE
52 | bus_MV_564_0_node_35 | 20 | n |  | TRUE
53 | bus_MV_564_0_node_34 | 20 | n |  | TRUE
54 | bus_MV_564_0_node_66 | 20 | n |  | TRUE
55 | bus_MV_564_0_node_69 | 20 | n |  | TRUE
56 | bus_MV_564_0_node_71 | 20 | n |  | TRUE
57 | bus_MV_564_0_node_86 | 20 | n |  | TRUE
58 | bus_MV_564_0_node_87 | 20 | n |  | TRUE
59 | bus_MV_564_0_node_88 | 20 | n |  | TRUE
60 | bus_MV_564_0_node_89 | 20 | n |  | TRUE
61 | bus_MV_564_0_node_108 | 20 | n |  | TRUE
62 | bus_MV_564_0_node_67 | 20 | n |  | TRUE
63 | bus_MV_564_0_node_64 | 20 | n |  | TRUE
64 | bus_MV_564_0_node_84 | 20 | n |  | TRUE
65 | bus_MV_564_0_node_82 | 20 | n |  | TRUE
66 | bus_MV_564_0_node_50 | 20 | n |  | TRUE
67 | bus_MV_564_0_node_51 | 20 | n |  | TRUE
68 | bus_MV_564_0_node_62 | 20 | n |  | TRUE
69 | bus_MV_564_0_node_101 | 20 | n |  | TRUE
70 | bus_MV_564_0_node_61 | 20 | n |  | TRUE
71 | bus_MV_564_0_node_52 | 20 | n |  | TRUE
72 | bus_MV_564_0_node_58 | 20 | n |  | TRUE
73 | bus_MV_564_0_node_63 | 20 | n |  | TRUE
74 | bus_MV_564_0_node_53 | 20 | n |  | TRUE
75 | bus_MV_564_0_node_54 | 20 | n |  | TRUE
76 | bus_MV_564_0_node_55 | 20 | n |  | TRUE
77 | bus_MV_564_0_node_93 | 20 | n |  | TRUE
78 | bus_MV_564_0_node_92 | 20 | n |  | TRUE
79 | bus_MV_564_0_node_104 | 20 | n |  | TRUE
80 | bus_MV_564_0_node_77 | 20 | n |  | TRUE
81 | bus_MV_564_0_node_95 | 20 | n |  | TRUE
82 | bus_MV_564_0_node_105 | 20 | n |  | TRUE
83 | bus_MV_564_0_node_107 | 20 | n |  | TRUE
84 | bus_MV_564_0_node_99 | 20 | n |  | TRUE
85 | bus_MV_564_0_node_70 | 20 | n |  | TRUE
86 | bus_MV_564_0_node_65 | 20 | n |  | TRUE
87 | bus_MV_564_0_node_59 | 20 | n |  | TRUE
88 | bus_MV_564_0_node_60 | 20 | n |  | TRUE
89 | bus_MV_564_0_node_94 | 20 | n |  | TRUE
90 | bus_MV_564_0_node_68 | 20 | n |  | TRUE
91 | bus_MV_564_0_node_79 | 20 | n |  | TRUE
92 | bus_MV_564_0_node_73 | 20 | n |  | TRUE
93 | bus_MV_564_0_node_74 | 20 | n |  | TRUE
94 | bus_MV_564_0_node_75 | 20 | n |  | TRUE
95 | bus_MV_564_0_node_76 | 20 | n |  | TRUE
96 | bus_MV_564_0_node_106 | 20 | n |  | TRUE
97 | bus_MV_564_0_node_81 | 20 | n |  | TRUE
98 | bus_MV_564_0_node_83 | 20 | n |  | TRUE
99 | bus_MV_564_0_node_85 | 20 | n |  | TRUE
100 | bus_MV_564_0_node_91 | 20 | n |  | TRUE
101 | bus_MV_564_0_node_90 | 20 | n |  | TRUE
102 | bus_HV_564_0_node_25 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_564_0_load_0 | 0 | 0.35455 | 0.17172 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_564_0_load_47 | 3 | 0.3177 | 0.15387 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_564_0_load_43 | 4 | 0.25199 | 0.12204 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_564_0_load_80 | 5 | 0.30946 | 0.14988 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_564_0_load_102 | 6 | 0.26994 | 0.13074 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_564_0_load_48 | 9 | 0.20011 | 0.096916 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_564_0_load_36 | 12 | 0.2968 | 0.14375 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_564_0_load_40 | 13 | 0.13423 | 0.06501 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_564_0_load_49 | 15 | 0.12271 | 0.059429 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_564_0_load_39 | 16 | 0.29231 | 0.14157 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_564_0_load_6 | 17 | 0.20488 | 0.099226 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_564_0_load_98 | 20 | 0.071498 | 0.034628 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_564_0_load_18 | 25 | 0.069647 | 0.033731 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_564_0_load_14 | 26 | 0.3203 | 0.15513 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_564_0_load_19 | 28 | 0.28865 | 0.1398 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_564_0_load_17 | 30 | 0.38169 | 0.18486 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_564_0_load_100 | 31 | 0.24561 | 0.11895 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_564_0_load_78 | 38 | 0.20066 | 0.097186 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_564_0_load_103 | 39 | 0.25825 | 0.12508 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_564_0_load_46 | 41 | 0.29039 | 0.14064 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_564_0_load_97 | 43 | 0.2997 | 0.14515 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_564_0_load_21 | 44 | 0.25002 | 0.12109 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_564_0_load_23 | 45 | 0.21685 | 0.10503 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_564_0_load_28 | 46 | 0.24571 | 0.11901 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_564_0_load_29 | 48 | 0.32188 | 0.15589 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_564_0_load_72 | 51 | 0.23616 | 0.11438 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_564_0_load_66 | 54 | 0.24365 | 0.118 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_564_0_load_69 | 55 | 0.24474 | 0.11853 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_564_0_load_86 | 57 | 0.2805 | 0.13585 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_564_0_load_108 | 61 | 0.30255 | 0.14653 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_564_0_load_84 | 64 | 0.29084 | 0.14086 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_564_0_load_50 | 66 | 0.20818 | 0.10082 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_564_0_load_62 | 68 | 0.29634 | 0.14352 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_564_0_load_101 | 69 | 0.21398 | 0.10364 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_564_0_load_63 | 73 | 0.25688 | 0.12441 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_564_0_load_53 | 74 | 0.3633 | 0.17595 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_564_0_load_92 | 78 | 0.28825 | 0.13961 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_564_0_load_104 | 79 | 0.28286 | 0.13699 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_564_0_load_105 | 82 | 0.16059 | 0.077777 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_564_0_load_107 | 83 | 0.26033 | 0.12608 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_564_0_load_99 | 84 | 0.072592 | 0.035158 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_564_0_load_70 | 85 | 0.30645 | 0.14842 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_564_0_load_59 | 87 | 0.2969 | 0.1438 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_564_0_load_94 | 89 | 0.26761 | 0.12961 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_564_0_load_79 | 91 | 0.41199 | 0.19954 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_564_0_load_73 | 92 | 0.39084 | 0.18929 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_564_0_load_106 | 96 | 0.33874 | 0.16406 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_564_0_load_81 | 97 | 0.21763 | 0.1054 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_564_0_load_90 | 101 | 0.23158 | 0.11216 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_564_0_line_0 |  | 0 | 1 | 0.16172 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_564_0_line_1 |  | 1 | 2 | 0.062285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_564_0_line_2 |  | 1 | 3 | 0.25713 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_564_0_line_3 |  | 1 | 4 | 0.068029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_564_0_line_4 |  | 2 | 41 | 0.064307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_564_0_line_5 |  | 3 | 10 | 0.1178 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_564_0_line_6 |  | 4 | 8 | 0.30043 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_564_0_line_7 |  | 5 | 6 | 0.26258 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
8 | MV_564_0_line_8 |  | 5 | 7 | 0.068032 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
9 | MV_564_0_line_9 |  | 6 | 32 | 0.016509 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
10 | MV_564_0_line_10 |  | 7 | 47 | 0.22952 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
11 | MV_564_0_line_11 |  | 8 | 9 | 0.099545 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_564_0_line_12 |  | 9 | 15 | 0.046978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_564_0_line_13 |  | 10 | 11 | 0.42634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_564_0_line_14 |  | 11 | 12 | 0.030299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_564_0_line_15 |  | 12 | 16 | 0.19358 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_564_0_line_16 |  | 13 | 14 | 0.082272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_564_0_line_17 |  | 14 | 32 | 0.22222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_564_0_line_18 |  | 17 | 18 | 0.054334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_564_0_line_19 |  | 18 | 19 | 0.39409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_564_0_line_20 |  | 19 | 26 | 0.05157 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_564_0_line_21 |  | 19 | 23 | 0.22236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_564_0_line_22 |  | 20 | 21 | 7.9682e-05 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_564_0_line_23 |  | 20 | 22 | 0.13256 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_564_0_line_24 |  | 21 | 35 | 0.12808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_564_0_line_25 |  | 21 | 36 | 0.11578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_564_0_line_26 |  | 22 | 42 | 0.033023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_564_0_line_27 |  | 22 | 28 | 0.086864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_564_0_line_28 |  | 23 | 24 | 0.21934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_564_0_line_29 |  | 23 | 25 | 0.013863 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_564_0_line_30 |  | 24 | 27 | 0.25815 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_564_0_line_31 |  | 24 | 28 | 0.086107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_564_0_line_32 |  | 26 | 34 | 0.068246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_564_0_line_33 |  | 27 | 29 | 0.25999 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
34 | MV_564_0_line_34 |  | 27 | 30 | 0.006507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_564_0_line_35 |  | 29 | 31 | 0.029839 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_564_0_line_36 |  | 29 | 32 | 0.28347 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
37 | MV_564_0_line_37 |  | 32 | 33 | 0.24659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_564_0_line_38 |  | 33 | 39 | 0.007632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_564_0_line_39 |  | 34 | 40 | 0.1107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_564_0_line_40 |  | 35 | 46 | 0.008408 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_564_0_line_41 |  | 36 | 45 | 0.007723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_564_0_line_42 |  | 37 | 38 | 0.025451 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
43 | MV_564_0_line_43 |  | 38 | 47 | 0.032825 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
44 | MV_564_0_line_44 |  | 39 | 60 | 0.011052 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_564_0_line_45 |  | 40 | 41 | 0.072244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_564_0_line_46 |  | 42 | 43 | 0.036632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_564_0_line_47 |  | 43 | 44 | 0.10528 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_564_0_line_48 |  | 47 | 52 | 0.39493 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
49 | MV_564_0_line_49 |  | 48 | 49 | 0.10563 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_564_0_line_50 |  | 49 | 50 | 0.367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_564_0_line_51 |  | 50 | 51 | 0.008462 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_564_0_line_52 |  | 51 | 56 | 0.084427 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_564_0_line_53 |  | 52 | 55 | 0.008521 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
54 | MV_564_0_line_54 |  | 52 | 53 | 0.39822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_564_0_line_55 |  | 53 | 54 | 0.006058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_564_0_line_56 |  | 54 | 62 | 0.068301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_564_0_line_57 |  | 55 | 63 | 0.23309 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
58 | MV_564_0_line_58 |  | 56 | 86 | 0.10876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_564_0_line_59 |  | 57 | 58 | 0.008962 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_564_0_line_60 |  | 58 | 59 | 0.15676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_564_0_line_61 |  | 58 | 60 | 0.27537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_564_0_line_62 |  | 59 | 61 | 0.13689 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_564_0_line_63 |  | 61 | 100 | 0.073638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_564_0_line_64 |  | 62 | 90 | 0.1473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_564_0_line_65 |  | 63 | 86 | 0.27149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_564_0_line_66 |  | 63 | 73 | 0.058981 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_564_0_line_67 |  | 64 | 65 | 0.013796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_564_0_line_68 |  | 65 | 97 | 0.014404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_564_0_line_69 |  | 66 | 67 | 0.017845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_564_0_line_70 |  | 66 | 68 | 0.1624 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_564_0_line_71 |  | 67 | 69 | 0.11118 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_564_0_line_72 |  | 68 | 71 | 0.22552 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_564_0_line_73 |  | 68 | 72 | 0.04623 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_564_0_line_74 |  | 69 | 70 | 0.083105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_564_0_line_75 |  | 70 | 88 | 0.37551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_564_0_line_76 |  | 71 | 73 | 0.12807 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_564_0_line_77 |  | 72 | 75 | 0.21892 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_564_0_line_78 |  | 74 | 75 | 0.055169 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_564_0_line_79 |  | 75 | 76 | 0.21965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_564_0_line_80 |  | 76 | 77 | 0.2216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_564_0_line_81 |  | 76 | 78 | 0.06827 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_564_0_line_82 |  | 77 | 79 | 0.075579 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_564_0_line_83 |  | 78 | 80 | 0.035256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_564_0_line_84 |  | 79 | 95 | 0.087437 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_564_0_line_85 |  | 79 | 92 | 0.18685 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_564_0_line_86 |  | 80 | 81 | 0.29548 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_564_0_line_87 |  | 80 | 82 | 0.16181 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_564_0_line_88 |  | 81 | 89 | 0.047507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_564_0_line_89 |  | 83 | 84 | 0.15982 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_564_0_line_90 |  | 84 | 94 | 0.072663 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_564_0_line_91 |  | 85 | 86 | 0.081881 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_564_0_line_92 |  | 87 | 88 | 0.019533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_564_0_line_93 |  | 90 | 91 | 0.006263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_564_0_line_94 |  | 92 | 93 | 0.06423 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_564_0_line_95 |  | 93 | 94 | 0.15873 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_564_0_line_96 |  | 95 | 96 | 0.04422 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_564_0_line_97 |  | 97 | 98 | 0.060653 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_564_0_line_98 |  | 98 | 99 | 0.15784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_564_0_line_99 |  | 99 | 100 | 0.057694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_564_0_line_100 |  | 99 | 101 | 0.036014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_564_0_trafo_25 | 25 MVA 110/20 kV | 102 | 37 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2609637.2502 | 1267863.2373
1 | 2609553.4214 | 1267724.9386
2 | 2609559.6925 | 1267662.9719
3 | 2609509.3716 | 1267978.2678
4 | 2609485.3156 | 1267720.7711
5 | 2609230.6492 | 1267173.4211
6 | 2609297.6711 | 1267427.3029
7 | 2609195.3475 | 1267115.2035
8 | 2609344.3537 | 1267986.0785
9 | 2609248.2582 | 1267960.0991
10 | 2609609.3203 | 1268035.9689
11 | 2609283.4628 | 1268202.2571
12 | 2609255.3967 | 1268213.8771
13 | 2609362.8225 | 1267665.6385
14 | 2609371.1853 | 1267583.7944
15 | 2609229.9327 | 1268003.3559
16 | 2609062.0871 | 1268203.5613
17 | 2609758.737 | 1267674.5142
18 | 2609804.6731 | 1267645.2804
19 | 2609807.1142 | 1267538.821
20 | 2609750.74 | 1267064.5914
21 | 2609750.6606 | 1267064.5855
22 | 2609794.4878 | 1267189.7227
23 | 2609904.607 | 1267415.385
24 | 2609780.6482 | 1267362.1316
25 | 2609905.5483 | 1267401.5547
26 | 2609758.1572 | 1267555.4632
27 | 2609679.8935 | 1267321.972
28 | 2609787.4055 | 1267276.2937
29 | 2609509.4362 | 1267373.1218
30 | 2609686.419 | 1267322.105
31 | 2609512.7954 | 1267343.4731
32 | 2609311.1061 | 1267436.8973
33 | 2609128.525 | 1267442.3294
34 | 2609693.3413 | 1267577.406
35 | 2609694.6486 | 1266987.9404
36 | 2609808.3461 | 1266997.3556
37 | 2609440.1731 | 1267052.3096
38 | 2609414.8841 | 1267055.783
39 | 2609132.3737 | 1267435.7306
40 | 2609636.3438 | 1267591.2675
41 | 2609566.1627 | 1267598.993
42 | 2609827.5348 | 1267191.9565
43 | 2609864.0828 | 1267194.4322
44 | 2609915.932 | 1267286.0579
45 | 2609807.814 | 1267005.0601
46 | 2609686.2341 | 1266987.3819
47 | 2609383.8027 | 1267066.6082
48 | 2609730.598 | 1266804.1931
49 | 2609833.0336 | 1266829.9572
50 | 2609556.7263 | 1266843.9279
51 | 2609548.3201 | 1266842.758
52 | 2609365.8218 | 1266822.0091
53 | 2609109.8561 | 1266829.8618
54 | 2609108.4123 | 1266823.9777
55 | 2609366.7384 | 1266813.538
56 | 2609555.1772 | 1266758.6103
57 | 2608940.3699 | 1267235.5326
58 | 2608933.5418 | 1267241.3597
59 | 2608870.3786 | 1267340.8793
60 | 2609128.2046 | 1267425.4949
61 | 2608958.0798 | 1267445.9841
62 | 2609044.3626 | 1266848.2081
63 | 2609302.4812 | 1266589.481
64 | 2609003.8002 | 1267711.9392
65 | 2609011.7274 | 1267700.6322
66 | 2609326.8718 | 1266200.0036
67 | 2609309.2153 | 1266197.0739
68 | 2609432.7561 | 1266323.1339
69 | 2609198.2994 | 1266189.3628
70 | 2609115.7859 | 1266177.5832
71 | 2609251.2506 | 1266456.9755
72 | 2609465.6574 | 1266353.8519
73 | 2609243.5091 | 1266584.8081
74 | 2609565.8691 | 1266199.9161
75 | 2609522.1442 | 1266233.5583
76 | 2609456.9184 | 1266045.4568
77 | 2609672.9631 | 1265997.3817
78 | 2609434.33 | 1265981.0318
79 | 2609740.1209 | 1265962.7116
80 | 2609422.9698 | 1265947.6461
81 | 2609421.0813 | 1265652.1713
82 | 2609266.4336 | 1265988.6178
83 | 2609736.5564 | 1266397.0524
84 | 2609872.7313 | 1266313.3902
85 | 2609570.5222 | 1266583.0348
86 | 2609563.3677 | 1266664.6024
87 | 2609059.3944 | 1266393.6253
88 | 2609055.7607 | 1266411.8991
89 | 2609373.431 | 1265652.1739
90 | 2608921.1595 | 1266920.4949
91 | 2608918.089 | 1266915.0309
92 | 2609867.8713 | 1266099.0724
93 | 2609907.318 | 1266149.7621
94 | 2609924.8282 | 1266262.8033
95 | 2609736.1082 | 1265875.3666
96 | 2609780.0828 | 1265870.7132
97 | 2609020.0016 | 1267688.8253
98 | 2608976.0286 | 1267646.9295
99 | 2608863.2755 | 1267536.5167
100 | 2608901.1613 | 1267492.9093
101 | 2608833.4331 | 1267516.2248
102 | 2609440.1731 | 1267052.3096

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99457 | -0.036508 | 0.35455 | 0.17172
1 | 0.99469 | -0.035806 | 0 | 0
2 | 0.99483 | -0.037116 | 0 | 0
3 | 0.99423 | -0.038965 | 0.3177 | 0.15387
4 | 0.99464 | -0.035343 | 0.25199 | 0.12204
5 | 0.99939 | -0.01126 | 0.30946 | 0.14988
6 | 0.99851 | -0.040915 | 0.26994 | 0.13074
7 | 0.99949 | -0.0093581 | 0 | 0
8 | 0.99445 | -0.036564 | 0 | 0
9 | 0.99438 | -0.036967 | 0.20011 | 0.096916
10 | 0.99415 | -0.038219 | 0 | 0
11 | 0.99383 | -0.035342 | 0 | 0
12 | 0.9938 | -0.035127 | 0.2968 | 0.14375
13 | 0.9984 | -0.042288 | 0.13423 | 0.06501
14 | 0.99842 | -0.042415 | 0 | 0
15 | 0.99438 | -0.036899 | 0.12271 | 0.059429
16 | 0.99369 | -0.035821 | 0.29231 | 0.14157
17 | 0.99571 | -0.045016 | 0.20488 | 0.099226
18 | 0.99572 | -0.045148 | 0 | 0
19 | 0.99582 | -0.045971 | 0 | 0
20 | 0.99693 | -0.057522 | 0.071498 | 0.034628
21 | 0.99693 | -0.057522 | 0 | 0
22 | 0.99707 | -0.056591 | 0 | 0
23 | 0.99658 | -0.052499 | 0 | 0
24 | 0.99734 | -0.059033 | 0 | 0
25 | 0.99657 | -0.052487 | 0.069647 | 0.033731
26 | 0.99566 | -0.044538 | 0.3203 | 0.15513
27 | 0.99791 | -0.052684 | 0 | 0
28 | 0.99719 | -0.057673 | 0.28865 | 0.1398
29 | 0.99816 | -0.048062 | 0 | 0
30 | 0.99791 | -0.052654 | 0.38169 | 0.18486
31 | 0.99815 | -0.047975 | 0.24561 | 0.11895
32 | 0.99846 | -0.042708 | 0 | 0
33 | 0.99796 | -0.038397 | 0 | 0
34 | 0.99548 | -0.042898 | 0 | 0
35 | 0.99689 | -0.057157 | 0 | 0
36 | 0.9969 | -0.057231 | 0 | 0
37 | 1 | 0 | -12.7382 | -5.9061
38 | 0.99993 | -0.0012865 | 0.20066 | 0.097186
39 | 0.99794 | -0.038262 | 0.25825 | 0.12508
40 | 0.99518 | -0.04022 | 0 | 0
41 | 0.99498 | -0.038463 | 0.29039 | 0.14064
42 | 0.99704 | -0.056375 | 0 | 0
43 | 0.99702 | -0.056134 | 0.2997 | 0.14515
44 | 0.99697 | -0.056455 | 0.25002 | 0.12109
45 | 0.9969 | -0.057211 | 0.21685 | 0.10503
46 | 0.99689 | -0.057132 | 0.24571 | 0.11901
47 | 0.99984 | -0.0029204 | 0 | 0
48 | 0.9974 | -0.039659 | 0.32188 | 0.15589
49 | 0.99747 | -0.039246 | 0 | 0
50 | 0.99762 | -0.040561 | 0 | 0
51 | 0.99762 | -0.040589 | 0.23616 | 0.11438
52 | 0.99937 | -0.011424 | 0 | 0
53 | 0.99904 | -0.0085543 | 0 | 0
54 | 0.99903 | -0.0085087 | 0.24365 | 0.118
55 | 0.99935 | -0.011665 | 0.24474 | 0.11853
56 | 0.99771 | -0.039951 | 0 | 0
57 | 0.99745 | -0.034351 | 0.2805 | 0.13585
58 | 0.99745 | -0.034381 | 0 | 0
59 | 0.99725 | -0.032533 | 0 | 0
60 | 0.99792 | -0.038459 | 0 | 0
61 | 0.99697 | -0.034385 | 0.30255 | 0.14653
62 | 0.999 | -0.0081909 | 0 | 0
63 | 0.99809 | -0.043166 | 0 | 0
64 | 0.99669 | -0.031894 | 0.29084 | 0.14086
65 | 0.9967 | -0.031942 | 0 | 0
66 | 0.99523 | -0.058257 | 0.20818 | 0.10082
67 | 0.99522 | -0.05816 | 0 | 0
68 | 0.99545 | -0.056666 | 0.29634 | 0.14352
69 | 0.99511 | -0.058962 | 0.21398 | 0.10364
70 | 0.99508 | -0.058719 | 0 | 0
71 | 0.99696 | -0.046464 | 0 | 0
72 | 0.99531 | -0.055385 | 0 | 0
73 | 0.99781 | -0.040682 | 0.25688 | 0.12441
74 | 0.99459 | -0.049519 | 0.3633 | 0.17595
75 | 0.99463 | -0.049274 | 0 | 0
76 | 0.99405 | -0.044025 | 0 | 0
77 | 0.99367 | -0.040538 | 0 | 0
78 | 0.99396 | -0.044639 | 0.28825 | 0.13961
79 | 0.99347 | -0.041823 | 0.28286 | 0.13699
80 | 0.99394 | -0.04446 | 0 | 0
81 | 0.99378 | -0.045461 | 0 | 0
82 | 0.99389 | -0.04478 | 0.16059 | 0.077777
83 | 0.99299 | -0.043486 | 0.26033 | 0.12608
84 | 0.99307 | -0.042975 | 0.072592 | 0.035158
85 | 0.99774 | -0.040913 | 0.30645 | 0.14842
86 | 0.99779 | -0.040608 | 0 | 0
87 | 0.99493 | -0.05742 | 0.2969 | 0.1438
88 | 0.99493 | -0.05749 | 0 | 0
89 | 0.99377 | -0.045309 | 0.26761 | 0.12961
90 | 0.99892 | -0.0074813 | 0 | 0
91 | 0.99892 | -0.0074504 | 0.41199 | 0.19954
92 | 0.99321 | -0.043573 | 0.39084 | 0.18929
93 | 0.99317 | -0.043866 | 0 | 0
94 | 0.9931 | -0.043264 | 0 | 0
95 | 0.99342 | -0.042186 | 0 | 0
96 | 0.99339 | -0.042369 | 0.33874 | 0.16406
97 | 0.9967 | -0.031992 | 0.21763 | 0.1054
98 | 0.99674 | -0.032358 | 0 | 0
99 | 0.99685 | -0.033284 | 0 | 0
100 | 0.9969 | -0.033771 | 0 | 0
101 | 0.99683 | -0.033185 | 0.23158 | 0.11216
102 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.35455 | -0.17172 | 0.35459 | 0.17155 | 3.7663e-05 | -0.0001674 | 0.011434 | 0.011432 | 0.011434 | 0.99457 | -0.036508 | 0.99469 | -0.035806 | 5.4448
1 | -1.837 | -0.87225 | 1.8373 | 0.87087 | 0.00028953 | -0.0013857 | 0.059017 | 0.058999 | 0.059017 | 0.99469 | -0.035806 | 0.99483 | -0.037116 | 26.8261
2 | 0.9075 | 0.42545 | -0.90711 | -0.42551 | 0.00038768 | -6.0745e-05 | 0.029088 | 0.029092 | 0.029092 | 0.99469 | -0.035806 | 0.99423 | -0.038965 | 13.8531
3 | 0.57491 | 0.27526 | -0.57488 | -0.27685 | 3.1112e-05 | -0.0015977 | 0.018499 | 0.018519 | 0.018519 | 0.99469 | -0.035806 | 0.99464 | -0.035343 | 8.4176
4 | -1.8373 | -0.87087 | 1.8376 | 0.86943 | 0.00029874 | -0.0014312 | 0.058999 | 0.05898 | 0.058999 | 0.99483 | -0.037116 | 0.99498 | -0.038463 | 26.8178
5 | 0.58941 | 0.27164 | -0.58935 | -0.2744 | 5.5942e-05 | -0.0027635 | 0.018843 | 0.018877 | 0.018877 | 0.99423 | -0.038965 | 0.99415 | -0.038219 | 8.5806
6 | 0.32289 | 0.15481 | -0.32283 | -0.15513 | 5.784e-05 | -0.00031852 | 0.010393 | 0.010397 | 0.010397 | 0.99464 | -0.035343 | 0.99445 | -0.036564 | 4.9511
7 | 6.726 | 3.1149 | -6.7217 | -3.1094 | 0.0042902 | 0.005533 | 0.21411 | 0.21411 | 0.21411 | 0.99939 | -0.01126 | 0.99851 | -0.040915 | 26.1115
8 | -7.0355 | -3.2648 | 7.0361 | 3.2602 | 0.00062471 | -0.0046185 | 0.22404 | 0.22397 | 0.22404 | 0.99939 | -0.01126 | 0.99949 | -0.0093581 | 26.6077
9 | 6.4518 | 2.9786 | -6.4515 | -2.9783 | 0.00024834 | 0.00031695 | 0.20544 | 0.20545 | 0.20545 | 0.99851 | -0.040915 | 0.99846 | -0.042708 | 25.0543
10 | -7.0361 | -3.2602 | 7.0382 | 3.2446 | 0.002105 | -0.015592 | 0.22397 | 0.22376 | 0.22397 | 0.99949 | -0.0093581 | 0.99984 | -0.0029204 | 26.6002
11 | 0.32283 | 0.15513 | -0.32281 | -0.15524 | 1.9176e-05 | -0.0001055 | 0.010397 | 0.010399 | 0.010399 | 0.99445 | -0.036564 | 0.99438 | -0.036967 | 4.9518
12 | 0.12271 | 0.05832 | -0.12271 | -0.059429 | 9.7905e-07 | -0.0011088 | 0.0039441 | 0.0039581 | 0.0039581 | 0.99438 | -0.036967 | 0.99438 | -0.036899 | 1.7991
13 | 0.58935 | 0.2744 | -0.58915 | -0.2844 | 0.00020416 | -0.0099966 | 0.018877 | 0.019002 | 0.019002 | 0.99415 | -0.038219 | 0.99383 | -0.035342 | 8.6375
14 | 0.58915 | 0.2844 | -0.58914 | -0.28511 | 1.4613e-05 | -0.00071017 | 0.019002 | 0.019012 | 0.019012 | 0.99383 | -0.035342 | 0.9938 | -0.035127 | 8.6416
15 | 0.29234 | 0.14136 | -0.29231 | -0.14157 | 3.0696e-05 | -0.00020899 | 0.0094324 | 0.0094353 | 0.0094353 | 0.9938 | -0.035127 | 0.99369 | -0.035821 | 4.493
16 | -0.13423 | -0.06501 | 0.13423 | 0.063053 | 2.0309e-06 | -0.0019575 | 0.0043123 | 0.0042879 | 0.0043123 | 0.9984 | -0.042288 | 0.99842 | -0.042415 | 1.9601
17 | -0.13423 | -0.063053 | 0.13424 | 0.057766 | 5.3735e-06 | -0.0052875 | 0.0042879 | 0.0042252 | 0.0042879 | 0.99842 | -0.042415 | 0.99846 | -0.042708 | 1.9491
18 | -0.20488 | -0.099226 | 0.20488 | 0.09794 | 3.1516e-06 | -0.0012853 | 0.0065997 | 0.0065835 | 0.0065997 | 0.99571 | -0.045016 | 0.99572 | -0.045148 | 2.9999
19 | -0.20488 | -0.09794 | 0.2049 | 0.088617 | 2.2409e-05 | -0.0093234 | 0.0065835 | 0.0064715 | 0.0065835 | 0.99572 | -0.045148 | 0.99582 | -0.045971 | 2.9925
20 | 2.4503 | 1.1586 | -2.4498 | -1.1597 | 0.00042509 | -0.0010947 | 0.07857 | 0.078585 | 0.078585 | 0.99582 | -0.045971 | 0.99566 | -0.044538 | 35.7206
21 | -2.6552 | -1.2472 | 2.6573 | 1.2426 | 0.002145 | -0.0046326 | 0.085038 | 0.084973 | 0.085038 | 0.99582 | -0.045971 | 0.99658 | -0.052499 | 38.6538
22 | 0.46259 | 0.21787 | -0.46259 | -0.21787 | 2.3278e-08 | -1.8839e-06 | 0.014806 | 0.014806 | 0.014806 | 0.99693 | -0.057522 | 0.99693 | -0.057522 | 6.7301
23 | -0.53408 | -0.25249 | 0.53415 | 0.25238 | 6.9105e-05 | -0.00011402 | 0.017106 | 0.017104 | 0.017106 | 0.99693 | -0.057522 | 0.99707 | -0.056591 | 8.1459
24 | 0.24573 | 0.11577 | -0.24572 | -0.11881 | 1.0629e-05 | -0.003036 | 0.0078655 | 0.0079034 | 0.0079034 | 0.99693 | -0.057522 | 0.99689 | -0.057157 | 3.5925
25 | 0.21686 | 0.1021 | -0.21685 | -0.10484 | 7.4825e-06 | -0.0027451 | 0.0069406 | 0.0069749 | 0.0069749 | 0.99693 | -0.057522 | 0.9969 | -0.057231 | 3.1704
26 | 0.54976 | 0.26448 | -0.54975 | -0.26526 | 1.3762e-05 | -0.00077974 | 0.017663 | 0.017673 | 0.017673 | 0.99707 | -0.056591 | 0.99704 | -0.056375 | 8.0332
27 | -1.0839 | -0.51686 | 1.0841 | 0.51484 | 0.00014007 | -0.0020205 | 0.034767 | 0.034742 | 0.034767 | 0.99707 | -0.056591 | 0.99719 | -0.057673 | 15.8033
28 | -2.727 | -1.276 | 2.7292 | 1.2715 | 0.0022255 | -0.004545 | 0.087211 | 0.087147 | 0.087211 | 0.99658 | -0.052499 | 0.99734 | -0.059033 | 39.6413
29 | 0.069647 | 0.033403 | -0.069647 | -0.033731 | 9.2826e-08 | -0.0003287 | 0.0022375 | 0.0022416 | 0.0022416 | 0.99658 | -0.052499 | 0.99657 | -0.052487 | 1.0189
30 | -4.1021 | -1.9241 | 4.1042 | 1.9169 | 0.0021428 | -0.007257 | 0.13115 | 0.13104 | 0.13115 | 0.99734 | -0.059033 | 0.99791 | -0.052684 | 36.2284
31 | 1.3729 | 0.65266 | -1.3727 | -0.65464 | 0.00022268 | -0.0019786 | 0.044001 | 0.044026 | 0.044026 | 0.99734 | -0.059033 | 0.99719 | -0.057673 | 20.0118
32 | 2.1295 | 1.0046 | -2.1291 | -1.0061 | 0.00042473 | -0.0014891 | 0.068268 | 0.068288 | 0.068288 | 0.99566 | -0.044538 | 0.99548 | -0.042898 | 31.0398
33 | -4.4859 | -2.1016 | 4.4869 | 2.0827 | 0.00097541 | -0.018891 | 0.1433 | 0.14306 | 0.1433 | 0.99791 | -0.052684 | 0.99816 | -0.048062 | 17.0195
34 | 0.38169 | 0.18471 | -0.38169 | -0.18486 | 1.3073e-06 | -0.00015432 | 0.012266 | 0.012268 | 0.012268 | 0.99791 | -0.052684 | 0.99791 | -0.052654 | 5.5765
35 | 0.24561 | 0.11824 | -0.24561 | -0.11895 | 2.4785e-06 | -0.00070908 | 0.0078834 | 0.0078924 | 0.0078924 | 0.99816 | -0.048062 | 0.99815 | -0.047975 | 3.5874
36 | -4.7325 | -2.2009 | 4.7337 | 2.1804 | 0.0011799 | -0.020502 | 0.15094 | 0.15068 | 0.15094 | 0.99816 | -0.048062 | 0.99846 | -0.042708 | 17.9269
37 | 1.5836 | 0.74013 | -1.5828 | -0.74575 | 0.00084203 | -0.0056166 | 0.050539 | 0.050611 | 0.050611 | 0.99846 | -0.042708 | 0.99796 | -0.038397 | 23.0052
38 | 1.5828 | 0.74575 | -1.5827 | -0.74592 | 2.61e-05 | -0.00017373 | 0.050611 | 0.050614 | 0.050614 | 0.99796 | -0.038397 | 0.99794 | -0.038262 | 23.0062
39 | 2.1291 | 1.0061 | -2.1284 | -1.0085 | 0.0006895 | -0.002414 | 0.068288 | 0.06832 | 0.06832 | 0.99548 | -0.042898 | 0.99518 | -0.04022 | 31.0546
40 | 0.24572 | 0.11881 | -0.24571 | -0.11901 | 7.0135e-07 | -0.00019929 | 0.0079034 | 0.0079059 | 0.0079059 | 0.99689 | -0.057157 | 0.99689 | -0.057132 | 3.5936
41 | 0.21685 | 0.10484 | -0.21685 | -0.10503 | 5.0175e-07 | -0.0001831 | 0.0069749 | 0.0069772 | 0.0069772 | 0.9969 | -0.057231 | 0.9969 | -0.057211 | 3.1715
42 | 12.7242 | 5.8956 | -12.7235 | -5.8968 | 0.00076335 | -0.0012436 | 0.40483 | 0.40485 | 0.40485 | 1 | 0 | 0.99993 | -0.0012865 | 48.0822
43 | 12.5228 | 5.7996 | -12.5218 | -5.8012 | 0.00095359 | -0.0016319 | 0.39842 | 0.39845 | 0.39845 | 0.99993 | -0.0012865 | 0.99984 | -0.0029204 | 47.3215
44 | 1.3245 | 0.62084 | -1.3245 | -0.62083 | 3.5257e-05 | 8.9444e-06 | 0.042314 | 0.042314 | 0.042314 | 0.99794 | -0.038262 | 0.99792 | -0.038459 | 20.1495
45 | 2.1284 | 1.0085 | -2.128 | -1.0101 | 0.00045031 | -0.0015744 | 0.06832 | 0.068341 | 0.068341 | 0.99518 | -0.04022 | 0.99498 | -0.038463 | 31.0642
46 | 0.54975 | 0.26526 | -0.54973 | -0.26612 | 1.5284e-05 | -0.0008649 | 0.017673 | 0.017684 | 0.017684 | 0.99704 | -0.056375 | 0.99702 | -0.056134 | 8.0381
47 | 0.25003 | 0.12097 | -0.25002 | -0.12109 | 1.2134e-05 | -0.00011733 | 0.0080422 | 0.0080438 | 0.0080438 | 0.99702 | -0.056134 | 0.99697 | -0.056455 | 3.8304
48 | 5.4836 | 2.5567 | -5.4814 | -2.5848 | 0.00221 | -0.028121 | 0.17469 | 0.17506 | 0.17506 | 0.99984 | -0.0029204 | 0.99937 | -0.011424 | 20.7905
49 | -0.32188 | -0.15589 | 0.3219 | 0.15578 | 2.0161e-05 | -0.00011282 | 0.010351 | 0.010349 | 0.010351 | 0.9974 | -0.039659 | 0.99747 | -0.039246 | 4.9291
50 | -0.3219 | -0.15578 | 0.32195 | 0.14707 | 5.1929e-05 | -0.008704 | 0.010349 | 0.010242 | 0.010349 | 0.99747 | -0.039246 | 0.99762 | -0.040561 | 4.7043
51 | -0.32195 | -0.14707 | 0.32195 | 0.14687 | 1.1848e-06 | -0.00020073 | 0.010242 | 0.01024 | 0.010242 | 0.99762 | -0.040561 | 0.99762 | -0.040589 | 4.6555
52 | -0.55811 | -0.26125 | 0.55816 | 0.26118 | 4.7825e-05 | -7.0363e-05 | 0.017831 | 0.01783 | 0.017831 | 0.99762 | -0.040589 | 0.99771 | -0.039951 | 8.4911
53 | 4.8255 | 2.2821 | -4.8254 | -2.2823 | 9.7849e-05 | -0.00022084 | 0.15419 | 0.15419 | 0.15419 | 0.99937 | -0.011424 | 0.99935 | -0.011665 | 42.5948
54 | 0.65593 | 0.3027 | -0.65569 | -0.31213 | 0.00023278 | -0.0094238 | 0.020867 | 0.020984 | 0.020984 | 0.99937 | -0.011424 | 0.99904 | -0.0085543 | 9.538
55 | 0.65569 | 0.31213 | -0.65569 | -0.31227 | 3.5613e-06 | -0.00014331 | 0.020984 | 0.020985 | 0.020985 | 0.99904 | -0.0085543 | 0.99903 | -0.0085087 | 9.5388
56 | 0.41204 | 0.19426 | -0.41203 | -0.19589 | 1.5823e-05 | -0.0016229 | 0.013163 | 0.013183 | 0.013183 | 0.99903 | -0.0085087 | 0.999 | -0.0081909 | 5.9924
57 | 4.5806 | 2.1638 | -4.5761 | -2.1588 | 0.0045824 | 0.0049491 | 0.14634 | 0.14634 | 0.14634 | 0.99935 | -0.011665 | 0.99809 | -0.043166 | 41.8119
58 | -0.55816 | -0.26118 | 0.5582 | 0.25861 | 4.6078e-05 | -0.0025714 | 0.01783 | 0.017799 | 0.01783 | 0.99771 | -0.039951 | 0.99779 | -0.040608 | 8.1046
59 | -0.2805 | -0.13585 | 0.2805 | 0.13564 | 9.7314e-07 | -0.0002126 | 0.00902 | 0.0090173 | 0.00902 | 0.99745 | -0.034351 | 0.99745 | -0.034381 | 4.1
60 | 1.0433 | 0.49154 | -1.0431 | -0.4952 | 0.00023346 | -0.0036536 | 0.033378 | 0.033424 | 0.033424 | 0.99745 | -0.034381 | 0.99725 | -0.032533 | 15.1926
61 | -1.3238 | -0.62718 | 1.3245 | 0.62083 | 0.00065947 | -0.0063488 | 0.042395 | 0.042314 | 0.042395 | 0.99745 | -0.034381 | 0.99792 | -0.038459 | 19.2703
62 | 1.0431 | 0.4952 | -1.0428 | -0.49519 | 0.00027248 | 8.1999e-06 | 0.033424 | 0.033426 | 0.033426 | 0.99725 | -0.032533 | 0.99697 | -0.034385 | 15.917
63 | 0.74024 | 0.34866 | -0.74018 | -0.35039 | 5.5233e-05 | -0.001731 | 0.023692 | 0.023714 | 0.023714 | 0.99697 | -0.034385 | 0.9969 | -0.033771 | 10.7791
64 | 0.41203 | 0.19589 | -0.41199 | -0.19939 | 3.4289e-05 | -0.0034994 | 0.013183 | 0.013227 | 0.013227 | 0.999 | -0.0081909 | 0.99892 | -0.0074813 | 6.0123
65 | 0.86494 | 0.40057 | -0.86466 | -0.40694 | 0.00027626 | -0.0063735 | 0.027569 | 0.027648 | 0.027648 | 0.99809 | -0.043166 | 0.99779 | -0.040608 | 12.5672
66 | 3.7111 | 1.7582 | -3.71 | -1.7593 | 0.001111 | -0.0010729 | 0.11877 | 0.11879 | 0.11879 | 0.99809 | -0.043166 | 0.99781 | -0.040682 | 53.996
67 | -0.29084 | -0.14086 | 0.29085 | 0.14054 | 1.6128e-06 | -0.00032674 | 0.0093598 | 0.0093557 | 0.0093598 | 0.99669 | -0.031894 | 0.9967 | -0.031942 | 4.2545
68 | -0.29085 | -0.14054 | 0.29085 | 0.14019 | 1.6823e-06 | -0.00034115 | 0.0093557 | 0.0093514 | 0.0093557 | 0.9967 | -0.031942 | 0.9967 | -0.031992 | 4.2526
69 | 0.511 | 0.23563 | -0.511 | -0.23605 | 6.3487e-06 | -0.00042012 | 0.016322 | 0.016327 | 0.016327 | 0.99523 | -0.058257 | 0.99522 | -0.05816 | 7.4214
70 | -0.71918 | -0.33645 | 0.71933 | 0.33636 | 0.00015345 | -9.595e-05 | 0.02303 | 0.023028 | 0.02303 | 0.99523 | -0.058257 | 0.99545 | -0.056666 | 10.9669
71 | 0.511 | 0.23605 | -0.51094 | -0.23615 | 5.2813e-05 | -9.837e-05 | 0.016327 | 0.016329 | 0.016329 | 0.99522 | -0.05816 | 0.99511 | -0.058962 | 7.7756
72 | -3.4454 | -1.6305 | 3.4504 | 1.6333 | 0.0049095 | 0.0028079 | 0.11054 | 0.11054 | 0.11054 | 0.99545 | -0.056666 | 0.99696 | -0.046464 | 52.6377
73 | 2.4298 | 1.1506 | -2.4294 | -1.1516 | 0.0003752 | -0.00098232 | 0.077963 | 0.077977 | 0.077977 | 0.99545 | -0.056666 | 0.99531 | -0.055385 | 35.444
74 | 0.29696 | 0.13251 | -0.29695 | -0.13447 | 9.8974e-06 | -0.0019619 | 0.0094335 | 0.0094568 | 0.0094568 | 0.99511 | -0.058962 | 0.99508 | -0.058719 | 4.2986
75 | 0.29695 | 0.13447 | -0.29691 | -0.14334 | 4.5345e-05 | -0.008863 | 0.0094568 | 0.009566 | 0.009566 | 0.99508 | -0.058719 | 0.99493 | -0.05749 | 4.3482
76 | -3.4504 | -1.6333 | 3.4531 | 1.6349 | 0.0027879 | 0.0015941 | 0.11054 | 0.11053 | 0.11054 | 0.99696 | -0.046464 | 0.99781 | -0.040682 | 52.6361
77 | 2.4294 | 1.1516 | -2.4276 | -1.1563 | 0.0017785 | -0.004647 | 0.077977 | 0.078041 | 0.078041 | 0.99531 | -0.055385 | 0.99463 | -0.049274 | 35.4733
78 | -0.3633 | -0.17595 | 0.36331 | 0.1759 | 1.3492e-05 | -5.6703e-05 | 0.011716 | 0.011715 | 0.011716 | 0.99459 | -0.049519 | 0.99463 | -0.049274 | 5.5792
79 | 2.0643 | 0.98036 | -2.063 | -0.98516 | 0.0012913 | -0.0048023 | 0.066326 | 0.066391 | 0.066391 | 0.99463 | -0.049274 | 0.99405 | -0.044025 | 30.1777
80 | 1.3464 | 0.64067 | -1.3459 | -0.64573 | 0.00055554 | -0.0050614 | 0.043302 | 0.043367 | 0.043367 | 0.99405 | -0.044025 | 0.99367 | -0.040538 | 19.7123
81 | 0.71658 | 0.3445 | -0.71651 | -0.34454 | 6.485e-05 | -3.9907e-05 | 0.023089 | 0.02309 | 0.02309 | 0.99405 | -0.044025 | 0.99396 | -0.044639 | 10.9954
82 | 1.3459 | 0.64573 | -1.3456 | -0.64566 | 0.00025326 | 6.9563e-05 | 0.043367 | 0.043368 | 0.043368 | 0.99367 | -0.040538 | 0.99347 | -0.041823 | 20.6515
83 | 0.42826 | 0.20493 | -0.42825 | -0.20576 | 8.9555e-06 | -0.00082896 | 0.013789 | 0.013799 | 0.013799 | 0.99396 | -0.044639 | 0.99394 | -0.04446 | 6.2723
84 | 0.33876 | 0.16392 | -0.33875 | -0.16401 | 1.8631e-05 | -9.1349e-05 | 0.010935 | 0.010937 | 0.010937 | 0.99347 | -0.041823 | 0.99342 | -0.042186 | 5.2079
85 | 0.72401 | 0.34474 | -0.72383 | -0.34485 | 0.00018077 | -0.00010688 | 0.023301 | 0.023304 | 0.023304 | 0.99347 | -0.041823 | 0.99321 | -0.043573 | 11.0969
86 | 0.26766 | 0.12817 | -0.26762 | -0.12849 | 3.9129e-05 | -0.00032392 | 0.008619 | 0.0086234 | 0.0086234 | 0.99394 | -0.04446 | 0.99378 | -0.045461 | 4.1064
87 | 0.1606 | 0.077591 | -0.16059 | -0.077777 | 7.7397e-06 | -0.00018598 | 0.0051801 | 0.0051826 | 0.0051826 | 0.99394 | -0.04446 | 0.99389 | -0.04478 | 2.4679
88 | 0.26762 | 0.12849 | -0.26761 | -0.12961 | 4.7239e-06 | -0.0011188 | 0.0086234 | 0.0086375 | 0.0086375 | 0.99378 | -0.045461 | 0.99377 | -0.045309 | 3.9261
89 | -0.26033 | -0.12608 | 0.26035 | 0.12591 | 2.013e-05 | -0.00017554 | 0.008409 | 0.0084067 | 0.008409 | 0.99299 | -0.043486 | 0.99307 | -0.042975 | 4.0043
90 | -0.33294 | -0.16107 | 0.33295 | 0.15936 | 1.119e-05 | -0.0017077 | 0.010751 | 0.01073 | 0.010751 | 0.99307 | -0.042975 | 0.9931 | -0.043264 | 4.887
91 | -0.30645 | -0.14842 | 0.30646 | 0.14833 | 1.4157e-05 | -8.8446e-05 | 0.0098515 | 0.0098503 | 0.0098515 | 0.99774 | -0.040913 | 0.99779 | -0.040608 | 4.6912
92 | -0.2969 | -0.1438 | 0.29691 | 0.14334 | 2.3876e-06 | -0.00046095 | 0.0095718 | 0.009566 | 0.0095718 | 0.99493 | -0.05742 | 0.99493 | -0.05749 | 4.3508
93 | 0.41199 | 0.19939 | -0.41199 | -0.19954 | 1.463e-06 | -0.00014878 | 0.013227 | 0.013229 | 0.013229 | 0.99892 | -0.0074813 | 0.99892 | -0.0074504 | 6.0131
94 | 0.33299 | 0.15556 | -0.33298 | -0.15563 | 1.306e-05 | -6.7457e-05 | 0.010682 | 0.010683 | 0.010683 | 0.99321 | -0.043573 | 0.99317 | -0.043866 | 5.0873
95 | 0.33298 | 0.15563 | -0.33295 | -0.15936 | 2.429e-05 | -0.0037309 | 0.010683 | 0.01073 | 0.01073 | 0.99317 | -0.043866 | 0.9931 | -0.043264 | 4.8771
96 | 0.33875 | 0.16401 | -0.33874 | -0.16406 | 9.4243e-06 | -4.6193e-05 | 0.010937 | 0.010937 | 0.010937 | 0.99342 | -0.042186 | 0.99339 | -0.042369 | 5.2082
97 | -0.50848 | -0.2456 | 0.5085 | 0.24417 | 2.1635e-05 | -0.0014323 | 0.016355 | 0.016337 | 0.016355 | 0.9967 | -0.031992 | 0.99674 | -0.032358 | 7.4341
98 | -0.5085 | -0.24417 | 0.50856 | 0.24044 | 5.6077e-05 | -0.0037277 | 0.016337 | 0.01629 | 0.016337 | 0.99674 | -0.032358 | 0.99685 | -0.033284 | 7.4259
99 | -0.74014 | -0.35174 | 0.74018 | 0.35039 | 4.3344e-05 | -0.001356 | 0.023731 | 0.023714 | 0.023731 | 0.99685 | -0.033284 | 0.9969 | -0.033771 | 10.7868
100 | 0.23158 | 0.11131 | -0.23158 | -0.11216 | 2.6657e-06 | -0.00085366 | 0.0074407 | 0.0074515 | 0.0074515 | 0.99685 | -0.033284 | 0.99683 | -0.033185 | 3.387

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.7382 | 5.9061

## res_load
| p_mw | q_mvar
0 | 0.35455 | 0.17172
1 | 0.3177 | 0.15387
2 | 0.25199 | 0.12204
3 | 0.30946 | 0.14988
4 | 0.26994 | 0.13074
5 | 0.20011 | 0.096916
6 | 0.2968 | 0.14375
7 | 0.13423 | 0.06501
8 | 0.12271 | 0.059429
9 | 0.29231 | 0.14157
10 | 0.20488 | 0.099226
11 | 0.071498 | 0.034628
12 | 0.069647 | 0.033731
13 | 0.3203 | 0.15513
14 | 0.28865 | 0.1398
15 | 0.38169 | 0.18486
16 | 0.24561 | 0.11895
17 | 0.20066 | 0.097186
18 | 0.25825 | 0.12508
19 | 0.29039 | 0.14064
20 | 0.2997 | 0.14515
21 | 0.25002 | 0.12109
22 | 0.21685 | 0.10503
23 | 0.24571 | 0.11901
24 | 0.32188 | 0.15589
25 | 0.23616 | 0.11438
26 | 0.24365 | 0.118
27 | 0.24474 | 0.11853
28 | 0.2805 | 0.13585
29 | 0.30255 | 0.14653
30 | 0.29084 | 0.14086
31 | 0.20818 | 0.10082
32 | 0.29634 | 0.14352
33 | 0.21398 | 0.10364
34 | 0.25688 | 0.12441
35 | 0.3633 | 0.17595
36 | 0.28825 | 0.13961
37 | 0.28286 | 0.13699
38 | 0.16059 | 0.077777
39 | 0.26033 | 0.12608
40 | 0.072592 | 0.035158
41 | 0.30645 | 0.14842
42 | 0.2969 | 0.1438
43 | 0.26761 | 0.12961
44 | 0.41199 | 0.19954
45 | 0.39084 | 0.18929
46 | 0.33874 | 0.16406
47 | 0.21763 | 0.1054
48 | 0.23158 | 0.11216

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1