## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_568_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_568_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_568_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_568_0_node_10 | 20 | n |  | TRUE
4 | bus_MV_568_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_568_0_node_9 | 20 | n |  | TRUE
6 | bus_MV_568_0_node_3 | 20 | n |  | TRUE
7 | bus_MV_568_0_node_85 | 20 | n |  | TRUE
8 | bus_MV_568_0_node_38 | 20 | n |  | TRUE
9 | bus_MV_568_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_568_0_node_13 | 20 | n |  | TRUE
11 | bus_MV_568_0_node_5 | 20 | n |  | TRUE
12 | bus_MV_568_0_node_7 | 20 | n |  | TRUE
13 | bus_MV_568_0_node_64 | 20 | n |  | TRUE
14 | bus_MV_568_0_node_93 | 20 | n |  | TRUE
15 | bus_MV_568_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_568_0_node_98 | 20 | n |  | TRUE
17 | bus_MV_568_0_node_11 | 20 | n |  | TRUE
18 | bus_MV_568_0_node_81 | 20 | n |  | TRUE
19 | bus_MV_568_0_node_34 | 20 | n |  | TRUE
20 | bus_MV_568_0_node_35 | 20 | n |  | TRUE
21 | bus_MV_568_0_node_36 | 20 | n |  | TRUE
22 | bus_MV_568_0_node_37 | 20 | n |  | TRUE
23 | bus_MV_568_0_node_39 | 20 | n |  | TRUE
24 | bus_MV_568_0_node_82 | 20 | n |  | TRUE
25 | bus_MV_568_0_node_33 | 20 | n |  | TRUE
26 | bus_MV_568_0_node_47 | 20 | n |  | TRUE
27 | bus_MV_568_0_node_83 | 20 | n |  | TRUE
28 | bus_MV_568_0_node_46 | 20 | n |  | TRUE
29 | bus_MV_568_0_node_41 | 20 | n |  | TRUE
30 | bus_MV_568_0_node_43 | 20 | n |  | TRUE
31 | bus_MV_568_0_node_45 | 20 | n |  | TRUE
32 | bus_MV_568_0_node_58 | 20 | n |  | TRUE
33 | bus_MV_568_0_node_40 | 20 | n |  | TRUE
34 | bus_MV_568_0_node_59 | 20 | n |  | TRUE
35 | bus_MV_568_0_node_84 | 20 | n |  | TRUE
36 | bus_MV_568_0_node_53 | 20 | n |  | TRUE
37 | bus_MV_568_0_node_75 | 20 | n |  | TRUE
38 | bus_MV_568_0_node_77 | 20 | n |  | TRUE
39 | bus_MV_568_0_node_74 | 20 | n |  | TRUE
40 | bus_MV_568_0_node_12 | 20 | n |  | TRUE
41 | bus_MV_568_0_node_52 | 20 | n |  | TRUE
42 | bus_MV_568_0_node_89 | 20 | n |  | TRUE
43 | bus_MV_568_0_node_62 | 20 | n |  | TRUE
44 | bus_MV_568_0_node_27 | 20 | n |  | TRUE
45 | bus_MV_568_0_node_31 | 20 | n |  | TRUE
46 | bus_MV_568_0_node_63 | 20 | n |  | TRUE
47 | bus_MV_568_0_node_51 | 20 | n |  | TRUE
48 | bus_MV_568_0_node_92 | 20 | n |  | TRUE
49 | bus_MV_568_0_node_30 | 20 | n |  | TRUE
50 | bus_MV_568_0_node_67 | 20 | n |  | TRUE
51 | bus_MV_568_0_node_49 | 20 | n |  | TRUE
52 | bus_MV_568_0_node_95 | 20 | n |  | TRUE
53 | bus_MV_568_0_node_48 | 20 | n |  | TRUE
54 | bus_MV_568_0_node_14 | 20 | n |  | TRUE
55 | bus_MV_568_0_node_15 | 20 | n |  | TRUE
56 | bus_MV_568_0_node_16 | 20 | n |  | TRUE
57 | bus_MV_568_0_node_17 | 20 | n |  | TRUE
58 | bus_MV_568_0_node_29 | 20 | n |  | TRUE
59 | bus_MV_568_0_node_18 | 20 | n |  | TRUE
60 | bus_MV_568_0_node_28 | 20 | n |  | TRUE
61 | bus_MV_568_0_node_25 | 20 | n |  | TRUE
62 | bus_MV_568_0_node_26 | 20 | n |  | TRUE
63 | bus_MV_568_0_node_19 | 20 | n |  | TRUE
64 | bus_MV_568_0_node_20 | 20 | n |  | TRUE
65 | bus_MV_568_0_node_22 | 20 | n |  | TRUE
66 | bus_MV_568_0_node_23 | 20 | n |  | TRUE
67 | bus_MV_568_0_node_24 | 20 | n |  | TRUE
68 | bus_MV_568_0_node_96 | 20 | n |  | TRUE
69 | bus_MV_568_0_node_76 | 20 | n |  | TRUE
70 | bus_MV_568_0_node_91 | 20 | n |  | TRUE
71 | bus_MV_568_0_node_90 | 20 | n |  | TRUE
72 | bus_MV_568_0_node_32 | 20 | n |  | TRUE
73 | bus_MV_568_0_node_42 | 20 | n |  | TRUE
74 | bus_MV_568_0_node_44 | 20 | n |  | TRUE
75 | bus_MV_568_0_node_61 | 20 | n |  | TRUE
76 | bus_MV_568_0_node_60 | 20 | n |  | TRUE
77 | bus_MV_568_0_node_50 | 20 | n |  | TRUE
78 | bus_MV_568_0_node_54 | 20 | n |  | TRUE
79 | bus_MV_568_0_node_55 | 20 | n |  | TRUE
80 | bus_MV_568_0_node_56 | 20 | n |  | TRUE
81 | bus_MV_568_0_node_86 | 20 | n |  | TRUE
82 | bus_MV_568_0_node_88 | 20 | n |  | TRUE
83 | bus_MV_568_0_node_65 | 20 | n |  | TRUE
84 | bus_MV_568_0_node_66 | 20 | n |  | TRUE
85 | bus_MV_568_0_node_68 | 20 | n |  | TRUE
86 | bus_MV_568_0_node_97 | 20 | n |  | TRUE
87 | bus_MV_568_0_node_69 | 20 | n |  | TRUE
88 | bus_MV_568_0_node_70 | 20 | n |  | TRUE
89 | bus_MV_568_0_node_71 | 20 | n |  | TRUE
90 | bus_MV_568_0_node_72 | 20 | n |  | TRUE
91 | bus_MV_568_0_node_73 | 20 | n |  | TRUE
92 | bus_MV_568_0_node_78 | 20 | n |  | TRUE
93 | bus_MV_568_0_node_94 | 20 | n |  | TRUE
94 | bus_MV_568_0_node_99 | 20 | n |  | TRUE
95 | bus_MV_568_0_node_87 | 20 | n |  | TRUE
96 | bus_HV_568_0_node_30 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_568_0_load_0 | 0 | 0.26431 | 0.12801 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_568_0_load_9 | 5 | 0.38571 | 0.18681 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_568_0_load_85 | 7 | 0.50909 | 0.24656 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_568_0_load_13 | 10 | 0.33456 | 0.16203 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_568_0_load_64 | 13 | 0.27668 | 0.134 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_568_0_load_93 | 14 | 0.22083 | 0.10695 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_568_0_load_98 | 16 | 0.068426 | 0.03314 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_568_0_load_11 | 17 | 0.39492 | 0.19127 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_568_0_load_81 | 18 | 0.1045 | 0.050613 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_568_0_load_34 | 19 | 0.1827 | 0.088487 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_568_0_load_82 | 24 | 0.083937 | 0.040652 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_568_0_load_47 | 26 | 0.31712 | 0.15359 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_568_0_load_46 | 28 | 0.07129 | 0.034527 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_568_0_load_43 | 30 | 0.16135 | 0.078145 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_568_0_load_58 | 32 | 0.40041 | 0.19393 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_568_0_load_40 | 33 | 0.17607 | 0.085274 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_568_0_load_59 | 34 | 0.099565 | 0.048222 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_568_0_load_84 | 35 | 0.08501 | 0.041172 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_568_0_load_74 | 39 | 0.33319 | 0.16137 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_568_0_load_89 | 42 | 0.15333 | 0.07426 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_568_0_load_62 | 43 | 0.26317 | 0.12746 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_568_0_load_31 | 45 | 0.077256 | 0.037417 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_568_0_load_63 | 46 | 0.39772 | 0.19262 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_568_0_load_92 | 48 | 0.40916 | 0.19816 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_568_0_load_30 | 49 | 0.26791 | 0.12976 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_568_0_load_95 | 52 | 0.10037 | 0.048613 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_568_0_load_48 | 53 | 0.29832 | 0.14448 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_568_0_load_14 | 54 | 0.24244 | 0.11742 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_568_0_load_29 | 58 | 0.215 | 0.10413 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_568_0_load_28 | 60 | 0.36251 | 0.17557 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_568_0_load_25 | 61 | 0.29024 | 0.14057 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_568_0_load_19 | 63 | 0.25332 | 0.12269 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_568_0_load_22 | 65 | 0.24575 | 0.11902 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_568_0_load_96 | 68 | 0.33523 | 0.16236 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_568_0_load_90 | 71 | 0.095829 | 0.046412 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_568_0_load_32 | 72 | 0.20369 | 0.098652 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_568_0_load_42 | 73 | 0.078489 | 0.038014 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_568_0_load_61 | 75 | 0.38252 | 0.18526 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_568_0_load_60 | 76 | 0.1392 | 0.067419 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_568_0_load_55 | 79 | 0.26108 | 0.12645 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_568_0_load_56 | 80 | 0.27102 | 0.13126 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_568_0_load_86 | 81 | 0.077762 | 0.037662 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_568_0_load_88 | 82 | 0.077109 | 0.037346 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_568_0_load_65 | 83 | 0.4087 | 0.19794 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_568_0_load_97 | 86 | 0.084578 | 0.040963 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_568_0_load_69 | 87 | 0.35322 | 0.17107 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_568_0_load_78 | 92 | 0.40502 | 0.19616 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_568_0_load_94 | 93 | 0.095294 | 0.046153 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_568_0_load_99 | 94 | 0.32367 | 0.15676 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_568_0_load_87 | 95 | 0.14268 | 0.069105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_568_0_line_0 |  | 0 | 1 | 0.078765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_568_0_line_1 |  | 1 | 2 | 0.054588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_568_0_line_2 |  | 2 | 3 | 0.057777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_568_0_line_3 |  | 2 | 4 | 0.25317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_568_0_line_4 |  | 2 | 5 | 0.016234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_568_0_line_5 |  | 3 | 18 | 0.047076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_568_0_line_6 |  | 4 | 9 | 0.51218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_568_0_line_7 |  | 4 | 10 | 0.014345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_568_0_line_8 |  | 6 | 7 | 0.082539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_568_0_line_9 |  | 6 | 8 | 0.19669 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_568_0_line_10 |  | 8 | 26 | 0.005137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_568_0_line_11 |  | 8 | 20 | 0.070289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_568_0_line_12 |  | 9 | 14 | 0.01473 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
13 | MV_568_0_line_13 |  | 9 | 12 | 0.59746 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
14 | MV_568_0_line_14 |  | 9 | 15 | 0.29887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_568_0_line_15 |  | 11 | 12 | 0.22222 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
16 | MV_568_0_line_16 |  | 11 | 13 | 0.074698 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
17 | MV_568_0_line_17 |  | 12 | 16 | 0.000884 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_568_0_line_18 |  | 13 | 44 | 0.074599 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
19 | MV_568_0_line_19 |  | 14 | 45 | 0.21892 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
20 | MV_568_0_line_20 |  | 15 | 17 | 0.007225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_568_0_line_21 |  | 16 | 46 | 0.10867 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_568_0_line_22 |  | 18 | 50 | 0.031966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_568_0_line_23 |  | 19 | 20 | 0.00428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_568_0_line_24 |  | 19 | 21 | 0.010226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_568_0_line_25 |  | 20 | 22 | 0.036394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_568_0_line_26 |  | 21 | 23 | 0.004785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_568_0_line_27 |  | 22 | 24 | 0.031182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_568_0_line_28 |  | 22 | 25 | 0.075459 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_568_0_line_29 |  | 23 | 27 | 0.007051 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_568_0_line_30 |  | 23 | 28 | 0.038827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_568_0_line_31 |  | 25 | 72 | 0.052153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_568_0_line_32 |  | 27 | 35 | 0.018684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_568_0_line_33 |  | 28 | 30 | 0.030646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_568_0_line_34 |  | 29 | 30 | 0.028154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_568_0_line_35 |  | 29 | 31 | 0.071622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_568_0_line_36 |  | 29 | 32 | 0.0075739 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_568_0_line_37 |  | 29 | 33 | 0.070931 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_568_0_line_38 |  | 31 | 76 | 0.032795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_568_0_line_39 |  | 31 | 74 | 0.12909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_568_0_line_40 |  | 32 | 34 | 0.021152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_568_0_line_41 |  | 33 | 73 | 0.021947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_568_0_line_42 |  | 36 | 37 | 0.2738 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_568_0_line_43 |  | 36 | 38 | 0.08044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_568_0_line_44 |  | 36 | 39 | 0.052501 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_568_0_line_45 |  | 36 | 40 | 0.06402 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_568_0_line_46 |  | 37 | 81 | 0.03849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_568_0_line_47 |  | 37 | 69 | 0.31352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_568_0_line_48 |  | 38 | 82 | 0.019763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_568_0_line_49 |  | 40 | 41 | 0.092317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_568_0_line_50 |  | 40 | 42 | 0.031355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_568_0_line_51 |  | 41 | 43 | 0.074353 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_568_0_line_52 |  | 44 | 62 | 0.30807 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_568_0_line_53 |  | 44 | 64 | 0.14311 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_568_0_line_54 |  | 45 | 72 | 0.034802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_568_0_line_55 |  | 45 | 49 | 0.086504 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
56 | MV_568_0_line_56 |  | 47 | 48 | 0.002667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_568_0_line_57 |  | 47 | 49 | 0.18148 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_568_0_line_58 |  | 50 | 85 | 0.09552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_568_0_line_59 |  | 50 | 84 | 0.35357 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_568_0_line_60 |  | 51 | 52 | 0.27391 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_568_0_line_61 |  | 51 | 53 | 0.15328 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_568_0_line_62 |  | 53 | 77 | 0.0636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_568_0_line_63 |  | 53 | 73 | 0.052503 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_568_0_line_64 |  | 54 | 55 | 0.013126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_568_0_line_65 |  | 55 | 56 | 0.58416 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_568_0_line_66 |  | 56 | 57 | 0.43411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_568_0_line_67 |  | 56 | 58 | 0.088325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_568_0_line_68 |  | 57 | 59 | 0.27686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_568_0_line_69 |  | 57 | 60 | 0.00923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_568_0_line_70 |  | 59 | 61 | 0.058319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_568_0_line_71 |  | 61 | 62 | 0.019084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_568_0_line_72 |  | 63 | 64 | 0.081205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_568_0_line_73 |  | 64 | 65 | 0.19464 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_568_0_line_74 |  | 65 | 66 | 0.095503 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_568_0_line_75 |  | 66 | 67 | 0.12535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_568_0_line_76 |  | 67 | 68 | 0.042867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_568_0_line_77 |  | 68 | 69 | 0.051417 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_568_0_line_78 |  | 69 | 70 | 0.058942 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_568_0_line_79 |  | 70 | 71 | 0.037776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_568_0_line_80 |  | 74 | 75 | 0.004316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_568_0_line_81 |  | 77 | 78 | 0.026372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_568_0_line_82 |  | 78 | 79 | 0.004096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_568_0_line_83 |  | 79 | 80 | 0.078449 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_568_0_line_84 |  | 81 | 91 | 0.030098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_568_0_line_85 |  | 83 | 84 | 0.065864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_568_0_line_86 |  | 85 | 86 | 0.010362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_568_0_line_87 |  | 87 | 88 | 0.044873 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_568_0_line_88 |  | 88 | 89 | 0.11199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_568_0_line_89 |  | 89 | 90 | 0.24127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_568_0_line_90 |  | 89 | 91 | 0.058266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_568_0_line_91 |  | 89 | 92 | 0.085539 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_568_0_line_92 |  | 90 | 93 | 0.019611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_568_0_line_93 |  | 90 | 94 | 0.21065 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_568_0_line_94 |  | 91 | 95 | 0.03894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_568_0_trafo_30 | 25 MVA 110/20 kV | 96 | 49 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2610810.937 | 1266706.7883
1 | 2610738.7817 | 1266675.2045
2 | 2610721.7514 | 1266647.6546
3 | 2610708.7204 | 1266689.8161
4 | 2610842.3718 | 1266648.763
5 | 2610710.3101 | 1266636.1377
6 | 2611080.056 | 1266463.2051
7 | 2611004.671 | 1266494.3696
8 | 2611005.0014 | 1266281.3946
9 | 2610810.8019 | 1266470.3811
10 | 2610849.7289 | 1266659.6951
11 | 2610345.7146 | 1266290.0393
12 | 2610480.5647 | 1266337.1416
13 | 2610282.8827 | 1266330.7254
14 | 2610816.3364 | 1266457.1041
15 | 2610642.3562 | 1266568.5902
16 | 2610480.1643 | 1266337.9303
17 | 2610646.8778 | 1266574.2355
18 | 2610669.6071 | 1266715.7167
19 | 2610968.5136 | 1266223.8316
20 | 2610964.9484 | 1266226.2155
21 | 2610977.9427 | 1266225.8393
22 | 2610957.2848 | 1266250.6962
23 | 2610980.4948 | 1266229.8912
24 | 2610930.1638 | 1266266.0839
25 | 2610912.8077 | 1266189.7387
26 | 2611006.1775 | 1266276.3933
27 | 2610984.2629 | 1266235.8579
28 | 2611014.2067 | 1266210.6287
29 | 2611065.2616 | 1266181.4591
30 | 2611040.8158 | 1266195.4259
31 | 2611124.6706 | 1266155.2517
32 | 2611065.8697 | 1266189.0086
33 | 2611018.8704 | 1266127.8019
34 | 2611076.4007 | 1266207.3525
35 | 2611000.4669 | 1266226.5554
36 | 2610277.2411 | 1265897.114
37 | 2610167.6851 | 1265729.9763
38 | 2610281.5396 | 1265832.0095
39 | 2610225.9896 | 1265908.5003
40 | 2610310.9333 | 1265922.0786
41 | 2610287.8915 | 1265981.2353
42 | 2610303.0538 | 1265891.9144
43 | 2610293.5224 | 1266055.3744
44 | 2610219.9319 | 1266371.045
45 | 2610841.6013 | 1266239.6476
46 | 2610500.8961 | 1266444.6078
47 | 2610803.7292 | 1265996.4606
48 | 2610802.4008 | 1265994.1454
49 | 2610782.2999 | 1266176.6693
50 | 2610643.7152 | 1266734.4638
51 | 2610926.5562 | 1265922.5114
52 | 2610973.2046 | 1265652.5986
53 | 2611003.124 | 1266055.3005
54 | 2609961.006 | 1266933.6091
55 | 2609974.0313 | 1266931.6963
56 | 2610300.8063 | 1266730.7352
57 | 2610384.8404 | 1266590.2834
58 | 2610388.0208 | 1266744.4116
59 | 2610236.7284 | 1266536.1889
60 | 2610393.9611 | 1266591.8671
61 | 2610187.7499 | 1266567.8469
62 | 2610171.7221 | 1266578.2067
63 | 2610019.0156 | 1266359.0837
64 | 2610087.9099 | 1266315.8034
65 | 2610098.1093 | 1266121.4299
66 | 2610060.6165 | 1266033.5941
67 | 2609993.1646 | 1266000.7465
68 | 2609983.5005 | 1265958.979
69 | 2609954.4965 | 1265916.5232
70 | 2609944.9133 | 1265974.6809
71 | 2609913.2012 | 1265980.4876
72 | 2610870.1002 | 1266219.6726
73 | 2611017.0095 | 1266105.9338
74 | 2611227.8583 | 1266088.5549
75 | 2611225.6972 | 1266084.8149
76 | 2611153.1219 | 1266138.9412
77 | 2611058.4712 | 1266023.6811
78 | 2611081.3521 | 1266010.4701
79 | 2611084.9019 | 1266008.4086
80 | 2611153.1669 | 1265969.7539
81 | 2610173.1989 | 1265702.0219
82 | 2610300.4414 | 1265826.2407
83 | 2610557.3844 | 1266811.4691
84 | 2610513.1765 | 1266860.2638
85 | 2610665.8221 | 1266798.1145
86 | 2610671.5274 | 1266806.7752
87 | 2610206.1669 | 1265773.2832
88 | 2610245.7505 | 1265752.1479
89 | 2610198.7489 | 1265650.9746
90 | 2610305.1356 | 1265748.7926
91 | 2610157.7085 | 1265677.7008
92 | 2610167.0074 | 1265571.543
93 | 2610286.2964 | 1265754.4305
94 | 2610463.409 | 1265609.7835
95 | 2610131.026 | 1265649.3909
96 | 2610782.2999 | 1266176.6693

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99626 | -0.078044 | 0.26431 | 0.12801
1 | 0.99628 | -0.07829 | 0 | 0
2 | 0.9963 | -0.078455 | 0 | 0
3 | 0.99626 | -0.078094 | 0 | 0
4 | 0.9967 | -0.0819 | 0 | 0
5 | 0.99629 | -0.07838 | 0.38571 | 0.18681
6 | 0.99816 | -0.028657 | 0 | 0
7 | 0.99811 | -0.028157 | 0.50909 | 0.24656
8 | 0.99836 | -0.027407 | 0 | 0
9 | 0.99773 | -0.090611 | 0 | 0
10 | 0.9967 | -0.081842 | 0.33456 | 0.16203
11 | 0.99598 | -0.12273 | 0 | 0
12 | 0.99643 | -0.11463 | 0 | 0
13 | 0.99583 | -0.12545 | 0.27668 | 0.134
14 | 0.99778 | -0.089783 | 0.22083 | 0.10695
15 | 0.99758 | -0.089263 | 0 | 0
16 | 0.99642 | -0.11463 | 0.068426 | 0.03314
17 | 0.99758 | -0.089229 | 0.39492 | 0.19127
18 | 0.99622 | -0.077797 | 0.1045 | 0.050613
19 | 0.99842 | -0.027955 | 0.1827 | 0.088487
20 | 0.99843 | -0.02809 | 0 | 0
21 | 0.99838 | -0.027653 | 0 | 0
22 | 0.99859 | -0.029593 | 0 | 0
23 | 0.99837 | -0.027512 | 0 | 0
24 | 0.99859 | -0.029562 | 0.083937 | 0.040652
25 | 0.99894 | -0.032773 | 0 | 0
26 | 0.99835 | -0.027388 | 0.31712 | 0.15359
27 | 0.99837 | -0.027505 | 0 | 0
28 | 0.99825 | -0.026403 | 0.07129 | 0.034527
29 | 0.99808 | -0.024824 | 0 | 0
30 | 0.99815 | -0.025553 | 0.16135 | 0.078145
31 | 0.99803 | -0.024398 | 0 | 0
32 | 0.99807 | -0.024871 | 0.40041 | 0.19393
33 | 0.99791 | -0.025866 | 0.17607 | 0.085274
34 | 0.99807 | -0.024846 | 0.099565 | 0.048222
35 | 0.99837 | -0.027486 | 0.08501 | 0.041172
36 | 0.99122 | -0.13066 | 0 | 0
37 | 0.99151 | -0.13324 | 0 | 0
38 | 0.99121 | -0.1306 | 0 | 0
39 | 0.99118 | -0.13088 | 0.33319 | 0.16137
40 | 0.99118 | -0.13036 | 0 | 0
41 | 0.99115 | -0.13007 | 0 | 0
42 | 0.99118 | -0.1303 | 0.15333 | 0.07426
43 | 0.99111 | -0.13031 | 0.26317 | 0.12746
44 | 0.99566 | -0.12739 | 0 | 0
45 | 0.99935 | -0.036509 | 0.077256 | 0.037417
46 | 0.99634 | -0.11515 | 0.39772 | 0.19262
47 | 0.99986 | -0.00090005 | 0 | 0
48 | 0.99985 | -0.000887 | 0.40916 | 0.19816
49 | 1 | 0 | -11.5691 | -5.436
50 | 0.9962 | -0.077633 | 0 | 0
51 | 0.99776 | -0.026402 | 0 | 0
52 | 0.99771 | -0.02674 | 0.10037 | 0.048613
53 | 0.99779 | -0.02621 | 0.29832 | 0.14448
54 | 0.99442 | -0.11787 | 0.24244 | 0.11742
55 | 0.99442 | -0.11791 | 0 | 0
56 | 0.9946 | -0.11935 | 0 | 0
57 | 0.99485 | -0.12116 | 0 | 0
58 | 0.99458 | -0.11913 | 0.215 | 0.10413
59 | 0.99514 | -0.12337 | 0 | 0
60 | 0.99485 | -0.12112 | 0.36251 | 0.17557
61 | 0.9952 | -0.12382 | 0.29024 | 0.14057
62 | 0.99523 | -0.12403 | 0 | 0
63 | 0.99476 | -0.13319 | 0.25332 | 0.12269
64 | 0.99479 | -0.13344 | 0 | 0
65 | 0.99369 | -0.14103 | 0.24575 | 0.11902
66 | 0.9932 | -0.14448 | 0 | 0
67 | 0.99277 | -0.14075 | 0 | 0
68 | 0.99263 | -0.13946 | 0.33523 | 0.16236
69 | 0.9924 | -0.14109 | 0 | 0
70 | 0.99239 | -0.14117 | 0 | 0
71 | 0.99238 | -0.14112 | 0.095829 | 0.046412
72 | 0.99918 | -0.034965 | 0.20369 | 0.098652
73 | 0.99788 | -0.025604 | 0.078489 | 0.038014
74 | 0.99797 | -0.023818 | 0 | 0
75 | 0.99796 | -0.023798 | 0.38252 | 0.18526
76 | 0.99802 | -0.024344 | 0.1392 | 0.067419
77 | 0.99775 | -0.02581 | 0 | 0
78 | 0.99773 | -0.025642 | 0 | 0
79 | 0.99773 | -0.025616 | 0.26108 | 0.12645
80 | 0.99768 | -0.025874 | 0.27102 | 0.13126
81 | 0.99144 | -0.13262 | 0.077762 | 0.037662
82 | 0.99121 | -0.13058 | 0.077109 | 0.037346
83 | 0.99598 | -0.0757 | 0.4087 | 0.19794
84 | 0.99602 | -0.076021 | 0 | 0
85 | 0.99619 | -0.077544 | 0 | 0
86 | 0.99619 | -0.077533 | 0.084578 | 0.040963
87 | 0.99123 | -0.13071 | 0.35322 | 0.17107
88 | 0.99125 | -0.1309 | 0 | 0
89 | 0.9913 | -0.13137 | 0 | 0
90 | 0.99117 | -0.13019 | 0 | 0
91 | 0.99139 | -0.13216 | 0 | 0
92 | 0.99123 | -0.13179 | 0.40502 | 0.19616
93 | 0.99117 | -0.13017 | 0.095294 | 0.046153
94 | 0.99104 | -0.13103 | 0.32367 | 0.15676
95 | 0.99138 | -0.1321 | 0.14268 | 0.069105
96 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26431 | -0.12801 | 0.26432 | 0.12615 | 7.5934e-06 | -0.0018643 | 0.0085097 | 0.0084862 | 0.0085097 | 0.99626 | -0.078044 | 0.99628 | -0.07829 | 3.868
1 | -0.26432 | -0.12615 | 0.26432 | 0.12486 | 5.2382e-06 | -0.0012922 | 0.0084862 | 0.0084701 | 0.0084862 | 0.99628 | -0.07829 | 0.9963 | -0.078455 | 3.8574
2 | 0.59794 | 0.27388 | -0.59791 | -0.27524 | 2.8034e-05 | -0.0013609 | 0.019056 | 0.019073 | 0.019073 | 0.9963 | -0.078455 | 0.99626 | -0.078094 | 8.6694
3 | -1.248 | -0.58516 | 1.2485 | 0.57931 | 0.00053808 | -0.0058429 | 0.039937 | 0.039864 | 0.039937 | 0.9963 | -0.078455 | 0.9967 | -0.0819 | 18.1533
4 | 0.38571 | 0.18642 | -0.38571 | -0.18681 | 3.3405e-06 | -0.00038375 | 0.012413 | 0.012418 | 0.012418 | 0.9963 | -0.078455 | 0.99629 | -0.07838 | 5.6443
5 | 0.59791 | 0.27524 | -0.59789 | -0.27635 | 2.2877e-05 | -0.0011088 | 0.019073 | 0.019086 | 0.019086 | 0.99626 | -0.078094 | 0.99622 | -0.077797 | 8.6755
6 | -1.5831 | -0.74101 | 1.5848 | 0.72937 | 0.0017473 | -0.011643 | 0.050625 | 0.050477 | 0.050625 | 0.9967 | -0.0819 | 0.99773 | -0.090611 | 23.0113
7 | 0.33456 | 0.16169 | -0.33456 | -0.16203 | 2.219e-06 | -0.00033959 | 0.010762 | 0.010767 | 0.010767 | 0.9967 | -0.0819 | 0.9967 | -0.081842 | 4.8939
8 | 0.50912 | 0.24461 | -0.50909 | -0.24656 | 2.9448e-05 | -0.0019546 | 0.016335 | 0.01636 | 0.01636 | 0.99816 | -0.028657 | 0.99811 | -0.028157 | 7.4364
9 | -0.50912 | -0.24461 | 0.50921 | 0.24443 | 9.3498e-05 | -0.00017543 | 0.016335 | 0.016332 | 0.016335 | 0.99816 | -0.028657 | 0.99836 | -0.027407 | 7.7787
10 | 0.31712 | 0.15347 | -0.31712 | -0.15359 | 7.1175e-07 | -0.00012204 | 0.010187 | 0.010188 | 0.010188 | 0.99836 | -0.027407 | 0.99835 | -0.027388 | 4.6311
11 | -0.82634 | -0.3979 | 0.8264 | 0.39625 | 6.594e-05 | -0.0016533 | 0.026519 | 0.026498 | 0.026519 | 0.99836 | -0.027407 | 0.99843 | -0.02809 | 12.0542
12 | -7.009 | -3.2317 | 7.0093 | 3.2314 | 0.00026883 | -0.00031339 | 0.22331 | 0.2233 | 0.22331 | 0.99773 | -0.090611 | 0.99778 | -0.089783 | 53.0426
13 | 5.0292 | 2.3183 | -5.0236 | -2.3358 | 0.0056234 | -0.017528 | 0.16023 | 0.1605 | 0.1605 | 0.99773 | -0.090611 | 0.99643 | -0.11463 | 38.1238
14 | 0.39498 | 0.18401 | -0.39492 | -0.1911 | 6.3859e-05 | -0.0070835 | 0.012607 | 0.012696 | 0.012696 | 0.99773 | -0.090611 | 0.99758 | -0.089263 | 5.7707
15 | -4.5557 | -2.117 | 4.5574 | 2.1102 | 0.001723 | -0.006843 | 0.1456 | 0.1455 | 0.1456 | 0.99598 | -0.12273 | 0.99643 | -0.11463 | 34.5847
16 | 4.5557 | 2.117 | -4.5551 | -2.1193 | 0.00057973 | -0.0022981 | 0.1456 | 0.14564 | 0.14564 | 0.99598 | -0.12273 | 0.99583 | -0.12545 | 34.5929
17 | 0.46618 | 0.22563 | -0.46618 | -0.22566 | 2.6576e-07 | -2.0877e-05 | 0.015004 | 0.015005 | 0.015005 | 0.99643 | -0.11463 | 0.99642 | -0.11463 | 6.8203
18 | 4.2784 | 1.9853 | -4.2777 | -1.9874 | 0.00067372 | -0.0020479 | 0.13673 | 0.13676 | 0.13676 | 0.99583 | -0.12545 | 0.99566 | -0.12739 | 37.7781
19 | -7.2301 | -3.3383 | 7.2384 | 3.35 | 0.0082834 | 0.01171 | 0.2304 | 0.2304 | 0.2304 | 0.99778 | -0.089783 | 0.99935 | -0.036509 | 56.1951
20 | 0.39492 | 0.1911 | -0.39492 | -0.19127 | 1.5549e-06 | -0.00017121 | 0.012696 | 0.012698 | 0.012698 | 0.99758 | -0.089263 | 0.99758 | -0.089229 | 5.7717
21 | 0.39775 | 0.19252 | -0.39772 | -0.19262 | 3.1738e-05 | -0.00010892 | 0.012802 | 0.012804 | 0.012804 | 0.99642 | -0.11463 | 0.99634 | -0.11515 | 6.097
22 | 0.49339 | 0.22574 | -0.49338 | -0.22649 | 1.0555e-05 | -0.00075433 | 0.015722 | 0.015731 | 0.015731 | 0.99622 | -0.077797 | 0.9962 | -0.077633 | 7.1506
23 | -2.7087 | -1.2988 | 2.7087 | 1.2987 | 4.3102e-05 | -8.9082e-05 | 0.086854 | 0.086853 | 0.086854 | 0.99842 | -0.027955 | 0.99843 | -0.02809 | 39.4792
24 | 2.526 | 1.2103 | -2.5259 | -1.2105 | 8.9539e-05 | -0.00021682 | 0.080985 | 0.080988 | 0.080988 | 0.99842 | -0.027955 | 0.99838 | -0.027653 | 36.8127
25 | -3.5351 | -1.6949 | 3.5358 | 1.6942 | 0.0006242 | -0.00068121 | 0.11335 | 0.11334 | 0.11335 | 0.99843 | -0.02809 | 0.99859 | -0.029593 | 51.5234
26 | 2.5259 | 1.2105 | -2.5258 | -1.2106 | 4.19e-05 | -0.00010145 | 0.080988 | 0.080989 | 0.080989 | 0.99838 | -0.027653 | 0.99837 | -0.027512 | 36.8133
27 | 0.083937 | 0.03991 | -0.083937 | -0.040652 | 3.0154e-07 | -0.00074233 | 0.0026868 | 0.0026961 | 0.0026961 | 0.99859 | -0.029593 | 0.99859 | -0.029562 | 1.2255
28 | -3.6197 | -1.7342 | 3.621 | 1.7328 | 0.0013559 | -0.001395 | 0.11603 | 0.116 | 0.11603 | 0.99859 | -0.029593 | 0.99894 | -0.032773 | 52.7397
29 | 0.085011 | 0.04056 | -0.085011 | -0.040728 | 6.9884e-08 | -0.00016778 | 0.0027235 | 0.0027256 | 0.0027256 | 0.99837 | -0.027512 | 0.99837 | -0.027505 | 1.2389
30 | 2.4408 | 1.17 | -2.4405 | -1.1709 | 0.00031756 | -0.00082971 | 0.078266 | 0.078277 | 0.078277 | 0.99837 | -0.027512 | 0.99825 | -0.026403 | 35.5806
31 | -3.621 | -1.7328 | 3.622 | 1.7318 | 0.00093682 | -0.00096499 | 0.116 | 0.11599 | 0.116 | 0.99894 | -0.032773 | 0.99918 | -0.034965 | 52.7295
32 | 0.085011 | 0.040728 | -0.08501 | -0.041172 | 1.8567e-07 | -0.0004446 | 0.0027256 | 0.0027312 | 0.0027312 | 0.99837 | -0.027505 | 0.99837 | -0.027486 | 1.2414
33 | 2.3692 | 1.1363 | -2.369 | -1.137 | 0.00023626 | -0.00065899 | 0.075987 | 0.075996 | 0.075996 | 0.99825 | -0.026403 | 0.99815 | -0.025553 | 34.5436
34 | -2.2075 | -1.0595 | 2.2076 | 1.0589 | 0.00018849 | -0.00061377 | 0.070819 | 0.070811 | 0.070819 | 0.99808 | -0.024824 | 0.99815 | -0.025553 | 32.1906
35 | 0.52178 | 0.24704 | -0.52175 | -0.24874 | 2.6692e-05 | -0.0016955 | 0.016697 | 0.016719 | 0.016719 | 0.99808 | -0.024824 | 0.99803 | -0.024398 | 7.5994
36 | 0.49998 | 0.24164 | -0.49998 | -0.24165 | 3.4811e-06 | -6.8265e-06 | 0.016061 | 0.016061 | 0.016061 | 0.99808 | -0.024824 | 0.99807 | -0.024871 | 7.6483
37 | 1.1857 | 0.57078 | -1.1855 | -0.57075 | 0.00018308 | 3.0337e-05 | 0.038061 | 0.038062 | 0.038062 | 0.99808 | -0.024824 | 0.99791 | -0.025866 | 18.1248
38 | 0.1392 | 0.066639 | -0.1392 | -0.067419 | 8.7435e-07 | -0.00077967 | 0.004464 | 0.0044738 | 0.0044738 | 0.99803 | -0.024398 | 0.99802 | -0.024344 | 2.0335
39 | 0.38254 | 0.1821 | -0.38252 | -0.18516 | 2.5962e-05 | -0.0030622 | 0.012255 | 0.012293 | 0.012293 | 0.99803 | -0.024398 | 0.99797 | -0.023818 | 5.5877
40 | 0.099566 | 0.047719 | -0.099565 | -0.048222 | 2.8854e-07 | -0.00050299 | 0.0031934 | 0.0031997 | 0.0031997 | 0.99807 | -0.024871 | 0.99807 | -0.024846 | 1.4544
41 | 1.0094 | 0.48548 | -1.0094 | -0.48599 | 3.0769e-05 | -0.00051269 | 0.032403 | 0.032409 | 0.032409 | 0.99791 | -0.025866 | 0.99788 | -0.025604 | 14.7315
42 | -0.82684 | -0.39356 | 0.8271 | 0.38721 | 0.0002592 | -0.006348 | 0.026669 | 0.026589 | 0.026669 | 0.99122 | -0.13066 | 0.99151 | -0.13324 | 12.1223
43 | 0.07711 | 0.034995 | -0.07711 | -0.036882 | 6.5922e-07 | -0.0018868 | 0.0024662 | 0.0024894 | 0.0024894 | 0.99122 | -0.13066 | 0.99121 | -0.1306 | 1.1315
44 | 0.3332 | 0.16132 | -0.33319 | -0.16137 | 1.0874e-05 | -5.4767e-05 | 0.010781 | 0.010782 | 0.010782 | 0.99122 | -0.13066 | 0.99118 | -0.13088 | 5.1344
45 | 0.41653 | 0.19724 | -0.41652 | -0.19874 | 1.5419e-05 | -0.0014972 | 0.013422 | 0.013441 | 0.013441 | 0.99122 | -0.13066 | 0.99118 | -0.13036 | 6.1095
46 | 1.3981 | 0.66302 | -1.398 | -0.6639 | 0.00010431 | -0.00087245 | 0.04505 | 0.045062 | 0.045062 | 0.99151 | -0.13324 | 0.99144 | -0.13262 | 20.4826
47 | -2.2252 | -1.0502 | 2.2273 | 1.0435 | 0.0021454 | -0.0067293 | 0.071639 | 0.071548 | 0.071639 | 0.99151 | -0.13324 | 0.9924 | -0.14109 | 32.5633
48 | 0.07711 | 0.036882 | -0.077109 | -0.037346 | 1.6388e-07 | -0.00046354 | 0.0024894 | 0.0024952 | 0.0024952 | 0.99121 | -0.1306 | 0.99121 | -0.13058 | 1.1342
49 | 0.26319 | 0.12521 | -0.26318 | -0.12738 | 8.9086e-06 | -0.0021628 | 0.0084884 | 0.0085157 | 0.0085157 | 0.99118 | -0.13036 | 0.99115 | -0.13007 | 3.8708
50 | 0.15333 | 0.073524 | -0.15333 | -0.07426 | 1.0286e-06 | -0.00073519 | 0.0049524 | 0.0049617 | 0.0049617 | 0.99118 | -0.13036 | 0.99118 | -0.1303 | 2.2553
51 | 0.26318 | 0.12738 | -0.26317 | -0.12746 | 9.6079e-06 | -8.1177e-05 | 0.0085157 | 0.0085168 | 0.0085168 | 0.99115 | -0.13007 | 0.99111 | -0.13031 | 4.0556
52 | 1.1112 | 0.49567 | -1.1107 | -0.5028 | 0.0005131 | -0.0071366 | 0.035278 | 0.035364 | 0.035364 | 0.99566 | -0.12739 | 0.99523 | -0.12403 | 16.0747
53 | 3.1665 | 1.4917 | -3.1639 | -1.4902 | 0.0026262 | 0.0014757 | 0.10148 | 0.10149 | 0.10149 | 0.99566 | -0.12739 | 0.99479 | -0.13344 | 48.327
54 | 3.8264 | 1.8298 | -3.8257 | -1.8304 | 0.00069746 | -0.00062283 | 0.12252 | 0.12253 | 0.12253 | 0.99935 | -0.036509 | 0.99918 | -0.034965 | 55.6946
55 | -11.142 | -5.2172 | 11.1459 | 5.2276 | 0.0039004 | 0.010369 | 0.35539 | 0.35539 | 0.35539 | 0.99935 | -0.036509 | 1 | 0 | 55.0988
56 | 0.40916 | 0.1981 | -0.40916 | -0.19816 | 6.1342e-07 | -6.3477e-05 | 0.013125 | 0.013126 | 0.013126 | 0.99986 | -0.00090005 | 0.99985 | -0.000887 | 5.9662
57 | -0.40916 | -0.1981 | 0.40921 | 0.19792 | 5.5687e-05 | -0.00018174 | 0.013125 | 0.013122 | 0.013125 | 0.99986 | -0.00090005 | 1 | 0 | 6.2499
58 | 0.084579 | 0.038455 | -0.084578 | -0.040718 | 9.3379e-07 | -0.0022631 | 0.0026923 | 0.0027201 | 0.0027201 | 0.9962 | -0.077633 | 0.99619 | -0.077544 | 1.2364
59 | 0.4088 | 0.18804 | -0.40872 | -0.19639 | 8.0882e-05 | -0.0083524 | 0.013039 | 0.013142 | 0.013142 | 0.9962 | -0.077633 | 0.99602 | -0.076021 | 5.9738
60 | 0.10038 | 0.04829 | -0.10037 | -0.048613 | 5.0752e-06 | -0.00032234 | 0.0032228 | 0.0032269 | 0.0032269 | 0.99776 | -0.026402 | 0.99771 | -0.02674 | 1.5366
61 | -0.10038 | -0.04829 | 0.10038 | 0.04811 | 2.8345e-06 | -0.0001804 | 0.0032228 | 0.0032205 | 0.0032228 | 0.99776 | -0.026402 | 0.99779 | -0.02621 | 1.5346
62 | 0.53214 | 0.2554 | -0.53212 | -0.2569 | 2.4788e-05 | -0.0015044 | 0.017077 | 0.017096 | 0.017096 | 0.99779 | -0.02621 | 0.99775 | -0.02581 | 7.7709
63 | -0.93085 | -0.44799 | 0.93093 | 0.44798 | 8.3556e-05 | -1.007e-05 | 0.029887 | 0.029886 | 0.029887 | 0.99779 | -0.02621 | 0.99788 | -0.025604 | 14.232
64 | -0.24244 | -0.11742 | 0.24244 | 0.11711 | 1.071e-06 | -0.00030959 | 0.00782 | 0.0078161 | 0.00782 | 0.99442 | -0.11787 | 0.99442 | -0.11791 | 3.5545
65 | -0.24244 | -0.11711 | 0.24249 | 0.10333 | 4.6612e-05 | -0.013781 | 0.0078161 | 0.0076504 | 0.0078161 | 0.99442 | -0.11791 | 0.9946 | -0.11935 | 3.5528
66 | -0.4575 | -0.20538 | 0.45762 | 0.19516 | 0.00012176 | -0.01022 | 0.014555 | 0.014436 | 0.014555 | 0.9946 | -0.11935 | 0.99485 | -0.12116 | 6.616
67 | 0.21501 | 0.10205 | -0.215 | -0.10413 | 5.6476e-06 | -0.0020844 | 0.0069076 | 0.0069338 | 0.0069338 | 0.9946 | -0.11935 | 0.99458 | -0.11913 | 3.1517
68 | -0.82013 | -0.37051 | 0.82038 | 0.36404 | 0.00025129 | -0.0064699 | 0.026113 | 0.026036 | 0.026113 | 0.99485 | -0.12116 | 0.99514 | -0.12337 | 11.8697
69 | 0.36251 | 0.17535 | -0.36251 | -0.17557 | 1.6828e-06 | -0.00021761 | 0.011685 | 0.011688 | 0.011688 | 0.99485 | -0.12116 | 0.99485 | -0.12112 | 5.3126
70 | -0.82038 | -0.36404 | 0.82043 | 0.36268 | 5.2743e-05 | -0.0013634 | 0.026036 | 0.02602 | 0.026036 | 0.99514 | -0.12337 | 0.9952 | -0.12382 | 11.8345
71 | -1.1107 | -0.50324 | 1.1107 | 0.5028 | 3.1868e-05 | -0.00044186 | 0.03537 | 0.035364 | 0.03537 | 0.9952 | -0.12382 | 0.99523 | -0.12403 | 16.0771
72 | -0.25332 | -0.12269 | 0.25333 | 0.12077 | 7.2116e-06 | -0.0019165 | 0.0081682 | 0.0081441 | 0.0081682 | 0.99476 | -0.13319 | 0.99479 | -0.13344 | 3.7128
73 | 2.9105 | 1.3694 | -2.9075 | -1.3678 | 0.0030216 | 0.001663 | 0.093343 | 0.093345 | 0.093345 | 0.99479 | -0.13344 | 0.99369 | -0.14103 | 44.4502
74 | 2.6618 | 1.2488 | -2.6605 | -1.2481 | 0.0012414 | 0.00066505 | 0.085414 | 0.085415 | 0.085415 | 0.99369 | -0.14103 | 0.9932 | -0.14448 | 40.6739
75 | 2.6605 | 1.2481 | -2.6593 | -1.2507 | 0.0012214 | -0.0025887 | 0.085415 | 0.085452 | 0.085452 | 0.9932 | -0.14448 | 0.99277 | -0.14075 | 38.8416
76 | 2.6593 | 1.2507 | -2.6589 | -1.2516 | 0.00041793 | -0.00088464 | 0.085452 | 0.085464 | 0.085464 | 0.99277 | -0.14075 | 0.99263 | -0.13946 | 38.8473
77 | 2.3237 | 1.0892 | -2.3232 | -1.089 | 0.00051028 | 0.00025915 | 0.074633 | 0.074633 | 0.074633 | 0.99263 | -0.13946 | 0.9924 | -0.14109 | 35.5397
78 | 0.095831 | 0.045455 | -0.09583 | -0.045524 | 9.9993e-07 | -6.8672e-05 | 0.0030853 | 0.0030861 | 0.0030861 | 0.9924 | -0.14109 | 0.99239 | -0.14117 | 1.4696
79 | 0.09583 | 0.045524 | -0.095829 | -0.046412 | 4.8206e-07 | -0.00088812 | 0.0030861 | 0.0030973 | 0.0030973 | 0.99239 | -0.14117 | 0.99238 | -0.14112 | 1.4079
80 | 0.38252 | 0.18516 | -0.38252 | -0.18526 | 8.708e-07 | -0.00010237 | 0.012293 | 0.012294 | 0.012294 | 0.99797 | -0.023818 | 0.99796 | -0.023798 | 5.5883
81 | 0.53212 | 0.2569 | -0.53211 | -0.25752 | 1.0295e-05 | -0.00062376 | 0.017096 | 0.017104 | 0.017104 | 0.99775 | -0.02581 | 0.99773 | -0.025642 | 7.7745
82 | 0.53211 | 0.25752 | -0.53211 | -0.25762 | 1.5998e-06 | -9.6878e-05 | 0.017104 | 0.017105 | 0.017105 | 0.99773 | -0.025642 | 0.99773 | -0.025616 | 7.7751
83 | 0.27103 | 0.13117 | -0.27102 | -0.13126 | 1.061e-05 | -8.6579e-05 | 0.0087118 | 0.008713 | 0.008713 | 0.99773 | -0.025616 | 0.99768 | -0.025874 | 4.149
84 | 1.3202 | 0.62623 | -1.3201 | -0.62692 | 7.2749e-05 | -0.00068476 | 0.042546 | 0.042555 | 0.042555 | 0.99144 | -0.13262 | 0.99139 | -0.13216 | 19.3431
85 | -0.4087 | -0.19794 | 0.40872 | 0.19639 | 1.521e-05 | -0.0015555 | 0.013162 | 0.013142 | 0.013162 | 0.99598 | -0.0757 | 0.99602 | -0.076021 | 5.9827
86 | 0.084578 | 0.040718 | -0.084578 | -0.040963 | 1.0246e-07 | -0.00024549 | 0.0027201 | 0.0027232 | 0.0027232 | 0.99619 | -0.077544 | 0.99619 | -0.077533 | 1.2378
87 | -0.35322 | -0.17107 | 0.35323 | 0.17002 | 7.8169e-06 | -0.0010504 | 0.01143 | 0.011416 | 0.01143 | 0.99123 | -0.13071 | 0.99125 | -0.1309 | 5.1954
88 | -0.35323 | -0.17002 | 0.35325 | 0.1674 | 1.9429e-05 | -0.0026216 | 0.011416 | 0.011383 | 0.011416 | 0.99125 | -0.1309 | 0.9913 | -0.13137 | 5.1893
89 | 0.41906 | 0.19659 | -0.419 | -0.20223 | 5.8831e-05 | -0.0056427 | 0.01348 | 0.01355 | 0.01355 | 0.9913 | -0.13137 | 0.99117 | -0.13019 | 6.1593
90 | -1.1773 | -0.56006 | 1.1775 | 0.55873 | 0.00011208 | -0.0013339 | 0.037967 | 0.03795 | 0.037967 | 0.9913 | -0.13137 | 0.99139 | -0.13216 | 17.2577
91 | 0.40504 | 0.19607 | -0.40502 | -0.19616 | 2.6175e-05 | -8.3945e-05 | 0.013105 | 0.013106 | 0.013106 | 0.9913 | -0.13137 | 0.99123 | -0.13179 | 6.2409
92 | 0.095294 | 0.045693 | -0.095294 | -0.046153 | 2.4851e-07 | -0.00045993 | 0.003078 | 0.0030838 | 0.0030838 | 0.99117 | -0.13019 | 0.99117 | -0.13017 | 1.4017
93 | 0.32371 | 0.15654 | -0.32367 | -0.15676 | 4.1174e-05 | -0.00022123 | 0.010472 | 0.010476 | 0.010476 | 0.99117 | -0.13019 | 0.99104 | -0.13103 | 4.9883
94 | 0.14268 | 0.068191 | -0.14268 | -0.069105 | 1.1051e-06 | -0.00091346 | 0.0046048 | 0.0046164 | 0.0046164 | 0.99139 | -0.13216 | 0.99138 | -0.1321 | 2.0983

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.837 | 5.5658

## res_load
| p_mw | q_mvar
0 | 0.26431 | 0.12801
1 | 0.38571 | 0.18681
2 | 0.50909 | 0.24656
3 | 0.33456 | 0.16203
4 | 0.27668 | 0.134
5 | 0.22083 | 0.10695
6 | 0.068426 | 0.03314
7 | 0.39492 | 0.19127
8 | 0.1045 | 0.050613
9 | 0.1827 | 0.088487
10 | 0.083937 | 0.040652
11 | 0.31712 | 0.15359
12 | 0.07129 | 0.034527
13 | 0.16135 | 0.078145
14 | 0.40041 | 0.19393
15 | 0.17607 | 0.085274
16 | 0.099565 | 0.048222
17 | 0.08501 | 0.041172
18 | 0.33319 | 0.16137
19 | 0.15333 | 0.07426
20 | 0.26317 | 0.12746
21 | 0.077256 | 0.037417
22 | 0.39772 | 0.19262
23 | 0.40916 | 0.19816
24 | 0.26791 | 0.12976
25 | 0.10037 | 0.048613
26 | 0.29832 | 0.14448
27 | 0.24244 | 0.11742
28 | 0.215 | 0.10413
29 | 0.36251 | 0.17557
30 | 0.29024 | 0.14057
31 | 0.25332 | 0.12269
32 | 0.24575 | 0.11902
33 | 0.33523 | 0.16236
34 | 0.095829 | 0.046412
35 | 0.20369 | 0.098652
36 | 0.078489 | 0.038014
37 | 0.38252 | 0.18526
38 | 0.1392 | 0.067419
39 | 0.26108 | 0.12645
40 | 0.27102 | 0.13126
41 | 0.077762 | 0.037662
42 | 0.077109 | 0.037346
43 | 0.4087 | 0.19794
44 | 0.084578 | 0.040963
45 | 0.35322 | 0.17107
46 | 0.40502 | 0.19616
47 | 0.095294 | 0.046153
48 | 0.32367 | 0.15676
49 | 0.14268 | 0.069105

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1