## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_570_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_570_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_570_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_570_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_570_0_node_53 | 20 | n |  | TRUE
5 | bus_MV_570_0_node_8 | 20 | n |  | TRUE
6 | bus_MV_570_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_570_0_node_48 | 20 | n |  | TRUE
8 | bus_MV_570_0_node_51 | 20 | n |  | TRUE
9 | bus_MV_570_0_node_28 | 20 | n |  | TRUE
10 | bus_MV_570_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_570_0_node_16 | 20 | n |  | TRUE
12 | bus_MV_570_0_node_6 | 20 | n |  | TRUE
13 | bus_MV_570_0_node_15 | 20 | n |  | TRUE
14 | bus_MV_570_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_570_0_node_52 | 20 | n |  | TRUE
16 | bus_MV_570_0_node_46 | 20 | n |  | TRUE
17 | bus_MV_570_0_node_54 | 20 | n |  | TRUE
18 | bus_MV_570_0_node_47 | 20 | n |  | TRUE
19 | bus_MV_570_0_node_44 | 20 | n |  | TRUE
20 | bus_MV_570_0_node_18 | 20 | n |  | TRUE
21 | bus_MV_570_0_node_17 | 20 | n |  | TRUE
22 | bus_MV_570_0_node_38 | 20 | n |  | TRUE
23 | bus_MV_570_0_node_67 | 20 | n |  | TRUE
24 | bus_MV_570_0_node_34 | 20 | n |  | TRUE
25 | bus_MV_570_0_node_9 | 20 | n |  | TRUE
26 | bus_MV_570_0_node_10 | 20 | n |  | TRUE
27 | bus_MV_570_0_node_11 | 20 | n |  | TRUE
28 | bus_MV_570_0_node_12 | 20 | n |  | TRUE
29 | bus_MV_570_0_node_13 | 20 | n |  | TRUE
30 | bus_MV_570_0_node_14 | 20 | n |  | TRUE
31 | bus_MV_570_0_node_50 | 20 | n |  | TRUE
32 | bus_MV_570_0_node_49 | 20 | n |  | TRUE
33 | bus_MV_570_0_node_60 | 20 | n |  | TRUE
34 | bus_MV_570_0_node_55 | 20 | n |  | TRUE
35 | bus_MV_570_0_node_40 | 20 | n |  | TRUE
36 | bus_MV_570_0_node_42 | 20 | n |  | TRUE
37 | bus_MV_570_0_node_56 | 20 | n |  | TRUE
38 | bus_MV_570_0_node_57 | 20 | n |  | TRUE
39 | bus_MV_570_0_node_58 | 20 | n |  | TRUE
40 | bus_MV_570_0_node_19 | 20 | n |  | TRUE
41 | bus_MV_570_0_node_20 | 20 | n |  | TRUE
42 | bus_MV_570_0_node_22 | 20 | n |  | TRUE
43 | bus_MV_570_0_node_41 | 20 | n |  | TRUE
44 | bus_MV_570_0_node_23 | 20 | n |  | TRUE
45 | bus_MV_570_0_node_24 | 20 | n |  | TRUE
46 | bus_MV_570_0_node_25 | 20 | n |  | TRUE
47 | bus_MV_570_0_node_27 | 20 | n |  | TRUE
48 | bus_MV_570_0_node_66 | 20 | n |  | TRUE
49 | bus_MV_570_0_node_65 | 20 | n |  | TRUE
50 | bus_MV_570_0_node_37 | 20 | n |  | TRUE
51 | bus_MV_570_0_node_64 | 20 | n |  | TRUE
52 | bus_MV_570_0_node_63 | 20 | n |  | TRUE
53 | bus_MV_570_0_node_26 | 20 | n |  | TRUE
54 | bus_MV_570_0_node_33 | 20 | n |  | TRUE
55 | bus_MV_570_0_node_45 | 20 | n |  | TRUE
56 | bus_MV_570_0_node_59 | 20 | n |  | TRUE
57 | bus_MV_570_0_node_62 | 20 | n |  | TRUE
58 | bus_MV_570_0_node_30 | 20 | n |  | TRUE
59 | bus_MV_570_0_node_29 | 20 | n |  | TRUE
60 | bus_MV_570_0_node_43 | 20 | n |  | TRUE
61 | bus_MV_570_0_node_31 | 20 | n |  | TRUE
62 | bus_MV_570_0_node_32 | 20 | n |  | TRUE
63 | bus_MV_570_0_node_36 | 20 | n |  | TRUE
64 | bus_MV_570_0_node_61 | 20 | n |  | TRUE
65 | bus_HV_570_0_node_16 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_570_0_load_0 | 0 | 0.23416 | 0.11341 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_570_0_load_53 | 4 | 0.25695 | 0.12445 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_570_0_load_8 | 5 | 0.16622 | 0.080504 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_570_0_load_51 | 8 | 0.072283 | 0.035008 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_570_0_load_28 | 9 | 0.32438 | 0.1571 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_570_0_load_15 | 13 | 0.41332 | 0.20018 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_570_0_load_52 | 15 | 0.17169 | 0.083154 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_570_0_load_46 | 16 | 0.12559 | 0.060828 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_570_0_load_47 | 18 | 0.20986 | 0.10164 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_570_0_load_44 | 19 | 0.40218 | 0.19478 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_570_0_load_67 | 23 | 0.30564 | 0.14803 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_570_0_load_34 | 24 | 0.40748 | 0.19735 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_570_0_load_9 | 25 | 0.1516 | 0.073425 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_570_0_load_13 | 29 | 0.1386 | 0.067129 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_570_0_load_49 | 32 | 0.057878 | 0.028032 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_570_0_load_60 | 33 | 0.14098 | 0.06828 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_570_0_load_55 | 34 | 0.97476 | 0.4721 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_570_0_load_56 | 37 | 0.42473 | 0.2057 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_570_0_load_57 | 38 | 0.10801 | 0.052312 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_570_0_load_58 | 39 | 0.11063 | 0.053578 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_570_0_load_19 | 40 | 0.26503 | 0.12836 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_570_0_load_41 | 43 | 0.13234 | 0.064098 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_570_0_load_23 | 44 | 0.13053 | 0.06322 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_570_0_load_66 | 48 | 0.085719 | 0.041515 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_570_0_load_65 | 49 | 0.077645 | 0.037605 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_570_0_load_37 | 50 | 0.22485 | 0.1089 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_570_0_load_64 | 51 | 0.10156 | 0.049187 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_570_0_load_63 | 52 | 0.079424 | 0.038467 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_570_0_load_33 | 54 | 0.41334 | 0.20019 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_570_0_load_45 | 55 | 0.26033 | 0.12609 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_570_0_load_59 | 56 | 0.10967 | 0.053116 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_570_0_load_62 | 57 | 0.07946 | 0.038484 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_570_0_load_30 | 58 | 0.64422 | 0.31201 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_570_0_load_29 | 59 | 0.37478 | 0.18151 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_570_0_load_36 | 63 | 0.40201 | 0.1947 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_570_0_load_61 | 64 | 0.080701 | 0.039085 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_570_0_line_0 |  | 0 | 1 | 0.007466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_570_0_line_1 |  | 1 | 2 | 0.017113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_570_0_line_2 |  | 1 | 3 | 0.077005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_570_0_line_3 |  | 2 | 4 | 0.033027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_570_0_line_4 |  | 2 | 5 | 0.15743 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_570_0_line_5 |  | 3 | 6 | 0.37113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_570_0_line_6 |  | 3 | 7 | 0.063058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_570_0_line_7 |  | 3 | 8 | 0.14871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_570_0_line_8 |  | 4 | 17 | 0.02446 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_570_0_line_9 |  | 6 | 9 | 0.089381 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_570_0_line_10 |  | 7 | 18 | 0.083982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_570_0_line_11 |  | 9 | 19 | 0.19304 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_570_0_line_12 |  | 10 | 11 | 0.29207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_570_0_line_13 |  | 10 | 12 | 0.30046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_570_0_line_14 |  | 10 | 13 | 0.010834 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_570_0_line_15 |  | 11 | 20 | 0.28458 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_570_0_line_16 |  | 12 | 14 | 0.10769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_570_0_line_17 |  | 12 | 15 | 0.053932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_570_0_line_18 |  | 14 | 16 | 0.008513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_570_0_line_19 |  | 17 | 34 | 0.082883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_570_0_line_20 |  | 19 | 39 | 0.32898 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_570_0_line_21 |  | 19 | 60 | 0.10115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_570_0_line_22 |  | 20 | 24 | 0.012116 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_570_0_line_23 |  | 20 | 21 | 0.17088 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_570_0_line_24 |  | 21 | 22 | 0.077954 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
25 | MV_570_0_line_25 |  | 21 | 23 | 0.0079144 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_570_0_line_26 |  | 22 | 35 | 0.19163 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_570_0_line_27 |  | 25 | 26 | 0.070553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_570_0_line_28 |  | 25 | 27 | 0.17435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_570_0_line_29 |  | 26 | 28 | 0.43895 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_570_0_line_30 |  | 27 | 29 | 0.045956 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_570_0_line_31 |  | 27 | 30 | 0.47474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_570_0_line_32 |  | 28 | 31 | 0.86077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_570_0_line_33 |  | 28 | 32 | 0.066209 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_570_0_line_34 |  | 30 | 33 | 0.1339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_570_0_line_35 |  | 31 | 34 | 0.053595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_570_0_line_36 |  | 35 | 36 | 0.84092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_570_0_line_37 |  | 35 | 37 | 0.11042 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_570_0_line_38 |  | 36 | 43 | 0.015634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_570_0_line_39 |  | 37 | 38 | 0.063056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_570_0_line_40 |  | 38 | 39 | 0.1822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_570_0_line_41 |  | 40 | 41 | 0.089529 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_570_0_line_42 |  | 41 | 42 | 0.049832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_570_0_line_43 |  | 41 | 43 | 0.44425 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_570_0_line_44 |  | 42 | 44 | 0.042308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_570_0_line_45 |  | 42 | 45 | 0.13808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_570_0_line_46 |  | 42 | 46 | 0.37016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_570_0_line_47 |  | 44 | 50 | 0.11581 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_570_0_line_48 |  | 45 | 51 | 0.016703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_570_0_line_49 |  | 45 | 52 | 0.028251 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_570_0_line_50 |  | 46 | 53 | 0.21123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_570_0_line_51 |  | 46 | 54 | 0.010012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_570_0_line_52 |  | 47 | 48 | 0.031167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_570_0_line_53 |  | 47 | 49 | 0.02409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_570_0_line_54 |  | 49 | 58 | 0.062 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_570_0_line_55 |  | 51 | 56 | 0.00042641 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_570_0_line_56 |  | 52 | 57 | 0.014052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_570_0_line_57 |  | 53 | 55 | 0.019417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_570_0_line_58 |  | 56 | 62 | 0.029757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_570_0_line_59 |  | 57 | 64 | 0.013574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_570_0_line_60 |  | 58 | 59 | 0.017564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_570_0_line_61 |  | 59 | 61 | 0.028809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_570_0_line_62 |  | 60 | 63 | 0.11956 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_570_0_line_63 |  | 61 | 62 | 0.03385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_570_0_trafo_16 | 25 MVA 110/20 kV | 65 | 11 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2611907.4472 | 1269597.573
1 | 2611902.2213 | 1269592.2254
2 | 2611906.188 | 1269580.147
3 | 2611879.9742 | 1269655.648
4 | 2611929.581 | 1269556.8332
5 | 2611771.0991 | 1269499.3095
6 | 2611623.7147 | 1269640.0076
7 | 2611896.9026 | 1269715.7132
8 | 2611930.6035 | 1269795.3575
9 | 2611541.3665 | 1269605.2558
10 | 2611679.8966 | 1269899.1457
11 | 2611671.8484 | 1270043.5433
12 | 2611834.8287 | 1269947.5534
13 | 2611673.0264 | 1269892.1495
14 | 2611889.7699 | 1269903.6431
15 | 2611851.227 | 1269998.9323
16 | 2611892.432 | 1269911.732
17 | 2611946.9062 | 1269539.5668
18 | 2611924.5283 | 1269795.047
19 | 2611392.3095 | 1269727.9216
20 | 2611529.3153 | 1270072.9525
21 | 2611384.9811 | 1270128.1799
22 | 2611364.8253 | 1270203.4836
23 | 2611382.1157 | 1270135.5574
24 | 2611517.9091 | 1270073.4418
25 | 2612207.2622 | 1270111.101
26 | 2612277.3534 | 1270101.3942
27 | 2612254.3193 | 1270278.9392
28 | 2612421.722 | 1269865.1492
29 | 2612264.4955 | 1270323.7587
30 | 2612091.5008 | 1270337.2135
31 | 2612044.5486 | 1269444.7303
32 | 2612486.7812 | 1269852.8659
33 | 2611990.6795 | 1270399.0486
34 | 2612006.8219 | 1269482.3027
35 | 2611195.6706 | 1270206.5423
36 | 2611369.7513 | 1270868.0651
37 | 2611138.3309 | 1270124.2577
38 | 2611124.4671 | 1270062.763
39 | 2611101.7229 | 1269882.1429
40 | 2611669.4899 | 1270485.43
41 | 2611582.1671 | 1270465.6784
42 | 2611593.343 | 1270417.1101
43 | 2611364.9279 | 1270853.1897
44 | 2611551.0828 | 1270419.115
45 | 2611688.9024 | 1270384.1852
46 | 2611671.6459 | 1270234.4894
47 | 2611866.4201 | 1270368.6373
48 | 2611856.2841 | 1270339.8522
49 | 2611842.3743 | 1270367.1869
50 | 2611437.6544 | 1270395.7376
51 | 2611705.5735 | 1270383.1605
52 | 2611687.0868 | 1270355.9924
53 | 2611723.376 | 1270123.2235
54 | 2611661.7721 | 1270236.3158
55 | 2611737.5737 | 1270111.0874
56 | 2611705.9991 | 1270383.1343
57 | 2611686.1837 | 1270341.9696
58 | 2611783.2963 | 1270348.3777
59 | 2611765.8787 | 1270350.6387
60 | 2611426.5094 | 1269823.1435
61 | 2611769.5873 | 1270379.2076
62 | 2611735.7002 | 1270381.3087
63 | 2611467.1301 | 1269935.5903
64 | 2611684.8397 | 1270328.4623
65 | 2611671.8484 | 1270043.5433

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99159 | -0.038466 | 0.23416 | 0.11341
1 | 0.99159 | -0.038487 | 0 | 0
2 | 0.99155 | -0.038157 | 0 | 0
3 | 0.9918 | -0.040186 | 0 | 0
4 | 0.99148 | -0.037585 | 0.25695 | 0.12445
5 | 0.9915 | -0.03848 | 0.16622 | 0.080504
6 | 0.99294 | -0.049339 | 0 | 0
7 | 0.99178 | -0.040036 | 0 | 0
8 | 0.99179 | -0.040072 | 0.072283 | 0.035008
9 | 0.99335 | -0.046122 | 0.32438 | 0.1571
10 | 0.99974 | 0.0022049 | 0 | 0
11 | 1 | 0 | -8.727 | -4.0402
12 | 0.99962 | 0.0031278 | 0 | 0
13 | 0.99973 | 0.0022584 | 0.41332 | 0.20018
14 | 0.99961 | 0.0032795 | 0 | 0
15 | 0.99961 | 0.0032364 | 0.17169 | 0.083154
16 | 0.99961 | 0.0032922 | 0.12559 | 0.060828
17 | 0.99143 | -0.037236 | 0 | 0
18 | 0.99176 | -0.039827 | 0.20986 | 0.10164
19 | 0.99436 | -0.038416 | 0.40218 | 0.19478
20 | 0.99926 | -0.0033329 | 0 | 0
21 | 0.99884 | -0.0052185 | 0 | 0
22 | 0.99846 | -0.026796 | 0 | 0
23 | 0.99883 | -0.0052478 | 0.30564 | 0.14803
24 | 0.99925 | -0.0032738 | 0.40748 | 0.19735
25 | 0.99044 | -0.031263 | 0.1516 | 0.073425
26 | 0.99048 | -0.031542 | 0 | 0
27 | 0.99038 | -0.030866 | 0 | 0
28 | 0.99072 | -0.033102 | 0 | 0
29 | 0.99037 | -0.03079 | 0.1386 | 0.067129
30 | 0.99029 | -0.030318 | 0 | 0
31 | 0.99125 | -0.035911 | 0 | 0
32 | 0.99071 | -0.033149 | 0.057878 | 0.028032
33 | 0.99027 | -0.030101 | 0.14098 | 0.06828
34 | 0.99128 | -0.036049 | 0.97476 | 0.4721
35 | 0.998 | -0.028822 | 0 | 0
36 | 0.99471 | 0.00034123 | 0 | 0
37 | 0.99775 | -0.031641 | 0.42473 | 0.2057
38 | 0.99745 | -0.029117 | 0.10801 | 0.052312
39 | 0.99661 | -0.022019 | 0.11063 | 0.053578
40 | 0.99208 | -0.016332 | 0.26503 | 0.12836
41 | 0.99213 | -0.01604 | 0 | 0
42 | 0.99196 | -0.014508 | 0 | 0
43 | 0.99465 | 0.00089544 | 0.13234 | 0.064098
44 | 0.99194 | -0.014327 | 0.13053 | 0.06322
45 | 0.99167 | -0.011831 | 0 | 0
46 | 0.99164 | -0.011715 | 0 | 0
47 | 0.99146 | -0.01017 | 0 | 0
48 | 0.99145 | -0.010138 | 0.085719 | 0.041515
49 | 0.99146 | -0.010194 | 0.077645 | 0.037605
50 | 0.99189 | -0.014648 | 0.22485 | 0.1089
51 | 0.99164 | -0.011552 | 0.10156 | 0.049187
52 | 0.99166 | -0.01175 | 0.079424 | 0.038467
53 | 0.99157 | -0.011086 | 0 | 0
54 | 0.99163 | -0.011665 | 0.41334 | 0.20019
55 | 0.99156 | -0.011025 | 0.26033 | 0.12609
56 | 0.99164 | -0.011545 | 0.10967 | 0.053116
57 | 0.99166 | -0.011723 | 0.07946 | 0.038484
58 | 0.99148 | -0.010062 | 0.64422 | 0.31201
59 | 0.9915 | -0.010233 | 0.37478 | 0.18151
60 | 0.99431 | -0.037932 | 0 | 0
61 | 0.99154 | -0.010644 | 0 | 0
62 | 0.99159 | -0.011124 | 0 | 0
63 | 0.99422 | -0.038521 | 0.40201 | 0.1947
64 | 0.99165 | -0.01171 | 0.080701 | 0.039085
65 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23416 | -0.11341 | 0.23416 | 0.11323 | 5.7165e-07 | -0.0001751 | 0.0075744 | 0.0075721 | 0.0075744 | 0.99159 | -0.038466 | 0.99159 | -0.038487 | 3.4429
1 | 1.888 | 0.85746 | -1.8879 | -0.85784 | 8.3258e-05 | -0.00037703 | 0.060366 | 0.060371 | 0.060371 | 0.99159 | -0.038487 | 0.99155 | -0.038157 | 27.4415
2 | -2.1221 | -0.97069 | 2.1226 | 0.96903 | 0.00047431 | -0.0016675 | 0.067937 | 0.067915 | 0.067937 | 0.99159 | -0.038487 | 0.9918 | -0.040186 | 30.8803
3 | 1.7217 | 0.77751 | -1.7215 | -0.77825 | 0.00013339 | -0.00073566 | 0.054998 | 0.055007 | 0.055007 | 0.99155 | -0.038157 | 0.99148 | -0.037585 | 25.0033
4 | 0.16623 | 0.080324 | -0.16622 | -0.080504 | 8.1067e-06 | -0.00017969 | 0.0053749 | 0.0053772 | 0.0053772 | 0.99155 | -0.038157 | 0.9915 | -0.03848 | 2.5606
5 | -2.4048 | -1.0987 | 2.4077 | 1.0909 | 0.00293 | -0.0078573 | 0.076953 | 0.076848 | 0.076953 | 0.9918 | -0.040186 | 0.99294 | -0.049339 | 34.9788
6 | 0.20987 | 0.098191 | -0.20987 | -0.099671 | 3.8393e-06 | -0.0014798 | 0.0067441 | 0.0067625 | 0.0067625 | 0.9918 | -0.040186 | 0.99178 | -0.040036 | 3.0738
7 | 0.072284 | 0.031516 | -0.072283 | -0.035008 | 1.0649e-06 | -0.0034923 | 0.0022952 | 0.0023377 | 0.0023377 | 0.9918 | -0.040186 | 0.99179 | -0.040072 | 1.0626
8 | 1.4646 | 0.6538 | -1.4645 | -0.65436 | 7.122e-05 | -0.00055295 | 0.046698 | 0.046705 | 0.046705 | 0.99148 | -0.037585 | 0.99143 | -0.037236 | 21.2296
9 | -2.4077 | -1.0909 | 2.4086 | 1.0914 | 0.00094046 | 0.00048383 | 0.076848 | 0.076847 | 0.076848 | 0.99294 | -0.049339 | 0.99335 | -0.046122 | 36.5944
10 | 0.20987 | 0.099671 | -0.20986 | -0.10164 | 5.1459e-06 | -0.0019708 | 0.0067625 | 0.0067873 | 0.0067873 | 0.99178 | -0.040036 | 0.99176 | -0.039827 | 3.0851
11 | -2.733 | -1.2485 | 2.7356 | 1.2499 | 0.0026223 | 0.0014149 | 0.087318 | 0.087315 | 0.087318 | 0.99335 | -0.046122 | 0.99436 | -0.038416 | 41.5801
12 | -0.71065 | -0.33269 | 0.71085 | 0.32577 | 0.00019942 | -0.0069126 | 0.022657 | 0.022573 | 0.022657 | 0.99974 | 0.0022049 | 1 | 0 | 10.2988
13 | 0.29733 | 0.13277 | -0.29729 | -0.13992 | 3.5783e-05 | -0.0071586 | 0.0094023 | 0.0094886 | 0.0094886 | 0.99974 | 0.0022049 | 0.99962 | 0.0031278 | 4.313
14 | 0.41332 | 0.19992 | -0.41332 | -0.20018 | 2.5427e-06 | -0.00025778 | 0.013258 | 0.013261 | 0.013261 | 0.99974 | 0.0022049 | 0.99973 | 0.0022584 | 6.0276
15 | 8.0021 | 3.7039 | -7.9964 | -3.7186 | 0.0057026 | -0.014656 | 0.25455 | 0.25476 | 0.25476 | 1 | 0 | 0.99926 | -0.0033329 | 39.9318
16 | 0.1256 | 0.058056 | -0.12559 | -0.060625 | 2.3134e-06 | -0.0025685 | 0.0039958 | 0.0040275 | 0.0040275 | 0.99962 | 0.0031278 | 0.99961 | 0.0032795 | 1.8307
17 | 0.17169 | 0.081868 | -0.17169 | -0.083154 | 2.1788e-06 | -0.0012861 | 0.005493 | 0.0055091 | 0.0055091 | 0.99962 | 0.0031278 | 0.99961 | 0.0032364 | 2.5042
18 | 0.12559 | 0.060625 | -0.12559 | -0.060828 | 1.8446e-07 | -0.00020304 | 0.0040275 | 0.00403 | 0.00403 | 0.99961 | 0.0032795 | 0.99961 | 0.0032922 | 1.8318
19 | 1.4645 | 0.65436 | -1.4643 | -0.65623 | 0.00024149 | -0.0018732 | 0.046705 | 0.046728 | 0.046728 | 0.99143 | -0.037236 | 0.99128 | -0.036049 | 21.2401
20 | -3.5399 | -1.6369 | 3.5474 | 1.6412 | 0.0075135 | 0.004317 | 0.11322 | 0.11322 | 0.11322 | 0.99436 | -0.038416 | 0.99661 | -0.022019 | 53.9152
21 | 0.40207 | 0.1922 | -0.40205 | -0.19459 | 2.2655e-05 | -0.002381 | 0.012938 | 0.012968 | 0.012968 | 0.99436 | -0.038416 | 0.99431 | -0.037932 | 5.8944
22 | 0.40748 | 0.19706 | -0.40748 | -0.19735 | 2.7664e-06 | -0.00028803 | 0.013076 | 0.01308 | 0.01308 | 0.99926 | -0.0033329 | 0.99925 | -0.0032738 | 5.9453
23 | 7.589 | 3.5215 | -7.5859 | -3.5305 | 0.003086 | -0.0089783 | 0.24169 | 0.24182 | 0.24182 | 0.99926 | -0.0033329 | 0.99884 | -0.0052185 | 37.9029
24 | 7.2802 | 3.3825 | -7.2787 | -3.3785 | 0.001498 | 0.0039208 | 0.23201 | 0.23201 | 0.23201 | 0.99884 | -0.0052185 | 0.99846 | -0.026796 | 35.9703
25 | 0.30564 | 0.14802 | -0.30564 | -0.14803 | 1.3584e-06 | -8.5755e-06 | 0.0098148 | 0.0098149 | 0.0098149 | 0.99884 | -0.0052185 | 0.99883 | -0.0052478 | 4.6738
26 | 7.2787 | 3.3785 | -7.2755 | -3.3887 | 0.0031893 | -0.010202 | 0.23201 | 0.23215 | 0.23215 | 0.99846 | -0.026796 | 0.998 | -0.028822 | 36.3879
27 | -0.43122 | -0.18943 | 0.43124 | 0.18778 | 1.7725e-05 | -0.0016473 | 0.013728 | 0.013708 | 0.013728 | 0.99044 | -0.031263 | 0.99048 | -0.031542 | 6.2399
28 | 0.27962 | 0.11601 | -0.2796 | -0.12009 | 1.8215e-05 | -0.004078 | 0.0088234 | 0.0088696 | 0.0088696 | 0.99044 | -0.031263 | 0.99038 | -0.030866 | 4.0317
29 | -0.43124 | -0.18778 | 0.43135 | 0.17753 | 0.00010917 | -0.010252 | 0.013708 | 0.013592 | 0.013708 | 0.99048 | -0.031542 | 0.99072 | -0.033102 | 6.2311
30 | 0.1386 | 0.066053 | -0.1386 | -0.067129 | 1.2325e-06 | -0.0010759 | 0.0044753 | 0.0044889 | 0.0044889 | 0.99038 | -0.030866 | 0.99037 | -0.03079 | 2.0404
31 | 0.141 | 0.054032 | -0.14098 | -0.065146 | 1.2617e-05 | -0.011113 | 0.0044012 | 0.0045273 | 0.0045273 | 0.99038 | -0.030866 | 0.99029 | -0.030318 | 2.0579
32 | -0.48923 | -0.20549 | 0.4895 | 0.18538 | 0.00027076 | -0.020103 | 0.015462 | 0.015243 | 0.015462 | 0.99072 | -0.033102 | 0.99125 | -0.035911 | 7.028
33 | 0.057879 | 0.027954 | -0.057878 | -0.028032 | 4.1399e-07 | -7.732e-05 | 0.0018729 | 0.0018739 | 0.0018739 | 0.99072 | -0.033102 | 0.99071 | -0.033149 | 0.89231
34 | 0.14098 | 0.065146 | -0.14098 | -0.06828 | 3.6952e-06 | -0.0031341 | 0.0045273 | 0.0045664 | 0.0045664 | 0.99029 | -0.030318 | 0.99027 | -0.030101 | 2.0756
35 | -0.4895 | -0.18538 | 0.48952 | 0.18413 | 1.6611e-05 | -0.0012525 | 0.015243 | 0.015231 | 0.015243 | 0.99125 | -0.035911 | 0.99128 | -0.036049 | 6.9289
36 | 3.0793 | 1.4435 | -3.0684 | -1.4602 | 0.010891 | -0.016702 | 0.09837 | 0.098617 | 0.098617 | 0.998 | -0.028822 | 0.99471 | 0.00034123 | 44.826
37 | 4.1963 | 1.9452 | -4.1953 | -1.9483 | 0.00095486 | -0.003078 | 0.13378 | 0.13383 | 0.13383 | 0.998 | -0.028822 | 0.99775 | -0.031641 | 36.9698
38 | 3.0684 | 1.4602 | -3.0682 | -1.4605 | 0.00020299 | -0.00030911 | 0.098617 | 0.098622 | 0.098622 | 0.99471 | 0.00034123 | 0.99465 | 0.00089544 | 44.8281
39 | 3.7706 | 1.7426 | -3.7694 | -1.7437 | 0.001216 | -0.0011376 | 0.12018 | 0.1202 | 0.1202 | 0.99775 | -0.031641 | 0.99745 | -0.029117 | 54.6351
40 | 3.6613 | 1.6914 | -3.658 | -1.6948 | 0.0033155 | -0.003341 | 0.11672 | 0.11678 | 0.11678 | 0.99745 | -0.029117 | 0.99661 | -0.022019 | 53.0805
41 | -0.26503 | -0.12836 | 0.26504 | 0.12826 | 1.171e-05 | -9.7864e-05 | 0.0085688 | 0.0085675 | 0.0085688 | 0.99208 | -0.016332 | 0.99213 | -0.01604 | 4.0804
42 | 2.6638 | 1.2643 | -2.6633 | -1.2653 | 0.00048975 | -0.0010257 | 0.085793 | 0.085808 | 0.085808 | 0.99213 | -0.01604 | 0.99196 | -0.014508 | 39.0036
43 | -2.9288 | -1.3925 | 2.9359 | 1.3964 | 0.0070471 | 0.0038907 | 0.094361 | 0.094354 | 0.094361 | 0.99213 | -0.01604 | 0.99465 | 0.00089544 | 44.9336
44 | 0.35541 | 0.171 | -0.3554 | -0.17199 | 7.4489e-06 | -0.00099173 | 0.011478 | 0.01149 | 0.01149 | 0.99196 | -0.014508 | 0.99194 | -0.014327 | 5.2229
45 | 1.6339 | 0.7823 | -1.6334 | -0.78539 | 0.00051274 | -0.0030911 | 0.052719 | 0.05276 | 0.05276 | 0.99196 | -0.014508 | 0.99167 | -0.011831 | 23.9818
46 | 0.67393 | 0.31201 | -0.6737 | -0.32063 | 0.00023196 | -0.0086247 | 0.021612 | 0.02172 | 0.02172 | 0.99196 | -0.014508 | 0.99164 | -0.011715 | 9.8727
47 | 0.22487 | 0.10877 | -0.22485 | -0.1089 | 1.0907e-05 | -0.0001292 | 0.0072695 | 0.0072712 | 0.0072712 | 0.99194 | -0.014327 | 0.99189 | -0.014648 | 3.4625
48 | 1.3938 | 0.67067 | -1.3938 | -0.67105 | 4.5213e-05 | -0.00037875 | 0.045027 | 0.045032 | 0.045032 | 0.99167 | -0.011831 | 0.99164 | -0.011552 | 20.4692
49 | 0.23959 | 0.11473 | -0.23959 | -0.11539 | 2.2577e-06 | -0.00066266 | 0.0077328 | 0.0077411 | 0.0077411 | 0.99167 | -0.011831 | 0.99166 | -0.01175 | 3.5187
50 | 0.26036 | 0.12068 | -0.26034 | -0.12563 | 1.9824e-05 | -0.0049532 | 0.0083538 | 0.0084155 | 0.0084155 | 0.99164 | -0.011715 | 0.99157 | -0.011086 | 3.8252
51 | 0.41334 | 0.19996 | -0.41334 | -0.20019 | 2.3887e-06 | -0.00023436 | 0.013367 | 0.01337 | 0.01337 | 0.99164 | -0.011715 | 0.99163 | -0.011665 | 6.0772
52 | 0.085719 | 0.040784 | -0.085719 | -0.041515 | 3.1891e-07 | -0.00073139 | 0.0027639 | 0.0027731 | 0.0027731 | 0.99146 | -0.01017 | 0.99145 | -0.010138 | 1.2605
53 | -0.085719 | -0.040784 | 0.085719 | 0.040219 | 2.4505e-07 | -0.00056531 | 0.0027639 | 0.0027569 | 0.0027639 | 0.99146 | -0.01017 | 0.99146 | -0.010194 | 1.2563
54 | -0.16336 | -0.077824 | 0.16337 | 0.077753 | 3.0659e-06 | -7.0838e-05 | 0.0052687 | 0.0052678 | 0.0052687 | 0.99146 | -0.010194 | 0.99148 | -0.010062 | 2.5089
55 | 1.2922 | 0.62186 | -1.2922 | -0.62187 | 9.9195e-07 | -9.717e-06 | 0.041747 | 0.041747 | 0.041747 | 0.99164 | -0.011552 | 0.99164 | -0.011545 | 18.9761
56 | 0.16016 | 0.076921 | -0.16016 | -0.077251 | 5.0224e-07 | -0.00032978 | 0.0051722 | 0.0051764 | 0.0051764 | 0.99166 | -0.01175 | 0.99166 | -0.011723 | 2.3529
57 | 0.26034 | 0.12563 | -0.26033 | -0.12609 | 1.8371e-06 | -0.00045527 | 0.0084155 | 0.0084213 | 0.0084213 | 0.99157 | -0.011086 | 0.99156 | -0.011025 | 3.8279
58 | 1.1826 | 0.56875 | -1.1825 | -0.56943 | 5.7983e-05 | -0.00068142 | 0.0382 | 0.038209 | 0.038209 | 0.99164 | -0.011545 | 0.99159 | -0.011124 | 17.3677
59 | 0.080701 | 0.038767 | -0.080701 | -0.039085 | 1.2328e-07 | -0.00031868 | 0.0026062 | 0.0026103 | 0.0026103 | 0.99166 | -0.011723 | 0.99165 | -0.01171 | 1.1865
60 | -0.80758 | -0.38976 | 0.8076 | 0.38935 | 1.598e-05 | -0.0004075 | 0.026109 | 0.026103 | 0.026109 | 0.99148 | -0.010062 | 0.9915 | -0.010233 | 11.8675
61 | -1.1824 | -0.57087 | 1.1824 | 0.57021 | 5.619e-05 | -0.00065955 | 0.038228 | 0.038219 | 0.038228 | 0.9915 | -0.010233 | 0.99154 | -0.010644 | 17.3761
62 | 0.40205 | 0.19459 | -0.40201 | -0.1947 | 3.5827e-05 | -0.00011866 | 0.012968 | 0.01297 | 0.01297 | 0.99431 | -0.037932 | 0.99422 | -0.038521 | 6.176
63 | -1.1824 | -0.57021 | 1.1825 | 0.56943 | 6.5991e-05 | -0.00077506 | 0.038219 | 0.038209 | 0.038219 | 0.99154 | -0.010644 | 0.99159 | -0.011124 | 17.3723

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.727 | 4.0402

## res_load
| p_mw | q_mvar
0 | 0.23416 | 0.11341
1 | 0.25695 | 0.12445
2 | 0.16622 | 0.080504
3 | 0.072283 | 0.035008
4 | 0.32438 | 0.1571
5 | 0.41332 | 0.20018
6 | 0.17169 | 0.083154
7 | 0.12559 | 0.060828
8 | 0.20986 | 0.10164
9 | 0.40218 | 0.19478
10 | 0.30564 | 0.14803
11 | 0.40748 | 0.19735
12 | 0.1516 | 0.073425
13 | 0.1386 | 0.067129
14 | 0.057878 | 0.028032
15 | 0.14098 | 0.06828
16 | 0.97476 | 0.4721
17 | 0.42473 | 0.2057
18 | 0.10801 | 0.052312
19 | 0.11063 | 0.053578
20 | 0.26503 | 0.12836
21 | 0.13234 | 0.064098
22 | 0.13053 | 0.06322
23 | 0.085719 | 0.041515
24 | 0.077645 | 0.037605
25 | 0.22485 | 0.1089
26 | 0.10156 | 0.049187
27 | 0.079424 | 0.038467
28 | 0.41334 | 0.20019
29 | 0.26033 | 0.12609
30 | 0.10967 | 0.053116
31 | 0.07946 | 0.038484
32 | 0.64422 | 0.31201
33 | 0.37478 | 0.18151
34 | 0.40201 | 0.1947
35 | 0.080701 | 0.039085

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1