## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_572_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_572_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_572_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_572_0_node_8 | 20 | n |  | TRUE
4 | bus_MV_572_0_node_9 | 20 | n |  | TRUE
5 | bus_MV_572_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_572_0_node_7 | 20 | n |  | TRUE
7 | bus_MV_572_0_node_25 | 20 | n |  | TRUE
8 | bus_MV_572_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_572_0_node_44 | 20 | n |  | TRUE
10 | bus_MV_572_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_572_0_node_47 | 20 | n |  | TRUE
12 | bus_MV_572_0_node_46 | 20 | n |  | TRUE
13 | bus_MV_572_0_node_41 | 20 | n |  | TRUE
14 | bus_MV_572_0_node_37 | 20 | n |  | TRUE
15 | bus_MV_572_0_node_38 | 20 | n |  | TRUE
16 | bus_MV_572_0_node_36 | 20 | n |  | TRUE
17 | bus_MV_572_0_node_26 | 20 | n |  | TRUE
18 | bus_MV_572_0_node_45 | 20 | n |  | TRUE
19 | bus_MV_572_0_node_48 | 20 | n |  | TRUE
20 | bus_MV_572_0_node_18 | 20 | n |  | TRUE
21 | bus_MV_572_0_node_42 | 20 | n |  | TRUE
22 | bus_MV_572_0_node_22 | 20 | n |  | TRUE
23 | bus_MV_572_0_node_40 | 20 | n |  | TRUE
24 | bus_MV_572_0_node_35 | 20 | n |  | TRUE
25 | bus_MV_572_0_node_10 | 20 | n |  | TRUE
26 | bus_MV_572_0_node_11 | 20 | n |  | TRUE
27 | bus_MV_572_0_node_12 | 20 | n |  | TRUE
28 | bus_MV_572_0_node_13 | 20 | n |  | TRUE
29 | bus_MV_572_0_node_17 | 20 | n |  | TRUE
30 | bus_MV_572_0_node_15 | 20 | n |  | TRUE
31 | bus_MV_572_0_node_23 | 20 | n |  | TRUE
32 | bus_MV_572_0_node_16 | 20 | n |  | TRUE
33 | bus_MV_572_0_node_24 | 20 | n |  | TRUE
34 | bus_MV_572_0_node_14 | 20 | n |  | TRUE
35 | bus_MV_572_0_node_19 | 20 | n |  | TRUE
36 | bus_MV_572_0_node_20 | 20 | n |  | TRUE
37 | bus_MV_572_0_node_21 | 20 | n |  | TRUE
38 | bus_MV_572_0_node_34 | 20 | n |  | TRUE
39 | bus_MV_572_0_node_33 | 20 | n |  | TRUE
40 | bus_MV_572_0_node_27 | 20 | n |  | TRUE
41 | bus_MV_572_0_node_39 | 20 | n |  | TRUE
42 | bus_MV_572_0_node_28 | 20 | n |  | TRUE
43 | bus_MV_572_0_node_29 | 20 | n |  | TRUE
44 | bus_MV_572_0_node_30 | 20 | n |  | TRUE
45 | bus_MV_572_0_node_31 | 20 | n |  | TRUE
46 | bus_MV_572_0_node_32 | 20 | n |  | TRUE
47 | bus_MV_572_0_node_49 | 20 | n |  | TRUE
48 | bus_MV_572_0_node_43 | 20 | n |  | TRUE
49 | bus_HV_572_0_node_18 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_572_0_load_0 | 0 | 0.33684 | 0.16314 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_572_0_load_3 | 2 | 2.6817 | 1.2988 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_572_0_load_25 | 7 | 2.4114 | 1.1679 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_572_0_load_44 | 9 | 0.49526 | 0.23986 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_572_0_load_46 | 12 | 1.4714 | 0.71262 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_572_0_load_41 | 13 | 0.80273 | 0.38878 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_572_0_load_37 | 14 | 1.3841 | 0.67033 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_572_0_load_45 | 18 | 0.45326 | 0.21952 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_572_0_load_48 | 19 | 0.29098 | 0.14093 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_572_0_load_18 | 20 | 1.0671 | 0.51683 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_572_0_load_40 | 23 | 0.87291 | 0.42277 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_572_0_load_35 | 24 | 0.22054 | 0.10681 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_572_0_load_10 | 25 | 0.18403 | 0.089129 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_572_0_load_23 | 31 | 0.27952 | 0.13538 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_572_0_load_24 | 33 | 0.2684 | 0.12999 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_572_0_load_14 | 34 | 0.25926 | 0.12557 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_572_0_load_19 | 35 | 0.19102 | 0.092513 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_572_0_load_34 | 38 | 0.18479 | 0.089497 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_572_0_load_39 | 41 | 3.7036 | 1.7937 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_572_0_load_28 | 42 | 0.29279 | 0.14181 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_572_0_load_29 | 43 | 0.40072 | 0.19408 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_572_0_load_31 | 45 | 0.21333 | 0.10332 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_572_0_load_49 | 47 | 0.12546 | 0.060762 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_572_0_load_43 | 48 | 0.48442 | 0.23461 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_572_0_line_0 |  | 0 | 1 | 0.009409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_572_0_line_1 |  | 0 | 2 | 0.029167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_572_0_line_2 |  | 1 | 3 | 0.008613 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_572_0_line_3 |  | 2 | 4 | 0.034848 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
4 | MV_572_0_line_4 |  | 3 | 14 | 0.045781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_572_0_line_5 |  | 4 | 15 | 0.067923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_572_0_line_6 |  | 4 | 16 | 0.023164 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_572_0_line_7 |  | 5 | 6 | 1.343 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
8 | MV_572_0_line_8 |  | 5 | 7 | 0.003728 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
9 | MV_572_0_line_9 |  | 6 | 13 | 0.023919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_572_0_line_10 |  | 6 | 8 | 0.40449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_572_0_line_11 |  | 6 | 10 | 0.1866 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
12 | MV_572_0_line_12 |  | 7 | 17 | 0.05338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_572_0_line_13 |  | 8 | 9 | 0.078246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_572_0_line_14 |  | 9 | 18 | 0.091015 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_572_0_line_15 |  | 10 | 11 | 0.009101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_572_0_line_16 |  | 10 | 12 | 0.078851 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_572_0_line_17 |  | 11 | 19 | 0.017549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_572_0_line_18 |  | 12 | 20 | 0.058643 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_572_0_line_19 |  | 13 | 21 | 0.01534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_572_0_line_20 |  | 14 | 22 | 0.0074172 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_572_0_line_21 |  | 15 | 23 | 0.030344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_572_0_line_22 |  | 16 | 24 | 0.012573 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_572_0_line_23 |  | 17 | 40 | 0.093474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_572_0_line_24 |  | 20 | 29 | 0.064939 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_572_0_line_25 |  | 21 | 48 | 0.098667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_572_0_line_26 |  | 22 | 36 | 0.26786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_572_0_line_27 |  | 24 | 33 | 0.21051 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
28 | MV_572_0_line_28 |  | 25 | 26 | 0.078488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_572_0_line_29 |  | 26 | 27 | 0.065301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_572_0_line_30 |  | 26 | 28 | 0.30621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_572_0_line_31 |  | 27 | 31 | 0.062684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_572_0_line_32 |  | 28 | 32 | 0.095267 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_572_0_line_33 |  | 28 | 33 | 0.070402 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
34 | MV_572_0_line_34 |  | 29 | 30 | 0.038054 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
35 | MV_572_0_line_35 |  | 30 | 34 | 0.11451 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
36 | MV_572_0_line_36 |  | 32 | 34 | 0.046844 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_572_0_line_37 |  | 35 | 36 | 0.077334 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_572_0_line_38 |  | 36 | 37 | 0.31188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_572_0_line_39 |  | 37 | 38 | 0.070758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_572_0_line_40 |  | 38 | 39 | 0.046776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_572_0_line_41 |  | 39 | 45 | 0.042109 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_572_0_line_42 |  | 40 | 41 | 0.033092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_572_0_line_43 |  | 42 | 43 | 0.034388 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_572_0_line_44 |  | 42 | 44 | 0.057148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_572_0_line_45 |  | 43 | 45 | 0.032905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_572_0_line_46 |  | 44 | 46 | 0.32777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_572_0_line_47 |  | 46 | 47 | 0.21648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_572_0_trafo_18 | 25 MVA 110/20 kV | 49 | 20 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2611557.4696 | 1269009.0438
1 | 2611566.9057 | 1269008.8843
2 | 2611558.3968 | 1269038.1959
3 | 2611575.5442 | 1269008.7677
4 | 2611559.5045 | 1269073.0262
5 | 2610743.1546 | 1269110.1649
6 | 2611373.2021 | 1268921.2819
7 | 2610746.5943 | 1269111.6025
8 | 2611141.3433 | 1268917.0841
9 | 2611149.8638 | 1268994.8647
10 | 2611387.1594 | 1269070.8919
11 | 2611387.4429 | 1269079.9877
12 | 2611308.3472 | 1269072.3291
13 | 2611349.3055 | 1268920.2466
14 | 2611621.3206 | 1269008.1204
15 | 2611491.6573 | 1269076.1968
16 | 2611574.3656 | 1269080.6828
17 | 2610795.8461 | 1269132.187
18 | 2611159.7747 | 1269085.3386
19 | 2611388.9462 | 1269097.4721
20 | 2611249.8123 | 1269075.8893
21 | 2611334.0791 | 1268918.3829
22 | 2611628.7371 | 1269008.0155
23 | 2611492.8616 | 1269046.2018
24 | 2611574.8721 | 1269093.245
25 | 2611232.9423 | 1269529.6405
26 | 2611297.8144 | 1269485.4585
27 | 2611322.3275 | 1269536.7637
28 | 2611432.7926 | 1269256.1325
29 | 2611248.3482 | 1269137.7747
30 | 2611286.4487 | 1269135.512
31 | 2611381.6448 | 1269516.5051
32 | 2611338.6839 | 1269249.4919
33 | 2611495.468 | 1269288.2094
34 | 2611291.7014 | 1269249.9027
35 | 2611816.2154 | 1269154.0996
36 | 2611815.9179 | 1269076.7667
37 | 2611877.1333 | 1269007.3287
38 | 2611938.5093 | 1269042.5351
39 | 2611983.5447 | 1269049.1719
40 | 2610832.0706 | 1269188.9485
41 | 2610862.1834 | 1269202.6698
42 | 2611997.6961 | 1269157.6429
43 | 2611993.5039 | 1269123.5117
44 | 2612004.6631 | 1269214.3645
45 | 2611989.4714 | 1269090.8547
46 | 2611985.6018 | 1268954.5538
47 | 2612023.836 | 1269153.917
48 | 2611235.419 | 1268917.1972
49 | 2611249.8123 | 1269075.8893

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9973 | -0.092674 | 0.33684 | 0.16314
1 | 0.99727 | -0.092379 | 0 | 0
2 | 0.99742 | -0.093705 | 2.6817 | 1.2988
3 | 0.99724 | -0.092109 | 0 | 0
4 | 0.99753 | -0.092537 | 0 | 0
5 | 0.99638 | -0.014383 | 0 | 0
6 | 0.99907 | -0.003855 | 0 | 0
7 | 0.99637 | -0.014512 | 2.4114 | 1.1679
8 | 0.99859 | 0.00051737 | 0 | 0
9 | 0.99849 | 0.0013924 | 0.49526 | 0.23986
10 | 0.99958 | -0.0017318 | 0 | 0
11 | 0.99958 | -0.0017004 | 0 | 0
12 | 0.99981 | -0.00079814 | 1.4714 | 0.71262
13 | 0.99903 | -0.0034905 | 0.80273 | 0.38878
14 | 0.99707 | -0.090671 | 1.3841 | 0.67033
15 | 0.99745 | -0.091831 | 0 | 0
16 | 0.99758 | -0.092342 | 0 | 0
17 | 0.99612 | -0.012141 | 0 | 0
18 | 0.99844 | 0.0018812 | 0.45326 | 0.21952
19 | 0.99957 | -0.0016395 | 0.29098 | 0.14093
20 | 1 | 0 | -18.0666 | -8.5685
21 | 0.99903 | -0.003404 | 0 | 0
22 | 0.99706 | -0.090561 | 0 | 0
23 | 0.99742 | -0.091513 | 0.87291 | 0.42277
24 | 0.99761 | -0.092236 | 0.22054 | 0.10681
25 | 0.99856 | -0.034893 | 0.18403 | 0.089129
26 | 0.99858 | -0.035062 | 0 | 0
27 | 0.99856 | -0.034853 | 0 | 0
28 | 0.99876 | -0.036597 | 0 | 0
29 | 0.99983 | -0.00065287 | 0 | 0
30 | 0.99973 | -0.0010337 | 0 | 0
31 | 0.99854 | -0.034645 | 0.27952 | 0.13538
32 | 0.999 | -0.035673 | 0 | 0
33 | 0.9986 | -0.037224 | 0.2684 | 0.12999
34 | 0.99912 | -0.035216 | 0.25926 | 0.12557
35 | 0.99655 | -0.08672 | 0.19102 | 0.092513
36 | 0.99658 | -0.08654 | 0 | 0
37 | 0.9961 | -0.082432 | 0 | 0
38 | 0.99599 | -0.081479 | 0.18479 | 0.089497
39 | 0.99593 | -0.080949 | 0 | 0
40 | 0.99567 | -0.0079766 | 0 | 0
41 | 0.99552 | -0.0064982 | 3.7036 | 1.7937
42 | 0.99582 | -0.080035 | 0.29279 | 0.14181
43 | 0.99584 | -0.080176 | 0.40072 | 0.19408
44 | 0.99581 | -0.079998 | 0 | 0
45 | 0.99587 | -0.080469 | 0.21333 | 0.10332
46 | 0.99576 | -0.079692 | 0 | 0
47 | 0.99573 | -0.0794 | 0.12546 | 0.060762
48 | 0.99896 | -0.0028384 | 0.48442 | 0.23461
49 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 2.7945 | 1.3179 | -2.7944 | -1.3181 | 0.00010047 | -0.00019363 | 0.089433 | 0.089436 | 0.089436 | 0.9973 | -0.092674 | 0.99727 | -0.092379 | 40.6528
1 | -3.1314 | -1.481 | 3.1318 | 1.4804 | 0.00039142 | -0.00057661 | 0.10027 | 0.10026 | 0.10027 | 0.9973 | -0.092674 | 0.99742 | -0.093705 | 45.5756
2 | 2.7944 | 1.3181 | -2.7944 | -1.3182 | 9.1976e-05 | -0.00017723 | 0.089436 | 0.089439 | 0.089439 | 0.99727 | -0.092379 | 0.99724 | -0.092109 | 40.654
3 | -5.8134 | -2.7792 | 5.814 | 2.7785 | 0.00058535 | -0.00076409 | 0.18649 | 0.18648 | 0.18649 | 0.99742 | -0.093705 | 0.99753 | -0.092537 | 51.5173
4 | 2.7944 | 1.3182 | -2.7939 | -1.3192 | 0.00048897 | -0.00094182 | 0.089439 | 0.089452 | 0.089452 | 0.99724 | -0.092109 | 0.99707 | -0.090671 | 40.6601
5 | 0.87302 | 0.42047 | -0.87295 | -0.42206 | 7.1355e-05 | -0.0015924 | 0.028042 | 0.028062 | 0.028062 | 0.99753 | -0.092537 | 0.99745 | -0.091831 | 12.7555
6 | -6.687 | -3.1989 | 6.6874 | 3.1977 | 0.00032937 | -0.0012629 | 0.21452 | 0.2145 | 0.21452 | 0.99753 | -0.092537 | 0.99758 | -0.092342 | 33.6237
7 | -6.1185 | -2.9583 | 6.1345 | 2.8833 | 0.016003 | -0.074987 | 0.1969 | 0.19585 | 0.1969 | 0.99638 | -0.014383 | 0.99907 | -0.003855 | 30.8621
8 | 6.1185 | 2.9583 | -6.1184 | -2.9584 | 6.981e-05 | -7.6236e-05 | 0.1969 | 0.1969 | 0.1969 | 0.99638 | -0.014383 | 0.99637 | -0.014512 | 54.3928
9 | 1.2872 | 0.62013 | -1.2872 | -0.62069 | 5.4435e-05 | -0.00055386 | 0.041285 | 0.041292 | 0.041292 | 0.99907 | -0.003855 | 0.99903 | -0.0034905 | 18.769
10 | 0.94914 | 0.44591 | -0.94864 | -0.4554 | 0.00049773 | -0.0094875 | 0.0303 | 0.03042 | 0.03042 | 0.99907 | -0.003855 | 0.99859 | 0.00051737 | 13.8272
11 | -8.3709 | -3.9494 | 8.375 | 3.94 | 0.0041218 | -0.0093877 | 0.26744 | 0.26729 | 0.26744 | 0.99907 | -0.003855 | 0.99958 | -0.0017318 | 41.9182
12 | 3.707 | 1.7905 | -3.706 | -1.7915 | 0.001014 | -0.00096419 | 0.11927 | 0.11929 | 0.11929 | 0.99637 | -0.014512 | 0.99612 | -0.012141 | 54.223
13 | 0.94864 | 0.4554 | -0.94855 | -0.45723 | 9.6737e-05 | -0.0018341 | 0.03042 | 0.030443 | 0.030443 | 0.99859 | 0.00051737 | 0.99849 | 0.0013924 | 13.8378
14 | 0.45329 | 0.21737 | -0.45326 | -0.21952 | 2.5714e-05 | -0.0021588 | 0.014534 | 0.014561 | 0.014561 | 0.99849 | 0.0013924 | 0.99844 | 0.0018812 | 6.6187
15 | 0.29098 | 0.14029 | -0.29098 | -0.14051 | 1.0577e-06 | -0.0002168 | 0.0093292 | 0.0093319 | 0.0093319 | 0.99958 | -0.0017318 | 0.99958 | -0.0017004 | 4.2418
16 | -8.666 | -4.0803 | 8.6678 | 4.0764 | 0.001864 | -0.0039017 | 0.27662 | 0.27656 | 0.27662 | 0.99958 | -0.0017318 | 0.99981 | -0.00079814 | 43.3578
17 | 0.29098 | 0.14051 | -0.29098 | -0.14093 | 2.0413e-06 | -0.00041804 | 0.0093319 | 0.0093371 | 0.0093371 | 0.99958 | -0.0017004 | 0.99957 | -0.0016395 | 4.2442
18 | -10.1392 | -4.789 | 10.1411 | 4.7864 | 0.0018992 | -0.0026145 | 0.32376 | 0.32372 | 0.32376 | 0.99981 | -0.00079814 | 1 | 0 | 50.7465
19 | 0.48445 | 0.23191 | -0.48445 | -0.23227 | 4.934e-06 | -0.00036409 | 0.01552 | 0.015524 | 0.015524 | 0.99903 | -0.0034905 | 0.99903 | -0.003404 | 7.0565
20 | 1.4098 | 0.64885 | -1.4098 | -0.64902 | 1.9992e-05 | -0.00017013 | 0.044932 | 0.044934 | 0.044934 | 0.99707 | -0.090671 | 0.99706 | -0.090561 | 20.4248
21 | 0.87295 | 0.42206 | -0.87291 | -0.42277 | 3.1911e-05 | -0.00071132 | 0.028062 | 0.028071 | 0.028071 | 0.99745 | -0.091831 | 0.99742 | -0.091513 | 12.7596
22 | -6.6874 | -3.1977 | 6.6875 | 3.197 | 0.00017874 | -0.00068551 | 0.2145 | 0.21449 | 0.2145 | 0.99758 | -0.092342 | 0.99761 | -0.092236 | 33.6209
23 | 3.706 | 1.7915 | -3.7042 | -1.7931 | 0.0017762 | -0.0016866 | 0.11929 | 0.11932 | 0.11932 | 0.99612 | -0.012141 | 0.99567 | -0.0079766 | 54.2357
24 | 7.9115 | 3.7717 | -7.9103 | -3.775 | 0.0012848 | -0.0033561 | 0.25301 | 0.25306 | 0.25306 | 1 | 0 | 0.99983 | -0.00065287 | 39.665
25 | 0.48445 | 0.23227 | -0.48442 | -0.23461 | 3.1805e-05 | -0.0023416 | 0.015524 | 0.015554 | 0.015554 | 0.99903 | -0.003404 | 0.99896 | -0.0028384 | 7.0699
26 | 1.4098 | 0.64902 | -1.4091 | -0.65516 | 0.00072326 | -0.0061404 | 0.044934 | 0.045012 | 0.045012 | 0.99706 | -0.090561 | 0.99658 | -0.08654 | 20.4599
27 | -6.9081 | -3.3038 | 6.9118 | 3.3134 | 0.0036899 | 0.0096325 | 0.22158 | 0.22158 | 0.22158 | 0.99761 | -0.092236 | 0.9986 | -0.037224 | 34.3538
28 | -0.18403 | -0.089129 | 0.18403 | 0.087261 | 3.6468e-06 | -0.0018676 | 0.0059112 | 0.0058878 | 0.0059112 | 0.99856 | -0.034893 | 0.99858 | -0.035062 | 2.6869
29 | 0.27953 | 0.13233 | -0.27953 | -0.13389 | 6.9835e-06 | -0.0015526 | 0.0089406 | 0.00896 | 0.00896 | 0.99858 | -0.035062 | 0.99856 | -0.034853 | 4.0727
30 | -0.46356 | -0.2196 | 0.46365 | 0.21233 | 8.9344e-05 | -0.0072652 | 0.014828 | 0.014739 | 0.014828 | 0.99858 | -0.035062 | 0.99876 | -0.036597 | 6.7402
31 | 0.27953 | 0.13389 | -0.27952 | -0.13538 | 6.7321e-06 | -0.0014903 | 0.00896 | 0.0089787 | 0.0089787 | 0.99856 | -0.034853 | 0.99854 | -0.034645 | 4.0812
32 | -7.645 | -3.652 | 7.6467 | 3.647 | 0.0017647 | -0.0049787 | 0.24488 | 0.24481 | 0.24488 | 0.99876 | -0.036597 | 0.999 | -0.035673 | 38.3828
33 | 7.1813 | 3.4397 | -7.1802 | -3.4434 | 0.0011525 | -0.0037628 | 0.23014 | 0.2302 | 0.2302 | 0.99876 | -0.036597 | 0.9986 | -0.037224 | 36.0815
34 | 7.9103 | 3.775 | -7.9095 | -3.777 | 0.00075312 | -0.0019659 | 0.25306 | 0.25309 | 0.25309 | 0.99983 | -0.00065287 | 0.99973 | -0.0010337 | 39.6696
35 | 7.9095 | 3.777 | -7.9069 | -3.7701 | 0.0026187 | 0.0068836 | 0.25309 | 0.25309 | 0.25309 | 0.99973 | -0.0010337 | 0.99912 | -0.035216 | 39.2394
36 | -7.6467 | -3.647 | 7.6476 | 3.6446 | 0.00086736 | -0.0024493 | 0.24481 | 0.24477 | 0.24481 | 0.999 | -0.035673 | 0.99912 | -0.035216 | 38.3711
37 | -0.19102 | -0.092513 | 0.19102 | 0.092424 | 5.207e-06 | -8.8427e-05 | 0.006148 | 0.0061469 | 0.006148 | 0.99655 | -0.08672 | 0.99658 | -0.08654 | 2.9276
38 | 1.218 | 0.56274 | -1.2174 | -0.56994 | 0.00063038 | -0.007205 | 0.038866 | 0.038956 | 0.038956 | 0.99658 | -0.08654 | 0.9961 | -0.082432 | 17.7073
39 | 1.2174 | 0.56994 | -1.2173 | -0.57158 | 0.00014343 | -0.0016335 | 0.038956 | 0.038977 | 0.038977 | 0.9961 | -0.082432 | 0.99599 | -0.081479 | 17.7167
40 | 1.0325 | 0.48208 | -1.0324 | -0.48317 | 6.814e-05 | -0.0010876 | 0.033026 | 0.03304 | 0.03304 | 0.99599 | -0.081479 | 0.99593 | -0.080949 | 15.0181
41 | 1.0324 | 0.48317 | -1.0323 | -0.48415 | 6.1389e-05 | -0.00097896 | 0.03304 | 0.033052 | 0.033052 | 0.99593 | -0.080949 | 0.99587 | -0.080469 | 15.0237
42 | 3.7042 | 1.7931 | -3.7036 | -1.7937 | 0.000629 | -0.00059657 | 0.11932 | 0.11933 | 0.11933 | 0.99567 | -0.0079766 | 0.99552 | -0.0064982 | 54.2402
43 | -0.41826 | -0.18833 | 0.41827 | 0.18752 | 8.1114e-06 | -0.00081181 | 0.013297 | 0.013288 | 0.013297 | 0.99582 | -0.080035 | 0.99584 | -0.080176 | 6.0442
44 | 0.12547 | 0.046527 | -0.12547 | -0.04788 | 1.1521e-06 | -0.0013527 | 0.0038792 | 0.003893 | 0.003893 | 0.99582 | -0.080035 | 0.99581 | -0.079998 | 1.7696
45 | -0.81898 | -0.3816 | 0.81901 | 0.38083 | 3.0123e-05 | -0.00077021 | 0.026191 | 0.026182 | 0.026191 | 0.99584 | -0.080176 | 0.99587 | -0.080469 | 11.9052
46 | 0.12547 | 0.04788 | -0.12546 | -0.055638 | 6.7739e-06 | -0.0077581 | 0.003893 | 0.0039788 | 0.0039788 | 0.99581 | -0.079998 | 0.99576 | -0.079692 | 1.8085
47 | 0.12546 | 0.055638 | -0.12546 | -0.060762 | 4.646e-06 | -0.0051234 | 0.0039788 | 0.0040413 | 0.0040413 | 0.99576 | -0.079692 | 0.99573 | -0.0794 | 1.837

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 19.1338 | 9.0854

## res_load
| p_mw | q_mvar
0 | 0.33684 | 0.16314
1 | 2.6817 | 1.2988
2 | 2.4114 | 1.1679
3 | 0.49526 | 0.23986
4 | 1.4714 | 0.71262
5 | 0.80273 | 0.38878
6 | 1.3841 | 0.67033
7 | 0.45326 | 0.21952
8 | 0.29098 | 0.14093
9 | 1.0671 | 0.51683
10 | 0.87291 | 0.42277
11 | 0.22054 | 0.10681
12 | 0.18403 | 0.089129
13 | 0.27952 | 0.13538
14 | 0.2684 | 0.12999
15 | 0.25926 | 0.12557
16 | 0.19102 | 0.092513
17 | 0.18479 | 0.089497
18 | 3.7036 | 1.7937
19 | 0.29279 | 0.14181
20 | 0.40072 | 0.19408
21 | 0.21333 | 0.10332
22 | 0.12546 | 0.060762
23 | 0.48442 | 0.23461

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1