## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_578_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_578_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_578_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_578_0_node_131 | 20 | n |  | TRUE
4 | bus_MV_578_0_node_130 | 20 | n |  | TRUE
5 | bus_MV_578_0_node_83 | 20 | n |  | TRUE
6 | bus_MV_578_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_578_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_578_0_node_56 | 20 | n |  | TRUE
9 | bus_MV_578_0_node_155 | 20 | n |  | TRUE
10 | bus_MV_578_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_578_0_node_45 | 20 | n |  | TRUE
12 | bus_MV_578_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_578_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_578_0_node_55 | 20 | n |  | TRUE
15 | bus_MV_578_0_node_36 | 20 | n |  | TRUE
16 | bus_MV_578_0_node_159 | 20 | n |  | TRUE
17 | bus_MV_578_0_node_81 | 20 | n |  | TRUE
18 | bus_MV_578_0_node_80 | 20 | n |  | TRUE
19 | bus_MV_578_0_node_44 | 20 | n |  | TRUE
20 | bus_MV_578_0_node_189 | 20 | n |  | TRUE
21 | bus_MV_578_0_node_10 | 20 | n |  | TRUE
22 | bus_MV_578_0_node_11 | 20 | n |  | TRUE
23 | bus_MV_578_0_node_161 | 20 | n |  | TRUE
24 | bus_MV_578_0_node_12 | 20 | n |  | TRUE
25 | bus_MV_578_0_node_13 | 20 | n |  | TRUE
26 | bus_MV_578_0_node_14 | 20 | n |  | TRUE
27 | bus_MV_578_0_node_169 | 20 | n |  | TRUE
28 | bus_MV_578_0_node_129 | 20 | n |  | TRUE
29 | bus_MV_578_0_node_138 | 20 | n |  | TRUE
30 | bus_MV_578_0_node_139 | 20 | n |  | TRUE
31 | bus_MV_578_0_node_157 | 20 | n |  | TRUE
32 | bus_MV_578_0_node_15 | 20 | n |  | TRUE
33 | bus_MV_578_0_node_17 | 20 | n |  | TRUE
34 | bus_MV_578_0_node_18 | 20 | n |  | TRUE
35 | bus_MV_578_0_node_16 | 20 | n |  | TRUE
36 | bus_MV_578_0_node_22 | 20 | n |  | TRUE
37 | bus_MV_578_0_node_19 | 20 | n |  | TRUE
38 | bus_MV_578_0_node_20 | 20 | n |  | TRUE
39 | bus_MV_578_0_node_124 | 20 | n |  | TRUE
40 | bus_MV_578_0_node_43 | 20 | n |  | TRUE
41 | bus_MV_578_0_node_24 | 20 | n |  | TRUE
42 | bus_MV_578_0_node_21 | 20 | n |  | TRUE
43 | bus_MV_578_0_node_23 | 20 | n |  | TRUE
44 | bus_MV_578_0_node_183 | 20 | n |  | TRUE
45 | bus_MV_578_0_node_79 | 20 | n |  | TRUE
46 | bus_MV_578_0_node_153 | 20 | n |  | TRUE
47 | bus_MV_578_0_node_151 | 20 | n |  | TRUE
48 | bus_MV_578_0_node_147 | 20 | n |  | TRUE
49 | bus_MV_578_0_node_146 | 20 | n |  | TRUE
50 | bus_MV_578_0_node_73 | 20 | n |  | TRUE
51 | bus_MV_578_0_node_75 | 20 | n |  | TRUE
52 | bus_MV_578_0_node_72 | 20 | n |  | TRUE
53 | bus_MV_578_0_node_76 | 20 | n |  | TRUE
54 | bus_MV_578_0_node_152 | 20 | n |  | TRUE
55 | bus_MV_578_0_node_31 | 20 | n |  | TRUE
56 | bus_MV_578_0_node_32 | 20 | n |  | TRUE
57 | bus_MV_578_0_node_33 | 20 | n |  | TRUE
58 | bus_MV_578_0_node_34 | 20 | n |  | TRUE
59 | bus_MV_578_0_node_35 | 20 | n |  | TRUE
60 | bus_MV_578_0_node_137 | 20 | n |  | TRUE
61 | bus_MV_578_0_node_176 | 20 | n |  | TRUE
62 | bus_MV_578_0_node_37 | 20 | n |  | TRUE
63 | bus_MV_578_0_node_145 | 20 | n |  | TRUE
64 | bus_MV_578_0_node_38 | 20 | n |  | TRUE
65 | bus_MV_578_0_node_54 | 20 | n |  | TRUE
66 | bus_MV_578_0_node_144 | 20 | n |  | TRUE
67 | bus_MV_578_0_node_39 | 20 | n |  | TRUE
68 | bus_MV_578_0_node_40 | 20 | n |  | TRUE
69 | bus_MV_578_0_node_41 | 20 | n |  | TRUE
70 | bus_MV_578_0_node_42 | 20 | n |  | TRUE
71 | bus_MV_578_0_node_77 | 20 | n |  | TRUE
72 | bus_MV_578_0_node_78 | 20 | n |  | TRUE
73 | bus_MV_578_0_node_174 | 20 | n |  | TRUE
74 | bus_MV_578_0_node_46 | 20 | n |  | TRUE
75 | bus_MV_578_0_node_48 | 20 | n |  | TRUE
76 | bus_MV_578_0_node_47 | 20 | n |  | TRUE
77 | bus_MV_578_0_node_50 | 20 | n |  | TRUE
78 | bus_MV_578_0_node_49 | 20 | n |  | TRUE
79 | bus_MV_578_0_node_64 | 20 | n |  | TRUE
80 | bus_MV_578_0_node_65 | 20 | n |  | TRUE
81 | bus_MV_578_0_node_63 | 20 | n |  | TRUE
82 | bus_MV_578_0_node_66 | 20 | n |  | TRUE
83 | bus_MV_578_0_node_126 | 20 | n |  | TRUE
84 | bus_MV_578_0_node_125 | 20 | n |  | TRUE
85 | bus_MV_578_0_node_67 | 20 | n |  | TRUE
86 | bus_MV_578_0_node_51 | 20 | n |  | TRUE
87 | bus_MV_578_0_node_68 | 20 | n |  | TRUE
88 | bus_MV_578_0_node_177 | 20 | n |  | TRUE
89 | bus_MV_578_0_node_188 | 20 | n |  | TRUE
90 | bus_MV_578_0_node_57 | 20 | n |  | TRUE
91 | bus_MV_578_0_node_58 | 20 | n |  | TRUE
92 | bus_MV_578_0_node_60 | 20 | n |  | TRUE
93 | bus_MV_578_0_node_61 | 20 | n |  | TRUE
94 | bus_MV_578_0_node_105 | 20 | n |  | TRUE
95 | bus_MV_578_0_node_85 | 20 | n |  | TRUE
96 | bus_MV_578_0_node_89 | 20 | n |  | TRUE
97 | bus_MV_578_0_node_84 | 20 | n |  | TRUE
98 | bus_MV_578_0_node_116 | 20 | n |  | TRUE
99 | bus_MV_578_0_node_106 | 20 | n |  | TRUE
100 | bus_MV_578_0_node_122 | 20 | n |  | TRUE
101 | bus_MV_578_0_node_178 | 20 | n |  | TRUE
102 | bus_MV_578_0_node_74 | 20 | n |  | TRUE
103 | bus_MV_578_0_node_191 | 20 | n |  | TRUE
104 | bus_MV_578_0_node_148 | 20 | n |  | TRUE
105 | bus_MV_578_0_node_149 | 20 | n |  | TRUE
106 | bus_MV_578_0_node_150 | 20 | n |  | TRUE
107 | bus_MV_578_0_node_168 | 20 | n |  | TRUE
108 | bus_MV_578_0_node_154 | 20 | n |  | TRUE
109 | bus_MV_578_0_node_172 | 20 | n |  | TRUE
110 | bus_MV_578_0_node_86 | 20 | n |  | TRUE
111 | bus_MV_578_0_node_87 | 20 | n |  | TRUE
112 | bus_MV_578_0_node_179 | 20 | n |  | TRUE
113 | bus_MV_578_0_node_88 | 20 | n |  | TRUE
114 | bus_MV_578_0_node_171 | 20 | n |  | TRUE
115 | bus_MV_578_0_node_173 | 20 | n |  | TRUE
116 | bus_MV_578_0_node_104 | 20 | n |  | TRUE
117 | bus_MV_578_0_node_180 | 20 | n |  | TRUE
118 | bus_MV_578_0_node_181 | 20 | n |  | TRUE
119 | bus_MV_578_0_node_123 | 20 | n |  | TRUE
120 | bus_MV_578_0_node_118 | 20 | n |  | TRUE
121 | bus_MV_578_0_node_119 | 20 | n |  | TRUE
122 | bus_MV_578_0_node_120 | 20 | n |  | TRUE
123 | bus_MV_578_0_node_121 | 20 | n |  | TRUE
124 | bus_MV_578_0_node_140 | 20 | n |  | TRUE
125 | bus_MV_578_0_node_182 | 20 | n |  | TRUE
126 | bus_HV_578_0_node_81 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_578_0_load_0 | 0 | 0.3136 | 0.15188 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_578_0_load_130 | 4 | 0.35188 | 0.17042 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_578_0_load_83 | 5 | 0.16586 | 0.080331 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_578_0_load_155 | 9 | 0.072219 | 0.034977 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_578_0_load_7 | 10 | 0.28293 | 0.13703 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_578_0_load_8 | 12 | 0.31323 | 0.1517 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_578_0_load_55 | 14 | 0.15778 | 0.076417 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_578_0_load_159 | 16 | 0.092445 | 0.044773 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_578_0_load_80 | 18 | 0.27277 | 0.13211 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_578_0_load_189 | 20 | 0.26826 | 0.12992 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_578_0_load_161 | 23 | 0.23039 | 0.11158 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_578_0_load_169 | 27 | 0.095968 | 0.046479 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_578_0_load_129 | 28 | 0.2761 | 0.13372 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_578_0_load_138 | 29 | 0.19404 | 0.093976 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_578_0_load_157 | 31 | 0.068567 | 0.033208 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_578_0_load_15 | 32 | 0.24928 | 0.12073 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_578_0_load_18 | 34 | 0.33356 | 0.16155 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_578_0_load_124 | 39 | 0.18378 | 0.089006 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_578_0_load_43 | 40 | 0.17601 | 0.085247 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_578_0_load_24 | 41 | 0.32351 | 0.15668 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_578_0_load_183 | 44 | 0.33911 | 0.16424 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_578_0_load_79 | 45 | 0.39396 | 0.1908 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_578_0_load_153 | 46 | 0.1014 | 0.049109 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_578_0_load_146 | 49 | 0.39084 | 0.18929 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_578_0_load_72 | 52 | 0.4034 | 0.19538 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_578_0_load_152 | 54 | 0.0777 | 0.037632 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_578_0_load_31 | 55 | 0.35007 | 0.16955 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_578_0_load_137 | 60 | 0.15416 | 0.074663 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_578_0_load_176 | 61 | 0.2053 | 0.09943 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_578_0_load_145 | 63 | 0.074438 | 0.036052 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_578_0_load_54 | 65 | 0.19977 | 0.096754 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_578_0_load_144 | 66 | 0.091217 | 0.044178 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_578_0_load_39 | 67 | 0.37362 | 0.18095 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_578_0_load_40 | 68 | 0.074382 | 0.036025 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_578_0_load_41 | 69 | 0.21407 | 0.10368 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_578_0_load_174 | 73 | 0.46782 | 0.22657 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_578_0_load_46 | 74 | 0.12674 | 0.061383 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_578_0_load_63 | 81 | 0.22958 | 0.11119 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_578_0_load_66 | 82 | 0.070977 | 0.034376 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_578_0_load_126 | 83 | 0.21064 | 0.10202 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_578_0_load_125 | 84 | 0.22616 | 0.10954 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_578_0_load_51 | 86 | 0.0626 | 0.030318 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_578_0_load_177 | 88 | 0.096345 | 0.046662 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_578_0_load_188 | 89 | 0.20934 | 0.10139 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_578_0_load_57 | 90 | 0.30033 | 0.14546 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_578_0_load_60 | 92 | 0.08237 | 0.039894 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_578_0_load_61 | 93 | 0.2087 | 0.10108 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_578_0_load_84 | 97 | 0.39931 | 0.19339 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_578_0_load_116 | 98 | 0.36329 | 0.17595 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_578_0_load_178 | 101 | 0.26215 | 0.12696 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_578_0_load_191 | 103 | 0.068304 | 0.033081 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_578_0_load_148 | 104 | 0.91914 | 0.44516 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_578_0_load_149 | 105 | 0.2659 | 0.12878 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_578_0_load_172 | 109 | 0.093076 | 0.045079 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_578_0_load_179 | 112 | 0.30535 | 0.14789 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_578_0_load_171 | 114 | 0.34875 | 0.16891 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_578_0_load_173 | 115 | 0.30269 | 0.1466 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_578_0_load_104 | 116 | 0.28507 | 0.13806 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_578_0_load_123 | 119 | 0.33064 | 0.16013 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_578_0_load_118 | 120 | 0.057905 | 0.028045 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_578_0_load_120 | 122 | 0.070384 | 0.034088 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_578_0_load_182 | 125 | 0.335 | 0.16225 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_578_0_line_0 |  | 0 | 1 | 0.047254 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_578_0_line_1 |  | 1 | 2 | 0.16893 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
2 | MV_578_0_line_2 |  | 1 | 3 | 0.17024 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
3 | MV_578_0_line_3 |  | 2 | 5 | 0.004559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_578_0_line_4 |  | 2 | 6 | 0.15991 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
5 | MV_578_0_line_5 |  | 3 | 4 | 0.042577 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
6 | MV_578_0_line_6 |  | 4 | 31 | 0.12873 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_578_0_line_7 |  | 4 | 26 | 0.010317 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
8 | MV_578_0_line_8 |  | 6 | 10 | 0.09577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_578_0_line_9 |  | 6 | 11 | 0.30916 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
10 | MV_578_0_line_10 |  | 7 | 8 | 0.10134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_578_0_line_11 |  | 7 | 9 | 0.016454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_578_0_line_12 |  | 8 | 14 | 0.058438 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_578_0_line_13 |  | 8 | 12 | 0.13712 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_578_0_line_14 |  | 9 | 15 | 0.061133 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_578_0_line_15 |  | 11 | 17 | 0.30115 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
16 | MV_578_0_line_16 |  | 11 | 18 | 0.023628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_578_0_line_17 |  | 11 | 19 | 0.33924 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
18 | MV_578_0_line_18 |  | 12 | 13 | 0.028717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_578_0_line_19 |  | 13 | 21 | 0.04955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_578_0_line_20 |  | 15 | 62 | 0.10143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_578_0_line_21 |  | 15 | 16 | 0.02228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_578_0_line_22 |  | 15 | 59 | 0.15235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_578_0_line_23 |  | 17 | 20 | 0.080329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_578_0_line_24 |  | 19 | 40 | 0.064072 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
25 | MV_578_0_line_25 |  | 19 | 64 | 0.09552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_578_0_line_26 |  | 20 | 89 | 0.56634 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_578_0_line_27 |  | 21 | 22 | 0.10198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_578_0_line_28 |  | 21 | 23 | 0.03095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_578_0_line_29 |  | 22 | 24 | 0.22953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_578_0_line_30 |  | 22 | 25 | 0.2289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_578_0_line_31 |  | 22 | 26 | 0.17996 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_578_0_line_32 |  | 22 | 27 | 0.024621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_578_0_line_33 |  | 24 | 28 | 0.011355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_578_0_line_34 |  | 25 | 29 | 0.026382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_578_0_line_35 |  | 29 | 30 | 0.018606 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_578_0_line_36 |  | 30 | 124 | 0.16812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_578_0_line_37 |  | 32 | 33 | 0.012638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_578_0_line_38 |  | 32 | 34 | 0.022986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_578_0_line_39 |  | 32 | 35 | 0.056282 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_578_0_line_40 |  | 33 | 36 | 0.37595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_578_0_line_41 |  | 35 | 37 | 0.011309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_578_0_line_42 |  | 35 | 38 | 0.1196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_578_0_line_43 |  | 36 | 45 | 0.056001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_578_0_line_44 |  | 36 | 40 | 0.48145 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
45 | MV_578_0_line_45 |  | 37 | 41 | 0.020867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_578_0_line_46 |  | 38 | 39 | 0.10125 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_578_0_line_47 |  | 39 | 43 | 0.17946 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_578_0_line_48 |  | 41 | 48 | 0.0031941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_578_0_line_49 |  | 42 | 43 | 0.59712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_578_0_line_50 |  | 42 | 44 | 0.0095055 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_578_0_line_51 |  | 43 | 46 | 0.028429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_578_0_line_52 |  | 43 | 47 | 0.00163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_578_0_line_53 |  | 45 | 53 | 0.040541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_578_0_line_54 |  | 47 | 54 | 0.051481 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_578_0_line_55 |  | 48 | 49 | 0.029212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_578_0_line_56 |  | 50 | 51 | 0.45934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_578_0_line_57 |  | 50 | 52 | 0.086346 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_578_0_line_58 |  | 51 | 101 | 0.068397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_578_0_line_59 |  | 51 | 88 | 1.0085 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_578_0_line_60 |  | 52 | 102 | 0.062475 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_578_0_line_61 |  | 53 | 72 | 0.66679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_578_0_line_62 |  | 54 | 108 | 0.04154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_578_0_line_63 |  | 54 | 104 | 0.060486 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_578_0_line_64 |  | 55 | 56 | 0.005353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_578_0_line_65 |  | 55 | 57 | 0.005358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_578_0_line_66 |  | 56 | 58 | 0.038829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_578_0_line_67 |  | 57 | 59 | 0.17434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_578_0_line_68 |  | 58 | 60 | 0.0084159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_578_0_line_69 |  | 59 | 61 | 0.022625 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_578_0_line_70 |  | 62 | 63 | 0.036685 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_578_0_line_71 |  | 63 | 66 | 0.010798 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_578_0_line_72 |  | 64 | 65 | 0.024733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_578_0_line_73 |  | 67 | 68 | 0.022077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_578_0_line_74 |  | 67 | 69 | 0.047268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_578_0_line_75 |  | 68 | 70 | 0.032994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_578_0_line_76 |  | 70 | 71 | 0.02951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_578_0_line_77 |  | 71 | 72 | 0.35042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_578_0_line_78 |  | 71 | 73 | 0.021671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_578_0_line_79 |  | 72 | 103 | 0.001814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_578_0_line_80 |  | 72 | 102 | 0.28648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_578_0_line_81 |  | 74 | 75 | 0.076844 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_578_0_line_82 |  | 74 | 76 | 0.060403 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_578_0_line_83 |  | 75 | 77 | 0.84399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_578_0_line_84 |  | 76 | 78 | 0.67954 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_578_0_line_85 |  | 77 | 82 | 0.44217 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_578_0_line_86 |  | 78 | 79 | 0.29813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_578_0_line_87 |  | 78 | 80 | 0.45107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_578_0_line_88 |  | 78 | 81 | 0.065825 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_578_0_line_89 |  | 79 | 83 | 0.016928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_578_0_line_90 |  | 80 | 84 | 0.038912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_578_0_line_91 |  | 82 | 85 | 0.17762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_578_0_line_92 |  | 83 | 100 | 0.066549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_578_0_line_93 |  | 85 | 87 | 1.0673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_578_0_line_94 |  | 86 | 87 | 0.82226 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_578_0_line_95 |  | 87 | 88 | 0.20064 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_578_0_line_96 |  | 90 | 91 | 0.0562 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_578_0_line_97 |  | 91 | 92 | 0.093331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_578_0_line_98 |  | 92 | 93 | 0.071538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_578_0_line_99 |  | 92 | 94 | 0.30638 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
100 | MV_578_0_line_100 |  | 94 | 99 | 0.075555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_578_0_line_101 |  | 94 | 116 | 0.055945 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_578_0_line_102 |  | 95 | 96 | 0.70287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_578_0_line_103 |  | 95 | 97 | 0.025256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_578_0_line_104 |  | 96 | 116 | 0.081205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_578_0_line_105 |  | 96 | 110 | 0.61132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_578_0_line_106 |  | 98 | 99 | 0.34045 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
107 | MV_578_0_line_107 |  | 99 | 119 | 0.074088 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
108 | MV_578_0_line_108 |  | 100 | 123 | 0.24246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_578_0_line_109 |  | 105 | 106 | 0.011371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_578_0_line_110 |  | 106 | 107 | 0.065107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_578_0_line_111 |  | 106 | 108 | 0.060467 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_578_0_line_112 |  | 107 | 109 | 0.0084618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_578_0_line_113 |  | 110 | 111 | 0.83282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_578_0_line_114 |  | 110 | 112 | 0.010787 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
115 | MV_578_0_line_115 |  | 111 | 113 | 0.13226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_578_0_line_116 |  | 111 | 114 | 0.031148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_578_0_line_117 |  | 112 | 117 | 0.053959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_578_0_line_118 |  | 113 | 115 | 0.017559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_578_0_line_119 |  | 117 | 118 | 0.36444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_578_0_line_120 |  | 118 | 125 | 0.050243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_578_0_line_121 |  | 120 | 121 | 0.33426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
122 | MV_578_0_line_122 |  | 121 | 122 | 1.0482 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
123 | MV_578_0_line_123 |  | 122 | 123 | 0.15376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
124 | MV_578_0_line_124 |  | 124 | 125 | 0.024115 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_578_0_trafo_81 | 25 MVA 110/20 kV | 126 | 17 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2693172.6826 | 1231495.2551
1 | 2693219.3529 | 1231502.6586
2 | 2693287.9651 | 1231397.2143
3 | 2693175.931 | 1231667.2632
4 | 2693210.4179 | 1231692.2328
5 | 2693292.2499 | 1231398.8049
6 | 2693189.9875 | 1231270.8315
7 | 2693462.1701 | 1231606.623
8 | 2693455.2331 | 1231533.8504
9 | 2693474.9817 | 1231616.9014
10 | 2693102.7676 | 1231266.3953
11 | 2693491.7698 | 1231203.7092
12 | 2693355.7622 | 1231628.2225
13 | 2693371.2572 | 1231652.4277
14 | 2693500.4804 | 1231496.8684
15 | 2693499.986 | 1231672.6874
16 | 2693479.0732 | 1231680.3717
17 | 2693392.897 | 1231015.787
18 | 2693510.6059 | 1231189.4452
19 | 2693705.6379 | 1231362.4011
20 | 2693342.9447 | 1230952.8241
21 | 2693400.3658 | 1231670.6535
22 | 2693366.5745 | 1231702.6792
23 | 2693418.548 | 1231695.4237
24 | 2693315.1338 | 1231890.6183
25 | 2693235.6456 | 1231792.2337
26 | 2693216.931 | 1231699.996
27 | 2693342.0247 | 1231701.3869
28 | 2693304.6337 | 1231894.9412
29 | 2693217.184 | 1231811.0427
30 | 2693203.6058 | 1231823.7541
31 | 2693088.5382 | 1231650.8053
32 | 2694302.6564 | 1230995.1069
33 | 2694291.3333 | 1231000.721
34 | 2694312.867 | 1231015.7006
35 | 2694357.0112 | 1230980.5038
36 | 2694095.0925 | 1230987.5697
37 | 2694364.2587 | 1230989.2028
38 | 2694452.7303 | 1230911.7849
39 | 2694526.1511 | 1230842.0678
40 | 2693762.5943 | 1231335.7575
41 | 2694379.9652 | 1231002.8988
42 | 2694368.2439 | 1230659.0613
43 | 2694455.7121 | 1230677.0073
44 | 2694376.6915 | 1230654.7033
45 | 2694065.9569 | 1230944.6445
46 | 2694431.8703 | 1230661.8844
47 | 2694456.6874 | 1230675.6996
48 | 2694382.3695 | 1231005.0016
49 | 2694405.8419 | 1231022.3648
50 | 2693708.8433 | 1230445.7919
51 | 2693439.0525 | 1230525.2484
52 | 2693789.5755 | 1230415.1647
53 | 2694040.2227 | 1230917.9516
54 | 2694488.7425 | 1230635.4163
55 | 2693615.083 | 1231669.2404
56 | 2693619.987 | 1231671.4192
57 | 2693610.1792 | 1231667.0505
58 | 2693626.7232 | 1231699.1119
59 | 2693526.9717 | 1231780.9899
60 | 2693623.0408 | 1231706.6793
61 | 2693520.5032 | 1231802.6705
62 | 2693470.1647 | 1231743.1137
63 | 2693453.9053 | 1231775.9989
64 | 2693689.1484 | 1231427.7217
65 | 2693668.2453 | 1231441.0353
66 | 2693449.1197 | 1231785.678
67 | 2694107.6218 | 1230326.9366
68 | 2694119.7265 | 1230345.3996
69 | 2694067.7597 | 1230352.3389
70 | 2694137.8167 | 1230372.9921
71 | 2694113.0697 | 1230389.0676
72 | 2693988.6293 | 1230380.0487
73 | 2694093.6019 | 1230398.1919
74 | 2691649.5227 | 1228130.0319
75 | 2691704.0076 | 1228184.3766
76 | 2691648.794 | 1228069.6334
77 | 2692163.8989 | 1228345.2195
78 | 2691379.5769 | 1227712.8069
79 | 2691177.4525 | 1227772.0479
80 | 2691425.3311 | 1227380.1193
81 | 2691443.3541 | 1227729.0982
82 | 2692495.1424 | 1228638.124
83 | 2691173.7285 | 1227788.5613
84 | 2691431.2314 | 1227341.9386
85 | 2692605.2555 | 1228772.9664
86 | 2691946.7528 | 1229528.2111
87 | 2692768.9428 | 1229538.5851
88 | 2692934.3487 | 1229652.1483
89 | 2692805.2312 | 1230775.0471
90 | 2692466.3828 | 1231458.1696
91 | 2692505.0259 | 1231417.3636
92 | 2692589.1855 | 1231389.6007
93 | 2692655.0164 | 1231362.2927
94 | 2692716.9683 | 1231668.0559
95 | 2692606.4441 | 1232187.7295
96 | 2692797.7244 | 1231778.5285
97 | 2692624.8672 | 1232204.2891
98 | 2692371.3715 | 1231885.3774
99 | 2692673.2111 | 1231727.9056
100 | 2691153.0765 | 1227851.2747
101 | 2693440.1844 | 1230579.494
102 | 2693838.3742 | 1230447.0797
103 | 2693990.1969 | 1230379.1283
104 | 2694545.9271 | 1230655.1251
105 | 2694560.5234 | 1230561.9122
106 | 2694551.5134 | 1230554.9417
107 | 2694537.537 | 1230550.1494
108 | 2694514.6075 | 1230602.9118
109 | 2694532.6072 | 1230557.0268
110 | 2692873.746 | 1232060.8521
111 | 2692848.1022 | 1232281.3326
112 | 2692882.9968 | 1232055.3037
113 | 2692833.4378 | 1232221.3938
114 | 2692875.4186 | 1232269.2295
115 | 2692846.7458 | 1232211.0983
116 | 2692752.8768 | 1231710.7577
117 | 2692926.2309 | 1232023.0783
118 | 2693119.4792 | 1231933.6818
119 | 2692716.0224 | 1231788.3721
120 | 2690370.6178 | 1226931.9367
121 | 2690198.7481 | 1227204.3314
122 | 2690858.3645 | 1228018.9518
123 | 2691003.835 | 1228016.0731
124 | 2693083.0959 | 1231898.3311
125 | 2693071.1947 | 1231919.3043
126 | 2693392.897 | 1231015.787

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99725 | -0.074207 | 0.3136 | 0.15188
1 | 0.99728 | -0.074027 | 0 | 0
2 | 0.99751 | -0.069765 | 0 | 0
3 | 0.99677 | -0.091267 | 0 | 0
4 | 0.99664 | -0.095581 | 0.35188 | 0.17042
5 | 0.99751 | -0.069756 | 0.16586 | 0.080331
6 | 0.99803 | -0.052294 | 0 | 0
7 | 0.99526 | -0.099643 | 0 | 0
8 | 0.99539 | -0.10082 | 0 | 0
9 | 0.99524 | -0.09945 | 0.072219 | 0.034977
10 | 0.998 | -0.051975 | 0.28293 | 0.13703
11 | 0.99907 | -0.017116 | 0 | 0
12 | 0.99571 | -0.098625 | 0.31323 | 0.1517
13 | 0.99577 | -0.099118 | 0 | 0
14 | 0.99538 | -0.10093 | 0.15778 | 0.076417
15 | 0.99512 | -0.10024 | 0 | 0
16 | 0.99512 | -0.10022 | 0.092445 | 0.044773
17 | 1 | 0 | -14.6728 | -6.7479
18 | 0.99907 | -0.017039 | 0.27277 | 0.13211
19 | 0.99855 | -0.026868 | 0 | 0
20 | 0.99995 | 0.00045072 | 0.26826 | 0.12992
21 | 0.99586 | -0.099966 | 0 | 0
22 | 0.99609 | -0.10198 | 0 | 0
23 | 0.99585 | -0.099881 | 0.23039 | 0.11158
24 | 0.99601 | -0.10126 | 0 | 0
25 | 0.99508 | -0.093659 | 0 | 0
26 | 0.99663 | -0.095812 | 0 | 0
27 | 0.99608 | -0.10195 | 0.095968 | 0.046479
28 | 0.996 | -0.10122 | 0.2761 | 0.13372
29 | 0.99496 | -0.092694 | 0.19404 | 0.093976
30 | 0.99488 | -0.092056 | 0 | 0
31 | 0.99663 | -0.095689 | 0.068567 | 0.033208
32 | 0.99353 | -0.12572 | 0.24928 | 0.12073
33 | 0.99358 | -0.1262 | 0 | 0
34 | 0.99352 | -0.12563 | 0.33356 | 0.16155
35 | 0.99323 | -0.1277 | 0 | 0
36 | 0.99516 | -0.14039 | 0 | 0
37 | 0.99322 | -0.1276 | 0 | 0
38 | 0.99293 | -0.12499 | 0 | 0
39 | 0.99254 | -0.12763 | 0.18378 | 0.089006
40 | 0.99836 | -0.030438 | 0.17601 | 0.085247
41 | 0.9932 | -0.12742 | 0.32351 | 0.15668
42 | 0.99166 | -0.12972 | 0 | 0
43 | 0.99191 | -0.13191 | 0 | 0
44 | 0.99165 | -0.12976 | 0.33911 | 0.16424
45 | 0.99491 | -0.13865 | 0.39396 | 0.1908
46 | 0.99191 | -0.13187 | 0.1014 | 0.049109
47 | 0.99191 | -0.13188 | 0 | 0
48 | 0.9932 | -0.12741 | 0 | 0
49 | 0.99319 | -0.12727 | 0.39084 | 0.18929
50 | 0.99117 | -0.11697 | 0 | 0
51 | 0.99035 | -0.11243 | 0 | 0
52 | 0.9914 | -0.11457 | 0.4034 | 0.19538
53 | 0.99476 | -0.13757 | 0 | 0
54 | 0.99182 | -0.13105 | 0.0777 | 0.037632
55 | 0.99487 | -0.097951 | 0.35007 | 0.16955
56 | 0.99487 | -0.097942 | 0 | 0
57 | 0.99487 | -0.097983 | 0 | 0
58 | 0.99486 | -0.097871 | 0 | 0
59 | 0.99498 | -0.099007 | 0 | 0
60 | 0.99486 | -0.097855 | 0.15416 | 0.074663
61 | 0.99498 | -0.099064 | 0.2053 | 0.09943
62 | 0.9951 | -0.10005 | 0 | 0
63 | 0.99509 | -0.099982 | 0.074438 | 0.036052
64 | 0.99853 | -0.02665 | 0 | 0
65 | 0.99852 | -0.026591 | 0.19977 | 0.096754
66 | 0.99509 | -0.09997 | 0.091217 | 0.044178
67 | 0.99163 | -0.11422 | 0.37362 | 0.18095
68 | 0.99164 | -0.11437 | 0.074382 | 0.036025
69 | 0.99161 | -0.1141 | 0.21407 | 0.10368
70 | 0.99167 | -0.11464 | 0 | 0
71 | 0.9917 | -0.11487 | 0 | 0
72 | 0.9922 | -0.11951 | 0 | 0
73 | 0.99168 | -0.11474 | 0.46782 | 0.22657
74 | 0.98437 | -0.13434 | 0.12674 | 0.061383
75 | 0.98446 | -0.13493 | 0 | 0
76 | 0.98427 | -0.13522 | 0 | 0
77 | 0.98544 | -0.14089 | 0 | 0
78 | 0.98359 | -0.13061 | 0 | 0
79 | 0.98346 | -0.12982 | 0 | 0
80 | 0.98345 | -0.12953 | 0 | 0
81 | 0.98356 | -0.1308 | 0.22958 | 0.11119
82 | 0.98621 | -0.13287 | 0.070977 | 0.034376
83 | 0.98345 | -0.12978 | 0.21064 | 0.10202
84 | 0.98344 | -0.12943 | 0.22616 | 0.10954
85 | 0.98644 | -0.13414 | 0 | 0
86 | 0.98767 | -0.14138 | 0.0626 | 0.030318
87 | 0.98777 | -0.1407 | 0 | 0
88 | 0.98817 | -0.13621 | 0.096345 | 0.046662
89 | 0.99972 | -0.00099869 | 0.20934 | 0.10139
90 | 0.99001 | -0.059839 | 0.30033 | 0.14546
91 | 0.99004 | -0.059631 | 0 | 0
92 | 0.99008 | -0.059966 | 0.08237 | 0.039894
93 | 0.99006 | -0.059788 | 0.2087 | 0.10108
94 | 0.99043 | -0.057624 | 0 | 0
95 | 0.99033 | -0.056965 | 0 | 0
96 | 0.99069 | -0.059984 | 0 | 0
97 | 0.99032 | -0.056842 | 0.39931 | 0.19339
98 | 0.99012 | -0.058521 | 0.36329 | 0.17595
99 | 0.99037 | -0.056991 | 0 | 0
100 | 0.98344 | -0.12975 | 0 | 0
101 | 0.99033 | -0.11222 | 0.26215 | 0.12696
102 | 0.99154 | -0.11546 | 0 | 0
103 | 0.9922 | -0.11951 | 0.068304 | 0.033081
104 | 0.99171 | -0.13173 | 0.91914 | 0.44516
105 | 0.99177 | -0.13059 | 0.2659 | 0.12878
106 | 0.99178 | -0.13063 | 0 | 0
107 | 0.99177 | -0.13056 | 0 | 0
108 | 0.9918 | -0.13088 | 0 | 0
109 | 0.99177 | -0.13055 | 0.093076 | 0.045079
110 | 0.99223 | -0.073297 | 0 | 0
111 | 0.99154 | -0.067456 | 0 | 0
112 | 0.99228 | -0.072888 | 0.30535 | 0.14789
113 | 0.99148 | -0.066986 | 0 | 0
114 | 0.99152 | -0.067325 | 0.34875 | 0.16891
115 | 0.99148 | -0.066921 | 0.30269 | 0.1466
116 | 0.99052 | -0.058475 | 0.28507 | 0.13806
117 | 0.99248 | -0.074577 | 0 | 0
118 | 0.99385 | -0.085856 | 0 | 0
119 | 0.99032 | -0.057293 | 0.33064 | 0.16013
120 | 0.98324 | -0.13085 | 0.057905 | 0.028045
121 | 0.98326 | -0.131 | 0 | 0
122 | 0.98338 | -0.12948 | 0.070384 | 0.034088
123 | 0.9834 | -0.12961 | 0 | 0
124 | 0.99419 | -0.086266 | 0 | 0
125 | 0.99403 | -0.087392 | 0.335 | 0.16225
126 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.3136 | -0.15188 | 0.31361 | 0.15183 | 8.5649e-06 | -5.0739e-05 | 0.010087 | 0.010086 | 0.010087 | 0.99725 | -0.074207 | 0.99728 | -0.074027 | 4.8031
1 | -6.3278 | -2.9432 | 6.3291 | 2.9315 | 0.0012605 | -0.011682 | 0.20201 | 0.20185 | 0.20201 | 0.99728 | -0.074027 | 0.99751 | -0.069765 | 23.9917
2 | 6.0142 | 2.7914 | -6.012 | -2.7886 | 0.0022349 | 0.0027977 | 0.19193 | 0.19193 | 0.19193 | 0.99728 | -0.074027 | 0.99677 | -0.091267 | 23.4062
3 | 0.16586 | 0.080222 | -0.16586 | -0.080331 | 1.7309e-07 | -0.00010826 | 0.0053319 | 0.0053333 | 0.0053333 | 0.99751 | -0.069765 | 0.99751 | -0.069756 | 2.4242
4 | -6.4949 | -3.0118 | 6.4974 | 3.0149 | 0.0024464 | 0.0031298 | 0.20718 | 0.20718 | 0.20718 | 0.99751 | -0.069765 | 0.99803 | -0.052294 | 25.2664
5 | 6.012 | 2.7886 | -6.0114 | -2.7879 | 0.00055899 | 0.00069982 | 0.19193 | 0.19193 | 0.19193 | 0.99677 | -0.091267 | 0.99664 | -0.095581 | 23.4063
6 | 0.068568 | 0.033056 | -0.068567 | -0.033208 | 1.1159e-06 | -0.00015194 | 0.0022048 | 0.0022067 | 0.0022067 | 0.99664 | -0.095581 | 0.99663 | -0.095689 | 1.0508
7 | 5.5909 | 2.5844 | -5.5909 | -2.5851 | 6.0095e-05 | -0.00072779 | 0.1784 | 0.17841 | 0.17841 | 0.99664 | -0.095581 | 0.99663 | -0.095812 | 21.1893
8 | 0.28294 | 0.13475 | -0.28293 | -0.13703 | 1.0538e-05 | -0.0022744 | 0.0090646 | 0.0090931 | 0.0090931 | 0.99803 | -0.052294 | 0.998 | -0.051975 | 4.1332
9 | -6.7803 | -3.1496 | 6.7855 | 3.1563 | 0.0051521 | 0.0066613 | 0.21624 | 0.21623 | 0.21624 | 0.99803 | -0.052294 | 0.99907 | -0.017116 | 26.3712
10 | -1.0402 | -0.49012 | 1.0403 | 0.48777 | 0.00015034 | -0.0023523 | 0.033351 | 0.033322 | 0.033351 | 0.99526 | -0.099643 | 0.99539 | -0.10082 | 15.1597
11 | 1.0402 | 0.49012 | -1.0401 | -0.4905 | 2.4436e-05 | -0.00038188 | 0.033351 | 0.033356 | 0.033356 | 0.99526 | -0.099643 | 0.99524 | -0.09945 | 15.1619
12 | 0.15778 | 0.076349 | -0.15778 | -0.076417 | 2.6911e-06 | -6.7435e-05 | 0.0050835 | 0.0050843 | 0.0050843 | 0.99539 | -0.10082 | 0.99538 | -0.10093 | 2.4211
13 | -1.1981 | -0.56412 | 1.1985 | 0.56418 | 0.00036031 | 6.3448e-05 | 0.038405 | 0.038403 | 0.038405 | 0.99539 | -0.10082 | 0.99571 | -0.098625 | 18.288
14 | 0.96791 | 0.45553 | -0.96781 | -0.45553 | 0.00010487 | -6.5918e-06 | 0.031029 | 0.03103 | 0.03103 | 0.99524 | -0.09945 | 0.99512 | -0.10024 | 14.776
15 | -14.1699 | -6.5214 | 14.1811 | 6.5087 | 0.011188 | -0.012716 | 0.45071 | 0.45043 | 0.45071 | 0.99907 | -0.017116 | 1 | 0 | 53.5285
16 | 0.27277 | 0.13154 | -0.27277 | -0.13211 | 2.4171e-06 | -0.00056238 | 0.0087501 | 0.0087572 | 0.0087572 | 0.99907 | -0.017116 | 0.99907 | -0.017039 | 3.9805
17 | 7.1117 | 3.2336 | -7.1085 | -3.2565 | 0.0031677 | -0.02295 | 0.22573 | 0.22604 | 0.22604 | 0.99907 | -0.017116 | 0.99855 | -0.026868 | 26.8458
18 | -1.5117 | -0.71588 | 1.5118 | 0.71523 | 9.0135e-05 | -0.00065308 | 0.048492 | 0.048484 | 0.048492 | 0.99571 | -0.098625 | 0.99577 | -0.099118 | 22.042
19 | -1.5118 | -0.71523 | 1.5119 | 0.7141 | 0.00015545 | -0.0011271 | 0.048484 | 0.048469 | 0.048484 | 0.99577 | -0.099118 | 0.99586 | -0.099966 | 22.0382
20 | 0.16566 | 0.076711 | -0.16566 | -0.079108 | 3.8187e-06 | -0.0023969 | 0.0052959 | 0.0053255 | 0.0053255 | 0.99512 | -0.10024 | 0.9951 | -0.10005 | 2.4207
21 | 0.092446 | 0.044247 | -0.092445 | -0.044773 | 2.635e-07 | -0.0005267 | 0.0029731 | 0.0029797 | 0.0029797 | 0.99512 | -0.10024 | 0.99512 | -0.10022 | 1.3544
22 | 0.7097 | 0.33457 | -0.7096 | -0.33815 | 0.00010557 | -0.0035702 | 0.022761 | 0.022806 | 0.022806 | 0.99512 | -0.10024 | 0.99498 | -0.099007 | 10.3662
23 | 0.47767 | 0.22875 | -0.47765 | -0.23066 | 2.5106e-05 | -0.0019104 | 0.015289 | 0.015313 | 0.015313 | 1 | 0 | 0.99995 | 0.00045072 | 6.9604
24 | 6.9088 | 3.1626 | -6.9076 | -3.164 | 0.0011316 | -0.0014012 | 0.21966 | 0.21969 | 0.21969 | 0.99855 | -0.026868 | 0.99836 | -0.030438 | 52.1829
25 | 0.19978 | 0.093893 | -0.19977 | -0.096165 | 5.2159e-06 | -0.0022724 | 0.0063815 | 0.0064098 | 0.0064098 | 0.99855 | -0.026868 | 0.99853 | -0.02665 | 2.9135
26 | 0.20939 | 0.10074 | -0.20934 | -0.10139 | 4.5463e-05 | -0.0006474 | 0.0067081 | 0.0067166 | 0.0067166 | 0.99995 | 0.00045072 | 0.99972 | -0.00099869 | 3.1984
27 | -1.7423 | -0.82496 | 1.7427 | 0.82267 | 0.00042489 | -0.0022892 | 0.055881 | 0.055851 | 0.055881 | 0.99586 | -0.099966 | 0.99609 | -0.10198 | 25.4003
28 | 0.2304 | 0.11085 | -0.23039 | -0.11158 | 2.2724e-06 | -0.00073218 | 0.0074114 | 0.0074207 | 0.0074207 | 0.99586 | -0.099966 | 0.99585 | -0.099881 | 3.373
29 | 0.27612 | 0.12802 | -0.2761 | -0.13345 | 2.4021e-05 | -0.0054298 | 0.0088206 | 0.008888 | 0.008888 | 0.99609 | -0.10198 | 0.99601 | -0.10126 | 4.04
30 | 3.4733 | 1.5927 | -3.4695 | -1.597 | 0.0037495 | -0.0043049 | 0.11074 | 0.1108 | 0.1108 | 0.99609 | -0.10198 | 0.99508 | -0.093659 | 50.3648
31 | -5.5881 | -2.5892 | 5.5909 | 2.5851 | 0.0027679 | -0.0041173 | 0.17849 | 0.17841 | 0.17849 | 0.99609 | -0.10198 | 0.99663 | -0.095812 | 49.3063
32 | 0.095968 | 0.045896 | -0.095968 | -0.046479 | 3.1314e-07 | -0.00058316 | 0.0030829 | 0.0030903 | 0.0030903 | 0.99609 | -0.10198 | 0.99608 | -0.10195 | 1.4047
33 | 0.2761 | 0.13345 | -0.2761 | -0.13372 | 1.198e-06 | -0.0002686 | 0.008888 | 0.0088914 | 0.0088914 | 0.99601 | -0.10126 | 0.996 | -0.10122 | 4.0416
34 | 3.4695 | 1.597 | -3.4691 | -1.5975 | 0.00043243 | -0.00049537 | 0.1108 | 0.11081 | 0.11081 | 0.99508 | -0.093659 | 0.99496 | -0.092694 | 50.3682
35 | 3.2751 | 1.5035 | -3.2748 | -1.5038 | 0.00027155 | -0.00035919 | 0.10456 | 0.10456 | 0.10456 | 0.99496 | -0.092694 | 0.99488 | -0.092056 | 47.5279
36 | 3.2748 | 1.5038 | -3.2723 | -1.5071 | 0.002455 | -0.0032421 | 0.10456 | 0.10461 | 0.10461 | 0.99488 | -0.092056 | 0.99419 | -0.086266 | 47.5498
37 | -3.2809 | -1.5635 | 3.2811 | 1.5633 | 0.00018814 | -0.00024207 | 0.1056 | 0.1056 | 0.1056 | 0.99353 | -0.12572 | 0.99358 | -0.1262 | 47.9997
38 | 0.33357 | 0.16101 | -0.33356 | -0.16155 | 3.5564e-06 | -0.00054068 | 0.010762 | 0.010769 | 0.010769 | 0.99353 | -0.12572 | 0.99352 | -0.12563 | 4.895
39 | 2.698 | 1.2818 | -2.6973 | -1.2814 | 0.00075535 | 0.00040683 | 0.08679 | 0.086791 | 0.086791 | 0.99353 | -0.12572 | 0.99323 | -0.1277 | 41.329
40 | -3.2811 | -1.5633 | 3.2867 | 1.5561 | 0.0055905 | -0.0072172 | 0.1056 | 0.10549 | 0.1056 | 0.99358 | -0.1262 | 0.99516 | -0.14039 | 47.998
41 | 0.71438 | 0.34446 | -0.71437 | -0.34473 | 8.023e-06 | -0.00026399 | 0.023051 | 0.023054 | 0.023054 | 0.99323 | -0.1277 | 0.99322 | -0.1276 | 10.4791
42 | 1.9829 | 0.93691 | -1.9823 | -0.93953 | 0.00064905 | -0.0026236 | 0.063741 | 0.063776 | 0.063776 | 0.99323 | -0.1277 | 0.99293 | -0.12499 | 28.989
43 | 3.4292 | 1.5006 | -3.4284 | -1.5016 | 0.00088157 | -0.0010623 | 0.10858 | 0.1086 | 0.1086 | 0.99516 | -0.14039 | 0.99491 | -0.13865 | 49.3626
44 | -6.7159 | -3.0566 | 6.7316 | 3.0788 | 0.015722 | 0.022143 | 0.21404 | 0.21404 | 0.21404 | 0.99516 | -0.14039 | 0.99836 | -0.030438 | 52.2058
45 | 0.71437 | 0.34473 | -0.71436 | -0.34522 | 1.481e-05 | -0.00048709 | 0.023054 | 0.02306 | 0.02306 | 0.99322 | -0.1276 | 0.9932 | -0.12742 | 10.4819
46 | 1.9823 | 0.93953 | -1.9815 | -0.93919 | 0.00073374 | 0.00034047 | 0.063776 | 0.063777 | 0.063777 | 0.99293 | -0.12499 | 0.99254 | -0.12763 | 30.3701
47 | 1.7977 | 0.85018 | -1.7967 | -0.84972 | 0.0010697 | 0.0004591 | 0.057839 | 0.057841 | 0.057841 | 0.99254 | -0.12763 | 0.99191 | -0.13191 | 27.5434
48 | 0.39085 | 0.18853 | -0.39085 | -0.18861 | 6.7837e-07 | -7.5029e-05 | 0.012613 | 0.012614 | 0.012614 | 0.9932 | -0.12742 | 0.9932 | -0.12741 | 5.7334
49 | -0.33912 | -0.16423 | 0.33921 | 0.15024 | 9.4382e-05 | -0.013996 | 0.010969 | 0.010797 | 0.010969 | 0.99166 | -0.12972 | 0.99191 | -0.13191 | 4.9857
50 | 0.33912 | 0.16423 | -0.33911 | -0.16424 | 2.0376e-06 | -9.8828e-06 | 0.010969 | 0.010969 | 0.010969 | 0.99166 | -0.12972 | 0.99165 | -0.12976 | 5.2232
51 | 0.1014 | 0.048441 | -0.1014 | -0.049109 | 4.0698e-07 | -0.00066773 | 0.0032704 | 0.0032788 | 0.0032788 | 0.99191 | -0.13191 | 0.99191 | -0.13187 | 1.4904
52 | 1.3561 | 0.65105 | -1.3561 | -0.65109 | 4.1704e-06 | -3.7054e-05 | 0.043778 | 0.043779 | 0.043779 | 0.99191 | -0.13191 | 0.99191 | -0.13188 | 19.8993
53 | 3.0344 | 1.3108 | -3.0339 | -1.3116 | 0.00049788 | -0.0008103 | 0.095907 | 0.095918 | 0.095918 | 0.99491 | -0.13865 | 0.99476 | -0.13757 | 43.5992
54 | 1.3561 | 0.65109 | -1.3559 | -0.65226 | 0.00013176 | -0.0011702 | 0.043779 | 0.043794 | 0.043794 | 0.99191 | -0.13188 | 0.99182 | -0.13105 | 19.9063
55 | 0.39085 | 0.18861 | -0.39084 | -0.18929 | 6.2089e-06 | -0.00068617 | 0.012614 | 0.012622 | 0.012622 | 0.9932 | -0.12741 | 0.99319 | -0.12727 | 5.7374
56 | 1.4216 | 0.56855 | -1.4204 | -0.57895 | 0.0012225 | -0.010403 | 0.044591 | 0.044709 | 0.044709 | 0.99117 | -0.11697 | 0.99035 | -0.11243 | 20.3222
57 | -1.4216 | -0.56855 | 1.4219 | 0.56864 | 0.00030589 | 9.031e-05 | 0.044591 | 0.04459 | 0.044591 | 0.99117 | -0.11697 | 0.9914 | -0.11457 | 21.234
58 | 0.26215 | 0.12536 | -0.26215 | -0.12696 | 6.5666e-06 | -0.0015997 | 0.0084702 | 0.0084905 | 0.0084905 | 0.99035 | -0.11243 | 0.99033 | -0.11222 | 3.8593
59 | 1.1582 | 0.45359 | -1.1558 | -0.45329 | 0.0023628 | 0.00030179 | 0.036257 | 0.036269 | 0.036269 | 0.99035 | -0.11243 | 0.98817 | -0.13621 | 17.2711
60 | -1.8253 | -0.76401 | 1.8256 | 0.76263 | 0.00027679 | -0.0013842 | 0.057616 | 0.0576 | 0.057616 | 0.9914 | -0.11457 | 0.99154 | -0.11546 | 26.1893
61 | 3.0339 | 1.3116 | -3.0257 | -1.3249 | 0.0082054 | -0.01328 | 0.095918 | 0.0961 | 0.0961 | 0.99476 | -0.13757 | 0.9922 | -0.11951 | 43.682
62 | 0.35899 | 0.16947 | -0.35899 | -0.17045 | 7.4114e-06 | -0.00097343 | 0.011555 | 0.011567 | 0.011567 | 0.99182 | -0.13105 | 0.9918 | -0.13088 | 5.2576
63 | 0.91924 | 0.44515 | -0.91914 | -0.44516 | 9.5236e-05 | -1.1372e-05 | 0.029727 | 0.029728 | 0.029728 | 0.99182 | -0.13105 | 0.99171 | -0.13173 | 14.1561
64 | 0.15416 | 0.07342 | -0.15416 | -0.073547 | 1.7546e-07 | -0.00012645 | 0.0049546 | 0.0049562 | 0.0049562 | 0.99487 | -0.097951 | 0.99487 | -0.097942 | 2.2528
65 | -0.50424 | -0.24297 | 0.50424 | 0.24284 | 1.8866e-06 | -0.00012606 | 0.016241 | 0.016239 | 0.016241 | 0.99487 | -0.097951 | 0.99487 | -0.097983 | 7.3823
66 | 0.15416 | 0.073547 | -0.15416 | -0.074464 | 1.2763e-06 | -0.00091721 | 0.0049562 | 0.0049677 | 0.0049677 | 0.99487 | -0.097942 | 0.99486 | -0.097871 | 2.258
67 | -0.50424 | -0.24284 | 0.5043 | 0.23874 | 6.1185e-05 | -0.0041023 | 0.016239 | 0.016188 | 0.016239 | 0.99487 | -0.097983 | 0.99498 | -0.099007 | 7.3816
68 | 0.15416 | 0.074464 | -0.15416 | -0.074663 | 2.774e-07 | -0.0001988 | 0.0049677 | 0.0049702 | 0.0049702 | 0.99486 | -0.097871 | 0.99486 | -0.097855 | 2.2592
69 | 0.2053 | 0.099404 | -0.2053 | -0.09943 | 1.7655e-06 | -2.5633e-05 | 0.0066178 | 0.0066182 | 0.0066182 | 0.99498 | -0.099007 | 0.99498 | -0.099064 | 3.1515
70 | 0.16566 | 0.079108 | -0.16566 | -0.079975 | 1.3918e-06 | -0.00086692 | 0.0053255 | 0.0053364 | 0.0053364 | 0.9951 | -0.10005 | 0.99509 | -0.099982 | 2.4256
71 | 0.091217 | 0.043923 | -0.091217 | -0.044178 | 1.2448e-07 | -0.00025524 | 0.002937 | 0.0029402 | 0.0029402 | 0.99509 | -0.099982 | 0.99509 | -0.09997 | 1.3365
72 | 0.19977 | 0.096165 | -0.19977 | -0.096754 | 1.3581e-06 | -0.00058838 | 0.0064098 | 0.0064172 | 0.0064172 | 0.99853 | -0.02665 | 0.99852 | -0.026591 | 2.9169
73 | -0.58769 | -0.28352 | 0.5877 | 0.28301 | 1.0631e-05 | -0.00051518 | 0.018995 | 0.018989 | 0.018995 | 0.99163 | -0.11422 | 0.99164 | -0.11437 | 8.6342
74 | 0.21407 | 0.10257 | -0.21407 | -0.10368 | 3.0194e-06 | -0.0011088 | 0.0069102 | 0.0069243 | 0.0069243 | 0.99163 | -0.11422 | 0.99161 | -0.1141 | 3.1474
75 | -0.66208 | -0.31903 | 0.66211 | 0.31826 | 2.0153e-05 | -0.0007687 | 0.021395 | 0.021385 | 0.021395 | 0.99164 | -0.11437 | 0.99167 | -0.11464 | 9.7249
76 | -0.66211 | -0.31826 | 0.66212 | 0.31758 | 1.8009e-05 | -0.00068757 | 0.021385 | 0.021376 | 0.021385 | 0.99167 | -0.11464 | 0.9917 | -0.11487 | 9.7204
77 | -1.1299 | -0.54364 | 1.1306 | 0.53559 | 0.0006215 | -0.0080482 | 0.036501 | 0.036398 | 0.036501 | 0.9917 | -0.11487 | 0.9922 | -0.11951 | 16.5912
78 | 0.46782 | 0.22607 | -0.46782 | -0.22657 | 6.6208e-06 | -0.00050689 | 0.015125 | 0.015131 | 0.015131 | 0.9917 | -0.11487 | 0.99168 | -0.11474 | 6.8777
79 | 0.068304 | 0.033039 | -0.068304 | -0.033081 | 1.1811e-08 | -4.2635e-05 | 0.0022075 | 0.0022081 | 0.0022081 | 0.9922 | -0.11951 | 0.9922 | -0.11951 | 1.0037
80 | 1.8268 | 0.75628 | -1.8256 | -0.76263 | 0.0012672 | -0.0063533 | 0.057525 | 0.0576 | 0.0576 | 0.9922 | -0.11951 | 0.99154 | -0.11546 | 26.1818
81 | -0.92217 | -0.39245 | 0.92226 | 0.3907 | 8.8554e-05 | -0.0017517 | 0.029391 | 0.02937 | 0.029391 | 0.98437 | -0.13434 | 0.98446 | -0.13493 | 13.3594
82 | 0.79543 | 0.33107 | -0.79536 | -0.3311 | 6.8706e-05 | -2.683e-05 | 0.025267 | 0.025267 | 0.025267 | 0.98437 | -0.13434 | 0.98427 | -0.13522 | 12.0321
83 | -0.92226 | -0.3907 | 0.92322 | 0.37144 | 0.00096463 | -0.019263 | 0.02937 | 0.029152 | 0.02937 | 0.98446 | -0.13493 | 0.98544 | -0.14089 | 13.3501
84 | 0.79536 | 0.3311 | -0.79477 | -0.34663 | 0.00058329 | -0.015535 | 0.025267 | 0.025448 | 0.025448 | 0.98427 | -0.13522 | 0.98359 | -0.13061 | 11.5673
85 | -0.92322 | -0.37144 | 0.92389 | 0.37134 | 0.00066937 | -9.374e-05 | 0.029152 | 0.029146 | 0.029152 | 0.98544 | -0.14089 | 0.98621 | -0.13287 | 13.8817
86 | 0.33899 | 0.13728 | -0.33895 | -0.14416 | 4.6186e-05 | -0.0068718 | 0.010734 | 0.010812 | 0.010812 | 0.98359 | -0.13061 | 0.98346 | -0.12982 | 4.9143
87 | 0.2262 | 0.09823 | -0.22617 | -0.10864 | 3.209e-05 | -0.010408 | 0.0072377 | 0.0073649 | 0.0073649 | 0.98359 | -0.13061 | 0.98345 | -0.12953 | 3.3477
88 | 0.22958 | 0.11112 | -0.22958 | -0.11119 | 6.573e-06 | -7.1904e-05 | 0.0074858 | 0.0074868 | 0.0074868 | 0.98359 | -0.13061 | 0.98356 | -0.1308 | 3.5651
89 | 0.33895 | 0.14416 | -0.33894 | -0.14455 | 2.6427e-06 | -0.00039013 | 0.010812 | 0.010816 | 0.010816 | 0.98346 | -0.12982 | 0.98345 | -0.12978 | 4.9164
90 | 0.22617 | 0.10864 | -0.22616 | -0.10954 | 2.8221e-06 | -0.00089773 | 0.0073649 | 0.0073763 | 0.0073763 | 0.98345 | -0.12953 | 0.98344 | -0.12943 | 3.3529
91 | -0.99487 | -0.40572 | 0.9951 | 0.40166 | 0.00023419 | -0.0040562 | 0.031449 | 0.031404 | 0.031449 | 0.98621 | -0.13287 | 0.98644 | -0.13414 | 14.2951
92 | 0.12831 | 0.042529 | -0.1283 | -0.044065 | 1.4037e-06 | -0.0015363 | 0.0039677 | 0.0039821 | 0.0039821 | 0.98345 | -0.12978 | 0.98344 | -0.12975 | 1.8101
93 | -0.9951 | -0.40166 | 0.99649 | 0.37725 | 0.0013932 | -0.024416 | 0.031404 | 0.031139 | 0.031404 | 0.98644 | -0.13414 | 0.98777 | -0.1407 | 14.2745
94 | -0.0626 | -0.030318 | 0.062606 | 0.029365 | 6.0187e-06 | -0.00095389 | 0.0020329 | 0.0020209 | 0.0020329 | 0.98767 | -0.14138 | 0.98777 | -0.1407 | 0.96807
95 | -1.0591 | -0.40661 | 1.0595 | 0.40662 | 0.00039292 | 1.2319e-05 | 0.033155 | 0.033152 | 0.033155 | 0.98777 | -0.1407 | 0.98817 | -0.13621 | 15.788
96 | -0.30033 | -0.14546 | 0.30034 | 0.1454 | 9.4796e-06 | -5.9822e-05 | 0.0097303 | 0.0097295 | 0.0097303 | 0.99001 | -0.059839 | 0.99004 | -0.059631 | 4.6335
97 | -0.30034 | -0.1454 | 0.30035 | 0.14322 | 1.1761e-05 | -0.0021808 | 0.0097295 | 0.0097019 | 0.0097295 | 0.99004 | -0.059631 | 0.99008 | -0.059966 | 4.4225
98 | 0.20871 | 0.099407 | -0.2087 | -0.10108 | 4.3524e-06 | -0.001673 | 0.0067402 | 0.0067614 | 0.0067614 | 0.99008 | -0.059966 | 0.99006 | -0.059788 | 3.0734
99 | -0.59143 | -0.28252 | 0.59163 | 0.28228 | 0.00019931 | -0.00023382 | 0.019111 | 0.019106 | 0.019111 | 0.99008 | -0.059966 | 0.99043 | -0.057624 | 9.1003
100 | 0.69407 | 0.3339 | -0.69402 | -0.33566 | 5.0883e-05 | -0.0017544 | 0.022449 | 0.022471 | 0.022471 | 0.99043 | -0.057624 | 0.99037 | -0.056991 | 10.2143
101 | -1.2857 | -0.61619 | 1.2858 | 0.61492 | 0.00012892 | -0.0012722 | 0.041555 | 0.041539 | 0.041555 | 0.99043 | -0.057624 | 0.99052 | -0.058475 | 18.8886
102 | -0.39931 | -0.1928 | 0.39947 | 0.17638 | 0.00015429 | -0.016419 | 0.012925 | 0.012724 | 0.012925 | 0.99033 | -0.056965 | 0.99069 | -0.059984 | 5.8752
103 | 0.39931 | 0.1928 | -0.39931 | -0.19339 | 5.6363e-06 | -0.00058973 | 0.012925 | 0.012933 | 0.012933 | 0.99033 | -0.056965 | 0.99032 | -0.056842 | 5.8786
104 | 1.5712 | 0.75116 | -1.5709 | -0.75298 | 0.0002793 | -0.0018198 | 0.050746 | 0.050769 | 0.050769 | 0.99069 | -0.059984 | 0.99052 | -0.058475 | 23.077
105 | -1.9706 | -0.92755 | 1.9739 | 0.91417 | 0.003278 | -0.013375 | 0.063465 | 0.063288 | 0.063465 | 0.99069 | -0.059984 | 0.99223 | -0.073297 | 28.8478
106 | -0.36329 | -0.17595 | 0.36337 | 0.1756 | 8.3976e-05 | -0.00034594 | 0.011769 | 0.011764 | 0.011769 | 0.99012 | -0.058521 | 0.99037 | -0.056991 | 5.6041
107 | 0.33065 | 0.16006 | -0.33064 | -0.16013 | 1.5136e-05 | -7.7265e-05 | 0.010708 | 0.010709 | 0.010709 | 0.99037 | -0.056991 | 0.99032 | -0.057293 | 5.0995
108 | 0.1283 | 0.044065 | -0.1283 | -0.049662 | 5.2038e-06 | -0.0055971 | 0.0039821 | 0.0040385 | 0.0040385 | 0.98344 | -0.12975 | 0.9834 | -0.12961 | 1.8357
109 | -0.2659 | -0.12878 | 0.2659 | 0.12851 | 1.1221e-06 | -0.00026671 | 0.0085995 | 0.0085961 | 0.0085995 | 0.99177 | -0.13059 | 0.99178 | -0.13063 | 3.9088
110 | 0.093077 | 0.043351 | -0.093076 | -0.04488 | 7.8125e-07 | -0.0015288 | 0.0029886 | 0.0030077 | 0.0030077 | 0.99178 | -0.13063 | 0.99177 | -0.13056 | 1.3671
111 | -0.35898 | -0.17186 | 0.35899 | 0.17045 | 1.0816e-05 | -0.0014169 | 0.011584 | 0.011567 | 0.011584 | 0.99178 | -0.13063 | 0.9918 | -0.13088 | 5.2657
112 | 0.093076 | 0.04488 | -0.093076 | -0.045079 | 1.0227e-07 | -0.00019869 | 0.0030077 | 0.0030102 | 0.0030102 | 0.99177 | -0.13056 | 0.99177 | -0.13055 | 1.3683
113 | 0.65194 | 0.29184 | -0.65146 | -0.31126 | 0.00048561 | -0.019419 | 0.020781 | 0.02102 | 0.02102 | 0.99223 | -0.073297 | 0.99154 | -0.067456 | 9.5547
114 | -2.6259 | -1.206 | 2.626 | 1.2061 | 0.00013583 | 7.2402e-05 | 0.084068 | 0.084068 | 0.084068 | 0.99223 | -0.073297 | 0.99228 | -0.072888 | 40.0325
115 | 0.30271 | 0.14309 | -0.30269 | -0.14619 | 1.6845e-05 | -0.0030996 | 0.009748 | 0.009787 | 0.009787 | 0.99154 | -0.067456 | 0.99148 | -0.066986 | 4.4486
116 | 0.34875 | 0.16818 | -0.34875 | -0.16891 | 5.2881e-06 | -0.00072958 | 0.011272 | 0.011282 | 0.011282 | 0.99154 | -0.067456 | 0.99152 | -0.067325 | 5.128
117 | -2.9314 | -1.354 | 2.932 | 1.3529 | 0.00063554 | -0.0010803 | 0.093937 | 0.093921 | 0.093937 | 0.99228 | -0.072888 | 0.99248 | -0.074577 | 42.6985
118 | 0.30269 | 0.14619 | -0.30269 | -0.1466 | 2.2466e-06 | -0.00041147 | 0.009787 | 0.0097922 | 0.0097922 | 0.99148 | -0.066986 | 0.99148 | -0.066921 | 4.451
119 | -2.932 | -1.3529 | 2.9363 | 1.3456 | 0.004287 | -0.0073112 | 0.093921 | 0.093817 | 0.093921 | 0.99248 | -0.074577 | 0.99385 | -0.085856 | 42.6914
120 | -2.9363 | -1.3456 | 2.9369 | 1.3446 | 0.00059027 | -0.00101 | 0.093817 | 0.093803 | 0.093817 | 0.99385 | -0.085856 | 0.99403 | -0.087392 | 42.6441
121 | -0.057905 | -0.028045 | 0.057906 | 0.020329 | 1.5148e-06 | -0.0077153 | 0.001889 | 0.0018018 | 0.001889 | 0.98324 | -0.13085 | 0.98326 | -0.131 | 0.85862
122 | -0.057906 | -0.020329 | 0.057912 | 0.019123 | 6.0239e-06 | -0.0012062 | 0.0018018 | 0.0017903 | 0.0018018 | 0.98326 | -0.131 | 0.98338 | -0.12948 | 0.858
123 | -0.1283 | -0.053212 | 0.1283 | 0.049662 | 3.3795e-06 | -0.0035491 | 0.0040773 | 0.0040385 | 0.0040773 | 0.98338 | -0.12948 | 0.9834 | -0.12961 | 1.8533
124 | 3.2723 | 1.5071 | -3.2719 | -1.5068 | 0.00047018 | 0.00026605 | 0.10461 | 0.10461 | 0.10461 | 0.99419 | -0.086266 | 0.99403 | -0.087392 | 49.8143

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.6728 | 6.7479

## res_load
| p_mw | q_mvar
0 | 0.3136 | 0.15188
1 | 0.35188 | 0.17042
2 | 0.16586 | 0.080331
3 | 0.072219 | 0.034977
4 | 0.28293 | 0.13703
5 | 0.31323 | 0.1517
6 | 0.15778 | 0.076417
7 | 0.092445 | 0.044773
8 | 0.27277 | 0.13211
9 | 0.26826 | 0.12992
10 | 0.23039 | 0.11158
11 | 0.095968 | 0.046479
12 | 0.2761 | 0.13372
13 | 0.19404 | 0.093976
14 | 0.068567 | 0.033208
15 | 0.24928 | 0.12073
16 | 0.33356 | 0.16155
17 | 0.18378 | 0.089006
18 | 0.17601 | 0.085247
19 | 0.32351 | 0.15668
20 | 0.33911 | 0.16424
21 | 0.39396 | 0.1908
22 | 0.1014 | 0.049109
23 | 0.39084 | 0.18929
24 | 0.4034 | 0.19538
25 | 0.0777 | 0.037632
26 | 0.35007 | 0.16955
27 | 0.15416 | 0.074663
28 | 0.2053 | 0.09943
29 | 0.074438 | 0.036052
30 | 0.19977 | 0.096754
31 | 0.091217 | 0.044178
32 | 0.37362 | 0.18095
33 | 0.074382 | 0.036025
34 | 0.21407 | 0.10368
35 | 0.46782 | 0.22657
36 | 0.12674 | 0.061383
37 | 0.22958 | 0.11119
38 | 0.070977 | 0.034376
39 | 0.21064 | 0.10202
40 | 0.22616 | 0.10954
41 | 0.0626 | 0.030318
42 | 0.096345 | 0.046662
43 | 0.20934 | 0.10139
44 | 0.30033 | 0.14546
45 | 0.08237 | 0.039894
46 | 0.2087 | 0.10108
47 | 0.39931 | 0.19339
48 | 0.36329 | 0.17595
49 | 0.26215 | 0.12696
50 | 0.068304 | 0.033081
51 | 0.91914 | 0.44516
52 | 0.2659 | 0.12878
53 | 0.093076 | 0.045079
54 | 0.30535 | 0.14789
55 | 0.34875 | 0.16891
56 | 0.30269 | 0.1466
57 | 0.28507 | 0.13806
58 | 0.33064 | 0.16013
59 | 0.057905 | 0.028045
60 | 0.070384 | 0.034088
61 | 0.335 | 0.16225

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1