## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_586_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_586_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_586_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_586_0_node_7 | 20 | n |  | TRUE
4 | bus_MV_586_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_586_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_586_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_586_0_node_50 | 20 | n |  | TRUE
8 | bus_MV_586_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_586_0_node_10 | 20 | n |  | TRUE
10 | bus_MV_586_0_node_46 | 20 | n |  | TRUE
11 | bus_MV_586_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_586_0_node_57 | 20 | n |  | TRUE
13 | bus_MV_586_0_node_64 | 20 | n |  | TRUE
14 | bus_MV_586_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_586_0_node_80 | 20 | n |  | TRUE
16 | bus_MV_586_0_node_51 | 20 | n |  | TRUE
17 | bus_MV_586_0_node_29 | 20 | n |  | TRUE
18 | bus_MV_586_0_node_56 | 20 | n |  | TRUE
19 | bus_MV_586_0_node_63 | 20 | n |  | TRUE
20 | bus_MV_586_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_586_0_node_12 | 20 | n |  | TRUE
22 | bus_MV_586_0_node_13 | 20 | n |  | TRUE
23 | bus_MV_586_0_node_14 | 20 | n |  | TRUE
24 | bus_MV_586_0_node_24 | 20 | n |  | TRUE
25 | bus_MV_586_0_node_22 | 20 | n |  | TRUE
26 | bus_MV_586_0_node_75 | 20 | n |  | TRUE
27 | bus_MV_586_0_node_23 | 20 | n |  | TRUE
28 | bus_MV_586_0_node_55 | 20 | n |  | TRUE
29 | bus_MV_586_0_node_53 | 20 | n |  | TRUE
30 | bus_MV_586_0_node_74 | 20 | n |  | TRUE
31 | bus_MV_586_0_node_15 | 20 | n |  | TRUE
32 | bus_MV_586_0_node_16 | 20 | n |  | TRUE
33 | bus_MV_586_0_node_17 | 20 | n |  | TRUE
34 | bus_MV_586_0_node_18 | 20 | n |  | TRUE
35 | bus_MV_586_0_node_66 | 20 | n |  | TRUE
36 | bus_MV_586_0_node_69 | 20 | n |  | TRUE
37 | bus_MV_586_0_node_78 | 20 | n |  | TRUE
38 | bus_MV_586_0_node_68 | 20 | n |  | TRUE
39 | bus_MV_586_0_node_65 | 20 | n |  | TRUE
40 | bus_MV_586_0_node_67 | 20 | n |  | TRUE
41 | bus_MV_586_0_node_72 | 20 | n |  | TRUE
42 | bus_MV_586_0_node_76 | 20 | n |  | TRUE
43 | bus_MV_586_0_node_71 | 20 | n |  | TRUE
44 | bus_MV_586_0_node_70 | 20 | n |  | TRUE
45 | bus_MV_586_0_node_19 | 20 | n |  | TRUE
46 | bus_MV_586_0_node_20 | 20 | n |  | TRUE
47 | bus_MV_586_0_node_21 | 20 | n |  | TRUE
48 | bus_MV_586_0_node_54 | 20 | n |  | TRUE
49 | bus_MV_586_0_node_84 | 20 | n |  | TRUE
50 | bus_MV_586_0_node_77 | 20 | n |  | TRUE
51 | bus_MV_586_0_node_73 | 20 | n |  | TRUE
52 | bus_MV_586_0_node_25 | 20 | n |  | TRUE
53 | bus_MV_586_0_node_26 | 20 | n |  | TRUE
54 | bus_MV_586_0_node_27 | 20 | n |  | TRUE
55 | bus_MV_586_0_node_28 | 20 | n |  | TRUE
56 | bus_MV_586_0_node_86 | 20 | n |  | TRUE
57 | bus_MV_586_0_node_42 | 20 | n |  | TRUE
58 | bus_MV_586_0_node_41 | 20 | n |  | TRUE
59 | bus_MV_586_0_node_47 | 20 | n |  | TRUE
60 | bus_MV_586_0_node_30 | 20 | n |  | TRUE
61 | bus_MV_586_0_node_31 | 20 | n |  | TRUE
62 | bus_MV_586_0_node_36 | 20 | n |  | TRUE
63 | bus_MV_586_0_node_32 | 20 | n |  | TRUE
64 | bus_MV_586_0_node_83 | 20 | n |  | TRUE
65 | bus_MV_586_0_node_37 | 20 | n |  | TRUE
66 | bus_MV_586_0_node_45 | 20 | n |  | TRUE
67 | bus_MV_586_0_node_33 | 20 | n |  | TRUE
68 | bus_MV_586_0_node_82 | 20 | n |  | TRUE
69 | bus_MV_586_0_node_43 | 20 | n |  | TRUE
70 | bus_MV_586_0_node_40 | 20 | n |  | TRUE
71 | bus_MV_586_0_node_34 | 20 | n |  | TRUE
72 | bus_MV_586_0_node_35 | 20 | n |  | TRUE
73 | bus_MV_586_0_node_38 | 20 | n |  | TRUE
74 | bus_MV_586_0_node_85 | 20 | n |  | TRUE
75 | bus_MV_586_0_node_39 | 20 | n |  | TRUE
76 | bus_MV_586_0_node_49 | 20 | n |  | TRUE
77 | bus_MV_586_0_node_79 | 20 | n |  | TRUE
78 | bus_MV_586_0_node_52 | 20 | n |  | TRUE
79 | bus_MV_586_0_node_60 | 20 | n |  | TRUE
80 | bus_MV_586_0_node_61 | 20 | n |  | TRUE
81 | bus_MV_586_0_node_59 | 20 | n |  | TRUE
82 | bus_MV_586_0_node_58 | 20 | n |  | TRUE
83 | bus_MV_586_0_node_81 | 20 | n |  | TRUE
84 | bus_MV_586_0_node_62 | 20 | n |  | TRUE
85 | bus_HV_586_0_node_6 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_586_0_load_0 | 0 | 0.30415 | 0.14731 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_586_0_load_1 | 2 | 0.12921 | 0.062582 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_586_0_load_3 | 4 | 0.62393 | 0.30219 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_586_0_load_4 | 5 | 0.54831 | 0.26556 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_586_0_load_5 | 6 | 0.35789 | 0.17334 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_586_0_load_50 | 7 | 0.63316 | 0.30665 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_586_0_load_46 | 10 | 0.34162 | 0.16545 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_586_0_load_57 | 12 | 0.26054 | 0.12618 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_586_0_load_64 | 13 | 0.24187 | 0.11714 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_586_0_load_80 | 15 | 0.072382 | 0.035056 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_586_0_load_56 | 18 | 0.35438 | 0.17163 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_586_0_load_11 | 20 | 0.30244 | 0.14648 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_586_0_load_22 | 25 | 0.37932 | 0.18371 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_586_0_load_75 | 26 | 0.16758 | 0.081164 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_586_0_load_53 | 29 | 0.086476 | 0.041882 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_586_0_load_74 | 30 | 0.63818 | 0.30908 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_586_0_load_15 | 31 | 0.35793 | 0.17335 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_586_0_load_16 | 32 | 0.30376 | 0.14712 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_586_0_load_78 | 37 | 0.36024 | 0.17447 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_586_0_load_65 | 39 | 0.25801 | 0.12496 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_586_0_load_76 | 42 | 0.25467 | 0.12334 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_586_0_load_71 | 43 | 0.10865 | 0.052624 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_586_0_load_70 | 44 | 0.12715 | 0.061582 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_586_0_load_19 | 45 | 0.40645 | 0.19685 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_586_0_load_84 | 49 | 0.28012 | 0.13567 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_586_0_load_77 | 50 | 0.077621 | 0.037593 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_586_0_load_73 | 51 | 0.96 | 0.46495 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_586_0_load_25 | 52 | 0.2698 | 0.13067 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_586_0_load_86 | 56 | 0.25138 | 0.12175 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_586_0_load_47 | 59 | 0.2579 | 0.12491 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_586_0_load_30 | 60 | 0.33809 | 0.16375 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_586_0_load_83 | 64 | 0.10575 | 0.051217 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_586_0_load_45 | 66 | 0.35678 | 0.17279 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_586_0_load_82 | 68 | 0.31826 | 0.15414 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_586_0_load_34 | 71 | 0.32978 | 0.15972 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_586_0_load_85 | 74 | 0.33308 | 0.16132 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_586_0_load_39 | 75 | 0.19918 | 0.096468 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_586_0_load_79 | 77 | 0.39183 | 0.18977 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_586_0_load_52 | 78 | 0.37358 | 0.18093 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_586_0_load_58 | 82 | 0.091953 | 0.044535 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_586_0_load_81 | 83 | 0.31325 | 0.15171 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_586_0_load_62 | 84 | 0.068768 | 0.033306 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_586_0_line_0 |  | 0 | 1 | 0.031562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_586_0_line_1 |  | 0 | 2 | 0.078028 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_586_0_line_2 |  | 1 | 3 | 0.21521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_586_0_line_3 |  | 2 | 4 | 0.016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_586_0_line_4 |  | 3 | 11 | 0.1779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_586_0_line_5 |  | 3 | 12 | 0.044893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_586_0_line_6 |  | 3 | 8 | 0.71985 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
7 | MV_586_0_line_7 |  | 4 | 5 | 0.045307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_586_0_line_8 |  | 4 | 6 | 0.07869 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_586_0_line_9 |  | 6 | 7 | 0.087379 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_586_0_line_10 |  | 7 | 16 | 0.057367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_586_0_line_11 |  | 8 | 9 | 0.3319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_586_0_line_12 |  | 8 | 10 | 0.021612 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
13 | MV_586_0_line_13 |  | 9 | 14 | 0.051208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_586_0_line_14 |  | 10 | 17 | 0.046729 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
15 | MV_586_0_line_15 |  | 11 | 13 | 0.04114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_586_0_line_16 |  | 12 | 18 | 0.093443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_586_0_line_17 |  | 13 | 19 | 0.053145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_586_0_line_18 |  | 14 | 15 | 0.005236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_586_0_line_19 |  | 16 | 78 | 0.038321 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_586_0_line_20 |  | 17 | 54 | 0.42877 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_586_0_line_21 |  | 19 | 84 | 0.038218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_586_0_line_22 |  | 20 | 21 | 0.03243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_586_0_line_23 |  | 21 | 22 | 1.0147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_586_0_line_24 |  | 22 | 23 | 0.38767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_586_0_line_25 |  | 22 | 24 | 0.06632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_586_0_line_26 |  | 22 | 25 | 0.069529 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_586_0_line_27 |  | 23 | 26 | 0.080173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_586_0_line_28 |  | 24 | 30 | 0.03382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_586_0_line_29 |  | 24 | 27 | 0.47891 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
30 | MV_586_0_line_30 |  | 27 | 28 | 1.4004 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_586_0_line_31 |  | 27 | 29 | 0.044853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_586_0_line_32 |  | 28 | 50 | 0.022229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_586_0_line_33 |  | 28 | 48 | 1.1069 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
34 | MV_586_0_line_34 |  | 29 | 47 | 0.036971 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_586_0_line_35 |  | 30 | 51 | 0.034245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_586_0_line_36 |  | 31 | 32 | 0.025396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_586_0_line_37 |  | 31 | 33 | 0.026501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_586_0_line_38 |  | 33 | 34 | 0.021659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_586_0_line_39 |  | 34 | 35 | 0.11684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_586_0_line_40 |  | 34 | 36 | 0.26779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_586_0_line_41 |  | 34 | 37 | 0.068386 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_586_0_line_42 |  | 35 | 38 | 0.33063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_586_0_line_43 |  | 35 | 39 | 0.030985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_586_0_line_44 |  | 36 | 44 | 0.037182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_586_0_line_45 |  | 38 | 43 | 0.063867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_586_0_line_46 |  | 38 | 40 | 0.042348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_586_0_line_47 |  | 40 | 41 | 0.07754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_586_0_line_48 |  | 40 | 42 | 0.037367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_586_0_line_49 |  | 41 | 51 | 0.05019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_586_0_line_50 |  | 45 | 46 | 0.033714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_586_0_line_51 |  | 46 | 47 | 0.023872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_586_0_line_52 |  | 48 | 49 | 0.022227 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_586_0_line_53 |  | 49 | 54 | 0.02559 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_586_0_line_54 |  | 52 | 53 | 0.061628 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_586_0_line_55 |  | 53 | 54 | 0.40561 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_586_0_line_56 |  | 54 | 55 | 0.20322 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_586_0_line_57 |  | 55 | 56 | 0.021998 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_586_0_line_58 |  | 55 | 57 | 0.28118 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_586_0_line_59 |  | 56 | 58 | 0.17262 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_586_0_line_60 |  | 57 | 59 | 0.034577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_586_0_line_61 |  | 58 | 75 | 0.038598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_586_0_line_62 |  | 60 | 61 | 0.0036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_586_0_line_63 |  | 60 | 62 | 0.23123 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_586_0_line_64 |  | 61 | 63 | 0.26137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_586_0_line_65 |  | 62 | 64 | 0.015645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_586_0_line_66 |  | 62 | 65 | 0.21162 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_586_0_line_67 |  | 63 | 66 | 0.055652 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_586_0_line_68 |  | 65 | 68 | 0.004328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_586_0_line_69 |  | 65 | 72 | 0.54778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_586_0_line_70 |  | 67 | 68 | 0.035065 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_586_0_line_71 |  | 67 | 69 | 0.054576 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_586_0_line_72 |  | 69 | 70 | 0.28637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_586_0_line_73 |  | 70 | 75 | 0.017213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_586_0_line_74 |  | 71 | 72 | 0.063092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_586_0_line_75 |  | 72 | 73 | 0.6335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_586_0_line_76 |  | 73 | 74 | 0.018543 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_586_0_line_77 |  | 76 | 77 | 0.02112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_586_0_line_78 |  | 76 | 78 | 0.34814 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_586_0_line_79 |  | 78 | 79 | 0.004888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_586_0_line_80 |  | 79 | 80 | 0.47425 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_586_0_line_81 |  | 79 | 81 | 0.39208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_586_0_line_82 |  | 80 | 83 | 0.003975 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_586_0_line_83 |  | 81 | 82 | 0.014263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_586_0_trafo_6 | 25 MVA 110/20 kV | 85 | 8 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2706664.4343 | 1231213.2655
1 | 2706688.4008 | 1231199.852
2 | 2706586.9941 | 1231222.8277
3 | 2706750.4932 | 1231258.989
4 | 2706571.1034 | 1231224.6904
5 | 2706526.1047 | 1231229.9653
6 | 2706573.0428 | 1231303.3562
7 | 2706493.2438 | 1231338.9549
8 | 2706888.7401 | 1231712.8723
9 | 2706612.6408 | 1231630.8528
10 | 2706896.3598 | 1231733.1024
11 | 2706912.5875 | 1231261.0584
12 | 2706714.0313 | 1231285.1796
13 | 2706953.3395 | 1231267.5073
14 | 2706602.7573 | 1231671.7177
15 | 2706597.5064 | 1231671.8125
16 | 2706436.3969 | 1231346.4911
17 | 2706912.3776 | 1231777.0126
18 | 2706638.2604 | 1231339.8639
19 | 2707005.9807 | 1231275.8497
20 | 2708101.216 | 1230869.1069
21 | 2708083.7864 | 1230892.7302
22 | 2708102.0001 | 1231401.0148
23 | 2708322.4538 | 1231538.7209
24 | 2708046.397 | 1231403.2169
25 | 2708115.7996 | 1231332.8694
26 | 2708244.9419 | 1231518.2381
27 | 2708010.2606 | 1231496.3202
28 | 2708024.685 | 1231963.6273
29 | 2708000.0621 | 1231539.9981
30 | 2708038.005 | 1231435.979
31 | 2708293.4055 | 1231774.3641
32 | 2708317.9827 | 1231780.7626
33 | 2708300.0823 | 1231748.718
34 | 2708305.8032 | 1231727.8285
35 | 2708241.0405 | 1231765.6335
36 | 2708561.4632 | 1231753.5219
37 | 2708372.1336 | 1231744.4693
38 | 2708085.0412 | 1231569.5571
39 | 2708233.188 | 1231795.6072
40 | 2708098.8526 | 1231534.0367
41 | 2708023.611 | 1231515.2994
42 | 2708107.7091 | 1231497.7356
43 | 2708032.7233 | 1231579.7769
44 | 2708570.1092 | 1231717.3588
45 | 2707933.4596 | 1231559.2178
46 | 2707966.3022 | 1231567.2425
47 | 2707989.6256 | 1231572.6368
48 | 2707118.2903 | 1232073.6332
49 | 2707107.268 | 1232089.7024
50 | 2708044.6752 | 1231973.3483
51 | 2708029.5075 | 1231469.1532
52 | 2707427.0166 | 1232240.5531
53 | 2707365.8563 | 1232248.1318
54 | 2707092.5171 | 1232109.2515
55 | 2706908.4432 | 1232084.8645
56 | 2706887.8203 | 1232077.2101
57 | 2706810.9559 | 1232348.6015
58 | 2706738.4057 | 1231990.7712
59 | 2706776.3259 | 1232350.4364
60 | 2706215.2524 | 1232316.1706
61 | 2706213.7323 | 1232319.4348
62 | 2706277.9688 | 1232093.6116
63 | 2706266.2215 | 1232485.243
64 | 2706278.3016 | 1232077.9723
65 | 2706414.9393 | 1232072.012
66 | 2706320.6905 | 1232473.8305
67 | 2706433.8296 | 1232106.2316
68 | 2706415.5746 | 1232076.2933
69 | 2706485.0501 | 1232087.3901
70 | 2706712.4509 | 1232029.4457
71 | 2706176.6286 | 1231729.503
72 | 2706189.6441 | 1231791.2377
73 | 2706112.2054 | 1231989.9722
74 | 2706122.0744 | 1232005.6713
75 | 2706710.6033 | 1232013.8118
76 | 2706153.1737 | 1231139.149
77 | 2706132.1448 | 1231141.6867
78 | 2706409.9555 | 1231374.2277
79 | 2706406.7682 | 1231377.9401
80 | 2706600.1442 | 1231608.8121
81 | 2706539.848 | 1231687.035
82 | 2706554.0283 | 1231685.5015
83 | 2706603.8951 | 1231607.4672
84 | 2707006.2572 | 1231237.6323
85 | 2706888.7401 | 1231712.8723

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99698 | -0.0091089 | 0.30415 | 0.14731
1 | 0.99713 | -0.01049 | 0 | 0
2 | 0.99646 | -0.012564 | 0.12921 | 0.062582
3 | 0.99817 | -0.019858 | 0 | 0
4 | 0.99639 | -0.011946 | 0.62393 | 0.30219
5 | 0.99636 | -0.011649 | 0.54831 | 0.26556
6 | 0.99606 | -0.014176 | 0.35789 | 0.17334
7 | 0.99576 | -0.016273 | 0.63316 | 0.30665
8 | 1 | 0 | -13.0067 | -5.8875
9 | 0.99997 | 0.00017509 | 0 | 0
10 | 0.99994 | -0.00031494 | 0.34162 | 0.16545
11 | 0.9981 | -0.019255 | 0 | 0
12 | 0.99813 | -0.019535 | 0.26054 | 0.12618
13 | 0.99808 | -0.019108 | 0.24187 | 0.11714
14 | 0.99997 | 0.00021703 | 0 | 0
15 | 0.99996 | 0.00022155 | 0.072382 | 0.035056
16 | 0.99567 | -0.015546 | 0 | 0
17 | 0.99982 | -0.00097597 | 0 | 0
18 | 0.99809 | -0.019144 | 0.35438 | 0.17163
19 | 0.99808 | -0.01907 | 0 | 0
20 | 0.99323 | -0.036212 | 0.30244 | 0.14648
21 | 0.99324 | -0.036331 | 0 | 0
22 | 0.99363 | -0.039218 | 0 | 0
23 | 0.99355 | -0.038592 | 0 | 0
24 | 0.9937 | -0.039744 | 0 | 0
25 | 0.99358 | -0.039541 | 0.37932 | 0.18371
26 | 0.99353 | -0.038434 | 0.16758 | 0.081164
27 | 0.9948 | -0.027467 | 0 | 0
28 | 0.99695 | -0.017021 | 0 | 0
29 | 0.99477 | -0.027207 | 0.086476 | 0.041882
30 | 0.99356 | -0.038427 | 0.63818 | 0.30908
31 | 0.99226 | -0.026931 | 0.35793 | 0.17335
32 | 0.99225 | -0.026838 | 0.30376 | 0.14712
33 | 0.99228 | -0.027143 | 0 | 0
34 | 0.9923 | -0.027315 | 0 | 0
35 | 0.99247 | -0.028856 | 0 | 0
36 | 0.99226 | -0.026971 | 0 | 0
37 | 0.99227 | -0.027019 | 0.36024 | 0.17447
38 | 0.99307 | -0.034121 | 0 | 0
39 | 0.99246 | -0.02876 | 0.25801 | 0.12496
40 | 0.99315 | -0.034835 | 0 | 0
41 | 0.99332 | -0.036369 | 0 | 0
42 | 0.99313 | -0.03472 | 0.25467 | 0.12334
43 | 0.99306 | -0.03404 | 0.10865 | 0.052624
44 | 0.99225 | -0.026914 | 0.12715 | 0.061582
45 | 0.99472 | -0.026749 | 0.40645 | 0.19685
46 | 0.99474 | -0.026914 | 0 | 0
47 | 0.99475 | -0.02703 | 0 | 0
48 | 0.99866 | -0.0074027 | 0 | 0
49 | 0.9987 | -0.0071983 | 0.28012 | 0.13567
50 | 0.99695 | -0.017 | 0.077621 | 0.037593
51 | 0.99344 | -0.037357 | 0.96 | 0.46495
52 | 0.99857 | -0.00597 | 0.2698 | 0.13067
53 | 0.9986 | -0.0057683 | 0 | 0
54 | 0.99874 | -0.0069541 | 0 | 0
55 | 0.9981 | -0.0015676 | 0 | 0
56 | 0.998 | -0.0022587 | 0.25138 | 0.12175
57 | 0.99796 | -0.0024711 | 0 | 0
58 | 0.99735 | -0.0071569 | 0 | 0
59 | 0.99794 | -0.0023649 | 0.2579 | 0.12491
60 | 0.99572 | -0.0030964 | 0.33809 | 0.16375
61 | 0.99572 | -0.0030824 | 0 | 0
62 | 0.99603 | -0.00101 | 0 | 0
63 | 0.9956 | -0.00201 | 0 | 0
64 | 0.99603 | -0.00099027 | 0.10575 | 0.051217
65 | 0.99625 | -0.0029248 | 0 | 0
66 | 0.99556 | -0.0022522 | 0.35678 | 0.17279
67 | 0.99638 | -0.0021033 | 0 | 0
68 | 0.99626 | -0.0029896 | 0.31826 | 0.15414
69 | 0.99656 | -0.00072416 | 0 | 0
70 | 0.99721 | -0.0060431 | 0 | 0
71 | 0.99576 | 0.00089286 | 0.32978 | 0.15972
72 | 0.99579 | 0.00064485 | 0 | 0
73 | 0.99552 | 0.0028852 | 0 | 0
74 | 0.99551 | 0.0028099 | 0.33308 | 0.16132
75 | 0.99725 | -0.0063586 | 0.19918 | 0.096468
76 | 0.99532 | -0.017849 | 0 | 0
77 | 0.99531 | -0.01775 | 0.39183 | 0.18977
78 | 0.99558 | -0.016165 | 0.37358 | 0.18093
79 | 0.99558 | -0.016148 | 0 | 0
80 | 0.99539 | -0.014528 | 0 | 0
81 | 0.99554 | -0.015838 | 0 | 0
82 | 0.99554 | -0.015822 | 0.091953 | 0.044535
83 | 0.99539 | -0.014513 | 0.31325 | 0.15171
84 | 0.99807 | -0.019039 | 0.068768 | 0.033306
85 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -3.7708 | -1.8016 | 3.7715 | 1.801 | 0.00061691 | -0.00056616 | 0.12101 | 0.121 | 0.12101 | 0.99698 | -0.0091089 | 0.99713 | -0.01049 | 55.0023
1 | 3.4667 | 1.6542 | -3.465 | -1.6533 | 0.0017197 | 0.00098464 | 0.11122 | 0.11122 | 0.11122 | 0.99698 | -0.0091089 | 0.99646 | -0.012564 | 52.9625
2 | -3.7715 | -1.801 | 3.7757 | 1.7971 | 0.0042039 | -0.0038672 | 0.121 | 0.12093 | 0.121 | 0.99713 | -0.01049 | 0.99817 | -0.019858 | 54.9981
3 | 3.3357 | 1.5907 | -3.3355 | -1.591 | 0.00024484 | -0.00030665 | 0.10706 | 0.10707 | 0.10707 | 0.99646 | -0.012564 | 0.99639 | -0.011946 | 48.6667
4 | 0.31067 | 0.14307 | -0.31064 | -0.1473 | 2.3359e-05 | -0.0042247 | 0.0098917 | 0.0099435 | 0.0099435 | 0.99817 | -0.019858 | 0.9981 | -0.019255 | 4.5198
5 | 0.61495 | 0.29454 | -0.61493 | -0.2956 | 2.3321e-05 | -0.001061 | 0.01972 | 0.019733 | 0.019733 | 0.99817 | -0.019858 | 0.99813 | -0.019535 | 8.9695
6 | -4.7013 | -2.2347 | 4.7091 | 2.2158 | 0.0078638 | -0.018936 | 0.15054 | 0.15024 | 0.15054 | 0.99817 | -0.019858 | 1 | 0 | 41.5863
7 | 0.54833 | 0.26449 | -0.54831 | -0.26556 | 1.8831e-05 | -0.0010683 | 0.017638 | 0.017651 | 0.017651 | 0.99639 | -0.011946 | 0.99636 | -0.011649 | 8.0233
8 | 2.1632 | 1.0243 | -2.1626 | -1.024 | 0.00067419 | 0.00032906 | 0.069344 | 0.069346 | 0.069346 | 0.99639 | -0.011946 | 0.99606 | -0.014176 | 33.0217
9 | 1.8047 | 0.85064 | -1.8041 | -0.85042 | 0.00052051 | 0.00022257 | 0.057821 | 0.057823 | 0.057823 | 0.99606 | -0.014176 | 0.99576 | -0.016273 | 27.5346
10 | 1.171 | 0.54377 | -1.1709 | -0.54509 | 0.00010734 | -0.0013262 | 0.037429 | 0.037446 | 0.037446 | 0.99576 | -0.016273 | 0.99567 | -0.015546 | 17.0208
11 | 0.072384 | 0.025785 | -0.072382 | -0.033709 | 2.2613e-06 | -0.0079235 | 0.0022182 | 0.002305 | 0.002305 | 1 | 0 | 0.99997 | 0.00017509 | 1.0477
12 | 8.2112 | 3.6355 | -8.2108 | -3.6366 | 0.0004488 | -0.0011051 | 0.25923 | 0.25925 | 0.25925 | 1 | 0 | 0.99994 | -0.00031494 | 40.6342
13 | 0.072382 | 0.033709 | -0.072382 | -0.034931 | 3.6559e-07 | -0.0012224 | 0.002305 | 0.0023202 | 0.0023202 | 0.99997 | 0.00017509 | 0.99997 | 0.00021703 | 1.0546
14 | 7.8691 | 3.4711 | -7.8682 | -3.4735 | 0.00089031 | -0.002434 | 0.24829 | 0.24833 | 0.24833 | 0.99994 | -0.00031494 | 0.99982 | -0.00097597 | 38.923
15 | 0.31064 | 0.1473 | -0.31064 | -0.14828 | 5.437e-06 | -0.0009769 | 0.0099435 | 0.0099557 | 0.0099557 | 0.9981 | -0.019255 | 0.99808 | -0.019108 | 4.5253
16 | 0.3544 | 0.16942 | -0.35438 | -0.17163 | 1.614e-05 | -0.0022178 | 0.011361 | 0.011388 | 0.011388 | 0.99813 | -0.019535 | 0.99809 | -0.019144 | 5.1766
17 | 0.068769 | 0.031133 | -0.068768 | -0.032397 | 3.4057e-07 | -0.0012639 | 0.0021833 | 0.0021987 | 0.0021987 | 0.99808 | -0.019108 | 0.99808 | -0.01907 | 0.99939
18 | 0.072382 | 0.034931 | -0.072382 | -0.035056 | 3.7637e-08 | -0.000125 | 0.0023202 | 0.0023217 | 0.0023217 | 0.99997 | 0.00021703 | 0.99996 | 0.00022155 | 1.0553
19 | 1.1709 | 0.54509 | -1.1708 | -0.54508 | 9.5737e-05 | 1.4618e-05 | 0.037446 | 0.037446 | 0.037446 | 0.99567 | -0.015546 | 0.99558 | -0.016165 | 17.8316
20 | 7.8682 | 3.4735 | -7.8601 | -3.4958 | 0.0081806 | -0.022295 | 0.24833 | 0.24864 | 0.24864 | 0.99982 | -0.00097597 | 0.99874 | -0.0069541 | 38.9724
21 | 0.068768 | 0.032397 | -0.068768 | -0.033306 | 2.4791e-07 | -0.00090892 | 0.0021987 | 0.00221 | 0.00221 | 0.99808 | -0.01907 | 0.99807 | -0.019039 | 1.0045
22 | -0.30244 | -0.14648 | 0.30245 | 0.14572 | 4.1259e-06 | -0.00076264 | 0.009767 | 0.0097573 | 0.009767 | 0.99323 | -0.036212 | 0.99324 | -0.036331 | 4.4395
23 | -0.30245 | -0.14572 | 0.30257 | 0.12184 | 0.00012515 | -0.023873 | 0.0097573 | 0.0094764 | 0.0097573 | 0.99324 | -0.036331 | 0.99363 | -0.039218 | 4.4351
24 | 0.1676 | 0.070142 | -0.16759 | -0.079275 | 1.4709e-05 | -0.0091335 | 0.0052784 | 0.0053865 | 0.0053865 | 0.99363 | -0.039218 | 0.99355 | -0.038592 | 2.4484
25 | -0.84951 | -0.37563 | 0.84957 | 0.37408 | 6.443e-05 | -0.0015443 | 0.026985 | 0.026967 | 0.026985 | 0.99363 | -0.039218 | 0.9937 | -0.039744 | 12.2661
26 | 0.37934 | 0.18364 | -0.37932 | -0.18371 | 1.8574e-05 | -7.0311e-05 | 0.012244 | 0.012245 | 0.012245 | 0.99363 | -0.039218 | 0.99358 | -0.039541 | 5.8311
27 | 0.16759 | 0.079275 | -0.16758 | -0.081164 | 3.119e-06 | -0.0018886 | 0.0053865 | 0.0054102 | 0.0054102 | 0.99355 | -0.038592 | 0.99353 | -0.038434 | 2.4592
28 | 3.3713 | 1.6025 | -3.3708 | -1.6032 | 0.00053098 | -0.00063972 | 0.10844 | 0.10845 | 0.10845 | 0.9937 | -0.039744 | 0.99356 | -0.038427 | 49.2957
29 | -4.2209 | -1.9766 | 4.2251 | 1.9635 | 0.0042344 | -0.013164 | 0.1354 | 0.1352 | 0.1354 | 0.9937 | -0.039744 | 0.9948 | -0.027467 | 37.4029
30 | -4.7181 | -2.1989 | 4.7279 | 2.1172 | 0.0098042 | -0.081744 | 0.15105 | 0.15 | 0.15105 | 0.9948 | -0.027467 | 0.99695 | -0.017021 | 23.6758
31 | 0.49296 | 0.23545 | -0.49294 | -0.23651 | 1.5061e-05 | -0.0010553 | 0.015853 | 0.015866 | 0.015866 | 0.9948 | -0.027467 | 0.99477 | -0.027207 | 7.2119
32 | 0.077621 | 0.037066 | -0.077621 | -0.037593 | 1.8457e-07 | -0.00052744 | 0.0024907 | 0.0024973 | 0.0024973 | 0.99695 | -0.017021 | 0.99695 | -0.017 | 1.1351
33 | -4.8055 | -2.1542 | 4.8134 | 2.0894 | 0.007911 | -0.064789 | 0.15249 | 0.15168 | 0.15249 | 0.99695 | -0.017021 | 0.99866 | -0.0074027 | 23.9013
34 | 0.40647 | 0.19462 | -0.40646 | -0.19549 | 8.4485e-06 | -0.000871 | 0.013078 | 0.013089 | 0.013089 | 0.99477 | -0.027207 | 0.99475 | -0.02703 | 5.9495
35 | 2.7326 | 1.2941 | -2.7323 | -1.2948 | 0.00035286 | -0.00070237 | 0.087849 | 0.087859 | 0.087859 | 0.99356 | -0.038427 | 0.99344 | -0.037357 | 39.9359
36 | 0.30377 | 0.14652 | -0.30376 | -0.14712 | 3.2665e-06 | -0.00059604 | 0.0098117 | 0.0098193 | 0.0098193 | 0.99226 | -0.026931 | 0.99225 | -0.026838 | 4.4633
37 | -0.6617 | -0.31988 | 0.66171 | 0.31926 | 1.6169e-05 | -0.0006182 | 0.021382 | 0.021374 | 0.021382 | 0.99226 | -0.026931 | 0.99228 | -0.027143 | 9.7191
38 | -0.66171 | -0.31926 | 0.66173 | 0.31875 | 1.3206e-05 | -0.00050527 | 0.021374 | 0.021368 | 0.021374 | 0.99228 | -0.027143 | 0.9923 | -0.027315 | 9.7155
39 | -1.1491 | -0.54603 | 1.1493 | 0.54335 | 0.00021348 | -0.0026841 | 0.037012 | 0.036978 | 0.037012 | 0.9923 | -0.027315 | 0.99247 | -0.028856 | 16.8237
40 | 0.12716 | 0.054414 | -0.12715 | -0.060708 | 5.8945e-06 | -0.0062936 | 0.0040237 | 0.0040992 | 0.0040992 | 0.9923 | -0.027315 | 0.99226 | -0.026971 | 1.8633
41 | 0.36025 | 0.17287 | -0.36024 | -0.17447 | 1.2358e-05 | -0.001604 | 0.011624 | 0.011645 | 0.011645 | 0.9923 | -0.027315 | 0.99227 | -0.027019 | 5.293
42 | -1.4074 | -0.66758 | 1.4083 | 0.66007 | 0.00090412 | -0.0075122 | 0.045307 | 0.045211 | 0.045307 | 0.99247 | -0.028856 | 0.99307 | -0.034121 | 20.5942
43 | 0.25801 | 0.12423 | -0.25801 | -0.12496 | 2.873e-06 | -0.00072785 | 0.0083294 | 0.0083386 | 0.0083386 | 0.99247 | -0.028856 | 0.99246 | -0.02876 | 3.7903
44 | 0.12715 | 0.060708 | -0.12715 | -0.061582 | 8.3633e-07 | -0.00087382 | 0.0040992 | 0.0041102 | 0.0041102 | 0.99226 | -0.026971 | 0.99225 | -0.026914 | 1.8683
45 | 0.10866 | 0.05112 | -0.10865 | -0.052624 | 1.0445e-06 | -0.0015035 | 0.0034906 | 0.0035095 | 0.0035095 | 0.99307 | -0.034121 | 0.99306 | -0.03404 | 1.5952
46 | -1.5169 | -0.71119 | 1.5171 | 0.71023 | 0.00013406 | -0.00095745 | 0.048701 | 0.048689 | 0.048701 | 0.99307 | -0.034121 | 0.99315 | -0.034835 | 22.137
47 | -1.7717 | -0.8327 | 1.7721 | 0.83097 | 0.00033504 | -0.001727 | 0.056902 | 0.05688 | 0.056902 | 0.99315 | -0.034835 | 0.99332 | -0.036369 | 25.8647
48 | 0.25467 | 0.12246 | -0.25467 | -0.12334 | 3.3701e-06 | -0.00087898 | 0.0082138 | 0.0082249 | 0.0082249 | 0.99315 | -0.034835 | 0.99313 | -0.03472 | 3.7386
49 | -1.7721 | -0.83097 | 1.7723 | 0.82985 | 0.00021672 | -0.0011182 | 0.05688 | 0.056865 | 0.05688 | 0.99332 | -0.036369 | 0.99344 | -0.037357 | 25.8545
50 | -0.40645 | -0.19685 | 0.40645 | 0.19606 | 7.725e-06 | -0.0007942 | 0.013106 | 0.013096 | 0.013106 | 0.99472 | -0.026749 | 0.99474 | -0.026914 | 5.9573
51 | -0.40645 | -0.19606 | 0.40646 | 0.19549 | 5.4627e-06 | -0.00056237 | 0.013096 | 0.013089 | 0.013096 | 0.99474 | -0.026914 | 0.99475 | -0.02703 | 5.9527
52 | -4.8134 | -2.0894 | 4.8136 | 2.0881 | 0.000158 | -0.0013039 | 0.15168 | 0.15167 | 0.15168 | 0.99866 | -0.0074027 | 0.9987 | -0.0071983 | 23.7745
53 | -5.0937 | -2.2238 | 5.0939 | 2.2223 | 0.00020406 | -0.0014888 | 0.16065 | 0.16064 | 0.16065 | 0.9987 | -0.0071983 | 0.99874 | -0.0069541 | 25.181
54 | -0.2698 | -0.13067 | 0.2698 | 0.1306 | 8.2455e-06 | -6.8199e-05 | 0.0086661 | 0.0086652 | 0.0086661 | 0.99857 | -0.00597 | 0.9986 | -0.0057683 | 4.1267
55 | -0.2698 | -0.1306 | 0.26984 | 0.12095 | 4.0098e-05 | -0.0096467 | 0.0086652 | 0.0085472 | 0.0086652 | 0.9986 | -0.0057683 | 0.99874 | -0.0069541 | 3.9387
56 | 2.4963 | 1.1526 | -2.4946 | -1.1569 | 0.0017148 | -0.0043282 | 0.079472 | 0.079531 | 0.079531 | 0.99874 | -0.0069541 | 0.9981 | -0.0015676 | 36.1504
57 | 2.2366 | 1.0331 | -2.2364 | -1.033 | 0.00019901 | 9.8493e-05 | 0.071257 | 0.071257 | 0.071257 | 0.9981 | -0.0015676 | 0.998 | -0.0022587 | 33.9321
58 | 0.25794 | 0.12377 | -0.2579 | -0.12409 | 3.4319e-05 | -0.00031285 | 0.0082746 | 0.0082788 | 0.0082788 | 0.9981 | -0.0015676 | 0.99796 | -0.0024711 | 3.9423
59 | 1.9851 | 0.91127 | -1.9838 | -0.9107 | 0.0012277 | 0.00056388 | 0.06318 | 0.063182 | 0.063182 | 0.998 | -0.0022587 | 0.99735 | -0.0071569 | 30.0868
60 | 0.2579 | 0.12409 | -0.2579 | -0.12491 | 3.1677e-06 | -0.00082124 | 0.0082788 | 0.0082892 | 0.0082892 | 0.99796 | -0.0024711 | 0.99794 | -0.0023649 | 3.7678
61 | 1.9838 | 0.9107 | -1.9836 | -0.91156 | 0.00020574 | -0.00085557 | 0.063182 | 0.063193 | 0.063193 | 0.99735 | -0.0071569 | 0.99725 | -0.0063586 | 28.7243
62 | 0.35684 | 0.16648 | -0.35683 | -0.16656 | 6.2638e-07 | -8.5034e-05 | 0.011416 | 0.011417 | 0.011417 | 0.99572 | -0.0030964 | 0.99572 | -0.0030824 | 5.1894
63 | -0.69493 | -0.33023 | 0.69514 | 0.33008 | 0.00020495 | -0.00014539 | 0.022306 | 0.022303 | 0.022306 | 0.99572 | -0.0030964 | 0.99603 | -0.00101 | 10.622
64 | 0.35683 | 0.16656 | -0.35679 | -0.17274 | 4.5785e-05 | -0.0061728 | 0.011417 | 0.011494 | 0.011494 | 0.99572 | -0.0030824 | 0.9956 | -0.00201 | 5.2244
65 | 0.10575 | 0.050847 | -0.10575 | -0.051217 | 2.4189e-07 | -0.00037051 | 0.0034008 | 0.0034055 | 0.0034055 | 0.99603 | -0.00101 | 0.99603 | -0.00099027 | 1.5479
66 | -0.80089 | -0.38093 | 0.80107 | 0.37597 | 0.00018619 | -0.0049585 | 0.025703 | 0.025641 | 0.025703 | 0.99603 | -0.00101 | 0.99625 | -0.0029248 | 11.6834
67 | 0.35679 | 0.17274 | -0.35678 | -0.17279 | 1.31e-05 | -5.7646e-05 | 0.011494 | 0.011495 | 0.011495 | 0.9956 | -0.00201 | 0.99556 | -0.0022522 | 5.4736
68 | -1.4644 | -0.66765 | 1.4644 | 0.66755 | 1.2565e-05 | -9.8835e-05 | 0.046634 | 0.046633 | 0.046634 | 0.99625 | -0.0029248 | 0.99626 | -0.0029896 | 21.1972
69 | 0.66329 | 0.29168 | -0.66296 | -0.30456 | 0.00032472 | -0.012879 | 0.020996 | 0.02115 | 0.02115 | 0.99625 | -0.0029248 | 0.99579 | 0.00064485 | 9.6137
70 | 1.7828 | 0.82177 | -1.7826 | -0.82169 | 0.0002021 | 8.5038e-05 | 0.056876 | 0.056877 | 0.056877 | 0.99638 | -0.0021033 | 0.99626 | -0.0029896 | 27.0842
71 | -1.7828 | -0.82177 | 1.7831 | 0.82191 | 0.00031455 | 0.00013233 | 0.056876 | 0.056875 | 0.056876 | 0.99638 | -0.0021033 | 0.99656 | -0.00072416 | 27.0839
72 | -1.7831 | -0.82191 | 1.7844 | 0.81548 | 0.0012349 | -0.0064286 | 0.056875 | 0.056793 | 0.056875 | 0.99656 | -0.00072416 | 0.99721 | -0.0060431 | 25.8525
73 | -1.7844 | -0.81548 | 1.7845 | 0.81509 | 7.4113e-05 | -0.00038672 | 0.056793 | 0.056788 | 0.056793 | 0.99721 | -0.0060431 | 0.99725 | -0.0063586 | 25.8152
74 | -0.32978 | -0.15972 | 0.32979 | 0.15823 | 9.4875e-06 | -0.0014909 | 0.010623 | 0.010604 | 0.010623 | 0.99576 | 0.00089286 | 0.99579 | 0.00064485 | 4.8285
75 | 0.33318 | 0.14633 | -0.33308 | -0.1613 | 9.5717e-05 | -0.014966 | 0.010549 | 0.010731 | 0.010731 | 0.99579 | 0.00064485 | 0.99552 | 0.0028852 | 4.8779
76 | 0.33308 | 0.1613 | -0.33308 | -0.16132 | 3.8049e-06 | -1.9556e-05 | 0.010731 | 0.010732 | 0.010732 | 0.99552 | 0.0028852 | 0.99551 | 0.0028099 | 5.1103
77 | 0.39183 | 0.18927 | -0.39183 | -0.18977 | 4.4933e-06 | -0.00049822 | 0.012621 | 0.012627 | 0.012627 | 0.99532 | -0.017849 | 0.99531 | -0.01775 | 5.7396
78 | -0.39183 | -0.18927 | 0.39193 | 0.18892 | 9.876e-05 | -0.00034998 | 0.012621 | 0.012616 | 0.012621 | 0.99532 | -0.017849 | 0.99558 | -0.016165 | 6.0099
79 | 0.40527 | 0.17522 | -0.40527 | -0.17534 | 1.0696e-06 | -0.00011536 | 0.012802 | 0.012804 | 0.012804 | 0.99558 | -0.016165 | 0.99558 | -0.016148 | 5.8198
80 | 0.31331 | 0.14042 | -0.31325 | -0.15162 | 6.3603e-05 | -0.011202 | 0.0099553 | 0.010093 | 0.010093 | 0.99558 | -0.016148 | 0.99539 | -0.014528 | 4.5876
81 | 0.091957 | 0.03492 | -0.091953 | -0.044197 | 4.41e-06 | -0.0092771 | 0.0028521 | 0.0029584 | 0.0029584 | 0.99558 | -0.016148 | 0.99554 | -0.015838 | 1.3447
82 | 0.31325 | 0.15162 | -0.31325 | -0.15171 | 5.4063e-07 | -9.3875e-05 | 0.010093 | 0.010094 | 0.010094 | 0.99539 | -0.014528 | 0.99539 | -0.014513 | 4.5882
83 | 0.091953 | 0.044197 | -0.091953 | -0.044535 | 1.6689e-07 | -0.00033746 | 0.0029584 | 0.0029626 | 0.0029626 | 0.99554 | -0.015838 | 0.99554 | -0.015822 | 1.3466

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.0067 | 5.8875

## res_load
| p_mw | q_mvar
0 | 0.30415 | 0.14731
1 | 0.12921 | 0.062582
2 | 0.62393 | 0.30219
3 | 0.54831 | 0.26556
4 | 0.35789 | 0.17334
5 | 0.63316 | 0.30665
6 | 0.34162 | 0.16545
7 | 0.26054 | 0.12618
8 | 0.24187 | 0.11714
9 | 0.072382 | 0.035056
10 | 0.35438 | 0.17163
11 | 0.30244 | 0.14648
12 | 0.37932 | 0.18371
13 | 0.16758 | 0.081164
14 | 0.086476 | 0.041882
15 | 0.63818 | 0.30908
16 | 0.35793 | 0.17335
17 | 0.30376 | 0.14712
18 | 0.36024 | 0.17447
19 | 0.25801 | 0.12496
20 | 0.25467 | 0.12334
21 | 0.10865 | 0.052624
22 | 0.12715 | 0.061582
23 | 0.40645 | 0.19685
24 | 0.28012 | 0.13567
25 | 0.077621 | 0.037593
26 | 0.96 | 0.46495
27 | 0.2698 | 0.13067
28 | 0.25138 | 0.12175
29 | 0.2579 | 0.12491
30 | 0.33809 | 0.16375
31 | 0.10575 | 0.051217
32 | 0.35678 | 0.17279
33 | 0.31826 | 0.15414
34 | 0.32978 | 0.15972
35 | 0.33308 | 0.16132
36 | 0.19918 | 0.096468
37 | 0.39183 | 0.18977
38 | 0.37358 | 0.18093
39 | 0.091953 | 0.044535
40 | 0.31325 | 0.15171
41 | 0.068768 | 0.033306

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1