## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_588_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_588_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_588_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_588_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_588_0_node_5 | 20 | n |  | TRUE
5 | bus_MV_588_0_node_10 | 20 | n |  | TRUE
6 | bus_MV_588_0_node_9 | 20 | n |  | TRUE
7 | bus_MV_588_0_node_4 | 20 | n |  | TRUE
8 | bus_MV_588_0_node_62 | 20 | n |  | TRUE
9 | bus_MV_588_0_node_11 | 20 | n |  | TRUE
10 | bus_MV_588_0_node_20 | 20 | n |  | TRUE
11 | bus_MV_588_0_node_64 | 20 | n |  | TRUE
12 | bus_MV_588_0_node_66 | 20 | n |  | TRUE
13 | bus_MV_588_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_588_0_node_8 | 20 | n |  | TRUE
15 | bus_MV_588_0_node_18 | 20 | n |  | TRUE
16 | bus_MV_588_0_node_15 | 20 | n |  | TRUE
17 | bus_MV_588_0_node_12 | 20 | n |  | TRUE
18 | bus_MV_588_0_node_14 | 20 | n |  | TRUE
19 | bus_MV_588_0_node_16 | 20 | n |  | TRUE
20 | bus_MV_588_0_node_19 | 20 | n |  | TRUE
21 | bus_MV_588_0_node_61 | 20 | n |  | TRUE
22 | bus_MV_588_0_node_43 | 20 | n |  | TRUE
23 | bus_MV_588_0_node_33 | 20 | n |  | TRUE
24 | bus_MV_588_0_node_32 | 20 | n |  | TRUE
25 | bus_MV_588_0_node_21 | 20 | n |  | TRUE
26 | bus_MV_588_0_node_22 | 20 | n |  | TRUE
27 | bus_MV_588_0_node_23 | 20 | n |  | TRUE
28 | bus_MV_588_0_node_24 | 20 | n |  | TRUE
29 | bus_MV_588_0_node_34 | 20 | n |  | TRUE
30 | bus_MV_588_0_node_59 | 20 | n |  | TRUE
31 | bus_MV_588_0_node_26 | 20 | n |  | TRUE
32 | bus_MV_588_0_node_60 | 20 | n |  | TRUE
33 | bus_MV_588_0_node_25 | 20 | n |  | TRUE
34 | bus_MV_588_0_node_47 | 20 | n |  | TRUE
35 | bus_MV_588_0_node_45 | 20 | n |  | TRUE
36 | bus_MV_588_0_node_39 | 20 | n |  | TRUE
37 | bus_MV_588_0_node_65 | 20 | n |  | TRUE
38 | bus_MV_588_0_node_30 | 20 | n |  | TRUE
39 | bus_MV_588_0_node_36 | 20 | n |  | TRUE
40 | bus_MV_588_0_node_37 | 20 | n |  | TRUE
41 | bus_MV_588_0_node_38 | 20 | n |  | TRUE
42 | bus_MV_588_0_node_63 | 20 | n |  | TRUE
43 | bus_MV_588_0_node_46 | 20 | n |  | TRUE
44 | bus_MV_588_0_node_44 | 20 | n |  | TRUE
45 | bus_MV_588_0_node_40 | 20 | n |  | TRUE
46 | bus_MV_588_0_node_27 | 20 | n |  | TRUE
47 | bus_MV_588_0_node_29 | 20 | n |  | TRUE
48 | bus_MV_588_0_node_28 | 20 | n |  | TRUE
49 | bus_MV_588_0_node_31 | 20 | n |  | TRUE
50 | bus_MV_588_0_node_35 | 20 | n |  | TRUE
51 | bus_MV_588_0_node_56 | 20 | n |  | TRUE
52 | bus_MV_588_0_node_54 | 20 | n |  | TRUE
53 | bus_MV_588_0_node_58 | 20 | n |  | TRUE
54 | bus_MV_588_0_node_55 | 20 | n |  | TRUE
55 | bus_MV_588_0_node_41 | 20 | n |  | TRUE
56 | bus_MV_588_0_node_42 | 20 | n |  | TRUE
57 | bus_MV_588_0_node_48 | 20 | n |  | TRUE
58 | bus_MV_588_0_node_49 | 20 | n |  | TRUE
59 | bus_MV_588_0_node_53 | 20 | n |  | TRUE
60 | bus_MV_588_0_node_57 | 20 | n |  | TRUE
61 | bus_MV_588_0_node_52 | 20 | n |  | TRUE
62 | bus_MV_588_0_node_50 | 20 | n |  | TRUE
63 | bus_MV_588_0_node_51 | 20 | n |  | TRUE
64 | bus_HV_588_0_node_49 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_588_0_load_0 | 0 | 0.30958 | 0.14994 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_588_0_load_9 | 6 | 0.2526 | 0.12234 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_588_0_load_62 | 8 | 0.28622 | 0.13862 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_588_0_load_11 | 9 | 0.40172 | 0.19456 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_588_0_load_20 | 10 | 0.26896 | 0.13026 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_588_0_load_64 | 11 | 0.2242 | 0.10859 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_588_0_load_66 | 12 | 0.19901 | 0.096384 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_588_0_load_6 | 13 | 0.33892 | 0.16415 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_588_0_load_18 | 15 | 0.37515 | 0.18169 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_588_0_load_12 | 17 | 0.18224 | 0.088263 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_588_0_load_61 | 21 | 0.36028 | 0.17449 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_588_0_load_43 | 22 | 0.30477 | 0.14761 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_588_0_load_21 | 25 | 0.25511 | 0.12355 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_588_0_load_59 | 30 | 0.078614 | 0.038075 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_588_0_load_60 | 32 | 0.35902 | 0.17388 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_588_0_load_47 | 34 | 0.16425 | 0.079551 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_588_0_load_39 | 36 | 0.18799 | 0.091047 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_588_0_load_65 | 37 | 0.36899 | 0.17871 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_588_0_load_36 | 39 | 0.28375 | 0.13743 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_588_0_load_63 | 42 | 0.14637 | 0.070888 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_588_0_load_44 | 44 | 0.068792 | 0.033318 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_588_0_load_27 | 46 | 0.24771 | 0.11997 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_588_0_load_29 | 47 | 0.17805 | 0.086233 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_588_0_load_35 | 50 | 0.22501 | 0.10898 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_588_0_load_54 | 52 | 0.1036 | 0.050175 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_588_0_load_58 | 53 | 0.1227 | 0.059428 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_588_0_load_55 | 54 | 0.39611 | 0.19184 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_588_0_load_42 | 56 | 0.18843 | 0.091263 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_588_0_load_48 | 57 | 0.90032 | 0.43604 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_588_0_load_53 | 59 | 1.4867 | 0.72006 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_588_0_load_57 | 60 | 0.19956 | 0.096653 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_588_0_load_50 | 62 | 0.16153 | 0.078231 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_588_0_line_0 |  | 0 | 1 | 0.047658 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_588_0_line_1 |  | 1 | 2 | 0.29514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_588_0_line_2 |  | 2 | 3 | 0.28836 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_588_0_line_3 |  | 2 | 4 | 0.17763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_588_0_line_4 |  | 2 | 5 | 0.67707 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_588_0_line_5 |  | 2 | 6 | 0.004307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_588_0_line_6 |  | 3 | 7 | 0.25751 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_588_0_line_7 |  | 3 | 8 | 0.040856 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_588_0_line_8 |  | 4 | 10 | 0.040338 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_588_0_line_9 |  | 5 | 11 | 0.015383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_588_0_line_10 |  | 7 | 9 | 0.028927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_588_0_line_11 |  | 9 | 12 | 0.42611 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_588_0_line_12 |  | 9 | 13 | 0.27897 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_588_0_line_13 |  | 12 | 14 | 0.015815 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_588_0_line_14 |  | 14 | 15 | 0.41173 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_588_0_line_15 |  | 15 | 16 | 0.052687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_588_0_line_16 |  | 16 | 20 | 0.18567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_588_0_line_17 |  | 16 | 17 | 0.13573 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_588_0_line_18 |  | 17 | 18 | 0.046927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_588_0_line_19 |  | 18 | 19 | 0.30983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_588_0_line_20 |  | 19 | 21 | 0.041477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_588_0_line_21 |  | 20 | 22 | 0.051317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_588_0_line_22 |  | 21 | 23 | 0.037348 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_588_0_line_23 |  | 23 | 24 | 0.76277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_588_0_line_24 |  | 24 | 51 | 0.18483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_588_0_line_25 |  | 24 | 52 | 0.055349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_588_0_line_26 |  | 24 | 38 | 0.33689 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_588_0_line_27 |  | 25 | 26 | 0.064851 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_588_0_line_28 |  | 26 | 27 | 0.45994 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_588_0_line_29 |  | 26 | 28 | 0.53543 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
30 | MV_588_0_line_30 |  | 27 | 29 | 0.048182 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_588_0_line_31 |  | 27 | 30 | 0.049028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_588_0_line_32 |  | 28 | 31 | 0.62886 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_588_0_line_33 |  | 28 | 32 | 0.076049 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_588_0_line_34 |  | 29 | 37 | 0.031091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_588_0_line_35 |  | 29 | 38 | 0.44891 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
36 | MV_588_0_line_36 |  | 31 | 36 | 0.004585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_588_0_line_37 |  | 31 | 33 | 0.33766 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
38 | MV_588_0_line_38 |  | 32 | 41 | 0.021483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_588_0_line_39 |  | 33 | 34 | 0.041448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_588_0_line_40 |  | 33 | 35 | 0.007158 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_588_0_line_41 |  | 35 | 43 | 0.059215 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_588_0_line_42 |  | 35 | 44 | 0.02161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_588_0_line_43 |  | 36 | 45 | 0.083678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_588_0_line_44 |  | 38 | 46 | 0.12727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_588_0_line_45 |  | 39 | 40 | 0.038244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_588_0_line_46 |  | 40 | 41 | 0.15518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_588_0_line_47 |  | 41 | 42 | 0.08404 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_588_0_line_48 |  | 43 | 57 | 0.048874 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_588_0_line_49 |  | 43 | 58 | 0.15606 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_588_0_line_50 |  | 45 | 55 | 1.3497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_588_0_line_51 |  | 46 | 47 | 0.0041587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_588_0_line_52 |  | 47 | 48 | 0.12062 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_588_0_line_53 |  | 48 | 49 | 0.062832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_588_0_line_54 |  | 49 | 50 | 0.025672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_588_0_line_55 |  | 51 | 53 | 0.031167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_588_0_line_56 |  | 52 | 54 | 0.013549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_588_0_line_57 |  | 55 | 56 | 0.14121 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_588_0_line_58 |  | 57 | 59 | 0.031463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_588_0_line_59 |  | 58 | 60 | 0.06233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_588_0_line_60 |  | 59 | 61 | 0.0059813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_588_0_line_61 |  | 61 | 63 | 0.056925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_588_0_line_62 |  | 62 | 63 | 0.0081393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_588_0_trafo_49 | 25 MVA 110/20 kV | 64 | 58 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2728417.3963 | 1256207.1325
1 | 2728464.4164 | 1256212.902
2 | 2728541.8297 | 1256301.1168
3 | 2728488.3253 | 1256401.1453
4 | 2728638.9529 | 1256374.8033
5 | 2728669.0074 | 1256011.3635
6 | 2728542.2849 | 1256296.834
7 | 2728278.2941 | 1256351.0463
8 | 2728517.7738 | 1256429.4654
9 | 2728277.1145 | 1256379.702
10 | 2728678.9074 | 1256380.3543
11 | 2728684.1188 | 1256013.8275
12 | 2728061.3758 | 1256747.1613
13 | 2728076.5177 | 1256573.5776
14 | 2728076.4909 | 1256751.8147
15 | 2728486.4355 | 1256713.5626
16 | 2728538.2613 | 1256706.9816
17 | 2728673.7115 | 1256715.6315
18 | 2728676.2696 | 1256668.7783
19 | 2728859.428 | 1256514.3229
20 | 2728541.1876 | 1256883.7151
21 | 2728894.6156 | 1256492.7694
22 | 2728587.3916 | 1256906.0225
23 | 2728905.256 | 1256456.9689
24 | 2729452.55 | 1256533.4895
25 | 2729731.0877 | 1257007.0804
26 | 2729793.24 | 1257025.5927
27 | 2729573.6447 | 1256960.6906
28 | 2729861.0531 | 1257069.7086
29 | 2729555.7429 | 1256915.9584
30 | 2729527.7743 | 1256978
31 | 2729314.9336 | 1257287.6403
32 | 2729933.3197 | 1257093.3934
33 | 2729306.9477 | 1257027.0195
34 | 2729267.6035 | 1257037.3648
35 | 2729304.1955 | 1257020.409
36 | 2729313.3531 | 1257283.3352
37 | 2729526.5582 | 1256926.9075
38 | 2729688.2065 | 1256636.3394
39 | 2729966.3284 | 1257303.2079
40 | 2729958.3171 | 1257265.8092
41 | 2729941.2143 | 1257113.1178
42 | 2730024.8768 | 1257121.073
43 | 2729280.5572 | 1256966.0882
44 | 2729324.2498 | 1257012.3573
45 | 2729242.948 | 1257313.247
46 | 2729781.9851 | 1256550.2974
47 | 2729784.7967 | 1256553.3617
48 | 2729877.6162 | 1256630.3859
49 | 2729922.5023 | 1256587.1428
50 | 2729926.978 | 1256562.3186
51 | 2729314.3138 | 1256554.7879
52 | 2729442.9677 | 1256574.9686
53 | 2729339.9768 | 1256537.1018
54 | 2729450.8197 | 1256586.0102
55 | 2728285.5639 | 1257931.2354
56 | 2728345.0311 | 1257803.1535
57 | 2729325.4312 | 1256946.7241
58 | 2729198.8137 | 1256909.1747
59 | 2729354.3191 | 1256934.2583
60 | 2729205.9886 | 1256970.5621
61 | 2729359.8109 | 1256931.8885
62 | 2729346.0204 | 1256876.3254
63 | 2729338.379 | 1256879.1282
64 | 2729198.8137 | 1256909.1747

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98316 | -0.015558 | 0.30958 | 0.14994
1 | 0.98318 | -0.015739 | 0 | 0
2 | 0.9833 | -0.016782 | 0 | 0
3 | 0.98369 | -0.019948 | 0 | 0
4 | 0.98324 | -0.016215 | 0 | 0
5 | 0.9831 | -0.015268 | 0 | 0
6 | 0.9833 | -0.016768 | 0.2526 | 0.12234
7 | 0.98413 | -0.023576 | 0 | 0
8 | 0.98366 | -0.020094 | 0.28622 | 0.13862
9 | 0.98418 | -0.023977 | 0.40172 | 0.19456
10 | 0.98321 | -0.016351 | 0.26896 | 0.13026
11 | 0.9831 | -0.015225 | 0.2242 | 0.10859
12 | 0.98591 | -0.011342 | 0.19901 | 0.096384
13 | 0.984 | -0.025161 | 0.33892 | 0.16415
14 | 0.98598 | -0.010834 | 0 | 0
15 | 0.98781 | 0.0023638 | 0.37515 | 0.18169
16 | 0.98799 | 0.00078876 | 0 | 0
17 | 0.98877 | 0.0063536 | 0.18224 | 0.088263
18 | 0.98896 | 0.0046926 | 0 | 0
19 | 0.99022 | -0.0061742 | 0 | 0
20 | 0.98792 | 0.0014416 | 0 | 0
21 | 0.99038 | -0.0076158 | 0.36028 | 0.17449
22 | 0.9879 | 0.0016313 | 0.30477 | 0.14761
23 | 0.99064 | -0.0058051 | 0 | 0
24 | 0.99407 | -0.035091 | 0 | 0
25 | 0.99637 | -0.019103 | 0.25511 | 0.12355
26 | 0.9964 | -0.018902 | 0 | 0
27 | 0.99562 | -0.022756 | 0 | 0
28 | 0.99736 | -0.014015 | 0 | 0
29 | 0.99553 | -0.023144 | 0 | 0
30 | 0.99561 | -0.022712 | 0.078614 | 0.038075
31 | 0.99865 | -0.0073211 | 0 | 0
32 | 0.99724 | -0.014778 | 0.35902 | 0.17388
33 | 0.99937 | -0.0032631 | 0 | 0
34 | 0.99936 | -0.0031828 | 0.16425 | 0.079551
35 | 0.99939 | -0.0031745 | 0 | 0
36 | 0.99864 | -0.0073104 | 0.18799 | 0.091047
37 | 0.99552 | -0.023006 | 0.36899 | 0.17871
38 | 0.99483 | -0.026455 | 0 | 0
39 | 0.99716 | -0.014042 | 0.28375 | 0.13743
40 | 0.99718 | -0.014172 | 0 | 0
41 | 0.99723 | -0.014674 | 0 | 0
42 | 0.99721 | -0.014824 | 0.14637 | 0.070888
43 | 0.99952 | -0.0024348 | 0 | 0
44 | 0.99939 | -0.0031571 | 0.068792 | 0.033318
45 | 0.99862 | -0.0072993 | 0 | 0
46 | 0.99472 | -0.025485 | 0.24771 | 0.11997
47 | 0.99472 | -0.025465 | 0.17805 | 0.086233
48 | 0.99467 | -0.025819 | 0 | 0
49 | 0.99465 | -0.025653 | 0 | 0
50 | 0.99464 | -0.025584 | 0.22501 | 0.10898
51 | 0.99404 | -0.034851 | 0 | 0
52 | 0.99404 | -0.03476 | 0.1036 | 0.050175
53 | 0.99404 | -0.034806 | 0.1227 | 0.059428
54 | 0.99403 | -0.034695 | 0.39611 | 0.19184
55 | 0.99831 | -0.0056472 | 0 | 0
56 | 0.99826 | -0.0059709 | 0.18843 | 0.091263
57 | 0.99936 | -0.00095243 | 0.90032 | 0.43604
58 | 1 | 0 | -9.7058 | -4.3889
59 | 0.9993 | -0.00033532 | 1.4867 | 0.72006
60 | 0.99998 | 0.00014586 | 0.19956 | 0.096653
61 | 0.9993 | -0.00032437 | 0 | 0
62 | 0.99928 | -0.00020167 | 0.16153 | 0.078231
63 | 0.99928 | -0.00021737 | 0 | 0
64 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.30958 | -0.14994 | 0.30959 | 0.14884 | 6.4812e-06 | -0.001098 | 0.0101 | 0.010086 | 0.0101 | 0.98316 | -0.015558 | 0.98318 | -0.015739 | 4.5909
1 | -0.30959 | -0.14884 | 0.30963 | 0.14204 | 3.9741e-05 | -0.0068007 | 0.010086 | 0.010001 | 0.010086 | 0.98318 | -0.015739 | 0.9833 | -0.016782 | 4.5845
2 | -1.0555 | -0.48302 | 1.0559 | 0.4765 | 0.00044596 | -0.0065271 | 0.034077 | 0.033996 | 0.034077 | 0.9833 | -0.016782 | 0.98369 | -0.019948 | 15.4895
3 | 0.26899 | 0.12613 | -0.26897 | -0.13022 | 1.8145e-05 | -0.0040949 | 0.0087219 | 0.0087736 | 0.0087736 | 0.9833 | -0.016782 | 0.98324 | -0.016215 | 3.988
4 | 0.22425 | 0.092619 | -0.2242 | -0.10823 | 4.7036e-05 | -0.015613 | 0.007123 | 0.0073104 | 0.0073104 | 0.9833 | -0.016782 | 0.9831 | -0.015268 | 3.3229
5 | 0.2526 | 0.12224 | -0.2526 | -0.12234 | 3.9034e-07 | -9.9312e-05 | 0.0082385 | 0.0082398 | 0.0082398 | 0.9833 | -0.016782 | 0.9833 | -0.016768 | 3.7454
6 | -1.3421 | -0.61508 | 1.3428 | 0.60931 | 0.00064424 | -0.0057611 | 0.043326 | 0.043253 | 0.043326 | 0.98369 | -0.019948 | 0.98413 | -0.023576 | 19.6935
7 | 0.28622 | 0.13858 | -0.28622 | -0.13862 | 6.3401e-06 | -4.3224e-05 | 0.0093323 | 0.0093329 | 0.0093329 | 0.98369 | -0.019948 | 0.98366 | -0.020094 | 4.4442
8 | 0.26897 | 0.13022 | -0.26896 | -0.13026 | 5.5327e-06 | -4.3088e-05 | 0.0087736 | 0.0087742 | 0.0087742 | 0.98324 | -0.016215 | 0.98321 | -0.016351 | 4.1782
9 | 0.2242 | 0.10823 | -0.2242 | -0.10859 | 1.0982e-06 | -0.00035465 | 0.0073104 | 0.007315 | 0.007315 | 0.9831 | -0.015268 | 0.9831 | -0.015225 | 3.325
10 | -1.3428 | -0.60931 | 1.3429 | 0.60867 | 7.2234e-05 | -0.00064753 | 0.043253 | 0.043245 | 0.043253 | 0.98413 | -0.023576 | 0.98418 | -0.023977 | 19.6606
11 | -2.0836 | -0.96709 | 2.087 | 0.96876 | 0.0034461 | 0.0016649 | 0.067376 | 0.06737 | 0.067376 | 0.98418 | -0.023977 | 0.98591 | -0.011342 | 32.0838
12 | 0.33898 | 0.16386 | -0.33892 | -0.16415 | 6.0642e-05 | -0.00028454 | 0.011044 | 0.011048 | 0.011048 | 0.98418 | -0.023977 | 0.984 | -0.025161 | 5.2608
13 | -2.286 | -1.0651 | 2.2862 | 1.0652 | 0.00015365 | 7.7888e-05 | 0.073844 | 0.073843 | 0.073844 | 0.98591 | -0.011342 | 0.98598 | -0.010834 | 35.1636
14 | -2.2862 | -1.0652 | 2.2902 | 1.0672 | 0.0039997 | 0.0020266 | 0.073843 | 0.073837 | 0.073843 | 0.98598 | -0.010834 | 0.98781 | 0.0023638 | 35.1635
15 | -2.6653 | -1.2489 | 2.6658 | 1.2479 | 0.00052034 | -0.0010734 | 0.086018 | 0.086002 | 0.086018 | 0.98781 | 0.0023638 | 0.98799 | 0.00078876 | 39.0989
16 | 0.3048 | 0.14209 | -0.30478 | -0.14641 | 2.4063e-05 | -0.0043198 | 0.009826 | 0.0098801 | 0.0098801 | 0.98799 | 0.00078876 | 0.98792 | 0.0014416 | 4.4909
17 | -2.9706 | -1.39 | 2.9729 | 1.3912 | 0.0022206 | 0.0012326 | 0.095828 | 0.095826 | 0.095828 | 0.98799 | 0.00078876 | 0.98877 | 0.0063536 | 45.6326
18 | -3.1551 | -1.4795 | 3.1557 | 1.4786 | 0.00064835 | -0.00090331 | 0.10174 | 0.10172 | 0.10174 | 0.98877 | 0.0063536 | 0.98896 | 0.0046926 | 46.2444
19 | -3.1557 | -1.4786 | 3.16 | 1.4726 | 0.0042763 | -0.0059758 | 0.10172 | 0.10163 | 0.10172 | 0.98896 | 0.0046926 | 0.99022 | -0.0061742 | 46.2383
20 | -3.16 | -1.4726 | 3.1606 | 1.4718 | 0.0005719 | -0.00080155 | 0.10163 | 0.10162 | 0.10163 | 0.99022 | -0.0061742 | 0.99038 | -0.0076158 | 46.1976
21 | 0.30478 | 0.14641 | -0.30477 | -0.14761 | 6.6977e-06 | -0.0011938 | 0.0098801 | 0.0098953 | 0.0098953 | 0.98792 | 0.0014416 | 0.9879 | 0.0016313 | 4.4978
22 | -3.5209 | -1.6463 | 3.5217 | 1.6468 | 0.00085405 | 0.00049121 | 0.11329 | 0.11329 | 0.11329 | 0.99038 | -0.0076158 | 0.99064 | -0.0058051 | 53.9474
23 | -3.5217 | -1.6468 | 3.5348 | 1.6327 | 0.013044 | -0.014065 | 0.11329 | 0.11307 | 0.11329 | 0.99064 | -0.0058051 | 0.99407 | -0.035091 | 51.495
24 | 0.12271 | 0.054334 | -0.12271 | -0.058693 | 3.7977e-06 | -0.0043595 | 0.0038971 | 0.0039501 | 0.0039501 | 0.99407 | -0.035091 | 0.99404 | -0.034851 | 1.7955
25 | 0.49973 | 0.2404 | -0.49971 | -0.2417 | 1.9182e-05 | -0.0013002 | 0.016104 | 0.01612 | 0.01612 | 0.99407 | -0.035091 | 0.99404 | -0.03476 | 7.3274
26 | -4.1572 | -1.9274 | 4.1601 | 1.9181 | 0.0028782 | -0.0093378 | 0.13307 | 0.13293 | 0.13307 | 0.99407 | -0.035091 | 0.99483 | -0.026455 | 36.759
27 | -0.25511 | -0.12355 | 0.25511 | 0.12348 | 7.7917e-06 | -7.198e-05 | 0.0082124 | 0.0082114 | 0.0082124 | 0.99637 | -0.019103 | 0.9964 | -0.018902 | 3.9106
28 | 5.2662 | 2.3876 | -5.2622 | -2.414 | 0.0039966 | -0.026418 | 0.16752 | 0.16786 | 0.16786 | 0.9964 | -0.018902 | 0.99562 | -0.022756 | 26.3111
29 | -5.5213 | -2.5111 | 5.5264 | 2.4805 | 0.0050975 | -0.030562 | 0.17573 | 0.17533 | 0.17573 | 0.9964 | -0.018902 | 0.99736 | -0.014015 | 27.5437
30 | 5.1836 | 2.3771 | -5.1832 | -2.3798 | 0.00040713 | -0.0027714 | 0.16535 | 0.16538 | 0.16538 | 0.99562 | -0.022756 | 0.99553 | -0.023144 | 25.9221
31 | 0.078615 | 0.036914 | -0.078614 | -0.038075 | 4.1742e-07 | -0.0011602 | 0.0025182 | 0.0025327 | 0.0025327 | 0.99562 | -0.022756 | 0.99561 | -0.022712 | 1.1512
32 | -6.3157 | -2.8575 | 6.3235 | 2.8225 | 0.0078043 | -0.03496 | 0.20064 | 0.20017 | 0.20064 | 0.99736 | -0.014015 | 0.99865 | -0.0073211 | 31.4483
33 | 0.78925 | 0.37697 | -0.78917 | -0.377 | 8.6844e-05 | -3.5902e-05 | 0.025316 | 0.025317 | 0.025317 | 0.99736 | -0.014015 | 0.99724 | -0.014778 | 12.0558
34 | 0.369 | 0.17798 | -0.36899 | -0.17871 | 5.8619e-06 | -0.00073397 | 0.011879 | 0.011889 | 0.011889 | 0.99553 | -0.023144 | 0.99552 | -0.023006 | 5.4039
35 | 4.8142 | 2.2019 | -4.8109 | -2.228 | 0.0032758 | -0.02609 | 0.15351 | 0.15384 | 0.15384 | 0.99553 | -0.023144 | 0.99483 | -0.026455 | 24.1136
36 | 0.3765 | 0.14794 | -0.3765 | -0.14805 | 8.3701e-07 | -0.00010893 | 0.011693 | 0.011695 | 0.011695 | 0.99865 | -0.0073211 | 0.99864 | -0.0073104 | 5.3157
37 | -6.7 | -2.9704 | 6.7047 | 2.9519 | 0.0046775 | -0.01854 | 0.21186 | 0.21161 | 0.21186 | 0.99865 | -0.0073211 | 0.99937 | -0.0032631 | 33.2062
38 | 0.43014 | 0.20312 | -0.43014 | -0.20363 | 5.4405e-06 | -0.00050849 | 0.01377 | 0.013776 | 0.013776 | 0.99724 | -0.014778 | 0.99723 | -0.014674 | 6.2619
39 | 0.16425 | 0.078563 | -0.16425 | -0.079551 | 1.5342e-06 | -0.00098792 | 0.0052593 | 0.0052717 | 0.0052717 | 0.99937 | -0.0032631 | 0.99936 | -0.0031828 | 2.3962
40 | -6.8689 | -3.0305 | 6.869 | 3.0301 | 0.00010402 | -0.00039062 | 0.21687 | 0.21686 | 0.21687 | 0.99937 | -0.0032631 | 0.99939 | -0.0031745 | 33.9914
41 | -6.9378 | -3.0629 | 6.9387 | 3.0596 | 0.00087787 | -0.0032222 | 0.21906 | 0.21902 | 0.21906 | 0.99939 | -0.0031745 | 0.99952 | -0.0024348 | 34.3355
42 | 0.068793 | 0.032802 | -0.068792 | -0.033318 | 1.4023e-07 | -0.0005153 | 0.0022014 | 0.0022079 | 0.0022079 | 0.99939 | -0.0031745 | 0.99939 | -0.0031571 | 1.0036
43 | 0.18851 | 0.057001 | -0.18851 | -0.058992 | 3.631e-06 | -0.0019914 | 0.0056928 | 0.0057098 | 0.0057098 | 0.99864 | -0.0073104 | 0.99862 | -0.0072993 | 2.5954
44 | 0.65086 | 0.30987 | -0.65079 | -0.31286 | 7.4475e-05 | -0.002985 | 0.020918 | 0.020955 | 0.020955 | 0.99483 | -0.026455 | 0.99472 | -0.025485 | 9.5251
45 | -0.28375 | -0.13743 | 0.28375 | 0.13652 | 4.2478e-06 | -0.0009067 | 0.0091271 | 0.0091157 | 0.0091271 | 0.99716 | -0.014042 | 0.99718 | -0.014172 | 4.1487
46 | -0.28375 | -0.13652 | 0.28377 | 0.13284 | 1.7128e-05 | -0.0036793 | 0.0091157 | 0.0090699 | 0.0091157 | 0.99718 | -0.014172 | 0.99723 | -0.014674 | 4.1435
47 | 0.14637 | 0.07079 | -0.14637 | -0.070888 | 3.3177e-06 | -9.7692e-05 | 0.0047066 | 0.0047078 | 0.0047078 | 0.99723 | -0.014674 | 0.99721 | -0.014824 | 2.2418
48 | 2.5491 | 1.2309 | -2.5487 | -1.2319 | 0.00043619 | -0.0010362 | 0.081756 | 0.08177 | 0.08177 | 0.99952 | -0.0024348 | 0.99936 | -0.00095243 | 37.1684
49 | -9.4878 | -4.2905 | 9.4922 | 4.2832 | 0.0043596 | -0.0073456 | 0.30074 | 0.30062 | 0.30074 | 0.99952 | -0.0024348 | 1 | 0 | 47.1375
50 | 0.18851 | 0.058992 | -0.18844 | -0.091101 | 6.1987e-05 | -0.032109 | 0.0057098 | 0.0060525 | 0.0060525 | 0.99862 | -0.0072993 | 0.99831 | -0.0056472 | 2.7511
51 | 0.40308 | 0.19289 | -0.40307 | -0.19299 | 9.3372e-07 | -9.7971e-05 | 0.012968 | 0.012969 | 0.012969 | 0.99472 | -0.025485 | 0.99472 | -0.025465 | 5.895
52 | 0.22503 | 0.10675 | -0.22501 | -0.10689 | 1.123e-05 | -0.00013543 | 0.007228 | 0.0072298 | 0.0072298 | 0.99472 | -0.025465 | 0.99467 | -0.025819 | 3.4427
53 | 0.22501 | 0.10689 | -0.22501 | -0.10837 | 4.3956e-06 | -0.0014829 | 0.0072298 | 0.0072484 | 0.0072484 | 0.99467 | -0.025819 | 0.99465 | -0.025653 | 3.2947
54 | 0.22501 | 0.10837 | -0.22501 | -0.10898 | 1.8025e-06 | -0.00060587 | 0.0072484 | 0.007256 | 0.007256 | 0.99465 | -0.025653 | 0.99464 | -0.025584 | 3.2982
55 | 0.12271 | 0.058693 | -0.1227 | -0.059428 | 6.5074e-07 | -0.00073511 | 0.0039501 | 0.0039593 | 0.0039593 | 0.99404 | -0.034851 | 0.99404 | -0.034806 | 1.7997
56 | 0.39611 | 0.19153 | -0.39611 | -0.19184 | 2.954e-06 | -0.00031877 | 0.012777 | 0.012781 | 0.012781 | 0.99404 | -0.03476 | 0.99403 | -0.034695 | 5.8098
57 | 0.18844 | 0.091101 | -0.18843 | -0.091263 | 9.22e-06 | -0.00016223 | 0.0060525 | 0.0060546 | 0.0060546 | 0.99831 | -0.0056472 | 0.99826 | -0.0059709 | 2.8831
58 | 1.6484 | 0.79588 | -1.6483 | -0.79659 | 0.00011745 | -0.00071536 | 0.052874 | 0.052884 | 0.052884 | 0.99936 | -0.00095243 | 0.9993 | -0.00033532 | 24.0381
59 | 0.19957 | 0.095166 | -0.19956 | -0.096653 | 3.3996e-06 | -0.0014872 | 0.0063825 | 0.0064011 | 0.0064011 | 1 | 0 | 0.99998 | 0.00014586 | 2.9096
60 | 0.16153 | 0.076538 | -0.16153 | -0.07668 | 2.1297e-07 | -0.00014255 | 0.0051636 | 0.0051653 | 0.0051653 | 0.9993 | -0.00033532 | 0.9993 | -0.00032437 | 2.3479
61 | 0.16153 | 0.07668 | -0.16153 | -0.078037 | 2.0342e-06 | -0.0013566 | 0.0051653 | 0.0051823 | 0.0051823 | 0.9993 | -0.00032437 | 0.99928 | -0.00021737 | 2.3556
62 | -0.16153 | -0.078231 | 0.16153 | 0.078037 | 2.9195e-07 | -0.00019397 | 0.0051847 | 0.0051823 | 0.0051847 | 0.99928 | -0.00020167 | 0.99928 | -0.00021737 | 2.3567

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.7058 | 4.3889

## res_load
| p_mw | q_mvar
0 | 0.30958 | 0.14994
1 | 0.2526 | 0.12234
2 | 0.28622 | 0.13862
3 | 0.40172 | 0.19456
4 | 0.26896 | 0.13026
5 | 0.2242 | 0.10859
6 | 0.19901 | 0.096384
7 | 0.33892 | 0.16415
8 | 0.37515 | 0.18169
9 | 0.18224 | 0.088263
10 | 0.36028 | 0.17449
11 | 0.30477 | 0.14761
12 | 0.25511 | 0.12355
13 | 0.078614 | 0.038075
14 | 0.35902 | 0.17388
15 | 0.16425 | 0.079551
16 | 0.18799 | 0.091047
17 | 0.36899 | 0.17871
18 | 0.28375 | 0.13743
19 | 0.14637 | 0.070888
20 | 0.068792 | 0.033318
21 | 0.24771 | 0.11997
22 | 0.17805 | 0.086233
23 | 0.22501 | 0.10898
24 | 0.1036 | 0.050175
25 | 0.1227 | 0.059428
26 | 0.39611 | 0.19184
27 | 0.18843 | 0.091263
28 | 0.90032 | 0.43604
29 | 1.4867 | 0.72006
30 | 0.19956 | 0.096653
31 | 0.16153 | 0.078231

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1