## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_596_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_596_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_596_0_node_6 | 20 | n |  | TRUE
3 | bus_MV_596_0_node_7 | 20 | n |  | TRUE
4 | bus_MV_596_0_node_110 | 20 | n |  | TRUE
5 | bus_MV_596_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_596_0_node_108 | 20 | n |  | TRUE
7 | bus_MV_596_0_node_4 | 20 | n |  | TRUE
8 | bus_MV_596_0_node_55 | 20 | n |  | TRUE
9 | bus_MV_596_0_node_60 | 20 | n |  | TRUE
10 | bus_MV_596_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_596_0_node_54 | 20 | n |  | TRUE
12 | bus_MV_596_0_node_57 | 20 | n |  | TRUE
13 | bus_MV_596_0_node_8 | 20 | n |  | TRUE
14 | bus_MV_596_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_596_0_node_53 | 20 | n |  | TRUE
16 | bus_MV_596_0_node_51 | 20 | n |  | TRUE
17 | bus_MV_596_0_node_22 | 20 | n |  | TRUE
18 | bus_MV_596_0_node_24 | 20 | n |  | TRUE
19 | bus_MV_596_0_node_31 | 20 | n |  | TRUE
20 | bus_MV_596_0_node_52 | 20 | n |  | TRUE
21 | bus_MV_596_0_node_109 | 20 | n |  | TRUE
22 | bus_MV_596_0_node_102 | 20 | n |  | TRUE
23 | bus_MV_596_0_node_23 | 20 | n |  | TRUE
24 | bus_MV_596_0_node_36 | 20 | n |  | TRUE
25 | bus_MV_596_0_node_35 | 20 | n |  | TRUE
26 | bus_MV_596_0_node_34 | 20 | n |  | TRUE
27 | bus_MV_596_0_node_21 | 20 | n |  | TRUE
28 | bus_MV_596_0_node_19 | 20 | n |  | TRUE
29 | bus_MV_596_0_node_32 | 20 | n |  | TRUE
30 | bus_MV_596_0_node_20 | 20 | n |  | TRUE
31 | bus_MV_596_0_node_25 | 20 | n |  | TRUE
32 | bus_MV_596_0_node_72 | 20 | n |  | TRUE
33 | bus_MV_596_0_node_73 | 20 | n |  | TRUE
34 | bus_MV_596_0_node_17 | 20 | n |  | TRUE
35 | bus_MV_596_0_node_74 | 20 | n |  | TRUE
36 | bus_MV_596_0_node_16 | 20 | n |  | TRUE
37 | bus_MV_596_0_node_18 | 20 | n |  | TRUE
38 | bus_MV_596_0_node_27 | 20 | n |  | TRUE
39 | bus_MV_596_0_node_30 | 20 | n |  | TRUE
40 | bus_MV_596_0_node_10 | 20 | n |  | TRUE
41 | bus_MV_596_0_node_11 | 20 | n |  | TRUE
42 | bus_MV_596_0_node_12 | 20 | n |  | TRUE
43 | bus_MV_596_0_node_69 | 20 | n |  | TRUE
44 | bus_MV_596_0_node_70 | 20 | n |  | TRUE
45 | bus_MV_596_0_node_68 | 20 | n |  | TRUE
46 | bus_MV_596_0_node_107 | 20 | n |  | TRUE
47 | bus_MV_596_0_node_86 | 20 | n |  | TRUE
48 | bus_MV_596_0_node_105 | 20 | n |  | TRUE
49 | bus_MV_596_0_node_13 | 20 | n |  | TRUE
50 | bus_MV_596_0_node_14 | 20 | n |  | TRUE
51 | bus_MV_596_0_node_15 | 20 | n |  | TRUE
52 | bus_MV_596_0_node_71 | 20 | n |  | TRUE
53 | bus_MV_596_0_node_38 | 20 | n |  | TRUE
54 | bus_MV_596_0_node_40 | 20 | n |  | TRUE
55 | bus_MV_596_0_node_83 | 20 | n |  | TRUE
56 | bus_MV_596_0_node_26 | 20 | n |  | TRUE
57 | bus_MV_596_0_node_28 | 20 | n |  | TRUE
58 | bus_MV_596_0_node_29 | 20 | n |  | TRUE
59 | bus_MV_596_0_node_33 | 20 | n |  | TRUE
60 | bus_MV_596_0_node_39 | 20 | n |  | TRUE
61 | bus_MV_596_0_node_112 | 20 | n |  | TRUE
62 | bus_MV_596_0_node_47 | 20 | n |  | TRUE
63 | bus_MV_596_0_node_106 | 20 | n |  | TRUE
64 | bus_MV_596_0_node_82 | 20 | n |  | TRUE
65 | bus_MV_596_0_node_43 | 20 | n |  | TRUE
66 | bus_MV_596_0_node_80 | 20 | n |  | TRUE
67 | bus_MV_596_0_node_41 | 20 | n |  | TRUE
68 | bus_MV_596_0_node_42 | 20 | n |  | TRUE
69 | bus_MV_596_0_node_44 | 20 | n |  | TRUE
70 | bus_MV_596_0_node_46 | 20 | n |  | TRUE
71 | bus_MV_596_0_node_111 | 20 | n |  | TRUE
72 | bus_MV_596_0_node_45 | 20 | n |  | TRUE
73 | bus_MV_596_0_node_104 | 20 | n |  | TRUE
74 | bus_MV_596_0_node_103 | 20 | n |  | TRUE
75 | bus_MV_596_0_node_85 | 20 | n |  | TRUE
76 | bus_MV_596_0_node_84 | 20 | n |  | TRUE
77 | bus_MV_596_0_node_100 | 20 | n |  | TRUE
78 | bus_MV_596_0_node_50 | 20 | n |  | TRUE
79 | bus_MV_596_0_node_81 | 20 | n |  | TRUE
80 | bus_MV_596_0_node_48 | 20 | n |  | TRUE
81 | bus_MV_596_0_node_49 | 20 | n |  | TRUE
82 | bus_MV_596_0_node_87 | 20 | n |  | TRUE
83 | bus_MV_596_0_node_56 | 20 | n |  | TRUE
84 | bus_MV_596_0_node_95 | 20 | n |  | TRUE
85 | bus_MV_596_0_node_59 | 20 | n |  | TRUE
86 | bus_MV_596_0_node_61 | 20 | n |  | TRUE
87 | bus_MV_596_0_node_90 | 20 | n |  | TRUE
88 | bus_MV_596_0_node_88 | 20 | n |  | TRUE
89 | bus_MV_596_0_node_93 | 20 | n |  | TRUE
90 | bus_MV_596_0_node_89 | 20 | n |  | TRUE
91 | bus_MV_596_0_node_62 | 20 | n |  | TRUE
92 | bus_MV_596_0_node_63 | 20 | n |  | TRUE
93 | bus_MV_596_0_node_65 | 20 | n |  | TRUE
94 | bus_MV_596_0_node_66 | 20 | n |  | TRUE
95 | bus_MV_596_0_node_64 | 20 | n |  | TRUE
96 | bus_MV_596_0_node_67 | 20 | n |  | TRUE
97 | bus_MV_596_0_node_101 | 20 | n |  | TRUE
98 | bus_MV_596_0_node_96 | 20 | n |  | TRUE
99 | bus_MV_596_0_node_99 | 20 | n |  | TRUE
100 | bus_MV_596_0_node_94 | 20 | n |  | TRUE
101 | bus_MV_596_0_node_75 | 20 | n |  | TRUE
102 | bus_MV_596_0_node_76 | 20 | n |  | TRUE
103 | bus_MV_596_0_node_77 | 20 | n |  | TRUE
104 | bus_MV_596_0_node_78 | 20 | n |  | TRUE
105 | bus_MV_596_0_node_79 | 20 | n |  | TRUE
106 | bus_MV_596_0_node_113 | 20 | n |  | TRUE
107 | bus_MV_596_0_node_91 | 20 | n |  | TRUE
108 | bus_MV_596_0_node_92 | 20 | n |  | TRUE
109 | bus_MV_596_0_node_97 | 20 | n |  | TRUE
110 | bus_MV_596_0_node_98 | 20 | n |  | TRUE
111 | bus_HV_596_0_node_39 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_596_0_load_0 | 0 | 0.29647 | 0.14358 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_596_0_load_6 | 2 | 0.30347 | 0.14698 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_596_0_load_110 | 4 | 0.32024 | 0.1551 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_596_0_load_108 | 6 | 0.13857 | 0.067111 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_596_0_load_55 | 8 | 0.22044 | 0.10676 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_596_0_load_60 | 9 | 0.12501 | 0.060546 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_596_0_load_54 | 11 | 0.37579 | 0.182 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_596_0_load_57 | 12 | 0.24115 | 0.11679 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_596_0_load_51 | 16 | 0.19087 | 0.092445 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_596_0_load_31 | 19 | 0.4141 | 0.20056 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_596_0_load_109 | 21 | 0.32675 | 0.15825 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_596_0_load_102 | 22 | 0.074512 | 0.036088 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_596_0_load_36 | 24 | 0.27526 | 0.13332 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_596_0_load_34 | 26 | 0.22696 | 0.10992 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_596_0_load_32 | 29 | 0.24289 | 0.11764 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_596_0_load_73 | 33 | 0.072115 | 0.034927 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_596_0_load_74 | 35 | 0.8148 | 0.39462 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_596_0_load_16 | 36 | 0.38074 | 0.1844 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_596_0_load_18 | 37 | 0.33948 | 0.16442 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_596_0_load_30 | 39 | 0.37807 | 0.18311 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_596_0_load_10 | 40 | 0.14604 | 0.070728 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_596_0_load_68 | 45 | 0.17078 | 0.082711 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_596_0_load_107 | 46 | 0.15496 | 0.075049 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_596_0_load_105 | 48 | 0.17061 | 0.08263 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_596_0_load_13 | 49 | 0.21488 | 0.10407 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_596_0_load_71 | 52 | 0.10208 | 0.04944 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_596_0_load_83 | 55 | 0.21789 | 0.10553 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_596_0_load_26 | 56 | 0.24733 | 0.11979 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_596_0_load_33 | 59 | 0.29285 | 0.14183 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_596_0_load_112 | 61 | 0.071899 | 0.034822 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_596_0_load_106 | 63 | 0.30607 | 0.14824 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_596_0_load_82 | 64 | 0.069163 | 0.033497 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_596_0_load_41 | 67 | 0.28941 | 0.14017 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_596_0_load_111 | 71 | 1.1219 | 0.54336 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_596_0_load_103 | 74 | 0.11277 | 0.054615 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_596_0_load_85 | 75 | 0.24972 | 0.12095 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_596_0_load_84 | 76 | 0.3385 | 0.16394 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_596_0_load_100 | 77 | 0.41298 | 0.20001 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_596_0_load_48 | 80 | 0.31127 | 0.15076 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_596_0_load_87 | 82 | 0.19589 | 0.094871 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_596_0_load_56 | 83 | 0.12895 | 0.062454 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_596_0_load_95 | 84 | 0.10753 | 0.052081 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_596_0_load_59 | 85 | 0.097328 | 0.047138 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_596_0_load_90 | 87 | 0.16749 | 0.081118 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_596_0_load_88 | 88 | 0.22551 | 0.10922 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_596_0_load_93 | 89 | 0.23079 | 0.11178 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_596_0_load_62 | 91 | 0.1409 | 0.068242 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_596_0_load_101 | 97 | 0.10531 | 0.051006 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_596_0_load_96 | 98 | 0.068892 | 0.033366 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_596_0_load_75 | 101 | 0.20572 | 0.099633 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_596_0_load_78 | 104 | 0.19793 | 0.09586 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_596_0_load_113 | 106 | 0.4118 | 0.19944 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_596_0_load_91 | 107 | 0.15623 | 0.075666 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_596_0_load_92 | 108 | 0.079812 | 0.038655 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_596_0_load_97 | 109 | 0.22201 | 0.10753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_596_0_line_0 |  | 0 | 1 | 0.044009 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_596_0_line_1 |  | 1 | 2 | 0.32974 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_596_0_line_2 |  | 2 | 3 | 0.010661 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
3 | MV_596_0_line_3 |  | 2 | 4 | 0.58336 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
4 | MV_596_0_line_4 |  | 2 | 5 | 0.092952 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_596_0_line_5 |  | 3 | 13 | 0.42126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_596_0_line_6 |  | 3 | 14 | 0.23463 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
7 | MV_596_0_line_7 |  | 4 | 10 | 0.063863 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
8 | MV_596_0_line_8 |  | 5 | 6 | 0.069092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_596_0_line_9 |  | 7 | 8 | 0.021675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_596_0_line_10 |  | 7 | 9 | 0.1281 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_596_0_line_11 |  | 8 | 11 | 0.08253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_596_0_line_12 |  | 9 | 12 | 0.082719 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
13 | MV_596_0_line_13 |  | 9 | 10 | 0.56902 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
14 | MV_596_0_line_14 |  | 11 | 83 | 0.034307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_596_0_line_15 |  | 12 | 85 | 0.044979 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
16 | MV_596_0_line_16 |  | 13 | 15 | 0.10681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_596_0_line_17 |  | 13 | 16 | 0.039711 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_596_0_line_18 |  | 14 | 17 | 0.3399 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
19 | MV_596_0_line_19 |  | 14 | 18 | 0.51177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_596_0_line_20 |  | 14 | 19 | 0.025029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_596_0_line_21 |  | 15 | 22 | 0.0091535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_596_0_line_22 |  | 15 | 20 | 0.32812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_596_0_line_23 |  | 17 | 23 | 0.41174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_596_0_line_24 |  | 17 | 24 | 0.038096 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
25 | MV_596_0_line_25 |  | 18 | 38 | 0.40097 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_596_0_line_26 |  | 18 | 39 | 0.008532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_596_0_line_27 |  | 20 | 21 | 0.034643 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_596_0_line_28 |  | 23 | 25 | 0.41345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_596_0_line_29 |  | 23 | 26 | 0.007886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_596_0_line_30 |  | 23 | 27 | 0.056212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_596_0_line_31 |  | 23 | 28 | 0.31163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_596_0_line_32 |  | 24 | 53 | 0.050698 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
33 | MV_596_0_line_33 |  | 25 | 55 | 0.026089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_596_0_line_34 |  | 27 | 29 | 0.044868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_596_0_line_35 |  | 27 | 30 | 0.26846 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_596_0_line_36 |  | 28 | 37 | 0.018011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_596_0_line_37 |  | 30 | 31 | 0.24916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_596_0_line_38 |  | 30 | 32 | 0.1603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_596_0_line_39 |  | 30 | 33 | 0.02784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_596_0_line_40 |  | 30 | 34 | 0.014037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_596_0_line_41 |  | 31 | 35 | 0.069947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_596_0_line_42 |  | 32 | 52 | 0.0040115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_596_0_line_43 |  | 34 | 36 | 0.006549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_596_0_line_44 |  | 37 | 51 | 0.029713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_596_0_line_45 |  | 38 | 56 | 0.003722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_596_0_line_46 |  | 40 | 41 | 0.068778 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_596_0_line_47 |  | 41 | 42 | 0.17655 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_596_0_line_48 |  | 42 | 43 | 0.36613 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_596_0_line_49 |  | 42 | 44 | 0.35745 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_596_0_line_50 |  | 42 | 45 | 0.053774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_596_0_line_51 |  | 43 | 46 | 0.037043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_596_0_line_52 |  | 43 | 47 | 0.00474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_596_0_line_53 |  | 44 | 48 | 0.18611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_596_0_line_54 |  | 47 | 82 | 0.03092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_596_0_line_55 |  | 47 | 78 | 0.039232 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_596_0_line_56 |  | 49 | 50 | 0.082617 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_596_0_line_57 |  | 50 | 51 | 0.063822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_596_0_line_58 |  | 53 | 54 | 0.11875 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
59 | MV_596_0_line_59 |  | 54 | 63 | 0.04182 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
60 | MV_596_0_line_60 |  | 56 | 57 | 0.05325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_596_0_line_61 |  | 57 | 58 | 0.11762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_596_0_line_62 |  | 58 | 59 | 0.021005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_596_0_line_63 |  | 60 | 61 | 0.009475 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_596_0_line_64 |  | 60 | 62 | 0.068824 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
65 | MV_596_0_line_65 |  | 62 | 64 | 0.046982 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_596_0_line_66 |  | 62 | 65 | 0.028396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_596_0_line_67 |  | 63 | 66 | 0.044291 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
68 | MV_596_0_line_68 |  | 64 | 79 | 0.019145 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
69 | MV_596_0_line_69 |  | 65 | 67 | 0.006111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_596_0_line_70 |  | 66 | 105 | 0.084054 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
71 | MV_596_0_line_71 |  | 68 | 69 | 0.60224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_596_0_line_72 |  | 68 | 70 | 0.32921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_596_0_line_73 |  | 69 | 71 | 0.038703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_596_0_line_74 |  | 70 | 75 | 0.041776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_596_0_line_75 |  | 70 | 76 | 0.014525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_596_0_line_76 |  | 70 | 72 | 0.090885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_596_0_line_77 |  | 72 | 73 | 0.15458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_596_0_line_78 |  | 72 | 74 | 0.018513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_596_0_line_79 |  | 73 | 77 | 0.0206 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_596_0_line_80 |  | 76 | 78 | 0.036064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_596_0_line_81 |  | 77 | 99 | 0.058686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_596_0_line_82 |  | 77 | 94 | 0.047607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_596_0_line_83 |  | 78 | 81 | 0.0725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_596_0_line_84 |  | 79 | 103 | 0.009775 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
85 | MV_596_0_line_85 |  | 80 | 81 | 0.007042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_596_0_line_86 |  | 83 | 84 | 0.14961 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_596_0_line_87 |  | 85 | 86 | 0.10276 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
88 | MV_596_0_line_88 |  | 86 | 87 | 0.029517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_596_0_line_89 |  | 86 | 88 | 0.019986 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
90 | MV_596_0_line_90 |  | 87 | 89 | 0.021733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_596_0_line_91 |  | 88 | 90 | 0.05306 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
92 | MV_596_0_line_92 |  | 90 | 107 | 0.0051872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_596_0_line_93 |  | 90 | 108 | 0.02526 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
94 | MV_596_0_line_94 |  | 91 | 92 | 0.090751 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_596_0_line_95 |  | 92 | 93 | 0.27209 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_596_0_line_96 |  | 92 | 94 | 0.81053 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_596_0_line_97 |  | 93 | 97 | 0.089707 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_596_0_line_98 |  | 94 | 95 | 0.55255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_596_0_line_99 |  | 95 | 96 | 0.21817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_596_0_line_100 |  | 96 | 98 | 0.0284 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_596_0_line_101 |  | 98 | 100 | 0.0050784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_596_0_line_102 |  | 99 | 110 | 0.045071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_596_0_line_103 |  | 100 | 108 | 0.018612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_596_0_line_104 |  | 101 | 102 | 0.025576 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
105 | MV_596_0_line_105 |  | 101 | 103 | 0.041799 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
106 | MV_596_0_line_106 |  | 102 | 104 | 0.010827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_596_0_line_107 |  | 102 | 105 | 0.078426 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
108 | MV_596_0_line_108 |  | 105 | 106 | 0.009703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_596_0_line_109 |  | 109 | 110 | 0.025647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_596_0_trafo_39 | 25 MVA 110/20 kV | 111 | 60 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2600795.8654 | 1201634.3822
1 | 2600819.3713 | 1201597.1761
2 | 2601046.1899 | 1201357.8354
3 | 2601056.03 | 1201362.0059
4 | 2600701.8855 | 1201828.7541
5 | 2600972.082 | 1201413.9429
6 | 2601028.0763 | 1201451.1049
7 | 2601187.2697 | 1201779.932
8 | 2601195.9003 | 1201799.8145
9 | 2601275.2106 | 1201686.7878
10 | 2600739.9996 | 1201879.997
11 | 2601181.3624 | 1201881.0536
12 | 2601357.4395 | 1201695.7764
13 | 2601299.8761 | 1201464.4507
14 | 2601241.4375 | 1201365.7302
15 | 2601360.7431 | 1201516.8696
16 | 2601286.3291 | 1201501.7792
17 | 2601507.1715 | 1201361.4526
18 | 2601220.8902 | 1201157.5252
19 | 2601265.098 | 1201373.9393
20 | 2601621.2434 | 1201565.6355
21 | 2601653.8974 | 1201577.2059
22 | 2601357.8915 | 1201525.5676
23 | 2601633.7802 | 1201150.1705
24 | 2601543.2897 | 1201373.5679
25 | 2601943.731 | 1201238.7963
26 | 2601628.3292 | 1201155.8833
27 | 2601627.6376 | 1201122.5096
28 | 2601530.7086 | 1201001.2643
29 | 2601584.4678 | 1201110.2838
30 | 2601714.1525 | 1200988.9164
31 | 2601796.4571 | 1201082.9347
32 | 2601723.4082 | 1200877.7814
33 | 2601741.6973 | 1200988.7911
34 | 2601704.4091 | 1200992.0154
35 | 2601832.4868 | 1201141.9458
36 | 2601702.7557 | 1200998.3517
37 | 2601534.4881 | 1200983.6558
38 | 2601369.2885 | 1200997.5918
39 | 2601229.4451 | 1201157.3601
40 | 2602446.5293 | 1201566.0958
41 | 2602385.0465 | 1201596.9216
42 | 2602288.9354 | 1201548.5813
43 | 2602063.4971 | 1201674.6143
44 | 2602172.1739 | 1201741.3319
45 | 2602309.8156 | 1201598.1337
46 | 2602073.8602 | 1201704.5672
47 | 2602058.7633 | 1201675.0463
48 | 2602000.0246 | 1201796.2479
49 | 2601440.6685 | 1200893.9519
50 | 2601521.2161 | 1200912.3253
51 | 2601540.356 | 1200954.5304
52 | 2601726.96 | 1200875.9169
53 | 2601577.152 | 1201336.9788
54 | 2601674.3635 | 1201289.0672
55 | 2601931.8185 | 1201215.5859
56 | 2601368.5418 | 1201001.238
57 | 2601357.8976 | 1201053.4082
58 | 2601342.75 | 1201166.0545
59 | 2601342.6086 | 1201187.0547
60 | 2601706.1803 | 1201500.7009
61 | 2601709.2346 | 1201491.7303
62 | 2601771.0091 | 1201523.8093
63 | 2601696.9737 | 1201324.2478
64 | 2601786.8164 | 1201479.5664
65 | 2601797.8415 | 1201533.3221
66 | 2601724.1654 | 1201359.263
67 | 2601799.9209 | 1201527.5751
68 | 2601859.8026 | 1201549.2934
69 | 2602086.8592 | 1201387.623
70 | 2601969.0201 | 1201676.907
71 | 2602051.5854 | 1201403.5531
72 | 2601940.4605 | 1201741.9664
73 | 2601978.9587 | 1201845.7345
74 | 2601921.9471 | 1201741.9943
75 | 2601970.4884 | 1201635.1571
76 | 2601983.5256 | 1201677.6466
77 | 2601971.5631 | 1201864.9648
78 | 2602019.5304 | 1201677.9571
79 | 2601793.2578 | 1201461.5376
80 | 2602013.6623 | 1201749.6272
81 | 2602013.8929 | 1201742.5902
82 | 2602062.1473 | 1201705.7751
83 | 2601195.4734 | 1201912.3238
84 | 2601314.291 | 1202003.2355
85 | 2601400.428 | 1201709.0093
86 | 2601498.6408 | 1201739.243
87 | 2601489.9073 | 1201767.4388
88 | 2601517.7409 | 1201745.1262
89 | 2601483.4769 | 1201788.1992
90 | 2601568.3997 | 1201760.9051
91 | 2602217.1324 | 1202322.8618
92 | 2602245.6695 | 1202236.7145
93 | 2602316.5027 | 1202070.551
94 | 2601926.3936 | 1201849.5423
95 | 2601614.2344 | 1201976.4553
96 | 2601607.6991 | 1201821.948
97 | 2602270.0682 | 1202096.3199
98 | 2601595.6784 | 1201796.2179
99 | 2601952.0254 | 1201920.3107
100 | 2601593.5289 | 1201791.6169
101 | 2601816.5897 | 1201425.4075
102 | 2601825.2025 | 1201401.3256
103 | 2601802.5115 | 1201464.7643
104 | 2601828.8511 | 1201391.1323
105 | 2601766.0955 | 1201406.5336
106 | 2601762.8583 | 1201415.682
107 | 2601570.0296 | 1201755.9806
108 | 2601584.1138 | 1201775.6869
109 | 2601985.9598 | 1201960.0043
110 | 2601994.4698 | 1201935.8103
111 | 2601706.1803 | 1201500.7009

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99635 | -0.078863 | 0.29647 | 0.14358
1 | 0.99638 | -0.078704 | 0 | 0
2 | 0.99657 | -0.077507 | 0.30347 | 0.14698
3 | 0.99658 | -0.077203 | 0 | 0
4 | 0.99469 | -0.14087 | 0.32024 | 0.1551
5 | 0.99654 | -0.077677 | 0 | 0
6 | 0.99653 | -0.077566 | 0.13857 | 0.067111
7 | 0.99255 | -0.20781 | 0 | 0
8 | 0.99253 | -0.20759 | 0.22044 | 0.10676
9 | 0.99276 | -0.20649 | 0.12501 | 0.060546
10 | 0.9945 | -0.14748 | 0 | 0
11 | 0.99243 | -0.20822 | 0.37579 | 0.182
12 | 0.99255 | -0.21376 | 0.24115 | 0.11679
13 | 0.99627 | -0.07462 | 0 | 0
14 | 0.99698 | -0.06993 | 0 | 0
15 | 0.99621 | -0.074167 | 0 | 0
16 | 0.99625 | -0.074712 | 0.19087 | 0.092445
17 | 0.99765 | -0.057533 | 0 | 0
18 | 0.99638 | -0.064941 | 0 | 0
19 | 0.99697 | -0.069806 | 0.4141 | 0.20056
20 | 0.99607 | -0.072957 | 0 | 0
21 | 0.99605 | -0.073095 | 0.32675 | 0.15825
22 | 0.99621 | -0.074158 | 0.074512 | 0.036088
23 | 0.99629 | -0.045829 | 0 | 0
24 | 0.99788 | -0.050001 | 0.27526 | 0.13332
25 | 0.99617 | -0.044889 | 0 | 0
26 | 0.99628 | -0.045807 | 0.22696 | 0.10992
27 | 0.99617 | -0.04481 | 0 | 0
28 | 0.99607 | -0.043874 | 0 | 0
29 | 0.99616 | -0.044681 | 0.24289 | 0.11764
30 | 0.9957 | -0.040647 | 0 | 0
31 | 0.99544 | -0.03827 | 0 | 0
32 | 0.99568 | -0.04047 | 0 | 0
33 | 0.9957 | -0.040623 | 0.072115 | 0.034927
34 | 0.9957 | -0.040583 | 0 | 0
35 | 0.99537 | -0.037586 | 0.8148 | 0.39462
36 | 0.99569 | -0.040553 | 0.38074 | 0.1844
37 | 0.99605 | -0.043757 | 0.33948 | 0.16442
38 | 0.99611 | -0.062572 | 0 | 0
39 | 0.99638 | -0.064902 | 0.37807 | 0.18311
40 | 0.98651 | -0.17261 | 0.14604 | 0.070728
41 | 0.98653 | -0.17248 | 0 | 0
42 | 0.98656 | -0.17277 | 0 | 0
43 | 0.98679 | -0.17443 | 0 | 0
44 | 0.98648 | -0.17222 | 0 | 0
45 | 0.98655 | -0.17266 | 0.17078 | 0.082711
46 | 0.98678 | -0.17436 | 0.15496 | 0.075049
47 | 0.98679 | -0.17446 | 0 | 0
48 | 0.98644 | -0.17186 | 0.17061 | 0.08263
49 | 0.99599 | -0.043738 | 0.21488 | 0.10407
50 | 0.99603 | -0.043522 | 0 | 0
51 | 0.99605 | -0.043684 | 0 | 0
52 | 0.99568 | -0.040465 | 0.10208 | 0.04944
53 | 0.99801 | -0.047566 | 0 | 0
54 | 0.99832 | -0.04186 | 0 | 0
55 | 0.99617 | -0.044821 | 0.21789 | 0.10553
56 | 0.99611 | -0.062548 | 0.24733 | 0.11979
57 | 0.99609 | -0.062374 | 0 | 0
58 | 0.99604 | -0.061973 | 0 | 0
59 | 0.99603 | -0.061899 | 0.29285 | 0.14183
60 | 1 | 0 | -13.5958 | -6.2969
61 | 1 | 8.0819e-06 | 0.071899 | 0.034822
62 | 0.99954 | -0.015593 | 0 | 0
63 | 0.99857 | -0.033402 | 0.30607 | 0.14824
64 | 0.9994 | -0.018069 | 0.069163 | 0.033497
65 | 0.99953 | -0.015496 | 0 | 0
66 | 0.99869 | -0.031222 | 0 | 0
67 | 0.99953 | -0.015474 | 0.28941 | 0.14017
68 | 0.98644 | -0.17133 | 0 | 0
69 | 0.98557 | -0.16332 | 0 | 0
70 | 0.98691 | -0.17546 | 0 | 0
71 | 0.98551 | -0.16279 | 1.1219 | 0.54336
72 | 0.98725 | -0.17832 | 0 | 0
73 | 0.98784 | -0.18335 | 0 | 0
74 | 0.98725 | -0.17829 | 0.11277 | 0.054615
75 | 0.9869 | -0.17534 | 0.24972 | 0.12095
76 | 0.98689 | -0.17523 | 0.3385 | 0.16394
77 | 0.98792 | -0.18401 | 0.41298 | 0.20001
78 | 0.98683 | -0.17479 | 0 | 0
79 | 0.99935 | -0.019073 | 0 | 0
80 | 0.9868 | -0.17449 | 0.31127 | 0.15076
81 | 0.9868 | -0.17452 | 0 | 0
82 | 0.98678 | -0.17439 | 0.19589 | 0.094871
83 | 0.99242 | -0.20812 | 0.12895 | 0.062454
84 | 0.99239 | -0.20832 | 0.10753 | 0.052081
85 | 0.9925 | -0.21466 | 0.097328 | 0.047138
86 | 0.99239 | -0.21667 | 0 | 0
87 | 0.99238 | -0.21653 | 0.16749 | 0.081118
88 | 0.99237 | -0.21704 | 0.22551 | 0.10922
89 | 0.99237 | -0.21647 | 0.23079 | 0.11178
90 | 0.99225 | -0.21844 | 0 | 0
91 | 0.98786 | -0.18458 | 0.1409 | 0.068242
92 | 0.98788 | -0.18442 | 0 | 0
93 | 0.98785 | -0.18416 | 0 | 0
94 | 0.98814 | -0.18591 | 0 | 0
95 | 0.99086 | -0.20832 | 0 | 0
96 | 0.99194 | -0.21701 | 0 | 0
97 | 0.98784 | -0.18405 | 0.10531 | 0.051006
98 | 0.99208 | -0.21813 | 0.068892 | 0.033366
99 | 0.9879 | -0.18386 | 0 | 0
100 | 0.99211 | -0.21834 | 0 | 0
101 | 0.9992 | -0.021776 | 0.20572 | 0.099633
102 | 0.99913 | -0.023096 | 0 | 0
103 | 0.99932 | -0.019585 | 0 | 0
104 | 0.99913 | -0.02307 | 0.19793 | 0.09586
105 | 0.99891 | -0.027083 | 0 | 0
106 | 0.99891 | -0.027035 | 0.4118 | 0.19944
107 | 0.99225 | -0.21843 | 0.15623 | 0.075666
108 | 0.9922 | -0.21909 | 0.079812 | 0.038655
109 | 0.98788 | -0.18367 | 0.22201 | 0.10753
110 | 0.98789 | -0.18374 | 0 | 0
111 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.29647 | -0.14358 | 0.29647 | 0.14354 | 7.1418e-06 | -4.7684e-05 | 0.009544 | 0.0095433 | 0.009544 | 0.99635 | -0.078863 | 0.99638 | -0.078704 | 4.5447
1 | -0.29647 | -0.14354 | 0.29653 | 0.14318 | 5.3479e-05 | -0.00035738 | 0.0095433 | 0.0095384 | 0.0095433 | 0.99638 | -0.078704 | 0.99657 | -0.077507 | 4.5444
2 | -7.1803 | -3.3543 | 7.1804 | 3.3536 | 0.00010281 | -0.00071458 | 0.22957 | 0.22956 | 0.22957 | 0.99657 | -0.077507 | 0.99658 | -0.077203 | 27.2646
3 | 6.4417 | 2.9988 | -6.4329 | -2.9875 | 0.0088087 | 0.011256 | 0.20583 | 0.20584 | 0.20584 | 0.99657 | -0.077507 | 0.99469 | -0.14087 | 25.103
4 | 0.13857 | 0.065365 | -0.13857 | -0.065473 | 3.2631e-06 | -0.00010816 | 0.0044381 | 0.0044395 | 0.0044395 | 0.99657 | -0.077507 | 0.99654 | -0.077677 | 2.1141
5 | 0.59241 | 0.26627 | -0.59221 | -0.2762 | 0.00020033 | -0.0099268 | 0.018814 | 0.018934 | 0.018934 | 0.99658 | -0.077203 | 0.99627 | -0.07462 | 8.6065
6 | -7.7728 | -3.6199 | 7.7754 | 3.6045 | 0.0026464 | -0.015382 | 0.24837 | 0.24815 | 0.24837 | 0.99658 | -0.077203 | 0.99698 | -0.06993 | 29.4976
7 | 6.1127 | 2.8324 | -6.1118 | -2.8314 | 0.00087011 | 0.0010962 | 0.19552 | 0.19552 | 0.19552 | 0.99469 | -0.14087 | 0.9945 | -0.14748 | 23.844
8 | 0.13857 | 0.065473 | -0.13857 | -0.067111 | 1.8263e-06 | -0.0016377 | 0.0044395 | 0.00446 | 0.00446 | 0.99654 | -0.077677 | 0.99653 | -0.077566 | 2.0273
9 | 0.83279 | 0.40176 | -0.83277 | -0.40226 | 2.0931e-05 | -0.00050361 | 0.026892 | 0.026899 | 0.026899 | 0.99255 | -0.20781 | 0.99253 | -0.20759 | 12.2267
10 | -0.83279 | -0.40176 | 0.83296 | 0.40171 | 0.00016505 | -4.7309e-05 | 0.026892 | 0.02689 | 0.026892 | 0.99255 | -0.20781 | 0.99276 | -0.20649 | 12.8058
11 | 0.61234 | 0.2955 | -0.61228 | -0.29556 | 5.7505e-05 | -6.1029e-05 | 0.019775 | 0.019776 | 0.019776 | 0.99253 | -0.20759 | 0.99243 | -0.20822 | 9.4172
12 | 5.1461 | 2.3593 | -5.1453 | -2.3584 | 0.00079889 | 0.00094564 | 0.16461 | 0.16462 | 0.16462 | 0.99276 | -0.20649 | 0.99255 | -0.21376 | 20.0753
13 | -6.104 | -2.8216 | 6.1118 | 2.8314 | 0.0077534 | 0.0097711 | 0.19554 | 0.19552 | 0.19554 | 0.99276 | -0.20649 | 0.9945 | -0.14748 | 23.8462
14 | 0.23649 | 0.11355 | -0.23649 | -0.11436 | 2.6705e-06 | -0.00080596 | 0.0076309 | 0.0076411 | 0.0076411 | 0.99243 | -0.20822 | 0.99242 | -0.20812 | 3.4732
15 | 4.9041 | 2.2416 | -4.9039 | -2.2448 | 0.00020249 | -0.0031995 | 0.15683 | 0.15687 | 0.15687 | 0.99255 | -0.21376 | 0.9925 | -0.21466 | 18.6303
16 | 0.40134 | 0.1838 | -0.40131 | -0.18632 | 2.3384e-05 | -0.0025242 | 0.012791 | 0.012821 | 0.012821 | 0.99627 | -0.07462 | 0.99621 | -0.074167 | 5.8278
17 | 0.19088 | 0.0924 | -0.19087 | -0.092445 | 2.6717e-06 | -4.5379e-05 | 0.0061448 | 0.0061454 | 0.0061454 | 0.99627 | -0.07462 | 0.99625 | -0.074712 | 2.9264
18 | -9.1086 | -4.2229 | 9.1138 | 4.2019 | 0.0052509 | -0.02101 | 0.2907 | 0.29039 | 0.2907 | 0.99698 | -0.06993 | 0.99765 | -0.057533 | 34.5254
19 | 0.91902 | 0.41848 | -0.91843 | -0.43044 | 0.00058703 | -0.011964 | 0.029239 | 0.029386 | 0.029386 | 0.99698 | -0.06993 | 0.99638 | -0.064941 | 13.3575
20 | 0.4141 | 0.19996 | -0.4141 | -0.20056 | 5.9273e-06 | -0.00059223 | 0.013315 | 0.013323 | 0.013323 | 0.99698 | -0.06993 | 0.99697 | -0.069806 | 6.0557
21 | 0.074512 | 0.035871 | -0.074512 | -0.036088 | 7.0264e-08 | -0.00021688 | 0.0023963 | 0.0023991 | 0.0023991 | 0.99621 | -0.074167 | 0.99621 | -0.074158 | 1.0905
22 | 0.3268 | 0.15045 | -0.32675 | -0.15821 | 4.8044e-05 | -0.0077597 | 0.010425 | 0.010521 | 0.010521 | 0.99621 | -0.074167 | 0.99607 | -0.072957 | 4.7824
23 | 2.617 | 1.2147 | -2.6132 | -1.2233 | 0.0038365 | -0.0086334 | 0.083484 | 0.083604 | 0.083604 | 0.99765 | -0.057533 | 0.99629 | -0.045829 | 38.0017
24 | -11.7309 | -5.4166 | 11.7328 | 5.4193 | 0.0018979 | 0.0026496 | 0.37387 | 0.37387 | 0.37387 | 0.99765 | -0.057533 | 0.99788 | -0.050001 | 45.5945
25 | 0.54036 | 0.24754 | -0.5402 | -0.25699 | 0.0001598 | -0.0094544 | 0.01722 | 0.017336 | 0.017336 | 0.99638 | -0.064941 | 0.99611 | -0.062572 | 7.8802
26 | 0.37807 | 0.18291 | -0.37807 | -0.18311 | 1.6868e-06 | -0.00020174 | 0.012168 | 0.012171 | 0.012171 | 0.99638 | -0.064941 | 0.99638 | -0.064902 | 5.5321
27 | 0.32675 | 0.15821 | -0.32675 | -0.15825 | 6.8331e-06 | -3.6752e-05 | 0.010521 | 0.010522 | 0.010522 | 0.99607 | -0.072957 | 0.99605 | -0.073095 | 5.0104
28 | 0.21792 | 0.095124 | -0.2179 | -0.10491 | 2.6643e-05 | -0.0097893 | 0.0068897 | 0.0070081 | 0.0070081 | 0.99629 | -0.045829 | 0.99617 | -0.044889 | 3.1855
29 | 0.22696 | 0.10974 | -0.22696 | -0.10992 | 5.6192e-07 | -0.00018672 | 0.0073047 | 0.007307 | 0.007307 | 0.99629 | -0.045829 | 0.99628 | -0.045807 | 3.3214
30 | 1.6138 | 0.76004 | -1.6136 | -0.76131 | 0.00020054 | -0.0012725 | 0.051687 | 0.051703 | 0.051703 | 0.99629 | -0.045829 | 0.99617 | -0.04481 | 23.5014
31 | 0.55451 | 0.25841 | -0.55438 | -0.26575 | 0.00013139 | -0.0073449 | 0.017726 | 0.017817 | 0.017817 | 0.99629 | -0.045829 | 0.99607 | -0.043874 | 8.0988
32 | -12.008 | -5.5526 | 12.0094 | 5.55 | 0.0013588 | -0.0026102 | 0.38272 | 0.38267 | 0.38272 | 0.99788 | -0.050001 | 0.99801 | -0.047566 | 45.4536
33 | 0.2179 | 0.10491 | -0.21789 | -0.10553 | 1.7124e-06 | -0.00061763 | 0.0070081 | 0.0070159 | 0.0070159 | 0.99617 | -0.044889 | 0.99617 | -0.044821 | 3.189
34 | 0.24289 | 0.11657 | -0.24289 | -0.11764 | 3.6573e-06 | -0.001062 | 0.0078073 | 0.0078207 | 0.0078207 | 0.99617 | -0.04481 | 0.99616 | -0.044681 | 3.5549
35 | 1.3707 | 0.64474 | -1.37 | -0.65089 | 0.00069182 | -0.0061527 | 0.043896 | 0.043975 | 0.043975 | 0.99617 | -0.04481 | 0.9957 | -0.040647 | 19.9885
36 | 0.55438 | 0.26575 | -0.55437 | -0.26618 | 7.6354e-06 | -0.00042439 | 0.017817 | 0.017823 | 0.017823 | 0.99607 | -0.043874 | 0.99605 | -0.043757 | 8.1012
37 | 0.81509 | 0.38716 | -0.81486 | -0.39299 | 0.0002283 | -0.0058288 | 0.026161 | 0.026235 | 0.026235 | 0.9957 | -0.040647 | 0.99544 | -0.03827 | 11.9251
38 | 0.10208 | 0.045551 | -0.10208 | -0.049345 | 2.2795e-06 | -0.0037938 | 0.0032409 | 0.0032872 | 0.0032872 | 0.9957 | -0.040647 | 0.99568 | -0.04047 | 1.4942
39 | 0.072116 | 0.034268 | -0.072115 | -0.034927 | 1.9986e-07 | -0.00065894 | 0.0023148 | 0.0023231 | 0.0023231 | 0.9957 | -0.040647 | 0.9957 | -0.040623 | 1.056
40 | 0.38074 | 0.18391 | -0.38074 | -0.18424 | 2.8171e-06 | -0.00033144 | 0.012259 | 0.012263 | 0.012263 | 0.9957 | -0.040647 | 0.9957 | -0.040583 | 5.5741
41 | 0.81486 | 0.39299 | -0.8148 | -0.39462 | 6.4323e-05 | -0.0016357 | 0.026235 | 0.026256 | 0.026256 | 0.99544 | -0.03827 | 0.99537 | -0.037586 | 11.9346
42 | 0.10208 | 0.049345 | -0.10208 | -0.04944 | 5.788e-08 | -9.4936e-05 | 0.0032872 | 0.0032884 | 0.0032884 | 0.99568 | -0.04047 | 0.99568 | -0.040465 | 1.4947
43 | 0.38074 | 0.18424 | -0.38074 | -0.1844 | 1.315e-06 | -0.00015463 | 0.012263 | 0.012265 | 0.012265 | 0.9957 | -0.040583 | 0.99569 | -0.040553 | 5.575
44 | 0.21489 | 0.10176 | -0.21489 | -0.10246 | 1.8859e-06 | -0.00070328 | 0.0068909 | 0.0068996 | 0.0068996 | 0.99605 | -0.043757 | 0.99605 | -0.043684 | 3.1362
45 | 0.5402 | 0.25699 | -0.5402 | -0.25708 | 1.4935e-06 | -8.7733e-05 | 0.017336 | 0.017338 | 0.017338 | 0.99611 | -0.062572 | 0.99611 | -0.062548 | 7.8807
46 | -0.14604 | -0.070728 | 0.14604 | 0.07065 | 2.7621e-06 | -7.8178e-05 | 0.0047482 | 0.0047471 | 0.0047482 | 0.98651 | -0.17261 | 0.98653 | -0.17248 | 2.261
47 | -0.14604 | -0.07065 | 0.14604 | 0.066549 | 5.2537e-06 | -0.004101 | 0.0047471 | 0.0046961 | 0.0047471 | 0.98653 | -0.17248 | 0.98656 | -0.17277 | 2.1578
48 | -0.48745 | -0.21802 | 0.48757 | 0.20954 | 0.00011856 | -0.0084752 | 0.015625 | 0.015525 | 0.015625 | 0.98656 | -0.17277 | 0.98679 | -0.17443 | 7.1022
49 | 0.17063 | 0.070006 | -0.17062 | -0.078308 | 1.4143e-05 | -0.0083018 | 0.0053967 | 0.0054935 | 0.0054935 | 0.98656 | -0.17277 | 0.98648 | -0.17222 | 2.4971
50 | 0.17078 | 0.081462 | -0.17078 | -0.082711 | 2.2068e-06 | -0.001249 | 0.0055365 | 0.0055523 | 0.0055523 | 0.98656 | -0.17277 | 0.98655 | -0.17266 | 2.5238
51 | 0.15496 | 0.074188 | -0.15496 | -0.075049 | 1.2519e-06 | -0.00086085 | 0.0050259 | 0.0050368 | 0.0050368 | 0.98679 | -0.17443 | 0.98678 | -0.17436 | 2.2895
52 | -0.64253 | -0.28373 | 0.64253 | 0.28362 | 2.6715e-06 | -0.00010941 | 0.020548 | 0.020546 | 0.020548 | 0.98679 | -0.17443 | 0.98679 | -0.17446 | 9.3398
53 | 0.17062 | 0.078308 | -0.17061 | -0.08263 | 7.5714e-06 | -0.0043219 | 0.0054935 | 0.0055475 | 0.0055475 | 0.98648 | -0.17222 | 0.98644 | -0.17186 | 2.5216
54 | 0.19589 | 0.094153 | -0.19589 | -0.094871 | 1.671e-06 | -0.00071837 | 0.006358 | 0.0063672 | 0.0063672 | 0.98679 | -0.17446 | 0.98678 | -0.17439 | 2.8942
55 | -0.83842 | -0.37777 | 0.83846 | 0.37687 | 3.7889e-05 | -0.00090093 | 0.026902 | 0.026891 | 0.026902 | 0.98679 | -0.17446 | 0.98683 | -0.17479 | 12.2281
56 | -0.21488 | -0.10407 | 0.21488 | 0.10398 | 7.0472e-06 | -9.3429e-05 | 0.0069198 | 0.0069186 | 0.0069198 | 0.99599 | -0.043738 | 0.99603 | -0.043522 | 3.2952
57 | -0.21488 | -0.10398 | 0.21489 | 0.10246 | 4.0672e-06 | -0.0015106 | 0.0069186 | 0.0068996 | 0.0069186 | 0.99603 | -0.043522 | 0.99605 | -0.043684 | 3.1448
58 | -12.0094 | -5.55 | 12.0126 | 5.5438 | 0.0031813 | -0.0061188 | 0.38267 | 0.38256 | 0.38267 | 0.99801 | -0.047566 | 0.99832 | -0.04186 | 45.4481
59 | -12.0126 | -5.5438 | 12.0147 | 5.5469 | 0.0021813 | 0.0030503 | 0.38256 | 0.38256 | 0.38256 | 0.99832 | -0.04186 | 0.99857 | -0.033402 | 46.6541
60 | 0.29287 | 0.13729 | -0.29287 | -0.13855 | 6.2569e-06 | -0.0012596 | 0.0093739 | 0.0093894 | 0.0093894 | 0.99611 | -0.062548 | 0.99609 | -0.062374 | 4.2679
61 | 0.29287 | 0.13855 | -0.29285 | -0.14134 | 1.3894e-05 | -0.0027821 | 0.0093894 | 0.0094243 | 0.0094243 | 0.99609 | -0.062374 | 0.99604 | -0.061973 | 4.2838
62 | 0.29285 | 0.14134 | -0.29285 | -0.14183 | 2.4922e-06 | -0.00049681 | 0.0094243 | 0.0094305 | 0.0094305 | 0.99604 | -0.061973 | 0.99603 | -0.061899 | 4.2866
63 | 0.071899 | 0.034596 | -0.071899 | -0.034822 | 6.7191e-08 | -0.00022621 | 0.0023033 | 0.0023062 | 0.0023062 | 1 | 0 | 1 | 8.0819e-06 | 1.0483
64 | 13.5099 | 6.2518 | -13.5054 | -6.2454 | 0.0045298 | 0.0063802 | 0.42973 | 0.42973 | 0.42973 | 1 | 0 | 0.99954 | -0.015593 | 52.4065
65 | 13.216 | 6.1061 | -13.2145 | -6.1083 | 0.0015201 | -0.0021903 | 0.42046 | 0.4205 | 0.4205 | 0.99954 | -0.015593 | 0.9994 | -0.018069 | 49.9408
66 | 0.28941 | 0.13934 | -0.28941 | -0.14002 | 3.2654e-06 | -0.00067639 | 0.0092768 | 0.0092853 | 0.0092853 | 0.99954 | -0.015593 | 0.99953 | -0.015496 | 4.2206
67 | -12.3208 | -5.6951 | 12.3221 | 5.6929 | 0.0012478 | -0.0022291 | 0.39239 | 0.39235 | 0.39239 | 0.99857 | -0.033402 | 0.99869 | -0.031222 | 46.6023
68 | 13.1453 | 6.0748 | -13.1447 | -6.0757 | 0.000613 | -0.00089816 | 0.41828 | 0.4183 | 0.4183 | 0.9994 | -0.018069 | 0.99935 | -0.019073 | 49.6793
69 | 0.28941 | 0.14002 | -0.28941 | -0.14017 | 7.0354e-07 | -0.00014556 | 0.0092853 | 0.0092872 | 0.0092872 | 0.99953 | -0.015496 | 0.99953 | -0.015474 | 4.2214
70 | -12.3221 | -5.6929 | 12.3244 | 5.6887 | 0.0023674 | -0.0042333 | 0.39235 | 0.39227 | 0.39235 | 0.99869 | -0.031222 | 0.99891 | -0.027083 | 46.5975
71 | 1.123 | 0.52882 | -1.122 | -0.54248 | 0.001066 | -0.013663 | 0.036326 | 0.036502 | 0.036502 | 0.98644 | -0.17133 | 0.98557 | -0.16332 | 16.5919
72 | -1.123 | -0.52882 | 1.1236 | 0.52134 | 0.00057844 | -0.0074807 | 0.036326 | 0.036231 | 0.036326 | 0.98644 | -0.17133 | 0.98691 | -0.17546 | 16.5118
73 | 1.122 | 0.54248 | -1.1219 | -0.54336 | 6.8866e-05 | -0.00087712 | 0.036502 | 0.036514 | 0.036514 | 0.98557 | -0.16332 | 0.98551 | -0.16279 | 16.5971
74 | 0.24973 | 0.11998 | -0.24972 | -0.12095 | 3.6682e-06 | -0.00097041 | 0.0081039 | 0.0081162 | 0.0081162 | 0.98691 | -0.17546 | 0.9869 | -0.17534 | 3.6892
75 | 1.4883 | 0.68858 | -1.4883 | -0.6889 | 4.4621e-05 | -0.00032454 | 0.047968 | 0.047972 | 0.047972 | 0.98691 | -0.17546 | 0.98689 | -0.17523 | 21.8055
76 | -2.8617 | -1.3299 | 2.8627 | 1.3281 | 0.0010334 | -0.0018077 | 0.092302 | 0.092276 | 0.092302 | 0.98691 | -0.17546 | 0.98725 | -0.17832 | 41.9555
77 | -2.9755 | -1.3823 | 2.9774 | 1.3792 | 0.0018983 | -0.0030362 | 0.095934 | 0.09589 | 0.095934 | 0.98725 | -0.17832 | 0.98784 | -0.18335 | 43.6064
78 | 0.11277 | 0.054184 | -0.11277 | -0.054615 | 3.3125e-07 | -0.00043073 | 0.0036582 | 0.0036637 | 0.0036637 | 0.98725 | -0.17832 | 0.98725 | -0.17829 | 1.6653
79 | -2.9774 | -1.3792 | 2.9776 | 1.3788 | 0.00025285 | -0.00040499 | 0.09589 | 0.095884 | 0.09589 | 0.98784 | -0.18335 | 0.98792 | -0.18401 | 43.5862
80 | 1.1498 | 0.52496 | -1.1497 | -0.52578 | 6.5832e-05 | -0.00081906 | 0.036973 | 0.036983 | 0.036983 | 0.98689 | -0.17523 | 0.98683 | -0.17479 | 16.8104
81 | 0.22202 | 0.10451 | -0.22202 | -0.10588 | 4.0378e-06 | -0.0013663 | 0.0071705 | 0.0071876 | 0.0071876 | 0.98792 | -0.18401 | 0.9879 | -0.18386 | 3.2671
82 | -3.6126 | -1.6834 | 3.6135 | 1.6825 | 0.00086191 | -0.00085395 | 0.11646 | 0.11645 | 0.11646 | 0.98792 | -0.18401 | 0.98814 | -0.18591 | 52.9367
83 | 0.31128 | 0.14891 | -0.31127 | -0.15059 | 9.8825e-06 | -0.0016828 | 0.010094 | 0.010115 | 0.010115 | 0.98683 | -0.17479 | 0.9868 | -0.17452 | 4.5979
84 | 13.1447 | 6.0757 | -13.1444 | -6.0761 | 0.00031301 | -0.0004585 | 0.4183 | 0.41831 | 0.41831 | 0.99935 | -0.019073 | 0.99932 | -0.019585 | 49.6804
85 | -0.31127 | -0.15076 | 0.31127 | 0.15059 | 9.6212e-07 | -0.00016344 | 0.010118 | 0.010115 | 0.010118 | 0.9868 | -0.17449 | 0.9868 | -0.17452 | 4.5989
86 | 0.10754 | 0.051907 | -0.10753 | -0.052081 | 3.2179e-06 | -0.00017388 | 0.0034734 | 0.0034756 | 0.0034756 | 0.99242 | -0.20812 | 0.99239 | -0.20832 | 1.655
87 | 4.8066 | 2.1976 | -4.8062 | -2.205 | 0.00044465 | -0.007325 | 0.15372 | 0.15382 | 0.15382 | 0.9925 | -0.21466 | 0.99239 | -0.21667 | 18.2679
88 | 0.39829 | 0.19169 | -0.39828 | -0.19239 | 6.5191e-06 | -0.00069214 | 0.012858 | 0.012867 | 0.012867 | 0.99239 | -0.21667 | 0.99238 | -0.21653 | 5.8485
89 | 4.4079 | 2.0133 | -4.4078 | -2.0147 | 7.2681e-05 | -0.0014371 | 0.14096 | 0.14098 | 0.14098 | 0.99239 | -0.21667 | 0.99237 | -0.21704 | 16.7433
90 | 0.2308 | 0.11127 | -0.23079 | -0.11178 | 1.6131e-06 | -0.00051055 | 0.0074532 | 0.0074597 | 0.0074597 | 0.99238 | -0.21653 | 0.99237 | -0.21647 | 3.3908
91 | 4.1823 | 1.9055 | -4.1818 | -1.907 | 0.00045814 | -0.0014595 | 0.13369 | 0.13371 | 0.13371 | 0.99237 | -0.21704 | 0.99225 | -0.21844 | 36.9374
92 | 0.15623 | 0.075544 | -0.15623 | -0.075666 | 1.7659e-07 | -0.00012189 | 0.0050487 | 0.0050502 | 0.0050502 | 0.99225 | -0.21844 | 0.99225 | -0.21843 | 2.2955
93 | 4.0256 | 1.8314 | -4.0254 | -1.8321 | 0.000202 | -0.00070636 | 0.12867 | 0.12868 | 0.12868 | 0.99225 | -0.21844 | 0.9922 | -0.21909 | 35.546
94 | -0.1409 | -0.068242 | 0.1409 | 0.068138 | 3.3832e-06 | -0.00010361 | 0.0045749 | 0.0045736 | 0.0045749 | 0.98786 | -0.18458 | 0.98788 | -0.18442 | 2.1785
95 | 0.10532 | 0.042578 | -0.10532 | -0.048916 | 4.0897e-06 | -0.0063386 | 0.0033196 | 0.0033934 | 0.0033934 | 0.98788 | -0.18442 | 0.98785 | -0.18416 | 1.5424
96 | -0.24622 | -0.11072 | 0.24629 | 0.091844 | 6.5493e-05 | -0.018872 | 0.007889 | 0.0076791 | 0.007889 | 0.98788 | -0.18442 | 0.98814 | -0.18591 | 3.5859
97 | 0.10532 | 0.048916 | -0.10531 | -0.051006 | 1.3896e-06 | -0.0020897 | 0.0033934 | 0.0034195 | 0.0034195 | 0.98785 | -0.18416 | 0.98784 | -0.18405 | 1.5543
98 | -3.8598 | -1.7743 | 3.8711 | 1.7648 | 0.011347 | -0.0095515 | 0.1241 | 0.12395 | 0.1241 | 0.98814 | -0.18591 | 0.99086 | -0.20832 | 56.4108
99 | -3.8711 | -1.7648 | 3.8756 | 1.761 | 0.0044723 | -0.0037932 | 0.12395 | 0.12389 | 0.12395 | 0.99086 | -0.20832 | 0.99194 | -0.21701 | 56.3395
100 | -3.8756 | -1.761 | 3.8762 | 1.7605 | 0.00058184 | -0.00049469 | 0.12389 | 0.12388 | 0.12389 | 0.99194 | -0.21701 | 0.99208 | -0.21813 | 56.3115
101 | -3.9451 | -1.7939 | 3.9452 | 1.7938 | 0.00010781 | -8.7363e-05 | 0.1261 | 0.1261 | 0.1261 | 0.99208 | -0.21813 | 0.99211 | -0.21834 | 57.3199
102 | 0.22202 | 0.10588 | -0.22202 | -0.10693 | 3.1142e-06 | -0.0010493 | 0.0071876 | 0.0072009 | 0.0072009 | 0.9879 | -0.18386 | 0.98789 | -0.18374 | 3.2731
103 | -3.9452 | -1.7938 | 3.9456 | 1.7935 | 0.0003951 | -0.00032024 | 0.1261 | 0.1261 | 0.1261 | 0.99211 | -0.21834 | 0.9922 | -0.21909 | 57.3193
104 | 12.9373 | 5.9785 | -12.9365 | -5.9797 | 0.00079353 | -0.0012223 | 0.41174 | 0.41177 | 0.41177 | 0.9992 | -0.021776 | 0.99913 | -0.023096 | 48.9036
105 | -13.143 | -6.0781 | 13.1444 | 6.0761 | 0.0013386 | -0.00196 | 0.41835 | 0.41831 | 0.41835 | 0.9992 | -0.021776 | 0.99932 | -0.019585 | 49.685
106 | 0.19793 | 0.095602 | -0.19793 | -0.09586 | 5.8324e-07 | -0.00025787 | 0.0063508 | 0.0063541 | 0.0063541 | 0.99913 | -0.023096 | 0.99913 | -0.02307 | 2.8882
107 | 12.7386 | 5.8841 | -12.7362 | -5.8879 | 0.0023594 | -0.0038143 | 0.40542 | 0.40549 | 0.40549 | 0.99913 | -0.023096 | 0.99891 | -0.027083 | 48.1581
108 | 0.4118 | 0.19921 | -0.4118 | -0.19944 | 2.2644e-06 | -0.00023049 | 0.01322 | 0.013223 | 0.013223 | 0.99891 | -0.027083 | 0.99891 | -0.027035 | 6.0104
109 | -0.22201 | -0.10753 | 0.22202 | 0.10693 | 1.7772e-06 | -0.00059707 | 0.0072085 | 0.0072009 | 0.0072085 | 0.98788 | -0.18367 | 0.98789 | -0.18374 | 3.2766

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.5958 | 6.2969

## res_load
| p_mw | q_mvar
0 | 0.29647 | 0.14358
1 | 0.30347 | 0.14698
2 | 0.32024 | 0.1551
3 | 0.13857 | 0.067111
4 | 0.22044 | 0.10676
5 | 0.12501 | 0.060546
6 | 0.37579 | 0.182
7 | 0.24115 | 0.11679
8 | 0.19087 | 0.092445
9 | 0.4141 | 0.20056
10 | 0.32675 | 0.15825
11 | 0.074512 | 0.036088
12 | 0.27526 | 0.13332
13 | 0.22696 | 0.10992
14 | 0.24289 | 0.11764
15 | 0.072115 | 0.034927
16 | 0.8148 | 0.39462
17 | 0.38074 | 0.1844
18 | 0.33948 | 0.16442
19 | 0.37807 | 0.18311
20 | 0.14604 | 0.070728
21 | 0.17078 | 0.082711
22 | 0.15496 | 0.075049
23 | 0.17061 | 0.08263
24 | 0.21488 | 0.10407
25 | 0.10208 | 0.04944
26 | 0.21789 | 0.10553
27 | 0.24733 | 0.11979
28 | 0.29285 | 0.14183
29 | 0.071899 | 0.034822
30 | 0.30607 | 0.14824
31 | 0.069163 | 0.033497
32 | 0.28941 | 0.14017
33 | 1.1219 | 0.54336
34 | 0.11277 | 0.054615
35 | 0.24972 | 0.12095
36 | 0.3385 | 0.16394
37 | 0.41298 | 0.20001
38 | 0.31127 | 0.15076
39 | 0.19589 | 0.094871
40 | 0.12895 | 0.062454
41 | 0.10753 | 0.052081
42 | 0.097328 | 0.047138
43 | 0.16749 | 0.081118
44 | 0.22551 | 0.10922
45 | 0.23079 | 0.11178
46 | 0.1409 | 0.068242
47 | 0.10531 | 0.051006
48 | 0.068892 | 0.033366
49 | 0.20572 | 0.099633
50 | 0.19793 | 0.09586
51 | 0.4118 | 0.19944
52 | 0.15623 | 0.075666
53 | 0.079812 | 0.038655
54 | 0.22201 | 0.10753

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1