## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_604_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_604_0_node_5 | 20 | n |  | TRUE
2 | bus_MV_604_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_604_0_node_107 | 20 | n |  | TRUE
4 | bus_MV_604_0_node_108 | 20 | n |  | TRUE
5 | bus_MV_604_0_node_122 | 20 | n |  | TRUE
6 | bus_MV_604_0_node_36 | 20 | n |  | TRUE
7 | bus_MV_604_0_node_1 | 20 | n |  | TRUE
8 | bus_MV_604_0_node_3 | 20 | n |  | TRUE
9 | bus_MV_604_0_node_4 | 20 | n |  | TRUE
10 | bus_MV_604_0_node_111 | 20 | n |  | TRUE
11 | bus_MV_604_0_node_115 | 20 | n |  | TRUE
12 | bus_MV_604_0_node_110 | 20 | n |  | TRUE
13 | bus_MV_604_0_node_114 | 20 | n |  | TRUE
14 | bus_MV_604_0_node_6 | 20 | n |  | TRUE
15 | bus_MV_604_0_node_83 | 20 | n |  | TRUE
16 | bus_MV_604_0_node_7 | 20 | n |  | TRUE
17 | bus_MV_604_0_node_82 | 20 | n |  | TRUE
18 | bus_MV_604_0_node_10 | 20 | n |  | TRUE
19 | bus_MV_604_0_node_11 | 20 | n |  | TRUE
20 | bus_MV_604_0_node_8 | 20 | n |  | TRUE
21 | bus_MV_604_0_node_9 | 20 | n |  | TRUE
22 | bus_MV_604_0_node_84 | 20 | n |  | TRUE
23 | bus_MV_604_0_node_112 | 20 | n |  | TRUE
24 | bus_MV_604_0_node_118 | 20 | n |  | TRUE
25 | bus_MV_604_0_node_72 | 20 | n |  | TRUE
26 | bus_MV_604_0_node_12 | 20 | n |  | TRUE
27 | bus_MV_604_0_node_70 | 20 | n |  | TRUE
28 | bus_MV_604_0_node_120 | 20 | n |  | TRUE
29 | bus_MV_604_0_node_113 | 20 | n |  | TRUE
30 | bus_MV_604_0_node_73 | 20 | n |  | TRUE
31 | bus_MV_604_0_node_77 | 20 | n |  | TRUE
32 | bus_MV_604_0_node_74 | 20 | n |  | TRUE
33 | bus_MV_604_0_node_106 | 20 | n |  | TRUE
34 | bus_MV_604_0_node_109 | 20 | n |  | TRUE
35 | bus_MV_604_0_node_126 | 20 | n |  | TRUE
36 | bus_MV_604_0_node_71 | 20 | n |  | TRUE
37 | bus_MV_604_0_node_13 | 20 | n |  | TRUE
38 | bus_MV_604_0_node_14 | 20 | n |  | TRUE
39 | bus_MV_604_0_node_15 | 20 | n |  | TRUE
40 | bus_MV_604_0_node_16 | 20 | n |  | TRUE
41 | bus_MV_604_0_node_17 | 20 | n |  | TRUE
42 | bus_MV_604_0_node_18 | 20 | n |  | TRUE
43 | bus_MV_604_0_node_19 | 20 | n |  | TRUE
44 | bus_MV_604_0_node_121 | 20 | n |  | TRUE
45 | bus_MV_604_0_node_20 | 20 | n |  | TRUE
46 | bus_MV_604_0_node_21 | 20 | n |  | TRUE
47 | bus_MV_604_0_node_22 | 20 | n |  | TRUE
48 | bus_MV_604_0_node_86 | 20 | n |  | TRUE
49 | bus_MV_604_0_node_23 | 20 | n |  | TRUE
50 | bus_MV_604_0_node_124 | 20 | n |  | TRUE
51 | bus_MV_604_0_node_24 | 20 | n |  | TRUE
52 | bus_MV_604_0_node_25 | 20 | n |  | TRUE
53 | bus_MV_604_0_node_58 | 20 | n |  | TRUE
54 | bus_MV_604_0_node_63 | 20 | n |  | TRUE
55 | bus_MV_604_0_node_92 | 20 | n |  | TRUE
56 | bus_MV_604_0_node_80 | 20 | n |  | TRUE
57 | bus_MV_604_0_node_30 | 20 | n |  | TRUE
58 | bus_MV_604_0_node_85 | 20 | n |  | TRUE
59 | bus_MV_604_0_node_29 | 20 | n |  | TRUE
60 | bus_MV_604_0_node_56 | 20 | n |  | TRUE
61 | bus_MV_604_0_node_57 | 20 | n |  | TRUE
62 | bus_MV_604_0_node_54 | 20 | n |  | TRUE
63 | bus_MV_604_0_node_62 | 20 | n |  | TRUE
64 | bus_MV_604_0_node_64 | 20 | n |  | TRUE
65 | bus_MV_604_0_node_65 | 20 | n |  | TRUE
66 | bus_MV_604_0_node_95 | 20 | n |  | TRUE
67 | bus_MV_604_0_node_79 | 20 | n |  | TRUE
68 | bus_MV_604_0_node_26 | 20 | n |  | TRUE
69 | bus_MV_604_0_node_28 | 20 | n |  | TRUE
70 | bus_MV_604_0_node_27 | 20 | n |  | TRUE
71 | bus_MV_604_0_node_31 | 20 | n |  | TRUE
72 | bus_MV_604_0_node_69 | 20 | n |  | TRUE
73 | bus_MV_604_0_node_87 | 20 | n |  | TRUE
74 | bus_MV_604_0_node_104 | 20 | n |  | TRUE
75 | bus_MV_604_0_node_117 | 20 | n |  | TRUE
76 | bus_MV_604_0_node_103 | 20 | n |  | TRUE
77 | bus_MV_604_0_node_32 | 20 | n |  | TRUE
78 | bus_MV_604_0_node_40 | 20 | n |  | TRUE
79 | bus_MV_604_0_node_41 | 20 | n |  | TRUE
80 | bus_MV_604_0_node_51 | 20 | n |  | TRUE
81 | bus_MV_604_0_node_52 | 20 | n |  | TRUE
82 | bus_MV_604_0_node_53 | 20 | n |  | TRUE
83 | bus_MV_604_0_node_39 | 20 | n |  | TRUE
84 | bus_MV_604_0_node_34 | 20 | n |  | TRUE
85 | bus_MV_604_0_node_49 | 20 | n |  | TRUE
86 | bus_MV_604_0_node_35 | 20 | n |  | TRUE
87 | bus_MV_604_0_node_119 | 20 | n |  | TRUE
88 | bus_MV_604_0_node_37 | 20 | n |  | TRUE
89 | bus_MV_604_0_node_38 | 20 | n |  | TRUE
90 | bus_MV_604_0_node_60 | 20 | n |  | TRUE
91 | bus_MV_604_0_node_47 | 20 | n |  | TRUE
92 | bus_MV_604_0_node_91 | 20 | n |  | TRUE
93 | bus_MV_604_0_node_46 | 20 | n |  | TRUE
94 | bus_MV_604_0_node_45 | 20 | n |  | TRUE
95 | bus_MV_604_0_node_125 | 20 | n |  | TRUE
96 | bus_MV_604_0_node_48 | 20 | n |  | TRUE
97 | bus_MV_604_0_node_127 | 20 | n |  | TRUE
98 | bus_MV_604_0_node_44 | 20 | n |  | TRUE
99 | bus_MV_604_0_node_42 | 20 | n |  | TRUE
100 | bus_MV_604_0_node_43 | 20 | n |  | TRUE
101 | bus_MV_604_0_node_123 | 20 | n |  | TRUE
102 | bus_MV_604_0_node_81 | 20 | n |  | TRUE
103 | bus_MV_604_0_node_59 | 20 | n |  | TRUE
104 | bus_MV_604_0_node_61 | 20 | n |  | TRUE
105 | bus_MV_604_0_node_90 | 20 | n |  | TRUE
106 | bus_MV_604_0_node_89 | 20 | n |  | TRUE
107 | bus_MV_604_0_node_116 | 20 | n |  | TRUE
108 | bus_MV_604_0_node_96 | 20 | n |  | TRUE
109 | bus_MV_604_0_node_66 | 20 | n |  | TRUE
110 | bus_MV_604_0_node_67 | 20 | n |  | TRUE
111 | bus_MV_604_0_node_68 | 20 | n |  | TRUE
112 | bus_MV_604_0_node_101 | 20 | n |  | TRUE
113 | bus_MV_604_0_node_99 | 20 | n |  | TRUE
114 | bus_MV_604_0_node_75 | 20 | n |  | TRUE
115 | bus_MV_604_0_node_76 | 20 | n |  | TRUE
116 | bus_MV_604_0_node_105 | 20 | n |  | TRUE
117 | bus_MV_604_0_node_78 | 20 | n |  | TRUE
118 | bus_MV_604_0_node_94 | 20 | n |  | TRUE
119 | bus_MV_604_0_node_93 | 20 | n |  | TRUE
120 | bus_MV_604_0_node_97 | 20 | n |  | TRUE
121 | bus_MV_604_0_node_98 | 20 | n |  | TRUE
122 | bus_MV_604_0_node_100 | 20 | n |  | TRUE
123 | bus_MV_604_0_node_102 | 20 | n |  | TRUE
124 | bus_HV_604_0_node_119 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_604_0_load_0 | 0 | 0.34815 | 0.16862 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_604_0_load_5 | 1 | 0.073731 | 0.03571 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_604_0_load_107 | 3 | 0.13701 | 0.066357 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_604_0_load_108 | 4 | 0.078163 | 0.037856 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_604_0_load_122 | 5 | 0.19391 | 0.093916 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_604_0_load_115 | 11 | 0.29616 | 0.14344 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_604_0_load_110 | 12 | 0.76223 | 0.36916 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_604_0_load_114 | 13 | 0.33569 | 0.16258 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_604_0_load_6 | 14 | 0.22039 | 0.10674 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_604_0_load_82 | 17 | 0.1394 | 0.067517 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_604_0_load_84 | 22 | 0.15908 | 0.077046 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_604_0_load_112 | 23 | 0.13345 | 0.064635 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_604_0_load_118 | 24 | 0.06986 | 0.033835 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_604_0_load_70 | 27 | 0.38768 | 0.18776 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_604_0_load_120 | 28 | 0.36711 | 0.1778 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_604_0_load_113 | 29 | 0.20387 | 0.098739 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_604_0_load_77 | 31 | 0.26323 | 0.12749 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_604_0_load_109 | 34 | 0.074829 | 0.036241 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_604_0_load_126 | 35 | 0.34842 | 0.16875 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_604_0_load_13 | 37 | 0.36634 | 0.17743 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_604_0_load_16 | 40 | 0.40149 | 0.19445 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_604_0_load_121 | 44 | 0.12584 | 0.060946 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_604_0_load_21 | 46 | 0.23492 | 0.11378 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_604_0_load_86 | 48 | 0.68384 | 0.3312 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_604_0_load_124 | 50 | 0.07923 | 0.038373 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_604_0_load_63 | 54 | 0.331 | 0.16031 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_604_0_load_92 | 55 | 0.083644 | 0.040511 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_604_0_load_80 | 56 | 0.097761 | 0.047348 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_604_0_load_85 | 58 | 0.10024 | 0.048548 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_604_0_load_54 | 62 | 0.4027 | 0.19504 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_604_0_load_62 | 63 | 0.24106 | 0.11675 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_604_0_load_79 | 67 | 0.089893 | 0.043537 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_604_0_load_26 | 68 | 0.36021 | 0.17446 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_604_0_load_69 | 72 | 0.33229 | 0.16093 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_604_0_load_87 | 73 | 0.38979 | 0.18878 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_604_0_load_104 | 74 | 0.09639 | 0.046684 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_604_0_load_117 | 75 | 0.32966 | 0.15966 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_604_0_load_32 | 77 | 0.28359 | 0.13735 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_604_0_load_51 | 80 | 0.36366 | 0.17613 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_604_0_load_52 | 81 | 0.28612 | 0.13857 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_604_0_load_53 | 82 | 0.27063 | 0.13107 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_604_0_load_119 | 87 | 0.34029 | 0.16481 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_604_0_load_38 | 89 | 0.25063 | 0.12138 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_604_0_load_91 | 92 | 0.12035 | 0.058287 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_604_0_load_125 | 95 | 0.33992 | 0.16463 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_604_0_load_127 | 97 | 0.076198 | 0.036904 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_604_0_load_44 | 98 | 0.23594 | 0.11427 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_604_0_load_123 | 101 | 0.31686 | 0.15346 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_604_0_load_81 | 102 | 0.15172 | 0.073484 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_604_0_load_59 | 103 | 0.21175 | 0.10256 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_604_0_load_89 | 106 | 0.10222 | 0.049508 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_604_0_load_116 | 107 | 0.075677 | 0.036652 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_604_0_load_96 | 108 | 0.11812 | 0.05721 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_604_0_load_66 | 109 | 0.32549 | 0.15764 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_604_0_load_101 | 112 | 0.128 | 0.061993 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_604_0_load_76 | 115 | 0.21577 | 0.1045 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_604_0_load_105 | 116 | 0.19401 | 0.093965 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_604_0_load_78 | 117 | 0.095202 | 0.046108 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_604_0_load_93 | 119 | 0.1933 | 0.093619 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_604_0_load_97 | 120 | 0.13414 | 0.064968 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_604_0_load_102 | 123 | 0.076877 | 0.037233 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 87 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_604_0_line_0 |  | 0 | 1 | 0.020641 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_604_0_line_1 |  | 1 | 2 | 0.023632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_604_0_line_2 |  | 2 | 7 | 0.028055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_604_0_line_3 |  | 3 | 4 | 0.081753 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
4 | MV_604_0_line_4 |  | 3 | 5 | 1.2383 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
5 | MV_604_0_line_5 |  | 3 | 6 | 0.033643 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
6 | MV_604_0_line_6 |  | 4 | 105 | 0.057642 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
7 | MV_604_0_line_7 |  | 5 | 9 | 0.028994 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
8 | MV_604_0_line_8 |  | 6 | 86 | 0.059651 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
9 | MV_604_0_line_9 |  | 7 | 8 | 0.08057 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
10 | MV_604_0_line_10 |  | 7 | 9 | 0.99183 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
11 | MV_604_0_line_11 |  | 8 | 10 | 0.021874 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_604_0_line_12 |  | 8 | 11 | 0.013229 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
13 | MV_604_0_line_13 |  | 10 | 12 | 0.021709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_604_0_line_14 |  | 11 | 13 | 0.015985 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
15 | MV_604_0_line_15 |  | 13 | 45 | 0.01179 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_604_0_line_16 |  | 14 | 15 | 0.057073 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_604_0_line_17 |  | 14 | 16 | 0.060137 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_604_0_line_18 |  | 15 | 17 | 0.19266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_604_0_line_19 |  | 16 | 18 | 0.26826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_604_0_line_20 |  | 16 | 19 | 0.57458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_604_0_line_21 |  | 17 | 22 | 0.050581 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_604_0_line_22 |  | 18 | 24 | 0.082842 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_604_0_line_23 |  | 19 | 25 | 0.26028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_604_0_line_24 |  | 19 | 26 | 0.59915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_604_0_line_25 |  | 19 | 27 | 0.022586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_604_0_line_26 |  | 20 | 21 | 0.063101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_604_0_line_27 |  | 20 | 22 | 0.057876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_604_0_line_28 |  | 21 | 23 | 0.040743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_604_0_line_29 |  | 23 | 29 | 0.0097022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_604_0_line_30 |  | 25 | 30 | 0.093498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_604_0_line_31 |  | 25 | 31 | 0.035861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_604_0_line_32 |  | 26 | 28 | 0.044274 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_604_0_line_33 |  | 27 | 36 | 0.042708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_604_0_line_34 |  | 29 | 43 | 0.030533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_604_0_line_35 |  | 30 | 32 | 0.059852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_604_0_line_36 |  | 30 | 33 | 1.0467 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_604_0_line_37 |  | 30 | 34 | 0.013115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_604_0_line_38 |  | 32 | 35 | 0.004894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_604_0_line_39 |  | 33 | 116 | 0.0075048 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_604_0_line_40 |  | 34 | 39 | 0.031172 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_604_0_line_41 |  | 36 | 114 | 0.40219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_604_0_line_42 |  | 37 | 38 | 0.05471 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_604_0_line_43 |  | 38 | 39 | 0.32729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_604_0_line_44 |  | 40 | 41 | 0.024225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_604_0_line_45 |  | 41 | 42 | 0.24196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_604_0_line_46 |  | 41 | 43 | 0.16021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_604_0_line_47 |  | 42 | 44 | 0.002324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_604_0_line_48 |  | 43 | 45 | 0.0868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_604_0_line_49 |  | 46 | 47 | 0.038163 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_604_0_line_50 |  | 47 | 48 | 0.10459 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_604_0_line_51 |  | 48 | 57 | 0.00899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_604_0_line_52 |  | 49 | 50 | 0.006734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_604_0_line_53 |  | 49 | 51 | 0.18464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_604_0_line_54 |  | 49 | 52 | 0.20436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_604_0_line_55 |  | 49 | 53 | 0.18042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_604_0_line_56 |  | 51 | 54 | 0.039599 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_604_0_line_57 |  | 52 | 55 | 0.039367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_604_0_line_58 |  | 52 | 56 | 0.028455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_604_0_line_59 |  | 53 | 63 | 0.022348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_604_0_line_60 |  | 53 | 60 | 0.18234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_604_0_line_61 |  | 54 | 64 | 0.014929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_604_0_line_62 |  | 55 | 66 | 0.053794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_604_0_line_63 |  | 56 | 67 | 0.0085272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_604_0_line_64 |  | 57 | 58 | 0.27241 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
65 | MV_604_0_line_65 |  | 57 | 59 | 0.05902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_604_0_line_66 |  | 58 | 75 | 0.021582 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
67 | MV_604_0_line_67 |  | 59 | 73 | 0.047261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_604_0_line_68 |  | 59 | 70 | 0.043894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_604_0_line_69 |  | 60 | 61 | 0.02065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_604_0_line_70 |  | 60 | 62 | 0.038645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_604_0_line_71 |  | 61 | 108 | 0.0068033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_604_0_line_72 |  | 64 | 65 | 0.17691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_604_0_line_73 |  | 65 | 72 | 0.002686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_604_0_line_74 |  | 66 | 118 | 0.016946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_604_0_line_75 |  | 67 | 117 | 0.046819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_604_0_line_76 |  | 68 | 69 | 0.006609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_604_0_line_77 |  | 68 | 70 | 0.10034 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_604_0_line_78 |  | 69 | 71 | 0.1052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_604_0_line_79 |  | 69 | 72 | 0.090845 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_604_0_line_80 |  | 71 | 74 | 0.010744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_604_0_line_81 |  | 74 | 76 | 0.0028406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_604_0_line_82 |  | 75 | 107 | 0.024704 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_604_0_line_83 |  | 75 | 100 | 0.05811 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
84 | MV_604_0_line_84 |  | 76 | 122 | 0.16499 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_604_0_line_85 |  | 77 | 78 | 0.18468 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_604_0_line_86 |  | 78 | 79 | 0.26926 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
87 | MV_604_0_line_87 |  | 78 | 80 | 0.005608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_604_0_line_88 |  | 78 | 81 | 0.17992 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
89 | MV_604_0_line_89 |  | 78 | 82 | 0.20202 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_604_0_line_90 |  | 78 | 83 | 0.17496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_604_0_line_91 |  | 79 | 99 | 0.066878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_604_0_line_92 |  | 79 | 100 | 0.21862 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
93 | MV_604_0_line_93 |  | 79 | 101 | 0.044946 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_604_0_line_94 |  | 81 | 84 | 0.043818 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
95 | MV_604_0_line_95 |  | 83 | 88 | 0.063676 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_604_0_line_96 |  | 84 | 85 | 0.17662 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
97 | MV_604_0_line_97 |  | 85 | 90 | 0.091548 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
98 | MV_604_0_line_98 |  | 86 | 87 | 0.029399 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
99 | MV_604_0_line_99 |  | 88 | 89 | 0.015115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_604_0_line_100 |  | 90 | 104 | 0.064173 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
101 | MV_604_0_line_101 |  | 90 | 103 | 0.030304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_604_0_line_102 |  | 91 | 92 | 0.014098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_604_0_line_103 |  | 91 | 93 | 0.30756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_604_0_line_104 |  | 91 | 94 | 0.08398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_604_0_line_105 |  | 93 | 95 | 0.01269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_604_0_line_106 |  | 93 | 96 | 0.17274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_604_0_line_107 |  | 94 | 98 | 0.028122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_604_0_line_108 |  | 96 | 97 | 0.006299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_604_0_line_109 |  | 98 | 103 | 0.071841 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
110 | MV_604_0_line_110 |  | 99 | 102 | 0.017661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_604_0_line_111 |  | 104 | 105 | 0.052676 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
112 | MV_604_0_line_112 |  | 104 | 106 | 0.051063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_604_0_line_113 |  | 109 | 110 | 0.04519 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
114 | MV_604_0_line_114 |  | 110 | 111 | 0.0063677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_604_0_line_115 |  | 111 | 112 | 0.048665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_604_0_line_116 |  | 112 | 113 | 0.033603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_604_0_line_117 |  | 113 | 122 | 0.005069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_604_0_line_118 |  | 113 | 121 | 0.007757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_604_0_line_119 |  | 114 | 115 | 0.015571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_604_0_line_120 |  | 118 | 119 | 0.059842 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_604_0_line_121 |  | 120 | 121 | 0.027735 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
122 | MV_604_0_line_122 |  | 122 | 123 | 0.031611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_604_0_trafo_119 | 25 MVA 110/20 kV | 124 | 87 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2597858.6197 | 1199093.7952
1 | 2597852.6245 | 1199074.0439
2 | 2597830.17 | 1199081.4103
3 | 2598769.0359 | 1200206.8592
4 | 2598750.7826 | 1200286.5489
5 | 2597837.5875 | 1199390.9511
6 | 2598797.8123 | 1200189.4304
7 | 2597838.0832 | 1199108.2884
8 | 2597789.4124 | 1199138.1895
9 | 2597856.3234 | 1199368.7878
10 | 2597769.8889 | 1199133.0831
11 | 2597786.2633 | 1199151.0383
12 | 2597775.3251 | 1199112.066
13 | 2597782.4581 | 1199166.5639
14 | 2597536.5079 | 1199047.8543
15 | 2597586.3516 | 1199020.0518
16 | 2597503.4652 | 1198997.6082
17 | 2597583.5554 | 1199212.4125
18 | 2597490.8143 | 1199111.1411
19 | 2597032.3075 | 1199050.9024
20 | 2597649.3466 | 1199165.4148
21 | 2597677.7925 | 1199149.4615
22 | 2597633.3951 | 1199221.0435
23 | 2597715.3454 | 1199163.154
24 | 2597497.2269 | 1199175.7356
25 | 2597064.363 | 1199235.0625
26 | 2596947.2892 | 1198784.4037
27 | 2597010.6011 | 1199057.1433
28 | 2596953.4567 | 1198828.2461
29 | 2597724.7472 | 1199165.5496
30 | 2597035.4216 | 1199275.6322
31 | 2597092.126 | 1199212.2697
32 | 2596997.1724 | 1199262.9783
33 | 2597467.0331 | 1199399.6614
34 | 2597043.9742 | 1199265.6892
35 | 2597000.4062 | 1199259.2969
36 | 2596969.5562 | 1199068.9443
37 | 2597286.3657 | 1199166.3291
38 | 2597231.7958 | 1199160.6185
39 | 2597065.9427 | 1199287.6343
40 | 2597672.4167 | 1199263.0806
41 | 2597695.1242 | 1199271.5199
42 | 2597672.7789 | 1199348.3144
43 | 2597754.3344 | 1199173.0884
44 | 2597673.5259 | 1199350.5153
45 | 2597779.6517 | 1199178.0145
46 | 2599188.5557 | 1199940.4039
47 | 2599211.1533 | 1199909.6508
48 | 2599189.3887 | 1199807.3547
49 | 2599400.5267 | 1200108.2108
50 | 2599393.782 | 1200107.8669
51 | 2599460.9299 | 1200017.9559
52 | 2599285.9179 | 1200025.914
53 | 2599402.7459 | 1200211.9329
54 | 2599430.9945 | 1199992.034
55 | 2599302.288 | 1200050.2693
56 | 2599262.3586 | 1200041.5527
57 | 2599198.0517 | 1199804.8632
58 | 2599066.1216 | 1200020.2224
59 | 2599209.2203 | 1199755.8353
60 | 2599316.375 | 1200260.1246
61 | 2599300.8401 | 1200273.7784
62 | 2599290.8703 | 1200232.4686
63 | 2599422.6891 | 1200201.7363
64 | 2599416.4921 | 1199988.3225
65 | 2599322.577 | 1199880.5535
66 | 2599326.3563 | 1200090.4434
67 | 2599254.5437 | 1200044.9644
68 | 2599337.5925 | 1199782.8103
69 | 2599337.8217 | 1199789.4138
70 | 2599239.84 | 1199760.1555
71 | 2599352.9765 | 1199706.512
72 | 2599320.6964 | 1199878.6305
73 | 2599193.3137 | 1199712.9063
74 | 2599363.1777 | 1199704.5986
75 | 2599065.3008 | 1200041.789
76 | 2599364.6163 | 1199702.3862
77 | 2599179.6374 | 1200474.2808
78 | 2599153.2946 | 1200291.4866
79 | 2599241.342 | 1200158.6246
80 | 2599158.5087 | 1200289.3846
81 | 2598976.8573 | 1200326.713
82 | 2599058.7735 | 1200470.0311
83 | 2599056.1164 | 1200154.0174
84 | 2598936.5921 | 1200343.9965
85 | 2598912.6553 | 1200361.655
86 | 2598842.0165 | 1200185.9637
87 | 2598827.6619 | 1200160.5308
88 | 2598997.7795 | 1200179.5413
89 | 2599005.0897 | 1200192.6026
90 | 2598822.7368 | 1200378.8491
91 | 2598880.9508 | 1200552.5638
92 | 2598874.5094 | 1200540.0237
93 | 2598999.9221 | 1200580.623
94 | 2598885.666 | 1200492.9197
95 | 2599008.7992 | 1200589.7152
96 | 2599032.2026 | 1200616.3143
97 | 2599031.3966 | 1200620.7279
98 | 2598872.6749 | 1200467.9645
99 | 2599230.2191 | 1200204.573
100 | 2599100.387 | 1200088.1747
101 | 2599210.4842 | 1200125.9447
102 | 2599238.9224 | 1200219.7137
103 | 2598838.0958 | 1200404.9932
104 | 2598782.9348 | 1200351.9764
105 | 2598779.9855 | 1200336.2464
106 | 2598809.3277 | 1200395.6901
107 | 2599045.4241 | 1200056.4592
108 | 2599295.7369 | 1200278.2776
109 | 2599548.1099 | 1199853.0369
110 | 2599503.9472 | 1199843.458
111 | 2599505.4692 | 1199837.2768
112 | 2599515.7314 | 1199789.7062
113 | 2599523.2377 | 1199756.9543
114 | 2596757.2375 | 1199054.0949
115 | 2596742.2611 | 1199049.8335
116 | 2597474.5345 | 1199399.887
117 | 2599218.5551 | 1200074.4137
118 | 2599315.2589 | 1200102.9182
119 | 2599279.7679 | 1200147.8246
120 | 2599557.1285 | 1199767.4842
121 | 2599530.5235 | 1199759.6662
122 | 2599518.5251 | 1199755.0537
123 | 2599513.1296 | 1199785.9174
124 | 2598827.6619 | 1200160.5308

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99489 | -0.15009 | 0.34815 | 0.16862
1 | 0.99491 | -0.15 | 0.073731 | 0.03571
2 | 0.99492 | -0.15012 | 0 | 0
3 | 0.99963 | -0.0068499 | 0.13701 | 0.066357
4 | 0.9993 | -0.017925 | 0.078163 | 0.037856
5 | 0.99615 | -0.12732 | 0.19391 | 0.093916
6 | 0.99973 | -0.0049721 | 0 | 0
7 | 0.99493 | -0.15026 | 0 | 0
8 | 0.99485 | -0.15191 | 0 | 0
9 | 0.99612 | -0.12798 | 0 | 0
10 | 0.99482 | -0.15171 | 0 | 0
11 | 0.99481 | -0.15227 | 0.29616 | 0.14344
12 | 0.9948 | -0.15151 | 0.76223 | 0.36916
13 | 0.99478 | -0.15268 | 0.33569 | 0.16258
14 | 0.99244 | -0.14291 | 0.22039 | 0.10674
15 | 0.99271 | -0.14069 | 0 | 0
16 | 0.99217 | -0.14508 | 0 | 0
17 | 0.99333 | -0.14537 | 0.1394 | 0.067517
18 | 0.99215 | -0.14494 | 0 | 0
19 | 0.99055 | -0.13246 | 0 | 0
20 | 0.99379 | -0.14491 | 0 | 0
21 | 0.99402 | -0.14665 | 0 | 0
22 | 0.99358 | -0.1433 | 0.15908 | 0.077046
23 | 0.99416 | -0.14777 | 0.13345 | 0.064635
24 | 0.99214 | -0.14488 | 0.06986 | 0.033835
25 | 0.99014 | -0.12921 | 0 | 0
26 | 0.99027 | -0.13005 | 0 | 0
27 | 0.99053 | -0.13231 | 0.38768 | 0.18776
28 | 0.99024 | -0.13025 | 0.36711 | 0.1778
29 | 0.9942 | -0.14805 | 0.20387 | 0.098739
30 | 0.99002 | -0.12832 | 0 | 0
31 | 0.99013 | -0.1291 | 0.26323 | 0.12749
32 | 0.98999 | -0.12807 | 0 | 0
33 | 0.98976 | -0.12668 | 0 | 0
34 | 0.99001 | -0.12826 | 0.074829 | 0.036241
35 | 0.98999 | -0.12805 | 0.34842 | 0.16875
36 | 0.99052 | -0.13222 | 0 | 0
37 | 0.98982 | -0.12654 | 0.36634 | 0.17743
38 | 0.98984 | -0.12678 | 0 | 0
39 | 0.99 | -0.12814 | 0 | 0
40 | 0.9942 | -0.14796 | 0.40149 | 0.19445
41 | 0.99421 | -0.14808 | 0 | 0
42 | 0.99417 | -0.14776 | 0 | 0
43 | 0.99432 | -0.14902 | 0 | 0
44 | 0.99417 | -0.14775 | 0.12584 | 0.060946
45 | 0.99472 | -0.15224 | 0 | 0
46 | 0.99617 | -0.085674 | 0.23492 | 0.11378
47 | 0.99619 | -0.085565 | 0 | 0
48 | 0.99624 | -0.085265 | 0.68384 | 0.3312
49 | 0.99393 | -0.082198 | 0 | 0
50 | 0.99393 | -0.082191 | 0.07923 | 0.038373
51 | 0.99426 | -0.085046 | 0 | 0
52 | 0.99379 | -0.080923 | 0 | 0
53 | 0.99376 | -0.080632 | 0 | 0
54 | 0.99437 | -0.084278 | 0.331 | 0.16031
55 | 0.99377 | -0.080799 | 0.083644 | 0.040511
56 | 0.99378 | -0.080828 | 0.097761 | 0.047348
57 | 0.99625 | -0.085364 | 0 | 0
58 | 0.99691 | -0.078146 | 0.10024 | 0.048548
59 | 0.99598 | -0.082985 | 0 | 0
60 | 0.99363 | -0.079525 | 0 | 0
61 | 0.99363 | -0.079496 | 0 | 0
62 | 0.99361 | -0.079337 | 0.4027 | 0.19504
63 | 0.99375 | -0.080567 | 0.24106 | 0.11675
64 | 0.9944 | -0.084566 | 0 | 0
65 | 0.99479 | -0.087948 | 0 | 0
66 | 0.99376 | -0.080682 | 0 | 0
67 | 0.99377 | -0.08081 | 0.089893 | 0.043537
68 | 0.99518 | -0.085674 | 0.36021 | 0.17446
69 | 0.99516 | -0.085466 | 0 | 0
70 | 0.9958 | -0.081414 | 0 | 0
71 | 0.99506 | -0.084562 | 0 | 0
72 | 0.9948 | -0.087999 | 0.33229 | 0.16093
73 | 0.99596 | -0.082764 | 0.38979 | 0.18878
74 | 0.99505 | -0.084469 | 0.09639 | 0.046684
75 | 0.99703 | -0.075205 | 0.32966 | 0.15966
76 | 0.99505 | -0.084448 | 0 | 0
77 | 0.99756 | -0.064579 | 0.28359 | 0.13735
78 | 0.99766 | -0.063941 | 0 | 0
79 | 0.99734 | -0.069765 | 0 | 0
80 | 0.99766 | -0.063916 | 0.36366 | 0.17613
81 | 0.99826 | -0.043934 | 0.28612 | 0.13857
82 | 0.99755 | -0.064607 | 0.27063 | 0.13107
83 | 0.9976 | -0.063442 | 0 | 0
84 | 0.99841 | -0.038858 | 0 | 0
85 | 0.99868 | -0.034037 | 0 | 0
86 | 0.99991 | -0.0016418 | 0 | 0
87 | 1 | 0 | -13.9802 | -6.44
88 | 0.99757 | -0.063638 | 0 | 0
89 | 0.99757 | -0.063593 | 0.25063 | 0.12138
90 | 0.99899 | -0.023422 | 0 | 0
91 | 0.99877 | -0.023233 | 0 | 0
92 | 0.99877 | -0.023213 | 0.12035 | 0.058287
93 | 0.99861 | -0.02186 | 0 | 0
94 | 0.99883 | -0.023703 | 0 | 0
95 | 0.99861 | -0.021808 | 0.33992 | 0.16463
96 | 0.99859 | -0.021726 | 0 | 0
97 | 0.99859 | -0.021721 | 0.076198 | 0.036904
98 | 0.99885 | -0.023857 | 0.23594 | 0.11427
99 | 0.99732 | -0.069648 | 0 | 0
100 | 0.9971 | -0.074066 | 0 | 0
101 | 0.99731 | -0.069938 | 0.31686 | 0.15346
102 | 0.99732 | -0.069616 | 0.15172 | 0.073484
103 | 0.99896 | -0.023094 | 0.21175 | 0.10256
104 | 0.9991 | -0.021418 | 0 | 0
105 | 0.9992 | -0.019751 | 0 | 0
106 | 0.9991 | -0.021358 | 0.10222 | 0.049508
107 | 0.99703 | -0.075227 | 0.075677 | 0.036652
108 | 0.99363 | -0.079486 | 0.11812 | 0.05721
109 | 0.99483 | -0.082935 | 0.32549 | 0.15764
110 | 0.99486 | -0.082755 | 0 | 0
111 | 0.99486 | -0.08278 | 0 | 0
112 | 0.99488 | -0.082969 | 0.128 | 0.061993
113 | 0.9949 | -0.083149 | 0 | 0
114 | 0.99041 | -0.1313 | 0 | 0
115 | 0.99041 | -0.13126 | 0.21577 | 0.1045
116 | 0.98976 | -0.12667 | 0.19401 | 0.093965
117 | 0.99377 | -0.080757 | 0.095202 | 0.046108
118 | 0.99375 | -0.080644 | 0 | 0
119 | 0.99374 | -0.080507 | 0.1933 | 0.093619
120 | 0.9949 | -0.083093 | 0.13414 | 0.064968
121 | 0.9949 | -0.083137 | 0 | 0
122 | 0.99491 | -0.083184 | 0 | 0
123 | 0.9949 | -0.083156 | 0.076877 | 0.037233
124 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.34815 | -0.16862 | 0.34816 | 0.1686 | 4.6332e-06 | -2.1489e-05 | 0.011224 | 0.011224 | 0.011224 | 0.99489 | -0.15009 | 0.99491 | -0.15 | 5.3449
1 | -0.42189 | -0.20431 | 0.42189 | 0.20375 | 5.8331e-06 | -0.00055678 | 0.013601 | 0.013594 | 0.013601 | 0.99491 | -0.15 | 0.99492 | -0.15012 | 6.1823
2 | -0.42189 | -0.20375 | 0.4219 | 0.20309 | 6.917e-06 | -0.00066101 | 0.013594 | 0.013586 | 0.013594 | 0.99492 | -0.15012 | 0.99493 | -0.15026 | 6.1791
3 | 8.1107 | 3.7903 | -8.1087 | -3.7877 | 0.0019476 | 0.0026083 | 0.25854 | 0.25854 | 0.25854 | 0.99963 | -0.0068499 | 0.9993 | -0.017925 | 31.5292
4 | 5.714 | 2.5781 | -5.6996 | -2.5604 | 0.014466 | 0.017752 | 0.18103 | 0.18107 | 0.18107 | 0.99963 | -0.0068499 | 0.99615 | -0.12732 | 22.0815
5 | -13.9617 | -6.4348 | 13.963 | 6.4334 | 0.0012134 | -0.0014549 | 0.44395 | 0.44392 | 0.44395 | 0.99963 | -0.0068499 | 0.99973 | -0.0049721 | 52.726
6 | 8.0306 | 3.7499 | -8.0299 | -3.7536 | 0.00069162 | -0.0037625 | 0.25603 | 0.25608 | 0.25608 | 0.9993 | -0.017925 | 0.9992 | -0.019751 | 30.4139
7 | 5.5057 | 2.4665 | -5.5055 | -2.4685 | 0.0001622 | -0.0020493 | 0.17483 | 0.17485 | 0.17485 | 0.99615 | -0.12732 | 0.99612 | -0.12798 | 20.7664
8 | -13.963 | -6.4334 | 13.9651 | 6.4308 | 0.002151 | -0.0025813 | 0.44392 | 0.44387 | 0.44392 | 0.99973 | -0.0049721 | 0.99991 | -0.0016418 | 52.7223
9 | 5.078 | 2.3354 | -5.0776 | -2.3412 | 0.00038794 | -0.0057369 | 0.16217 | 0.16225 | 0.16225 | 0.99493 | -0.15026 | 0.99485 | -0.15191 | 19.269
10 | -5.4999 | -2.5385 | 5.5055 | 2.4685 | 0.0055778 | -0.069982 | 0.17575 | 0.17485 | 0.17575 | 0.99493 | -0.15026 | 0.99612 | -0.12798 | 20.8735
11 | 0.76226 | 0.36814 | -0.76225 | -0.36866 | 1.7624e-05 | -0.00051166 | 0.024563 | 0.02457 | 0.02457 | 0.99485 | -0.15191 | 0.99482 | -0.15171 | 11.1681
12 | 4.3154 | 1.973 | -4.3152 | -1.9734 | 0.00012114 | -0.00036113 | 0.13769 | 0.13769 | 0.13769 | 0.99485 | -0.15191 | 0.99481 | -0.15227 | 38.0365
13 | 0.76225 | 0.36866 | -0.76223 | -0.36916 | 1.75e-05 | -0.00050777 | 0.02457 | 0.024576 | 0.024576 | 0.99482 | -0.15171 | 0.9948 | -0.15151 | 11.171
14 | 4.0191 | 1.8299 | -4.019 | -1.8304 | 0.00012679 | -0.00045056 | 0.12815 | 0.12815 | 0.12815 | 0.99481 | -0.15227 | 0.99478 | -0.15268 | 35.4012
15 | 3.6833 | 1.6678 | -3.6831 | -1.668 | 0.00021668 | -0.00021427 | 0.11733 | 0.11734 | 0.11734 | 0.99478 | -0.15268 | 0.99472 | -0.15224 | 53.3342
16 | -2.513 | -1.1238 | 2.5137 | 1.1242 | 0.00065201 | 0.00034127 | 0.080075 | 0.080074 | 0.080075 | 0.99244 | -0.14291 | 0.99271 | -0.14069 | 38.1307
17 | 2.2927 | 1.0171 | -2.2921 | -1.0168 | 0.00057029 | 0.00028652 | 0.072955 | 0.072956 | 0.072956 | 0.99244 | -0.14291 | 0.99217 | -0.14508 | 34.7411
18 | -2.5137 | -1.1242 | 2.5153 | 1.1201 | 0.001648 | -0.0040471 | 0.080074 | 0.08002 | 0.080074 | 0.99271 | -0.14069 | 0.99333 | -0.14537 | 36.3972
19 | 0.069862 | 0.025583 | -0.06986 | -0.031888 | 1.73e-06 | -0.0063044 | 0.0021647 | 0.0022344 | 0.0022344 | 0.99217 | -0.14508 | 0.99215 | -0.14494 | 1.0156
20 | 2.2222 | 0.99121 | -2.2184 | -1.0036 | 0.0038534 | -0.01234 | 0.070797 | 0.070957 | 0.070957 | 0.99217 | -0.14508 | 0.99055 | -0.13246 | 32.2534
21 | -2.6548 | -1.1876 | 2.6554 | 1.188 | 0.00064378 | 0.00034364 | 0.084519 | 0.084519 | 0.084519 | 0.99333 | -0.14537 | 0.99358 | -0.1433 | 40.2473
22 | 0.06986 | 0.031888 | -0.06986 | -0.033835 | 5.5804e-07 | -0.0019468 | 0.0022344 | 0.0022585 | 0.0022585 | 0.99215 | -0.14494 | 0.99214 | -0.14488 | 1.0266
23 | 1.2477 | 0.55883 | -1.2471 | -0.56477 | 0.00055256 | -0.0059312 | 0.039841 | 0.039914 | 0.039914 | 0.99055 | -0.13246 | 0.99014 | -0.12921 | 18.1427
24 | 0.36723 | 0.16375 | -0.36712 | -0.17775 | 0.00011142 | -0.013999 | 0.011718 | 0.01189 | 0.01189 | 0.99055 | -0.13246 | 0.99027 | -0.13005 | 5.4047
25 | 0.60349 | 0.28096 | -0.60348 | -0.28149 | 1.1352e-05 | -0.00052574 | 0.0194 | 0.019407 | 0.019407 | 0.99055 | -0.13246 | 0.99053 | -0.13231 | 8.8212
26 | -2.8151 | -1.2638 | 2.8158 | 1.2626 | 0.0006767 | -0.0012876 | 0.089636 | 0.089618 | 0.089636 | 0.99379 | -0.14491 | 0.99402 | -0.14665 | 40.7434
27 | 2.8151 | 1.2638 | -2.8145 | -1.265 | 0.00062089 | -0.0011803 | 0.089636 | 0.089652 | 0.089652 | 0.99379 | -0.14491 | 0.99358 | -0.1433 | 40.7508
28 | -2.8158 | -1.2626 | 2.8162 | 1.2617 | 0.00043678 | -0.00083174 | 0.089618 | 0.089606 | 0.089618 | 0.99402 | -0.14665 | 0.99416 | -0.14777 | 40.7354
29 | -2.9497 | -1.3264 | 2.9498 | 1.3262 | 0.00011423 | -0.00019508 | 0.09391 | 0.093908 | 0.09391 | 0.99416 | -0.14777 | 0.9942 | -0.14805 | 42.6865
30 | 0.98387 | 0.43812 | -0.98375 | -0.44027 | 0.00012317 | -0.0021517 | 0.0314 | 0.031426 | 0.031426 | 0.99014 | -0.12921 | 0.99002 | -0.12832 | 14.2847
31 | 0.26323 | 0.12665 | -0.26323 | -0.12749 | 3.4767e-06 | -0.00083837 | 0.0085165 | 0.0085272 | 0.0085272 | 0.99014 | -0.12921 | 0.99013 | -0.1291 | 3.876
32 | 0.36712 | 0.17775 | -0.36711 | -0.1778 | 1.1153e-05 | -4.4843e-05 | 0.01189 | 0.011891 | 0.011891 | 0.99027 | -0.13005 | 0.99024 | -0.13025 | 5.6624
33 | 0.2158 | 0.093726 | -0.2158 | -0.094726 | 2.6851e-06 | -0.00099967 | 0.0068567 | 0.0068684 | 0.0068684 | 0.99053 | -0.13231 | 0.99052 | -0.13222 | 3.122
34 | -3.1537 | -1.4249 | 3.1541 | 1.4243 | 0.00041152 | -0.00059858 | 0.10048 | 0.10047 | 0.10048 | 0.9942 | -0.14805 | 0.99432 | -0.14902 | 45.6738
35 | 0.34843 | 0.16724 | -0.34842 | -0.16863 | 1.0164e-05 | -0.0013976 | 0.011269 | 0.011287 | 0.011287 | 0.99002 | -0.12832 | 0.98999 | -0.12807 | 5.1305
36 | 0.19407 | 0.069316 | -0.19401 | -0.09379 | 5.265e-05 | -0.024474 | 0.0060088 | 0.0062851 | 0.0062851 | 0.99002 | -0.12832 | 0.98976 | -0.12668 | 2.8569
37 | 0.44125 | 0.20372 | -0.44125 | -0.20402 | 3.5171e-06 | -0.00030588 | 0.014171 | 0.014175 | 0.014175 | 0.99002 | -0.12832 | 0.99001 | -0.12826 | 6.4432
38 | 0.34842 | 0.16863 | -0.34842 | -0.16875 | 8.3248e-07 | -0.00011428 | 0.011287 | 0.011289 | 0.011289 | 0.98999 | -0.12807 | 0.98999 | -0.12805 | 5.1312
39 | 0.19401 | 0.09379 | -0.19401 | -0.093965 | 3.9591e-07 | -0.00017542 | 0.0062851 | 0.0062874 | 0.0062874 | 0.98976 | -0.12668 | 0.98976 | -0.12667 | 2.8579
40 | 0.36642 | 0.16778 | -0.36641 | -0.16851 | 5.7507e-06 | -0.00072775 | 0.011751 | 0.01176 | 0.01176 | 0.99001 | -0.12826 | 0.99 | -0.12814 | 5.3454
41 | 0.2158 | 0.094726 | -0.21577 | -0.10414 | 2.5746e-05 | -0.0094129 | 0.0068684 | 0.0069833 | 0.0069833 | 0.99052 | -0.13222 | 0.99041 | -0.1313 | 3.1742
42 | -0.36634 | -0.17743 | 0.36635 | 0.17615 | 1.0279e-05 | -0.0012768 | 0.011871 | 0.011855 | 0.011871 | 0.98982 | -0.12654 | 0.98984 | -0.12678 | 5.396
43 | -0.36635 | -0.17615 | 0.36641 | 0.16851 | 6.091e-05 | -0.0076395 | 0.011855 | 0.01176 | 0.011855 | 0.98984 | -0.12678 | 0.99 | -0.12814 | 5.3886
44 | -0.40149 | -0.19445 | 0.40149 | 0.19388 | 5.423e-06 | -0.00057011 | 0.012953 | 0.012946 | 0.012953 | 0.9942 | -0.14796 | 0.99421 | -0.14808 | 5.8877
45 | 0.12584 | 0.055183 | -0.12584 | -0.060892 | 5.2301e-06 | -0.0057087 | 0.0039898 | 0.0040592 | 0.0040592 | 0.99421 | -0.14808 | 0.99417 | -0.14776 | 1.8451
46 | -0.52734 | -0.24906 | 0.5274 | 0.2453 | 6.1158e-05 | -0.0037632 | 0.016933 | 0.016887 | 0.016933 | 0.99421 | -0.14808 | 0.99432 | -0.14902 | 7.697
47 | 0.12584 | 0.060892 | -0.12584 | -0.060946 | 5.1132e-08 | -5.4828e-05 | 0.0040592 | 0.0040599 | 0.0040599 | 0.99417 | -0.14776 | 0.99417 | -0.14775 | 1.8454
48 | -3.6815 | -1.6696 | 3.6831 | 1.668 | 0.0015957 | -0.0015765 | 0.11736 | 0.11734 | 0.11736 | 0.99432 | -0.14902 | 0.99472 | -0.15224 | 53.3453
49 | -0.23492 | -0.11378 | 0.23492 | 0.11373 | 3.8899e-06 | -4.2775e-05 | 0.007564 | 0.0075634 | 0.007564 | 0.99617 | -0.085674 | 0.99619 | -0.085565 | 3.6019
50 | -0.23492 | -0.11373 | 0.23493 | 0.11362 | 1.0657e-05 | -0.00011724 | 0.0075634 | 0.0075618 | 0.0075634 | 0.99619 | -0.085565 | 0.99624 | -0.085265 | 3.6016
51 | -0.91878 | -0.44482 | 0.91879 | 0.44461 | 1.0499e-05 | -0.00020992 | 0.029579 | 0.029576 | 0.029579 | 0.99624 | -0.085265 | 0.99625 | -0.085364 | 13.4449
52 | 0.07923 | 0.038214 | -0.07923 | -0.038373 | 5.8723e-08 | -0.00015882 | 0.0025548 | 0.0025568 | 0.0025568 | 0.99393 | -0.082198 | 0.99393 | -0.082191 | 1.1622
53 | -1.4012 | -0.65699 | 1.4017 | 0.65278 | 0.00049741 | -0.004209 | 0.044949 | 0.044895 | 0.044949 | 0.99393 | -0.082198 | 0.99426 | -0.085046 | 20.4312
54 | 0.5599 | 0.26035 | -0.55981 | -0.26514 | 8.8035e-05 | -0.0047935 | 0.017934 | 0.017993 | 0.017993 | 0.99393 | -0.082198 | 0.99379 | -0.080923 | 8.1787
55 | 0.76211 | 0.35843 | -0.76197 | -0.36264 | 0.00014442 | -0.0042119 | 0.02446 | 0.024513 | 0.024513 | 0.99393 | -0.082198 | 0.99376 | -0.080632 | 11.1424
56 | -1.4017 | -0.65278 | 1.4019 | 0.65282 | 0.0001422 | 4.2334e-05 | 0.044895 | 0.044895 | 0.044895 | 0.99426 | -0.085046 | 0.99437 | -0.084278 | 21.3786
57 | 0.27695 | 0.13013 | -0.27695 | -0.13105 | 4.1576e-06 | -0.00092703 | 0.0088887 | 0.0089002 | 0.0089002 | 0.99379 | -0.080923 | 0.99377 | -0.080799 | 4.0455
58 | 0.28286 | 0.13502 | -0.28286 | -0.13569 | 3.1519e-06 | -0.00067005 | 0.0091046 | 0.009113 | 0.009113 | 0.99379 | -0.080923 | 0.99378 | -0.080828 | 4.1423
59 | 0.24106 | 0.11622 | -0.24106 | -0.11675 | 1.8046e-06 | -0.0005264 | 0.007774 | 0.0077807 | 0.0077807 | 0.99376 | -0.080632 | 0.99375 | -0.080567 | 3.5367
60 | 0.52091 | 0.24641 | -0.52084 | -0.25069 | 6.8428e-05 | -0.0042786 | 0.016739 | 0.016793 | 0.016793 | 0.99376 | -0.080632 | 0.99363 | -0.079525 | 7.6333
61 | -1.7329 | -0.81313 | 1.7329 | 0.8128 | 6.1541e-05 | -0.0003342 | 0.05557 | 0.055566 | 0.05557 | 0.99437 | -0.084278 | 0.9944 | -0.084566 | 25.2593
62 | 0.19331 | 0.090542 | -0.1933 | -0.091809 | 2.7681e-06 | -0.0012676 | 0.0062006 | 0.0062164 | 0.0062164 | 0.99377 | -0.080799 | 0.99376 | -0.080682 | 2.8256
63 | 0.1851 | 0.08834 | -0.18509 | -0.088541 | 4.0424e-07 | -0.00020095 | 0.0059577 | 0.0059602 | 0.0059602 | 0.99378 | -0.080828 | 0.99377 | -0.08081 | 2.7092
64 | -4.5002 | -2.1338 | 4.5029 | 2.1265 | 0.002738 | -0.0072918 | 0.14431 | 0.1442 | 0.14431 | 0.99625 | -0.085364 | 0.99691 | -0.078146 | 39.8656
65 | 3.5814 | 1.6892 | -3.5804 | -1.6903 | 0.0010374 | -0.0010905 | 0.11474 | 0.11476 | 0.11476 | 0.99625 | -0.085364 | 0.99598 | -0.082985 | 52.1618
66 | -4.6032 | -2.175 | 4.6036 | 2.1755 | 0.0004306 | 0.00046556 | 0.14742 | 0.14742 | 0.14742 | 0.99691 | -0.078146 | 0.99703 | -0.075205 | 42.121
67 | 0.3898 | 0.18767 | -0.38979 | -0.18878 | 9.9312e-06 | -0.0011164 | 0.012539 | 0.012553 | 0.012553 | 0.99598 | -0.082985 | 0.99596 | -0.082764 | 5.706
68 | 3.1906 | 1.5026 | -3.1899 | -1.5034 | 0.00061233 | -0.00085779 | 0.10222 | 0.10223 | 0.10223 | 0.99598 | -0.082985 | 0.9958 | -0.081414 | 46.4682
69 | 0.11812 | 0.056563 | -0.11812 | -0.057049 | 3.9975e-07 | -0.00048666 | 0.0038049 | 0.0038111 | 0.0038111 | 0.99363 | -0.079525 | 0.99363 | -0.079496 | 1.7323
70 | 0.40271 | 0.19413 | -0.4027 | -0.19504 | 8.7109e-06 | -0.00090838 | 0.012988 | 0.013 | 0.013 | 0.99363 | -0.079525 | 0.99361 | -0.079337 | 5.909
71 | 0.11812 | 0.057049 | -0.11812 | -0.05721 | 1.3198e-07 | -0.00016033 | 0.0038111 | 0.0038131 | 0.0038131 | 0.99363 | -0.079496 | 0.99363 | -0.079486 | 1.7332
72 | -1.7329 | -0.8128 | 1.7337 | 0.80884 | 0.00072852 | -0.0039622 | 0.055566 | 0.055515 | 0.055566 | 0.9944 | -0.084566 | 0.99479 | -0.087948 | 25.2573
73 | -1.7337 | -0.80884 | 1.7337 | 0.80878 | 1.1051e-05 | -6.0187e-05 | 0.055515 | 0.055514 | 0.055515 | 0.99479 | -0.087948 | 0.9948 | -0.087999 | 25.2339
74 | 0.1933 | 0.091809 | -0.1933 | -0.092209 | 8.7492e-07 | -0.00039931 | 0.0062164 | 0.0062214 | 0.0062214 | 0.99376 | -0.080682 | 0.99375 | -0.080644 | 2.8279
75 | 0.095202 | 0.045004 | -0.095202 | -0.046108 | 5.8748e-07 | -0.0011038 | 0.0030589 | 0.0030727 | 0.0030727 | 0.99377 | -0.08081 | 0.99377 | -0.080757 | 1.3967
76 | 2.8279 | 1.3279 | -2.8278 | -1.3281 | 7.246e-05 | -0.00013478 | 0.090623 | 0.090625 | 0.090625 | 0.99518 | -0.085674 | 0.99516 | -0.085466 | 41.1931
77 | -3.1881 | -1.5024 | 3.1899 | 1.5034 | 0.0018685 | 0.0010516 | 0.10223 | 0.10223 | 0.10223 | 0.99518 | -0.085674 | 0.9958 | -0.081414 | 48.6817
78 | 0.76112 | 0.35803 | -0.76104 | -0.36049 | 8.3717e-05 | -0.0024625 | 0.024399 | 0.02443 | 0.02443 | 0.99516 | -0.085466 | 0.99506 | -0.084562 | 11.1046
79 | 2.0667 | 0.97005 | -2.066 | -0.96971 | 0.0007099 | 0.00033729 | 0.066225 | 0.066227 | 0.066227 | 0.99516 | -0.085466 | 0.9948 | -0.087999 | 31.5366
80 | 0.76104 | 0.36049 | -0.76103 | -0.36074 | 8.5616e-06 | -0.00025145 | 0.02443 | 0.024433 | 0.024433 | 0.99506 | -0.084562 | 0.99505 | -0.084469 | 11.106
81 | 0.66464 | 0.31406 | -0.66464 | -0.31412 | 1.7248e-06 | -6.664e-05 | 0.021326 | 0.021327 | 0.021327 | 0.99505 | -0.084469 | 0.99505 | -0.084448 | 9.6941
82 | 0.075677 | 0.036623 | -0.075677 | -0.036652 | 2.6084e-07 | -2.9154e-05 | 0.0024342 | 0.0024346 | 0.0024346 | 0.99703 | -0.075205 | 0.99703 | -0.075227 | 1.1593
83 | -5.0089 | -2.3718 | 5.0092 | 2.3676 | 0.00027372 | -0.0041625 | 0.16046 | 0.16041 | 0.16046 | 0.99703 | -0.075205 | 0.9971 | -0.074066 | 19.0573
84 | 0.66464 | 0.31412 | -0.66454 | -0.31799 | 0.00010041 | -0.00387 | 0.021327 | 0.021376 | 0.021376 | 0.99505 | -0.084448 | 0.99491 | -0.083184 | 9.7162
85 | -0.28359 | -0.13735 | 0.28362 | 0.13715 | 2.7351e-05 | -0.00020229 | 0.0091185 | 0.0091157 | 0.0091185 | 0.99756 | -0.064579 | 0.99766 | -0.063941 | 4.3421
86 | 5.4803 | 2.5578 | -5.4788 | -2.5768 | 0.0015111 | -0.019082 | 0.175 | 0.17525 | 0.17525 | 0.99766 | -0.063941 | 0.99734 | -0.069765 | 20.8132
87 | 0.36366 | 0.17599 | -0.36366 | -0.17613 | 1.0232e-06 | -0.00013297 | 0.01169 | 0.011692 | 0.011692 | 0.99766 | -0.063941 | 0.99766 | -0.063916 | 5.3144
88 | -6.6489 | -3.1186 | 6.6518 | 3.1223 | 0.0028955 | 0.0037282 | 0.2125 | 0.21249 | 0.2125 | 0.99766 | -0.063941 | 0.99826 | -0.043934 | 25.9145
89 | 0.27066 | 0.13085 | -0.27063 | -0.13107 | 2.7246e-05 | -0.00022295 | 0.0086987 | 0.0087018 | 0.0087018 | 0.99766 | -0.063941 | 0.99755 | -0.064607 | 4.1437
90 | 0.25065 | 0.1168 | -0.25063 | -0.12095 | 1.505e-05 | -0.0041531 | 0.0080014 | 0.008053 | 0.008053 | 0.99766 | -0.063941 | 0.9976 | -0.063442 | 3.6604
91 | 0.15173 | 0.071477 | -0.15173 | -0.073064 | 2.1127e-06 | -0.0015877 | 0.0048546 | 0.0048744 | 0.0048744 | 0.99734 | -0.069765 | 0.99732 | -0.069648 | 2.2156
92 | 5.0102 | 2.3519 | -5.0092 | -2.3676 | 0.0010281 | -0.015667 | 0.1602 | 0.16041 | 0.16041 | 0.99734 | -0.069765 | 0.9971 | -0.074066 | 19.0508
93 | 0.31687 | 0.15342 | -0.31686 | -0.15346 | 8.3161e-06 | -4.8161e-05 | 0.01019 | 0.010191 | 0.010191 | 0.99734 | -0.069765 | 0.99731 | -0.069938 | 4.8528
94 | -6.9379 | -3.2609 | 6.9387 | 3.2618 | 0.00076747 | 0.0009981 | 0.22169 | 0.22168 | 0.22169 | 0.99826 | -0.043934 | 0.99841 | -0.038858 | 27.0348
95 | 0.25063 | 0.12095 | -0.25063 | -0.12103 | 7.3583e-06 | -7.1042e-05 | 0.008053 | 0.0080539 | 0.0080539 | 0.9976 | -0.063442 | 0.99757 | -0.063638 | 3.8352
96 | -6.9387 | -3.2618 | 6.9403 | 3.2499 | 0.0015872 | -0.011998 | 0.22168 | 0.22152 | 0.22168 | 0.99841 | -0.038858 | 0.99868 | -0.034037 | 26.3283
97 | -6.9403 | -3.2499 | 6.9419 | 3.2519 | 0.001601 | 0.0020816 | 0.22152 | 0.22152 | 0.22152 | 0.99868 | -0.034037 | 0.99899 | -0.023422 | 27.0145
98 | -13.9651 | -6.4308 | 13.9662 | 6.4295 | 0.0010599 | -0.001273 | 0.44387 | 0.44384 | 0.44387 | 0.99991 | -0.0016418 | 1 | 0 | 52.7158
99 | 0.25063 | 0.12103 | -0.25063 | -0.12138 | 1.3096e-06 | -0.00035875 | 0.0080539 | 0.0080584 | 0.0080584 | 0.99757 | -0.063638 | 0.99757 | -0.063593 | 3.6629
100 | -7.9263 | -3.713 | 7.927 | 3.7088 | 0.00075109 | -0.0042042 | 0.25293 | 0.25287 | 0.25293 | 0.99899 | -0.023422 | 0.9991 | -0.021418 | 30.0389
101 | 0.9844 | 0.46105 | -0.98436 | -0.46176 | 3.9927e-05 | -0.00071021 | 0.031411 | 0.03142 | 0.03142 | 0.99899 | -0.023422 | 0.99896 | -0.023094 | 14.2818
102 | 0.12035 | 0.057951 | -0.12035 | -0.058287 | 2.8082e-07 | -0.00033569 | 0.0038607 | 0.0038649 | 0.0038649 | 0.99877 | -0.023233 | 0.99877 | -0.023213 | 1.7568
103 | 0.41619 | 0.18967 | -0.41612 | -0.19697 | 7.2236e-05 | -0.0073028 | 0.01322 | 0.013309 | 0.013309 | 0.99877 | -0.023233 | 0.99861 | -0.02186 | 6.0494
104 | -0.53654 | -0.24762 | 0.53658 | 0.24563 | 3.2658e-05 | -0.0019906 | 0.01708 | 0.017055 | 0.01708 | 0.99877 | -0.023233 | 0.99883 | -0.023703 | 7.7634
105 | 0.33992 | 0.16433 | -0.33992 | -0.16463 | 2.0188e-06 | -0.00030155 | 0.010914 | 0.010918 | 0.010918 | 0.99861 | -0.02186 | 0.99861 | -0.021808 | 4.9628
106 | 0.076199 | 0.032642 | -0.076198 | -0.036754 | 1.3509e-06 | -0.0041123 | 0.0023963 | 0.0024456 | 0.0024456 | 0.99861 | -0.02186 | 0.99859 | -0.021726 | 1.1116
107 | -0.53658 | -0.24563 | 0.53659 | 0.24496 | 1.0916e-05 | -0.00066665 | 0.017055 | 0.017047 | 0.017055 | 0.99883 | -0.023703 | 0.99885 | -0.023857 | 7.7525
108 | 0.076198 | 0.036754 | -0.076198 | -0.036904 | 5.0333e-08 | -0.00014996 | 0.0024456 | 0.0024475 | 0.0024475 | 0.99859 | -0.021726 | 0.99859 | -0.021721 | 1.1125
109 | -0.77253 | -0.35924 | 0.77261 | 0.3592 | 7.7599e-05 | -3.697e-05 | 0.024623 | 0.024622 | 0.024623 | 0.99885 | -0.023857 | 0.99896 | -0.023094 | 11.725
110 | 0.15173 | 0.073064 | -0.15172 | -0.073484 | 5.6079e-07 | -0.00041925 | 0.0048744 | 0.0048797 | 0.0048797 | 0.99732 | -0.069648 | 0.99732 | -0.069616 | 2.218
111 | -8.0293 | -3.7571 | 8.0299 | 3.7536 | 0.00063229 | -0.0034373 | 0.25613 | 0.25608 | 0.25613 | 0.9991 | -0.021418 | 0.9992 | -0.019751 | 30.4197
112 | 0.10222 | 0.048292 | -0.10222 | -0.049508 | 7.3077e-07 | -0.0012168 | 0.0032666 | 0.0032817 | 0.0032817 | 0.9991 | -0.021418 | 0.9991 | -0.021358 | 1.4917
113 | -0.32549 | -0.15764 | 0.3255 | 0.15759 | 8.8665e-06 | -4.7839e-05 | 0.010494 | 0.010494 | 0.010494 | 0.99483 | -0.082935 | 0.99486 | -0.082755 | 4.9973
114 | -0.3255 | -0.15759 | 0.3255 | 0.15744 | 9.3593e-07 | -0.0001502 | 0.010494 | 0.010492 | 0.010494 | 0.99486 | -0.082755 | 0.99486 | -0.08278 | 4.7698
115 | -0.3255 | -0.15744 | 0.32551 | 0.1563 | 7.1416e-06 | -0.0011479 | 0.010492 | 0.010477 | 0.010492 | 0.99486 | -0.08278 | 0.99488 | -0.082969 | 4.769
116 | -0.45351 | -0.21829 | 0.45352 | 0.2175 | 9.561e-06 | -0.0007913 | 0.014604 | 0.014594 | 0.014604 | 0.99488 | -0.082969 | 0.9949 | -0.083149 | 6.6382
117 | -0.58766 | -0.28163 | 0.58766 | 0.28151 | 2.4192e-06 | -0.00011908 | 0.018908 | 0.018907 | 0.018908 | 0.9949 | -0.083149 | 0.99491 | -0.083184 | 8.5946
118 | 0.13414 | 0.064129 | -0.13414 | -0.064312 | 1.9283e-07 | -0.00018327 | 0.0043141 | 0.0043164 | 0.0043164 | 0.9949 | -0.083149 | 0.9949 | -0.083137 | 1.962
119 | 0.21577 | 0.10414 | -0.21577 | -0.1045 | 1.0144e-06 | -0.00036437 | 0.0069833 | 0.0069879 | 0.0069879 | 0.99041 | -0.1313 | 0.99041 | -0.13126 | 3.1763
120 | 0.1933 | 0.092209 | -0.1933 | -0.093619 | 3.1009e-06 | -0.0014101 | 0.0062214 | 0.0062391 | 0.0062391 | 0.99375 | -0.080644 | 0.99374 | -0.080507 | 2.836
121 | -0.13414 | -0.064968 | 0.13414 | 0.064312 | 6.9117e-07 | -0.00065526 | 0.0043247 | 0.0043164 | 0.0043247 | 0.9949 | -0.083093 | 0.9949 | -0.083137 | 1.9658
122 | 0.076877 | 0.036486 | -0.076877 | -0.037233 | 2.5825e-07 | -0.00074701 | 0.0024691 | 0.0024785 | 0.0024785 | 0.99491 | -0.083184 | 0.9949 | -0.083156 | 1.1266

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.3205 | 6.6048

## res_load
| p_mw | q_mvar
0 | 0.34815 | 0.16862
1 | 0.073731 | 0.03571
2 | 0.13701 | 0.066357
3 | 0.078163 | 0.037856
4 | 0.19391 | 0.093916
5 | 0.29616 | 0.14344
6 | 0.76223 | 0.36916
7 | 0.33569 | 0.16258
8 | 0.22039 | 0.10674
9 | 0.1394 | 0.067517
10 | 0.15908 | 0.077046
11 | 0.13345 | 0.064635
12 | 0.06986 | 0.033835
13 | 0.38768 | 0.18776
14 | 0.36711 | 0.1778
15 | 0.20387 | 0.098739
16 | 0.26323 | 0.12749
17 | 0.074829 | 0.036241
18 | 0.34842 | 0.16875
19 | 0.36634 | 0.17743
20 | 0.40149 | 0.19445
21 | 0.12584 | 0.060946
22 | 0.23492 | 0.11378
23 | 0.68384 | 0.3312
24 | 0.07923 | 0.038373
25 | 0.331 | 0.16031
26 | 0.083644 | 0.040511
27 | 0.097761 | 0.047348
28 | 0.10024 | 0.048548
29 | 0.4027 | 0.19504
30 | 0.24106 | 0.11675
31 | 0.089893 | 0.043537
32 | 0.36021 | 0.17446
33 | 0.33229 | 0.16093
34 | 0.38979 | 0.18878
35 | 0.09639 | 0.046684
36 | 0.32966 | 0.15966
37 | 0.28359 | 0.13735
38 | 0.36366 | 0.17613
39 | 0.28612 | 0.13857
40 | 0.27063 | 0.13107
41 | 0.34029 | 0.16481
42 | 0.25063 | 0.12138
43 | 0.12035 | 0.058287
44 | 0.33992 | 0.16463
45 | 0.076198 | 0.036904
46 | 0.23594 | 0.11427
47 | 0.31686 | 0.15346
48 | 0.15172 | 0.073484
49 | 0.21175 | 0.10256
50 | 0.10222 | 0.049508
51 | 0.075677 | 0.036652
52 | 0.11812 | 0.05721
53 | 0.32549 | 0.15764
54 | 0.128 | 0.061993
55 | 0.21577 | 0.1045
56 | 0.19401 | 0.093965
57 | 0.095202 | 0.046108
58 | 0.1933 | 0.093619
59 | 0.13414 | 0.064968
60 | 0.076877 | 0.037233

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1