## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_607_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_607_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_607_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_607_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_607_0_node_8 | 20 | n |  | TRUE
5 | bus_MV_607_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_607_0_node_110 | 20 | n |  | TRUE
7 | bus_MV_607_0_node_77 | 20 | n |  | TRUE
8 | bus_MV_607_0_node_109 | 20 | n |  | TRUE
9 | bus_MV_607_0_node_10 | 20 | n |  | TRUE
10 | bus_MV_607_0_node_11 | 20 | n |  | TRUE
11 | bus_MV_607_0_node_5 | 20 | n |  | TRUE
12 | bus_MV_607_0_node_39 | 20 | n |  | TRUE
13 | bus_MV_607_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_607_0_node_43 | 20 | n |  | TRUE
15 | bus_MV_607_0_node_88 | 20 | n |  | TRUE
16 | bus_MV_607_0_node_7 | 20 | n |  | TRUE
17 | bus_MV_607_0_node_76 | 20 | n |  | TRUE
18 | bus_MV_607_0_node_75 | 20 | n |  | TRUE
19 | bus_MV_607_0_node_87 | 20 | n |  | TRUE
20 | bus_MV_607_0_node_9 | 20 | n |  | TRUE
21 | bus_MV_607_0_node_52 | 20 | n |  | TRUE
22 | bus_MV_607_0_node_35 | 20 | n |  | TRUE
23 | bus_MV_607_0_node_102 | 20 | n |  | TRUE
24 | bus_MV_607_0_node_101 | 20 | n |  | TRUE
25 | bus_MV_607_0_node_38 | 20 | n |  | TRUE
26 | bus_MV_607_0_node_89 | 20 | n |  | TRUE
27 | bus_MV_607_0_node_41 | 20 | n |  | TRUE
28 | bus_MV_607_0_node_74 | 20 | n |  | TRUE
29 | bus_MV_607_0_node_12 | 20 | n |  | TRUE
30 | bus_MV_607_0_node_13 | 20 | n |  | TRUE
31 | bus_MV_607_0_node_108 | 20 | n |  | TRUE
32 | bus_MV_607_0_node_112 | 20 | n |  | TRUE
33 | bus_MV_607_0_node_14 | 20 | n |  | TRUE
34 | bus_MV_607_0_node_15 | 20 | n |  | TRUE
35 | bus_MV_607_0_node_53 | 20 | n |  | TRUE
36 | bus_MV_607_0_node_54 | 20 | n |  | TRUE
37 | bus_MV_607_0_node_55 | 20 | n |  | TRUE
38 | bus_MV_607_0_node_56 | 20 | n |  | TRUE
39 | bus_MV_607_0_node_57 | 20 | n |  | TRUE
40 | bus_MV_607_0_node_58 | 20 | n |  | TRUE
41 | bus_MV_607_0_node_93 | 20 | n |  | TRUE
42 | bus_MV_607_0_node_92 | 20 | n |  | TRUE
43 | bus_MV_607_0_node_17 | 20 | n |  | TRUE
44 | bus_MV_607_0_node_22 | 20 | n |  | TRUE
45 | bus_MV_607_0_node_23 | 20 | n |  | TRUE
46 | bus_MV_607_0_node_16 | 20 | n |  | TRUE
47 | bus_MV_607_0_node_24 | 20 | n |  | TRUE
48 | bus_MV_607_0_node_59 | 20 | n |  | TRUE
49 | bus_MV_607_0_node_18 | 20 | n |  | TRUE
50 | bus_MV_607_0_node_19 | 20 | n |  | TRUE
51 | bus_MV_607_0_node_27 | 20 | n |  | TRUE
52 | bus_MV_607_0_node_25 | 20 | n |  | TRUE
53 | bus_MV_607_0_node_20 | 20 | n |  | TRUE
54 | bus_MV_607_0_node_99 | 20 | n |  | TRUE
55 | bus_MV_607_0_node_21 | 20 | n |  | TRUE
56 | bus_MV_607_0_node_73 | 20 | n |  | TRUE
57 | bus_MV_607_0_node_67 | 20 | n |  | TRUE
58 | bus_MV_607_0_node_26 | 20 | n |  | TRUE
59 | bus_MV_607_0_node_46 | 20 | n |  | TRUE
60 | bus_MV_607_0_node_33 | 20 | n |  | TRUE
61 | bus_MV_607_0_node_31 | 20 | n |  | TRUE
62 | bus_MV_607_0_node_68 | 20 | n |  | TRUE
63 | bus_MV_607_0_node_47 | 20 | n |  | TRUE
64 | bus_MV_607_0_node_28 | 20 | n |  | TRUE
65 | bus_MV_607_0_node_29 | 20 | n |  | TRUE
66 | bus_MV_607_0_node_30 | 20 | n |  | TRUE
67 | bus_MV_607_0_node_66 | 20 | n |  | TRUE
68 | bus_MV_607_0_node_32 | 20 | n |  | TRUE
69 | bus_MV_607_0_node_98 | 20 | n |  | TRUE
70 | bus_MV_607_0_node_36 | 20 | n |  | TRUE
71 | bus_MV_607_0_node_37 | 20 | n |  | TRUE
72 | bus_MV_607_0_node_40 | 20 | n |  | TRUE
73 | bus_MV_607_0_node_42 | 20 | n |  | TRUE
74 | bus_MV_607_0_node_44 | 20 | n |  | TRUE
75 | bus_MV_607_0_node_64 | 20 | n |  | TRUE
76 | bus_MV_607_0_node_65 | 20 | n |  | TRUE
77 | bus_MV_607_0_node_45 | 20 | n |  | TRUE
78 | bus_MV_607_0_node_111 | 20 | n |  | TRUE
79 | bus_MV_607_0_node_83 | 20 | n |  | TRUE
80 | bus_MV_607_0_node_81 | 20 | n |  | TRUE
81 | bus_MV_607_0_node_105 | 20 | n |  | TRUE
82 | bus_MV_607_0_node_48 | 20 | n |  | TRUE
83 | bus_MV_607_0_node_103 | 20 | n |  | TRUE
84 | bus_MV_607_0_node_80 | 20 | n |  | TRUE
85 | bus_MV_607_0_node_49 | 20 | n |  | TRUE
86 | bus_MV_607_0_node_50 | 20 | n |  | TRUE
87 | bus_MV_607_0_node_51 | 20 | n |  | TRUE
88 | bus_MV_607_0_node_79 | 20 | n |  | TRUE
89 | bus_MV_607_0_node_100 | 20 | n |  | TRUE
90 | bus_MV_607_0_node_78 | 20 | n |  | TRUE
91 | bus_MV_607_0_node_91 | 20 | n |  | TRUE
92 | bus_MV_607_0_node_90 | 20 | n |  | TRUE
93 | bus_MV_607_0_node_82 | 20 | n |  | TRUE
94 | bus_MV_607_0_node_60 | 20 | n |  | TRUE
95 | bus_MV_607_0_node_61 | 20 | n |  | TRUE
96 | bus_MV_607_0_node_62 | 20 | n |  | TRUE
97 | bus_MV_607_0_node_63 | 20 | n |  | TRUE
98 | bus_MV_607_0_node_107 | 20 | n |  | TRUE
99 | bus_MV_607_0_node_84 | 20 | n |  | TRUE
100 | bus_MV_607_0_node_85 | 20 | n |  | TRUE
101 | bus_MV_607_0_node_69 | 20 | n |  | TRUE
102 | bus_MV_607_0_node_70 | 20 | n |  | TRUE
103 | bus_MV_607_0_node_95 | 20 | n |  | TRUE
104 | bus_MV_607_0_node_94 | 20 | n |  | TRUE
105 | bus_MV_607_0_node_71 | 20 | n |  | TRUE
106 | bus_MV_607_0_node_96 | 20 | n |  | TRUE
107 | bus_MV_607_0_node_72 | 20 | n |  | TRUE
108 | bus_MV_607_0_node_86 | 20 | n |  | TRUE
109 | bus_MV_607_0_node_97 | 20 | n |  | TRUE
110 | bus_MV_607_0_node_104 | 20 | n |  | TRUE
111 | bus_HV_607_0_node_12 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_607_0_load_0 | 0 | 0.41193 | 0.19951 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_607_0_load_110 | 6 | 0.076309 | 0.036958 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_607_0_load_77 | 7 | 1.1684 | 0.56588 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_607_0_load_109 | 8 | 0.2531 | 0.12258 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_607_0_load_39 | 12 | 0.068792 | 0.033317 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_607_0_load_88 | 15 | 0.14654 | 0.070971 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_607_0_load_76 | 17 | 0.16566 | 0.080234 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_607_0_load_75 | 18 | 0.1599 | 0.077442 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_607_0_load_87 | 19 | 0.11071 | 0.053619 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_607_0_load_52 | 21 | 0.072189 | 0.034963 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_607_0_load_102 | 23 | 0.24353 | 0.11795 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_607_0_load_101 | 24 | 0.2849 | 0.13799 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_607_0_load_38 | 25 | 0.15206 | 0.073647 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_607_0_load_89 | 26 | 0.077657 | 0.037611 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_607_0_load_74 | 28 | 0.094684 | 0.045858 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_607_0_load_12 | 29 | 0.23596 | 0.11428 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_607_0_load_108 | 31 | 0.092394 | 0.044748 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_607_0_load_112 | 32 | 0.47291 | 0.22904 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_607_0_load_53 | 35 | 1.1224 | 0.5436 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_607_0_load_55 | 37 | 1.3843 | 0.67047 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_607_0_load_56 | 38 | 0.3217 | 0.15581 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_607_0_load_22 | 44 | 0.32786 | 0.15879 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_607_0_load_23 | 45 | 0.21068 | 0.10204 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_607_0_load_24 | 47 | 0.24958 | 0.12088 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_607_0_load_59 | 48 | 0.088166 | 0.042701 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_607_0_load_25 | 52 | 0.19782 | 0.095809 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_607_0_load_99 | 54 | 0.39327 | 0.19047 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_607_0_load_73 | 56 | 0.084462 | 0.040907 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_607_0_load_67 | 57 | 0.068185 | 0.033023 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_607_0_load_46 | 59 | 0.22169 | 0.10737 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_607_0_load_33 | 60 | 0.2831 | 0.13711 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_607_0_load_28 | 64 | 0.26497 | 0.12833 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_607_0_load_66 | 67 | 0.13561 | 0.065678 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_607_0_load_98 | 69 | 0.27936 | 0.1353 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_607_0_load_36 | 70 | 0.25124 | 0.12168 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_607_0_load_37 | 71 | 0.10874 | 0.052663 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_607_0_load_40 | 72 | 0.30121 | 0.14588 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_607_0_load_64 | 75 | 0.2578 | 0.12486 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_607_0_load_111 | 78 | 0.17289 | 0.083736 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_607_0_load_83 | 79 | 0.18268 | 0.088476 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_607_0_load_81 | 80 | 0.14569 | 0.070561 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_607_0_load_103 | 83 | 0.32503 | 0.15742 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_607_0_load_49 | 85 | 0.27924 | 0.13524 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_607_0_load_100 | 89 | 0.35132 | 0.17015 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_607_0_load_78 | 90 | 0.098724 | 0.047814 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_607_0_load_90 | 92 | 0.3396 | 0.16448 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_607_0_load_82 | 93 | 0.24876 | 0.12048 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_607_0_load_60 | 94 | 0.068481 | 0.033167 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_607_0_load_107 | 98 | 0.23316 | 0.11293 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_607_0_load_84 | 99 | 0.24212 | 0.11726 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_607_0_load_95 | 103 | 0.85105 | 0.41218 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_607_0_load_94 | 104 | 2.174 | 1.0529 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_607_0_load_71 | 105 | 0.1056 | 0.051144 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_607_0_load_96 | 106 | 2.829 | 1.3702 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_607_0_load_72 | 107 | 0.23514 | 0.11388 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_607_0_load_97 | 109 | 0.95281 | 0.46147 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_607_0_load_104 | 110 | 0.17058 | 0.082614 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_607_0_line_0 |  | 0 | 1 | 0.013339 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_607_0_line_1 |  | 1 | 2 | 0.12643 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_607_0_line_2 |  | 1 | 3 | 0.18082 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_607_0_line_3 |  | 1 | 4 | 0.31916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_607_0_line_4 |  | 2 | 5 | 0.2026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_607_0_line_5 |  | 2 | 6 | 0.009997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_607_0_line_6 |  | 3 | 7 | 0.14073 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_607_0_line_7 |  | 4 | 19 | 0.04423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_607_0_line_8 |  | 4 | 11 | 0.14528 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_607_0_line_9 |  | 4 | 13 | 0.11449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_607_0_line_10 |  | 4 | 16 | 0.13541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_607_0_line_11 |  | 5 | 8 | 0.025991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_607_0_line_12 |  | 5 | 9 | 0.14318 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_607_0_line_13 |  | 5 | 10 | 0.3554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_607_0_line_14 |  | 9 | 22 | 0.25243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_607_0_line_15 |  | 9 | 23 | 0.00805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_607_0_line_16 |  | 9 | 20 | 0.030885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_607_0_line_17 |  | 10 | 24 | 0.082344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_607_0_line_18 |  | 11 | 12 | 0.065154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_607_0_line_19 |  | 12 | 25 | 0.024936 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_607_0_line_20 |  | 13 | 14 | 0.044349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_607_0_line_21 |  | 13 | 15 | 0.08319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_607_0_line_22 |  | 14 | 26 | 0.016574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_607_0_line_23 |  | 14 | 27 | 0.006368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_607_0_line_24 |  | 16 | 17 | 0.019207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_607_0_line_25 |  | 16 | 18 | 0.033878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_607_0_line_26 |  | 20 | 21 | 0.041208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_607_0_line_27 |  | 22 | 28 | 0.051729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_607_0_line_28 |  | 25 | 70 | 0.032029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_607_0_line_29 |  | 27 | 72 | 0.014826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_607_0_line_30 |  | 29 | 30 | 0.066736 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_607_0_line_31 |  | 29 | 31 | 0.096146 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
32 | MV_607_0_line_32 |  | 29 | 32 | 0.092578 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
33 | MV_607_0_line_33 |  | 30 | 33 | 0.20358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_607_0_line_34 |  | 30 | 34 | 0.097659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_607_0_line_35 |  | 31 | 41 | 0.008882 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
36 | MV_607_0_line_36 |  | 32 | 39 | 0.017395 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_607_0_line_37 |  | 33 | 43 | 0.2236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_607_0_line_38 |  | 33 | 44 | 0.10945 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_607_0_line_39 |  | 34 | 45 | 0.027977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_607_0_line_40 |  | 35 | 36 | 0.048319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_607_0_line_41 |  | 36 | 37 | 0.043606 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_607_0_line_42 |  | 36 | 38 | 0.06968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_607_0_line_43 |  | 36 | 39 | 0.034374 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_607_0_line_44 |  | 37 | 40 | 0.024352 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
45 | MV_607_0_line_45 |  | 40 | 91 | 0.027696 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_607_0_line_46 |  | 41 | 42 | 0.22453 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_607_0_line_47 |  | 42 | 54 | 0.054647 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
48 | MV_607_0_line_48 |  | 43 | 48 | 0.019555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_607_0_line_49 |  | 43 | 46 | 0.17112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_607_0_line_50 |  | 46 | 47 | 0.022517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_607_0_line_51 |  | 49 | 50 | 0.29007 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_607_0_line_52 |  | 49 | 51 | 0.26823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_607_0_line_53 |  | 49 | 52 | 0.02171 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_607_0_line_54 |  | 50 | 53 | 0.21408 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_607_0_line_55 |  | 50 | 54 | 0.015839 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
56 | MV_607_0_line_56 |  | 51 | 60 | 0.044811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_607_0_line_57 |  | 51 | 58 | 0.019922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_607_0_line_58 |  | 53 | 55 | 0.080445 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_607_0_line_59 |  | 53 | 56 | 0.033932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_607_0_line_60 |  | 55 | 57 | 0.039292 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
61 | MV_607_0_line_61 |  | 56 | 61 | 0.00030481 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_607_0_line_62 |  | 57 | 62 | 0.039834 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_607_0_line_63 |  | 58 | 59 | 0.019535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_607_0_line_64 |  | 59 | 63 | 0.060117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_607_0_line_65 |  | 61 | 68 | 0.15885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_607_0_line_66 |  | 61 | 65 | 0.38545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_607_0_line_67 |  | 61 | 66 | 0.20981 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_607_0_line_68 |  | 62 | 101 | 0.27377 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
69 | MV_607_0_line_69 |  | 62 | 102 | 0.40196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_607_0_line_70 |  | 63 | 82 | 0.037503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_607_0_line_71 |  | 64 | 65 | 0.034825 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_607_0_line_72 |  | 66 | 67 | 0.023907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_607_0_line_73 |  | 68 | 69 | 0.020159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_607_0_line_74 |  | 70 | 71 | 0.01058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_607_0_line_75 |  | 72 | 73 | 0.045276 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
76 | MV_607_0_line_76 |  | 73 | 74 | 0.70903 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
77 | MV_607_0_line_77 |  | 74 | 75 | 0.002398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_607_0_line_78 |  | 74 | 76 | 0.040649 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
79 | MV_607_0_line_79 |  | 74 | 77 | 0.55307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_607_0_line_80 |  | 76 | 79 | 0.053065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_607_0_line_81 |  | 76 | 80 | 0.010627 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
82 | MV_607_0_line_82 |  | 77 | 78 | 0.030078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_607_0_line_83 |  | 78 | 81 | 0.19497 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_607_0_line_84 |  | 80 | 93 | 0.054256 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
85 | MV_607_0_line_85 |  | 81 | 110 | 0.027906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_607_0_line_86 |  | 82 | 83 | 0.007382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_607_0_line_87 |  | 83 | 84 | 0.048055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_607_0_line_88 |  | 84 | 87 | 0.23068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_607_0_line_89 |  | 85 | 86 | 0.00555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_607_0_line_90 |  | 86 | 87 | 0.25201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_607_0_line_91 |  | 87 | 88 | 0.31395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_607_0_line_92 |  | 87 | 89 | 0.011717 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
93 | MV_607_0_line_93 |  | 88 | 90 | 0.024982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_607_0_line_94 |  | 91 | 92 | 0.032512 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
95 | MV_607_0_line_95 |  | 92 | 93 | 0.13818 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
96 | MV_607_0_line_96 |  | 94 | 95 | 0.092688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_607_0_line_97 |  | 95 | 96 | 0.17308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_607_0_line_98 |  | 96 | 97 | 0.19489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_607_0_line_99 |  | 96 | 98 | 0.023415 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
100 | MV_607_0_line_100 |  | 97 | 99 | 0.072693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_607_0_line_101 |  | 99 | 100 | 0.074838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_607_0_line_102 |  | 100 | 108 | 0.14019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_607_0_line_103 |  | 101 | 103 | 0.0030986 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
104 | MV_607_0_line_104 |  | 101 | 104 | 0.04168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_607_0_line_105 |  | 102 | 105 | 0.002656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_607_0_line_106 |  | 103 | 106 | 0.033125 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
107 | MV_607_0_line_107 |  | 105 | 107 | 0.035582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_607_0_line_108 |  | 106 | 109 | 0.016605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_607_0_line_109 |  | 108 | 109 | 0.005791 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_607_0_trafo_12 | 25 MVA 110/20 kV | 111 | 29 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2596729.342 | 1198499.2915
1 | 2596739.3273 | 1198490.4479
2 | 2596700.351 | 1198508.346
3 | 2596850.4251 | 1198465.7849
4 | 2596559.9454 | 1198272.2564
5 | 2596614.0143 | 1198528.5284
6 | 2596693.1286 | 1198501.413
7 | 2596956.4168 | 1198555.0054
8 | 2596600.2192 | 1198506.4801
9 | 2596593.9296 | 1198623.9355
10 | 2596857.1118 | 1198637.3618
11 | 2596665.0321 | 1198249.7724
12 | 2596713.9179 | 1198206.6995
13 | 2596488.6287 | 1198189.3656
14 | 2596457.6472 | 1198157.5561
15 | 2596465.3478 | 1198248.1159
16 | 2596632.5374 | 1198179.8314
17 | 2596646.8537 | 1198166.983
18 | 2596609.573 | 1198154.9241
19 | 2596589.9145 | 1198304.7853
20 | 2596587.5374 | 1198604.4399
21 | 2596564.208 | 1198570.5726
22 | 2596416.9512 | 1198639.883
23 | 2596598.2813 | 1198630.7143
24 | 2596830.4223 | 1198691.294
25 | 2596730.0952 | 1198225.6763
26 | 2596445.7325 | 1198146.0359
27 | 2596461.962 | 1198152.8621
28 | 2596398.2632 | 1198591.7128
29 | 2596221.3313 | 1198285.6166
30 | 2596267.3324 | 1198333.7351
31 | 2596125.6906 | 1198275.7738
32 | 2596199.1825 | 1198195.7274
33 | 2596395.3929 | 1198364.4379
34 | 2596331.1417 | 1198293.8624
35 | 2596256.4663 | 1198193.7221
36 | 2596222.8031 | 1198159.0592
37 | 2596192.0713 | 1198128.1239
38 | 2596275.9002 | 1198144.6784
39 | 2596211.5564 | 1198183.4684
40 | 2596174.8812 | 1198110.8757
41 | 2596121.3146 | 1198268.0392
42 | 2596039.9525 | 1198372.6161
43 | 2596231.5958 | 1198439.2365
44 | 2596466.747 | 1198447.4277
45 | 2596309.0538 | 1198310.1071
46 | 2596256.3723 | 1198544.2434
47 | 2596266.0785 | 1198564.5703
48 | 2596248.4551 | 1198429.3291
49 | 2596198.6895 | 1198656.5962
50 | 2596074.3047 | 1198433.0364
51 | 2596341.6946 | 1198779.3708
52 | 2596178.6923 | 1198665.047
53 | 2595952.6124 | 1198516.4415
54 | 2596062.6243 | 1198422.3385
55 | 2595946.3603 | 1198460.4492
56 | 2595923.0636 | 1198533.1213
57 | 2595921.209 | 1198435.0992
58 | 2596327.6944 | 1198783.0371
59 | 2596321.1729 | 1198801.2064
60 | 2596380.2821 | 1198802.3369
61 | 2595922.7981 | 1198533.2711
62 | 2595911.8327 | 1198401.2526
63 | 2596327.4007 | 1198860.9678
64 | 2595785.704 | 1198709.2064
65 | 2595753.7903 | 1198695.2664
66 | 2595819.6542 | 1198514.3113
67 | 2595840.348 | 1198502.3406
68 | 2596018.1361 | 1198630.0685
69 | 2596030.9921 | 1198645.6236
70 | 2596711.9667 | 1198247.224
71 | 2596718.9412 | 1198255.1791
72 | 2596471.8777 | 1198141.8169
73 | 2596441.8999 | 1198108.0948
74 | 2595978.0182 | 1198022.438
75 | 2595979.748 | 1198024.1043
76 | 2595947.6905 | 1198049.2509
77 | 2595858.1335 | 1197612.6361
78 | 2595836.1325 | 1197592.0629
79 | 2595907.9343 | 1198014.103
80 | 2595955.5693 | 1198056.3823
81 | 2595964.7061 | 1197445.495
82 | 2596336.0579 | 1198897.4486
83 | 2596337.8592 | 1198904.6068
84 | 2596349.6062 | 1198951.2022
85 | 2596707.8304 | 1198808.958
86 | 2596703.5949 | 1198805.3585
87 | 2596530.3864 | 1198929.6474
88 | 2596516.8924 | 1198772.7382
89 | 2596541.5126 | 1198933.3206
90 | 2596538.09 | 1198759.5185
91 | 2596151.413 | 1198112.7476
92 | 2596127.521 | 1198134.5362
93 | 2595995.7945 | 1198092.7913
94 | 2595933.1733 | 1197947.6969
95 | 2595865.4029 | 1197910.2897
96 | 2595744.9273 | 1197886.3963
97 | 2595840.6987 | 1198017.4087
98 | 2595739.3389 | 1197909.1347
99 | 2595845.0648 | 1198069.985
100 | 2595899.3965 | 1198072.419
101 | 2595961.3857 | 1198231.0052
102 | 2595728.3891 | 1198475.5785
103 | 2595959.8398 | 1198228.3197
104 | 2595982.1804 | 1198267.1274
105 | 2595729.6607 | 1198477.9103
106 | 2595943.3138 | 1198199.612
107 | 2595746.696 | 1198509.1498
108 | 2595929.4694 | 1198183.6019
109 | 2595935.0294 | 1198185.2211
110 | 2595992.0506 | 1197439.5509
111 | 2596221.3313 | 1198285.6166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99541 | -0.051387 | 0.41193 | 0.19951
1 | 0.99542 | -0.05132 | 0 | 0
2 | 0.99525 | -0.049999 | 0 | 0
3 | 0.99515 | -0.048832 | 0 | 0
4 | 0.99648 | -0.06047 | 0 | 0
5 | 0.99501 | -0.048014 | 0 | 0
6 | 0.99525 | -0.04999 | 0.076309 | 0.036958
7 | 0.99494 | -0.04686 | 1.1684 | 0.56588
8 | 0.995 | -0.047935 | 0.2531 | 0.12258
9 | 0.99493 | -0.047404 | 0 | 0
10 | 0.99488 | -0.046931 | 0 | 0
11 | 0.99637 | -0.059498 | 0 | 0
12 | 0.99632 | -0.059052 | 0.068792 | 0.033317
13 | 0.997 | -0.065022 | 0 | 0
14 | 0.99722 | -0.066851 | 0 | 0
15 | 0.99699 | -0.064881 | 0.14654 | 0.070971
16 | 0.99642 | -0.059963 | 0 | 0
17 | 0.99642 | -0.059925 | 0.16566 | 0.080234
18 | 0.99641 | -0.059899 | 0.1599 | 0.077442
19 | 0.99647 | -0.060412 | 0.11071 | 0.053619
20 | 0.99493 | -0.047379 | 0 | 0
21 | 0.99493 | -0.047345 | 0.072189 | 0.034963
22 | 0.9949 | -0.047183 | 0 | 0
23 | 0.99493 | -0.04738 | 0.24353 | 0.11795
24 | 0.99485 | -0.046653 | 0.2849 | 0.13799
25 | 0.9963 | -0.0589 | 0.15206 | 0.073647
26 | 0.99721 | -0.066836 | 0.077657 | 0.037611
27 | 0.99725 | -0.06712 | 0 | 0
28 | 0.9949 | -0.047126 | 0.094684 | 0.045858
29 | 1 | 0 | -20.6754 | -9.729
30 | 0.99993 | 0.00061802 | 0 | 0
31 | 0.9993 | -0.039254 | 0.092394 | 0.044748
32 | 0.99944 | -0.031504 | 0.47291 | 0.22904
33 | 0.99975 | 0.0020713 | 0 | 0
34 | 0.9999 | 0.0008528 | 0 | 0
35 | 0.99923 | -0.03148 | 1.1224 | 0.5436
36 | 0.9993 | -0.032128 | 0 | 0
37 | 0.9992 | -0.032576 | 1.3843 | 0.67047
38 | 0.99927 | -0.031863 | 0.3217 | 0.15581
39 | 0.99939 | -0.031714 | 0 | 0
40 | 0.99915 | -0.032786 | 0 | 0
41 | 0.99927 | -0.039383 | 0 | 0
42 | 0.99848 | -0.042612 | 0 | 0
43 | 0.99966 | 0.0028647 | 0 | 0
44 | 0.99968 | 0.0016368 | 0.32786 | 0.15879
45 | 0.99989 | 0.00092274 | 0.21068 | 0.10204
46 | 0.9996 | 0.0033479 | 0 | 0
47 | 0.9996 | 0.0034148 | 0.24958 | 0.12088
48 | 0.99966 | 0.0028851 | 0.088166 | 0.042701
49 | 0.99733 | -0.065478 | 0 | 0
50 | 0.99798 | -0.070952 | 0 | 0
51 | 0.9968 | -0.060934 | 0 | 0
52 | 0.99732 | -0.06553 | 0.19782 | 0.095809
53 | 0.99738 | -0.073352 | 0 | 0
54 | 0.99809 | -0.064763 | 0.39327 | 0.19047
55 | 0.99718 | -0.074148 | 0 | 0
56 | 0.99735 | -0.073082 | 0.084462 | 0.040907
57 | 0.99708 | -0.074534 | 0.068185 | 0.033023
58 | 0.99677 | -0.060659 | 0 | 0
59 | 0.99674 | -0.060388 | 0.22169 | 0.10737
60 | 0.99678 | -0.060783 | 0.2831 | 0.13711
61 | 0.99735 | -0.07308 | 0 | 0
62 | 0.99698 | -0.074922 | 0 | 0
63 | 0.99666 | -0.059711 | 0 | 0
64 | 0.9972 | -0.072078 | 0.26497 | 0.12833
65 | 0.99722 | -0.071965 | 0 | 0
66 | 0.99731 | -0.072779 | 0 | 0
67 | 0.99731 | -0.07274 | 0.13561 | 0.065678
68 | 0.99729 | -0.07257 | 0 | 0
69 | 0.99728 | -0.072503 | 0.27936 | 0.1353
70 | 0.99629 | -0.058763 | 0.25124 | 0.12168
71 | 0.99629 | -0.058749 | 0.10874 | 0.052663
72 | 0.99732 | -0.067744 | 0.30121 | 0.14588
73 | 0.99742 | -0.066616 | 0 | 0
74 | 0.99838 | -0.062227 | 0 | 0
75 | 0.99838 | -0.062219 | 0.2578 | 0.12486
76 | 0.99844 | -0.061924 | 0 | 0
77 | 0.99814 | -0.060236 | 0 | 0
78 | 0.99813 | -0.060114 | 0.17289 | 0.083736
79 | 0.99843 | -0.06181 | 0.18268 | 0.088476
80 | 0.99846 | -0.061842 | 0.14569 | 0.070561
81 | 0.99806 | -0.06053 | 0 | 0
82 | 0.99661 | -0.059287 | 0 | 0
83 | 0.9966 | -0.059203 | 0.32503 | 0.15742
84 | 0.99655 | -0.058843 | 0 | 0
85 | 0.99625 | -0.056249 | 0.27924 | 0.13524
86 | 0.99625 | -0.056268 | 0 | 0
87 | 0.99634 | -0.057066 | 0 | 0
88 | 0.9963 | -0.056779 | 0 | 0
89 | 0.99633 | -0.057116 | 0.35132 | 0.17015
90 | 0.99629 | -0.05675 | 0.098724 | 0.047814
91 | 0.9991 | -0.033024 | 0 | 0
92 | 0.99904 | -0.033303 | 0.3396 | 0.16448
93 | 0.99855 | -0.061413 | 0.24876 | 0.12048
94 | 0.99592 | -0.075749 | 0.068481 | 0.033167
95 | 0.99593 | -0.075819 | 0 | 0
96 | 0.99595 | -0.075915 | 0 | 0
97 | 0.99602 | -0.076516 | 0 | 0
98 | 0.99593 | -0.075982 | 0.23316 | 0.11293
99 | 0.99605 | -0.076725 | 0.24212 | 0.11726
100 | 0.9961 | -0.077151 | 0 | 0
101 | 0.99631 | -0.077396 | 0 | 0
102 | 0.9968 | -0.073419 | 0 | 0
103 | 0.99631 | -0.077415 | 0.85105 | 0.41218
104 | 0.9962 | -0.076305 | 2.174 | 1.0529
105 | 0.9968 | -0.073409 | 0.1056 | 0.051144
106 | 0.99623 | -0.078237 | 2.829 | 1.3702
107 | 0.99679 | -0.073309 | 0.23514 | 0.11388
108 | 0.9962 | -0.077925 | 0 | 0
109 | 0.9962 | -0.077956 | 0.95281 | 0.46147
110 | 0.99806 | -0.060474 | 0.17058 | 0.082614
111 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.41193 | -0.19951 | 0.41194 | 0.19949 | 4.1872e-06 | -1.3155e-05 | 0.013274 | 0.013274 | 0.013274 | 0.99541 | -0.051387 | 0.99542 | -0.05132 | 6.3208
1 | 1.0252 | 0.465 | -1.0251 | -0.46794 | 0.0001801 | -0.0029372 | 0.032648 | 0.032684 | 0.032684 | 0.99542 | -0.05132 | 0.99525 | -0.049999 | 14.8561
2 | 1.169 | 0.55845 | -1.1687 | -0.56263 | 0.00034123 | -0.0041754 | 0.037571 | 0.037625 | 0.037625 | 0.99542 | -0.05132 | 0.99515 | -0.048832 | 17.1022
3 | -2.6062 | -1.223 | 2.6091 | 1.2163 | 0.0029666 | -0.0066787 | 0.083488 | 0.083395 | 0.083488 | 0.99542 | -0.05132 | 0.99648 | -0.06047 | 37.9489
4 | 0.94875 | 0.43122 | -0.9485 | -0.43594 | 0.00024761 | -0.0047169 | 0.030228 | 0.030286 | 0.030286 | 0.99525 | -0.049999 | 0.99501 | -0.048014 | 13.7661
5 | 0.076309 | 0.036722 | -0.076309 | -0.036958 | 8.0614e-08 | -0.0002364 | 0.0024563 | 0.0024593 | 0.0024593 | 0.99525 | -0.049999 | 0.99525 | -0.04999 | 1.1179
6 | 1.1687 | 0.56263 | -1.1684 | -0.56588 | 0.00026627 | -0.003248 | 0.037625 | 0.037667 | 0.037667 | 0.99515 | -0.048832 | 0.99494 | -0.04686 | 17.1213
7 | 0.11071 | 0.052571 | -0.11071 | -0.053619 | 7.4708e-07 | -0.0010484 | 0.0035505 | 0.0035636 | 0.0035636 | 0.99648 | -0.06047 | 0.99647 | -0.060412 | 1.6198
8 | 0.58094 | 0.27475 | -0.58088 | -0.27818 | 6.7377e-05 | -0.003424 | 0.018617 | 0.01866 | 0.01866 | 0.99648 | -0.06047 | 0.99637 | -0.059498 | 8.4818
9 | -3.6264 | -1.6968 | 3.6284 | 1.6947 | 0.0020555 | -0.0021059 | 0.11599 | 0.11595 | 0.11599 | 0.99648 | -0.06047 | 0.997 | -0.065022 | 52.721
10 | 0.32558 | 0.15321 | -0.32556 | -0.15642 | 1.9719e-05 | -0.0032044 | 0.010424 | 0.010464 | 0.010464 | 0.99648 | -0.06047 | 0.99642 | -0.059963 | 4.7564
11 | 0.25311 | 0.12197 | -0.2531 | -0.12258 | 2.3077e-06 | -0.00061369 | 0.0081514 | 0.0081591 | 0.0081591 | 0.99501 | -0.048014 | 0.995 | -0.047935 | 3.7087
12 | 0.41044 | 0.18631 | -0.41041 | -0.18969 | 3.279e-05 | -0.0033745 | 0.013077 | 0.013118 | 0.013118 | 0.99501 | -0.048014 | 0.99493 | -0.047404 | 5.9628
13 | 0.28495 | 0.12765 | -0.28491 | -0.13604 | 3.9371e-05 | -0.0083883 | 0.0090588 | 0.0091612 | 0.0091612 | 0.99501 | -0.048014 | 0.99488 | -0.046931 | 4.1642
14 | 0.094688 | 0.03867 | -0.094685 | -0.044635 | 3.0357e-06 | -0.005965 | 0.0029676 | 0.0030373 | 0.0030373 | 0.99493 | -0.047404 | 0.9949 | -0.047183 | 1.3806
15 | 0.24353 | 0.11776 | -0.24353 | -0.11795 | 6.6222e-07 | -0.00019006 | 0.0078486 | 0.007851 | 0.007851 | 0.99493 | -0.047404 | 0.99493 | -0.04738 | 3.5686
16 | 0.072189 | 0.033259 | -0.072189 | -0.033989 | 2.2013e-07 | -0.00072988 | 0.0023061 | 0.0023151 | 0.0023151 | 0.99493 | -0.047404 | 0.99493 | -0.047379 | 1.0523
17 | 0.28491 | 0.13604 | -0.2849 | -0.13799 | 9.2506e-06 | -0.0019432 | 0.0091612 | 0.0091856 | 0.0091856 | 0.99488 | -0.046931 | 0.99485 | -0.046653 | 4.1753
18 | 0.58088 | 0.27818 | -0.58085 | -0.27971 | 3.0318e-05 | -0.0015353 | 0.01866 | 0.018679 | 0.018679 | 0.99637 | -0.059498 | 0.99632 | -0.059052 | 8.4906
19 | 0.51205 | 0.2464 | -0.51205 | -0.24698 | 9.0285e-06 | -0.00058832 | 0.016465 | 0.016472 | 0.016472 | 0.99632 | -0.059052 | 0.9963 | -0.0589 | 7.4873
20 | -3.775 | -1.7637 | 3.7758 | 1.7629 | 0.00086163 | -0.00079719 | 0.12064 | 0.12063 | 0.12064 | 0.997 | -0.065022 | 0.99722 | -0.066851 | 54.8375
21 | 0.14654 | 0.068997 | -0.14654 | -0.070971 | 2.4553e-06 | -0.0019736 | 0.0046897 | 0.0047144 | 0.0047144 | 0.997 | -0.065022 | 0.99699 | -0.064881 | 2.1429
22 | 0.077657 | 0.037217 | -0.077657 | -0.037611 | 1.3777e-07 | -0.00039348 | 0.0024928 | 0.0024978 | 0.0024978 | 0.99722 | -0.066851 | 0.99721 | -0.066836 | 1.1354
23 | -3.8535 | -1.8001 | 3.8536 | 1.8 | 0.00012887 | -0.00011298 | 0.12312 | 0.12312 | 0.12312 | 0.99722 | -0.066851 | 0.99725 | -0.06712 | 55.9647
24 | 0.16566 | 0.079779 | -0.16566 | -0.080234 | 7.2842e-07 | -0.00045509 | 0.005327 | 0.0053328 | 0.0053328 | 0.99642 | -0.059963 | 0.99642 | -0.059925 | 2.424
25 | 0.1599 | 0.07664 | -0.1599 | -0.077442 | 1.1959e-06 | -0.00080274 | 0.0051371 | 0.0051472 | 0.0051472 | 0.99642 | -0.059963 | 0.99641 | -0.059899 | 2.3396
26 | 0.072189 | 0.033989 | -0.072189 | -0.034963 | 2.9639e-07 | -0.00097385 | 0.0023151 | 0.0023273 | 0.0023273 | 0.99493 | -0.047379 | 0.99493 | -0.047345 | 1.0578
27 | 0.094685 | 0.044635 | -0.094684 | -0.045858 | 6.4026e-07 | -0.0012223 | 0.0030373 | 0.0030526 | 0.0030526 | 0.9949 | -0.047183 | 0.9949 | -0.047126 | 1.3875
28 | 0.35998 | 0.17334 | -0.35998 | -0.17409 | 5.7352e-06 | -0.00075737 | 0.011577 | 0.011586 | 0.011586 | 0.9963 | -0.0589 | 0.99629 | -0.058763 | 5.2664
29 | -3.8536 | -1.8 | 3.8539 | 1.7997 | 0.00030002 | -0.00026307 | 0.12312 | 0.12312 | 0.12312 | 0.99725 | -0.06712 | 0.99732 | -0.067744 | 55.9639
30 | 0.87656 | 0.40449 | -0.87649 | -0.40606 | 6.9241e-05 | -0.0015727 | 0.027868 | 0.027888 | 0.027888 | 1 | 0 | 0.99993 | 0.00061802 | 12.6762
31 | 10.7982 | 5.1017 | -10.7942 | -5.0908 | 0.0040797 | 0.010838 | 0.34476 | 0.34476 | 0.34476 | 1 | 0 | 0.9993 | -0.039254 | 53.4509
32 | 8.9866 | 4.2123 | -8.9839 | -4.2052 | 0.002713 | 0.0071674 | 0.28651 | 0.28651 | 0.28651 | 1 | 0 | 0.99944 | -0.031504 | 44.4197
33 | 0.6658 | 0.30702 | -0.66568 | -0.31184 | 0.0001221 | -0.004823 | 0.021167 | 0.021226 | 0.021226 | 0.99993 | 0.00061802 | 0.99975 | 0.0020713 | 9.6481
34 | 0.21069 | 0.099041 | -0.21068 | -0.10137 | 5.9146e-06 | -0.0023296 | 0.0067211 | 0.00675 | 0.00675 | 0.99993 | 0.00061802 | 0.9999 | 0.0008528 | 3.0682
35 | 10.7018 | 5.0461 | -10.7014 | -5.0464 | 0.00032063 | -0.00037672 | 0.34179 | 0.3418 | 0.3418 | 0.9993 | -0.039254 | 0.99927 | -0.039383 | 53.5736
36 | 8.511 | 3.9761 | -8.5106 | -3.977 | 0.00039573 | -0.00086884 | 0.27133 | 0.27134 | 0.27134 | 0.99944 | -0.031504 | 0.99939 | -0.031714 | 42.5305
37 | 0.3378 | 0.15317 | -0.33777 | -0.1585 | 3.4443e-05 | -0.0053252 | 0.01071 | 0.010774 | 0.010774 | 0.99975 | 0.0020713 | 0.99966 | 0.0028647 | 4.8974
38 | 0.32788 | 0.15867 | -0.32786 | -0.15879 | 2.1575e-05 | -0.00011707 | 0.010518 | 0.010519 | 0.010519 | 0.99975 | 0.0020713 | 0.99968 | 0.0016368 | 5.0092
39 | 0.21068 | 0.10137 | -0.21068 | -0.10204 | 1.7038e-06 | -0.00066734 | 0.00675 | 0.0067584 | 0.0067584 | 0.9999 | 0.0008528 | 0.99989 | 0.00092274 | 3.072
40 | -1.1224 | -0.5436 | 1.1225 | 0.54248 | 8.37e-05 | -0.0011271 | 0.036029 | 0.036014 | 0.036029 | 0.99923 | -0.03148 | 0.9993 | -0.032128 | 16.3767
41 | 7.0656 | 3.2821 | -7.0649 | -3.2844 | 0.00068257 | -0.0023513 | 0.22506 | 0.22509 | 0.22509 | 0.9993 | -0.032128 | 0.9992 | -0.032576 | 35.2804
42 | 0.32171 | 0.15415 | -0.3217 | -0.15581 | 9.899e-06 | -0.0016584 | 0.010305 | 0.010326 | 0.010326 | 0.9993 | -0.032128 | 0.99927 | -0.031863 | 4.6937
43 | -8.5098 | -3.9787 | 8.5106 | 3.977 | 0.00078211 | -0.0017165 | 0.27137 | 0.27134 | 0.27137 | 0.9993 | -0.032128 | 0.99939 | -0.031714 | 42.5346
44 | 5.6806 | 2.614 | -5.6803 | -2.6154 | 0.00024561 | -0.0013892 | 0.18066 | 0.18068 | 0.18068 | 0.9992 | -0.032576 | 0.99915 | -0.032786 | 28.3191
45 | 5.6803 | 2.6154 | -5.68 | -2.6169 | 0.0002794 | -0.0015798 | 0.18068 | 0.1807 | 0.1807 | 0.99915 | -0.032786 | 0.9991 | -0.033024 | 28.3224
46 | 10.7014 | 5.0464 | -10.6933 | -5.056 | 0.0081097 | -0.0095096 | 0.3418 | 0.34197 | 0.34197 | 0.99927 | -0.039383 | 0.99848 | -0.042612 | 53.6009
47 | 10.6933 | 5.056 | -10.691 | -5.0499 | 0.0022815 | 0.0060599 | 0.34197 | 0.34197 | 0.34197 | 0.99848 | -0.042612 | 0.99809 | -0.064763 | 53.0193
48 | 0.088166 | 0.042234 | -0.088166 | -0.042701 | 2.0849e-07 | -0.00046651 | 0.0028231 | 0.0028289 | 0.0028289 | 0.99966 | 0.0028647 | 0.99966 | 0.0028851 | 1.2859
49 | 0.2496 | 0.11626 | -0.24959 | -0.12034 | 1.4535e-05 | -0.0040784 | 0.0079514 | 0.0080019 | 0.0080019 | 0.99966 | 0.0028647 | 0.9996 | 0.0033479 | 3.6372
50 | 0.24959 | 0.12034 | -0.24958 | -0.12088 | 1.9264e-06 | -0.00053662 | 0.0080019 | 0.0080086 | 0.0080086 | 0.9996 | 0.0033479 | 0.9996 | 0.0034148 | 3.6403
51 | -1.7583 | -0.81969 | 1.7595 | 0.81316 | 0.0012192 | -0.0065317 | 0.056152 | 0.056068 | 0.056152 | 0.99733 | -0.065478 | 0.99798 | -0.070952 | 25.5238
52 | 1.5605 | 0.7239 | -1.5596 | -0.73001 | 0.00088914 | -0.0061029 | 0.049791 | 0.049869 | 0.049869 | 0.99733 | -0.065478 | 0.9968 | -0.060934 | 22.6678
53 | 0.19782 | 0.095784 | -0.19782 | -0.095809 | 1.5656e-06 | -2.4798e-05 | 0.0063618 | 0.0063621 | 0.0063621 | 0.99733 | -0.065478 | 0.99732 | -0.06553 | 3.0296
54 | 8.5376 | 4.0446 | -8.5327 | -4.0552 | 0.0049429 | -0.010605 | 0.27327 | 0.27344 | 0.27344 | 0.99798 | -0.070952 | 0.99738 | -0.073352 | 42.8584
55 | -10.2972 | -4.8578 | 10.2978 | 4.8594 | 0.00061331 | 0.0016274 | 0.32934 | 0.32934 | 0.32934 | 0.99798 | -0.070952 | 0.99809 | -0.064763 | 51.06
56 | 0.28311 | 0.13605 | -0.2831 | -0.13711 | 4.9574e-06 | -0.0010616 | 0.0090965 | 0.0091099 | 0.0091099 | 0.9968 | -0.060934 | 0.99678 | -0.060783 | 4.1409
57 | 1.2765 | 0.59396 | -1.2764 | -0.59441 | 4.4221e-05 | -0.00045949 | 0.040773 | 0.040779 | 0.040779 | 0.9968 | -0.060934 | 0.99677 | -0.060659 | 18.5359
58 | 7.7682 | 3.7048 | -7.7667 | -3.709 | 0.0015428 | -0.0041583 | 0.2491 | 0.24916 | 0.24916 | 0.99738 | -0.073352 | 0.99718 | -0.074148 | 39.0534
59 | 0.76449 | 0.35044 | -0.76447 | -0.35123 | 2.6849e-05 | -0.00079792 | 0.024341 | 0.024351 | 0.024351 | 0.99738 | -0.073352 | 0.99735 | -0.073082 | 11.0685
60 | 7.7667 | 3.709 | -7.7659 | -3.711 | 0.00075384 | -0.0020301 | 0.24916 | 0.24919 | 0.24919 | 0.99718 | -0.074148 | 0.99708 | -0.074534 | 39.0582
61 | 0.68001 | 0.31033 | -0.68001 | -0.31033 | 1.9053e-07 | -7.1828e-06 | 0.021635 | 0.021635 | 0.021635 | 0.99735 | -0.073082 | 0.99735 | -0.07308 | 9.8341
62 | 7.6977 | 3.678 | -7.697 | -3.68 | 0.00075103 | -0.0020651 | 0.247 | 0.24703 | 0.24703 | 0.99708 | -0.074534 | 0.99698 | -0.074922 | 38.7193
63 | 1.2764 | 0.59441 | -1.2764 | -0.59487 | 4.3374e-05 | -0.00045053 | 0.040779 | 0.040785 | 0.040785 | 0.99677 | -0.060659 | 0.99674 | -0.060388 | 18.5385
64 | 1.0547 | 0.48749 | -1.0546 | -0.48889 | 9.0931e-05 | -0.0013989 | 0.033652 | 0.033669 | 0.033669 | 0.99674 | -0.060388 | 0.99666 | -0.059711 | 15.304
65 | 0.27938 | 0.13105 | -0.27936 | -0.13482 | 1.7007e-05 | -0.0037675 | 0.0089318 | 0.0089788 | 0.0089788 | 0.99735 | -0.07308 | 0.99729 | -0.07257 | 4.0813
66 | 0.26501 | 0.11915 | -0.26498 | -0.12829 | 3.6877e-05 | -0.0091421 | 0.0084103 | 0.0085224 | 0.0085224 | 0.99735 | -0.07308 | 0.99722 | -0.071965 | 3.8738
67 | 0.13561 | 0.060129 | -0.13561 | -0.06511 | 5.2359e-06 | -0.0049813 | 0.0042938 | 0.0043542 | 0.0043542 | 0.99735 | -0.07308 | 0.99731 | -0.072779 | 1.9792
68 | 7.3562 | 3.5254 | -7.3514 | -3.5399 | 0.0047237 | -0.014426 | 0.2362 | 0.23641 | 0.23641 | 0.99698 | -0.074922 | 0.99631 | -0.077396 | 37.0548
69 | 0.34081 | 0.1546 | -0.34074 | -0.16412 | 6.3683e-05 | -0.0095187 | 0.010836 | 0.010953 | 0.010953 | 0.99698 | -0.074922 | 0.9968 | -0.073419 | 4.9786
70 | 1.0546 | 0.48889 | -1.0546 | -0.48977 | 5.6773e-05 | -0.00087256 | 0.033669 | 0.03368 | 0.03368 | 0.99666 | -0.059711 | 0.99661 | -0.059287 | 15.309
71 | -0.26497 | -0.12833 | 0.26498 | 0.12829 | 4.5069e-06 | -3.852e-05 | 0.0085229 | 0.0085224 | 0.0085229 | 0.9972 | -0.072078 | 0.99722 | -0.071965 | 4.0585
72 | 0.13561 | 0.06511 | -0.13561 | -0.065678 | 6.0609e-07 | -0.00056755 | 0.0043542 | 0.0043614 | 0.0043614 | 0.99731 | -0.072779 | 0.99731 | -0.07274 | 1.9824
73 | 0.27936 | 0.13482 | -0.27936 | -0.1353 | 2.1711e-06 | -0.00047807 | 0.0089788 | 0.0089848 | 0.0089848 | 0.99729 | -0.07257 | 0.99728 | -0.072503 | 4.084
74 | 0.10874 | 0.052412 | -0.10874 | -0.052663 | 1.7293e-07 | -0.00025068 | 0.0034975 | 0.0035007 | 0.0035007 | 0.99629 | -0.058763 | 0.99629 | -0.058749 | 1.5912
75 | -4.1551 | -1.9456 | 4.1555 | 1.9444 | 0.00038563 | -0.0012649 | 0.1328 | 0.13278 | 0.1328 | 0.99732 | -0.067744 | 0.99742 | -0.066616 | 36.6858
76 | -4.1555 | -1.9444 | 4.1594 | 1.9022 | 0.0038472 | -0.042197 | 0.13278 | 0.13224 | 0.13278 | 0.99742 | -0.066616 | 0.99838 | -0.062227 | 20.8125
77 | 0.2578 | 0.1248 | -0.2578 | -0.12486 | 2.1956e-07 | -5.7004e-05 | 0.0082818 | 0.0082825 | 0.0082825 | 0.99838 | -0.062227 | 0.99838 | -0.062219 | 3.7648
78 | -4.7607 | -2.1786 | 4.761 | 2.1762 | 0.00028779 | -0.0023839 | 0.15138 | 0.15135 | 0.15138 | 0.99838 | -0.062227 | 0.99844 | -0.061924 | 23.7276
79 | 0.34357 | 0.15161 | -0.34349 | -0.16475 | 8.8314e-05 | -0.013133 | 0.010858 | 0.011018 | 0.011018 | 0.99838 | -0.062227 | 0.99814 | -0.060236 | 5.008
80 | 0.18268 | 0.087214 | -0.18268 | -0.088476 | 2.4333e-06 | -0.0012623 | 0.0058529 | 0.0058687 | 0.0058687 | 0.99844 | -0.061924 | 0.99843 | -0.06181 | 2.6676
81 | -4.9437 | -2.2634 | 4.9438 | 2.2628 | 8.1147e-05 | -0.00061995 | 0.1572 | 0.1572 | 0.1572 | 0.99844 | -0.061924 | 0.99846 | -0.061842 | 24.6401
82 | 0.34349 | 0.16475 | -0.34348 | -0.16546 | 4.8782e-06 | -0.00071402 | 0.011018 | 0.011027 | 0.011027 | 0.99814 | -0.060236 | 0.99813 | -0.060114 | 5.0121
83 | 0.17059 | 0.081726 | -0.17058 | -0.081951 | 1.0402e-05 | -0.00022535 | 0.0054707 | 0.0054736 | 0.0054736 | 0.99813 | -0.060114 | 0.99806 | -0.06053 | 2.6065
84 | -5.0895 | -2.3334 | 5.0899 | 2.3302 | 0.00043919 | -0.0031515 | 0.16187 | 0.16183 | 0.16187 | 0.99846 | -0.061842 | 0.99855 | -0.061413 | 25.3722
85 | 0.17058 | 0.081951 | -0.17058 | -0.082614 | 1.1178e-06 | -0.00066337 | 0.0054736 | 0.0054819 | 0.0054819 | 0.99806 | -0.06053 | 0.99806 | -0.060474 | 2.4918
86 | 1.0546 | 0.48977 | -1.0545 | -0.48994 | 1.1179e-05 | -0.00017174 | 0.03368 | 0.033682 | 0.033682 | 0.99661 | -0.059287 | 0.9966 | -0.059203 | 15.3099
87 | 0.72951 | 0.33252 | -0.72948 | -0.33365 | 3.4618e-05 | -0.0011292 | 0.023223 | 0.023237 | 0.023237 | 0.9966 | -0.059203 | 0.99655 | -0.058843 | 10.5621
88 | 0.72948 | 0.33365 | -0.72931 | -0.33907 | 0.00016675 | -0.0054192 | 0.023237 | 0.023303 | 0.023303 | 0.99655 | -0.058843 | 0.99634 | -0.057066 | 10.5922
89 | -0.27924 | -0.13524 | 0.27924 | 0.13511 | 5.9875e-07 | -0.00013134 | 0.0089903 | 0.0089886 | 0.0089903 | 0.99625 | -0.056249 | 0.99625 | -0.056268 | 4.0865
90 | -0.27924 | -0.13511 | 0.27926 | 0.12914 | 2.6957e-05 | -0.0059645 | 0.0089886 | 0.0089146 | 0.0089886 | 0.99625 | -0.056268 | 0.99634 | -0.057066 | 4.0857
91 | 0.098728 | 0.039783 | -0.098724 | -0.047222 | 4.0954e-06 | -0.0074396 | 0.003084 | 0.0031709 | 0.0031709 | 0.99634 | -0.057066 | 0.9963 | -0.056779 | 1.4413
92 | 0.35132 | 0.17014 | -0.35132 | -0.17015 | 2.6703e-06 | -1.2213e-05 | 0.01131 | 0.01131 | 0.01131 | 0.99634 | -0.057066 | 0.99633 | -0.057116 | 5.3857
93 | 0.098724 | 0.047222 | -0.098724 | -0.047814 | 3.3611e-07 | -0.00059196 | 0.0031709 | 0.0031783 | 0.0031783 | 0.9963 | -0.056779 | 0.99629 | -0.05675 | 1.4447
94 | 5.68 | 2.6169 | -5.6797 | -2.6188 | 0.00032807 | -0.0018543 | 0.1807 | 0.18072 | 0.18072 | 0.9991 | -0.033024 | 0.99904 | -0.033303 | 28.3263
95 | 5.3401 | 2.4543 | -5.3387 | -2.4507 | 0.0014227 | 0.0036351 | 0.16982 | 0.16982 | 0.16982 | 0.99904 | -0.033303 | 0.99855 | -0.061413 | 26.3291
96 | -0.068481 | -0.033167 | 0.068482 | 0.030972 | 5.9446e-07 | -0.0021949 | 0.0022055 | 0.0021786 | 0.0022055 | 0.99592 | -0.075749 | 0.99593 | -0.075819 | 1.0025
97 | -0.068482 | -0.030972 | 0.068483 | 0.026874 | 1.0728e-06 | -0.0040986 | 0.0021786 | 0.0021323 | 0.0021786 | 0.99593 | -0.075819 | 0.99595 | -0.075915 | 0.99025
98 | -0.30165 | -0.13977 | 0.30167 | 0.13516 | 2.4019e-05 | -0.0046087 | 0.0096363 | 0.0095808 | 0.0096363 | 0.99595 | -0.075915 | 0.99602 | -0.076516 | 4.3801
99 | 0.23316 | 0.1129 | -0.23316 | -0.11293 | 2.3523e-06 | -2.6253e-05 | 0.0075089 | 0.0075092 | 0.0075092 | 0.99595 | -0.075915 | 0.99593 | -0.075982 | 3.5758
100 | -0.30167 | -0.13516 | 0.30168 | 0.13344 | 8.889e-06 | -0.0017192 | 0.0095808 | 0.0095605 | 0.0095808 | 0.99602 | -0.076516 | 0.99605 | -0.076725 | 4.3549
101 | -0.5438 | -0.25071 | 0.54383 | 0.24894 | 3.0054e-05 | -0.0017639 | 0.017355 | 0.017333 | 0.017355 | 0.99605 | -0.076725 | 0.9961 | -0.077151 | 7.8885
102 | -0.54383 | -0.24894 | 0.54389 | 0.24564 | 5.61e-05 | -0.0033048 | 0.017333 | 0.017293 | 0.017333 | 0.9961 | -0.077151 | 0.9962 | -0.077925 | 7.8788
103 | 5.1771 | 2.4878 | -5.1771 | -2.488 | 2.652e-05 | -0.00017832 | 0.16643 | 0.16643 | 0.16643 | 0.99631 | -0.077396 | 0.99631 | -0.077415 | 26.0858
104 | 2.1743 | 1.052 | -2.174 | -1.0529 | 0.00027258 | -0.00090687 | 0.069985 | 0.069997 | 0.069997 | 0.99631 | -0.077396 | 0.9962 | -0.076305 | 31.817
105 | 0.34074 | 0.16412 | -0.34074 | -0.16419 | 4.2538e-07 | -6.2884e-05 | 0.010953 | 0.010954 | 0.010954 | 0.9968 | -0.073419 | 0.9968 | -0.073409 | 4.979
106 | 4.3261 | 2.0758 | -4.3258 | -2.0767 | 0.00030928 | -0.00090316 | 0.13903 | 0.13904 | 0.13904 | 0.99631 | -0.077415 | 0.99623 | -0.078237 | 38.4097
107 | 0.23514 | 0.11304 | -0.23514 | -0.11388 | 2.7158e-06 | -0.00084333 | 0.0075558 | 0.0075665 | 0.0075665 | 0.9968 | -0.073409 | 0.99679 | -0.073309 | 3.4393
108 | 1.4967 | 0.70659 | -1.4967 | -0.70697 | 5.0996e-05 | -0.00037834 | 0.047961 | 0.047966 | 0.047966 | 0.99623 | -0.078237 | 0.9962 | -0.077956 | 21.8026
109 | -0.54389 | -0.24564 | 0.54389 | 0.2455 | 2.3119e-06 | -0.00013653 | 0.017293 | 0.017292 | 0.017293 | 0.9962 | -0.077925 | 0.9962 | -0.077956 | 7.8607

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 20.9113 | 9.8433

## res_load
| p_mw | q_mvar
0 | 0.41193 | 0.19951
1 | 0.076309 | 0.036958
2 | 1.1684 | 0.56588
3 | 0.2531 | 0.12258
4 | 0.068792 | 0.033317
5 | 0.14654 | 0.070971
6 | 0.16566 | 0.080234
7 | 0.1599 | 0.077442
8 | 0.11071 | 0.053619
9 | 0.072189 | 0.034963
10 | 0.24353 | 0.11795
11 | 0.2849 | 0.13799
12 | 0.15206 | 0.073647
13 | 0.077657 | 0.037611
14 | 0.094684 | 0.045858
15 | 0.23596 | 0.11428
16 | 0.092394 | 0.044748
17 | 0.47291 | 0.22904
18 | 1.1224 | 0.5436
19 | 1.3843 | 0.67047
20 | 0.3217 | 0.15581
21 | 0.32786 | 0.15879
22 | 0.21068 | 0.10204
23 | 0.24958 | 0.12088
24 | 0.088166 | 0.042701
25 | 0.19782 | 0.095809
26 | 0.39327 | 0.19047
27 | 0.084462 | 0.040907
28 | 0.068185 | 0.033023
29 | 0.22169 | 0.10737
30 | 0.2831 | 0.13711
31 | 0.26497 | 0.12833
32 | 0.13561 | 0.065678
33 | 0.27936 | 0.1353
34 | 0.25124 | 0.12168
35 | 0.10874 | 0.052663
36 | 0.30121 | 0.14588
37 | 0.2578 | 0.12486
38 | 0.17289 | 0.083736
39 | 0.18268 | 0.088476
40 | 0.14569 | 0.070561
41 | 0.32503 | 0.15742
42 | 0.27924 | 0.13524
43 | 0.35132 | 0.17015
44 | 0.098724 | 0.047814
45 | 0.3396 | 0.16448
46 | 0.24876 | 0.12048
47 | 0.068481 | 0.033167
48 | 0.23316 | 0.11293
49 | 0.24212 | 0.11726
50 | 0.85105 | 0.41218
51 | 2.174 | 1.0529
52 | 0.1056 | 0.051144
53 | 2.829 | 1.3702
54 | 0.23514 | 0.11388
55 | 0.95281 | 0.46147
56 | 0.17058 | 0.082614

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1