## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_60_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_60_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_60_0_node_306 | 20 | n |  | TRUE
3 | bus_MV_60_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_60_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_60_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_60_0_node_176 | 20 | n |  | TRUE
7 | bus_MV_60_0_node_177 | 20 | n |  | TRUE
8 | bus_MV_60_0_node_178 | 20 | n |  | TRUE
9 | bus_MV_60_0_node_348 | 20 | n |  | TRUE
10 | bus_MV_60_0_node_179 | 20 | n |  | TRUE
11 | bus_MV_60_0_node_239 | 20 | n |  | TRUE
12 | bus_MV_60_0_node_327 | 20 | n |  | TRUE
13 | bus_MV_60_0_node_180 | 20 | n |  | TRUE
14 | bus_MV_60_0_node_182 | 20 | n |  | TRUE
15 | bus_MV_60_0_node_181 | 20 | n |  | TRUE
16 | bus_MV_60_0_node_183 | 20 | n |  | TRUE
17 | bus_MV_60_0_node_260 | 20 | n |  | TRUE
18 | bus_MV_60_0_node_185 | 20 | n |  | TRUE
19 | bus_MV_60_0_node_184 | 20 | n |  | TRUE
20 | bus_MV_60_0_node_326 | 20 | n |  | TRUE
21 | bus_MV_60_0_node_186 | 20 | n |  | TRUE
22 | bus_MV_60_0_node_284 | 20 | n |  | TRUE
23 | bus_MV_60_0_node_187 | 20 | n |  | TRUE
24 | bus_MV_60_0_node_188 | 20 | n |  | TRUE
25 | bus_MV_60_0_node_189 | 20 | n |  | TRUE
26 | bus_MV_60_0_node_329 | 20 | n |  | TRUE
27 | bus_MV_60_0_node_234 | 20 | n |  | TRUE
28 | bus_MV_60_0_node_190 | 20 | n |  | TRUE
29 | bus_MV_60_0_node_191 | 20 | n |  | TRUE
30 | bus_MV_60_0_node_208 | 20 | n |  | TRUE
31 | bus_MV_60_0_node_299 | 20 | n |  | TRUE
32 | bus_MV_60_0_node_192 | 20 | n |  | TRUE
33 | bus_MV_60_0_node_194 | 20 | n |  | TRUE
34 | bus_MV_60_0_node_193 | 20 | n |  | TRUE
35 | bus_MV_60_0_node_195 | 20 | n |  | TRUE
36 | bus_MV_60_0_node_196 | 20 | n |  | TRUE
37 | bus_MV_60_0_node_333 | 20 | n |  | TRUE
38 | bus_MV_60_0_node_227 | 20 | n |  | TRUE
39 | bus_MV_60_0_node_224 | 20 | n |  | TRUE
40 | bus_MV_60_0_node_223 | 20 | n |  | TRUE
41 | bus_MV_60_0_node_197 | 20 | n |  | TRUE
42 | bus_MV_60_0_node_198 | 20 | n |  | TRUE
43 | bus_MV_60_0_node_199 | 20 | n |  | TRUE
44 | bus_MV_60_0_node_200 | 20 | n |  | TRUE
45 | bus_MV_60_0_node_219 | 20 | n |  | TRUE
46 | bus_MV_60_0_node_201 | 20 | n |  | TRUE
47 | bus_MV_60_0_node_202 | 20 | n |  | TRUE
48 | bus_MV_60_0_node_203 | 20 | n |  | TRUE
49 | bus_MV_60_0_node_204 | 20 | n |  | TRUE
50 | bus_MV_60_0_node_222 | 20 | n |  | TRUE
51 | bus_MV_60_0_node_205 | 20 | n |  | TRUE
52 | bus_MV_60_0_node_206 | 20 | n |  | TRUE
53 | bus_MV_60_0_node_207 | 20 | n |  | TRUE
54 | bus_MV_60_0_node_209 | 20 | n |  | TRUE
55 | bus_MV_60_0_node_214 | 20 | n |  | TRUE
56 | bus_MV_60_0_node_210 | 20 | n |  | TRUE
57 | bus_MV_60_0_node_211 | 20 | n |  | TRUE
58 | bus_MV_60_0_node_213 | 20 | n |  | TRUE
59 | bus_MV_60_0_node_212 | 20 | n |  | TRUE
60 | bus_MV_60_0_node_259 | 20 | n |  | TRUE
61 | bus_MV_60_0_node_305 | 20 | n |  | TRUE
62 | bus_MV_60_0_node_215 | 20 | n |  | TRUE
63 | bus_MV_60_0_node_216 | 20 | n |  | TRUE
64 | bus_MV_60_0_node_218 | 20 | n |  | TRUE
65 | bus_MV_60_0_node_217 | 20 | n |  | TRUE
66 | bus_MV_60_0_node_236 | 20 | n |  | TRUE
67 | bus_MV_60_0_node_221 | 20 | n |  | TRUE
68 | bus_MV_60_0_node_220 | 20 | n |  | TRUE
69 | bus_MV_60_0_node_237 | 20 | n |  | TRUE
70 | bus_MV_60_0_node_225 | 20 | n |  | TRUE
71 | bus_MV_60_0_node_226 | 20 | n |  | TRUE
72 | bus_MV_60_0_node_228 | 20 | n |  | TRUE
73 | bus_MV_60_0_node_229 | 20 | n |  | TRUE
74 | bus_MV_60_0_node_271 | 20 | n |  | TRUE
75 | bus_MV_60_0_node_255 | 20 | n |  | TRUE
76 | bus_MV_60_0_node_230 | 20 | n |  | TRUE
77 | bus_MV_60_0_node_231 | 20 | n |  | TRUE
78 | bus_MV_60_0_node_232 | 20 | n |  | TRUE
79 | bus_MV_60_0_node_246 | 20 | n |  | TRUE
80 | bus_MV_60_0_node_233 | 20 | n |  | TRUE
81 | bus_MV_60_0_node_242 | 20 | n |  | TRUE
82 | bus_MV_60_0_node_235 | 20 | n |  | TRUE
83 | bus_MV_60_0_node_238 | 20 | n |  | TRUE
84 | bus_MV_60_0_node_244 | 20 | n |  | TRUE
85 | bus_MV_60_0_node_240 | 20 | n |  | TRUE
86 | bus_MV_60_0_node_241 | 20 | n |  | TRUE
87 | bus_MV_60_0_node_258 | 20 | n |  | TRUE
88 | bus_MV_60_0_node_325 | 20 | n |  | TRUE
89 | bus_MV_60_0_node_243 | 20 | n |  | TRUE
90 | bus_MV_60_0_node_245 | 20 | n |  | TRUE
91 | bus_MV_60_0_node_272 | 20 | n |  | TRUE
92 | bus_MV_60_0_node_256 | 20 | n |  | TRUE
93 | bus_MV_60_0_node_248 | 20 | n |  | TRUE
94 | bus_MV_60_0_node_247 | 20 | n |  | TRUE
95 | bus_MV_60_0_node_249 | 20 | n |  | TRUE
96 | bus_MV_60_0_node_250 | 20 | n |  | TRUE
97 | bus_MV_60_0_node_251 | 20 | n |  | TRUE
98 | bus_MV_60_0_node_252 | 20 | n |  | TRUE
99 | bus_MV_60_0_node_253 | 20 | n |  | TRUE
100 | bus_MV_60_0_node_275 | 20 | n |  | TRUE
101 | bus_MV_60_0_node_328 | 20 | n |  | TRUE
102 | bus_MV_60_0_node_273 | 20 | n |  | TRUE
103 | bus_MV_60_0_node_291 | 20 | n |  | TRUE
104 | bus_MV_60_0_node_290 | 20 | n |  | TRUE
105 | bus_MV_60_0_node_254 | 20 | n |  | TRUE
106 | bus_MV_60_0_node_263 | 20 | n |  | TRUE
107 | bus_MV_60_0_node_264 | 20 | n |  | TRUE
108 | bus_MV_60_0_node_265 | 20 | n |  | TRUE
109 | bus_MV_60_0_node_307 | 20 | n |  | TRUE
110 | bus_MV_60_0_node_344 | 20 | n |  | TRUE
111 | bus_MV_60_0_node_266 | 20 | n |  | TRUE
112 | bus_MV_60_0_node_267 | 20 | n |  | TRUE
113 | bus_MV_60_0_node_268 | 20 | n |  | TRUE
114 | bus_MV_60_0_node_296 | 20 | n |  | TRUE
115 | bus_MV_60_0_node_293 | 20 | n |  | TRUE
116 | bus_MV_60_0_node_269 | 20 | n |  | TRUE
117 | bus_MV_60_0_node_270 | 20 | n |  | TRUE
118 | bus_MV_60_0_node_294 | 20 | n |  | TRUE
119 | bus_MV_60_0_node_277 | 20 | n |  | TRUE
120 | bus_MV_60_0_node_276 | 20 | n |  | TRUE
121 | bus_MV_60_0_node_274 | 20 | n |  | TRUE
122 | bus_MV_60_0_node_286 | 20 | n |  | TRUE
123 | bus_MV_60_0_node_280 | 20 | n |  | TRUE
124 | bus_MV_60_0_node_278 | 20 | n |  | TRUE
125 | bus_MV_60_0_node_279 | 20 | n |  | TRUE
126 | bus_MV_60_0_node_335 | 20 | n |  | TRUE
127 | bus_MV_60_0_node_334 | 20 | n |  | TRUE
128 | bus_MV_60_0_node_281 | 20 | n |  | TRUE
129 | bus_MV_60_0_node_282 | 20 | n |  | TRUE
130 | bus_MV_60_0_node_283 | 20 | n |  | TRUE
131 | bus_MV_60_0_node_285 | 20 | n |  | TRUE
132 | bus_MV_60_0_node_288 | 20 | n |  | TRUE
133 | bus_MV_60_0_node_292 | 20 | n |  | TRUE
134 | bus_MV_60_0_node_300 | 20 | n |  | TRUE
135 | bus_MV_60_0_node_295 | 20 | n |  | TRUE
136 | bus_MV_60_0_node_298 | 20 | n |  | TRUE
137 | bus_MV_60_0_node_346 | 20 | n |  | TRUE
138 | bus_MV_60_0_node_301 | 20 | n |  | TRUE
139 | bus_MV_60_0_node_302 | 20 | n |  | TRUE
140 | bus_MV_60_0_node_303 | 20 | n |  | TRUE
141 | bus_MV_60_0_node_332 | 20 | n |  | TRUE
142 | bus_MV_60_0_node_330 | 20 | n |  | TRUE
143 | bus_MV_60_0_node_331 | 20 | n |  | TRUE
144 | bus_MV_60_0_node_347 | 20 | n |  | TRUE
145 | bus_MV_60_0_node_336 | 20 | n |  | TRUE
146 | bus_HV_60_0_node_177 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_60_0_load_0 | 0 | 0.32108 | 0.15551 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_60_0_load_306 | 2 | 0.050184 | 0.024305 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_60_0_load_4 | 3 | 0.11137 | 0.053941 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_60_0_load_3 | 5 | 0.17081 | 0.082726 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_60_0_load_176 | 6 | 0.09522 | 0.046117 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_60_0_load_178 | 8 | 0.087026 | 0.042148 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_60_0_load_348 | 9 | 0.092368 | 0.044736 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_60_0_load_327 | 12 | 0.15238 | 0.073801 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_60_0_load_180 | 13 | 0.16132 | 0.07813 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_60_0_load_260 | 17 | 0.14875 | 0.072044 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_60_0_load_326 | 20 | 0.28783 | 0.1394 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_60_0_load_186 | 21 | 0.10971 | 0.053134 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_60_0_load_284 | 22 | 0.11108 | 0.053799 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_60_0_load_234 | 27 | 0.091709 | 0.044417 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_60_0_load_190 | 28 | 0.10813 | 0.052372 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_60_0_load_192 | 32 | 0.11261 | 0.054538 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_60_0_load_333 | 37 | 0.15181 | 0.073525 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_60_0_load_227 | 38 | 0.11908 | 0.057673 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_60_0_load_224 | 39 | 0.068043 | 0.032955 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_60_0_load_223 | 40 | 0.11931 | 0.057786 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_60_0_load_197 | 41 | 0.15241 | 0.073813 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_60_0_load_200 | 44 | 0.11439 | 0.055401 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_60_0_load_219 | 45 | 0.10015 | 0.048506 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_60_0_load_201 | 46 | 0.074698 | 0.036178 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_60_0_load_204 | 49 | 0.10295 | 0.04986 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_60_0_load_205 | 51 | 0.094495 | 0.045766 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_60_0_load_209 | 54 | 0.11525 | 0.055818 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_60_0_load_210 | 56 | 0.085318 | 0.041321 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_60_0_load_259 | 60 | 0.14705 | 0.071221 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_60_0_load_305 | 61 | 0.16374 | 0.079304 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_60_0_load_218 | 64 | 0.096499 | 0.046737 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_60_0_load_217 | 65 | 0.12703 | 0.061526 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_60_0_load_220 | 68 | 0.1537 | 0.07444 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_60_0_load_225 | 70 | 0.16196 | 0.078439 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_60_0_load_271 | 74 | 0.12032 | 0.058272 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_60_0_load_255 | 75 | 0.099039 | 0.047967 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_60_0_load_230 | 76 | 0.13231 | 0.064079 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_60_0_load_231 | 77 | 0.11625 | 0.056301 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_60_0_load_246 | 79 | 0.13151 | 0.063692 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_60_0_load_233 | 80 | 0.26445 | 0.12808 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_60_0_load_235 | 82 | 0.14753 | 0.071452 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_60_0_load_238 | 83 | 0.14558 | 0.070509 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_60_0_load_241 | 86 | 0.14645 | 0.07093 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_60_0_load_258 | 87 | 0.13511 | 0.065439 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_60_0_load_325 | 88 | 0.29376 | 0.14227 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_60_0_load_243 | 89 | 0.14255 | 0.06904 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_60_0_load_272 | 91 | 0.16094 | 0.077945 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_60_0_load_252 | 98 | 0.12018 | 0.058205 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_60_0_load_275 | 100 | 0.069139 | 0.033485 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_60_0_load_328 | 101 | 0.10848 | 0.052538 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_60_0_load_290 | 104 | 0.11887 | 0.057574 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_60_0_load_254 | 105 | 0.12914 | 0.062543 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_60_0_load_263 | 106 | 0.08753 | 0.042393 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_60_0_load_344 | 110 | 0.11118 | 0.053845 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_60_0_load_266 | 111 | 0.05646 | 0.027345 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_60_0_load_296 | 114 | 0.11454 | 0.055475 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_60_0_load_269 | 116 | 0.11615 | 0.056252 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_60_0_load_277 | 119 | 0.13494 | 0.065357 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_60_0_load_274 | 121 | 0.12547 | 0.060769 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_60_0_load_286 | 122 | 0.15784 | 0.076444 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_60_0_load_278 | 124 | 0.11436 | 0.055388 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_60_0_load_279 | 125 | 0.15035 | 0.072817 | 0 | 0 |  | 1 | TRUE | wye
62 | MV_60_0_load_334 | 127 | 0.18901 | 0.091541 | 0 | 0 |  | 1 | TRUE | wye
63 | MV_60_0_load_281 | 128 | 0.058639 | 0.0284 | 0 | 0 |  | 1 | TRUE | wye
64 | MV_60_0_load_282 | 129 | 0.18752 | 0.090821 | 0 | 0 |  | 1 | TRUE | wye
65 | MV_60_0_load_285 | 131 | 0.14644 | 0.070924 | 0 | 0 |  | 1 | TRUE | wye
66 | MV_60_0_load_288 | 132 | 0.15211 | 0.073669 | 0 | 0 |  | 1 | TRUE | wye
67 | MV_60_0_load_292 | 133 | 0.12499 | 0.060535 | 0 | 0 |  | 1 | TRUE | wye
68 | MV_60_0_load_295 | 135 | 0.093739 | 0.0454 | 0 | 0 |  | 1 | TRUE | wye
69 | MV_60_0_load_298 | 136 | 0.066279 | 0.0321 | 0 | 0 |  | 1 | TRUE | wye
70 | MV_60_0_load_346 | 137 | 0.091566 | 0.044347 | 0 | 0 |  | 1 | TRUE | wye
71 | MV_60_0_load_301 | 138 | 0.15575 | 0.075433 | 0 | 0 |  | 1 | TRUE | wye
72 | MV_60_0_load_332 | 141 | 0.085316 | 0.041321 | 0 | 0 |  | 1 | TRUE | wye
73 | MV_60_0_load_347 | 144 | 0.11937 | 0.057816 | 0 | 0 |  | 1 | TRUE | wye
74 | MV_60_0_load_336 | 145 | 0.12174 | 0.058961 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_60_0_line_0 |  | 0 | 1 | 0.051122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_60_0_line_1 |  | 0 | 2 | 1.6314 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_60_0_line_2 |  | 0 | 3 | 2.0167 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_60_0_line_3 |  | 1 | 4 | 0.76822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_60_0_line_4 |  | 2 | 109 | 0.062003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_60_0_line_5 |  | 4 | 5 | 0.019797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_60_0_line_6 |  | 6 | 7 | 0.018248 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_60_0_line_7 |  | 7 | 8 | 0.020947 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
8 | MV_60_0_line_8 |  | 8 | 9 | 0.45231 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
9 | MV_60_0_line_9 |  | 9 | 30 | 0.055336 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
10 | MV_60_0_line_10 |  | 10 | 11 | 0.26003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_60_0_line_11 |  | 10 | 12 | 0.081846 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_60_0_line_12 |  | 11 | 85 | 0.063951 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
13 | MV_60_0_line_13 |  | 11 | 83 | 0.0592 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
14 | MV_60_0_line_14 |  | 13 | 14 | 0.063866 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
15 | MV_60_0_line_15 |  | 13 | 15 | 0.084305 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
16 | MV_60_0_line_16 |  | 14 | 18 | 0.070871 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_60_0_line_17 |  | 15 | 16 | 0.2319 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_60_0_line_18 |  | 15 | 17 | 0.63992 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_60_0_line_19 |  | 16 | 19 | 0.11673 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_60_0_line_20 |  | 16 | 20 | 0.051031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_60_0_line_21 |  | 17 | 58 | 0.10267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_60_0_line_22 |  | 18 | 22 | 0.020497 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
23 | MV_60_0_line_23 |  | 19 | 21 | 0.10289 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_60_0_line_24 |  | 21 | 23 | 0.074248 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
25 | MV_60_0_line_25 |  | 22 | 128 | 0.051838 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_60_0_line_26 |  | 23 | 24 | 0.022714 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_60_0_line_27 |  | 24 | 25 | 0.069755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_60_0_line_28 |  | 24 | 26 | 0.11229 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
29 | MV_60_0_line_29 |  | 25 | 27 | 0.034898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_60_0_line_30 |  | 26 | 142 | 0.12753 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_60_0_line_31 |  | 26 | 101 | 0.053422 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
32 | MV_60_0_line_32 |  | 28 | 29 | 0.090233 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_60_0_line_33 |  | 28 | 30 | 1.6309 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
34 | MV_60_0_line_34 |  | 29 | 31 | 2.568 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
35 | MV_60_0_line_35 |  | 30 | 52 | 0.48736 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
36 | MV_60_0_line_36 |  | 31 | 134 | 0.75021 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_60_0_line_37 |  | 31 | 136 | 0.051973 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_60_0_line_38 |  | 32 | 33 | 0.011278 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_60_0_line_39 |  | 32 | 34 | 0.079312 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
40 | MV_60_0_line_40 |  | 33 | 36 | 0.15562 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_60_0_line_41 |  | 34 | 35 | 0.24788 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_60_0_line_42 |  | 35 | 37 | 0.00433 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
43 | MV_60_0_line_43 |  | 35 | 38 | 0.03104 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_60_0_line_44 |  | 36 | 39 | 0.064269 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
45 | MV_60_0_line_45 |  | 36 | 40 | 0.036947 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_60_0_line_46 |  | 37 | 140 | 0.053955 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_60_0_line_47 |  | 38 | 70 | 0.062553 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_60_0_line_48 |  | 39 | 69 | 0.061956 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_60_0_line_49 |  | 40 | 43 | 0.13825 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
50 | MV_60_0_line_50 |  | 41 | 42 | 0.092709 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_60_0_line_51 |  | 42 | 43 | 0.1552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_60_0_line_52 |  | 42 | 44 | 0.075462 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_60_0_line_53 |  | 43 | 45 | 0.021263 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_60_0_line_54 |  | 45 | 67 | 0.12954 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
55 | MV_60_0_line_55 |  | 46 | 47 | 0.026602 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_60_0_line_56 |  | 47 | 48 | 0.004303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_60_0_line_57 |  | 48 | 49 | 0.059433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_60_0_line_58 |  | 49 | 50 | 0.083726 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_60_0_line_59 |  | 50 | 67 | 0.049567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_60_0_line_60 |  | 51 | 52 | 0.027886 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
61 | MV_60_0_line_61 |  | 51 | 53 | 0.046337 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
62 | MV_60_0_line_62 |  | 53 | 54 | 0.1119 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_60_0_line_63 |  | 54 | 55 | 0.11143 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
64 | MV_60_0_line_64 |  | 55 | 61 | 0.14576 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
65 | MV_60_0_line_65 |  | 56 | 57 | 0.004381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_60_0_line_66 |  | 57 | 58 | 0.20104 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_60_0_line_67 |  | 58 | 59 | 0.17594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_60_0_line_68 |  | 59 | 60 | 0.013569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_60_0_line_69 |  | 61 | 63 | 0.13123 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
70 | MV_60_0_line_70 |  | 62 | 63 | 0.14462 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
71 | MV_60_0_line_71 |  | 62 | 64 | 0.073386 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
72 | MV_60_0_line_72 |  | 64 | 65 | 0.18754 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
73 | MV_60_0_line_73 |  | 65 | 66 | 0.31363 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
74 | MV_60_0_line_74 |  | 66 | 69 | 0.023703 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
75 | MV_60_0_line_75 |  | 66 | 82 | 0.080448 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
76 | MV_60_0_line_76 |  | 67 | 68 | 0.089781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_60_0_line_77 |  | 70 | 71 | 0.008184 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
78 | MV_60_0_line_78 |  | 71 | 72 | 0.051793 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
79 | MV_60_0_line_79 |  | 71 | 73 | 0.10321 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
80 | MV_60_0_line_80 |  | 72 | 74 | 0.015626 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
81 | MV_60_0_line_81 |  | 73 | 75 | 0.087136 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
82 | MV_60_0_line_82 |  | 75 | 105 | 0.080595 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
83 | MV_60_0_line_83 |  | 76 | 77 | 2.3283e-13 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
84 | MV_60_0_line_84 |  | 76 | 78 | 0.032036 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
85 | MV_60_0_line_85 |  | 77 | 79 | 0.066456 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
86 | MV_60_0_line_86 |  | 78 | 80 | 0.038355 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
87 | MV_60_0_line_87 |  | 79 | 93 | 0.00792 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
88 | MV_60_0_line_88 |  | 80 | 81 | 0.023883 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
89 | MV_60_0_line_89 |  | 81 | 87 | 0.029215 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
90 | MV_60_0_line_90 |  | 81 | 88 | 0.0091982 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
91 | MV_60_0_line_91 |  | 83 | 84 | 0.12454 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
92 | MV_60_0_line_92 |  | 84 | 89 | 0.008052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_60_0_line_93 |  | 85 | 86 | 0.014754 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
94 | MV_60_0_line_94 |  | 86 | 87 | 0.0041374 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
95 | MV_60_0_line_95 |  | 88 | 103 | 0.038816 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
96 | MV_60_0_line_96 |  | 90 | 91 | 0.025762 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
97 | MV_60_0_line_97 |  | 90 | 92 | 0.21114 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
98 | MV_60_0_line_98 |  | 91 | 119 | 0.046693 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
99 | MV_60_0_line_99 |  | 92 | 105 | 0.18257 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
100 | MV_60_0_line_100 |  | 93 | 97 | 0.004609 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
101 | MV_60_0_line_101 |  | 94 | 95 | 0.02271 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
102 | MV_60_0_line_102 |  | 94 | 96 | 0.045366 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
103 | MV_60_0_line_103 |  | 95 | 98 | 0.038316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_60_0_line_104 |  | 95 | 99 | 0.098483 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
105 | MV_60_0_line_105 |  | 96 | 100 | 0.009421 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
106 | MV_60_0_line_106 |  | 97 | 101 | 0.10717 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
107 | MV_60_0_line_107 |  | 98 | 102 | 0.041941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_60_0_line_108 |  | 99 | 103 | 0.041303 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
109 | MV_60_0_line_109 |  | 99 | 104 | 0.015253 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
110 | MV_60_0_line_110 |  | 100 | 121 | 0.054163 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
111 | MV_60_0_line_111 |  | 102 | 120 | 0.072876 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
112 | MV_60_0_line_112 |  | 104 | 125 | 0.047588 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
113 | MV_60_0_line_113 |  | 106 | 107 | 0.41983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_60_0_line_114 |  | 107 | 108 | 0.94084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_60_0_line_115 |  | 107 | 109 | 2.144 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
116 | MV_60_0_line_116 |  | 108 | 110 | 0.038673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_60_0_line_117 |  | 110 | 117 | 0.98332 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
118 | MV_60_0_line_118 |  | 111 | 112 | 0.13035 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
119 | MV_60_0_line_119 |  | 112 | 113 | 1.0841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_60_0_line_120 |  | 113 | 114 | 0.06834 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
121 | MV_60_0_line_121 |  | 113 | 115 | 1.6973 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
122 | MV_60_0_line_122 |  | 115 | 118 | 0.43077 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
123 | MV_60_0_line_123 |  | 115 | 133 | 0.007457 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
124 | MV_60_0_line_124 |  | 116 | 117 | 0.022474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
125 | MV_60_0_line_125 |  | 117 | 118 | 1.4205 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
126 | MV_60_0_line_126 |  | 118 | 135 | 0.067174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
127 | MV_60_0_line_127 |  | 119 | 124 | 0.031197 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
128 | MV_60_0_line_128 |  | 120 | 123 | 0.045572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
129 | MV_60_0_line_129 |  | 121 | 122 | 0.1158 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
130 | MV_60_0_line_130 |  | 123 | 126 | 0.011656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
131 | MV_60_0_line_131 |  | 123 | 127 | 0.10747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
132 | MV_60_0_line_132 |  | 124 | 125 | 0.00293 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
133 | MV_60_0_line_133 |  | 126 | 132 | 0.051121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
134 | MV_60_0_line_134 |  | 128 | 129 | 0.070481 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
135 | MV_60_0_line_135 |  | 128 | 130 | 0.14467 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
136 | MV_60_0_line_136 |  | 130 | 131 | 0.012809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
137 | MV_60_0_line_137 |  | 133 | 134 | 2.9358 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
138 | MV_60_0_line_138 |  | 134 | 137 | 0.086588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
139 | MV_60_0_line_139 |  | 138 | 139 | 0.013773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
140 | MV_60_0_line_140 |  | 139 | 140 | 0.098616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
141 | MV_60_0_line_141 |  | 140 | 141 | 0.044497 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
142 | MV_60_0_line_142 |  | 142 | 143 | 0.13265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
143 | MV_60_0_line_143 |  | 142 | 144 | 0.10972 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
144 | MV_60_0_line_144 |  | 143 | 145 | 0.10188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_60_0_trafo_177 | 25 MVA 110/20 kV | 146 | 7 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2765381.9015 | 1187457.8357
1 | 2765392.5764 | 1187413.2905
2 | 2765689.5322 | 1189059.9331
3 | 2763501.9601 | 1188187.8271
4 | 2765408.619 | 1187202.1666
5 | 2765416.305 | 1187185.3489
6 | 2770751.034 | 1184634.2046
7 | 2770748.6857 | 1184616.3769
8 | 2770769.0233 | 1184621.0496
9 | 2771178.5681 | 1184813.033
10 | 2770847.3748 | 1183581.0626
11 | 2770884.6253 | 1183337.468
12 | 2770912.4389 | 1183625.6664
13 | 2770164.0585 | 1183023.8595
14 | 2770107.353 | 1182999.3276
15 | 2770242.8084 | 1183053.9564
16 | 2770342.3083 | 1183110.6572
17 | 2769679.6125 | 1182750.133
18 | 2770065.6237 | 1182946.2285
19 | 2770421.668 | 1183149.8599
20 | 2770299.0126 | 1183097.5652
21 | 2770487.9127 | 1183107.0602
22 | 2770046.0032 | 1182940.2998
23 | 2770559.9103 | 1183125.2028
24 | 2770580.3854 | 1183135.1612
25 | 2770585.4905 | 1183204.5811
26 | 2770639.7465 | 1183039.8414
27 | 2770620.3692 | 1183207.4876
28 | 2772714.5667 | 1185493.9717
29 | 2772797.1982 | 1185526.9736
30 | 2771213.7894 | 1184855.7118
31 | 2773570.6849 | 1187975.7051
32 | 2771418.7389 | 1183798.2427
33 | 2771429.3864 | 1183802.0508
34 | 2771344.2128 | 1183771.1089
35 | 2771131.3812 | 1183724.6633
36 | 2771568.2987 | 1183763.012
37 | 2771128.9712 | 1183728.2645
38 | 2771147.365 | 1183698.1398
39 | 2771619.1494 | 1183800.7945
40 | 2771586.9082 | 1183731.5714
41 | 2771296.0427 | 1183543.4006
42 | 2771388.41 | 1183551.3485
43 | 2771523.7138 | 1183608.605
44 | 2771455.593 | 1183516.9828
45 | 2771530.002 | 1183588.5776
46 | 2771456.539 | 1183313.7008
47 | 2771482.7069 | 1183318.4872
48 | 2771487.0226 | 1183318.5218
49 | 2771514.04 | 1183366.4722
50 | 2771569.2937 | 1183429.3781
51 | 2771243.5594 | 1184400.7664
52 | 2771267.4512 | 1184415.2624
53 | 2771208.6555 | 1184376.8137
54 | 2771318.6367 | 1184362.7216
55 | 2771215.7261 | 1184321.6206
56 | 2769499.9439 | 1182877.9995
57 | 2769501.8725 | 1182881.9354
58 | 2769610.9575 | 1182810.6784
59 | 2769451.2717 | 1182758.9819
60 | 2769440.0826 | 1182751.2586
61 | 2771151.5888 | 1184190.735
62 | 2771419.0778 | 1184232.296
63 | 2771279.5325 | 1184219.9059
64 | 2771492.0832 | 1184224.8333
65 | 2771658.2415 | 1184137.8658
66 | 2771698.1456 | 1183826.7891
67 | 2771589.7987 | 1183473.6613
68 | 2771666.7022 | 1183510.4417
69 | 2771674.5644 | 1183823.7886
70 | 2771134.6563 | 1183637.0653
71 | 2771134.8137 | 1183628.8845
72 | 2771118.5097 | 1183583.7331
73 | 2771166.1399 | 1183532.5462
74 | 2771121.4692 | 1183568.3925
75 | 2771153.7871 | 1183446.82
76 | 2770754.5464 | 1183189.4517
77 | 2770754.5464 | 1183189.4517
78 | 2770784.4374 | 1183200.9764
79 | 2770781.4941 | 1183128.7041
80 | 2770814.9619 | 1183224.0449
81 | 2770830.9483 | 1183241.7836
82 | 2771716.4579 | 1183748.4527
83 | 2770875.2485 | 1183395.9209
84 | 2770972.1039 | 1183474.2102
85 | 2770851.5735 | 1183284.7441
86 | 2770845.5711 | 1183271.2607
87 | 2770844.2969 | 1183267.3326
88 | 2770834.3551 | 1183233.2395
89 | 2770974.3353 | 1183481.9476
90 | 2770968.572 | 1183321.7586
91 | 2770957.2957 | 1183298.7269
92 | 2771158.2952 | 1183229.1104
93 | 2770781.5286 | 1183121.0648
94 | 2770856.335 | 1183174.3565
95 | 2770875.2179 | 1183186.5393
96 | 2770884.4834 | 1183164.6612
97 | 2770777.5125 | 1183118.8261
98 | 2770902.5952 | 1183213.2332
99 | 2770855.3469 | 1183206.5801
100 | 2770885.7905 | 1183155.5345
101 | 2770684.2177 | 1183067.9566
102 | 2770942.7658 | 1183225.0673
103 | 2770814.0118 | 1183204.489
104 | 2770866.1675 | 1183216.6991
105 | 2771140.7236 | 1183367.291
106 | 2767837.333 | 1189610.5151
107 | 2767865.7533 | 1189415.8012
108 | 2768484.1782 | 1189281.5813
109 | 2765748.6724 | 1189077.1297
110 | 2768519.5277 | 1189293.3534
111 | 2768957.2519 | 1190061.7144
112 | 2768922.3364 | 1189936.1252
113 | 2768878.1861 | 1189618.0218
114 | 2768812.8176 | 1189613.1963
115 | 2770555.8469 | 1189360.7259
116 | 2769048.4564 | 1188445.0641
117 | 2769052.6657 | 1188467.103
118 | 2770291.1922 | 1189162.6776
119 | 2770915.6566 | 1183277.5979
120 | 2770971.7139 | 1183158.1872
121 | 2770892.9468 | 1183107.8442
122 | 2770882.8255 | 1182992.4896
123 | 2771017.1037 | 1183162.2413
124 | 2770893.9804 | 1183255.5288
125 | 2770891.4539 | 1183254.0451
126 | 2771028.7421 | 1183162.4291
127 | 2771100.5741 | 1183097.6791
128 | 2770025.7506 | 1182892.5818
129 | 2769996.5636 | 1182828.4286
130 | 2769884.1817 | 1182922.3728
131 | 2769886.4349 | 1182934.7924
132 | 2771065.7747 | 1183169.648
133 | 2770555.1809 | 1189353.3001
134 | 2773235.7427 | 1188156.1097
135 | 2770355.1073 | 1189180.3786
136 | 2773604.4296 | 1188009.0922
137 | 2773221.9539 | 1188070.9869
138 | 2771055.371 | 1183799.4176
139 | 2771069.0818 | 1183797.8853
140 | 2771102.0764 | 1183774.9061
141 | 2771080.5708 | 1183735.9511
142 | 2770548.144 | 1182951.8985
143 | 2770658.1142 | 1182991.3088
144 | 2770441.3684 | 1182926.6384
145 | 2770645.2304 | 1182932.922
146 | 2770748.6857 | 1184616.3769

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0

## res_ext_grid
| p_mw | q_mvar
0

## res_load
| p_mw | q_mvar
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1