## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_612_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_612_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_612_0_node_12 | 20 | n |  | TRUE
3 | bus_MV_612_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_612_0_node_36 | 20 | n |  | TRUE
5 | bus_MV_612_0_node_11 | 20 | n |  | TRUE
6 | bus_MV_612_0_node_2 | 20 | n |  | TRUE
7 | bus_MV_612_0_node_8 | 20 | n |  | TRUE
8 | bus_MV_612_0_node_10 | 20 | n |  | TRUE
9 | bus_MV_612_0_node_3 | 20 | n |  | TRUE
10 | bus_MV_612_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_612_0_node_95 | 20 | n |  | TRUE
12 | bus_MV_612_0_node_5 | 20 | n |  | TRUE
13 | bus_MV_612_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_612_0_node_99 | 20 | n |  | TRUE
15 | bus_MV_612_0_node_7 | 20 | n |  | TRUE
16 | bus_MV_612_0_node_14 | 20 | n |  | TRUE
17 | bus_MV_612_0_node_18 | 20 | n |  | TRUE
18 | bus_MV_612_0_node_37 | 20 | n |  | TRUE
19 | bus_MV_612_0_node_19 | 20 | n |  | TRUE
20 | bus_MV_612_0_node_16 | 20 | n |  | TRUE
21 | bus_MV_612_0_node_15 | 20 | n |  | TRUE
22 | bus_MV_612_0_node_21 | 20 | n |  | TRUE
23 | bus_MV_612_0_node_17 | 20 | n |  | TRUE
24 | bus_MV_612_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_612_0_node_87 | 20 | n |  | TRUE
26 | bus_MV_612_0_node_97 | 20 | n |  | TRUE
27 | bus_MV_612_0_node_101 | 20 | n |  | TRUE
28 | bus_MV_612_0_node_70 | 20 | n |  | TRUE
29 | bus_MV_612_0_node_69 | 20 | n |  | TRUE
30 | bus_MV_612_0_node_96 | 20 | n |  | TRUE
31 | bus_MV_612_0_node_86 | 20 | n |  | TRUE
32 | bus_MV_612_0_node_63 | 20 | n |  | TRUE
33 | bus_MV_612_0_node_26 | 20 | n |  | TRUE
34 | bus_MV_612_0_node_27 | 20 | n |  | TRUE
35 | bus_MV_612_0_node_22 | 20 | n |  | TRUE
36 | bus_MV_612_0_node_24 | 20 | n |  | TRUE
37 | bus_MV_612_0_node_23 | 20 | n |  | TRUE
38 | bus_MV_612_0_node_28 | 20 | n |  | TRUE
39 | bus_MV_612_0_node_25 | 20 | n |  | TRUE
40 | bus_MV_612_0_node_89 | 20 | n |  | TRUE
41 | bus_MV_612_0_node_88 | 20 | n |  | TRUE
42 | bus_MV_612_0_node_56 | 20 | n |  | TRUE
43 | bus_MV_612_0_node_90 | 20 | n |  | TRUE
44 | bus_MV_612_0_node_29 | 20 | n |  | TRUE
45 | bus_MV_612_0_node_35 | 20 | n |  | TRUE
46 | bus_MV_612_0_node_34 | 20 | n |  | TRUE
47 | bus_MV_612_0_node_31 | 20 | n |  | TRUE
48 | bus_MV_612_0_node_30 | 20 | n |  | TRUE
49 | bus_MV_612_0_node_32 | 20 | n |  | TRUE
50 | bus_MV_612_0_node_33 | 20 | n |  | TRUE
51 | bus_MV_612_0_node_39 | 20 | n |  | TRUE
52 | bus_MV_612_0_node_52 | 20 | n |  | TRUE
53 | bus_MV_612_0_node_54 | 20 | n |  | TRUE
54 | bus_MV_612_0_node_46 | 20 | n |  | TRUE
55 | bus_MV_612_0_node_92 | 20 | n |  | TRUE
56 | bus_MV_612_0_node_45 | 20 | n |  | TRUE
57 | bus_MV_612_0_node_41 | 20 | n |  | TRUE
58 | bus_MV_612_0_node_53 | 20 | n |  | TRUE
59 | bus_MV_612_0_node_42 | 20 | n |  | TRUE
60 | bus_MV_612_0_node_40 | 20 | n |  | TRUE
61 | bus_MV_612_0_node_43 | 20 | n |  | TRUE
62 | bus_MV_612_0_node_38 | 20 | n |  | TRUE
63 | bus_MV_612_0_node_98 | 20 | n |  | TRUE
64 | bus_MV_612_0_node_85 | 20 | n |  | TRUE
65 | bus_MV_612_0_node_47 | 20 | n |  | TRUE
66 | bus_MV_612_0_node_48 | 20 | n |  | TRUE
67 | bus_MV_612_0_node_49 | 20 | n |  | TRUE
68 | bus_MV_612_0_node_50 | 20 | n |  | TRUE
69 | bus_MV_612_0_node_51 | 20 | n |  | TRUE
70 | bus_MV_612_0_node_100 | 20 | n |  | TRUE
71 | bus_MV_612_0_node_76 | 20 | n |  | TRUE
72 | bus_MV_612_0_node_77 | 20 | n |  | TRUE
73 | bus_MV_612_0_node_55 | 20 | n |  | TRUE
74 | bus_MV_612_0_node_57 | 20 | n |  | TRUE
75 | bus_MV_612_0_node_58 | 20 | n |  | TRUE
76 | bus_MV_612_0_node_65 | 20 | n |  | TRUE
77 | bus_MV_612_0_node_66 | 20 | n |  | TRUE
78 | bus_MV_612_0_node_91 | 20 | n |  | TRUE
79 | bus_MV_612_0_node_64 | 20 | n |  | TRUE
80 | bus_MV_612_0_node_67 | 20 | n |  | TRUE
81 | bus_MV_612_0_node_59 | 20 | n |  | TRUE
82 | bus_MV_612_0_node_60 | 20 | n |  | TRUE
83 | bus_MV_612_0_node_61 | 20 | n |  | TRUE
84 | bus_MV_612_0_node_62 | 20 | n |  | TRUE
85 | bus_MV_612_0_node_71 | 20 | n |  | TRUE
86 | bus_MV_612_0_node_72 | 20 | n |  | TRUE
87 | bus_MV_612_0_node_68 | 20 | n |  | TRUE
88 | bus_MV_612_0_node_73 | 20 | n |  | TRUE
89 | bus_MV_612_0_node_74 | 20 | n |  | TRUE
90 | bus_MV_612_0_node_75 | 20 | n |  | TRUE
91 | bus_MV_612_0_node_79 | 20 | n |  | TRUE
92 | bus_MV_612_0_node_83 | 20 | n |  | TRUE
93 | bus_MV_612_0_node_78 | 20 | n |  | TRUE
94 | bus_MV_612_0_node_80 | 20 | n |  | TRUE
95 | bus_MV_612_0_node_93 | 20 | n |  | TRUE
96 | bus_MV_612_0_node_82 | 20 | n |  | TRUE
97 | bus_MV_612_0_node_84 | 20 | n |  | TRUE
98 | bus_MV_612_0_node_94 | 20 | n |  | TRUE
99 | bus_MV_612_0_node_81 | 20 | n |  | TRUE
100 | bus_HV_612_0_node_26 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_612_0_load_0 | 0 | 0.40147 | 0.19444 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_612_0_load_36 | 4 | 0.21403 | 0.10366 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_612_0_load_10 | 8 | 0.35581 | 0.17233 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_612_0_load_95 | 11 | 0.30649 | 0.14844 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_612_0_load_5 | 12 | 0.3667 | 0.1776 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_612_0_load_99 | 14 | 0.26066 | 0.12624 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_612_0_load_7 | 15 | 0.36537 | 0.17696 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_612_0_load_14 | 16 | 0.11886 | 0.057565 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_612_0_load_37 | 18 | 0.24667 | 0.11947 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_612_0_load_15 | 21 | 0.20555 | 0.099551 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_612_0_load_97 | 26 | 0.19398 | 0.093951 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_612_0_load_101 | 27 | 0.38693 | 0.1874 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_612_0_load_70 | 28 | 0.40745 | 0.19734 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_612_0_load_69 | 29 | 1.9674 | 0.95286 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_612_0_load_96 | 30 | 0.35314 | 0.17103 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_612_0_load_86 | 31 | 0.078132 | 0.037841 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_612_0_load_63 | 32 | 0.15976 | 0.077374 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_612_0_load_22 | 35 | 0.22436 | 0.10866 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_612_0_load_89 | 40 | 0.39016 | 0.18896 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_612_0_load_88 | 41 | 0.35708 | 0.17294 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_612_0_load_90 | 43 | 0.37533 | 0.18178 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_612_0_load_34 | 46 | 0.37958 | 0.18384 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_612_0_load_30 | 48 | 0.28647 | 0.13875 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_612_0_load_39 | 51 | 0.29299 | 0.1419 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_612_0_load_52 | 52 | 0.26562 | 0.12865 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_612_0_load_54 | 53 | 0.12802 | 0.062001 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_612_0_load_92 | 55 | 0.31902 | 0.15451 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_612_0_load_53 | 58 | 0.16795 | 0.081341 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_612_0_load_40 | 60 | 0.25928 | 0.12558 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_612_0_load_43 | 61 | 0.16976 | 0.082217 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_612_0_load_38 | 62 | 0.12784 | 0.061915 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_612_0_load_98 | 63 | 0.079432 | 0.038471 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_612_0_load_47 | 65 | 0.17973 | 0.087046 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_612_0_load_48 | 66 | 0.094232 | 0.045639 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_612_0_load_100 | 70 | 0.33892 | 0.16415 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_612_0_load_76 | 71 | 0.67733 | 0.32805 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_612_0_load_66 | 77 | 0.16854 | 0.081625 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_612_0_load_91 | 78 | 0.21684 | 0.10502 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_612_0_load_64 | 79 | 0.10951 | 0.053041 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_612_0_load_59 | 81 | 0.24485 | 0.11859 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_612_0_load_62 | 84 | 0.27368 | 0.13255 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_612_0_load_71 | 85 | 1.6394 | 0.79399 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_612_0_load_72 | 86 | 2.7246 | 1.3196 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_612_0_load_68 | 87 | 0.19752 | 0.095663 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_612_0_load_73 | 88 | 0.21825 | 0.1057 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_612_0_load_83 | 92 | 0.084575 | 0.040962 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_612_0_load_78 | 93 | 0.082535 | 0.039973 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_612_0_load_82 | 96 | 0.1999 | 0.096815 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_612_0_load_94 | 98 | 0.077359 | 0.037466 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_612_0_load_81 | 99 | 0.45364 | 0.21971 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_612_0_line_0 |  | 0 | 1 | 0.014968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_612_0_line_1 |  | 0 | 2 | 0.24878 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_612_0_line_2 |  | 1 | 3 | 0.85023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_612_0_line_3 |  | 2 | 4 | 0.040705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_612_0_line_4 |  | 2 | 5 | 0.77065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_612_0_line_5 |  | 3 | 12 | 0.023804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_612_0_line_6 |  | 3 | 9 | 0.6767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_612_0_line_7 |  | 4 | 17 | 0.2564 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_612_0_line_8 |  | 5 | 8 | 0.083253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_612_0_line_9 |  | 6 | 7 | 0.44769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_612_0_line_10 |  | 6 | 8 | 0.004801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_612_0_line_11 |  | 7 | 15 | 0.0065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_612_0_line_12 |  | 7 | 13 | 0.25676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_612_0_line_13 |  | 9 | 10 | 0.29691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_612_0_line_14 |  | 9 | 11 | 0.056318 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_612_0_line_15 |  | 10 | 16 | 0.026863 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_612_0_line_16 |  | 13 | 14 | 0.082886 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_612_0_line_17 |  | 17 | 19 | 0.48098 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
18 | MV_612_0_line_18 |  | 17 | 20 | 0.55439 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
19 | MV_612_0_line_19 |  | 17 | 18 | 0.061917 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_612_0_line_20 |  | 19 | 27 | 0.008829 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_612_0_line_21 |  | 19 | 23 | 0.75543 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
22 | MV_612_0_line_22 |  | 20 | 22 | 0.27386 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
23 | MV_612_0_line_23 |  | 20 | 21 | 0.009817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_612_0_line_24 |  | 22 | 30 | 0.065131 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
25 | MV_612_0_line_25 |  | 23 | 24 | 0.32568 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
26 | MV_612_0_line_26 |  | 23 | 25 | 0.3675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_612_0_line_27 |  | 23 | 26 | 0.055728 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_612_0_line_28 |  | 24 | 28 | 0.048203 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
29 | MV_612_0_line_29 |  | 24 | 29 | 0.057582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_612_0_line_30 |  | 25 | 31 | 0.027598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_612_0_line_31 |  | 28 | 32 | 0.043997 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
32 | MV_612_0_line_32 |  | 30 | 33 | 0.006561 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
33 | MV_612_0_line_33 |  | 31 | 90 | 0.11771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_612_0_line_34 |  | 32 | 83 | 0.046123 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_612_0_line_35 |  | 33 | 34 | 0.78909 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_612_0_line_36 |  | 34 | 41 | 0.014339 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_612_0_line_37 |  | 34 | 39 | 0.14755 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_612_0_line_38 |  | 35 | 36 | 0.01493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_612_0_line_39 |  | 35 | 37 | 0.029359 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_612_0_line_40 |  | 36 | 38 | 0.69013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_612_0_line_41 |  | 37 | 39 | 0.55769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_612_0_line_42 |  | 38 | 42 | 0.11176 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_612_0_line_43 |  | 38 | 43 | 0.042432 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_612_0_line_44 |  | 39 | 40 | 0.006626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_612_0_line_45 |  | 40 | 47 | 0.26705 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_612_0_line_46 |  | 42 | 53 | 0.047297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_612_0_line_47 |  | 44 | 45 | 0.76761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_612_0_line_48 |  | 44 | 46 | 0.086585 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_612_0_line_49 |  | 45 | 52 | 0.076031 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_612_0_line_50 |  | 45 | 49 | 0.26808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_612_0_line_51 |  | 47 | 48 | 0.060548 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_612_0_line_52 |  | 48 | 54 | 0.45736 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_612_0_line_53 |  | 49 | 50 | 0.35287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_612_0_line_54 |  | 49 | 51 | 0.035502 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_612_0_line_55 |  | 50 | 57 | 0.32743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_612_0_line_56 |  | 50 | 58 | 0.09535 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_612_0_line_57 |  | 53 | 73 | 0.038526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_612_0_line_58 |  | 54 | 55 | 0.010695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_612_0_line_59 |  | 54 | 56 | 0.35475 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_612_0_line_60 |  | 56 | 65 | 0.071128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_612_0_line_61 |  | 57 | 59 | 0.36024 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_612_0_line_62 |  | 57 | 60 | 0.0214 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_612_0_line_63 |  | 59 | 61 | 0.057622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_612_0_line_64 |  | 61 | 65 | 0.24304 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_612_0_line_65 |  | 62 | 63 | 0.72994 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_612_0_line_66 |  | 63 | 64 | 0.042738 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_612_0_line_67 |  | 64 | 97 | 0.11127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_612_0_line_68 |  | 66 | 67 | 0.20185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_612_0_line_69 |  | 67 | 68 | 0.81013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_612_0_line_70 |  | 67 | 69 | 0.444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_612_0_line_71 |  | 68 | 70 | 0.082064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_612_0_line_72 |  | 69 | 71 | 0.0064404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_612_0_line_73 |  | 71 | 72 | 0.063289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_612_0_line_74 |  | 72 | 93 | 0.007103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_612_0_line_75 |  | 72 | 94 | 0.093642 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_612_0_line_76 |  | 72 | 91 | 0.078657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_612_0_line_77 |  | 73 | 74 | 0.53943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_612_0_line_78 |  | 73 | 75 | 0.38233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_612_0_line_79 |  | 74 | 76 | 0.27947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_612_0_line_80 |  | 74 | 77 | 0.083204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_612_0_line_81 |  | 75 | 78 | 0.027343 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_612_0_line_82 |  | 76 | 79 | 0.068638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_612_0_line_83 |  | 77 | 80 | 0.061879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_612_0_line_84 |  | 80 | 87 | 0.053511 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_612_0_line_85 |  | 81 | 82 | 0.015405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_612_0_line_86 |  | 82 | 83 | 0.043451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_612_0_line_87 |  | 83 | 84 | 0.064227 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
88 | MV_612_0_line_88 |  | 84 | 85 | 0.025356 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
89 | MV_612_0_line_89 |  | 85 | 86 | 0.062011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_612_0_line_90 |  | 88 | 89 | 0.027049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_612_0_line_91 |  | 89 | 90 | 0.040929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_612_0_line_92 |  | 90 | 91 | 0.010472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_612_0_line_93 |  | 91 | 92 | 0.025491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_612_0_line_94 |  | 92 | 97 | 0.036995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_612_0_line_95 |  | 94 | 95 | 0.016359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_612_0_line_96 |  | 94 | 96 | 0.007955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_612_0_line_97 |  | 95 | 98 | 0.010063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_612_0_line_98 |  | 96 | 99 | 0.043572 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_612_0_trafo_26 | 25 MVA 110/20 kV | 100 | 33 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2648490.8507 | 1249949.2166
1 | 2648486.7544 | 1249963.6151
2 | 2648377.5072 | 1249727.752
3 | 2648705.9265 | 1250331.2607
4 | 2648382.688 | 1249687.7671
5 | 2648287.7322 | 1250169.0865
6 | 2648254.193 | 1250250.5022
7 | 2647881.9179 | 1250039.7533
8 | 2648255.8979 | 1250246.013
9 | 2649044.9238 | 1250595.1117
10 | 2649300.7458 | 1250634.9822
11 | 2649067.0848 | 1250543.3375
12 | 2648683.4282 | 1250323.2928
13 | 2647704.4383 | 1250184.6882
14 | 2647628.5217 | 1250217.9562
15 | 2647887.641 | 1250036.8531
16 | 2649327.5968 | 1250635.7838
17 | 2648517.627 | 1249469.7438
18 | 2648490.5277 | 1249525.4155
19 | 2648719.5654 | 1249153.0177
20 | 2648407.7884 | 1249114.8395
21 | 2648399.0594 | 1249110.2986
22 | 2648528.9936 | 1248954.6326
23 | 2649019.2703 | 1248810.7551
24 | 2648841.4683 | 1248629.5217
25 | 2649052.1532 | 1248667.6079
26 | 2649045.1101 | 1248761.3797
27 | 2648727.3464 | 1249148.8455
28 | 2648793.7971 | 1248622.3898
29 | 2648860.2576 | 1248575.0969
30 | 2648564.6038 | 1248900.0983
31 | 2649061.2543 | 1248641.5537
32 | 2648749.9261 | 1248619.3857
33 | 2648568.6255 | 1248894.9055
34 | 2648157.1511 | 1248750.4535
35 | 2647794.1879 | 1248932.8969
36 | 2647781.7454 | 1248941.2023
37 | 2647818.2292 | 1248916.046
38 | 2647651.029 | 1249079.1996
39 | 2648110.5051 | 1248673.7121
40 | 2648104.3178 | 1248671.2937
41 | 2648144.7023 | 1248757.5684
42 | 2647589.6449 | 1249132.643
43 | 2647692.7619 | 1249071.5298
44 | 2647656.3423 | 1248675.57
45 | 2647316.3887 | 1248369.9544
46 | 2647678.4603 | 1248591.858
47 | 2648059.6055 | 1248408.0093
48 | 2648102.4151 | 1248365.0718
49 | 2647466.7726 | 1248379.6399
50 | 2647432.7446 | 1248095.6879
51 | 2647478.8892 | 1248410.2352
52 | 2647377.6579 | 1248324.9353
53 | 2647634.832 | 1249146.6114
54 | 2648358.4931 | 1247986.1204
55 | 2648369.0987 | 1247986.7073
56 | 2648229.5586 | 1247912.8884
57 | 2647679.6461 | 1247996.4668
58 | 2647368.4908 | 1248025.2384
59 | 2647914.9933 | 1247779.5613
60 | 2647659.5297 | 1248003.7657
61 | 2647960.9327 | 1247749.7235
62 | 2649970.6928 | 1248804.7223
63 | 2649266.2369 | 1248613.512
64 | 2649239.4481 | 1248598.6573
65 | 2648169.454 | 1247874.5744
66 | 2649074.6275 | 1248109.9061
67 | 2649083.2558 | 1248284.5398
68 | 2649152.9396 | 1247913.0883
69 | 2649190.6241 | 1248485.6092
70 | 2649165.7175 | 1247994.1489
71 | 2649184.8432 | 1248482.77
72 | 2649128.0908 | 1248454.7591
73 | 2647670.7194 | 1249159.1785
74 | 2647770.6521 | 1249519.4815
75 | 2647928.0667 | 1249250.714
76 | 2647906.9998 | 1249696.5343
77 | 2647688.7479 | 1249506.815
78 | 2647952.781 | 1249262.5661
79 | 2647944.9144 | 1249639.3691
80 | 2647628.3261 | 1249493.4639
81 | 2648660.8826 | 1248635.1007
82 | 2648667.11 | 1248647.4565
83 | 2648704.5025 | 1248625.4374
84 | 2648702.8453 | 1248562.6138
85 | 2648710.6479 | 1248538.4881
86 | 2648729.7354 | 1248479.4874
87 | 2647576.1847 | 1249481.4342
88 | 2649108.1841 | 1248584.4803
89 | 2649105.6624 | 1248564.2919
90 | 2649097.3044 | 1248529.4992
91 | 2649099.9632 | 1248519.3699
92 | 2649124.6154 | 1248525.8564
93 | 2649129.3268 | 1248447.7646
94 | 2649038.7578 | 1248430.2257
95 | 2649033.5085 | 1248414.8386
96 | 2649031.1972 | 1248432.2646
97 | 2649160.3923 | 1248535.27
98 | 2649034.0674 | 1248404.792
99 | 2648987.7305 | 1248429.2417
100 | 2648568.6255 | 1248894.9055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9953 | -0.071955 | 0.40147 | 0.19444
1 | 0.99529 | -0.071854 | 0 | 0
2 | 0.99587 | -0.067384 | 0 | 0
3 | 0.99444 | -0.065558 | 0 | 0
4 | 0.99598 | -0.068243 | 0.21403 | 0.10366
5 | 0.99491 | -0.059544 | 0 | 0
6 | 0.99475 | -0.060634 | 0 | 0
7 | 0.99439 | -0.057579 | 0 | 0
8 | 0.99475 | -0.060665 | 0.35581 | 0.17233
9 | 0.99407 | -0.062732 | 0 | 0
10 | 0.99403 | -0.062373 | 0 | 0
11 | 0.99404 | -0.062944 | 0.30649 | 0.14844
12 | 0.99443 | -0.065453 | 0.3667 | 0.1776
13 | 0.99431 | -0.056821 | 0 | 0
14 | 0.99426 | -0.057085 | 0.26066 | 0.12624
15 | 0.99439 | -0.05755 | 0.36537 | 0.17696
16 | 0.99402 | -0.062412 | 0.11886 | 0.057565
17 | 0.99716 | -0.058996 | 0 | 0
18 | 0.99713 | -0.059182 | 0.24667 | 0.11947
19 | 0.99605 | -0.079076 | 0 | 0
20 | 0.99875 | -0.029756 | 0 | 0
21 | 0.99875 | -0.029732 | 0.20555 | 0.099551
22 | 0.99955 | -0.015056 | 0 | 0
23 | 0.99437 | -0.10927 | 0 | 0
24 | 0.99383 | -0.11863 | 0 | 0
25 | 0.99319 | -0.099472 | 0 | 0
26 | 0.99434 | -0.1094 | 0.19398 | 0.093951
27 | 0.99604 | -0.079118 | 0.38693 | 0.1874
28 | 0.99377 | -0.11965 | 0.40745 | 0.19734
29 | 0.99369 | -0.11726 | 1.9674 | 0.95286
30 | 0.99998 | -0.00036085 | 0.35314 | 0.17103
31 | 0.9931 | -0.098727 | 0.078132 | 0.037841
32 | 0.99372 | -0.1205 | 0.15976 | 0.077374
33 | 1 | 0 | -18.2988 | -8.3483
34 | 0.99924 | -0.014652 | 0 | 0
35 | 0.99783 | -0.011958 | 0.22436 | 0.10866
36 | 0.99781 | -0.011798 | 0 | 0
37 | 0.99791 | -0.011308 | 0 | 0
38 | 0.99676 | -0.0040106 | 0 | 0
39 | 0.99891 | -0.018547 | 0 | 0
40 | 0.99889 | -0.018357 | 0.39016 | 0.18896
41 | 0.99923 | -0.014714 | 0.35708 | 0.17294
42 | 0.99665 | -0.0031847 | 0 | 0
43 | 0.99673 | -0.0042044 | 0.37533 | 0.18178
44 | 0.99189 | -0.020677 | 0 | 0
45 | 0.99226 | -0.023766 | 0 | 0
46 | 0.99182 | -0.021082 | 0.37958 | 0.18384
47 | 0.99769 | -0.027367 | 0 | 0
48 | 0.99752 | -0.025917 | 0.28647 | 0.13875
49 | 0.99248 | -0.025497 | 0 | 0
50 | 0.9929 | -0.028843 | 0 | 0
51 | 0.99247 | -0.025371 | 0.29299 | 0.1419
52 | 0.99222 | -0.024015 | 0.26562 | 0.12865
53 | 0.9966 | -0.0028294 | 0.12802 | 0.062001
54 | 0.99573 | -0.039725 | 0 | 0
55 | 0.99573 | -0.039684 | 0.31902 | 0.15451
56 | 0.99496 | -0.033683 | 0 | 0
57 | 0.99336 | -0.03244 | 0 | 0
58 | 0.99287 | -0.029039 | 0.16795 | 0.081341
59 | 0.99399 | -0.037336 | 0 | 0
60 | 0.99335 | -0.032508 | 0.25928 | 0.12558
61 | 0.99409 | -0.0381 | 0.16976 | 0.082217
62 | 0.99246 | -0.096046 | 0.12784 | 0.061915
63 | 0.99265 | -0.094874 | 0.079432 | 0.038471
64 | 0.99266 | -0.094978 | 0 | 0
65 | 0.9948 | -0.032448 | 0.17973 | 0.087046
66 | 0.99215 | -0.091405 | 0.094232 | 0.045639
67 | 0.99218 | -0.091605 | 0 | 0
68 | 0.99183 | -0.088867 | 0 | 0
69 | 0.99242 | -0.093053 | 0 | 0
70 | 0.99179 | -0.088534 | 0.33892 | 0.16415
71 | 0.99242 | -0.093072 | 0.67733 | 0.32805
72 | 0.99251 | -0.093774 | 0 | 0
73 | 0.99657 | -0.0025969 | 0 | 0
74 | 0.99624 | -0.00017553 | 0 | 0
75 | 0.99646 | -0.0017252 | 0 | 0
76 | 0.9962 | 0.00010479 | 0 | 0
77 | 0.9962 | 0.00017175 | 0.16854 | 0.081625
78 | 0.99645 | -0.0016543 | 0.21684 | 0.10502
79 | 0.99619 | 0.00019183 | 0.10951 | 0.053041
80 | 0.99619 | 0.00031114 | 0 | 0
81 | 0.99366 | -0.1212 | 0.24485 | 0.11859
82 | 0.99366 | -0.12124 | 0 | 0
83 | 0.99367 | -0.12137 | 0 | 0
84 | 0.99361 | -0.12252 | 0.27368 | 0.13255
85 | 0.99355 | -0.12314 | 1.6394 | 0.79399
86 | 0.99333 | -0.1211 | 2.7246 | 1.3196
87 | 0.99617 | 0.00043638 | 0.19752 | 0.095663
88 | 0.99272 | -0.09547 | 0.21825 | 0.1057
89 | 0.99272 | -0.095541 | 0 | 0
90 | 0.99274 | -0.095646 | 0 | 0
91 | 0.99271 | -0.095398 | 0 | 0
92 | 0.9927 | -0.095317 | 0.084575 | 0.040962
93 | 0.99251 | -0.093766 | 0.082535 | 0.039973
94 | 0.99243 | -0.092954 | 0 | 0
95 | 0.99242 | -0.092939 | 0 | 0
96 | 0.99242 | -0.092891 | 0.1999 | 0.096815
97 | 0.99269 | -0.095235 | 0 | 0
98 | 0.99242 | -0.09293 | 0.077359 | 0.037466
99 | 0.99238 | -0.093134 | 0.45364 | 0.21971
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.79296 | 0.3398 | -0.79295 | -0.34015 | 1.2512e-05 | -0.00035031 | 0.025021 | 0.025026 | 0.025026 | 0.9953 | -0.071955 | 0.99529 | -0.071854 | 11.3752
1 | -1.1944 | -0.53424 | 1.1951 | 0.53435 | 0.00063834 | 0.00010545 | 0.03795 | 0.037947 | 0.03795 | 0.9953 | -0.071955 | 0.99587 | -0.067384 | 18.0716
2 | 0.79295 | 0.34015 | -0.79223 | -0.36003 | 0.00071749 | -0.019879 | 0.025026 | 0.025261 | 0.025261 | 0.99529 | -0.071854 | 0.99444 | -0.065558 | 11.4823
3 | -2.1783 | -0.97502 | 2.1786 | 0.97413 | 0.00026003 | -0.00088684 | 0.069181 | 0.069169 | 0.069181 | 0.99587 | -0.067384 | 0.99598 | -0.068243 | 31.4458
4 | 0.98327 | 0.44067 | -0.98226 | -0.45861 | 0.0010107 | -0.017931 | 0.031234 | 0.031454 | 0.031454 | 0.99587 | -0.067384 | 0.99491 | -0.059544 | 14.2972
5 | 0.3667 | 0.17704 | -0.3667 | -0.1776 | 4.4431e-06 | -0.00056072 | 0.011821 | 0.011828 | 0.011828 | 0.99444 | -0.065558 | 0.99443 | -0.065453 | 5.3763
6 | 0.42553 | 0.18299 | -0.42536 | -0.19891 | 0.00016561 | -0.015923 | 0.013446 | 0.013636 | 0.013636 | 0.99444 | -0.065558 | 0.99407 | -0.062732 | 6.1983
7 | -2.3926 | -1.0778 | 2.3953 | 1.0791 | 0.0026427 | 0.0013513 | 0.076059 | 0.076056 | 0.076059 | 0.99598 | -0.068243 | 0.99716 | -0.058996 | 36.2187
8 | 0.98226 | 0.45861 | -0.98212 | -0.45861 | 0.00014676 | -6.4393e-06 | 0.031454 | 0.031455 | 0.031455 | 0.99491 | -0.059544 | 0.99475 | -0.060665 | 14.9786
9 | 0.6263 | 0.2864 | -0.62606 | -0.2969 | 0.00024026 | -0.010502 | 0.019985 | 0.020115 | 0.020115 | 0.99475 | -0.060634 | 0.99439 | -0.057579 | 9.1432
10 | -0.6263 | -0.2864 | 0.62631 | 0.28629 | 2.5598e-06 | -0.00011267 | 0.019985 | 0.019984 | 0.019985 | 0.99475 | -0.060634 | 0.99475 | -0.060665 | 9.0843
11 | 0.36537 | 0.1768 | -0.36537 | -0.17696 | 1.2051e-06 | -0.0001531 | 0.011783 | 0.011785 | 0.011785 | 0.99439 | -0.057579 | 0.99439 | -0.05755 | 5.357
12 | 0.26069 | 0.1201 | -0.26067 | -0.12615 | 2.4012e-05 | -0.0060543 | 0.0083325 | 0.0084076 | 0.0084076 | 0.99439 | -0.057579 | 0.99431 | -0.056821 | 3.8216
13 | 0.11886 | 0.050531 | -0.11886 | -0.057534 | 5.6985e-06 | -0.0070032 | 0.0037507 | 0.0038349 | 0.0038349 | 0.99407 | -0.062732 | 0.99403 | -0.062373 | 1.7431
14 | 0.3065 | 0.14838 | -0.30649 | -0.14844 | 9.8129e-06 | -6.0289e-05 | 0.0098887 | 0.0098896 | 0.0098896 | 0.99407 | -0.062732 | 0.99404 | -0.062944 | 4.7093
15 | 0.11886 | 0.057534 | -0.11886 | -0.057565 | 7.0393e-07 | -3.1246e-05 | 0.0038349 | 0.0038353 | 0.0038353 | 0.99403 | -0.062373 | 0.99402 | -0.062412 | 1.8263
16 | 0.26067 | 0.12615 | -0.26066 | -0.12624 | 1.0441e-05 | -9.1283e-05 | 0.0084076 | 0.0084088 | 0.0084088 | 0.99431 | -0.056821 | 0.99426 | -0.057085 | 4.0042
17 | 10.5457 | 4.9176 | -10.5357 | -4.9449 | 0.010001 | -0.027318 | 0.33686 | 0.33731 | 0.33731 | 0.99716 | -0.058996 | 0.99605 | -0.079076 | 40.06
18 | -13.1877 | -6.1161 | 13.2056 | 6.0904 | 0.017946 | -0.025709 | 0.42084 | 0.42033 | 0.42084 | 0.99716 | -0.058996 | 0.99875 | -0.029756 | 49.981
19 | 0.24667 | 0.1194 | -0.24667 | -0.11947 | 6.9447e-06 | -6.9145e-05 | 0.0079337 | 0.0079347 | 0.0079347 | 0.99716 | -0.058996 | 0.99713 | -0.059182 | 3.7784
20 | 0.38694 | 0.18739 | -0.38693 | -0.1874 | 2.4423e-06 | -8.9272e-06 | 0.01246 | 0.01246 | 0.01246 | 0.99605 | -0.079076 | 0.99604 | -0.079118 | 5.9335
21 | 10.1488 | 4.7575 | -10.1341 | -4.8012 | 0.01462 | -0.043744 | 0.32485 | 0.32555 | 0.32555 | 0.99605 | -0.079076 | 0.99437 | -0.10927 | 38.6643
22 | -13.4112 | -6.1897 | 13.4203 | 6.1772 | 0.0091291 | -0.012507 | 0.42693 | 0.42667 | 0.42693 | 0.99875 | -0.029756 | 0.99955 | -0.015056 | 50.7037
23 | 0.20555 | 0.099317 | -0.20555 | -0.099551 | 5.7083e-07 | -0.00023364 | 0.0065982 | 0.0066012 | 0.0066012 | 0.99875 | -0.029756 | 0.99875 | -0.029732 | 3.0005
24 | -13.4203 | -6.1772 | 13.4245 | 6.1831 | 0.0042259 | 0.0059497 | 0.42667 | 0.42667 | 0.42667 | 0.99955 | -0.015056 | 0.99998 | -0.00036085 | 52.0333
25 | 7.4227 | 3.5518 | -7.4193 | -3.5733 | 0.0034056 | -0.021464 | 0.23889 | 0.2392 | 0.2392 | 0.99437 | -0.10927 | 0.99383 | -0.11863 | 28.4082
26 | 2.5175 | 1.1555 | -2.5143 | -1.1633 | 0.0031769 | -0.0077233 | 0.080417 | 0.080522 | 0.080522 | 0.99437 | -0.10927 | 0.99319 | -0.099472 | 36.6009
27 | 0.19399 | 0.093888 | -0.19398 | -0.093951 | 3.8873e-06 | -6.3345e-05 | 0.0062566 | 0.0062574 | 0.0062574 | 0.99437 | -0.10927 | 0.99434 | -0.1094 | 2.9797
28 | 5.4515 | 2.6217 | -5.4513 | -2.6251 | 0.00027241 | -0.0033873 | 0.17571 | 0.17575 | 0.17575 | 0.99383 | -0.11863 | 0.99377 | -0.11965 | 20.8734
29 | 1.9677 | 0.9516 | -1.9674 | -0.95286 | 0.00030994 | -0.0012658 | 0.063489 | 0.063506 | 0.063506 | 0.99383 | -0.11863 | 0.99369 | -0.11726 | 28.8662
30 | 2.5143 | 1.1633 | -2.5141 | -1.1638 | 0.00023891 | -0.00057906 | 0.080522 | 0.08053 | 0.08053 | 0.99319 | -0.099472 | 0.9931 | -0.098727 | 36.6045
31 | 5.0438 | 2.4277 | -5.0436 | -2.4308 | 0.00021293 | -0.0031241 | 0.1626 | 0.16265 | 0.16265 | 0.99377 | -0.11965 | 0.99372 | -0.1205 | 19.3165
32 | -13.7776 | -6.3542 | 13.7779 | 6.3539 | 0.00023033 | -0.00028982 | 0.438 | 0.43799 | 0.438 | 0.99998 | -0.00036085 | 1 | 0 | 52.0185
33 | 2.4359 | 1.126 | -2.435 | -1.1285 | 0.00095666 | -0.0024871 | 0.078007 | 0.078041 | 0.078041 | 0.9931 | -0.098727 | 0.99274 | -0.095646 | 35.473
34 | 4.8839 | 2.3535 | -4.8836 | -2.3568 | 0.0002094 | -0.0032874 | 0.15749 | 0.15753 | 0.15753 | 0.99372 | -0.1205 | 0.99367 | -0.12137 | 18.7093
35 | 4.5069 | 1.984 | -4.504 | -2.0415 | 0.0029325 | -0.057551 | 0.14215 | 0.14286 | 0.14286 | 1 | 0 | 0.99924 | -0.014652 | 16.9669
36 | 0.35708 | 0.17293 | -0.35708 | -0.17294 | 3.3564e-06 | -1.4989e-05 | 0.011462 | 0.011462 | 0.011462 | 0.99924 | -0.014652 | 0.99923 | -0.014714 | 5.4582
37 | 4.1469 | 1.8686 | -4.1457 | -1.8727 | 0.0012311 | -0.0041579 | 0.1314 | 0.13146 | 0.13146 | 0.99924 | -0.014652 | 0.99891 | -0.018547 | 36.3159
38 | 1.1975 | 0.52272 | -1.1975 | -0.52306 | 2.8483e-05 | -0.00034647 | 0.037801 | 0.037805 | 0.037805 | 0.99783 | -0.011958 | 0.99781 | -0.011798 | 17.1841
39 | -1.4219 | -0.63138 | 1.422 | 0.63141 | 0.00010596 | 3.1472e-05 | 0.045008 | 0.045008 | 0.045008 | 0.99783 | -0.011958 | 0.99791 | -0.011308 | 21.4324
40 | 1.1975 | 0.52306 | -1.1962 | -0.53906 | 0.0013234 | -0.015996 | 0.037805 | 0.037997 | 0.037997 | 0.99781 | -0.011798 | 0.99676 | -0.0040106 | 17.2715
41 | -1.422 | -0.63141 | 1.4235 | 0.61858 | 0.001503 | -0.012827 | 0.045008 | 0.044853 | 0.045008 | 0.99791 | -0.011308 | 0.99891 | -0.018547 | 20.458
42 | 0.82081 | 0.35732 | -0.82071 | -0.35994 | 0.0001004 | -0.002621 | 0.025927 | 0.025957 | 0.025957 | 0.99676 | -0.0040106 | 0.99665 | -0.0031847 | 11.7988
43 | 0.37534 | 0.18174 | -0.37533 | -0.18178 | 1.1028e-05 | -4.3419e-05 | 0.012078 | 0.012078 | 0.012078 | 0.99676 | -0.0040106 | 0.99673 | -0.0042044 | 5.7515
44 | 2.7222 | 1.2542 | -2.7222 | -1.2543 | 6.6367e-05 | -0.00013817 | 0.086617 | 0.086619 | 0.086619 | 0.99891 | -0.018547 | 0.99889 | -0.018357 | 39.3723
45 | 2.332 | 1.0653 | -2.3294 | -1.064 | 0.0026123 | 0.0013185 | 0.074093 | 0.074097 | 0.074097 | 0.99889 | -0.018357 | 0.99769 | -0.027367 | 35.2844
46 | 0.82071 | 0.35994 | -0.82067 | -0.36105 | 4.2565e-05 | -0.001109 | 0.025957 | 0.02597 | 0.02597 | 0.99665 | -0.0031847 | 0.9966 | -0.0028294 | 11.8047
47 | -0.3796 | -0.18375 | 0.37975 | 0.16576 | 0.00015157 | -0.017993 | 0.012274 | 0.012055 | 0.012274 | 0.99189 | -0.020677 | 0.99226 | -0.023766 | 5.5791
48 | 0.3796 | 0.18375 | -0.37958 | -0.18384 | 2.3243e-05 | -8.713e-05 | 0.012274 | 0.012275 | 0.012275 | 0.99189 | -0.020677 | 0.99182 | -0.021082 | 5.8453
49 | 0.26563 | 0.12856 | -0.26562 | -0.12865 | 9.9865e-06 | -8.3107e-05 | 0.0085855 | 0.0085867 | 0.0085867 | 0.99226 | -0.023766 | 0.99222 | -0.024015 | 4.0889
50 | -0.64538 | -0.29432 | 0.64554 | 0.28806 | 0.00015185 | -0.0062583 | 0.020636 | 0.020561 | 0.020636 | 0.99226 | -0.023766 | 0.99248 | -0.025497 | 9.3801
51 | 2.3294 | 1.064 | -2.3289 | -1.0653 | 0.0004439 | -0.0013071 | 0.074097 | 0.074115 | 0.074115 | 0.99769 | -0.027367 | 0.99752 | -0.025917 | 33.6885
52 | 2.0425 | 0.92657 | -2.039 | -0.92496 | 0.0034332 | 0.0016081 | 0.064906 | 0.064912 | 0.064912 | 0.99752 | -0.025917 | 0.99573 | -0.039725 | 30.9105
53 | -0.93853 | -0.42913 | 0.93895 | 0.42095 | 0.00042302 | -0.0081769 | 0.030016 | 0.029917 | 0.030016 | 0.99248 | -0.025497 | 0.9929 | -0.028843 | 13.6438
54 | 0.29299 | 0.14107 | -0.29299 | -0.1419 | 4.2447e-06 | -0.00083368 | 0.0094583 | 0.0094689 | 0.0094689 | 0.99248 | -0.025497 | 0.99247 | -0.025371 | 4.304
55 | -1.1069 | -0.50218 | 1.1074 | 0.49463 | 0.00054448 | -0.0075493 | 0.035339 | 0.035247 | 0.035339 | 0.9929 | -0.028843 | 0.99336 | -0.03244 | 16.0632
56 | 0.16795 | 0.081232 | -0.16795 | -0.081341 | 4.9997e-06 | -0.00010908 | 0.0054242 | 0.0054257 | 0.0054257 | 0.9929 | -0.028843 | 0.99287 | -0.029039 | 2.5836
57 | 0.69265 | 0.29905 | -0.69263 | -0.29996 | 2.4575e-05 | -0.00090628 | 0.021853 | 0.021864 | 0.021864 | 0.9966 | -0.0028294 | 0.99657 | -0.0025969 | 9.9382
58 | 0.31902 | 0.15425 | -0.31902 | -0.15451 | 1.5073e-06 | -0.00025273 | 0.010273 | 0.010276 | 0.010276 | 0.99573 | -0.039725 | 0.99573 | -0.039684 | 4.6711
59 | 1.72 | 0.77071 | -1.7186 | -0.77868 | 0.0014167 | -0.0079712 | 0.054643 | 0.054743 | 0.054743 | 0.99573 | -0.039725 | 0.99496 | -0.033683 | 24.883
60 | 1.7186 | 0.77868 | -1.7183 | -0.78028 | 0.00028466 | -0.0015965 | 0.054743 | 0.054763 | 0.054763 | 0.99496 | -0.033683 | 0.9948 | -0.032448 | 24.8922
61 | -1.3667 | -0.62019 | 1.3676 | 0.61197 | 0.00091274 | -0.0082219 | 0.043616 | 0.043514 | 0.043616 | 0.99336 | -0.03244 | 0.99399 | -0.037336 | 19.8254
62 | 0.25929 | 0.12555 | -0.25928 | -0.12558 | 2.6724e-06 | -2.3535e-05 | 0.0083719 | 0.0083722 | 0.0083722 | 0.99336 | -0.03244 | 0.99335 | -0.032508 | 3.9868
63 | -1.3676 | -0.61197 | 1.3678 | 0.61065 | 0.0001456 | -0.0013162 | 0.043514 | 0.043498 | 0.043514 | 0.99399 | -0.037336 | 0.99409 | -0.0381 | 19.7793
64 | -1.5375 | -0.69287 | 1.5386 | 0.69323 | 0.0010385 | 0.00036355 | 0.048973 | 0.04897 | 0.048973 | 0.99409 | -0.0381 | 0.9948 | -0.032448 | 23.3206
65 | -0.12784 | -0.061915 | 0.12786 | 0.06107 | 2.2141e-05 | -0.00084462 | 0.0041315 | 0.0041207 | 0.0041315 | 0.99246 | -0.096046 | 0.99265 | -0.094874 | 1.9674
66 | -0.20729 | -0.099541 | 0.20729 | 0.098536 | 2.5467e-06 | -0.0010047 | 0.0066873 | 0.0066747 | 0.0066873 | 0.99265 | -0.094874 | 0.99266 | -0.094978 | 3.0397
67 | -0.20729 | -0.098536 | 0.2073 | 0.09592 | 6.5857e-06 | -0.0026159 | 0.0066747 | 0.0066424 | 0.0066747 | 0.99266 | -0.094978 | 0.99269 | -0.095235 | 3.034
68 | -0.094232 | -0.045639 | 0.094235 | 0.040895 | 2.4527e-06 | -0.0047434 | 0.0030464 | 0.0029888 | 0.0030464 | 0.99215 | -0.091405 | 0.99218 | -0.091605 | 1.3847
69 | 0.33906 | 0.14323 | -0.33893 | -0.16222 | 0.00012661 | -0.018997 | 0.010709 | 0.010937 | 0.010937 | 0.99218 | -0.091605 | 0.99183 | -0.088867 | 4.9711
70 | -0.4333 | -0.18412 | 0.43341 | 0.17372 | 0.00011026 | -0.010406 | 0.013698 | 0.013582 | 0.013698 | 0.99218 | -0.091605 | 0.99242 | -0.093053 | 6.2262
71 | 0.33893 | 0.16222 | -0.33892 | -0.16415 | 1.3133e-05 | -0.0019235 | 0.010937 | 0.010961 | 0.010961 | 0.99183 | -0.088867 | 0.99179 | -0.088534 | 4.9822
72 | -0.43341 | -0.17372 | 0.43341 | 0.17356 | 1.5858e-06 | -0.00015098 | 0.013582 | 0.01358 | 0.013582 | 0.99242 | -0.093053 | 0.99242 | -0.093072 | 6.1736
73 | -1.1107 | -0.50161 | 1.1108 | 0.50016 | 0.00010613 | -0.0014569 | 0.035451 | 0.035433 | 0.035451 | 0.99242 | -0.093072 | 0.99251 | -0.093774 | 16.1141
74 | 0.082535 | 0.039806 | -0.082535 | -0.039973 | 6.7416e-08 | -0.00016704 | 0.0026652 | 0.0026673 | 0.0026673 | 0.99251 | -0.093774 | 0.99251 | -0.093766 | 1.2124
75 | 0.73099 | 0.35096 | -0.73092 | -0.35314 | 6.9618e-05 | -0.0021816 | 0.023585 | 0.023612 | 0.023612 | 0.99251 | -0.093774 | 0.99243 | -0.092954 | 10.7329
76 | -1.9244 | -0.89092 | 1.9248 | 0.88919 | 0.00039932 | -0.0017319 | 0.061678 | 0.061656 | 0.061678 | 0.99251 | -0.093774 | 0.99271 | -0.095398 | 28.0356
77 | 0.47576 | 0.20464 | -0.4756 | -0.21738 | 0.00016369 | -0.012738 | 0.015002 | 0.015152 | 0.015152 | 0.99657 | -0.0025969 | 0.99624 | -0.00017553 | 6.8875
78 | 0.21687 | 0.095315 | -0.21684 | -0.10437 | 2.4412e-05 | -0.0090578 | 0.0068619 | 0.0069717 | 0.0069717 | 0.99657 | -0.0025969 | 0.99646 | -0.0017252 | 3.169
79 | 0.10952 | 0.044794 | -0.10952 | -0.051414 | 4.4823e-06 | -0.0066209 | 0.0034287 | 0.0035058 | 0.0035058 | 0.99624 | -0.00017553 | 0.9962 | 0.00010479 | 1.5936
80 | 0.36608 | 0.17259 | -0.36606 | -0.17456 | 1.5308e-05 | -0.0019671 | 0.011727 | 0.011752 | 0.011752 | 0.99624 | -0.00017553 | 0.9962 | 0.00017175 | 5.3418
81 | 0.21684 | 0.10437 | -0.21684 | -0.10502 | 1.7763e-06 | -0.0006477 | 0.0069717 | 0.0069799 | 0.0069799 | 0.99646 | -0.0017252 | 0.99645 | -0.0016543 | 3.1727
82 | 0.10952 | 0.051414 | -0.10951 | -0.053041 | 1.1327e-06 | -0.001626 | 0.0035058 | 0.0035261 | 0.0035261 | 0.9962 | 0.00010479 | 0.99619 | 0.00019183 | 1.6028
83 | 0.19753 | 0.092931 | -0.19752 | -0.094396 | 3.315e-06 | -0.0014652 | 0.0063257 | 0.0063439 | 0.0063439 | 0.9962 | 0.00017175 | 0.99619 | 0.00031114 | 2.8836
84 | 0.19752 | 0.094396 | -0.19752 | -0.095663 | 2.8822e-06 | -0.001267 | 0.0063439 | 0.0063598 | 0.0063598 | 0.99619 | 0.00031114 | 0.99617 | 0.00043638 | 2.8908
85 | -0.24485 | -0.11859 | 0.24485 | 0.11822 | 1.2839e-06 | -0.00036277 | 0.0079037 | 0.0078991 | 0.0079037 | 0.99366 | -0.1212 | 0.99366 | -0.12124 | 3.5926
86 | -0.24485 | -0.11822 | 0.24485 | 0.1172 | 3.6135e-06 | -0.0010233 | 0.0078991 | 0.0078862 | 0.0078991 | 0.99366 | -0.12124 | 0.99367 | -0.12137 | 3.5905
87 | 4.6388 | 2.2396 | -4.6385 | -2.2442 | 0.00026332 | -0.0046032 | 0.14965 | 0.14971 | 0.14971 | 0.99367 | -0.12137 | 0.99361 | -0.12252 | 17.78
88 | 4.3648 | 2.1116 | -4.3646 | -2.1123 | 0.00024306 | -0.0006821 | 0.14087 | 0.14088 | 0.14088 | 0.99361 | -0.12252 | 0.99355 | -0.12314 | 38.9182
89 | 2.7252 | 1.3183 | -2.7246 | -1.3196 | 0.00064062 | -0.0012712 | 0.087959 | 0.087977 | 0.087977 | 0.99355 | -0.12314 | 0.99333 | -0.1211 | 39.9896
90 | -0.21825 | -0.1057 | 0.21825 | 0.10507 | 1.7936e-06 | -0.00063593 | 0.0070518 | 0.0070437 | 0.0070518 | 0.99272 | -0.09547 | 0.99272 | -0.095541 | 3.2053
91 | -0.21825 | -0.10507 | 0.21826 | 0.10411 | 2.7063e-06 | -0.00096227 | 0.0070437 | 0.0070316 | 0.0070437 | 0.99272 | -0.095541 | 0.99274 | -0.095646 | 3.2017
92 | 2.2167 | 1.0244 | -2.2167 | -1.0246 | 7.0495e-05 | -0.00022549 | 0.071009 | 0.071012 | 0.071012 | 0.99274 | -0.095646 | 0.99271 | -0.095398 | 32.2784
93 | 0.29188 | 0.13541 | -0.29188 | -0.13601 | 2.9817e-06 | -0.0005989 | 0.0093568 | 0.0093641 | 0.0093641 | 0.99271 | -0.095398 | 0.9927 | -0.095317 | 4.2564
94 | 0.2073 | 0.09505 | -0.2073 | -0.09592 | 2.1756e-06 | -0.00086978 | 0.0066318 | 0.0066424 | 0.0066424 | 0.9927 | -0.095317 | 0.99269 | -0.095235 | 3.0193
95 | 0.077359 | 0.036845 | -0.077359 | -0.03723 | 1.3593e-07 | -0.00038465 | 0.0024924 | 0.0024972 | 0.0024972 | 0.99243 | -0.092954 | 0.99242 | -0.092939 | 1.1351
96 | 0.65356 | 0.3163 | -0.65356 | -0.31648 | 4.7376e-06 | -0.00018566 | 0.02112 | 0.021122 | 0.021122 | 0.99243 | -0.092954 | 0.99242 | -0.092891 | 9.6011
97 | 0.077359 | 0.03723 | -0.077359 | -0.037466 | 8.3892e-08 | -0.00023661 | 0.0024972 | 0.0025002 | 0.0025002 | 0.99242 | -0.092939 | 0.99242 | -0.09293 | 1.1365
98 | 0.45366 | 0.21967 | -0.45364 | -0.21971 | 1.6689e-05 | -4.0775e-05 | 0.014662 | 0.014662 | 0.014662 | 0.99242 | -0.092891 | 0.99238 | -0.093134 | 6.9821

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 18.2988 | 8.3483

## res_load
| p_mw | q_mvar
0 | 0.40147 | 0.19444
1 | 0.21403 | 0.10366
2 | 0.35581 | 0.17233
3 | 0.30649 | 0.14844
4 | 0.3667 | 0.1776
5 | 0.26066 | 0.12624
6 | 0.36537 | 0.17696
7 | 0.11886 | 0.057565
8 | 0.24667 | 0.11947
9 | 0.20555 | 0.099551
10 | 0.19398 | 0.093951
11 | 0.38693 | 0.1874
12 | 0.40745 | 0.19734
13 | 1.9674 | 0.95286
14 | 0.35314 | 0.17103
15 | 0.078132 | 0.037841
16 | 0.15976 | 0.077374
17 | 0.22436 | 0.10866
18 | 0.39016 | 0.18896
19 | 0.35708 | 0.17294
20 | 0.37533 | 0.18178
21 | 0.37958 | 0.18384
22 | 0.28647 | 0.13875
23 | 0.29299 | 0.1419
24 | 0.26562 | 0.12865
25 | 0.12802 | 0.062001
26 | 0.31902 | 0.15451
27 | 0.16795 | 0.081341
28 | 0.25928 | 0.12558
29 | 0.16976 | 0.082217
30 | 0.12784 | 0.061915
31 | 0.079432 | 0.038471
32 | 0.17973 | 0.087046
33 | 0.094232 | 0.045639
34 | 0.33892 | 0.16415
35 | 0.67733 | 0.32805
36 | 0.16854 | 0.081625
37 | 0.21684 | 0.10502
38 | 0.10951 | 0.053041
39 | 0.24485 | 0.11859
40 | 0.27368 | 0.13255
41 | 1.6394 | 0.79399
42 | 2.7246 | 1.3196
43 | 0.19752 | 0.095663
44 | 0.21825 | 0.1057
45 | 0.084575 | 0.040962
46 | 0.082535 | 0.039973
47 | 0.1999 | 0.096815
48 | 0.077359 | 0.037466
49 | 0.45364 | 0.21971

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1