## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_619_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_619_0_node_106 | 20 | n |  | TRUE
2 | bus_MV_619_0_node_30 | 20 | n |  | TRUE
3 | bus_MV_619_0_node_50 | 20 | n |  | TRUE
4 | bus_MV_619_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_619_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_619_0_node_70 | 20 | n |  | TRUE
7 | bus_MV_619_0_node_107 | 20 | n |  | TRUE
8 | bus_MV_619_0_node_101 | 20 | n |  | TRUE
9 | bus_MV_619_0_node_34 | 20 | n |  | TRUE
10 | bus_MV_619_0_node_9 | 20 | n |  | TRUE
11 | bus_MV_619_0_node_104 | 20 | n |  | TRUE
12 | bus_MV_619_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_619_0_node_4 | 20 | n |  | TRUE
14 | bus_MV_619_0_node_5 | 20 | n |  | TRUE
15 | bus_MV_619_0_node_6 | 20 | n |  | TRUE
16 | bus_MV_619_0_node_7 | 20 | n |  | TRUE
17 | bus_MV_619_0_node_8 | 20 | n |  | TRUE
18 | bus_MV_619_0_node_13 | 20 | n |  | TRUE
19 | bus_MV_619_0_node_45 | 20 | n |  | TRUE
20 | bus_MV_619_0_node_29 | 20 | n |  | TRUE
21 | bus_MV_619_0_node_28 | 20 | n |  | TRUE
22 | bus_MV_619_0_node_69 | 20 | n |  | TRUE
23 | bus_MV_619_0_node_11 | 20 | n |  | TRUE
24 | bus_MV_619_0_node_14 | 20 | n |  | TRUE
25 | bus_MV_619_0_node_52 | 20 | n |  | TRUE
26 | bus_MV_619_0_node_55 | 20 | n |  | TRUE
27 | bus_MV_619_0_node_27 | 20 | n |  | TRUE
28 | bus_MV_619_0_node_25 | 20 | n |  | TRUE
29 | bus_MV_619_0_node_86 | 20 | n |  | TRUE
30 | bus_MV_619_0_node_67 | 20 | n |  | TRUE
31 | bus_MV_619_0_node_26 | 20 | n |  | TRUE
32 | bus_MV_619_0_node_41 | 20 | n |  | TRUE
33 | bus_MV_619_0_node_92 | 20 | n |  | TRUE
34 | bus_MV_619_0_node_80 | 20 | n |  | TRUE
35 | bus_MV_619_0_node_87 | 20 | n |  | TRUE
36 | bus_MV_619_0_node_90 | 20 | n |  | TRUE
37 | bus_MV_619_0_node_103 | 20 | n |  | TRUE
38 | bus_MV_619_0_node_15 | 20 | n |  | TRUE
39 | bus_MV_619_0_node_16 | 20 | n |  | TRUE
40 | bus_MV_619_0_node_17 | 20 | n |  | TRUE
41 | bus_MV_619_0_node_96 | 20 | n |  | TRUE
42 | bus_MV_619_0_node_49 | 20 | n |  | TRUE
43 | bus_MV_619_0_node_21 | 20 | n |  | TRUE
44 | bus_MV_619_0_node_18 | 20 | n |  | TRUE
45 | bus_MV_619_0_node_79 | 20 | n |  | TRUE
46 | bus_MV_619_0_node_22 | 20 | n |  | TRUE
47 | bus_MV_619_0_node_78 | 20 | n |  | TRUE
48 | bus_MV_619_0_node_23 | 20 | n |  | TRUE
49 | bus_MV_619_0_node_58 | 20 | n |  | TRUE
50 | bus_MV_619_0_node_73 | 20 | n |  | TRUE
51 | bus_MV_619_0_node_94 | 20 | n |  | TRUE
52 | bus_MV_619_0_node_51 | 20 | n |  | TRUE
53 | bus_MV_619_0_node_19 | 20 | n |  | TRUE
54 | bus_MV_619_0_node_66 | 20 | n |  | TRUE
55 | bus_MV_619_0_node_57 | 20 | n |  | TRUE
56 | bus_MV_619_0_node_20 | 20 | n |  | TRUE
57 | bus_MV_619_0_node_76 | 20 | n |  | TRUE
58 | bus_MV_619_0_node_72 | 20 | n |  | TRUE
59 | bus_MV_619_0_node_65 | 20 | n |  | TRUE
60 | bus_MV_619_0_node_40 | 20 | n |  | TRUE
61 | bus_MV_619_0_node_93 | 20 | n |  | TRUE
62 | bus_MV_619_0_node_39 | 20 | n |  | TRUE
63 | bus_MV_619_0_node_43 | 20 | n |  | TRUE
64 | bus_MV_619_0_node_100 | 20 | n |  | TRUE
65 | bus_MV_619_0_node_42 | 20 | n |  | TRUE
66 | bus_MV_619_0_node_38 | 20 | n |  | TRUE
67 | bus_MV_619_0_node_53 | 20 | n |  | TRUE
68 | bus_MV_619_0_node_54 | 20 | n |  | TRUE
69 | bus_MV_619_0_node_31 | 20 | n |  | TRUE
70 | bus_MV_619_0_node_32 | 20 | n |  | TRUE
71 | bus_MV_619_0_node_33 | 20 | n |  | TRUE
72 | bus_MV_619_0_node_44 | 20 | n |  | TRUE
73 | bus_MV_619_0_node_35 | 20 | n |  | TRUE
74 | bus_MV_619_0_node_102 | 20 | n |  | TRUE
75 | bus_MV_619_0_node_99 | 20 | n |  | TRUE
76 | bus_MV_619_0_node_36 | 20 | n |  | TRUE
77 | bus_MV_619_0_node_37 | 20 | n |  | TRUE
78 | bus_MV_619_0_node_46 | 20 | n |  | TRUE
79 | bus_MV_619_0_node_56 | 20 | n |  | TRUE
80 | bus_MV_619_0_node_62 | 20 | n |  | TRUE
81 | bus_MV_619_0_node_98 | 20 | n |  | TRUE
82 | bus_MV_619_0_node_60 | 20 | n |  | TRUE
83 | bus_MV_619_0_node_61 | 20 | n |  | TRUE
84 | bus_MV_619_0_node_64 | 20 | n |  | TRUE
85 | bus_MV_619_0_node_63 | 20 | n |  | TRUE
86 | bus_MV_619_0_node_88 | 20 | n |  | TRUE
87 | bus_MV_619_0_node_85 | 20 | n |  | TRUE
88 | bus_MV_619_0_node_97 | 20 | n |  | TRUE
89 | bus_MV_619_0_node_71 | 20 | n |  | TRUE
90 | bus_MV_619_0_node_74 | 20 | n |  | TRUE
91 | bus_MV_619_0_node_75 | 20 | n |  | TRUE
92 | bus_MV_619_0_node_77 | 20 | n |  | TRUE
93 | bus_MV_619_0_node_95 | 20 | n |  | TRUE
94 | bus_MV_619_0_node_81 | 20 | n |  | TRUE
95 | bus_MV_619_0_node_82 | 20 | n |  | TRUE
96 | bus_MV_619_0_node_83 | 20 | n |  | TRUE
97 | bus_MV_619_0_node_84 | 20 | n |  | TRUE
98 | bus_MV_619_0_node_89 | 20 | n |  | TRUE
99 | bus_MV_619_0_node_105 | 20 | n |  | TRUE
100 | bus_MV_619_0_node_91 | 20 | n |  | TRUE
101 | bus_HV_619_0_node_56 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_619_0_load_0 | 0 | 0.39775 | 0.19264 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_619_0_load_106 | 1 | 0.19068 | 0.09235 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_619_0_load_30 | 2 | 0.32071 | 0.15533 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_619_0_load_70 | 6 | 0.41205 | 0.19956 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_619_0_load_107 | 7 | 0.31546 | 0.15278 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_619_0_load_101 | 8 | 0.31395 | 0.15205 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_619_0_load_104 | 11 | 0.37522 | 0.18173 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_619_0_load_4 | 13 | 0.20165 | 0.097663 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_619_0_load_45 | 19 | 0.27519 | 0.13328 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_619_0_load_29 | 20 | 0.31604 | 0.15307 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_619_0_load_28 | 21 | 0.27843 | 0.13485 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_619_0_load_69 | 22 | 0.18723 | 0.090678 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_619_0_load_52 | 25 | 0.20992 | 0.10167 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_619_0_load_55 | 26 | 0.39904 | 0.19327 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_619_0_load_25 | 28 | 0.37423 | 0.18125 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_619_0_load_86 | 29 | 0.079834 | 0.038665 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_619_0_load_67 | 30 | 0.23788 | 0.11521 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_619_0_load_92 | 33 | 0.40686 | 0.19705 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_619_0_load_80 | 34 | 0.12241 | 0.059287 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_619_0_load_103 | 37 | 0.27593 | 0.13364 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_619_0_load_15 | 38 | 0.35323 | 0.17108 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_619_0_load_96 | 41 | 0.066036 | 0.031983 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_619_0_load_18 | 44 | 0.21088 | 0.10213 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_619_0_load_79 | 45 | 0.32305 | 0.15646 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_619_0_load_78 | 47 | 1.0626 | 0.51462 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_619_0_load_73 | 50 | 0.2397 | 0.11609 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_619_0_load_94 | 51 | 0.27801 | 0.13465 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_619_0_load_51 | 52 | 0.24296 | 0.11767 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_619_0_load_66 | 54 | 0.26619 | 0.12892 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_619_0_load_57 | 55 | 0.27012 | 0.13082 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_619_0_load_20 | 56 | 0.47355 | 0.22935 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_619_0_load_72 | 58 | 0.072204 | 0.03497 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_619_0_load_93 | 61 | 0.27645 | 0.13389 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_619_0_load_100 | 64 | 0.37886 | 0.18349 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_619_0_load_38 | 66 | 0.37727 | 0.18272 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_619_0_load_53 | 67 | 0.3407 | 0.16501 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_619_0_load_54 | 68 | 0.23479 | 0.11371 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_619_0_load_44 | 72 | 0.28519 | 0.13812 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_619_0_load_102 | 74 | 0.35062 | 0.16981 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_619_0_load_99 | 75 | 0.2403 | 0.11638 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_619_0_load_46 | 78 | 0.25877 | 0.12533 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_619_0_load_56 | 79 | 0.34622 | 0.16768 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_619_0_load_98 | 81 | 0.18694 | 0.090539 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_619_0_load_60 | 82 | 0.21745 | 0.10531 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_619_0_load_63 | 85 | 0.16388 | 0.079371 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_619_0_load_97 | 88 | 0.16825 | 0.081486 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_619_0_load_71 | 89 | 0.51642 | 0.25011 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_619_0_load_74 | 90 | 0.60548 | 0.29325 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_619_0_load_95 | 93 | 0.38 | 0.18404 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_619_0_load_81 | 94 | 0.09171 | 0.044417 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_619_0_load_84 | 97 | 0.079523 | 0.038515 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_619_0_load_105 | 99 | 0.15857 | 0.076799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_619_0_line_0 |  | 0 | 1 | 0.60108 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
1 | MV_619_0_line_1 |  | 1 | 2 | 0.54469 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
2 | MV_619_0_line_2 |  | 1 | 3 | 0.43193 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
3 | MV_619_0_line_3 |  | 2 | 69 | 0.048849 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
4 | MV_619_0_line_4 |  | 3 | 88 | 0.073457 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
5 | MV_619_0_line_5 |  | 3 | 42 | 0.31945 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
6 | MV_619_0_line_6 |  | 4 | 5 | 0.34611 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
7 | MV_619_0_line_7 |  | 4 | 6 | 0.025569 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
8 | MV_619_0_line_8 |  | 5 | 7 | 0.01172 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_619_0_line_9 |  | 5 | 8 | 0.45401 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
10 | MV_619_0_line_10 |  | 6 | 10 | 0.2169 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
11 | MV_619_0_line_11 |  | 8 | 9 | 0.030886 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
12 | MV_619_0_line_12 |  | 9 | 69 | 0.39311 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
13 | MV_619_0_line_13 |  | 10 | 11 | 0.053387 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
14 | MV_619_0_line_14 |  | 10 | 12 | 0.1327 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
15 | MV_619_0_line_15 |  | 12 | 22 | 0.065549 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
16 | MV_619_0_line_16 |  | 12 | 17 | 0.31951 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
17 | MV_619_0_line_17 |  | 13 | 14 | 0.12864 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
18 | MV_619_0_line_18 |  | 14 | 15 | 0.36754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_619_0_line_19 |  | 14 | 16 | 0.23913 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
20 | MV_619_0_line_20 |  | 14 | 17 | 0.57705 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
21 | MV_619_0_line_21 |  | 15 | 18 | 0.93332 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_619_0_line_22 |  | 15 | 19 | 0.023365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_619_0_line_23 |  | 16 | 20 | 0.034785 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
24 | MV_619_0_line_24 |  | 17 | 21 | 0.052601 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
25 | MV_619_0_line_25 |  | 18 | 26 | 0.024133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_619_0_line_26 |  | 22 | 30 | 0.189 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
27 | MV_619_0_line_27 |  | 23 | 24 | 0.50155 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
28 | MV_619_0_line_28 |  | 23 | 25 | 0.03045 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
29 | MV_619_0_line_29 |  | 24 | 27 | 0.21002 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
30 | MV_619_0_line_30 |  | 24 | 28 | 0.005639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_619_0_line_31 |  | 24 | 29 | 0.079492 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
32 | MV_619_0_line_32 |  | 27 | 34 | 0.0046262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_619_0_line_33 |  | 27 | 31 | 0.1625 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
34 | MV_619_0_line_34 |  | 29 | 35 | 0.078193 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_619_0_line_35 |  | 31 | 32 | 0.22358 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_619_0_line_36 |  | 31 | 33 | 0.005946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_619_0_line_37 |  | 32 | 65 | 0.39523 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
38 | MV_619_0_line_38 |  | 32 | 67 | 0.074701 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_619_0_line_39 |  | 35 | 86 | 0.14058 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
40 | MV_619_0_line_40 |  | 35 | 98 | 0.055364 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
41 | MV_619_0_line_41 |  | 35 | 36 | 0.087232 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_619_0_line_42 |  | 36 | 37 | 0.022783 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
43 | MV_619_0_line_43 |  | 38 | 39 | 0.082919 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
44 | MV_619_0_line_44 |  | 39 | 40 | 0.25454 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
45 | MV_619_0_line_45 |  | 40 | 43 | 0.093015 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
46 | MV_619_0_line_46 |  | 40 | 44 | 0.005039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_619_0_line_47 |  | 41 | 42 | 0.038684 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_619_0_line_48 |  | 42 | 54 | 0.27397 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
49 | MV_619_0_line_49 |  | 43 | 45 | 0.017788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_619_0_line_50 |  | 43 | 46 | 0.28298 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
51 | MV_619_0_line_51 |  | 43 | 47 | 0.012625 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
52 | MV_619_0_line_52 |  | 44 | 53 | 0.004938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_619_0_line_53 |  | 46 | 48 | 0.22151 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
54 | MV_619_0_line_54 |  | 46 | 49 | 0.17335 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
55 | MV_619_0_line_55 |  | 46 | 50 | 0.073124 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_619_0_line_56 |  | 47 | 57 | 0.020358 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
57 | MV_619_0_line_57 |  | 48 | 51 | 0.041307 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
58 | MV_619_0_line_58 |  | 48 | 52 | 0.068839 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
59 | MV_619_0_line_59 |  | 49 | 55 | 0.0072048 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
60 | MV_619_0_line_60 |  | 50 | 58 | 0.00020468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_619_0_line_61 |  | 51 | 59 | 0.02896 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
62 | MV_619_0_line_62 |  | 53 | 56 | 0.045041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_619_0_line_63 |  | 54 | 55 | 0.13994 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
64 | MV_619_0_line_64 |  | 57 | 90 | 0.028577 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
65 | MV_619_0_line_65 |  | 58 | 89 | 0.032032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_619_0_line_66 |  | 59 | 84 | 0.26485 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_619_0_line_67 |  | 60 | 61 | 0.037411 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
68 | MV_619_0_line_68 |  | 60 | 62 | 0.11024 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
69 | MV_619_0_line_69 |  | 61 | 86 | 0.045762 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
70 | MV_619_0_line_70 |  | 62 | 66 | 0.082152 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
71 | MV_619_0_line_71 |  | 63 | 64 | 0.010584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_619_0_line_72 |  | 63 | 65 | 0.55695 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
73 | MV_619_0_line_73 |  | 64 | 87 | 0.049533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_619_0_line_74 |  | 65 | 68 | 0.022161 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
75 | MV_619_0_line_75 |  | 66 | 85 | 0.18051 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
76 | MV_619_0_line_76 |  | 70 | 71 | 0.35067 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_619_0_line_77 |  | 70 | 72 | 0.052833 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_619_0_line_78 |  | 71 | 73 | 0.64021 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
79 | MV_619_0_line_79 |  | 71 | 74 | 0.044059 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
80 | MV_619_0_line_80 |  | 73 | 75 | 0.055583 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
81 | MV_619_0_line_81 |  | 75 | 81 | 0.11313 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
82 | MV_619_0_line_82 |  | 76 | 77 | 0.31479 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
83 | MV_619_0_line_83 |  | 76 | 78 | 0.054347 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
84 | MV_619_0_line_84 |  | 77 | 79 | 0.0357 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
85 | MV_619_0_line_85 |  | 77 | 80 | 0.2209 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
86 | MV_619_0_line_86 |  | 80 | 85 | 0.057702 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
87 | MV_619_0_line_87 |  | 80 | 84 | 0.045904 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
88 | MV_619_0_line_88 |  | 81 | 100 | 0.038287 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
89 | MV_619_0_line_89 |  | 82 | 83 | 0.034752 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
90 | MV_619_0_line_90 |  | 83 | 84 | 0.05207 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
91 | MV_619_0_line_91 |  | 87 | 96 | 0.031635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_619_0_line_92 |  | 90 | 91 | 0.020897 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
93 | MV_619_0_line_93 |  | 91 | 92 | 0.042848 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
94 | MV_619_0_line_94 |  | 92 | 93 | 0.067522 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
95 | MV_619_0_line_95 |  | 94 | 95 | 0.032055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_619_0_line_96 |  | 95 | 96 | 0.084461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_619_0_line_97 |  | 96 | 97 | 0.006147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_619_0_line_98 |  | 98 | 99 | 0.018442 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
99 | MV_619_0_line_99 |  | 98 | 100 | 0.36737 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_619_0_trafo_56 | 25 MVA 110/20 kV | 101 | 79 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2541387.1741 | 1152431.7535
1 | 2541457.9456 | 1151834.8549
2 | 2540913.3497 | 1151844.7653
3 | 2541365.7146 | 1151412.8829
4 | 2540636.044 | 1152548.4419
5 | 2540871.2122 | 1152658.6502
6 | 2540631.392 | 1152523.4188
7 | 2540881.6779 | 1152663.9834
8 | 2540811.2599 | 1152208.6205
9 | 2540793.5516 | 1152183.3146
10 | 2540435.7461 | 1152429.7703
11 | 2540419.1428 | 1152379.0297
12 | 2540372.766 | 1152506.3914
13 | 2539822.2571 | 1152338.9753
14 | 2539932.08 | 1152271.9854
15 | 2539903.0872 | 1152014.2028
16 | 2540085.2055 | 1152150.5253
17 | 2540248.577 | 1152227.6188
18 | 2539844.3526 | 1151677.5199
19 | 2539923.7834 | 1152003.2457
20 | 2540074.4384 | 1152117.4482
21 | 2540201.475 | 1152251.033
22 | 2540395.2857 | 1152567.9568
23 | 2540200.8112 | 1151750.9037
24 | 2540131.4286 | 1151400.2054
25 | 2540230.4513 | 1151743.9275
26 | 2539868.5147 | 1151676.0997
27 | 2540199.0615 | 1151347.5263
28 | 2540127.155 | 1151396.5126
29 | 2540187.7073 | 1151456.3452
30 | 2540520.9459 | 1152709.1326
31 | 2540284.6013 | 1151266.9217
32 | 2540331.3758 | 1151102.2466
33 | 2540289.948 | 1151264.2894
34 | 2540203.5321 | 1151346.3367
35 | 2540235.2889 | 1151514.9562
36 | 2540203.8666 | 1151515.7245
37 | 2540190.1833 | 1151533.6147
38 | 2541309.854 | 1150780.9557
39 | 2541236.7454 | 1150820.0796
40 | 2541086.813 | 1150769.5862
41 | 2541296.637 | 1151273.8157
42 | 2541264.6212 | 1151295.6622
43 | 2541070.5397 | 1150840.8394
44 | 2541082.6109 | 1150772.3844
45 | 2541086.5145 | 1150833.0141
46 | 2540951.1549 | 1150931.5258
47 | 2541074.1827 | 1150852.9275
48 | 2540796.5988 | 1150892.4245
49 | 2540983.1963 | 1151081.8253
50 | 2540992.6337 | 1150893.1211
51 | 2540759.3332 | 1150910.4678
52 | 2540865.378 | 1150889.5573
53 | 2541078.4849 | 1150775.1152
54 | 2540999.3158 | 1151227.3007
55 | 2540980.7375 | 1151088.5975
56 | 2541070.6921 | 1150730.7539
57 | 2541080.0605 | 1150872.4186
58 | 2540992.5723 | 1150892.9258
59 | 2540733.0651 | 1150922.8222
60 | 2540382.0796 | 1151409.9981
61 | 2540370.2202 | 1151445.4792
62 | 2540428.107 | 1151367.2522
63 | 2540023.2211 | 1150895.601
64 | 2540033.7928 | 1150896.5517
65 | 2540053.686 | 1151159.4504
66 | 2540495.1806 | 1151319.8181
67 | 2540334.5879 | 1151028.3861
68 | 2540055.9476 | 1151181.4952
69 | 2540913.9558 | 1151892.3627
70 | 2540268.5761 | 1151919.5542
71 | 2540485.5737 | 1152081.8897
72 | 2540238.8831 | 1151876.3705
73 | 2540511.7406 | 1151767.6061
74 | 2540485.759 | 1152037.8308
75 | 2540539.3456 | 1151719.3627
76 | 2540947.4305 | 1151447.7172
77 | 2540760.0342 | 1151365.4831
78 | 2541001.7129 | 1151450.3636
79 | 2540728.9767 | 1151383.0875
80 | 2540660.2885 | 1151168.3829
81 | 2540534.2517 | 1151606.3523
82 | 2540722.1089 | 1151075.0897
83 | 2540704.8135 | 1151105.232
84 | 2540655.7617 | 1151122.7031
85 | 2540603.2572 | 1151175.2386
86 | 2540324.5863 | 1151448.9004
87 | 2540083.2076 | 1150901.6174
88 | 2541423.0966 | 1151367.3659
89 | 2540982.9683 | 1150862.367
90 | 2541105.4941 | 1150859.388
91 | 2541125.0437 | 1150853.0231
92 | 2541135.2522 | 1150882.7391
93 | 2541098.3862 | 1150939.3083
94 | 2540195.0026 | 1150876.3687
95 | 2540199.1416 | 1150908.1558
96 | 2540114.7161 | 1150905.3277
97 | 2540115.1539 | 1150899.1979
98 | 2540260.348 | 1151544.2563
99 | 2540244.8756 | 1151554.3599
100 | 2540495.9275 | 1151608.4215
101 | 2540728.9767 | 1151383.0875

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99435 | -0.17276 | 0.39775 | 0.19264
1 | 0.99447 | -0.16878 | 0.19068 | 0.09235
2 | 0.99351 | -0.20352 | 0.32071 | 0.15533
3 | 0.99536 | -0.13706 | 0 | 0
4 | 0.99229 | -0.23963 | 0 | 0
5 | 0.99249 | -0.23559 | 0 | 0
6 | 0.99227 | -0.23993 | 0.41205 | 0.19956
7 | 0.99249 | -0.2356 | 0.31546 | 0.15278
8 | 0.99315 | -0.21164 | 0.31395 | 0.15205
9 | 0.9932 | -0.20985 | 0 | 0
10 | 0.99204 | -0.24865 | 0 | 0
11 | 0.99203 | -0.24867 | 0.37522 | 0.18173
12 | 0.99198 | -0.24977 | 0 | 0
13 | 0.99172 | -0.25533 | 0.20165 | 0.097663
14 | 0.99174 | -0.25489 | 0 | 0
15 | 0.99142 | -0.25253 | 0 | 0
16 | 0.99172 | -0.2552 | 0 | 0
17 | 0.99188 | -0.25188 | 0 | 0
18 | 0.99095 | -0.24869 | 0 | 0
19 | 0.99141 | -0.25245 | 0.27519 | 0.13328
20 | 0.99171 | -0.25539 | 0.31604 | 0.15307
21 | 0.99188 | -0.25212 | 0.27843 | 0.13485
22 | 0.99198 | -0.24987 | 0.18723 | 0.090678
23 | 0.99705 | -0.10035 | 0 | 0
24 | 0.99707 | -0.09986 | 0 | 0
25 | 0.99704 | -0.10045 | 0.20992 | 0.10167
26 | 0.99093 | -0.24857 | 0.39904 | 0.19327
27 | 0.997 | -0.10139 | 0 | 0
28 | 0.99707 | -0.099835 | 0.37423 | 0.18125
29 | 0.99715 | -0.096713 | 0.079834 | 0.038665
30 | 0.99195 | -0.25062 | 0.23788 | 0.11521
31 | 0.99694 | -0.10247 | 0 | 0
32 | 0.99689 | -0.10359 | 0 | 0
33 | 0.99694 | -0.10244 | 0.40686 | 0.19705
34 | 0.997 | -0.10138 | 0.12241 | 0.059287
35 | 0.99719 | -0.095913 | 0 | 0
36 | 0.99718 | -0.095947 | 0 | 0
37 | 0.99718 | -0.095954 | 0.27593 | 0.13364
38 | 0.99644 | -0.099744 | 0.35323 | 0.17108
39 | 0.99647 | -0.098892 | 0 | 0
40 | 0.99652 | -0.098359 | 0 | 0
41 | 0.99567 | -0.13109 | 0.066036 | 0.031983
42 | 0.99567 | -0.13109 | 0 | 0
43 | 0.99657 | -0.097791 | 0 | 0
44 | 0.99652 | -0.098318 | 0.21088 | 0.10213
45 | 0.99657 | -0.097722 | 0.32305 | 0.15646
46 | 0.99679 | -0.094026 | 0 | 0
47 | 0.99657 | -0.09789 | 1.0626 | 0.51462
48 | 0.99723 | -0.085647 | 0 | 0
49 | 0.9966 | -0.097689 | 0 | 0
50 | 0.99675 | -0.09437 | 0.2397 | 0.11609
51 | 0.99731 | -0.084043 | 0.27801 | 0.13465
52 | 0.99722 | -0.085923 | 0.24296 | 0.11767
53 | 0.99651 | -0.09829 | 0 | 0
54 | 0.99626 | -0.1098 | 0.26619 | 0.12892
55 | 0.99658 | -0.098313 | 0.27012 | 0.13082
56 | 0.99649 | -0.098035 | 0.47355 | 0.22935
57 | 0.99656 | -0.097968 | 0 | 0
58 | 0.99675 | -0.094369 | 0.072204 | 0.03497
59 | 0.99738 | -0.082888 | 0 | 0
60 | 0.99746 | -0.087744 | 0 | 0
61 | 0.99739 | -0.090443 | 0.27645 | 0.13389
62 | 0.99756 | -0.085756 | 0 | 0
63 | 0.99673 | -0.10551 | 0 | 0
64 | 0.99672 | -0.10544 | 0.37886 | 0.18349
65 | 0.99682 | -0.10496 | 0 | 0
66 | 0.99772 | -0.079819 | 0.37727 | 0.18272
67 | 0.99686 | -0.10329 | 0.3407 | 0.16501
68 | 0.99682 | -0.10505 | 0.23479 | 0.11371
69 | 0.99348 | -0.20422 | 0 | 0
70 | 0.99681 | -0.10117 | 0 | 0
71 | 0.99694 | -0.10225 | 0 | 0
72 | 0.99679 | -0.10099 | 0.28519 | 0.13812
73 | 0.99702 | -0.10051 | 0 | 0
74 | 0.99693 | -0.10251 | 0.35062 | 0.16981
75 | 0.99704 | -0.099872 | 0.2403 | 0.11638
76 | 0.99972 | -0.0094446 | 0 | 0
77 | 0.99974 | -0.0091023 | 0 | 0
78 | 0.99972 | -0.0096754 | 0.25877 | 0.12533
79 | 1 | 0 | -14.9241 | -6.6182
80 | 0.99816 | -0.064497 | 0 | 0
81 | 0.99709 | -0.098124 | 0.18694 | 0.090539
82 | 0.99793 | -0.072612 | 0.21745 | 0.10531
83 | 0.99793 | -0.072488 | 0 | 0
84 | 0.99794 | -0.072301 | 0 | 0
85 | 0.99811 | -0.065658 | 0.16388 | 0.079371
86 | 0.99731 | -0.093537 | 0 | 0
87 | 0.99671 | -0.10535 | 0 | 0
88 | 0.99536 | -0.13708 | 0.16825 | 0.081486
89 | 0.99673 | -0.09417 | 0.51642 | 0.25011
90 | 0.99656 | -0.098077 | 0.60548 | 0.29325
91 | 0.99656 | -0.098109 | 0 | 0
92 | 0.99655 | -0.098171 | 0 | 0
93 | 0.99654 | -0.098595 | 0.38 | 0.18404
94 | 0.99669 | -0.10518 | 0.09171 | 0.044417
95 | 0.99669 | -0.10521 | 0 | 0
96 | 0.9967 | -0.10529 | 0 | 0
97 | 0.9967 | -0.10529 | 0.079523 | 0.038515
98 | 0.99718 | -0.096216 | 0 | 0
99 | 0.99718 | -0.09622 | 0.15857 | 0.076799
100 | 0.9971 | -0.097949 | 0 | 0
101 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.39775 | -0.19264 | 0.39779 | 0.19115 | 3.5212e-05 | -0.0014877 | 0.01283 | 0.012811 | 0.01283 | 0.99435 | -0.17276 | 0.99447 | -0.16878 | 1.5647
1 | 3.6396 | 1.5664 | -3.637 | -1.564 | 0.0025685 | 0.0023256 | 0.11502 | 0.11503 | 0.11503 | 0.99447 | -0.16878 | 0.99351 | -0.20352 | 14.0286
2 | -4.2281 | -1.8499 | 4.2308 | 1.8528 | 0.0027625 | 0.0028927 | 0.13396 | 0.13395 | 0.13396 | 0.99447 | -0.16878 | 0.99536 | -0.13706 | 16.3372
3 | 3.3163 | 1.4087 | -3.3162 | -1.4123 | 9.8019e-05 | -0.0035939 | 0.10469 | 0.10473 | 0.10473 | 0.99351 | -0.20352 | 0.99348 | -0.20422 | 12.4387
4 | 0.16825 | 0.076914 | -0.16825 | -0.081486 | 6.602e-07 | -0.0045724 | 0.0053652 | 0.0054217 | 0.0054217 | 0.99536 | -0.13706 | 0.99536 | -0.13708 | 0.8498
5 | -4.3991 | -1.9297 | 4.4002 | 1.9065 | 0.0011323 | -0.023149 | 0.13932 | 0.13904 | 0.13932 | 0.99536 | -0.13706 | 0.99567 | -0.13109 | 16.5459
6 | -2.684 | -1.1617 | 2.6844 | 1.1361 | 0.00045689 | -0.025624 | 0.085082 | 0.084784 | 0.085082 | 0.99229 | -0.23963 | 0.99249 | -0.23559 | 10.1048
7 | 2.684 | 1.1617 | -2.684 | -1.1636 | 3.3881e-05 | -0.0018924 | 0.085082 | 0.085104 | 0.085104 | 0.99229 | -0.23963 | 0.99227 | -0.23993 | 10.1074
8 | 0.31546 | 0.15206 | -0.31546 | -0.15278 | 3.7604e-07 | -0.00072516 | 0.010186 | 0.010195 | 0.010195 | 0.99249 | -0.23559 | 0.99249 | -0.2356 | 1.5979
9 | -2.9999 | -1.2881 | 3.0014 | 1.2891 | 0.0014588 | 0.00095368 | 0.094959 | 0.094946 | 0.094959 | 0.99249 | -0.23559 | 0.99315 | -0.21164 | 11.5803
10 | 2.2719 | 0.96402 | -2.2715 | -0.964 | 0.00039855 | 2.43e-05 | 0.071799 | 0.071805 | 0.071805 | 0.99227 | -0.23993 | 0.99204 | -0.24865 | 8.7567
11 | -3.3153 | -1.4411 | 3.3154 | 1.4412 | 0.00012154 | 9.7094e-05 | 0.10508 | 0.10507 | 0.10508 | 0.99315 | -0.21164 | 0.9932 | -0.20985 | 12.8141
12 | -3.3154 | -1.4412 | 3.3162 | 1.4123 | 0.00079168 | -0.02891 | 0.10507 | 0.10473 | 0.10507 | 0.9932 | -0.20985 | 0.99348 | -0.20422 | 12.4792
13 | 0.37522 | 0.17843 | -0.37522 | -0.18173 | 2.4197e-06 | -0.0032998 | 0.01209 | 0.012132 | 0.012132 | 0.99204 | -0.24865 | 0.99203 | -0.24867 | 1.9016
14 | 1.8963 | 0.78557 | -1.8962 | -0.79546 | 8.679e-05 | -0.0098974 | 0.059728 | 0.05984 | 0.05984 | 0.99204 | -0.24865 | 0.99198 | -0.24977 | 7.1068
15 | 0.42512 | 0.20049 | -0.42511 | -0.20541 | 2.2543e-06 | -0.0049261 | 0.013678 | 0.01374 | 0.01374 | 0.99198 | -0.24977 | 0.99198 | -0.24987 | 1.6318
16 | 1.4711 | 0.59498 | -1.471 | -0.61888 | 0.0001254 | -0.023905 | 0.046178 | 0.046445 | 0.046445 | 0.99198 | -0.24977 | 0.99188 | -0.25188 | 5.516
17 | -0.20165 | -0.097663 | 0.20165 | 0.097338 | 1.9489e-06 | -0.0003247 | 0.0065219 | 0.0065177 | 0.0065219 | 0.99172 | -0.25533 | 0.99174 | -0.25489 | 0.79535
18 | 0.67467 | 0.29504 | -0.67444 | -0.3036 | 0.00022649 | -0.0085611 | 0.021434 | 0.021536 | 0.021536 | 0.99174 | -0.25489 | 0.99142 | -0.25253 | 9.789
19 | 0.31605 | 0.13502 | -0.31605 | -0.15298 | 4.4724e-06 | -0.017965 | 0.010004 | 0.010221 | 0.010221 | 0.99174 | -0.25489 | 0.99172 | -0.2552 | 1.2139
20 | -1.1924 | -0.52739 | 1.1925 | 0.48416 | 0.00015009 | -0.043232 | 0.037951 | 0.037458 | 0.037951 | 0.99174 | -0.25489 | 0.99188 | -0.25188 | 4.5072
21 | 0.39925 | 0.17087 | -0.39905 | -0.1927 | 0.00020331 | -0.021832 | 0.012645 | 0.012909 | 0.012909 | 0.99142 | -0.25253 | 0.99095 | -0.24869 | 5.8678
22 | 0.27519 | 0.13273 | -0.27519 | -0.13328 | 2.4705e-06 | -0.0005476 | 0.0088961 | 0.0089031 | 0.0089031 | 0.99142 | -0.25253 | 0.99141 | -0.25245 | 4.0468
23 | 0.31605 | 0.15298 | -0.31604 | -0.15307 | 1.2952e-06 | -8.6687e-05 | 0.010221 | 0.010222 | 0.010222 | 0.99172 | -0.2552 | 0.99171 | -0.25539 | 1.2466
24 | 0.27843 | 0.13472 | -0.27843 | -0.13485 | 1.5195e-06 | -0.00013176 | 0.0090022 | 0.0090039 | 0.0090039 | 0.99188 | -0.25188 | 0.99188 | -0.25212 | 1.098
25 | 0.39905 | 0.1927 | -0.39904 | -0.19327 | 5.372e-06 | -0.00056422 | 0.012909 | 0.012916 | 0.012916 | 0.99095 | -0.24869 | 0.99093 | -0.24857 | 5.8711
26 | 0.23789 | 0.11474 | -0.23788 | -0.11521 | 3.9823e-06 | -0.00047566 | 0.0076859 | 0.007692 | 0.007692 | 0.99198 | -0.24987 | 0.99195 | -0.25062 | 0.93805
27 | -0.20992 | -0.10159 | 0.20992 | 0.063498 | 3.9146e-06 | -0.038092 | 0.0067521 | 0.0063497 | 0.0067521 | 0.99705 | -0.10035 | 0.99707 | -0.09986 | 0.80191
28 | 0.20992 | 0.10159 | -0.20992 | -0.10167 | 4.9484e-07 | -7.7644e-05 | 0.0067521 | 0.0067531 | 0.0067531 | 0.99705 | -0.10035 | 0.99704 | -0.10045 | 0.82354
29 | 1.6552 | 0.68455 | -1.6551 | -0.70041 | 0.00010371 | -0.015856 | 0.051858 | 0.052037 | 0.052037 | 0.99707 | -0.09986 | 0.997 | -0.10139 | 6.1801
30 | 0.37423 | 0.18111 | -0.37423 | -0.18125 | 1.0909e-06 | -0.00013353 | 0.012037 | 0.012039 | 0.012039 | 0.99707 | -0.09986 | 0.99707 | -0.099835 | 5.4721
31 | -2.2393 | -0.92916 | 2.2395 | 0.92916 | 0.00013959 | -2.4977e-06 | 0.070194 | 0.070191 | 0.070194 | 0.99707 | -0.09986 | 0.99715 | -0.096713 | 8.5602
32 | 0.12241 | 0.059177 | -0.12241 | -0.059287 | 9.577e-08 | -0.00010976 | 0.0039368 | 0.0039382 | 0.0039382 | 0.997 | -0.10139 | 0.997 | -0.10138 | 1.7901
33 | 1.5327 | 0.64123 | -1.5326 | -0.65351 | 6.9014e-05 | -0.012277 | 0.048105 | 0.048244 | 0.048244 | 0.997 | -0.10139 | 0.99694 | -0.10247 | 5.7297
34 | -2.3193 | -0.96782 | 2.3194 | 0.96195 | 7.5675e-05 | -0.005871 | 0.072755 | 0.072689 | 0.072755 | 0.99715 | -0.096713 | 0.99719 | -0.095913 | 8.6408
35 | 1.1257 | 0.4566 | -1.1257 | -0.47353 | 5.0895e-05 | -0.01693 | 0.035176 | 0.035364 | 0.035364 | 0.99694 | -0.10247 | 0.99689 | -0.10359 | 4.2
36 | 0.40686 | 0.19691 | -0.40686 | -0.19705 | 1.36e-06 | -0.0001407 | 0.013088 | 0.01309 | 0.01309 | 0.99694 | -0.10247 | 0.99694 | -0.10244 | 5.95
37 | 0.78498 | 0.31029 | -0.78494 | -0.34025 | 4.379e-05 | -0.029967 | 0.024443 | 0.024775 | 0.024775 | 0.99689 | -0.10359 | 0.99682 | -0.10496 | 2.9424
38 | 0.34071 | 0.16324 | -0.3407 | -0.16501 | 1.196e-05 | -0.0017689 | 0.01094 | 0.010962 | 0.010962 | 0.99689 | -0.10359 | 0.99686 | -0.10329 | 4.9829
39 | -3.8172 | -1.5857 | 3.8175 | 1.5753 | 0.00036799 | -0.010344 | 0.11966 | 0.11954 | 0.11966 | 0.99719 | -0.095913 | 0.99731 | -0.093537 | 14.2111
40 | 1.2218 | 0.49695 | -1.2218 | -0.50114 | 1.479e-05 | -0.0041927 | 0.038185 | 0.038231 | 0.038231 | 0.99719 | -0.095913 | 0.99718 | -0.096216 | 4.5405
41 | 0.27594 | 0.12677 | -0.27593 | -0.13222 | 2.0987e-06 | -0.005449 | 0.0087907 | 0.0088577 | 0.0088577 | 0.99719 | -0.095913 | 0.99718 | -0.095947 | 1.3884
42 | 0.27593 | 0.13222 | -0.27593 | -0.13364 | 5.5347e-07 | -0.0014231 | 0.0088577 | 0.0088756 | 0.0088756 | 0.99718 | -0.095947 | 0.99718 | -0.095954 | 1.3912
43 | -0.35323 | -0.17108 | 0.35324 | 0.17099 | 9.8402e-06 | -9.2207e-05 | 0.01137 | 0.011369 | 0.01137 | 0.99644 | -0.099744 | 0.99647 | -0.098892 | 3.2487
44 | -0.35324 | -0.17099 | 0.35326 | 0.16233 | 1.574e-05 | -0.0086598 | 0.011369 | 0.011262 | 0.011369 | 0.99647 | -0.098892 | 0.99652 | -0.098359 | 3.1406
45 | -1.0377 | -0.49251 | 1.0378 | 0.48938 | 4.9683e-05 | -0.0031329 | 0.033274 | 0.033235 | 0.033274 | 0.99652 | -0.098359 | 0.99657 | -0.097791 | 9.1918
46 | 0.68444 | 0.33018 | -0.68444 | -0.3303 | 3.2602e-06 | -0.00011851 | 0.022014 | 0.022015 | 0.022015 | 0.99652 | -0.098359 | 0.99652 | -0.098318 | 10.0069
47 | -0.066036 | -0.031983 | 0.066036 | 0.029573 | 5.3334e-08 | -0.0024095 | 0.0021273 | 0.0020978 | 0.0021273 | 0.99567 | -0.13109 | 0.99567 | -0.13109 | 0.33344
48 | -4.4662 | -1.9361 | 4.4682 | 1.9382 | 0.0019448 | 0.0021122 | 0.14113 | 0.14113 | 0.14113 | 0.99567 | -0.13109 | 0.99626 | -0.1098 | 17.2115
49 | 0.32306 | 0.15604 | -0.32305 | -0.15646 | 2.5661e-06 | -0.00042105 | 0.010392 | 0.010398 | 0.010398 | 0.99657 | -0.097791 | 0.99657 | -0.097722 | 4.7262
50 | -3.4089 | -1.6277 | 3.4095 | 1.6068 | 0.00061854 | -0.02091 | 0.10942 | 0.10916 | 0.10942 | 0.99657 | -0.097791 | 0.99679 | -0.094026 | 12.9956
51 | 2.0481 | 0.98225 | -2.0481 | -0.9832 | 1.0004e-05 | -0.00094882 | 0.065796 | 0.065808 | 0.065808 | 0.99657 | -0.097791 | 0.99657 | -0.09789 | 7.8157
52 | 0.47356 | 0.22817 | -0.47356 | -0.22828 | 1.5287e-06 | -0.00011663 | 0.015228 | 0.015229 | 0.015229 | 0.99652 | -0.098318 | 0.99651 | -0.09829 | 6.9223
53 | -9.2443 | -4.1916 | 9.2478 | 4.178 | 0.0035003 | -0.013609 | 0.29396 | 0.29376 | 0.29396 | 0.99679 | -0.094026 | 0.99723 | -0.085647 | 34.9116
54 | 5.0065 | 2.1869 | -5.0057 | -2.1993 | 0.00079491 | -0.012428 | 0.15822 | 0.15837 | 0.15837 | 0.99679 | -0.094026 | 0.9966 | -0.097689 | 18.809
55 | 0.82836 | 0.39794 | -0.82833 | -0.40041 | 2.5047e-05 | -0.0024742 | 0.026614 | 0.026646 | 0.026646 | 0.99679 | -0.094026 | 0.99675 | -0.09437 | 7.3607
56 | 0.9855 | 0.46858 | -0.98549 | -0.47012 | 3.7246e-06 | -0.0015413 | 0.031609 | 0.031629 | 0.031629 | 0.99657 | -0.09789 | 0.99656 | -0.097968 | 3.7564
57 | -9.4908 | -4.2955 | 9.4915 | 4.293 | 0.00068736 | -0.0025078 | 0.30157 | 0.30153 | 0.30157 | 0.99723 | -0.085647 | 0.99731 | -0.084043 | 35.8153
58 | 0.24297 | 0.1175 | -0.24296 | -0.11767 | 1.4979e-06 | -0.00017505 | 0.0078126 | 0.0078148 | 0.0078148 | 0.99723 | -0.085647 | 0.99722 | -0.085923 | 0.95302
59 | 5.0057 | 2.1993 | -5.0056 | -2.1992 | 6.4404e-05 | 7.4721e-05 | 0.15837 | 0.15837 | 0.15837 | 0.9966 | -0.097689 | 0.99658 | -0.098313 | 19.3137
60 | 0.58864 | 0.28432 | -0.58864 | -0.28433 | 9.83e-08 | -4.8264e-06 | 0.018932 | 0.018932 | 0.018932 | 0.99675 | -0.09437 | 0.99675 | -0.094369 | 8.6056
61 | -9.7695 | -4.4276 | 9.77 | 4.4259 | 0.00051079 | -0.001732 | 0.31047 | 0.31044 | 0.31047 | 0.99731 | -0.084043 | 0.99738 | -0.082888 | 36.8724
62 | 0.47356 | 0.22828 | -0.47355 | -0.22935 | 1.3958e-05 | -0.0010638 | 0.015229 | 0.015243 | 0.015243 | 0.99651 | -0.09829 | 0.99649 | -0.098035 | 6.9284
63 | -4.7344 | -2.0671 | 4.7355 | 2.0684 | 0.0011175 | 0.0012583 | 0.14969 | 0.14968 | 0.14969 | 0.99626 | -0.1098 | 0.99658 | -0.098313 | 18.2548
64 | 0.98549 | 0.47012 | -0.98549 | -0.47229 | 5.2361e-06 | -0.0021636 | 0.031629 | 0.031656 | 0.031656 | 0.99656 | -0.097968 | 0.99656 | -0.098077 | 3.7596
65 | 0.51643 | 0.24936 | -0.51642 | -0.25011 | 1.1803e-05 | -0.00075633 | 0.016609 | 0.016619 | 0.016619 | 0.99675 | -0.094369 | 0.99673 | -0.09417 | 7.5539
66 | -9.77 | -4.4259 | 9.7747 | 4.41 | 0.0046673 | -0.015856 | 0.31044 | 0.3102 | 0.31044 | 0.99738 | -0.082888 | 0.99794 | -0.072301 | 36.8693
67 | 4.0944 | 1.7097 | -4.0942 | -1.7094 | 0.00021986 | 0.00022197 | 0.12841 | 0.12841 | 0.12841 | 0.99746 | -0.087744 | 0.99739 | -0.090443 | 15.6602
68 | -4.0944 | -1.7097 | 4.0948 | 1.7016 | 0.00033243 | -0.0080759 | 0.12841 | 0.12832 | 0.12841 | 0.99746 | -0.087744 | 0.99756 | -0.085756 | 15.2509
69 | 3.8178 | 1.5755 | -3.8175 | -1.5753 | 0.00023305 | 0.00021958 | 0.11954 | 0.11954 | 0.11954 | 0.99739 | -0.090443 | 0.99731 | -0.093537 | 14.5779
70 | -4.0948 | -1.7016 | 4.0953 | 1.7021 | 0.00048209 | 0.00048632 | 0.12832 | 0.12832 | 0.12832 | 0.99756 | -0.085756 | 0.99772 | -0.079819 | 15.6487
71 | 0.5501 | 0.26134 | -0.55009 | -0.26159 | 4.3968e-06 | -0.00024975 | 0.017639 | 0.017642 | 0.017642 | 0.99673 | -0.10551 | 0.99672 | -0.10544 | 8.019
72 | -0.5501 | -0.26134 | 0.55015 | 0.2266 | 5.2275e-05 | -0.034739 | 0.017639 | 0.017231 | 0.017639 | 0.99673 | -0.10551 | 0.99682 | -0.10496 | 2.7647
73 | 0.17124 | 0.078099 | -0.17124 | -0.079273 | 1.9699e-06 | -0.0011743 | 0.005451 | 0.0054652 | 0.0054652 | 0.99672 | -0.10544 | 0.99671 | -0.10535 | 2.4842
74 | 0.23479 | 0.11366 | -0.23479 | -0.11371 | 4.5074e-07 | -5.635e-05 | 0.0075541 | 0.0075548 | 0.0075548 | 0.99682 | -0.10496 | 0.99682 | -0.10505 | 0.92132
75 | -4.4725 | -1.8848 | 4.4738 | 1.8862 | 0.0012686 | 0.0013714 | 0.14043 | 0.14042 | 0.14043 | 0.99772 | -0.079819 | 0.99811 | -0.065658 | 17.1253
76 | -0.28519 | -0.13687 | 0.28523 | 0.12856 | 3.8848e-05 | -0.0083088 | 0.009161 | 0.0090594 | 0.009161 | 0.99681 | -0.10117 | 0.99694 | -0.10225 | 4.1641
77 | 0.28519 | 0.13687 | -0.28519 | -0.13812 | 5.9295e-06 | -0.0012516 | 0.009161 | 0.0091768 | 0.0091768 | 0.99681 | -0.10117 | 0.99679 | -0.10099 | 4.1713
78 | -0.63585 | -0.29826 | 0.6359 | 0.24969 | 4.7089e-05 | -0.048576 | 0.020337 | 0.01978 | 0.020337 | 0.99694 | -0.10225 | 0.99702 | -0.10051 | 2.4153
79 | 0.35062 | 0.1697 | -0.35062 | -0.16981 | 1.998e-06 | -0.00011046 | 0.011279 | 0.011281 | 0.011281 | 0.99694 | -0.10225 | 0.99693 | -0.10251 | 1.3757
80 | -0.6359 | -0.24969 | 0.63591 | 0.24956 | 7.7501e-06 | -0.00013181 | 0.01978 | 0.019779 | 0.01978 | 0.99702 | -0.10051 | 0.99704 | -0.099872 | 2.4122
81 | -0.87621 | -0.36594 | 0.87624 | 0.36569 | 3.0471e-05 | -0.00024701 | 0.027493 | 0.027489 | 0.027493 | 0.99704 | -0.099872 | 0.99709 | -0.098124 | 3.3528
82 | -0.25877 | -0.12519 | 0.25878 | 0.10116 | 3.8316e-06 | -0.024035 | 0.0083007 | 0.0080228 | 0.0083007 | 0.99972 | -0.0094446 | 0.99974 | -0.0091023 | 0.98583
83 | 0.25877 | 0.12519 | -0.25877 | -0.12533 | 1.3348e-06 | -0.00013867 | 0.0083007 | 0.0083024 | 0.0083024 | 0.99972 | -0.0094446 | 0.99972 | -0.0096754 | 1.0125
84 | -14.9073 | -6.6037 | 14.9101 | 6.6077 | 0.0028201 | 0.0039906 | 0.47079 | 0.47079 | 0.47079 | 0.99974 | -0.0091023 | 1 | 0 | 57.4137
85 | 14.6485 | 6.5026 | -14.6317 | -6.4787 | 0.016861 | 0.023841 | 0.46278 | 0.46278 | 0.46278 | 0.99974 | -0.0091023 | 0.99816 | -0.064497 | 56.4371
86 | 4.6379 | 1.9613 | -4.6377 | -1.9655 | 0.00022403 | -0.0041865 | 0.14563 | 0.14568 | 0.14568 | 0.99816 | -0.064497 | 0.99811 | -0.065658 | 17.3018
87 | 9.9938 | 4.5174 | -9.9921 | -4.5151 | 0.0016459 | 0.0022646 | 0.31718 | 0.31718 | 0.31718 | 0.99816 | -0.064497 | 0.99794 | -0.072301 | 38.6809
88 | -1.0632 | -0.45623 | 1.0632 | 0.45333 | 7.8532e-06 | -0.0029011 | 0.033495 | 0.033462 | 0.033495 | 0.99709 | -0.098124 | 0.9971 | -0.097949 | 3.9781
89 | -0.21745 | -0.10531 | 0.21745 | 0.10523 | 6.049e-07 | -8.8713e-05 | 0.0069891 | 0.0069879 | 0.0069891 | 0.99793 | -0.072612 | 0.99793 | -0.072488 | 0.85232
90 | -0.21745 | -0.10523 | 0.21745 | 0.10509 | 9.0598e-07 | -0.00013292 | 0.0069879 | 0.0069862 | 0.0069879 | 0.99793 | -0.072488 | 0.99794 | -0.072301 | 0.85219
91 | 0.17124 | 0.079273 | -0.17123 | -0.080023 | 1.2635e-06 | -0.00074997 | 0.0054652 | 0.0054743 | 0.0054743 | 0.99671 | -0.10535 | 0.9967 | -0.10529 | 2.4883
92 | 0.38 | 0.17904 | -0.38 | -0.18062 | 5.6716e-07 | -0.0015851 | 0.012168 | 0.012188 | 0.012188 | 0.99656 | -0.098077 | 0.99656 | -0.098109 | 1.4475
93 | 0.38 | 0.18062 | -0.38 | -0.18387 | 1.1686e-06 | -0.0032501 | 0.012188 | 0.012229 | 0.012229 | 0.99656 | -0.098109 | 0.99655 | -0.098171 | 1.4523
94 | 0.38 | 0.18387 | -0.38 | -0.18404 | 3.5992e-06 | -0.00016838 | 0.012229 | 0.012231 | 0.012231 | 0.99655 | -0.098171 | 0.99654 | -0.098595 | 1.4916
95 | -0.09171 | -0.044417 | 0.091711 | 0.043657 | 3.7155e-07 | -0.00076019 | 0.0029514 | 0.0029419 | 0.0029514 | 0.99669 | -0.10518 | 0.99669 | -0.10521 | 1.3415
96 | -0.091711 | -0.043657 | 0.091712 | 0.041654 | 9.6766e-07 | -0.002003 | 0.0029419 | 0.0029174 | 0.0029419 | 0.99669 | -0.10521 | 0.9967 | -0.10529 | 1.3372
97 | 0.079523 | 0.038369 | -0.079523 | -0.038515 | 5.3691e-08 | -0.00014578 | 0.0025573 | 0.0025591 | 0.0025591 | 0.9967 | -0.10529 | 0.9967 | -0.10529 | 1.1632
98 | 0.15857 | 0.075647 | -0.15857 | -0.076799 | 1.478e-07 | -0.0011521 | 0.0050861 | 0.0051005 | 0.0051005 | 0.99718 | -0.096216 | 0.99718 | -0.09622 | 0.79946
99 | 1.0633 | 0.42549 | -1.0632 | -0.45333 | 7.4576e-05 | -0.02784 | 0.033154 | 0.033462 | 0.033462 | 0.99718 | -0.096216 | 0.9971 | -0.097949 | 3.9742

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 15.2703 | 6.7859

## res_load
| p_mw | q_mvar
0 | 0.39775 | 0.19264
1 | 0.19068 | 0.09235
2 | 0.32071 | 0.15533
3 | 0.41205 | 0.19956
4 | 0.31546 | 0.15278
5 | 0.31395 | 0.15205
6 | 0.37522 | 0.18173
7 | 0.20165 | 0.097663
8 | 0.27519 | 0.13328
9 | 0.31604 | 0.15307
10 | 0.27843 | 0.13485
11 | 0.18723 | 0.090678
12 | 0.20992 | 0.10167
13 | 0.39904 | 0.19327
14 | 0.37423 | 0.18125
15 | 0.079834 | 0.038665
16 | 0.23788 | 0.11521
17 | 0.40686 | 0.19705
18 | 0.12241 | 0.059287
19 | 0.27593 | 0.13364
20 | 0.35323 | 0.17108
21 | 0.066036 | 0.031983
22 | 0.21088 | 0.10213
23 | 0.32305 | 0.15646
24 | 1.0626 | 0.51462
25 | 0.2397 | 0.11609
26 | 0.27801 | 0.13465
27 | 0.24296 | 0.11767
28 | 0.26619 | 0.12892
29 | 0.27012 | 0.13082
30 | 0.47355 | 0.22935
31 | 0.072204 | 0.03497
32 | 0.27645 | 0.13389
33 | 0.37886 | 0.18349
34 | 0.37727 | 0.18272
35 | 0.3407 | 0.16501
36 | 0.23479 | 0.11371
37 | 0.28519 | 0.13812
38 | 0.35062 | 0.16981
39 | 0.2403 | 0.11638
40 | 0.25877 | 0.12533
41 | 0.34622 | 0.16768
42 | 0.18694 | 0.090539
43 | 0.21745 | 0.10531
44 | 0.16388 | 0.079371
45 | 0.16825 | 0.081486
46 | 0.51642 | 0.25011
47 | 0.60548 | 0.29325
48 | 0.38 | 0.18404
49 | 0.09171 | 0.044417
50 | 0.079523 | 0.038515
51 | 0.15857 | 0.076799

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1