## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_622_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_622_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_622_0_node_12 | 20 | n |  | TRUE
3 | bus_MV_622_0_node_13 | 20 | n |  | TRUE
4 | bus_MV_622_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_622_0_node_2 | 20 | n |  | TRUE
6 | bus_MV_622_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_622_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_622_0_node_50 | 20 | n |  | TRUE
9 | bus_MV_622_0_node_8 | 20 | n |  | TRUE
10 | bus_MV_622_0_node_49 | 20 | n |  | TRUE
11 | bus_MV_622_0_node_14 | 20 | n |  | TRUE
12 | bus_MV_622_0_node_15 | 20 | n |  | TRUE
13 | bus_MV_622_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_622_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_622_0_node_9 | 20 | n |  | TRUE
16 | bus_MV_622_0_node_10 | 20 | n |  | TRUE
17 | bus_MV_622_0_node_11 | 20 | n |  | TRUE
18 | bus_MV_622_0_node_22 | 20 | n |  | TRUE
19 | bus_MV_622_0_node_51 | 20 | n |  | TRUE
20 | bus_MV_622_0_node_21 | 20 | n |  | TRUE
21 | bus_MV_622_0_node_86 | 20 | n |  | TRUE
22 | bus_MV_622_0_node_76 | 20 | n |  | TRUE
23 | bus_MV_622_0_node_20 | 20 | n |  | TRUE
24 | bus_MV_622_0_node_67 | 20 | n |  | TRUE
25 | bus_MV_622_0_node_19 | 20 | n |  | TRUE
26 | bus_MV_622_0_node_75 | 20 | n |  | TRUE
27 | bus_MV_622_0_node_66 | 20 | n |  | TRUE
28 | bus_MV_622_0_node_18 | 20 | n |  | TRUE
29 | bus_MV_622_0_node_16 | 20 | n |  | TRUE
30 | bus_MV_622_0_node_17 | 20 | n |  | TRUE
31 | bus_MV_622_0_node_55 | 20 | n |  | TRUE
32 | bus_MV_622_0_node_56 | 20 | n |  | TRUE
33 | bus_MV_622_0_node_52 | 20 | n |  | TRUE
34 | bus_MV_622_0_node_85 | 20 | n |  | TRUE
35 | bus_MV_622_0_node_53 | 20 | n |  | TRUE
36 | bus_MV_622_0_node_54 | 20 | n |  | TRUE
37 | bus_MV_622_0_node_59 | 20 | n |  | TRUE
38 | bus_MV_622_0_node_58 | 20 | n |  | TRUE
39 | bus_MV_622_0_node_57 | 20 | n |  | TRUE
40 | bus_MV_622_0_node_90 | 20 | n |  | TRUE
41 | bus_MV_622_0_node_72 | 20 | n |  | TRUE
42 | bus_MV_622_0_node_71 | 20 | n |  | TRUE
43 | bus_MV_622_0_node_39 | 20 | n |  | TRUE
44 | bus_MV_622_0_node_31 | 20 | n |  | TRUE
45 | bus_MV_622_0_node_23 | 20 | n |  | TRUE
46 | bus_MV_622_0_node_24 | 20 | n |  | TRUE
47 | bus_MV_622_0_node_25 | 20 | n |  | TRUE
48 | bus_MV_622_0_node_26 | 20 | n |  | TRUE
49 | bus_MV_622_0_node_47 | 20 | n |  | TRUE
50 | bus_MV_622_0_node_81 | 20 | n |  | TRUE
51 | bus_MV_622_0_node_93 | 20 | n |  | TRUE
52 | bus_MV_622_0_node_44 | 20 | n |  | TRUE
53 | bus_MV_622_0_node_83 | 20 | n |  | TRUE
54 | bus_MV_622_0_node_46 | 20 | n |  | TRUE
55 | bus_MV_622_0_node_82 | 20 | n |  | TRUE
56 | bus_MV_622_0_node_42 | 20 | n |  | TRUE
57 | bus_MV_622_0_node_41 | 20 | n |  | TRUE
58 | bus_MV_622_0_node_45 | 20 | n |  | TRUE
59 | bus_MV_622_0_node_48 | 20 | n |  | TRUE
60 | bus_MV_622_0_node_68 | 20 | n |  | TRUE
61 | bus_MV_622_0_node_77 | 20 | n |  | TRUE
62 | bus_MV_622_0_node_80 | 20 | n |  | TRUE
63 | bus_MV_622_0_node_78 | 20 | n |  | TRUE
64 | bus_MV_622_0_node_27 | 20 | n |  | TRUE
65 | bus_MV_622_0_node_28 | 20 | n |  | TRUE
66 | bus_MV_622_0_node_29 | 20 | n |  | TRUE
67 | bus_MV_622_0_node_30 | 20 | n |  | TRUE
68 | bus_MV_622_0_node_32 | 20 | n |  | TRUE
69 | bus_MV_622_0_node_61 | 20 | n |  | TRUE
70 | bus_MV_622_0_node_60 | 20 | n |  | TRUE
71 | bus_MV_622_0_node_40 | 20 | n |  | TRUE
72 | bus_MV_622_0_node_33 | 20 | n |  | TRUE
73 | bus_MV_622_0_node_70 | 20 | n |  | TRUE
74 | bus_MV_622_0_node_69 | 20 | n |  | TRUE
75 | bus_MV_622_0_node_73 | 20 | n |  | TRUE
76 | bus_MV_622_0_node_91 | 20 | n |  | TRUE
77 | bus_MV_622_0_node_34 | 20 | n |  | TRUE
78 | bus_MV_622_0_node_35 | 20 | n |  | TRUE
79 | bus_MV_622_0_node_36 | 20 | n |  | TRUE
80 | bus_MV_622_0_node_38 | 20 | n |  | TRUE
81 | bus_MV_622_0_node_43 | 20 | n |  | TRUE
82 | bus_MV_622_0_node_37 | 20 | n |  | TRUE
83 | bus_MV_622_0_node_88 | 20 | n |  | TRUE
84 | bus_MV_622_0_node_87 | 20 | n |  | TRUE
85 | bus_MV_622_0_node_92 | 20 | n |  | TRUE
86 | bus_MV_622_0_node_89 | 20 | n |  | TRUE
87 | bus_MV_622_0_node_84 | 20 | n |  | TRUE
88 | bus_MV_622_0_node_62 | 20 | n |  | TRUE
89 | bus_MV_622_0_node_63 | 20 | n |  | TRUE
90 | bus_MV_622_0_node_65 | 20 | n |  | TRUE
91 | bus_MV_622_0_node_64 | 20 | n |  | TRUE
92 | bus_MV_622_0_node_74 | 20 | n |  | TRUE
93 | bus_MV_622_0_node_79 | 20 | n |  | TRUE
94 | bus_HV_622_0_node_63 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_622_0_load_0 | 0 | 0.34323 | 0.16623 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_622_0_load_12 | 2 | 0.33865 | 0.16402 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_622_0_load_5 | 7 | 0.20028 | 0.096999 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_622_0_load_50 | 8 | 0.12407 | 0.060089 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_622_0_load_49 | 10 | 0.15226 | 0.073741 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_622_0_load_6 | 13 | 0.23242 | 0.11257 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_622_0_load_10 | 16 | 0.13937 | 0.067498 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_622_0_load_51 | 19 | 0.071503 | 0.034631 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_622_0_load_86 | 21 | 0.38172 | 0.18487 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_622_0_load_19 | 25 | 0.29099 | 0.14093 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_622_0_load_75 | 26 | 0.11036 | 0.053449 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_622_0_load_66 | 27 | 0.14598 | 0.070702 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_622_0_load_18 | 28 | 0.71629 | 0.34691 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_622_0_load_17 | 30 | 0.17025 | 0.082457 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_622_0_load_52 | 33 | 0.25193 | 0.12201 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_622_0_load_85 | 34 | 0.32395 | 0.1569 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_622_0_load_59 | 37 | 0.15787 | 0.076459 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_622_0_load_58 | 38 | 0.25327 | 0.12266 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_622_0_load_57 | 39 | 0.096121 | 0.046554 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_622_0_load_90 | 40 | 0.085398 | 0.04136 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_622_0_load_72 | 41 | 0.13504 | 0.065403 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_622_0_load_39 | 43 | 0.098762 | 0.047832 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_622_0_load_23 | 45 | 0.29943 | 0.14502 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_622_0_load_81 | 50 | 0.090901 | 0.044026 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_622_0_load_93 | 51 | 0.12908 | 0.062517 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_622_0_load_82 | 55 | 0.080032 | 0.038761 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_622_0_load_41 | 57 | 0.12259 | 0.059375 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_622_0_load_48 | 59 | 3.42 | 1.6564 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_622_0_load_68 | 60 | 2.7914 | 1.352 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_622_0_load_77 | 61 | 1.2169 | 0.58939 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_622_0_load_78 | 63 | 0.097966 | 0.047447 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_622_0_load_27 | 64 | 0.090219 | 0.043695 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_622_0_load_60 | 70 | 0.25071 | 0.12142 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_622_0_load_70 | 73 | 0.25499 | 0.1235 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_622_0_load_69 | 74 | 0.078537 | 0.038037 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_622_0_load_73 | 75 | 0.080659 | 0.039065 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_622_0_load_91 | 76 | 0.35447 | 0.17168 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_622_0_load_34 | 77 | 0.65252 | 0.31603 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_622_0_load_87 | 84 | 0.35165 | 0.17031 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_622_0_load_92 | 85 | 0.26516 | 0.12842 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_622_0_load_89 | 86 | 0.29558 | 0.14316 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_622_0_load_84 | 87 | 0.068952 | 0.033395 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_622_0_load_62 | 88 | 0.098525 | 0.047718 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_622_0_load_74 | 92 | 0.096586 | 0.046779 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_622_0_load_79 | 93 | 0.19112 | 0.092565 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_622_0_line_0 |  | 0 | 1 | 0.003942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_622_0_line_1 |  | 1 | 2 | 0.36345 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_622_0_line_2 |  | 2 | 3 | 0.028027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_622_0_line_3 |  | 2 | 4 | 0.10387 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_622_0_line_4 |  | 3 | 11 | 0.22758 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
5 | MV_622_0_line_5 |  | 3 | 12 | 0.39597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_622_0_line_6 |  | 3 | 6 | 0.30052 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_622_0_line_7 |  | 4 | 9 | 0.037904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_622_0_line_8 |  | 5 | 6 | 0.36077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_622_0_line_9 |  | 5 | 7 | 0.033551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_622_0_line_10 |  | 5 | 8 | 0.45065 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_622_0_line_11 |  | 6 | 10 | 0.039362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_622_0_line_12 |  | 9 | 13 | 0.07325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_622_0_line_13 |  | 11 | 24 | 0.27444 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
14 | MV_622_0_line_14 |  | 11 | 27 | 0.025948 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_622_0_line_15 |  | 12 | 28 | 0.023708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_622_0_line_16 |  | 12 | 29 | 0.077629 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_622_0_line_17 |  | 12 | 30 | 0.052817 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_622_0_line_18 |  | 13 | 14 | 0.054552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_622_0_line_19 |  | 14 | 15 | 0.13393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_622_0_line_20 |  | 15 | 16 | 0.033196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_622_0_line_21 |  | 16 | 17 | 0.028019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_622_0_line_22 |  | 17 | 18 | 0.13989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_622_0_line_23 |  | 18 | 19 | 0.027085 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_622_0_line_24 |  | 20 | 21 | 0.009927 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
25 | MV_622_0_line_25 |  | 20 | 22 | 0.40211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_622_0_line_26 |  | 20 | 23 | 0.47106 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
27 | MV_622_0_line_27 |  | 21 | 43 | 0.461 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
28 | MV_622_0_line_28 |  | 22 | 26 | 1.0756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_622_0_line_29 |  | 23 | 24 | 0.47226 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
30 | MV_622_0_line_30 |  | 23 | 25 | 0.052619 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_622_0_line_31 |  | 24 | 34 | 0.018983 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
32 | MV_622_0_line_32 |  | 29 | 31 | 0.088543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_622_0_line_33 |  | 29 | 32 | 0.13358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_622_0_line_34 |  | 29 | 33 | 0.0621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_622_0_line_35 |  | 31 | 40 | 0.013442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_622_0_line_36 |  | 32 | 41 | 0.021486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_622_0_line_37 |  | 32 | 42 | 0.01226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_622_0_line_38 |  | 32 | 35 | 0.22222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_622_0_line_39 |  | 34 | 90 | 0.009193 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
40 | MV_622_0_line_40 |  | 35 | 36 | 0.099407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_622_0_line_41 |  | 35 | 37 | 0.00072078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_622_0_line_42 |  | 36 | 38 | 0.00855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_622_0_line_43 |  | 36 | 39 | 0.07322 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_622_0_line_44 |  | 42 | 73 | 0.033683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_622_0_line_45 |  | 43 | 44 | 0.092721 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
46 | MV_622_0_line_46 |  | 44 | 71 | 0.057501 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
47 | MV_622_0_line_47 |  | 45 | 46 | 0.021168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_622_0_line_48 |  | 46 | 47 | 0.48477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_622_0_line_49 |  | 46 | 48 | 0.6902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_622_0_line_50 |  | 47 | 49 | 0.56008 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_622_0_line_51 |  | 47 | 50 | 0.04546 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_622_0_line_52 |  | 48 | 51 | 0.038643 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_622_0_line_53 |  | 49 | 61 | 0.06399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_622_0_line_54 |  | 49 | 54 | 0.3781 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
55 | MV_622_0_line_55 |  | 49 | 58 | 0.065362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_622_0_line_56 |  | 50 | 62 | 0.078566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_622_0_line_57 |  | 51 | 63 | 0.13087 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_622_0_line_58 |  | 52 | 53 | 0.032371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_622_0_line_59 |  | 52 | 54 | 0.30422 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
60 | MV_622_0_line_60 |  | 52 | 55 | 0.033089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_622_0_line_61 |  | 52 | 56 | 0.41751 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
62 | MV_622_0_line_62 |  | 53 | 87 | 0.03315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_622_0_line_63 |  | 54 | 60 | 0.017996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_622_0_line_64 |  | 56 | 57 | 0.098845 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
65 | MV_622_0_line_65 |  | 57 | 79 | 0.062275 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
66 | MV_622_0_line_66 |  | 58 | 59 | 0.049863 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_622_0_line_67 |  | 62 | 93 | 0.034946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_622_0_line_68 |  | 64 | 65 | 0.03922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_622_0_line_69 |  | 64 | 66 | 0.043113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_622_0_line_70 |  | 65 | 67 | 0.12423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_622_0_line_71 |  | 66 | 68 | 0.30472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_622_0_line_72 |  | 67 | 69 | 0.047598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_622_0_line_73 |  | 67 | 70 | 0.051384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_622_0_line_74 |  | 68 | 72 | 0.17777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_622_0_line_75 |  | 68 | 73 | 0.043476 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_622_0_line_76 |  | 69 | 75 | 0.030933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_622_0_line_77 |  | 71 | 76 | 0.020722 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
78 | MV_622_0_line_78 |  | 72 | 74 | 0.041977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_622_0_line_79 |  | 76 | 81 | 0.005183 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
80 | MV_622_0_line_80 |  | 77 | 78 | 0.023013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_622_0_line_81 |  | 78 | 79 | 0.19744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_622_0_line_82 |  | 78 | 80 | 0.33774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_622_0_line_83 |  | 79 | 81 | 0.099211 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
84 | MV_622_0_line_84 |  | 80 | 85 | 0.032622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_622_0_line_85 |  | 80 | 82 | 1.0895 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_622_0_line_86 |  | 82 | 83 | 0.092738 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_622_0_line_87 |  | 82 | 84 | 0.048944 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_622_0_line_88 |  | 83 | 86 | 0.03151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_622_0_line_89 |  | 88 | 89 | 0.084662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_622_0_line_90 |  | 89 | 90 | 0.28815 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
91 | MV_622_0_line_91 |  | 90 | 91 | 0.17538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_622_0_line_92 |  | 91 | 92 | 0.04821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_622_0_trafo_63 | 25 MVA 110/20 kV | 94 | 89 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2534192.2712 | 1156098.4047
1 | 2534188.7866 | 1156100.2661
2 | 2533826.4464 | 1156128.6499
3 | 2533806.3057 | 1156109.1054
4 | 2533898.9061 | 1156203.0711
5 | 2534019.361 | 1155735.2785
6 | 2533967.0432 | 1155855.1859
7 | 2533986.1033 | 1155730.3299
8 | 2534466.147 | 1155676.3812
9 | 2533920.4006 | 1156234.1852
10 | 2533982.297 | 1155818.9552
11 | 2533711.589 | 1156245.458
12 | 2533568.9041 | 1156098.7528
13 | 2533975.738 | 1156228.1847
14 | 2534025.5178 | 1156206.3593
15 | 2534030.004 | 1156299.1834
16 | 2534008.0547 | 1156324.0866
17 | 2533987.3513 | 1156342.0866
18 | 2534066.272 | 1156411.6584
19 | 2534086.5746 | 1156393.7314
20 | 2533870.4155 | 1156918.4124
21 | 2533865.2484 | 1156926.8962
22 | 2533877.489 | 1157252.2632
23 | 2534070.2261 | 1156626.5223
24 | 2533631.2986 | 1156452.2583
25 | 2534111.1212 | 1156593.411
26 | 2534913.5473 | 1156968.9549
27 | 2533706.9481 | 1156270.9879
28 | 2533545.2212 | 1156097.6523
29 | 2533541.8157 | 1156150.7699
30 | 2533580.4289 | 1156047.208
31 | 2533501.0912 | 1156100.237
32 | 2533459.3657 | 1156194.084
33 | 2533601.9257 | 1156142.4852
34 | 2533624.9331 | 1156468.8934
35 | 2533525.3078 | 1156361.113
36 | 2533563.0065 | 1156299.8289
37 | 2533525.4737 | 1156361.8144
38 | 2533571.1287 | 1156297.1584
39 | 2533584.7736 | 1156252.7927
40 | 2533491.272 | 1156091.0294
41 | 2533453.194 | 1156173.5052
42 | 2533465.3134 | 1156183.3566
43 | 2533412.7616 | 1157015.0861
44 | 2533391.7213 | 1156924.9148
45 | 2532672.8086 | 1156299.0589
46 | 2532664.3923 | 1156279.6313
47 | 2532683.325 | 1156405.9558
48 | 2532828.626 | 1156136.5696
49 | 2532986.7612 | 1156717.1362
50 | 2532652.6386 | 1156435.8796
51 | 2532852.96 | 1156166.6365
52 | 2532930.8602 | 1157001.7729
53 | 2532902.6335 | 1157017.6191
54 | 2533034.5642 | 1156954.7124
55 | 2532946.7724 | 1157030.7844
56 | 2533246.7929 | 1156925.4457
57 | 2533241.7376 | 1157000.5346
58 | 2533003.6335 | 1156778.4041
59 | 2533030.4366 | 1156820.4508
60 | 2533049.9113 | 1156945.314
61 | 2532972.2165 | 1156655.276
62 | 2532586.532 | 1156478.3365
63 | 2532974.1288 | 1156117.1793
64 | 2533266.2304 | 1156193.0588
65 | 2533278.0736 | 1156230.4476
66 | 2533253.2115 | 1156151.9582
67 | 2533367.1437 | 1156264.8338
68 | 2533430.5488 | 1156127.3997
69 | 2533407.2345 | 1156249.2141
70 | 2533325.9206 | 1156289.6663
71 | 2533351.7131 | 1156966.2146
72 | 2533459.0279 | 1156029.2968
73 | 2533454.8414 | 1156151.3427
74 | 2533418.0219 | 1156020.3437
75 | 2533380.6277 | 1156256.0481
76 | 2533338.4706 | 1156982.1815
77 | 2533222.3529 | 1157244.2471
78 | 2533216.7707 | 1157221.921
79 | 2533266.3675 | 1157057.6569
80 | 2532945.953 | 1157193.4995
81 | 2533335.0943 | 1156986.1211
82 | 2532939.7716 | 1157828.4867
83 | 2532862.9586 | 1157815.3151
84 | 2532986.0901 | 1157844.3008
85 | 2532913.5999 | 1157198.1966
86 | 2532847.1988 | 1157842.4396
87 | 2532918.7287 | 1157046.5992
88 | 2533366.8973 | 1156485.8296
89 | 2533427.4397 | 1156545.0091
90 | 2533616.14 | 1156471.2696
91 | 2533509.3759 | 1156492.4618
92 | 2533483.831 | 1156451.5753
93 | 2532605.0653 | 1156507.9246
94 | 2533427.4397 | 1156545.0091

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99818 | -0.011893 | 0.34323 | 0.16623
1 | 0.99818 | -0.011909 | 0 | 0
2 | 0.99842 | -0.010387 | 0.33865 | 0.16402
3 | 0.99846 | -0.010741 | 0 | 0
4 | 0.99833 | -0.011057 | 0 | 0
5 | 0.99804 | -0.011486 | 0 | 0
6 | 0.99818 | -0.012761 | 0 | 0
7 | 0.99803 | -0.011406 | 0.20028 | 0.096999
8 | 0.99793 | -0.012174 | 0.12407 | 0.060089
9 | 0.99831 | -0.010885 | 0 | 0
10 | 0.99818 | -0.01269 | 0.15226 | 0.073741
11 | 0.99898 | -0.0049203 | 0 | 0
12 | 0.99714 | 0.00054342 | 0 | 0
13 | 0.99827 | -0.010546 | 0.23242 | 0.11257
14 | 0.99825 | -0.01044 | 0 | 0
15 | 0.99822 | -0.010161 | 0 | 0
16 | 0.99821 | -0.010087 | 0.13937 | 0.067498
17 | 0.99821 | -0.010071 | 0 | 0
18 | 0.99819 | -0.0099717 | 0 | 0
19 | 0.99819 | -0.009949 | 0.071503 | 0.034631
20 | 0.99655 | -0.11051 | 0 | 0
21 | 0.99653 | -0.11059 | 0.38172 | 0.18487
22 | 0.99649 | -0.11075 | 0 | 0
23 | 0.99739 | -0.10642 | 0 | 0
24 | 0.99917 | -0.0040128 | 0 | 0
25 | 0.99736 | -0.10661 | 0.29099 | 0.14093
26 | 0.99635 | -0.1102 | 0.11036 | 0.053449
27 | 0.99897 | -0.0048754 | 0.14598 | 0.070702
28 | 0.99712 | 0.00074734 | 0.71629 | 0.34691
29 | 0.99697 | 0.0019619 | 0 | 0
30 | 0.99712 | 0.00043399 | 0.17025 | 0.082457
31 | 0.99696 | 0.0020452 | 0 | 0
32 | 0.99673 | 0.0039161 | 0 | 0
33 | 0.99695 | 0.0021473 | 0.25193 | 0.12201
34 | 0.99922 | -0.0037794 | 0.32395 | 0.1569
35 | 0.99659 | 0.0051747 | 0 | 0
36 | 0.99655 | 0.0055732 | 0 | 0
37 | 0.99659 | 0.005176 | 0.15787 | 0.076459
38 | 0.99654 | 0.0055992 | 0.25327 | 0.12266
39 | 0.99654 | 0.0056539 | 0.096121 | 0.046554
40 | 0.99696 | 0.0020588 | 0.085398 | 0.04136
41 | 0.99673 | 0.0039507 | 0.13504 | 0.065403
42 | 0.99672 | 0.0040099 | 0 | 0
43 | 0.9949 | -0.20377 | 0.098762 | 0.047832
44 | 0.99474 | -0.20451 | 0 | 0
45 | 0.9912 | -0.21671 | 0.29943 | 0.14502
46 | 0.99121 | -0.21679 | 0 | 0
47 | 0.99153 | -0.21916 | 0 | 0
48 | 0.99101 | -0.21529 | 0 | 0
49 | 0.9921 | -0.22323 | 0 | 0
50 | 0.99151 | -0.21901 | 0.090901 | 0.044026
51 | 0.991 | -0.21518 | 0.12908 | 0.062517
52 | 0.99364 | -0.20938 | 0 | 0
53 | 0.99364 | -0.20935 | 0 | 0
54 | 0.99323 | -0.21104 | 0 | 0
55 | 0.99364 | -0.20935 | 0.080032 | 0.038761
56 | 0.99421 | -0.20692 | 0 | 0
57 | 0.99435 | -0.20631 | 0.12259 | 0.059375
58 | 0.99182 | -0.22052 | 0 | 0
59 | 0.9916 | -0.21845 | 3.42 | 1.6564
60 | 0.99316 | -0.21043 | 2.7914 | 1.352
61 | 0.992 | -0.22229 | 1.2169 | 0.58939
62 | 0.99149 | -0.21884 | 0 | 0
63 | 0.99097 | -0.21534 | 0.097966 | 0.047447
64 | 0.99648 | 0.0059917 | 0.090219 | 0.043695
65 | 0.99646 | 0.006132 | 0 | 0
66 | 0.9965 | 0.0057934 | 0 | 0
67 | 0.99641 | 0.0065917 | 0 | 0
68 | 0.99666 | 0.0044725 | 0 | 0
69 | 0.9964 | 0.006634 | 0 | 0
70 | 0.99639 | 0.0067449 | 0.25071 | 0.12142
71 | 0.99464 | -0.20496 | 0 | 0
72 | 0.99664 | 0.0046053 | 0 | 0
73 | 0.99669 | 0.004269 | 0.25499 | 0.1235
74 | 0.99664 | 0.0046436 | 0.078537 | 0.038037
75 | 0.9964 | 0.0066633 | 0.080659 | 0.039065
76 | 0.99461 | -0.20513 | 0.35447 | 0.17168
77 | 0.99402 | -0.20251 | 0.65252 | 0.31603
78 | 0.99404 | -0.20269 | 0 | 0
79 | 0.99444 | -0.20592 | 0 | 0
80 | 0.99365 | -0.19969 | 0 | 0
81 | 0.9946 | -0.20517 | 0 | 0
82 | 0.99275 | -0.19225 | 0 | 0
83 | 0.99272 | -0.19192 | 0 | 0
84 | 0.99272 | -0.19246 | 0.35165 | 0.17031
85 | 0.99364 | -0.19958 | 0.26516 | 0.12842
86 | 0.99271 | -0.19181 | 0.29558 | 0.14316
87 | 0.99363 | -0.20933 | 0.068952 | 0.033395
88 | 0.99999 | 9.434e-05 | 0.098525 | 0.047718
89 | 1 | 0 | -16.2868 | -7.4233
90 | 0.99925 | -0.0036646 | 0 | 0
91 | 0.99922 | -0.0034979 | 0 | 0
92 | 0.99922 | -0.0034439 | 0.096586 | 0.046779
93 | 0.99149 | -0.21876 | 0.19112 | 0.092565
94 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.34323 | -0.16623 | 0.34323 | 0.16614 | 6.4008e-07 | -9.3587e-05 | 0.011029 | 0.011028 | 0.011029 | 0.99818 | -0.011893 | 0.99818 | -0.011909 | 5.0133
1 | -0.34323 | -0.16614 | 0.34331 | 0.16576 | 7.8716e-05 | -0.00038311 | 0.011028 | 0.011023 | 0.011028 | 0.99818 | -0.011909 | 0.99842 | -0.010387 | 5.2515
2 | -1.1253 | -0.53182 | 1.1254 | 0.53117 | 4.8446e-05 | -0.00065272 | 0.035987 | 0.035979 | 0.035987 | 0.99842 | -0.010387 | 0.99846 | -0.010741 | 16.3579
3 | 0.44337 | 0.20205 | -0.44333 | -0.20215 | 3.6732e-05 | -0.00010059 | 0.014088 | 0.014089 | 0.014089 | 0.99842 | -0.010387 | 0.99833 | -0.011057 | 6.7091
4 | -4.2281 | -1.9702 | 4.2301 | 1.9639 | 0.0019979 | -0.0063356 | 0.13486 | 0.13477 | 0.13486 | 0.99846 | -0.010741 | 0.99898 | -0.0049203 | 37.2553
5 | 2.6259 | 1.2194 | -2.6222 | -1.2277 | 0.003709 | -0.0083124 | 0.083707 | 0.083822 | 0.083822 | 0.99846 | -0.010741 | 0.99714 | 0.00054342 | 38.101
6 | 0.47679 | 0.21972 | -0.47667 | -0.22 | 0.00012339 | -0.00028027 | 0.015178 | 0.015183 | 0.015183 | 0.99846 | -0.010741 | 0.99818 | -0.012761 | 7.2299
7 | 0.44333 | 0.20215 | -0.44332 | -0.20305 | 1.0052e-05 | -0.00089898 | 0.014089 | 0.0141 | 0.0141 | 0.99833 | -0.011057 | 0.99831 | -0.010885 | 6.409
8 | -0.32436 | -0.15576 | 0.32441 | 0.1472 | 5.1638e-05 | -0.008566 | 0.010408 | 0.010303 | 0.010408 | 0.99804 | -0.011486 | 0.99818 | -0.012761 | 4.7307
9 | 0.20028 | 0.096202 | -0.20028 | -0.096999 | 1.8528e-06 | -0.00079737 | 0.0064266 | 0.0064366 | 0.0064366 | 0.99804 | -0.011486 | 0.99803 | -0.011406 | 2.9257
10 | 0.12408 | 0.059561 | -0.12407 | -0.060089 | 1.2747e-05 | -0.00052784 | 0.003981 | 0.0039878 | 0.0039878 | 0.99804 | -0.011486 | 0.99793 | -0.012174 | 1.8989
11 | 0.15226 | 0.072805 | -0.15226 | -0.073741 | 1.2548e-06 | -0.00093601 | 0.0048808 | 0.0048925 | 0.0048925 | 0.99818 | -0.012761 | 0.99818 | -0.01269 | 2.2239
12 | 0.44332 | 0.20305 | -0.4433 | -0.20478 | 1.947e-05 | -0.0017372 | 0.0141 | 0.014121 | 0.014121 | 0.99831 | -0.010885 | 0.99827 | -0.010546 | 6.4186
13 | -4.3761 | -2.034 | 4.3769 | 2 | 0.00082204 | -0.03396 | 0.13945 | 0.13903 | 0.13945 | 0.99898 | -0.0049203 | 0.99917 | -0.0040128 | 10.9285
14 | 0.14598 | 0.070084 | -0.14598 | -0.070702 | 7.5979e-07 | -0.00061805 | 0.0046794 | 0.0046872 | 0.0046872 | 0.99898 | -0.0049203 | 0.99897 | -0.0048754 | 2.1305
15 | 0.71631 | 0.34636 | -0.71629 | -0.34691 | 1.6798e-05 | -0.00055784 | 0.023034 | 0.023041 | 0.023041 | 0.99714 | 0.00054342 | 0.99712 | 0.00074734 | 10.4734
16 | 1.7357 | 0.79891 | -1.7354 | -0.80066 | 0.00031723 | -0.0017485 | 0.055316 | 0.055338 | 0.055338 | 0.99714 | 0.00054342 | 0.99697 | 0.0019619 | 25.1536
17 | 0.17025 | 0.082396 | -0.17025 | -0.082457 | 2.8221e-06 | -6.0925e-05 | 0.0054758 | 0.0054766 | 0.0054766 | 0.99714 | 0.00054342 | 0.99712 | 0.00043399 | 2.6079
18 | 0.21088 | 0.09222 | -0.21088 | -0.093517 | 3.2336e-06 | -0.001297 | 0.0066558 | 0.006671 | 0.006671 | 0.99827 | -0.010546 | 0.99825 | -0.01044 | 3.0323
19 | 0.21088 | 0.093517 | -0.21087 | -0.096701 | 8.0017e-06 | -0.0031841 | 0.006671 | 0.0067089 | 0.0067089 | 0.99825 | -0.01044 | 0.99822 | -0.010161 | 3.0495
20 | 0.21087 | 0.096701 | -0.21087 | -0.09749 | 1.9974e-06 | -0.00078916 | 0.0067089 | 0.0067184 | 0.0067184 | 0.99822 | -0.010161 | 0.99821 | -0.010087 | 3.0538
21 | 0.071504 | 0.029992 | -0.071504 | -0.030659 | 1.8872e-07 | -0.00066653 | 0.0022424 | 0.0022499 | 0.0022499 | 0.99821 | -0.010087 | 0.99821 | -0.010071 | 1.0227
22 | 0.071504 | 0.030659 | -0.071503 | -0.033986 | 9.6172e-07 | -0.0033277 | 0.0022499 | 0.0022896 | 0.0022896 | 0.99821 | -0.010071 | 0.99819 | -0.0099717 | 1.0407
23 | 0.071503 | 0.033986 | -0.071503 | -0.034631 | 1.9021e-07 | -0.00064428 | 0.0022896 | 0.0022976 | 0.0022976 | 0.99819 | -0.0099717 | 0.99819 | -0.009949 | 1.0444
24 | 10.9426 | 5.0674 | -10.9424 | -5.0685 | 0.00018716 | -0.0011334 | 0.34932 | 0.34933 | 0.34933 | 0.99655 | -0.11051 | 0.99653 | -0.11059 | 27.3773
25 | 0.11038 | 0.018425 | -0.11038 | -0.027957 | 5.7307e-06 | -0.0095325 | 0.0032417 | 0.0032985 | 0.0032985 | 0.99655 | -0.11051 | 0.99649 | -0.11075 | 1.4993
26 | -11.053 | -5.0858 | 11.062 | 5.032 | 0.0090222 | -0.053756 | 0.35245 | 0.35174 | 0.35245 | 0.99655 | -0.11051 | 0.99739 | -0.10642 | 27.6212
27 | 10.5607 | 4.8836 | -10.5514 | -4.8598 | 0.0093487 | 0.023876 | 0.33705 | 0.33707 | 0.33707 | 0.99653 | -0.11059 | 0.9949 | -0.20377 | 26.1291
28 | 0.11038 | 0.027957 | -0.11036 | -0.053449 | 1.6677e-05 | -0.025492 | 0.0032985 | 0.0035528 | 0.0035528 | 0.99649 | -0.11075 | 0.99635 | -0.1102 | 1.6149
29 | -11.353 | -5.1729 | 11.364 | 5.2012 | 0.010991 | 0.028254 | 0.36109 | 0.36108 | 0.36109 | 0.99739 | -0.10642 | 0.99917 | -0.0040128 | 27.9917
30 | 0.291 | 0.14088 | -0.29099 | -0.14093 | 8.2097e-06 | -5.7346e-05 | 0.0093574 | 0.0093582 | 0.0093582 | 0.99739 | -0.10642 | 0.99736 | -0.10661 | 4.4563
31 | -15.7409 | -7.2012 | 15.7417 | 7.1992 | 0.00073349 | -0.0019686 | 0.50011 | 0.50008 | 0.50011 | 0.99917 | -0.0040128 | 0.99922 | -0.0037794 | 39.1935
32 | 0.085399 | 0.03894 | -0.085398 | -0.041041 | 8.8126e-07 | -0.002101 | 0.0027177 | 0.0027435 | 0.0027435 | 0.99697 | 0.0019619 | 0.99696 | 0.0020452 | 1.247
33 | 1.398 | 0.64118 | -1.3977 | -0.64424 | 0.00035397 | -0.0030642 | 0.044534 | 0.044573 | 0.044573 | 0.99697 | 0.0019619 | 0.99673 | 0.0039161 | 20.2603
34 | 0.25193 | 0.12054 | -0.25193 | -0.12201 | 5.4339e-06 | -0.0014721 | 0.0080867 | 0.0081052 | 0.0081052 | 0.99697 | 0.0019619 | 0.99695 | 0.0021473 | 3.6842
35 | 0.085398 | 0.041041 | -0.085398 | -0.04136 | 1.3526e-07 | -0.00031895 | 0.0027435 | 0.0027475 | 0.0027475 | 0.99696 | 0.0020452 | 0.99696 | 0.0020588 | 1.2489
36 | 0.13504 | 0.064893 | -0.13504 | -0.065403 | 5.4089e-07 | -0.0005095 | 0.0043392 | 0.0043456 | 0.0043456 | 0.99673 | 0.0039161 | 0.99673 | 0.0039507 | 1.9753
37 | 0.75527 | 0.34323 | -0.75527 | -0.34352 | 9.4502e-06 | -0.000288 | 0.024027 | 0.024031 | 0.024031 | 0.99673 | 0.0039161 | 0.99672 | 0.0040099 | 10.923
38 | 0.50735 | 0.23612 | -0.50727 | -0.24137 | 7.824e-05 | -0.0052473 | 0.016207 | 0.016272 | 0.016272 | 0.99673 | 0.0039161 | 0.99659 | 0.0051747 | 7.3965
39 | -16.0656 | -7.3561 | 16.066 | 7.3552 | 0.00037011 | -0.00094505 | 0.51048 | 0.51046 | 0.51048 | 0.99922 | -0.0037794 | 0.99925 | -0.0036646 | 40.006
40 | 0.34941 | 0.16493 | -0.34939 | -0.16728 | 1.6666e-05 | -0.0023522 | 0.011192 | 0.011221 | 0.011221 | 0.99659 | 0.0051747 | 0.99655 | 0.0055732 | 5.1005
41 | 0.15787 | 0.076441 | -0.15787 | -0.076459 | 2.4992e-08 | -1.7085e-05 | 0.0050807 | 0.0050809 | 0.0050809 | 0.99659 | 0.0051747 | 0.99659 | 0.005176 | 2.3095
42 | 0.25327 | 0.12246 | -0.25327 | -0.12266 | 7.5824e-07 | -0.00020251 | 0.0081491 | 0.0081517 | 0.0081517 | 0.99655 | 0.0055732 | 0.99654 | 0.0055992 | 3.7053
43 | 0.096122 | 0.044818 | -0.096121 | -0.046554 | 9.2905e-07 | -0.0017359 | 0.0030722 | 0.0030938 | 0.0030938 | 0.99655 | 0.0055732 | 0.99654 | 0.0056539 | 1.4063
44 | 0.75527 | 0.34352 | -0.75524 | -0.34431 | 2.5978e-05 | -0.00079122 | 0.024031 | 0.02404 | 0.02404 | 0.99672 | 0.0040099 | 0.99669 | 0.004269 | 10.9274
45 | 10.4526 | 4.8119 | -10.451 | -4.8226 | 0.0015976 | -0.010632 | 0.33388 | 0.33402 | 0.33402 | 0.9949 | -0.20377 | 0.99474 | -0.20451 | 26.1773
46 | 10.451 | 4.8226 | -10.45 | -4.8291 | 0.00099144 | -0.006591 | 0.33402 | 0.33411 | 0.33411 | 0.99474 | -0.20451 | 0.99464 | -0.20496 | 26.1841
47 | -0.29943 | -0.14502 | 0.29943 | 0.14452 | 2.6514e-06 | -0.00049577 | 0.0096895 | 0.0096832 | 0.0096895 | 0.9912 | -0.21671 | 0.99121 | -0.21679 | 4.4043
48 | -0.52653 | -0.23726 | 0.52671 | 0.22594 | 0.00018161 | -0.011321 | 0.016819 | 0.016686 | 0.016819 | 0.99121 | -0.21679 | 0.99153 | -0.21916 | 7.6452
49 | 0.2271 | 0.092733 | -0.22705 | -0.10891 | 4.8252e-05 | -0.016173 | 0.0071441 | 0.0073354 | 0.0073354 | 0.99121 | -0.21679 | 0.99101 | -0.21529 | 3.3343
50 | -0.80875 | -0.3588 | 0.80924 | 0.34579 | 0.00049317 | -0.013008 | 0.025759 | 0.025606 | 0.025759 | 0.99153 | -0.21916 | 0.9921 | -0.22323 | 11.7087
51 | 0.28203 | 0.13286 | -0.28203 | -0.13393 | 5.0072e-06 | -0.0010656 | 0.0090767 | 0.00909 | 0.00909 | 0.99153 | -0.21916 | 0.99151 | -0.21901 | 4.1318
52 | 0.22705 | 0.10891 | -0.22705 | -0.10981 | 2.7802e-06 | -0.00090529 | 0.0073354 | 0.0073468 | 0.0073468 | 0.99101 | -0.21529 | 0.991 | -0.21518 | 3.3395
53 | 1.2171 | 0.58792 | -1.2169 | -0.58939 | 0.0001322 | -0.0014644 | 0.039329 | 0.039348 | 0.039348 | 0.9921 | -0.22323 | 0.992 | -0.22229 | 17.8854
54 | -5.4482 | -2.588 | 5.4539 | 2.5793 | 0.0056201 | -0.0086976 | 0.1755 | 0.17535 | 0.1755 | 0.9921 | -0.22323 | 0.99323 | -0.21104 | 48.482
55 | 3.4219 | 1.6543 | -3.4209 | -1.6555 | 0.0010674 | -0.001219 | 0.11059 | 0.11061 | 0.11061 | 0.9921 | -0.22323 | 0.99182 | -0.22052 | 50.2785
56 | 0.19113 | 0.089902 | -0.19112 | -0.091745 | 3.9812e-06 | -0.0018429 | 0.0061495 | 0.0061725 | 0.0061725 | 0.99151 | -0.21901 | 0.99149 | -0.21884 | 2.8057
57 | 0.097968 | 0.047295 | -0.097966 | -0.047447 | 2.343e-06 | -0.00015197 | 0.0031689 | 0.0031709 | 0.0031709 | 0.991 | -0.21518 | 0.99097 | -0.21534 | 1.5099
58 | 0.068953 | 0.031851 | -0.068953 | -0.032614 | 2.1131e-07 | -0.00076302 | 0.0022066 | 0.002216 | 0.002216 | 0.99364 | -0.20938 | 0.99364 | -0.20935 | 1.0073
59 | 8.2488 | 3.895 | -8.2455 | -3.9309 | 0.0033071 | -0.035867 | 0.26502 | 0.26549 | 0.26549 | 0.99364 | -0.20938 | 0.99323 | -0.21104 | 20.8064
60 | 0.080032 | 0.037981 | -0.080032 | -0.038761 | 2.937e-07 | -0.00077992 | 0.0025737 | 0.0025835 | 0.0025835 | 0.99364 | -0.20938 | 0.99364 | -0.20935 | 1.1743
61 | -8.3978 | -3.9648 | 8.4025 | 3.9156 | 0.0046843 | -0.049193 | 0.2698 | 0.26916 | 0.2698 | 0.99364 | -0.20938 | 0.99421 | -0.20692 | 21.1442
62 | 0.068953 | 0.032614 | -0.068952 | -0.033395 | 2.1828e-07 | -0.00078138 | 0.002216 | 0.0022258 | 0.0022258 | 0.99364 | -0.20935 | 0.99363 | -0.20933 | 1.0117
63 | 2.7916 | 1.3516 | -2.7914 | -1.352 | 0.00019525 | -0.00036594 | 0.090147 | 0.090152 | 0.090152 | 0.99323 | -0.21104 | 0.99316 | -0.21043 | 40.9782
64 | -8.4025 | -3.9156 | 8.4036 | 3.904 | 0.0011058 | -0.011657 | 0.26916 | 0.26901 | 0.26916 | 0.99421 | -0.20692 | 0.99435 | -0.20631 | 21.0941
65 | -8.5262 | -3.9634 | 8.5269 | 3.956 | 0.00071664 | -0.0073347 | 0.27296 | 0.27287 | 0.27296 | 0.99435 | -0.20631 | 0.99444 | -0.20592 | 21.3922
66 | 3.4209 | 1.6555 | -3.42 | -1.6564 | 0.00081457 | -0.00092925 | 0.11061 | 0.11063 | 0.11063 | 0.99182 | -0.22052 | 0.9916 | -0.21845 | 50.2852
67 | 0.19112 | 0.091745 | -0.19112 | -0.092565 | 1.7804e-06 | -0.0008197 | 0.0061725 | 0.0061829 | 0.0061829 | 0.99149 | -0.21884 | 0.99149 | -0.21876 | 2.8104
68 | 0.3314 | 0.15354 | -0.33139 | -0.15447 | 5.868e-06 | -0.00092807 | 0.010581 | 0.010592 | 0.010592 | 0.99648 | 0.0059917 | 0.99646 | 0.006132 | 4.8146
69 | -0.42162 | -0.19724 | 0.42163 | 0.19622 | 1.0456e-05 | -0.0010191 | 0.013485 | 0.013472 | 0.013485 | 0.99648 | 0.0059917 | 0.9965 | 0.0057934 | 6.1293
70 | 0.33139 | 0.15447 | -0.33137 | -0.15741 | 1.8671e-05 | -0.0029395 | 0.010592 | 0.010629 | 0.010629 | 0.99646 | 0.006132 | 0.99641 | 0.0065917 | 4.8311
71 | -0.42163 | -0.19622 | 0.4217 | 0.18902 | 7.3353e-05 | -0.0072041 | 0.013472 | 0.013385 | 0.013472 | 0.9965 | 0.0057934 | 0.99666 | 0.0044725 | 6.1236
72 | 0.08066 | 0.037204 | -0.080659 | -0.038332 | 4.2308e-07 | -0.0011282 | 0.0025734 | 0.0025873 | 0.0025873 | 0.99641 | 0.0065917 | 0.9964 | 0.006634 | 1.176
73 | 0.25071 | 0.12021 | -0.25071 | -0.12142 | 4.4596e-06 | -0.0012167 | 0.0080553 | 0.0080706 | 0.0080706 | 0.99641 | 0.0065917 | 0.99639 | 0.0067449 | 3.6685
74 | 0.078539 | 0.032826 | -0.078538 | -0.037042 | 1.4711e-06 | -0.0042157 | 0.0024655 | 0.0025151 | 0.0025151 | 0.99666 | 0.0044725 | 0.99664 | 0.0046053 | 1.1432
75 | -0.50024 | -0.22184 | 0.50025 | 0.22081 | 1.457e-05 | -0.0010268 | 0.01585 | 0.015838 | 0.01585 | 0.99666 | 0.0044725 | 0.99669 | 0.004269 | 7.2045
76 | 0.080659 | 0.038332 | -0.080659 | -0.039065 | 2.7741e-07 | -0.00073316 | 0.0025873 | 0.0025965 | 0.0025965 | 0.9964 | 0.006634 | 0.9964 | 0.0066633 | 1.1802
77 | 10.45 | 4.8291 | -10.4497 | -4.8315 | 0.00035742 | -0.0023748 | 0.33411 | 0.33414 | 0.33414 | 0.99464 | -0.20496 | 0.99461 | -0.20513 | 26.1866
78 | 0.078538 | 0.037042 | -0.078537 | -0.038037 | 3.5625e-07 | -0.00099543 | 0.0025151 | 0.0025276 | 0.0025276 | 0.99664 | 0.0046053 | 0.99664 | 0.0046436 | 1.1489
79 | 10.0952 | 4.6598 | -10.0951 | -4.6604 | 8.3397e-05 | -0.00059734 | 0.32271 | 0.32272 | 0.32272 | 0.99461 | -0.20513 | 0.9946 | -0.20517 | 25.2915
80 | -0.65252 | -0.31603 | 0.65253 | 0.31549 | 1.3616e-05 | -0.00053889 | 0.021055 | 0.021049 | 0.021055 | 0.99402 | -0.20251 | 0.99404 | -0.20269 | 9.5706
81 | -1.566 | -0.72032 | 1.5666 | 0.71585 | 0.0006597 | -0.0044642 | 0.050057 | 0.05 | 0.050057 | 0.99404 | -0.20269 | 0.99444 | -0.20592 | 22.753
82 | 0.91343 | 0.40483 | -0.91305 | -0.41268 | 0.00038081 | -0.007852 | 0.029015 | 0.029109 | 0.029109 | 0.99404 | -0.20269 | 0.99365 | -0.19969 | 13.2315
83 | -10.0935 | -4.6719 | 10.0951 | 4.6604 | 0.0015971 | -0.011432 | 0.32287 | 0.32272 | 0.32287 | 0.99444 | -0.20592 | 0.9946 | -0.20517 | 25.3032
84 | 0.26516 | 0.12766 | -0.26516 | -0.12842 | 3.1871e-06 | -0.00076808 | 0.0085498 | 0.0085595 | 0.0085595 | 0.99365 | -0.19969 | 0.99364 | -0.19958 | 3.8907
85 | 0.64788 | 0.28502 | -0.64726 | -0.3105 | 0.00062423 | -0.025476 | 0.020563 | 0.020875 | 0.020875 | 0.99365 | -0.19969 | 0.99275 | -0.19225 | 9.4885
86 | 0.2956 | 0.14024 | -0.29559 | -0.14242 | 1.1238e-05 | -0.0021788 | 0.0095138 | 0.0095411 | 0.0095411 | 0.99275 | -0.19225 | 0.99272 | -0.19192 | 4.3369
87 | 0.35166 | 0.17026 | -0.35165 | -0.17031 | 1.1256e-05 | -5.0533e-05 | 0.011361 | 0.011362 | 0.011362 | 0.99275 | -0.19225 | 0.99272 | -0.19246 | 5.4104
88 | 0.29559 | 0.14242 | -0.29558 | -0.14316 | 3.8332e-06 | -0.00074027 | 0.0095411 | 0.0095505 | 0.0095505 | 0.99272 | -0.19192 | 0.99271 | -0.19181 | 4.3411
89 | -0.098525 | -0.047718 | 0.098526 | 0.045697 | 1.1198e-06 | -0.002021 | 0.0031602 | 0.0031352 | 0.0031602 | 0.99999 | 9.434e-05 | 1 | 0 | 1.4365
90 | 16.1743 | 7.3671 | -16.1626 | -7.3966 | 0.011729 | -0.029578 | 0.51306 | 0.5135 | 0.5135 | 1 | 0 | 0.99925 | -0.0036646 | 40.2428
91 | 0.096589 | 0.041449 | -0.096587 | -0.04563 | 2.1935e-06 | -0.0041805 | 0.0030365 | 0.0030861 | 0.0030861 | 0.99925 | -0.0036646 | 0.99922 | -0.0034979 | 1.4028
92 | 0.096587 | 0.04563 | -0.096586 | -0.046779 | 6.1581e-07 | -0.0011491 | 0.0030861 | 0.0031004 | 0.0031004 | 0.99922 | -0.0034979 | 0.99922 | -0.0034439 | 1.4093

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 16.2868 | 7.4233

## res_load
| p_mw | q_mvar
0 | 0.34323 | 0.16623
1 | 0.33865 | 0.16402
2 | 0.20028 | 0.096999
3 | 0.12407 | 0.060089
4 | 0.15226 | 0.073741
5 | 0.23242 | 0.11257
6 | 0.13937 | 0.067498
7 | 0.071503 | 0.034631
8 | 0.38172 | 0.18487
9 | 0.29099 | 0.14093
10 | 0.11036 | 0.053449
11 | 0.14598 | 0.070702
12 | 0.71629 | 0.34691
13 | 0.17025 | 0.082457
14 | 0.25193 | 0.12201
15 | 0.32395 | 0.1569
16 | 0.15787 | 0.076459
17 | 0.25327 | 0.12266
18 | 0.096121 | 0.046554
19 | 0.085398 | 0.04136
20 | 0.13504 | 0.065403
21 | 0.098762 | 0.047832
22 | 0.29943 | 0.14502
23 | 0.090901 | 0.044026
24 | 0.12908 | 0.062517
25 | 0.080032 | 0.038761
26 | 0.12259 | 0.059375
27 | 3.42 | 1.6564
28 | 2.7914 | 1.352
29 | 1.2169 | 0.58939
30 | 0.097966 | 0.047447
31 | 0.090219 | 0.043695
32 | 0.25071 | 0.12142
33 | 0.25499 | 0.1235
34 | 0.078537 | 0.038037
35 | 0.080659 | 0.039065
36 | 0.35447 | 0.17168
37 | 0.65252 | 0.31603
38 | 0.35165 | 0.17031
39 | 0.26516 | 0.12842
40 | 0.29558 | 0.14316
41 | 0.068952 | 0.033395
42 | 0.098525 | 0.047718
43 | 0.096586 | 0.046779
44 | 0.19112 | 0.092565

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1