## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_623_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_623_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_623_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_623_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_623_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_623_0_node_61 | 20 | n |  | TRUE
6 | bus_MV_623_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_623_0_node_13 | 20 | n |  | TRUE
8 | bus_MV_623_0_node_64 | 20 | n |  | TRUE
9 | bus_MV_623_0_node_12 | 20 | n |  | TRUE
10 | bus_MV_623_0_node_63 | 20 | n |  | TRUE
11 | bus_MV_623_0_node_56 | 20 | n |  | TRUE
12 | bus_MV_623_0_node_16 | 20 | n |  | TRUE
13 | bus_MV_623_0_node_55 | 20 | n |  | TRUE
14 | bus_MV_623_0_node_65 | 20 | n |  | TRUE
15 | bus_MV_623_0_node_119 | 20 | n |  | TRUE
16 | bus_MV_623_0_node_6 | 20 | n |  | TRUE
17 | bus_MV_623_0_node_7 | 20 | n |  | TRUE
18 | bus_MV_623_0_node_8 | 20 | n |  | TRUE
19 | bus_MV_623_0_node_9 | 20 | n |  | TRUE
20 | bus_MV_623_0_node_24 | 20 | n |  | TRUE
21 | bus_MV_623_0_node_67 | 20 | n |  | TRUE
22 | bus_MV_623_0_node_10 | 20 | n |  | TRUE
23 | bus_MV_623_0_node_20 | 20 | n |  | TRUE
24 | bus_MV_623_0_node_21 | 20 | n |  | TRUE
25 | bus_MV_623_0_node_22 | 20 | n |  | TRUE
26 | bus_MV_623_0_node_18 | 20 | n |  | TRUE
27 | bus_MV_623_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_623_0_node_19 | 20 | n |  | TRUE
29 | bus_MV_623_0_node_23 | 20 | n |  | TRUE
30 | bus_MV_623_0_node_32 | 20 | n |  | TRUE
31 | bus_MV_623_0_node_59 | 20 | n |  | TRUE
32 | bus_MV_623_0_node_54 | 20 | n |  | TRUE
33 | bus_MV_623_0_node_62 | 20 | n |  | TRUE
34 | bus_MV_623_0_node_66 | 20 | n |  | TRUE
35 | bus_MV_623_0_node_14 | 20 | n |  | TRUE
36 | bus_MV_623_0_node_33 | 20 | n |  | TRUE
37 | bus_MV_623_0_node_69 | 20 | n |  | TRUE
38 | bus_MV_623_0_node_25 | 20 | n |  | TRUE
39 | bus_MV_623_0_node_27 | 20 | n |  | TRUE
40 | bus_MV_623_0_node_28 | 20 | n |  | TRUE
41 | bus_MV_623_0_node_29 | 20 | n |  | TRUE
42 | bus_MV_623_0_node_30 | 20 | n |  | TRUE
43 | bus_MV_623_0_node_87 | 20 | n |  | TRUE
44 | bus_MV_623_0_node_86 | 20 | n |  | TRUE
45 | bus_MV_623_0_node_85 | 20 | n |  | TRUE
46 | bus_MV_623_0_node_31 | 20 | n |  | TRUE
47 | bus_MV_623_0_node_43 | 20 | n |  | TRUE
48 | bus_MV_623_0_node_38 | 20 | n |  | TRUE
49 | bus_MV_623_0_node_39 | 20 | n |  | TRUE
50 | bus_MV_623_0_node_99 | 20 | n |  | TRUE
51 | bus_MV_623_0_node_35 | 20 | n |  | TRUE
52 | bus_MV_623_0_node_82 | 20 | n |  | TRUE
53 | bus_MV_623_0_node_100 | 20 | n |  | TRUE
54 | bus_MV_623_0_node_34 | 20 | n |  | TRUE
55 | bus_MV_623_0_node_68 | 20 | n |  | TRUE
56 | bus_MV_623_0_node_37 | 20 | n |  | TRUE
57 | bus_MV_623_0_node_98 | 20 | n |  | TRUE
58 | bus_MV_623_0_node_50 | 20 | n |  | TRUE
59 | bus_MV_623_0_node_41 | 20 | n |  | TRUE
60 | bus_MV_623_0_node_81 | 20 | n |  | TRUE
61 | bus_MV_623_0_node_42 | 20 | n |  | TRUE
62 | bus_MV_623_0_node_40 | 20 | n |  | TRUE
63 | bus_MV_623_0_node_44 | 20 | n |  | TRUE
64 | bus_MV_623_0_node_46 | 20 | n |  | TRUE
65 | bus_MV_623_0_node_48 | 20 | n |  | TRUE
66 | bus_MV_623_0_node_114 | 20 | n |  | TRUE
67 | bus_MV_623_0_node_112 | 20 | n |  | TRUE
68 | bus_MV_623_0_node_109 | 20 | n |  | TRUE
69 | bus_MV_623_0_node_47 | 20 | n |  | TRUE
70 | bus_MV_623_0_node_110 | 20 | n |  | TRUE
71 | bus_MV_623_0_node_92 | 20 | n |  | TRUE
72 | bus_MV_623_0_node_94 | 20 | n |  | TRUE
73 | bus_MV_623_0_node_97 | 20 | n |  | TRUE
74 | bus_MV_623_0_node_111 | 20 | n |  | TRUE
75 | bus_MV_623_0_node_53 | 20 | n |  | TRUE
76 | bus_MV_623_0_node_93 | 20 | n |  | TRUE
77 | bus_MV_623_0_node_51 | 20 | n |  | TRUE
78 | bus_MV_623_0_node_52 | 20 | n |  | TRUE
79 | bus_MV_623_0_node_91 | 20 | n |  | TRUE
80 | bus_MV_623_0_node_95 | 20 | n |  | TRUE
81 | bus_MV_623_0_node_120 | 20 | n |  | TRUE
82 | bus_MV_623_0_node_96 | 20 | n |  | TRUE
83 | bus_MV_623_0_node_122 | 20 | n |  | TRUE
84 | bus_MV_623_0_node_113 | 20 | n |  | TRUE
85 | bus_MV_623_0_node_88 | 20 | n |  | TRUE
86 | bus_MV_623_0_node_89 | 20 | n |  | TRUE
87 | bus_MV_623_0_node_90 | 20 | n |  | TRUE
88 | bus_MV_623_0_node_57 | 20 | n |  | TRUE
89 | bus_MV_623_0_node_58 | 20 | n |  | TRUE
90 | bus_MV_623_0_node_101 | 20 | n |  | TRUE
91 | bus_MV_623_0_node_102 | 20 | n |  | TRUE
92 | bus_MV_623_0_node_76 | 20 | n |  | TRUE
93 | bus_MV_623_0_node_70 | 20 | n |  | TRUE
94 | bus_MV_623_0_node_71 | 20 | n |  | TRUE
95 | bus_MV_623_0_node_72 | 20 | n |  | TRUE
96 | bus_MV_623_0_node_104 | 20 | n |  | TRUE
97 | bus_MV_623_0_node_107 | 20 | n |  | TRUE
98 | bus_MV_623_0_node_103 | 20 | n |  | TRUE
99 | bus_MV_623_0_node_84 | 20 | n |  | TRUE
100 | bus_MV_623_0_node_73 | 20 | n |  | TRUE
101 | bus_MV_623_0_node_74 | 20 | n |  | TRUE
102 | bus_MV_623_0_node_75 | 20 | n |  | TRUE
103 | bus_MV_623_0_node_79 | 20 | n |  | TRUE
104 | bus_MV_623_0_node_78 | 20 | n |  | TRUE
105 | bus_MV_623_0_node_83 | 20 | n |  | TRUE
106 | bus_MV_623_0_node_80 | 20 | n |  | TRUE
107 | bus_MV_623_0_node_77 | 20 | n |  | TRUE
108 | bus_MV_623_0_node_108 | 20 | n |  | TRUE
109 | bus_MV_623_0_node_105 | 20 | n |  | TRUE
110 | bus_MV_623_0_node_115 | 20 | n |  | TRUE
111 | bus_MV_623_0_node_116 | 20 | n |  | TRUE
112 | bus_MV_623_0_node_106 | 20 | n |  | TRUE
113 | bus_MV_623_0_node_117 | 20 | n |  | TRUE
114 | bus_MV_623_0_node_121 | 20 | n |  | TRUE
115 | bus_MV_623_0_node_118 | 20 | n |  | TRUE
116 | bus_HV_623_0_node_37 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_623_0_load_0 | 0 | 0.21945 | 0.10628 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_623_0_load_61 | 5 | 0.13077 | 0.063336 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_623_0_load_5 | 6 | 0.2559 | 0.12394 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_623_0_load_63 | 10 | 0.16608 | 0.080434 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_623_0_load_56 | 11 | 0.11871 | 0.057492 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_623_0_load_55 | 13 | 0.093153 | 0.045116 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_623_0_load_65 | 14 | 0.071321 | 0.034542 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_623_0_load_119 | 15 | 0.28376 | 0.13743 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_623_0_load_9 | 19 | 0.34858 | 0.16883 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_623_0_load_67 | 21 | 0.24854 | 0.12037 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_623_0_load_10 | 22 | 0.19056 | 0.092295 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_623_0_load_17 | 27 | 0.22951 | 0.11116 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_623_0_load_32 | 30 | 0.097555 | 0.047248 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_623_0_load_59 | 31 | 0.24019 | 0.11633 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_623_0_load_54 | 32 | 0.1161 | 0.056231 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_623_0_load_62 | 33 | 1.2279 | 0.59472 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_623_0_load_66 | 34 | 0.11901 | 0.057639 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_623_0_load_14 | 35 | 0.14061 | 0.068102 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_623_0_load_69 | 37 | 0.11137 | 0.05394 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_623_0_load_25 | 38 | 0.34965 | 0.16934 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_623_0_load_27 | 39 | 0.10784 | 0.052231 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_623_0_load_87 | 43 | 0.39877 | 0.19313 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_623_0_load_85 | 45 | 0.12649 | 0.061261 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_623_0_load_43 | 47 | 0.18867 | 0.091375 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_623_0_load_99 | 50 | 0.42274 | 0.20474 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_623_0_load_100 | 53 | 0.087721 | 0.042485 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_623_0_load_68 | 55 | 0.089857 | 0.04352 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_623_0_load_98 | 57 | 0.10593 | 0.051304 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_623_0_load_50 | 58 | 0.38243 | 0.18522 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_623_0_load_81 | 60 | 0.30902 | 0.14967 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_623_0_load_40 | 62 | 0.10918 | 0.05288 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_623_0_load_44 | 63 | 0.36967 | 0.17904 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_623_0_load_114 | 66 | 0.40341 | 0.19538 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_623_0_load_112 | 67 | 0.30591 | 0.14816 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_623_0_load_110 | 70 | 0.3056 | 0.14801 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_623_0_load_92 | 71 | 0.11049 | 0.053511 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_623_0_load_111 | 74 | 0.30175 | 0.14614 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_623_0_load_93 | 76 | 0.13259 | 0.064218 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_623_0_load_51 | 77 | 0.16137 | 0.078156 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_623_0_load_91 | 79 | 0.32573 | 0.15776 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_623_0_load_120 | 81 | 0.33367 | 0.16161 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_623_0_load_122 | 83 | 0.38235 | 0.18518 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_623_0_load_113 | 84 | 0.25231 | 0.1222 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_623_0_load_88 | 85 | 0.176 | 0.08524 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_623_0_load_101 | 90 | 0.29723 | 0.14395 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_623_0_load_102 | 91 | 0.15331 | 0.074252 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_623_0_load_76 | 92 | 0.13035 | 0.063133 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_623_0_load_70 | 93 | 0.20901 | 0.10123 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_623_0_load_103 | 98 | 0.19728 | 0.095545 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_623_0_load_84 | 99 | 0.14631 | 0.07086 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_623_0_load_79 | 103 | 0.28893 | 0.13994 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_623_0_load_78 | 104 | 0.20355 | 0.098585 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_623_0_load_83 | 105 | 0.47456 | 0.22984 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_623_0_load_80 | 106 | 0.085754 | 0.041532 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_623_0_load_77 | 107 | 0.079412 | 0.038461 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_623_0_load_116 | 111 | 0.38161 | 0.18482 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_623_0_load_117 | 113 | 0.1822 | 0.088242 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_623_0_load_121 | 114 | 0.30864 | 0.14948 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_623_0_load_118 | 115 | 0.30135 | 0.14595 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_623_0_line_0 |  | 0 | 1 | 0.064945 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_623_0_line_1 |  | 0 | 2 | 0.086932 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_623_0_line_2 |  | 1 | 3 | 0.25568 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_623_0_line_3 |  | 2 | 4 | 0.13187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_623_0_line_4 |  | 3 | 6 | 0.054393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_623_0_line_5 |  | 3 | 7 | 0.39019 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_623_0_line_6 |  | 4 | 5 | 0.0022101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_623_0_line_7 |  | 5 | 11 | 0.15313 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_623_0_line_8 |  | 7 | 9 | 0.019122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_623_0_line_9 |  | 8 | 9 | 0.12568 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_623_0_line_10 |  | 8 | 10 | 0.12202 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_623_0_line_11 |  | 9 | 14 | 0.25735 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_623_0_line_12 |  | 10 | 15 | 0.091498 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_623_0_line_13 |  | 11 | 12 | 0.072336 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_623_0_line_14 |  | 11 | 13 | 0.029587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_623_0_line_15 |  | 12 | 35 | 0.12447 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_623_0_line_16 |  | 13 | 88 | 0.062444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_623_0_line_17 |  | 15 | 17 | 0.40942 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_623_0_line_18 |  | 16 | 17 | 0.06734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_623_0_line_19 |  | 16 | 18 | 0.1479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_623_0_line_20 |  | 17 | 19 | 0.083715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_623_0_line_21 |  | 18 | 20 | 0.022072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_623_0_line_22 |  | 18 | 21 | 0.025538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_623_0_line_23 |  | 19 | 22 | 0.28731 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_623_0_line_24 |  | 20 | 34 | 0.062782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_623_0_line_25 |  | 20 | 23 | 0.69305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_623_0_line_26 |  | 23 | 24 | 0.2727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_623_0_line_27 |  | 23 | 25 | 0.18667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_623_0_line_28 |  | 23 | 26 | 0.56058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_623_0_line_29 |  | 24 | 29 | 0.27719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_623_0_line_30 |  | 24 | 31 | 0.029501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_623_0_line_31 |  | 25 | 32 | 0.076986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_623_0_line_32 |  | 26 | 27 | 0.064971 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_623_0_line_33 |  | 28 | 29 | 0.30614 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
34 | MV_623_0_line_34 |  | 28 | 30 | 0.01304 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_623_0_line_35 |  | 29 | 33 | 0.027416 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_623_0_line_36 |  | 30 | 36 | 0.028208 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
37 | MV_623_0_line_37 |  | 33 | 37 | 0.20554 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
38 | MV_623_0_line_38 |  | 36 | 51 | 0.077458 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
39 | MV_623_0_line_39 |  | 37 | 61 | 0.070482 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
40 | MV_623_0_line_40 |  | 38 | 39 | 0.021915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_623_0_line_41 |  | 38 | 40 | 0.042091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_623_0_line_42 |  | 39 | 41 | 0.27356 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_623_0_line_43 |  | 40 | 42 | 0.093881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_623_0_line_44 |  | 41 | 43 | 0.008999 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_623_0_line_45 |  | 41 | 44 | 0.020527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_623_0_line_46 |  | 42 | 46 | 0.22127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_623_0_line_47 |  | 42 | 47 | 0.084122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_623_0_line_48 |  | 44 | 45 | 0.029572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_623_0_line_49 |  | 46 | 48 | 0.31344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_623_0_line_50 |  | 46 | 49 | 0.11384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_623_0_line_51 |  | 46 | 50 | 0.063129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_623_0_line_52 |  | 48 | 58 | 0.025848 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_623_0_line_53 |  | 49 | 59 | 0.059743 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_623_0_line_54 |  | 51 | 52 | 0.099491 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
55 | MV_623_0_line_55 |  | 51 | 53 | 0.042714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_623_0_line_56 |  | 51 | 54 | 0.19639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_623_0_line_57 |  | 52 | 60 | 0.046045 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
58 | MV_623_0_line_58 |  | 54 | 55 | 0.0022159 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_623_0_line_59 |  | 56 | 57 | 0.02329 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
60 | MV_623_0_line_60 |  | 57 | 61 | 0.2173 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
61 | MV_623_0_line_61 |  | 59 | 61 | 0.31645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_623_0_line_62 |  | 59 | 62 | 0.022455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_623_0_line_63 |  | 60 | 106 | 0.0027804 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_623_0_line_64 |  | 63 | 64 | 0.065564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_623_0_line_65 |  | 64 | 65 | 0.29357 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_623_0_line_66 |  | 65 | 67 | 0.051641 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_623_0_line_67 |  | 65 | 72 | 0.18493 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_623_0_line_68 |  | 66 | 67 | 0.14448 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_623_0_line_69 |  | 66 | 68 | 0.014508 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_623_0_line_70 |  | 68 | 109 | 0.35489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_623_0_line_71 |  | 69 | 70 | 0.011295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_623_0_line_72 |  | 69 | 71 | 0.41928 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_623_0_line_73 |  | 71 | 76 | 0.06183 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_623_0_line_74 |  | 72 | 73 | 0.3068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_623_0_line_75 |  | 72 | 74 | 0.0069265 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_623_0_line_76 |  | 72 | 75 | 0.30492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_623_0_line_77 |  | 73 | 84 | 0.057637 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_623_0_line_78 |  | 73 | 80 | 0.36698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_623_0_line_79 |  | 73 | 82 | 0.16389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_623_0_line_80 |  | 75 | 79 | 0.17291 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_623_0_line_81 |  | 75 | 78 | 0.60241 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_623_0_line_82 |  | 76 | 79 | 0.039744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_623_0_line_83 |  | 77 | 78 | 0.20012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_623_0_line_84 |  | 79 | 87 | 0.071643 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_623_0_line_85 |  | 80 | 81 | 0.019318 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_623_0_line_86 |  | 81 | 108 | 0.005506 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
87 | MV_623_0_line_87 |  | 82 | 83 | 0.012928 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_623_0_line_88 |  | 85 | 86 | 0.09264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_623_0_line_89 |  | 86 | 87 | 0.012572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_623_0_line_90 |  | 88 | 89 | 0.17659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_623_0_line_91 |  | 89 | 90 | 0.056597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_623_0_line_92 |  | 91 | 92 | 0.081767 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
93 | MV_623_0_line_93 |  | 92 | 101 | 0.052556 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_623_0_line_94 |  | 93 | 94 | 0.020154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_623_0_line_95 |  | 94 | 95 | 0.085021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_623_0_line_96 |  | 94 | 96 | 0.0924 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_623_0_line_97 |  | 95 | 99 | 0.1275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_623_0_line_98 |  | 96 | 97 | 0.44892 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
99 | MV_623_0_line_99 |  | 96 | 98 | 0.034081 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
100 | MV_623_0_line_100 |  | 97 | 114 | 0.004831 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_623_0_line_101 |  | 97 | 112 | 0.45796 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
102 | MV_623_0_line_102 |  | 98 | 100 | 0.01446 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
103 | MV_623_0_line_103 |  | 99 | 105 | 0.058012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_623_0_line_104 |  | 100 | 101 | 0.14163 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
105 | MV_623_0_line_105 |  | 101 | 102 | 0.15795 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
106 | MV_623_0_line_106 |  | 102 | 103 | 0.058013 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
107 | MV_623_0_line_107 |  | 102 | 104 | 0.017521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_623_0_line_108 |  | 103 | 106 | 0.045845 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
109 | MV_623_0_line_109 |  | 104 | 107 | 0.0078097 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_623_0_line_110 |  | 108 | 112 | 0.42232 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
111 | MV_623_0_line_111 |  | 109 | 110 | 0.96789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_623_0_line_112 |  | 109 | 111 | 0.009484 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_623_0_line_113 |  | 110 | 115 | 0.004216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_623_0_line_114 |  | 112 | 113 | 0.022982 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_623_0_trafo_37 | 25 MVA 110/20 kV | 116 | 56 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2533802.6295 | 1155641.2547
1 | 2533812.6677 | 1155588.1704
2 | 2533718.6281 | 1155663.6373
3 | 2533847.6326 | 1155429.7759
4 | 2533634.9164 | 1155609.4535
5 | 2533633.2492 | 1155610.9044
6 | 2533854.0468 | 1155376.9985
7 | 2534220.9277 | 1155543.3521
8 | 2534242.6132 | 1155623.381
9 | 2534227.1563 | 1155555.2905
10 | 2534311.8947 | 1155525.3831
11 | 2533480.162 | 1155607.4108
12 | 2533465.7422 | 1155657.1171
13 | 2533467.7677 | 1155580.5452
14 | 2534417.5695 | 1155384.0764
15 | 2534265.8639 | 1155446.307
16 | 2533868.1765 | 1155346.415
17 | 2533889.3439 | 1155285.493
18 | 2533763.5312 | 1155288.2576
19 | 2533910.9672 | 1155204.6218
20 | 2533760.95 | 1155266.3407
21 | 2533767.2851 | 1155313.5184
22 | 2534028.9028 | 1154942.6374
23 | 2533332.722 | 1155445.1632
24 | 2533228.1437 | 1155342.3119
25 | 2533380.8802 | 1155289.8879
26 | 2533360.2719 | 1155097.8994
27 | 2533305.7645 | 1155133.2568
28 | 2533051.531 | 1155413.9495
29 | 2533128.1741 | 1155227.2598
30 | 2533039.8902 | 1155408.0093
31 | 2533241.8932 | 1155318.4288
32 | 2533388.6976 | 1155218.0971
33 | 2533119.5135 | 1155251.1474
34 | 2533738.829 | 1155212.2353
35 | 2533344.8771 | 1155686.8617
36 | 2533018.6359 | 1155426.6231
37 | 2532923.1724 | 1155190.3499
38 | 2532361.7624 | 1155235.1561
39 | 2532354.1337 | 1155214.6122
40 | 2532389.4432 | 1155214.9846
41 | 2532131.858 | 1155055.1437
42 | 2532462.8866 | 1155175.7928
43 | 2532126.6404 | 1155062.4845
44 | 2532120.6922 | 1155041.8291
45 | 2532133.0395 | 1155016.0284
46 | 2532583.3514 | 1155340.1423
47 | 2532428.513 | 1155099.3257
48 | 2532608.8444 | 1155589.3387
49 | 2532663.2209 | 1155339.8134
50 | 2532627.466 | 1155294.9851
51 | 2533010.2922 | 1155489.3618
52 | 2533014.6333 | 1155560.1748
53 | 2533043.6045 | 1155508.4335
54 | 2532889.2405 | 1155417.3948
55 | 2532890.7318 | 1155419.0337
56 | 2532777.2015 | 1155428.6199
57 | 2532790.1164 | 1155409.772
58 | 2532633.7247 | 1155582.3336
59 | 2532708.7649 | 1155301.1486
60 | 2532981.1807 | 1155591.8138
61 | 2532854.4275 | 1155202.2092
62 | 2532693.7882 | 1155284.3848
63 | 2531845.9316 | 1155914.9338
64 | 2531831.0462 | 1155851.5563
65 | 2532043.1362 | 1155840.2257
66 | 2532171.7869 | 1155985.8753
67 | 2532067.7408 | 1155885.6283
68 | 2532186.3018 | 1155986.8898
69 | 2531630.7257 | 1155894.8449
70 | 2531619.7353 | 1155897.5825
71 | 2531736.4267 | 1155489.1098
72 | 2532083.5947 | 1155659.7795
73 | 2532301.0325 | 1155476.4802
74 | 2532090.4565 | 1155658.8347
75 | 2531935.8808 | 1155455.1371
76 | 2531727.0873 | 1155427.9889
77 | 2531790.0958 | 1154872.0333
78 | 2531776.4581 | 1155055.2118
79 | 2531766.2866 | 1155421.4329
80 | 2532316.2501 | 1155732.3838
81 | 2532315.5317 | 1155751.6693
82 | 2532171.0064 | 1155511.2878
83 | 2532159.3493 | 1155516.878
84 | 2532350.803 | 1155505.5469
85 | 2531655.2886 | 1155400.572
86 | 2531733.088 | 1155350.279
87 | 2531744.1601 | 1155353.9664
88 | 2533442.8293 | 1155523.3081
89 | 2533322.452 | 1155538.5064
90 | 2533321.4795 | 1155483.3757
91 | 2533054.7136 | 1155745.5973
92 | 2532973.0659 | 1155741.1854
93 | 2532912.381 | 1155853.3552
94 | 2532895.0694 | 1155856.0389
95 | 2532930.2807 | 1155918.4469
96 | 2532828.3174 | 1155792.1493
97 | 2532624.1539 | 1156052.8902
98 | 2532856.9497 | 1155773.6635
99 | 2532982.1824 | 1156003.0039
100 | 2532863.2619 | 1155786.678
101 | 2532948.0963 | 1155767.1867
102 | 2532927.3107 | 1155674.4675
103 | 2532955.6345 | 1155633.073
104 | 2532939.7437 | 1155686.8133
105 | 2532966.1921 | 1156058.7682
106 | 2532979.1606 | 1155593.7244
107 | 2532934.0672 | 1155692.177
108 | 2532315.2102 | 1155757.1648
109 | 2532395.0238 | 1156184.3586
110 | 2532119.3856 | 1156335.1828
111 | 2532403.0111 | 1156179.2103
112 | 2532538.1399 | 1155873.3669
113 | 2532560.9927 | 1155875.8006
114 | 2532619.4035 | 1156051.9429
115 | 2532116.8236 | 1156338.5358
116 | 2532777.2015 | 1155428.6199

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98819 | -0.066341 | 0.21945 | 0.10628
1 | 0.98827 | -0.06708 | 0 | 0
2 | 0.98805 | -0.067278 | 0 | 0
3 | 0.9886 | -0.069923 | 0 | 0
4 | 0.98792 | -0.066112 | 0 | 0
5 | 0.98792 | -0.066093 | 0.13077 | 0.063336
6 | 0.98858 | -0.069755 | 0.2559 | 0.12394
7 | 0.98955 | -0.063124 | 0 | 0
8 | 0.98979 | -0.065186 | 0 | 0
9 | 0.98958 | -0.06339 | 0 | 0
10 | 0.99 | -0.066906 | 0.16608 | 0.080434
11 | 0.98773 | -0.067451 | 0.11871 | 0.057492
12 | 0.98771 | -0.067331 | 0 | 0
13 | 0.98771 | -0.067324 | 0.093153 | 0.045116
14 | 0.98956 | -0.063216 | 0.071321 | 0.034542
15 | 0.99027 | -0.064947 | 0.28376 | 0.13743
16 | 0.99188 | -0.056489 | 0 | 0
17 | 0.99168 | -0.054752 | 0 | 0
18 | 0.99231 | -0.060278 | 0 | 0
19 | 0.99162 | -0.05421 | 0.34858 | 0.16883
20 | 0.99239 | -0.060906 | 0 | 0
21 | 0.99231 | -0.060202 | 0.24854 | 0.12037
22 | 0.99151 | -0.054887 | 0.19056 | 0.092295
23 | 0.99477 | -0.081138 | 0 | 0
24 | 0.99582 | -0.089667 | 0 | 0
25 | 0.99474 | -0.080924 | 0 | 0
26 | 0.9946 | -0.079824 | 0 | 0
27 | 0.99457 | -0.080006 | 0.22951 | 0.11116
28 | 0.99649 | -0.10825 | 0 | 0
29 | 0.99698 | -0.09899 | 0 | 0
30 | 0.99647 | -0.10864 | 0.097555 | 0.047248
31 | 0.99581 | -0.089582 | 0.24019 | 0.11633
32 | 0.99473 | -0.080821 | 0.1161 | 0.056231
33 | 0.99704 | -0.097791 | 1.2279 | 0.59472
34 | 0.99238 | -0.060819 | 0.11901 | 0.057639
35 | 0.98768 | -0.067549 | 0.14061 | 0.068102
36 | 0.99643 | -0.10948 | 0 | 0
37 | 0.99824 | -0.056395 | 0.11137 | 0.05394
38 | 0.99657 | -0.04008 | 0.34965 | 0.16934
39 | 0.99655 | -0.039916 | 0.10784 | 0.052231
40 | 0.99662 | -0.040571 | 0 | 0
41 | 0.99627 | -0.041702 | 0 | 0
42 | 0.99674 | -0.041657 | 0 | 0
43 | 0.99627 | -0.041658 | 0.39877 | 0.19313
44 | 0.99627 | -0.041671 | 0 | 0
45 | 0.99626 | -0.041627 | 0.12649 | 0.061261
46 | 0.99707 | -0.044634 | 0 | 0
47 | 0.99672 | -0.041471 | 0.18867 | 0.091375
48 | 0.99691 | -0.043267 | 0 | 0
49 | 0.99735 | -0.047174 | 0 | 0
50 | 0.99703 | -0.044316 | 0.42274 | 0.20474
51 | 0.99631 | -0.11178 | 0 | 0
52 | 0.99615 | -0.11466 | 0 | 0
53 | 0.9963 | -0.11174 | 0.087721 | 0.042485
54 | 0.99628 | -0.1116 | 0 | 0
55 | 0.99628 | -0.1116 | 0.089857 | 0.04352
56 | 1 | 0 | -14.1865 | -6.4847
57 | 0.99993 | -0.0013301 | 0.10593 | 0.051304
58 | 0.9969 | -0.043387 | 0.38243 | 0.18522
59 | 0.99758 | -0.045613 | 0 | 0
60 | 0.99608 | -0.11599 | 0.30902 | 0.14967
61 | 0.99842 | -0.052963 | 0 | 0
62 | 0.99758 | -0.045584 | 0.10918 | 0.05288
63 | 0.99003 | -0.13475 | 0.36967 | 0.17904
64 | 0.99006 | -0.13504 | 0 | 0
65 | 0.9902 | -0.13627 | 0 | 0
66 | 0.98976 | -0.13963 | 0.40341 | 0.19538
67 | 0.99006 | -0.1373 | 0.30591 | 0.14816
68 | 0.98975 | -0.13954 | 0 | 0
69 | 0.98968 | -0.13165 | 0 | 0
70 | 0.98967 | -0.13161 | 0.3056 | 0.14801
71 | 0.98993 | -0.13005 | 0.11049 | 0.053511
72 | 0.99083 | -0.13161 | 0 | 0
73 | 0.99212 | -0.14234 | 0 | 0
74 | 0.99083 | -0.13163 | 0.30175 | 0.14614
75 | 0.99036 | -0.12766 | 0 | 0
76 | 0.98998 | -0.12973 | 0.13259 | 0.064218
77 | 0.9902 | -0.12657 | 0.16137 | 0.078156
78 | 0.99024 | -0.12694 | 0 | 0
79 | 0.99001 | -0.12999 | 0.32573 | 0.15776
80 | 0.99395 | -0.15768 | 0 | 0
81 | 0.99405 | -0.15848 | 0.33367 | 0.16161
82 | 0.99204 | -0.1416 | 0 | 0
83 | 0.99203 | -0.14166 | 0.38235 | 0.18518
84 | 0.99209 | -0.14252 | 0.25231 | 0.1222
85 | 0.98997 | -0.12964 | 0.176 | 0.08524
86 | 0.98999 | -0.12983 | 0 | 0
87 | 0.98999 | -0.12985 | 0 | 0
88 | 0.98769 | -0.067121 | 0 | 0
89 | 0.98762 | -0.066516 | 0 | 0
90 | 0.9876 | -0.066313 | 0.29723 | 0.14395
91 | 0.9956 | -0.12675 | 0.15331 | 0.074252
92 | 0.99562 | -0.1266 | 0.13035 | 0.063133
93 | 0.9952 | -0.13472 | 0.20901 | 0.10123
94 | 0.99521 | -0.13477 | 0 | 0
95 | 0.99514 | -0.13416 | 0 | 0
96 | 0.99535 | -0.13378 | 0 | 0
97 | 0.99489 | -0.14265 | 0 | 0
98 | 0.99545 | -0.13051 | 0.19728 | 0.095545
99 | 0.99504 | -0.13323 | 0.14631 | 0.07086
100 | 0.99547 | -0.13016 | 0 | 0
101 | 0.99564 | -0.12677 | 0 | 0
102 | 0.99585 | -0.12281 | 0 | 0
103 | 0.99593 | -0.12128 | 0.28893 | 0.13994
104 | 0.99584 | -0.12275 | 0.20355 | 0.098585
105 | 0.995 | -0.1329 | 0.47456 | 0.22984
106 | 0.99608 | -0.11607 | 0.085754 | 0.041532
107 | 0.99584 | -0.12274 | 0.079412 | 0.038461
108 | 0.99406 | -0.15833 | 0 | 0
109 | 0.98944 | -0.13721 | 0 | 0
110 | 0.98907 | -0.13436 | 0 | 0
111 | 0.98944 | -0.13716 | 0.38161 | 0.18482
112 | 0.99445 | -0.15102 | 0 | 0
113 | 0.99444 | -0.15107 | 0.1822 | 0.088242
114 | 0.99489 | -0.14263 | 0.30864 | 0.14948
115 | 0.98907 | -0.13434 | 0.30135 | 0.14595
116 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -1.0003 | -0.47166 | 1.0004 | 0.47017 | 9.0441e-05 | -0.0014875 | 0.032307 | 0.032288 | 0.032307 | 0.98819 | -0.066341 | 0.98827 | -0.06708 | 14.685
1 | 0.78085 | 0.36538 | -0.78076 | -0.36542 | 9.8244e-05 | -3.9793e-05 | 0.025184 | 0.025186 | 0.025186 | 0.98819 | -0.066341 | 0.98805 | -0.067278 | 11.9932
2 | -1.0004 | -0.47017 | 1.0007 | 0.46431 | 0.00035503 | -0.0058589 | 0.032288 | 0.032214 | 0.032288 | 0.98827 | -0.06708 | 0.9886 | -0.069923 | 14.6764
3 | 0.78076 | 0.36542 | -0.78064 | -0.36846 | 0.00011184 | -0.0030402 | 0.025186 | 0.025224 | 0.025224 | 0.98805 | -0.067278 | 0.98792 | -0.066112 | 11.4654
4 | 0.2559 | 0.12267 | -0.2559 | -0.12394 | 4.9959e-06 | -0.0012677 | 0.0082866 | 0.0083027 | 0.0083027 | 0.9886 | -0.069923 | 0.98858 | -0.069755 | 3.7739
5 | -1.2566 | -0.58698 | 1.2578 | 0.58724 | 0.0011402 | 0.00025848 | 0.0405 | 0.040495 | 0.0405 | 0.9886 | -0.069923 | 0.98955 | -0.063124 | 19.2859
6 | 0.78064 | 0.36846 | -0.78064 | -0.36851 | 1.8773e-06 | -5.0944e-05 | 0.025224 | 0.025225 | 0.025225 | 0.98792 | -0.066112 | 0.98792 | -0.066093 | 11.4657
7 | 0.64987 | 0.30517 | -0.64975 | -0.30528 | 0.00012009 | -0.00010316 | 0.020979 | 0.020981 | 0.020981 | 0.98792 | -0.066093 | 0.98773 | -0.067451 | 9.9911
8 | -1.2578 | -0.58724 | 1.2578 | 0.58681 | 4.1855e-05 | -0.00043466 | 0.040495 | 0.040489 | 0.040495 | 0.98955 | -0.063124 | 0.98958 | -0.06339 | 18.4067
9 | 1.3295 | 0.61248 | -1.3292 | -0.61533 | 0.00030605 | -0.0028485 | 0.042691 | 0.042727 | 0.042727 | 0.98979 | -0.065186 | 0.98958 | -0.06339 | 19.4213
10 | -1.3295 | -0.61248 | 1.3298 | 0.60972 | 0.00029663 | -0.0027667 | 0.042691 | 0.042656 | 0.042691 | 0.98979 | -0.065186 | 0.99 | -0.066906 | 19.4049
11 | 0.071323 | 0.028526 | -0.071321 | -0.034542 | 1.778e-06 | -0.0060165 | 0.0022408 | 0.0023118 | 0.0023118 | 0.98958 | -0.06339 | 0.98956 | -0.063216 | 1.0508
12 | -1.4958 | -0.69015 | 1.4962 | 0.69028 | 0.00037615 | 0.00012852 | 0.048036 | 0.048034 | 0.048036 | 0.99 | -0.066906 | 0.99027 | -0.064947 | 22.8741
13 | 0.14062 | 0.066276 | -0.14062 | -0.06796 | 2.0027e-06 | -0.0016843 | 0.0045434 | 0.0045646 | 0.0045646 | 0.98773 | -0.067451 | 0.98771 | -0.067331 | 2.0748
14 | 0.39042 | 0.18151 | -0.39042 | -0.1822 | 6.2585e-06 | -0.00068732 | 0.012583 | 0.012592 | 0.012592 | 0.98773 | -0.067451 | 0.98771 | -0.067324 | 5.7236
15 | 0.14062 | 0.06796 | -0.14061 | -0.068102 | 4.6226e-06 | -0.00014207 | 0.0045646 | 0.0045664 | 0.0045664 | 0.98771 | -0.067331 | 0.98768 | -0.067549 | 2.1745
16 | 0.29726 | 0.13708 | -0.29726 | -0.13853 | 7.6447e-06 | -0.0014522 | 0.0095673 | 0.0095852 | 0.0095852 | 0.98771 | -0.067324 | 0.98769 | -0.067121 | 4.3569
17 | -1.78 | -0.82771 | 1.7824 | 0.82873 | 0.0023885 | 0.0010161 | 0.057224 | 0.057218 | 0.057224 | 0.99027 | -0.064947 | 0.99168 | -0.054752 | 27.2495
18 | 2.3221 | 1.0861 | -2.3216 | -1.0876 | 0.00050055 | -0.001433 | 0.074608 | 0.074628 | 0.074628 | 0.99188 | -0.056489 | 0.99168 | -0.054752 | 33.9218
19 | -2.3221 | -1.0861 | 2.3231 | 1.083 | 0.0010984 | -0.0031498 | 0.074608 | 0.074566 | 0.074608 | 0.99188 | -0.056489 | 0.99231 | -0.060278 | 33.9129
20 | 0.5392 | 0.25884 | -0.53917 | -0.2608 | 3.3927e-05 | -0.0019555 | 0.017411 | 0.017436 | 0.017436 | 0.99168 | -0.054752 | 0.99162 | -0.05421 | 7.9253
21 | -2.5717 | -1.2028 | 2.5719 | 1.2023 | 0.00020098 | -0.00045935 | 0.082591 | 0.082585 | 0.082591 | 0.99231 | -0.060278 | 0.99239 | -0.060906 | 37.5414
22 | 0.24854 | 0.11977 | -0.24854 | -0.12037 | 2.1983e-06 | -0.00059976 | 0.008026 | 0.0080336 | 0.0080336 | 0.99231 | -0.060278 | 0.99231 | -0.060202 | 3.6516
23 | 0.19058 | 0.09197 | -0.19056 | -0.092295 | 1.944e-05 | -0.00032505 | 0.0061604 | 0.0061647 | 0.0061647 | 0.99162 | -0.05421 | 0.99151 | -0.054887 | 2.9356
24 | 0.11901 | 0.056163 | -0.11901 | -0.057639 | 1.2341e-06 | -0.0014759 | 0.003828 | 0.0038465 | 0.0038465 | 0.99239 | -0.060906 | 0.99238 | -0.060819 | 1.7484
25 | -2.6909 | -1.2585 | 2.6978 | 1.2442 | 0.0068928 | -0.014291 | 0.086413 | 0.086213 | 0.086413 | 0.99239 | -0.060906 | 0.99477 | -0.081138 | 39.2784
26 | -3.0435 | -1.392 | 3.0469 | 1.3866 | 0.0034311 | -0.0054322 | 0.097119 | 0.097041 | 0.097119 | 0.99477 | -0.081138 | 0.99582 | -0.089667 | 44.1449
27 | 0.11611 | 0.050003 | -0.1161 | -0.054412 | 3.4011e-06 | -0.0044092 | 0.0036685 | 0.003721 | 0.003721 | 0.99477 | -0.081138 | 0.99474 | -0.080924 | 1.6914
28 | 0.22955 | 0.097852 | -0.22951 | -0.11108 | 4.0089e-05 | -0.013231 | 0.0072415 | 0.0074006 | 0.0074006 | 0.99477 | -0.081138 | 0.9946 | -0.079824 | 3.3639
29 | -3.2871 | -1.5022 | 3.2911 | 1.4969 | 0.0040587 | -0.0053668 | 0.10477 | 0.10469 | 0.10477 | 0.99582 | -0.089667 | 0.99698 | -0.09899 | 47.6215
30 | 0.24019 | 0.11563 | -0.24019 | -0.11633 | 2.3546e-06 | -0.00069778 | 0.0077277 | 0.0077365 | 0.0077365 | 0.99582 | -0.089667 | 0.99581 | -0.089582 | 3.5166
31 | 0.1161 | 0.054412 | -0.1161 | -0.056231 | 1.4317e-06 | -0.0018184 | 0.003721 | 0.0037437 | 0.0037437 | 0.99474 | -0.080924 | 0.99473 | -0.080821 | 1.7017
32 | 0.22951 | 0.11108 | -0.22951 | -0.11116 | 6.3409e-06 | -7.2754e-05 | 0.0074006 | 0.0074016 | 0.0074016 | 0.9946 | -0.079824 | 0.99457 | -0.080006 | 3.5246
33 | -7.3145 | -3.2889 | 7.3175 | 3.2684 | 0.0030204 | -0.020465 | 0.23233 | 0.23205 | 0.23233 | 0.99649 | -0.10825 | 0.99698 | -0.09899 | 27.5924
34 | 7.3145 | 3.2889 | -7.3143 | -3.2897 | 0.00012881 | -0.00087105 | 0.23233 | 0.23234 | 0.23234 | 0.99649 | -0.10825 | 0.99647 | -0.10864 | 27.5938
35 | -10.6086 | -4.7652 | 10.6092 | 4.7637 | 0.00056888 | -0.0015599 | 0.33674 | 0.33671 | 0.33674 | 0.99698 | -0.09899 | 0.99704 | -0.097791 | 39.9928
36 | 7.2168 | 3.2425 | -7.2165 | -3.2444 | 0.00027121 | -0.0018909 | 0.2292 | 0.22923 | 0.22923 | 0.99647 | -0.10864 | 0.99643 | -0.10948 | 27.224
37 | -11.8371 | -5.3584 | 11.8475 | 5.3729 | 0.010367 | 0.01448 | 0.3762 | 0.3762 | 0.3762 | 0.99704 | -0.097791 | 0.99824 | -0.056395 | 45.8784
38 | 7.2165 | 3.2444 | -7.2158 | -3.2496 | 0.00074503 | -0.0051911 | 0.22923 | 0.2293 | 0.2293 | 0.99643 | -0.10948 | 0.99631 | -0.11178 | 27.2323
39 | -11.9589 | -5.4268 | 11.9607 | 5.4232 | 0.00186 | -0.0036596 | 0.37977 | 0.37971 | 0.37977 | 0.99824 | -0.056395 | 0.99842 | -0.052963 | 45.1038
40 | 0.63326 | 0.30447 | -0.63324 | -0.30499 | 1.2124e-05 | -0.00051604 | 0.020354 | 0.02036 | 0.02036 | 0.99657 | -0.04008 | 0.99655 | -0.039916 | 9.2546
41 | -0.9829 | -0.47381 | 0.98296 | 0.47283 | 5.6114e-05 | -0.0009815 | 0.031607 | 0.031595 | 0.031607 | 0.99657 | -0.04008 | 0.99662 | -0.040571 | 14.3669
42 | 0.5254 | 0.25276 | -0.52526 | -0.25299 | 0.00013906 | -0.00023714 | 0.016889 | 0.016893 | 0.016893 | 0.99655 | -0.039916 | 0.99627 | -0.041702 | 8.0444
43 | -0.98296 | -0.47283 | 0.98308 | 0.47064 | 0.000125 | -0.0021896 | 0.031595 | 0.031567 | 0.031595 | 0.99662 | -0.040571 | 0.99674 | -0.041657 | 14.3612
44 | 0.39877 | 0.19292 | -0.39877 | -0.19313 | 1.9798e-06 | -0.00021267 | 0.012836 | 0.012838 | 0.012838 | 0.99627 | -0.041702 | 0.99627 | -0.041658 | 5.8357
45 | 0.12649 | 0.060074 | -0.12649 | -0.060561 | 4.5182e-07 | -0.00048632 | 0.0040575 | 0.0040635 | 0.0040635 | 0.99627 | -0.041702 | 0.99627 | -0.041671 | 1.8471
46 | -1.1718 | -0.56002 | 1.1722 | 0.5549 | 0.00041719 | -0.0051267 | 0.037613 | 0.037548 | 0.037613 | 0.99674 | -0.041657 | 0.99707 | -0.044634 | 17.0969
47 | 0.18867 | 0.089381 | -0.18867 | -0.091375 | 4.1226e-06 | -0.0019942 | 0.0060464 | 0.0060714 | 0.0060714 | 0.99674 | -0.041657 | 0.99672 | -0.041471 | 2.7597
48 | 0.12649 | 0.060561 | -0.12649 | -0.061261 | 6.5329e-07 | -0.0007006 | 0.0040635 | 0.0040724 | 0.0040724 | 0.99627 | -0.041671 | 0.99626 | -0.041627 | 1.8511
49 | 0.3825 | 0.17777 | -0.38244 | -0.18519 | 6.2871e-05 | -0.00742 | 0.012212 | 0.012304 | 0.012304 | 0.99707 | -0.044634 | 0.99691 | -0.043267 | 5.5928
50 | -1.9774 | -0.93592 | 1.978 | 0.9334 | 0.0006094 | -0.0025221 | 0.06334 | 0.063307 | 0.06334 | 0.99707 | -0.044634 | 0.99735 | -0.047174 | 28.791
51 | 0.42276 | 0.20325 | -0.42274 | -0.20474 | 1.5566e-05 | -0.0014938 | 0.013581 | 0.0136 | 0.0136 | 0.99707 | -0.044634 | 0.99703 | -0.044316 | 6.1817
52 | 0.38244 | 0.18519 | -0.38243 | -0.18522 | 6.9723e-06 | -2.6299e-05 | 0.012304 | 0.012305 | 0.012305 | 0.99691 | -0.043267 | 0.9969 | -0.043387 | 5.8594
53 | -1.978 | -0.9334 | 1.9785 | 0.93359 | 0.00042659 | 0.00019624 | 0.063307 | 0.063306 | 0.063307 | 0.99735 | -0.047174 | 0.99758 | -0.045613 | 30.146
54 | 7.0382 | 3.1693 | -7.0373 | -3.176 | 0.00091106 | -0.0067079 | 0.22365 | 0.22374 | 0.22374 | 0.99631 | -0.11178 | 0.99615 | -0.11466 | 26.5724
55 | 0.087721 | 0.041473 | -0.087721 | -0.042485 | 4.5274e-07 | -0.0010122 | 0.0028114 | 0.0028241 | 0.0028241 | 0.99631 | -0.11178 | 0.9963 | -0.11174 | 1.2837
56 | 0.089859 | 0.038814 | -0.089857 | -0.043467 | 2.1498e-06 | -0.0046536 | 0.0028361 | 0.0028923 | 0.0028923 | 0.99631 | -0.11178 | 0.99628 | -0.1116 | 1.3147
57 | 7.0373 | 3.176 | -7.0368 | -3.1791 | 0.00042189 | -0.0031034 | 0.22374 | 0.22378 | 0.22378 | 0.99615 | -0.11466 | 0.99608 | -0.11599 | 26.5773
58 | 0.089857 | 0.043467 | -0.089857 | -0.04352 | 2.4765e-08 | -5.2506e-05 | 0.0028923 | 0.0028929 | 0.0028929 | 0.99628 | -0.1116 | 0.99628 | -0.1116 | 1.315
59 | 14.1725 | 6.4742 | -14.1716 | -6.4752 | 0.00086232 | -0.00098769 | 0.44979 | 0.44981 | 0.44981 | 1 | 0 | 0.99993 | -0.0013301 | 53.422
60 | 14.0657 | 6.4239 | -14.0503 | -6.4021 | 0.015434 | 0.021784 | 0.44642 | 0.44642 | 0.44642 | 0.99993 | -0.0013301 | 0.99842 | -0.052963 | 54.4418
61 | -2.0876 | -0.98594 | 2.0895 | 0.97897 | 0.001883 | -0.0069668 | 0.06681 | 0.066717 | 0.06681 | 0.99758 | -0.045613 | 0.99842 | -0.052963 | 30.368
62 | 0.10918 | 0.052347 | -0.10918 | -0.05288 | 3.6875e-07 | -0.00053344 | 0.0035039 | 0.0035106 | 0.0035106 | 0.99758 | -0.045613 | 0.99758 | -0.045584 | 1.5957
63 | 6.7278 | 3.0294 | -6.7278 | -3.0296 | 2.3266e-05 | -0.00018942 | 0.21383 | 0.21384 | 0.21384 | 0.99608 | -0.11599 | 0.99608 | -0.11607 | 25.3962
64 | -0.36967 | -0.17904 | 0.36968 | 0.17751 | 1.2534e-05 | -0.0015307 | 0.011976 | 0.011957 | 0.011976 | 0.99003 | -0.13475 | 0.99006 | -0.13504 | 5.4439
65 | -0.36968 | -0.17751 | 0.36974 | 0.17065 | 5.563e-05 | -0.0068551 | 0.011957 | 0.011872 | 0.011957 | 0.99006 | -0.13504 | 0.9902 | -0.13627 | 5.435
66 | 1.3931 | 0.64293 | -1.393 | -0.64287 | 0.0001841 | 5.4874e-05 | 0.044731 | 0.044731 | 0.044731 | 0.9902 | -0.13627 | 0.99006 | -0.1373 | 21.3007
67 | -1.7629 | -0.81358 | 1.7639 | 0.81403 | 0.0010556 | 0.00044457 | 0.056602 | 0.0566 | 0.056602 | 0.9902 | -0.13627 | 0.99083 | -0.13161 | 26.9535
68 | -1.0867 | -0.49469 | 1.087 | 0.49472 | 0.00031218 | 2.652e-05 | 0.034825 | 0.034823 | 0.034825 | 0.98976 | -0.13963 | 0.99006 | -0.1373 | 16.5834
69 | 0.68332 | 0.29931 | -0.68331 | -0.29964 | 9.1706e-06 | -0.00033661 | 0.021758 | 0.021762 | 0.021762 | 0.98976 | -0.13963 | 0.98975 | -0.13954 | 9.8917
70 | 0.68331 | 0.29964 | -0.68308 | -0.30787 | 0.00022538 | -0.0082311 | 0.021762 | 0.02186 | 0.02186 | 0.98975 | -0.13954 | 0.98944 | -0.13721 | 9.9364
71 | 0.3056 | 0.14775 | -0.3056 | -0.14801 | 1.4787e-06 | -0.0002637 | 0.0099011 | 0.0099044 | 0.0099044 | 0.98968 | -0.13165 | 0.98967 | -0.13161 | 4.502
72 | -0.3056 | -0.14775 | 0.30568 | 0.1473 | 7.3186e-05 | -0.00044454 | 0.0099011 | 0.0098949 | 0.0099011 | 0.98968 | -0.13165 | 0.98993 | -0.13005 | 4.7148
73 | -0.41616 | -0.20081 | 0.41618 | 0.20075 | 2.0001e-05 | -5.981e-05 | 0.013475 | 0.013474 | 0.013475 | 0.98993 | -0.13005 | 0.98998 | -0.12973 | 6.4166
74 | -3.2786 | -1.5155 | 3.2831 | 1.5096 | 0.0045318 | -0.0058567 | 0.10523 | 0.10514 | 0.10523 | 0.99083 | -0.13161 | 0.99212 | -0.14234 | 47.8323
75 | 0.30175 | 0.14614 | -0.30175 | -0.14614 | 1.1775e-06 | -7.3804e-06 | 0.009768 | 0.0097681 | 0.0097681 | 0.99083 | -0.13161 | 0.99083 | -0.13163 | 4.6515
76 | 1.2129 | 0.55534 | -1.2123 | -0.5623 | 0.00061626 | -0.0069613 | 0.038865 | 0.038952 | 0.038952 | 0.99083 | -0.13161 | 0.99036 | -0.12766 | 17.7056
77 | 0.25232 | 0.12214 | -0.25231 | -0.1222 | 6.8328e-06 | -6.3445e-05 | 0.0081566 | 0.0081575 | 0.0081575 | 0.99212 | -0.14234 | 0.99209 | -0.14252 | 3.8845
78 | -3.9178 | -1.8131 | 3.9255 | 1.8068 | 0.0077236 | -0.0063494 | 0.12561 | 0.12551 | 0.12561 | 0.99212 | -0.14234 | 0.99395 | -0.15768 | 57.0962
79 | 0.38239 | 0.18133 | -0.38235 | -0.18517 | 3.3306e-05 | -0.0038414 | 0.012314 | 0.012362 | 0.012362 | 0.99212 | -0.14234 | 0.99204 | -0.1416 | 5.6192
80 | 1.0509 | 0.50293 | -1.0505 | -0.50291 | 0.0003553 | 2.0158e-05 | 0.033959 | 0.033961 | 0.033961 | 0.99036 | -0.12766 | 0.99001 | -0.12999 | 16.172
81 | 0.1614 | 0.059373 | -0.16138 | -0.073473 | 2.0815e-05 | -0.014099 | 0.0050128 | 0.0051691 | 0.0051691 | 0.99036 | -0.12766 | 0.99024 | -0.12694 | 2.3496
82 | -0.54878 | -0.26497 | 0.54879 | 0.26405 | 1.6743e-05 | -0.00092507 | 0.01777 | 0.017758 | 0.01777 | 0.98998 | -0.12973 | 0.99001 | -0.12999 | 8.0772
83 | -0.16137 | -0.078156 | 0.16138 | 0.073473 | 7.2181e-06 | -0.004683 | 0.0052272 | 0.0051691 | 0.0052272 | 0.9902 | -0.12657 | 0.99024 | -0.12694 | 2.376
84 | 0.17601 | 0.081104 | -0.176 | -0.082779 | 3.0652e-06 | -0.0016756 | 0.0056508 | 0.0056714 | 0.0056714 | 0.99001 | -0.12999 | 0.98999 | -0.12985 | 2.5779
85 | -3.9255 | -1.8068 | 3.9259 | 1.8064 | 0.00040622 | -0.00033522 | 0.12551 | 0.1255 | 0.12551 | 0.99395 | -0.15768 | 0.99405 | -0.15848 | 57.0484
86 | -4.2596 | -1.968 | 4.2597 | 1.9679 | 4.938e-05 | -0.00015077 | 0.13627 | 0.13626 | 0.13627 | 0.99405 | -0.15848 | 0.99406 | -0.15833 | 37.6424
87 | 0.38235 | 0.18517 | -0.38235 | -0.18518 | 3.5203e-06 | -1.2984e-05 | 0.012362 | 0.012362 | 0.012362 | 0.99204 | -0.1416 | 0.99203 | -0.14166 | 5.8869
88 | -0.176 | -0.08524 | 0.176 | 0.083073 | 4.0022e-06 | -0.0021666 | 0.0057023 | 0.0056751 | 0.0057023 | 0.98997 | -0.12964 | 0.98999 | -0.12983 | 2.592
89 | -0.176 | -0.083073 | 0.176 | 0.082779 | 5.4019e-07 | -0.00029403 | 0.0056751 | 0.0056714 | 0.0056751 | 0.98999 | -0.12983 | 0.98999 | -0.12985 | 2.5796
90 | 0.29726 | 0.13853 | -0.29723 | -0.14264 | 2.1775e-05 | -0.0041064 | 0.0095852 | 0.0096365 | 0.0096365 | 0.98769 | -0.067121 | 0.98762 | -0.066516 | 4.3802
91 | 0.29723 | 0.14264 | -0.29723 | -0.14395 | 7.0286e-06 | -0.001316 | 0.0096365 | 0.0096533 | 0.0096533 | 0.98762 | -0.066516 | 0.9876 | -0.066313 | 4.3879
92 | -0.15331 | -0.074252 | 0.15331 | 0.074157 | 3.5531e-06 | -9.4533e-05 | 0.0049392 | 0.0049379 | 0.0049392 | 0.9956 | -0.12675 | 0.99562 | -0.1266 | 2.352
93 | -0.28367 | -0.13729 | 0.28367 | 0.13605 | 5.8479e-06 | -0.0012422 | 0.0091374 | 0.0091217 | 0.0091374 | 0.99562 | -0.1266 | 0.99564 | -0.12677 | 4.1534
94 | -0.20901 | -0.10123 | 0.20901 | 0.10075 | 1.2198e-06 | -0.00047623 | 0.0067362 | 0.0067302 | 0.0067362 | 0.9952 | -0.13472 | 0.99521 | -0.13477 | 3.0619
95 | 0.621 | 0.29434 | -0.62095 | -0.29634 | 4.5159e-05 | -0.001997 | 0.019934 | 0.019959 | 0.019959 | 0.99521 | -0.13477 | 0.99514 | -0.13416 | 9.0723
96 | -0.83 | -0.39509 | 0.83012 | 0.39506 | 0.00011704 | -3.5958e-05 | 0.026664 | 0.026663 | 0.026664 | 0.99521 | -0.13477 | 0.99535 | -0.13378 | 12.6972
97 | 0.62095 | 0.29634 | -0.62088 | -0.29933 | 6.7933e-05 | -0.0029942 | 0.019959 | 0.019997 | 0.019997 | 0.99514 | -0.13416 | 0.99504 | -0.13323 | 9.0895
98 | 4.7555 | 2.1096 | -4.7536 | -2.1418 | 0.0018752 | -0.032244 | 0.15088 | 0.15128 | 0.15128 | 0.99535 | -0.13378 | 0.99489 | -0.14265 | 17.9671
99 | -5.5856 | -2.5046 | 5.586 | 2.5051 | 0.00038285 | 0.00046687 | 0.17754 | 0.17753 | 0.17754 | 0.99535 | -0.13378 | 0.99545 | -0.13051 | 21.6507
100 | 0.30864 | 0.14937 | -0.30864 | -0.14948 | 6.3846e-07 | -0.00011398 | 0.0099491 | 0.0099506 | 0.0099506 | 0.99489 | -0.14265 | 0.99489 | -0.14263 | 4.523
101 | 4.445 | 1.9924 | -4.4433 | -2.0255 | 0.0016791 | -0.033077 | 0.14134 | 0.14175 | 0.14175 | 0.99489 | -0.14265 | 0.99445 | -0.15102 | 16.8352
102 | -5.7833 | -2.6006 | 5.7834 | 2.5996 | 8.9474e-05 | -0.0010126 | 0.18389 | 0.18388 | 0.18389 | 0.99545 | -0.13051 | 0.99547 | -0.13016 | 21.8395
103 | 0.47458 | 0.22847 | -0.47456 | -0.22984 | 1.8104e-05 | -0.001366 | 0.015281 | 0.015298 | 0.015298 | 0.99504 | -0.13323 | 0.995 | -0.1329 | 6.9536
104 | -5.7834 | -2.5996 | 5.7842 | 2.5897 | 0.00087573 | -0.0099215 | 0.18388 | 0.18375 | 0.18388 | 0.99547 | -0.13016 | 0.99564 | -0.12677 | 21.838
105 | -6.0679 | -2.7257 | 6.069 | 2.7148 | 0.0010744 | -0.010979 | 0.19287 | 0.19273 | 0.19287 | 0.99564 | -0.12677 | 0.99585 | -0.12281 | 22.9058
106 | -6.352 | -2.8512 | 6.3524 | 2.8472 | 0.00043234 | -0.0039991 | 0.20183 | 0.20178 | 0.20183 | 0.99585 | -0.12281 | 0.99593 | -0.12128 | 23.9701
107 | 0.28297 | 0.13645 | -0.28296 | -0.13686 | 1.9408e-06 | -0.0004143 | 0.0091064 | 0.0091116 | 0.0091116 | 0.99585 | -0.12281 | 0.99584 | -0.12275 | 4.1416
108 | -6.6413 | -2.9871 | 6.642 | 2.9881 | 0.00072797 | 0.00093623 | 0.21108 | 0.21108 | 0.21108 | 0.99593 | -0.12128 | 0.99608 | -0.11607 | 25.7411
109 | 0.079412 | 0.038276 | -0.079412 | -0.038461 | 6.8151e-08 | -0.0001849 | 0.0025554 | 0.0025578 | 0.0025578 | 0.99584 | -0.12275 | 0.99584 | -0.12274 | 1.1626
110 | -4.2597 | -1.9679 | 4.2611 | 1.9373 | 0.0014309 | -0.030583 | 0.13626 | 0.13588 | 0.13626 | 0.99406 | -0.15833 | 0.99445 | -0.15102 | 16.1833
111 | 0.30147 | 0.12327 | -0.30135 | -0.14585 | 0.00011989 | -0.02258 | 0.0095026 | 0.0097715 | 0.0097715 | 0.98944 | -0.13721 | 0.98907 | -0.13436 | 4.4416
112 | 0.38161 | 0.1846 | -0.38161 | -0.18482 | 1.9372e-06 | -0.00022111 | 0.012368 | 0.012371 | 0.012371 | 0.98944 | -0.13721 | 0.98944 | -0.13716 | 5.6231
113 | 0.30135 | 0.14585 | -0.30135 | -0.14595 | 5.3746e-07 | -9.8313e-05 | 0.0097715 | 0.0097727 | 0.0097727 | 0.98907 | -0.13436 | 0.98907 | -0.13434 | 4.4422
114 | 0.1822 | 0.088216 | -0.1822 | -0.088242 | 1.414e-06 | -2.6247e-05 | 0.0058763 | 0.0058766 | 0.0058766 | 0.99445 | -0.15102 | 0.99444 | -0.15107 | 2.7984

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.1865 | 6.4847

## res_load
| p_mw | q_mvar
0 | 0.21945 | 0.10628
1 | 0.13077 | 0.063336
2 | 0.2559 | 0.12394
3 | 0.16608 | 0.080434
4 | 0.11871 | 0.057492
5 | 0.093153 | 0.045116
6 | 0.071321 | 0.034542
7 | 0.28376 | 0.13743
8 | 0.34858 | 0.16883
9 | 0.24854 | 0.12037
10 | 0.19056 | 0.092295
11 | 0.22951 | 0.11116
12 | 0.097555 | 0.047248
13 | 0.24019 | 0.11633
14 | 0.1161 | 0.056231
15 | 1.2279 | 0.59472
16 | 0.11901 | 0.057639
17 | 0.14061 | 0.068102
18 | 0.11137 | 0.05394
19 | 0.34965 | 0.16934
20 | 0.10784 | 0.052231
21 | 0.39877 | 0.19313
22 | 0.12649 | 0.061261
23 | 0.18867 | 0.091375
24 | 0.42274 | 0.20474
25 | 0.087721 | 0.042485
26 | 0.089857 | 0.04352
27 | 0.10593 | 0.051304
28 | 0.38243 | 0.18522
29 | 0.30902 | 0.14967
30 | 0.10918 | 0.05288
31 | 0.36967 | 0.17904
32 | 0.40341 | 0.19538
33 | 0.30591 | 0.14816
34 | 0.3056 | 0.14801
35 | 0.11049 | 0.053511
36 | 0.30175 | 0.14614
37 | 0.13259 | 0.064218
38 | 0.16137 | 0.078156
39 | 0.32573 | 0.15776
40 | 0.33367 | 0.16161
41 | 0.38235 | 0.18518
42 | 0.25231 | 0.1222
43 | 0.176 | 0.08524
44 | 0.29723 | 0.14395
45 | 0.15331 | 0.074252
46 | 0.13035 | 0.063133
47 | 0.20901 | 0.10123
48 | 0.19728 | 0.095545
49 | 0.14631 | 0.07086
50 | 0.28893 | 0.13994
51 | 0.20355 | 0.098585
52 | 0.47456 | 0.22984
53 | 0.085754 | 0.041532
54 | 0.079412 | 0.038461
55 | 0.38161 | 0.18482
56 | 0.1822 | 0.088242
57 | 0.30864 | 0.14948
58 | 0.30135 | 0.14595

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1