## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_634_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_634_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_634_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_634_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_634_0_node_20 | 20 | n |  | TRUE
5 | bus_MV_634_0_node_22 | 20 | n |  | TRUE
6 | bus_MV_634_0_node_23 | 20 | n |  | TRUE
7 | bus_MV_634_0_node_65 | 20 | n |  | TRUE
8 | bus_MV_634_0_node_19 | 20 | n |  | TRUE
9 | bus_MV_634_0_node_2 | 20 | n |  | TRUE
10 | bus_MV_634_0_node_66 | 20 | n |  | TRUE
11 | bus_MV_634_0_node_76 | 20 | n |  | TRUE
12 | bus_MV_634_0_node_24 | 20 | n |  | TRUE
13 | bus_MV_634_0_node_67 | 20 | n |  | TRUE
14 | bus_MV_634_0_node_75 | 20 | n |  | TRUE
15 | bus_MV_634_0_node_21 | 20 | n |  | TRUE
16 | bus_MV_634_0_node_5 | 20 | n |  | TRUE
17 | bus_MV_634_0_node_6 | 20 | n |  | TRUE
18 | bus_MV_634_0_node_7 | 20 | n |  | TRUE
19 | bus_MV_634_0_node_29 | 20 | n |  | TRUE
20 | bus_MV_634_0_node_26 | 20 | n |  | TRUE
21 | bus_MV_634_0_node_31 | 20 | n |  | TRUE
22 | bus_MV_634_0_node_112 | 20 | n |  | TRUE
23 | bus_MV_634_0_node_30 | 20 | n |  | TRUE
24 | bus_MV_634_0_node_74 | 20 | n |  | TRUE
25 | bus_MV_634_0_node_64 | 20 | n |  | TRUE
26 | bus_MV_634_0_node_111 | 20 | n |  | TRUE
27 | bus_MV_634_0_node_34 | 20 | n |  | TRUE
28 | bus_MV_634_0_node_14 | 20 | n |  | TRUE
29 | bus_MV_634_0_node_8 | 20 | n |  | TRUE
30 | bus_MV_634_0_node_9 | 20 | n |  | TRUE
31 | bus_MV_634_0_node_10 | 20 | n |  | TRUE
32 | bus_MV_634_0_node_11 | 20 | n |  | TRUE
33 | bus_MV_634_0_node_60 | 20 | n |  | TRUE
34 | bus_MV_634_0_node_109 | 20 | n |  | TRUE
35 | bus_MV_634_0_node_110 | 20 | n |  | TRUE
36 | bus_MV_634_0_node_25 | 20 | n |  | TRUE
37 | bus_MV_634_0_node_15 | 20 | n |  | TRUE
38 | bus_MV_634_0_node_13 | 20 | n |  | TRUE
39 | bus_MV_634_0_node_83 | 20 | n |  | TRUE
40 | bus_MV_634_0_node_115 | 20 | n |  | TRUE
41 | bus_MV_634_0_node_12 | 20 | n |  | TRUE
42 | bus_MV_634_0_node_35 | 20 | n |  | TRUE
43 | bus_MV_634_0_node_16 | 20 | n |  | TRUE
44 | bus_MV_634_0_node_17 | 20 | n |  | TRUE
45 | bus_MV_634_0_node_18 | 20 | n |  | TRUE
46 | bus_MV_634_0_node_108 | 20 | n |  | TRUE
47 | bus_MV_634_0_node_114 | 20 | n |  | TRUE
48 | bus_MV_634_0_node_44 | 20 | n |  | TRUE
49 | bus_MV_634_0_node_77 | 20 | n |  | TRUE
50 | bus_MV_634_0_node_61 | 20 | n |  | TRUE
51 | bus_MV_634_0_node_62 | 20 | n |  | TRUE
52 | bus_MV_634_0_node_38 | 20 | n |  | TRUE
53 | bus_MV_634_0_node_39 | 20 | n |  | TRUE
54 | bus_MV_634_0_node_42 | 20 | n |  | TRUE
55 | bus_MV_634_0_node_80 | 20 | n |  | TRUE
56 | bus_MV_634_0_node_37 | 20 | n |  | TRUE
57 | bus_MV_634_0_node_43 | 20 | n |  | TRUE
58 | bus_MV_634_0_node_81 | 20 | n |  | TRUE
59 | bus_MV_634_0_node_41 | 20 | n |  | TRUE
60 | bus_MV_634_0_node_40 | 20 | n |  | TRUE
61 | bus_MV_634_0_node_73 | 20 | n |  | TRUE
62 | bus_MV_634_0_node_59 | 20 | n |  | TRUE
63 | bus_MV_634_0_node_63 | 20 | n |  | TRUE
64 | bus_MV_634_0_node_78 | 20 | n |  | TRUE
65 | bus_MV_634_0_node_32 | 20 | n |  | TRUE
66 | bus_MV_634_0_node_33 | 20 | n |  | TRUE
67 | bus_MV_634_0_node_36 | 20 | n |  | TRUE
68 | bus_MV_634_0_node_68 | 20 | n |  | TRUE
69 | bus_MV_634_0_node_84 | 20 | n |  | TRUE
70 | bus_MV_634_0_node_93 | 20 | n |  | TRUE
71 | bus_MV_634_0_node_116 | 20 | n |  | TRUE
72 | bus_MV_634_0_node_50 | 20 | n |  | TRUE
73 | bus_MV_634_0_node_52 | 20 | n |  | TRUE
74 | bus_MV_634_0_node_55 | 20 | n |  | TRUE
75 | bus_MV_634_0_node_54 | 20 | n |  | TRUE
76 | bus_MV_634_0_node_91 | 20 | n |  | TRUE
77 | bus_MV_634_0_node_95 | 20 | n |  | TRUE
78 | bus_MV_634_0_node_85 | 20 | n |  | TRUE
79 | bus_MV_634_0_node_86 | 20 | n |  | TRUE
80 | bus_MV_634_0_node_87 | 20 | n |  | TRUE
81 | bus_MV_634_0_node_88 | 20 | n |  | TRUE
82 | bus_MV_634_0_node_89 | 20 | n |  | TRUE
83 | bus_MV_634_0_node_71 | 20 | n |  | TRUE
84 | bus_MV_634_0_node_72 | 20 | n |  | TRUE
85 | bus_MV_634_0_node_58 | 20 | n |  | TRUE
86 | bus_MV_634_0_node_82 | 20 | n |  | TRUE
87 | bus_MV_634_0_node_45 | 20 | n |  | TRUE
88 | bus_MV_634_0_node_47 | 20 | n |  | TRUE
89 | bus_MV_634_0_node_46 | 20 | n |  | TRUE
90 | bus_MV_634_0_node_94 | 20 | n |  | TRUE
91 | bus_MV_634_0_node_48 | 20 | n |  | TRUE
92 | bus_MV_634_0_node_49 | 20 | n |  | TRUE
93 | bus_MV_634_0_node_92 | 20 | n |  | TRUE
94 | bus_MV_634_0_node_104 | 20 | n |  | TRUE
95 | bus_MV_634_0_node_97 | 20 | n |  | TRUE
96 | bus_MV_634_0_node_105 | 20 | n |  | TRUE
97 | bus_MV_634_0_node_56 | 20 | n |  | TRUE
98 | bus_MV_634_0_node_57 | 20 | n |  | TRUE
99 | bus_MV_634_0_node_90 | 20 | n |  | TRUE
100 | bus_MV_634_0_node_100 | 20 | n |  | TRUE
101 | bus_MV_634_0_node_101 | 20 | n |  | TRUE
102 | bus_MV_634_0_node_102 | 20 | n |  | TRUE
103 | bus_MV_634_0_node_96 | 20 | n |  | TRUE
104 | bus_MV_634_0_node_98 | 20 | n |  | TRUE
105 | bus_MV_634_0_node_113 | 20 | n |  | TRUE
106 | bus_MV_634_0_node_99 | 20 | n |  | TRUE
107 | bus_MV_634_0_node_103 | 20 | n |  | TRUE
108 | bus_MV_634_0_node_69 | 20 | n |  | TRUE
109 | bus_MV_634_0_node_70 | 20 | n |  | TRUE
110 | bus_MV_634_0_node_79 | 20 | n |  | TRUE
111 | bus_HV_634_0_node_36 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_634_0_load_0 | 0 | 0.25016 | 0.12116 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_634_0_load_65 | 7 | 0.15746 | 0.076263 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_634_0_load_19 | 8 | 0.17882 | 0.086606 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_634_0_load_76 | 11 | 0.15767 | 0.076364 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_634_0_load_24 | 12 | 0.094814 | 0.045921 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_634_0_load_67 | 13 | 1.1468 | 0.55541 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_634_0_load_75 | 14 | 0.18067 | 0.087505 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_634_0_load_5 | 16 | 0.27837 | 0.13482 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_634_0_load_26 | 20 | 0.38072 | 0.18439 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_634_0_load_112 | 22 | 0.21378 | 0.10354 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_634_0_load_74 | 24 | 0.20124 | 0.097463 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_634_0_load_64 | 25 | 0.10292 | 0.049847 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_634_0_load_111 | 26 | 0.30324 | 0.14687 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_634_0_load_8 | 29 | 0.40873 | 0.19795 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_634_0_load_60 | 33 | 0.076267 | 0.036938 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_634_0_load_109 | 34 | 0.24839 | 0.1203 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_634_0_load_25 | 36 | 0.23414 | 0.1134 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_634_0_load_115 | 40 | 0.39059 | 0.18917 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_634_0_load_12 | 41 | 0.3567 | 0.17276 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_634_0_load_18 | 45 | 0.38017 | 0.18413 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_634_0_load_108 | 46 | 0.20806 | 0.10077 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_634_0_load_114 | 47 | 0.27797 | 0.13463 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_634_0_load_77 | 49 | 1.1588 | 0.56122 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_634_0_load_61 | 50 | 0.07374 | 0.035714 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_634_0_load_62 | 51 | 0.082478 | 0.039946 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_634_0_load_80 | 55 | 0.073721 | 0.035705 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_634_0_load_81 | 58 | 0.087794 | 0.042521 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_634_0_load_40 | 60 | 0.13481 | 0.06529 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_634_0_load_73 | 61 | 1.2492 | 0.605 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_634_0_load_63 | 63 | 0.082001 | 0.039715 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_634_0_load_78 | 64 | 0.10797 | 0.05229 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_634_0_load_32 | 65 | 0.38505 | 0.18649 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_634_0_load_36 | 67 | 0.22025 | 0.10667 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_634_0_load_84 | 69 | 0.47391 | 0.22953 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_634_0_load_116 | 71 | 0.34533 | 0.16725 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_634_0_load_50 | 72 | 0.28658 | 0.13879 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_634_0_load_55 | 74 | 0.2691 | 0.13033 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_634_0_load_95 | 77 | 0.095629 | 0.046315 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_634_0_load_85 | 78 | 0.15899 | 0.077001 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_634_0_load_88 | 81 | 0.2709 | 0.1312 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_634_0_load_71 | 83 | 1.2312 | 0.59629 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_634_0_load_72 | 84 | 0.10679 | 0.051723 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_634_0_load_45 | 87 | 0.073429 | 0.035563 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_634_0_load_47 | 88 | 2.2682 | 1.0985 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_634_0_load_94 | 90 | 0.60623 | 0.29361 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_634_0_load_48 | 91 | 0.13104 | 0.063467 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_634_0_load_104 | 94 | 0.1845 | 0.089358 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_634_0_load_105 | 96 | 0.075173 | 0.036408 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_634_0_load_56 | 97 | 1.2874 | 0.62352 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_634_0_load_57 | 98 | 0.70838 | 0.34308 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_634_0_load_101 | 101 | 0.15613 | 0.075617 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_634_0_load_102 | 102 | 0.37101 | 0.17969 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_634_0_load_96 | 103 | 0.10881 | 0.052699 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_634_0_load_113 | 105 | 0.09123 | 0.044185 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_634_0_load_99 | 106 | 0.94686 | 0.45859 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_634_0_load_69 | 108 | 0.10608 | 0.051375 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_634_0_load_70 | 109 | 0.12739 | 0.061699 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_634_0_load_79 | 110 | 1.214 | 0.58796 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_634_0_line_0 |  | 0 | 1 | 0.045297 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_634_0_line_1 |  | 1 | 2 | 0.13406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_634_0_line_2 |  | 1 | 3 | 0.1181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_634_0_line_3 |  | 2 | 11 | 0.056979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_634_0_line_4 |  | 3 | 12 | 0.041163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_634_0_line_5 |  | 4 | 5 | 0.14288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_634_0_line_6 |  | 4 | 6 | 0.19128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_634_0_line_7 |  | 4 | 7 | 0.10516 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_634_0_line_8 |  | 4 | 8 | 0.036438 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_634_0_line_9 |  | 5 | 48 | 0.18528 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_634_0_line_10 |  | 5 | 49 | 0.045379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_634_0_line_11 |  | 6 | 50 | 0.0060374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_634_0_line_12 |  | 6 | 51 | 0.046601 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_634_0_line_13 |  | 7 | 9 | 0.061632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_634_0_line_14 |  | 8 | 15 | 0.034656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_634_0_line_15 |  | 9 | 10 | 0.008083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_634_0_line_16 |  | 10 | 13 | 0.070139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_634_0_line_17 |  | 11 | 14 | 0.0086149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_634_0_line_18 |  | 12 | 15 | 0.038444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_634_0_line_19 |  | 13 | 67 | 0.14957 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
20 | MV_634_0_line_20 |  | 16 | 17 | 0.028394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_634_0_line_21 |  | 17 | 18 | 0.23752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_634_0_line_22 |  | 18 | 19 | 0.28296 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_634_0_line_23 |  | 18 | 20 | 0.008162 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_634_0_line_24 |  | 19 | 21 | 0.2084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_634_0_line_25 |  | 19 | 22 | 0.017358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_634_0_line_26 |  | 21 | 26 | 0.00784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_634_0_line_27 |  | 21 | 27 | 0.043704 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_634_0_line_28 |  | 21 | 28 | 0.20206 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_634_0_line_29 |  | 22 | 47 | 0.12612 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_634_0_line_30 |  | 22 | 46 | 0.13801 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_634_0_line_31 |  | 23 | 24 | 0.010438 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_634_0_line_32 |  | 23 | 25 | 0.05108 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_634_0_line_33 |  | 25 | 42 | 0.068132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_634_0_line_34 |  | 27 | 42 | 0.12503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_634_0_line_35 |  | 28 | 41 | 0.10106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_634_0_line_36 |  | 29 | 30 | 0.004166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_634_0_line_37 |  | 30 | 31 | 0.12685 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_634_0_line_38 |  | 30 | 32 | 0.26555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_634_0_line_39 |  | 31 | 33 | 0.043909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_634_0_line_40 |  | 32 | 34 | 0.016731 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
41 | MV_634_0_line_41 |  | 32 | 35 | 0.46293 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_634_0_line_42 |  | 32 | 36 | 0.25084 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_634_0_line_43 |  | 34 | 39 | 0.025862 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_634_0_line_44 |  | 35 | 40 | 0.048708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_634_0_line_45 |  | 36 | 37 | 0.086265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_634_0_line_46 |  | 37 | 38 | 0.088448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_634_0_line_47 |  | 38 | 41 | 0.018443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_634_0_line_48 |  | 39 | 86 | 0.07912 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_634_0_line_49 |  | 42 | 66 | 0.085025 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_634_0_line_50 |  | 43 | 44 | 0.23443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_634_0_line_51 |  | 43 | 45 | 0.028838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_634_0_line_52 |  | 44 | 46 | 0.062115 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_634_0_line_53 |  | 48 | 63 | 0.0594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_634_0_line_54 |  | 49 | 64 | 0.0043423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_634_0_line_55 |  | 52 | 53 | 0.16982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_634_0_line_56 |  | 52 | 54 | 0.157 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_634_0_line_57 |  | 52 | 55 | 0.006713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_634_0_line_58 |  | 52 | 56 | 0.21561 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_634_0_line_59 |  | 53 | 71 | 0.002384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_634_0_line_60 |  | 54 | 61 | 0.13133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_634_0_line_61 |  | 54 | 62 | 0.02087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_634_0_line_62 |  | 54 | 57 | 0.089764 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_634_0_line_63 |  | 54 | 59 | 0.31898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_634_0_line_64 |  | 56 | 67 | 0.015426 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
65 | MV_634_0_line_65 |  | 57 | 58 | 0.0025896 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
66 | MV_634_0_line_66 |  | 58 | 86 | 0.030872 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
67 | MV_634_0_line_67 |  | 59 | 60 | 0.027079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_634_0_line_68 |  | 61 | 83 | 0.00081801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_634_0_line_69 |  | 62 | 84 | 0.014784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_634_0_line_70 |  | 62 | 85 | 0.023875 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_634_0_line_71 |  | 64 | 110 | 0.012301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_634_0_line_72 |  | 65 | 66 | 0.007482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_634_0_line_73 |  | 67 | 68 | 0.21419 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
74 | MV_634_0_line_74 |  | 68 | 69 | 0.099957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_634_0_line_75 |  | 68 | 70 | 1.2416 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
76 | MV_634_0_line_76 |  | 70 | 90 | 0.038876 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
77 | MV_634_0_line_77 |  | 72 | 73 | 0.008586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_634_0_line_78 |  | 72 | 74 | 0.18559 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_634_0_line_79 |  | 73 | 75 | 0.16712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_634_0_line_80 |  | 75 | 76 | 0.63221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_634_0_line_81 |  | 75 | 77 | 0.037186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_634_0_line_82 |  | 76 | 95 | 0.21285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_634_0_line_83 |  | 76 | 96 | 0.12759 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_634_0_line_84 |  | 76 | 80 | 0.57051 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_634_0_line_85 |  | 78 | 79 | 0.039305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_634_0_line_86 |  | 78 | 80 | 0.041474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_634_0_line_87 |  | 79 | 81 | 0.005673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_634_0_line_88 |  | 79 | 82 | 0.6396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_634_0_line_89 |  | 82 | 99 | 0.055488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_634_0_line_90 |  | 82 | 100 | 0.16106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_634_0_line_91 |  | 82 | 101 | 0.03081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_634_0_line_92 |  | 83 | 109 | 0.0022986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_634_0_line_93 |  | 85 | 97 | 0.035893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_634_0_line_94 |  | 87 | 88 | 0.010604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_634_0_line_95 |  | 87 | 89 | 0.062482 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_634_0_line_96 |  | 88 | 90 | 0.063855 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
97 | MV_634_0_line_97 |  | 89 | 91 | 0.036607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_634_0_line_98 |  | 91 | 92 | 0.016938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_634_0_line_99 |  | 92 | 93 | 0.18478 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_634_0_line_100 |  | 93 | 94 | 0.022033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_634_0_line_101 |  | 94 | 107 | 0.019423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_634_0_line_102 |  | 95 | 104 | 0.071405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_634_0_line_103 |  | 95 | 103 | 0.16058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_634_0_line_104 |  | 97 | 98 | 0.021518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_634_0_line_105 |  | 99 | 102 | 0.017811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_634_0_line_106 |  | 100 | 106 | 0.033633 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_634_0_line_107 |  | 102 | 107 | 0.031293 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_634_0_line_108 |  | 104 | 105 | 0.015885 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
109 | MV_634_0_line_109 |  | 108 | 109 | 0.000695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_634_0_trafo_36 | 25 MVA 110/20 kV | 111 | 67 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2535838.485 | 1153455.8451
1 | 2535818.1187 | 1153415.3848
2 | 2535782.3555 | 1153295.5013
3 | 2535785.6591 | 1153493.3296
4 | 2535773.9687 | 1153619.2122
5 | 2535770.0559 | 1153716.1181
6 | 2535882.2961 | 1153726.8257
7 | 2535706.0999 | 1153538.8881
8 | 2535797.3555 | 1153591.2693
9 | 2535687.6001 | 1153480.3597
10 | 2535680.0766 | 1153481.4074
11 | 2535833.1907 | 1153269.7768
12 | 2535803.4804 | 1153530.435
13 | 2535616.3096 | 1153510.6172
14 | 2535840.817 | 1153265.7698
15 | 2535820.1246 | 1153565.0897
16 | 2536166.2846 | 1153774.3959
17 | 2536182.3921 | 1153797.8043
18 | 2536210.7181 | 1153975.5118
19 | 2536152.1317 | 1154190.4734
20 | 2536218.8738 | 1153974.8138
21 | 2536026.9997 | 1154075.5967
22 | 2536169.1265 | 1154194.2283
23 | 2536136.59 | 1153994.3092
24 | 2536127.3786 | 1153999.2182
25 | 2536123.1265 | 1153945.0358
26 | 2536031.1484 | 1154068.9378
27 | 2535991.3092 | 1154050.374
28 | 2535918.2468 | 1154245.8927
29 | 2535768.0443 | 1153977.2045
30 | 2535772.0095 | 1153978.5184
31 | 2535769.2837 | 1153867.7981
32 | 2535545.619 | 1154012.1267
33 | 2535788.39 | 1153828.2643
34 | 2535546.3757 | 1153995.4206
35 | 2535291.5024 | 1154180.9382
36 | 2535666.7588 | 1154231.7714
37 | 2535747.1435 | 1154262.5284
38 | 2535826.8562 | 1154300.8422
39 | 2535546.7812 | 1153969.5688
40 | 2535295.2322 | 1154229.4914
41 | 2535841.4793 | 1154311.6809
42 | 2536056.8419 | 1153960.7943
43 | 2536079.7362 | 1154591.7288
44 | 2536160.8067 | 1154393.8702
45 | 2536057.0327 | 1154609.3799
46 | 2536158.2522 | 1154331.8078
47 | 2536229.4143 | 1154305.0044
48 | 2535802.3978 | 1153788.8568
49 | 2535735.8851 | 1153744.0934
50 | 2535887.7491 | 1153729.4171
51 | 2535861.3343 | 1153768.4462
52 | 2535455.3826 | 1153776.7662
53 | 2535382.0571 | 1153738.9555
54 | 2535552.9135 | 1153830.3046
55 | 2535453.7028 | 1153783.2656
56 | 2535494.8095 | 1153618.6676
57 | 2535521.6112 | 1153884.0141
58 | 2535520.9483 | 1153886.5172
59 | 2535326.6222 | 1153944.1195
60 | 2535352.7626 | 1153951.1882
61 | 2535563.1184 | 1153699.3796
62 | 2535573.8403 | 1153830.7027
63 | 2535828.0373 | 1153735.2754
64 | 2535733.2283 | 1153747.5281
65 | 2536066.5825 | 1153885.5273
66 | 2536059.3615 | 1153887.5608
67 | 2535499.4548 | 1153603.9764
68 | 2535535.2761 | 1153392.7989
69 | 2535595.792 | 1153330.5668
70 | 2534494.4896 | 1152715.8226
71 | 2535381.5989 | 1153741.295
72 | 2533637.0972 | 1153167.8626
73 | 2533631.7285 | 1153161.1515
74 | 2533516.2749 | 1153308.7305
75 | 2533670.696 | 1153023.0566
76 | 2533937.1271 | 1152755.1648
77 | 2533635.1597 | 1153025.7836
78 | 2533932.9593 | 1153162.9759
79 | 2533959.4477 | 1153192.0152
80 | 2533905.5341 | 1153131.8857
81 | 2533955.0288 | 1153195.5879
82 | 2534261.8331 | 1152817.3844
83 | 2535563.1854 | 1153698.5644
84 | 2535588.1901 | 1153834.2611
85 | 2535575.4156 | 1153811.6198
86 | 2535513.3202 | 1153916.4319
87 | 2534425.1101 | 1152699.6034
88 | 2534432.4979 | 1152691.9971
89 | 2534362.6728 | 1152697.2278
90 | 2534494.5545 | 1152676.9469
91 | 2534362.1519 | 1152733.2557
92 | 2534361.093 | 1152750.0074
93 | 2534323.4095 | 1152868.8841
94 | 2534311.4705 | 1152887.4022
95 | 2534005.9688 | 1152632.8972
96 | 2534039.4823 | 1152799.9093
97 | 2535610.0936 | 1153809.2711
98 | 2535628.2277 | 1153818.3466
99 | 2534264.3649 | 1152871.353
100 | 2534171.8669 | 1152729.1425
101 | 2534286.9158 | 1152823.469
102 | 2534276.3569 | 1152884.4565
103 | 2534093.2995 | 1152727.5702
104 | 2534061.6593 | 1152659.5452
105 | 2534054.6869 | 1152673.8184
106 | 2534195.0665 | 1152705.5364
107 | 2534300.946 | 1152903.7264
108 | 2535563.4306 | 1153695.5808
109 | 2535563.3737 | 1153696.2734
110 | 2535725.7021 | 1153757.258
111 | 2535499.4548 | 1153603.9764

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99747 | -0.019102 | 0.25016 | 0.12116
1 | 0.9975 | -0.018964 | 0 | 0
2 | 0.99744 | -0.018446 | 0 | 0
3 | 0.99758 | -0.019753 | 0 | 0
4 | 0.99774 | -0.020166 | 0 | 0
5 | 0.99727 | -0.015845 | 0 | 0
6 | 0.9977 | -0.01985 | 0 | 0
7 | 0.99847 | -0.015351 | 0.15746 | 0.076263
8 | 0.99768 | -0.020579 | 0.17882 | 0.086606
9 | 0.99876 | -0.018009 | 0 | 0
10 | 0.9988 | -0.018357 | 0 | 0
11 | 0.99741 | -0.018217 | 0.15767 | 0.076364
12 | 0.99762 | -0.020023 | 0.094814 | 0.045921
13 | 0.99913 | -0.021373 | 1.1468 | 0.55541
14 | 0.99741 | -0.018199 | 0.18067 | 0.087505
15 | 0.99765 | -0.020317 | 0 | 0
16 | 0.9938 | -0.0083157 | 0.27837 | 0.13482
17 | 0.99381 | -0.0084108 | 0 | 0
18 | 0.9939 | -0.0091585 | 0 | 0
19 | 0.99414 | -0.011238 | 0 | 0
20 | 0.99389 | -0.0091209 | 0.38072 | 0.18439
21 | 0.9946 | -0.01532 | 0 | 0
22 | 0.99411 | -0.011018 | 0.21378 | 0.10354
23 | 0.99438 | -0.014598 | 0 | 0
24 | 0.99438 | -0.014573 | 0.20124 | 0.097463
25 | 0.9944 | -0.014471 | 0.10292 | 0.049847
26 | 0.9946 | -0.015291 | 0.30324 | 0.14687
27 | 0.99454 | -0.015714 | 0 | 0
28 | 0.99567 | -0.0080142 | 0 | 0
29 | 0.99823 | -0.0054224 | 0.40873 | 0.19795
30 | 0.99823 | -0.0054428 | 0 | 0
31 | 0.99822 | -0.0053474 | 0 | 0
32 | 0.99839 | -0.0068645 | 0 | 0
33 | 0.99821 | -0.0053086 | 0.076267 | 0.036938
34 | 0.99843 | -0.0064452 | 0.24839 | 0.1203
35 | 0.99816 | -0.0048911 | 0 | 0
36 | 0.99678 | -0.017869 | 0.23414 | 0.1134
37 | 0.99644 | -0.014868 | 0 | 0
38 | 0.99609 | -0.011777 | 0 | 0
39 | 0.99847 | -0.0062864 | 0 | 0
40 | 0.99814 | -0.0046644 | 0.39059 | 0.18917
41 | 0.99602 | -0.011131 | 0.3567 | 0.17276
42 | 0.99443 | -0.014717 | 0 | 0
43 | 0.9938 | -0.011382 | 0 | 0
44 | 0.99391 | -0.012409 | 0 | 0
45 | 0.99378 | -0.01125 | 0.38017 | 0.18413
46 | 0.99395 | -0.012087 | 0.20806 | 0.10077
47 | 0.99404 | -0.011448 | 0.27797 | 0.13463
48 | 0.99725 | -0.015705 | 0 | 0
49 | 0.99713 | -0.014493 | 1.1588 | 0.56122
50 | 0.9977 | -0.019844 | 0.07374 | 0.035714
51 | 0.9977 | -0.019805 | 0.082478 | 0.039946
52 | 0.99925 | -0.0030517 | 0 | 0
53 | 0.99918 | -0.0023715 | 0 | 0
54 | 0.99876 | -0.0050131 | 0 | 0
55 | 0.99925 | -0.0030458 | 0.073721 | 0.035705
56 | 0.99995 | -0.00020515 | 0 | 0
57 | 0.99863 | -0.0055875 | 0 | 0
58 | 0.99863 | -0.005604 | 0.087794 | 0.042521
59 | 0.99871 | -0.004588 | 0 | 0
60 | 0.99871 | -0.0045447 | 0.13481 | 0.06529
61 | 0.99831 | -0.00075049 | 1.2492 | 0.605
62 | 0.99871 | -0.0044902 | 0 | 0
63 | 0.99725 | -0.015649 | 0.082001 | 0.039715
64 | 0.99712 | -0.014424 | 0.10797 | 0.05229
65 | 0.99438 | -0.014293 | 0.38505 | 0.18649
66 | 0.99439 | -0.014327 | 0 | 0
67 | 1 | 0 | -21.4626 | -10.2066
68 | 0.99858 | -0.046885 | 0 | 0
69 | 0.99852 | -0.046324 | 0.47391 | 0.22953
70 | 0.99092 | -0.3015 | 0 | 0
71 | 0.99918 | -0.0023616 | 0.34533 | 0.16725
72 | 0.98599 | -0.28443 | 0.28658 | 0.13879
73 | 0.98599 | -0.28449 | 0 | 0
74 | 0.98589 | -0.28505 | 0.2691 | 0.13033
75 | 0.98611 | -0.2856 | 0 | 0
76 | 0.98664 | -0.29015 | 0 | 0
77 | 0.98611 | -0.28556 | 0.095629 | 0.046315
78 | 0.98736 | -0.2955 | 0.15899 | 0.077001
79 | 0.98742 | -0.2959 | 0 | 0
80 | 0.98732 | -0.29515 | 0 | 0
81 | 0.98742 | -0.29588 | 0.2709 | 0.1312
82 | 0.98853 | -0.3042 | 0 | 0
83 | 0.99831 | -0.00073611 | 1.2312 | 0.59629
84 | 0.99871 | -0.0044714 | 0.10679 | 0.051723
85 | 0.99865 | -0.0039212 | 0 | 0
86 | 0.99858 | -0.0057966 | 0 | 0
87 | 0.99033 | -0.31313 | 0.073429 | 0.035563
88 | 0.99038 | -0.31349 | 2.2682 | 1.0985
89 | 0.98995 | -0.31598 | 0 | 0
90 | 0.99079 | -0.30292 | 0.60623 | 0.29361
91 | 0.9898 | -0.31476 | 0.13104 | 0.063467
92 | 0.98974 | -0.31422 | 0 | 0
93 | 0.98903 | -0.30831 | 0 | 0
94 | 0.98894 | -0.3076 | 0.1845 | 0.089358
95 | 0.98659 | -0.28973 | 0 | 0
96 | 0.98663 | -0.29004 | 0.075173 | 0.036408
97 | 0.99856 | -0.0030639 | 1.2874 | 0.62352
98 | 0.99854 | -0.0028813 | 0.70838 | 0.34308
99 | 0.9887 | -0.30562 | 0 | 0
100 | 0.98833 | -0.30236 | 0 | 0
101 | 0.98852 | -0.30414 | 0.15613 | 0.075617
102 | 0.98876 | -0.30607 | 0.37101 | 0.17969
103 | 0.98656 | -0.28954 | 0.10881 | 0.052699
104 | 0.98658 | -0.28966 | 0 | 0
105 | 0.98658 | -0.28968 | 0.09123 | 0.044185
106 | 0.98829 | -0.30197 | 0.94686 | 0.45859
107 | 0.98887 | -0.30701 | 0 | 0
108 | 0.99831 | -0.00072879 | 0.10608 | 0.051375
109 | 0.99831 | -0.00072968 | 0.12739 | 0.061699
110 | 0.9971 | -0.014245 | 1.214 | 0.58796
111 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.25016 | -0.12116 | 0.25016 | 0.12111 | 5.2219e-06 | -5.0533e-05 | 0.0080442 | 0.0080435 | 0.0080442 | 0.99747 | -0.019102 | 0.9975 | -0.018964 | 3.8306
1 | 0.33838 | 0.15913 | -0.33836 | -0.16231 | 2.1035e-05 | -0.0031785 | 0.010821 | 0.010861 | 0.010861 | 0.9975 | -0.018964 | 0.99744 | -0.018446 | 4.9368
2 | -0.58854 | -0.28024 | 0.5886 | 0.27745 | 5.6003e-05 | -0.0027892 | 0.018865 | 0.01883 | 0.018865 | 0.9975 | -0.018964 | 0.99758 | -0.019753 | 8.5749
3 | 0.33836 | 0.16231 | -0.33835 | -0.16366 | 8.9871e-06 | -0.0013508 | 0.010861 | 0.010878 | 0.010878 | 0.99744 | -0.018446 | 0.99741 | -0.018217 | 4.9446
4 | -0.5886 | -0.27745 | 0.58862 | 0.27648 | 1.9472e-05 | -0.00097233 | 0.01883 | 0.018818 | 0.01883 | 0.99758 | -0.019753 | 0.99762 | -0.020023 | 8.5591
5 | 2.5644 | 1.231 | -2.5631 | -1.234 | 0.0012927 | -0.003011 | 0.082303 | 0.082345 | 0.082345 | 0.99774 | -0.020166 | 0.99727 | -0.015845 | 37.4296
6 | 0.15622 | 0.069864 | -0.15622 | -0.074409 | 6.3297e-06 | -0.0045445 | 0.0049514 | 0.0050066 | 0.0050066 | 0.99774 | -0.020166 | 0.9977 | -0.01985 | 2.2757
7 | -3.583 | -1.7082 | 3.5855 | 1.7096 | 0.0024711 | 0.0014228 | 0.11484 | 0.11484 | 0.11484 | 0.99774 | -0.020166 | 0.99847 | -0.015351 | 54.6881
8 | 0.86235 | 0.40727 | -0.8623 | -0.40728 | 4.943e-05 | -1.234e-05 | 0.027593 | 0.027593 | 0.027593 | 0.99774 | -0.020166 | 0.99768 | -0.020579 | 13.1397
9 | 0.082004 | 0.033906 | -0.082002 | -0.038305 | 1.6639e-06 | -0.0043991 | 0.0025686 | 0.0026199 | 0.0026199 | 0.99727 | -0.015845 | 0.99725 | -0.015705 | 1.1909
10 | 2.4811 | 1.2001 | -2.4808 | -1.2011 | 0.00038566 | -0.00096302 | 0.079781 | 0.079794 | 0.079794 | 0.99727 | -0.015845 | 0.99713 | -0.014493 | 36.2702
11 | 0.07374 | 0.03557 | -0.07374 | -0.035714 | 4.5241e-08 | -0.00014347 | 0.0023689 | 0.0023707 | 0.0023707 | 0.9977 | -0.01985 | 0.9977 | -0.019844 | 1.0776
12 | 0.082478 | 0.038838 | -0.082478 | -0.039946 | 4.3512e-07 | -0.0011074 | 0.0026378 | 0.0026516 | 0.0026516 | 0.9977 | -0.01985 | 0.9977 | -0.019805 | 1.2053
13 | -3.7429 | -1.7858 | 3.7441 | 1.7847 | 0.0011827 | -0.0011166 | 0.1199 | 0.11988 | 0.1199 | 0.99847 | -0.015351 | 0.99876 | -0.018009 | 54.5008
14 | 0.68348 | 0.32068 | -0.68346 | -0.32149 | 2.2088e-05 | -0.00081704 | 0.021845 | 0.021855 | 0.021855 | 0.99768 | -0.020579 | 0.99765 | -0.020317 | 9.934
15 | -3.7441 | -1.7847 | 3.7443 | 1.7846 | 0.00015508 | -0.00014652 | 0.11988 | 0.11988 | 0.11988 | 0.99876 | -0.018009 | 0.9988 | -0.018357 | 54.4925
16 | -3.7443 | -1.7846 | 3.7456 | 1.7833 | 0.0013454 | -0.0012721 | 0.11988 | 0.11986 | 0.11988 | 0.9988 | -0.018357 | 0.99913 | -0.021373 | 54.4914
17 | 0.18067 | 0.0873 | -0.18067 | -0.087505 | 3.8808e-07 | -0.00020451 | 0.0058076 | 0.0058102 | 0.0058102 | 0.99741 | -0.018217 | 0.99741 | -0.018199 | 2.641
18 | -0.68343 | -0.3224 | 0.68346 | 0.32149 | 2.4526e-05 | -0.00090629 | 0.021866 | 0.021855 | 0.021866 | 0.99762 | -0.020023 | 0.99765 | -0.020317 | 9.9392
19 | -4.8924 | -2.3387 | 4.8958 | 2.3424 | 0.0033704 | 0.0036672 | 0.15667 | 0.15667 | 0.15667 | 0.99913 | -0.021373 | 1 | 0 | 44.7642
20 | -0.27837 | -0.13482 | 0.27837 | 0.13415 | 3.0568e-06 | -0.00066866 | 0.0089843 | 0.0089758 | 0.0089843 | 0.9938 | -0.0083157 | 0.99381 | -0.0084108 | 4.0838
21 | -0.27837 | -0.13415 | 0.2784 | 0.12856 | 2.5348e-05 | -0.0055941 | 0.0089758 | 0.0089064 | 0.0089758 | 0.99381 | -0.0084108 | 0.9939 | -0.0091585 | 4.0799
22 | -0.65912 | -0.31276 | 0.65929 | 0.30613 | 0.00016895 | -0.0066253 | 0.02119 | 0.021107 | 0.02119 | 0.9939 | -0.0091585 | 0.99414 | -0.011238 | 9.6317
23 | 0.38072 | 0.1842 | -0.38072 | -0.18439 | 1.6446e-06 | -0.00019202 | 0.012284 | 0.012287 | 0.012287 | 0.9939 | -0.0091585 | 0.99389 | -0.0091209 | 5.5848
24 | -1.7395 | -0.82229 | 1.7403 | 0.81762 | 0.00086746 | -0.0046625 | 0.05587 | 0.055809 | 0.05587 | 0.99414 | -0.011238 | 0.9946 | -0.01532 | 25.3953
25 | 1.0802 | 0.51615 | -1.0802 | -0.51656 | 2.8008e-05 | -0.00040128 | 0.034763 | 0.034768 | 0.034768 | 0.99414 | -0.011238 | 0.99411 | -0.011018 | 15.8037
26 | 0.30324 | 0.14668 | -0.30324 | -0.14687 | 1.0007e-06 | -0.00018487 | 0.0097769 | 0.0097792 | 0.0097792 | 0.9946 | -0.01532 | 0.9946 | -0.015291 | 4.4451
27 | 0.68936 | 0.32676 | -0.68932 | -0.32678 | 3.8177e-05 | -2.7696e-05 | 0.022142 | 0.022143 | 0.022143 | 0.9946 | -0.01532 | 0.99454 | -0.015714 | 10.5442
28 | -2.7329 | -1.2911 | 2.7357 | 1.2926 | 0.0027706 | 0.0014965 | 0.087727 | 0.087724 | 0.087727 | 0.9946 | -0.01532 | 0.99567 | -0.0080142 | 41.7749
29 | 0.27799 | 0.13449 | -0.27797 | -0.13463 | 1.8073e-05 | -0.00013746 | 0.0089674 | 0.0089693 | 0.0089693 | 0.99411 | -0.011018 | 0.99404 | -0.011448 | 4.2711
30 | 0.58839 | 0.27853 | -0.5883 | -0.27864 | 8.7876e-05 | -0.00010775 | 0.018904 | 0.018906 | 0.018906 | 0.99411 | -0.011018 | 0.99395 | -0.012087 | 9.0026
31 | 0.20124 | 0.097217 | -0.20124 | -0.097463 | 5.8683e-07 | -0.00024625 | 0.006488 | 0.0064911 | 0.0064911 | 0.99438 | -0.014598 | 0.99438 | -0.014573 | 2.9505
32 | -0.20124 | -0.097217 | 0.20124 | 0.097159 | 3.8305e-06 | -5.7898e-05 | 0.006488 | 0.0064873 | 0.006488 | 0.99438 | -0.014598 | 0.9944 | -0.014471 | 3.0895
33 | -0.30416 | -0.14701 | 0.30417 | 0.1454 | 8.7299e-06 | -0.001606 | 0.0098071 | 0.0097868 | 0.0098071 | 0.9944 | -0.014471 | 0.99443 | -0.014717 | 4.4578
34 | 0.68932 | 0.32678 | -0.68924 | -0.32971 | 8.1977e-05 | -0.0029282 | 0.022143 | 0.02218 | 0.02218 | 0.99454 | -0.015714 | 0.99443 | -0.014717 | 10.0816
35 | -2.7357 | -1.2926 | 2.7367 | 1.2905 | 0.0010379 | -0.002085 | 0.087724 | 0.087695 | 0.087724 | 0.99567 | -0.0080142 | 0.99602 | -0.011131 | 39.8747
36 | -0.40873 | -0.19795 | 0.40873 | 0.19786 | 9.5919e-07 | -9.8831e-05 | 0.013133 | 0.013132 | 0.013133 | 0.99823 | -0.0054224 | 0.99823 | -0.0054428 | 5.9696
37 | 0.076269 | 0.032876 | -0.076268 | -0.035893 | 9.9122e-07 | -0.0030176 | 0.0024018 | 0.0024376 | 0.0024376 | 0.99823 | -0.0054428 | 0.99822 | -0.0053474 | 1.108
38 | -0.485 | -0.23073 | 0.48508 | 0.22444 | 8.509e-05 | -0.0062936 | 0.015532 | 0.015454 | 0.015532 | 0.99823 | -0.0054428 | 0.99839 | -0.0068645 | 7.0599
39 | 0.076268 | 0.035893 | -0.076267 | -0.036938 | 3.5016e-07 | -0.0010445 | 0.0024376 | 0.0024507 | 0.0024507 | 0.99822 | -0.0053474 | 0.99821 | -0.0053086 | 1.1139
40 | -4.211 | -1.9772 | 4.2111 | 1.9767 | 0.0001462 | -0.00046591 | 0.13451 | 0.1345 | 0.13451 | 0.99839 | -0.0068645 | 0.99843 | -0.0064452 | 37.1573
41 | 0.3907 | 0.17703 | -0.3906 | -0.18802 | 9.6085e-05 | -0.010987 | 0.012402 | 0.012537 | 0.012537 | 0.99839 | -0.0068645 | 0.99816 | -0.0048911 | 5.6987
42 | 3.3352 | 1.5757 | -3.3301 | -1.5728 | 0.0050839 | 0.0028864 | 0.10665 | 0.10666 | 0.10666 | 0.99839 | -0.0068645 | 0.99678 | -0.017869 | 50.7896
43 | -4.4595 | -2.097 | 4.4597 | 2.0955 | 0.00016221 | -0.0015286 | 0.14248 | 0.14246 | 0.14248 | 0.99843 | -0.0064452 | 0.99847 | -0.0062864 | 22.3325
44 | 0.3906 | 0.18802 | -0.39059 | -0.18917 | 1.0232e-05 | -0.0011556 | 0.012537 | 0.012552 | 0.012552 | 0.99816 | -0.0048911 | 0.99814 | -0.0046644 | 5.7053
45 | 3.096 | 1.4594 | -3.0948 | -1.4611 | 0.0011318 | -0.00171 | 0.099124 | 0.09915 | 0.09915 | 0.99678 | -0.017869 | 0.99644 | -0.014868 | 45.068
46 | 3.0948 | 1.4611 | -3.0937 | -1.4629 | 0.0011611 | -0.0017516 | 0.09915 | 0.099176 | 0.099176 | 0.99644 | -0.014868 | 0.99609 | -0.011777 | 45.0798
47 | 3.0937 | 1.4629 | -3.0934 | -1.4632 | 0.00024218 | -0.00036504 | 0.099176 | 0.099181 | 0.099181 | 0.99609 | -0.011777 | 0.99602 | -0.011131 | 45.0822
48 | -4.4597 | -2.0955 | 4.4602 | 2.0908 | 0.00049597 | -0.0046773 | 0.14246 | 0.1424 | 0.14246 | 0.99847 | -0.0062864 | 0.99858 | -0.0057966 | 22.3294
49 | 0.38507 | 0.18431 | -0.38505 | -0.18631 | 1.7468e-05 | -0.0020022 | 0.012393 | 0.012418 | 0.012418 | 0.99443 | -0.014717 | 0.99439 | -0.014327 | 5.6446
50 | -0.38018 | -0.18345 | 0.38023 | 0.17793 | 4.679e-05 | -0.0055149 | 0.012262 | 0.012193 | 0.012262 | 0.9938 | -0.011382 | 0.99391 | -0.012409 | 5.5735
51 | 0.38018 | 0.18345 | -0.38017 | -0.18413 | 5.7924e-06 | -0.00067829 | 0.012262 | 0.01227 | 0.01227 | 0.9938 | -0.011382 | 0.99378 | -0.01125 | 5.5774
52 | -0.38023 | -0.17793 | 0.38024 | 0.17787 | 1.6452e-05 | -6.2951e-05 | 0.012193 | 0.012192 | 0.012193 | 0.99391 | -0.012409 | 0.99395 | -0.012087 | 5.8061
53 | 0.082002 | 0.038305 | -0.082001 | -0.039715 | 5.4793e-07 | -0.0014103 | 0.0026199 | 0.0026375 | 0.0026375 | 0.99725 | -0.015705 | 0.99725 | -0.015649 | 1.1988
54 | 1.322 | 0.63986 | -1.322 | -0.63996 | 1.0481e-05 | -9.9974e-05 | 0.04252 | 0.042521 | 0.042521 | 0.99713 | -0.014493 | 0.99712 | -0.014424 | 19.3277
55 | 0.34536 | 0.16316 | -0.34533 | -0.1672 | 2.7731e-05 | -0.0040401 | 0.011035 | 0.011085 | 0.011085 | 0.99925 | -0.0030517 | 0.99918 | -0.0023715 | 5.0386
56 | 9.5063 | 4.503 | -9.5018 | -4.5103 | 0.0044816 | -0.0073213 | 0.30388 | 0.304 | 0.304 | 0.99925 | -0.0030517 | 0.99876 | -0.0050131 | 47.6493
57 | 0.073721 | 0.035545 | -0.073721 | -0.035705 | 5.0146e-08 | -0.00016003 | 0.0023644 | 0.0023664 | 0.0023664 | 0.99925 | -0.0030517 | 0.99925 | -0.0030458 | 1.0756
58 | -9.9254 | -4.7017 | 9.9321 | 4.6919 | 0.0067032 | -0.0097618 | 0.31728 | 0.31711 | 0.31728 | 0.99925 | -0.0030517 | 0.99995 | -0.00020515 | 49.7303
59 | 0.34533 | 0.1672 | -0.34533 | -0.16725 | 3.9114e-07 | -5.6711e-05 | 0.011085 | 0.011086 | 0.011086 | 0.99918 | -0.0023715 | 0.99918 | -0.0023616 | 5.039
60 | 2.7152 | 1.3115 | -2.7138 | -1.3143 | 0.0013323 | -0.0027313 | 0.087153 | 0.087192 | 0.087192 | 0.99876 | -0.0050131 | 0.99831 | -0.00075049 | 39.6329
61 | 2.1031 | 1.0157 | -2.1029 | -1.0161 | 0.00012697 | -0.00045937 | 0.067503 | 0.067509 | 0.067509 | 0.99876 | -0.0050131 | 0.99871 | -0.0044902 | 30.6859
62 | 4.5488 | 2.126 | -4.5482 | -2.1313 | 0.00058446 | -0.0052962 | 0.14513 | 0.14519 | 0.14519 | 0.99876 | -0.0050131 | 0.99863 | -0.0055875 | 22.7578
63 | 0.13482 | 0.057051 | -0.13481 | -0.064646 | 7.783e-06 | -0.0075945 | 0.0042312 | 0.0043215 | 0.0043215 | 0.99876 | -0.0050131 | 0.99871 | -0.004588 | 1.9643
64 | -9.9321 | -4.6919 | 9.9326 | 4.6912 | 0.00047932 | -0.00069929 | 0.31711 | 0.3171 | 0.31711 | 0.99995 | -0.00020515 | 1 | 0 | 49.7041
65 | 4.5482 | 2.1313 | -4.5482 | -2.1315 | 1.687e-05 | -0.00015277 | 0.14519 | 0.1452 | 0.1452 | 0.99863 | -0.0055875 | 0.99863 | -0.005604 | 22.7581
66 | 4.4604 | 2.089 | -4.4602 | -2.0908 | 0.00019341 | -0.0018254 | 0.14238 | 0.1424 | 0.1424 | 0.99863 | -0.005604 | 0.99858 | -0.0057966 | 22.3199
67 | 0.13481 | 0.064646 | -0.13481 | -0.06529 | 6.7638e-07 | -0.00064468 | 0.0043215 | 0.0043296 | 0.0043296 | 0.99871 | -0.004588 | 0.99871 | -0.0045447 | 1.968
68 | 1.4647 | 0.70928 | -1.4647 | -0.7093 | 2.4182e-06 | -1.8748e-05 | 0.047058 | 0.047058 | 0.047058 | 0.99831 | -0.00075049 | 0.99831 | -0.00073611 | 21.3899
69 | 0.10679 | 0.051371 | -0.10679 | -0.051723 | 2.3189e-07 | -0.00035201 | 0.0034255 | 0.0034299 | 0.0034299 | 0.99871 | -0.0044902 | 0.99871 | -0.0044714 | 1.559
70 | 1.9961 | 0.96477 | -1.996 | -0.9653 | 0.00013091 | -0.0005297 | 0.064084 | 0.064091 | 0.064091 | 0.99871 | -0.0044902 | 0.99865 | -0.0039212 | 29.1321
71 | 1.214 | 0.58767 | -1.214 | -0.58796 | 2.5041e-05 | -0.00028458 | 0.039048 | 0.039052 | 0.039052 | 0.99712 | -0.014424 | 0.9971 | -0.014245 | 17.7507
72 | -0.38505 | -0.18649 | 0.38505 | 0.18631 | 1.5406e-06 | -0.00017618 | 0.01242 | 0.012418 | 0.01242 | 0.99438 | -0.014293 | 0.99439 | -0.014327 | 5.6456
73 | 6.6203 | 3.1625 | -6.6135 | -3.1528 | 0.0068489 | 0.0096391 | 0.2118 | 0.2118 | 0.2118 | 1 | 0 | 0.99858 | -0.046885 | 51.6587
74 | 0.47395 | 0.22716 | -0.47391 | -0.22953 | 3.0865e-05 | -0.0023705 | 0.015194 | 0.015223 | 0.015223 | 0.99858 | -0.046885 | 0.99852 | -0.046324 | 6.9197
75 | 6.1395 | 2.9257 | -6.1053 | -2.8777 | 0.034213 | 0.047943 | 0.19661 | 0.19663 | 0.19663 | 0.99858 | -0.046885 | 0.99092 | -0.3015 | 47.9577
76 | 6.1053 | 2.8777 | -6.1046 | -2.8785 | 0.00072602 | -0.0007818 | 0.19663 | 0.19664 | 0.19664 | 0.99092 | -0.3015 | 0.99079 | -0.30292 | 54.3213
77 | -0.5557 | -0.26892 | 0.5557 | 0.26873 | 3.7441e-06 | -0.00019819 | 0.018075 | 0.018072 | 0.018075 | 0.98599 | -0.28443 | 0.98599 | -0.28449 | 8.2157
78 | 0.26912 | 0.13013 | -0.2691 | -0.13033 | 2.5336e-05 | -0.0001995 | 0.0087521 | 0.0087548 | 0.0087548 | 0.98599 | -0.28443 | 0.98589 | -0.28505 | 4.169
79 | -0.5557 | -0.26873 | 0.55577 | 0.26487 | 7.2667e-05 | -0.0038581 | 0.018072 | 0.018023 | 0.018072 | 0.98599 | -0.28449 | 0.98611 | -0.2856 | 8.2146
80 | -0.6514 | -0.31032 | 0.65178 | 0.29574 | 0.0003733 | -0.014576 | 0.021122 | 0.020941 | 0.021122 | 0.98611 | -0.2856 | 0.98664 | -0.29015 | 9.6011
81 | 0.095629 | 0.045452 | -0.095629 | -0.046315 | 4.7862e-07 | -0.00086322 | 0.0030996 | 0.0031105 | 0.0031105 | 0.98611 | -0.2856 | 0.98611 | -0.28556 | 1.4139
82 | 0.20006 | 0.086532 | -0.20004 | -0.091476 | 1.1663e-05 | -0.0049434 | 0.0063774 | 0.0064362 | 0.0064362 | 0.98664 | -0.29015 | 0.98659 | -0.28973 | 2.9256
83 | 0.075174 | 0.033443 | -0.075173 | -0.036408 | 1.0018e-06 | -0.0029651 | 0.0024073 | 0.0024439 | 0.0024439 | 0.98664 | -0.29015 | 0.98663 | -0.29004 | 1.1108
84 | -0.92701 | -0.41572 | 0.92767 | 0.40265 | 0.00066939 | -0.01307 | 0.029725 | 0.029568 | 0.029725 | 0.98664 | -0.29015 | 0.98732 | -0.29515 | 13.5114
85 | -1.0867 | -0.4787 | 1.0868 | 0.4778 | 6.3228e-05 | -0.00089619 | 0.034718 | 0.034707 | 0.034718 | 0.98736 | -0.2955 | 0.98742 | -0.2959 | 15.7809
86 | 0.92772 | 0.4017 | -0.92767 | -0.40265 | 4.839e-05 | -0.00095098 | 0.029557 | 0.029568 | 0.029568 | 0.98736 | -0.2955 | 0.98732 | -0.29515 | 13.4402
87 | 0.2709 | 0.13107 | -0.2709 | -0.1312 | 5.8635e-07 | -0.00013189 | 0.0087981 | 0.0087998 | 0.0087998 | 0.98742 | -0.2959 | 0.98742 | -0.29588 | 3.9999
88 | -1.3577 | -0.60887 | 1.3593 | 0.59444 | 0.0016092 | -0.014429 | 0.043501 | 0.043324 | 0.043501 | 0.98742 | -0.2959 | 0.98853 | -0.3042 | 19.7731
89 | -2.4625 | -1.1235 | 2.463 | 1.1223 | 0.00046271 | -0.0011576 | 0.079042 | 0.079027 | 0.079042 | 0.98853 | -0.3042 | 0.9887 | -0.30562 | 35.9284
90 | 0.94711 | 0.45412 | -0.94691 | -0.45782 | 0.00020261 | -0.003697 | 0.030673 | 0.030721 | 0.030721 | 0.98853 | -0.3042 | 0.98833 | -0.30236 | 13.9639
91 | 0.15613 | 0.074899 | -0.15613 | -0.075617 | 1.0537e-06 | -0.00071853 | 0.0050569 | 0.0050661 | 0.0050661 | 0.98853 | -0.3042 | 0.98852 | -0.30414 | 2.3028
92 | 0.23347 | 0.113 | -0.23347 | -0.11306 | 1.7264e-07 | -5.4646e-05 | 0.0075003 | 0.007501 | 0.007501 | 0.99831 | -0.00073611 | 0.99831 | -0.00072968 | 3.4095
93 | 1.996 | 0.9653 | -1.9958 | -0.9661 | 0.00019686 | -0.0007962 | 0.064091 | 0.064101 | 0.064101 | 0.99865 | -0.0039212 | 0.99856 | -0.0030639 | 29.137
94 | -3.2281 | -1.4845 | 3.2283 | 1.4843 | 0.00015184 | -0.00020327 | 0.10357 | 0.10357 | 0.10357 | 0.99033 | -0.31313 | 0.99038 | -0.31349 | 47.0778
95 | 3.1547 | 1.449 | -3.1536 | -1.4483 | 0.00114 | 0.00064092 | 0.10119 | 0.10119 | 0.10119 | 0.99033 | -0.31313 | 0.98995 | -0.31598 | 48.1877
96 | -5.4965 | -2.5829 | 5.4983 | 2.5849 | 0.0018369 | 0.0020223 | 0.17702 | 0.17702 | 0.17702 | 0.99038 | -0.31349 | 0.99079 | -0.30292 | 50.577
97 | 3.1536 | 1.4483 | -3.1531 | -1.449 | 0.0005005 | -0.00070796 | 0.10119 | 0.1012 | 0.1012 | 0.98995 | -0.31598 | 0.9898 | -0.31476 | 46.0021
98 | 3.022 | 1.3856 | -3.0218 | -1.3859 | 0.00021259 | -0.00033312 | 0.096959 | 0.096964 | 0.096964 | 0.9898 | -0.31476 | 0.98974 | -0.31422 | 44.0745
99 | 3.0218 | 1.3859 | -3.0195 | -1.3895 | 0.0023206 | -0.0036303 | 0.096964 | 0.097016 | 0.097016 | 0.98974 | -0.31422 | 0.98903 | -0.30831 | 44.0984
100 | 3.0195 | 1.3895 | -3.0192 | -1.39 | 0.00027687 | -0.00043241 | 0.097016 | 0.097023 | 0.097023 | 0.98903 | -0.30831 | 0.98894 | -0.3076 | 44.1013
101 | 2.8347 | 1.3006 | -2.8345 | -1.301 | 0.00021492 | -0.00038975 | 0.09104 | 0.091045 | 0.091045 | 0.98894 | -0.3076 | 0.98887 | -0.30701 | 41.3843
102 | 0.091231 | 0.042507 | -0.09123 | -0.044166 | 8.3255e-07 | -0.0016592 | 0.002945 | 0.0029658 | 0.0029658 | 0.98659 | -0.28973 | 0.98658 | -0.28966 | 1.3481
103 | 0.10881 | 0.048968 | -0.10881 | -0.052699 | 2.6473e-06 | -0.0037309 | 0.0034914 | 0.0035376 | 0.0035376 | 0.98659 | -0.28973 | 0.98656 | -0.28954 | 1.608
104 | 0.7084 | 0.34258 | -0.70838 | -0.34308 | 1.487e-05 | -0.00050787 | 0.022748 | 0.022755 | 0.022755 | 0.99856 | -0.0030639 | 0.99854 | -0.0028813 | 10.343
105 | -2.463 | -1.1223 | 2.4631 | 1.1219 | 0.00014849 | -0.00037168 | 0.079027 | 0.079022 | 0.079027 | 0.9887 | -0.30562 | 0.98876 | -0.30607 | 35.9212
106 | 0.94691 | 0.45782 | -0.94686 | -0.45859 | 4.2388e-05 | -0.00077178 | 0.030721 | 0.030731 | 0.030731 | 0.98833 | -0.30236 | 0.98829 | -0.30197 | 13.9684
107 | -2.8341 | -1.3016 | 2.8345 | 1.301 | 0.00034633 | -0.0006278 | 0.091054 | 0.091045 | 0.091054 | 0.98876 | -0.30607 | 0.98887 | -0.30701 | 41.3883
108 | 0.09123 | 0.044166 | -0.09123 | -0.044185 | 2.4897e-07 | -1.8302e-05 | 0.0029658 | 0.002966 | 0.002966 | 0.98658 | -0.28966 | 0.98658 | -0.28968 | 1.4124
109 | -0.10608 | -0.051375 | 0.10608 | 0.051358 | 1.0798e-08 | -1.6535e-05 | 0.0034081 | 0.0034079 | 0.0034081 | 0.99831 | -0.00072879 | 0.99831 | -0.00072968 | 1.5492

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 21.6829 | 10.3133

## res_load
| p_mw | q_mvar
0 | 0.25016 | 0.12116
1 | 0.15746 | 0.076263
2 | 0.17882 | 0.086606
3 | 0.15767 | 0.076364
4 | 0.094814 | 0.045921
5 | 1.1468 | 0.55541
6 | 0.18067 | 0.087505
7 | 0.27837 | 0.13482
8 | 0.38072 | 0.18439
9 | 0.21378 | 0.10354
10 | 0.20124 | 0.097463
11 | 0.10292 | 0.049847
12 | 0.30324 | 0.14687
13 | 0.40873 | 0.19795
14 | 0.076267 | 0.036938
15 | 0.24839 | 0.1203
16 | 0.23414 | 0.1134
17 | 0.39059 | 0.18917
18 | 0.3567 | 0.17276
19 | 0.38017 | 0.18413
20 | 0.20806 | 0.10077
21 | 0.27797 | 0.13463
22 | 1.1588 | 0.56122
23 | 0.07374 | 0.035714
24 | 0.082478 | 0.039946
25 | 0.073721 | 0.035705
26 | 0.087794 | 0.042521
27 | 0.13481 | 0.06529
28 | 1.2492 | 0.605
29 | 0.082001 | 0.039715
30 | 0.10797 | 0.05229
31 | 0.38505 | 0.18649
32 | 0.22025 | 0.10667
33 | 0.47391 | 0.22953
34 | 0.34533 | 0.16725
35 | 0.28658 | 0.13879
36 | 0.2691 | 0.13033
37 | 0.095629 | 0.046315
38 | 0.15899 | 0.077001
39 | 0.2709 | 0.1312
40 | 1.2312 | 0.59629
41 | 0.10679 | 0.051723
42 | 0.073429 | 0.035563
43 | 2.2682 | 1.0985
44 | 0.60623 | 0.29361
45 | 0.13104 | 0.063467
46 | 0.1845 | 0.089358
47 | 0.075173 | 0.036408
48 | 1.2874 | 0.62352
49 | 0.70838 | 0.34308
50 | 0.15613 | 0.075617
51 | 0.37101 | 0.17969
52 | 0.10881 | 0.052699
53 | 0.09123 | 0.044185
54 | 0.94686 | 0.45859
55 | 0.10608 | 0.051375
56 | 0.12739 | 0.061699
57 | 1.214 | 0.58796

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1