## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_640_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_640_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_640_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_640_0_node_91 | 20 | n |  | TRUE
4 | bus_MV_640_0_node_92 | 20 | n |  | TRUE
5 | bus_MV_640_0_node_115 | 20 | n |  | TRUE
6 | bus_MV_640_0_node_116 | 20 | n |  | TRUE
7 | bus_MV_640_0_node_120 | 20 | n |  | TRUE
8 | bus_MV_640_0_node_38 | 20 | n |  | TRUE
9 | bus_MV_640_0_node_79 | 20 | n |  | TRUE
10 | bus_MV_640_0_node_41 | 20 | n |  | TRUE
11 | bus_MV_640_0_node_4 | 20 | n |  | TRUE
12 | bus_MV_640_0_node_5 | 20 | n |  | TRUE
13 | bus_MV_640_0_node_103 | 20 | n |  | TRUE
14 | bus_MV_640_0_node_60 | 20 | n |  | TRUE
15 | bus_MV_640_0_node_100 | 20 | n |  | TRUE
16 | bus_MV_640_0_node_6 | 20 | n |  | TRUE
17 | bus_MV_640_0_node_96 | 20 | n |  | TRUE
18 | bus_MV_640_0_node_8 | 20 | n |  | TRUE
19 | bus_MV_640_0_node_107 | 20 | n |  | TRUE
20 | bus_MV_640_0_node_39 | 20 | n |  | TRUE
21 | bus_MV_640_0_node_30 | 20 | n |  | TRUE
22 | bus_MV_640_0_node_99 | 20 | n |  | TRUE
23 | bus_MV_640_0_node_101 | 20 | n |  | TRUE
24 | bus_MV_640_0_node_110 | 20 | n |  | TRUE
25 | bus_MV_640_0_node_95 | 20 | n |  | TRUE
26 | bus_MV_640_0_node_106 | 20 | n |  | TRUE
27 | bus_MV_640_0_node_10 | 20 | n |  | TRUE
28 | bus_MV_640_0_node_11 | 20 | n |  | TRUE
29 | bus_MV_640_0_node_13 | 20 | n |  | TRUE
30 | bus_MV_640_0_node_12 | 20 | n |  | TRUE
31 | bus_MV_640_0_node_16 | 20 | n |  | TRUE
32 | bus_MV_640_0_node_98 | 20 | n |  | TRUE
33 | bus_MV_640_0_node_14 | 20 | n |  | TRUE
34 | bus_MV_640_0_node_15 | 20 | n |  | TRUE
35 | bus_MV_640_0_node_111 | 20 | n |  | TRUE
36 | bus_MV_640_0_node_17 | 20 | n |  | TRUE
37 | bus_MV_640_0_node_114 | 20 | n |  | TRUE
38 | bus_MV_640_0_node_68 | 20 | n |  | TRUE
39 | bus_MV_640_0_node_94 | 20 | n |  | TRUE
40 | bus_MV_640_0_node_57 | 20 | n |  | TRUE
41 | bus_MV_640_0_node_18 | 20 | n |  | TRUE
42 | bus_MV_640_0_node_19 | 20 | n |  | TRUE
43 | bus_MV_640_0_node_81 | 20 | n |  | TRUE
44 | bus_MV_640_0_node_20 | 20 | n |  | TRUE
45 | bus_MV_640_0_node_83 | 20 | n |  | TRUE
46 | bus_MV_640_0_node_80 | 20 | n |  | TRUE
47 | bus_MV_640_0_node_24 | 20 | n |  | TRUE
48 | bus_MV_640_0_node_22 | 20 | n |  | TRUE
49 | bus_MV_640_0_node_43 | 20 | n |  | TRUE
50 | bus_MV_640_0_node_23 | 20 | n |  | TRUE
51 | bus_MV_640_0_node_84 | 20 | n |  | TRUE
52 | bus_MV_640_0_node_25 | 20 | n |  | TRUE
53 | bus_MV_640_0_node_89 | 20 | n |  | TRUE
54 | bus_MV_640_0_node_108 | 20 | n |  | TRUE
55 | bus_MV_640_0_node_53 | 20 | n |  | TRUE
56 | bus_MV_640_0_node_46 | 20 | n |  | TRUE
57 | bus_MV_640_0_node_44 | 20 | n |  | TRUE
58 | bus_MV_640_0_node_45 | 20 | n |  | TRUE
59 | bus_MV_640_0_node_88 | 20 | n |  | TRUE
60 | bus_MV_640_0_node_26 | 20 | n |  | TRUE
61 | bus_MV_640_0_node_27 | 20 | n |  | TRUE
62 | bus_MV_640_0_node_29 | 20 | n |  | TRUE
63 | bus_MV_640_0_node_31 | 20 | n |  | TRUE
64 | bus_MV_640_0_node_33 | 20 | n |  | TRUE
65 | bus_MV_640_0_node_55 | 20 | n |  | TRUE
66 | bus_MV_640_0_node_56 | 20 | n |  | TRUE
67 | bus_MV_640_0_node_28 | 20 | n |  | TRUE
68 | bus_MV_640_0_node_102 | 20 | n |  | TRUE
69 | bus_MV_640_0_node_104 | 20 | n |  | TRUE
70 | bus_MV_640_0_node_119 | 20 | n |  | TRUE
71 | bus_MV_640_0_node_32 | 20 | n |  | TRUE
72 | bus_MV_640_0_node_117 | 20 | n |  | TRUE
73 | bus_MV_640_0_node_105 | 20 | n |  | TRUE
74 | bus_MV_640_0_node_34 | 20 | n |  | TRUE
75 | bus_MV_640_0_node_36 | 20 | n |  | TRUE
76 | bus_MV_640_0_node_61 | 20 | n |  | TRUE
77 | bus_MV_640_0_node_63 | 20 | n |  | TRUE
78 | bus_MV_640_0_node_85 | 20 | n |  | TRUE
79 | bus_MV_640_0_node_86 | 20 | n |  | TRUE
80 | bus_MV_640_0_node_64 | 20 | n |  | TRUE
81 | bus_MV_640_0_node_62 | 20 | n |  | TRUE
82 | bus_MV_640_0_node_90 | 20 | n |  | TRUE
83 | bus_MV_640_0_node_59 | 20 | n |  | TRUE
84 | bus_MV_640_0_node_40 | 20 | n |  | TRUE
85 | bus_MV_640_0_node_42 | 20 | n |  | TRUE
86 | bus_MV_640_0_node_71 | 20 | n |  | TRUE
87 | bus_MV_640_0_node_97 | 20 | n |  | TRUE
88 | bus_MV_640_0_node_72 | 20 | n |  | TRUE
89 | bus_MV_640_0_node_47 | 20 | n |  | TRUE
90 | bus_MV_640_0_node_48 | 20 | n |  | TRUE
91 | bus_MV_640_0_node_78 | 20 | n |  | TRUE
92 | bus_MV_640_0_node_51 | 20 | n |  | TRUE
93 | bus_MV_640_0_node_77 | 20 | n |  | TRUE
94 | bus_MV_640_0_node_49 | 20 | n |  | TRUE
95 | bus_MV_640_0_node_66 | 20 | n |  | TRUE
96 | bus_MV_640_0_node_73 | 20 | n |  | TRUE
97 | bus_MV_640_0_node_50 | 20 | n |  | TRUE
98 | bus_MV_640_0_node_74 | 20 | n |  | TRUE
99 | bus_MV_640_0_node_75 | 20 | n |  | TRUE
100 | bus_MV_640_0_node_76 | 20 | n |  | TRUE
101 | bus_MV_640_0_node_65 | 20 | n |  | TRUE
102 | bus_MV_640_0_node_54 | 20 | n |  | TRUE
103 | bus_MV_640_0_node_52 | 20 | n |  | TRUE
104 | bus_MV_640_0_node_58 | 20 | n |  | TRUE
105 | bus_MV_640_0_node_87 | 20 | n |  | TRUE
106 | bus_MV_640_0_node_67 | 20 | n |  | TRUE
107 | bus_MV_640_0_node_69 | 20 | n |  | TRUE
108 | bus_MV_640_0_node_109 | 20 | n |  | TRUE
109 | bus_MV_640_0_node_118 | 20 | n |  | TRUE
110 | bus_MV_640_0_node_82 | 20 | n |  | TRUE
111 | bus_MV_640_0_node_112 | 20 | n |  | TRUE
112 | bus_MV_640_0_node_113 | 20 | n |  | TRUE
113 | bus_MV_640_0_node_93 | 20 | n |  | TRUE
114 | bus_HV_640_0_node_57 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_640_0_load_0 | 0 | 0.39918 | 0.19333 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_640_0_load_91 | 3 | 0.079768 | 0.038633 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_640_0_load_115 | 5 | 0.47302 | 0.22909 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_640_0_load_116 | 6 | 0.071981 | 0.034862 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_640_0_load_120 | 7 | 0.40087 | 0.19415 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_640_0_load_38 | 8 | 0.28984 | 0.14038 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_640_0_load_79 | 9 | 1.3427 | 0.6503 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_640_0_load_41 | 10 | 0.070141 | 0.033971 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_640_0_load_103 | 13 | 0.086625 | 0.041955 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_640_0_load_60 | 14 | 0.33182 | 0.16071 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_640_0_load_39 | 20 | 0.4027 | 0.19504 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_640_0_load_99 | 22 | 0.14359 | 0.069543 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_640_0_load_101 | 23 | 0.077953 | 0.037754 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_640_0_load_110 | 24 | 0.30595 | 0.14818 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_640_0_load_95 | 25 | 0.18621 | 0.090187 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_640_0_load_106 | 26 | 0.32381 | 0.15683 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_640_0_load_10 | 27 | 0.15363 | 0.074409 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_640_0_load_98 | 32 | 0.084263 | 0.040811 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_640_0_load_111 | 35 | 0.32283 | 0.15636 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_640_0_load_17 | 36 | 0.31521 | 0.15266 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_640_0_load_114 | 37 | 0.33745 | 0.16344 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_640_0_load_18 | 41 | 0.26431 | 0.12801 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_640_0_load_80 | 46 | 0.10445 | 0.050588 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_640_0_load_22 | 48 | 0.30459 | 0.14752 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_640_0_load_43 | 49 | 0.38039 | 0.18423 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_640_0_load_84 | 51 | 0.36031 | 0.17451 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_640_0_load_108 | 54 | 0.34863 | 0.16885 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_640_0_load_53 | 55 | 0.74224 | 0.35948 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_640_0_load_44 | 57 | 0.47697 | 0.23101 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_640_0_load_88 | 59 | 0.1351 | 0.065434 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_640_0_load_26 | 60 | 0.25615 | 0.12406 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_640_0_load_55 | 65 | 0.35798 | 0.17338 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_640_0_load_102 | 68 | 0.14025 | 0.067927 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_640_0_load_104 | 69 | 0.30836 | 0.14935 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_640_0_load_119 | 70 | 0.28491 | 0.13799 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_640_0_load_117 | 72 | 0.29975 | 0.14518 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_640_0_load_105 | 73 | 0.085584 | 0.04145 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_640_0_load_61 | 76 | 0.39281 | 0.19025 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_640_0_load_63 | 77 | 0.25357 | 0.12281 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_640_0_load_85 | 78 | 0.081779 | 0.039607 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_640_0_load_86 | 79 | 0.070865 | 0.034322 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_640_0_load_64 | 80 | 0.32887 | 0.15928 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_640_0_load_62 | 81 | 0.3091 | 0.14971 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_640_0_load_90 | 82 | 0.084081 | 0.040722 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_640_0_load_97 | 87 | 0.069037 | 0.033436 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_640_0_load_47 | 89 | 0.71819 | 0.34784 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_640_0_load_78 | 91 | 0.15512 | 0.075129 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_640_0_load_73 | 96 | 0.083953 | 0.04066 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_640_0_load_74 | 98 | 0.086966 | 0.04212 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_640_0_load_75 | 99 | 0.20072 | 0.097214 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_640_0_load_76 | 100 | 0.29162 | 0.14124 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_640_0_load_65 | 101 | 0.37382 | 0.18105 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_640_0_load_54 | 102 | 0.11046 | 0.053499 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_640_0_load_52 | 103 | 0.18261 | 0.088441 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_640_0_load_67 | 106 | 0.094583 | 0.045809 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_640_0_load_109 | 108 | 0.080209 | 0.038847 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_640_0_load_118 | 109 | 0.34244 | 0.16585 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_640_0_load_113 | 112 | 0.090548 | 0.043854 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_640_0_line_0 |  | 0 | 1 | 0.019264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_640_0_line_1 |  | 1 | 2 | 0.051583 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_640_0_line_2 |  | 2 | 9 | 0.054842 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_640_0_line_3 |  | 2 | 10 | 0.081783 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_640_0_line_4 |  | 3 | 4 | 0.037573 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
5 | MV_640_0_line_5 |  | 3 | 5 | 0.42741 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_640_0_line_6 |  | 3 | 6 | 0.11671 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_640_0_line_7 |  | 3 | 7 | 0.15934 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_640_0_line_8 |  | 3 | 8 | 0.3961 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_640_0_line_9 |  | 4 | 113 | 0.036538 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
10 | MV_640_0_line_10 |  | 4 | 39 | 0.038046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_640_0_line_11 |  | 5 | 18 | 0.028276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_640_0_line_12 |  | 6 | 16 | 0.04674 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_640_0_line_13 |  | 10 | 20 | 0.016361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_640_0_line_14 |  | 11 | 12 | 0.17745 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
15 | MV_640_0_line_15 |  | 11 | 13 | 0.020926 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
16 | MV_640_0_line_16 |  | 12 | 14 | 0.10253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_640_0_line_17 |  | 12 | 15 | 0.13366 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
18 | MV_640_0_line_18 |  | 13 | 21 | 0.028393 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
19 | MV_640_0_line_19 |  | 15 | 23 | 0.024448 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
20 | MV_640_0_line_20 |  | 15 | 22 | 0.025991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_640_0_line_21 |  | 16 | 17 | 0.10713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_640_0_line_22 |  | 17 | 24 | 0.12686 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_640_0_line_23 |  | 17 | 25 | 0.031389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_640_0_line_24 |  | 18 | 19 | 0.076044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_640_0_line_25 |  | 19 | 26 | 0.015849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_640_0_line_26 |  | 20 | 84 | 0.085516 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_640_0_line_27 |  | 21 | 62 | 0.076482 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
28 | MV_640_0_line_28 |  | 23 | 113 | 0.020365 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
29 | MV_640_0_line_29 |  | 24 | 38 | 0.4896 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_640_0_line_30 |  | 24 | 30 | 0.028092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_640_0_line_31 |  | 25 | 86 | 0.026281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_640_0_line_32 |  | 27 | 28 | 0.013232 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_640_0_line_33 |  | 28 | 29 | 0.11758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_640_0_line_34 |  | 29 | 32 | 0.026641 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_640_0_line_35 |  | 30 | 31 | 0.45209 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_640_0_line_36 |  | 31 | 37 | 0.10744 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_640_0_line_37 |  | 32 | 39 | 0.029376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_640_0_line_38 |  | 33 | 34 | 0.17272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_640_0_line_39 |  | 33 | 35 | 0.036729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_640_0_line_40 |  | 34 | 36 | 0.073766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_640_0_line_41 |  | 35 | 40 | 0.065149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_640_0_line_42 |  | 38 | 107 | 0.065804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_640_0_line_43 |  | 38 | 106 | 0.036819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_640_0_line_44 |  | 40 | 66 | 0.13293 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
45 | MV_640_0_line_45 |  | 40 | 69 | 0.29539 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
46 | MV_640_0_line_46 |  | 41 | 42 | 0.090833 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_640_0_line_47 |  | 41 | 43 | 0.13441 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_640_0_line_48 |  | 42 | 44 | 0.27426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_640_0_line_49 |  | 43 | 45 | 0.071407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_640_0_line_50 |  | 43 | 46 | 0.050185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_640_0_line_51 |  | 44 | 47 | 0.36302 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
52 | MV_640_0_line_52 |  | 44 | 48 | 0.095305 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
53 | MV_640_0_line_53 |  | 45 | 51 | 0.061834 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_640_0_line_54 |  | 46 | 110 | 0.12242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_640_0_line_55 |  | 47 | 49 | 0.10806 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
56 | MV_640_0_line_56 |  | 48 | 50 | 0.059733 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
57 | MV_640_0_line_57 |  | 49 | 57 | 0.20777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_640_0_line_58 |  | 49 | 58 | 0.012761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_640_0_line_59 |  | 50 | 52 | 0.14111 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
60 | MV_640_0_line_60 |  | 52 | 53 | 0.009812 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
61 | MV_640_0_line_61 |  | 52 | 54 | 0.048545 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_640_0_line_62 |  | 53 | 59 | 0.044223 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
63 | MV_640_0_line_63 |  | 55 | 56 | 0.10119 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_640_0_line_64 |  | 56 | 89 | 0.088408 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_640_0_line_65 |  | 56 | 90 | 0.4683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_640_0_line_66 |  | 56 | 58 | 0.11503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_640_0_line_67 |  | 59 | 104 | 0.071719 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
68 | MV_640_0_line_68 |  | 60 | 61 | 0.019601 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_640_0_line_69 |  | 61 | 62 | 0.27699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_640_0_line_70 |  | 61 | 63 | 0.1802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_640_0_line_71 |  | 61 | 64 | 0.35815 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_640_0_line_72 |  | 62 | 69 | 0.064127 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
73 | MV_640_0_line_73 |  | 62 | 67 | 0.067009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_640_0_line_74 |  | 63 | 70 | 0.025218 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_640_0_line_75 |  | 64 | 73 | 0.017625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_640_0_line_76 |  | 64 | 71 | 0.018143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_640_0_line_77 |  | 65 | 66 | 0.051592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_640_0_line_78 |  | 66 | 104 | 0.11781 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
79 | MV_640_0_line_79 |  | 67 | 68 | 0.015144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_640_0_line_80 |  | 71 | 72 | 0.045237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_640_0_line_81 |  | 74 | 75 | 0.40597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_640_0_line_82 |  | 74 | 76 | 0.003734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_640_0_line_83 |  | 75 | 77 | 0.091255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_640_0_line_84 |  | 76 | 78 | 0.39572 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_640_0_line_85 |  | 78 | 79 | 0.06852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_640_0_line_86 |  | 78 | 80 | 0.85634 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_640_0_line_87 |  | 79 | 105 | 0.095095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_640_0_line_88 |  | 81 | 82 | 0.28504 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_640_0_line_89 |  | 82 | 83 | 0.10884 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_640_0_line_90 |  | 83 | 105 | 0.004494 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_640_0_line_91 |  | 83 | 104 | 0.090041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_640_0_line_92 |  | 84 | 85 | 0.10349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_640_0_line_93 |  | 85 | 86 | 0.0876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_640_0_line_94 |  | 85 | 87 | 0.029289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_640_0_line_95 |  | 86 | 88 | 0.20055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_640_0_line_96 |  | 88 | 109 | 0.050029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_640_0_line_97 |  | 90 | 91 | 0.046563 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_640_0_line_98 |  | 90 | 92 | 0.12577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_640_0_line_99 |  | 90 | 93 | 0.06407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_640_0_line_100 |  | 92 | 99 | 0.037105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_640_0_line_101 |  | 92 | 94 | 0.16015 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_640_0_line_102 |  | 92 | 97 | 0.014283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_640_0_line_103 |  | 93 | 100 | 0.057504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_640_0_line_104 |  | 94 | 95 | 0.10812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_640_0_line_105 |  | 94 | 96 | 0.069301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_640_0_line_106 |  | 95 | 101 | 0.061524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_640_0_line_107 |  | 97 | 98 | 0.064112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_640_0_line_108 |  | 99 | 102 | 0.1727 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
109 | MV_640_0_line_109 |  | 102 | 103 | 0.037216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_640_0_line_110 |  | 107 | 108 | 0.035827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_640_0_line_111 |  | 110 | 111 | 1.8244 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
112 | MV_640_0_line_112 |  | 111 | 112 | 0.015366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_640_0_trafo_57 | 25 MVA 110/20 kV | 114 | 40 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2686055.0392 | 1256284.3344
1 | 2686036.1329 | 1256288.3071
2 | 2685987.1888 | 1256305.0202
3 | 2686318.9122 | 1256351.2391
4 | 2686325.6239 | 1256388.2082
5 | 2685905.64 | 1256242.1995
6 | 2686205.358 | 1256324.2959
7 | 2686216.5726 | 1256229.1082
8 | 2686110.3142 | 1256014.5195
9 | 2686008.6916 | 1256264.4648
10 | 2685963.2708 | 1256383.2275
11 | 2686380.8483 | 1256087.5155
12 | 2686349.3141 | 1256209.3827
13 | 2686401.0428 | 1256082.0307
14 | 2686447.9419 | 1256181.3779
15 | 2686367.0816 | 1256341.8548
16 | 2686173.2719 | 1256313.9987
17 | 2686185.7295 | 1256420.3173
18 | 2685913.3437 | 1256214.9903
19 | 2685840.8414 | 1256237.6118
20 | 2685961.6931 | 1256399.5119
21 | 2686428.4428 | 1256074.5889
22 | 2686392.7358 | 1256337.6811
23 | 2686343.8258 | 1256349.3957
24 | 2686310.5312 | 1256443.0526
25 | 2686154.7673 | 1256425.477
26 | 2685832.0289 | 1256246.1351
27 | 2686472.7498 | 1256401.2092
28 | 2686485.2012 | 1256396.632
29 | 2686411.2376 | 1256376.2476
30 | 2686337.9723 | 1256436.681
31 | 2686638.5013 | 1256631.8097
32 | 2686385.0862 | 1256375.1667
33 | 2686777.0808 | 1256261.8427
34 | 2686715.4389 | 1256372.8252
35 | 2686774.888 | 1256225.1824
36 | 2686739.1081 | 1256442.7035
37 | 2686665.6835 | 1256735.7543
38 | 2685828.8924 | 1256530.9974
39 | 2686363.0727 | 1256387.5982
40 | 2686763.8673 | 1256163.0175
41 | 2687130.3879 | 1256470.6361
42 | 2687040.0379 | 1256479.9924
43 | 2687145.3906 | 1256604.2044
44 | 2687189.0338 | 1256343.8571
45 | 2687097.9931 | 1256657.715
46 | 2687185.3212 | 1256634.4941
47 | 2687342.7478 | 1256117.9814
48 | 2687155.5475 | 1256254.6286
49 | 2687392.6401 | 1256022.1325
50 | 2687128.1776 | 1256201.7518
51 | 2687058.6293 | 1256705.0282
52 | 2687053.3436 | 1256143.5953
53 | 2687044.8016 | 1256138.7215
54 | 2687095.0725 | 1256118.7897
55 | 2687586.6271 | 1256038.3012
56 | 2687510.4117 | 1255971.7439
57 | 2687198.0759 | 1256094.8108
58 | 2687404.5003 | 1256017.3371
59 | 2687004.2857 | 1256126.6334
60 | 2686452.1231 | 1255923.5741
61 | 2686435.1297 | 1255913.7185
62 | 2686435.2328 | 1256019.7459
63 | 2686323.5303 | 1255832.1725
64 | 2686498.1629 | 1255640.3955
65 | 2686825.4284 | 1256035.1213
66 | 2686839.3472 | 1256084.8081
67 | 2686371.8785 | 1256029.2288
68 | 2686368.5762 | 1256014.4488
69 | 2686489.6161 | 1256053.2808
70 | 2686307.0252 | 1255813.1062
71 | 2686513.4811 | 1255648.8035
72 | 2686554.9226 | 1255634.4313
73 | 2686486.2616 | 1255627.3979
74 | 2686833.8484 | 1255570.7766
75 | 2686622.2943 | 1255582.6989
76 | 2686835.3901 | 1255574.1796
77 | 2686671.7412 | 1255507.9872
78 | 2686879.3276 | 1255967.4487
79 | 2686933.9472 | 1255968.2341
80 | 2686193.1115 | 1255455.1727
81 | 2687174.8637 | 1255760.0431
82 | 2687067.9583 | 1256024.2721
83 | 2686966.8794 | 1256062.2066
84 | 2686047.1713 | 1256396.9621
85 | 2686113.0183 | 1256354.7758
86 | 2686128.8437 | 1256429.797
87 | 2686120.59 | 1256326.4828
88 | 2686102.8695 | 1256559.8081
89 | 2687473.3677 | 1255891.4721
90 | 2687882.5538 | 1255783.3428
91 | 2687868.9806 | 1255738.8024
92 | 2687944.6242 | 1255846.9132
93 | 2687944.2868 | 1255765.5677
94 | 2688074.3674 | 1255785.3939
95 | 2688178.238 | 1255755.4053
96 | 2688054.6751 | 1255718.9566
97 | 2687956.2459 | 1255843.5054
98 | 2688017.6996 | 1255825.2355
99 | 2687955.2491 | 1255882.4643
100 | 2687928.2164 | 1255710.4651
101 | 2688160.7612 | 1255696.4159
102 | 2687790.6877 | 1255934.8645
103 | 2687801.834 | 1255970.3723
104 | 2686940.9394 | 1256093.0495
105 | 2686965.7213 | 1256057.864
106 | 2685819.2705 | 1256564.4839
107 | 2685766.8217 | 1256533.5555
108 | 2685731.8006 | 1256530.5237
109 | 2686066.6706 | 1256594.3418
110 | 2687275.0503 | 1256714.8551
111 | 2688622.4824 | 1257944.8032
112 | 2688617.2591 | 1257959.2585
113 | 2686324.4542 | 1256355.6772
114 | 2686763.8673 | 1256163.0175

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99337 | -0.12807 | 0.39918 | 0.19333
1 | 0.99338 | -0.12817 | 0 | 0
2 | 0.99341 | -0.12841 | 0 | 0
3 | 0.99639 | -0.13245 | 0.079768 | 0.038633
4 | 0.9965 | -0.1313 | 0 | 0
5 | 0.99573 | -0.13671 | 0.47302 | 0.22909
6 | 0.99556 | -0.13807 | 0.071981 | 0.034862
7 | 0.99627 | -0.13323 | 0.40087 | 0.19415
8 | 0.99617 | -0.13385 | 0.28984 | 0.14038
9 | 0.99331 | -0.12752 | 1.3427 | 0.6503
10 | 0.99369 | -0.12665 | 0.070141 | 0.033971
11 | 0.99795 | -0.093899 | 0 | 0
12 | 0.99747 | -0.10226 | 0 | 0
13 | 0.998 | -0.092912 | 0.086625 | 0.041955
14 | 0.99741 | -0.10267 | 0.33182 | 0.16071
15 | 0.9967 | -0.12779 | 0 | 0
16 | 0.99534 | -0.13612 | 0 | 0
17 | 0.99484 | -0.13163 | 0 | 0
18 | 0.99572 | -0.1366 | 0 | 0
19 | 0.99569 | -0.13631 | 0 | 0
20 | 0.99372 | -0.127 | 0.4027 | 0.19504
21 | 0.99808 | -0.091554 | 0 | 0
22 | 0.9967 | -0.12775 | 0.14359 | 0.069543
23 | 0.99664 | -0.12885 | 0.077953 | 0.037754
24 | 0.99464 | -0.13307 | 0.30595 | 0.14818
25 | 0.99473 | -0.1306 | 0.18621 | 0.090187
26 | 0.99568 | -0.13625 | 0.32381 | 0.15683
27 | 0.99645 | -0.13085 | 0.15363 | 0.074409
28 | 0.99645 | -0.13087 | 0 | 0
29 | 0.99648 | -0.13108 | 0 | 0
30 | 0.99463 | -0.13298 | 0 | 0
31 | 0.99444 | -0.13129 | 0 | 0
32 | 0.99648 | -0.13112 | 0.084263 | 0.040811
33 | 0.99993 | 0.00058976 | 0 | 0
34 | 0.99986 | 0.0011992 | 0 | 0
35 | 0.99995 | 0.00046603 | 0.32283 | 0.15636
36 | 0.99983 | 0.0014733 | 0.31521 | 0.15266
37 | 0.99437 | -0.13173 | 0.33745 | 0.16344
38 | 0.99448 | -0.13427 | 0 | 0
39 | 0.99649 | -0.1312 | 0 | 0
40 | 1 | 0 | -15.5112 | -7.3294
41 | 0.99751 | -0.03817 | 0.26431 | 0.12801
42 | 0.99765 | -0.037188 | 0 | 0
43 | 0.99737 | -0.03919 | 0 | 0
44 | 0.99794 | -0.039656 | 0 | 0
45 | 0.99733 | -0.038891 | 0 | 0
46 | 0.99735 | -0.039091 | 0.10445 | 0.050588
47 | 0.99719 | -0.047821 | 0 | 0
48 | 0.99846 | -0.026561 | 0.30459 | 0.14752
49 | 0.9967 | -0.059984 | 0.38039 | 0.18423
50 | 0.99862 | -0.024812 | 0 | 0
51 | 0.99731 | -0.038626 | 0.36031 | 0.17451
52 | 0.99892 | -0.019337 | 0 | 0
53 | 0.99895 | -0.01893 | 0 | 0
54 | 0.99889 | -0.019542 | 0.34863 | 0.16885
55 | 0.99608 | -0.05665 | 0.74224 | 0.35948
56 | 0.99622 | -0.055735 | 0 | 0
57 | 0.99658 | -0.058823 | 0.47697 | 0.23101
58 | 0.99666 | -0.059561 | 0 | 0
59 | 0.99905 | -0.017095 | 0.1351 | 0.065434
60 | 0.99795 | -0.085081 | 0.25615 | 0.12406
61 | 0.99796 | -0.085141 | 0 | 0
62 | 0.99829 | -0.087895 | 0 | 0
63 | 0.9979 | -0.084549 | 0 | 0
64 | 0.99779 | -0.083625 | 0 | 0
65 | 0.99955 | -0.0073995 | 0.35798 | 0.17338
66 | 0.99958 | -0.0076186 | 0 | 0
67 | 0.99827 | -0.087787 | 0 | 0
68 | 0.99827 | -0.087761 | 0.14025 | 0.067927
69 | 0.99849 | -0.084277 | 0.30836 | 0.14935
70 | 0.99788 | -0.084637 | 0.28491 | 0.13799
71 | 0.99778 | -0.083561 | 0 | 0
72 | 0.99776 | -0.083399 | 0.29975 | 0.14518
73 | 0.99778 | -0.083607 | 0.085584 | 0.04145
74 | 0.99832 | -0.013975 | 0 | 0
75 | 0.99819 | -0.012921 | 0 | 0
76 | 0.99832 | -0.013984 | 0.39281 | 0.19025
77 | 0.99816 | -0.012649 | 0.25357 | 0.12281
78 | 0.99881 | -0.010473 | 0.081779 | 0.039607
79 | 0.9989 | -0.01128 | 0.070865 | 0.034322
80 | 0.99826 | -0.013923 | 0.32887 | 0.15928
81 | 0.99882 | -0.013094 | 0.3091 | 0.14971
82 | 0.99899 | -0.012023 | 0.084081 | 0.040722
83 | 0.99904 | -0.012524 | 0 | 0
84 | 0.99409 | -0.12466 | 0 | 0
85 | 0.99439 | -0.12741 | 0 | 0
86 | 0.99464 | -0.12978 | 0 | 0
87 | 0.99438 | -0.12738 | 0.069037 | 0.033436
88 | 0.99455 | -0.12898 | 0 | 0
89 | 0.99614 | -0.054975 | 0.71819 | 0.34784
90 | 0.99534 | -0.048117 | 0 | 0
91 | 0.99533 | -0.048032 | 0.15512 | 0.075129
92 | 0.99517 | -0.046659 | 0 | 0
93 | 0.99531 | -0.047901 | 0 | 0
94 | 0.99508 | -0.045851 | 0 | 0
95 | 0.99503 | -0.045382 | 0 | 0
96 | 0.99507 | -0.045784 | 0.083953 | 0.04066
97 | 0.99517 | -0.046646 | 0 | 0
98 | 0.99516 | -0.046581 | 0.086966 | 0.04212
99 | 0.99515 | -0.046441 | 0.20072 | 0.097214
100 | 0.99529 | -0.0477 | 0.29162 | 0.14124
101 | 0.995 | -0.045107 | 0.37382 | 0.18105
102 | 0.99505 | -0.047073 | 0.11046 | 0.053499
103 | 0.99504 | -0.046992 | 0.18261 | 0.088441
104 | 0.99922 | -0.014044 | 0 | 0
105 | 0.99904 | -0.012468 | 0 | 0
106 | 0.99447 | -0.13422 | 0.094583 | 0.045809
107 | 0.99447 | -0.13421 | 0 | 0
108 | 0.99447 | -0.13417 | 0.080209 | 0.038847
109 | 0.99452 | -0.12919 | 0.34244 | 0.16585
110 | 0.99734 | -0.038989 | 0 | 0
111 | 0.99702 | -0.041223 | 0 | 0
112 | 0.99702 | -0.041206 | 0.090548 | 0.043854
113 | 0.99659 | -0.12973 | 0 | 0
114 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.39918 | -0.19333 | 0.39918 | 0.19288 | 4.2704e-06 | -0.00045261 | 0.012889 | 0.012883 | 0.012889 | 0.99337 | -0.12807 | 0.99338 | -0.12817 | 5.8586
1 | -0.39918 | -0.19288 | 0.39919 | 0.19166 | 1.1416e-05 | -0.001212 | 0.012883 | 0.012868 | 0.012883 | 0.99338 | -0.12817 | 0.99341 | -0.12841 | 5.856
2 | 1.3428 | 0.64905 | -1.3427 | -0.6503 | 0.00013758 | -0.0012513 | 0.043341 | 0.043357 | 0.043357 | 0.99341 | -0.12841 | 0.99331 | -0.12752 | 19.7077
3 | -1.742 | -0.84071 | 1.7425 | 0.8409 | 0.00046035 | 0.00019197 | 0.056209 | 0.056207 | 0.056209 | 0.99341 | -0.12841 | 0.99369 | -0.12665 | 26.766
4 | -5.28 | -2.5188 | 5.2805 | 2.5179 | 0.00052127 | -0.00090105 | 0.16949 | 0.16947 | 0.16949 | 0.99639 | -0.13245 | 0.9965 | -0.1313 | 46.8196
5 | 0.79734 | 0.38289 | -0.79684 | -0.38308 | 0.00050021 | -0.00019292 | 0.025626 | 0.025632 | 0.025632 | 0.99639 | -0.13245 | 0.99573 | -0.13671 | 12.2059
6 | 3.7121 | 1.7634 | -3.7091 | -1.7617 | 0.0029478 | 0.0017082 | 0.11906 | 0.11907 | 0.11907 | 0.99639 | -0.13245 | 0.99556 | -0.13807 | 56.6978
7 | 0.40092 | 0.19399 | -0.40087 | -0.19415 | 4.7279e-05 | -0.00015921 | 0.012904 | 0.012906 | 0.012906 | 0.99639 | -0.13245 | 0.99627 | -0.13323 | 6.1457
8 | 0.28991 | 0.13995 | -0.28984 | -0.14038 | 6.1427e-05 | -0.00043088 | 0.0093266 | 0.0093325 | 0.0093325 | 0.99639 | -0.13245 | 0.99617 | -0.13385 | 4.444
9 | -5.5184 | -2.6278 | 5.5188 | 2.6268 | 0.00041922 | -0.0010013 | 0.17706 | 0.17704 | 0.17706 | 0.9965 | -0.1313 | 0.99659 | -0.12973 | 42.0575
10 | 0.23791 | 0.10989 | -0.23791 | -0.11079 | 2.9315e-06 | -0.00090116 | 0.0075916 | 0.0076026 | 0.0076026 | 0.9965 | -0.1313 | 0.99649 | -0.1312 | 3.4557
11 | 0.32382 | 0.15399 | -0.32382 | -0.15466 | 4.0826e-06 | -0.00066815 | 0.010395 | 0.010404 | 0.010404 | 0.99573 | -0.13671 | 0.99572 | -0.1366 | 4.729
12 | 3.6371 | 1.7268 | -3.6363 | -1.7276 | 0.00085056 | -0.00085353 | 0.11675 | 0.11676 | 0.11676 | 0.99556 | -0.13807 | 0.99534 | -0.13612 | 53.0727
13 | -1.8126 | -0.87488 | 1.8127 | 0.87451 | 7.4668e-05 | -0.00036358 | 0.058471 | 0.058467 | 0.058471 | 0.99369 | -0.12665 | 0.99372 | -0.127 | 26.5779
14 | 6.0784 | 2.8929 | -6.076 | -2.8974 | 0.0024638 | -0.0044861 | 0.19473 | 0.19481 | 0.19481 | 0.99795 | -0.093899 | 0.99747 | -0.10226 | 46.2738
15 | -6.0784 | -2.8929 | 6.0787 | 2.8924 | 0.00029041 | -0.00052957 | 0.19473 | 0.19472 | 0.19473 | 0.99795 | -0.093899 | 0.998 | -0.092912 | 46.2538
16 | 0.33184 | 0.1606 | -0.33182 | -0.16071 | 2.0797e-05 | -0.00010874 | 0.010669 | 0.010671 | 0.010671 | 0.99747 | -0.10226 | 0.99741 | -0.10267 | 5.0813
17 | 5.7441 | 2.7368 | -5.7409 | -2.7323 | 0.0032306 | 0.0045053 | 0.18414 | 0.18415 | 0.18415 | 0.99747 | -0.10226 | 0.9967 | -0.12779 | 44.9136
18 | -6.1654 | -2.9343 | 6.1658 | 2.9336 | 0.00040532 | -0.0007083 | 0.1975 | 0.19749 | 0.1975 | 0.998 | -0.092912 | 0.99808 | -0.091554 | 46.9128
19 | 5.5973 | 2.6633 | -5.597 | -2.664 | 0.00028843 | -0.00066295 | 0.17953 | 0.17954 | 0.17954 | 0.9967 | -0.12779 | 0.99664 | -0.12885 | 42.647
20 | 0.14359 | 0.068927 | -0.14359 | -0.069543 | 7.3965e-07 | -0.00061626 | 0.0046131 | 0.0046209 | 0.0046209 | 0.9967 | -0.12779 | 0.9967 | -0.12775 | 2.1004
21 | 3.6363 | 1.7276 | -3.6343 | -1.7296 | 0.0019504 | -0.0019544 | 0.11676 | 0.11679 | 0.11679 | 0.99534 | -0.13612 | 0.99484 | -0.13163 | 53.0871
22 | 0.81848 | 0.38096 | -0.81833 | -0.38101 | 0.00015512 | -5.2691e-05 | 0.026197 | 0.026198 | 0.026198 | 0.99484 | -0.13163 | 0.99464 | -0.13307 | 12.4754
23 | 2.8159 | 1.3486 | -2.8155 | -1.3493 | 0.00034397 | -0.00063962 | 0.090596 | 0.090606 | 0.090606 | 0.99484 | -0.13163 | 0.99473 | -0.1306 | 41.1843
24 | 0.32382 | 0.15466 | -0.32381 | -0.15645 | 1.1012e-05 | -0.0017968 | 0.010404 | 0.010426 | 0.010426 | 0.99572 | -0.1366 | 0.99569 | -0.13631 | 4.7393
25 | 0.32381 | 0.15645 | -0.32381 | -0.15683 | 2.3012e-06 | -0.00037448 | 0.010426 | 0.010431 | 0.010431 | 0.99569 | -0.13631 | 0.99568 | -0.13625 | 4.7414
26 | -2.2154 | -1.0696 | 2.2162 | 1.0699 | 0.00077814 | 0.00038655 | 0.071465 | 0.071464 | 0.071465 | 0.99372 | -0.127 | 0.99409 | -0.12466 | 34.0309
27 | -6.1658 | -2.9336 | 6.1669 | 2.9317 | 0.0010916 | -0.001909 | 0.19749 | 0.19745 | 0.19749 | 0.99808 | -0.091554 | 0.99829 | -0.087895 | 46.9096
28 | 5.5191 | 2.6263 | -5.5188 | -2.6268 | 0.00023361 | -0.00055824 | 0.17704 | 0.17704 | 0.17704 | 0.99664 | -0.12885 | 0.99659 | -0.12973 | 42.0534
29 | 0.17482 | 0.080826 | -0.17479 | -0.081387 | 2.7292e-05 | -0.00056105 | 0.0055899 | 0.0055969 | 0.0055969 | 0.99464 | -0.13307 | 0.99448 | -0.13427 | 2.6652
30 | 0.33755 | 0.15201 | -0.33755 | -0.15267 | 4.3325e-06 | -0.00066227 | 0.010744 | 0.010752 | 0.010752 | 0.99464 | -0.13307 | 0.99463 | -0.13298 | 4.8874
31 | 2.6293 | 1.2591 | -2.629 | -1.2596 | 0.00025114 | -0.00054634 | 0.084601 | 0.084609 | 0.084609 | 0.99473 | -0.1306 | 0.99464 | -0.12978 | 38.4586
32 | -0.15363 | -0.074409 | 0.15363 | 0.074095 | 4.3167e-07 | -0.00031356 | 0.0049454 | 0.0049414 | 0.0049454 | 0.99645 | -0.13085 | 0.99645 | -0.13087 | 2.2479
33 | -0.15363 | -0.074095 | 0.15364 | 0.071309 | 3.8058e-06 | -0.0027864 | 0.0049414 | 0.0049069 | 0.0049414 | 0.99645 | -0.13087 | 0.99648 | -0.13108 | 2.2461
34 | -0.15364 | -0.071309 | 0.15364 | 0.070677 | 8.5499e-07 | -0.00063135 | 0.0049069 | 0.0048992 | 0.0049069 | 0.99648 | -0.13108 | 0.99648 | -0.13112 | 2.2304
35 | 0.33755 | 0.15267 | -0.33748 | -0.16332 | 7.0618e-05 | -0.010655 | 0.010752 | 0.010884 | 0.010884 | 0.99463 | -0.13298 | 0.99444 | -0.13129 | 4.9471
36 | 0.33748 | 0.16332 | -0.33745 | -0.16344 | 2.2678e-05 | -0.00011263 | 0.010884 | 0.010885 | 0.010885 | 0.99444 | -0.13129 | 0.99437 | -0.13173 | 5.1834
37 | -0.2379 | -0.11149 | 0.23791 | 0.11079 | 2.2692e-06 | -0.00069578 | 0.0076112 | 0.0076026 | 0.0076112 | 0.99648 | -0.13112 | 0.99649 | -0.1312 | 3.4596
38 | 0.31525 | 0.14679 | -0.31522 | -0.15091 | 2.3357e-05 | -0.0041162 | 0.010039 | 0.01009 | 0.01009 | 0.99993 | 0.00058976 | 0.99986 | 0.0011992 | 4.5864
39 | -0.31525 | -0.14679 | 0.31525 | 0.14591 | 4.9366e-06 | -0.00087538 | 0.010039 | 0.010029 | 0.010039 | 0.99993 | 0.00058976 | 0.99995 | 0.00046603 | 4.5633
40 | 0.31522 | 0.15091 | -0.31521 | -0.15266 | 1.0048e-05 | -0.0017577 | 0.01009 | 0.010112 | 0.010112 | 0.99986 | 0.0011992 | 0.99983 | 0.0014733 | 4.5964
41 | -0.63809 | -0.30227 | 0.63812 | 0.30073 | 3.6102e-05 | -0.0015447 | 0.020383 | 0.020364 | 0.020383 | 0.99995 | 0.00046603 | 1 | 0 | 9.2651
42 | 0.08021 | 0.036448 | -0.08021 | -0.038001 | 5.7881e-07 | -0.0015537 | 0.0025574 | 0.0025764 | 0.0025764 | 0.99448 | -0.13427 | 0.99447 | -0.13421 | 1.1711
43 | 0.094584 | 0.044939 | -0.094583 | -0.045809 | 4.5579e-07 | -0.00086927 | 0.0030397 | 0.0030506 | 0.0030506 | 0.99448 | -0.13427 | 0.99447 | -0.13422 | 1.3866
44 | 7.3093 | 3.4294 | -7.3067 | -3.432 | 0.0026436 | -0.0026491 | 0.23307 | 0.23313 | 0.23313 | 1 | 0 | 0.99958 | -0.0076186 | 55.3764
45 | 7.5497 | 3.5888 | -7.5436 | -3.5727 | 0.0061409 | 0.016106 | 0.24131 | 0.24132 | 0.24132 | 1 | 0 | 0.99849 | -0.084277 | 37.4135
46 | -0.81975 | -0.38708 | 0.81986 | 0.38704 | 0.00011138 | -3.8147e-05 | 0.026235 | 0.026234 | 0.026235 | 0.99751 | -0.03817 | 0.99765 | -0.037188 | 12.4928
47 | 0.55544 | 0.25907 | -0.55536 | -0.25918 | 7.5344e-05 | -0.00011244 | 0.017737 | 0.017739 | 0.017739 | 0.99751 | -0.03817 | 0.99737 | -0.03919 | 8.4469
48 | -0.81986 | -0.38704 | 0.82011 | 0.3806 | 0.0002512 | -0.0064449 | 0.026234 | 0.026154 | 0.026234 | 0.99765 | -0.037188 | 0.99794 | -0.039656 | 11.9244
49 | 0.36033 | 0.17135 | -0.36032 | -0.17304 | 1.2737e-05 | -0.0016921 | 0.011549 | 0.01157 | 0.01157 | 0.99737 | -0.03919 | 0.99733 | -0.038891 | 5.259
50 | 0.19503 | 0.08783 | -0.19503 | -0.089022 | 2.5737e-06 | -0.0011911 | 0.0061909 | 0.0062051 | 0.0062051 | 0.99737 | -0.03919 | 0.99735 | -0.039091 | 2.8205
51 | 3.8106 | 1.7926 | -3.808 | -1.8031 | 0.0026053 | -0.0105 | 0.12182 | 0.12197 | 0.12197 | 0.99794 | -0.039656 | 0.99719 | -0.047821 | 33.6938
52 | -4.6308 | -2.1732 | 4.6327 | 2.1752 | 0.0019156 | 0.0020717 | 0.14797 | 0.14797 | 0.14797 | 0.99794 | -0.039656 | 0.99846 | -0.026561 | 42.2776
53 | 0.36032 | 0.17304 | -0.36031 | -0.17451 | 1.1067e-05 | -0.0014652 | 0.01157 | 0.011588 | 0.011588 | 0.99733 | -0.038891 | 0.99731 | -0.038626 | 5.2674
54 | 0.090576 | 0.038434 | -0.090575 | -0.041341 | 1.3411e-06 | -0.002907 | 0.0028479 | 0.0028818 | 0.0028818 | 0.99735 | -0.039091 | 0.99734 | -0.038989 | 1.3099
55 | 3.808 | 1.8031 | -3.8066 | -1.8015 | 0.0014758 | 0.001553 | 0.12197 | 0.12197 | 0.12197 | 0.99719 | -0.047821 | 0.9967 | -0.059984 | 34.8494
56 | -4.9373 | -2.3228 | 4.938 | 2.3212 | 0.00071789 | -0.0015215 | 0.15775 | 0.15773 | 0.15775 | 0.99846 | -0.026561 | 0.99862 | -0.024812 | 43.5786
57 | 0.47704 | 0.2261 | -0.47697 | -0.23101 | 6.5103e-05 | -0.0049081 | 0.01529 | 0.015351 | 0.015351 | 0.9967 | -0.059984 | 0.99658 | -0.058823 | 6.9779
58 | 2.9491 | 1.3912 | -2.949 | -1.3915 | 0.00015196 | -0.00025759 | 0.094443 | 0.094446 | 0.094446 | 0.9967 | -0.059984 | 0.99666 | -0.059561 | 42.9302
59 | -4.938 | -2.3212 | 4.9393 | 2.3171 | 0.0012844 | -0.0041984 | 0.15773 | 0.15766 | 0.15773 | 0.99862 | -0.024812 | 0.99892 | -0.019337 | 37.4654
60 | -5.2879 | -2.4858 | 5.288 | 2.4856 | 0.00010239 | -0.00028004 | 0.16886 | 0.16885 | 0.16886 | 0.99892 | -0.019337 | 0.99895 | -0.01893 | 40.1084
61 | 0.34864 | 0.1688 | -0.34863 | -0.16885 | 1.0838e-05 | -5.1038e-05 | 0.011194 | 0.011195 | 0.011195 | 0.99892 | -0.019337 | 0.99889 | -0.019542 | 5.3308
62 | -5.288 | -2.4856 | 5.2885 | 2.4843 | 0.00046141 | -0.0012624 | 0.16885 | 0.16883 | 0.16885 | 0.99895 | -0.01893 | 0.99905 | -0.017095 | 40.1073
63 | -0.74224 | -0.35948 | 0.74235 | 0.35943 | 0.00010298 | -5.5363e-05 | 0.023901 | 0.0239 | 0.023901 | 0.99608 | -0.05665 | 0.99622 | -0.055735 | 11.3815
64 | 0.71826 | 0.34576 | -0.71819 | -0.34784 | 6.3045e-05 | -0.0020761 | 0.023099 | 0.023125 | 0.023125 | 0.99622 | -0.055735 | 0.99614 | -0.054975 | 10.5115
65 | 1.487 | 0.68859 | -1.4856 | -0.69926 | 0.0014137 | -0.010668 | 0.047485 | 0.047621 | 0.047621 | 0.99622 | -0.055735 | 0.99534 | -0.048117 | 21.6458
66 | -2.9476 | -1.3938 | 2.949 | 1.3915 | 0.0013704 | -0.0023206 | 0.09448 | 0.094446 | 0.09448 | 0.99622 | -0.055735 | 0.99666 | -0.059561 | 42.9455
67 | -5.4236 | -2.5497 | 5.4244 | 2.5477 | 0.00078699 | -0.0020126 | 0.17317 | 0.17313 | 0.17317 | 0.99905 | -0.017095 | 0.99922 | -0.014044 | 41.1326
68 | -0.25615 | -0.12406 | 0.25615 | 0.12359 | 1.7723e-06 | -0.00046556 | 0.0082327 | 0.0082269 | 0.0082327 | 0.99795 | -0.085081 | 0.99796 | -0.085141 | 3.7421
69 | -0.9265 | -0.43349 | 0.92683 | 0.42699 | 0.00032286 | -0.0064928 | 0.029589 | 0.029509 | 0.029589 | 0.99796 | -0.085141 | 0.99829 | -0.087895 | 13.4495
70 | 0.28494 | 0.13368 | -0.28492 | -0.13796 | 2.0057e-05 | -0.0042787 | 0.0091043 | 0.0091577 | 0.0091577 | 0.99796 | -0.085141 | 0.9979 | -0.084549 | 4.1626
71 | 0.38542 | 0.17621 | -0.38535 | -0.1847 | 7.246e-05 | -0.0084934 | 0.012259 | 0.012363 | 0.012363 | 0.99796 | -0.085141 | 0.99779 | -0.083625 | 5.6196
72 | -7.2339 | -3.4247 | 7.2352 | 3.4234 | 0.001257 | -0.0012879 | 0.23144 | 0.23141 | 0.23144 | 0.99829 | -0.087895 | 0.99849 | -0.084277 | 54.9743
73 | 0.14025 | 0.065973 | -0.14025 | -0.067567 | 1.805e-06 | -0.0015939 | 0.004482 | 0.0045018 | 0.0045018 | 0.99829 | -0.087895 | 0.99827 | -0.087787 | 2.0463
74 | 0.28492 | 0.13796 | -0.28491 | -0.13799 | 3.7682e-06 | -2.7618e-05 | 0.0091577 | 0.009158 | 0.009158 | 0.9979 | -0.084549 | 0.99788 | -0.084637 | 4.361
75 | 0.085585 | 0.041032 | -0.085584 | -0.04145 | 1.7775e-07 | -0.00041889 | 0.002746 | 0.0027512 | 0.0027512 | 0.99779 | -0.083625 | 0.99778 | -0.083607 | 1.2506
76 | 0.29976 | 0.14367 | -0.29976 | -0.1441 | 2.2415e-06 | -0.00043061 | 0.0096173 | 0.0096227 | 0.0096227 | 0.99779 | -0.083625 | 0.99778 | -0.083561 | 4.3739
77 | -0.35798 | -0.17338 | 0.35799 | 0.17215 | 9.0767e-06 | -0.0012281 | 0.011487 | 0.011472 | 0.011487 | 0.99955 | -0.0073995 | 0.99958 | -0.0076186 | 5.2216
78 | 6.9487 | 3.2599 | -6.9466 | -3.2624 | 0.0021191 | -0.0025497 | 0.22166 | 0.22172 | 0.22172 | 0.99958 | -0.0076186 | 0.99922 | -0.014044 | 52.6646
79 | 0.14025 | 0.067567 | -0.14025 | -0.067927 | 4.1016e-07 | -0.00036022 | 0.0045018 | 0.0045064 | 0.0045064 | 0.99827 | -0.087787 | 0.99827 | -0.087761 | 2.0483
80 | 0.29976 | 0.1441 | -0.29975 | -0.14518 | 5.5998e-06 | -0.0010736 | 0.0096227 | 0.0096362 | 0.0096362 | 0.99778 | -0.083561 | 0.99776 | -0.083399 | 4.3801
81 | 0.25361 | 0.11099 | -0.25358 | -0.12064 | 3.5226e-05 | -0.0096487 | 0.008005 | 0.0081211 | 0.0081211 | 0.99832 | -0.013975 | 0.99819 | -0.012921 | 3.6914
82 | -0.25361 | -0.11099 | 0.25361 | 0.1109 | 3.1939e-07 | -8.8759e-05 | 0.008005 | 0.008004 | 0.008005 | 0.99832 | -0.013975 | 0.99832 | -0.013984 | 3.6387
83 | 0.25358 | 0.12064 | -0.25357 | -0.12281 | 8.0614e-06 | -0.0021685 | 0.0081211 | 0.0081482 | 0.0081482 | 0.99819 | -0.012921 | 0.99816 | -0.012649 | 3.7037
84 | -0.64643 | -0.30115 | 0.64673 | 0.30087 | 0.00029972 | -0.00028332 | 0.020621 | 0.020615 | 0.020621 | 0.99832 | -0.013984 | 0.99881 | -0.010473 | 9.8195
85 | -1.0575 | -0.49884 | 1.0576 | 0.49724 | 0.00010441 | -0.0016013 | 0.033795 | 0.033775 | 0.033795 | 0.99881 | -0.010473 | 0.9989 | -0.01128 | 15.3612
86 | 0.32904 | 0.15837 | -0.32887 | -0.15928 | 0.00017015 | -0.00091274 | 0.010554 | 0.010567 | 0.010567 | 0.99881 | -0.010473 | 0.99826 | -0.013923 | 5.0318
87 | -1.1285 | -0.53156 | 1.1287 | 0.52934 | 0.00016486 | -0.0022169 | 0.03605 | 0.036022 | 0.03605 | 0.9989 | -0.01128 | 0.99904 | -0.012468 | 16.3864
88 | -0.3091 | -0.14971 | 0.30915 | 0.1494 | 5.0017e-05 | -0.0003082 | 0.0099263 | 0.009922 | 0.0099263 | 0.99882 | -0.013094 | 0.99899 | -0.012023 | 4.7268
89 | -0.39324 | -0.19012 | 0.39326 | 0.18753 | 2.3087e-05 | -0.0025866 | 0.012622 | 0.012589 | 0.012622 | 0.99899 | -0.012023 | 0.99904 | -0.012524 | 5.7371
90 | 1.1287 | 0.52924 | -1.1287 | -0.52934 | 7.7846e-06 | -0.00010478 | 0.036021 | 0.036022 | 0.036022 | 0.99904 | -0.012524 | 0.99904 | -0.012468 | 16.3737
91 | -1.5219 | -0.71677 | 1.5222 | 0.71471 | 0.00028388 | -0.0020619 | 0.04861 | 0.048583 | 0.04861 | 0.99904 | -0.012524 | 0.99922 | -0.014044 | 22.0954
92 | -2.2162 | -1.0699 | 2.2169 | 1.0677 | 0.00070528 | -0.0022333 | 0.071464 | 0.071433 | 0.071464 | 0.99409 | -0.12466 | 0.99439 | -0.12741 | 32.4834
93 | -2.2859 | -1.1004 | 2.2866 | 1.0986 | 0.00063414 | -0.0018806 | 0.073651 | 0.073625 | 0.073651 | 0.99439 | -0.12741 | 0.99464 | -0.12978 | 33.4777
94 | 0.069037 | 0.032745 | -0.069037 | -0.033436 | 1.9314e-07 | -0.00069141 | 0.0022182 | 0.0022269 | 0.0022269 | 0.99439 | -0.12741 | 0.99438 | -0.12738 | 1.0122
95 | 0.34248 | 0.16107 | -0.34245 | -0.1658 | 3.2477e-05 | -0.004727 | 0.010984 | 0.011044 | 0.011044 | 0.99464 | -0.12978 | 0.99455 | -0.12898 | 5.0198
96 | 0.34245 | 0.1658 | -0.34244 | -0.16585 | 1.0872e-05 | -5.2265e-05 | 0.011044 | 0.011044 | 0.011044 | 0.99455 | -0.12898 | 0.99452 | -0.12919 | 5.2592
97 | 0.15512 | 0.074028 | -0.15512 | -0.075129 | 1.549e-06 | -0.0011009 | 0.004985 | 0.0049989 | 0.0049989 | 0.99534 | -0.048117 | 0.99533 | -0.048032 | 2.2722
98 | 1.0388 | 0.48686 | -1.0387 | -0.48978 | 0.0001861 | -0.0029193 | 0.033274 | 0.033311 | 0.033311 | 0.99534 | -0.048117 | 0.99517 | -0.046659 | 15.1412
99 | 0.29164 | 0.13837 | -0.29163 | -0.13988 | 7.5118e-06 | -0.0015132 | 0.009362 | 0.0093809 | 0.0093809 | 0.99534 | -0.048117 | 0.99531 | -0.047901 | 4.264
100 | 0.49383 | 0.23721 | -0.49382 | -0.23809 | 1.2519e-05 | -0.00087365 | 0.015892 | 0.015903 | 0.015903 | 0.99517 | -0.046659 | 0.99515 | -0.046441 | 7.2286
101 | 0.45785 | 0.2123 | -0.45781 | -0.21607 | 4.5965e-05 | -0.0037729 | 0.01464 | 0.014686 | 0.014686 | 0.99517 | -0.046659 | 0.99508 | -0.045851 | 6.6755
102 | 0.086967 | 0.040266 | -0.086967 | -0.040604 | 1.4758e-07 | -0.00033769 | 0.00278 | 0.0027841 | 0.0027841 | 0.99517 | -0.046659 | 0.99517 | -0.046646 | 1.2655
103 | 0.29163 | 0.13988 | -0.29162 | -0.14124 | 6.768e-06 | -0.0013581 | 0.0093809 | 0.009398 | 0.009398 | 0.99531 | -0.047901 | 0.99529 | -0.0477 | 4.2718
104 | 0.37385 | 0.17705 | -0.37383 | -0.1796 | 2.0841e-05 | -0.0025498 | 0.012 | 0.012032 | 0.012032 | 0.99508 | -0.045851 | 0.99503 | -0.045382 | 5.4692
105 | 0.083954 | 0.039022 | -0.083953 | -0.04066 | 6.7238e-07 | -0.0016382 | 0.0026858 | 0.0027061 | 0.0027061 | 0.99508 | -0.045851 | 0.99507 | -0.045784 | 1.2301
106 | 0.37383 | 0.1796 | -0.37382 | -0.18105 | 1.1909e-05 | -0.0014508 | 0.012032 | 0.012051 | 0.012051 | 0.99503 | -0.045382 | 0.995 | -0.045107 | 5.4776
107 | 0.086967 | 0.040604 | -0.086966 | -0.04212 | 6.679e-07 | -0.0015158 | 0.0027841 | 0.002803 | 0.002803 | 0.99517 | -0.046646 | 0.99516 | -0.046581 | 1.2741
108 | 0.2931 | 0.14087 | -0.29307 | -0.14106 | 2.739e-05 | -0.000187 | 0.0094334 | 0.0094359 | 0.0094359 | 0.99515 | -0.046441 | 0.99505 | -0.047073 | 4.4933
109 | 0.18261 | 0.087562 | -0.18261 | -0.088441 | 1.7182e-06 | -0.00087929 | 0.0058752 | 0.0058863 | 0.0058863 | 0.99505 | -0.047073 | 0.99504 | -0.046992 | 2.6756
110 | 0.08021 | 0.038001 | -0.080209 | -0.038847 | 3.1879e-07 | -0.00084587 | 0.0025764 | 0.002587 | 0.002587 | 0.99447 | -0.13421 | 0.99447 | -0.13417 | 1.1759
111 | 0.090575 | 0.041341 | -0.090548 | -0.04349 | 2.7242e-05 | -0.0021486 | 0.0028818 | 0.0029084 | 0.0029084 | 0.99734 | -0.038989 | 0.99702 | -0.041223 | 1.385
112 | 0.090548 | 0.04349 | -0.090548 | -0.043854 | 1.7379e-07 | -0.00036465 | 0.0029084 | 0.002913 | 0.002913 | 0.99702 | -0.041223 | 0.99702 | -0.041206 | 1.3241

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 15.5112 | 7.3294

## res_load
| p_mw | q_mvar
0 | 0.39918 | 0.19333
1 | 0.079768 | 0.038633
2 | 0.47302 | 0.22909
3 | 0.071981 | 0.034862
4 | 0.40087 | 0.19415
5 | 0.28984 | 0.14038
6 | 1.3427 | 0.6503
7 | 0.070141 | 0.033971
8 | 0.086625 | 0.041955
9 | 0.33182 | 0.16071
10 | 0.4027 | 0.19504
11 | 0.14359 | 0.069543
12 | 0.077953 | 0.037754
13 | 0.30595 | 0.14818
14 | 0.18621 | 0.090187
15 | 0.32381 | 0.15683
16 | 0.15363 | 0.074409
17 | 0.084263 | 0.040811
18 | 0.32283 | 0.15636
19 | 0.31521 | 0.15266
20 | 0.33745 | 0.16344
21 | 0.26431 | 0.12801
22 | 0.10445 | 0.050588
23 | 0.30459 | 0.14752
24 | 0.38039 | 0.18423
25 | 0.36031 | 0.17451
26 | 0.34863 | 0.16885
27 | 0.74224 | 0.35948
28 | 0.47697 | 0.23101
29 | 0.1351 | 0.065434
30 | 0.25615 | 0.12406
31 | 0.35798 | 0.17338
32 | 0.14025 | 0.067927
33 | 0.30836 | 0.14935
34 | 0.28491 | 0.13799
35 | 0.29975 | 0.14518
36 | 0.085584 | 0.04145
37 | 0.39281 | 0.19025
38 | 0.25357 | 0.12281
39 | 0.081779 | 0.039607
40 | 0.070865 | 0.034322
41 | 0.32887 | 0.15928
42 | 0.3091 | 0.14971
43 | 0.084081 | 0.040722
44 | 0.069037 | 0.033436
45 | 0.71819 | 0.34784
46 | 0.15512 | 0.075129
47 | 0.083953 | 0.04066
48 | 0.086966 | 0.04212
49 | 0.20072 | 0.097214
50 | 0.29162 | 0.14124
51 | 0.37382 | 0.18105
52 | 0.11046 | 0.053499
53 | 0.18261 | 0.088441
54 | 0.094583 | 0.045809
55 | 0.080209 | 0.038847
56 | 0.34244 | 0.16585
57 | 0.090548 | 0.043854

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1