## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_645_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_645_0_node_94 | 20 | n |  | TRUE
2 | bus_MV_645_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_645_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_645_0_node_79 | 20 | n |  | TRUE
5 | bus_MV_645_0_node_28 | 20 | n |  | TRUE
6 | bus_MV_645_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_645_0_node_70 | 20 | n |  | TRUE
8 | bus_MV_645_0_node_17 | 20 | n |  | TRUE
9 | bus_MV_645_0_node_29 | 20 | n |  | TRUE
10 | bus_MV_645_0_node_95 | 20 | n |  | TRUE
11 | bus_MV_645_0_node_72 | 20 | n |  | TRUE
12 | bus_MV_645_0_node_74 | 20 | n |  | TRUE
13 | bus_MV_645_0_node_110 | 20 | n |  | TRUE
14 | bus_MV_645_0_node_6 | 20 | n |  | TRUE
15 | bus_MV_645_0_node_7 | 20 | n |  | TRUE
16 | bus_MV_645_0_node_8 | 20 | n |  | TRUE
17 | bus_MV_645_0_node_9 | 20 | n |  | TRUE
18 | bus_MV_645_0_node_89 | 20 | n |  | TRUE
19 | bus_MV_645_0_node_13 | 20 | n |  | TRUE
20 | bus_MV_645_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_645_0_node_98 | 20 | n |  | TRUE
22 | bus_MV_645_0_node_125 | 20 | n |  | TRUE
23 | bus_MV_645_0_node_20 | 20 | n |  | TRUE
24 | bus_MV_645_0_node_15 | 20 | n |  | TRUE
25 | bus_MV_645_0_node_16 | 20 | n |  | TRUE
26 | bus_MV_645_0_node_25 | 20 | n |  | TRUE
27 | bus_MV_645_0_node_14 | 20 | n |  | TRUE
28 | bus_MV_645_0_node_19 | 20 | n |  | TRUE
29 | bus_MV_645_0_node_122 | 20 | n |  | TRUE
30 | bus_MV_645_0_node_18 | 20 | n |  | TRUE
31 | bus_MV_645_0_node_121 | 20 | n |  | TRUE
32 | bus_MV_645_0_node_36 | 20 | n |  | TRUE
33 | bus_MV_645_0_node_12 | 20 | n |  | TRUE
34 | bus_MV_645_0_node_10 | 20 | n |  | TRUE
35 | bus_MV_645_0_node_27 | 20 | n |  | TRUE
36 | bus_MV_645_0_node_82 | 20 | n |  | TRUE
37 | bus_MV_645_0_node_80 | 20 | n |  | TRUE
38 | bus_MV_645_0_node_23 | 20 | n |  | TRUE
39 | bus_MV_645_0_node_34 | 20 | n |  | TRUE
40 | bus_MV_645_0_node_81 | 20 | n |  | TRUE
41 | bus_MV_645_0_node_87 | 20 | n |  | TRUE
42 | bus_MV_645_0_node_84 | 20 | n |  | TRUE
43 | bus_MV_645_0_node_86 | 20 | n |  | TRUE
44 | bus_MV_645_0_node_113 | 20 | n |  | TRUE
45 | bus_MV_645_0_node_83 | 20 | n |  | TRUE
46 | bus_MV_645_0_node_85 | 20 | n |  | TRUE
47 | bus_MV_645_0_node_93 | 20 | n |  | TRUE
48 | bus_MV_645_0_node_107 | 20 | n |  | TRUE
49 | bus_MV_645_0_node_91 | 20 | n |  | TRUE
50 | bus_MV_645_0_node_90 | 20 | n |  | TRUE
51 | bus_MV_645_0_node_102 | 20 | n |  | TRUE
52 | bus_MV_645_0_node_21 | 20 | n |  | TRUE
53 | bus_MV_645_0_node_22 | 20 | n |  | TRUE
54 | bus_MV_645_0_node_24 | 20 | n |  | TRUE
55 | bus_MV_645_0_node_26 | 20 | n |  | TRUE
56 | bus_MV_645_0_node_30 | 20 | n |  | TRUE
57 | bus_MV_645_0_node_97 | 20 | n |  | TRUE
58 | bus_MV_645_0_node_96 | 20 | n |  | TRUE
59 | bus_MV_645_0_node_31 | 20 | n |  | TRUE
60 | bus_MV_645_0_node_33 | 20 | n |  | TRUE
61 | bus_MV_645_0_node_32 | 20 | n |  | TRUE
62 | bus_MV_645_0_node_35 | 20 | n |  | TRUE
63 | bus_MV_645_0_node_37 | 20 | n |  | TRUE
64 | bus_MV_645_0_node_38 | 20 | n |  | TRUE
65 | bus_MV_645_0_node_39 | 20 | n |  | TRUE
66 | bus_MV_645_0_node_45 | 20 | n |  | TRUE
67 | bus_MV_645_0_node_108 | 20 | n |  | TRUE
68 | bus_MV_645_0_node_44 | 20 | n |  | TRUE
69 | bus_MV_645_0_node_40 | 20 | n |  | TRUE
70 | bus_MV_645_0_node_41 | 20 | n |  | TRUE
71 | bus_MV_645_0_node_42 | 20 | n |  | TRUE
72 | bus_MV_645_0_node_123 | 20 | n |  | TRUE
73 | bus_MV_645_0_node_43 | 20 | n |  | TRUE
74 | bus_MV_645_0_node_120 | 20 | n |  | TRUE
75 | bus_MV_645_0_node_49 | 20 | n |  | TRUE
76 | bus_MV_645_0_node_47 | 20 | n |  | TRUE
77 | bus_MV_645_0_node_51 | 20 | n |  | TRUE
78 | bus_MV_645_0_node_46 | 20 | n |  | TRUE
79 | bus_MV_645_0_node_48 | 20 | n |  | TRUE
80 | bus_MV_645_0_node_106 | 20 | n |  | TRUE
81 | bus_MV_645_0_node_52 | 20 | n |  | TRUE
82 | bus_MV_645_0_node_104 | 20 | n |  | TRUE
83 | bus_MV_645_0_node_103 | 20 | n |  | TRUE
84 | bus_MV_645_0_node_124 | 20 | n |  | TRUE
85 | bus_MV_645_0_node_59 | 20 | n |  | TRUE
86 | bus_MV_645_0_node_105 | 20 | n |  | TRUE
87 | bus_MV_645_0_node_53 | 20 | n |  | TRUE
88 | bus_MV_645_0_node_54 | 20 | n |  | TRUE
89 | bus_MV_645_0_node_55 | 20 | n |  | TRUE
90 | bus_MV_645_0_node_58 | 20 | n |  | TRUE
91 | bus_MV_645_0_node_111 | 20 | n |  | TRUE
92 | bus_MV_645_0_node_60 | 20 | n |  | TRUE
93 | bus_MV_645_0_node_112 | 20 | n |  | TRUE
94 | bus_MV_645_0_node_73 | 20 | n |  | TRUE
95 | bus_MV_645_0_node_88 | 20 | n |  | TRUE
96 | bus_MV_645_0_node_92 | 20 | n |  | TRUE
97 | bus_MV_645_0_node_101 | 20 | n |  | TRUE
98 | bus_MV_645_0_node_100 | 20 | n |  | TRUE
99 | bus_MV_645_0_node_99 | 20 | n |  | TRUE
100 | bus_HV_645_0_node_20 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_645_0_load_0 | 0 | 0.20275 | 0.098198 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_645_0_load_94 | 1 | 0.11754 | 0.056929 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_645_0_load_79 | 4 | 0.11508 | 0.055735 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_645_0_load_28 | 5 | 0.38184 | 0.18493 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_645_0_load_70 | 7 | 0.31558 | 0.15284 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_645_0_load_95 | 10 | 0.16954 | 0.082114 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_645_0_load_110 | 13 | 0.30483 | 0.14763 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_645_0_load_6 | 14 | 0.36648 | 0.17749 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_645_0_load_89 | 18 | 0.20625 | 0.099891 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_645_0_load_98 | 21 | 0.07115 | 0.03446 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_645_0_load_125 | 22 | 0.40812 | 0.19766 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_645_0_load_25 | 26 | 0.096772 | 0.046869 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_645_0_load_122 | 29 | 0.19602 | 0.094936 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_645_0_load_121 | 31 | 0.30387 | 0.14717 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_645_0_load_36 | 32 | 0.16044 | 0.077702 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_645_0_load_10 | 34 | 0.24725 | 0.11975 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_645_0_load_27 | 35 | 0.32283 | 0.15636 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_645_0_load_80 | 37 | 0.2542 | 0.12311 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_645_0_load_86 | 43 | 0.10338 | 0.050068 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_645_0_load_113 | 44 | 0.17362 | 0.08409 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_645_0_load_107 | 48 | 0.26057 | 0.1262 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_645_0_load_90 | 50 | 0.13583 | 0.065787 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_645_0_load_102 | 51 | 0.73121 | 0.35414 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_645_0_load_21 | 52 | 0.35832 | 0.17354 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_645_0_load_24 | 54 | 0.09111 | 0.044127 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_645_0_load_26 | 55 | 0.099613 | 0.048245 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_645_0_load_97 | 57 | 0.087279 | 0.042271 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_645_0_load_96 | 58 | 0.075667 | 0.036647 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_645_0_load_31 | 59 | 0.26054 | 0.12618 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_645_0_load_32 | 61 | 0.55649 | 0.26952 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_645_0_load_37 | 63 | 0.21326 | 0.10329 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_645_0_load_108 | 67 | 0.12155 | 0.058869 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_645_0_load_40 | 69 | 0.39864 | 0.19307 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_645_0_load_123 | 72 | 0.31564 | 0.15287 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_645_0_load_120 | 74 | 0.27218 | 0.13182 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_645_0_load_51 | 77 | 0.068125 | 0.032995 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_645_0_load_46 | 78 | 0.40174 | 0.19457 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_645_0_load_48 | 79 | 0.099571 | 0.048224 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_645_0_load_106 | 80 | 0.095395 | 0.046202 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_645_0_load_103 | 83 | 0.076953 | 0.03727 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_645_0_load_124 | 84 | 0.18662 | 0.090383 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_645_0_load_105 | 86 | 0.071601 | 0.034678 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_645_0_load_53 | 87 | 0.19614 | 0.094993 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_645_0_load_111 | 91 | 0.10582 | 0.05125 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_645_0_load_112 | 93 | 0.13418 | 0.064988 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_645_0_load_73 | 94 | 0.28788 | 0.13943 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_645_0_load_88 | 95 | 0.07907 | 0.038295 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_645_0_load_92 | 96 | 0.11015 | 0.05335 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_645_0_load_101 | 97 | 0.27307 | 0.13225 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_645_0_load_100 | 98 | 0.1052 | 0.050948 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_645_0_load_99 | 99 | 0.18914 | 0.091606 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_645_0_line_0 |  | 0 | 1 | 0.17148 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_645_0_line_1 |  | 1 | 25 | 0.11033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_645_0_line_2 |  | 2 | 3 | 0.059302 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_645_0_line_3 |  | 2 | 4 | 0.053423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_645_0_line_4 |  | 3 | 5 | 0.012068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_645_0_line_5 |  | 5 | 9 | 0.006309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_645_0_line_6 |  | 5 | 10 | 0.24916 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_645_0_line_7 |  | 6 | 7 | 0.194 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_645_0_line_8 |  | 6 | 8 | 0.2354 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_645_0_line_9 |  | 8 | 30 | 0.36003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_645_0_line_10 |  | 8 | 31 | 0.034226 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_645_0_line_11 |  | 8 | 11 | 0.23767 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_645_0_line_12 |  | 9 | 56 | 0.46394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_645_0_line_13 |  | 10 | 27 | 0.0481 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_645_0_line_14 |  | 11 | 12 | 0.1107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_645_0_line_15 |  | 11 | 13 | 0.048416 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_645_0_line_16 |  | 12 | 94 | 0.045758 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_645_0_line_17 |  | 14 | 15 | 0.032679 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_645_0_line_18 |  | 15 | 16 | 0.10972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_645_0_line_19 |  | 15 | 17 | 0.1391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_645_0_line_20 |  | 16 | 18 | 0.050636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_645_0_line_21 |  | 17 | 19 | 0.20702 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
22 | MV_645_0_line_22 |  | 17 | 20 | 0.41891 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
23 | MV_645_0_line_23 |  | 17 | 21 | 0.023934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_645_0_line_24 |  | 19 | 22 | 0.043662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_645_0_line_25 |  | 19 | 23 | 0.26561 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
26 | MV_645_0_line_26 |  | 20 | 33 | 0.28678 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_645_0_line_27 |  | 20 | 34 | 0.004733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_645_0_line_28 |  | 23 | 36 | 0.66069 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
29 | MV_645_0_line_29 |  | 23 | 37 | 0.011137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_645_0_line_30 |  | 24 | 25 | 0.5945 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_645_0_line_31 |  | 24 | 26 | 0.018227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_645_0_line_32 |  | 24 | 27 | 0.2977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_645_0_line_33 |  | 26 | 38 | 0.054218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_645_0_line_34 |  | 27 | 33 | 0.50176 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_645_0_line_35 |  | 28 | 29 | 0.043544 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_645_0_line_36 |  | 28 | 30 | 0.37175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_645_0_line_37 |  | 30 | 32 | 0.012822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_645_0_line_38 |  | 32 | 39 | 0.011649 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_645_0_line_39 |  | 33 | 35 | 0.005969 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_645_0_line_40 |  | 36 | 44 | 0.086134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_645_0_line_41 |  | 36 | 45 | 0.15806 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_645_0_line_42 |  | 36 | 46 | 0.19356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_645_0_line_43 |  | 36 | 47 | 0.097221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_645_0_line_44 |  | 36 | 40 | 0.064867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_645_0_line_45 |  | 38 | 52 | 0.035033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_645_0_line_46 |  | 39 | 59 | 0.026473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_645_0_line_47 |  | 40 | 41 | 0.041826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_645_0_line_48 |  | 40 | 42 | 0.068691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_645_0_line_49 |  | 40 | 43 | 0.053905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_645_0_line_50 |  | 41 | 95 | 0.0053002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_645_0_line_51 |  | 42 | 49 | 0.053719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_645_0_line_52 |  | 42 | 50 | 0.033887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_645_0_line_53 |  | 45 | 48 | 0.0107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_645_0_line_54 |  | 46 | 51 | 0.042375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_645_0_line_55 |  | 47 | 96 | 0.029101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_645_0_line_56 |  | 49 | 97 | 0.02192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_645_0_line_57 |  | 51 | 65 | 0.11229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_645_0_line_58 |  | 52 | 53 | 0.016299 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_645_0_line_59 |  | 53 | 54 | 0.014872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_645_0_line_60 |  | 54 | 55 | 0.0095451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_645_0_line_61 |  | 56 | 57 | 0.12933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_645_0_line_62 |  | 57 | 58 | 0.054181 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_645_0_line_63 |  | 58 | 62 | 0.010451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_645_0_line_64 |  | 59 | 60 | 0.01578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_645_0_line_65 |  | 59 | 61 | 0.035052 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_645_0_line_66 |  | 60 | 62 | 0.012741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_645_0_line_67 |  | 63 | 64 | 0.096918 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_645_0_line_68 |  | 64 | 65 | 0.016148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_645_0_line_69 |  | 65 | 66 | 0.061138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_645_0_line_70 |  | 66 | 67 | 0.018329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_645_0_line_71 |  | 66 | 68 | 0.59057 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_645_0_line_72 |  | 68 | 75 | 0.011932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_645_0_line_73 |  | 68 | 76 | 0.03503 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_645_0_line_74 |  | 68 | 73 | 0.9742 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_645_0_line_75 |  | 69 | 70 | 0.041422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_645_0_line_76 |  | 70 | 71 | 0.25127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_645_0_line_77 |  | 71 | 72 | 0.036193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_645_0_line_78 |  | 71 | 73 | 0.49259 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_645_0_line_79 |  | 73 | 74 | 0.025932 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_645_0_line_80 |  | 75 | 77 | 0.014903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_645_0_line_81 |  | 76 | 78 | 0.005855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_645_0_line_82 |  | 78 | 79 | 0.045683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_645_0_line_83 |  | 79 | 80 | 0.044549 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_645_0_line_84 |  | 80 | 83 | 0.052415 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_645_0_line_85 |  | 81 | 82 | 0.033177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_645_0_line_86 |  | 81 | 83 | 0.024683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_645_0_line_87 |  | 82 | 86 | 0.028572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_645_0_line_88 |  | 84 | 85 | 0.05134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_645_0_line_89 |  | 85 | 92 | 0.40861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_645_0_line_90 |  | 85 | 89 | 0.59319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_645_0_line_91 |  | 87 | 88 | 0.017722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_645_0_line_92 |  | 87 | 89 | 0.050022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_645_0_line_93 |  | 88 | 90 | 0.9186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_645_0_line_94 |  | 90 | 91 | 0.03726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_645_0_line_95 |  | 91 | 94 | 0.20866 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_645_0_line_96 |  | 92 | 93 | 0.024086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_645_0_line_97 |  | 97 | 98 | 0.04484 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_645_0_line_98 |  | 98 | 99 | 0.0057921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_645_0_trafo_20 | 25 MVA 110/20 kV | 100 | 23 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2500615.1828 | 1115287.9822
1 | 2500466.0434 | 1115372.6131
2 | 2500097.6057 | 1114836.2982
3 | 2500112.8195 | 1114880.6638
4 | 2500056.7389 | 1114828.3687
5 | 2500103.6429 | 1114888.5313
6 | 2500057.5848 | 1114536.7267
7 | 2500180.0953 | 1114386.2998
8 | 2499822.3613 | 1114527.5203
9 | 2500098.591 | 1114884.7345
10 | 2499958.3036 | 1115090.9079
11 | 2499853.8749 | 1114291.9511
12 | 2499899.4848 | 1114191.089
13 | 2499819.2344 | 1114258.1254
14 | 2499337.2904 | 1114981.5974
15 | 2499357.4128 | 1115007.3457
16 | 2499278.0784 | 1114969.6305
17 | 2499419.9395 | 1115006.428
18 | 2499311.7033 | 1114931.7712
19 | 2499431.3733 | 1114875.6447
20 | 2499525.7895 | 1115040.18
21 | 2499401.7255 | 1114990.9016
22 | 2499464.2502 | 1114904.3832
23 | 2499461.4562 | 1114698.6337
24 | 2499964.1194 | 1115205.4343
25 | 2500379.7742 | 1115313.9686
26 | 2499976.1989 | 1115191.7854
27 | 2499915.9395 | 1115077.2615
28 | 2499585.7929 | 1114418.2715
29 | 2499565.3812 | 1114379.8082
30 | 2499711.9983 | 1114694.3859
31 | 2499801.1702 | 1114500.6431
32 | 2499719.8993 | 1114704.4845
33 | 2499660.1674 | 1115023.1957
34 | 2499522.7843 | 1115043.8433
35 | 2499666.083 | 1115024.1093
36 | 2499177.7161 | 1114709.2377
37 | 2499468.2999 | 1114689.8479
38 | 2500012.1314 | 1115151.1847
39 | 2499727.0775 | 1114713.6593
40 | 2499137.5103 | 1114726.5517
41 | 2499104.1399 | 1114751.7237
42 | 2499166.267 | 1114755.8688
43 | 2499142.1732 | 1114767.4095
44 | 2499245.6897 | 1114698.5102
45 | 2499056.331 | 1114610.5208
46 | 2499167.6055 | 1114530.3491
47 | 2499237.2954 | 1114773.2302
48 | 2499065.8145 | 1114615.47
49 | 2499204.8256 | 1114772.7372
50 | 2499143.7057 | 1114781.1534
51 | 2499136.8002 | 1114501.4973
52 | 2499986.9169 | 1115143.7633
53 | 2499976.2546 | 1115156.0917
54 | 2499965.1866 | 1115146.1575
55 | 2499958.0832 | 1115139.7818
56 | 2499832.2285 | 1114861.7223
57 | 2499818.4334 | 1114754.6686
58 | 2499770.9003 | 1114728.6647
59 | 2499743.3499 | 1114734.5695
60 | 2499755.8482 | 1114724.8898
61 | 2499715.4793 | 1114755.8267
62 | 2499762.9669 | 1114735.4674
63 | 2499157.3845 | 1114352.2739
64 | 2499078.1721 | 1114408.1181
65 | 2499065.0281 | 1114417.4987
66 | 2499020.2011 | 1114448.1879
67 | 2499004.859 | 1114458.2168
68 | 2498895.3548 | 1114745.9261
69 | 2498594.0373 | 1114352.8408
70 | 2498594.7937 | 1114387.828
71 | 2498567.7127 | 1114535.6528
72 | 2498596.09 | 1114513.0853
73 | 2498443.2158 | 1114672.9046
74 | 2498467.7554 | 1114681.2871
75 | 2498907.1118 | 1114745.1181
76 | 2498884.0768 | 1114779.0909
77 | 2498918.2511 | 1114755.0191
78 | 2498888.4593 | 1114782.9868
79 | 2498922.6264 | 1114813.4131
80 | 2498963.1651 | 1114794.9406
81 | 2498922.4988 | 1114859.8556
82 | 2498947.4109 | 1114881.8424
83 | 2498938.8773 | 1114841.389
84 | 2499099.3791 | 1114088.8636
85 | 2499133.8092 | 1114127.0249
86 | 2498968.8361 | 1114900.7452
87 | 2499280.7984 | 1113762.5816
88 | 2499292.3546 | 1113776.0423
89 | 2499247.538 | 1113725.1448
90 | 2499707.041 | 1114067.3633
91 | 2499735.4244 | 1114049.803
92 | 2499391.0074 | 1114082.6503
93 | 2499405.9717 | 1114063.7453
94 | 2499918.7026 | 1114149.5451
95 | 2499099.2382 | 1114753.74
96 | 2499257.1558 | 1114794.5003
97 | 2499220.2316 | 1114788.3683
98 | 2499190.4196 | 1114821.8621
99 | 2499186.5691 | 1114826.189
100 | 2499461.4562 | 1114698.6337

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99437 | -0.052205 | 0.20275 | 0.098198
1 | 0.99444 | -0.051779 | 0.11754 | 0.056929
2 | 0.99308 | -0.068323 | 0 | 0
3 | 0.99309 | -0.068398 | 0 | 0
4 | 0.99307 | -0.06825 | 0.11508 | 0.055735
5 | 0.99309 | -0.068413 | 0.38184 | 0.18493
6 | 0.98906 | -0.042718 | 0 | 0
7 | 0.98894 | -0.043476 | 0.31558 | 0.15284
8 | 0.9892 | -0.041793 | 0 | 0
9 | 0.99306 | -0.068206 | 0 | 0
10 | 0.99485 | -0.055194 | 0.16954 | 0.082114
11 | 0.98865 | -0.046485 | 0 | 0
12 | 0.98852 | -0.045622 | 0 | 0
13 | 0.98863 | -0.046306 | 0.30483 | 0.14763
14 | 0.99828 | -0.017776 | 0.36648 | 0.17749
15 | 0.9983 | -0.017631 | 0 | 0
16 | 0.99828 | -0.017377 | 0 | 0
17 | 0.99841 | -0.018538 | 0 | 0
18 | 0.99826 | -0.017253 | 0.20625 | 0.099891
19 | 0.99908 | -0.010701 | 0 | 0
20 | 0.99719 | -0.032732 | 0 | 0
21 | 0.9984 | -0.018518 | 0.07115 | 0.03446
22 | 0.99906 | -0.010489 | 0.40812 | 0.19766
23 | 1 | 0 | -11.0499 | -5.0625
24 | 0.99472 | -0.054122 | 0 | 0
25 | 0.99448 | -0.052196 | 0 | 0
26 | 0.99471 | -0.053983 | 0.096772 | 0.046869
27 | 0.99509 | -0.057148 | 0 | 0
28 | 0.98995 | -0.047705 | 0 | 0
29 | 0.98993 | -0.04781 | 0.19602 | 0.094936
30 | 0.99004 | -0.048488 | 0 | 0
31 | 0.98918 | -0.041921 | 0.30387 | 0.14717
32 | 0.99008 | -0.048746 | 0.16044 | 0.077702
33 | 0.99639 | -0.041989 | 0 | 0
34 | 0.99719 | -0.032718 | 0.24725 | 0.11975
35 | 0.99639 | -0.041966 | 0.32283 | 0.15636
36 | 0.99847 | -0.017468 | 0 | 0
37 | 1 | 3.3775e-05 | 0.2542 | 0.12311
38 | 0.99467 | -0.053631 | 0 | 0
39 | 0.99011 | -0.049003 | 0 | 0
40 | 0.9984 | -0.01681 | 0 | 0
41 | 0.99839 | -0.016772 | 0 | 0
42 | 0.99834 | -0.016246 | 0 | 0
43 | 0.99839 | -0.016745 | 0.10338 | 0.050068
44 | 0.99845 | -0.017294 | 0.17362 | 0.08409
45 | 0.99842 | -0.016995 | 0 | 0
46 | 0.99777 | -0.011659 | 0 | 0
47 | 0.99846 | -0.017351 | 0 | 0
48 | 0.99841 | -0.016962 | 0.26057 | 0.1262
49 | 0.9983 | -0.015885 | 0 | 0
50 | 0.99833 | -0.016192 | 0.13583 | 0.065787
51 | 0.99761 | -0.010379 | 0.73121 | 0.35414
52 | 0.99465 | -0.0534 | 0.35832 | 0.17354
53 | 0.99464 | -0.053439 | 0 | 0
54 | 0.99464 | -0.053405 | 0.09111 | 0.044127
55 | 0.99463 | -0.053394 | 0.099613 | 0.048245
56 | 0.99118 | -0.052786 | 0 | 0
57 | 0.99066 | -0.048419 | 0.087279 | 0.042271
58 | 0.99033 | -0.05083 | 0.075667 | 0.036647
59 | 0.99018 | -0.049586 | 0.26054 | 0.12618
60 | 0.99025 | -0.05009 | 0 | 0
61 | 0.99015 | -0.049826 | 0.55649 | 0.26952
62 | 0.99029 | -0.050497 | 0 | 0
63 | 0.99726 | -0.0081689 | 0.21326 | 0.10329
64 | 0.9973 | -0.0079173 | 0 | 0
65 | 0.99731 | -0.0079584 | 0 | 0
66 | 0.99716 | -0.0067869 | 0 | 0
67 | 0.99716 | -0.0067603 | 0.12155 | 0.058869
68 | 0.99581 | 0.0039921 | 0 | 0
69 | 0.99399 | 0.018836 | 0.39864 | 0.19307
70 | 0.99401 | 0.018637 | 0 | 0
71 | 0.99414 | 0.017488 | 0 | 0
72 | 0.99413 | 0.017626 | 0.31564 | 0.15287
73 | 0.99459 | 0.013662 | 0 | 0
74 | 0.99458 | 0.013576 | 0.27218 | 0.13182
75 | 0.99581 | 0.0040016 | 0 | 0
76 | 0.99576 | 0.0036637 | 0 | 0
77 | 0.99581 | 0.0040136 | 0.068125 | 0.032995
78 | 0.99575 | 0.0037152 | 0.40174 | 0.19457
79 | 0.99573 | 0.0038966 | 0.099571 | 0.048224
80 | 0.99571 | 0.003756 | 0.095395 | 0.046202
81 | 0.99569 | 0.0036703 | 0 | 0
82 | 0.99569 | 0.0036967 | 0 | 0
83 | 0.9957 | 0.0036517 | 0.076953 | 0.03727
84 | 0.98731 | -0.042123 | 0.18662 | 0.090383
85 | 0.98732 | -0.042238 | 0 | 0
86 | 0.99569 | 0.0037207 | 0.071601 | 0.034678
87 | 0.98759 | -0.043982 | 0.19614 | 0.094993
88 | 0.9876 | -0.044063 | 0 | 0
89 | 0.98757 | -0.043869 | 0 | 0
90 | 0.9882 | -0.047644 | 0 | 0
91 | 0.98822 | -0.047762 | 0.10582 | 0.05125
92 | 0.98725 | -0.041707 | 0 | 0
93 | 0.98725 | -0.041668 | 0.13418 | 0.064988
94 | 0.98847 | -0.04526 | 0.28788 | 0.13943
95 | 0.99839 | -0.016767 | 0.07907 | 0.038295
96 | 0.99845 | -0.017313 | 0.11015 | 0.05335
97 | 0.99828 | -0.015736 | 0.27307 | 0.13225
98 | 0.99825 | -0.015897 | 0.1052 | 0.050948
99 | 0.99825 | -0.015884 | 0.18914 | 0.091606
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.20275 | -0.098198 | 0.20277 | 0.098004 | 1.3063e-05 | -0.00019424 | 0.0065401 | 0.0065376 | 0.0065401 | 0.99437 | -0.052205 | 0.99444 | -0.051779 | 3.1144
1 | -0.32031 | -0.15493 | 0.32033 | 0.15233 | 1.5664e-05 | -0.0026004 | 0.010329 | 0.010296 | 0.010329 | 0.99444 | -0.051779 | 0.99448 | -0.052196 | 4.6949
2 | -0.11508 | -0.054478 | 0.11508 | 0.053082 | 1.0794e-06 | -0.001396 | 0.0037011 | 0.0036839 | 0.0037011 | 0.99308 | -0.068323 | 0.99309 | -0.068398 | 1.6823
3 | 0.11508 | 0.054478 | -0.11508 | -0.055735 | 9.8112e-07 | -0.0012576 | 0.0037011 | 0.0037169 | 0.0037169 | 0.99308 | -0.068323 | 0.99307 | -0.06825 | 1.6895
4 | -0.11508 | -0.053082 | 0.11508 | 0.052797 | 2.1845e-07 | -0.0002841 | 0.0036839 | 0.0036805 | 0.0036839 | 0.99309 | -0.068398 | 0.99309 | -0.068413 | 1.6745
5 | 3.1846 | 1.4523 | -3.1845 | -1.4524 | 8.7187e-05 | -0.00012269 | 0.10174 | 0.10174 | 0.10174 | 0.99309 | -0.068413 | 0.99306 | -0.068206 | 46.2474
6 | -3.6815 | -1.69 | 3.6877 | 1.6935 | 0.0061552 | 0.0035615 | 0.11775 | 0.11775 | 0.11775 | 0.99309 | -0.068413 | 0.99485 | -0.055194 | 56.0728
7 | 0.31562 | 0.15264 | -0.31558 | -0.15284 | 3.6202e-05 | -0.00020386 | 0.010233 | 0.010235 | 0.010235 | 0.98906 | -0.042718 | 0.98894 | -0.043476 | 4.874
8 | -0.31562 | -0.15264 | 0.31566 | 0.15239 | 4.39e-05 | -0.00024745 | 0.010233 | 0.010229 | 0.010233 | 0.98906 | -0.042718 | 0.9892 | -0.041793 | 4.8727
9 | -1.8364 | -0.83465 | 1.8381 | 0.82672 | 0.0016627 | -0.0079254 | 0.058867 | 0.058766 | 0.058867 | 0.9892 | -0.041793 | 0.99004 | -0.048488 | 26.7576
10 | 0.30387 | 0.14713 | -0.30387 | -0.14717 | 5.92e-06 | -3.6273e-05 | 0.0098526 | 0.0098531 | 0.0098531 | 0.9892 | -0.041793 | 0.98918 | -0.041921 | 4.692
11 | 1.2169 | 0.53512 | -1.2162 | -0.535 | 0.00063733 | 0.00012172 | 0.038794 | 0.038797 | 0.038797 | 0.9892 | -0.041793 | 0.98865 | -0.046485 | 18.4747
12 | 3.1845 | 1.4524 | -3.1781 | -1.4614 | 0.0064198 | -0.0089989 | 0.10174 | 0.10188 | 0.10188 | 0.99306 | -0.068206 | 0.99118 | -0.052786 | 46.3074
13 | -3.8572 | -1.7757 | 3.8582 | 1.7748 | 0.00097477 | -0.00084777 | 0.12321 | 0.1232 | 0.12321 | 0.99485 | -0.055194 | 0.99509 | -0.057148 | 56.0066
14 | 0.9114 | 0.3885 | -0.91128 | -0.39104 | 0.00012381 | -0.0025464 | 0.028929 | 0.028959 | 0.028959 | 0.98865 | -0.046485 | 0.98852 | -0.045622 | 13.163
15 | 0.30483 | 0.14651 | -0.30483 | -0.14763 | 6.3127e-06 | -0.001128 | 0.0098754 | 0.0098898 | 0.0098898 | 0.98865 | -0.046485 | 0.98863 | -0.046306 | 4.4953
16 | 0.91128 | 0.39104 | -0.91123 | -0.3921 | 5.1249e-05 | -0.0010523 | 0.028959 | 0.028971 | 0.028971 | 0.98852 | -0.045622 | 0.98847 | -0.04526 | 13.1686
17 | -0.36648 | -0.17749 | 0.36648 | 0.17746 | 8.0723e-06 | -3.3822e-05 | 0.011775 | 0.011774 | 0.011775 | 0.99828 | -0.017776 | 0.9983 | -0.017631 | 5.6071
18 | 0.20626 | 0.096078 | -0.20625 | -0.098687 | 6.3723e-06 | -0.0026089 | 0.0065796 | 0.0066118 | 0.0066118 | 0.9983 | -0.017631 | 0.99828 | -0.017377 | 3.0054
19 | -0.57274 | -0.27354 | 0.5728 | 0.27024 | 6.2415e-05 | -0.0032918 | 0.018354 | 0.018313 | 0.018354 | 0.9983 | -0.017631 | 0.99841 | -0.018538 | 8.3425
20 | 0.20625 | 0.098687 | -0.20625 | -0.099891 | 2.9619e-06 | -0.0012039 | 0.0066118 | 0.0066269 | 0.0066269 | 0.99828 | -0.017377 | 0.99826 | -0.017253 | 3.0122
21 | -6.0543 | -2.7659 | 6.058 | 2.7615 | 0.003702 | -0.0043941 | 0.19246 | 0.19237 | 0.19246 | 0.99841 | -0.018538 | 0.99908 | -0.010701 | 53.1646
22 | 5.4104 | 2.4618 | -5.4044 | -2.4718 | 0.0059825 | -0.0099604 | 0.17187 | 0.17204 | 0.17204 | 0.99841 | -0.018538 | 0.99719 | -0.032732 | 47.5244
23 | 0.07115 | 0.03389 | -0.07115 | -0.03446 | 1.6642e-07 | -0.00056957 | 0.0022787 | 0.0022858 | 0.0022858 | 0.99841 | -0.018538 | 0.9984 | -0.018518 | 1.039
24 | 0.40813 | 0.19662 | -0.40812 | -0.19766 | 9.9973e-06 | -0.0010376 | 0.01309 | 0.013103 | 0.013103 | 0.99908 | -0.010701 | 0.99906 | -0.010489 | 5.9558
25 | -6.4662 | -2.9582 | 6.4716 | 2.953 | 0.0054126 | -0.0051703 | 0.20546 | 0.20535 | 0.20546 | 0.99908 | -0.010701 | 1 | 0 | 56.7563
26 | 5.1571 | 2.3521 | -5.1534 | -2.3592 | 0.0037322 | -0.0070631 | 0.16409 | 0.16421 | 0.16421 | 0.99719 | -0.032732 | 0.99639 | -0.041989 | 45.3608
27 | 0.24725 | 0.11964 | -0.24725 | -0.11975 | 3.9959e-07 | -0.00011225 | 0.0079516 | 0.007953 | 0.007953 | 0.99719 | -0.032732 | 0.99719 | -0.032718 | 3.615
28 | 4.3101 | 1.9761 | -4.3041 | -1.9944 | 0.0059905 | -0.018278 | 0.13688 | 0.13715 | 0.13715 | 1 | 0 | 0.99847 | -0.017468 | 37.8865
29 | 0.2542 | 0.12285 | -0.2542 | -0.12311 | 9.8796e-07 | -0.00026561 | 0.00815 | 0.0081534 | 0.0081534 | 1 | 0 | 1 | 3.3775e-05 | 3.7061
30 | 0.32041 | 0.13831 | -0.32033 | -0.15233 | 8.274e-05 | -0.014017 | 0.010128 | 0.010296 | 0.010296 | 0.99472 | -0.054122 | 0.99448 | -0.052196 | 4.6801
31 | 0.64586 | 0.30966 | -0.64585 | -0.31009 | 1.0516e-05 | -0.00042747 | 0.020786 | 0.020792 | 0.020792 | 0.99472 | -0.054122 | 0.99471 | -0.053983 | 9.4508
32 | -0.96627 | -0.44798 | 0.96665 | 0.44105 | 0.00037864 | -0.0069234 | 0.030909 | 0.030824 | 0.030909 | 0.99472 | -0.054122 | 0.99509 | -0.057148 | 14.0495
33 | 0.54908 | 0.26322 | -0.54906 | -0.26449 | 2.2623e-05 | -0.0012741 | 0.017671 | 0.017687 | 0.017687 | 0.99471 | -0.053983 | 0.99467 | -0.053631 | 8.0397
34 | -4.8248 | -2.2159 | 4.8306 | 2.203 | 0.0057416 | -0.012895 | 0.15402 | 0.15382 | 0.15402 | 0.99509 | -0.057148 | 0.99639 | -0.041989 | 42.5481
35 | 0.19602 | 0.094887 | -0.19602 | -0.094936 | 3.1292e-06 | -4.8983e-05 | 0.0063506 | 0.0063512 | 0.0063512 | 0.98995 | -0.047705 | 0.98993 | -0.04781 | 3.0244
36 | -0.19602 | -0.094887 | 0.19604 | 0.086193 | 1.9675e-05 | -0.0086934 | 0.0063506 | 0.0062442 | 0.0063506 | 0.98995 | -0.047705 | 0.99004 | -0.048488 | 2.8866
37 | -2.0341 | -0.91292 | 2.0342 | 0.91264 | 7.2339e-05 | -0.00027863 | 0.06501 | 0.065006 | 0.06501 | 0.99004 | -0.048488 | 0.99008 | -0.048746 | 29.5498
38 | -2.1946 | -0.99034 | 2.1947 | 0.99009 | 7.6639e-05 | -0.00024992 | 0.070201 | 0.070198 | 0.070201 | 0.99008 | -0.048746 | 0.99011 | -0.049003 | 31.9097
39 | 0.32284 | 0.15621 | -0.32283 | -0.15636 | 8.6049e-07 | -0.00014123 | 0.010391 | 0.010392 | 0.010392 | 0.99639 | -0.041989 | 0.99639 | -0.041966 | 4.7238
40 | 0.17363 | 0.082041 | -0.17362 | -0.08409 | 3.5608e-06 | -0.0020492 | 0.0055521 | 0.0055776 | 0.0055776 | 0.99847 | -0.017468 | 0.99845 | -0.017294 | 2.5353
41 | 0.26059 | 0.12219 | -0.26058 | -0.12595 | 1.4693e-05 | -0.0037578 | 0.0083213 | 0.008368 | 0.008368 | 0.99847 | -0.017468 | 0.99842 | -0.016995 | 3.8036
42 | 2.8739 | 1.3192 | -2.8717 | -1.3232 | 0.0021611 | -0.003963 | 0.091424 | 0.09148 | 0.09148 | 0.99847 | -0.017468 | 0.99777 | -0.011659 | 41.5819
43 | 0.11016 | 0.050344 | -0.11016 | -0.052658 | 1.6042e-06 | -0.0023137 | 0.0035017 | 0.00353 | 0.00353 | 0.99847 | -0.017468 | 0.99846 | -0.017351 | 1.6045
44 | 0.88584 | 0.42063 | -0.88577 | -0.42215 | 6.9657e-05 | -0.0015233 | 0.028352 | 0.028371 | 0.028371 | 0.99847 | -0.017468 | 0.9984 | -0.01681 | 12.8959
45 | 0.54906 | 0.26449 | -0.54904 | -0.26532 | 1.464e-05 | -0.0008232 | 0.017687 | 0.017698 | 0.017698 | 0.99467 | -0.053631 | 0.99465 | -0.0534 | 8.0445
46 | -2.1947 | -0.99009 | 2.1949 | 0.98952 | 0.00017414 | -0.00056802 | 0.070198 | 0.070191 | 0.070198 | 0.99011 | -0.049003 | 0.99018 | -0.049586 | 31.9082
47 | 0.079071 | 0.037174 | -0.07907 | -0.038169 | 3.581e-07 | -0.00099533 | 0.0025263 | 0.0025387 | 0.0025387 | 0.9984 | -0.01681 | 0.99839 | -0.016772 | 1.1539
48 | 0.70333 | 0.33619 | -0.70328 | -0.33781 | 4.6631e-05 | -0.0016209 | 0.02254 | 0.02256 | 0.02256 | 0.9984 | -0.01681 | 0.99834 | -0.016246 | 10.2546
49 | 0.10338 | 0.048785 | -0.10338 | -0.050068 | 7.8992e-07 | -0.0012827 | 0.0033052 | 0.0033212 | 0.0033212 | 0.9984 | -0.01681 | 0.99839 | -0.016745 | 1.5096
50 | 0.07907 | 0.038169 | -0.07907 | -0.038295 | 4.5614e-08 | -0.00012613 | 0.0025387 | 0.0025403 | 0.0025403 | 0.99839 | -0.016772 | 0.99839 | -0.016767 | 1.1547
51 | 0.56744 | 0.27283 | -0.56742 | -0.2741 | 2.3792e-05 | -0.0012712 | 0.018206 | 0.018222 | 0.018222 | 0.99834 | -0.016246 | 0.9983 | -0.015885 | 8.2828
52 | 0.13583 | 0.064981 | -0.13583 | -0.065787 | 8.5962e-07 | -0.00080614 | 0.004354 | 0.0043642 | 0.0043642 | 0.99834 | -0.016246 | 0.99833 | -0.016192 | 1.9837
53 | 0.26058 | 0.12595 | -0.26057 | -0.1262 | 1.0006e-06 | -0.00025436 | 0.008368 | 0.0083712 | 0.0083712 | 0.99842 | -0.016995 | 0.99841 | -0.016962 | 3.8051
54 | 2.8717 | 1.3232 | -2.8712 | -1.324 | 0.00047348 | -0.00086664 | 0.09148 | 0.091492 | 0.091492 | 0.99777 | -0.011659 | 0.99761 | -0.010379 | 41.5874
55 | 0.11016 | 0.052658 | -0.11015 | -0.05335 | 4.8529e-07 | -0.00069252 | 0.00353 | 0.0035387 | 0.0035387 | 0.99846 | -0.017351 | 0.99845 | -0.017313 | 1.6085
56 | 0.56742 | 0.2741 | -0.56741 | -0.27462 | 9.7202e-06 | -0.00051869 | 0.018222 | 0.018229 | 0.018229 | 0.9983 | -0.015885 | 0.99828 | -0.015736 | 8.2858
57 | 2.14 | 0.9699 | -2.1393 | -0.97236 | 0.00069324 | -0.0024617 | 0.067988 | 0.06802 | 0.06802 | 0.99761 | -0.010379 | 0.99731 | -0.0079584 | 30.9182
58 | 0.19072 | 0.091776 | -0.19072 | -0.091795 | 1.0959e-06 | -1.8564e-05 | 0.0061429 | 0.0061432 | 0.0061432 | 0.99465 | -0.0534 | 0.99464 | -0.053439 | 2.9253
59 | 0.19072 | 0.091795 | -0.19072 | -0.092146 | 7.4982e-07 | -0.00035107 | 0.0061432 | 0.0061476 | 0.0061476 | 0.99464 | -0.053439 | 0.99464 | -0.053405 | 2.7944
60 | 0.099613 | 0.048019 | -0.099613 | -0.048245 | 1.3136e-07 | -0.00022542 | 0.0032095 | 0.0032123 | 0.0032123 | 0.99464 | -0.053405 | 0.99463 | -0.053394 | 1.4601
61 | 3.1781 | 1.4614 | -3.1763 | -1.4639 | 0.0017926 | -0.0025004 | 0.10188 | 0.10191 | 0.10191 | 0.99118 | -0.052786 | 0.99066 | -0.048419 | 46.3242
62 | 3.089 | 1.4216 | -3.0881 | -1.4211 | 0.00094783 | 0.00053023 | 0.099088 | 0.099089 | 0.099089 | 0.99066 | -0.048419 | 0.99033 | -0.05083 | 47.1851
63 | 3.0124 | 1.3844 | -3.0123 | -1.3846 | 0.0001303 | -0.00020606 | 0.096639 | 0.096642 | 0.096642 | 0.99033 | -0.05083 | 0.99029 | -0.050497 | 43.928
64 | -3.0119 | -1.3852 | 3.0121 | 1.3849 | 0.00019677 | -0.00031106 | 0.09665 | 0.096645 | 0.09665 | 0.99018 | -0.049586 | 0.99025 | -0.05009 | 43.9317
65 | 0.55651 | 0.26949 | -0.55649 | -0.26952 | 2.0295e-05 | -2.8314e-05 | 0.018027 | 0.018027 | 0.018027 | 0.99018 | -0.049586 | 0.99015 | -0.049826 | 8.5843
66 | -3.0121 | -1.3849 | 3.0123 | 1.3846 | 0.00015887 | -0.00025119 | 0.096645 | 0.096642 | 0.096645 | 0.99025 | -0.05009 | 0.99029 | -0.050497 | 43.9296
67 | -0.21326 | -0.10329 | 0.21327 | 0.10318 | 8.1225e-06 | -0.00010999 | 0.0068591 | 0.0068577 | 0.0068591 | 0.99726 | -0.0081689 | 0.9973 | -0.0079173 | 3.2663
68 | -0.21327 | -0.10318 | 0.21327 | 0.10279 | 1.0131e-06 | -0.00038318 | 0.0068577 | 0.0068529 | 0.0068577 | 0.9973 | -0.0079173 | 0.99731 | -0.0079584 | 3.1171
69 | 1.9261 | 0.86957 | -1.9258 | -0.87093 | 0.00030548 | -0.0013611 | 0.061169 | 0.061186 | 0.061186 | 0.99731 | -0.0079584 | 0.99716 | -0.0067869 | 27.812
70 | 0.12155 | 0.058434 | -0.12155 | -0.058869 | 3.7353e-07 | -0.00043503 | 0.0039044 | 0.0039098 | 0.0039098 | 0.99716 | -0.0067869 | 0.99716 | -0.0067603 | 1.7772
71 | 1.8042 | 0.8125 | -1.8016 | -0.82573 | 0.0025946 | -0.013232 | 0.057283 | 0.057451 | 0.057451 | 0.99716 | -0.0067869 | 0.99581 | 0.0039921 | 26.1141
72 | 0.068125 | 0.032359 | -0.068125 | -0.032642 | 7.6266e-08 | -0.00028248 | 0.0021863 | 0.0021899 | 0.0021899 | 0.99581 | 0.0039921 | 0.99581 | 0.0040016 | 0.9954
73 | 0.74532 | 0.35756 | -0.74528 | -0.35757 | 3.5842e-05 | -1.9017e-05 | 0.023964 | 0.023964 | 0.023964 | 0.99581 | 0.0039921 | 0.99576 | 0.0036637 | 11.4115
74 | 0.98816 | 0.43581 | -0.98688 | -0.45847 | 0.0012859 | -0.022656 | 0.031308 | 0.031584 | 0.031584 | 0.99581 | 0.0039921 | 0.99459 | 0.013662 | 14.3563
75 | -0.39864 | -0.19307 | 0.39865 | 0.1921 | 9.1417e-06 | -0.00097446 | 0.012864 | 0.012851 | 0.012864 | 0.99399 | 0.018836 | 0.99401 | 0.018637 | 5.8471
76 | -0.39865 | -0.1921 | 0.39871 | 0.18618 | 5.5081e-05 | -0.005912 | 0.012851 | 0.012778 | 0.012851 | 0.99401 | 0.018637 | 0.99414 | 0.017488 | 5.8415
77 | 0.31564 | 0.15202 | -0.31564 | -0.15287 | 5.0058e-06 | -0.00085255 | 0.010173 | 0.010184 | 0.010184 | 0.99414 | 0.017488 | 0.99413 | 0.017626 | 4.629
78 | -0.71435 | -0.3382 | 0.71469 | 0.32667 | 0.00034421 | -0.011527 | 0.02295 | 0.022808 | 0.02295 | 0.99414 | 0.017488 | 0.99459 | 0.013662 | 10.4319
79 | 0.27219 | 0.1318 | -0.27218 | -0.13182 | 3.5598e-06 | -2.8393e-05 | 0.0087775 | 0.0087779 | 0.0087779 | 0.99459 | 0.013662 | 0.99458 | 0.013576 | 4.18
80 | 0.068125 | 0.032642 | -0.068125 | -0.032995 | 9.5609e-08 | -0.00035283 | 0.0021899 | 0.0021943 | 0.0021943 | 0.99581 | 0.0040016 | 0.99581 | 0.0040136 | 0.99742
81 | 0.74528 | 0.35757 | -0.74528 | -0.35771 | 4.4891e-06 | -0.00013728 | 0.023964 | 0.023966 | 0.023966 | 0.99576 | 0.0036637 | 0.99575 | 0.0037152 | 10.8936
82 | 0.34353 | 0.16314 | -0.34353 | -0.16422 | 7.4223e-06 | -0.0010793 | 0.011025 | 0.011039 | 0.011039 | 0.99575 | 0.0037152 | 0.99573 | 0.0038966 | 5.0176
83 | 0.24396 | 0.11599 | -0.24395 | -0.11604 | 4.8684e-06 | -4.968e-05 | 0.0078313 | 0.007832 | 0.007832 | 0.99573 | 0.0038966 | 0.99571 | 0.003756 | 3.7295
84 | 0.14856 | 0.069841 | -0.14855 | -0.069902 | 2.1155e-06 | -6.0712e-05 | 0.0047591 | 0.0047599 | 0.0047599 | 0.99571 | 0.003756 | 0.9957 | 0.0036517 | 2.2666
85 | 0.071601 | 0.033216 | -0.071601 | -0.034002 | 2.3292e-07 | -0.00078526 | 0.0022884 | 0.0022981 | 0.0022981 | 0.99569 | 0.0036703 | 0.99569 | 0.0036967 | 1.0446
86 | -0.071601 | -0.033216 | 0.071601 | 0.032632 | 1.7203e-07 | -0.00058423 | 0.0022884 | 0.0022813 | 0.0022884 | 0.99569 | 0.0036703 | 0.9957 | 0.0036517 | 1.0402
87 | 0.071601 | 0.034002 | -0.071601 | -0.034678 | 2.0218e-07 | -0.00067626 | 0.0022981 | 0.0023065 | 0.0023065 | 0.99569 | 0.0036967 | 0.99569 | 0.0037207 | 1.0484
88 | -0.18662 | -0.090383 | 0.18662 | 0.089189 | 2.5129e-06 | -0.0011942 | 0.0060627 | 0.0060475 | 0.0060627 | 0.98731 | -0.042123 | 0.98732 | -0.042238 | 2.7558
89 | 0.13419 | 0.054921 | -0.13418 | -0.064427 | 1.0058e-05 | -0.0095065 | 0.0042394 | 0.0043524 | 0.0043524 | 0.98732 | -0.042238 | 0.98725 | -0.041707 | 1.9784
90 | -0.32081 | -0.14411 | 0.3209 | 0.13032 | 8.242e-05 | -0.013785 | 0.010283 | 0.010124 | 0.010283 | 0.98732 | -0.042238 | 0.98757 | -0.043869 | 4.674
91 | -0.51704 | -0.22415 | 0.51704 | 0.22374 | 6.4177e-06 | -0.00041079 | 0.016472 | 0.016468 | 0.016472 | 0.98759 | -0.043982 | 0.9876 | -0.044063 | 7.4875
92 | 0.3209 | 0.12916 | -0.3209 | -0.13032 | 6.8362e-06 | -0.0011628 | 0.010111 | 0.010124 | 0.010124 | 0.98759 | -0.043982 | 0.98757 | -0.043869 | 4.6019
93 | -0.51704 | -0.22374 | 0.51737 | 0.20244 | 0.00032766 | -0.021308 | 0.016468 | 0.016229 | 0.016468 | 0.9876 | -0.044063 | 0.9882 | -0.047644 | 7.4853
94 | -0.51737 | -0.20244 | 0.51739 | 0.20157 | 1.3094e-05 | -0.00086488 | 0.016229 | 0.01622 | 0.016229 | 0.9882 | -0.047644 | 0.98822 | -0.047762 | 7.377
95 | -0.6232 | -0.25282 | 0.62335 | 0.25267 | 0.00014347 | -0.00015346 | 0.019646 | 0.019643 | 0.019646 | 0.98822 | -0.047762 | 0.98847 | -0.04526 | 9.3551
96 | 0.13418 | 0.064427 | -0.13418 | -0.064988 | 6.1012e-07 | -0.00056033 | 0.0043524 | 0.0043595 | 0.0043595 | 0.98725 | -0.041707 | 0.98725 | -0.041668 | 1.9816
97 | 0.29435 | 0.14237 | -0.29434 | -0.14242 | 7.1425e-06 | -4.8871e-05 | 0.009455 | 0.0094557 | 0.0094557 | 0.99828 | -0.015736 | 0.99825 | -0.015897 | 4.5027
98 | 0.18914 | 0.091468 | -0.18914 | -0.091606 | 2.8553e-07 | -0.00013773 | 0.0060756 | 0.0060774 | 0.0060774 | 0.99825 | -0.015897 | 0.99825 | -0.015884 | 2.7624

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.0499 | 5.0625

## res_load
| p_mw | q_mvar
0 | 0.20275 | 0.098198
1 | 0.11754 | 0.056929
2 | 0.11508 | 0.055735
3 | 0.38184 | 0.18493
4 | 0.31558 | 0.15284
5 | 0.16954 | 0.082114
6 | 0.30483 | 0.14763
7 | 0.36648 | 0.17749
8 | 0.20625 | 0.099891
9 | 0.07115 | 0.03446
10 | 0.40812 | 0.19766
11 | 0.096772 | 0.046869
12 | 0.19602 | 0.094936
13 | 0.30387 | 0.14717
14 | 0.16044 | 0.077702
15 | 0.24725 | 0.11975
16 | 0.32283 | 0.15636
17 | 0.2542 | 0.12311
18 | 0.10338 | 0.050068
19 | 0.17362 | 0.08409
20 | 0.26057 | 0.1262
21 | 0.13583 | 0.065787
22 | 0.73121 | 0.35414
23 | 0.35832 | 0.17354
24 | 0.09111 | 0.044127
25 | 0.099613 | 0.048245
26 | 0.087279 | 0.042271
27 | 0.075667 | 0.036647
28 | 0.26054 | 0.12618
29 | 0.55649 | 0.26952
30 | 0.21326 | 0.10329
31 | 0.12155 | 0.058869
32 | 0.39864 | 0.19307
33 | 0.31564 | 0.15287
34 | 0.27218 | 0.13182
35 | 0.068125 | 0.032995
36 | 0.40174 | 0.19457
37 | 0.099571 | 0.048224
38 | 0.095395 | 0.046202
39 | 0.076953 | 0.03727
40 | 0.18662 | 0.090383
41 | 0.071601 | 0.034678
42 | 0.19614 | 0.094993
43 | 0.10582 | 0.05125
44 | 0.13418 | 0.064988
45 | 0.28788 | 0.13943
46 | 0.07907 | 0.038295
47 | 0.11015 | 0.05335
48 | 0.27307 | 0.13225
49 | 0.1052 | 0.050948
50 | 0.18914 | 0.091606

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1