## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_646_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_646_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_646_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_646_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_646_0_node_69 | 20 | n |  | TRUE
5 | bus_MV_646_0_node_17 | 20 | n |  | TRUE
6 | bus_MV_646_0_node_104 | 20 | n |  | TRUE
7 | bus_MV_646_0_node_7 | 20 | n |  | TRUE
8 | bus_MV_646_0_node_18 | 20 | n |  | TRUE
9 | bus_MV_646_0_node_108 | 20 | n |  | TRUE
10 | bus_MV_646_0_node_16 | 20 | n |  | TRUE
11 | bus_MV_646_0_node_4 | 20 | n |  | TRUE
12 | bus_MV_646_0_node_5 | 20 | n |  | TRUE
13 | bus_MV_646_0_node_12 | 20 | n |  | TRUE
14 | bus_MV_646_0_node_13 | 20 | n |  | TRUE
15 | bus_MV_646_0_node_6 | 20 | n |  | TRUE
16 | bus_MV_646_0_node_103 | 20 | n |  | TRUE
17 | bus_MV_646_0_node_8 | 20 | n |  | TRUE
18 | bus_MV_646_0_node_9 | 20 | n |  | TRUE
19 | bus_MV_646_0_node_79 | 20 | n |  | TRUE
20 | bus_MV_646_0_node_10 | 20 | n |  | TRUE
21 | bus_MV_646_0_node_86 | 20 | n |  | TRUE
22 | bus_MV_646_0_node_85 | 20 | n |  | TRUE
23 | bus_MV_646_0_node_84 | 20 | n |  | TRUE
24 | bus_MV_646_0_node_81 | 20 | n |  | TRUE
25 | bus_MV_646_0_node_11 | 20 | n |  | TRUE
26 | bus_MV_646_0_node_14 | 20 | n |  | TRUE
27 | bus_MV_646_0_node_53 | 20 | n |  | TRUE
28 | bus_MV_646_0_node_15 | 20 | n |  | TRUE
29 | bus_MV_646_0_node_97 | 20 | n |  | TRUE
30 | bus_MV_646_0_node_105 | 20 | n |  | TRUE
31 | bus_MV_646_0_node_57 | 20 | n |  | TRUE
32 | bus_MV_646_0_node_99 | 20 | n |  | TRUE
33 | bus_MV_646_0_node_98 | 20 | n |  | TRUE
34 | bus_MV_646_0_node_78 | 20 | n |  | TRUE
35 | bus_MV_646_0_node_109 | 20 | n |  | TRUE
36 | bus_MV_646_0_node_80 | 20 | n |  | TRUE
37 | bus_MV_646_0_node_54 | 20 | n |  | TRUE
38 | bus_MV_646_0_node_106 | 20 | n |  | TRUE
39 | bus_MV_646_0_node_100 | 20 | n |  | TRUE
40 | bus_MV_646_0_node_19 | 20 | n |  | TRUE
41 | bus_MV_646_0_node_61 | 20 | n |  | TRUE
42 | bus_MV_646_0_node_65 | 20 | n |  | TRUE
43 | bus_MV_646_0_node_60 | 20 | n |  | TRUE
44 | bus_MV_646_0_node_21 | 20 | n |  | TRUE
45 | bus_MV_646_0_node_51 | 20 | n |  | TRUE
46 | bus_MV_646_0_node_22 | 20 | n |  | TRUE
47 | bus_MV_646_0_node_75 | 20 | n |  | TRUE
48 | bus_MV_646_0_node_24 | 20 | n |  | TRUE
49 | bus_MV_646_0_node_49 | 20 | n |  | TRUE
50 | bus_MV_646_0_node_46 | 20 | n |  | TRUE
51 | bus_MV_646_0_node_48 | 20 | n |  | TRUE
52 | bus_MV_646_0_node_47 | 20 | n |  | TRUE
53 | bus_MV_646_0_node_50 | 20 | n |  | TRUE
54 | bus_MV_646_0_node_25 | 20 | n |  | TRUE
55 | bus_MV_646_0_node_66 | 20 | n |  | TRUE
56 | bus_MV_646_0_node_63 | 20 | n |  | TRUE
57 | bus_MV_646_0_node_26 | 20 | n |  | TRUE
58 | bus_MV_646_0_node_38 | 20 | n |  | TRUE
59 | bus_MV_646_0_node_59 | 20 | n |  | TRUE
60 | bus_MV_646_0_node_31 | 20 | n |  | TRUE
61 | bus_MV_646_0_node_35 | 20 | n |  | TRUE
62 | bus_MV_646_0_node_27 | 20 | n |  | TRUE
63 | bus_MV_646_0_node_29 | 20 | n |  | TRUE
64 | bus_MV_646_0_node_28 | 20 | n |  | TRUE
65 | bus_MV_646_0_node_30 | 20 | n |  | TRUE
66 | bus_MV_646_0_node_32 | 20 | n |  | TRUE
67 | bus_MV_646_0_node_45 | 20 | n |  | TRUE
68 | bus_MV_646_0_node_37 | 20 | n |  | TRUE
69 | bus_MV_646_0_node_92 | 20 | n |  | TRUE
70 | bus_MV_646_0_node_34 | 20 | n |  | TRUE
71 | bus_MV_646_0_node_74 | 20 | n |  | TRUE
72 | bus_MV_646_0_node_72 | 20 | n |  | TRUE
73 | bus_MV_646_0_node_91 | 20 | n |  | TRUE
74 | bus_MV_646_0_node_71 | 20 | n |  | TRUE
75 | bus_MV_646_0_node_73 | 20 | n |  | TRUE
76 | bus_MV_646_0_node_44 | 20 | n |  | TRUE
77 | bus_MV_646_0_node_93 | 20 | n |  | TRUE
78 | bus_MV_646_0_node_68 | 20 | n |  | TRUE
79 | bus_MV_646_0_node_102 | 20 | n |  | TRUE
80 | bus_MV_646_0_node_39 | 20 | n |  | TRUE
81 | bus_MV_646_0_node_41 | 20 | n |  | TRUE
82 | bus_MV_646_0_node_42 | 20 | n |  | TRUE
83 | bus_MV_646_0_node_40 | 20 | n |  | TRUE
84 | bus_MV_646_0_node_96 | 20 | n |  | TRUE
85 | bus_MV_646_0_node_90 | 20 | n |  | TRUE
86 | bus_MV_646_0_node_52 | 20 | n |  | TRUE
87 | bus_MV_646_0_node_107 | 20 | n |  | TRUE
88 | bus_MV_646_0_node_89 | 20 | n |  | TRUE
89 | bus_MV_646_0_node_88 | 20 | n |  | TRUE
90 | bus_MV_646_0_node_56 | 20 | n |  | TRUE
91 | bus_MV_646_0_node_55 | 20 | n |  | TRUE
92 | bus_MV_646_0_node_58 | 20 | n |  | TRUE
93 | bus_MV_646_0_node_62 | 20 | n |  | TRUE
94 | bus_MV_646_0_node_67 | 20 | n |  | TRUE
95 | bus_MV_646_0_node_64 | 20 | n |  | TRUE
96 | bus_MV_646_0_node_70 | 20 | n |  | TRUE
97 | bus_MV_646_0_node_76 | 20 | n |  | TRUE
98 | bus_MV_646_0_node_77 | 20 | n |  | TRUE
99 | bus_MV_646_0_node_82 | 20 | n |  | TRUE
100 | bus_MV_646_0_node_83 | 20 | n |  | TRUE
101 | bus_MV_646_0_node_101 | 20 | n |  | TRUE
102 | bus_MV_646_0_node_87 | 20 | n |  | TRUE
103 | bus_HV_646_0_node_107 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_646_0_load_0 | 0 | 0.32297 | 0.15642 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_646_0_load_69 | 4 | 0.20016 | 0.096943 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_646_0_load_104 | 6 | 0.38524 | 0.18658 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_646_0_load_108 | 9 | 0.2069 | 0.10021 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_646_0_load_16 | 10 | 0.41441 | 0.20071 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_646_0_load_4 | 11 | 0.16481 | 0.079822 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_646_0_load_103 | 16 | 0.3681 | 0.17828 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_646_0_load_79 | 19 | 0.40228 | 0.19483 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_646_0_load_86 | 21 | 0.18842 | 0.091257 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_646_0_load_85 | 22 | 0.30185 | 0.14619 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_646_0_load_84 | 23 | 0.17249 | 0.083539 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_646_0_load_53 | 27 | 0.39104 | 0.18939 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_646_0_load_97 | 29 | 0.27955 | 0.13539 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_646_0_load_105 | 30 | 0.082098 | 0.039762 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_646_0_load_57 | 31 | 0.37636 | 0.18228 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_646_0_load_98 | 33 | 0.46598 | 0.22568 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_646_0_load_109 | 35 | 0.075625 | 0.036627 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_646_0_load_80 | 36 | 0.33284 | 0.1612 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_646_0_load_106 | 38 | 0.12134 | 0.05877 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_646_0_load_100 | 39 | 0.98014 | 0.4747 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_646_0_load_19 | 40 | 0.24128 | 0.11686 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_646_0_load_61 | 41 | 0.1009 | 0.048869 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_646_0_load_75 | 47 | 0.12017 | 0.058201 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_646_0_load_24 | 48 | 0.37971 | 0.1839 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_646_0_load_49 | 49 | 0.088082 | 0.04266 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_646_0_load_46 | 50 | 0.40866 | 0.19792 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_646_0_load_66 | 55 | 0.075164 | 0.036404 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_646_0_load_63 | 56 | 0.36296 | 0.17579 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_646_0_load_26 | 57 | 0.3363 | 0.16288 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_646_0_load_59 | 59 | 0.22001 | 0.10656 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_646_0_load_35 | 61 | 0.245 | 0.11866 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_646_0_load_27 | 62 | 0.41111 | 0.19911 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_646_0_load_32 | 66 | 0.17255 | 0.083571 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_646_0_load_45 | 67 | 0.26111 | 0.12646 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_646_0_load_92 | 69 | 0.18967 | 0.091859 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_646_0_load_74 | 71 | 0.076909 | 0.037249 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_646_0_load_91 | 73 | 0.084791 | 0.041066 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_646_0_load_71 | 74 | 0.13805 | 0.066859 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_646_0_load_73 | 75 | 0.1301 | 0.063013 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_646_0_load_44 | 76 | 0.15984 | 0.077413 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_646_0_load_93 | 77 | 0.28494 | 0.138 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_646_0_load_102 | 79 | 2.8655 | 1.3878 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_646_0_load_39 | 80 | 0.25616 | 0.12406 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_646_0_load_41 | 81 | 0.07563 | 0.036629 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_646_0_load_96 | 84 | 0.17029 | 0.082477 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_646_0_load_90 | 85 | 0.14702 | 0.071203 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_646_0_load_107 | 87 | 0.11624 | 0.0563 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_646_0_load_89 | 88 | 0.124 | 0.060056 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_646_0_load_88 | 89 | 0.07155 | 0.034653 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_646_0_load_58 | 92 | 0.31389 | 0.15202 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_646_0_load_64 | 95 | 0.15 | 0.07265 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_646_0_load_70 | 96 | 0.1173 | 0.056809 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_646_0_load_76 | 97 | 1.057 | 0.51192 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_646_0_load_77 | 98 | 0.26701 | 0.12932 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_646_0_load_101 | 101 | 0.49402 | 0.23926 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_646_0_load_87 | 102 | 0.13117 | 0.063531 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 87 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_646_0_line_0 |  | 0 | 1 | 0.029081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_646_0_line_1 |  | 1 | 2 | 0.048226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_646_0_line_2 |  | 1 | 3 | 0.007634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_646_0_line_3 |  | 2 | 4 | 0.046329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_646_0_line_4 |  | 3 | 5 | 0.17662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_646_0_line_5 |  | 3 | 6 | 0.036965 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_646_0_line_6 |  | 4 | 7 | 0.02898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_646_0_line_7 |  | 5 | 10 | 0.029813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_646_0_line_8 |  | 5 | 8 | 0.050711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_646_0_line_9 |  | 7 | 18 | 0.32131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_646_0_line_10 |  | 7 | 12 | 0.3362 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_646_0_line_11 |  | 8 | 9 | 0.004644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_646_0_line_12 |  | 11 | 12 | 0.008128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_646_0_line_13 |  | 12 | 13 | 0.41983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_646_0_line_14 |  | 12 | 14 | 0.33761 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
15 | MV_646_0_line_15 |  | 13 | 28 | 0.15718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_646_0_line_16 |  | 13 | 29 | 0.014476 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_646_0_line_17 |  | 14 | 30 | 0.024539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_646_0_line_18 |  | 14 | 25 | 0.17623 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
19 | MV_646_0_line_19 |  | 15 | 16 | 0.005826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_646_0_line_20 |  | 15 | 17 | 0.14968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_646_0_line_21 |  | 15 | 18 | 0.15615 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_646_0_line_22 |  | 17 | 19 | 0.027924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_646_0_line_23 |  | 17 | 20 | 0.16084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_646_0_line_24 |  | 17 | 21 | 0.023358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_646_0_line_25 |  | 18 | 22 | 0.016985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_646_0_line_26 |  | 19 | 34 | 0.011424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_646_0_line_27 |  | 20 | 23 | 0.035667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_646_0_line_28 |  | 20 | 24 | 0.050671 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_646_0_line_29 |  | 23 | 35 | 0.057875 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_646_0_line_30 |  | 24 | 36 | 0.0040901 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_646_0_line_31 |  | 25 | 26 | 0.14621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_646_0_line_32 |  | 25 | 27 | 0.027653 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
33 | MV_646_0_line_33 |  | 26 | 31 | 0.063686 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_646_0_line_34 |  | 27 | 37 | 0.005526 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
35 | MV_646_0_line_35 |  | 28 | 32 | 0.01635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_646_0_line_36 |  | 28 | 33 | 0.037339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_646_0_line_37 |  | 30 | 38 | 0.029541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_646_0_line_38 |  | 32 | 39 | 0.055836 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_646_0_line_39 |  | 34 | 98 | 0.027958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_646_0_line_40 |  | 36 | 99 | 0.05188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_646_0_line_41 |  | 37 | 90 | 0.087304 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
42 | MV_646_0_line_42 |  | 39 | 102 | 0.030452 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_646_0_line_43 |  | 40 | 41 | 0.27071 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_646_0_line_44 |  | 41 | 42 | 0.07464 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_646_0_line_45 |  | 41 | 43 | 0.019032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_646_0_line_46 |  | 42 | 56 | 0.003143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_646_0_line_47 |  | 42 | 78 | 0.079847 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_646_0_line_48 |  | 43 | 93 | 0.0065495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_646_0_line_49 |  | 43 | 59 | 0.041919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_646_0_line_50 |  | 44 | 45 | 0.079888 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
51 | MV_646_0_line_51 |  | 44 | 46 | 0.14187 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
52 | MV_646_0_line_52 |  | 44 | 47 | 0.046262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_646_0_line_53 |  | 45 | 49 | 0.0099414 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
54 | MV_646_0_line_54 |  | 46 | 48 | 0.004623 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
55 | MV_646_0_line_55 |  | 48 | 54 | 0.003093 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
56 | MV_646_0_line_56 |  | 49 | 52 | 0.021306 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
57 | MV_646_0_line_57 |  | 50 | 51 | 0.012665 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
58 | MV_646_0_line_58 |  | 50 | 52 | 0.034429 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
59 | MV_646_0_line_59 |  | 50 | 53 | 0.055519 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
60 | MV_646_0_line_60 |  | 51 | 86 | 0.0098538 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
61 | MV_646_0_line_61 |  | 53 | 87 | 0.028822 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
62 | MV_646_0_line_62 |  | 54 | 57 | 0.084596 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
63 | MV_646_0_line_63 |  | 55 | 56 | 0.0060186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_646_0_line_64 |  | 57 | 58 | 0.22985 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
65 | MV_646_0_line_65 |  | 58 | 59 | 0.008105 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
66 | MV_646_0_line_66 |  | 58 | 60 | 0.14236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_646_0_line_67 |  | 58 | 61 | 0.052541 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_646_0_line_68 |  | 60 | 67 | 0.003616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_646_0_line_69 |  | 60 | 63 | 0.11242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_646_0_line_70 |  | 62 | 63 | 0.005327 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_646_0_line_71 |  | 62 | 64 | 0.083315 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_646_0_line_72 |  | 64 | 65 | 0.10141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_646_0_line_73 |  | 65 | 66 | 0.005743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_646_0_line_74 |  | 66 | 68 | 0.13958 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_646_0_line_75 |  | 68 | 69 | 0.033928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_646_0_line_76 |  | 69 | 77 | 0.024601 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_646_0_line_77 |  | 70 | 71 | 0.04311 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_646_0_line_78 |  | 70 | 72 | 0.006605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_646_0_line_79 |  | 71 | 73 | 0.014048 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_646_0_line_80 |  | 72 | 74 | 0.060445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_646_0_line_81 |  | 73 | 85 | 0.020864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_646_0_line_82 |  | 74 | 83 | 0.047663 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_646_0_line_83 |  | 75 | 76 | 0.025344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_646_0_line_84 |  | 76 | 77 | 0.035979 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_646_0_line_85 |  | 76 | 82 | 0.0021221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_646_0_line_86 |  | 78 | 79 | 0.054048 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_646_0_line_87 |  | 80 | 81 | 0.011162 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_646_0_line_88 |  | 80 | 82 | 0.025644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_646_0_line_89 |  | 80 | 83 | 0.041048 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_646_0_line_90 |  | 81 | 84 | 0.03505 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_646_0_line_91 |  | 86 | 88 | 0.034908 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
92 | MV_646_0_line_92 |  | 88 | 89 | 0.0084731 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
93 | MV_646_0_line_93 |  | 89 | 91 | 0.038921 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
94 | MV_646_0_line_94 |  | 90 | 92 | 0.006539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_646_0_line_95 |  | 90 | 91 | 0.063677 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
96 | MV_646_0_line_96 |  | 93 | 94 | 0.051231 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_646_0_line_97 |  | 93 | 95 | 0.016929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_646_0_line_98 |  | 94 | 96 | 0.019058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_646_0_line_99 |  | 97 | 98 | 0.0065215 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_646_0_line_100 |  | 99 | 100 | 0.088664 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_646_0_line_101 |  | 100 | 101 | 0.098931 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_646_0_trafo_107 | 25 MVA 110/20 kV | 103 | 87 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2499393.6688 | 1116155.6753
1 | 2499369.2585 | 1116139.7712
2 | 2499336.8753 | 1116175.5878
3 | 2499362.9776 | 1116135.4062
4 | 2499305.8065 | 1116209.9545
5 | 2499246.8029 | 1116132.5153
6 | 2499365.6536 | 1116098.5386
7 | 2499286.3718 | 1116231.4521
8 | 2499217.5071 | 1116161.2656
9 | 2499220.6604 | 1116164.6819
10 | 2499267.5 | 1116154.0176
11 | 2499396.5145 | 1116245.9736
12 | 2499402.4902 | 1116251.4999
13 | 2499303.6931 | 1116537.1558
14 | 2499490.8874 | 1116420.2036
15 | 2499164.8471 | 1116400.7934
16 | 2499161.2039 | 1116396.2401
17 | 2499179.0223 | 1116510.4817
18 | 2499173.5867 | 1116314.5936
19 | 2499200.9396 | 1116525.1146
20 | 2499069.7541 | 1116394.0522
21 | 2499196.2999 | 1116494.7624
22 | 2499166.9606 | 1116302.6516
23 | 2499081.828 | 1116367.0783
24 | 2499018.9428 | 1116394.7003
25 | 2499486.7742 | 1116321.3877
26 | 2499513.4779 | 1116227.6966
27 | 2499509.9891 | 1116336.5117
28 | 2499261.7396 | 1116599.0041
29 | 2499291.9645 | 1116528.6711
30 | 2499504.3206 | 1116399.6454
31 | 2499460.3338 | 1116192.6017
32 | 2499273.2273 | 1116587.3389
33 | 2499234.104 | 1116624.0658
34 | 2499197.7173 | 1116536.0752
35 | 2499076.2885 | 1116309.4695
36 | 2499014.8535 | 1116394.776
37 | 2499513.1411 | 1116331.9676
38 | 2499532.6993 | 1116407.8494
39 | 2499241.38 | 1116553.6479
40 | 2499871.574 | 1116728.1299
41 | 2499715.3768 | 1116949.2274
42 | 2499774.245 | 1116903.3399
43 | 2499700.8521 | 1116961.5258
44 | 2499643.5062 | 1116566.2511
45 | 2499625.2736 | 1116515.366
46 | 2499743.0575 | 1116633.0205
47 | 2499614.0173 | 1116601.6725
48 | 2499745.5542 | 1116636.9149
49 | 2499617.1169 | 1116509.6826
50 | 2499571.3289 | 1116477.9043
51 | 2499560.8406 | 1116470.7627
52 | 2499599.6361 | 1116497.5024
53 | 2499536.968 | 1116521.5131
54 | 2499743.1309 | 1116638.8452
55 | 2499780.0984 | 1116910.3918
56 | 2499776.292 | 1116905.7297
57 | 2499677.7869 | 1116692.5721
58 | 2499674.1457 | 1116922.3885
59 | 2499679.1465 | 1116928.7762
60 | 2499635.0661 | 1117021.621
61 | 2499622.015 | 1116915.8378
62 | 2499677.2715 | 1117105.6737
63 | 2499677.9559 | 1117100.3924
64 | 2499594.1576 | 1117099.8932
65 | 2499521.4713 | 1117142.282
66 | 2499518.6015 | 1117137.3043
67 | 2499637.3059 | 1117024.4634
68 | 2499537.8756 | 1116999.0642
69 | 2499516.1305 | 1116973.0205
70 | 2499362.2184 | 1116956.4788
71 | 2499389.9027 | 1116989.5238
72 | 2499363.1788 | 1116950.1699
73 | 2499398.95 | 1117000.2708
74 | 2499409.9925 | 1116911.9368
75 | 2499461.663 | 1116906.5787
76 | 2499478.0374 | 1116925.9233
77 | 2499500.3635 | 1116954.1368
78 | 2499742.4691 | 1116851.8007
79 | 2499706.4928 | 1116811.4663
80 | 2499463.3796 | 1116904.6786
81 | 2499472.0151 | 1116897.6064
82 | 2499479.6276 | 1116924.5182
83 | 2499437.3713 | 1116872.9213
84 | 2499498.2525 | 1116874.3659
85 | 2499412.3867 | 1117016.2317
86 | 2499553.5608 | 1116464.3351
87 | 2499513.2904 | 1116504.9848
88 | 2499572.7659 | 1116435.1843
89 | 2499577.4274 | 1116428.1088
90 | 2499572.5953 | 1116352.3712
91 | 2499598.84 | 1116395.6072
92 | 2499578.2066 | 1116348.987
93 | 2499704.7686 | 1116966.7753
94 | 2499742.1452 | 1117001.2997
95 | 2499717.6455 | 1116955.7848
96 | 2499752.1779 | 1116985.0968
97 | 2499171.1688 | 1116558.0759
98 | 2499176.1902 | 1116553.9147
99 | 2498963.039 | 1116396.4902
100 | 2498958.5688 | 1116360.0085
101 | 2498968.8034 | 1116268.4146
102 | 2499243.2171 | 1116523.251
103 | 2499513.2904 | 1116504.9848

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99742 | -0.030602 | 0.32297 | 0.15642
1 | 0.99743 | -0.030714 | 0 | 0
2 | 0.99751 | -0.031462 | 0 | 0
3 | 0.99742 | -0.030625 | 0 | 0
4 | 0.99759 | -0.032176 | 0.20016 | 0.096943
5 | 0.99728 | -0.029352 | 0 | 0
6 | 0.99739 | -0.030798 | 0.38524 | 0.18658
7 | 0.99765 | -0.032691 | 0 | 0
8 | 0.99727 | -0.029228 | 0 | 0
9 | 0.99727 | -0.029216 | 0.2069 | 0.10021
10 | 0.99726 | -0.029204 | 0.41441 | 0.20071
11 | 0.99859 | -0.022497 | 0.16481 | 0.079822
12 | 0.9986 | -0.022513 | 0 | 0
13 | 0.9976 | -0.013465 | 0 | 0
14 | 0.99899 | -0.020865 | 0 | 0
15 | 0.99548 | -0.012931 | 0 | 0
16 | 0.99547 | -0.012905 | 0.3681 | 0.17828
17 | 0.9949 | -0.0076769 | 0 | 0
18 | 0.99615 | -0.019061 | 0 | 0
19 | 0.99484 | -0.0070968 | 0.40228 | 0.19483
20 | 0.99468 | -0.0056878 | 0 | 0
21 | 0.9949 | -0.0076241 | 0.18842 | 0.091257
22 | 0.99614 | -0.019 | 0.30185 | 0.14619
23 | 0.99467 | -0.0055819 | 0.17249 | 0.083539
24 | 0.99463 | -0.0052019 | 0 | 0
25 | 0.99921 | -0.019941 | 0 | 0
26 | 0.99914 | -0.019298 | 0 | 0
27 | 0.99924 | -0.019786 | 0.39104 | 0.18939
28 | 0.99729 | -0.010529 | 0 | 0
29 | 0.9976 | -0.013416 | 0.27955 | 0.13539
30 | 0.99899 | -0.020806 | 0.082098 | 0.039762
31 | 0.99909 | -0.019588 | 0.37636 | 0.18228
32 | 0.99726 | -0.010312 | 0 | 0
33 | 0.99726 | -0.010321 | 0.46598 | 0.22568
34 | 0.99482 | -0.0069146 | 0 | 0
35 | 0.99466 | -0.0056355 | 0.075625 | 0.036627
36 | 0.99463 | -0.0051625 | 0.33284 | 0.1612
37 | 0.99925 | -0.019754 | 0 | 0
38 | 0.99898 | -0.020764 | 0.12134 | 0.05877
39 | 0.99718 | -0.009568 | 0.98014 | 0.4747
40 | 0.99702 | -0.075862 | 0.24128 | 0.11686
41 | 0.99715 | -0.075064 | 0.1009 | 0.048869
42 | 0.99667 | -0.078088 | 0 | 0
43 | 0.99724 | -0.075895 | 0 | 0
44 | 0.99937 | -0.023865 | 0 | 0
45 | 0.99947 | -0.023473 | 0 | 0
46 | 0.99919 | -0.024537 | 0 | 0
47 | 0.99936 | -0.0238 | 0.12017 | 0.058201
48 | 0.99918 | -0.024559 | 0.37971 | 0.1839
49 | 0.99948 | -0.023423 | 0.088082 | 0.04266
50 | 0.9996 | -0.018196 | 0.40866 | 0.19792
51 | 0.99958 | -0.018276 | 0 | 0
52 | 0.99951 | -0.023316 | 0 | 0
53 | 0.99992 | -0.00033383 | 0 | 0
54 | 0.99918 | -0.024573 | 0 | 0
55 | 0.99667 | -0.078066 | 0.075164 | 0.036404
56 | 0.99667 | -0.078071 | 0.36296 | 0.17579
57 | 0.99908 | -0.024945 | 0.3363 | 0.16288
58 | 0.99747 | -0.077661 | 0 | 0
59 | 0.99745 | -0.077851 | 0.22001 | 0.10656
60 | 0.997 | -0.073402 | 0 | 0
61 | 0.99744 | -0.077817 | 0.245 | 0.11866
62 | 0.99666 | -0.070223 | 0.41111 | 0.19911
63 | 0.99667 | -0.070367 | 0 | 0
64 | 0.99635 | -0.072203 | 0 | 0
65 | 0.99611 | -0.069948 | 0 | 0
66 | 0.99609 | -0.06982 | 0.17255 | 0.083571
67 | 0.997 | -0.073391 | 0.26111 | 0.12646
68 | 0.99563 | -0.072814 | 0 | 0
69 | 0.99556 | -0.072126 | 0.18967 | 0.091859
70 | 0.99528 | -0.072202 | 0 | 0
71 | 0.99527 | -0.072045 | 0.076909 | 0.037249
72 | 0.99529 | -0.072225 | 0 | 0
73 | 0.99526 | -0.072006 | 0.084791 | 0.041066
74 | 0.99531 | -0.07244 | 0.13805 | 0.066859
75 | 0.99542 | -0.072202 | 0.1301 | 0.063013
76 | 0.99542 | -0.072241 | 0.15984 | 0.077413
77 | 0.99551 | -0.071682 | 0.28494 | 0.138
78 | 0.99638 | -0.075343 | 0 | 0
79 | 0.99618 | -0.073478 | 2.8655 | 1.3878
80 | 0.99539 | -0.07193 | 0.25616 | 0.12406
81 | 0.99538 | -0.071897 | 0.07563 | 0.036629
82 | 0.99542 | -0.072217 | 0 | 0
83 | 0.99535 | -0.072166 | 0 | 0
84 | 0.99537 | -0.07197 | 0.17029 | 0.082477
85 | 0.99526 | -0.071969 | 0.14702 | 0.071203
86 | 0.99957 | -0.018339 | 0 | 0
87 | 1 | 0 | -17.0252 | -8.0178
88 | 0.99952 | -0.018559 | 0.124 | 0.060056
89 | 0.99951 | -0.018612 | 0.07155 | 0.034653
90 | 0.99937 | -0.019242 | 0 | 0
91 | 0.99945 | -0.018852 | 0 | 0
92 | 0.99936 | -0.019217 | 0.31389 | 0.15202
93 | 0.99724 | -0.075875 | 0 | 0
94 | 0.99723 | -0.075806 | 0 | 0
95 | 0.99723 | -0.075845 | 0.15 | 0.07265
96 | 0.99723 | -0.075779 | 0.1173 | 0.056809
97 | 0.99477 | -0.0063847 | 1.057 | 0.51192
98 | 0.99478 | -0.006468 | 0.26701 | 0.12932
99 | 0.99459 | -0.0048694 | 0 | 0
100 | 0.99454 | -0.0043589 | 0 | 0
101 | 0.99447 | -0.0037752 | 0.49402 | 0.23926
102 | 0.99718 | -0.0096166 | 0.13117 | 0.063531
103 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.32297 | -0.15642 | 0.32297 | 0.15573 | 4.1844e-06 | -0.00068953 | 0.010386 | 0.010377 | 0.010386 | 0.99742 | -0.030602 | 0.99743 | -0.030714 | 4.7209
1 | -1.3296 | -0.63682 | 1.3298 | 0.63571 | 0.00011717 | -0.0011109 | 0.042669 | 0.042654 | 0.042669 | 0.99743 | -0.030714 | 0.99751 | -0.031462 | 19.3948
2 | 1.0067 | 0.48109 | -1.0067 | -0.48127 | 1.0628e-05 | -0.00017818 | 0.032291 | 0.032293 | 0.032293 | 0.99743 | -0.030714 | 0.99742 | -0.030625 | 14.6789
3 | -1.3298 | -0.63571 | 1.3299 | 0.63465 | 0.00011249 | -0.0010674 | 0.042654 | 0.042641 | 0.042654 | 0.99751 | -0.031462 | 0.99759 | -0.032176 | 19.3883
4 | 0.62141 | 0.29473 | -0.62132 | -0.29889 | 9.3669e-05 | -0.0041668 | 0.019905 | 0.019958 | 0.019958 | 0.99742 | -0.030625 | 0.99728 | -0.029352 | 9.0717
5 | 0.38525 | 0.18654 | -0.38524 | -0.18658 | 1.0108e-05 | -3.7569e-05 | 0.012388 | 0.012389 | 0.012389 | 0.99742 | -0.030625 | 0.99739 | -0.030798 | 5.8995
6 | -1.53 | -0.73159 | 1.5301 | 0.73093 | 9.3164e-05 | -0.00066101 | 0.049076 | 0.049068 | 0.049076 | 0.99759 | -0.032176 | 0.99765 | -0.032691 | 22.3073
7 | 0.41441 | 0.2 | -0.41441 | -0.20071 | 7.0658e-06 | -0.00070585 | 0.01332 | 0.013329 | 0.013329 | 0.99728 | -0.029352 | 0.99726 | -0.029204 | 6.0584
8 | 0.20691 | 0.098894 | -0.2069 | -0.1001 | 2.9899e-06 | -0.0012033 | 0.0066381 | 0.0066532 | 0.0066532 | 0.99728 | -0.029352 | 0.99727 | -0.029228 | 3.0242
9 | 3.6704 | 1.7463 | -3.6645 | -1.7521 | 0.0059385 | -0.0058627 | 0.11761 | 0.11771 | 0.11771 | 0.99765 | -0.032691 | 0.99615 | -0.019061 | 53.504
10 | -5.2006 | -2.4772 | 5.2051 | 2.469 | 0.0045076 | -0.0082147 | 0.16668 | 0.16654 | 0.16668 | 0.99765 | -0.032691 | 0.9986 | -0.022513 | 46.0446
11 | 0.2069 | 0.1001 | -0.2069 | -0.10021 | 2.745e-07 | -0.00011019 | 0.0066532 | 0.0066546 | 0.0066546 | 0.99727 | -0.029228 | 0.99727 | -0.029216 | 3.0248
12 | -0.16481 | -0.079822 | 0.16481 | 0.079628 | 3.0396e-07 | -0.00019343 | 0.0052938 | 0.0052913 | 0.0052938 | 0.99859 | -0.022497 | 0.9986 | -0.022513 | 2.4063
13 | 1.8595 | 0.8834 | -1.8575 | -0.8928 | 0.0019892 | -0.0093957 | 0.059513 | 0.059637 | 0.059637 | 0.9986 | -0.022513 | 0.9976 | -0.013465 | 27.1079
14 | -7.2294 | -3.432 | 7.2322 | 3.3913 | 0.0027853 | -0.040755 | 0.23134 | 0.23082 | 0.23134 | 0.9986 | -0.022513 | 0.99899 | -0.020865 | 18.1303
15 | 1.578 | 0.75775 | -1.5774 | -0.76132 | 0.0005389 | -0.0035739 | 0.050653 | 0.0507 | 0.0507 | 0.9976 | -0.013465 | 0.99729 | -0.010529 | 23.0456
16 | 0.27955 | 0.13505 | -0.27955 | -0.13539 | 1.5605e-06 | -0.00034351 | 0.0089839 | 0.0089882 | 0.0089882 | 0.9976 | -0.013465 | 0.9976 | -0.013416 | 4.0855
17 | 0.20345 | 0.097244 | -0.20344 | -0.097828 | 1.3924e-06 | -0.0005843 | 0.0065159 | 0.0065232 | 0.0065232 | 0.99899 | -0.020865 | 0.99899 | -0.020806 | 2.9651
18 | -7.4356 | -3.4885 | 7.4372 | 3.4673 | 0.0015319 | -0.021243 | 0.23734 | 0.23707 | 0.23734 | 0.99899 | -0.020865 | 0.99921 | -0.019941 | 18.6
19 | 0.3681 | 0.17814 | -0.3681 | -0.17828 | 1.0939e-06 | -0.00013752 | 0.011859 | 0.01186 | 0.01186 | 0.99548 | -0.012931 | 0.99547 | -0.012905 | 5.3911
20 | 2.9921 | 1.4312 | -2.9903 | -1.4342 | 0.0018494 | -0.0029909 | 0.096182 | 0.096227 | 0.096227 | 0.99548 | -0.012931 | 0.9949 | -0.0076769 | 43.7394
21 | -3.3602 | -1.6093 | 3.3626 | 1.6064 | 0.0024323 | -0.0029756 | 0.10804 | 0.10799 | 0.10804 | 0.99548 | -0.012931 | 0.99615 | -0.019061 | 49.1095
22 | 1.7265 | 0.83438 | -1.7264 | -0.83501 | 0.00011542 | -0.00062566 | 0.055638 | 0.055646 | 0.055646 | 0.9949 | -0.0076769 | 0.99484 | -0.0070968 | 25.2937
23 | 1.0754 | 0.50909 | -1.0751 | -0.51281 | 0.00025624 | -0.0037243 | 0.034522 | 0.034569 | 0.034569 | 0.9949 | -0.0076769 | 0.99468 | -0.0056878 | 15.7133
24 | 0.18842 | 0.090705 | -0.18842 | -0.091257 | 1.1494e-06 | -0.00055169 | 0.0060677 | 0.0060746 | 0.0060746 | 0.9949 | -0.0076769 | 0.9949 | -0.0076241 | 2.7612
25 | 0.30185 | 0.14579 | -0.30185 | -0.14619 | 2.1409e-06 | -0.00040178 | 0.0097143 | 0.0097194 | 0.0097194 | 0.99615 | -0.019061 | 0.99614 | -0.019 | 4.4179
26 | 1.3241 | 0.64018 | -1.3241 | -0.64044 | 2.7778e-05 | -0.00026171 | 0.042676 | 0.04268 | 0.04268 | 0.99484 | -0.0070968 | 0.99482 | -0.0069146 | 19.3999
27 | 0.24811 | 0.11926 | -0.24811 | -0.1201 | 3.0433e-06 | -0.00084165 | 0.0079893 | 0.008 | 0.008 | 0.99468 | -0.0056878 | 0.99467 | -0.0055819 | 3.6363
28 | 0.82699 | 0.39356 | -0.82694 | -0.39474 | 4.7818e-05 | -0.0011827 | 0.02658 | 0.026595 | 0.026595 | 0.99468 | -0.0056878 | 0.99463 | -0.0052019 | 12.0886
29 | 0.075626 | 0.036559 | -0.075625 | -0.036627 | 6.1303e-07 | -6.7972e-05 | 0.0024378 | 0.0024387 | 0.0024387 | 0.99467 | -0.0055819 | 0.99466 | -0.0056355 | 1.1613
30 | 0.82694 | 0.39474 | -0.82694 | -0.39483 | 3.8621e-06 | -9.5463e-05 | 0.026595 | 0.026596 | 0.026596 | 0.99463 | -0.0052019 | 0.99463 | -0.0051625 | 12.0891
31 | 0.37641 | 0.17874 | -0.37638 | -0.18222 | 2.839e-05 | -0.0034768 | 0.012038 | 0.012082 | 0.012082 | 0.99921 | -0.019941 | 0.99914 | -0.019298 | 5.4918
32 | -7.8136 | -3.646 | 7.8138 | 3.6427 | 0.00026507 | -0.0033203 | 0.2491 | 0.24906 | 0.2491 | 0.99921 | -0.019941 | 0.99924 | -0.019786 | 19.5223
33 | 0.37638 | 0.18222 | -0.37636 | -0.18228 | 1.6565e-05 | -6.5519e-05 | 0.012082 | 0.012083 | 0.012083 | 0.99914 | -0.019298 | 0.99909 | -0.019588 | 5.7538
34 | -8.2049 | -3.8321 | 8.2049 | 3.8314 | 5.8431e-05 | -0.00066047 | 0.26161 | 0.2616 | 0.26161 | 0.99924 | -0.019786 | 0.99925 | -0.019754 | 20.5025
35 | 1.1114 | 0.53652 | -1.1114 | -0.5369 | 2.786e-05 | -0.00037999 | 0.035724 | 0.035729 | 0.035729 | 0.99729 | -0.010529 | 0.99726 | -0.010312 | 16.2405
36 | 0.46599 | 0.2248 | -0.46598 | -0.22568 | 1.1188e-05 | -0.00088333 | 0.014976 | 0.014987 | 0.014987 | 0.99729 | -0.010529 | 0.99726 | -0.010321 | 6.8124
37 | 0.12135 | 0.058066 | -0.12134 | -0.05877 | 5.9728e-07 | -0.00070371 | 0.0038873 | 0.0038961 | 0.0038961 | 0.99899 | -0.020806 | 0.99898 | -0.020764 | 1.771
38 | 1.1114 | 0.5369 | -1.1113 | -0.5382 | 9.5201e-05 | -0.0012975 | 0.035729 | 0.035746 | 0.035746 | 0.99726 | -0.010312 | 0.99718 | -0.009568 | 16.2481
39 | 1.3241 | 0.64044 | -1.324 | -0.64108 | 6.8002e-05 | -0.00064044 | 0.04268 | 0.042688 | 0.042688 | 0.99482 | -0.0069146 | 0.99478 | -0.006468 | 19.4036
40 | 0.4941 | 0.23363 | -0.49408 | -0.23485 | 1.7445e-05 | -0.0012202 | 0.015863 | 0.015878 | 0.015878 | 0.99463 | -0.0051625 | 0.99459 | -0.0048694 | 7.2173
41 | -8.2049 | -3.8314 | 8.2059 | 3.821 | 0.00092263 | -0.010436 | 0.2616 | 0.26147 | 0.2616 | 0.99925 | -0.019754 | 0.99937 | -0.019242 | 20.5019
42 | 0.13118 | 0.063495 | -0.13117 | -0.063531 | 9.6583e-07 | -3.5544e-05 | 0.0042189 | 0.0042194 | 0.0042194 | 0.99718 | -0.009568 | 0.99718 | -0.0096166 | 2.0092
43 | -0.24128 | -0.11686 | 0.24131 | 0.11655 | 2.9045e-05 | -0.0003031 | 0.0077622 | 0.0077581 | 0.0077622 | 0.99702 | -0.075862 | 0.99715 | -0.075064 | 3.6963
44 | 3.3067 | 1.598 | -3.3052 | -1.5971 | 0.0015033 | 0.00085306 | 0.10632 | 0.10632 | 0.10632 | 0.99715 | -0.075064 | 0.99667 | -0.078088 | 50.6294
45 | -3.6489 | -1.7634 | 3.6493 | 1.763 | 0.00034972 | -0.00034813 | 0.11732 | 0.11732 | 0.11732 | 0.99715 | -0.075064 | 0.99724 | -0.075895 | 53.3293
46 | 0.43813 | 0.21198 | -0.43812 | -0.21205 | 8.3389e-07 | -7.4296e-05 | 0.014097 | 0.014098 | 0.014098 | 0.99667 | -0.078088 | 0.99667 | -0.078071 | 6.4082
47 | 2.8671 | 1.3851 | -2.8662 | -1.3867 | 0.00090687 | -0.0016242 | 0.092225 | 0.092249 | 0.092249 | 0.99667 | -0.078088 | 0.99638 | -0.075343 | 41.9312
48 | 0.2673 | 0.12723 | -0.2673 | -0.12739 | 6.4223e-07 | -0.00015532 | 0.0085695 | 0.0085715 | 0.0085715 | 0.99724 | -0.075895 | 0.99724 | -0.075875 | 3.8961
49 | -3.9166 | -1.8903 | 3.9174 | 1.8895 | 0.00088678 | -0.00073251 | 0.12589 | 0.12588 | 0.12589 | 0.99724 | -0.075895 | 0.99745 | -0.077851 | 57.2219
50 | -7.7915 | -3.7268 | 7.7923 | 3.7172 | 0.00076785 | -0.0095949 | 0.24948 | 0.24936 | 0.24948 | 0.99937 | -0.023865 | 0.99947 | -0.023473 | 19.5521
51 | 7.6713 | 3.6697 | -7.67 | -3.6868 | 0.0013238 | -0.017057 | 0.24564 | 0.24586 | 0.24586 | 0.99937 | -0.023865 | 0.99919 | -0.024537 | 19.2683
52 | 0.12017 | 0.057098 | -0.12017 | -0.058201 | 9.1543e-07 | -0.0011029 | 0.0038431 | 0.0038569 | 0.0038569 | 0.99937 | -0.023865 | 0.99936 | -0.0238 | 1.7532
53 | -7.7923 | -3.7172 | 7.7924 | 3.716 | 9.55e-05 | -0.0011942 | 0.24936 | 0.24934 | 0.24936 | 0.99947 | -0.023473 | 0.99948 | -0.023423 | 19.5423
54 | 7.67 | 3.6868 | -7.67 | -3.6873 | 4.3177e-05 | -0.00055569 | 0.24586 | 0.24587 | 0.24587 | 0.99919 | -0.024537 | 0.99918 | -0.024559 | 19.2689
55 | 7.2903 | 3.5034 | -7.2902 | -3.5038 | 2.6096e-05 | -0.00037335 | 0.23368 | 0.23369 | 0.23369 | 0.99918 | -0.024559 | 0.99918 | -0.024573 | 18.314
56 | -7.8805 | -3.7587 | 7.8807 | 3.7561 | 0.0002093 | -0.0025568 | 0.25217 | 0.25214 | 0.25217 | 0.99948 | -0.023423 | 0.99951 | -0.023316 | 19.7626
57 | 8.7173 | 4.0475 | -8.7171 | -4.049 | 0.00015076 | -0.0015053 | 0.27756 | 0.27758 | 0.27758 | 0.9996 | -0.018196 | 0.99958 | -0.018276 | 21.7537
58 | 7.8811 | 3.7571 | -7.8807 | -3.7561 | 0.0003907 | 0.00095552 | 0.25214 | 0.25214 | 0.25214 | 0.9996 | -0.018196 | 0.99951 | -0.023316 | 19.5456
59 | -17.007 | -8.0025 | 17.0099 | 8.0102 | 0.0029199 | 0.0076983 | 0.5428 | 0.5428 | 0.5428 | 0.9996 | -0.018196 | 0.99992 | -0.00033383 | 42.0775
60 | 8.7171 | 4.049 | -8.717 | -4.0502 | 0.00011731 | -0.0011712 | 0.27758 | 0.27759 | 0.27759 | 0.99958 | -0.018276 | 0.99957 | -0.018339 | 21.7549
61 | -17.0099 | -8.0102 | 17.0112 | 8.0073 | 0.0013119 | -0.0028829 | 0.5428 | 0.54275 | 0.5428 | 0.99992 | -0.00033383 | 1 | 0 | 42.5391
62 | 7.2902 | 3.5038 | -7.2895 | -3.514 | 0.00071416 | -0.01021 | 0.23369 | 0.23382 | 0.23382 | 0.99918 | -0.024573 | 0.99908 | -0.024945 | 18.3244
63 | -0.075164 | -0.036404 | 0.075164 | 0.036261 | 4.6973e-08 | -0.00014273 | 0.0024189 | 0.0024172 | 0.0024189 | 0.99667 | -0.078066 | 0.99667 | -0.078071 | 1.0995
64 | 6.9532 | 3.3511 | -6.9451 | -3.3396 | 0.0081491 | 0.011502 | 0.22302 | 0.22303 | 0.22303 | 0.99908 | -0.024945 | 0.99747 | -0.077661 | 54.3968
65 | 4.1375 | 1.9959 | -4.1375 | -1.9961 | 6.9194e-05 | -0.00022636 | 0.13295 | 0.13295 | 0.13295 | 0.99747 | -0.077661 | 0.99745 | -0.077851 | 36.7266
66 | 2.5625 | 1.2252 | -2.5613 | -1.2282 | 0.0012849 | -0.002999 | 0.082203 | 0.082245 | 0.082245 | 0.99747 | -0.077661 | 0.997 | -0.073402 | 37.384
67 | 0.245 | 0.1186 | -0.245 | -0.11866 | 5.8099e-06 | -5.8765e-05 | 0.0078777 | 0.0078785 | 0.0078785 | 0.99747 | -0.077661 | 0.99744 | -0.077817 | 3.7517
68 | 0.26111 | 0.12638 | -0.26111 | -0.12646 | 3.4059e-07 | -8.5718e-05 | 0.0083993 | 0.0084004 | 0.0084004 | 0.997 | -0.073402 | 0.997 | -0.073391 | 3.8184
69 | 2.3001 | 1.1018 | -2.2993 | -1.1042 | 0.00081878 | -0.0024243 | 0.073846 | 0.073879 | 0.073879 | 0.997 | -0.073402 | 0.99667 | -0.070367 | 33.5813
70 | -2.2993 | -1.1043 | 2.2993 | 1.1042 | 3.8816e-05 | -0.00011483 | 0.073881 | 0.073879 | 0.073881 | 0.99666 | -0.070223 | 0.99667 | -0.070367 | 33.5821
71 | 1.8882 | 0.90521 | -1.8876 | -0.90497 | 0.00054604 | 0.00024326 | 0.06065 | 0.060651 | 0.060651 | 0.99666 | -0.070223 | 0.99635 | -0.072203 | 28.8816
72 | 1.8876 | 0.90497 | -1.8871 | -0.90723 | 0.00049826 | -0.0022552 | 0.060651 | 0.060681 | 0.060681 | 0.99635 | -0.072203 | 0.99611 | -0.069948 | 27.5825
73 | 1.8871 | 0.90723 | -1.8871 | -0.90735 | 2.8232e-05 | -0.00012768 | 0.060681 | 0.060683 | 0.060683 | 0.99611 | -0.069948 | 0.99609 | -0.06982 | 27.5832
74 | 1.7146 | 0.82378 | -1.7138 | -0.82348 | 0.00075577 | 0.00030814 | 0.055127 | 0.055129 | 0.055129 | 0.99609 | -0.06982 | 0.99563 | -0.072814 | 26.2519
75 | 1.7138 | 0.82348 | -1.7137 | -0.82424 | 0.00013768 | -0.00076211 | 0.055129 | 0.055139 | 0.055139 | 0.99563 | -0.072814 | 0.99556 | -0.072126 | 25.0632
76 | 1.524 | 0.73238 | -1.5239 | -0.73294 | 7.8957e-05 | -0.00055871 | 0.049028 | 0.049036 | 0.049036 | 0.99556 | -0.072126 | 0.99551 | -0.071682 | 22.2889
77 | 0.30872 | 0.14767 | -0.30872 | -0.14869 | 5.6776e-06 | -0.0010179 | 0.009926 | 0.0099388 | 0.0099388 | 0.99528 | -0.072202 | 0.99527 | -0.072045 | 4.5176
78 | -0.30872 | -0.14767 | 0.30872 | 0.14752 | 8.6859e-07 | -0.00015596 | 0.009926 | 0.009924 | 0.009926 | 0.99528 | -0.072202 | 0.99529 | -0.072225 | 4.5118
79 | 0.23181 | 0.11144 | -0.23181 | -0.11178 | 1.0444e-06 | -0.00033194 | 0.0074602 | 0.0074644 | 0.0074644 | 0.99527 | -0.072045 | 0.99526 | -0.072006 | 3.3929
80 | -0.30872 | -0.14752 | 0.30873 | 0.14609 | 7.933e-06 | -0.0014273 | 0.009924 | 0.0099062 | 0.009924 | 0.99529 | -0.072225 | 0.99531 | -0.07244 | 4.5109
81 | 0.14702 | 0.07071 | -0.14702 | -0.071203 | 6.2444e-07 | -0.00049325 | 0.0047318 | 0.004738 | 0.004738 | 0.99526 | -0.072006 | 0.99526 | -0.071969 | 2.1536
82 | -0.44678 | -0.21295 | 0.4468 | 0.2129 | 1.7498e-05 | -4.5411e-05 | 0.014355 | 0.014354 | 0.014355 | 0.99531 | -0.07244 | 0.99535 | -0.072166 | 6.8356
83 | -0.1301 | -0.063013 | 0.13011 | 0.062413 | 5.9359e-07 | -0.00059942 | 0.0041923 | 0.0041848 | 0.0041923 | 0.99542 | -0.072202 | 0.99542 | -0.072241 | 1.9056
84 | -1.2389 | -0.59491 | 1.239 | 0.59493 | 0.00010182 | 2.1216e-05 | 0.039855 | 0.039855 | 0.039855 | 0.99542 | -0.072241 | 0.99551 | -0.071682 | 18.9788
85 | 0.94893 | 0.45509 | -0.94893 | -0.45513 | 2.639e-06 | -4.9421e-05 | 0.03052 | 0.030521 | 0.030521 | 0.99542 | -0.072241 | 0.99542 | -0.072217 | 13.8732
86 | 2.8662 | 1.3867 | -2.8655 | -1.3878 | 0.00061412 | -0.0010987 | 0.092249 | 0.092265 | 0.092265 | 0.99638 | -0.075343 | 0.99618 | -0.073478 | 41.9385
87 | 0.24593 | 0.1188 | -0.24592 | -0.11907 | 9.3528e-07 | -0.00026377 | 0.0079208 | 0.0079241 | 0.0079241 | 0.99539 | -0.07193 | 0.99538 | -0.071897 | 3.6019
88 | -0.9489 | -0.45573 | 0.94893 | 0.45513 | 3.1898e-05 | -0.0005972 | 0.030529 | 0.030521 | 0.030529 | 0.99539 | -0.07193 | 0.99542 | -0.072217 | 13.8766
89 | 0.44681 | 0.21287 | -0.4468 | -0.2129 | 1.5068e-05 | -3.9113e-05 | 0.014353 | 0.014354 | 0.014354 | 0.99539 | -0.07193 | 0.99535 | -0.072166 | 6.8353
90 | 0.17029 | 0.082436 | -0.17029 | -0.082477 | 1.8804e-06 | -4.028e-05 | 0.005487 | 0.0054875 | 0.0054875 | 0.99538 | -0.071897 | 0.99537 | -0.07197 | 2.6131
91 | 8.717 | 4.0502 | -8.7166 | -4.0543 | 0.00041568 | -0.0041487 | 0.27759 | 0.27765 | 0.27765 | 0.99957 | -0.018339 | 0.99952 | -0.018559 | 21.7591
92 | 8.5926 | 3.9943 | -8.5925 | -3.9953 | 9.8048e-05 | -0.0010085 | 0.27367 | 0.27368 | 0.27368 | 0.99952 | -0.018559 | 0.99951 | -0.018612 | 21.4483
93 | 8.5209 | 3.9606 | -8.5205 | -3.9653 | 0.00044297 | -0.0046365 | 0.27138 | 0.27144 | 0.27144 | 0.99951 | -0.018612 | 0.99945 | -0.018852 | 21.273
94 | 0.31389 | 0.15187 | -0.31389 | -0.15202 | 8.858e-07 | -0.00015566 | 0.010072 | 0.010074 | 0.010074 | 0.99937 | -0.019242 | 0.99936 | -0.019217 | 4.5792
95 | -8.5198 | -3.9729 | 8.5205 | 3.9653 | 0.00072514 | -0.0075841 | 0.27154 | 0.27144 | 0.27154 | 0.99937 | -0.019242 | 0.99945 | -0.018852 | 21.2807
96 | 0.1173 | 0.05514 | -0.1173 | -0.056357 | 9.6664e-07 | -0.0012161 | 0.0037519 | 0.003767 | 0.003767 | 0.99724 | -0.075875 | 0.99723 | -0.075806 | 1.7123
97 | 0.15 | 0.072248 | -0.15 | -0.07265 | 5.2554e-07 | -0.00040182 | 0.0048196 | 0.0048247 | 0.0048247 | 0.99724 | -0.075875 | 0.99723 | -0.075845 | 2.193
98 | 0.1173 | 0.056357 | -0.1173 | -0.056809 | 3.6158e-07 | -0.00045239 | 0.003767 | 0.0037727 | 0.0037727 | 0.99723 | -0.075806 | 0.99723 | -0.075779 | 1.7149
99 | -1.057 | -0.51192 | 1.057 | 0.51176 | 1.0112e-05 | -0.00015108 | 0.034081 | 0.034079 | 0.034081 | 0.99477 | -0.0063847 | 0.99478 | -0.006468 | 15.4913
100 | 0.49408 | 0.23485 | -0.49405 | -0.23694 | 2.9891e-05 | -0.0020851 | 0.015878 | 0.015904 | 0.015904 | 0.99459 | -0.0048694 | 0.99454 | -0.0043589 | 7.2292
101 | 0.49405 | 0.23694 | -0.49402 | -0.23926 | 3.3469e-05 | -0.0023263 | 0.015904 | 0.015934 | 0.015934 | 0.99454 | -0.0043589 | 0.99447 | -0.0037752 | 7.2426

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 17.1414 | 8.0741

## res_load
| p_mw | q_mvar
0 | 0.32297 | 0.15642
1 | 0.20016 | 0.096943
2 | 0.38524 | 0.18658
3 | 0.2069 | 0.10021
4 | 0.41441 | 0.20071
5 | 0.16481 | 0.079822
6 | 0.3681 | 0.17828
7 | 0.40228 | 0.19483
8 | 0.18842 | 0.091257
9 | 0.30185 | 0.14619
10 | 0.17249 | 0.083539
11 | 0.39104 | 0.18939
12 | 0.27955 | 0.13539
13 | 0.082098 | 0.039762
14 | 0.37636 | 0.18228
15 | 0.46598 | 0.22568
16 | 0.075625 | 0.036627
17 | 0.33284 | 0.1612
18 | 0.12134 | 0.05877
19 | 0.98014 | 0.4747
20 | 0.24128 | 0.11686
21 | 0.1009 | 0.048869
22 | 0.12017 | 0.058201
23 | 0.37971 | 0.1839
24 | 0.088082 | 0.04266
25 | 0.40866 | 0.19792
26 | 0.075164 | 0.036404
27 | 0.36296 | 0.17579
28 | 0.3363 | 0.16288
29 | 0.22001 | 0.10656
30 | 0.245 | 0.11866
31 | 0.41111 | 0.19911
32 | 0.17255 | 0.083571
33 | 0.26111 | 0.12646
34 | 0.18967 | 0.091859
35 | 0.076909 | 0.037249
36 | 0.084791 | 0.041066
37 | 0.13805 | 0.066859
38 | 0.1301 | 0.063013
39 | 0.15984 | 0.077413
40 | 0.28494 | 0.138
41 | 2.8655 | 1.3878
42 | 0.25616 | 0.12406
43 | 0.07563 | 0.036629
44 | 0.17029 | 0.082477
45 | 0.14702 | 0.071203
46 | 0.11624 | 0.0563
47 | 0.124 | 0.060056
48 | 0.07155 | 0.034653
49 | 0.31389 | 0.15202
50 | 0.15 | 0.07265
51 | 0.1173 | 0.056809
52 | 1.057 | 0.51192
53 | 0.26701 | 0.12932
54 | 0.49402 | 0.23926
55 | 0.13117 | 0.063531

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1