## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_64_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_64_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_64_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_64_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_64_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_64_0_node_5 | 20 | n |  | TRUE
6 | bus_MV_64_0_node_46 | 20 | n |  | TRUE
7 | bus_MV_64_0_node_148 | 20 | n |  | TRUE
8 | bus_MV_64_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_64_0_node_187 | 20 | n |  | TRUE
10 | bus_MV_64_0_node_10 | 20 | n |  | TRUE
11 | bus_MV_64_0_node_9 | 20 | n |  | TRUE
12 | bus_MV_64_0_node_32 | 20 | n |  | TRUE
13 | bus_MV_64_0_node_11 | 20 | n |  | TRUE
14 | bus_MV_64_0_node_34 | 20 | n |  | TRUE
15 | bus_MV_64_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_64_0_node_29 | 20 | n |  | TRUE
17 | bus_MV_64_0_node_33 | 20 | n |  | TRUE
18 | bus_MV_64_0_node_172 | 20 | n |  | TRUE
19 | bus_MV_64_0_node_8 | 20 | n |  | TRUE
20 | bus_MV_64_0_node_7 | 20 | n |  | TRUE
21 | bus_MV_64_0_node_13 | 20 | n |  | TRUE
22 | bus_MV_64_0_node_15 | 20 | n |  | TRUE
23 | bus_MV_64_0_node_26 | 20 | n |  | TRUE
24 | bus_MV_64_0_node_24 | 20 | n |  | TRUE
25 | bus_MV_64_0_node_31 | 20 | n |  | TRUE
26 | bus_MV_64_0_node_171 | 20 | n |  | TRUE
27 | bus_MV_64_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_64_0_node_19 | 20 | n |  | TRUE
29 | bus_MV_64_0_node_20 | 20 | n |  | TRUE
30 | bus_MV_64_0_node_21 | 20 | n |  | TRUE
31 | bus_MV_64_0_node_18 | 20 | n |  | TRUE
32 | bus_MV_64_0_node_23 | 20 | n |  | TRUE
33 | bus_MV_64_0_node_30 | 20 | n |  | TRUE
34 | bus_MV_64_0_node_62 | 20 | n |  | TRUE
35 | bus_MV_64_0_node_25 | 20 | n |  | TRUE
36 | bus_MV_64_0_node_161 | 20 | n |  | TRUE
37 | bus_MV_64_0_node_27 | 20 | n |  | TRUE
38 | bus_MV_64_0_node_28 | 20 | n |  | TRUE
39 | bus_MV_64_0_node_147 | 20 | n |  | TRUE
40 | bus_MV_64_0_node_144 | 20 | n |  | TRUE
41 | bus_MV_64_0_node_146 | 20 | n |  | TRUE
42 | bus_MV_64_0_node_70 | 20 | n |  | TRUE
43 | bus_MV_64_0_node_63 | 20 | n |  | TRUE
44 | bus_MV_64_0_node_64 | 20 | n |  | TRUE
45 | bus_MV_64_0_node_94 | 20 | n |  | TRUE
46 | bus_MV_64_0_node_59 | 20 | n |  | TRUE
47 | bus_MV_64_0_node_134 | 20 | n |  | TRUE
48 | bus_MV_64_0_node_135 | 20 | n |  | TRUE
49 | bus_MV_64_0_node_136 | 20 | n |  | TRUE
50 | bus_MV_64_0_node_137 | 20 | n |  | TRUE
51 | bus_MV_64_0_node_138 | 20 | n |  | TRUE
52 | bus_MV_64_0_node_141 | 20 | n |  | TRUE
53 | bus_MV_64_0_node_182 | 20 | n |  | TRUE
54 | bus_MV_64_0_node_140 | 20 | n |  | TRUE
55 | bus_MV_64_0_node_61 | 20 | n |  | TRUE
56 | bus_MV_64_0_node_60 | 20 | n |  | TRUE
57 | bus_MV_64_0_node_190 | 20 | n |  | TRUE
58 | bus_MV_64_0_node_93 | 20 | n |  | TRUE
59 | bus_MV_64_0_node_65 | 20 | n |  | TRUE
60 | bus_MV_64_0_node_193 | 20 | n |  | TRUE
61 | bus_MV_64_0_node_143 | 20 | n |  | TRUE
62 | bus_MV_64_0_node_90 | 20 | n |  | TRUE
63 | bus_MV_64_0_node_139 | 20 | n |  | TRUE
64 | bus_MV_64_0_node_81 | 20 | n |  | TRUE
65 | bus_MV_64_0_node_180 | 20 | n |  | TRUE
66 | bus_MV_64_0_node_89 | 20 | n |  | TRUE
67 | bus_MV_64_0_node_67 | 20 | n |  | TRUE
68 | bus_MV_64_0_node_68 | 20 | n |  | TRUE
69 | bus_MV_64_0_node_178 | 20 | n |  | TRUE
70 | bus_MV_64_0_node_83 | 20 | n |  | TRUE
71 | bus_MV_64_0_node_160 | 20 | n |  | TRUE
72 | bus_MV_64_0_node_71 | 20 | n |  | TRUE
73 | bus_MV_64_0_node_158 | 20 | n |  | TRUE
74 | bus_MV_64_0_node_163 | 20 | n |  | TRUE
75 | bus_MV_64_0_node_72 | 20 | n |  | TRUE
76 | bus_MV_64_0_node_73 | 20 | n |  | TRUE
77 | bus_MV_64_0_node_74 | 20 | n |  | TRUE
78 | bus_MV_64_0_node_165 | 20 | n |  | TRUE
79 | bus_MV_64_0_node_84 | 20 | n |  | TRUE
80 | bus_MV_64_0_node_181 | 20 | n |  | TRUE
81 | bus_MV_64_0_node_87 | 20 | n |  | TRUE
82 | bus_MV_64_0_node_159 | 20 | n |  | TRUE
83 | bus_MV_64_0_node_164 | 20 | n |  | TRUE
84 | bus_MV_64_0_node_162 | 20 | n |  | TRUE
85 | bus_MV_64_0_node_77 | 20 | n |  | TRUE
86 | bus_MV_64_0_node_85 | 20 | n |  | TRUE
87 | bus_MV_64_0_node_75 | 20 | n |  | TRUE
88 | bus_MV_64_0_node_76 | 20 | n |  | TRUE
89 | bus_MV_64_0_node_78 | 20 | n |  | TRUE
90 | bus_MV_64_0_node_79 | 20 | n |  | TRUE
91 | bus_MV_64_0_node_80 | 20 | n |  | TRUE
92 | bus_MV_64_0_node_82 | 20 | n |  | TRUE
93 | bus_MV_64_0_node_86 | 20 | n |  | TRUE
94 | bus_MV_64_0_node_88 | 20 | n |  | TRUE
95 | bus_MV_64_0_node_166 | 20 | n |  | TRUE
96 | bus_MV_64_0_node_168 | 20 | n |  | TRUE
97 | bus_MV_64_0_node_92 | 20 | n |  | TRUE
98 | bus_MV_64_0_node_167 | 20 | n |  | TRUE
99 | bus_MV_64_0_node_91 | 20 | n |  | TRUE
100 | bus_HV_64_0_node_20 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_64_0_load_0 | 0 | 0.36205 | 0.17535 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_64_0_load_4 | 4 | 0.30694 | 0.14866 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_64_0_load_148 | 7 | 0.073003 | 0.035357 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_64_0_load_187 | 9 | 0.36725 | 0.17787 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_64_0_load_32 | 12 | 0.40477 | 0.19604 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_64_0_load_34 | 14 | 0.37653 | 0.18236 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_64_0_load_33 | 17 | 0.29947 | 0.14504 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_64_0_load_172 | 18 | 0.057786 | 0.027987 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_64_0_load_7 | 20 | 0.26766 | 0.12963 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_64_0_load_13 | 21 | 0.4123 | 0.19969 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_64_0_load_24 | 24 | 0.20427 | 0.09893 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_64_0_load_31 | 25 | 0.2928 | 0.14181 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_64_0_load_171 | 26 | 0.05631 | 0.027272 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_64_0_load_20 | 29 | 0.26048 | 0.12616 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_64_0_load_21 | 30 | 0.24577 | 0.11903 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_64_0_load_18 | 31 | 0.30668 | 0.14853 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_64_0_load_30 | 33 | 0.32721 | 0.15847 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_64_0_load_62 | 34 | 0.20642 | 0.099975 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_64_0_load_161 | 36 | 0.119 | 0.057634 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_64_0_load_27 | 37 | 0.09965 | 0.048263 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_64_0_load_28 | 38 | 0.20996 | 0.10169 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_64_0_load_147 | 39 | 0.14235 | 0.068943 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_64_0_load_144 | 40 | 0.16911 | 0.081904 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_64_0_load_94 | 45 | 0.3386 | 0.16399 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_64_0_load_59 | 46 | 0.15318 | 0.074188 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_64_0_load_134 | 47 | 0.12785 | 0.06192 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_64_0_load_182 | 53 | 0.15208 | 0.073656 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_64_0_load_140 | 54 | 0.092151 | 0.044631 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_64_0_load_190 | 57 | 0.30307 | 0.14678 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_64_0_load_93 | 58 | 0.26829 | 0.12994 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_64_0_load_193 | 60 | 0.21886 | 0.106 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_64_0_load_143 | 61 | 0.1502 | 0.072745 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_64_0_load_139 | 63 | 0.076442 | 0.037022 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_64_0_load_180 | 65 | 0.28593 | 0.13848 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_64_0_load_67 | 67 | 0.14376 | 0.069627 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_64_0_load_178 | 69 | 0.15765 | 0.076354 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_64_0_load_158 | 73 | 0.083634 | 0.040506 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_64_0_load_165 | 78 | 0.10455 | 0.050634 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_64_0_load_84 | 79 | 0.36223 | 0.17543 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_64_0_load_181 | 80 | 0.21389 | 0.10359 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_64_0_load_87 | 81 | 0.35284 | 0.17089 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_64_0_load_159 | 82 | 0.087755 | 0.042502 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_64_0_load_164 | 83 | 0.69772 | 0.33792 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_64_0_load_162 | 84 | 0.32729 | 0.15852 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_64_0_load_75 | 87 | 0.25573 | 0.12386 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_64_0_load_78 | 89 | 0.22864 | 0.11073 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_64_0_load_166 | 95 | 0.073974 | 0.035827 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_64_0_load_168 | 96 | 0.34469 | 0.16694 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_64_0_load_167 | 98 | 0.085281 | 0.041304 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_64_0_load_91 | 99 | 0.3312 | 0.16041 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_64_0_line_0 |  | 0 | 1 | 0.045327 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_64_0_line_1 |  | 1 | 2 | 0.036901 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_64_0_line_2 |  | 1 | 3 | 0.088773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_64_0_line_3 |  | 2 | 4 | 0.04768 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_64_0_line_4 |  | 3 | 7 | 0.041153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_64_0_line_5 |  | 4 | 5 | 0.03727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_64_0_line_6 |  | 4 | 6 | 0.31405 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_64_0_line_7 |  | 5 | 8 | 0.13783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_64_0_line_8 |  | 6 | 9 | 0.061433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_64_0_line_9 |  | 8 | 10 | 0.40958 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_64_0_line_10 |  | 8 | 11 | 0.46505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_64_0_line_11 |  | 8 | 12 | 0.073789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_64_0_line_12 |  | 10 | 13 | 0.36695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_64_0_line_13 |  | 10 | 14 | 0.051714 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_64_0_line_14 |  | 11 | 21 | 0.012343 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_64_0_line_15 |  | 11 | 19 | 0.30681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_64_0_line_16 |  | 13 | 15 | 0.5987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_64_0_line_17 |  | 13 | 16 | 0.21107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_64_0_line_18 |  | 13 | 17 | 0.036845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_64_0_line_19 |  | 15 | 18 | 0.070037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_64_0_line_20 |  | 16 | 25 | 0.092591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_64_0_line_21 |  | 16 | 23 | 0.43523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_64_0_line_22 |  | 18 | 26 | 0.010285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_64_0_line_23 |  | 19 | 20 | 0.02333 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_64_0_line_24 |  | 21 | 22 | 0.023096 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
25 | MV_64_0_line_25 |  | 22 | 27 | 0.099212 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
26 | MV_64_0_line_26 |  | 23 | 24 | 0.12016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_64_0_line_27 |  | 24 | 35 | 0.20838 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_64_0_line_28 |  | 24 | 36 | 0.69723 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_64_0_line_29 |  | 27 | 28 | 0.40021 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
30 | MV_64_0_line_30 |  | 27 | 29 | 0.093009 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
31 | MV_64_0_line_31 |  | 28 | 31 | 0.12527 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
32 | MV_64_0_line_32 |  | 28 | 30 | 0.20612 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_64_0_line_33 |  | 31 | 32 | 0.50162 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
34 | MV_64_0_line_34 |  | 32 | 33 | 0.032149 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
35 | MV_64_0_line_35 |  | 33 | 34 | 0.6177 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
36 | MV_64_0_line_36 |  | 34 | 43 | 0.054065 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
37 | MV_64_0_line_37 |  | 35 | 37 | 0.077645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_64_0_line_38 |  | 36 | 42 | 0.12554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_64_0_line_39 |  | 37 | 38 | 0.036782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_64_0_line_40 |  | 38 | 39 | 0.009706 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_64_0_line_41 |  | 39 | 41 | 0.037498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_64_0_line_42 |  | 40 | 41 | 0.14559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_64_0_line_43 |  | 42 | 71 | 0.042759 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_64_0_line_44 |  | 43 | 58 | 0.59406 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
45 | MV_64_0_line_45 |  | 43 | 44 | 0.54763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_64_0_line_46 |  | 44 | 45 | 0.11809 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_64_0_line_47 |  | 44 | 46 | 2.2798 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_64_0_line_48 |  | 46 | 56 | 0.14991 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_64_0_line_49 |  | 47 | 48 | 0.33654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_64_0_line_50 |  | 47 | 49 | 0.4088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_64_0_line_51 |  | 48 | 50 | 0.15599 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_64_0_line_52 |  | 49 | 51 | 0.81714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_64_0_line_53 |  | 50 | 52 | 1.0518 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_64_0_line_54 |  | 50 | 53 | 0.044659 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_64_0_line_55 |  | 51 | 63 | 0.31506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_64_0_line_56 |  | 52 | 54 | 0.027985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_64_0_line_57 |  | 54 | 55 | 1.0611 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_64_0_line_58 |  | 55 | 57 | 0.17062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_64_0_line_59 |  | 55 | 56 | 0.33386 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_64_0_line_60 |  | 58 | 62 | 0.09132 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
61 | MV_64_0_line_61 |  | 59 | 60 | 0.048107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_64_0_line_62 |  | 59 | 61 | 0.35397 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_64_0_line_63 |  | 61 | 64 | 0.02991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_64_0_line_64 |  | 62 | 66 | 0.53203 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
65 | MV_64_0_line_65 |  | 64 | 90 | 0.15495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_64_0_line_66 |  | 65 | 66 | 0.029447 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_64_0_line_67 |  | 66 | 97 | 0.14537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_64_0_line_68 |  | 66 | 94 | 0.42588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_64_0_line_69 |  | 67 | 68 | 0.020405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_64_0_line_70 |  | 68 | 69 | 0.51948 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_64_0_line_71 |  | 69 | 70 | 0.065909 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_64_0_line_72 |  | 70 | 91 | 0.65616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_64_0_line_73 |  | 70 | 92 | 0.25052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_64_0_line_74 |  | 71 | 82 | 0.014984 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_64_0_line_75 |  | 72 | 73 | 0.097186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_64_0_line_76 |  | 72 | 74 | 0.38575 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_64_0_line_77 |  | 74 | 83 | 0.060555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_64_0_line_78 |  | 74 | 84 | 0.046951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_64_0_line_79 |  | 75 | 76 | 0.10595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_64_0_line_80 |  | 75 | 77 | 0.078028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_64_0_line_81 |  | 75 | 78 | 0.081099 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_64_0_line_82 |  | 75 | 79 | 0.19209 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_64_0_line_83 |  | 76 | 80 | 0.09052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_64_0_line_84 |  | 77 | 81 | 0.053977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_64_0_line_85 |  | 78 | 85 | 0.016743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_64_0_line_86 |  | 79 | 86 | 0.009196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_64_0_line_87 |  | 80 | 83 | 0.031802 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_64_0_line_88 |  | 84 | 92 | 0.062898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_64_0_line_89 |  | 85 | 88 | 0.044468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_64_0_line_90 |  | 86 | 93 | 0.078557 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_64_0_line_91 |  | 87 | 88 | 0.05353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_64_0_line_92 |  | 89 | 90 | 0.038587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_64_0_line_93 |  | 89 | 91 | 0.13228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_64_0_line_94 |  | 93 | 94 | 0.37376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_64_0_line_95 |  | 93 | 95 | 0.11569 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_64_0_line_96 |  | 94 | 96 | 0.090447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_64_0_line_97 |  | 95 | 98 | 0.014693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_64_0_line_98 |  | 97 | 99 | 0.062428 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_64_0_trafo_20 | 25 MVA 110/20 kV | 100 | 29 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2710304.3983 | 1115369.9485
1 | 2710268.733 | 1115344.9276
2 | 2710233.361 | 1115354.268
3 | 2710341.3534 | 1115293.6379
4 | 2710223.0069 | 1115400.8102
5 | 2710217.7251 | 1115437.6938
6 | 2710528.0838 | 1115326.2728
7 | 2710375.8868 | 1115271.2547
8 | 2710085.1356 | 1115444.9777
9 | 2710543.1692 | 1115384.1303
10 | 2709954.2006 | 1115201.1859
11 | 2709743.6616 | 1115383.756
12 | 2710059.7448 | 1115512.8499
13 | 2710218.9757 | 1115041.7351
14 | 2709902.6535 | 1115197.0371
15 | 2710480.069 | 1114935.8636
16 | 2710171.739 | 1114891.4
17 | 2710182.6262 | 1115035.092
18 | 2710478.4033 | 1114865.8466
19 | 2709938.5894 | 1115491.5036
20 | 2709961.6659 | 1115488.0756
21 | 2709731.5731 | 1115386.4166
22 | 2709710.9736 | 1115396.7727
23 | 2710178.5746 | 1114582.6776
24 | 2710199.3037 | 1114464.3436
25 | 2710082.7078 | 1114865.0652
26 | 2710478.1587 | 1114855.5641
27 | 2709627.3878 | 1115450.5064
28 | 2709402.2167 | 1115687.8369
29 | 2709545.6337 | 1115494.8571
30 | 2709591.1827 | 1115770.1714
31 | 2709288.2443 | 1115717.4665
32 | 2708984.5736 | 1116116.7246
33 | 2708960.1345 | 1116137.6876
34 | 2708363.2805 | 1115978.5823
35 | 2710200.2132 | 1114255.9681
36 | 2709576.2029 | 1114151.4959
37 | 2710122.5719 | 1114255.2455
38 | 2710123.1119 | 1114218.467
39 | 2710123.2544 | 1114208.7621
40 | 2709997.8929 | 1114244.2275
41 | 2710123.8049 | 1114171.2685
42 | 2709460.6617 | 1114131.2206
43 | 2708371.9269 | 1115925.2133
44 | 2708183.6619 | 1116213.3031
45 | 2708065.5766 | 1116213.4074
46 | 2708259.6076 | 1118491.8808
47 | 2709278.3868 | 1120265.6716
48 | 2709515.0374 | 1120103.6522
49 | 2709034.8964 | 1120540.35
50 | 2709603.0719 | 1120033.4102
51 | 2708566.5102 | 1121161.7816
52 | 2709708.3708 | 1118986.857
53 | 2709624.395 | 1119994.1706
54 | 2709712.5044 | 1118959.3696
55 | 2708702.3927 | 1118634.2359
56 | 2708400.8379 | 1118542.139
57 | 2708707.4272 | 1118534.8395
58 | 2708755.6669 | 1115471.7261
59 | 2708304.1938 | 1115489.5197
60 | 2708255.9579 | 1115488.6018
61 | 2708489.9272 | 1115188.1903
62 | 2708683.1276 | 1115417.4007
63 | 2708511.735 | 1121454.4559
64 | 2708519.8571 | 1115190.2163
65 | 2709088.9757 | 1115439.7622
66 | 2709059.6958 | 1115442.8928
67 | 2709273.0752 | 1114275.208
68 | 2709255.378 | 1114264.9601
69 | 2708847.3356 | 1114586.4511
70 | 2708858.5733 | 1114651.3952
71 | 2709460.2756 | 1114088.4634
72 | 2709310.7174 | 1114673.6689
73 | 2709381.2246 | 1114733.1043
74 | 2708960.4728 | 1114835.3125
75 | 2709168.713 | 1114983.5228
76 | 2709088.2075 | 1114957.9678
77 | 2709105.0717 | 1114986.4899
78 | 2709245.6317 | 1115007.706
79 | 2709043.8069 | 1115129.4583
80 | 2709009.665 | 1114912.5696
81 | 2709051.337 | 1114993.0494
82 | 2709446.0092 | 1114087.5497
83 | 2708988.0974 | 1114889.1991
84 | 2708918.7033 | 1114856.754
85 | 2709261.1872 | 1115013.8978
86 | 2709034.6143 | 1115128.7036
87 | 2709346.2989 | 1115062.4324
88 | 2709300.0565 | 1115035.4682
89 | 2708515.4943 | 1115087.1379
90 | 2708530.3726 | 1115122.7385
91 | 2708392.1467 | 1115068.8856
92 | 2708862.7468 | 1114885.4781
93 | 2708958.1865 | 1115110.5395
94 | 2708796.4577 | 1115209.9657
95 | 2708908.9043 | 1115005.8754
96 | 2708826.7042 | 1115124.7199
97 | 2709038.5391 | 1115331.5507
98 | 2708894.272 | 1115007.2067
99 | 2709053.0781 | 1115270.8394
100 | 2709545.6337 | 1115494.8571

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99652 | -0.023854 | 0.36205 | 0.17535
1 | 0.99654 | -0.024051 | 0 | 0
2 | 0.99656 | -0.024233 | 0 | 0
3 | 0.99653 | -0.023984 | 0 | 0
4 | 0.9966 | -0.02396 | 0.30694 | 0.14866
5 | 0.99665 | -0.02444 | 0 | 0
6 | 0.99638 | -0.025408 | 0 | 0
7 | 0.99653 | -0.023949 | 0.073003 | 0.035357
8 | 0.99685 | -0.026198 | 0 | 0
9 | 0.99635 | -0.025139 | 0.36725 | 0.17787
10 | 0.99575 | -0.017424 | 0 | 0
11 | 0.99899 | -0.043899 | 0 | 0
12 | 0.99681 | -0.025843 | 0.40477 | 0.19604
13 | 0.99494 | -0.010997 | 0 | 0
14 | 0.99571 | -0.017661 | 0.37653 | 0.18236
15 | 0.99485 | -0.010517 | 0 | 0
16 | 0.99458 | -0.0080288 | 0 | 0
17 | 0.99492 | -0.010865 | 0.29947 | 0.14504
18 | 0.99484 | -0.010426 | 0.057786 | 0.027987
19 | 0.99889 | -0.042986 | 0 | 0
20 | 0.99888 | -0.043062 | 0.26766 | 0.12963
21 | 0.99905 | -0.044397 | 0.4123 | 0.19969
22 | 0.99911 | -0.043783 | 0 | 0
23 | 0.99401 | -0.003169 | 0 | 0
24 | 0.99385 | -0.0017755 | 0.20427 | 0.09893
25 | 0.99455 | -0.0077075 | 0.2928 | 0.14181
26 | 0.99484 | -0.010419 | 0.05631 | 0.027272
27 | 0.99929 | -0.040344 | 0 | 0
28 | 0.99837 | -0.044566 | 0 | 0
29 | 1 | 0 | -11.4277 | -5.2735
30 | 0.99827 | -0.045182 | 0.24577 | 0.11903
31 | 0.99809 | -0.045822 | 0.30668 | 0.14853
32 | 0.9959 | -0.17071 | 0 | 0
33 | 0.99584 | -0.17103 | 0.32721 | 0.15847
34 | 0.99328 | -0.31786 | 0.20642 | 0.099975
35 | 0.9936 | -0.0034917 | 0 | 0
36 | 0.99357 | -0.0038237 | 0.119 | 0.057634
37 | 0.99354 | -0.002939 | 0.09965 | 0.048263
38 | 0.99351 | -0.0027183 | 0.20996 | 0.10169
39 | 0.99351 | -0.0026845 | 0.14235 | 0.068943
40 | 0.99347 | -0.0023347 | 0.16911 | 0.081904
41 | 0.9935 | -0.002617 | 0 | 0
42 | 0.99356 | -0.0037132 | 0 | 0
43 | 0.99307 | -0.33032 | 0 | 0
44 | 0.99221 | -0.32454 | 0 | 0
45 | 0.99213 | -0.32503 | 0.3386 | 0.16399
46 | 0.9883 | -0.36257 | 0.15318 | 0.074188
47 | 0.98606 | -0.38259 | 0.12785 | 0.06192
48 | 0.98614 | -0.38257 | 0 | 0
49 | 0.98602 | -0.38304 | 0 | 0
50 | 0.98618 | -0.38249 | 0 | 0
51 | 0.98595 | -0.38317 | 0 | 0
52 | 0.98687 | -0.37344 | 0 | 0
53 | 0.98617 | -0.38258 | 0.15208 | 0.073656
54 | 0.98688 | -0.37347 | 0.092151 | 0.044631
55 | 0.98777 | -0.36296 | 0 | 0
56 | 0.98809 | -0.36477 | 0 | 0
57 | 0.9877 | -0.36235 | 0.30307 | 0.14678
58 | 0.99026 | -0.42578 | 0.26829 | 0.12994
59 | 0.98148 | -0.40256 | 0 | 0
60 | 0.98147 | -0.40243 | 0.21886 | 0.106
61 | 0.98163 | -0.40155 | 0.1502 | 0.072745
62 | 0.99008 | -0.42908 | 0 | 0
63 | 0.98592 | -0.38295 | 0.076442 | 0.037022
64 | 0.98165 | -0.40168 | 0 | 0
65 | 0.98878 | -0.44379 | 0.28593 | 0.13848
66 | 0.9888 | -0.44368 | 0 | 0
67 | 0.98216 | -0.40873 | 0.14376 | 0.069627
68 | 0.98216 | -0.40876 | 0 | 0
69 | 0.98231 | -0.40779 | 0.15765 | 0.076354
70 | 0.98235 | -0.40754 | 0 | 0
71 | 0.99355 | -0.0036701 | 0 | 0
72 | 0.98272 | -0.41151 | 0 | 0
73 | 0.98271 | -0.41142 | 0.083634 | 0.040506
74 | 0.98278 | -0.41103 | 0 | 0
75 | 0.98357 | -0.41583 | 0 | 0
76 | 0.98327 | -0.41321 | 0 | 0
77 | 0.98354 | -0.4155 | 0 | 0
78 | 0.98354 | -0.41549 | 0.10455 | 0.050634
79 | 0.98467 | -0.40793 | 0.36223 | 0.17543
80 | 0.98301 | -0.41095 | 0.21389 | 0.10359
81 | 0.98351 | -0.41527 | 0.35284 | 0.17089
82 | 0.99355 | -0.0036544 | 0.087755 | 0.042502
83 | 0.98289 | -0.41186 | 0.69772 | 0.33792
84 | 0.98271 | -0.41042 | 0.32729 | 0.15852
85 | 0.98353 | -0.41544 | 0 | 0
86 | 0.98471 | -0.40827 | 0 | 0
87 | 0.9835 | -0.41513 | 0.25573 | 0.12386
88 | 0.98352 | -0.4153 | 0 | 0
89 | 0.98174 | -0.40251 | 0.22864 | 0.11073
90 | 0.98172 | -0.40235 | 0 | 0
91 | 0.98184 | -0.40342 | 0 | 0
92 | 0.98264 | -0.40985 | 0 | 0
93 | 0.98505 | -0.4112 | 0 | 0
94 | 0.98671 | -0.42572 | 0 | 0
95 | 0.98501 | -0.41144 | 0.073974 | 0.035827
96 | 0.98667 | -0.42534 | 0.34469 | 0.16694
97 | 0.98873 | -0.44311 | 0 | 0
98 | 0.98501 | -0.41142 | 0.085281 | 0.041304
99 | 0.98869 | -0.44337 | 0.3312 | 0.16041
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.36205 | -0.17535 | 0.36205 | 0.17427 | 8.2077e-06 | -0.0010723 | 0.011653 | 0.01164 | 0.011653 | 0.99652 | -0.023854 | 0.99654 | -0.024051 | 5.2969
1 | -0.43506 | -0.20655 | 0.43507 | 0.20568 | 9.5804e-06 | -0.00087214 | 0.013951 | 0.01394 | 0.013951 | 0.99654 | -0.024051 | 0.99656 | -0.024233 | 6.3413
2 | 0.073004 | 0.032277 | -0.073003 | -0.034381 | 6.4048e-07 | -0.0021047 | 0.0023122 | 0.0023376 | 0.0023376 | 0.99654 | -0.024051 | 0.99653 | -0.023984 | 1.0625
3 | -0.43507 | -0.20568 | 0.43508 | 0.20563 | 1.6507e-05 | -4.6192e-05 | 0.01394 | 0.013939 | 0.01394 | 0.99656 | -0.024233 | 0.9966 | -0.02396 | 6.6381
4 | 0.073003 | 0.034381 | -0.073003 | -0.035357 | 3.0175e-07 | -0.00097567 | 0.0023376 | 0.0023497 | 0.0023497 | 0.99653 | -0.023984 | 0.99653 | -0.023949 | 1.0681
5 | -1.1094 | -0.53038 | 1.1094 | 0.52951 | 6.31e-05 | -0.00086515 | 0.035617 | 0.035606 | 0.035617 | 0.9966 | -0.02396 | 0.99665 | -0.02444 | 16.1897
6 | 0.36734 | 0.17609 | -0.36726 | -0.17641 | 7.7937e-05 | -0.00032347 | 0.0118 | 0.011804 | 0.011804 | 0.9966 | -0.02396 | 0.99638 | -0.025408 | 5.6211
7 | -1.1094 | -0.52951 | 1.1097 | 0.52631 | 0.00023302 | -0.0032005 | 0.035606 | 0.035566 | 0.035606 | 0.99665 | -0.02444 | 0.99685 | -0.026198 | 16.1847
8 | 0.36726 | 0.17641 | -0.36725 | -0.17787 | 1.1446e-05 | -0.0014527 | 0.011804 | 0.011823 | 0.011823 | 0.99638 | -0.025408 | 0.99635 | -0.025139 | 5.3739
9 | 2.1206 | 0.95779 | -2.1181 | -0.96676 | 0.002487 | -0.0089692 | 0.067383 | 0.0675 | 0.0675 | 0.99685 | -0.026198 | 0.99575 | -0.017424 | 30.6816
10 | -3.635 | -1.6784 | 3.6434 | 1.6698 | 0.0083367 | -0.0085846 | 0.11595 | 0.11581 | 0.11595 | 0.99685 | -0.026198 | 0.99899 | -0.043899 | 52.7025
11 | 0.40478 | 0.19429 | -0.40477 | -0.19604 | 1.6682e-05 | -0.0017457 | 0.013002 | 0.013024 | 0.013024 | 0.99685 | -0.026198 | 0.99681 | -0.025843 | 5.9202
12 | 1.7416 | 0.78446 | -1.7401 | -0.79269 | 0.001505 | -0.0082335 | 0.055375 | 0.055479 | 0.055479 | 0.99575 | -0.017424 | 0.99494 | -0.010997 | 25.2176
13 | 0.37654 | 0.18231 | -0.37653 | -0.18236 | 1.3554e-05 | -5.272e-05 | 0.012128 | 0.012129 | 0.012129 | 0.99575 | -0.017424 | 0.99571 | -0.017661 | 5.7758
14 | -3.9111 | -1.7921 | 3.9113 | 1.7919 | 0.00025465 | -0.00021859 | 0.12432 | 0.12431 | 0.12432 | 0.99899 | -0.043899 | 0.99905 | -0.044397 | 56.5075
15 | 0.2677 | 0.12231 | -0.26767 | -0.12961 | 2.9936e-05 | -0.0073011 | 0.0085047 | 0.0085946 | 0.0085946 | 0.99899 | -0.043899 | 0.99889 | -0.042986 | 3.9066
16 | 0.11411 | 0.039216 | -0.1141 | -0.053362 | 1.0203e-05 | -0.014146 | 0.0035008 | 0.0036549 | 0.0036549 | 0.99494 | -0.010997 | 0.99485 | -0.010517 | 1.6613
17 | 1.3265 | 0.6093 | -1.326 | -0.61414 | 0.00050617 | -0.0048367 | 0.042353 | 0.042414 | 0.042414 | 0.99494 | -0.010997 | 0.99458 | -0.0080288 | 19.279
18 | 0.29947 | 0.14417 | -0.29947 | -0.14504 | 4.5795e-06 | -0.00086946 | 0.0096435 | 0.0096544 | 0.0096544 | 0.99494 | -0.010997 | 0.99492 | -0.010865 | 4.3884
19 | 0.1141 | 0.053362 | -0.1141 | -0.055016 | 1.256e-06 | -0.0016546 | 0.0036549 | 0.0036755 | 0.0036755 | 0.99485 | -0.010517 | 0.99484 | -0.010426 | 1.6707
20 | 0.29281 | 0.13962 | -0.2928 | -0.14181 | 1.099e-05 | -0.0021835 | 0.0094154 | 0.0094429 | 0.0094429 | 0.99458 | -0.0080288 | 0.99455 | -0.0077075 | 4.2922
21 | 1.0332 | 0.47452 | -1.0325 | -0.4846 | 0.00063511 | -0.010085 | 0.032999 | 0.033125 | 0.033125 | 0.99458 | -0.0080288 | 0.99401 | -0.003169 | 15.0567
22 | 0.05631 | 0.027029 | -0.05631 | -0.027272 | 4.5184e-08 | -0.00024303 | 0.0018125 | 0.0018155 | 0.0018155 | 0.99484 | -0.010426 | 0.99484 | -0.010419 | 0.82524
23 | 0.26767 | 0.12961 | -0.26766 | -0.12963 | 3.0705e-06 | -2.5866e-05 | 0.0085946 | 0.0085949 | 0.0085949 | 0.99889 | -0.042986 | 0.99888 | -0.043062 | 4.0928
24 | -4.3236 | -1.9916 | 4.3238 | 1.991 | 0.00021104 | -0.00063752 | 0.13755 | 0.13754 | 0.13755 | 0.99905 | -0.044397 | 0.99911 | -0.043783 | 37.9965
25 | -4.3238 | -1.991 | 4.3245 | 1.9878 | 0.00068667 | -0.0031536 | 0.13754 | 0.13749 | 0.13754 | 0.99911 | -0.043783 | 0.99929 | -0.040344 | 32.6693
26 | 1.0325 | 0.4846 | -1.0324 | -0.48738 | 0.0001762 | -0.0027819 | 0.033125 | 0.03316 | 0.03316 | 0.99401 | -0.003169 | 0.99385 | -0.0017755 | 15.0726
27 | 0.62128 | 0.29342 | -0.62114 | -0.29358 | 0.0001479 | -0.00015301 | 0.019957 | 0.01996 | 0.01996 | 0.99385 | -0.0017755 | 0.9936 | -0.0034917 | 9.5049
28 | 0.20681 | 0.095029 | -0.20676 | -0.095816 | 5.4373e-05 | -0.00078786 | 0.0066109 | 0.0066209 | 0.0066209 | 0.99385 | -0.0017755 | 0.99357 | -0.0038237 | 3.1528
29 | 7.0848 | 3.2636 | -7.0785 | -3.2851 | 0.0062877 | -0.021547 | 0.22534 | 0.22564 | 0.22564 | 0.99929 | -0.040344 | 0.99837 | -0.044566 | 35.3667
30 | -11.4093 | -5.2514 | 11.4137 | 5.263 | 0.0043711 | 0.011626 | 0.36283 | 0.36283 | 0.36283 | 0.99929 | -0.040344 | 1 | 0 | 56.2523
31 | 6.8327 | 3.1663 | -6.8309 | -3.1731 | 0.0018361 | -0.0068092 | 0.21775 | 0.21784 | 0.21784 | 0.99837 | -0.044566 | 0.99809 | -0.045822 | 34.1446
32 | 0.24579 | 0.1188 | -0.24577 | -0.11903 | 2.2891e-05 | -0.00023091 | 0.0078935 | 0.0078966 | 0.0078966 | 0.99837 | -0.044566 | 0.99827 | -0.045182 | 3.7603
33 | 6.5242 | 3.0246 | -6.5164 | -3.0044 | 0.0077471 | 0.020143 | 0.20799 | 0.208 | 0.208 | 0.99809 | -0.045822 | 0.9959 | -0.17071 | 32.2475
34 | 6.5164 | 3.0044 | -6.516 | -3.0062 | 0.00042982 | -0.0017613 | 0.208 | 0.20802 | 0.20802 | 0.9959 | -0.17071 | 0.99584 | -0.17103 | 32.6051
35 | 6.1888 | 2.8477 | -6.1802 | -2.8255 | 0.0086006 | 0.022283 | 0.19748 | 0.19749 | 0.19749 | 0.99584 | -0.17103 | 0.99328 | -0.31786 | 30.6192
36 | 5.9738 | 2.7255 | -5.9731 | -2.7237 | 0.00070287 | 0.0018164 | 0.19083 | 0.19083 | 0.19083 | 0.99328 | -0.31786 | 0.99307 | -0.33032 | 29.5862
37 | 0.62114 | 0.29358 | -0.6211 | -0.2954 | 4.1345e-05 | -0.0018178 | 0.01996 | 0.019983 | 0.019983 | 0.9936 | -0.0034917 | 0.99354 | -0.002939 | 9.0832
38 | 0.087757 | 0.038182 | -0.087756 | -0.041141 | 1.3121e-06 | -0.0029585 | 0.0027806 | 0.002816 | 0.002816 | 0.99357 | -0.0038237 | 0.99356 | -0.0037132 | 1.28
39 | 0.52145 | 0.24713 | -0.52143 | -0.248 | 1.3812e-05 | -0.00086279 | 0.016766 | 0.016777 | 0.016777 | 0.99354 | -0.002939 | 0.99351 | -0.0027183 | 7.6259
40 | 0.31147 | 0.14631 | -0.31147 | -0.14653 | 1.2958e-06 | -0.00022836 | 0.0099987 | 0.010002 | 0.010002 | 0.99351 | -0.0027183 | 0.99351 | -0.0026845 | 4.5462
41 | 0.16912 | 0.077591 | -0.16912 | -0.078474 | 1.4661e-06 | -0.00088327 | 0.0054064 | 0.0054171 | 0.0054171 | 0.99351 | -0.0026845 | 0.9935 | -0.002617 | 2.4623
42 | -0.16911 | -0.081904 | 0.16912 | 0.078474 | 5.7481e-06 | -0.0034292 | 0.0054598 | 0.0054171 | 0.0054598 | 0.99347 | -0.0023347 | 0.9935 | -0.002617 | 2.4817
43 | 0.087756 | 0.041141 | -0.087755 | -0.042149 | 4.5467e-07 | -0.0010077 | 0.002816 | 0.0028286 | 0.0028286 | 0.99356 | -0.0037132 | 0.99355 | -0.0036701 | 1.2857
44 | 4.7241 | 2.1965 | -4.7144 | -2.1831 | 0.0097124 | 0.013306 | 0.15144 | 0.15145 | 0.15145 | 0.99307 | -0.33032 | 0.99026 | -0.42578 | 36.9397
45 | 1.2489 | 0.52721 | -1.2478 | -0.53976 | 0.0011396 | -0.012545 | 0.039407 | 0.039555 | 0.039555 | 0.99307 | -0.33032 | 0.99221 | -0.32454 | 17.9794
46 | 0.33862 | 0.16387 | -0.3386 | -0.16399 | 2.5208e-05 | -0.00012298 | 0.010945 | 0.010947 | 0.010947 | 0.99221 | -0.32454 | 0.99213 | -0.32503 | 5.2127
47 | 0.90917 | 0.37589 | -0.90584 | -0.37647 | 0.0033314 | -0.0005822 | 0.028623 | 0.028653 | 0.028653 | 0.99221 | -0.32454 | 0.9883 | -0.36257 | 13.6443
48 | 0.75266 | 0.30228 | -0.75251 | -0.30236 | 0.00014992 | -8.085e-05 | 0.023691 | 0.023693 | 0.023693 | 0.9883 | -0.36257 | 0.98809 | -0.36477 | 11.2825
49 | -0.2043 | -0.063176 | 0.20432 | 0.055368 | 1.7425e-05 | -0.0078084 | 0.0062605 | 0.0061968 | 0.0062605 | 0.98606 | -0.38259 | 0.98614 | -0.38257 | 2.8457
50 | 0.076453 | 0.0012562 | -0.07645 | -0.010745 | 2.7508e-06 | -0.0094892 | 0.0022385 | 0.0022602 | 0.0022602 | 0.98606 | -0.38259 | 0.98602 | -0.38304 | 1.0274
51 | -0.20432 | -0.055368 | 0.20433 | 0.051748 | 7.9616e-06 | -0.0036198 | 0.0061968 | 0.0061699 | 0.0061968 | 0.98614 | -0.38257 | 0.98618 | -0.38249 | 2.8167
52 | 0.07645 | 0.010745 | -0.076444 | -0.029711 | 5.8475e-06 | -0.018965 | 0.0022602 | 0.0024013 | 0.0024013 | 0.98602 | -0.38304 | 0.98595 | -0.38317 | 1.0915
53 | -0.35641 | -0.12535 | 0.35664 | 0.12428 | 0.00022897 | -0.0010787 | 0.011059 | 0.011047 | 0.011059 | 0.98618 | -0.38249 | 0.98687 | -0.37344 | 5.2663
54 | 0.15208 | 0.073605 | -0.15208 | -0.073656 | 1.9465e-06 | -5.0631e-05 | 0.0049457 | 0.0049464 | 0.0049464 | 0.98618 | -0.38249 | 0.98617 | -0.38258 | 2.3554
55 | 0.076444 | 0.029711 | -0.076442 | -0.037022 | 2.5085e-06 | -0.0073116 | 0.0024013 | 0.0024869 | 0.0024869 | 0.98595 | -0.38317 | 0.98592 | -0.38295 | 1.1304
56 | -0.35664 | -0.12428 | 0.35664 | 0.12363 | 4.5571e-06 | -0.0006494 | 0.011047 | 0.011041 | 0.011047 | 0.98687 | -0.37344 | 0.98688 | -0.37347 | 5.0216
57 | -0.44879 | -0.16826 | 0.44917 | 0.16725 | 0.00037129 | -0.0010023 | 0.01402 | 0.014007 | 0.01402 | 0.98688 | -0.37347 | 0.98777 | -0.36296 | 6.6762
58 | 0.30309 | 0.14281 | -0.30307 | -0.14678 | 2.195e-05 | -0.0039678 | 0.0097919 | 0.0098419 | 0.0098419 | 0.98777 | -0.36296 | 0.9877 | -0.36235 | 4.4736
59 | -0.75226 | -0.31007 | 0.75251 | 0.30236 | 0.0002511 | -0.0077054 | 0.023779 | 0.023693 | 0.023779 | 0.98777 | -0.36296 | 0.98809 | -0.36477 | 10.8086
60 | 4.4461 | 2.0532 | -4.4455 | -2.056 | 0.00068141 | -0.0027948 | 0.14276 | 0.14281 | 0.14281 | 0.99026 | -0.42578 | 0.99008 | -0.42908 | 33.9206
61 | 0.21887 | 0.10489 | -0.21886 | -0.106 | 3.2791e-06 | -0.0011055 | 0.0071385 | 0.0071526 | 0.0071526 | 0.98148 | -0.40256 | 0.98147 | -0.40243 | 3.2512
62 | -0.21887 | -0.10489 | 0.2189 | 0.10451 | 3.2114e-05 | -0.00038702 | 0.0071385 | 0.0071333 | 0.0071385 | 0.98148 | -0.40256 | 0.98163 | -0.40155 | 3.3993
63 | -0.3691 | -0.17725 | 0.3691 | 0.17657 | 5.7851e-06 | -0.00068644 | 0.012041 | 0.012032 | 0.012041 | 0.98163 | -0.40155 | 0.98165 | -0.40168 | 5.4732
64 | 4.4455 | 2.056 | -4.4402 | -2.0701 | 0.0052486 | -0.014054 | 0.14281 | 0.14303 | 0.14303 | 0.99008 | -0.42908 | 0.9888 | -0.44368 | 39.5098
65 | -0.3691 | -0.17657 | 0.36913 | 0.17301 | 2.9837e-05 | -0.0035566 | 0.012032 | 0.011987 | 0.012032 | 0.98165 | -0.40168 | 0.98172 | -0.40235 | 5.4692
66 | -0.28593 | -0.13848 | 0.28593 | 0.13845 | 4.5134e-06 | -3.1543e-05 | 0.0092752 | 0.0092748 | 0.0092752 | 0.98878 | -0.44379 | 0.9888 | -0.44368 | 4.4168
67 | 0.33123 | 0.15696 | -0.33121 | -0.16034 | 2.2312e-05 | -0.0033868 | 0.010701 | 0.010744 | 0.010744 | 0.9888 | -0.44368 | 0.98873 | -0.44311 | 4.8835
68 | 3.823 | 1.7746 | -3.8144 | -1.782 | 0.0086173 | -0.0073647 | 0.12305 | 0.12317 | 0.12317 | 0.9888 | -0.44368 | 0.98671 | -0.42572 | 55.9879
69 | -0.14376 | -0.069627 | 0.14376 | 0.069157 | 5.9967e-07 | -0.00046979 | 0.0046949 | 0.0046889 | 0.0046949 | 0.98216 | -0.40873 | 0.98216 | -0.40876 | 2.1341
70 | -0.14376 | -0.069157 | 0.14378 | 0.068571 | 2.0316e-05 | -0.00058559 | 0.0046889 | 0.0046813 | 0.0046889 | 0.98216 | -0.40876 | 0.98231 | -0.40779 | 2.2328
71 | -0.30143 | -0.14493 | 0.30145 | 0.14486 | 1.1344e-05 | -6.8821e-05 | 0.009829 | 0.009828 | 0.009829 | 0.98231 | -0.40779 | 0.98235 | -0.40754 | 4.6805
72 | 0.59817 | 0.26482 | -0.59785 | -0.27983 | 0.00032679 | -0.015014 | 0.019224 | 0.019408 | 0.019408 | 0.98235 | -0.40754 | 0.98184 | -0.40342 | 8.8217
73 | -0.89962 | -0.40968 | 0.8999 | 0.40399 | 0.00028153 | -0.0056904 | 0.029049 | 0.028979 | 0.029049 | 0.98235 | -0.40754 | 0.98264 | -0.40985 | 13.2039
74 | 0.087755 | 0.042149 | -0.087755 | -0.042502 | 1.603e-07 | -0.00035312 | 0.0028286 | 0.002833 | 0.002833 | 0.99355 | -0.0036701 | 0.99355 | -0.0036544 | 1.2877
75 | 0.083635 | 0.038265 | -0.083634 | -0.040506 | 9.5678e-07 | -0.0022406 | 0.0027017 | 0.0027298 | 0.0027298 | 0.98272 | -0.41151 | 0.98271 | -0.41142 | 1.2408
76 | -0.083635 | -0.038265 | 0.08364 | 0.037824 | 5.0066e-06 | -0.00044162 | 0.0027017 | 0.0026963 | 0.0027017 | 0.98272 | -0.41151 | 0.98278 | -0.41103 | 1.2865
77 | -1.311 | -0.59784 | 1.3111 | 0.59649 | 0.00014475 | -0.0013537 | 0.042323 | 0.042306 | 0.042323 | 0.98278 | -0.41103 | 0.98289 | -0.41186 | 19.2379
78 | 1.2274 | 0.56002 | -1.2273 | -0.56107 | 9.8459e-05 | -0.0010535 | 0.039627 | 0.03964 | 0.03964 | 0.98278 | -0.41103 | 0.98271 | -0.41042 | 18.0183
79 | 2.2244 | 1.034 | -2.2236 | -1.0362 | 0.00073337 | -0.0022288 | 0.071993 | 0.072023 | 0.072023 | 0.98357 | -0.41583 | 0.98327 | -0.41321 | 32.7378
80 | 0.35286 | 0.16785 | -0.35285 | -0.16964 | 1.3727e-05 | -0.0017982 | 0.011468 | 0.011491 | 0.011491 | 0.98357 | -0.41583 | 0.98354 | -0.4155 | 5.2232
81 | 0.3603 | 0.16998 | -0.36029 | -0.17184 | 1.4831e-05 | -0.0018688 | 0.011692 | 0.011716 | 0.011716 | 0.98357 | -0.41583 | 0.98354 | -0.41549 | 5.3255
82 | -2.9375 | -1.3718 | 2.9406 | 1.3735 | 0.0030987 | 0.0017188 | 0.095153 | 0.09515 | 0.095153 | 0.98357 | -0.41583 | 0.98467 | -0.40793 | 45.311
83 | 2.2236 | 1.0362 | -2.223 | -1.0381 | 0.00062708 | -0.001903 | 0.072023 | 0.072049 | 0.072049 | 0.98327 | -0.41321 | 0.98301 | -0.41095 | 32.7496
84 | 0.35285 | 0.16964 | -0.35284 | -0.17089 | 9.5282e-06 | -0.0012438 | 0.011491 | 0.011507 | 0.011507 | 0.98354 | -0.4155 | 0.98351 | -0.41527 | 5.2304
85 | 0.25574 | 0.12121 | -0.25574 | -0.1216 | 1.5432e-06 | -0.00038623 | 0.0083067 | 0.0083115 | 0.0083115 | 0.98354 | -0.41549 | 0.98353 | -0.41544 | 3.778
86 | -3.3029 | -1.549 | 3.303 | 1.5488 | 0.00014042 | -0.00017124 | 0.10695 | 0.10695 | 0.10695 | 0.98467 | -0.40793 | 0.98471 | -0.40827 | 48.613
87 | 2.0091 | 0.93453 | -2.0089 | -0.93441 | 0.00023992 | 0.00011359 | 0.065071 | 0.065071 | 0.065071 | 0.98301 | -0.41095 | 0.98289 | -0.41186 | 30.9863
88 | 0.89997 | 0.40256 | -0.8999 | -0.40399 | 7.0472e-05 | -0.0014293 | 0.028961 | 0.028979 | 0.028979 | 0.98271 | -0.41042 | 0.98264 | -0.40985 | 13.1721
89 | 0.25574 | 0.1216 | -0.25574 | -0.12262 | 4.1074e-06 | -0.0010258 | 0.0083115 | 0.0083245 | 0.0083245 | 0.98353 | -0.41544 | 0.98352 | -0.4153 | 3.7839
90 | -3.303 | -1.5488 | 3.3042 | 1.5473 | 0.0011992 | -0.0014636 | 0.10695 | 0.10692 | 0.10695 | 0.98471 | -0.40827 | 0.98505 | -0.4112 | 48.6118
91 | -0.25573 | -0.12386 | 0.25574 | 0.12262 | 4.9615e-06 | -0.0012348 | 0.0083403 | 0.0083245 | 0.0083403 | 0.9835 | -0.41513 | 0.98352 | -0.4153 | 3.791
92 | 0.36914 | 0.17212 | -0.36913 | -0.17301 | 7.3956e-06 | -0.00088576 | 0.011976 | 0.011987 | 0.011987 | 0.98174 | -0.40251 | 0.98172 | -0.40235 | 5.4488
93 | -0.59778 | -0.28286 | 0.59785 | 0.27983 | 6.6646e-05 | -0.0030246 | 0.019446 | 0.019408 | 0.019446 | 0.98174 | -0.40251 | 0.98184 | -0.40342 | 8.839
94 | -3.4635 | -1.624 | 3.4697 | 1.6172 | 0.0062646 | -0.0068155 | 0.1121 | 0.112 | 0.1121 | 0.98505 | -0.4112 | 0.98671 | -0.42572 | 50.9558
95 | 0.15926 | 0.07666 | -0.15926 | -0.076791 | 5.5321e-06 | -0.00013054 | 0.0051798 | 0.0051815 | 0.0051815 | 0.98505 | -0.4112 | 0.98501 | -0.41144 | 2.4674
96 | 0.34471 | 0.16484 | -0.34469 | -0.16694 | 1.5125e-05 | -0.0020979 | 0.011179 | 0.011205 | 0.011205 | 0.98671 | -0.42572 | 0.98667 | -0.42534 | 5.0933
97 | 0.085282 | 0.040963 | -0.085281 | -0.041304 | 1.5103e-07 | -0.00034032 | 0.0027727 | 0.002777 | 0.002777 | 0.98501 | -0.41144 | 0.98501 | -0.41142 | 1.2623
98 | 0.33121 | 0.16034 | -0.3312 | -0.16041 | 1.284e-05 | -6.4812e-05 | 0.010744 | 0.010745 | 0.010745 | 0.98873 | -0.44311 | 0.98869 | -0.44337 | 5.1165

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.6882 | 5.3997

## res_load
| p_mw | q_mvar
0 | 0.36205 | 0.17535
1 | 0.30694 | 0.14866
2 | 0.073003 | 0.035357
3 | 0.36725 | 0.17787
4 | 0.40477 | 0.19604
5 | 0.37653 | 0.18236
6 | 0.29947 | 0.14504
7 | 0.057786 | 0.027987
8 | 0.26766 | 0.12963
9 | 0.4123 | 0.19969
10 | 0.20427 | 0.09893
11 | 0.2928 | 0.14181
12 | 0.05631 | 0.027272
13 | 0.26048 | 0.12616
14 | 0.24577 | 0.11903
15 | 0.30668 | 0.14853
16 | 0.32721 | 0.15847
17 | 0.20642 | 0.099975
18 | 0.119 | 0.057634
19 | 0.09965 | 0.048263
20 | 0.20996 | 0.10169
21 | 0.14235 | 0.068943
22 | 0.16911 | 0.081904
23 | 0.3386 | 0.16399
24 | 0.15318 | 0.074188
25 | 0.12785 | 0.06192
26 | 0.15208 | 0.073656
27 | 0.092151 | 0.044631
28 | 0.30307 | 0.14678
29 | 0.26829 | 0.12994
30 | 0.21886 | 0.106
31 | 0.1502 | 0.072745
32 | 0.076442 | 0.037022
33 | 0.28593 | 0.13848
34 | 0.14376 | 0.069627
35 | 0.15765 | 0.076354
36 | 0.083634 | 0.040506
37 | 0.10455 | 0.050634
38 | 0.36223 | 0.17543
39 | 0.21389 | 0.10359
40 | 0.35284 | 0.17089
41 | 0.087755 | 0.042502
42 | 0.69772 | 0.33792
43 | 0.32729 | 0.15852
44 | 0.25573 | 0.12386
45 | 0.22864 | 0.11073
46 | 0.073974 | 0.035827
47 | 0.34469 | 0.16694
48 | 0.085281 | 0.041304
49 | 0.3312 | 0.16041

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1