## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_64_1_node_35 | 20 | n |  | TRUE
1 | bus_MV_64_1_node_37 | 20 | n |  | TRUE
2 | bus_MV_64_1_node_38 | 20 | n |  | TRUE
3 | bus_MV_64_1_node_40 | 20 | n |  | TRUE
4 | bus_MV_64_1_node_53 | 20 | n |  | TRUE
5 | bus_MV_64_1_node_195 | 20 | n |  | TRUE
6 | bus_MV_64_1_node_41 | 20 | n |  | TRUE
7 | bus_MV_64_1_node_58 | 20 | n |  | TRUE
8 | bus_MV_64_1_node_42 | 20 | n |  | TRUE
9 | bus_MV_64_1_node_191 | 20 | n |  | TRUE
10 | bus_MV_64_1_node_56 | 20 | n |  | TRUE
11 | bus_MV_64_1_node_54 | 20 | n |  | TRUE
12 | bus_MV_64_1_node_43 | 20 | n |  | TRUE
13 | bus_MV_64_1_node_48 | 20 | n |  | TRUE
14 | bus_MV_64_1_node_49 | 20 | n |  | TRUE
15 | bus_MV_64_1_node_50 | 20 | n |  | TRUE
16 | bus_MV_64_1_node_51 | 20 | n |  | TRUE
17 | bus_MV_64_1_node_52 | 20 | n |  | TRUE
18 | bus_MV_64_1_node_120 | 20 | n |  | TRUE
19 | bus_MV_64_1_node_156 | 20 | n |  | TRUE
20 | bus_MV_64_1_node_55 | 20 | n |  | TRUE
21 | bus_MV_64_1_node_57 | 20 | n |  | TRUE
22 | bus_MV_64_1_node_149 | 20 | n |  | TRUE
23 | bus_MV_64_1_node_194 | 20 | n |  | TRUE
24 | bus_MV_64_1_node_174 | 20 | n |  | TRUE
25 | bus_MV_64_1_node_95 | 20 | n |  | TRUE
26 | bus_MV_64_1_node_96 | 20 | n |  | TRUE
27 | bus_MV_64_1_node_97 | 20 | n |  | TRUE
28 | bus_MV_64_1_node_99 | 20 | n |  | TRUE
29 | bus_MV_64_1_node_101 | 20 | n |  | TRUE
30 | bus_MV_64_1_node_183 | 20 | n |  | TRUE
31 | bus_MV_64_1_node_98 | 20 | n |  | TRUE
32 | bus_MV_64_1_node_106 | 20 | n |  | TRUE
33 | bus_MV_64_1_node_105 | 20 | n |  | TRUE
34 | bus_MV_64_1_node_104 | 20 | n |  | TRUE
35 | bus_MV_64_1_node_100 | 20 | n |  | TRUE
36 | bus_MV_64_1_node_102 | 20 | n |  | TRUE
37 | bus_MV_64_1_node_103 | 20 | n |  | TRUE
38 | bus_MV_64_1_node_107 | 20 | n |  | TRUE
39 | bus_MV_64_1_node_109 | 20 | n |  | TRUE
40 | bus_MV_64_1_node_110 | 20 | n |  | TRUE
41 | bus_MV_64_1_node_108 | 20 | n |  | TRUE
42 | bus_MV_64_1_node_111 | 20 | n |  | TRUE
43 | bus_MV_64_1_node_112 | 20 | n |  | TRUE
44 | bus_MV_64_1_node_169 | 20 | n |  | TRUE
45 | bus_MV_64_1_node_133 | 20 | n |  | TRUE
46 | bus_MV_64_1_node_113 | 20 | n |  | TRUE
47 | bus_MV_64_1_node_114 | 20 | n |  | TRUE
48 | bus_MV_64_1_node_115 | 20 | n |  | TRUE
49 | bus_MV_64_1_node_179 | 20 | n |  | TRUE
50 | bus_MV_64_1_node_131 | 20 | n |  | TRUE
51 | bus_MV_64_1_node_116 | 20 | n |  | TRUE
52 | bus_MV_64_1_node_117 | 20 | n |  | TRUE
53 | bus_MV_64_1_node_118 | 20 | n |  | TRUE
54 | bus_MV_64_1_node_119 | 20 | n |  | TRUE
55 | bus_MV_64_1_node_126 | 20 | n |  | TRUE
56 | bus_MV_64_1_node_124 | 20 | n |  | TRUE
57 | bus_MV_64_1_node_121 | 20 | n |  | TRUE
58 | bus_MV_64_1_node_122 | 20 | n |  | TRUE
59 | bus_MV_64_1_node_123 | 20 | n |  | TRUE
60 | bus_MV_64_1_node_188 | 20 | n |  | TRUE
61 | bus_MV_64_1_node_125 | 20 | n |  | TRUE
62 | bus_MV_64_1_node_129 | 20 | n |  | TRUE
63 | bus_MV_64_1_node_127 | 20 | n |  | TRUE
64 | bus_MV_64_1_node_175 | 20 | n |  | TRUE
65 | bus_MV_64_1_node_128 | 20 | n |  | TRUE
66 | bus_MV_64_1_node_170 | 20 | n |  | TRUE
67 | bus_MV_64_1_node_130 | 20 | n |  | TRUE
68 | bus_MV_64_1_node_132 | 20 | n |  | TRUE
69 | bus_MV_64_1_node_177 | 20 | n |  | TRUE
70 | bus_MV_64_1_node_150 | 20 | n |  | TRUE
71 | bus_MV_64_1_node_151 | 20 | n |  | TRUE
72 | bus_MV_64_1_node_152 | 20 | n |  | TRUE
73 | bus_MV_64_1_node_153 | 20 | n |  | TRUE
74 | bus_MV_64_1_node_154 | 20 | n |  | TRUE
75 | bus_MV_64_1_node_155 | 20 | n |  | TRUE
76 | bus_MV_64_1_node_157 | 20 | n |  | TRUE
77 | bus_MV_64_1_node_173 | 20 | n |  | TRUE
78 | bus_MV_64_1_node_176 | 20 | n |  | TRUE
79 | bus_MV_64_1_node_184 | 20 | n |  | TRUE
80 | bus_MV_64_1_node_185 | 20 | n |  | TRUE
81 | bus_MV_64_1_node_186 | 20 | n |  | TRUE
82 | bus_HV_64_1_node_174 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_64_1_load_35 | 0 | 0.28803 | 0.1395 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_64_1_load_53 | 4 | 0.26462 | 0.12816 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_64_1_load_195 | 5 | 0.29682 | 0.14376 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_64_1_load_58 | 7 | 0.17952 | 0.086946 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_64_1_load_191 | 9 | 0.41039 | 0.19876 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_64_1_load_54 | 11 | 0.2336 | 0.11314 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_64_1_load_43 | 12 | 0.32946 | 0.15956 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_64_1_load_48 | 13 | 0.25709 | 0.12451 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_64_1_load_49 | 14 | 0.13813 | 0.0669 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_64_1_load_51 | 16 | 0.2448 | 0.11856 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_64_1_load_52 | 17 | 0.062116 | 0.030084 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_64_1_load_156 | 19 | 0.18077 | 0.087549 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_64_1_load_149 | 22 | 0.14681 | 0.071103 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_64_1_load_194 | 23 | 0.088454 | 0.04284 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_64_1_load_95 | 25 | 0.26783 | 0.12972 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_64_1_load_183 | 30 | 0.35923 | 0.17398 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_64_1_load_105 | 33 | 0.16154 | 0.078236 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_64_1_load_104 | 34 | 0.23741 | 0.11498 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_64_1_load_100 | 35 | 0.40591 | 0.19659 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_64_1_load_103 | 37 | 0.24239 | 0.1174 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_64_1_load_107 | 38 | 0.34319 | 0.16622 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_64_1_load_109 | 39 | 0.12038 | 0.058303 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_64_1_load_108 | 41 | 0.13946 | 0.067544 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_64_1_load_169 | 44 | 0.16814 | 0.081436 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_64_1_load_133 | 45 | 0.13478 | 0.065275 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_64_1_load_113 | 46 | 0.41463 | 0.20081 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_64_1_load_179 | 49 | 0.070251 | 0.034024 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_64_1_load_116 | 51 | 0.1831 | 0.088678 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_64_1_load_126 | 55 | 0.072717 | 0.035218 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_64_1_load_124 | 56 | 0.2266 | 0.10975 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_64_1_load_121 | 57 | 0.27592 | 0.13364 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_64_1_load_188 | 60 | 0.18064 | 0.08749 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_64_1_load_170 | 66 | 0.079705 | 0.038603 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_64_1_load_130 | 67 | 0.26264 | 0.1272 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_64_1_load_177 | 69 | 0.37717 | 0.18267 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_64_1_load_150 | 70 | 0.31599 | 0.15304 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_64_1_load_151 | 71 | 0.06873 | 0.033287 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_64_1_load_152 | 72 | 0.15616 | 0.075632 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_64_1_load_153 | 73 | 0.25966 | 0.12576 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_64_1_load_154 | 74 | 0.15416 | 0.074664 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_64_1_load_155 | 75 | 0.27371 | 0.13257 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_64_1_load_157 | 76 | 0.23366 | 0.11317 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_64_1_load_173 | 77 | 0.51692 | 0.25036 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_64_1_load_176 | 78 | 0.38828 | 0.18805 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_64_1_load_184 | 79 | 0.33288 | 0.16122 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_64_1_line_0 |  | 0 | 1 | 0.047577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_64_1_line_1 |  | 0 | 2 | 0.12432 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_64_1_line_2 |  | 1 | 3 | 0.48186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_64_1_line_3 |  | 1 | 4 | 0.12598 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_64_1_line_4 |  | 2 | 5 | 0.022096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_64_1_line_5 |  | 3 | 6 | 0.79883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_64_1_line_6 |  | 3 | 7 | 0.077004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_64_1_line_7 |  | 5 | 81 | 0.053084 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_64_1_line_8 |  | 6 | 8 | 0.93619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_64_1_line_9 |  | 6 | 9 | 0.067543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_64_1_line_10 |  | 7 | 12 | 0.16542 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_64_1_line_11 |  | 8 | 10 | 0.44886 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
12 | MV_64_1_line_12 |  | 8 | 11 | 0.087454 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
13 | MV_64_1_line_13 |  | 9 | 32 | 0.31678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_64_1_line_14 |  | 10 | 22 | 0.049291 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_64_1_line_15 |  | 10 | 16 | 0.060087 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_64_1_line_16 |  | 11 | 20 | 0.052924 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_64_1_line_17 |  | 13 | 14 | 0.074166 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_64_1_line_18 |  | 13 | 15 | 0.08206 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_64_1_line_19 |  | 14 | 16 | 0.021945 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_64_1_line_20 |  | 15 | 17 | 0.11618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_64_1_line_21 |  | 15 | 18 | 2.1159 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
22 | MV_64_1_line_22 |  | 17 | 19 | 0.010002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_64_1_line_23 |  | 18 | 57 | 0.003429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_64_1_line_24 |  | 18 | 53 | 0.25303 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_64_1_line_25 |  | 19 | 75 | 0.014136 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_64_1_line_26 |  | 20 | 21 | 0.16396 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_64_1_line_27 |  | 21 | 23 | 0.01532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_64_1_line_28 |  | 21 | 24 | 0.11561 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_64_1_line_29 |  | 22 | 70 | 0.023523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_64_1_line_30 |  | 24 | 77 | 0.00024582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_64_1_line_31 |  | 25 | 26 | 0.012148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_64_1_line_32 |  | 26 | 27 | 0.33266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_64_1_line_33 |  | 27 | 28 | 0.75695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_64_1_line_34 |  | 27 | 29 | 0.66491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_64_1_line_35 |  | 27 | 30 | 0.12351 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_64_1_line_36 |  | 28 | 34 | 0.013813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_64_1_line_37 |  | 28 | 31 | 0.8752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_64_1_line_38 |  | 29 | 36 | 0.56315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_64_1_line_39 |  | 29 | 35 | 0.074112 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_64_1_line_40 |  | 31 | 32 | 0.57856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_64_1_line_41 |  | 31 | 33 | 0.13435 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_64_1_line_42 |  | 36 | 37 | 0.036879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_64_1_line_43 |  | 38 | 39 | 0.016125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_64_1_line_44 |  | 38 | 40 | 0.067766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_64_1_line_45 |  | 38 | 41 | 0.043302 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_64_1_line_46 |  | 40 | 42 | 0.22967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_64_1_line_47 |  | 42 | 43 | 0.17483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_64_1_line_48 |  | 42 | 44 | 0.028544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_64_1_line_49 |  | 43 | 45 | 0.008634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_64_1_line_50 |  | 45 | 48 | 0.11071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_64_1_line_51 |  | 46 | 47 | 0.083118 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_64_1_line_52 |  | 47 | 48 | 1.1468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_64_1_line_53 |  | 47 | 49 | 1.0989 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
54 | MV_64_1_line_54 |  | 48 | 50 | 1.4151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_64_1_line_55 |  | 49 | 65 | 0.062877 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_64_1_line_56 |  | 50 | 68 | 0.15464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_64_1_line_57 |  | 50 | 67 | 0.11086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_64_1_line_58 |  | 51 | 52 | 0.018427 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_64_1_line_59 |  | 51 | 53 | 0.021438 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_64_1_line_60 |  | 52 | 54 | 0.52815 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
61 | MV_64_1_line_61 |  | 54 | 55 | 0.096752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_64_1_line_62 |  | 54 | 56 | 0.23339 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
63 | MV_64_1_line_63 |  | 55 | 63 | 0.1121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_64_1_line_64 |  | 56 | 61 | 0.19912 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
65 | MV_64_1_line_65 |  | 57 | 58 | 0.062872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_64_1_line_66 |  | 58 | 59 | 0.080255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_64_1_line_67 |  | 59 | 60 | 0.069013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_64_1_line_68 |  | 61 | 62 | 0.62424 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
69 | MV_64_1_line_69 |  | 62 | 66 | 0.017535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_64_1_line_70 |  | 62 | 65 | 0.41039 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
71 | MV_64_1_line_71 |  | 63 | 64 | 0.19858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_64_1_line_72 |  | 64 | 78 | 0.034044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_64_1_line_73 |  | 68 | 69 | 0.09572 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_64_1_line_74 |  | 71 | 72 | 0.011713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_64_1_line_75 |  | 71 | 73 | 0.02524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_64_1_line_76 |  | 72 | 74 | 0.016158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_64_1_line_77 |  | 73 | 75 | 0.03545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_64_1_line_78 |  | 74 | 76 | 0.092123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_64_1_line_79 |  | 79 | 80 | 0.037127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_64_1_line_80 |  | 80 | 81 | 0.29003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_64_1_trafo_174 | 25 MVA 110/20 kV | 82 | 24 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2711232.7647 | 1115172.9972
1 | 2711280.3614 | 1115172.7152
2 | 2711113.4044 | 1115138.2294
3 | 2711434.7815 | 1115279.4115
4 | 2711371.5888 | 1115085.8336
5 | 2711111.3596 | 1115116.233
6 | 2712051.5459 | 1115198.4403
7 | 2711398.1031 | 1115322.699
8 | 2712026.5062 | 1115006.7954
9 | 2712116.2644 | 1115180.2696
10 | 2712460.0655 | 1114922.7353
11 | 2712023.9444 | 1114919.3792
12 | 2711253.8154 | 1115403.5908
13 | 2712561.9058 | 1114804.5586
14 | 2712513.1441 | 1114860.2864
15 | 2712600.5199 | 1114733.7956
16 | 2712500.0788 | 1114877.9185
17 | 2712486.094 | 1114753.9193
18 | 2712768.8106 | 1112624.5809
19 | 2712476.243 | 1114755.6518
20 | 2711970.8899 | 1114921.0555
21 | 2711864.024 | 1114865.8681
22 | 2712437.2782 | 1114880.2311
23 | 2711861.7084 | 1114850.7265
24 | 2711968.5765 | 1114833.1103
25 | 2713353.8935 | 1114746.0014
26 | 2713356.3899 | 1114757.8893
27 | 2713655.6114 | 1114795.7177
28 | 2713377.2974 | 1115246.1047
29 | 2714006.904 | 1114958.7348
30 | 2713620.9996 | 1114677.1566
31 | 2712854.5561 | 1115185.1749
32 | 2712374.2558 | 1115177.4456
33 | 2712988.4032 | 1115196.7763
34 | 2713364.1418 | 1115241.8951
35 | 2713944.5066 | 1114918.7459
36 | 2713952.5794 | 1115150.6299
37 | 2713917.0917 | 1115160.3804
38 | 2709638.6013 | 1111741.4166
39 | 2709637.1216 | 1111725.3601
40 | 2709574.7044 | 1111763.2543
41 | 2709681.887 | 1111742.5963
42 | 2709589.9017 | 1111685.6448
43 | 2709518.2359 | 1111582.0824
44 | 2709615.7748 | 1111697.3073
45 | 2709524.9251 | 1111577.1222
46 | 2710115.0492 | 1111620.5925
47 | 2710197.2683 | 1111632.7829
48 | 2709595.4548 | 1111526.4187
49 | 2711247.5733 | 1111955.961
50 | 2708774.3057 | 1111188.0697
51 | 2712605.3121 | 1112563.5463
52 | 2712605.9169 | 1112545.1342
53 | 2712604.9679 | 1112584.9763
54 | 2712272.7791 | 1112303.1074
55 | 2712289.1499 | 1112207.7696
56 | 2712039.4116 | 1112306.1375
57 | 2712772.2323 | 1112624.2332
58 | 2712834.8886 | 1112617.1497
59 | 2712914.5606 | 1112607.5153
60 | 2712926.0818 | 1112539.4847
61 | 2711924.0921 | 1112144.2675
62 | 2711479.3117 | 1112218.1453
63 | 2712398.7649 | 1112232.528
64 | 2712563.0829 | 1112174.7376
65 | 2711308.3343 | 1111972.7982
66 | 2711475.4503 | 1112235.2497
67 | 2708865.1322 | 1111190.0562
68 | 2708868.4368 | 1111271.9802
69 | 2708792.9194 | 1111330.7968
70 | 2712431.7121 | 1114857.3772
71 | 2712402.5491 | 1114768.6121
72 | 2712391.0134 | 1114770.6409
73 | 2712427.4072 | 1114764.2404
74 | 2712375.0998 | 1114773.4395
75 | 2712462.3209 | 1114758.1002
76 | 2712284.08 | 1114787.5759
77 | 2711968.819 | 1114833.0703
78 | 2712546.5 | 1112145.6216
79 | 2710905.8253 | 1115186.1479
80 | 2710942.7293 | 1115191.1043
81 | 2711068.1485 | 1115085.3985
82 | 2711968.5765 | 1114833.1103

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99137 | 0.016338 | 0.28803 | 0.1395
1 | 0.99142 | 0.015834 | 0 | 0
2 | 0.99122 | 0.015286 | 0 | 0
3 | 0.99215 | 0.0093818 | 0 | 0
4 | 0.99136 | 0.015424 | 0.26462 | 0.12816
5 | 0.9912 | 0.015444 | 0.29682 | 0.14376
6 | 0.99388 | -0.0053415 | 0 | 0
7 | 0.9921 | 0.0098528 | 0.17952 | 0.086946
8 | 0.99837 | -0.038829 | 0 | 0
9 | 0.9937 | -0.0040644 | 0.41039 | 0.19876
10 | 0.99751 | -0.043588 | 0 | 0
11 | 0.99893 | -0.0060101 | 0.2336 | 0.11314
12 | 0.992 | 0.0091823 | 0.32946 | 0.15956
13 | 0.99724 | -0.045075 | 0.25709 | 0.12451
14 | 0.99737 | -0.044386 | 0.13813 | 0.0669
15 | 0.99712 | -0.045806 | 0 | 0
16 | 0.9974 | -0.044178 | 0.2448 | 0.11856
17 | 0.99691 | -0.043911 | 0.062116 | 0.030084
18 | 0.99245 | -0.33119 | 0 | 0
19 | 0.99689 | -0.043754 | 0.18077 | 0.087549
20 | 0.9991 | -0.0050614 | 0 | 0
21 | 0.99962 | -0.002108 | 0 | 0
22 | 0.99748 | -0.043318 | 0.14681 | 0.071103
23 | 0.99962 | -0.0020919 | 0.088454 | 0.04284
24 | 1 | 0 | -10.6301 | -4.7087
25 | 0.98876 | 0.032015 | 0.26783 | 0.12972
26 | 0.98877 | 0.031975 | 0 | 0
27 | 0.98888 | 0.030975 | 0 | 0
28 | 0.99011 | 0.021476 | 0 | 0
29 | 0.98833 | 0.035306 | 0 | 0
30 | 0.98879 | 0.030426 | 0.35923 | 0.17398
31 | 0.9918 | 0.0090964 | 0 | 0
32 | 0.99303 | 0.00044681 | 0 | 0
33 | 0.99175 | 0.0088289 | 0.16154 | 0.078236
34 | 0.99011 | 0.021516 | 0.23741 | 0.11498
35 | 0.98827 | 0.034933 | 0.40591 | 0.19659
36 | 0.98816 | 0.036705 | 0 | 0
37 | 0.98814 | 0.036813 | 0.24239 | 0.1174
38 | 0.98625 | -0.42635 | 0.34319 | 0.16622
39 | 0.98625 | -0.42633 | 0.12038 | 0.058303
40 | 0.9863 | -0.42685 | 0 | 0
41 | 0.98624 | -0.42643 | 0.13946 | 0.067544
42 | 0.98648 | -0.42848 | 0 | 0
43 | 0.98666 | -0.43002 | 0 | 0
44 | 0.98648 | -0.42842 | 0.16814 | 0.081436
45 | 0.98666 | -0.4301 | 0.13478 | 0.065275
46 | 0.98899 | -0.44835 | 0.41463 | 0.20081
47 | 0.98905 | -0.44792 | 0 | 0
48 | 0.98679 | -0.43123 | 0 | 0
49 | 0.99048 | -0.36349 | 0.070251 | 0.034024
50 | 0.98563 | -0.4222 | 0 | 0
51 | 0.99219 | -0.33303 | 0.1831 | 0.088678
52 | 0.99217 | -0.33315 | 0 | 0
53 | 0.99221 | -0.33289 | 0 | 0
54 | 0.9917 | -0.33637 | 0 | 0
55 | 0.99164 | -0.33589 | 0.072717 | 0.035218
56 | 0.99135 | -0.35795 | 0.2266 | 0.10975
57 | 0.99245 | -0.33117 | 0.27592 | 0.13364
58 | 0.99244 | -0.33105 | 0 | 0
59 | 0.99242 | -0.33089 | 0 | 0
60 | 0.9924 | -0.33074 | 0.18064 | 0.08749
61 | 0.99122 | -0.3589 | 0 | 0
62 | 0.99079 | -0.36168 | 0 | 0
63 | 0.99159 | -0.33541 | 0 | 0
64 | 0.99149 | -0.33451 | 0 | 0
65 | 0.99052 | -0.36326 | 0 | 0
66 | 0.99079 | -0.36166 | 0.079705 | 0.038603
67 | 0.9856 | -0.42185 | 0.26264 | 0.1272
68 | 0.98556 | -0.4215 | 0 | 0
69 | 0.98549 | -0.42195 | 0.37717 | 0.18267
70 | 0.99747 | -0.043229 | 0.31599 | 0.15304
71 | 0.99681 | -0.043018 | 0.06873 | 0.033287
72 | 0.99681 | -0.042943 | 0.15616 | 0.075632
73 | 0.99683 | -0.043199 | 0.25966 | 0.12576
74 | 0.9968 | -0.042871 | 0.15416 | 0.074664
75 | 0.99687 | -0.043563 | 0.27371 | 0.13257
76 | 0.99677 | -0.042618 | 0.23366 | 0.11317
77 | 1 | 1.5202e-06 | 0.51692 | 0.25036
78 | 0.99147 | -0.33435 | 0.38828 | 0.18805
79 | 0.99102 | 0.016436 | 0.33288 | 0.16122
80 | 0.99104 | 0.016286 | 0 | 0
81 | 0.99116 | 0.015191 | 0 | 0
82 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.91789 | -0.43616 | 0.91794 | 0.43506 | 5.5593e-05 | -0.0011 | 0.029592 | 0.029578 | 0.029592 | 0.99137 | 0.016338 | 0.99142 | 0.015834 | 13.4509
1 | 0.62986 | 0.29666 | -0.62977 | -0.29675 | 9.1048e-05 | -8.8812e-05 | 0.020273 | 0.020275 | 0.020275 | 0.99137 | 0.016338 | 0.99122 | 0.015286 | 9.6548
2 | -1.1826 | -0.56308 | 1.1835 | 0.55204 | 0.00093218 | -0.01104 | 0.038137 | 0.037997 | 0.038137 | 0.99142 | 0.015834 | 0.99215 | 0.0093818 | 17.3352
3 | 0.26463 | 0.12802 | -0.26462 | -0.12816 | 1.6449e-05 | -0.00013751 | 0.0085597 | 0.0085615 | 0.0085615 | 0.99142 | 0.015834 | 0.99136 | 0.015424 | 4.0769
4 | 0.62977 | 0.29675 | -0.62976 | -0.29726 | 1.213e-05 | -0.00051473 | 0.020275 | 0.020282 | 0.020282 | 0.99122 | 0.015286 | 0.9912 | 0.015444 | 9.2189
5 | -1.6925 | -0.79657 | 1.6957 | 0.7787 | 0.0031458 | -0.017874 | 0.054428 | 0.054197 | 0.054428 | 0.99215 | 0.0093818 | 0.99388 | -0.0053415 | 24.7398
6 | 0.50904 | 0.24453 | -0.50901 | -0.24634 | 2.7793e-05 | -0.0018015 | 0.016431 | 0.016454 | 0.016454 | 0.99215 | 0.0093818 | 0.9921 | 0.0098528 | 7.4792
7 | 0.33294 | 0.15351 | -0.33293 | -0.15356 | 1.0784e-05 | -5.5505e-05 | 0.010678 | 0.010678 | 0.010678 | 0.9912 | 0.015444 | 0.99116 | 0.015191 | 5.0849
8 | -3.7891 | -1.6918 | 3.8072 | 1.675 | 0.018117 | -0.016806 | 0.12053 | 0.12027 | 0.12053 | 0.99388 | -0.0053415 | 0.99837 | -0.038829 | 54.7855
9 | 2.0934 | 0.91313 | -2.093 | -0.9146 | 0.00039691 | -0.001475 | 0.066337 | 0.066355 | 0.066355 | 0.99388 | -0.0053415 | 0.9937 | -0.0040644 | 30.1614
10 | 0.32949 | 0.15939 | -0.32946 | -0.15956 | 3.3437e-05 | -0.0001734 | 0.01065 | 0.010653 | 0.010653 | 0.9921 | 0.0098528 | 0.992 | 0.0091823 | 5.0727
11 | 5.9567 | 2.6244 | -5.9517 | -2.6497 | 0.0049217 | -0.025315 | 0.18821 | 0.18854 | 0.18854 | 0.99837 | -0.038829 | 0.99751 | -0.043588 | 29.5516
12 | -9.7639 | -4.2994 | 9.7669 | 4.3073 | 0.0029709 | 0.0078685 | 0.30848 | 0.30848 | 0.30848 | 0.99837 | -0.038829 | 0.99893 | -0.0060101 | 47.826
13 | 1.6826 | 0.71584 | -1.6814 | -0.72295 | 0.0011953 | -0.0071089 | 0.053121 | 0.053206 | 0.053206 | 0.9937 | -0.0040644 | 0.99303 | 0.00044681 | 24.1847
14 | 0.46282 | 0.22242 | -0.46281 | -0.22359 | 1.4546e-05 | -0.0011667 | 0.01486 | 0.014875 | 0.014875 | 0.99751 | -0.043588 | 0.99748 | -0.043318 | 6.7614
15 | 5.4889 | 2.4273 | -5.4884 | -2.4308 | 0.00056025 | -0.0034407 | 0.17369 | 0.17373 | 0.17373 | 0.99751 | -0.043588 | 0.9974 | -0.044178 | 27.2304
16 | -10.0005 | -4.4205 | 10.0021 | 4.4181 | 0.0016325 | -0.0023995 | 0.31597 | 0.31593 | 0.31597 | 0.99893 | -0.0060101 | 0.9991 | -0.0050614 | 49.5255
17 | -5.1046 | -2.2509 | 5.1052 | 2.2466 | 0.00059748 | -0.0042985 | 0.16149 | 0.16144 | 0.16149 | 0.99724 | -0.045075 | 0.99737 | -0.044386 | 25.3124
18 | 4.8475 | 2.1263 | -4.847 | -2.1311 | 0.00059559 | -0.0047916 | 0.15323 | 0.15329 | 0.15329 | 0.99724 | -0.045075 | 0.99712 | -0.045806 | 24.0265
19 | -5.2434 | -2.3135 | 5.2436 | 2.3122 | 0.00018657 | -0.0012666 | 0.16588 | 0.16586 | 0.16588 | 0.99737 | -0.044386 | 0.9974 | -0.044178 | 25.9997
20 | 1.3894 | 0.66522 | -1.3891 | -0.66788 | 0.00030872 | -0.0026658 | 0.044597 | 0.044632 | 0.044632 | 0.99712 | -0.045806 | 0.99691 | -0.043911 | 20.2871
21 | 3.4576 | 1.4659 | -3.4486 | -1.4448 | 0.0089322 | 0.021125 | 0.10872 | 0.10876 | 0.10876 | 0.99712 | -0.045806 | 0.99245 | -0.33119 | 16.8616
22 | 1.327 | 0.6378 | -1.3269 | -0.63803 | 2.4272e-05 | -0.00023014 | 0.042633 | 0.042636 | 0.042636 | 0.99691 | -0.043911 | 0.99689 | -0.043754 | 19.38
23 | 0.45658 | 0.21606 | -0.45658 | -0.21614 | 9.8823e-07 | -8.0347e-05 | 0.014692 | 0.014693 | 0.014693 | 0.99245 | -0.33119 | 0.99245 | -0.33117 | 6.6788
24 | 2.992 | 1.2287 | -2.9914 | -1.244 | 0.00069334 | -0.015265 | 0.094083 | 0.094257 | 0.094257 | 0.99245 | -0.33119 | 0.99221 | -0.33289 | 14.7738
25 | 1.1462 | 0.55048 | -1.1462 | -0.55081 | 2.5587e-05 | -0.00032782 | 0.03682 | 0.036824 | 0.036824 | 0.99689 | -0.043754 | 0.99687 | -0.043563 | 16.7382
26 | -10.0021 | -4.4181 | 10.0071 | 4.4106 | 0.0050551 | -0.0074424 | 0.31593 | 0.31581 | 0.31593 | 0.9991 | -0.0050614 | 0.99962 | -0.002108 | 49.5194
27 | 0.088454 | 0.042475 | -0.088454 | -0.04284 | 1.6448e-07 | -0.00036546 | 0.0028337 | 0.0028382 | 0.0028382 | 0.99962 | -0.002108 | 0.99962 | -0.0020919 | 1.2901
28 | -10.0956 | -4.4531 | 10.0992 | 4.4479 | 0.0036261 | -0.0052192 | 0.31865 | 0.31856 | 0.31865 | 0.99962 | -0.002108 | 1 | 0 | 49.9445
29 | 0.316 | 0.15248 | -0.31599 | -0.15304 | 3.2401e-06 | -0.00055784 | 0.010154 | 0.010161 | 0.010161 | 0.99748 | -0.043318 | 0.99747 | -0.043229 | 4.6187
30 | 0.51692 | 0.25035 | -0.51692 | -0.25036 | 9.0213e-08 | -5.8424e-06 | 0.01658 | 0.01658 | 0.01658 | 1 | 0 | 1 | 1.5202e-06 | 7.5365
31 | -0.26783 | -0.12972 | 0.26783 | 0.12943 | 1.2237e-06 | -0.0002832 | 0.0086883 | 0.0086847 | 0.0086883 | 0.98876 | 0.032015 | 0.98877 | 0.031975 | 3.9492
32 | -0.26783 | -0.12943 | 0.26787 | 0.12168 | 3.3122e-05 | -0.0077563 | 0.0086847 | 0.0085885 | 0.0086847 | 0.98877 | 0.031975 | 0.98888 | 0.030975 | 3.9476
33 | -1.2759 | -0.58007 | 1.2776 | 0.56288 | 0.0016829 | -0.017196 | 0.040914 | 0.040704 | 0.040914 | 0.98888 | 0.030975 | 0.99011 | 0.021476 | 18.5975
34 | 0.64876 | 0.28454 | -0.64838 | -0.29994 | 0.000383 | -0.015402 | 0.02068 | 0.020866 | 0.020866 | 0.98888 | 0.030975 | 0.98833 | 0.035306 | 9.4846
35 | 0.35926 | 0.17386 | -0.35923 | -0.17398 | 2.9877e-05 | -0.00012546 | 0.011651 | 0.011653 | 0.011653 | 0.98888 | 0.030975 | 0.98879 | 0.030426 | 5.549
36 | 0.23741 | 0.11466 | -0.23741 | -0.11498 | 1.0902e-06 | -0.00032298 | 0.0076869 | 0.007691 | 0.007691 | 0.99011 | 0.021476 | 0.99011 | 0.021516 | 3.4959
37 | -1.515 | -0.67754 | 1.5177 | 0.65782 | 0.0027218 | -0.019713 | 0.048386 | 0.048146 | 0.048386 | 0.99011 | 0.021476 | 0.9918 | 0.0090964 | 21.9938
38 | 0.24244 | 0.10342 | -0.2424 | -0.11654 | 4.5459e-05 | -0.013118 | 0.0076987 | 0.0078572 | 0.0078572 | 0.98833 | 0.035306 | 0.98816 | 0.036705 | 3.5714
39 | 0.40593 | 0.19652 | -0.40591 | -0.19659 | 2.2915e-05 | -7.2064e-05 | 0.013173 | 0.013174 | 0.013174 | 0.98833 | 0.035306 | 0.98827 | 0.034933 | 6.2734
40 | -1.6792 | -0.7359 | 1.6814 | 0.72295 | 0.002193 | -0.012954 | 0.053364 | 0.053206 | 0.053364 | 0.9918 | 0.0090964 | 0.99303 | 0.00044681 | 24.2563
41 | 0.16154 | 0.078082 | -0.16154 | -0.078236 | 6.5309e-06 | -0.00015367 | 0.0052224 | 0.0052244 | 0.0052244 | 0.9918 | 0.0090964 | 0.99175 | 0.0088289 | 2.4878
42 | 0.2424 | 0.11654 | -0.24239 | -0.1174 | 3.0436e-06 | -0.00085888 | 0.0078572 | 0.0078681 | 0.0078681 | 0.98816 | 0.036705 | 0.98814 | 0.036813 | 3.5764
43 | 0.12038 | 0.057928 | -0.12038 | -0.058303 | 3.2954e-07 | -0.00037438 | 0.0039103 | 0.003915 | 0.003915 | 0.98625 | -0.42635 | 0.98625 | -0.42633 | 1.7796
44 | -0.60304 | -0.29164 | 0.60307 | 0.29008 | 3.4742e-05 | -0.0015636 | 0.019607 | 0.019587 | 0.019607 | 0.98625 | -0.42635 | 0.9863 | -0.42685 | 8.9121
45 | 0.13946 | 0.067495 | -0.13946 | -0.067544 | 1.5869e-06 | -4.9288e-05 | 0.004535 | 0.0045356 | 0.0045356 | 0.98625 | -0.42635 | 0.98624 | -0.42643 | 2.1598
46 | -0.60307 | -0.29008 | 0.60319 | 0.28478 | 0.00011722 | -0.0053005 | 0.019587 | 0.019519 | 0.019587 | 0.9863 | -0.42685 | 0.98648 | -0.42848 | 8.903
47 | -0.77133 | -0.36555 | 0.77148 | 0.36153 | 0.00014532 | -0.0040198 | 0.024978 | 0.024927 | 0.024978 | 0.98648 | -0.42848 | 0.98666 | -0.43002 | 11.3537
48 | 0.16815 | 0.080773 | -0.16814 | -0.081436 | 1.1372e-06 | -0.00066288 | 0.0054587 | 0.0054672 | 0.0054672 | 0.98648 | -0.42848 | 0.98648 | -0.42842 | 2.4851
49 | -0.77148 | -0.36153 | 0.77149 | 0.36133 | 7.1615e-06 | -0.00019856 | 0.024927 | 0.024925 | 0.024927 | 0.98666 | -0.43002 | 0.98666 | -0.4301 | 11.3306
50 | -0.90626 | -0.4266 | 0.90639 | 0.42407 | 0.0001268 | -0.0025361 | 0.029306 | 0.029274 | 0.029306 | 0.98666 | -0.4301 | 0.98679 | -0.43123 | 13.3209
51 | -0.41463 | -0.20081 | 0.41466 | 0.20073 | 2.6777e-05 | -8.0287e-05 | 0.013447 | 0.013446 | 0.013447 | 0.98899 | -0.44835 | 0.98905 | -0.44792 | 6.4035
52 | 1.5508 | 0.66947 | -1.5471 | -0.69508 | 0.0037447 | -0.025612 | 0.049301 | 0.049616 | 0.049616 | 0.98905 | -0.44792 | 0.98679 | -0.43123 | 22.5526
53 | -1.9655 | -0.8702 | 1.967 | 0.87286 | 0.0015437 | 0.002663 | 0.062737 | 0.062719 | 0.062737 | 0.98905 | -0.44792 | 0.99048 | -0.36349 | 9.7267
54 | 0.64068 | 0.27101 | -0.63988 | -0.30363 | 0.00079718 | -0.032625 | 0.02035 | 0.020744 | 0.020744 | 0.98679 | -0.43123 | 0.98563 | -0.4222 | 9.429
55 | -2.0373 | -0.90689 | 2.0373 | 0.90306 | 8.2012e-05 | -0.0038298 | 0.064993 | 0.064947 | 0.064993 | 0.99048 | -0.36349 | 0.99052 | -0.36326 | 10.187
56 | 0.37723 | 0.179 | -0.3772 | -0.18258 | 3.0988e-05 | -0.0035773 | 0.012229 | 0.012275 | 0.012275 | 0.98563 | -0.4222 | 0.98556 | -0.4215 | 5.5794
57 | 0.26265 | 0.12463 | -0.26264 | -0.1272 | 1.077e-05 | -0.002568 | 0.0085146 | 0.0085472 | 0.0085472 | 0.98563 | -0.4222 | 0.9856 | -0.42185 | 3.8851
58 | 2.8082 | 1.1566 | -2.8082 | -1.1577 | 4.4464e-05 | -0.0011147 | 0.088362 | 0.088375 | 0.088375 | 0.99219 | -0.33303 | 0.99217 | -0.33315 | 13.8519
59 | -2.9913 | -1.2453 | 2.9914 | 1.244 | 5.8862e-05 | -0.0012929 | 0.094271 | 0.094257 | 0.094271 | 0.99219 | -0.33303 | 0.99221 | -0.33289 | 14.7761
60 | 2.8082 | 1.1577 | -2.8069 | -1.1897 | 0.0012799 | -0.031931 | 0.088375 | 0.088742 | 0.088742 | 0.99217 | -0.33315 | 0.9917 | -0.33637 | 13.9093
61 | 0.4611 | 0.21294 | -0.46107 | -0.2152 | 2.8285e-05 | -0.0022633 | 0.014784 | 0.014812 | 0.014812 | 0.9917 | -0.33637 | 0.99164 | -0.33589 | 6.7328
62 | 2.3458 | 0.97673 | -2.3453 | -0.97582 | 0.00045586 | 0.00090868 | 0.073966 | 0.07397 | 0.07397 | 0.9917 | -0.33637 | 0.99135 | -0.35795 | 11.4682
63 | 0.38835 | 0.17998 | -0.38833 | -0.18261 | 2.3296e-05 | -0.002625 | 0.01246 | 0.012493 | 0.012493 | 0.99164 | -0.33589 | 0.99159 | -0.33541 | 5.6785
64 | 2.1187 | 0.86607 | -2.1184 | -0.87821 | 0.00027389 | -0.01214 | 0.066651 | 0.066788 | 0.066788 | 0.99135 | -0.35795 | 0.99122 | -0.3589 | 10.4683
65 | 0.18065 | 0.082504 | -0.18065 | -0.083982 | 2.8096e-06 | -0.0014777 | 0.0057767 | 0.0057947 | 0.0057947 | 0.99245 | -0.33117 | 0.99244 | -0.33105 | 2.634
66 | 0.18065 | 0.083982 | -0.18065 | -0.085868 | 3.6121e-06 | -0.0018862 | 0.0057947 | 0.0058181 | 0.0058181 | 0.99244 | -0.33105 | 0.99242 | -0.33089 | 2.6446
67 | 0.18065 | 0.085868 | -0.18064 | -0.08749 | 3.1296e-06 | -0.0016219 | 0.0058181 | 0.0058385 | 0.0058385 | 0.99242 | -0.33089 | 0.9924 | -0.33074 | 2.6539
68 | 2.1184 | 0.87821 | -2.1176 | -0.91624 | 0.000866 | -0.038032 | 0.066788 | 0.067225 | 0.067225 | 0.99122 | -0.3589 | 0.99079 | -0.36168 | 10.5369
69 | 0.079706 | 0.038192 | -0.079705 | -0.038603 | 1.5555e-07 | -0.00041094 | 0.0025751 | 0.0025803 | 0.0025803 | 0.99079 | -0.36168 | 0.99079 | -0.36166 | 1.1729
70 | 2.0379 | 0.87805 | -2.0373 | -0.90306 | 0.00053246 | -0.025006 | 0.064652 | 0.064947 | 0.064947 | 0.99079 | -0.36168 | 0.99052 | -0.36326 | 10.1798
71 | 0.38833 | 0.18261 | -0.38829 | -0.18726 | 4.1566e-05 | -0.004649 | 0.012493 | 0.012551 | 0.012551 | 0.99159 | -0.33541 | 0.99149 | -0.33451 | 5.7051
72 | 0.38829 | 0.18726 | -0.38828 | -0.18805 | 7.1654e-06 | -0.00079692 | 0.012551 | 0.012561 | 0.012561 | 0.99149 | -0.33451 | 0.99147 | -0.33435 | 5.7097
73 | 0.3772 | 0.18258 | -0.37717 | -0.18267 | 2.5698e-05 | -9.489e-05 | 0.012275 | 0.012276 | 0.012276 | 0.98556 | -0.4215 | 0.98549 | -0.42195 | 5.8457
74 | 0.544 | 0.26062 | -0.54399 | -0.2609 | 4.7725e-06 | -0.00027646 | 0.017469 | 0.017472 | 0.017472 | 0.99681 | -0.043018 | 0.99681 | -0.042943 | 7.9419
75 | -0.61273 | -0.29391 | 0.61274 | 0.29331 | 1.3045e-05 | -0.00059493 | 0.01968 | 0.019673 | 0.01968 | 0.99681 | -0.043018 | 0.99683 | -0.043199 | 8.9455
76 | 0.38783 | 0.18526 | -0.38783 | -0.18565 | 3.3434e-06 | -0.00038233 | 0.012447 | 0.012452 | 0.012452 | 0.99681 | -0.042943 | 0.9968 | -0.042871 | 5.66
77 | -0.8724 | -0.41907 | 0.87244 | 0.41824 | 3.7163e-05 | -0.00083006 | 0.028028 | 0.028017 | 0.028028 | 0.99683 | -0.043199 | 0.99687 | -0.043563 | 12.7399
78 | 0.23367 | 0.11098 | -0.23366 | -0.11317 | 6.9275e-06 | -0.0021834 | 0.0074916 | 0.0075189 | 0.0075189 | 0.9968 | -0.042871 | 0.99677 | -0.042618 | 3.4177
79 | -0.33288 | -0.16122 | 0.33288 | 0.16035 | 5.7473e-06 | -0.00086892 | 0.010774 | 0.010763 | 0.010774 | 0.99102 | 0.016436 | 0.99104 | 0.016286 | 4.8972
80 | -0.33288 | -0.16035 | 0.33293 | 0.15356 | 4.4497e-05 | -0.0067889 | 0.010763 | 0.010678 | 0.010763 | 0.99104 | 0.016286 | 0.99116 | 0.015191 | 4.8922

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.6301 | 4.7087

## res_load
| p_mw | q_mvar
0 | 0.28803 | 0.1395
1 | 0.26462 | 0.12816
2 | 0.29682 | 0.14376
3 | 0.17952 | 0.086946
4 | 0.41039 | 0.19876
5 | 0.2336 | 0.11314
6 | 0.32946 | 0.15956
7 | 0.25709 | 0.12451
8 | 0.13813 | 0.0669
9 | 0.2448 | 0.11856
10 | 0.062116 | 0.030084
11 | 0.18077 | 0.087549
12 | 0.14681 | 0.071103
13 | 0.088454 | 0.04284
14 | 0.26783 | 0.12972
15 | 0.35923 | 0.17398
16 | 0.16154 | 0.078236
17 | 0.23741 | 0.11498
18 | 0.40591 | 0.19659
19 | 0.24239 | 0.1174
20 | 0.34319 | 0.16622
21 | 0.12038 | 0.058303
22 | 0.13946 | 0.067544
23 | 0.16814 | 0.081436
24 | 0.13478 | 0.065275
25 | 0.41463 | 0.20081
26 | 0.070251 | 0.034024
27 | 0.1831 | 0.088678
28 | 0.072717 | 0.035218
29 | 0.2266 | 0.10975
30 | 0.27592 | 0.13364
31 | 0.18064 | 0.08749
32 | 0.079705 | 0.038603
33 | 0.26264 | 0.1272
34 | 0.37717 | 0.18267
35 | 0.31599 | 0.15304
36 | 0.06873 | 0.033287
37 | 0.15616 | 0.075632
38 | 0.25966 | 0.12576
39 | 0.15416 | 0.074664
40 | 0.27371 | 0.13257
41 | 0.23366 | 0.11317
42 | 0.51692 | 0.25036
43 | 0.38828 | 0.18805
44 | 0.33288 | 0.16122

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1