## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_651_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_651_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_651_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_651_0_node_103 | 20 | n |  | TRUE
4 | bus_MV_651_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_651_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_651_0_node_43 | 20 | n |  | TRUE
7 | bus_MV_651_0_node_45 | 20 | n |  | TRUE
8 | bus_MV_651_0_node_102 | 20 | n |  | TRUE
9 | bus_MV_651_0_node_8 | 20 | n |  | TRUE
10 | bus_MV_651_0_node_79 | 20 | n |  | TRUE
11 | bus_MV_651_0_node_42 | 20 | n |  | TRUE
12 | bus_MV_651_0_node_66 | 20 | n |  | TRUE
13 | bus_MV_651_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_651_0_node_5 | 20 | n |  | TRUE
15 | bus_MV_651_0_node_6 | 20 | n |  | TRUE
16 | bus_MV_651_0_node_7 | 20 | n |  | TRUE
17 | bus_MV_651_0_node_27 | 20 | n |  | TRUE
18 | bus_MV_651_0_node_86 | 20 | n |  | TRUE
19 | bus_MV_651_0_node_21 | 20 | n |  | TRUE
20 | bus_MV_651_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_651_0_node_12 | 20 | n |  | TRUE
22 | bus_MV_651_0_node_26 | 20 | n |  | TRUE
23 | bus_MV_651_0_node_33 | 20 | n |  | TRUE
24 | bus_MV_651_0_node_17 | 20 | n |  | TRUE
25 | bus_MV_651_0_node_16 | 20 | n |  | TRUE
26 | bus_MV_651_0_node_18 | 20 | n |  | TRUE
27 | bus_MV_651_0_node_19 | 20 | n |  | TRUE
28 | bus_MV_651_0_node_85 | 20 | n |  | TRUE
29 | bus_MV_651_0_node_34 | 20 | n |  | TRUE
30 | bus_MV_651_0_node_35 | 20 | n |  | TRUE
31 | bus_MV_651_0_node_14 | 20 | n |  | TRUE
32 | bus_MV_651_0_node_15 | 20 | n |  | TRUE
33 | bus_MV_651_0_node_101 | 20 | n |  | TRUE
34 | bus_MV_651_0_node_60 | 20 | n |  | TRUE
35 | bus_MV_651_0_node_20 | 20 | n |  | TRUE
36 | bus_MV_651_0_node_36 | 20 | n |  | TRUE
37 | bus_MV_651_0_node_53 | 20 | n |  | TRUE
38 | bus_MV_651_0_node_63 | 20 | n |  | TRUE
39 | bus_MV_651_0_node_31 | 20 | n |  | TRUE
40 | bus_MV_651_0_node_52 | 20 | n |  | TRUE
41 | bus_MV_651_0_node_78 | 20 | n |  | TRUE
42 | bus_MV_651_0_node_61 | 20 | n |  | TRUE
43 | bus_MV_651_0_node_77 | 20 | n |  | TRUE
44 | bus_MV_651_0_node_62 | 20 | n |  | TRUE
45 | bus_MV_651_0_node_65 | 20 | n |  | TRUE
46 | bus_MV_651_0_node_64 | 20 | n |  | TRUE
47 | bus_MV_651_0_node_22 | 20 | n |  | TRUE
48 | bus_MV_651_0_node_23 | 20 | n |  | TRUE
49 | bus_MV_651_0_node_24 | 20 | n |  | TRUE
50 | bus_MV_651_0_node_25 | 20 | n |  | TRUE
51 | bus_MV_651_0_node_90 | 20 | n |  | TRUE
52 | bus_MV_651_0_node_28 | 20 | n |  | TRUE
53 | bus_MV_651_0_node_29 | 20 | n |  | TRUE
54 | bus_MV_651_0_node_30 | 20 | n |  | TRUE
55 | bus_MV_651_0_node_32 | 20 | n |  | TRUE
56 | bus_MV_651_0_node_93 | 20 | n |  | TRUE
57 | bus_MV_651_0_node_92 | 20 | n |  | TRUE
58 | bus_MV_651_0_node_37 | 20 | n |  | TRUE
59 | bus_MV_651_0_node_38 | 20 | n |  | TRUE
60 | bus_MV_651_0_node_39 | 20 | n |  | TRUE
61 | bus_MV_651_0_node_40 | 20 | n |  | TRUE
62 | bus_MV_651_0_node_41 | 20 | n |  | TRUE
63 | bus_MV_651_0_node_55 | 20 | n |  | TRUE
64 | bus_MV_651_0_node_91 | 20 | n |  | TRUE
65 | bus_MV_651_0_node_47 | 20 | n |  | TRUE
66 | bus_MV_651_0_node_59 | 20 | n |  | TRUE
67 | bus_MV_651_0_node_99 | 20 | n |  | TRUE
68 | bus_MV_651_0_node_57 | 20 | n |  | TRUE
69 | bus_MV_651_0_node_56 | 20 | n |  | TRUE
70 | bus_MV_651_0_node_58 | 20 | n |  | TRUE
71 | bus_MV_651_0_node_84 | 20 | n |  | TRUE
72 | bus_MV_651_0_node_83 | 20 | n |  | TRUE
73 | bus_MV_651_0_node_48 | 20 | n |  | TRUE
74 | bus_MV_651_0_node_49 | 20 | n |  | TRUE
75 | bus_MV_651_0_node_107 | 20 | n |  | TRUE
76 | bus_MV_651_0_node_44 | 20 | n |  | TRUE
77 | bus_MV_651_0_node_46 | 20 | n |  | TRUE
78 | bus_MV_651_0_node_71 | 20 | n |  | TRUE
79 | bus_MV_651_0_node_109 | 20 | n |  | TRUE
80 | bus_MV_651_0_node_68 | 20 | n |  | TRUE
81 | bus_MV_651_0_node_70 | 20 | n |  | TRUE
82 | bus_MV_651_0_node_67 | 20 | n |  | TRUE
83 | bus_MV_651_0_node_81 | 20 | n |  | TRUE
84 | bus_MV_651_0_node_50 | 20 | n |  | TRUE
85 | bus_MV_651_0_node_51 | 20 | n |  | TRUE
86 | bus_MV_651_0_node_54 | 20 | n |  | TRUE
87 | bus_MV_651_0_node_100 | 20 | n |  | TRUE
88 | bus_MV_651_0_node_98 | 20 | n |  | TRUE
89 | bus_MV_651_0_node_108 | 20 | n |  | TRUE
90 | bus_MV_651_0_node_69 | 20 | n |  | TRUE
91 | bus_MV_651_0_node_73 | 20 | n |  | TRUE
92 | bus_MV_651_0_node_105 | 20 | n |  | TRUE
93 | bus_MV_651_0_node_72 | 20 | n |  | TRUE
94 | bus_MV_651_0_node_82 | 20 | n |  | TRUE
95 | bus_MV_651_0_node_106 | 20 | n |  | TRUE
96 | bus_MV_651_0_node_75 | 20 | n |  | TRUE
97 | bus_MV_651_0_node_76 | 20 | n |  | TRUE
98 | bus_MV_651_0_node_87 | 20 | n |  | TRUE
99 | bus_MV_651_0_node_80 | 20 | n |  | TRUE
100 | bus_MV_651_0_node_88 | 20 | n |  | TRUE
101 | bus_MV_651_0_node_89 | 20 | n |  | TRUE
102 | bus_MV_651_0_node_74 | 20 | n |  | TRUE
103 | bus_MV_651_0_node_94 | 20 | n |  | TRUE
104 | bus_MV_651_0_node_95 | 20 | n |  | TRUE
105 | bus_MV_651_0_node_96 | 20 | n |  | TRUE
106 | bus_MV_651_0_node_97 | 20 | n |  | TRUE
107 | bus_MV_651_0_node_104 | 20 | n |  | TRUE
108 | bus_HV_651_0_node_64 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_651_0_load_0 | 0 | 0.336 | 0.16273 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_651_0_load_103 | 3 | 0.36065 | 0.17467 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_651_0_load_102 | 8 | 0.3801 | 0.18409 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_651_0_load_8 | 9 | 0.3623 | 0.17547 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_651_0_load_79 | 10 | 0.26083 | 0.12633 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_651_0_load_42 | 11 | 0.37661 | 0.1824 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_651_0_load_66 | 12 | 0.41494 | 0.20096 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_651_0_load_5 | 14 | 0.20921 | 0.10133 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_651_0_load_27 | 17 | 0.3198 | 0.15489 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_651_0_load_86 | 18 | 0.074104 | 0.03589 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_651_0_load_26 | 22 | 0.37775 | 0.18295 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_651_0_load_33 | 23 | 0.34813 | 0.16861 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_651_0_load_19 | 27 | 0.31284 | 0.15152 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_651_0_load_85 | 28 | 0.92799 | 0.44945 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_651_0_load_34 | 29 | 0.3677 | 0.17809 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_651_0_load_14 | 31 | 0.34311 | 0.16617 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_651_0_load_101 | 33 | 0.37446 | 0.18136 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_651_0_load_52 | 40 | 0.36335 | 0.17598 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_651_0_load_77 | 43 | 0.34451 | 0.16686 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_651_0_load_65 | 45 | 0.26715 | 0.12938 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_651_0_load_64 | 46 | 0.40425 | 0.19579 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_651_0_load_23 | 48 | 0.30163 | 0.14609 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_651_0_load_90 | 51 | 0.069634 | 0.033725 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_651_0_load_28 | 52 | 0.2095 | 0.10147 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_651_0_load_32 | 55 | 0.086768 | 0.042024 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_651_0_load_93 | 56 | 0.1245 | 0.060296 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_651_0_load_92 | 57 | 0.13096 | 0.063426 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_651_0_load_37 | 58 | 0.18742 | 0.090772 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_651_0_load_91 | 64 | 0.11205 | 0.054266 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_651_0_load_47 | 65 | 0.33948 | 0.16442 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_651_0_load_99 | 67 | 0.23713 | 0.11485 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_651_0_load_84 | 71 | 0.070311 | 0.034053 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_651_0_load_83 | 72 | 0.12597 | 0.061009 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_651_0_load_107 | 75 | 0.23176 | 0.11225 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_651_0_load_109 | 79 | 0.32063 | 0.15529 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_651_0_load_67 | 82 | 0.16556 | 0.080183 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_651_0_load_81 | 83 | 0.071057 | 0.034414 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_651_0_load_50 | 84 | 0.27779 | 0.13454 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_651_0_load_51 | 85 | 0.069058 | 0.033446 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_651_0_load_54 | 86 | 0.40104 | 0.19423 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_651_0_load_100 | 87 | 0.17061 | 0.08263 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_651_0_load_108 | 89 | 0.23589 | 0.11425 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_651_0_load_105 | 92 | 0.20351 | 0.098566 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_651_0_load_106 | 95 | 0.37776 | 0.18296 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_651_0_load_87 | 98 | 0.37036 | 0.17937 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_651_0_load_80 | 99 | 0.34896 | 0.16901 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_651_0_load_88 | 100 | 0.12708 | 0.061547 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_651_0_load_89 | 101 | 0.10002 | 0.048442 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_651_0_load_74 | 102 | 0.13307 | 0.064451 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_651_0_load_94 | 103 | 0.12889 | 0.062422 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_651_0_load_95 | 104 | 0.11977 | 0.058005 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_651_0_load_104 | 107 | 0.28033 | 0.13577 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_651_0_line_0 |  | 0 | 1 | 0.048186 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_651_0_line_1 |  | 1 | 2 | 0.24389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_651_0_line_2 |  | 2 | 3 | 0.005828 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_651_0_line_3 |  | 2 | 4 | 0.42802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_651_0_line_4 |  | 2 | 5 | 0.21555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_651_0_line_5 |  | 2 | 6 | 0.41388 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_651_0_line_6 |  | 2 | 7 | 0.38355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_651_0_line_7 |  | 4 | 8 | 0.014144 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_651_0_line_8 |  | 4 | 9 | 0.091534 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
9 | MV_651_0_line_9 |  | 5 | 10 | 0.004254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_651_0_line_10 |  | 6 | 11 | 0.008727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_651_0_line_11 |  | 7 | 12 | 0.035459 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_651_0_line_12 |  | 9 | 13 | 0.062047 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
13 | MV_651_0_line_13 |  | 11 | 76 | 0.014589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_651_0_line_14 |  | 13 | 22 | 0.098229 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
15 | MV_651_0_line_15 |  | 14 | 15 | 0.021681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_651_0_line_16 |  | 15 | 16 | 0.14096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_651_0_line_17 |  | 16 | 17 | 0.053161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_651_0_line_18 |  | 16 | 18 | 0.36094 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_651_0_line_19 |  | 17 | 19 | 0.029853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_651_0_line_20 |  | 18 | 20 | 0.033198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_651_0_line_21 |  | 19 | 47 | 0.35046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_651_0_line_22 |  | 19 | 35 | 0.14296 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_651_0_line_23 |  | 20 | 21 | 0.37301 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_651_0_line_24 |  | 21 | 23 | 0.008912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_651_0_line_25 |  | 22 | 24 | 0.008271 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
26 | MV_651_0_line_26 |  | 24 | 26 | 0.1949 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
27 | MV_651_0_line_27 |  | 25 | 26 | 0.26266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_651_0_line_28 |  | 25 | 27 | 0.004968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_651_0_line_29 |  | 25 | 28 | 0.24275 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_651_0_line_30 |  | 26 | 33 | 0.004989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_651_0_line_31 |  | 26 | 34 | 0.47114 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
32 | MV_651_0_line_32 |  | 26 | 32 | 0.21779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_651_0_line_33 |  | 27 | 35 | 0.006535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_651_0_line_34 |  | 28 | 36 | 0.090911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_651_0_line_35 |  | 29 | 30 | 0.002491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_651_0_line_36 |  | 30 | 36 | 0.10469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_651_0_line_37 |  | 31 | 32 | 0.1039 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_651_0_line_38 |  | 34 | 41 | 0.035919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_651_0_line_39 |  | 34 | 42 | 0.19127 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
40 | MV_651_0_line_40 |  | 34 | 43 | 0.005892 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_651_0_line_41 |  | 37 | 38 | 0.35283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_651_0_line_42 |  | 37 | 39 | 0.22535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_651_0_line_43 |  | 37 | 40 | 0.00939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_651_0_line_44 |  | 38 | 46 | 0.054435 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
45 | MV_651_0_line_45 |  | 38 | 42 | 0.35529 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
46 | MV_651_0_line_46 |  | 38 | 44 | 0.17752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_651_0_line_47 |  | 39 | 56 | 0.019744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_651_0_line_48 |  | 39 | 53 | 0.037796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_651_0_line_49 |  | 40 | 84 | 0.06612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_651_0_line_50 |  | 41 | 89 | 0.044785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_651_0_line_51 |  | 44 | 45 | 0.006152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_651_0_line_52 |  | 45 | 68 | 0.003861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_651_0_line_53 |  | 47 | 48 | 0.028304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_651_0_line_54 |  | 48 | 49 | 0.024812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_651_0_line_55 |  | 49 | 50 | 0.058544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_651_0_line_56 |  | 50 | 51 | 0.021432 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_651_0_line_57 |  | 52 | 53 | 0.009628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_651_0_line_58 |  | 52 | 54 | 0.024257 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_651_0_line_59 |  | 54 | 55 | 0.014175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_651_0_line_60 |  | 56 | 57 | 0.026811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_651_0_line_61 |  | 57 | 103 | 0.028989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_651_0_line_62 |  | 58 | 59 | 0.0088039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_651_0_line_63 |  | 58 | 60 | 0.031676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_651_0_line_64 |  | 59 | 61 | 0.28573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_651_0_line_65 |  | 60 | 62 | 0.50877 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_651_0_line_66 |  | 61 | 63 | 0.11069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_651_0_line_67 |  | 61 | 64 | 0.040271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_651_0_line_68 |  | 62 | 65 | 0.082864 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_651_0_line_69 |  | 63 | 69 | 0.095346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_651_0_line_70 |  | 65 | 73 | 0.048428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_651_0_line_71 |  | 66 | 67 | 0.022646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_651_0_line_72 |  | 66 | 68 | 0.025234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_651_0_line_73 |  | 68 | 70 | 0.18338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_651_0_line_74 |  | 69 | 70 | 0.15714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_651_0_line_75 |  | 69 | 71 | 0.016329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_651_0_line_76 |  | 70 | 72 | 0.026612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_651_0_line_77 |  | 73 | 74 | 0.17861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_651_0_line_78 |  | 74 | 75 | 0.010544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_651_0_line_79 |  | 76 | 77 | 0.10542 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_651_0_line_80 |  | 77 | 78 | 0.79739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_651_0_line_81 |  | 77 | 79 | 0.044326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_651_0_line_82 |  | 78 | 83 | 0.0037709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_651_0_line_83 |  | 78 | 80 | 0.36559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_651_0_line_84 |  | 80 | 81 | 0.061227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_651_0_line_85 |  | 80 | 82 | 0.085295 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_651_0_line_86 |  | 81 | 92 | 0.049156 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_651_0_line_87 |  | 82 | 90 | 0.004338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_651_0_line_88 |  | 84 | 85 | 0.045534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_651_0_line_89 |  | 86 | 87 | 0.034609 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_651_0_line_90 |  | 87 | 88 | 0.041777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_651_0_line_91 |  | 88 | 106 | 0.19037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_651_0_line_92 |  | 90 | 91 | 0.064044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_651_0_line_93 |  | 91 | 96 | 0.32015 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_651_0_line_94 |  | 91 | 97 | 0.014594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_651_0_line_95 |  | 91 | 98 | 0.019528 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_651_0_line_96 |  | 93 | 94 | 0.69054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_651_0_line_97 |  | 93 | 95 | 0.043581 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_651_0_line_98 |  | 93 | 96 | 0.16769 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
99 | MV_651_0_line_99 |  | 94 | 101 | 0.051354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_651_0_line_100 |  | 96 | 102 | 0.024036 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
101 | MV_651_0_line_101 |  | 97 | 99 | 0.05428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_651_0_line_102 |  | 98 | 100 | 0.014472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_651_0_line_103 |  | 103 | 104 | 0.026169 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_651_0_line_104 |  | 104 | 105 | 0.016485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_651_0_line_105 |  | 105 | 106 | 0.056875 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_651_0_line_106 |  | 106 | 107 | 0.024496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_651_0_trafo_64 | 25 MVA 110/20 kV | 108 | 46 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2499156.7643 | 1118267.3114
1 | 2499177.2139 | 1118310.9423
2 | 2499034.0774 | 1118194.2007
3 | 2499031.9412 | 1118188.7774
4 | 2499150.6935 | 1117981.1107
5 | 2499187.5938 | 1118111.7666
6 | 2498904.6882 | 1118440.5831
7 | 2498886.5797 | 1118274.4258
8 | 2499150.5898 | 1117995.2546
9 | 2499091.4791 | 1117911.3098
10 | 2499183.7815 | 1118113.6757
11 | 2498895.9401 | 1118440.885
12 | 2498873.976 | 1118241.2823
13 | 2499030.2646 | 1117901.1803
14 | 2498406.7673 | 1117776.929
15 | 2498424.8482 | 1117788.9663
16 | 2498515.7305 | 1117765.0039
17 | 2498557.4727 | 1117797.9238
18 | 2498715.1791 | 1117464.1697
19 | 2498580.9129 | 1117816.4099
20 | 2498748.2145 | 1117465.7648
21 | 2498951.1993 | 1117416.0178
22 | 2498935.919 | 1117928.5284
23 | 2498943.9366 | 1117421.209
24 | 2498934.4649 | 1117936.6689
25 | 2498689.2836 | 1117855.2964
26 | 2498787.0494 | 1117992.1349
27 | 2498684.3751 | 1117854.4447
28 | 2498761.3777 | 1117623.5041
29 | 2498947.0067 | 1117641.3961
30 | 2498946.9342 | 1117638.9069
31 | 2498554.3548 | 1118038.9174
32 | 2498647.0964 | 1117992.0668
33 | 2498791.8669 | 1117990.7868
34 | 2498928.7875 | 1118117.9221
35 | 2498677.8833 | 1117853.5417
36 | 2498850.5288 | 1117640.252
37 | 2498596.8067 | 1118314.8015
38 | 2498670.6801 | 1118216.891
39 | 2498409.1545 | 1118363.2248
40 | 2498594.0318 | 1118305.8312
41 | 2498952.0365 | 1118129.3965
42 | 2498856.3746 | 1118204.7091
43 | 2498933.9262 | 1118115.0122
44 | 2498515.2751 | 1118176.6039
45 | 2498509.3489 | 1118174.8912
46 | 2498680.3266 | 1118163.3179
47 | 2498390.7668 | 1117976.8792
48 | 2498369.7666 | 1117957.8422
49 | 2498362.5458 | 1117981.534
50 | 2498333.4961 | 1118007.6052
51 | 2498330.4583 | 1118028.8204
52 | 2498396.2881 | 1118334.3449
53 | 2498405.478 | 1118331.3887
54 | 2498388.7452 | 1118311.2905
55 | 2498384.326 | 1118297.8219
56 | 2498390.3525 | 1118369.2499
57 | 2498364.8207 | 1118377.4315
58 | 2498023.4117 | 1118015.1633
59 | 2498029.9933 | 1118020.3656
60 | 2497992.8583 | 1118006.8053
61 | 2498238.0063 | 1118094.6544
62 | 2497802.2004 | 1118116.1143
63 | 2498309.9257 | 1118145.5549
64 | 2498243.714 | 1118054.796
65 | 2497744.0716 | 1118057.0593
66 | 2498498.4078 | 1118198.156
67 | 2498520.0703 | 1118204.7579
68 | 2498508.2067 | 1118178.5793
69 | 2498379.5513 | 1118107.8167
70 | 2498363.6994 | 1118170.9228
71 | 2498391.2767 | 1118098.952
72 | 2498371.113 | 1118196.3698
73 | 2497720.3214 | 1118018.403
74 | 2497764.7596 | 1117890.9047
75 | 2497765.4541 | 1117880.3863
76 | 2498896.2457 | 1118455.4669
77 | 2498836.8702 | 1118488.9695
78 | 2498511.689 | 1118746.9453
79 | 2498826.8894 | 1118457.5722
80 | 2498576.513 | 1118535.147
81 | 2498628.7633 | 1118512.2901
82 | 2498550.7037 | 1118453.8508
83 | 2498510.1361 | 1118743.509
84 | 2498531.0496 | 1118325.9582
85 | 2498517.189 | 1118282.585
86 | 2498213.7909 | 1118190.9336
87 | 2498232.0684 | 1118220.3223
88 | 2498193.8519 | 1118237.1982
89 | 2498970.7498 | 1118169.7093
90 | 2498546.5576 | 1118455.1657
91 | 2498485.505 | 1118470.9665
92 | 2498672.6911 | 1118490.2292
93 | 2498315.1717 | 1118704.3298
94 | 2497962.4254 | 1118480.8954
95 | 2498322.7168 | 1118747.2522
96 | 2498208.9193 | 1118574.6018
97 | 2498486.6445 | 1118459.7625
98 | 2498491.3952 | 1118489.5853
99 | 2498538.4209 | 1118443.4689
100 | 2498495.7603 | 1118503.3835
101 | 2497986.8214 | 1118452.4281
102 | 2498186.85 | 1118584.1236
103 | 2498337.2144 | 1118386.2779
104 | 2498312.2933 | 1118394.2638
105 | 2498296.5946 | 1118399.2944
106 | 2498275.6932 | 1118347.0685
107 | 2498268.0918 | 1118323.7817
108 | 2498680.3266 | 1118163.3179

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99426 | -0.059585 | 0.336 | 0.16273
1 | 0.99429 | -0.059387 | 0 | 0
2 | 0.9944 | -0.060333 | 0 | 0
3 | 0.99439 | -0.060307 | 0.36065 | 0.17467
4 | 0.99656 | -0.07814 | 0 | 0
5 | 0.99432 | -0.059689 | 0 | 0
6 | 0.99302 | -0.049107 | 0 | 0
7 | 0.99419 | -0.058539 | 0 | 0
8 | 0.99655 | -0.078205 | 0.3801 | 0.18409
9 | 0.99703 | -0.066077 | 0.3623 | 0.17547
10 | 0.99432 | -0.059676 | 0.26083 | 0.12633
11 | 0.993 | -0.048868 | 0.37661 | 0.1824
12 | 0.99417 | -0.058362 | 0.41494 | 0.20096
13 | 0.99717 | -0.061123 | 0 | 0
14 | 0.99627 | -0.037275 | 0.20921 | 0.10133
15 | 0.99627 | -0.037329 | 0 | 0
16 | 0.99631 | -0.037665 | 0 | 0
17 | 0.99635 | -0.038019 | 0.3198 | 0.15489
18 | 0.99602 | -0.039832 | 0.074104 | 0.03589
19 | 0.99639 | -0.038332 | 0 | 0
20 | 0.996 | -0.039713 | 0 | 0
21 | 0.99584 | -0.038258 | 0 | 0
22 | 0.99741 | -0.053283 | 0.37775 | 0.18295
23 | 0.99583 | -0.03822 | 0.34813 | 0.16861
24 | 0.99741 | -0.053114 | 0 | 0
25 | 0.99665 | -0.040521 | 0 | 0
26 | 0.99763 | -0.049127 | 0 | 0
27 | 0.99664 | -0.040433 | 0.31284 | 0.15152
28 | 0.99604 | -0.04445 | 0.92799 | 0.44945
29 | 0.99595 | -0.043601 | 0.3677 | 0.17809
30 | 0.99595 | -0.043612 | 0 | 0
31 | 0.99747 | -0.0487 | 0.34311 | 0.16617
32 | 0.99754 | -0.048267 | 0 | 0
33 | 0.99763 | -0.049105 | 0.37446 | 0.18136
34 | 0.99853 | -0.032648 | 0 | 0
35 | 0.99663 | -0.040342 | 0 | 0
36 | 0.996 | -0.044068 | 0 | 0
37 | 0.99858 | -0.0027371 | 0 | 0
38 | 0.99964 | -0.012169 | 0 | 0
39 | 0.99811 | 0.0015159 | 0 | 0
40 | 0.99857 | -0.0026587 | 0.36335 | 0.17598
41 | 0.99852 | -0.03255 | 0 | 0
42 | 0.99892 | -0.025499 | 0 | 0
43 | 0.99853 | -0.032624 | 0.34451 | 0.16686
44 | 0.99929 | -0.0093281 | 0 | 0
45 | 0.99928 | -0.0092287 | 0.26715 | 0.12938
46 | 1 | 0 | -13.3181 | -6.1396
47 | 0.99622 | -0.036928 | 0 | 0
48 | 0.99621 | -0.036806 | 0.30163 | 0.14609
49 | 0.99621 | -0.036789 | 0 | 0
50 | 0.9962 | -0.036744 | 0 | 0
51 | 0.9962 | -0.036727 | 0.069634 | 0.033725
52 | 0.99809 | 0.0016802 | 0.2095 | 0.10147
53 | 0.99809 | 0.0016466 | 0 | 0
54 | 0.99809 | 0.0017045 | 0 | 0
55 | 0.99809 | 0.0017191 | 0.086768 | 0.042024
56 | 0.99807 | 0.0018248 | 0.1245 | 0.060296
57 | 0.99803 | 0.002205 | 0.13096 | 0.063426
58 | 0.99833 | -0.0018137 | 0.18742 | 0.090772
59 | 0.99834 | -0.0018834 | 0 | 0
60 | 0.9983 | -0.0016334 | 0 | 0
61 | 0.99861 | -0.0040793 | 0 | 0
62 | 0.99794 | 0.0014734 | 0 | 0
63 | 0.99873 | -0.0050382 | 0 | 0
64 | 0.9986 | -0.0040264 | 0.11205 | 0.054266
65 | 0.99784 | 0.0008586 | 0.33948 | 0.16442
66 | 0.99926 | -0.0091083 | 0 | 0
67 | 0.99926 | -0.0090444 | 0.23713 | 0.11485
68 | 0.99927 | -0.0091787 | 0 | 0
69 | 0.99884 | -0.0058491 | 0 | 0
70 | 0.99902 | -0.0072835 | 0 | 0
71 | 0.99883 | -0.0058356 | 0.070311 | 0.034053
72 | 0.99902 | -0.0072439 | 0.12597 | 0.061009
73 | 0.99783 | 0.00097774 | 0 | 0
74 | 0.99778 | 0.001448 | 0 | 0
75 | 0.99777 | 0.0014773 | 0.23176 | 0.11225
76 | 0.99295 | -0.048533 | 0 | 0
77 | 0.99266 | -0.046105 | 0 | 0
78 | 0.99072 | -0.030207 | 0 | 0
79 | 0.99264 | -0.045934 | 0.32063 | 0.15529
80 | 0.98987 | -0.022888 | 0 | 0
81 | 0.98985 | -0.022739 | 0 | 0
82 | 0.9896 | -0.024812 | 0.16556 | 0.080183
83 | 0.99072 | -0.030203 | 0.071057 | 0.034414
84 | 0.99854 | -0.0023915 | 0.27779 | 0.13454
85 | 0.99854 | -0.0023553 | 0.069058 | 0.033446
86 | 0.99768 | 0.0049662 | 0.40104 | 0.19423
87 | 0.99771 | 0.0051348 | 0.17061 | 0.08263
88 | 0.99774 | 0.0048492 | 0 | 0
89 | 0.99851 | -0.032424 | 0.23589 | 0.11425
90 | 0.98959 | -0.024743 | 0 | 0
91 | 0.98947 | -0.02372 | 0 | 0
92 | 0.98983 | -0.022862 | 0.20351 | 0.098566
93 | 0.98907 | -0.023019 | 0 | 0
94 | 0.98898 | -0.022591 | 0 | 0
95 | 0.98904 | -0.023222 | 0.37776 | 0.18296
96 | 0.98922 | -0.021774 | 0 | 0
97 | 0.98947 | -0.02366 | 0 | 0
98 | 0.98946 | -0.023602 | 0.37036 | 0.17937
99 | 0.98944 | -0.02343 | 0.34896 | 0.16901
100 | 0.98946 | -0.02358 | 0.12708 | 0.061547
101 | 0.98898 | -0.02253 | 0.10002 | 0.048442
102 | 0.98922 | -0.021814 | 0.13307 | 0.064451
103 | 0.99799 | 0.0025719 | 0.12889 | 0.062422
104 | 0.99796 | 0.0028636 | 0.11977 | 0.058005
105 | 0.99794 | 0.0030242 | 0 | 0
106 | 0.99788 | 0.0035816 | 0 | 0
107 | 0.99787 | 0.0036636 | 0.28033 | 0.13577
108 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.336 | -0.16273 | 0.33601 | 0.16268 | 1.0087e-05 | -5.0549e-05 | 0.01084 | 0.010839 | 0.01084 | 0.99426 | -0.059585 | 0.99429 | -0.059387 | 5.1617
1 | -0.33601 | -0.16268 | 0.33605 | 0.15694 | 3.7996e-05 | -0.0057461 | 0.010839 | 0.010767 | 0.010839 | 0.99429 | -0.059387 | 0.9944 | -0.060333 | 4.9268
2 | 0.36065 | 0.17453 | -0.36065 | -0.17467 | 1.0528e-06 | -0.00013728 | 0.011631 | 0.011633 | 0.011633 | 0.9944 | -0.060333 | 0.99439 | -0.060307 | 5.2878
3 | -3.9785 | -1.832 | 3.9877 | 1.8246 | 0.0092294 | -0.0073895 | 0.12715 | 0.12703 | 0.12715 | 0.9944 | -0.060333 | 0.99656 | -0.07814 | 57.7965
4 | 0.26086 | 0.12114 | -0.26084 | -0.12623 | 2.0212e-05 | -0.0050827 | 0.0083495 | 0.0084128 | 0.0084128 | 0.9944 | -0.060333 | 0.99432 | -0.059689 | 3.824
5 | 2.6059 | 1.1883 | -2.602 | -1.1969 | 0.0038249 | -0.0086234 | 0.083143 | 0.083261 | 0.083261 | 0.9944 | -0.060333 | 0.99302 | -0.049107 | 37.8457
6 | 0.41504 | 0.1911 | -0.41495 | -0.20013 | 9.0849e-05 | -0.0090266 | 0.013265 | 0.013377 | 0.013377 | 0.9944 | -0.060333 | 0.99419 | -0.058539 | 6.0803
7 | 0.3801 | 0.18408 | -0.3801 | -0.18409 | 3.7718e-06 | -1.4407e-05 | 0.012234 | 0.012234 | 0.012234 | 0.99656 | -0.07814 | 0.99655 | -0.078205 | 5.8257
8 | -4.3678 | -2.0087 | 4.3694 | 2.0104 | 0.0016296 | 0.0017496 | 0.13926 | 0.13926 | 0.13926 | 0.99656 | -0.07814 | 0.99703 | -0.066077 | 39.7888
9 | 0.26084 | 0.12623 | -0.26083 | -0.12633 | 4.0198e-07 | -0.0001003 | 0.0084128 | 0.0084141 | 0.0084141 | 0.99432 | -0.059689 | 0.99432 | -0.059676 | 3.8246
10 | 2.602 | 1.1969 | -2.602 | -1.1971 | 8.0768e-05 | -0.00018151 | 0.083261 | 0.083263 | 0.083263 | 0.99302 | -0.049107 | 0.993 | -0.048868 | 37.8469
11 | 0.41495 | 0.20013 | -0.41494 | -0.20096 | 8.477e-06 | -0.00083429 | 0.013377 | 0.013387 | 0.013387 | 0.99419 | -0.058539 | 0.99417 | -0.058362 | 6.0851
12 | -4.7317 | -2.1859 | 4.7322 | 2.1865 | 0.00050362 | 0.00056946 | 0.15091 | 0.15091 | 0.15091 | 0.99703 | -0.066077 | 0.99717 | -0.061123 | 18.404
13 | 2.2254 | 1.0147 | -2.2253 | -1.015 | 9.8465e-05 | -0.00031424 | 0.071101 | 0.071105 | 0.071105 | 0.993 | -0.048868 | 0.99295 | -0.048533 | 32.3205
14 | -4.7322 | -2.1865 | 4.733 | 2.1874 | 0.00079728 | 0.0009014 | 0.15091 | 0.15091 | 0.15091 | 0.99717 | -0.061123 | 0.99741 | -0.053283 | 18.4038
15 | -0.20921 | -0.10133 | 0.20921 | 0.10081 | 1.3119e-06 | -0.00051341 | 0.0067356 | 0.0067292 | 0.0067356 | 0.99627 | -0.037275 | 0.99627 | -0.037329 | 3.0617
16 | -0.20921 | -0.10081 | 0.20922 | 0.097475 | 8.4684e-06 | -0.0033381 | 0.0067292 | 0.0066877 | 0.0067292 | 0.99627 | -0.037329 | 0.99631 | -0.037665 | 3.0587
17 | -0.63164 | -0.29181 | 0.63167 | 0.29055 | 2.8822e-05 | -0.0012514 | 0.02016 | 0.020145 | 0.02016 | 0.99631 | -0.037665 | 0.99635 | -0.038019 | 9.1636
18 | 0.42242 | 0.19433 | -0.4223 | -0.19469 | 0.00011677 | -0.00035446 | 0.013472 | 0.013477 | 0.013477 | 0.99631 | -0.037665 | 0.99602 | -0.039832 | 6.4179
19 | -0.95147 | -0.44544 | 0.95151 | 0.44475 | 3.6914e-05 | -0.00069665 | 0.030439 | 0.03043 | 0.030439 | 0.99635 | -0.038019 | 0.99639 | -0.038332 | 13.8357
20 | 0.34819 | 0.15879 | -0.34819 | -0.15958 | 5.457e-06 | -0.00078471 | 0.011092 | 0.011101 | 0.011101 | 0.99602 | -0.039832 | 0.996 | -0.039713 | 5.0459
21 | 0.37134 | 0.16837 | -0.37127 | -0.17666 | 6.5841e-05 | -0.0082863 | 0.011813 | 0.011914 | 0.011914 | 0.99639 | -0.038332 | 0.99622 | -0.036928 | 5.4155
22 | -1.3228 | -0.61312 | 1.3232 | 0.60983 | 0.00034023 | -0.0032887 | 0.042242 | 0.042201 | 0.042242 | 0.99639 | -0.038332 | 0.99663 | -0.040342 | 19.2009
23 | 0.34819 | 0.15958 | -0.34813 | -0.16839 | 6.1964e-05 | -0.008815 | 0.011101 | 0.01121 | 0.01121 | 0.996 | -0.039713 | 0.99584 | -0.038258 | 5.0955
24 | 0.34813 | 0.16839 | -0.34813 | -0.16861 | 1.4955e-06 | -0.00021057 | 0.01121 | 0.011213 | 0.011213 | 0.99584 | -0.038258 | 0.99583 | -0.03822 | 5.0967
25 | -5.1108 | -2.3703 | 5.1108 | 2.3697 | 4.0239e-05 | -0.00059172 | 0.16305 | 0.16305 | 0.16305 | 0.99741 | -0.053283 | 0.99741 | -0.053114 | 19.3651
26 | -5.1108 | -2.3697 | 5.1118 | 2.3558 | 0.00094714 | -0.013948 | 0.16305 | 0.16287 | 0.16305 | 0.99741 | -0.053114 | 0.99763 | -0.049127 | 19.3641
27 | -2.9325 | -1.3841 | 2.9356 | 1.3788 | 0.0030909 | -0.0053187 | 0.093925 | 0.093848 | 0.093925 | 0.99665 | -0.040521 | 0.99763 | -0.049127 | 42.6933
28 | 1.6361 | 0.76108 | -1.636 | -0.76119 | 1.8117e-05 | -0.00011245 | 0.052264 | 0.052266 | 0.052266 | 0.99665 | -0.040521 | 0.99664 | -0.040433 | 23.7571
29 | 1.2965 | 0.62303 | -1.2957 | -0.62285 | 0.0007508 | 0.0001826 | 0.041663 | 0.041666 | 0.041666 | 0.99665 | -0.040521 | 0.99604 | -0.04445 | 19.8412
30 | 0.37446 | 0.18124 | -0.37446 | -0.18136 | 9.6523e-07 | -0.00011827 | 0.012038 | 0.012039 | 0.012039 | 0.99763 | -0.049127 | 0.99763 | -0.049105 | 5.4724
31 | -8.765 | -4.0767 | 8.7718 | 4.047 | 0.0067353 | -0.029675 | 0.27972 | 0.27928 | 0.27972 | 0.99763 | -0.049127 | 0.99853 | -0.032648 | 33.2205
32 | 0.34316 | 0.1609 | -0.34313 | -0.16606 | 3.5175e-05 | -0.0051645 | 0.010967 | 0.011031 | 0.011031 | 0.99763 | -0.049127 | 0.99754 | -0.048267 | 5.0143
33 | 1.3232 | 0.60968 | -1.3232 | -0.60983 | 1.5536e-05 | -0.00015037 | 0.042199 | 0.042201 | 0.042201 | 0.99664 | -0.040433 | 0.99663 | -0.040342 | 19.1822
34 | 0.36774 | 0.1734 | -0.36772 | -0.17555 | 1.6889e-05 | -0.0021483 | 0.011783 | 0.01181 | 0.01181 | 0.99604 | -0.04445 | 0.996 | -0.044068 | 5.3682
35 | -0.3677 | -0.17809 | 0.3677 | 0.17803 | 4.6634e-07 | -5.8856e-05 | 0.011842 | 0.011841 | 0.011842 | 0.99595 | -0.043601 | 0.99595 | -0.043612 | 5.3827
36 | -0.3677 | -0.17803 | 0.36772 | 0.17555 | 1.9546e-05 | -0.0024738 | 0.011841 | 0.01181 | 0.011841 | 0.99595 | -0.043612 | 0.996 | -0.044068 | 5.3824
37 | -0.34311 | -0.16617 | 0.34313 | 0.16606 | 2.2532e-05 | -0.00010931 | 0.011033 | 0.011031 | 0.011033 | 0.99747 | -0.0487 | 0.99754 | -0.048267 | 5.2538
38 | 0.2359 | 0.11233 | -0.2359 | -0.11318 | 2.7399e-06 | -0.00085428 | 0.0075536 | 0.0075643 | 0.0075643 | 0.99853 | -0.032648 | 0.99852 | -0.03255 | 3.4383
39 | -9.3522 | -4.3261 | 9.3553 | 4.3143 | 0.0031043 | -0.011726 | 0.2979 | 0.29772 | 0.2979 | 0.99853 | -0.032648 | 0.99892 | -0.025499 | 35.3796
40 | 0.34452 | 0.16672 | -0.34451 | -0.16686 | 9.6316e-07 | -0.00013998 | 0.011065 | 0.011067 | 0.011067 | 0.99853 | -0.032648 | 0.99853 | -0.032624 | 5.0303
41 | -2.3638 | -1.124 | 2.3665 | 1.1164 | 0.0026931 | -0.0076104 | 0.075666 | 0.075562 | 0.075666 | 0.99858 | -0.0027371 | 0.99964 | -0.012169 | 34.3938
42 | 1.6536 | 0.78293 | -1.6527 | -0.78805 | 0.00084261 | -0.0051126 | 0.05289 | 0.052957 | 0.052957 | 0.99858 | -0.0027371 | 0.99811 | 0.0015159 | 24.0713
43 | 0.71022 | 0.34109 | -0.71021 | -0.34131 | 6.5038e-06 | -0.00022163 | 0.022776 | 0.022779 | 0.022779 | 0.99858 | -0.0027371 | 0.99857 | -0.0026587 | 10.3542
44 | -13.3006 | -6.1243 | 13.3041 | 6.1291 | 0.0034689 | 0.0048815 | 0.42285 | 0.42285 | 0.42285 | 0.99964 | -0.012169 | 1 | 0 | 51.5677
45 | 9.361 | 4.2925 | -9.3553 | -4.3143 | 0.0057567 | -0.021822 | 0.29739 | 0.29772 | 0.29772 | 0.99964 | -0.012169 | 0.99892 | -0.025499 | 35.3586
46 | 1.5731 | 0.71533 | -1.5725 | -0.71939 | 0.00059079 | -0.0040586 | 0.049904 | 0.049955 | 0.049955 | 0.99964 | -0.012169 | 0.99929 | -0.0093281 | 22.7067
47 | 1.3565 | 0.6466 | -1.3564 | -0.64705 | 4.9794e-05 | -0.00045484 | 0.043461 | 0.043467 | 0.043467 | 0.99811 | 0.0015159 | 0.99807 | 0.0018248 | 19.7578
48 | 0.29628 | 0.14145 | -0.29627 | -0.14235 | 4.5548e-06 | -0.00089764 | 0.0094955 | 0.0095067 | 0.0095067 | 0.99811 | 0.0015159 | 0.99809 | 0.0016466 | 4.3212
49 | 0.34686 | 0.16533 | -0.34685 | -0.1669 | 1.0911e-05 | -0.0015709 | 0.011108 | 0.011128 | 0.011128 | 0.99857 | -0.0026587 | 0.99854 | -0.0023915 | 5.0581
50 | 0.2359 | 0.11318 | -0.23589 | -0.11425 | 3.427e-06 | -0.0010651 | 0.0075643 | 0.0075776 | 0.0075776 | 0.99852 | -0.03255 | 0.99851 | -0.032424 | 3.4444
51 | 1.5725 | 0.71939 | -1.5725 | -0.71953 | 2.0496e-05 | -0.0001406 | 0.049955 | 0.049957 | 0.049957 | 0.99929 | -0.0093281 | 0.99928 | -0.0092287 | 22.7075
52 | 1.3053 | 0.59014 | -1.3053 | -0.59023 | 8.8279e-06 | -8.9433e-05 | 0.041384 | 0.041385 | 0.041385 | 0.99928 | -0.0092287 | 0.99927 | -0.0091787 | 18.8114
53 | 0.37127 | 0.17666 | -0.37127 | -0.17733 | 5.3673e-06 | -0.00066909 | 0.011914 | 0.011922 | 0.011922 | 0.99622 | -0.036928 | 0.99621 | -0.036806 | 5.4193
54 | 0.069634 | 0.031242 | -0.069634 | -0.03183 | 1.6253e-07 | -0.00058788 | 0.0022116 | 0.0022186 | 0.0022186 | 0.99621 | -0.036806 | 0.99621 | -0.036789 | 1.0085
55 | 0.069634 | 0.03183 | -0.069634 | -0.033217 | 3.8764e-07 | -0.0013871 | 0.0022186 | 0.0022356 | 0.0022356 | 0.99621 | -0.036789 | 0.9962 | -0.036744 | 1.0162
56 | 0.069634 | 0.033217 | -0.069634 | -0.033725 | 1.4341e-07 | -0.00050778 | 0.0022356 | 0.002242 | 0.002242 | 0.9962 | -0.036744 | 0.9962 | -0.036727 | 1.0191
57 | -0.29627 | -0.14258 | 0.29627 | 0.14235 | 1.162e-06 | -0.00022866 | 0.0095096 | 0.0095067 | 0.0095096 | 0.99809 | 0.0016802 | 0.99809 | 0.0016466 | 4.3225
58 | 0.086768 | 0.04111 | -0.086768 | -0.041687 | 2.5037e-07 | -0.00057688 | 0.002777 | 0.0027842 | 0.0027842 | 0.99809 | 0.0016802 | 0.99809 | 0.0017045 | 1.2655
59 | 0.086768 | 0.041687 | -0.086768 | -0.042024 | 1.4691e-07 | -0.00033711 | 0.0027842 | 0.0027884 | 0.0027884 | 0.99809 | 0.0017045 | 0.99809 | 0.0017191 | 1.2675
60 | 1.2319 | 0.58675 | -1.2319 | -0.58737 | 5.5761e-05 | -0.0006211 | 0.039466 | 0.039474 | 0.039474 | 0.99807 | 0.0018248 | 0.99803 | 0.002205 | 17.9428
61 | 1.1009 | 0.52395 | -1.1009 | -0.52462 | 4.8142e-05 | -0.00067512 | 0.035266 | 0.035274 | 0.035274 | 0.99803 | 0.002205 | 0.99799 | 0.0025719 | 16.0337
62 | -0.75897 | -0.34894 | 0.75898 | 0.34874 | 6.8566e-06 | -0.00020747 | 0.024155 | 0.024152 | 0.024155 | 0.99833 | -0.0018137 | 0.99834 | -0.0018834 | 10.9794
63 | 0.57155 | 0.25817 | -0.57153 | -0.25892 | 1.3914e-05 | -0.00074962 | 0.018135 | 0.018144 | 0.018144 | 0.99833 | -0.0018137 | 0.9983 | -0.0016334 | 8.2471
64 | -0.75898 | -0.34874 | 0.7592 | 0.342 | 0.00022176 | -0.0067355 | 0.024152 | 0.024071 | 0.024152 | 0.99834 | -0.0018834 | 0.99861 | -0.0040793 | 10.9782
65 | 0.57153 | 0.25892 | -0.57131 | -0.27096 | 0.00022539 | -0.012035 | 0.018144 | 0.018291 | 0.018291 | 0.9983 | -0.0016334 | 0.99794 | 0.0014734 | 8.314
66 | -0.87124 | -0.39531 | 0.87136 | 0.3927 | 0.0001129 | -0.0026024 | 0.027657 | 0.027626 | 0.027657 | 0.99861 | -0.0040793 | 0.99873 | -0.0050382 | 12.5713
67 | 0.11205 | 0.053307 | -0.11205 | -0.054266 | 6.9399e-07 | -0.00095863 | 0.0035869 | 0.0035989 | 0.0035989 | 0.99861 | -0.0040793 | 0.9986 | -0.0040264 | 1.6359
68 | 0.57131 | 0.27096 | -0.57126 | -0.27102 | 4.9397e-05 | -6.7566e-05 | 0.018291 | 0.018292 | 0.018292 | 0.99794 | 0.0014734 | 0.99784 | 0.0008586 | 8.7105
69 | -0.87136 | -0.3927 | 0.87145 | 0.39046 | 9.7047e-05 | -0.0022422 | 0.027626 | 0.027599 | 0.027626 | 0.99873 | -0.0050382 | 0.99884 | -0.0058491 | 12.5571
70 | 0.23177 | 0.1066 | -0.23177 | -0.10775 | 3.5283e-06 | -0.0011502 | 0.0073804 | 0.0073944 | 0.0073944 | 0.99784 | 0.0008586 | 0.99783 | 0.00097774 | 3.3611
71 | 0.23713 | 0.11431 | -0.23713 | -0.11485 | 1.7501e-06 | -0.00053938 | 0.0076049 | 0.0076117 | 0.0076117 | 0.99926 | -0.0091083 | 0.99926 | -0.0090444 | 3.4599
72 | -0.23713 | -0.11431 | 0.23714 | 0.11371 | 1.9464e-06 | -0.00060104 | 0.0076049 | 0.0075974 | 0.0076049 | 0.99926 | -0.0091083 | 0.99927 | -0.0091787 | 3.4568
73 | 1.0682 | 0.47653 | -1.0679 | -0.48081 | 0.00027995 | -0.004288 | 0.03379 | 0.033842 | 0.033842 | 0.99927 | -0.0091787 | 0.99902 | -0.0072835 | 15.3826
74 | -0.94176 | -0.42413 | 0.94195 | 0.42044 | 0.00018666 | -0.0036885 | 0.029851 | 0.029807 | 0.029851 | 0.99884 | -0.0058491 | 0.99902 | -0.0072835 | 13.5686
75 | 0.070311 | 0.033664 | -0.070311 | -0.034053 | 1.1088e-07 | -0.00038893 | 0.002253 | 0.0022578 | 0.0022578 | 0.99884 | -0.0058491 | 0.99883 | -0.0058356 | 1.0263
76 | 0.12597 | 0.060375 | -0.12597 | -0.061009 | 5.7997e-07 | -0.00063397 | 0.0040364 | 0.0040444 | 0.0040444 | 0.99902 | -0.0072835 | 0.99902 | -0.0072439 | 1.8384
77 | 0.23177 | 0.10775 | -0.23176 | -0.11199 | 1.313e-05 | -0.0042419 | 0.0073944 | 0.007447 | 0.007447 | 0.99783 | 0.00097774 | 0.99778 | 0.001448 | 3.385
78 | 0.23176 | 0.11199 | -0.23176 | -0.11225 | 7.8097e-07 | -0.0002504 | 0.007447 | 0.0074502 | 0.0074502 | 0.99778 | 0.001448 | 0.99777 | 0.0014773 | 3.3865
79 | 2.2253 | 1.015 | -2.2245 | -1.0172 | 0.00071183 | -0.0022697 | 0.071105 | 0.071135 | 0.071135 | 0.99295 | -0.048533 | 0.99266 | -0.046105 | 32.3341
80 | 1.9039 | 0.863 | -1.9 | -0.88055 | 0.0039485 | -0.017552 | 0.06079 | 0.061017 | 0.061017 | 0.99266 | -0.046105 | 0.99072 | -0.030207 | 27.7351
81 | 0.32063 | 0.15425 | -0.32063 | -0.15529 | 6.3436e-06 | -0.0010409 | 0.010347 | 0.01036 | 0.01036 | 0.99266 | -0.046105 | 0.99264 | -0.045934 | 4.7093
82 | 0.071057 | 0.034326 | -0.071057 | -0.034414 | 2.6637e-08 | -8.8363e-05 | 0.0022994 | 0.0023005 | 0.0023005 | 0.99072 | -0.030207 | 0.99072 | -0.030203 | 1.0457
83 | 1.8289 | 0.84622 | -1.8272 | -0.85428 | 0.0016858 | -0.0080603 | 0.058718 | 0.058823 | 0.058823 | 0.99072 | -0.030207 | 0.98987 | -0.022888 | 26.7379
84 | 0.20352 | 0.09708 | -0.20352 | -0.098511 | 3.5443e-06 | -0.0014313 | 0.0065759 | 0.006594 | 0.006594 | 0.98987 | -0.022888 | 0.98985 | -0.022739 | 2.9973
85 | 1.6237 | 0.7572 | -1.6233 | -0.75704 | 0.00041486 | 0.00016011 | 0.052248 | 0.052249 | 0.052249 | 0.98987 | -0.022888 | 0.9896 | -0.024812 | 24.8805
86 | 0.20352 | 0.098511 | -0.20351 | -0.098566 | 3.8086e-06 | -5.5111e-05 | 0.006594 | 0.0065948 | 0.0065948 | 0.98985 | -0.022739 | 0.98983 | -0.022862 | 3.1404
87 | 1.4577 | 0.67686 | -1.4577 | -0.67696 | 1.273e-05 | -9.7655e-05 | 0.046884 | 0.046885 | 0.046885 | 0.9896 | -0.024812 | 0.98959 | -0.024743 | 21.3113
88 | 0.069059 | 0.032363 | -0.069058 | -0.033446 | 2.973e-07 | -0.0010839 | 0.0022048 | 0.0022183 | 0.0022183 | 0.99854 | -0.0023915 | 0.99854 | -0.0023553 | 1.0083
89 | -0.40104 | -0.19423 | 0.40105 | 0.1942 | 1.025e-05 | -3.4706e-05 | 0.012893 | 0.012893 | 0.012893 | 0.99768 | 0.0049662 | 0.99771 | 0.0051348 | 6.1396
90 | -0.57166 | -0.27683 | 0.57168 | 0.27584 | 1.8824e-05 | -0.00098736 | 0.018378 | 0.018365 | 0.018378 | 0.99771 | 0.0051348 | 0.99774 | 0.0048492 | 8.3535
91 | -0.57168 | -0.27584 | 0.57177 | 0.27134 | 8.5455e-05 | -0.0045002 | 0.018365 | 0.018309 | 0.018365 | 0.99774 | 0.0048492 | 0.99788 | 0.0035816 | 8.3478
92 | 1.4577 | 0.67696 | -1.4575 | -0.6784 | 0.00018802 | -0.0014415 | 0.046885 | 0.046903 | 0.046903 | 0.98959 | -0.024743 | 0.98947 | -0.02372 | 21.3196
93 | 0.61111 | 0.27087 | -0.61095 | -0.2783 | 0.00016329 | -0.0074335 | 0.019502 | 0.019591 | 0.019591 | 0.98947 | -0.02372 | 0.98922 | -0.021774 | 8.9052
94 | 0.34897 | 0.1674 | -0.34896 | -0.16774 | 2.4852e-06 | -0.00034042 | 0.011292 | 0.011296 | 0.011296 | 0.98947 | -0.02372 | 0.98947 | -0.02366 | 5.1346
95 | 0.49745 | 0.24013 | -0.49744 | -0.24058 | 6.7729e-06 | -0.00045448 | 0.016115 | 0.016121 | 0.016121 | 0.98947 | -0.02372 | 0.98946 | -0.023602 | 7.3277
96 | 0.10003 | 0.031118 | -0.10002 | -0.047243 | 9.0635e-06 | -0.016125 | 0.0030576 | 0.0032288 | 0.0032288 | 0.98907 | -0.023019 | 0.98898 | -0.022591 | 1.4676
97 | 0.37777 | 0.18292 | -0.37776 | -0.18296 | 1.1653e-05 | -4.3595e-05 | 0.01225 | 0.012251 | 0.012251 | 0.98907 | -0.023019 | 0.98904 | -0.023222 | 5.8338
98 | -0.4778 | -0.21403 | 0.47787 | 0.21388 | 6.9752e-05 | -0.00015217 | 0.015281 | 0.015278 | 0.015281 | 0.98907 | -0.023019 | 0.98922 | -0.021774 | 7.2765
99 | 0.10002 | 0.047243 | -0.10002 | -0.048442 | 7.1807e-07 | -0.0011991 | 0.0032288 | 0.0032439 | 0.0032439 | 0.98898 | -0.022591 | 0.98898 | -0.02253 | 1.4745
100 | 0.13308 | 0.064423 | -0.13307 | -0.064451 | 7.9726e-07 | -2.7579e-05 | 0.0043145 | 0.0043149 | 0.0043149 | 0.98922 | -0.021774 | 0.98922 | -0.021814 | 2.0547
101 | 0.34896 | 0.16774 | -0.34896 | -0.16901 | 9.2596e-06 | -0.001266 | 0.011296 | 0.011312 | 0.011312 | 0.98947 | -0.02366 | 0.98944 | -0.02343 | 5.1419
102 | 0.12708 | 0.061209 | -0.12708 | -0.061547 | 3.2753e-07 | -0.0003382 | 0.0041152 | 0.0041195 | 0.0041195 | 0.98946 | -0.023602 | 0.98946 | -0.02358 | 1.8725
103 | 0.97197 | 0.4622 | -0.97194 | -0.46281 | 3.3868e-05 | -0.00061225 | 0.031132 | 0.03114 | 0.03114 | 0.99799 | 0.0025719 | 0.99796 | 0.0028636 | 14.1544
104 | 0.85217 | 0.40481 | -0.85216 | -0.4052 | 1.6393e-05 | -0.00038712 | 0.02729 | 0.027295 | 0.027295 | 0.99796 | 0.0028636 | 0.99794 | 0.0030242 | 12.4069
105 | 0.85216 | 0.4052 | -0.8521 | -0.40653 | 5.6603e-05 | -0.0013355 | 0.027295 | 0.027312 | 0.027312 | 0.99794 | 0.0030242 | 0.99788 | 0.0035816 | 12.4146
106 | 0.28034 | 0.13519 | -0.28033 | -0.13577 | 2.6531e-06 | -0.0005816 | 0.0090035 | 0.0090109 | 0.0090109 | 0.99788 | 0.0035816 | 0.99787 | 0.0036636 | 4.0958

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.7224 | 6.3354

## res_load
| p_mw | q_mvar
0 | 0.336 | 0.16273
1 | 0.36065 | 0.17467
2 | 0.3801 | 0.18409
3 | 0.3623 | 0.17547
4 | 0.26083 | 0.12633
5 | 0.37661 | 0.1824
6 | 0.41494 | 0.20096
7 | 0.20921 | 0.10133
8 | 0.3198 | 0.15489
9 | 0.074104 | 0.03589
10 | 0.37775 | 0.18295
11 | 0.34813 | 0.16861
12 | 0.31284 | 0.15152
13 | 0.92799 | 0.44945
14 | 0.3677 | 0.17809
15 | 0.34311 | 0.16617
16 | 0.37446 | 0.18136
17 | 0.36335 | 0.17598
18 | 0.34451 | 0.16686
19 | 0.26715 | 0.12938
20 | 0.40425 | 0.19579
21 | 0.30163 | 0.14609
22 | 0.069634 | 0.033725
23 | 0.2095 | 0.10147
24 | 0.086768 | 0.042024
25 | 0.1245 | 0.060296
26 | 0.13096 | 0.063426
27 | 0.18742 | 0.090772
28 | 0.11205 | 0.054266
29 | 0.33948 | 0.16442
30 | 0.23713 | 0.11485
31 | 0.070311 | 0.034053
32 | 0.12597 | 0.061009
33 | 0.23176 | 0.11225
34 | 0.32063 | 0.15529
35 | 0.16556 | 0.080183
36 | 0.071057 | 0.034414
37 | 0.27779 | 0.13454
38 | 0.069058 | 0.033446
39 | 0.40104 | 0.19423
40 | 0.17061 | 0.08263
41 | 0.23589 | 0.11425
42 | 0.20351 | 0.098566
43 | 0.37776 | 0.18296
44 | 0.37036 | 0.17937
45 | 0.34896 | 0.16901
46 | 0.12708 | 0.061547
47 | 0.10002 | 0.048442
48 | 0.13307 | 0.064451
49 | 0.12889 | 0.062422
50 | 0.11977 | 0.058005
51 | 0.28033 | 0.13577

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1