## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_661_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_661_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_661_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_661_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_661_0_node_7 | 20 | n |  | TRUE
5 | bus_MV_661_0_node_59 | 20 | n |  | TRUE
6 | bus_MV_661_0_node_99 | 20 | n |  | TRUE
7 | bus_MV_661_0_node_50 | 20 | n |  | TRUE
8 | bus_MV_661_0_node_85 | 20 | n |  | TRUE
9 | bus_MV_661_0_node_4 | 20 | n |  | TRUE
10 | bus_MV_661_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_661_0_node_79 | 20 | n |  | TRUE
12 | bus_MV_661_0_node_80 | 20 | n |  | TRUE
13 | bus_MV_661_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_661_0_node_97 | 20 | n |  | TRUE
15 | bus_MV_661_0_node_90 | 20 | n |  | TRUE
16 | bus_MV_661_0_node_83 | 20 | n |  | TRUE
17 | bus_MV_661_0_node_20 | 20 | n |  | TRUE
18 | bus_MV_661_0_node_21 | 20 | n |  | TRUE
19 | bus_MV_661_0_node_61 | 20 | n |  | TRUE
20 | bus_MV_661_0_node_19 | 20 | n |  | TRUE
21 | bus_MV_661_0_node_91 | 20 | n |  | TRUE
22 | bus_MV_661_0_node_8 | 20 | n |  | TRUE
23 | bus_MV_661_0_node_9 | 20 | n |  | TRUE
24 | bus_MV_661_0_node_10 | 20 | n |  | TRUE
25 | bus_MV_661_0_node_11 | 20 | n |  | TRUE
26 | bus_MV_661_0_node_55 | 20 | n |  | TRUE
27 | bus_MV_661_0_node_24 | 20 | n |  | TRUE
28 | bus_MV_661_0_node_12 | 20 | n |  | TRUE
29 | bus_MV_661_0_node_13 | 20 | n |  | TRUE
30 | bus_MV_661_0_node_22 | 20 | n |  | TRUE
31 | bus_MV_661_0_node_56 | 20 | n |  | TRUE
32 | bus_MV_661_0_node_76 | 20 | n |  | TRUE
33 | bus_MV_661_0_node_54 | 20 | n |  | TRUE
34 | bus_MV_661_0_node_23 | 20 | n |  | TRUE
35 | bus_MV_661_0_node_31 | 20 | n |  | TRUE
36 | bus_MV_661_0_node_77 | 20 | n |  | TRUE
37 | bus_MV_661_0_node_14 | 20 | n |  | TRUE
38 | bus_MV_661_0_node_15 | 20 | n |  | TRUE
39 | bus_MV_661_0_node_16 | 20 | n |  | TRUE
40 | bus_MV_661_0_node_17 | 20 | n |  | TRUE
41 | bus_MV_661_0_node_62 | 20 | n |  | TRUE
42 | bus_MV_661_0_node_84 | 20 | n |  | TRUE
43 | bus_MV_661_0_node_60 | 20 | n |  | TRUE
44 | bus_MV_661_0_node_96 | 20 | n |  | TRUE
45 | bus_MV_661_0_node_63 | 20 | n |  | TRUE
46 | bus_MV_661_0_node_58 | 20 | n |  | TRUE
47 | bus_MV_661_0_node_57 | 20 | n |  | TRUE
48 | bus_MV_661_0_node_92 | 20 | n |  | TRUE
49 | bus_MV_661_0_node_93 | 20 | n |  | TRUE
50 | bus_MV_661_0_node_98 | 20 | n |  | TRUE
51 | bus_MV_661_0_node_29 | 20 | n |  | TRUE
52 | bus_MV_661_0_node_25 | 20 | n |  | TRUE
53 | bus_MV_661_0_node_26 | 20 | n |  | TRUE
54 | bus_MV_661_0_node_27 | 20 | n |  | TRUE
55 | bus_MV_661_0_node_41 | 20 | n |  | TRUE
56 | bus_MV_661_0_node_30 | 20 | n |  | TRUE
57 | bus_MV_661_0_node_37 | 20 | n |  | TRUE
58 | bus_MV_661_0_node_28 | 20 | n |  | TRUE
59 | bus_MV_661_0_node_32 | 20 | n |  | TRUE
60 | bus_MV_661_0_node_33 | 20 | n |  | TRUE
61 | bus_MV_661_0_node_34 | 20 | n |  | TRUE
62 | bus_MV_661_0_node_43 | 20 | n |  | TRUE
63 | bus_MV_661_0_node_44 | 20 | n |  | TRUE
64 | bus_MV_661_0_node_45 | 20 | n |  | TRUE
65 | bus_MV_661_0_node_35 | 20 | n |  | TRUE
66 | bus_MV_661_0_node_36 | 20 | n |  | TRUE
67 | bus_MV_661_0_node_38 | 20 | n |  | TRUE
68 | bus_MV_661_0_node_39 | 20 | n |  | TRUE
69 | bus_MV_661_0_node_40 | 20 | n |  | TRUE
70 | bus_MV_661_0_node_47 | 20 | n |  | TRUE
71 | bus_MV_661_0_node_42 | 20 | n |  | TRUE
72 | bus_MV_661_0_node_52 | 20 | n |  | TRUE
73 | bus_MV_661_0_node_53 | 20 | n |  | TRUE
74 | bus_MV_661_0_node_46 | 20 | n |  | TRUE
75 | bus_MV_661_0_node_74 | 20 | n |  | TRUE
76 | bus_MV_661_0_node_75 | 20 | n |  | TRUE
77 | bus_MV_661_0_node_51 | 20 | n |  | TRUE
78 | bus_MV_661_0_node_48 | 20 | n |  | TRUE
79 | bus_MV_661_0_node_49 | 20 | n |  | TRUE
80 | bus_MV_661_0_node_69 | 20 | n |  | TRUE
81 | bus_MV_661_0_node_70 | 20 | n |  | TRUE
82 | bus_MV_661_0_node_71 | 20 | n |  | TRUE
83 | bus_MV_661_0_node_68 | 20 | n |  | TRUE
84 | bus_MV_661_0_node_72 | 20 | n |  | TRUE
85 | bus_MV_661_0_node_73 | 20 | n |  | TRUE
86 | bus_MV_661_0_node_94 | 20 | n |  | TRUE
87 | bus_MV_661_0_node_65 | 20 | n |  | TRUE
88 | bus_MV_661_0_node_66 | 20 | n |  | TRUE
89 | bus_MV_661_0_node_67 | 20 | n |  | TRUE
90 | bus_MV_661_0_node_81 | 20 | n |  | TRUE
91 | bus_MV_661_0_node_82 | 20 | n |  | TRUE
92 | bus_MV_661_0_node_86 | 20 | n |  | TRUE
93 | bus_MV_661_0_node_87 | 20 | n |  | TRUE
94 | bus_MV_661_0_node_88 | 20 | n |  | TRUE
95 | bus_MV_661_0_node_89 | 20 | n |  | TRUE
96 | bus_MV_661_0_node_78 | 20 | n |  | TRUE
97 | bus_MV_661_0_node_95 | 20 | n |  | TRUE
98 | bus_HV_661_0_node_21 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_661_0_load_0 | 0 | 0.41257 | 0.19982 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_661_0_load_2 | 2 | 0.098736 | 0.04782 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_661_0_load_7 | 4 | 0.094345 | 0.045693 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_661_0_load_59 | 5 | 0.23162 | 0.11218 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_661_0_load_99 | 6 | 0.25532 | 0.12366 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_661_0_load_85 | 8 | 0.093634 | 0.045349 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_661_0_load_79 | 11 | 0.24918 | 0.12069 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_661_0_load_80 | 12 | 0.08736 | 0.042311 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_661_0_load_97 | 14 | 0.39065 | 0.1892 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_661_0_load_90 | 15 | 0.087093 | 0.042181 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_661_0_load_19 | 20 | 0.33964 | 0.16449 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_661_0_load_91 | 21 | 0.08939 | 0.043294 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_661_0_load_8 | 22 | 0.24276 | 0.11757 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_661_0_load_55 | 26 | 0.23739 | 0.11497 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_661_0_load_24 | 27 | 0.31508 | 0.1526 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_661_0_load_56 | 31 | 0.22962 | 0.11121 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_661_0_load_76 | 32 | 0.33924 | 0.1643 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_661_0_load_54 | 33 | 0.24989 | 0.12103 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_661_0_load_14 | 37 | 0.31225 | 0.15123 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_661_0_load_84 | 42 | 0.074307 | 0.035988 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_661_0_load_60 | 43 | 0.33327 | 0.16141 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_661_0_load_96 | 44 | 0.071848 | 0.034798 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_661_0_load_58 | 46 | 0.23917 | 0.11584 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_661_0_load_57 | 47 | 0.31767 | 0.15385 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_661_0_load_92 | 48 | 0.096016 | 0.046503 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_661_0_load_93 | 49 | 0.068524 | 0.033188 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_661_0_load_98 | 50 | 0.36723 | 0.17786 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_661_0_load_25 | 52 | 0.30946 | 0.14988 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_661_0_load_41 | 55 | 0.38558 | 0.18674 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_661_0_load_28 | 58 | 0.26239 | 0.12708 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_661_0_load_32 | 59 | 0.36295 | 0.17578 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_661_0_load_43 | 62 | 0.34722 | 0.16817 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_661_0_load_44 | 63 | 0.096339 | 0.046659 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_661_0_load_45 | 64 | 0.22781 | 0.11033 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_661_0_load_36 | 66 | 0.082512 | 0.039963 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_661_0_load_47 | 70 | 0.39488 | 0.19125 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_661_0_load_42 | 71 | 0.33496 | 0.16223 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_661_0_load_52 | 72 | 0.1226 | 0.059378 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_661_0_load_74 | 75 | 0.088179 | 0.042707 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_661_0_load_75 | 76 | 0.088787 | 0.043001 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_661_0_load_48 | 78 | 0.27616 | 0.13375 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_661_0_load_69 | 80 | 0.31771 | 0.15387 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_661_0_load_94 | 86 | 0.089695 | 0.043441 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_661_0_load_65 | 87 | 0.30801 | 0.14918 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_661_0_load_67 | 89 | 0.093166 | 0.045122 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_661_0_load_81 | 90 | 0.65599 | 0.31771 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_661_0_load_87 | 93 | 0.15593 | 0.075522 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_661_0_load_89 | 95 | 0.071699 | 0.034726 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_661_0_load_95 | 97 | 0.076052 | 0.036834 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_661_0_line_0 |  | 0 | 1 | 0.014942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_661_0_line_1 |  | 0 | 2 | 0.02372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_661_0_line_2 |  | 1 | 3 | 0.072378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_661_0_line_3 |  | 2 | 4 | 0.024074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_661_0_line_4 |  | 3 | 8 | 0.018225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_661_0_line_5 |  | 4 | 15 | 0.027681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_661_0_line_6 |  | 5 | 6 | 0.063671 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
7 | MV_661_0_line_7 |  | 5 | 7 | 0.019282 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
8 | MV_661_0_line_8 |  | 6 | 82 | 0.007596 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_661_0_line_9 |  | 7 | 79 | 0.074539 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
10 | MV_661_0_line_10 |  | 8 | 16 | 0.029558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_661_0_line_11 |  | 9 | 10 | 0.16061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_661_0_line_12 |  | 9 | 11 | 0.030587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_661_0_line_13 |  | 10 | 12 | 0.010818 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_661_0_line_14 |  | 10 | 13 | 0.1529 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_661_0_line_15 |  | 13 | 14 | 0.008986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_661_0_line_16 |  | 14 | 17 | 0.22831 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_661_0_line_17 |  | 15 | 21 | 0.025002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_661_0_line_18 |  | 16 | 92 | 0.004878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_661_0_line_19 |  | 16 | 91 | 0.006708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_661_0_line_20 |  | 17 | 18 | 0.1297 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_661_0_line_21 |  | 17 | 19 | 0.14025 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
22 | MV_661_0_line_22 |  | 17 | 20 | 0.062719 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_661_0_line_23 |  | 18 | 46 | 0.007496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_661_0_line_24 |  | 19 | 45 | 0.01204 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_661_0_line_25 |  | 20 | 40 | 0.005623 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_661_0_line_26 |  | 21 | 83 | 0.01474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_661_0_line_27 |  | 22 | 23 | 0.003028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_661_0_line_28 |  | 23 | 24 | 0.097705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_661_0_line_29 |  | 23 | 25 | 0.16644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_661_0_line_30 |  | 24 | 26 | 0.015152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_661_0_line_31 |  | 25 | 27 | 0.010895 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_661_0_line_32 |  | 26 | 33 | 0.049219 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_661_0_line_33 |  | 28 | 29 | 0.27556 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_661_0_line_34 |  | 28 | 30 | 0.12115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_661_0_line_35 |  | 28 | 31 | 0.006157 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_661_0_line_36 |  | 29 | 32 | 0.018615 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_661_0_line_37 |  | 30 | 34 | 0.021064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_661_0_line_38 |  | 30 | 35 | 0.063863 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_661_0_line_39 |  | 32 | 36 | 0.005265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_661_0_line_40 |  | 33 | 35 | 0.027508 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_661_0_line_41 |  | 34 | 47 | 0.006297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_661_0_line_42 |  | 35 | 51 | 0.15292 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_661_0_line_43 |  | 36 | 96 | 0.34211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_661_0_line_44 |  | 37 | 38 | 0.00579 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_661_0_line_45 |  | 38 | 39 | 0.006578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_661_0_line_46 |  | 38 | 40 | 0.020358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_661_0_line_47 |  | 39 | 41 | 0.046598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_661_0_line_48 |  | 39 | 42 | 0.020438 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_661_0_line_49 |  | 41 | 43 | 0.009849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_661_0_line_50 |  | 44 | 45 | 0.053693 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_661_0_line_51 |  | 45 | 48 | 0.011524 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_661_0_line_52 |  | 48 | 49 | 0.017365 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_661_0_line_53 |  | 49 | 50 | 0.035514 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
54 | MV_661_0_line_54 |  | 50 | 84 | 0.021664 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_661_0_line_55 |  | 51 | 58 | 0.047225 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_661_0_line_56 |  | 52 | 53 | 0.052532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_661_0_line_57 |  | 53 | 54 | 0.050447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_661_0_line_58 |  | 54 | 55 | 0.001754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_661_0_line_59 |  | 54 | 56 | 0.074423 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_661_0_line_60 |  | 55 | 57 | 0.003049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_661_0_line_61 |  | 56 | 58 | 0.005563 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_661_0_line_62 |  | 57 | 65 | 0.14741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_661_0_line_63 |  | 59 | 60 | 0.009052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_661_0_line_64 |  | 60 | 61 | 0.17491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_661_0_line_65 |  | 61 | 62 | 0.007396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_661_0_line_66 |  | 62 | 63 | 0.014911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_661_0_line_67 |  | 62 | 64 | 0.022312 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_661_0_line_68 |  | 64 | 74 | 0.020278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_661_0_line_69 |  | 65 | 66 | 0.012114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_661_0_line_70 |  | 65 | 67 | 0.021961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_661_0_line_71 |  | 65 | 68 | 0.25922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_661_0_line_72 |  | 66 | 69 | 0.027804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_661_0_line_73 |  | 67 | 70 | 0.005146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_661_0_line_74 |  | 68 | 71 | 0.014687 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_661_0_line_75 |  | 69 | 72 | 0.031142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_661_0_line_76 |  | 72 | 73 | 0.021965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_661_0_line_77 |  | 73 | 76 | 0.018087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_661_0_line_78 |  | 73 | 74 | 0.018592 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
79 | MV_661_0_line_79 |  | 74 | 75 | 0.045239 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
80 | MV_661_0_line_80 |  | 75 | 77 | 0.03418 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
81 | MV_661_0_line_81 |  | 77 | 79 | 0.091884 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
82 | MV_661_0_line_82 |  | 78 | 79 | 0.006764 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_661_0_line_83 |  | 80 | 81 | 0.054742 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_661_0_line_84 |  | 81 | 82 | 0.048653 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
85 | MV_661_0_line_85 |  | 81 | 83 | 0.096966 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
86 | MV_661_0_line_86 |  | 83 | 85 | 0.047195 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
87 | MV_661_0_line_87 |  | 83 | 88 | 0.017642 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_661_0_line_88 |  | 84 | 85 | 0.067198 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
89 | MV_661_0_line_89 |  | 85 | 86 | 0.0090755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_661_0_line_90 |  | 87 | 88 | 0.015333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_661_0_line_91 |  | 87 | 89 | 0.018622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_661_0_line_92 |  | 90 | 91 | 0.052687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_661_0_line_93 |  | 92 | 93 | 0.016848 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_661_0_line_94 |  | 93 | 94 | 0.035961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_661_0_line_95 |  | 94 | 95 | 0.0031693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_661_0_line_96 |  | 96 | 97 | 0.033186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_661_0_trafo_21 | 25 MVA 110/20 kV | 98 | 18 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2500002.8432 | 1117251.8536
1 | 2500004.8945 | 1117266.6511
2 | 2499998.4147 | 1117228.6792
3 | 2499953.7339 | 1117268.1311
4 | 2499997.5009 | 1117204.6221
5 | 2499968.404 | 1117000.8213
6 | 2499974.0006 | 1117064.2462
7 | 2499987.3445 | 1116997.2059
8 | 2499937.2365 | 1117260.3852
9 | 2500123.5658 | 1117286.0476
10 | 2500126.5105 | 1117239.0363
11 | 2500101.5218 | 1117264.8427
12 | 2500118.849 | 1117231.3802
13 | 2500151.2769 | 1117213.7784
14 | 2500157.1794 | 1117207.0212
15 | 2499996.4502 | 1117176.9607
16 | 2499910.481 | 1117247.8227
17 | 2500184.4656 | 1116980.3514
18 | 2500096.6051 | 1116952.295
19 | 2500141.8155 | 1117113.961
20 | 2500228.8338 | 1117024.6807
21 | 2499995.5013 | 1117151.9772
22 | 2500352.5423 | 1116866.9547
23 | 2500350.5181 | 1116869.2116
24 | 2500276.5846 | 1116818.1867
25 | 2500452.1629 | 1116927.9308
26 | 2500266.6831 | 1116829.6793
27 | 2500451.0194 | 1116917.0984
28 | 2500267.4343 | 1116937.4899
29 | 2500406.5468 | 1117082.4668
30 | 2500203.4782 | 1116872.5593
31 | 2500261.3005 | 1116938.2025
32 | 2500420.0748 | 1117094.296
33 | 2500220.7093 | 1116812.104
34 | 2500182.5635 | 1116874.9391
35 | 2500193.2424 | 1116809.5221
36 | 2500423.7426 | 1117098.0825
37 | 2500243.4872 | 1117038.7146
38 | 2500239.527 | 1117042.9492
39 | 2500235.0281 | 1117047.7597
40 | 2500224.9402 | 1117028.7475
41 | 2500202.9758 | 1117066.6668
42 | 2500249.474 | 1117062.2179
43 | 2500195.929 | 1117059.7676
44 | 2500165.1582 | 1117166.0973
45 | 2500133.5369 | 1117122.7031
46 | 2500089.2812 | 1116950.6038
47 | 2500182.0958 | 1116881.2174
48 | 2500125.4584 | 1117130.9217
49 | 2500113.2856 | 1117143.3055
50 | 2500077.9657 | 1117147.0135
51 | 2500164.9075 | 1116682.3433
52 | 2499970.9655 | 1116644.5893
53 | 2500023.2579 | 1116651.0068
54 | 2500038.3946 | 1116668.968
55 | 2500038.1608 | 1116670.7063
56 | 2500112.4192 | 1116676.6615
57 | 2500037.7475 | 1116673.7261
58 | 2500117.9238 | 1116677.5712
59 | 2499908.0639 | 1116769.6966
60 | 2499909.4755 | 1116760.7566
61 | 2499900.768 | 1116849.0114
62 | 2499908.1728 | 1116848.5776
63 | 2499907.2533 | 1116833.6946
64 | 2499930.4088 | 1116846.7418
65 | 2500006.268 | 1116792.7318
66 | 2500006.6447 | 1116804.4809
67 | 2500023.7917 | 1116789.3068
68 | 2500098.6456 | 1116823.4474
69 | 2500003.7309 | 1116832.1318
70 | 2500023.22 | 1116794.4195
71 | 2500113.2214 | 1116825.2523
72 | 2499973.3143 | 1116827.4048
73 | 2499951.4376 | 1116826.5038
74 | 2499950.6176 | 1116845.0734
75 | 2499949.4791 | 1116890.2799
76 | 2499937.0151 | 1116823.519
77 | 2499949.9236 | 1116924.4568
78 | 2499988.8142 | 1116938.556
79 | 2499995.5958 | 1116938.7329
80 | 2500064.1957 | 1117033.1632
81 | 2500018.1528 | 1117062.7711
82 | 2499979.6967 | 1117069.2886
83 | 2499995.1112 | 1117137.243
84 | 2500062.5927 | 1117162.3215
85 | 2500024.3256 | 1117125.5973
86 | 2500028.0104 | 1117117.3035
87 | 2499982.9089 | 1117155.878
88 | 2499978.734 | 1117142.239
89 | 2499964.3034 | 1117156.6731
90 | 2499926.7876 | 1117289.9924
91 | 2499909.7967 | 1117253.1262
92 | 2499909.4316 | 1117244.5936
93 | 2499916.3696 | 1117229.2405
94 | 2499931.1784 | 1117196.4704
95 | 2499932.2147 | 1117193.4754
96 | 2500638.2471 | 1117041.732
97 | 2500615.0025 | 1117036.3728
98 | 2500096.6051 | 1116952.295

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99774 | -0.061685 | 0.41257 | 0.19982
1 | 0.99772 | -0.061515 | 0 | 0
2 | 0.99778 | -0.062071 | 0.098736 | 0.04782
3 | 0.99763 | -0.060687 | 0 | 0
4 | 0.99783 | -0.062491 | 0.094345 | 0.045693
5 | 0.99742 | -0.078654 | 0.23162 | 0.11218
6 | 0.99767 | -0.065047 | 0.25532 | 0.12366
7 | 0.99735 | -0.082607 | 0 | 0
8 | 0.99761 | -0.060478 | 0.093634 | 0.045349
9 | 0.9991 | -0.0029777 | 0 | 0
10 | 0.99915 | -0.0034303 | 0 | 0
11 | 0.99909 | -0.0028871 | 0.24918 | 0.12069
12 | 0.99915 | -0.003419 | 0.08736 | 0.042311
13 | 0.99922 | -0.0039821 | 0 | 0
14 | 0.99922 | -0.0040135 | 0.39065 | 0.1892
15 | 0.99789 | -0.063004 | 0.087093 | 0.042181
16 | 0.99758 | -0.06017 | 0 | 0
17 | 0.99954 | -0.0018332 | 0 | 0
18 | 1 | 0 | -11.1124 | -5.2794
19 | 0.99868 | -0.049918 | 0 | 0
20 | 0.99941 | -0.0026519 | 0.33964 | 0.16449
21 | 0.99794 | -0.063493 | 0.08939 | 0.043294
22 | 0.99471 | -0.076136 | 0.24276 | 0.11757
23 | 0.99471 | -0.076145 | 0 | 0
24 | 0.99478 | -0.07677 | 0 | 0
25 | 0.99465 | -0.075535 | 0 | 0
26 | 0.99479 | -0.076866 | 0.23739 | 0.11497
27 | 0.99464 | -0.075493 | 0.31508 | 0.1526
28 | 0.99469 | -0.076743 | 0 | 0
29 | 0.99454 | -0.075584 | 0 | 0
30 | 0.99479 | -0.077551 | 0 | 0
31 | 0.99469 | -0.076726 | 0.22962 | 0.11121
32 | 0.99453 | -0.075502 | 0.33924 | 0.1643
33 | 0.99487 | -0.076358 | 0.24989 | 0.12103
34 | 0.99478 | -0.077471 | 0 | 0
35 | 0.99491 | -0.076693 | 0 | 0
36 | 0.99453 | -0.0755 | 0 | 0
37 | 0.99939 | -0.0024103 | 0.31225 | 0.15123
38 | 0.99939 | -0.0024319 | 0 | 0
39 | 0.99938 | -0.0024006 | 0 | 0
40 | 0.99941 | -0.0026044 | 0 | 0
41 | 0.99936 | -0.0022169 | 0 | 0
42 | 0.99938 | -0.0023827 | 0.074307 | 0.035988
43 | 0.99936 | -0.0021777 | 0.33327 | 0.16141
44 | 0.99864 | -0.050109 | 0.071848 | 0.034798
45 | 0.99864 | -0.050062 | 0 | 0
46 | 1 | 2.1406e-05 | 0.23917 | 0.11584
47 | 0.99478 | -0.077447 | 0.31767 | 0.15385
48 | 0.99861 | -0.050199 | 0.096016 | 0.046503
49 | 0.99856 | -0.050403 | 0.068524 | 0.033188
50 | 0.99835 | -0.062276 | 0.36723 | 0.17786
51 | 0.9953 | -0.080116 | 0 | 0
52 | 0.99578 | -0.076337 | 0.30946 | 0.14988
53 | 0.9958 | -0.076531 | 0 | 0
54 | 0.99582 | -0.076714 | 0 | 0
55 | 0.99583 | -0.076764 | 0.38558 | 0.18674
56 | 0.9955 | -0.078974 | 0 | 0
57 | 0.99584 | -0.076867 | 0 | 0
58 | 0.99548 | -0.078833 | 0.26239 | 0.12708
59 | 0.99675 | -0.084089 | 0.36295 | 0.17578
60 | 0.99675 | -0.084129 | 0 | 0
61 | 0.99684 | -0.084868 | 0 | 0
62 | 0.99684 | -0.084898 | 0.34722 | 0.16817
63 | 0.99684 | -0.084881 | 0.096339 | 0.046659
64 | 0.99686 | -0.085107 | 0.22781 | 0.11033
65 | 0.9964 | -0.081805 | 0 | 0
66 | 0.99646 | -0.08231 | 0.082512 | 0.039963
67 | 0.99639 | -0.081701 | 0 | 0
68 | 0.99629 | -0.08081 | 0 | 0
69 | 0.99659 | -0.083496 | 0 | 0
70 | 0.99638 | -0.081676 | 0.39488 | 0.19125
71 | 0.99628 | -0.08087 | 0.33496 | 0.16223
72 | 0.99674 | -0.084823 | 0.1226 | 0.059378
73 | 0.99685 | -0.085791 | 0 | 0
74 | 0.99689 | -0.085352 | 0 | 0
75 | 0.99701 | -0.084015 | 0.088179 | 0.042707
76 | 0.99685 | -0.085772 | 0.088787 | 0.043001
77 | 0.99707 | -0.083782 | 0 | 0
78 | 0.99722 | -0.083128 | 0.27616 | 0.13375
79 | 0.99722 | -0.08315 | 0 | 0
80 | 0.99775 | -0.064398 | 0.31771 | 0.15387
81 | 0.99778 | -0.064604 | 0 | 0
82 | 0.99768 | -0.064988 | 0 | 0
83 | 0.99797 | -0.063796 | 0 | 0
84 | 0.99829 | -0.06252 | 0 | 0
85 | 0.9981 | -0.063274 | 0 | 0
86 | 0.9981 | -0.063264 | 0.089695 | 0.043441
87 | 0.99796 | -0.063639 | 0.30801 | 0.14918
88 | 0.99796 | -0.063713 | 0 | 0
89 | 0.99795 | -0.063619 | 0.093166 | 0.045122
90 | 0.99753 | -0.059704 | 0.65599 | 0.31771
91 | 0.99757 | -0.060117 | 0 | 0
92 | 0.99758 | -0.060157 | 0 | 0
93 | 0.99757 | -0.060112 | 0.15593 | 0.075522
94 | 0.99757 | -0.060082 | 0 | 0
95 | 0.99757 | -0.060079 | 0.071699 | 0.034726
96 | 0.9945 | -0.075292 | 0 | 0
97 | 0.9945 | -0.075262 | 0.076052 | 0.036834
98 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.97746 | 0.4673 | -0.97744 | -0.46765 | 1.9603e-05 | -0.00034933 | 0.031346 | 0.031351 | 0.031351 | 0.99774 | -0.061685 | 0.99772 | -0.061515 | 14.2504
1 | -1.39 | -0.66712 | 1.3901 | 0.66657 | 6.3005e-05 | -0.00054511 | 0.044609 | 0.044602 | 0.044609 | 0.99774 | -0.061685 | 0.99778 | -0.062071 | 20.277
2 | 0.97744 | 0.46765 | -0.97735 | -0.46934 | 9.5036e-05 | -0.0016919 | 0.031351 | 0.031372 | 0.031372 | 0.99772 | -0.061515 | 0.99763 | -0.060687 | 14.2602
3 | -1.4888 | -0.71439 | 1.4889 | 0.71384 | 7.335e-05 | -0.00055053 | 0.047776 | 0.047769 | 0.047776 | 0.99778 | -0.062071 | 0.99783 | -0.062491 | 21.7165
4 | 0.97735 | 0.46934 | -0.97733 | -0.46977 | 2.3951e-05 | -0.00042598 | 0.031372 | 0.031378 | 0.031378 | 0.99763 | -0.060687 | 0.99761 | -0.060478 | 14.2627
5 | -1.5832 | -0.75953 | 1.5833 | 0.7589 | 9.5358e-05 | -0.00062981 | 0.050802 | 0.050794 | 0.050802 | 0.99783 | -0.062491 | 0.99789 | -0.063004 | 23.0918
6 | -5.628 | -2.6583 | 5.6287 | 2.6602 | 0.00073763 | 0.001896 | 0.18014 | 0.18014 | 0.18014 | 0.99742 | -0.078654 | 0.99767 | -0.065047 | 27.9289
7 | 5.3964 | 2.5461 | -5.3962 | -2.5456 | 0.0002053 | 0.00052555 | 0.17269 | 0.17269 | 0.17269 | 0.99742 | -0.078654 | 0.99735 | -0.082607 | 26.7742
8 | -5.884 | -2.7838 | 5.8841 | 2.7834 | 8.3263e-05 | -0.00042817 | 0.18835 | 0.18834 | 0.18835 | 0.99767 | -0.065047 | 0.99768 | -0.064988 | 29.5217
9 | 5.3962 | 2.5456 | -5.3955 | -2.5499 | 0.00068713 | -0.0042711 | 0.17269 | 0.17275 | 0.17275 | 0.99735 | -0.082607 | 0.99722 | -0.08315 | 27.077
10 | 0.88369 | 0.42442 | -0.88366 | -0.42511 | 3.1764e-05 | -0.00069292 | 0.028367 | 0.028376 | 0.028376 | 0.99761 | -0.060478 | 0.99758 | -0.06017 | 12.8983
11 | -0.24919 | -0.11996 | 0.2492 | 0.11613 | 1.3609e-05 | -0.003824 | 0.0079907 | 0.0079433 | 0.0079907 | 0.9991 | -0.0029777 | 0.99915 | -0.0034303 | 3.6321
12 | 0.24919 | 0.11996 | -0.24918 | -0.12069 | 2.6103e-06 | -0.00072821 | 0.0079907 | 0.0079998 | 0.0079998 | 0.9991 | -0.0029777 | 0.99909 | -0.0028871 | 3.6363
13 | 0.087361 | 0.042053 | -0.08736 | -0.042311 | 1.1347e-07 | -0.00025782 | 0.0028012 | 0.0028045 | 0.0028045 | 0.99915 | -0.0034303 | 0.99915 | -0.003419 | 1.2748
14 | -0.33656 | -0.15819 | 0.33658 | 0.15455 | 2.3467e-05 | -0.0036378 | 0.010744 | 0.0107 | 0.010744 | 0.99915 | -0.0034303 | 0.99922 | -0.0039821 | 4.8838
15 | -0.33658 | -0.15455 | 0.33659 | 0.15433 | 1.3731e-06 | -0.00021381 | 0.0107 | 0.010697 | 0.0107 | 0.99922 | -0.0039821 | 0.99922 | -0.0040135 | 4.8636
16 | -0.72723 | -0.34353 | 0.72745 | 0.3434 | 0.00021959 | -0.00013467 | 0.023236 | 0.023233 | 0.023236 | 0.99922 | -0.0040135 | 0.99954 | -0.0018332 | 11.0648
17 | -1.6704 | -0.80109 | 1.6705 | 0.80052 | 9.5853e-05 | -0.00056602 | 0.053593 | 0.053586 | 0.053593 | 0.99789 | -0.063004 | 0.99794 | -0.063493 | 24.3605
18 | 0.22764 | 0.1088 | -0.22763 | -0.10892 | 3.472e-07 | -0.0001158 | 0.007301 | 0.0073024 | 0.0073024 | 0.99758 | -0.06017 | 0.99758 | -0.060157 | 3.3193
19 | 0.65602 | 0.31631 | -0.65602 | -0.31647 | 3.978e-06 | -0.00015821 | 0.021075 | 0.021077 | 0.021077 | 0.99758 | -0.06017 | 0.99757 | -0.060117 | 9.5806
20 | -10.8544 | -5.1587 | 10.8593 | 5.1533 | 0.0048267 | -0.0054276 | 0.34709 | 0.34699 | 0.34709 | 0.99954 | -0.0018332 | 1 | 0 | 54.4025
21 | 9.0674 | 4.3049 | -9.0632 | -4.2938 | 0.0042077 | 0.011121 | 0.28989 | 0.28989 | 0.28989 | 0.99954 | -0.0018332 | 0.99868 | -0.049918 | 44.9443
22 | 1.0596 | 0.51038 | -1.0595 | -0.51038 | 0.00012893 | 5.9648e-06 | 0.033967 | 0.033968 | 0.033968 | 0.99954 | -0.0018332 | 0.99941 | -0.0026519 | 16.1754
23 | 0.23917 | 0.11566 | -0.23917 | -0.11584 | 5.8875e-07 | -0.0001788 | 0.0076692 | 0.0076714 | 0.0076714 | 1 | 0 | 1 | 2.1406e-05 | 3.487
24 | 9.0632 | 4.2938 | -9.0628 | -4.2944 | 0.00031265 | -0.00057841 | 0.28989 | 0.2899 | 0.2899 | 0.99868 | -0.049918 | 0.99864 | -0.050062 | 45.4389
25 | 0.71985 | 0.34588 | -0.71984 | -0.34602 | 3.9949e-06 | -0.00013291 | 0.023068 | 0.02307 | 0.02307 | 0.99941 | -0.0026519 | 0.99941 | -0.0026044 | 10.4863
26 | -1.7599 | -0.84381 | 1.76 | 0.84348 | 6.2721e-05 | -0.0003319 | 0.056459 | 0.056454 | 0.056459 | 0.99794 | -0.063493 | 0.99797 | -0.063796 | 25.6631
27 | -0.24276 | -0.11757 | 0.24276 | 0.1175 | 2.4768e-07 | -7.1461e-05 | 0.0078279 | 0.007827 | 0.0078279 | 0.99471 | -0.076136 | 0.99471 | -0.076145 | 3.5581
28 | -0.55787 | -0.26592 | 0.55791 | 0.26363 | 4.189e-05 | -0.002296 | 0.017935 | 0.017906 | 0.017935 | 0.99471 | -0.076145 | 0.99478 | -0.07677 | 8.1523
29 | 0.31511 | 0.14842 | -0.31508 | -0.15234 | 2.2814e-05 | -0.0039251 | 0.010108 | 0.010157 | 0.010157 | 0.99471 | -0.076145 | 0.99465 | -0.075535 | 4.617
30 | -0.55791 | -0.26363 | 0.55791 | 0.26327 | 6.4842e-06 | -0.00035609 | 0.017906 | 0.017902 | 0.017906 | 0.99478 | -0.07677 | 0.99479 | -0.076866 | 8.1392
31 | 0.31508 | 0.15234 | -0.31508 | -0.1526 | 1.5011e-06 | -0.00025691 | 0.010157 | 0.010161 | 0.010161 | 0.99465 | -0.075535 | 0.99464 | -0.075493 | 4.6185
32 | -0.7953 | -0.37824 | 0.79536 | 0.37822 | 5.727e-05 | -2.228e-05 | 0.025556 | 0.025555 | 0.025556 | 0.99479 | -0.076866 | 0.99487 | -0.076358 | 12.1693
33 | 0.41537 | 0.18522 | -0.4153 | -0.19171 | 6.4464e-05 | -0.0064896 | 0.013199 | 0.013277 | 0.013277 | 0.99469 | -0.076743 | 0.99454 | -0.075584 | 6.0349
34 | -0.64499 | -0.29629 | 0.64505 | 0.29344 | 6.8514e-05 | -0.002842 | 0.020599 | 0.020565 | 0.020599 | 0.99469 | -0.076743 | 0.99479 | -0.077551 | 9.3632
35 | 0.22962 | 0.11106 | -0.22962 | -0.11121 | 4.5054e-07 | -0.00014531 | 0.0074026 | 0.0074044 | 0.0074044 | 0.99469 | -0.076743 | 0.99469 | -0.076726 | 3.3656
36 | 0.4153 | 0.19171 | -0.4153 | -0.19215 | 4.3824e-06 | -0.00043831 | 0.013277 | 0.013282 | 0.013282 | 0.99454 | -0.075584 | 0.99453 | -0.075502 | 6.0374
37 | 0.31767 | 0.15321 | -0.31767 | -0.15371 | 2.9473e-06 | -0.00049681 | 0.010235 | 0.010241 | 0.010241 | 0.99479 | -0.077551 | 0.99478 | -0.077471 | 4.6549
38 | -0.96273 | -0.44665 | 0.96284 | 0.44665 | 0.00010792 | -7.8591e-06 | 0.030797 | 0.030796 | 0.030797 | 0.99479 | -0.077551 | 0.99491 | -0.076693 | 14.6654
39 | 0.076055 | 0.027847 | -0.076055 | -0.027972 | 3.8908e-08 | -0.00012433 | 0.0023509 | 0.0023521 | 0.0023521 | 0.99453 | -0.075502 | 0.99453 | -0.0755 | 1.0692
40 | -1.0452 | -0.49925 | 1.0453 | 0.49861 | 4.1477e-05 | -0.00063778 | 0.033611 | 0.033603 | 0.033611 | 0.99487 | -0.076358 | 0.99491 | -0.076693 | 15.2779
41 | 0.31767 | 0.15371 | -0.31767 | -0.15385 | 8.8178e-07 | -0.00014852 | 0.010241 | 0.010243 | 0.010243 | 0.99478 | -0.077471 | 0.99478 | -0.077447 | 4.6558
42 | -2.0081 | -0.94525 | 2.009 | 0.94189 | 0.00084606 | -0.0033645 | 0.064399 | 0.064354 | 0.064399 | 0.99491 | -0.076693 | 0.9953 | -0.080116 | 29.2721
43 | 0.076055 | 0.027972 | -0.076052 | -0.03605 | 2.6201e-06 | -0.0080782 | 0.0023521 | 0.002443 | 0.002443 | 0.99453 | -0.0755 | 0.9945 | -0.075292 | 1.1105
44 | -0.31225 | -0.15123 | 0.31225 | 0.15109 | 7.7616e-07 | -0.00013784 | 0.010021 | 0.01002 | 0.010021 | 0.99939 | -0.0024103 | 0.99939 | -0.0024319 | 4.5552
45 | 0.40758 | 0.19541 | -0.40758 | -0.19557 | 1.4972e-06 | -0.00015642 | 0.013056 | 0.013058 | 0.013058 | 0.99939 | -0.0024319 | 0.99938 | -0.0024006 | 5.9355
46 | -0.71983 | -0.3465 | 0.71984 | 0.34602 | 1.4469e-05 | -0.0004812 | 0.023076 | 0.02307 | 0.023076 | 0.99939 | -0.0024319 | 0.99941 | -0.0026044 | 10.4891
47 | 0.33327 | 0.16006 | -0.33327 | -0.16117 | 7.1041e-06 | -0.0011091 | 0.010679 | 0.010693 | 0.010693 | 0.99938 | -0.0024006 | 0.99936 | -0.0022169 | 4.8606
48 | 0.074307 | 0.035501 | -0.074307 | -0.035988 | 1.548e-07 | -0.00048734 | 0.0023788 | 0.0023849 | 0.0023849 | 0.99938 | -0.0024006 | 0.99938 | -0.0023827 | 1.084
49 | 0.33327 | 0.16117 | -0.33327 | -0.16141 | 1.5039e-06 | -0.00023441 | 0.010693 | 0.010696 | 0.010696 | 0.99936 | -0.0022169 | 0.99936 | -0.0021777 | 4.862
50 | -0.071848 | -0.034798 | 0.071848 | 0.034734 | 5.0927e-07 | -6.3606e-05 | 0.0023077 | 0.0023069 | 0.0023077 | 0.99864 | -0.050109 | 0.99864 | -0.050062 | 1.0989
51 | 8.991 | 4.2596 | -8.9907 | -4.2602 | 0.00029454 | -0.00055625 | 0.28759 | 0.2876 | 0.2876 | 0.99864 | -0.050062 | 0.99861 | -0.050199 | 45.0787
52 | 8.8947 | 4.2137 | -8.8943 | -4.2145 | 0.00043438 | -0.00084337 | 0.28452 | 0.28453 | 0.28453 | 0.99861 | -0.050199 | 0.99856 | -0.050403 | 44.5974
53 | 8.8257 | 4.1814 | -8.8247 | -4.1787 | 0.0010106 | 0.0026687 | 0.28233 | 0.28233 | 0.28233 | 0.99856 | -0.050403 | 0.99835 | -0.062276 | 43.7723
54 | 8.4575 | 4.0008 | -8.457 | -4.0019 | 0.00048997 | -0.0010807 | 0.27053 | 0.27055 | 0.27055 | 0.99835 | -0.062276 | 0.99829 | -0.06252 | 42.406
55 | -2.009 | -0.94189 | 2.0093 | 0.94205 | 0.00034846 | 0.00016241 | 0.064354 | 0.064353 | 0.064354 | 0.9953 | -0.080116 | 0.99548 | -0.078833 | 30.6448
56 | -0.30946 | -0.14988 | 0.30947 | 0.14864 | 6.9574e-06 | -0.0012417 | 0.0099681 | 0.0099524 | 0.0099681 | 0.99578 | -0.076337 | 0.9958 | -0.076531 | 4.5309
57 | -0.30947 | -0.14864 | 0.30948 | 0.14745 | 6.6608e-06 | -0.0011924 | 0.0099524 | 0.0099375 | 0.0099524 | 0.9958 | -0.076531 | 0.99582 | -0.076714 | 4.5238
58 | -2.5819 | -1.2168 | 2.5819 | 1.2168 | 1.6031e-05 | -3.6775e-05 | 0.082742 | 0.082741 | 0.082742 | 0.99582 | -0.076714 | 0.99583 | -0.076764 | 37.61
59 | 2.2725 | 1.0694 | -2.2717 | -1.069 | 0.00070286 | 0.00035217 | 0.072805 | 0.072806 | 0.072806 | 0.99582 | -0.076714 | 0.9955 | -0.078974 | 34.6693
60 | -2.9675 | -1.4035 | 2.9676 | 1.4035 | 3.6859e-05 | -6.126e-05 | 0.09516 | 0.095159 | 0.09516 | 0.99583 | -0.076764 | 0.99584 | -0.076867 | 43.2546
61 | 2.2717 | 1.069 | -2.2717 | -1.0691 | 3.9367e-05 | -0.00011995 | 0.072806 | 0.072807 | 0.072807 | 0.9955 | -0.078974 | 0.99548 | -0.078833 | 33.0942
62 | -2.9676 | -1.4035 | 2.9693 | 1.4005 | 0.0017812 | -0.0029639 | 0.095159 | 0.095116 | 0.095159 | 0.99584 | -0.076867 | 0.9964 | -0.081805 | 43.2541
63 | -0.36295 | -0.17578 | 0.36295 | 0.17557 | 1.6481e-06 | -0.00021424 | 0.01168 | 0.011677 | 0.01168 | 0.99675 | -0.084089 | 0.99675 | -0.084129 | 5.3089
64 | -0.36295 | -0.17557 | 0.36298 | 0.17143 | 3.1697e-05 | -0.0041401 | 0.011677 | 0.011625 | 0.011677 | 0.99675 | -0.084129 | 0.99684 | -0.084868 | 5.3077
65 | -0.36298 | -0.17143 | 0.36298 | 0.17126 | 1.3341e-06 | -0.00017508 | 0.011625 | 0.011623 | 0.011625 | 0.99684 | -0.084868 | 0.99684 | -0.084898 | 5.2841
66 | 0.096339 | 0.046305 | -0.096339 | -0.046659 | 1.9102e-07 | -0.00035372 | 0.0030954 | 0.0030999 | 0.0030999 | 0.99684 | -0.084898 | 0.99684 | -0.084881 | 1.409
67 | -0.80654 | -0.38573 | 0.80656 | 0.3852 | 1.9961e-05 | -0.00052344 | 0.02589 | 0.025884 | 0.02589 | 0.99684 | -0.084898 | 0.99686 | -0.085107 | 11.7684
68 | -1.0344 | -0.49554 | 1.0344 | 0.49506 | 2.9857e-05 | -0.00047227 | 0.033214 | 0.033208 | 0.033214 | 0.99686 | -0.085107 | 0.99689 | -0.085352 | 15.0971
69 | -3.6992 | -1.7472 | 3.6995 | 1.747 | 0.00022719 | -0.00021978 | 0.11853 | 0.11852 | 0.11853 | 0.9964 | -0.081805 | 0.99646 | -0.08231 | 53.8757
70 | 0.39489 | 0.19061 | -0.39489 | -0.19113 | 4.7339e-06 | -0.00051915 | 0.012704 | 0.01271 | 0.01271 | 0.9964 | -0.081805 | 0.99639 | -0.081701 | 5.7774
71 | 0.33501 | 0.15608 | -0.33497 | -0.16221 | 3.9958e-05 | -0.0061322 | 0.010707 | 0.010784 | 0.010784 | 0.9964 | -0.081805 | 0.99629 | -0.08081 | 4.9018
72 | -3.782 | -1.7869 | 3.7825 | 1.7864 | 0.00054502 | -0.00049757 | 0.12118 | 0.12117 | 0.12118 | 0.99646 | -0.08231 | 0.99659 | -0.083496 | 55.0813
73 | 0.39489 | 0.19113 | -0.39488 | -0.19125 | 1.11e-06 | -0.00012165 | 0.01271 | 0.012712 | 0.012712 | 0.99639 | -0.081701 | 0.99638 | -0.081676 | 5.7781
74 | 0.33497 | 0.16221 | -0.33496 | -0.16223 | 3.0432e-06 | -1.5497e-05 | 0.010784 | 0.010784 | 0.010784 | 0.99629 | -0.08081 | 0.99628 | -0.08087 | 5.1353
75 | -3.7825 | -1.7864 | 3.7831 | 1.7859 | 0.00061037 | -0.00055755 | 0.12117 | 0.12116 | 0.12117 | 0.99659 | -0.083496 | 0.99674 | -0.084823 | 55.0776
76 | -3.9057 | -1.8453 | 3.9062 | 1.8449 | 0.00045894 | -0.00038495 | 0.12511 | 0.1251 | 0.12511 | 0.99674 | -0.084823 | 0.99685 | -0.085791 | 56.8667
77 | 0.088787 | 0.042572 | -0.088787 | -0.043001 | 1.9669e-07 | -0.00042907 | 0.0028514 | 0.0028568 | 0.0028568 | 0.99685 | -0.085791 | 0.99685 | -0.085772 | 1.2986
78 | -3.995 | -1.8874 | 3.9951 | 1.8869 | 0.00014701 | -0.000527 | 0.12795 | 0.12794 | 0.12795 | 0.99685 | -0.085791 | 0.99689 | -0.085352 | 35.3457
79 | -5.0295 | -2.382 | 5.0301 | 2.3808 | 0.00056737 | -0.0011302 | 0.16115 | 0.16113 | 0.16115 | 0.99689 | -0.085352 | 0.99701 | -0.084015 | 44.5169
80 | -5.1183 | -2.4236 | 5.1186 | 2.4216 | 0.00028391 | -0.001975 | 0.16397 | 0.16394 | 0.16397 | 0.99701 | -0.084015 | 0.99707 | -0.083782 | 25.7004
81 | -5.1186 | -2.4216 | 5.1193 | 2.4163 | 0.00076277 | -0.0053108 | 0.16394 | 0.16387 | 0.16394 | 0.99707 | -0.083782 | 0.99722 | -0.08315 | 25.6963
82 | -0.27616 | -0.13375 | 0.27616 | 0.13359 | 7.123e-07 | -0.00016039 | 0.0088826 | 0.0088806 | 0.0088826 | 0.99722 | -0.083128 | 0.99722 | -0.08315 | 4.0375
83 | -0.31771 | -0.15387 | 0.31772 | 0.15258 | 7.6113e-06 | -0.0012989 | 0.010214 | 0.010197 | 0.010214 | 0.99775 | -0.064398 | 0.99778 | -0.064604 | 4.6425
84 | 5.8847 | 2.7807 | -5.8841 | -2.7834 | 0.00053319 | -0.0027429 | 0.1883 | 0.18834 | 0.18834 | 0.99778 | -0.064604 | 0.99768 | -0.064988 | 29.5208
85 | -6.2024 | -2.9332 | 6.2036 | 2.9278 | 0.0011802 | -0.0054021 | 0.1985 | 0.19843 | 0.1985 | 0.99778 | -0.064604 | 0.99797 | -0.063796 | 31.1131
86 | -8.3647 | -3.9644 | 8.3658 | 3.962 | 0.0010454 | -0.002365 | 0.26776 | 0.26772 | 0.26776 | 0.99797 | -0.063796 | 0.9981 | -0.063274 | 41.9685
87 | 0.40119 | 0.19308 | -0.40118 | -0.19349 | 3.9081e-06 | -0.00041836 | 0.012879 | 0.012884 | 0.012884 | 0.99797 | -0.063796 | 0.99796 | -0.063713 | 5.8564
88 | 8.457 | 4.0019 | -8.4555 | -4.0053 | 0.0015202 | -0.0033509 | 0.27055 | 0.2706 | 0.2706 | 0.99829 | -0.06252 | 0.9981 | -0.063274 | 42.4141
89 | 0.089695 | 0.043225 | -0.089695 | -0.043441 | 1.0057e-07 | -0.00021584 | 0.0028797 | 0.0028824 | 0.0028824 | 0.9981 | -0.063274 | 0.9981 | -0.063264 | 1.3102
90 | -0.40118 | -0.19386 | 0.40118 | 0.19349 | 3.3992e-06 | -0.0003636 | 0.012889 | 0.012884 | 0.012889 | 0.99796 | -0.063639 | 0.99796 | -0.063713 | 5.8585
91 | 0.093166 | 0.04468 | -0.093166 | -0.045122 | 2.2251e-07 | -0.00044275 | 0.0029889 | 0.0029944 | 0.0029944 | 0.99796 | -0.063639 | 0.99795 | -0.063619 | 1.3611
92 | -0.65599 | -0.31771 | 0.65602 | 0.31647 | 3.127e-05 | -0.0012425 | 0.021093 | 0.021077 | 0.021093 | 0.99753 | -0.059704 | 0.99757 | -0.060117 | 9.5877
93 | 0.22763 | 0.10892 | -0.22763 | -0.10932 | 1.2002e-06 | -0.00039996 | 0.0073024 | 0.0073074 | 0.0073074 | 0.99758 | -0.060157 | 0.99757 | -0.060112 | 3.3216
94 | 0.0717 | 0.033796 | -0.071699 | -0.03465 | 2.5375e-07 | -0.00085436 | 0.0022938 | 0.0023044 | 0.0023044 | 0.99757 | -0.060112 | 0.99757 | -0.060082 | 1.0475
95 | 0.071699 | 0.03465 | -0.071699 | -0.034726 | 2.2485e-08 | -7.5296e-05 | 0.0023044 | 0.0023054 | 0.0023054 | 0.99757 | -0.060082 | 0.99757 | -0.060079 | 1.0479
96 | 0.076052 | 0.03605 | -0.076052 | -0.036834 | 2.6548e-07 | -0.00078358 | 0.002443 | 0.0024529 | 0.0024529 | 0.9945 | -0.075292 | 0.9945 | -0.075262 | 1.1149

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.1124 | 5.2794

## res_load
| p_mw | q_mvar
0 | 0.41257 | 0.19982
1 | 0.098736 | 0.04782
2 | 0.094345 | 0.045693
3 | 0.23162 | 0.11218
4 | 0.25532 | 0.12366
5 | 0.093634 | 0.045349
6 | 0.24918 | 0.12069
7 | 0.08736 | 0.042311
8 | 0.39065 | 0.1892
9 | 0.087093 | 0.042181
10 | 0.33964 | 0.16449
11 | 0.08939 | 0.043294
12 | 0.24276 | 0.11757
13 | 0.23739 | 0.11497
14 | 0.31508 | 0.1526
15 | 0.22962 | 0.11121
16 | 0.33924 | 0.1643
17 | 0.24989 | 0.12103
18 | 0.31225 | 0.15123
19 | 0.074307 | 0.035988
20 | 0.33327 | 0.16141
21 | 0.071848 | 0.034798
22 | 0.23917 | 0.11584
23 | 0.31767 | 0.15385
24 | 0.096016 | 0.046503
25 | 0.068524 | 0.033188
26 | 0.36723 | 0.17786
27 | 0.30946 | 0.14988
28 | 0.38558 | 0.18674
29 | 0.26239 | 0.12708
30 | 0.36295 | 0.17578
31 | 0.34722 | 0.16817
32 | 0.096339 | 0.046659
33 | 0.22781 | 0.11033
34 | 0.082512 | 0.039963
35 | 0.39488 | 0.19125
36 | 0.33496 | 0.16223
37 | 0.1226 | 0.059378
38 | 0.088179 | 0.042707
39 | 0.088787 | 0.043001
40 | 0.27616 | 0.13375
41 | 0.31771 | 0.15387
42 | 0.089695 | 0.043441
43 | 0.30801 | 0.14918
44 | 0.093166 | 0.045122
45 | 0.65599 | 0.31771
46 | 0.15593 | 0.075522
47 | 0.071699 | 0.034726
48 | 0.076052 | 0.036834

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1