## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_662_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_662_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_662_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_662_0_node_90 | 20 | n |  | TRUE
4 | bus_MV_662_0_node_91 | 20 | n |  | TRUE
5 | bus_MV_662_0_node_22 | 20 | n |  | TRUE
6 | bus_MV_662_0_node_82 | 20 | n |  | TRUE
7 | bus_MV_662_0_node_2 | 20 | n |  | TRUE
8 | bus_MV_662_0_node_7 | 20 | n |  | TRUE
9 | bus_MV_662_0_node_96 | 20 | n |  | TRUE
10 | bus_MV_662_0_node_4 | 20 | n |  | TRUE
11 | bus_MV_662_0_node_10 | 20 | n |  | TRUE
12 | bus_MV_662_0_node_73 | 20 | n |  | TRUE
13 | bus_MV_662_0_node_5 | 20 | n |  | TRUE
14 | bus_MV_662_0_node_105 | 20 | n |  | TRUE
15 | bus_MV_662_0_node_24 | 20 | n |  | TRUE
16 | bus_MV_662_0_node_6 | 20 | n |  | TRUE
17 | bus_MV_662_0_node_9 | 20 | n |  | TRUE
18 | bus_MV_662_0_node_65 | 20 | n |  | TRUE
19 | bus_MV_662_0_node_68 | 20 | n |  | TRUE
20 | bus_MV_662_0_node_41 | 20 | n |  | TRUE
21 | bus_MV_662_0_node_103 | 20 | n |  | TRUE
22 | bus_MV_662_0_node_94 | 20 | n |  | TRUE
23 | bus_MV_662_0_node_11 | 20 | n |  | TRUE
24 | bus_MV_662_0_node_63 | 20 | n |  | TRUE
25 | bus_MV_662_0_node_118 | 20 | n |  | TRUE
26 | bus_MV_662_0_node_12 | 20 | n |  | TRUE
27 | bus_MV_662_0_node_14 | 20 | n |  | TRUE
28 | bus_MV_662_0_node_15 | 20 | n |  | TRUE
29 | bus_MV_662_0_node_64 | 20 | n |  | TRUE
30 | bus_MV_662_0_node_104 | 20 | n |  | TRUE
31 | bus_MV_662_0_node_60 | 20 | n |  | TRUE
32 | bus_MV_662_0_node_25 | 20 | n |  | TRUE
33 | bus_MV_662_0_node_23 | 20 | n |  | TRUE
34 | bus_MV_662_0_node_79 | 20 | n |  | TRUE
35 | bus_MV_662_0_node_99 | 20 | n |  | TRUE
36 | bus_MV_662_0_node_21 | 20 | n |  | TRUE
37 | bus_MV_662_0_node_69 | 20 | n |  | TRUE
38 | bus_MV_662_0_node_67 | 20 | n |  | TRUE
39 | bus_MV_662_0_node_58 | 20 | n |  | TRUE
40 | bus_MV_662_0_node_89 | 20 | n |  | TRUE
41 | bus_MV_662_0_node_88 | 20 | n |  | TRUE
42 | bus_MV_662_0_node_57 | 20 | n |  | TRUE
43 | bus_MV_662_0_node_86 | 20 | n |  | TRUE
44 | bus_MV_662_0_node_95 | 20 | n |  | TRUE
45 | bus_MV_662_0_node_113 | 20 | n |  | TRUE
46 | bus_MV_662_0_node_102 | 20 | n |  | TRUE
47 | bus_MV_662_0_node_98 | 20 | n |  | TRUE
48 | bus_MV_662_0_node_119 | 20 | n |  | TRUE
49 | bus_MV_662_0_node_122 | 20 | n |  | TRUE
50 | bus_MV_662_0_node_114 | 20 | n |  | TRUE
51 | bus_MV_662_0_node_29 | 20 | n |  | TRUE
52 | bus_MV_662_0_node_16 | 20 | n |  | TRUE
53 | bus_MV_662_0_node_17 | 20 | n |  | TRUE
54 | bus_MV_662_0_node_61 | 20 | n |  | TRUE
55 | bus_MV_662_0_node_18 | 20 | n |  | TRUE
56 | bus_MV_662_0_node_19 | 20 | n |  | TRUE
57 | bus_MV_662_0_node_20 | 20 | n |  | TRUE
58 | bus_MV_662_0_node_117 | 20 | n |  | TRUE
59 | bus_MV_662_0_node_78 | 20 | n |  | TRUE
60 | bus_MV_662_0_node_75 | 20 | n |  | TRUE
61 | bus_MV_662_0_node_59 | 20 | n |  | TRUE
62 | bus_MV_662_0_node_76 | 20 | n |  | TRUE
63 | bus_MV_662_0_node_77 | 20 | n |  | TRUE
64 | bus_MV_662_0_node_87 | 20 | n |  | TRUE
65 | bus_MV_662_0_node_33 | 20 | n |  | TRUE
66 | bus_MV_662_0_node_62 | 20 | n |  | TRUE
67 | bus_MV_662_0_node_121 | 20 | n |  | TRUE
68 | bus_MV_662_0_node_81 | 20 | n |  | TRUE
69 | bus_MV_662_0_node_80 | 20 | n |  | TRUE
70 | bus_MV_662_0_node_34 | 20 | n |  | TRUE
71 | bus_MV_662_0_node_26 | 20 | n |  | TRUE
72 | bus_MV_662_0_node_28 | 20 | n |  | TRUE
73 | bus_MV_662_0_node_27 | 20 | n |  | TRUE
74 | bus_MV_662_0_node_31 | 20 | n |  | TRUE
75 | bus_MV_662_0_node_32 | 20 | n |  | TRUE
76 | bus_MV_662_0_node_30 | 20 | n |  | TRUE
77 | bus_MV_662_0_node_106 | 20 | n |  | TRUE
78 | bus_MV_662_0_node_108 | 20 | n |  | TRUE
79 | bus_MV_662_0_node_93 | 20 | n |  | TRUE
80 | bus_MV_662_0_node_107 | 20 | n |  | TRUE
81 | bus_MV_662_0_node_110 | 20 | n |  | TRUE
82 | bus_MV_662_0_node_52 | 20 | n |  | TRUE
83 | bus_MV_662_0_node_35 | 20 | n |  | TRUE
84 | bus_MV_662_0_node_66 | 20 | n |  | TRUE
85 | bus_MV_662_0_node_36 | 20 | n |  | TRUE
86 | bus_MV_662_0_node_37 | 20 | n |  | TRUE
87 | bus_MV_662_0_node_38 | 20 | n |  | TRUE
88 | bus_MV_662_0_node_40 | 20 | n |  | TRUE
89 | bus_MV_662_0_node_74 | 20 | n |  | TRUE
90 | bus_MV_662_0_node_39 | 20 | n |  | TRUE
91 | bus_MV_662_0_node_116 | 20 | n |  | TRUE
92 | bus_MV_662_0_node_51 | 20 | n |  | TRUE
93 | bus_MV_662_0_node_53 | 20 | n |  | TRUE
94 | bus_MV_662_0_node_115 | 20 | n |  | TRUE
95 | bus_MV_662_0_node_50 | 20 | n |  | TRUE
96 | bus_MV_662_0_node_120 | 20 | n |  | TRUE
97 | bus_MV_662_0_node_49 | 20 | n |  | TRUE
98 | bus_MV_662_0_node_42 | 20 | n |  | TRUE
99 | bus_MV_662_0_node_48 | 20 | n |  | TRUE
100 | bus_MV_662_0_node_101 | 20 | n |  | TRUE
101 | bus_MV_662_0_node_46 | 20 | n |  | TRUE
102 | bus_MV_662_0_node_83 | 20 | n |  | TRUE
103 | bus_MV_662_0_node_97 | 20 | n |  | TRUE
104 | bus_MV_662_0_node_109 | 20 | n |  | TRUE
105 | bus_MV_662_0_node_111 | 20 | n |  | TRUE
106 | bus_MV_662_0_node_44 | 20 | n |  | TRUE
107 | bus_MV_662_0_node_45 | 20 | n |  | TRUE
108 | bus_MV_662_0_node_112 | 20 | n |  | TRUE
109 | bus_MV_662_0_node_100 | 20 | n |  | TRUE
110 | bus_MV_662_0_node_72 | 20 | n |  | TRUE
111 | bus_MV_662_0_node_54 | 20 | n |  | TRUE
112 | bus_MV_662_0_node_56 | 20 | n |  | TRUE
113 | bus_MV_662_0_node_70 | 20 | n |  | TRUE
114 | bus_MV_662_0_node_71 | 20 | n |  | TRUE
115 | bus_MV_662_0_node_85 | 20 | n |  | TRUE
116 | bus_MV_662_0_node_84 | 20 | n |  | TRUE
117 | bus_MV_662_0_node_92 | 20 | n |  | TRUE
118 | bus_HV_662_0_node_6 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_662_0_load_0 | 0 | 0.17951 | 0.086939 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_662_0_load_90 | 3 | 0.19422 | 0.094064 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_662_0_load_91 | 4 | 0.41078 | 0.19895 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_662_0_load_22 | 5 | 0.41054 | 0.19883 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_662_0_load_82 | 6 | 0.086347 | 0.04182 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_662_0_load_96 | 9 | 0.081216 | 0.039335 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_662_0_load_73 | 12 | 0.17927 | 0.086826 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_662_0_load_105 | 14 | 0.32229 | 0.15609 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_662_0_load_65 | 18 | 0.31808 | 0.15405 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_662_0_load_41 | 20 | 0.39516 | 0.19138 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_662_0_load_94 | 22 | 0.11182 | 0.054155 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_662_0_load_63 | 24 | 0.2579 | 0.12491 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_662_0_load_118 | 25 | 0.29302 | 0.14191 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_662_0_load_64 | 29 | 0.35594 | 0.17239 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_662_0_load_104 | 30 | 0.40877 | 0.19798 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_662_0_load_60 | 31 | 0.36734 | 0.17791 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_662_0_load_23 | 33 | 0.28101 | 0.1361 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_662_0_load_99 | 35 | 0.2793 | 0.13527 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_662_0_load_69 | 37 | 0.29044 | 0.14067 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_662_0_load_89 | 40 | 0.069367 | 0.033596 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_662_0_load_88 | 41 | 0.074202 | 0.035938 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_662_0_load_86 | 43 | 0.071432 | 0.034596 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_662_0_load_95 | 44 | 0.1091 | 0.052842 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_662_0_load_113 | 45 | 0.06852 | 0.033186 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_662_0_load_122 | 49 | 0.60704 | 0.294 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_662_0_load_114 | 50 | 0.40115 | 0.19429 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_662_0_load_16 | 52 | 0.21918 | 0.10615 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_662_0_load_19 | 56 | 0.34382 | 0.16652 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_662_0_load_117 | 58 | 0.30775 | 0.14905 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_662_0_load_75 | 60 | 0.12346 | 0.059793 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_662_0_load_87 | 64 | 0.08461 | 0.040979 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_662_0_load_33 | 65 | 0.33815 | 0.16377 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_662_0_load_121 | 67 | 0.11555 | 0.055965 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_662_0_load_80 | 69 | 0.1101 | 0.053325 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_662_0_load_26 | 71 | 0.35962 | 0.17417 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_662_0_load_106 | 77 | 0.25705 | 0.12449 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_662_0_load_108 | 78 | 0.34999 | 0.16951 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_662_0_load_93 | 79 | 0.068746 | 0.033295 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_662_0_load_66 | 84 | 0.15608 | 0.075591 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_662_0_load_36 | 85 | 0.36553 | 0.17703 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_662_0_load_74 | 89 | 0.32713 | 0.15844 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_662_0_load_116 | 91 | 0.22318 | 0.10809 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_662_0_load_115 | 94 | 0.31269 | 0.15144 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_662_0_load_120 | 96 | 0.06824 | 0.03305 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_662_0_load_42 | 98 | 0.399 | 0.19324 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_662_0_load_101 | 100 | 0.31002 | 0.15015 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_662_0_load_46 | 101 | 0.14681 | 0.071101 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_662_0_load_83 | 102 | 0.11675 | 0.056547 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_662_0_load_97 | 103 | 0.083615 | 0.040497 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_662_0_load_109 | 104 | 0.3738 | 0.18104 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_662_0_load_111 | 105 | 0.23125 | 0.112 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_662_0_load_112 | 108 | 0.30282 | 0.14666 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_662_0_load_54 | 111 | 0.17654 | 0.085501 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_662_0_load_85 | 115 | 0.076735 | 0.037164 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_662_0_load_92 | 117 | 0.31828 | 0.15415 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_662_0_line_0 |  | 0 | 1 | 0.056353 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_662_0_line_1 |  | 1 | 2 | 0.46705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_662_0_line_2 |  | 2 | 5 | 0.030177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_662_0_line_3 |  | 3 | 4 | 0.064998 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_662_0_line_4 |  | 3 | 5 | 0.18728 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_662_0_line_5 |  | 3 | 6 | 0.14293 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_662_0_line_6 |  | 4 | 59 | 0.004537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_662_0_line_7 |  | 7 | 8 | 0.14724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_662_0_line_8 |  | 7 | 9 | 0.0097433 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_662_0_line_9 |  | 8 | 20 | 0.062645 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_662_0_line_10 |  | 10 | 11 | 0.23858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_662_0_line_11 |  | 10 | 12 | 0.003871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_662_0_line_12 |  | 11 | 22 | 0.035041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_662_0_line_13 |  | 13 | 14 | 0.006592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_662_0_line_14 |  | 13 | 15 | 0.18145 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_662_0_line_15 |  | 15 | 32 | 0.17622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_662_0_line_16 |  | 15 | 33 | 0.006422 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_662_0_line_17 |  | 16 | 17 | 0.20826 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_662_0_line_18 |  | 16 | 18 | 0.028346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_662_0_line_19 |  | 16 | 19 | 0.16763 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
20 | MV_662_0_line_20 |  | 17 | 21 | 0.036691 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
21 | MV_662_0_line_21 |  | 19 | 37 | 0.005967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_662_0_line_22 |  | 19 | 38 | 0.12101 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
23 | MV_662_0_line_23 |  | 20 | 34 | 0.1776 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_662_0_line_24 |  | 21 | 45 | 0.069401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_662_0_line_25 |  | 21 | 46 | 0.006697 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_662_0_line_26 |  | 22 | 35 | 0.11839 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_662_0_line_27 |  | 23 | 24 | 0.007188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_662_0_line_28 |  | 23 | 25 | 0.11224 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_662_0_line_29 |  | 25 | 48 | 0.037224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_662_0_line_30 |  | 25 | 49 | 0.10529 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_662_0_line_31 |  | 26 | 27 | 0.24777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_662_0_line_32 |  | 26 | 28 | 0.25308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_662_0_line_33 |  | 26 | 29 | 0.009498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_662_0_line_34 |  | 27 | 30 | 0.0080276 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_662_0_line_35 |  | 28 | 31 | 0.016662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_662_0_line_36 |  | 29 | 50 | 0.16737 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_662_0_line_37 |  | 31 | 54 | 0.006009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_662_0_line_38 |  | 32 | 65 | 0.07662 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_662_0_line_39 |  | 33 | 51 | 0.1547 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_662_0_line_40 |  | 34 | 35 | 0.035457 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_662_0_line_41 |  | 34 | 36 | 0.4179 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_662_0_line_42 |  | 35 | 47 | 0.015133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_662_0_line_43 |  | 36 | 59 | 0.17141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_662_0_line_44 |  | 36 | 60 | 0.050609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_662_0_line_45 |  | 37 | 113 | 0.032108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_662_0_line_46 |  | 38 | 84 | 0.005429 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
47 | MV_662_0_line_47 |  | 39 | 40 | 0.05457 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_662_0_line_48 |  | 39 | 41 | 0.058395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_662_0_line_49 |  | 40 | 44 | 0.02221 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_662_0_line_50 |  | 42 | 43 | 0.033779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_662_0_line_51 |  | 42 | 44 | 0.055816 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_662_0_line_52 |  | 44 | 63 | 0.087535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_662_0_line_53 |  | 44 | 112 | 0.11839 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_662_0_line_54 |  | 46 | 100 | 0.007396 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_662_0_line_55 |  | 47 | 109 | 0.14876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_662_0_line_56 |  | 48 | 80 | 0.048793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_662_0_line_57 |  | 49 | 55 | 0.008482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_662_0_line_58 |  | 50 | 51 | 0.017597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_662_0_line_59 |  | 52 | 53 | 0.043868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_662_0_line_60 |  | 53 | 55 | 0.12353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_662_0_line_61 |  | 54 | 66 | 0.051122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_662_0_line_62 |  | 56 | 57 | 0.01757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_662_0_line_63 |  | 57 | 58 | 0.27099 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_662_0_line_64 |  | 58 | 61 | 0.046414 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_662_0_line_65 |  | 59 | 63 | 0.023106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_662_0_line_66 |  | 61 | 112 | 0.17271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_662_0_line_67 |  | 62 | 63 | 0.024201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_662_0_line_68 |  | 62 | 64 | 0.034682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_662_0_line_69 |  | 65 | 70 | 0.004391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_662_0_line_70 |  | 66 | 67 | 0.017161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_662_0_line_71 |  | 66 | 68 | 0.049002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_662_0_line_72 |  | 68 | 69 | 0.058594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_662_0_line_73 |  | 70 | 83 | 0.050432 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
74 | MV_662_0_line_74 |  | 70 | 75 | 0.067849 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
75 | MV_662_0_line_75 |  | 71 | 72 | 0.006003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_662_0_line_76 |  | 71 | 73 | 0.072936 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_662_0_line_77 |  | 72 | 74 | 0.12594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_662_0_line_78 |  | 72 | 75 | 0.097365 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
79 | MV_662_0_line_79 |  | 73 | 76 | 0.25088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_662_0_line_80 |  | 74 | 78 | 0.009795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_662_0_line_81 |  | 75 | 79 | 0.020759 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_662_0_line_82 |  | 76 | 77 | 0.021927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_662_0_line_83 |  | 77 | 80 | 0.013177 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_662_0_line_84 |  | 78 | 81 | 0.010259 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_662_0_line_85 |  | 81 | 82 | 0.088598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_662_0_line_86 |  | 82 | 104 | 0.008549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_662_0_line_87 |  | 82 | 90 | 0.27866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_662_0_line_88 |  | 83 | 84 | 0.050252 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
89 | MV_662_0_line_89 |  | 85 | 86 | 0.001563 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_662_0_line_90 |  | 86 | 87 | 0.9879 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_662_0_line_91 |  | 87 | 88 | 0.19144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_662_0_line_92 |  | 87 | 89 | 0.006617 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_662_0_line_93 |  | 88 | 94 | 0.004094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_662_0_line_94 |  | 88 | 90 | 0.47268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_662_0_line_95 |  | 90 | 91 | 0.033427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_662_0_line_96 |  | 90 | 92 | 0.30986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_662_0_line_97 |  | 90 | 93 | 0.081618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_662_0_line_98 |  | 92 | 103 | 0.034412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_662_0_line_99 |  | 93 | 105 | 0.010103 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
100 | MV_662_0_line_100 |  | 95 | 96 | 0.01383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_662_0_line_101 |  | 95 | 97 | 0.19927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_662_0_line_102 |  | 95 | 98 | 0.02736 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
103 | MV_662_0_line_103 |  | 97 | 102 | 0.016733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_662_0_line_104 |  | 99 | 100 | 0.021289 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
105 | MV_662_0_line_105 |  | 99 | 101 | 0.048961 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
106 | MV_662_0_line_106 |  | 101 | 106 | 0.006301 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
107 | MV_662_0_line_107 |  | 102 | 110 | 0.03022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_662_0_line_108 |  | 106 | 107 | 0.1363 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
109 | MV_662_0_line_109 |  | 107 | 108 | 0.045119 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
110 | MV_662_0_line_110 |  | 108 | 109 | 0.006687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_662_0_line_111 |  | 110 | 116 | 0.042343 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_662_0_line_112 |  | 110 | 113 | 0.011905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_662_0_line_113 |  | 111 | 112 | 0.043198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_662_0_line_114 |  | 113 | 114 | 0.017841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_662_0_line_115 |  | 114 | 115 | 0.00048554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_662_0_line_116 |  | 116 | 117 | 0.0060167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_662_0_trafo_6 | 25 MVA 110/20 kV | 118 | 16 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2499733.7565 | 1119070.9346
1 | 2499734.0952 | 1119014.5827
2 | 2499584.0675 | 1119332.5261
3 | 2499436.9131 | 1119450.1869
4 | 2499390.9096 | 1119496.1051
5 | 2499562.6864 | 1119311.4234
6 | 2499579.5227 | 1119459.7894
7 | 2499372.8749 | 1119179.9848
8 | 2499348.0149 | 1119127.5545
9 | 2499366.396 | 1119187.186
10 | 2499328.961 | 1119010.3982
11 | 2499214.3519 | 1119093.4811
12 | 2499326.7214 | 1119013.5596
13 | 2499441.1742 | 1118902.8086
14 | 2499436.0413 | 1118906.9632
15 | 2499327.8121 | 1118761.1277
16 | 2499233.7629 | 1118936.0812
17 | 2499081.189 | 1118955.8483
18 | 2499251.6044 | 1118958.1422
19 | 2499079.1151 | 1118871.3855
20 | 2499297.4301 | 1119164.5085
21 | 2499046.4461 | 1118967.6466
22 | 2499207.1557 | 1119115.9178
23 | 2499406.4451 | 1118484.1125
24 | 2499411.3154 | 1118486.4219
25 | 2499340.5276 | 1118393.2632
26 | 2499471.9966 | 1118610.1685
27 | 2499604.1336 | 1118754.4532
28 | 2499635.6229 | 1118650.221
29 | 2499470.6055 | 1118600.7746
30 | 2499608.0933 | 1118761.4363
31 | 2499645.0968 | 1118663.9057
32 | 2499232.4886 | 1118680.909
33 | 2499323.5334 | 1118756.3292
34 | 2499124.7494 | 1119206.0231
35 | 2499105.3693 | 1119176.3833
36 | 2499296.1465 | 1119466.3969
37 | 2499075.5161 | 1118866.6203
38 | 2499113.0263 | 1118796.306
39 | 2499515.1939 | 1119589.1417
40 | 2499468.3987 | 1119572.5226
41 | 2499551.4444 | 1119544.8483
42 | 2499481.6658 | 1119626.4778
43 | 2499456.9835 | 1119649.5379
44 | 2499448.2165 | 1119581.7952
45 | 2499018.6022 | 1118904.0603
46 | 2499040.3014 | 1118970.3508
47 | 2499096.2152 | 1119164.3173
48 | 2499306.5676 | 1118408.727
49 | 2499444.8657 | 1118407.359
50 | 2499303.251 | 1118598.8681
51 | 2499287.6908 | 1118605.8426
52 | 2499494.3831 | 1118433.4413
53 | 2499531.6873 | 1118410.1848
54 | 2499649.5254 | 1118667.9792
55 | 2499453.3684 | 1118407.6178
56 | 2499247.0389 | 1119553.814
57 | 2499254.8973 | 1119566.9024
58 | 2499300.7736 | 1119833.9836
59 | 2499393.9752 | 1119499.4562
60 | 2499329.4645 | 1119504.4919
61 | 2499335.7874 | 1119803.515
62 | 2499404.8145 | 1119511.2945
63 | 2499389.2834 | 1119517.1009
64 | 2499428.23 | 1119536.8793
65 | 2499170.528 | 1118725.9809
66 | 2499684.1856 | 1118696.1553
67 | 2499696.4983 | 1118684.1658
68 | 2499689.7118 | 1118736.6112
69 | 2499718.9378 | 1118787.3811
70 | 2499166.9666 | 1118728.5641
71 | 2499064.3568 | 1118616.1493
72 | 2499068.8993 | 1118620.0871
73 | 2499113.8416 | 1118562.5679
74 | 2499001.4332 | 1118691.7915
75 | 2499114.0506 | 1118686.0975
76 | 2499239.5945 | 1118437.1488
77 | 2499259.3252 | 1118427.5142
78 | 2499007.4821 | 1118699.5064
79 | 2499100.6576 | 1118701.7307
80 | 2499272.0851 | 1118430.8038
81 | 2498998.1042 | 1118703.6656
82 | 2498928.9972 | 1118746.8248
83 | 2499158.2273 | 1118763.6095
84 | 2499117.4343 | 1118793.1194
85 | 2498671.2756 | 1118920.6013
86 | 2498672.565 | 1118919.7125
87 | 2498495.4798 | 1118833.7941
88 | 2498597.2614 | 1118766.6448
89 | 2498501.0856 | 1118830.2534
90 | 2498744.5947 | 1118660.0431
91 | 2498716.3218 | 1118678.0055
92 | 2498681.7447 | 1118716.3308
93 | 2498810.7005 | 1118636.8001
94 | 2498599.4268 | 1118770.1218
95 | 2498861.2267 | 1118930.2505
96 | 2498853.1965 | 1118918.9777
97 | 2499007.7908 | 1118874.6001
98 | 2498882.7647 | 1118947.1233
99 | 2499023.761 | 1118985.5698
100 | 2499043.3469 | 1118977.0931
101 | 2499032.0228 | 1119033.8289
102 | 2499021.2502 | 1118864.6586
103 | 2498652.6584 | 1118734.7198
104 | 2498933.8998 | 1118753.8362
105 | 2498808.3363 | 1118626.9779
106 | 2499034.8031 | 1119039.486
107 | 2498952.6254 | 1119131.5828
108 | 2498979.579 | 1119167.7664
109 | 2498982.948 | 1119173.5471
110 | 2499046.2738 | 1118848.7192
111 | 2499458.0719 | 1119732.1139
112 | 2499430.4544 | 1119698.8411
113 | 2499055.9051 | 1118841.7208
114 | 2499066.5728 | 1118830.6914
115 | 2499066.9705 | 1118830.4129
116 | 2499072.0937 | 1118882.1427
117 | 2499066.3585 | 1118883.9618
118 | 2499233.7629 | 1118936.0812

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99552 | -0.00038026 | 0.17951 | 0.086939
1 | 0.99554 | -0.00025676 | 0 | 0
2 | 0.99564 | -0.0011008 | 0 | 0
3 | 0.99586 | 0.0003949 | 0.19422 | 0.094064
4 | 0.99597 | 0.0011527 | 0.41078 | 0.19895
5 | 0.99565 | -0.0011439 | 0.41054 | 0.19883
6 | 0.99584 | 0.00024348 | 0.086347 | 0.04182
7 | 0.99775 | -0.017167 | 0 | 0
8 | 0.99776 | -0.017292 | 0 | 0
9 | 0.99775 | -0.017157 | 0.081216 | 0.039335
10 | 0.99795 | -0.017303 | 0 | 0
11 | 0.998 | -0.017772 | 0 | 0
12 | 0.99795 | -0.017295 | 0.17927 | 0.086826
13 | 0.99733 | -0.064626 | 0 | 0
14 | 0.99732 | -0.0646 | 0.32229 | 0.15609
15 | 0.99744 | -0.063911 | 0 | 0
16 | 1 | 0 | -13.3382 | -6.2761
17 | 0.99969 | -0.0013182 | 0 | 0
18 | 0.99999 | 0.00010726 | 0.31808 | 0.15405
19 | 0.99904 | -0.053756 | 0 | 0
20 | 0.99777 | -0.01721 | 0.39516 | 0.19138
21 | 0.99958 | -0.0076091 | 0 | 0
22 | 0.99801 | -0.017834 | 0.11182 | 0.054155
23 | 0.99671 | -0.073154 | 0 | 0
24 | 0.99671 | -0.073131 | 0.2579 | 0.12491
25 | 0.99676 | -0.072799 | 0.29302 | 0.14191
26 | 0.99641 | -0.06985 | 0 | 0
27 | 0.99628 | -0.068677 | 0 | 0
28 | 0.99621 | -0.068167 | 0 | 0
29 | 0.99642 | -0.069955 | 0.35594 | 0.17239
30 | 0.99627 | -0.068717 | 0.40877 | 0.19798
31 | 0.9962 | -0.068052 | 0.36734 | 0.17791
32 | 0.99797 | -0.068691 | 0 | 0
33 | 0.99742 | -0.063761 | 0.28101 | 0.1361
34 | 0.99794 | -0.016124 | 0 | 0
35 | 0.99808 | -0.017349 | 0.2793 | 0.13527
36 | 0.99653 | -0.0038096 | 0 | 0
37 | 0.99903 | -0.053669 | 0.29044 | 0.14067
38 | 0.99866 | -0.060603 | 0 | 0
39 | 0.9958 | 0.0025662 | 0 | 0
40 | 0.99581 | 0.0025244 | 0.069367 | 0.033596
41 | 0.9958 | 0.0026159 | 0.074202 | 0.035938
42 | 0.99581 | 0.0025158 | 0 | 0
43 | 0.9958 | 0.0025441 | 0.071432 | 0.034596
44 | 0.99581 | 0.0025684 | 0.1091 | 0.052842
45 | 0.99957 | -0.0075559 | 0.06852 | 0.033186
46 | 0.99957 | -0.0076502 | 0 | 0
47 | 0.99815 | -0.017968 | 0 | 0
48 | 0.99683 | -0.073405 | 0 | 0
49 | 0.9966 | -0.073896 | 0.60704 | 0.294
50 | 0.99686 | -0.066947 | 0.40115 | 0.19429
51 | 0.9969 | -0.0673 | 0 | 0
52 | 0.99655 | -0.073455 | 0.21918 | 0.10615
53 | 0.99656 | -0.073569 | 0 | 0
54 | 0.9962 | -0.068038 | 0 | 0
55 | 0.99659 | -0.073875 | 0 | 0
56 | 0.99523 | 0.0011908 | 0.34382 | 0.16652
57 | 0.99524 | 0.001118 | 0 | 0
58 | 0.99542 | 0.0022679 | 0.30775 | 0.14905
59 | 0.99598 | 0.0010862 | 0 | 0
60 | 0.99652 | -0.0037362 | 0.12346 | 0.059793
61 | 0.99548 | 0.0026398 | 0 | 0
62 | 0.99594 | 0.0014342 | 0 | 0
63 | 0.99594 | 0.0014112 | 0 | 0
64 | 0.99594 | 0.0014686 | 0.08461 | 0.040979
65 | 0.99832 | -0.066346 | 0.33815 | 0.16377
66 | 0.99619 | -0.06791 | 0 | 0
67 | 0.99618 | -0.067887 | 0.11555 | 0.055965
68 | 0.99618 | -0.067852 | 0 | 0
69 | 0.99617 | -0.067776 | 0.1101 | 0.053325
70 | 0.99833 | -0.066483 | 0 | 0
71 | 0.99775 | -0.077626 | 0.35962 | 0.17417
72 | 0.99776 | -0.077765 | 0 | 0
73 | 0.99752 | -0.079158 | 0 | 0
74 | 0.9974 | -0.074824 | 0 | 0
75 | 0.99799 | -0.075257 | 0 | 0
76 | 0.997 | -0.074388 | 0 | 0
77 | 0.99695 | -0.073966 | 0.25705 | 0.12449
78 | 0.99737 | -0.074594 | 0.34999 | 0.16951
79 | 0.99799 | -0.07524 | 0.068746 | 0.033295
80 | 0.99691 | -0.074195 | 0 | 0
81 | 0.99734 | -0.074886 | 0 | 0
82 | 0.99712 | -0.073172 | 0 | 0
83 | 0.99849 | -0.063692 | 0 | 0
84 | 0.99864 | -0.06091 | 0.15608 | 0.075591
85 | 0.99535 | -0.059348 | 0.36553 | 0.17703
86 | 0.99535 | -0.059355 | 0 | 0
87 | 0.99581 | -0.062969 | 0 | 0
88 | 0.99597 | -0.064251 | 0 | 0
89 | 0.9958 | -0.062943 | 0.32713 | 0.15844
90 | 0.99658 | -0.068953 | 0 | 0
91 | 0.99657 | -0.068864 | 0.22318 | 0.10809
92 | 0.99654 | -0.06873 | 0 | 0
93 | 0.99655 | -0.06873 | 0 | 0
94 | 0.99597 | -0.064235 | 0.31269 | 0.15144
95 | 0.99883 | -0.051817 | 0 | 0
96 | 0.99883 | -0.051806 | 0.06824 | 0.03305
97 | 0.99895 | -0.052898 | 0 | 0
98 | 0.99881 | -0.051949 | 0.399 | 0.19324
99 | 0.99953 | -0.0078181 | 0 | 0
100 | 0.99956 | -0.0076956 | 0.31002 | 0.15015
101 | 0.99939 | -0.015515 | 0.14681 | 0.071101
102 | 0.99896 | -0.052986 | 0.11675 | 0.056547
103 | 0.99654 | -0.068696 | 0.083615 | 0.040497
104 | 0.99712 | -0.073134 | 0.3738 | 0.18104
105 | 0.99655 | -0.068759 | 0.23125 | 0.112
106 | 0.99938 | -0.015713 | 0 | 0
107 | 0.99909 | -0.018957 | 0 | 0
108 | 0.99888 | -0.024303 | 0.30282 | 0.14666
109 | 0.99885 | -0.024031 | 0 | 0
110 | 0.99898 | -0.053187 | 0 | 0
111 | 0.99562 | 0.0014032 | 0.17654 | 0.085501
112 | 0.99562 | 0.0013126 | 0 | 0
113 | 0.99899 | -0.05331 | 0 | 0
114 | 0.99899 | -0.053293 | 0 | 0
115 | 0.99899 | -0.053293 | 0.076735 | 0.037164
116 | 0.99896 | -0.053027 | 0 | 0
117 | 0.99896 | -0.053004 | 0.31828 | 0.15415
118 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.17951 | -0.086939 | 0.17951 | 0.086875 | 3.3581e-06 | -6.4571e-05 | 0.0057836 | 0.0057828 | 0.0057836 | 0.99552 | -0.00038026 | 0.99554 | -0.00025676 | 2.7541
1 | -0.17951 | -0.086875 | 0.17953 | 0.075828 | 2.0363e-05 | -0.011047 | 0.0057828 | 0.0056505 | 0.0057828 | 0.99554 | -0.00025676 | 0.99564 | -0.0011008 | 2.6285
2 | -0.17953 | -0.075828 | 0.17953 | 0.075114 | 1.2845e-06 | -0.00071387 | 0.0056505 | 0.0056425 | 0.0056505 | 0.99564 | -0.0011008 | 0.99565 | -0.0011439 | 2.5684
3 | -0.87075 | -0.40951 | 0.87084 | 0.40949 | 9.0097e-05 | -2.0529e-05 | 0.027893 | 0.027892 | 0.027893 | 0.99586 | 0.0003949 | 0.99597 | 0.0011527 | 13.2824
4 | 0.59019 | 0.2738 | -0.59007 | -0.27395 | 0.0001187 | -0.00014734 | 0.018859 | 0.018862 | 0.018862 | 0.99586 | 0.0003949 | 0.99565 | -0.0011439 | 8.9819
5 | 0.086349 | 0.041652 | -0.086347 | -0.04182 | 1.9682e-06 | -0.00016799 | 0.002779 | 0.0027811 | 0.0027811 | 0.99586 | 0.0003949 | 0.99584 | 0.00024348 | 1.3244
6 | -1.2816 | -0.60844 | 1.2816 | 0.60834 | 1.0241e-05 | -0.00010442 | 0.041121 | 0.041119 | 0.041121 | 0.99597 | 0.0011527 | 0.99598 | 0.0010862 | 18.6911
7 | -0.081216 | -0.039103 | 0.081218 | 0.035604 | 1.3149e-06 | -0.0034994 | 0.002608 | 0.0025657 | 0.002608 | 0.99775 | -0.017167 | 0.99776 | -0.017292 | 1.1854
8 | 0.081216 | 0.039103 | -0.081216 | -0.039335 | 8.856e-08 | -0.00023156 | 0.002608 | 0.0026109 | 0.0026109 | 0.99775 | -0.017167 | 0.99775 | -0.017157 | 1.1868
9 | -0.081218 | -0.035604 | 0.081219 | 0.03553 | 7.3448e-07 | -7.3993e-05 | 0.0025657 | 0.0025648 | 0.0025657 | 0.99776 | -0.017292 | 0.99777 | -0.01721 | 1.2218
10 | -0.17927 | -0.086734 | 0.17928 | 0.081064 | 1.0442e-05 | -0.0056703 | 0.0057609 | 0.0056913 | 0.0057609 | 0.99795 | -0.017303 | 0.998 | -0.017772 | 2.6186
11 | 0.17927 | 0.086734 | -0.17927 | -0.086826 | 1.7155e-07 | -9.1995e-05 | 0.0057609 | 0.005762 | 0.005762 | 0.99795 | -0.017303 | 0.99795 | -0.017295 | 2.6191
12 | -0.17928 | -0.081064 | 0.17929 | 0.080231 | 1.5126e-06 | -0.00083286 | 0.0056913 | 0.0056814 | 0.0056913 | 0.998 | -0.017772 | 0.99801 | -0.017834 | 2.587
13 | 0.32229 | 0.15594 | -0.32229 | -0.15609 | 9.453e-07 | -0.00015627 | 0.010363 | 0.010365 | 0.010365 | 0.99733 | -0.064626 | 0.99732 | -0.0646 | 4.7115
14 | -0.32229 | -0.15594 | 0.32233 | 0.15574 | 3.4711e-05 | -0.00019374 | 0.010363 | 0.010361 | 0.010363 | 0.99733 | -0.064626 | 0.99744 | -0.063911 | 4.9349
15 | -2.364 | -1.1269 | 2.3653 | 1.1231 | 0.0013505 | -0.0037875 | 0.075793 | 0.075741 | 0.075793 | 0.99744 | -0.063911 | 0.99797 | -0.068691 | 34.4516
16 | 2.0416 | 0.97119 | -2.0416 | -0.97133 | 3.6708e-05 | -0.00014166 | 0.065433 | 0.065435 | 0.065435 | 0.99744 | -0.063911 | 0.99742 | -0.063761 | 29.7432
17 | 4.5306 | 2.1158 | -4.5292 | -2.1281 | 0.0013423 | -0.012326 | 0.14434 | 0.1445 | 0.1445 | 1 | 0 | 0.99969 | -0.0013182 | 22.6496
18 | 0.31808 | 0.15338 | -0.31808 | -0.15405 | 3.9357e-06 | -0.00067562 | 0.010194 | 0.010203 | 0.010203 | 1 | 0 | 0.99999 | 0.00010726 | 4.6375
19 | 8.4756 | 3.9965 | -8.4712 | -3.985 | 0.0043792 | 0.011544 | 0.27051 | 0.27051 | 0.27051 | 1 | 0 | 0.99904 | -0.053756 | 41.9393
20 | 4.5292 | 2.1281 | -4.5289 | -2.1274 | 0.00027353 | 0.00068485 | 0.1445 | 0.14451 | 0.14451 | 0.99969 | -0.0013182 | 0.99958 | -0.0076091 | 22.4039
21 | 1.2696 | 0.60587 | -1.2696 | -0.606 | 1.3163e-05 | -0.00013829 | 0.040649 | 0.040651 | 0.040651 | 0.99904 | -0.053756 | 0.99903 | -0.053669 | 18.4775
22 | 7.2016 | 3.3791 | -7.1993 | -3.3816 | 0.0023408 | -0.0024635 | 0.22986 | 0.22992 | 0.22992 | 0.99904 | -0.053756 | 0.99866 | -0.060603 | 54.6122
23 | -0.47638 | -0.22691 | 0.47645 | 0.22675 | 7.3734e-05 | -0.00016493 | 0.015266 | 0.015264 | 0.015266 | 0.99777 | -0.01721 | 0.99794 | -0.016124 | 7.2696
24 | 0.06852 | 0.03153 | -0.06852 | -0.033186 | 4.4371e-07 | -0.0016555 | 0.0021783 | 0.0021987 | 0.0021987 | 0.99958 | -0.0076091 | 0.99957 | -0.0075559 | 0.99941
25 | 4.4604 | 2.0959 | -4.4604 | -2.0963 | 4.1921e-05 | -0.00039682 | 0.14233 | 0.14233 | 0.14233 | 0.99958 | -0.0076091 | 0.99957 | -0.0076502 | 22.3091
26 | -0.2911 | -0.13439 | 0.29112 | 0.13426 | 1.8139e-05 | -0.00012942 | 0.0092741 | 0.0092724 | 0.0092741 | 0.99801 | -0.017834 | 0.99808 | -0.017349 | 4.4162
27 | 0.2579 | 0.12474 | -0.2579 | -0.12491 | 6.6079e-07 | -0.0001703 | 0.0082973 | 0.0082994 | 0.0082994 | 0.99671 | -0.073154 | 0.99671 | -0.073131 | 3.7725
28 | -0.2579 | -0.12474 | 0.25791 | 0.12461 | 1.3765e-05 | -0.0001245 | 0.0082973 | 0.0082956 | 0.0082973 | 0.99671 | -0.073154 | 0.99676 | -0.072799 | 3.9511
29 | -1.3773 | -0.66247 | 1.3774 | 0.66162 | 9.7335e-05 | -0.00085421 | 0.044262 | 0.044251 | 0.044262 | 0.99676 | -0.072799 | 0.99683 | -0.073405 | 20.1193
30 | 0.82636 | 0.39595 | -0.82623 | -0.39599 | 0.00013212 | -4.2103e-05 | 0.026538 | 0.026539 | 0.026539 | 0.99676 | -0.072799 | 0.9966 | -0.073896 | 12.6378
31 | 0.40883 | 0.19211 | -0.40877 | -0.19797 | 5.6967e-05 | -0.0058557 | 0.013087 | 0.01316 | 0.01316 | 0.99641 | -0.06985 | 0.99628 | -0.068677 | 5.9819
32 | 0.59314 | 0.27654 | -0.59302 | -0.2825 | 0.00012193 | -0.0059619 | 0.01896 | 0.019034 | 0.019034 | 0.99641 | -0.06985 | 0.99621 | -0.068167 | 8.6519
33 | -1.002 | -0.46865 | 1.002 | 0.46843 | 1.3021e-05 | -0.00022129 | 0.032047 | 0.032044 | 0.032047 | 0.99641 | -0.06985 | 0.99642 | -0.069955 | 14.5668
34 | 0.40877 | 0.19797 | -0.40877 | -0.19798 | 2.4771e-06 | -7.9605e-06 | 0.01316 | 0.01316 | 0.01316 | 0.99628 | -0.068677 | 0.99627 | -0.068717 | 6.2668
35 | 0.59302 | 0.2825 | -0.59301 | -0.2829 | 8.061e-06 | -0.00039242 | 0.019034 | 0.019039 | 0.019039 | 0.99621 | -0.068167 | 0.9962 | -0.068052 | 8.6541
36 | -1.3579 | -0.64082 | 1.3585 | 0.64098 | 0.00056426 | 0.00015498 | 0.043501 | 0.043499 | 0.043501 | 0.99642 | -0.069955 | 0.99686 | -0.066947 | 20.7149
37 | 0.22566 | 0.10498 | -0.22566 | -0.10513 | 4.1739e-07 | -0.00014226 | 0.0072122 | 0.0072139 | 0.0072139 | 0.9962 | -0.068052 | 0.9962 | -0.068038 | 3.2791
38 | -2.3653 | -1.1231 | 2.3661 | 1.1235 | 0.00078313 | 0.0003994 | 0.075741 | 0.07574 | 0.075741 | 0.99797 | -0.068691 | 0.99832 | -0.066346 | 36.0673
39 | 1.7606 | 0.83523 | -1.7597 | -0.83487 | 0.00087673 | 0.00036553 | 0.056398 | 0.056401 | 0.056401 | 0.99742 | -0.063761 | 0.9969 | -0.0673 | 26.8575
40 | -3.1244 | -1.467 | 3.1249 | 1.4663 | 0.00047186 | -0.00070324 | 0.099847 | 0.099837 | 0.099847 | 0.99794 | -0.016124 | 0.99808 | -0.017349 | 45.385
41 | 2.648 | 1.2402 | -2.644 | -1.249 | 0.0039972 | -0.0087371 | 0.084584 | 0.084706 | 0.084706 | 0.99794 | -0.016124 | 0.99653 | -0.0038096 | 38.5027
42 | -3.6953 | -1.7358 | 3.6956 | 1.7355 | 0.00028169 | -0.0002764 | 0.11808 | 0.11808 | 0.11808 | 0.99808 | -0.017349 | 0.99815 | -0.017968 | 53.6746
43 | 2.5205 | 1.1904 | -2.519 | -1.194 | 0.0014929 | -0.0036191 | 0.080747 | 0.080798 | 0.080798 | 0.99653 | -0.0038096 | 0.99598 | 0.0010862 | 36.7262
44 | 0.12346 | 0.058593 | -0.12346 | -0.059793 | 1.0628e-06 | -0.0011997 | 0.0039587 | 0.0039737 | 0.0039737 | 0.99653 | -0.0038096 | 0.99652 | -0.0037362 | 1.8062
45 | 0.97915 | 0.46534 | -0.97911 | -0.46609 | 4.2075e-05 | -0.00075262 | 0.031326 | 0.031335 | 0.031335 | 0.99903 | -0.053669 | 0.99899 | -0.05331 | 14.2433
46 | 7.1993 | 3.3816 | -7.1992 | -3.3817 | 0.00010504 | -0.00011041 | 0.22992 | 0.22992 | 0.22992 | 0.99866 | -0.060603 | 0.99864 | -0.06091 | 54.6128
47 | -0.074203 | -0.034555 | 0.074203 | 0.033264 | 4.0749e-07 | -0.0012919 | 0.0023729 | 0.0023573 | 0.0023729 | 0.9958 | 0.0025662 | 0.99581 | 0.0025244 | 1.0786
48 | 0.074203 | 0.034555 | -0.074202 | -0.035938 | 4.4211e-07 | -0.0013824 | 0.0023729 | 0.0023901 | 0.0023901 | 0.9958 | 0.0025662 | 0.9958 | 0.0026159 | 1.0864
49 | -0.14357 | -0.066859 | 0.14357 | 0.066834 | 8.3406e-07 | -2.5771e-05 | 0.0045911 | 0.0045908 | 0.0045911 | 0.99581 | 0.0025244 | 0.99581 | 0.0025684 | 2.1863
50 | 0.071432 | 0.033796 | -0.071432 | -0.034596 | 2.3768e-07 | -0.00079968 | 0.0022908 | 0.0023008 | 0.0023008 | 0.99581 | 0.0025158 | 0.9958 | 0.0025441 | 1.0458
51 | -0.071432 | -0.033796 | 0.071432 | 0.033731 | 5.2169e-07 | -6.5749e-05 | 0.0022908 | 0.00229 | 0.0022908 | 0.99581 | 0.0025158 | 0.99581 | 0.0025684 | 1.0909
52 | -1.1526 | -0.54862 | 1.1527 | 0.5466 | 0.0001599 | -0.0020254 | 0.037004 | 0.036978 | 0.037004 | 0.99581 | 0.0025684 | 0.99594 | 0.0014112 | 16.8198
53 | 0.82846 | 0.39522 | -0.82831 | -0.39526 | 0.00014935 | -4.6573e-05 | 0.026609 | 0.026611 | 0.026611 | 0.99581 | 0.0025684 | 0.99562 | 0.0013126 | 12.6717
54 | 4.4604 | 2.0963 | -4.4603 | -2.0967 | 4.63e-05 | -0.00043823 | 0.14233 | 0.14234 | 0.14234 | 0.99957 | -0.0076502 | 0.99956 | -0.0076956 | 22.31
55 | -3.6956 | -1.7355 | 3.6984 | 1.7328 | 0.0027679 | -0.0027201 | 0.11808 | 0.11804 | 0.11808 | 0.99815 | -0.017968 | 0.99885 | -0.024031 | 53.6725
56 | -1.3774 | -0.66162 | 1.3775 | 0.6605 | 0.00012751 | -0.0011199 | 0.044251 | 0.044237 | 0.044251 | 0.99683 | -0.073405 | 0.99691 | -0.074195 | 20.1143
57 | 0.21919 | 0.10199 | -0.21919 | -0.10219 | 5.5546e-07 | -0.00020098 | 0.0070026 | 0.0070051 | 0.0070051 | 0.9966 | -0.073896 | 0.99659 | -0.073875 | 3.1841
58 | -1.7596 | -0.83526 | 1.7597 | 0.83487 | 7.4736e-05 | -0.00039536 | 0.056406 | 0.056401 | 0.056406 | 0.99686 | -0.066947 | 0.9969 | -0.0673 | 25.639
59 | -0.21918 | -0.10615 | 0.21918 | 0.10511 | 2.909e-06 | -0.0010393 | 0.0070545 | 0.0070414 | 0.0070545 | 0.99655 | -0.073455 | 0.99656 | -0.073569 | 3.2066
60 | -0.21918 | -0.10511 | 0.21919 | 0.10219 | 8.1342e-06 | -0.0029268 | 0.0070414 | 0.0070051 | 0.0070414 | 0.99656 | -0.073569 | 0.99659 | -0.073875 | 3.2006
61 | 0.22566 | 0.10513 | -0.22566 | -0.10634 | 3.559e-06 | -0.0012103 | 0.0072139 | 0.0072288 | 0.0072288 | 0.9962 | -0.068038 | 0.99619 | -0.06791 | 3.2858
62 | -0.34382 | -0.16652 | 0.34383 | 0.16611 | 2.8787e-06 | -0.00041466 | 0.011081 | 0.011076 | 0.011081 | 0.99523 | 0.0011908 | 0.99524 | 0.001118 | 5.0368
63 | -0.34383 | -0.16611 | 0.34389 | 0.16582 | 5.9208e-05 | -0.00028341 | 0.011076 | 0.011072 | 0.011076 | 0.99524 | 0.001118 | 0.99542 | 0.0022679 | 5.2741
64 | -0.65163 | -0.31487 | 0.65167 | 0.31484 | 3.6426e-05 | -3.2091e-05 | 0.020988 | 0.020987 | 0.020988 | 0.99542 | 0.0022679 | 0.99548 | 0.0026398 | 9.9943
65 | 1.2374 | 0.58565 | -1.2373 | -0.58618 | 4.8573e-05 | -0.00053283 | 0.039679 | 0.039685 | 0.039685 | 0.99598 | 0.0010862 | 0.99594 | 0.0014112 | 18.0388
66 | -0.65167 | -0.31484 | 0.65177 | 0.31078 | 0.00010131 | -0.0040569 | 0.020987 | 0.020936 | 0.020987 | 0.99548 | 0.0026398 | 0.99562 | 0.0013126 | 9.5397
67 | -0.084611 | -0.040157 | 0.084611 | 0.039584 | 2.3747e-07 | -0.00057308 | 0.0027147 | 0.0027076 | 0.0027147 | 0.99594 | 0.0014342 | 0.99594 | 0.0014112 | 1.2339
68 | 0.084611 | 0.040157 | -0.08461 | -0.040979 | 3.4249e-07 | -0.00082127 | 0.0027147 | 0.002725 | 0.002725 | 0.99594 | 0.0014342 | 0.99594 | 0.0014686 | 1.2386
69 | -2.7042 | -1.2873 | 2.7043 | 1.2872 | 4.3966e-05 | -9.1448e-05 | 0.086604 | 0.086603 | 0.086604 | 0.99832 | -0.066346 | 0.99833 | -0.066483 | 39.3657
70 | 0.11555 | 0.055559 | -0.11555 | -0.055965 | 3.1671e-07 | -0.00040652 | 0.0037155 | 0.0037206 | 0.0037206 | 0.99619 | -0.06791 | 0.99618 | -0.067887 | 1.6912
71 | 0.1101 | 0.050776 | -0.1101 | -0.051937 | 8.1085e-07 | -0.0011608 | 0.0035136 | 0.0035278 | 0.0035278 | 0.99619 | -0.06791 | 0.99618 | -0.067852 | 1.6035
72 | 0.1101 | 0.051937 | -0.1101 | -0.053325 | 9.7828e-07 | -0.001388 | 0.0035278 | 0.0035451 | 0.0035451 | 0.99618 | -0.067852 | 0.99617 | -0.067776 | 1.6114
73 | -7.0412 | -3.3082 | 7.0422 | 3.3071 | 0.00093396 | -0.0010631 | 0.22495 | 0.22493 | 0.22495 | 0.99833 | -0.066483 | 0.99849 | -0.063692 | 53.4333
74 | 4.3369 | 2.021 | -4.3357 | -2.0197 | 0.0011922 | 0.0012787 | 0.13835 | 0.13835 | 0.13835 | 0.99833 | -0.066483 | 0.99799 | -0.075257 | 39.5297
75 | -1.9956 | -0.95313 | 1.9956 | 0.953 | 3.2809e-05 | -0.00013295 | 0.063985 | 0.063984 | 0.063985 | 0.99775 | -0.077626 | 0.99776 | -0.077765 | 29.0842
76 | 1.636 | 0.77896 | -1.6356 | -0.77883 | 0.00035716 | 0.00013705 | 0.052425 | 0.052426 | 0.052426 | 0.99775 | -0.077626 | 0.99752 | -0.079158 | 24.9647
77 | 2.2705 | 1.0366 | -2.2696 | -1.0393 | 0.00087719 | -0.0027322 | 0.072213 | 0.072249 | 0.072249 | 0.99776 | -0.077765 | 0.9974 | -0.074824 | 32.8404
78 | -4.2661 | -1.9896 | 4.267 | 1.9869 | 0.000872 | -0.0026924 | 0.13619 | 0.13615 | 0.13619 | 0.99776 | -0.077765 | 0.99799 | -0.075257 | 37.6219
79 | 1.6356 | 0.77883 | -1.6347 | -0.78451 | 0.00092183 | -0.0056837 | 0.052426 | 0.0525 | 0.0525 | 0.99752 | -0.079158 | 0.997 | -0.074388 | 23.8637
80 | 2.2696 | 1.0393 | -2.2696 | -1.0395 | 6.826e-05 | -0.0002124 | 0.072249 | 0.072252 | 0.072252 | 0.9974 | -0.074824 | 0.99737 | -0.074594 | 32.8417
81 | 0.068747 | 0.032802 | -0.068746 | -0.033295 | 1.3491e-07 | -0.00049361 | 0.0022033 | 0.0022095 | 0.0022095 | 0.99799 | -0.075257 | 0.99799 | -0.07524 | 1.0043
82 | 1.6347 | 0.78451 | -1.6346 | -0.78501 | 8.0693e-05 | -0.00049643 | 0.0525 | 0.052507 | 0.052507 | 0.997 | -0.074388 | 0.99695 | -0.073966 | 23.8667
83 | 1.3776 | 0.66051 | -1.3775 | -0.6605 | 4.5943e-05 | 1.3143e-05 | 0.044237 | 0.044237 | 0.044237 | 0.99695 | -0.073966 | 0.99691 | -0.074195 | 21.0652
84 | 1.9196 | 0.87003 | -1.9195 | -0.87 | 6.8011e-05 | 3.0418e-05 | 0.060999 | 0.060999 | 0.060999 | 0.99737 | -0.074594 | 0.99734 | -0.074886 | 29.0473
85 | 1.9195 | 0.87 | -1.9191 | -0.87197 | 0.00044028 | -0.0019731 | 0.060999 | 0.061024 | 0.061024 | 0.99734 | -0.074886 | 0.99712 | -0.073172 | 27.7384
86 | 0.3738 | 0.18084 | -0.3738 | -0.18104 | 1.6498e-06 | -0.00020245 | 0.012022 | 0.012024 | 0.012024 | 0.99712 | -0.073172 | 0.99712 | -0.073134 | 5.4656
87 | 1.5452 | 0.69113 | -1.5444 | -0.69748 | 0.00089488 | -0.006346 | 0.049007 | 0.049085 | 0.049085 | 0.99712 | -0.073172 | 0.99658 | -0.068953 | 22.3116
88 | -7.0422 | -3.3071 | 7.0431 | 3.3061 | 0.00093044 | -0.00106 | 0.22493 | 0.22491 | 0.22493 | 0.99849 | -0.063692 | 0.99864 | -0.06091 | 53.4277
89 | -0.36553 | -0.17703 | 0.36553 | 0.177 | 2.8944e-07 | -3.6886e-05 | 0.011779 | 0.011779 | 0.011779 | 0.99535 | -0.059348 | 0.99535 | -0.059355 | 5.3542
90 | -0.36553 | -0.177 | 0.36571 | 0.15367 | 0.00017854 | -0.023326 | 0.011779 | 0.011499 | 0.011779 | 0.99535 | -0.059355 | 0.99581 | -0.062969 | 5.354
91 | -0.69284 | -0.31195 | 0.69296 | 0.30745 | 0.00012369 | -0.0044966 | 0.022027 | 0.021973 | 0.022027 | 0.99581 | -0.062969 | 0.99597 | -0.064251 | 10.0121
92 | 0.32713 | 0.15828 | -0.32713 | -0.15844 | 9.8057e-07 | -0.00015637 | 0.010535 | 0.010537 | 0.010537 | 0.99581 | -0.062969 | 0.9958 | -0.062943 | 4.7895
93 | 0.31269 | 0.15135 | -0.31269 | -0.15144 | 5.5419e-07 | -9.6799e-05 | 0.010069 | 0.01007 | 0.01007 | 0.99597 | -0.064251 | 0.99597 | -0.064235 | 4.5774
94 | -1.0057 | -0.4588 | 1.0063 | 0.44779 | 0.00064501 | -0.011011 | 0.032038 | 0.031905 | 0.032038 | 0.99597 | -0.064251 | 0.99658 | -0.068953 | 14.5628
95 | 0.22318 | 0.1073 | -0.22318 | -0.10809 | 2.2993e-06 | -0.00079196 | 0.007173 | 0.007183 | 0.007183 | 0.99658 | -0.068953 | 0.99657 | -0.068864 | 3.265
96 | 0.083618 | 0.032334 | -0.083616 | -0.039681 | 2.8769e-06 | -0.0073465 | 0.0025969 | 0.0026811 | 0.0026811 | 0.99658 | -0.068953 | 0.99654 | -0.06873 | 1.2187
97 | 0.23126 | 0.11005 | -0.23125 | -0.11199 | 6.0163e-06 | -0.0019336 | 0.0074186 | 0.0074429 | 0.0074429 | 0.99658 | -0.068953 | 0.99655 | -0.06873 | 3.3831
98 | 0.083616 | 0.039681 | -0.083615 | -0.040497 | 3.3147e-07 | -0.00081585 | 0.0026811 | 0.0026913 | 0.0026913 | 0.99654 | -0.06873 | 0.99654 | -0.068696 | 1.2233
99 | 0.23125 | 0.11199 | -0.23125 | -0.112 | 9.9715e-07 | -1.1353e-05 | 0.0074429 | 0.007443 | 0.007443 | 0.99655 | -0.06873 | 0.99655 | -0.068759 | 3.5443
100 | 0.06824 | 0.032721 | -0.06824 | -0.03305 | 8.8488e-08 | -0.00032941 | 0.0021872 | 0.0021914 | 0.0021914 | 0.99883 | -0.051817 | 0.99883 | -0.051806 | 0.99608
101 | -0.46724 | -0.22594 | 0.4673 | 0.22121 | 5.9617e-05 | -0.0047294 | 0.015 | 0.014941 | 0.015 | 0.99883 | -0.051817 | 0.99895 | -0.052898 | 6.8181
102 | 0.399 | 0.19322 | -0.399 | -0.19324 | 8.0029e-06 | -2.7573e-05 | 0.012813 | 0.012813 | 0.012813 | 0.99883 | -0.051817 | 0.99881 | -0.051949 | 6.1015
103 | -0.4673 | -0.22121 | 0.46731 | 0.22081 | 4.9848e-06 | -0.0003972 | 0.014941 | 0.014936 | 0.014941 | 0.99895 | -0.052898 | 0.99896 | -0.052986 | 6.7912
104 | -4.1502 | -1.9478 | 4.1503 | 1.9465 | 0.00011531 | -0.0012715 | 0.13241 | 0.13239 | 0.13241 | 0.99953 | -0.0078181 | 0.99956 | -0.0076956 | 20.7534
105 | 4.1502 | 1.9478 | -4.1499 | -1.9471 | 0.00030644 | 0.00075643 | 0.13241 | 0.13241 | 0.13241 | 0.99953 | -0.0078181 | 0.99939 | -0.015515 | 20.5283
106 | 4.0031 | 1.876 | -4.0031 | -1.8762 | 3.7606e-05 | -0.00020589 | 0.1277 | 0.1277 | 0.1277 | 0.99939 | -0.015515 | 0.99938 | -0.015713 | 30.3324
107 | -0.58406 | -0.27736 | 0.58408 | 0.27664 | 1.4078e-05 | -0.00071588 | 0.018684 | 0.018676 | 0.018684 | 0.99896 | -0.052986 | 0.99898 | -0.053187 | 8.4929
108 | 4.0031 | 1.8762 | -4.002 | -1.8801 | 0.0010741 | -0.0038884 | 0.1277 | 0.12776 | 0.12776 | 0.99938 | -0.015713 | 0.99909 | -0.018957 | 35.2919
109 | 4.002 | 1.8801 | -4.0013 | -1.8793 | 0.00067604 | 0.00071667 | 0.12776 | 0.12776 | 0.12776 | 0.99909 | -0.018957 | 0.99888 | -0.024303 | 36.5021
110 | 3.6985 | 1.7327 | -3.6984 | -1.7328 | 0.00012438 | -0.0001224 | 0.11803 | 0.11804 | 0.11804 | 0.99888 | -0.024303 | 0.99885 | -0.024031 | 53.6528
111 | 0.31829 | 0.153 | -0.31828 | -0.15401 | 5.8942e-06 | -0.0010071 | 0.010205 | 0.010218 | 0.010218 | 0.99898 | -0.053187 | 0.99896 | -0.053027 | 4.6444
112 | -0.90236 | -0.42964 | 0.90238 | 0.42936 | 1.3255e-05 | -0.00027975 | 0.02888 | 0.028877 | 0.02888 | 0.99898 | -0.053187 | 0.99899 | -0.05331 | 13.1275
113 | -0.17654 | -0.085501 | 0.17654 | 0.08448 | 1.8612e-06 | -0.0010218 | 0.0056874 | 0.0056745 | 0.0056874 | 0.99562 | 0.0014032 | 0.99562 | 0.0013126 | 2.5852
114 | 0.076735 | 0.036728 | -0.076735 | -0.037153 | 1.4424e-07 | -0.00042507 | 0.0024583 | 0.0024636 | 0.0024636 | 0.99899 | -0.05331 | 0.99899 | -0.053293 | 1.1198
115 | 0.076735 | 0.037153 | -0.076735 | -0.037164 | 3.8726e-09 | -1.1568e-05 | 0.0024636 | 0.0024638 | 0.0024638 | 0.99899 | -0.053293 | 0.99899 | -0.053293 | 1.1199
116 | 0.31828 | 0.15401 | -0.31828 | -0.15415 | 8.3874e-07 | -0.00014311 | 0.010218 | 0.010219 | 0.010219 | 0.99896 | -0.053027 | 0.99896 | -0.053004 | 4.6452

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.3382 | 6.2761

## res_load
| p_mw | q_mvar
0 | 0.17951 | 0.086939
1 | 0.19422 | 0.094064
2 | 0.41078 | 0.19895
3 | 0.41054 | 0.19883
4 | 0.086347 | 0.04182
5 | 0.081216 | 0.039335
6 | 0.17927 | 0.086826
7 | 0.32229 | 0.15609
8 | 0.31808 | 0.15405
9 | 0.39516 | 0.19138
10 | 0.11182 | 0.054155
11 | 0.2579 | 0.12491
12 | 0.29302 | 0.14191
13 | 0.35594 | 0.17239
14 | 0.40877 | 0.19798
15 | 0.36734 | 0.17791
16 | 0.28101 | 0.1361
17 | 0.2793 | 0.13527
18 | 0.29044 | 0.14067
19 | 0.069367 | 0.033596
20 | 0.074202 | 0.035938
21 | 0.071432 | 0.034596
22 | 0.1091 | 0.052842
23 | 0.06852 | 0.033186
24 | 0.60704 | 0.294
25 | 0.40115 | 0.19429
26 | 0.21918 | 0.10615
27 | 0.34382 | 0.16652
28 | 0.30775 | 0.14905
29 | 0.12346 | 0.059793
30 | 0.08461 | 0.040979
31 | 0.33815 | 0.16377
32 | 0.11555 | 0.055965
33 | 0.1101 | 0.053325
34 | 0.35962 | 0.17417
35 | 0.25705 | 0.12449
36 | 0.34999 | 0.16951
37 | 0.068746 | 0.033295
38 | 0.15608 | 0.075591
39 | 0.36553 | 0.17703
40 | 0.32713 | 0.15844
41 | 0.22318 | 0.10809
42 | 0.31269 | 0.15144
43 | 0.06824 | 0.03305
44 | 0.399 | 0.19324
45 | 0.31002 | 0.15015
46 | 0.14681 | 0.071101
47 | 0.11675 | 0.056547
48 | 0.083615 | 0.040497
49 | 0.3738 | 0.18104
50 | 0.23125 | 0.112
51 | 0.30282 | 0.14666
52 | 0.17654 | 0.085501
53 | 0.076735 | 0.037164
54 | 0.31828 | 0.15415

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1