## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_70_1_node_83 | 20 | n |  | TRUE
1 | bus_MV_70_1_node_80 | 20 | n |  | TRUE
2 | bus_MV_70_1_node_8 | 20 | n |  | TRUE
3 | bus_MV_70_1_node_10 | 20 | n |  | TRUE
4 | bus_MV_70_1_node_15 | 20 | n |  | TRUE
5 | bus_MV_70_1_node_11 | 20 | n |  | TRUE
6 | bus_MV_70_1_node_13 | 20 | n |  | TRUE
7 | bus_MV_70_1_node_14 | 20 | n |  | TRUE
8 | bus_MV_70_1_node_29 | 20 | n |  | TRUE
9 | bus_MV_70_1_node_12 | 20 | n |  | TRUE
10 | bus_MV_70_1_node_133 | 20 | n |  | TRUE
11 | bus_MV_70_1_node_37 | 20 | n |  | TRUE
12 | bus_MV_70_1_node_101 | 20 | n |  | TRUE
13 | bus_MV_70_1_node_109 | 20 | n |  | TRUE
14 | bus_MV_70_1_node_16 | 20 | n |  | TRUE
15 | bus_MV_70_1_node_117 | 20 | n |  | TRUE
16 | bus_MV_70_1_node_132 | 20 | n |  | TRUE
17 | bus_MV_70_1_node_30 | 20 | n |  | TRUE
18 | bus_MV_70_1_node_39 | 20 | n |  | TRUE
19 | bus_MV_70_1_node_114 | 20 | n |  | TRUE
20 | bus_MV_70_1_node_118 | 20 | n |  | TRUE
21 | bus_MV_70_1_node_104 | 20 | n |  | TRUE
22 | bus_MV_70_1_node_99 | 20 | n |  | TRUE
23 | bus_MV_70_1_node_20 | 20 | n |  | TRUE
24 | bus_MV_70_1_node_17 | 20 | n |  | TRUE
25 | bus_MV_70_1_node_18 | 20 | n |  | TRUE
26 | bus_MV_70_1_node_19 | 20 | n |  | TRUE
27 | bus_MV_70_1_node_21 | 20 | n |  | TRUE
28 | bus_MV_70_1_node_33 | 20 | n |  | TRUE
29 | bus_MV_70_1_node_23 | 20 | n |  | TRUE
30 | bus_MV_70_1_node_28 | 20 | n |  | TRUE
31 | bus_MV_70_1_node_32 | 20 | n |  | TRUE
32 | bus_MV_70_1_node_25 | 20 | n |  | TRUE
33 | bus_MV_70_1_node_22 | 20 | n |  | TRUE
34 | bus_MV_70_1_node_27 | 20 | n |  | TRUE
35 | bus_MV_70_1_node_26 | 20 | n |  | TRUE
36 | bus_MV_70_1_node_136 | 20 | n |  | TRUE
37 | bus_MV_70_1_node_50 | 20 | n |  | TRUE
38 | bus_MV_70_1_node_31 | 20 | n |  | TRUE
39 | bus_MV_70_1_node_36 | 20 | n |  | TRUE
40 | bus_MV_70_1_node_35 | 20 | n |  | TRUE
41 | bus_MV_70_1_node_38 | 20 | n |  | TRUE
42 | bus_MV_70_1_node_138 | 20 | n |  | TRUE
43 | bus_MV_70_1_node_143 | 20 | n |  | TRUE
44 | bus_MV_70_1_node_34 | 20 | n |  | TRUE
45 | bus_MV_70_1_node_40 | 20 | n |  | TRUE
46 | bus_MV_70_1_node_142 | 20 | n |  | TRUE
47 | bus_MV_70_1_node_119 | 20 | n |  | TRUE
48 | bus_MV_70_1_node_111 | 20 | n |  | TRUE
49 | bus_MV_70_1_node_110 | 20 | n |  | TRUE
50 | bus_MV_70_1_node_103 | 20 | n |  | TRUE
51 | bus_MV_70_1_node_43 | 20 | n |  | TRUE
52 | bus_MV_70_1_node_45 | 20 | n |  | TRUE
53 | bus_MV_70_1_node_48 | 20 | n |  | TRUE
54 | bus_MV_70_1_node_49 | 20 | n |  | TRUE
55 | bus_MV_70_1_node_44 | 20 | n |  | TRUE
56 | bus_MV_70_1_node_46 | 20 | n |  | TRUE
57 | bus_MV_70_1_node_47 | 20 | n |  | TRUE
58 | bus_MV_70_1_node_108 | 20 | n |  | TRUE
59 | bus_MV_70_1_node_115 | 20 | n |  | TRUE
60 | bus_MV_70_1_node_134 | 20 | n |  | TRUE
61 | bus_MV_70_1_node_137 | 20 | n |  | TRUE
62 | bus_MV_70_1_node_52 | 20 | n |  | TRUE
63 | bus_MV_70_1_node_51 | 20 | n |  | TRUE
64 | bus_MV_70_1_node_74 | 20 | n |  | TRUE
65 | bus_MV_70_1_node_116 | 20 | n |  | TRUE
66 | bus_MV_70_1_node_106 | 20 | n |  | TRUE
67 | bus_MV_70_1_node_107 | 20 | n |  | TRUE
68 | bus_MV_70_1_node_77 | 20 | n |  | TRUE
69 | bus_MV_70_1_node_78 | 20 | n |  | TRUE
70 | bus_MV_70_1_node_79 | 20 | n |  | TRUE
71 | bus_MV_70_1_node_76 | 20 | n |  | TRUE
72 | bus_MV_70_1_node_82 | 20 | n |  | TRUE
73 | bus_MV_70_1_node_81 | 20 | n |  | TRUE
74 | bus_MV_70_1_node_139 | 20 | n |  | TRUE
75 | bus_MV_70_1_node_84 | 20 | n |  | TRUE
76 | bus_MV_70_1_node_75 | 20 | n |  | TRUE
77 | bus_MV_70_1_node_68 | 20 | n |  | TRUE
78 | bus_MV_70_1_node_127 | 20 | n |  | TRUE
79 | bus_MV_70_1_node_130 | 20 | n |  | TRUE
80 | bus_MV_70_1_node_66 | 20 | n |  | TRUE
81 | bus_MV_70_1_node_53 | 20 | n |  | TRUE
82 | bus_MV_70_1_node_54 | 20 | n |  | TRUE
83 | bus_MV_70_1_node_55 | 20 | n |  | TRUE
84 | bus_MV_70_1_node_56 | 20 | n |  | TRUE
85 | bus_MV_70_1_node_57 | 20 | n |  | TRUE
86 | bus_MV_70_1_node_58 | 20 | n |  | TRUE
87 | bus_MV_70_1_node_122 | 20 | n |  | TRUE
88 | bus_MV_70_1_node_121 | 20 | n |  | TRUE
89 | bus_MV_70_1_node_71 | 20 | n |  | TRUE
90 | bus_MV_70_1_node_59 | 20 | n |  | TRUE
91 | bus_MV_70_1_node_60 | 20 | n |  | TRUE
92 | bus_MV_70_1_node_61 | 20 | n |  | TRUE
93 | bus_MV_70_1_node_62 | 20 | n |  | TRUE
94 | bus_MV_70_1_node_63 | 20 | n |  | TRUE
95 | bus_MV_70_1_node_69 | 20 | n |  | TRUE
96 | bus_MV_70_1_node_88 | 20 | n |  | TRUE
97 | bus_MV_70_1_node_87 | 20 | n |  | TRUE
98 | bus_MV_70_1_node_89 | 20 | n |  | TRUE
99 | bus_MV_70_1_node_98 | 20 | n |  | TRUE
100 | bus_MV_70_1_node_70 | 20 | n |  | TRUE
101 | bus_MV_70_1_node_90 | 20 | n |  | TRUE
102 | bus_MV_70_1_node_86 | 20 | n |  | TRUE
103 | bus_MV_70_1_node_85 | 20 | n |  | TRUE
104 | bus_MV_70_1_node_100 | 20 | n |  | TRUE
105 | bus_MV_70_1_node_97 | 20 | n |  | TRUE
106 | bus_MV_70_1_node_64 | 20 | n |  | TRUE
107 | bus_MV_70_1_node_65 | 20 | n |  | TRUE
108 | bus_MV_70_1_node_72 | 20 | n |  | TRUE
109 | bus_MV_70_1_node_73 | 20 | n |  | TRUE
110 | bus_MV_70_1_node_123 | 20 | n |  | TRUE
111 | bus_MV_70_1_node_124 | 20 | n |  | TRUE
112 | bus_MV_70_1_node_125 | 20 | n |  | TRUE
113 | bus_MV_70_1_node_126 | 20 | n |  | TRUE
114 | bus_MV_70_1_node_129 | 20 | n |  | TRUE
115 | bus_MV_70_1_node_128 | 20 | n |  | TRUE
116 | bus_MV_70_1_node_102 | 20 | n |  | TRUE
117 | bus_MV_70_1_node_105 | 20 | n |  | TRUE
118 | bus_MV_70_1_node_131 | 20 | n |  | TRUE
119 | bus_MV_70_1_node_112 | 20 | n |  | TRUE
120 | bus_MV_70_1_node_113 | 20 | n |  | TRUE
121 | bus_MV_70_1_node_120 | 20 | n |  | TRUE
122 | bus_HV_70_1_node_114 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_70_1_load_83 | 0 | 0.27301 | 0.13223 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_70_1_load_8 | 2 | 0.34677 | 0.16795 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_70_1_load_29 | 8 | 0.25315 | 0.12261 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_70_1_load_133 | 10 | 0.28202 | 0.13659 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_70_1_load_109 | 13 | 0.14095 | 0.068265 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_70_1_load_117 | 15 | 0.088105 | 0.042671 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_70_1_load_132 | 16 | 0.35342 | 0.17117 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_70_1_load_39 | 18 | 0.29969 | 0.14515 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_70_1_load_118 | 20 | 0.1188 | 0.057537 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_70_1_load_104 | 21 | 0.97399 | 0.47172 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_70_1_load_17 | 24 | 0.32408 | 0.15696 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_70_1_load_28 | 30 | 0.3096 | 0.14994 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_70_1_load_32 | 31 | 0.30957 | 0.14993 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_70_1_load_22 | 33 | 0.31233 | 0.15127 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_70_1_load_27 | 34 | 0.098061 | 0.047493 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_70_1_load_136 | 36 | 0.41286 | 0.19996 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_70_1_load_50 | 37 | 0.31967 | 0.15482 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_70_1_load_36 | 39 | 0.21408 | 0.10368 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_70_1_load_38 | 41 | 0.40701 | 0.19712 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_70_1_load_138 | 42 | 0.10152 | 0.049171 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_70_1_load_143 | 43 | 0.52727 | 0.25537 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_70_1_load_142 | 46 | 0.079754 | 0.038627 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_70_1_load_111 | 48 | 1.0704 | 0.51841 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_70_1_load_110 | 49 | 3.9103 | 1.8939 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_70_1_load_43 | 51 | 0.26997 | 0.13075 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_70_1_load_115 | 59 | 0.14046 | 0.068028 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_70_1_load_134 | 60 | 0.38415 | 0.18605 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_70_1_load_137 | 61 | 0.28588 | 0.13846 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_70_1_load_51 | 63 | 0.18694 | 0.09054 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_70_1_load_74 | 64 | 0.24618 | 0.11923 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_70_1_load_116 | 65 | 0.11065 | 0.05359 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_70_1_load_79 | 70 | 0.15303 | 0.074114 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_70_1_load_81 | 73 | 0.16053 | 0.077747 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_70_1_load_139 | 74 | 0.36704 | 0.17777 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_70_1_load_84 | 75 | 0.35149 | 0.17023 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_70_1_load_75 | 76 | 0.13583 | 0.065783 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_70_1_load_127 | 78 | 0.21313 | 0.10322 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_70_1_load_130 | 79 | 0.23941 | 0.11595 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_70_1_load_53 | 81 | 0.35984 | 0.17428 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_70_1_load_55 | 83 | 0.21395 | 0.10362 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_70_1_load_57 | 85 | 0.18343 | 0.088838 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_70_1_load_122 | 87 | 0.13699 | 0.066349 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_70_1_load_71 | 89 | 0.24149 | 0.11696 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_70_1_load_59 | 90 | 0.40704 | 0.19714 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_70_1_load_69 | 95 | 0.25814 | 0.12502 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_70_1_load_88 | 96 | 0.064538 | 0.031257 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_70_1_load_89 | 98 | 0.20604 | 0.099792 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_70_1_load_90 | 101 | 0.28523 | 0.13814 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_70_1_load_85 | 103 | 0.30372 | 0.1471 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_70_1_load_97 | 105 | 0.13582 | 0.065779 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_70_1_load_64 | 106 | 0.29203 | 0.14143 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_70_1_load_123 | 110 | 0.078067 | 0.037809 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_70_1_load_124 | 111 | 0.25892 | 0.1254 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_70_1_load_129 | 114 | 0.070413 | 0.034103 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_70_1_load_102 | 116 | 0.14022 | 0.067912 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_70_1_load_105 | 117 | 0.76382 | 0.36993 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_70_1_load_131 | 118 | 0.12089 | 0.05855 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_70_1_load_112 | 119 | 0.094855 | 0.04594 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_70_1_load_120 | 121 | 0.12767 | 0.061836 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_70_1_line_0 |  | 0 | 1 | 0.038658 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_70_1_line_1 |  | 1 | 68 | 0.12539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_70_1_line_2 |  | 2 | 3 | 0.035549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_70_1_line_3 |  | 3 | 4 | 0.35883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_70_1_line_4 |  | 4 | 14 | 0.20135 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_70_1_line_5 |  | 4 | 15 | 0.074199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_70_1_line_6 |  | 5 | 6 | 0.13924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_70_1_line_7 |  | 5 | 7 | 0.18866 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
8 | MV_70_1_line_8 |  | 5 | 8 | 0.10068 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
9 | MV_70_1_line_9 |  | 6 | 11 | 0.064812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_70_1_line_10 |  | 7 | 12 | 0.14413 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
11 | MV_70_1_line_11 |  | 7 | 13 | 0.042486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_70_1_line_12 |  | 7 | 9 | 0.27556 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
13 | MV_70_1_line_13 |  | 8 | 17 | 0.066171 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_70_1_line_14 |  | 8 | 18 | 0.14429 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_70_1_line_15 |  | 9 | 10 | 0.039889 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
16 | MV_70_1_line_16 |  | 10 | 19 | 0.10718 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
17 | MV_70_1_line_17 |  | 11 | 20 | 0.0057938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_70_1_line_18 |  | 12 | 21 | 0.020272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_70_1_line_19 |  | 12 | 22 | 0.037881 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
20 | MV_70_1_line_20 |  | 14 | 16 | 0.012244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_70_1_line_21 |  | 16 | 23 | 0.055493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_70_1_line_22 |  | 17 | 38 | 0.16916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_70_1_line_23 |  | 17 | 39 | 0.10038 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_70_1_line_24 |  | 18 | 40 | 0.10487 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_70_1_line_25 |  | 19 | 120 | 0.44622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_70_1_line_26 |  | 20 | 47 | 0.036542 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_70_1_line_27 |  | 22 | 105 | 0.095396 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
28 | MV_70_1_line_28 |  | 23 | 28 | 0.13141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_70_1_line_29 |  | 23 | 25 | 0.116 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_70_1_line_30 |  | 24 | 25 | 0.052607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_70_1_line_31 |  | 24 | 26 | 0.056947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_70_1_line_32 |  | 26 | 27 | 0.10991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_70_1_line_33 |  | 27 | 29 | 0.34126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_70_1_line_34 |  | 27 | 30 | 0.18049 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_70_1_line_35 |  | 28 | 31 | 0.070889 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_70_1_line_36 |  | 29 | 32 | 0.40189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_70_1_line_37 |  | 29 | 33 | 0.10108 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_70_1_line_38 |  | 31 | 44 | 0.015518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_70_1_line_39 |  | 32 | 35 | 0.17458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_70_1_line_40 |  | 32 | 36 | 0.02744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_70_1_line_41 |  | 33 | 34 | 0.17798 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_70_1_line_42 |  | 35 | 37 | 0.091047 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_70_1_line_43 |  | 38 | 41 | 0.15457 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_70_1_line_44 |  | 38 | 42 | 0.13706 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_70_1_line_45 |  | 39 | 43 | 0.12768 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_70_1_line_46 |  | 40 | 44 | 0.01912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_70_1_line_47 |  | 43 | 45 | 0.053737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_70_1_line_48 |  | 45 | 46 | 0.014883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_70_1_line_49 |  | 47 | 121 | 0.026376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_70_1_line_50 |  | 48 | 49 | 0.22435 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_70_1_line_51 |  | 49 | 50 | 0.088428 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
52 | MV_70_1_line_52 |  | 50 | 104 | 0.030247 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
53 | MV_70_1_line_53 |  | 51 | 52 | 0.02078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_70_1_line_54 |  | 52 | 53 | 0.33468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_70_1_line_55 |  | 52 | 54 | 0.61393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_70_1_line_56 |  | 53 | 61 | 0.079284 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_70_1_line_57 |  | 54 | 62 | 0.2017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_70_1_line_58 |  | 54 | 63 | 0.092701 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_70_1_line_59 |  | 54 | 64 | 0.33536 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_70_1_line_60 |  | 55 | 56 | 0.34083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_70_1_line_61 |  | 55 | 57 | 0.26506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_70_1_line_62 |  | 56 | 58 | 0.021461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_70_1_line_63 |  | 56 | 59 | 0.0621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_70_1_line_64 |  | 57 | 60 | 0.069206 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_70_1_line_65 |  | 58 | 65 | 0.036222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_70_1_line_66 |  | 58 | 66 | 0.14129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_70_1_line_67 |  | 58 | 67 | 0.1653 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_70_1_line_68 |  | 62 | 75 | 0.024153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_70_1_line_69 |  | 62 | 76 | 1.0076 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_70_1_line_70 |  | 64 | 77 | 0.18224 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_70_1_line_71 |  | 66 | 117 | 0.030071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_70_1_line_72 |  | 67 | 118 | 0.23049 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_70_1_line_73 |  | 68 | 69 | 0.47324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_70_1_line_74 |  | 68 | 70 | 0.060497 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_70_1_line_75 |  | 68 | 71 | 1.031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_70_1_line_76 |  | 69 | 72 | 0.22098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_70_1_line_77 |  | 69 | 73 | 0.04081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_70_1_line_78 |  | 71 | 76 | 0.091724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_70_1_line_79 |  | 72 | 74 | 0.025492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_70_1_line_80 |  | 75 | 79 | 0.28991 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_70_1_line_81 |  | 75 | 80 | 0.090865 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_70_1_line_82 |  | 77 | 78 | 0.53713 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
83 | MV_70_1_line_83 |  | 78 | 115 | 0.04748 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
84 | MV_70_1_line_84 |  | 80 | 107 | 0.096331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_70_1_line_85 |  | 81 | 82 | 0.005138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_70_1_line_86 |  | 81 | 83 | 0.006234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_70_1_line_87 |  | 82 | 84 | 0.019784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_70_1_line_88 |  | 82 | 85 | 0.058695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_70_1_line_89 |  | 83 | 86 | 0.098659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_70_1_line_90 |  | 84 | 87 | 0.014898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_70_1_line_91 |  | 86 | 88 | 0.17012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_70_1_line_92 |  | 88 | 89 | 0.054045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_70_1_line_93 |  | 89 | 100 | 0.13195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_70_1_line_94 |  | 90 | 91 | 0.11203 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_70_1_line_95 |  | 91 | 92 | 0.28376 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
96 | MV_70_1_line_96 |  | 91 | 93 | 0.40814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_70_1_line_97 |  | 91 | 94 | 1.3326 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
98 | MV_70_1_line_98 |  | 92 | 95 | 0.023886 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
99 | MV_70_1_line_99 |  | 93 | 96 | 0.15303 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
100 | MV_70_1_line_100 |  | 94 | 97 | 0.56612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_70_1_line_101 |  | 94 | 98 | 0.065739 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
102 | MV_70_1_line_102 |  | 94 | 99 | 1.5578 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
103 | MV_70_1_line_103 |  | 95 | 100 | 0.029116 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
104 | MV_70_1_line_104 |  | 97 | 101 | 0.050014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_70_1_line_105 |  | 97 | 102 | 0.57282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_70_1_line_106 |  | 99 | 104 | 0.048211 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
107 | MV_70_1_line_107 |  | 99 | 105 | 0.076814 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
108 | MV_70_1_line_108 |  | 100 | 108 | 0.13199 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
109 | MV_70_1_line_109 |  | 102 | 103 | 0.0338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_70_1_line_110 |  | 104 | 116 | 0.033665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_70_1_line_111 |  | 106 | 107 | 0.054497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_70_1_line_112 |  | 108 | 109 | 0.031948 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
113 | MV_70_1_line_113 |  | 108 | 110 | 0.021554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_70_1_line_114 |  | 109 | 111 | 0.03388 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
115 | MV_70_1_line_115 |  | 111 | 112 | 0.13738 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
116 | MV_70_1_line_116 |  | 112 | 113 | 0.17318 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
117 | MV_70_1_line_117 |  | 113 | 114 | 0.017932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_70_1_line_118 |  | 113 | 115 | 0.08918 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
119 | MV_70_1_line_119 |  | 118 | 119 | 0.059085 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
120 | MV_70_1_line_120 |  | 119 | 120 | 0.06169 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_70_1_trafo_114 | 25 MVA 110/20 kV | 122 | 19 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2716634.8312 | 1081647.6178
1 | 2716671.6586 | 1081643.2179
2 | 2716902.6819 | 1079083.8055
3 | 2716872.7102 | 1079103.0556
4 | 2716651.1895 | 1079305.9786
5 | 2716841.5576 | 1078783.6102
6 | 2716925.6851 | 1078705.0007
7 | 2716992.3099 | 1078840.3746
8 | 2716747.9851 | 1078751.0614
9 | 2717074.3526 | 1079039.3348
10 | 2717108.3 | 1079018.2385
11 | 2716974.5221 | 1078699.6559
12 | 2717078.2996 | 1078765.6056
13 | 2717017.8952 | 1078874.2909
14 | 2716594.2444 | 1079113.3198
15 | 2716699.4385 | 1079352.4759
16 | 2716592.6586 | 1079101.1809
17 | 2716740.702 | 1078691.1795
18 | 2716604.8261 | 1078769.0901
19 | 2717179.0253 | 1079098.7767
20 | 2716979.7287 | 1078702.1975
21 | 2717094.7 | 1078776.9386
22 | 2717097.1484 | 1078733.3336
23 | 2716587.0875 | 1079045.9799
24 | 2716418.9459 | 1079039.7624
25 | 2716471.6216 | 1079037.8783
26 | 2716362.3247 | 1079047.2645
27 | 2716252.4229 | 1079046.0226
28 | 2716555.7711 | 1078920.3145
29 | 2716263.4594 | 1079318.2028
30 | 2716255.5635 | 1078865.5551
31 | 2716527.1363 | 1078855.4658
32 | 2716458.638 | 1079593.8893
33 | 2716163.8547 | 1079335.4162
34 | 2715988.7633 | 1079367.3716
35 | 2716357.182 | 1079706.5981
36 | 2716473.9744 | 1079571.1107
37 | 2716339.6273 | 1079795.9372
38 | 2716641.4029 | 1078590.3411
39 | 2716828.8582 | 1078643.1675
40 | 2716514.9123 | 1078823.0648
41 | 2716489.4103 | 1078562.2043
42 | 2716696.9899 | 1078465.0605
43 | 2716831.104 | 1078515.509
44 | 2716521.2338 | 1078841.1095
45 | 2716783.2299 | 1078490.8188
46 | 2716776.6873 | 1078504.1919
47 | 2717006.1212 | 1078697.3384
48 | 2717033.1917 | 1078332.4883
49 | 2717064.0834 | 1078554.7041
50 | 2717144.4233 | 1078582.1124
51 | 2716859.4867 | 1079822.3327
52 | 2716862.3392 | 1079842.913
53 | 2717009.1297 | 1080072.5801
54 | 2717319.2597 | 1080031.8789
55 | 2716840.8175 | 1079723.9609
56 | 2716756.1053 | 1079465.7888
57 | 2716649.6256 | 1079683.8377
58 | 2716745.1631 | 1079447.3107
59 | 2716705.4689 | 1079501.7387
60 | 2716674.7538 | 1079746.5184
61 | 2716998.3721 | 1079994.0292
62 | 2717479.9005 | 1080153.3032
63 | 2717272.2679 | 1080111.7868
64 | 2717541.1935 | 1079780.454
65 | 2716715.7231 | 1079468.5286
66 | 2716640.8236 | 1079416.0247
67 | 2716823.339 | 1079343.0679
68 | 2716680.7865 | 1081534.0492
69 | 2716507.3568 | 1081455.0534
70 | 2716709.6177 | 1081480.8638
71 | 2717336.3224 | 1081206.6821
72 | 2716352.5821 | 1081464.0806
73 | 2716544.4739 | 1081472.0165
74 | 2716328.9559 | 1081454.3338
75 | 2717504.1035 | 1080152.2578
76 | 2717275.9282 | 1081140.0393
77 | 2717683.2148 | 1079666.2576
78 | 2718217.6333 | 1079612.3084
79 | 2717685.4746 | 1079926.0854
80 | 2717594.2431 | 1080140.7991
81 | 2718606.585 | 1079530.4118
82 | 2718603.7895 | 1079534.7272
83 | 2718601.1973 | 1079527.2757
84 | 2718593.0397 | 1079551.3521
85 | 2718660.4892 | 1079549.901
86 | 2718520.6418 | 1079470.5421
87 | 2718597.6476 | 1079565.5199
88 | 2718386.7427 | 1079365.599
89 | 2718344.1238 | 1079332.2033
90 | 2718138.5532 | 1078960.3629
91 | 2718242.6589 | 1079001.755
92 | 2718221.1342 | 1079250.5145
93 | 2718519.9846 | 1079041.0568
94 | 2718667.5612 | 1078054.5789
95 | 2718210.9331 | 1079272.121
96 | 2718611.4308 | 1078918.3588
97 | 2719081.3328 | 1077902.2364
98 | 2718725.4227 | 1078085.7831
99 | 2717209.6496 | 1078603.4032
100 | 2718233.558 | 1079290.5284
101 | 2719123.0173 | 1077874.4418
102 | 2719236.3769 | 1077987.2604
103 | 2719266.1534 | 1077971.12
104 | 2717166.6938 | 1078581.2619
105 | 2717160.6123 | 1078662.5281
106 | 2717702.2916 | 1080191.5316
107 | 2717650.3466 | 1080174.5612
108 | 2718177.0698 | 1079408.4948
109 | 2718191.8321 | 1079418.477
110 | 2718165.2645 | 1079426.5287
111 | 2718202.6037 | 1079450.5009
112 | 2718268.8831 | 1079555.591
113 | 2718319.2018 | 1079639.2936
114 | 2718328.7649 | 1079654.2446
115 | 2718252.6032 | 1079580.1927
116 | 2717136.7694 | 1078565.8398
117 | 2716616.3977 | 1079433.5639
118 | 2717043.2768 | 1079274.1377
119 | 2717059.3031 | 1079331.0076
120 | 2717094.6343 | 1079381.5777
121 | 2716982.8115 | 1078684.9964
122 | 2717179.0253 | 1079098.7767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98455 | -0.33235 | 0.27301 | 0.13223
1 | 0.98456 | -0.33248 | 0 | 0
2 | 0.99533 | -0.049944 | 0.34677 | 0.16795
3 | 0.99534 | -0.050091 | 0 | 0
4 | 0.9955 | -0.051476 | 0 | 0
5 | 0.99831 | -0.041864 | 0 | 0
6 | 0.99826 | -0.041495 | 0 | 0
7 | 0.99846 | -0.041198 | 0 | 0
8 | 0.99805 | -0.044701 | 0.25315 | 0.12261
9 | 0.99925 | -0.037291 | 0 | 0
10 | 0.99936 | -0.03672 | 0.28202 | 0.13659
11 | 0.99824 | -0.041313 | 0 | 0
12 | 0.99817 | -0.042681 | 0 | 0
13 | 0.99845 | -0.041127 | 0.14095 | 0.068265
14 | 0.99561 | -0.052359 | 0 | 0
15 | 0.99549 | -0.051402 | 0.088105 | 0.042671
16 | 0.99562 | -0.052411 | 0.35342 | 0.17117
17 | 0.99793 | -0.043674 | 0 | 0
18 | 0.99716 | -0.050927 | 0.29969 | 0.14515
19 | 1 | 0 | -19.6109 | -8.9291
20 | 0.99824 | -0.041297 | 0.1188 | 0.057537
21 | 0.99814 | -0.042445 | 0.97399 | 0.47172
22 | 0.9981 | -0.043046 | 0 | 0
23 | 0.99568 | -0.052879 | 0 | 0
24 | 0.99529 | -0.049576 | 0.32408 | 0.15696
25 | 0.99541 | -0.050611 | 0 | 0
26 | 0.99519 | -0.048672 | 0 | 0
27 | 0.99499 | -0.046915 | 0 | 0
28 | 0.9961 | -0.056523 | 0 | 0
29 | 0.99449 | -0.04261 | 0 | 0
30 | 0.99488 | -0.047599 | 0.3096 | 0.14994
31 | 0.99645 | -0.05399 | 0.30957 | 0.14993
32 | 0.99411 | -0.039297 | 0 | 0
33 | 0.99441 | -0.04312 | 0.31233 | 0.15127
34 | 0.99437 | -0.043335 | 0.098061 | 0.047493
35 | 0.99404 | -0.038645 | 0 | 0
36 | 0.9941 | -0.03916 | 0.41286 | 0.19996
37 | 0.99398 | -0.039002 | 0.31967 | 0.15482
38 | 0.99782 | -0.042666 | 0 | 0
39 | 0.99777 | -0.04469 | 0.21408 | 0.10368
40 | 0.99658 | -0.055074 | 0 | 0
41 | 0.9977 | -0.043431 | 0.40701 | 0.19712
42 | 0.9978 | -0.042836 | 0.10152 | 0.049171
43 | 0.99762 | -0.04565 | 0.52727 | 0.25537
44 | 0.99651 | -0.054476 | 0 | 0
45 | 0.99762 | -0.045601 | 0 | 0
46 | 0.99762 | -0.045587 | 0.079754 | 0.038627
47 | 0.99823 | -0.041243 | 0 | 0
48 | 0.99701 | -0.050319 | 1.0704 | 0.51841
49 | 0.99747 | -0.047399 | 3.9103 | 1.8939
50 | 0.99771 | -0.044921 | 0 | 0
51 | 0.98816 | -0.32617 | 0.26997 | 0.13075
52 | 0.98816 | -0.32624 | 0 | 0
53 | 0.98804 | -0.32516 | 0 | 0
54 | 0.9886 | -0.3298 | 0 | 0
55 | 0.99769 | 0.0070209 | 0 | 0
56 | 0.99786 | 0.0057092 | 0 | 0
57 | 0.99756 | 0.0081635 | 0 | 0
58 | 0.99787 | 0.0055983 | 0 | 0
59 | 0.99785 | 0.005811 | 0.14046 | 0.068028
60 | 0.99753 | 0.0084795 | 0.38415 | 0.18605
61 | 0.988 | -0.32544 | 0.28588 | 0.13846
62 | 0.98809 | -0.32565 | 0 | 0
63 | 0.98857 | -0.33001 | 0.18694 | 0.09054
64 | 0.99036 | -0.31617 | 0.24618 | 0.11923
65 | 0.99787 | 0.0056455 | 0.11065 | 0.05359
66 | 0.99774 | 0.0068735 | 0 | 0
67 | 0.99817 | 0.0030843 | 0 | 0
68 | 0.98461 | -0.33289 | 0 | 0
69 | 0.98429 | -0.33018 | 0 | 0
70 | 0.98459 | -0.333 | 0.15303 | 0.074114
71 | 0.98587 | -0.34274 | 0 | 0
72 | 0.98418 | -0.32923 | 0 | 0
73 | 0.98428 | -0.3301 | 0.16053 | 0.077747
74 | 0.98417 | -0.32911 | 0.36704 | 0.17777
75 | 0.98806 | -0.32539 | 0.35149 | 0.17023
76 | 0.98598 | -0.34354 | 0.13583 | 0.065783
77 | 0.9914 | -0.30823 | 0 | 0
78 | 0.99247 | -0.24646 | 0.21313 | 0.10322
79 | 0.98793 | -0.32626 | 0.23941 | 0.11595
80 | 0.98801 | -0.32575 | 0 | 0
81 | 0.99261 | -0.23784 | 0.35984 | 0.17428
82 | 0.99261 | -0.23782 | 0 | 0
83 | 0.99261 | -0.23789 | 0.21395 | 0.10362
84 | 0.9926 | -0.23779 | 0 | 0
85 | 0.99259 | -0.23769 | 0.18343 | 0.088838
86 | 0.99273 | -0.23894 | 0 | 0
87 | 0.9926 | -0.23776 | 0.13699 | 0.066349
88 | 0.99292 | -0.24071 | 0 | 0
89 | 0.99298 | -0.24126 | 0.24149 | 0.11696
90 | 0.99338 | -0.24206 | 0.40704 | 0.19714
91 | 0.99347 | -0.24151 | 0 | 0
92 | 0.99324 | -0.24267 | 0 | 0
93 | 0.99344 | -0.24132 | 0 | 0
94 | 0.99465 | -0.2346 | 0 | 0
95 | 0.99322 | -0.24276 | 0.25814 | 0.12502
96 | 0.99342 | -0.24144 | 0.064538 | 0.031257
97 | 0.99422 | -0.23137 | 0 | 0
98 | 0.99462 | -0.23476 | 0.20604 | 0.099792
99 | 0.99778 | -0.044684 | 0 | 0
100 | 0.99318 | -0.24298 | 0 | 0
101 | 0.99421 | -0.2312 | 0.28523 | 0.13814
102 | 0.994 | -0.22955 | 0 | 0
103 | 0.99399 | -0.22942 | 0.30372 | 0.1471
104 | 0.99774 | -0.044832 | 0 | 0
105 | 0.99792 | -0.04396 | 0.13582 | 0.065779
106 | 0.98795 | -0.32523 | 0.29203 | 0.14143
107 | 0.98798 | -0.32542 | 0 | 0
108 | 0.99302 | -0.24377 | 0 | 0
109 | 0.99298 | -0.24395 | 0 | 0
110 | 0.99302 | -0.24374 | 0.078067 | 0.037809
111 | 0.99295 | -0.24414 | 0.25892 | 0.1254
112 | 0.9928 | -0.24488 | 0 | 0
113 | 0.99262 | -0.24578 | 0 | 0
114 | 0.99261 | -0.24577 | 0.070413 | 0.034103
115 | 0.99252 | -0.24623 | 0 | 0
116 | 0.99773 | -0.044776 | 0.14022 | 0.067912
117 | 0.99771 | 0.0071489 | 0.76382 | 0.36993
118 | 0.99879 | 0.0075292 | 0.12089 | 0.05855
119 | 0.99896 | 0.0087551 | 0.094855 | 0.04594
120 | 0.99909 | 0.0076698 | 0 | 0
121 | 0.99823 | -0.041203 | 0.12767 | 0.061836
122 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.27301 | -0.13223 | 0.27302 | 0.13133 | 4.0774e-06 | -0.00089351 | 0.0088943 | 0.0088829 | 0.0088943 | 0.98455 | -0.33235 | 0.98456 | -0.33248 | 4.0428
1 | -0.27302 | -0.13133 | 0.27303 | 0.12843 | 1.3154e-05 | -0.0028983 | 0.0088829 | 0.0088463 | 0.0088829 | 0.98456 | -0.33248 | 0.98461 | -0.33289 | 4.0377
2 | -0.34677 | -0.16795 | 0.34677 | 0.16711 | 5.9207e-06 | -0.00083912 | 0.011175 | 0.011164 | 0.011175 | 0.99533 | -0.049944 | 0.99534 | -0.050091 | 5.0794
3 | -0.34677 | -0.16711 | 0.34683 | 0.15864 | 5.9142e-05 | -0.0084716 | 0.011164 | 0.01106 | 0.011164 | 0.99534 | -0.050091 | 0.9955 | -0.051476 | 5.0746
4 | -0.43494 | -0.19955 | 0.43499 | 0.1948 | 5.1545e-05 | -0.0047495 | 0.013876 | 0.013819 | 0.013876 | 0.9955 | -0.051476 | 0.99561 | -0.052359 | 6.3075
5 | 0.088106 | 0.040916 | -0.088105 | -0.042671 | 7.9207e-07 | -0.0017554 | 0.0028169 | 0.0028388 | 0.0028388 | 0.9955 | -0.051476 | 0.99549 | -0.051402 | 1.2903
6 | 0.24649 | 0.11289 | -0.24648 | -0.1162 | 1.1483e-05 | -0.0033098 | 0.0078396 | 0.00788 | 0.00788 | 0.99831 | -0.041864 | 0.99826 | -0.041495 | 3.5818
7 | -5.0141 | -2.3583 | 5.0148 | 2.3351 | 0.00074695 | -0.023211 | 0.16023 | 0.15994 | 0.16023 | 0.99831 | -0.041864 | 0.99846 | -0.041198 | 12.5569
8 | 4.7676 | 2.2454 | -4.7665 | -2.248 | 0.0011296 | -0.0026206 | 0.15239 | 0.15243 | 0.15243 | 0.99831 | -0.041864 | 0.99805 | -0.044701 | 42.1075
9 | 0.24648 | 0.1162 | -0.24648 | -0.11774 | 5.3856e-06 | -0.0015405 | 0.00788 | 0.0078991 | 0.0078991 | 0.99826 | -0.041495 | 0.99824 | -0.041313 | 3.5905
10 | 12.5191 | 5.6501 | -12.5156 | -5.6661 | 0.0035136 | -0.016073 | 0.39711 | 0.39732 | 0.39732 | 0.99846 | -0.041198 | 0.99817 | -0.042681 | 31.1381
11 | 0.14095 | 0.067254 | -0.14095 | -0.068265 | 1.1596e-06 | -0.0010109 | 0.0045153 | 0.0045279 | 0.0045279 | 0.99846 | -0.041198 | 0.99845 | -0.041127 | 2.0582
12 | -17.6749 | -8.0524 | 17.6883 | 8.0254 | 0.013415 | -0.026995 | 0.56155 | 0.56114 | 0.56155 | 0.99846 | -0.041198 | 0.99925 | -0.037291 | 44.0086
13 | 1.3301 | 0.63635 | -1.33 | -0.63788 | 0.00016075 | -0.0015259 | 0.042648 | 0.042668 | 0.042668 | 0.99805 | -0.044701 | 0.99793 | -0.043674 | 19.3946
14 | 3.1832 | 1.489 | -3.1806 | -1.4875 | 0.0026562 | 0.0014923 | 0.10165 | 0.10165 | 0.10165 | 0.99805 | -0.044701 | 0.99716 | -0.050927 | 48.4042
15 | -17.6883 | -8.0254 | 17.6902 | 8.0215 | 0.0019403 | -0.003913 | 0.56114 | 0.56108 | 0.56114 | 0.99925 | -0.037291 | 0.99936 | -0.03672 | 43.9762
16 | -17.9723 | -8.158 | 17.9785 | 8.1745 | 0.0062188 | 0.016427 | 0.57013 | 0.57012 | 0.57013 | 0.99936 | -0.03672 | 1 | 0 | 44.1958
17 | 0.24648 | 0.11774 | -0.24647 | -0.11788 | 4.827e-07 | -0.0001377 | 0.0078991 | 0.0079008 | 0.0079008 | 0.99824 | -0.041313 | 0.99824 | -0.041297 | 3.5913
18 | 0.97401 | 0.47125 | -0.97399 | -0.47172 | 2.6506e-05 | -0.00047436 | 0.031293 | 0.031299 | 0.031299 | 0.99817 | -0.042681 | 0.99814 | -0.042445 | 14.2267
19 | 11.5416 | 5.1949 | -11.5408 | -5.1992 | 0.00078429 | -0.0043009 | 0.36604 | 0.3661 | 0.3661 | 0.99817 | -0.042681 | 0.9981 | -0.043046 | 28.691
20 | -0.43499 | -0.1948 | 0.43499 | 0.19451 | 3.1209e-06 | -0.00028886 | 0.013819 | 0.013816 | 0.013819 | 0.99561 | -0.052359 | 0.99562 | -0.052411 | 6.2815
21 | -0.78842 | -0.36568 | 0.78846 | 0.36438 | 4.7012e-05 | -0.0012995 | 0.025199 | 0.025183 | 0.025199 | 0.99562 | -0.052411 | 0.99568 | -0.052879 | 11.4541
22 | 0.50864 | 0.24197 | -0.50858 | -0.24598 | 6.014e-05 | -0.004004 | 0.016294 | 0.016344 | 0.016344 | 0.99793 | -0.043674 | 0.99782 | -0.042666 | 7.4291
23 | 0.82131 | 0.39591 | -0.82118 | -0.39595 | 0.00012442 | -4.1392e-05 | 0.026374 | 0.026376 | 0.026376 | 0.99793 | -0.043674 | 0.99777 | -0.04469 | 12.56
24 | 2.8809 | 1.3424 | -2.8793 | -1.3415 | 0.0015818 | 0.0008664 | 0.09201 | 0.092011 | 0.092011 | 0.99716 | -0.050927 | 0.99658 | -0.055074 | 43.8149
25 | 1.6184 | 0.74415 | -1.6168 | -0.75433 | 0.0015791 | -0.010176 | 0.051422 | 0.051551 | 0.051551 | 1 | 0 | 0.99909 | 0.0076698 | 23.4322
26 | 0.12768 | 0.060339 | -0.12768 | -0.061208 | 8.1569e-07 | -0.00086915 | 0.0040837 | 0.0040945 | 0.0040945 | 0.99824 | -0.041297 | 0.99823 | -0.041243 | 1.8612
27 | 11.5408 | 5.1992 | -11.5388 | -5.21 | 0.0019762 | -0.010827 | 0.3661 | 0.36624 | 0.36624 | 0.9981 | -0.043046 | 0.99792 | -0.04396 | 28.7021
28 | -2.5673 | -1.1946 | 2.5685 | 1.1919 | 0.0011818 | -0.0027612 | 0.082097 | 0.082059 | 0.082097 | 0.99568 | -0.052879 | 0.9961 | -0.056523 | 37.3168
29 | 1.7788 | 0.83023 | -1.7783 | -0.83283 | 0.00050193 | -0.0025962 | 0.056914 | 0.056948 | 0.056948 | 0.99568 | -0.052879 | 0.99541 | -0.050611 | 25.8854
30 | -1.7781 | -0.83401 | 1.7783 | 0.83283 | 0.00022782 | -0.0011768 | 0.056963 | 0.056948 | 0.056963 | 0.99529 | -0.049576 | 0.99541 | -0.050611 | 25.8923
31 | 1.454 | 0.67705 | -1.4539 | -0.67835 | 0.00016458 | -0.0012979 | 0.04652 | 0.046537 | 0.046537 | 0.99529 | -0.049576 | 0.99519 | -0.048672 | 21.1531
32 | 1.4539 | 0.67835 | -1.4535 | -0.68085 | 0.00031798 | -0.0025041 | 0.046537 | 0.046569 | 0.046569 | 0.99519 | -0.048672 | 0.99499 | -0.046915 | 21.1676
33 | 1.1439 | 0.5311 | -1.1433 | -0.53898 | 0.00061163 | -0.007881 | 0.036591 | 0.03669 | 0.03669 | 0.99499 | -0.046915 | 0.99449 | -0.04261 | 16.6773
34 | 0.30963 | 0.14975 | -0.3096 | -0.14994 | 3.2031e-05 | -0.00019323 | 0.0099787 | 0.0099814 | 0.0099814 | 0.99499 | -0.046915 | 0.99488 | -0.047599 | 4.7531
35 | -2.5685 | -1.1919 | 2.5693 | 1.1923 | 0.00085048 | 0.00044871 | 0.082059 | 0.082058 | 0.082059 | 0.9961 | -0.056523 | 0.99645 | -0.05399 | 39.0757
36 | 0.73287 | 0.34053 | -0.73258 | -0.34993 | 0.0002967 | -0.0093985 | 0.023458 | 0.023575 | 0.023575 | 0.99449 | -0.04261 | 0.99411 | -0.039297 | 10.716
37 | 0.41042 | 0.19845 | -0.41039 | -0.19855 | 3.1542e-05 | -9.9578e-05 | 0.013233 | 0.013235 | 0.013235 | 0.99449 | -0.04261 | 0.99441 | -0.04312 | 6.3022
38 | -2.8789 | -1.3422 | 2.8791 | 1.3419 | 0.00017542 | -0.00031587 | 0.092021 | 0.092017 | 0.092021 | 0.99645 | -0.05399 | 0.99651 | -0.054476 | 41.8279
39 | 0.31971 | 0.15061 | -0.31969 | -0.15473 | 2.4669e-05 | -0.0041118 | 0.010262 | 0.010314 | 0.010314 | 0.99411 | -0.039297 | 0.99404 | -0.038645 | 4.6882
40 | 0.41287 | 0.19931 | -0.41286 | -0.19996 | 6.4966e-06 | -0.00064553 | 0.013313 | 0.013321 | 0.013321 | 0.99411 | -0.039297 | 0.9941 | -0.03916 | 6.0551
41 | 0.098064 | 0.047285 | -0.098061 | -0.047493 | 3.1701e-06 | -0.00020811 | 0.0031605 | 0.0031631 | 0.0031631 | 0.99441 | -0.04312 | 0.99437 | -0.043335 | 1.5062
42 | 0.31969 | 0.15473 | -0.31967 | -0.15482 | 1.7259e-05 | -9.6585e-05 | 0.010314 | 0.010315 | 0.010315 | 0.99404 | -0.038645 | 0.99398 | -0.039002 | 4.9121
43 | 0.40706 | 0.19697 | -0.40701 | -0.19712 | 4.7145e-05 | -0.00015418 | 0.013083 | 0.013085 | 0.013085 | 0.99782 | -0.042666 | 0.9977 | -0.043431 | 6.2309
44 | 0.10153 | 0.049009 | -0.10152 | -0.049171 | 2.5993e-06 | -0.00016128 | 0.0032615 | 0.0032636 | 0.0032636 | 0.99782 | -0.042666 | 0.9978 | -0.042836 | 1.5541
45 | 0.60711 | 0.29227 | -0.60702 | -0.29236 | 8.6457e-05 | -9.7568e-05 | 0.019494 | 0.019496 | 0.019496 | 0.99777 | -0.04469 | 0.99762 | -0.04565 | 9.2838
46 | 2.8793 | 1.3415 | -2.8791 | -1.3419 | 0.00021611 | -0.00038926 | 0.092011 | 0.092017 | 0.092017 | 0.99658 | -0.055074 | 0.99651 | -0.054476 | 41.8258
47 | 0.079754 | 0.036996 | -0.079754 | -0.038273 | 4.6715e-07 | -0.0012768 | 0.002544 | 0.0025598 | 0.0025598 | 0.99762 | -0.04565 | 0.99762 | -0.045601 | 1.1635
48 | 0.079754 | 0.038273 | -0.079754 | -0.038627 | 1.3041e-07 | -0.00035362 | 0.0025598 | 0.0025642 | 0.0025642 | 0.99762 | -0.045601 | 0.99762 | -0.045587 | 1.1656
49 | 0.12768 | 0.061208 | -0.12767 | -0.061836 | 5.9146e-07 | -0.00062734 | 0.0040945 | 0.0041024 | 0.0041024 | 0.99823 | -0.041243 | 0.99823 | -0.041203 | 1.8647
50 | -1.0704 | -0.51841 | 1.0709 | 0.51844 | 0.00047396 | 3.0518e-05 | 0.034436 | 0.034432 | 0.034436 | 0.99701 | -0.050319 | 0.99747 | -0.047399 | 16.398
51 | -4.9812 | -2.4123 | 4.9823 | 2.4101 | 0.0010955 | -0.0022229 | 0.16017 | 0.16014 | 0.16017 | 0.99747 | -0.047399 | 0.99771 | -0.044921 | 44.2471
52 | -4.9823 | -2.4101 | 4.9824 | 2.4064 | 0.0001198 | -0.0037162 | 0.16014 | 0.16009 | 0.16014 | 0.99771 | -0.044921 | 0.99774 | -0.044832 | 12.5499
53 | -0.26997 | -0.13075 | 0.26997 | 0.13027 | 2.1288e-06 | -0.00048383 | 0.0087632 | 0.008757 | 0.0087632 | 0.98816 | -0.32617 | 0.98816 | -0.32624 | 3.9833
54 | 0.28593 | 0.13058 | -0.28589 | -0.13837 | 3.8071e-05 | -0.0077906 | 0.0091829 | 0.0092799 | 0.0092799 | 0.98816 | -0.32624 | 0.98804 | -0.32516 | 4.2181
55 | -0.55591 | -0.26085 | 0.55617 | 0.24661 | 0.00026118 | -0.014242 | 0.017939 | 0.017765 | 0.017939 | 0.98816 | -0.32624 | 0.9886 | -0.3298 | 8.154
56 | 0.28589 | 0.13837 | -0.28588 | -0.13846 | 1.2166e-05 | -8.4775e-05 | 0.0092799 | 0.0092811 | 0.0092811 | 0.98804 | -0.32516 | 0.988 | -0.32544 | 4.4196
57 | 1.9774 | 0.8996 | -1.9763 | -0.90398 | 0.0010845 | -0.0043824 | 0.063435 | 0.063492 | 0.063492 | 0.9886 | -0.3298 | 0.98809 | -0.32565 | 28.86
58 | 0.18695 | 0.090436 | -0.18694 | -0.09054 | 6.0751e-06 | -0.00010435 | 0.0060641 | 0.0060655 | 0.0060655 | 0.9886 | -0.3298 | 0.98857 | -0.33001 | 2.8883
59 | -2.7205 | -1.2366 | 2.725 | 1.2391 | 0.0045496 | 0.0024578 | 0.087262 | 0.087257 | 0.087262 | 0.9886 | -0.3298 | 0.99036 | -0.31617 | 41.5532
60 | -0.38422 | -0.17813 | 0.38428 | 0.17005 | 6.7776e-05 | -0.0080814 | 0.012254 | 0.012157 | 0.012254 | 0.99769 | 0.0070209 | 0.99786 | 0.0057092 | 5.5698
61 | 0.38422 | 0.17813 | -0.38416 | -0.18441 | 5.3468e-05 | -0.0062828 | 0.012254 | 0.012331 | 0.012331 | 0.99769 | 0.0070209 | 0.99756 | 0.0081635 | 5.6052
62 | -0.52475 | -0.2366 | 0.52475 | 0.23609 | 7.9419e-06 | -0.00050787 | 0.016652 | 0.016646 | 0.016652 | 0.99786 | 0.0057092 | 0.99787 | 0.0055983 | 7.5693
63 | 0.14046 | 0.066552 | -0.14046 | -0.068028 | 1.6831e-06 | -0.0014759 | 0.0044965 | 0.004515 | 0.004515 | 0.99786 | 0.0057092 | 0.99785 | 0.005811 | 2.0523
64 | 0.38416 | 0.18441 | -0.38415 | -0.18605 | 1.4073e-05 | -0.0016401 | 0.012331 | 0.012352 | 0.012352 | 0.99756 | 0.0081635 | 0.99753 | 0.0084795 | 5.6146
65 | 0.11065 | 0.052729 | -0.11065 | -0.05359 | 6.0983e-07 | -0.00086098 | 0.0035458 | 0.0035566 | 0.0035566 | 0.99787 | 0.0055983 | 0.99787 | 0.0056455 | 1.6167
66 | 0.76396 | 0.3659 | -0.76384 | -0.36923 | 0.00011346 | -0.003325 | 0.024505 | 0.024547 | 0.024547 | 0.99787 | 0.0055983 | 0.99774 | 0.0068735 | 11.1576
67 | -1.3994 | -0.65472 | 1.3998 | 0.65092 | 0.00044032 | -0.0038004 | 0.044694 | 0.044646 | 0.044694 | 0.99787 | 0.0055983 | 0.99817 | 0.0030843 | 20.3154
68 | 0.88302 | 0.42314 | -0.88299 | -0.4237 | 2.6394e-05 | -0.00055518 | 0.028607 | 0.028614 | 0.028614 | 0.98809 | -0.32565 | 0.98806 | -0.32539 | 13.0064
69 | 1.0933 | 0.48084 | -1.0911 | -0.48064 | 0.0021866 | 0.00019776 | 0.034893 | 0.034907 | 0.034907 | 0.98809 | -0.32565 | 0.98598 | -0.34354 | 16.6224
70 | -2.9712 | -1.3583 | 2.9742 | 1.36 | 0.0029444 | 0.0016307 | 0.095228 | 0.095226 | 0.095228 | 0.99036 | -0.31617 | 0.9914 | -0.30823 | 45.3467
71 | 0.76384 | 0.36923 | -0.76382 | -0.36993 | 2.4198e-05 | -0.00070753 | 0.024547 | 0.024556 | 0.024556 | 0.99774 | 0.0068735 | 0.99771 | 0.0071489 | 11.1617
72 | -1.3998 | -0.65092 | 1.4006 | 0.65116 | 0.00081848 | 0.00023835 | 0.044646 | 0.044642 | 0.044646 | 0.99817 | 0.0030843 | 0.99879 | 0.0075292 | 21.2599
73 | 0.5278 | 0.23799 | -0.52762 | -0.24888 | 0.00018347 | -0.010896 | 0.016975 | 0.017109 | 0.017109 | 0.98461 | -0.33289 | 0.98429 | -0.33018 | 7.777
74 | 0.15303 | 0.074045 | -0.15303 | -0.074114 | 2.6782e-06 | -6.8337e-05 | 0.0049842 | 0.0049851 | 0.0049851 | 0.98461 | -0.33289 | 0.98459 | -0.333 | 2.3739
75 | -0.95386 | -0.44047 | 0.95515 | 0.41695 | 0.0012937 | -0.023511 | 0.030804 | 0.030517 | 0.030804 | 0.98461 | -0.33289 | 0.98587 | -0.34274 | 14.0016
76 | 0.36709 | 0.17208 | -0.36704 | -0.17718 | 4.1932e-05 | -0.0050986 | 0.01189 | 0.011955 | 0.011955 | 0.98429 | -0.33018 | 0.98418 | -0.32923 | 5.4339
77 | 0.16053 | 0.076804 | -0.16053 | -0.077747 | 1.4874e-06 | -0.00094355 | 0.0052192 | 0.0052312 | 0.0052312 | 0.98429 | -0.33018 | 0.98428 | -0.3301 | 2.3778
78 | -0.95515 | -0.41695 | 0.95526 | 0.41486 | 0.00011394 | -0.002095 | 0.030517 | 0.030492 | 0.030517 | 0.98587 | -0.34274 | 0.98598 | -0.34354 | 13.8712
79 | 0.36704 | 0.17718 | -0.36704 | -0.17777 | 4.8667e-06 | -0.0005881 | 0.011955 | 0.011962 | 0.011962 | 0.98418 | -0.32923 | 0.98417 | -0.32911 | 5.4373
80 | 0.23944 | 0.11564 | -0.23941 | -0.11595 | 3.1192e-05 | -0.0003183 | 0.0077687 | 0.007773 | 0.007773 | 0.98806 | -0.32539 | 0.98793 | -0.32626 | 3.7014
81 | 0.29206 | 0.13783 | -0.29204 | -0.13792 | 1.4415e-05 | -9.6866e-05 | 0.0094353 | 0.0094366 | 0.0094366 | 0.98806 | -0.32539 | 0.98801 | -0.32575 | 4.4936
82 | -2.9742 | -1.36 | 2.9759 | 1.3639 | 0.0017387 | 0.0039449 | 0.095226 | 0.095217 | 0.095226 | 0.9914 | -0.30823 | 0.99247 | -0.24646 | 14.7637
83 | -3.189 | -1.4671 | 3.1892 | 1.4643 | 0.00015289 | -0.0028525 | 0.1021 | 0.10207 | 0.1021 | 0.99247 | -0.24646 | 0.99252 | -0.24623 | 16.0036
84 | 0.29204 | 0.13792 | -0.29203 | -0.14017 | 1.1486e-05 | -0.0022417 | 0.0094366 | 0.0094648 | 0.0094648 | 0.98801 | -0.32575 | 0.98798 | -0.32542 | 4.3022
85 | 0.32042 | 0.15287 | -0.32042 | -0.15299 | 7.3133e-07 | -0.00012065 | 0.010325 | 0.010326 | 0.010326 | 0.99261 | -0.23784 | 0.99261 | -0.23782 | 4.6938
86 | -0.68026 | -0.32715 | 0.68027 | 0.327 | 4.0104e-06 | -0.00014546 | 0.021953 | 0.021951 | 0.021953 | 0.99261 | -0.23784 | 0.99261 | -0.23789 | 9.9785
87 | 0.13699 | 0.065533 | -0.13699 | -0.065998 | 5.1586e-07 | -0.00046525 | 0.0044165 | 0.0044224 | 0.0044224 | 0.99261 | -0.23782 | 0.9926 | -0.23779 | 2.0102
88 | 0.18343 | 0.087458 | -0.18343 | -0.088838 | 2.7449e-06 | -0.0013799 | 0.0059099 | 0.0059273 | 0.0059273 | 0.99261 | -0.23782 | 0.99259 | -0.23769 | 2.6942
89 | -0.89422 | -0.43063 | 0.89433 | 0.42834 | 0.00010962 | -0.0022887 | 0.028864 | 0.028835 | 0.028864 | 0.99261 | -0.23789 | 0.99273 | -0.23894 | 13.1202
90 | 0.13699 | 0.065998 | -0.13699 | -0.066349 | 3.8937e-07 | -0.00035036 | 0.0044224 | 0.0044268 | 0.0044268 | 0.9926 | -0.23779 | 0.9926 | -0.23776 | 2.0122
91 | -0.89433 | -0.42834 | 0.89452 | 0.42439 | 0.00018851 | -0.0039479 | 0.028835 | 0.028785 | 0.028835 | 0.99273 | -0.23894 | 0.99292 | -0.24071 | 13.1069
92 | -0.89452 | -0.42439 | 0.89458 | 0.42313 | 5.9749e-05 | -0.0012545 | 0.028785 | 0.028769 | 0.028785 | 0.99292 | -0.24071 | 0.99298 | -0.24126 | 13.0841
93 | -1.1361 | -0.54009 | 1.1363 | 0.53706 | 0.00023532 | -0.0030371 | 0.03657 | 0.036531 | 0.03657 | 0.99298 | -0.24126 | 0.99318 | -0.24298 | 16.6225
94 | -0.40704 | -0.19714 | 0.40708 | 0.19703 | 3.4475e-05 | -0.0001104 | 0.013143 | 0.013141 | 0.013143 | 0.99338 | -0.24206 | 0.99347 | -0.24151 | 6.2585
95 | 4.9946 | 2.2478 | -4.9935 | -2.2823 | 0.0011133 | -0.034559 | 0.15915 | 0.15957 | 0.15957 | 0.99347 | -0.24151 | 0.99324 | -0.24267 | 12.5056
96 | 0.064541 | 0.02146 | -0.064539 | -0.031077 | 2.2338e-06 | -0.0096171 | 0.0019763 | 0.0020815 | 0.0020815 | 0.99347 | -0.24151 | 0.99344 | -0.24132 | 0.94613
97 | -5.4662 | -2.4663 | 5.4724 | 2.3043 | 0.0061816 | -0.16199 | 0.17425 | 0.17233 | 0.17425 | 0.99347 | -0.24151 | 0.99465 | -0.2346 | 13.656
98 | 4.9935 | 2.2823 | -4.9934 | -2.2852 | 9.3989e-05 | -0.0029082 | 0.15957 | 0.15961 | 0.15961 | 0.99324 | -0.24267 | 0.99322 | -0.24276 | 12.5084
99 | 0.064539 | 0.031077 | -0.064538 | -0.031257 | 1.1826e-06 | -0.00017955 | 0.0020815 | 0.0020838 | 0.0020838 | 0.99344 | -0.24132 | 0.99342 | -0.24144 | 0.99227
100 | 0.58929 | 0.25648 | -0.58903 | -0.26977 | 0.00026516 | -0.013288 | 0.018653 | 0.018811 | 0.018811 | 0.99465 | -0.2346 | 0.99422 | -0.23137 | 8.5504
101 | 0.20605 | 0.099718 | -0.20604 | -0.099792 | 5.1706e-06 | -7.4401e-05 | 0.0066437 | 0.0066446 | 0.0066446 | 0.99465 | -0.2346 | 0.99462 | -0.23476 | 3.1641
102 | -6.2677 | -2.6605 | 6.2786 | 2.6854 | 0.010856 | 0.02492 | 0.19762 | 0.19757 | 0.19762 | 0.99465 | -0.2346 | 0.99778 | -0.044684 | 15.3191
103 | 4.7352 | 2.1602 | -4.735 | -2.1619 | 0.00020591 | -0.0016887 | 0.15127 | 0.15129 | 0.15129 | 0.99322 | -0.24276 | 0.99318 | -0.24298 | 23.7138
104 | 0.28523 | 0.13696 | -0.28523 | -0.13814 | 5.6445e-06 | -0.0011787 | 0.0091871 | 0.0092019 | 0.0092019 | 0.99422 | -0.23137 | 0.99421 | -0.2312 | 4.1827
105 | 0.3038 | 0.13281 | -0.30372 | -0.1463 | 7.2057e-05 | -0.013495 | 0.0096268 | 0.0097906 | 0.0097906 | 0.99422 | -0.23137 | 0.994 | -0.22955 | 4.4503
106 | 5.1228 | 2.4676 | -5.1226 | -2.4735 | 0.00020168 | -0.0059177 | 0.16451 | 0.16459 | 0.16459 | 0.99778 | -0.044684 | 0.99774 | -0.044832 | 12.8986
107 | -11.4014 | -5.153 | 11.403 | 5.1442 | 0.0015546 | -0.0087358 | 0.36199 | 0.36187 | 0.36199 | 0.99778 | -0.044684 | 0.99792 | -0.04396 | 28.3691
108 | 3.5987 | 1.6249 | -3.5982 | -1.6327 | 0.00053765 | -0.0078761 | 0.11477 | 0.11487 | 0.11487 | 0.99318 | -0.24298 | 0.99302 | -0.24377 | 18.004
109 | 0.30372 | 0.1463 | -0.30372 | -0.1471 | 4.3298e-06 | -0.00079607 | 0.0097906 | 0.0098007 | 0.0098007 | 0.994 | -0.22955 | 0.99399 | -0.22942 | 4.4549
110 | 0.14022 | 0.067113 | -0.14022 | -0.067912 | 9.1122e-07 | -0.00079987 | 0.0044978 | 0.0045078 | 0.0045078 | 0.99774 | -0.044832 | 0.99773 | -0.044776 | 2.049
111 | -0.29203 | -0.14143 | 0.29203 | 0.14017 | 6.5286e-06 | -0.0012681 | 0.0094809 | 0.0094648 | 0.0094809 | 0.98795 | -0.32523 | 0.98798 | -0.32542 | 4.3095
112 | 3.5201 | 1.5954 | -3.52 | -1.5973 | 0.00012464 | -0.0019092 | 0.11235 | 0.11237 | 0.11237 | 0.99302 | -0.24377 | 0.99298 | -0.24395 | 17.6136
113 | 0.078067 | 0.037302 | -0.078067 | -0.037809 | 1.825e-07 | -0.00050742 | 0.0025152 | 0.0025216 | 0.0025216 | 0.99302 | -0.24377 | 0.99302 | -0.24374 | 1.1462
114 | 3.52 | 1.5973 | -3.5199 | -1.5994 | 0.00013223 | -0.0020244 | 0.11237 | 0.1124 | 0.1124 | 0.99298 | -0.24395 | 0.99295 | -0.24414 | 17.6175
115 | 3.2609 | 1.474 | -3.2605 | -1.4822 | 0.00045995 | -0.0082505 | 0.10404 | 0.10414 | 0.10414 | 0.99295 | -0.24414 | 0.9928 | -0.24488 | 16.323
116 | 3.2605 | 1.4822 | -3.2599 | -1.4926 | 0.00058107 | -0.010396 | 0.10414 | 0.10427 | 0.10427 | 0.9928 | -0.24488 | 0.99262 | -0.24578 | 16.3433
117 | 0.070413 | 0.033681 | -0.070413 | -0.034103 | 1.2365e-07 | -0.00042182 | 0.00227 | 0.0022753 | 0.0022753 | 0.99262 | -0.24578 | 0.99261 | -0.24577 | 1.0342
118 | 3.1895 | 1.4589 | -3.1892 | -1.4643 | 0.00028689 | -0.0053588 | 0.102 | 0.10207 | 0.10207 | 0.99262 | -0.24578 | 0.99252 | -0.24623 | 15.998
119 | -1.5215 | -0.70971 | 1.5218 | 0.7098 | 0.00024787 | 8.488e-05 | 0.048524 | 0.048523 | 0.048524 | 0.99879 | 0.0075292 | 0.99896 | 0.0087551 | 23.1068
120 | -1.6166 | -0.75574 | 1.6168 | 0.75433 | 0.00021894 | -0.0014051 | 0.051569 | 0.051551 | 0.051569 | 0.99896 | 0.0087551 | 0.99909 | 0.0076698 | 23.4404

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 19.6109 | 8.9291

## res_load
| p_mw | q_mvar
0 | 0.27301 | 0.13223
1 | 0.34677 | 0.16795
2 | 0.25315 | 0.12261
3 | 0.28202 | 0.13659
4 | 0.14095 | 0.068265
5 | 0.088105 | 0.042671
6 | 0.35342 | 0.17117
7 | 0.29969 | 0.14515
8 | 0.1188 | 0.057537
9 | 0.97399 | 0.47172
10 | 0.32408 | 0.15696
11 | 0.3096 | 0.14994
12 | 0.30957 | 0.14993
13 | 0.31233 | 0.15127
14 | 0.098061 | 0.047493
15 | 0.41286 | 0.19996
16 | 0.31967 | 0.15482
17 | 0.21408 | 0.10368
18 | 0.40701 | 0.19712
19 | 0.10152 | 0.049171
20 | 0.52727 | 0.25537
21 | 0.079754 | 0.038627
22 | 1.0704 | 0.51841
23 | 3.9103 | 1.8939
24 | 0.26997 | 0.13075
25 | 0.14046 | 0.068028
26 | 0.38415 | 0.18605
27 | 0.28588 | 0.13846
28 | 0.18694 | 0.09054
29 | 0.24618 | 0.11923
30 | 0.11065 | 0.05359
31 | 0.15303 | 0.074114
32 | 0.16053 | 0.077747
33 | 0.36704 | 0.17777
34 | 0.35149 | 0.17023
35 | 0.13583 | 0.065783
36 | 0.21313 | 0.10322
37 | 0.23941 | 0.11595
38 | 0.35984 | 0.17428
39 | 0.21395 | 0.10362
40 | 0.18343 | 0.088838
41 | 0.13699 | 0.066349
42 | 0.24149 | 0.11696
43 | 0.40704 | 0.19714
44 | 0.25814 | 0.12502
45 | 0.064538 | 0.031257
46 | 0.20604 | 0.099792
47 | 0.28523 | 0.13814
48 | 0.30372 | 0.1471
49 | 0.13582 | 0.065779
50 | 0.29203 | 0.14143
51 | 0.078067 | 0.037809
52 | 0.25892 | 0.1254
53 | 0.070413 | 0.034103
54 | 0.14022 | 0.067912
55 | 0.76382 | 0.36993
56 | 0.12089 | 0.05855
57 | 0.094855 | 0.04594
58 | 0.12767 | 0.061836

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1