## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_7_2_node_73 | 20 | n |  | TRUE
1 | bus_MV_7_2_node_74 | 20 | n |  | TRUE
2 | bus_MV_7_2_node_186 | 20 | n |  | TRUE
3 | bus_MV_7_2_node_75 | 20 | n |  | TRUE
4 | bus_MV_7_2_node_136 | 20 | n |  | TRUE
5 | bus_MV_7_2_node_137 | 20 | n |  | TRUE
6 | bus_MV_7_2_node_138 | 20 | n |  | TRUE
7 | bus_MV_7_2_node_151 | 20 | n |  | TRUE
8 | bus_MV_7_2_node_145 | 20 | n |  | TRUE
9 | bus_MV_7_2_node_89 | 20 | n |  | TRUE
10 | bus_MV_7_2_node_115 | 20 | n |  | TRUE
11 | bus_MV_7_2_node_117 | 20 | n |  | TRUE
12 | bus_MV_7_2_node_88 | 20 | n |  | TRUE
13 | bus_MV_7_2_node_118 | 20 | n |  | TRUE
14 | bus_MV_7_2_node_120 | 20 | n |  | TRUE
15 | bus_MV_7_2_node_141 | 20 | n |  | TRUE
16 | bus_MV_7_2_node_119 | 20 | n |  | TRUE
17 | bus_MV_7_2_node_122 | 20 | n |  | TRUE
18 | bus_MV_7_2_node_143 | 20 | n |  | TRUE
19 | bus_MV_7_2_node_146 | 20 | n |  | TRUE
20 | bus_MV_7_2_node_127 | 20 | n |  | TRUE
21 | bus_MV_7_2_node_121 | 20 | n |  | TRUE
22 | bus_MV_7_2_node_126 | 20 | n |  | TRUE
23 | bus_MV_7_2_node_150 | 20 | n |  | TRUE
24 | bus_MV_7_2_node_123 | 20 | n |  | TRUE
25 | bus_MV_7_2_node_124 | 20 | n |  | TRUE
26 | bus_MV_7_2_node_125 | 20 | n |  | TRUE
27 | bus_MV_7_2_node_202 | 20 | n |  | TRUE
28 | bus_MV_7_2_node_128 | 20 | n |  | TRUE
29 | bus_MV_7_2_node_129 | 20 | n |  | TRUE
30 | bus_MV_7_2_node_152 | 20 | n |  | TRUE
31 | bus_MV_7_2_node_153 | 20 | n |  | TRUE
32 | bus_MV_7_2_node_142 | 20 | n |  | TRUE
33 | bus_MV_7_2_node_144 | 20 | n |  | TRUE
34 | bus_MV_7_2_node_148 | 20 | n |  | TRUE
35 | bus_MV_7_2_node_149 | 20 | n |  | TRUE
36 | bus_MV_7_2_node_155 | 20 | n |  | TRUE
37 | bus_MV_7_2_node_156 | 20 | n |  | TRUE
38 | bus_MV_7_2_node_154 | 20 | n |  | TRUE
39 | bus_MV_7_2_node_157 | 20 | n |  | TRUE
40 | bus_MV_7_2_node_76 | 20 | n |  | TRUE
41 | bus_MV_7_2_node_77 | 20 | n |  | TRUE
42 | bus_MV_7_2_node_78 | 20 | n |  | TRUE
43 | bus_MV_7_2_node_79 | 20 | n |  | TRUE
44 | bus_MV_7_2_node_84 | 20 | n |  | TRUE
45 | bus_MV_7_2_node_87 | 20 | n |  | TRUE
46 | bus_MV_7_2_node_80 | 20 | n |  | TRUE
47 | bus_MV_7_2_node_114 | 20 | n |  | TRUE
48 | bus_MV_7_2_node_81 | 20 | n |  | TRUE
49 | bus_MV_7_2_node_113 | 20 | n |  | TRUE
50 | bus_MV_7_2_node_82 | 20 | n |  | TRUE
51 | bus_MV_7_2_node_85 | 20 | n |  | TRUE
52 | bus_MV_7_2_node_130 | 20 | n |  | TRUE
53 | bus_MV_7_2_node_131 | 20 | n |  | TRUE
54 | bus_MV_7_2_node_83 | 20 | n |  | TRUE
55 | bus_MV_7_2_node_100 | 20 | n |  | TRUE
56 | bus_MV_7_2_node_110 | 20 | n |  | TRUE
57 | bus_MV_7_2_node_174 | 20 | n |  | TRUE
58 | bus_MV_7_2_node_106 | 20 | n |  | TRUE
59 | bus_MV_7_2_node_86 | 20 | n |  | TRUE
60 | bus_MV_7_2_node_173 | 20 | n |  | TRUE
61 | bus_MV_7_2_node_158 | 20 | n |  | TRUE
62 | bus_MV_7_2_node_147 | 20 | n |  | TRUE
63 | bus_MV_7_2_node_189 | 20 | n |  | TRUE
64 | bus_MV_7_2_node_101 | 20 | n |  | TRUE
65 | bus_MV_7_2_node_111 | 20 | n |  | TRUE
66 | bus_MV_7_2_node_162 | 20 | n |  | TRUE
67 | bus_MV_7_2_node_112 | 20 | n |  | TRUE
68 | bus_MV_7_2_node_97 | 20 | n |  | TRUE
69 | bus_MV_7_2_node_96 | 20 | n |  | TRUE
70 | bus_MV_7_2_node_95 | 20 | n |  | TRUE
71 | bus_MV_7_2_node_98 | 20 | n |  | TRUE
72 | bus_MV_7_2_node_166 | 20 | n |  | TRUE
73 | bus_MV_7_2_node_161 | 20 | n |  | TRUE
74 | bus_MV_7_2_node_194 | 20 | n |  | TRUE
75 | bus_MV_7_2_node_193 | 20 | n |  | TRUE
76 | bus_MV_7_2_node_91 | 20 | n |  | TRUE
77 | bus_MV_7_2_node_92 | 20 | n |  | TRUE
78 | bus_MV_7_2_node_94 | 20 | n |  | TRUE
79 | bus_MV_7_2_node_99 | 20 | n |  | TRUE
80 | bus_MV_7_2_node_103 | 20 | n |  | TRUE
81 | bus_MV_7_2_node_132 | 20 | n |  | TRUE
82 | bus_MV_7_2_node_169 | 20 | n |  | TRUE
83 | bus_MV_7_2_node_168 | 20 | n |  | TRUE
84 | bus_MV_7_2_node_104 | 20 | n |  | TRUE
85 | bus_MV_7_2_node_167 | 20 | n |  | TRUE
86 | bus_MV_7_2_node_133 | 20 | n |  | TRUE
87 | bus_MV_7_2_node_170 | 20 | n |  | TRUE
88 | bus_MV_7_2_node_102 | 20 | n |  | TRUE
89 | bus_MV_7_2_node_107 | 20 | n |  | TRUE
90 | bus_MV_7_2_node_163 | 20 | n |  | TRUE
91 | bus_MV_7_2_node_164 | 20 | n |  | TRUE
92 | bus_MV_7_2_node_165 | 20 | n |  | TRUE
93 | bus_MV_7_2_node_171 | 20 | n |  | TRUE
94 | bus_MV_7_2_node_172 | 20 | n |  | TRUE
95 | bus_MV_7_2_node_134 | 20 | n |  | TRUE
96 | bus_MV_7_2_node_135 | 20 | n |  | TRUE
97 | bus_MV_7_2_node_182 | 20 | n |  | TRUE
98 | bus_MV_7_2_node_190 | 20 | n |  | TRUE
99 | bus_MV_7_2_node_191 | 20 | n |  | TRUE
100 | bus_MV_7_2_node_179 | 20 | n |  | TRUE
101 | bus_MV_7_2_node_180 | 20 | n |  | TRUE
102 | bus_MV_7_2_node_181 | 20 | n |  | TRUE
103 | bus_MV_7_2_node_192 | 20 | n |  | TRUE
104 | bus_HV_7_2_node_89 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_7_2_load_73 | 0 | 0.17321 | 0.083888 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_7_2_load_186 | 2 | 0.30553 | 0.14798 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_7_2_load_136 | 4 | 0.13559 | 0.065667 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_7_2_load_151 | 7 | 0.1014 | 0.04911 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_7_2_load_145 | 8 | 0.54672 | 0.26479 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_7_2_load_115 | 10 | 0.27537 | 0.13337 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_7_2_load_141 | 15 | 0.10737 | 0.052 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_7_2_load_146 | 19 | 0.33336 | 0.16145 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_7_2_load_126 | 22 | 0.14574 | 0.070586 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_7_2_load_150 | 23 | 0.40402 | 0.19568 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_7_2_load_123 | 24 | 0.40828 | 0.19774 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_7_2_load_202 | 27 | 0.33951 | 0.16443 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_7_2_load_129 | 29 | 0.1052 | 0.050951 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_7_2_load_153 | 31 | 0.13218 | 0.064018 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_7_2_load_142 | 32 | 0.071409 | 0.034585 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_7_2_load_148 | 34 | 0.16134 | 0.078142 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_7_2_load_155 | 36 | 0.11241 | 0.054443 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_7_2_load_154 | 38 | 1.5601 | 0.7556 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_7_2_load_157 | 39 | 0.37383 | 0.18106 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_7_2_load_76 | 40 | 0.22283 | 0.10792 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_7_2_load_87 | 45 | 0.28054 | 0.13587 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_7_2_load_113 | 49 | 0.18485 | 0.089526 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_7_2_load_130 | 52 | 0.31986 | 0.15491 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_7_2_load_131 | 53 | 0.079557 | 0.038531 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_7_2_load_100 | 55 | 0.37146 | 0.17991 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_7_2_load_110 | 56 | 0.33337 | 0.16146 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_7_2_load_174 | 57 | 0.24516 | 0.11874 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_7_2_load_106 | 58 | 0.30006 | 0.14532 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_7_2_load_173 | 60 | 0.080425 | 0.038952 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_7_2_load_158 | 61 | 0.12374 | 0.059931 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_7_2_load_147 | 62 | 0.11627 | 0.05631 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_7_2_load_189 | 63 | 0.29473 | 0.14274 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_7_2_load_162 | 66 | 0.42661 | 0.20662 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_7_2_load_166 | 72 | 0.28024 | 0.13573 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_7_2_load_161 | 73 | 0.096824 | 0.046894 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_7_2_load_194 | 74 | 0.25779 | 0.12485 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_7_2_load_193 | 75 | 0.3692 | 0.17881 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_7_2_load_91 | 76 | 0.35028 | 0.16965 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_7_2_load_92 | 77 | 0.069349 | 0.033587 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_7_2_load_94 | 78 | 0.072069 | 0.034905 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_7_2_load_103 | 80 | 0.29558 | 0.14315 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_7_2_load_132 | 81 | 0.38967 | 0.18873 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_7_2_load_169 | 82 | 0.11838 | 0.057333 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_7_2_load_168 | 83 | 0.11837 | 0.057327 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_7_2_load_167 | 85 | 0.11151 | 0.054006 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_7_2_load_107 | 89 | 0.33189 | 0.16074 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_7_2_load_164 | 91 | 0.088897 | 0.043055 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_7_2_load_171 | 93 | 0.088898 | 0.043055 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_7_2_load_172 | 94 | 0.088898 | 0.043055 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_7_2_load_190 | 98 | 0.32374 | 0.1568 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_7_2_load_191 | 99 | 0.40102 | 0.19422 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_7_2_load_180 | 101 | 0.21208 | 0.10272 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_7_2_load_192 | 103 | 0.25778 | 0.12485 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_7_2_line_0 |  | 0 | 1 | 0.24601 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_7_2_line_1 |  | 0 | 2 | 1.4949 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_7_2_line_2 |  | 1 | 3 | 0.38921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_7_2_line_3 |  | 2 | 6 | 0.040679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_7_2_line_4 |  | 3 | 7 | 0.031496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_7_2_line_5 |  | 3 | 8 | 0.12652 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_7_2_line_6 |  | 4 | 5 | 0.1372 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_7_2_line_7 |  | 5 | 6 | 0.82853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_7_2_line_8 |  | 8 | 33 | 0.067379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_7_2_line_9 |  | 9 | 10 | 0.066432 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_7_2_line_10 |  | 9 | 11 | 0.2193 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
11 | MV_7_2_line_11 |  | 9 | 12 | 0.18911 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
12 | MV_7_2_line_12 |  | 11 | 74 | 0.025747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_7_2_line_13 |  | 11 | 21 | 0.52456 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
14 | MV_7_2_line_14 |  | 12 | 62 | 0.026263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_7_2_line_15 |  | 12 | 43 | 0.30509 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
16 | MV_7_2_line_16 |  | 13 | 14 | 0.13673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_7_2_line_17 |  | 13 | 15 | 0.030013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_7_2_line_18 |  | 14 | 20 | 0.012412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_7_2_line_19 |  | 14 | 21 | 0.31681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_7_2_line_20 |  | 14 | 22 | 0.045553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_7_2_line_21 |  | 16 | 17 | 0.068264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_7_2_line_22 |  | 16 | 18 | 0.079638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_7_2_line_23 |  | 16 | 19 | 0.013895 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_7_2_line_24 |  | 17 | 24 | 0.021868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_7_2_line_25 |  | 17 | 21 | 0.07441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_7_2_line_26 |  | 18 | 33 | 0.086403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_7_2_line_27 |  | 18 | 32 | 0.03968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_7_2_line_28 |  | 20 | 28 | 0.13509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_7_2_line_29 |  | 20 | 29 | 0.052694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_7_2_line_30 |  | 21 | 23 | 0.0030068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_7_2_line_31 |  | 23 | 35 | 0.036036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_7_2_line_32 |  | 24 | 25 | 0.03509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_7_2_line_33 |  | 25 | 26 | 0.069652 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_7_2_line_34 |  | 26 | 27 | 0.06904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_7_2_line_35 |  | 28 | 30 | 0.041877 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_7_2_line_36 |  | 28 | 31 | 0.046487 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_7_2_line_37 |  | 30 | 36 | 0.028517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_7_2_line_38 |  | 30 | 37 | 0.26572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_7_2_line_39 |  | 31 | 38 | 0.033624 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_7_2_line_40 |  | 34 | 35 | 0.023419 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_7_2_line_41 |  | 37 | 39 | 0.045316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_7_2_line_42 |  | 40 | 41 | 0.0052509 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
43 | MV_7_2_line_43 |  | 40 | 42 | 0.020102 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
44 | MV_7_2_line_44 |  | 41 | 43 | 0.14494 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
45 | MV_7_2_line_45 |  | 42 | 44 | 0.26942 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
46 | MV_7_2_line_46 |  | 43 | 45 | 0.039962 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_7_2_line_47 |  | 44 | 56 | 0.087435 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_7_2_line_48 |  | 44 | 57 | 0.041827 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
49 | MV_7_2_line_49 |  | 46 | 47 | 0.23903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_7_2_line_50 |  | 46 | 48 | 0.48334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_7_2_line_51 |  | 46 | 49 | 0.047652 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_7_2_line_52 |  | 47 | 63 | 0.042452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_7_2_line_53 |  | 48 | 50 | 0.17604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_7_2_line_54 |  | 48 | 51 | 0.4423 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_7_2_line_55 |  | 48 | 52 | 0.022704 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_7_2_line_56 |  | 50 | 53 | 0.049305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_7_2_line_57 |  | 51 | 58 | 0.031726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_7_2_line_58 |  | 51 | 54 | 0.70391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_7_2_line_59 |  | 54 | 55 | 0.026178 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_7_2_line_60 |  | 55 | 64 | 0.05445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_7_2_line_61 |  | 56 | 65 | 0.0059 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_7_2_line_62 |  | 56 | 66 | 0.16983 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_7_2_line_63 |  | 57 | 68 | 0.043212 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
64 | MV_7_2_line_64 |  | 59 | 60 | 0.065952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_7_2_line_65 |  | 59 | 61 | 0.062689 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
66 | MV_7_2_line_66 |  | 60 | 70 | 0.19975 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_7_2_line_67 |  | 60 | 71 | 0.25161 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_7_2_line_68 |  | 61 | 72 | 0.049973 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
69 | MV_7_2_line_69 |  | 64 | 88 | 1.3796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_7_2_line_70 |  | 64 | 84 | 0.21959 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_7_2_line_71 |  | 65 | 67 | 0.29465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_7_2_line_72 |  | 66 | 90 | 0.047247 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_7_2_line_73 |  | 67 | 75 | 0.031106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_7_2_line_74 |  | 68 | 69 | 0.11721 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
75 | MV_7_2_line_75 |  | 69 | 72 | 0.030224 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
76 | MV_7_2_line_76 |  | 70 | 80 | 0.025194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_7_2_line_77 |  | 71 | 81 | 0.071077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_7_2_line_78 |  | 72 | 73 | 0.029005 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_7_2_line_79 |  | 76 | 77 | 0.032046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_7_2_line_80 |  | 77 | 78 | 0.01665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_7_2_line_81 |  | 78 | 79 | 0.013492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_7_2_line_82 |  | 79 | 82 | 0.026493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_7_2_line_83 |  | 79 | 83 | 0.0018022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_7_2_line_84 |  | 80 | 84 | 0.084039 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_7_2_line_85 |  | 80 | 85 | 0.086065 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_7_2_line_86 |  | 81 | 86 | 0.004909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_7_2_line_87 |  | 82 | 87 | 0.016418 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_7_2_line_88 |  | 86 | 95 | 0.48003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_7_2_line_89 |  | 87 | 93 | 0.032512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_7_2_line_90 |  | 87 | 92 | 0.004348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_7_2_line_91 |  | 88 | 89 | 0.073793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_7_2_line_92 |  | 90 | 91 | 0.019754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_7_2_line_93 |  | 91 | 92 | 0.014151 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_7_2_line_94 |  | 93 | 94 | 0.016249 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_7_2_line_95 |  | 95 | 96 | 0.59908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_7_2_line_96 |  | 95 | 97 | 0.38315 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_7_2_line_97 |  | 95 | 98 | 0.095188 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_7_2_line_98 |  | 96 | 99 | 0.01796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_7_2_line_99 |  | 97 | 103 | 0.037378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_7_2_line_100 |  | 98 | 102 | 0.036277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_7_2_line_101 |  | 100 | 101 | 0.027233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_7_2_line_102 |  | 100 | 102 | 0.19009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_7_2_trafo_89 | 25 MVA 110/20 kV | 104 | 9 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2700323.1834 | 1246634.8588
1 | 2700526.3259 | 1246773.6177
2 | 2698832.3047 | 1246524.7867
3 | 2700490.4731 | 1247087.9329
4 | 2698354.5468 | 1246829.9584
5 | 2698486.0417 | 1246790.8103
6 | 2698791.6073 | 1246523.2297
7 | 2700468.2822 | 1247068.6231
8 | 2700531.2821 | 1247207.6919
9 | 2701133.4629 | 1247290.7107
10 | 2701085.694 | 1247336.8768
11 | 2700956.4982 | 1247420.2411
12 | 2701210.0377 | 1247394.9431
13 | 2700571.0751 | 1247496.9408
14 | 2700570.3787 | 1247592.7149
15 | 2700549.2843 | 1247517.5786
16 | 2700595.7257 | 1247375.831
17 | 2700621.7664 | 1247425.1669
18 | 2700541.2166 | 1247317.7723
19 | 2700605.4208 | 1247365.8766
20 | 2700561.3055 | 1247601.2122
21 | 2700650.6104 | 1247374.3611
22 | 2700599.0692 | 1247628.0975
23 | 2700652.8375 | 1247372.3409
24 | 2700605.7573 | 1247440.0638
25 | 2700580.8882 | 1247436.4044
26 | 2700532.4205 | 1247422.1269
27 | 2700482.0683 | 1247469.5105
28 | 2700461.2417 | 1247692.265
29 | 2700525.4519 | 1247562.5963
30 | 2700430.0298 | 1247720.2804
31 | 2700429.4624 | 1247658.3379
32 | 2700570.3439 | 1247290.8254
33 | 2700482.5469 | 1247254.1839
34 | 2700664.7855 | 1247330.3733
35 | 2700679.7201 | 1247348.4128
36 | 2700409.502 | 1247740.075
37 | 2700317.5824 | 1247523.5123
38 | 2700406.5996 | 1247633.6827
39 | 2700348.3492 | 1247556.7828
40 | 2701456.7174 | 1247220.0201
41 | 2701453.2393 | 1247223.9538
42 | 2701470.1302 | 1247205.0502
43 | 2701358.1641 | 1247197.4962
44 | 2701565.9887 | 1247083.9519
45 | 2701341.2487 | 1247161.3121
46 | 2701336.5043 | 1247879.9719
47 | 2701141.9932 | 1247930.1125
48 | 2701405.2704 | 1247508.9566
49 | 2701378.6679 | 1247857.5417
50 | 2701353.7105 | 1247432.2484
51 | 2701565.1536 | 1247568.1281
52 | 2701424.5132 | 1247500.0009
53 | 2701317.168 | 1247436.3605
54 | 2701770.773 | 1247232.8015
55 | 2701791.9238 | 1247248.31
56 | 2701485.4799 | 1247049.8469
57 | 2701600.7614 | 1247060.7071
58 | 2701586.092 | 1247592.0166
59 | 2701821.468 | 1247021.1058
60 | 2701860.463 | 1246968.4856
61 | 2701776.8368 | 1246977.084
62 | 2701229.8762 | 1247411.2611
63 | 2701122.4382 | 1247892.405
64 | 2701836.0812 | 1247280.3488
65 | 2701480.2065 | 1247052.5032
66 | 2701531.6096 | 1246886.4062
67 | 2701289.5235 | 1246930.9483
68 | 2701634.4609 | 1247033.541
69 | 2701707.1368 | 1246966.7347
70 | 2702035.9542 | 1247063.8924
71 | 2701973.6432 | 1246743.7698
72 | 2701733.4259 | 1246952.3298
73 | 2701747.9242 | 1246927.2086
74 | 2700936.5486 | 1247436.5698
75 | 2701267.4453 | 1246952.3213
76 | 2701593.2346 | 1246762.1061
77 | 2701564.7974 | 1246776.8809
78 | 2701550.0229 | 1246784.5571
79 | 2701538.0506 | 1246790.7774
80 | 2702048.4658 | 1247085.7804
81 | 2702026.8675 | 1246696.5037
82 | 2701548.7882 | 1246814.9966
83 | 2701537.3193 | 1246789.1303
84 | 2702023.5733 | 1247166.0484
85 | 2702109.5901 | 1247146.369
86 | 2702030.1976 | 1246700.1194
87 | 2701555.4426 | 1246830.0059
88 | 2702048.9209 | 1248110.7159
89 | 2702103.2225 | 1248160.7012
90 | 2701573.1525 | 1246863.9023
91 | 2701563.8598 | 1246846.4709
92 | 2701557.2028 | 1246833.9836
93 | 2701584.1828 | 1246814.807
94 | 2701598.547 | 1246807.2107
95 | 2702307.4464 | 1246788.9541
96 | 2702345.1486 | 1246400.3555
97 | 2702682.4425 | 1246710.3509
98 | 2702396.4046 | 1246755.085
99 | 2702358.6889 | 1246388.5133
100 | 2702455.7685 | 1246914.0016
101 | 2702438.5851 | 1246935.1658
102 | 2702411.1122 | 1246788.0092
103 | 2702710.9573 | 1246687.6157
104 | 2701133.4629 | 1247290.7107

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99542 | -0.050353 | 0.17321 | 0.083888
1 | 0.99571 | -0.048033 | 0 | 0
2 | 0.99417 | -0.061175 | 0.30553 | 0.14798
3 | 0.99601 | -0.050239 | 0 | 0
4 | 0.99398 | -0.060561 | 0.13559 | 0.065667
5 | 0.99402 | -0.060332 | 0 | 0
6 | 0.99416 | -0.061162 | 0 | 0
7 | 0.99601 | -0.050202 | 0.1014 | 0.04911
8 | 0.99618 | -0.04878 | 0.54672 | 0.26479
9 | 1 | 0 | -13.5636 | -6.3067
10 | 0.99996 | -0.00022128 | 0.27537 | 0.13337
11 | 0.99851 | -0.037671 | 0 | 0
12 | 0.99939 | -0.011293 | 0 | 0
13 | 0.99589 | -0.045658 | 0 | 0
14 | 0.99591 | -0.045815 | 0 | 0
15 | 0.99589 | -0.04562 | 0.10737 | 0.052
16 | 0.99657 | -0.051866 | 0 | 0
17 | 0.99671 | -0.05306 | 0 | 0
18 | 0.99643 | -0.050781 | 0 | 0
19 | 0.99656 | -0.05181 | 0.33336 | 0.16145
20 | 0.99588 | -0.045485 | 0 | 0
21 | 0.99694 | -0.055002 | 0 | 0
22 | 0.9959 | -0.045736 | 0.14574 | 0.070586
23 | 0.99694 | -0.054982 | 0.40402 | 0.19568
24 | 0.99669 | -0.05287 | 0.40828 | 0.19774
25 | 0.99667 | -0.052734 | 0 | 0
26 | 0.99664 | -0.052461 | 0 | 0
27 | 0.99661 | -0.052182 | 0.33951 | 0.16443
28 | 0.9955 | -0.042042 | 0 | 0
29 | 0.99587 | -0.04542 | 0.1052 | 0.050951
30 | 0.99548 | -0.041819 | 0 | 0
31 | 0.9954 | -0.041096 | 0.13218 | 0.064018
32 | 0.99643 | -0.050748 | 0.071409 | 0.034585
33 | 0.99629 | -0.049661 | 0 | 0
34 | 0.99692 | -0.054869 | 0.16134 | 0.078142
35 | 0.99693 | -0.054914 | 0 | 0
36 | 0.99547 | -0.041781 | 0.11241 | 0.054443
37 | 0.99535 | -0.040692 | 0 | 0
38 | 0.99533 | -0.040464 | 1.5601 | 0.7556
39 | 0.99533 | -0.040489 | 0.37383 | 0.18106
40 | 0.99795 | -0.037708 | 0.22283 | 0.10792
41 | 0.99796 | -0.037411 | 0 | 0
42 | 0.99789 | -0.038809 | 0 | 0
43 | 0.99841 | -0.029217 | 0 | 0
44 | 0.99709 | -0.053563 | 0 | 0
45 | 0.9984 | -0.029084 | 0.28054 | 0.13587
46 | 0.99162 | -0.078628 | 0 | 0
47 | 0.99153 | -0.077829 | 0 | 0
48 | 0.99192 | -0.081027 | 0 | 0
49 | 0.99161 | -0.078522 | 0.18485 | 0.089526
50 | 0.9919 | -0.080894 | 0 | 0
51 | 0.99241 | -0.08489 | 0 | 0
52 | 0.99191 | -0.080939 | 0.31986 | 0.15491
53 | 0.99189 | -0.080848 | 0.079557 | 0.038531
54 | 0.99346 | -0.092944 | 0 | 0
55 | 0.9935 | -0.093229 | 0.37146 | 0.17991
56 | 0.99673 | -0.055925 | 0.33337 | 0.16146
57 | 0.99689 | -0.060258 | 0.24516 | 0.11874
58 | 0.9924 | -0.084775 | 0.30006 | 0.14532
59 | 0.99598 | -0.080764 | 0 | 0
60 | 0.99565 | -0.078146 | 0.080425 | 0.038952
61 | 0.99627 | -0.073171 | 0.12374 | 0.059931
62 | 0.99938 | -0.011257 | 0.11627 | 0.05631
63 | 0.99151 | -0.077678 | 0.29473 | 0.14274
64 | 0.99361 | -0.094063 | 0 | 0
65 | 0.99672 | -0.055902 | 0 | 0
66 | 0.99626 | -0.058949 | 0.42661 | 0.20662
67 | 0.99658 | -0.054672 | 0 | 0
68 | 0.99681 | -0.061831 | 0 | 0
69 | 0.99658 | -0.066093 | 0 | 0
70 | 0.99477 | -0.085283 | 0 | 0
71 | 0.99488 | -0.08378 | 0 | 0
72 | 0.99651 | -0.066942 | 0.28024 | 0.13573
73 | 0.9965 | -0.066976 | 0.096824 | 0.046894
74 | 0.9985 | -0.037591 | 0.25779 | 0.12485
75 | 0.99657 | -0.054534 | 0.3692 | 0.17881
76 | 0.99608 | -0.057339 | 0.35028 | 0.16965
77 | 0.9961 | -0.057473 | 0.069349 | 0.033587
78 | 0.99611 | -0.057557 | 0.072069 | 0.034905
79 | 0.99612 | -0.057635 | 0 | 0
80 | 0.9947 | -0.08473 | 0.29558 | 0.14315
81 | 0.99474 | -0.082575 | 0.38967 | 0.18873
82 | 0.99614 | -0.057827 | 0.11838 | 0.057333
83 | 0.99612 | -0.057633 | 0.11837 | 0.057327
84 | 0.9944 | -0.087312 | 0 | 0
85 | 0.99468 | -0.084847 | 0.11151 | 0.054006
86 | 0.99473 | -0.082515 | 0 | 0
87 | 0.99615 | -0.057969 | 0 | 0
88 | 0.99303 | -0.090113 | 0 | 0
89 | 0.993 | -0.08982 | 0.33189 | 0.16074
90 | 0.9962 | -0.058398 | 0 | 0
91 | 0.99617 | -0.058166 | 0.088897 | 0.043055
92 | 0.99616 | -0.058015 | 0 | 0
93 | 0.99614 | -0.057901 | 0.088898 | 0.043055
94 | 0.99614 | -0.057884 | 0.088898 | 0.043055
95 | 0.994 | -0.076431 | 0 | 0
96 | 0.99369 | -0.07381 | 0 | 0
97 | 0.99381 | -0.077675 | 0 | 0
98 | 0.9939 | -0.077104 | 0.32374 | 0.1568
99 | 0.99368 | -0.073723 | 0.40102 | 0.19422
100 | 0.99384 | -0.076571 | 0 | 0
101 | 0.99383 | -0.076502 | 0.21208 | 0.10272
102 | 0.99389 | -0.077024 | 0 | 0
103 | 0.9938 | -0.07756 | 0.25778 | 0.12485
104 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.61487 | -0.27543 | 0.61504 | 0.27524 | 0.0001673 | -0.0001863 | 0.019539 | 0.019535 | 0.019539 | 0.99542 | -0.050353 | 0.99571 | -0.048033 | 9.3042
1 | 0.44167 | 0.19154 | -0.44115 | -0.19298 | 0.00051991 | -0.0014405 | 0.013961 | 0.013982 | 0.013982 | 0.99542 | -0.050353 | 0.99417 | -0.061175 | 6.6579
2 | -0.61504 | -0.27524 | 0.61524 | 0.26609 | 0.00019719 | -0.0091575 | 0.019535 | 0.019428 | 0.019535 | 0.99571 | -0.048033 | 0.99601 | -0.050239 | 8.8797
3 | 0.13561 | 0.045006 | -0.13561 | -0.045965 | 9.3679e-07 | -0.00095967 | 0.0041489 | 0.0041578 | 0.0041578 | 0.99417 | -0.061175 | 0.99416 | -0.061162 | 1.8899
4 | 0.1014 | 0.048364 | -0.1014 | -0.04911 | 4.4705e-07 | -0.00074587 | 0.003256 | 0.0032654 | 0.0032654 | 0.99601 | -0.050239 | 0.99601 | -0.050202 | 1.4843
5 | -0.71664 | -0.31445 | 0.71675 | 0.31437 | 0.00011596 | -7.7229e-05 | 0.022682 | 0.02268 | 0.022682 | 0.99601 | -0.050239 | 0.99618 | -0.04878 | 10.8009
6 | -0.13559 | -0.065667 | 0.13559 | 0.065508 | 4.6772e-06 | -0.0001589 | 0.0043752 | 0.0043732 | 0.0043752 | 0.99398 | -0.060561 | 0.99402 | -0.060332 | 2.0834
7 | -0.13559 | -0.065508 | 0.13561 | 0.045965 | 2.0048e-05 | -0.019543 | 0.0043732 | 0.0041578 | 0.0043732 | 0.99402 | -0.060332 | 0.99416 | -0.061162 | 1.9878
8 | -1.2635 | -0.57916 | 1.2636 | 0.57761 | 0.00014585 | -0.0015534 | 0.040276 | 0.040257 | 0.040276 | 0.99618 | -0.04878 | 0.99629 | -0.049661 | 18.3074
9 | 0.27537 | 0.13329 | -0.27537 | -0.13337 | 9.233e-06 | -7.352e-05 | 0.0088317 | 0.0088327 | 0.0088327 | 1 | 0 | 0.99996 | -0.00022128 | 4.206
10 | 5.7964 | 2.7167 | -5.7895 | -2.7091 | 0.0068751 | 0.0075884 | 0.18479 | 0.1848 | 0.1848 | 1 | 0 | 0.99851 | -0.037671 | 52.7993
11 | 7.4778 | 3.4463 | -7.4739 | -3.4499 | 0.0039118 | -0.0036288 | 0.23769 | 0.23778 | 0.23778 | 1 | 0 | 0.99939 | -0.011293 | 56.4787
12 | 0.25779 | 0.12424 | -0.25779 | -0.12485 | 2.3549e-06 | -0.0006122 | 0.0082734 | 0.0082811 | 0.0082811 | 0.99851 | -0.037671 | 0.9985 | -0.037591 | 3.7641
13 | 5.5317 | 2.5848 | -5.5238 | -2.597 | 0.0079049 | -0.012169 | 0.17652 | 0.17674 | 0.17674 | 0.99851 | -0.037671 | 0.99694 | -0.055002 | 48.8245
14 | 0.11627 | 0.055684 | -0.11627 | -0.05631 | 4.8717e-07 | -0.00062613 | 0.0037237 | 0.0037315 | 0.0037315 | 0.99939 | -0.011293 | 0.99938 | -0.011257 | 1.6961
15 | 7.3577 | 3.3942 | -7.3515 | -3.4002 | 0.0061205 | -0.0060103 | 0.23405 | 0.23419 | 0.23419 | 0.99939 | -0.011293 | 0.99841 | -0.029217 | 55.6278
16 | -0.10737 | -0.051289 | 0.10737 | 0.048052 | 2.1464e-06 | -0.0032373 | 0.003449 | 0.0034096 | 0.003449 | 0.99589 | -0.045658 | 0.99591 | -0.045815 | 1.5677
17 | 0.10737 | 0.051289 | -0.10737 | -0.052 | 4.7786e-07 | -0.00071057 | 0.003449 | 0.003458 | 0.003458 | 0.99589 | -0.045658 | 0.99589 | -0.04562 | 1.5718
18 | 2.2851 | 1.0908 | -2.285 | -1.0911 | 8.9266e-05 | -0.00026744 | 0.073396 | 0.073399 | 0.073399 | 0.99591 | -0.045815 | 0.99588 | -0.045485 | 33.3633
19 | -2.5382 | -1.2084 | 2.541 | 1.2017 | 0.002805 | -0.0066782 | 0.081485 | 0.081391 | 0.081485 | 0.99591 | -0.045815 | 0.99694 | -0.055002 | 37.0384
20 | 0.14574 | 0.069507 | -0.14574 | -0.070586 | 1.336e-06 | -0.0010784 | 0.0046803 | 0.0046939 | 0.0046939 | 0.99591 | -0.045815 | 0.9959 | -0.045736 | 2.1336
21 | -1.6688 | -0.76855 | 1.669 | 0.76701 | 0.00025802 | -0.0015424 | 0.053219 | 0.0532 | 0.053219 | 0.99657 | -0.051866 | 0.99671 | -0.05306 | 24.1906
22 | 1.3354 | 0.60743 | -1.3352 | -0.60926 | 0.0001921 | -0.0018312 | 0.042496 | 0.042519 | 0.042519 | 0.99657 | -0.051866 | 0.99643 | -0.050781 | 19.3268
23 | 0.33336 | 0.16112 | -0.33336 | -0.16145 | 2.1347e-06 | -0.00032886 | 0.010725 | 0.010729 | 0.010729 | 0.99657 | -0.051866 | 0.99656 | -0.05181 | 4.877
24 | 0.74784 | 0.35755 | -0.74782 | -0.35806 | 1.6831e-05 | -0.00051369 | 0.024008 | 0.024014 | 0.024014 | 0.99671 | -0.05306 | 0.99669 | -0.05287 | 10.9156
25 | -2.4169 | -1.1246 | 2.4175 | 1.123 | 0.00059195 | -0.0015898 | 0.077206 | 0.077184 | 0.077206 | 0.99671 | -0.05306 | 0.99694 | -0.055002 | 35.0934
26 | 1.2638 | 0.57561 | -1.2636 | -0.57761 | 0.00018682 | -0.0019926 | 0.040232 | 0.040257 | 0.040257 | 0.99643 | -0.050781 | 0.99629 | -0.049661 | 18.2986
27 | 0.071409 | 0.033644 | -0.071409 | -0.034585 | 2.7846e-07 | -0.00094058 | 0.0022869 | 0.0022986 | 0.0022986 | 0.99643 | -0.050781 | 0.99643 | -0.050748 | 1.0448
28 | 2.1798 | 1.0414 | -2.1789 | -1.0443 | 0.00088487 | -0.0029352 | 0.070027 | 0.070067 | 0.070067 | 0.99588 | -0.045485 | 0.9955 | -0.042042 | 31.8484
29 | 0.1052 | 0.049704 | -0.1052 | -0.050951 | 8.039e-07 | -0.0012475 | 0.0033727 | 0.0033883 | 0.0033883 | 0.99588 | -0.045485 | 0.99587 | -0.04542 | 1.5402
30 | 0.56537 | 0.27234 | -0.56537 | -0.27241 | 1.3255e-06 | -7.0959e-05 | 0.018171 | 0.018172 | 0.018172 | 0.99694 | -0.055002 | 0.99694 | -0.054982 | 8.2601
31 | 0.16134 | 0.076731 | -0.16134 | -0.077586 | 1.2902e-06 | -0.00085476 | 0.0051733 | 0.005184 | 0.005184 | 0.99694 | -0.054982 | 0.99693 | -0.054914 | 2.3564
32 | 0.33954 | 0.16032 | -0.33954 | -0.16115 | 5.5458e-06 | -0.00083061 | 0.010875 | 0.010886 | 0.010886 | 0.99669 | -0.05287 | 0.99667 | -0.052734 | 4.9481
33 | 0.33954 | 0.16115 | -0.33952 | -0.1628 | 1.104e-05 | -0.0016487 | 0.010886 | 0.010906 | 0.010906 | 0.99667 | -0.052734 | 0.99664 | -0.052461 | 4.9574
34 | 0.33952 | 0.1628 | -0.33951 | -0.16443 | 1.0984e-05 | -0.0016341 | 0.010906 | 0.010927 | 0.010927 | 0.99664 | -0.052461 | 0.99661 | -0.052182 | 4.9668
35 | 0.48632 | 0.2265 | -0.48631 | -0.22748 | 1.354e-05 | -0.00098684 | 0.015557 | 0.015569 | 0.015569 | 0.9955 | -0.042042 | 0.99548 | -0.041819 | 7.0768
36 | 1.6926 | 0.81782 | -1.6924 | -0.81886 | 0.00018446 | -0.0010451 | 0.054511 | 0.054525 | 0.054525 | 0.9955 | -0.042042 | 0.9954 | -0.041096 | 24.7841
37 | 0.11241 | 0.053769 | -0.11241 | -0.054443 | 4.9826e-07 | -0.00067458 | 0.0036135 | 0.003622 | 0.003622 | 0.99548 | -0.041819 | 0.99547 | -0.041781 | 1.6464
38 | 0.37389 | 0.17372 | -0.37384 | -0.17999 | 5.1034e-05 | -0.0062712 | 0.011956 | 0.012034 | 0.012034 | 0.99548 | -0.041819 | 0.99535 | -0.040692 | 5.4698
39 | 1.5602 | 0.75484 | -1.5601 | -0.7556 | 0.00011344 | -0.00076175 | 0.050266 | 0.050276 | 0.050276 | 0.9954 | -0.041096 | 0.99533 | -0.040464 | 22.8526
40 | -0.16134 | -0.078142 | 0.16134 | 0.077586 | 8.4134e-07 | -0.00055548 | 0.005191 | 0.005184 | 0.005191 | 0.99692 | -0.054869 | 0.99693 | -0.054914 | 2.3596
41 | 0.37384 | 0.17999 | -0.37383 | -0.18106 | 8.77e-06 | -0.0010693 | 0.012034 | 0.012047 | 0.012047 | 0.99535 | -0.040692 | 0.99533 | -0.040489 | 5.4759
42 | -7.0682 | -3.2684 | 7.0683 | 3.2683 | 9.7518e-05 | -0.00011025 | 0.22526 | 0.22526 | 0.22526 | 0.99795 | -0.037708 | 0.99796 | -0.037411 | 53.5065
43 | 6.8454 | 3.1605 | -6.845 | -3.161 | 0.00034999 | -0.00044344 | 0.2181 | 0.21811 | 0.21811 | 0.99795 | -0.037708 | 0.99789 | -0.038809 | 51.8078
44 | -7.0683 | -3.2683 | 7.071 | 3.2653 | 0.002691 | -0.0030465 | 0.22526 | 0.22519 | 0.22526 | 0.99796 | -0.037411 | 0.99841 | -0.029217 | 53.506
45 | 6.845 | 3.161 | -6.8403 | -3.1669 | 0.0046937 | -0.0059317 | 0.21811 | 0.21824 | 0.21824 | 0.99789 | -0.038809 | 0.99709 | -0.053563 | 51.8374
46 | 0.28054 | 0.13492 | -0.28054 | -0.13587 | 4.3278e-06 | -0.00094981 | 0.0090008 | 0.0090128 | 0.0090128 | 0.99841 | -0.029217 | 0.9984 | -0.029084 | 4.0967
47 | 2.1259 | 1.0159 | -2.1252 | -1.0155 | 0.00072491 | 0.00035033 | 0.068215 | 0.068216 | 0.068216 | 0.99709 | -0.053563 | 0.99673 | -0.055925 | 32.4839
48 | 4.7144 | 2.151 | -4.7138 | -2.1501 | 0.00067107 | 0.00091777 | 0.15003 | 0.15003 | 0.15003 | 0.99709 | -0.053563 | 0.99689 | -0.060258 | 36.5923
49 | 0.29476 | 0.13615 | -0.29473 | -0.14175 | 2.8718e-05 | -0.0056027 | 0.0094521 | 0.0095217 | 0.0095217 | 0.99162 | -0.078628 | 0.99153 | -0.077829 | 4.3281
50 | -0.47961 | -0.22455 | 0.47977 | 0.21325 | 0.00015199 | -0.011306 | 0.015417 | 0.01528 | 0.015417 | 0.99162 | -0.078628 | 0.99192 | -0.081027 | 7.0076
51 | 0.18485 | 0.088408 | -0.18485 | -0.089526 | 2.2689e-06 | -0.0011181 | 0.0059651 | 0.0059792 | 0.0059792 | 0.99162 | -0.078628 | 0.99161 | -0.078522 | 2.7178
52 | 0.29473 | 0.14175 | -0.29473 | -0.14274 | 5.145e-06 | -0.00099495 | 0.0095217 | 0.0095343 | 0.0095343 | 0.99153 | -0.077829 | 0.99151 | -0.077678 | 4.3338
53 | 0.079559 | 0.033238 | -0.079558 | -0.037373 | 1.5081e-06 | -0.004135 | 0.0025093 | 0.0025581 | 0.0025581 | 0.99192 | -0.081027 | 0.9919 | -0.080894 | 1.1628
54 | -0.87918 | -0.40087 | 0.87965 | 0.39061 | 0.00046486 | -0.010258 | 0.028121 | 0.027997 | 0.028121 | 0.99192 | -0.081027 | 0.99241 | -0.08489 | 12.7822
55 | 0.31986 | 0.15438 | -0.31986 | -0.15491 | 3.2404e-06 | -0.00053239 | 0.010336 | 0.010343 | 0.010343 | 0.99192 | -0.081027 | 0.99191 | -0.080939 | 4.7014
56 | 0.079558 | 0.037373 | -0.079557 | -0.038531 | 4.3318e-07 | -0.0011581 | 0.0025581 | 0.0025727 | 0.0025727 | 0.9919 | -0.080894 | 0.99189 | -0.080848 | 1.1694
57 | 0.30006 | 0.14458 | -0.30006 | -0.14532 | 3.9796e-06 | -0.00074485 | 0.0096886 | 0.0096981 | 0.0096981 | 0.99241 | -0.08489 | 0.9924 | -0.084775 | 4.4082
58 | -1.1797 | -0.53519 | 1.181 | 0.51901 | 0.0013273 | -0.016176 | 0.037682 | 0.037485 | 0.037682 | 0.99241 | -0.08489 | 0.99346 | -0.092944 | 17.1281
59 | -1.181 | -0.51901 | 1.1811 | 0.51841 | 4.9097e-05 | -0.00060235 | 0.037485 | 0.037478 | 0.037485 | 0.99346 | -0.092944 | 0.9935 | -0.093229 | 17.0388
60 | -1.5525 | -0.69832 | 1.5527 | 0.69709 | 0.0001778 | -0.0012306 | 0.049464 | 0.049449 | 0.049464 | 0.9935 | -0.093229 | 0.99361 | -0.094063 | 22.4838
61 | 0.36927 | 0.17097 | -0.36926 | -0.17111 | 1.0942e-06 | -0.00013962 | 0.011785 | 0.011787 | 0.011787 | 0.99673 | -0.055925 | 0.99672 | -0.055902 | 5.3578
62 | 1.4225 | 0.68311 | -1.4219 | -0.68291 | 0.00063207 | 0.00019459 | 0.045704 | 0.045706 | 0.045706 | 0.99673 | -0.055925 | 0.99626 | -0.058949 | 21.7649
63 | 4.4686 | 2.0314 | -4.4683 | -2.0327 | 0.00031959 | -0.001347 | 0.14214 | 0.14216 | 0.14216 | 0.99689 | -0.060258 | 0.99681 | -0.061831 | 33.7678
64 | 3.9646 | 1.7929 | -3.9632 | -1.794 | 0.0014006 | -0.0011461 | 0.12611 | 0.12613 | 0.12613 | 0.99598 | -0.080764 | 0.99565 | -0.078146 | 57.3331
65 | -3.9646 | -1.7929 | 3.9655 | 1.7938 | 0.00091529 | 0.00096873 | 0.12611 | 0.12611 | 0.12611 | 0.99598 | -0.080764 | 0.99627 | -0.073171 | 36.0326
66 | 2.2959 | 1.022 | -2.294 | -1.021 | 0.0018895 | 0.00094737 | 0.072864 | 0.072867 | 0.072867 | 0.99565 | -0.078146 | 0.99477 | -0.085283 | 34.6983
67 | 1.5869 | 0.73309 | -1.5857 | -0.73266 | 0.0011516 | 0.00042379 | 0.050682 | 0.050686 | 0.050686 | 0.99565 | -0.078146 | 0.99488 | -0.08378 | 24.1361
68 | -4.0893 | -1.8538 | 4.0901 | 1.8546 | 0.00077643 | 0.00082573 | 0.1301 | 0.1301 | 0.1301 | 0.99627 | -0.073171 | 0.99651 | -0.066942 | 37.1703
69 | 0.3321 | 0.12656 | -0.3319 | -0.15901 | 0.00020318 | -0.032441 | 0.010325 | 0.010698 | 0.010698 | 0.99361 | -0.094063 | 0.99303 | -0.090113 | 4.8629
70 | -1.8848 | -0.82365 | 1.8862 | 0.82427 | 0.0013971 | 0.00061612 | 0.05976 | 0.059757 | 0.05976 | 0.99361 | -0.094063 | 0.9944 | -0.087312 | 28.4573
71 | 0.36926 | 0.17111 | -0.36921 | -0.17808 | 5.505e-05 | -0.0069717 | 0.011787 | 0.011874 | 0.011874 | 0.99672 | -0.055902 | 0.99658 | -0.054672 | 5.3971
72 | 0.99529 | 0.4763 | -0.99522 | -0.4774 | 6.4502e-05 | -0.0011004 | 0.031972 | 0.031986 | 0.031986 | 0.99626 | -0.058949 | 0.9962 | -0.058398 | 14.5389
73 | 0.36921 | 0.17808 | -0.3692 | -0.17881 | 5.8592e-06 | -0.00073588 | 0.011874 | 0.011883 | 0.011883 | 0.99658 | -0.054672 | 0.99657 | -0.054534 | 5.4013
74 | 4.4683 | 2.0327 | -4.4674 | -2.0364 | 0.0008673 | -0.0036518 | 0.14216 | 0.14222 | 0.14222 | 0.99681 | -0.061831 | 0.99658 | -0.066093 | 33.7804
75 | 4.4674 | 2.0364 | -4.4671 | -2.0372 | 0.00029528 | -0.00081513 | 0.14222 | 0.14223 | 0.14223 | 0.99658 | -0.066093 | 0.99651 | -0.066942 | 39.2895
76 | 2.294 | 1.021 | -2.2938 | -1.0216 | 0.0001786 | -0.00054224 | 0.072867 | 0.072874 | 0.072874 | 0.99477 | -0.085283 | 0.9947 | -0.08473 | 33.1243
77 | 1.5857 | 0.73266 | -1.5855 | -0.73427 | 0.00024387 | -0.0016071 | 0.050686 | 0.050706 | 0.050706 | 0.99488 | -0.08378 | 0.99474 | -0.082575 | 23.0483
78 | 0.096825 | 0.04686 | -0.096824 | -0.046894 | 5.0187e-07 | -3.407e-05 | 0.0031161 | 0.0031165 | 0.0031165 | 0.99651 | -0.066942 | 0.9965 | -0.066976 | 1.4841
79 | -0.35028 | -0.16965 | 0.35029 | 0.16889 | 5.4383e-06 | -0.00075756 | 0.011279 | 0.01127 | 0.011279 | 0.99608 | -0.057339 | 0.9961 | -0.057473 | 5.127
80 | -0.41963 | -0.20248 | 0.41964 | 0.20208 | 4.0512e-06 | -0.00039323 | 0.013503 | 0.013498 | 0.013503 | 0.9961 | -0.057473 | 0.99611 | -0.057557 | 6.1377
81 | -0.49171 | -0.23699 | 0.49171 | 0.23667 | 4.5059e-06 | -0.00031829 | 0.015819 | 0.015815 | 0.015819 | 0.99611 | -0.057557 | 0.99612 | -0.057635 | 7.1903
82 | -0.61008 | -0.29396 | 0.61009 | 0.29333 | 1.3617e-05 | -0.00062361 | 0.019625 | 0.019618 | 0.019625 | 0.99612 | -0.057635 | 0.99614 | -0.057827 | 8.9206
83 | 0.11837 | 0.057284 | -0.11837 | -0.057327 | 3.4904e-08 | -4.2684e-05 | 0.0038108 | 0.0038114 | 0.0038114 | 0.99612 | -0.057635 | 0.99612 | -0.057633 | 1.7324
84 | 1.8868 | 0.8245 | -1.8862 | -0.82427 | 0.00053467 | 0.00023567 | 0.059756 | 0.059757 | 0.059757 | 0.9947 | -0.08473 | 0.9944 | -0.087312 | 28.4558
85 | 0.11151 | 0.053905 | -0.11151 | -0.054006 | 1.9819e-06 | -0.00010042 | 0.0035944 | 0.0035957 | 0.0035957 | 0.9947 | -0.08473 | 0.99468 | -0.084847 | 1.7123
86 | 1.1958 | 0.54554 | -1.1958 | -0.54566 | 9.5354e-06 | -0.00011315 | 0.038144 | 0.038145 | 0.038145 | 0.99474 | -0.082575 | 0.99473 | -0.082515 | 17.3387
87 | -0.72847 | -0.35066 | 0.72848 | 0.35028 | 1.2029e-05 | -0.00038542 | 0.023429 | 0.023424 | 0.023429 | 0.99614 | -0.057827 | 0.99615 | -0.057969 | 10.6496
88 | 1.1958 | 0.54566 | -1.1949 | -0.55671 | 0.00093581 | -0.011055 | 0.038145 | 0.038283 | 0.038283 | 0.99473 | -0.082515 | 0.994 | -0.076431 | 17.4013
89 | 0.1778 | 0.084955 | -0.1778 | -0.085725 | 1.4177e-06 | -0.00076986 | 0.0057103 | 0.00572 | 0.00572 | 0.99615 | -0.057969 | 0.99614 | -0.057901 | 2.6
90 | -0.90628 | -0.43523 | 0.90628 | 0.43513 | 4.9269e-06 | -0.00010155 | 0.029135 | 0.029133 | 0.029135 | 0.99615 | -0.057969 | 0.99616 | -0.058015 | 13.243
91 | 0.3319 | 0.15901 | -0.33189 | -0.16074 | 1.1298e-05 | -0.001734 | 0.010698 | 0.01072 | 0.01072 | 0.99303 | -0.090113 | 0.993 | -0.08982 | 4.8729
92 | 0.99522 | 0.4774 | -0.9952 | -0.47786 | 2.6985e-05 | -0.00046004 | 0.031986 | 0.031991 | 0.031991 | 0.9962 | -0.058398 | 0.99617 | -0.058166 | 14.5416
93 | 0.9063 | 0.4348 | -0.90628 | -0.43513 | 1.6032e-05 | -0.00033053 | 0.029129 | 0.029133 | 0.029133 | 0.99617 | -0.058166 | 0.99616 | -0.058015 | 13.2424
94 | 0.088898 | 0.04267 | -0.088898 | -0.043055 | 1.7744e-07 | -0.00038493 | 0.0028576 | 0.0028624 | 0.0028624 | 0.99614 | -0.057901 | 0.99614 | -0.057884 | 1.3011
95 | 0.40115 | 0.17971 | -0.40102 | -0.1938 | 0.00013208 | -0.014089 | 0.012766 | 0.012939 | 0.012939 | 0.994 | -0.076431 | 0.99369 | -0.07381 | 5.8814
96 | 0.25783 | 0.12355 | -0.25779 | -0.12397 | 4.7096e-05 | -0.00042234 | 0.0083032 | 0.0083089 | 0.0083089 | 0.994 | -0.076431 | 0.99381 | -0.077675 | 3.9566
97 | 0.53589 | 0.25345 | -0.53584 | -0.25354 | 5.0271e-05 | -8.0776e-05 | 0.017216 | 0.017218 | 0.017218 | 0.994 | -0.076431 | 0.9939 | -0.077104 | 8.1988
98 | 0.40102 | 0.1938 | -0.40102 | -0.19422 | 4.0158e-06 | -0.00042223 | 0.012939 | 0.012944 | 0.012944 | 0.99369 | -0.07381 | 0.99368 | -0.073723 | 5.8838
99 | 0.25779 | 0.12397 | -0.25778 | -0.12485 | 3.4495e-06 | -0.00088039 | 0.0083089 | 0.00832 | 0.00832 | 0.99381 | -0.077675 | 0.9938 | -0.07756 | 3.7818
100 | 0.2121 | 0.09674 | -0.2121 | -0.097595 | 2.2236e-06 | -0.00085495 | 0.0067709 | 0.0067812 | 0.0067812 | 0.9939 | -0.077104 | 0.99389 | -0.077024 | 3.0824
101 | 0.21208 | 0.10207 | -0.21208 | -0.10272 | 1.7013e-06 | -0.00064172 | 0.0068367 | 0.0068448 | 0.0068448 | 0.99384 | -0.076571 | 0.99383 | -0.076502 | 3.1113
102 | -0.21208 | -0.10207 | 0.2121 | 0.097595 | 1.1764e-05 | -0.0044795 | 0.0068367 | 0.0067812 | 0.0068367 | 0.99384 | -0.076571 | 0.99389 | -0.077024 | 3.1076

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.5636 | 6.3067

## res_load
| p_mw | q_mvar
0 | 0.17321 | 0.083888
1 | 0.30553 | 0.14798
2 | 0.13559 | 0.065667
3 | 0.1014 | 0.04911
4 | 0.54672 | 0.26479
5 | 0.27537 | 0.13337
6 | 0.10737 | 0.052
7 | 0.33336 | 0.16145
8 | 0.14574 | 0.070586
9 | 0.40402 | 0.19568
10 | 0.40828 | 0.19774
11 | 0.33951 | 0.16443
12 | 0.1052 | 0.050951
13 | 0.13218 | 0.064018
14 | 0.071409 | 0.034585
15 | 0.16134 | 0.078142
16 | 0.11241 | 0.054443
17 | 1.5601 | 0.7556
18 | 0.37383 | 0.18106
19 | 0.22283 | 0.10792
20 | 0.28054 | 0.13587
21 | 0.18485 | 0.089526
22 | 0.31986 | 0.15491
23 | 0.079557 | 0.038531
24 | 0.37146 | 0.17991
25 | 0.33337 | 0.16146
26 | 0.24516 | 0.11874
27 | 0.30006 | 0.14532
28 | 0.080425 | 0.038952
29 | 0.12374 | 0.059931
30 | 0.11627 | 0.05631
31 | 0.29473 | 0.14274
32 | 0.42661 | 0.20662
33 | 0.28024 | 0.13573
34 | 0.096824 | 0.046894
35 | 0.25779 | 0.12485
36 | 0.3692 | 0.17881
37 | 0.35028 | 0.16965
38 | 0.069349 | 0.033587
39 | 0.072069 | 0.034905
40 | 0.29558 | 0.14315
41 | 0.38967 | 0.18873
42 | 0.11838 | 0.057333
43 | 0.11837 | 0.057327
44 | 0.11151 | 0.054006
45 | 0.33189 | 0.16074
46 | 0.088897 | 0.043055
47 | 0.088898 | 0.043055
48 | 0.088898 | 0.043055
49 | 0.32374 | 0.1568
50 | 0.40102 | 0.19422
51 | 0.21208 | 0.10272
52 | 0.25778 | 0.12485

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1