## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_85_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_85_0_node_91 | 20 | n |  | TRUE
2 | bus_MV_85_0_node_63 | 20 | n |  | TRUE
3 | bus_MV_85_0_node_61 | 20 | n |  | TRUE
4 | bus_MV_85_0_node_56 | 20 | n |  | TRUE
5 | bus_MV_85_0_node_60 | 20 | n |  | TRUE
6 | bus_MV_85_0_node_40 | 20 | n |  | TRUE
7 | bus_MV_85_0_node_41 | 20 | n |  | TRUE
8 | bus_MV_85_0_node_39 | 20 | n |  | TRUE
9 | bus_MV_85_0_node_2 | 20 | n |  | TRUE
10 | bus_MV_85_0_node_3 | 20 | n |  | TRUE
11 | bus_MV_85_0_node_4 | 20 | n |  | TRUE
12 | bus_MV_85_0_node_5 | 20 | n |  | TRUE
13 | bus_MV_85_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_85_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_85_0_node_46 | 20 | n |  | TRUE
16 | bus_MV_85_0_node_24 | 20 | n |  | TRUE
17 | bus_MV_85_0_node_90 | 20 | n |  | TRUE
18 | bus_MV_85_0_node_21 | 20 | n |  | TRUE
19 | bus_MV_85_0_node_22 | 20 | n |  | TRUE
20 | bus_MV_85_0_node_88 | 20 | n |  | TRUE
21 | bus_MV_85_0_node_98 | 20 | n |  | TRUE
22 | bus_MV_85_0_node_7 | 20 | n |  | TRUE
23 | bus_MV_85_0_node_8 | 20 | n |  | TRUE
24 | bus_MV_85_0_node_44 | 20 | n |  | TRUE
25 | bus_MV_85_0_node_43 | 20 | n |  | TRUE
26 | bus_MV_85_0_node_47 | 20 | n |  | TRUE
27 | bus_MV_85_0_node_45 | 20 | n |  | TRUE
28 | bus_MV_85_0_node_83 | 20 | n |  | TRUE
29 | bus_MV_85_0_node_84 | 20 | n |  | TRUE
30 | bus_MV_85_0_node_10 | 20 | n |  | TRUE
31 | bus_MV_85_0_node_11 | 20 | n |  | TRUE
32 | bus_MV_85_0_node_12 | 20 | n |  | TRUE
33 | bus_MV_85_0_node_13 | 20 | n |  | TRUE
34 | bus_MV_85_0_node_86 | 20 | n |  | TRUE
35 | bus_MV_85_0_node_14 | 20 | n |  | TRUE
36 | bus_MV_85_0_node_85 | 20 | n |  | TRUE
37 | bus_MV_85_0_node_15 | 20 | n |  | TRUE
38 | bus_MV_85_0_node_16 | 20 | n |  | TRUE
39 | bus_MV_85_0_node_17 | 20 | n |  | TRUE
40 | bus_MV_85_0_node_18 | 20 | n |  | TRUE
41 | bus_MV_85_0_node_87 | 20 | n |  | TRUE
42 | bus_MV_85_0_node_20 | 20 | n |  | TRUE
43 | bus_MV_85_0_node_89 | 20 | n |  | TRUE
44 | bus_MV_85_0_node_19 | 20 | n |  | TRUE
45 | bus_MV_85_0_node_53 | 20 | n |  | TRUE
46 | bus_MV_85_0_node_42 | 20 | n |  | TRUE
47 | bus_MV_85_0_node_54 | 20 | n |  | TRUE
48 | bus_MV_85_0_node_100 | 20 | n |  | TRUE
49 | bus_MV_85_0_node_26 | 20 | n |  | TRUE
50 | bus_MV_85_0_node_27 | 20 | n |  | TRUE
51 | bus_MV_85_0_node_28 | 20 | n |  | TRUE
52 | bus_MV_85_0_node_29 | 20 | n |  | TRUE
53 | bus_MV_85_0_node_30 | 20 | n |  | TRUE
54 | bus_MV_85_0_node_31 | 20 | n |  | TRUE
55 | bus_MV_85_0_node_32 | 20 | n |  | TRUE
56 | bus_MV_85_0_node_57 | 20 | n |  | TRUE
57 | bus_MV_85_0_node_55 | 20 | n |  | TRUE
58 | bus_MV_85_0_node_72 | 20 | n |  | TRUE
59 | bus_MV_85_0_node_75 | 20 | n |  | TRUE
60 | bus_MV_85_0_node_74 | 20 | n |  | TRUE
61 | bus_MV_85_0_node_76 | 20 | n |  | TRUE
62 | bus_MV_85_0_node_58 | 20 | n |  | TRUE
63 | bus_MV_85_0_node_70 | 20 | n |  | TRUE
64 | bus_MV_85_0_node_71 | 20 | n |  | TRUE
65 | bus_MV_85_0_node_66 | 20 | n |  | TRUE
66 | bus_MV_85_0_node_73 | 20 | n |  | TRUE
67 | bus_MV_85_0_node_96 | 20 | n |  | TRUE
68 | bus_MV_85_0_node_33 | 20 | n |  | TRUE
69 | bus_MV_85_0_node_34 | 20 | n |  | TRUE
70 | bus_MV_85_0_node_36 | 20 | n |  | TRUE
71 | bus_MV_85_0_node_38 | 20 | n |  | TRUE
72 | bus_MV_85_0_node_101 | 20 | n |  | TRUE
73 | bus_MV_85_0_node_92 | 20 | n |  | TRUE
74 | bus_MV_85_0_node_64 | 20 | n |  | TRUE
75 | bus_MV_85_0_node_65 | 20 | n |  | TRUE
76 | bus_MV_85_0_node_67 | 20 | n |  | TRUE
77 | bus_MV_85_0_node_81 | 20 | n |  | TRUE
78 | bus_MV_85_0_node_68 | 20 | n |  | TRUE
79 | bus_MV_85_0_node_69 | 20 | n |  | TRUE
80 | bus_MV_85_0_node_95 | 20 | n |  | TRUE
81 | bus_MV_85_0_node_97 | 20 | n |  | TRUE
82 | bus_MV_85_0_node_77 | 20 | n |  | TRUE
83 | bus_MV_85_0_node_78 | 20 | n |  | TRUE
84 | bus_MV_85_0_node_79 | 20 | n |  | TRUE
85 | bus_MV_85_0_node_93 | 20 | n |  | TRUE
86 | bus_MV_85_0_node_80 | 20 | n |  | TRUE
87 | bus_MV_85_0_node_82 | 20 | n |  | TRUE
88 | bus_MV_85_0_node_94 | 20 | n |  | TRUE
89 | bus_MV_85_0_node_48 | 20 | n |  | TRUE
90 | bus_MV_85_0_node_50 | 20 | n |  | TRUE
91 | bus_MV_85_0_node_52 | 20 | n |  | TRUE
92 | bus_MV_85_0_node_51 | 20 | n |  | TRUE
93 | bus_MV_85_0_node_99 | 20 | n |  | TRUE
94 | bus_HV_85_0_node_40 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_85_0_load_0 | 0 | 0.08121 | 0.039332 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_85_0_load_91 | 1 | 2.8869 | 1.3982 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_85_0_load_61 | 3 | 0.40906 | 0.19812 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_85_0_load_60 | 5 | 0.24399 | 0.11817 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_85_0_load_39 | 8 | 0.15116 | 0.073209 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_85_0_load_2 | 9 | 0.38332 | 0.18565 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_85_0_load_90 | 17 | 0.10627 | 0.051471 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_85_0_load_22 | 19 | 0.23049 | 0.11163 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_85_0_load_88 | 20 | 0.087395 | 0.042327 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_85_0_load_98 | 21 | 0.39019 | 0.18898 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_85_0_load_44 | 24 | 0.3154 | 0.15275 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_85_0_load_43 | 25 | 0.40833 | 0.19776 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_85_0_load_47 | 26 | 0.41337 | 0.2002 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_85_0_load_83 | 28 | 0.18134 | 0.087829 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_85_0_load_84 | 29 | 0.21165 | 0.10251 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_85_0_load_10 | 30 | 0.13453 | 0.065155 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_85_0_load_85 | 36 | 0.077226 | 0.037402 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_85_0_load_15 | 37 | 0.10885 | 0.052719 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_85_0_load_16 | 38 | 0.23318 | 0.11293 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_85_0_load_87 | 41 | 0.10554 | 0.051117 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_85_0_load_89 | 43 | 3.6271 | 1.7567 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_85_0_load_53 | 45 | 0.19262 | 0.093292 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_85_0_load_42 | 46 | 0.36736 | 0.17792 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_85_0_load_54 | 47 | 0.15632 | 0.075709 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_85_0_load_100 | 48 | 0.19866 | 0.096217 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_85_0_load_26 | 49 | 0.24172 | 0.11707 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_85_0_load_31 | 54 | 0.22245 | 0.10774 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_85_0_load_55 | 57 | 0.15454 | 0.074847 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_85_0_load_74 | 60 | 0.31341 | 0.15179 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_85_0_load_58 | 62 | 0.15376 | 0.07447 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_85_0_load_71 | 64 | 0.27388 | 0.13265 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_85_0_load_96 | 67 | 0.10597 | 0.051324 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_85_0_load_33 | 68 | 0.21671 | 0.10496 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_85_0_load_38 | 71 | 0.30267 | 0.14659 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_85_0_load_101 | 72 | 0.094354 | 0.045698 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_85_0_load_64 | 74 | 0.28663 | 0.13882 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_85_0_load_67 | 76 | 0.22603 | 0.10947 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_85_0_load_81 | 77 | 0.37282 | 0.18056 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_85_0_load_68 | 78 | 0.14853 | 0.071937 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_85_0_load_95 | 80 | 0.31769 | 0.15387 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_85_0_load_97 | 81 | 0.078426 | 0.037984 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_85_0_load_77 | 82 | 0.40017 | 0.19381 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_85_0_load_78 | 83 | 0.13396 | 0.064881 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_85_0_load_79 | 84 | 0.1182 | 0.057247 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_85_0_load_93 | 85 | 1.0451 | 0.50617 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_85_0_load_82 | 87 | 0.15658 | 0.075834 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_85_0_load_94 | 88 | 0.79766 | 0.38632 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_85_0_load_48 | 89 | 0.10184 | 0.049325 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_85_0_load_99 | 93 | 0.24609 | 0.11919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_85_0_line_0 |  | 0 | 1 | 1.5499 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_85_0_line_1 |  | 1 | 2 | 0.11549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_85_0_line_2 |  | 2 | 73 | 0.039055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_85_0_line_3 |  | 3 | 4 | 0.017463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_85_0_line_4 |  | 3 | 5 | 0.096034 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_85_0_line_5 |  | 4 | 56 | 0.28028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_85_0_line_6 |  | 6 | 7 | 0.38716 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_85_0_line_7 |  | 6 | 8 | 0.17799 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
8 | MV_85_0_line_8 |  | 7 | 72 | 0.068969 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_85_0_line_9 |  | 7 | 34 | 1.4987 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
10 | MV_85_0_line_10 |  | 8 | 52 | 0.071729 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
11 | MV_85_0_line_11 |  | 9 | 10 | 0.014705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_85_0_line_12 |  | 9 | 11 | 0.018397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_85_0_line_13 |  | 10 | 12 | 0.20429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_85_0_line_14 |  | 10 | 13 | 0.47513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_85_0_line_15 |  | 11 | 14 | 0.4111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_85_0_line_16 |  | 11 | 15 | 0.29235 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_85_0_line_17 |  | 12 | 20 | 0.08113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_85_0_line_18 |  | 13 | 21 | 0.03516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_85_0_line_19 |  | 13 | 22 | 0.15543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_85_0_line_20 |  | 14 | 25 | 0.060462 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_85_0_line_21 |  | 14 | 23 | 0.14781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_85_0_line_22 |  | 15 | 26 | 0.095312 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_85_0_line_23 |  | 15 | 27 | 0.24252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_85_0_line_24 |  | 16 | 17 | 0.18212 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_85_0_line_25 |  | 16 | 18 | 0.56979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_85_0_line_26 |  | 16 | 19 | 0.008649 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_85_0_line_27 |  | 17 | 22 | 0.045523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_85_0_line_28 |  | 18 | 46 | 0.070438 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_85_0_line_29 |  | 18 | 42 | 0.39131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_85_0_line_30 |  | 23 | 24 | 0.16265 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_85_0_line_31 |  | 26 | 28 | 0.38154 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_85_0_line_32 |  | 27 | 71 | 0.083407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_85_0_line_33 |  | 28 | 29 | 0.41662 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_85_0_line_34 |  | 30 | 31 | 0.057829 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_85_0_line_35 |  | 30 | 32 | 0.095202 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_85_0_line_36 |  | 31 | 33 | 0.15052 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_85_0_line_37 |  | 31 | 34 | 0.27437 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
38 | MV_85_0_line_38 |  | 32 | 35 | 0.29783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_85_0_line_39 |  | 33 | 37 | 0.11915 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_85_0_line_40 |  | 34 | 36 | 0.065639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_85_0_line_41 |  | 35 | 38 | 0.076203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_85_0_line_42 |  | 37 | 41 | 0.22971 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
43 | MV_85_0_line_43 |  | 38 | 39 | 0.059808 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_85_0_line_44 |  | 39 | 40 | 0.99505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_85_0_line_45 |  | 40 | 43 | 0.040899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_85_0_line_46 |  | 41 | 42 | 0.13132 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
47 | MV_85_0_line_47 |  | 42 | 44 | 0.89313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_85_0_line_48 |  | 44 | 45 | 0.72482 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_85_0_line_49 |  | 45 | 47 | 0.32639 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_85_0_line_50 |  | 45 | 48 | 0.83745 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_85_0_line_51 |  | 48 | 92 | 0.066912 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_85_0_line_52 |  | 49 | 50 | 0.005183 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_85_0_line_53 |  | 49 | 51 | 0.040433 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_85_0_line_54 |  | 50 | 52 | 0.47304 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_85_0_line_55 |  | 51 | 53 | 0.29385 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_85_0_line_56 |  | 53 | 54 | 0.058954 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
57 | MV_85_0_line_57 |  | 54 | 59 | 0.40701 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
58 | MV_85_0_line_58 |  | 55 | 56 | 0.3709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_85_0_line_59 |  | 55 | 57 | 0.11043 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_85_0_line_60 |  | 55 | 58 | 0.35986 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_85_0_line_61 |  | 56 | 62 | 0.10836 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_85_0_line_62 |  | 58 | 66 | 0.16728 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_85_0_line_63 |  | 58 | 64 | 0.15523 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
64 | MV_85_0_line_64 |  | 59 | 61 | 0.53463 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
65 | MV_85_0_line_65 |  | 59 | 60 | 0.071817 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_85_0_line_66 |  | 61 | 82 | 0.051109 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_85_0_line_67 |  | 61 | 66 | 0.26482 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_85_0_line_68 |  | 63 | 64 | 0.017379 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
69 | MV_85_0_line_69 |  | 63 | 65 | 0.11448 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
70 | MV_85_0_line_70 |  | 65 | 74 | 0.094218 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
71 | MV_85_0_line_71 |  | 66 | 67 | 0.064467 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_85_0_line_72 |  | 68 | 69 | 0.033158 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_85_0_line_73 |  | 69 | 70 | 0.037896 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_85_0_line_74 |  | 70 | 71 | 0.025618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_85_0_line_75 |  | 73 | 85 | 0.038697 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_85_0_line_76 |  | 74 | 75 | 0.32239 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
77 | MV_85_0_line_77 |  | 75 | 76 | 0.13461 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
78 | MV_85_0_line_78 |  | 76 | 77 | 0.12853 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
79 | MV_85_0_line_79 |  | 77 | 86 | 0.057177 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
80 | MV_85_0_line_80 |  | 78 | 79 | 0.0934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_85_0_line_81 |  | 78 | 80 | 0.27686 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_85_0_line_82 |  | 79 | 81 | 0.058354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_85_0_line_83 |  | 80 | 87 | 0.1035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_85_0_line_84 |  | 83 | 84 | 0.12779 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
85 | MV_85_0_line_85 |  | 83 | 85 | 0.39381 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
86 | MV_85_0_line_86 |  | 84 | 86 | 0.064397 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
87 | MV_85_0_line_87 |  | 85 | 88 | 0.095386 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_85_0_line_88 |  | 86 | 87 | 0.011008 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_85_0_line_89 |  | 89 | 90 | 0.1522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_85_0_line_90 |  | 90 | 91 | 0.96043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_85_0_line_91 |  | 91 | 93 | 0.03765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_85_0_line_92 |  | 91 | 92 | 0.329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_85_0_trafo_40 | 25 MVA 110/20 kV | 94 | 6 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2635198.519 | 1129310.1922
1 | 2635146.0856 | 1127761.192
2 | 2635247.4551 | 1127705.8804
3 | 2635669.7554 | 1127755.4226
4 | 2635687.2145 | 1127756.8151
5 | 2635657.1098 | 1127660.2446
6 | 2637634.7206 | 1127851.0315
7 | 2637943.5796 | 1127935.9021
8 | 2637461.2286 | 1127811.2688
9 | 2640915.0739 | 1128678.7994
10 | 2640902.3819 | 1128683.9051
11 | 2640921.5674 | 1128693.7509
12 | 2640827.7163 | 1128531.9681
13 | 2640501.2653 | 1128599.4873
14 | 2641255.908 | 1128750.3715
15 | 2640935.2534 | 1128985.781
16 | 2640243.679 | 1128406.4712
17 | 2640417.3261 | 1128461.3844
18 | 2639801.2613 | 1128344.5703
19 | 2640238.5416 | 1128413.2182
20 | 2640874.6267 | 1128476.1272
21 | 2640486.2761 | 1128631.3032
22 | 2640459.1417 | 1128479.3778
23 | 2641276.4109 | 1128652.8282
24 | 2641218.403 | 1128500.8777
25 | 2641294.4897 | 1128795.6029
26 | 2641005.4888 | 1129050.2115
27 | 2641130.4419 | 1128991.9629
28 | 2640890.8768 | 1129414.1283
29 | 2640638.3643 | 1129082.7501
30 | 2639009.9776 | 1128214.914
31 | 2638955.9289 | 1128196.063
32 | 2639096.7083 | 1128254.0666
33 | 2639083.7741 | 1128275.305
34 | 2638750.3112 | 1128014.3958
35 | 2639317.592 | 1128267.4706
36 | 2638687.8781 | 1127994.3275
37 | 2639196.8199 | 1128312.0617
38 | 2639393.4309 | 1128273.9002
39 | 2639427.834 | 1128224.9771
40 | 2639799.5075 | 1127917.7753
41 | 2639422.3135 | 1128355.8934
42 | 2639549.9672 | 1128386.1556
43 | 2639760.881 | 1127930.5153
44 | 2639983.3955 | 1128943.1858
45 | 2639772.6424 | 1129636.694
46 | 2639755.7961 | 1128292.1116
47 | 2640078.1867 | 1129751.4679
48 | 2638943.4827 | 1129519.1316
49 | 2637002.8104 | 1127716.0909
50 | 2637007.0219 | 1127719.1292
51 | 2636967.5584 | 1127696.1099
52 | 2637389.2892 | 1127810.9574
53 | 2636762.6674 | 1127689.259
54 | 2636750.6357 | 1127631.5457
55 | 2635873.0585 | 1127529.4541
56 | 2635884.4353 | 1127697.773
57 | 2635971.5436 | 1127579.4079
58 | 2635951.2039 | 1127178.1848
59 | 2636587.1658 | 1127258.801
60 | 2636588.355 | 1127186.9941
61 | 2636238.4474 | 1127078.4354
62 | 2635991.7471 | 1127712.8063
63 | 2635808.0693 | 1127085.7346
64 | 2635816.6728 | 1127100.7375
65 | 2635762.6256 | 1127043.0779
66 | 2636054.8882 | 1127118.1042
67 | 2635992.9534 | 1127100.2127
68 | 2641275.0073 | 1129099.0572
69 | 2641246.941 | 1129081.4013
70 | 2641215.1908 | 1129060.5744
71 | 2641193.7247 | 1129046.4989
72 | 2638009.671 | 1127955.6155
73 | 2635236.5624 | 1127668.4315
74 | 2635668.8831 | 1127031.297
75 | 2635347.3848 | 1127007.3889
76 | 2635334.4684 | 1127141.3446
77 | 2635282.2786 | 1127258.8054
78 | 2635057.1126 | 1126940.2457
79 | 2634966.6528 | 1126915.9883
80 | 2635168.0624 | 1127193.9055
81 | 2634910.3109 | 1126900.7975
82 | 2636195.5842 | 1127050.5983
83 | 2635062.0606 | 1127312.6396
84 | 2635180.2755 | 1127264.1117
85 | 2635200.1216 | 1127681.4523
86 | 2635225.9907 | 1127248.7587
87 | 2635228.0455 | 1127237.9446
88 | 2635110.2971 | 1127713.5478
89 | 2638718.7708 | 1129913.5342
90 | 2638854.2274 | 1129972.9102
91 | 2638734.5854 | 1129525.8946
92 | 2638911.1302 | 1129460.5605
93 | 2638703.5561 | 1129504.6075
94 | 2637634.7206 | 1127851.0315

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98338 | -0.47099 | 0.08121 | 0.039332
1 | 0.98363 | -0.46929 | 2.8869 | 1.3982
2 | 0.98407 | -0.47351 | 0 | 0
3 | 0.98951 | -0.23981 | 0.40906 | 0.19812
4 | 0.98952 | -0.23995 | 0 | 0
5 | 0.98948 | -0.23953 | 0.24399 | 0.11817
6 | 1 | 0 | -18.4414 | -8.5343
7 | 0.99887 | -0.005671 | 0 | 0
8 | 0.99887 | -0.063361 | 0.15116 | 0.073209
9 | 0.9833 | -0.10842 | 0.38332 | 0.18565
10 | 0.98335 | -0.10884 | 0 | 0
11 | 0.98325 | -0.10798 | 0 | 0
12 | 0.98333 | -0.10867 | 0 | 0
13 | 0.98489 | -0.12246 | 0 | 0
14 | 0.98287 | -0.10456 | 0 | 0
15 | 0.98249 | -0.11309 | 0 | 0
16 | 0.98672 | -0.12142 | 0 | 0
17 | 0.98565 | -0.12906 | 0.10627 | 0.051471
18 | 0.9891 | -0.14208 | 0 | 0
19 | 0.98672 | -0.1214 | 0.23049 | 0.11163
20 | 0.98332 | -0.10859 | 0.087395 | 0.042327
21 | 0.98488 | -0.12229 | 0.39019 | 0.18898
22 | 0.98548 | -0.12758 | 0 | 0
23 | 0.98281 | -0.104 | 0 | 0
24 | 0.98271 | -0.10465 | 0.3154 | 0.15275
25 | 0.98284 | -0.10426 | 0.40833 | 0.19776
26 | 0.98234 | -0.11406 | 0.41337 | 0.2002
27 | 0.98233 | -0.11163 | 0 | 0
28 | 0.98205 | -0.11597 | 0.18134 | 0.087829
29 | 0.98187 | -0.11708 | 0.21165 | 0.10251
30 | 0.99279 | -0.12032 | 0.13453 | 0.065155
31 | 0.99292 | -0.11895 | 0 | 0
32 | 0.99232 | -0.11607 | 0 | 0
33 | 0.99268 | -0.12013 | 0 | 0
34 | 0.99454 | -0.026262 | 0 | 0
35 | 0.99084 | -0.10264 | 0 | 0
36 | 0.99453 | -0.026204 | 0.077226 | 0.037402
37 | 0.9925 | -0.12104 | 0.10885 | 0.052719
38 | 0.99046 | -0.099174 | 0.23318 | 0.11293
39 | 0.99003 | -0.10201 | 0 | 0
40 | 0.98537 | -0.058555 | 0 | 0
41 | 0.99125 | -0.15383 | 0.10554 | 0.051117
42 | 0.99093 | -0.15764 | 0 | 0
43 | 0.98518 | -0.056728 | 3.6271 | 1.7567
44 | 0.98991 | -0.15059 | 0 | 0
45 | 0.98866 | -0.1609 | 0.19262 | 0.093292
46 | 0.98907 | -0.14177 | 0.36736 | 0.17792
47 | 0.98856 | -0.16153 | 0.15632 | 0.075709
48 | 0.98779 | -0.16912 | 0.19866 | 0.096217
49 | 0.99721 | -0.070136 | 0.24172 | 0.11707
50 | 0.99722 | -0.070073 | 0 | 0
51 | 0.99709 | -0.070612 | 0 | 0
52 | 0.99865 | -0.064259 | 0 | 0
53 | 0.99622 | -0.074033 | 0 | 0
54 | 0.99586 | -0.094179 | 0.22245 | 0.10774
55 | 0.99014 | -0.2454 | 0 | 0
56 | 0.98976 | -0.24208 | 0 | 0
57 | 0.99011 | -0.24561 | 0.15454 | 0.074847
58 | 0.99081 | -0.24056 | 0 | 0
59 | 0.99343 | -0.23021 | 0 | 0
60 | 0.99339 | -0.23049 | 0.31341 | 0.15179
61 | 0.99195 | -0.23616 | 0 | 0
62 | 0.98973 | -0.24228 | 0.15376 | 0.07447
63 | 0.99003 | -0.28209 | 0 | 0
64 | 0.99007 | -0.28195 | 0.27388 | 0.13265
65 | 0.98978 | -0.28303 | 0 | 0
66 | 0.99125 | -0.23889 | 0 | 0
67 | 0.99124 | -0.23881 | 0.10597 | 0.051324
68 | 0.98224 | -0.11103 | 0.21671 | 0.10496
69 | 0.98226 | -0.11094 | 0 | 0
70 | 0.98227 | -0.11104 | 0 | 0
71 | 0.98228 | -0.11111 | 0.30267 | 0.14659
72 | 0.99886 | -0.0057501 | 0.094354 | 0.045698
73 | 0.98422 | -0.47493 | 0 | 0
74 | 0.98957 | -0.28379 | 0.28663 | 0.13882
75 | 0.98815 | -0.36296 | 0 | 0
76 | 0.98786 | -0.36401 | 0.22603 | 0.10947
77 | 0.98732 | -0.39451 | 0.37282 | 0.18056
78 | 0.987 | -0.39503 | 0.14853 | 0.071937
79 | 0.98699 | -0.39496 | 0 | 0
80 | 0.98712 | -0.39416 | 0.31769 | 0.15387
81 | 0.98699 | -0.3949 | 0.078426 | 0.037984
82 | 0.99191 | -0.23641 | 0.40017 | 0.19381
83 | 0.98666 | -0.41975 | 0.13396 | 0.064881
84 | 0.9871 | -0.39531 | 0.1182 | 0.057247
85 | 0.98437 | -0.47633 | 1.0451 | 0.50617
86 | 0.98721 | -0.39491 | 0 | 0
87 | 0.9872 | -0.39482 | 0.15658 | 0.075834
88 | 0.98427 | -0.4754 | 0.79766 | 0.38632
89 | 0.98746 | -0.16841 | 0.10184 | 0.049325
90 | 0.98748 | -0.16859 | 0 | 0
91 | 0.98761 | -0.16886 | 0 | 0
92 | 0.98775 | -0.16961 | 0 | 0
93 | 0.98759 | -0.16875 | 0.24609 | 0.11919
94 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.08121 | -0.039332 | 0.081229 | 0.037554 | 1.9209e-05 | -0.0017777 | 0.0026488 | 0.0026264 | 0.0026488 | 0.98338 | -0.47099 | 0.98363 | -0.46929 | 1.2613
1 | -2.9681 | -1.4358 | 2.9696 | 1.4335 | 0.0014431 | -0.002241 | 0.096765 | 0.096731 | 0.096765 | 0.98363 | -0.46929 | 0.98407 | -0.47351 | 43.9841
2 | -2.9696 | -1.4335 | 2.9701 | 1.4328 | 0.00048779 | -0.00075846 | 0.096731 | 0.096719 | 0.096731 | 0.98407 | -0.47351 | 0.98422 | -0.47493 | 43.9686
3 | -0.65306 | -0.31404 | 0.65307 | 0.31364 | 1.0417e-05 | -0.00040516 | 0.02114 | 0.021135 | 0.02114 | 0.98951 | -0.23981 | 0.98952 | -0.23995 | 9.6093
4 | 0.244 | 0.11593 | -0.24399 | -0.11817 | 7.991e-06 | -0.0022426 | 0.0078808 | 0.0079091 | 0.0079091 | 0.98951 | -0.23981 | 0.98948 | -0.23953 | 3.5951
5 | -0.65307 | -0.31364 | 0.65323 | 0.30713 | 0.00016649 | -0.0065047 | 0.021135 | 0.021053 | 0.021135 | 0.98952 | -0.23995 | 0.98976 | -0.24208 | 9.607
6 | 9.0144 | 4.0722 | -9.0046 | -4.091 | 0.009764 | -0.0188 | 0.28554 | 0.28583 | 0.28583 | 1 | 0 | 0.99887 | -0.005671 | 44.8012
7 | 9.413 | 4.4516 | -9.4073 | -4.4364 | 0.0057412 | 0.015193 | 0.30059 | 0.30059 | 0.30059 | 1 | 0 | 0.99887 | -0.063361 | 46.6028
8 | 0.094355 | 0.045616 | -0.094354 | -0.045698 | 1.1277e-06 | -8.1442e-05 | 0.0030288 | 0.0030299 | 0.0030299 | 0.99887 | -0.005671 | 0.99886 | -0.0057501 | 1.4428
9 | 8.9102 | 4.0454 | -8.8731 | -4.118 | 0.037187 | -0.07261 | 0.2828 | 0.28393 | 0.28393 | 0.99887 | -0.005671 | 0.99454 | -0.026262 | 44.5038
10 | 9.2561 | 4.3632 | -9.2542 | -4.3666 | 0.0019388 | -0.0034039 | 0.29573 | 0.29579 | 0.29579 | 0.99887 | -0.063361 | 0.99865 | -0.064259 | 46.3621
11 | -2.4346 | -1.1539 | 2.4348 | 1.1536 | 0.00012281 | -0.00030306 | 0.079097 | 0.079093 | 0.079097 | 0.9833 | -0.10842 | 0.98335 | -0.10884 | 35.9532
12 | 2.0513 | 0.96829 | -2.0512 | -0.96868 | 0.00010893 | -0.00039237 | 0.066594 | 0.066599 | 0.066599 | 0.9833 | -0.10842 | 0.98325 | -0.10798 | 30.2724
13 | 0.087398 | 0.035739 | -0.087396 | -0.040455 | 2.1364e-06 | -0.0047158 | 0.0027719 | 0.0028272 | 0.0028272 | 0.98335 | -0.10884 | 0.98333 | -0.10867 | 1.2851
14 | -2.5222 | -1.1894 | 2.5264 | 1.1796 | 0.0042435 | -0.0097282 | 0.081861 | 0.081724 | 0.081861 | 0.98335 | -0.10884 | 0.98489 | -0.12246 | 37.2094
15 | 0.7241 | 0.33616 | -0.72379 | -0.34556 | 0.00030301 | -0.009396 | 0.023438 | 0.023557 | 0.023557 | 0.98325 | -0.10798 | 0.98287 | -0.10456 | 10.7076
16 | 1.3271 | 0.63252 | -1.3261 | -0.63225 | 0.00097048 | 0.00027072 | 0.043162 | 0.043166 | 0.043166 | 0.98325 | -0.10798 | 0.98249 | -0.11309 | 20.5554
17 | 0.087396 | 0.040455 | -0.087395 | -0.042327 | 8.7289e-07 | -0.0018727 | 0.0028272 | 0.0028508 | 0.0028508 | 0.98333 | -0.10867 | 0.98332 | -0.10859 | 1.2958
18 | 0.3902 | 0.18817 | -0.39019 | -0.18898 | 7.5736e-06 | -0.00081205 | 0.012697 | 0.012708 | 0.012708 | 0.98489 | -0.12246 | 0.98488 | -0.12229 | 5.7762
19 | -2.9166 | -1.3678 | 2.9184 | 1.3648 | 0.001849 | -0.0030535 | 0.09442 | 0.094376 | 0.09442 | 0.98489 | -0.12246 | 0.98548 | -0.12758 | 42.9183
20 | 0.40834 | 0.19637 | -0.40833 | -0.19776 | 1.4314e-05 | -0.0013903 | 0.013308 | 0.013326 | 0.013326 | 0.98287 | -0.10456 | 0.98284 | -0.10426 | 6.0572
21 | 0.31545 | 0.14918 | -0.31543 | -0.15259 | 2.0814e-05 | -0.0034029 | 0.010249 | 0.010292 | 0.010292 | 0.98287 | -0.10456 | 0.98281 | -0.104 | 4.6782
22 | 0.80663 | 0.38968 | -0.80651 | -0.38971 | 0.00011765 | -3.6123e-05 | 0.026321 | 0.026322 | 0.026322 | 0.98249 | -0.11309 | 0.98234 | -0.11406 | 12.5344
23 | 0.51951 | 0.24258 | -0.51942 | -0.24814 | 9.2266e-05 | -0.0055612 | 0.016846 | 0.016916 | 0.016916 | 0.98249 | -0.11309 | 0.98233 | -0.11163 | 7.6893
24 | 3.0284 | 1.4171 | -3.0253 | -1.4153 | 0.0031049 | 0.0017334 | 0.097818 | 0.09782 | 0.09782 | 0.98672 | -0.12142 | 0.98565 | -0.12906 | 46.5812
25 | -3.2589 | -1.5285 | 3.2673 | 1.5177 | 0.0084224 | -0.010779 | 0.10531 | 0.10514 | 0.10531 | 0.98672 | -0.12142 | 0.9891 | -0.14208 | 47.867
26 | 0.23049 | 0.11143 | -0.23049 | -0.11163 | 6.4798e-07 | -0.00020086 | 0.0074901 | 0.0074926 | 0.0074926 | 0.98672 | -0.12142 | 0.98672 | -0.1214 | 3.4057
27 | 2.919 | 1.3639 | -2.9184 | -1.3648 | 0.00054121 | -0.00089521 | 0.094362 | 0.094376 | 0.094376 | 0.98565 | -0.12906 | 0.98548 | -0.12758 | 42.898
28 | 0.36737 | 0.17628 | -0.36736 | -0.17792 | 1.3323e-05 | -0.0016413 | 0.011892 | 0.011913 | 0.011913 | 0.9891 | -0.14208 | 0.98907 | -0.14177 | 5.4151
29 | -3.6347 | -1.694 | 3.6418 | 1.687 | 0.0071485 | -0.0070369 | 0.11703 | 0.11692 | 0.11703 | 0.9891 | -0.14208 | 0.99093 | -0.15764 | 53.1977
30 | 0.31543 | 0.15259 | -0.3154 | -0.15275 | 3.0703e-05 | -0.0001683 | 0.010292 | 0.010294 | 0.010294 | 0.98281 | -0.104 | 0.98271 | -0.10465 | 4.9021
31 | 0.39314 | 0.18951 | -0.39303 | -0.18988 | 0.00011186 | -0.00036934 | 0.012825 | 0.012831 | 0.012831 | 0.98234 | -0.11406 | 0.98205 | -0.11597 | 6.1099
32 | 0.51942 | 0.24814 | -0.51939 | -0.25005 | 3.191e-05 | -0.0019121 | 0.016916 | 0.016941 | 0.016941 | 0.98233 | -0.11163 | 0.98228 | -0.11111 | 7.7004
33 | 0.21168 | 0.10205 | -0.21165 | -0.10251 | 3.5452e-05 | -0.00045738 | 0.0069078 | 0.0069139 | 0.0069139 | 0.98205 | -0.11597 | 0.98187 | -0.11708 | 3.2923
34 | -4.0254 | -1.9091 | 4.0258 | 1.9075 | 0.00046864 | -0.0016151 | 0.12954 | 0.12952 | 0.12954 | 0.99279 | -0.12032 | 0.99292 | -0.11895 | 35.7852
35 | 3.8908 | 1.844 | -3.8888 | -1.8456 | 0.0019926 | -0.0016483 | 0.1252 | 0.12522 | 0.12522 | 0.99279 | -0.12032 | 0.99232 | -0.11607 | 56.9201
36 | 4.7622 | 2.1541 | -4.7612 | -2.1628 | 0.0010748 | -0.0087168 | 0.15196 | 0.15207 | 0.15207 | 0.99292 | -0.11895 | 0.99268 | -0.12013 | 23.8358
37 | -8.7881 | -4.0616 | 8.7958 | 4.0821 | 0.00776 | 0.020493 | 0.28147 | 0.28146 | 0.28147 | 0.99292 | -0.11895 | 0.99454 | -0.026262 | 43.6384
38 | 3.8888 | 1.8456 | -3.8826 | -1.8507 | 0.0062393 | -0.0051411 | 0.12522 | 0.12531 | 0.12531 | 0.99232 | -0.11607 | 0.99084 | -0.10264 | 56.9599
39 | 4.7612 | 2.1628 | -4.7603 | -2.1697 | 0.00085195 | -0.0068963 | 0.15207 | 0.15216 | 0.15216 | 0.99268 | -0.12013 | 0.9925 | -0.12104 | 23.8497
40 | 0.077227 | 0.035853 | -0.077226 | -0.037402 | 5.3935e-07 | -0.00155 | 0.0024714 | 0.0024907 | 0.0024907 | 0.99454 | -0.026262 | 0.99453 | -0.026204 | 1.1321
41 | 3.8826 | 1.8507 | -3.881 | -1.8521 | 0.0015978 | -0.0013116 | 0.12531 | 0.12533 | 0.12533 | 0.99084 | -0.10264 | 0.99046 | -0.099174 | 56.9701
42 | 4.6515 | 2.117 | -4.6468 | -2.112 | 0.0046595 | 0.0050455 | 0.14864 | 0.14865 | 0.14865 | 0.9925 | -0.12104 | 0.99125 | -0.15383 | 42.4708
43 | 3.6478 | 1.7391 | -3.6463 | -1.7383 | 0.0014783 | 0.00085595 | 0.11778 | 0.11778 | 0.11778 | 0.99046 | -0.099174 | 0.99003 | -0.10201 | 56.0876
44 | 3.6463 | 1.7383 | -3.6279 | -1.756 | 0.018475 | -0.017697 | 0.11778 | 0.11808 | 0.11808 | 0.99003 | -0.10201 | 0.98537 | -0.058555 | 53.6715
45 | 3.6279 | 1.756 | -3.6271 | -1.7567 | 0.00076132 | -0.00072213 | 0.11808 | 0.11809 | 0.11809 | 0.98537 | -0.058555 | 0.98518 | -0.056728 | 53.677
46 | 4.5413 | 2.0609 | -4.5399 | -2.0643 | 0.0013384 | -0.0034526 | 0.14523 | 0.14529 | 0.14529 | 0.99125 | -0.15383 | 0.99093 | -0.15764 | 40.1345
47 | 0.89811 | 0.37735 | -0.89714 | -0.39798 | 0.00096839 | -0.020631 | 0.028379 | 0.028621 | 0.028621 | 0.99093 | -0.15764 | 0.98991 | -0.15059 | 13.0096
48 | 0.89714 | 0.39798 | -0.89609 | -0.39817 | 0.0010583 | -0.000184 | 0.028621 | 0.028631 | 0.028631 | 0.98991 | -0.15059 | 0.98866 | -0.1609 | 13.6338
49 | 0.15634 | 0.075338 | -0.15632 | -0.075709 | 1.4946e-05 | -0.00037146 | 0.0050671 | 0.005072 | 0.005072 | 0.98866 | -0.1609 | 0.98856 | -0.16153 | 2.4152
50 | 0.54713 | 0.22954 | -0.54668 | -0.23023 | 0.00044811 | -0.00069568 | 0.017324 | 0.017335 | 0.017335 | 0.98866 | -0.1609 | 0.98779 | -0.16912 | 8.2549
51 | 0.34802 | 0.13402 | -0.348 | -0.13408 | 1.4161e-05 | -6.9068e-05 | 0.010899 | 0.010899 | 0.010899 | 0.98779 | -0.16912 | 0.98775 | -0.16961 | 5.1902
52 | -9.2412 | -4.3893 | 9.2414 | 4.389 | 0.00014047 | -0.00024475 | 0.29616 | 0.29616 | 0.29616 | 0.99721 | -0.070136 | 0.99722 | -0.070073 | 46.4201
53 | 8.9995 | 4.2722 | -8.9985 | -4.2742 | 0.0010392 | -0.0019408 | 0.28839 | 0.28842 | 0.28842 | 0.99721 | -0.070136 | 0.99709 | -0.070612 | 45.2065
54 | -9.2414 | -4.389 | 9.2542 | 4.3666 | 0.012804 | -0.022389 | 0.29616 | 0.29579 | 0.29616 | 0.99722 | -0.070073 | 0.99865 | -0.064259 | 46.4195
55 | 8.9985 | 4.2742 | -8.9909 | -4.2882 | 0.007559 | -0.014083 | 0.28842 | 0.28865 | 0.28865 | 0.99709 | -0.070612 | 0.99622 | -0.074033 | 45.2422
56 | 8.9909 | 4.2882 | -8.9892 | -4.2836 | 0.0017535 | 0.0046345 | 0.28865 | 0.28865 | 0.28865 | 0.99622 | -0.074033 | 0.99586 | -0.094179 | 44.7514
57 | 8.7667 | 4.1759 | -8.7552 | -4.1455 | 0.011513 | 0.030403 | 0.28148 | 0.28149 | 0.28149 | 0.99586 | -0.094179 | 0.99343 | -0.23021 | 43.6417
58 | 0.80734 | 0.3729 | -0.807 | -0.38148 | 0.00033422 | -0.0085793 | 0.025927 | 0.026034 | 0.026034 | 0.99014 | -0.2454 | 0.98976 | -0.24208 | 11.8339
59 | 0.15455 | 0.074721 | -0.15454 | -0.074847 | 4.9298e-06 | -0.00012615 | 0.0050048 | 0.0050064 | 0.0050064 | 0.99014 | -0.2454 | 0.99011 | -0.24561 | 2.384
60 | -0.96188 | -0.44762 | 0.96249 | 0.44759 | 0.00061333 | -3.7286e-05 | 0.030931 | 0.030926 | 0.030931 | 0.99014 | -0.2454 | 0.99081 | -0.24056 | 14.7293
61 | 0.15377 | 0.074346 | -0.15376 | -0.07447 | 4.7925e-06 | -0.00012372 | 0.0049815 | 0.0049831 | 0.0049831 | 0.98976 | -0.24208 | 0.98973 | -0.24228 | 2.3729
62 | -7.9146 | -3.7981 | 7.9179 | 3.7897 | 0.0033797 | -0.0084197 | 0.25577 | 0.25564 | 0.25577 | 0.99081 | -0.24056 | 0.99125 | -0.23889 | 40.0893
63 | 6.9521 | 3.3505 | -6.9493 | -3.3432 | 0.0028017 | 0.0073235 | 0.22485 | 0.22485 | 0.22485 | 0.99081 | -0.24056 | 0.99007 | -0.28195 | 34.8603
64 | 8.4418 | 3.9937 | -8.4296 | -4.02 | 0.012184 | -0.026242 | 0.27137 | 0.27178 | 0.27178 | 0.99343 | -0.23021 | 0.99195 | -0.23616 | 42.5993
65 | 0.31342 | 0.15172 | -0.31341 | -0.15179 | 1.3102e-05 | -7.6402e-05 | 0.010118 | 0.01012 | 0.01012 | 0.99343 | -0.23021 | 0.99339 | -0.23049 | 4.8188
66 | 0.40019 | 0.19376 | -0.40017 | -0.19381 | 1.5247e-05 | -5.0483e-05 | 0.012939 | 0.01294 | 0.01294 | 0.99195 | -0.23616 | 0.99191 | -0.23641 | 6.162
67 | 8.0294 | 3.8262 | -8.0239 | -3.8395 | 0.0054869 | -0.013271 | 0.25884 | 0.25905 | 0.25905 | 0.99195 | -0.23616 | 0.99125 | -0.23889 | 40.6034
68 | -6.6751 | -3.2115 | 6.6754 | 3.2105 | 0.00025051 | -0.00092927 | 0.21599 | 0.21598 | 0.21599 | 0.99003 | -0.28209 | 0.99007 | -0.28195 | 33.8542
69 | 6.6751 | 3.2115 | -6.6735 | -3.2176 | 0.0016509 | -0.0061186 | 0.21599 | 0.21608 | 0.21608 | 0.99003 | -0.28209 | 0.98978 | -0.28303 | 33.8681
70 | 6.6735 | 3.2176 | -6.6721 | -3.2226 | 0.0013598 | -0.0050326 | 0.21608 | 0.21615 | 0.21615 | 0.98978 | -0.28303 | 0.98957 | -0.28379 | 33.8797
71 | 0.10597 | 0.049812 | -0.10597 | -0.051324 | 1.0063e-06 | -0.0015121 | 0.0034101 | 0.003429 | 0.003429 | 0.99125 | -0.23889 | 0.99124 | -0.23881 | 1.5587
72 | -0.21671 | -0.10496 | 0.21671 | 0.10492 | 2.9584e-06 | -3.6338e-05 | 0.0070767 | 0.0070762 | 0.0070767 | 0.98224 | -0.11103 | 0.98226 | -0.11094 | 3.3698
73 | -0.21671 | -0.10492 | 0.21672 | 0.10405 | 2.5292e-06 | -0.00087225 | 0.0070762 | 0.007065 | 0.0070762 | 0.98226 | -0.11094 | 0.98227 | -0.11104 | 3.2164
74 | -0.21672 | -0.10405 | 0.21672 | 0.10346 | 1.7053e-06 | -0.00058966 | 0.007065 | 0.0070576 | 0.007065 | 0.98227 | -0.11104 | 0.98228 | -0.11111 | 3.2114
75 | -2.9701 | -1.4328 | 2.9706 | 1.432 | 0.00048321 | -0.00075181 | 0.096719 | 0.096708 | 0.096719 | 0.98422 | -0.47493 | 0.98437 | -0.47633 | 43.9634
76 | 6.3855 | 3.0838 | -6.3806 | -3.071 | 0.0049251 | 0.012808 | 0.20686 | 0.20687 | 0.20687 | 0.98957 | -0.28379 | 0.98815 | -0.36296 | 32.0724
77 | 6.3806 | 3.071 | -6.3788 | -3.0783 | 0.0017809 | -0.0072531 | 0.20687 | 0.20697 | 0.20697 | 0.98815 | -0.36296 | 0.98786 | -0.36401 | 32.4408
78 | 6.1528 | 2.9688 | -6.1509 | -2.964 | 0.0018287 | 0.0047444 | 0.19963 | 0.19964 | 0.19964 | 0.98786 | -0.36401 | 0.98732 | -0.39451 | 30.9512
79 | 5.7781 | 2.7835 | -5.7775 | -2.7866 | 0.00062144 | -0.0031517 | 0.18752 | 0.18757 | 0.18757 | 0.98732 | -0.39451 | 0.98721 | -0.39491 | 29.3994
80 | 0.078428 | 0.034454 | -0.078427 | -0.036626 | 7.9079e-07 | -0.0021722 | 0.0025054 | 0.0025316 | 0.0025316 | 0.987 | -0.39503 | 0.98699 | -0.39496 | 1.1507
81 | -0.22696 | -0.10639 | 0.22699 | 0.10609 | 2.6498e-05 | -0.00030543 | 0.0073312 | 0.0073272 | 0.0073312 | 0.987 | -0.39503 | 0.98712 | -0.39416 | 3.491
82 | 0.078427 | 0.036626 | -0.078426 | -0.037984 | 5.0264e-07 | -0.0013571 | 0.0025316 | 0.0025487 | 0.0025487 | 0.98699 | -0.39496 | 0.98699 | -0.3949 | 1.1585
83 | -0.54468 | -0.25995 | 0.54472 | 0.25756 | 4.2969e-05 | -0.0023954 | 0.01765 | 0.01762 | 0.01765 | 0.98712 | -0.39416 | 0.9872 | -0.39482 | 8.0226
84 | -4.9563 | -2.3969 | 4.9574 | 2.3999 | 0.0011836 | 0.0030108 | 0.16108 | 0.16107 | 0.16108 | 0.98666 | -0.41975 | 0.9871 | -0.39531 | 24.9731
85 | 4.8223 | 2.332 | -4.8134 | -2.3223 | 0.0088798 | 0.0096759 | 0.15672 | 0.15673 | 0.15673 | 0.98666 | -0.41975 | 0.98437 | -0.47633 | 44.7794
86 | -5.0756 | -2.4571 | 5.0762 | 2.4535 | 0.00054102 | -0.0036382 | 0.16492 | 0.16487 | 0.16492 | 0.9871 | -0.39531 | 0.98721 | -0.39491 | 25.8488
87 | 0.79774 | 0.38414 | -0.79766 | -0.38632 | 8.5947e-05 | -0.0021811 | 0.025966 | 0.025994 | 0.025994 | 0.98437 | -0.47633 | 0.98427 | -0.4754 | 11.8153
88 | 0.70131 | 0.33314 | -0.7013 | -0.33339 | 7.5757e-06 | -0.00025389 | 0.022704 | 0.022707 | 0.022707 | 0.98721 | -0.39491 | 0.9872 | -0.39482 | 10.3212
89 | -0.10184 | -0.049325 | 0.10185 | 0.045782 | 2.1938e-06 | -0.0035428 | 0.0033081 | 0.0032643 | 0.0033081 | 0.98746 | -0.16841 | 0.98748 | -0.16859 | 1.5037
90 | -0.10185 | -0.045782 | 0.10186 | 0.023422 | 1.2678e-05 | -0.02236 | 0.0032643 | 0.003055 | 0.0032643 | 0.98748 | -0.16859 | 0.98761 | -0.16886 | 1.4838
91 | 0.24609 | 0.11831 | -0.24609 | -0.11919 | 3.2062e-06 | -0.00087583 | 0.0079813 | 0.0079924 | 0.0079924 | 0.98761 | -0.16886 | 0.98759 | -0.16875 | 3.6329
92 | -0.34795 | -0.14173 | 0.348 | 0.13408 | 5.2567e-05 | -0.0076471 | 0.010982 | 0.010899 | 0.010982 | 0.98761 | -0.16886 | 0.98775 | -0.16961 | 4.9918

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 18.4414 | 8.5343

## res_load
| p_mw | q_mvar
0 | 0.08121 | 0.039332
1 | 2.8869 | 1.3982
2 | 0.40906 | 0.19812
3 | 0.24399 | 0.11817
4 | 0.15116 | 0.073209
5 | 0.38332 | 0.18565
6 | 0.10627 | 0.051471
7 | 0.23049 | 0.11163
8 | 0.087395 | 0.042327
9 | 0.39019 | 0.18898
10 | 0.3154 | 0.15275
11 | 0.40833 | 0.19776
12 | 0.41337 | 0.2002
13 | 0.18134 | 0.087829
14 | 0.21165 | 0.10251
15 | 0.13453 | 0.065155
16 | 0.077226 | 0.037402
17 | 0.10885 | 0.052719
18 | 0.23318 | 0.11293
19 | 0.10554 | 0.051117
20 | 3.6271 | 1.7567
21 | 0.19262 | 0.093292
22 | 0.36736 | 0.17792
23 | 0.15632 | 0.075709
24 | 0.19866 | 0.096217
25 | 0.24172 | 0.11707
26 | 0.22245 | 0.10774
27 | 0.15454 | 0.074847
28 | 0.31341 | 0.15179
29 | 0.15376 | 0.07447
30 | 0.27388 | 0.13265
31 | 0.10597 | 0.051324
32 | 0.21671 | 0.10496
33 | 0.30267 | 0.14659
34 | 0.094354 | 0.045698
35 | 0.28663 | 0.13882
36 | 0.22603 | 0.10947
37 | 0.37282 | 0.18056
38 | 0.14853 | 0.071937
39 | 0.31769 | 0.15387
40 | 0.078426 | 0.037984
41 | 0.40017 | 0.19381
42 | 0.13396 | 0.064881
43 | 0.1182 | 0.057247
44 | 1.0451 | 0.50617
45 | 0.15658 | 0.075834
46 | 0.79766 | 0.38632
47 | 0.10184 | 0.049325
48 | 0.24609 | 0.11919

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1