## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_90_1_node_32 | 20 | n |  | TRUE
1 | bus_MV_90_1_node_34 | 20 | n |  | TRUE
2 | bus_MV_90_1_node_33 | 20 | n |  | TRUE
3 | bus_MV_90_1_node_35 | 20 | n |  | TRUE
4 | bus_MV_90_1_node_56 | 20 | n |  | TRUE
5 | bus_MV_90_1_node_36 | 20 | n |  | TRUE
6 | bus_MV_90_1_node_37 | 20 | n |  | TRUE
7 | bus_MV_90_1_node_63 | 20 | n |  | TRUE
8 | bus_MV_90_1_node_61 | 20 | n |  | TRUE
9 | bus_MV_90_1_node_38 | 20 | n |  | TRUE
10 | bus_MV_90_1_node_39 | 20 | n |  | TRUE
11 | bus_MV_90_1_node_40 | 20 | n |  | TRUE
12 | bus_MV_90_1_node_57 | 20 | n |  | TRUE
13 | bus_MV_90_1_node_41 | 20 | n |  | TRUE
14 | bus_MV_90_1_node_42 | 20 | n |  | TRUE
15 | bus_MV_90_1_node_43 | 20 | n |  | TRUE
16 | bus_MV_90_1_node_44 | 20 | n |  | TRUE
17 | bus_MV_90_1_node_62 | 20 | n |  | TRUE
18 | bus_MV_90_1_node_47 | 20 | n |  | TRUE
19 | bus_MV_90_1_node_65 | 20 | n |  | TRUE
20 | bus_MV_90_1_node_45 | 20 | n |  | TRUE
21 | bus_MV_90_1_node_46 | 20 | n |  | TRUE
22 | bus_MV_90_1_node_50 | 20 | n |  | TRUE
23 | bus_MV_90_1_node_51 | 20 | n |  | TRUE
24 | bus_MV_90_1_node_48 | 20 | n |  | TRUE
25 | bus_MV_90_1_node_193 | 20 | n |  | TRUE
26 | bus_MV_90_1_node_49 | 20 | n |  | TRUE
27 | bus_MV_90_1_node_117 | 20 | n |  | TRUE
28 | bus_MV_90_1_node_113 | 20 | n |  | TRUE
29 | bus_MV_90_1_node_194 | 20 | n |  | TRUE
30 | bus_MV_90_1_node_118 | 20 | n |  | TRUE
31 | bus_MV_90_1_node_52 | 20 | n |  | TRUE
32 | bus_MV_90_1_node_54 | 20 | n |  | TRUE
33 | bus_MV_90_1_node_53 | 20 | n |  | TRUE
34 | bus_MV_90_1_node_55 | 20 | n |  | TRUE
35 | bus_MV_90_1_node_58 | 20 | n |  | TRUE
36 | bus_MV_90_1_node_185 | 20 | n |  | TRUE
37 | bus_MV_90_1_node_60 | 20 | n |  | TRUE
38 | bus_MV_90_1_node_66 | 20 | n |  | TRUE
39 | bus_MV_90_1_node_191 | 20 | n |  | TRUE
40 | bus_MV_90_1_node_74 | 20 | n |  | TRUE
41 | bus_MV_90_1_node_67 | 20 | n |  | TRUE
42 | bus_MV_90_1_node_68 | 20 | n |  | TRUE
43 | bus_MV_90_1_node_181 | 20 | n |  | TRUE
44 | bus_MV_90_1_node_69 | 20 | n |  | TRUE
45 | bus_MV_90_1_node_70 | 20 | n |  | TRUE
46 | bus_MV_90_1_node_71 | 20 | n |  | TRUE
47 | bus_MV_90_1_node_134 | 20 | n |  | TRUE
48 | bus_MV_90_1_node_73 | 20 | n |  | TRUE
49 | bus_MV_90_1_node_105 | 20 | n |  | TRUE
50 | bus_MV_90_1_node_107 | 20 | n |  | TRUE
51 | bus_MV_90_1_node_106 | 20 | n |  | TRUE
52 | bus_MV_90_1_node_108 | 20 | n |  | TRUE
53 | bus_MV_90_1_node_109 | 20 | n |  | TRUE
54 | bus_MV_90_1_node_112 | 20 | n |  | TRUE
55 | bus_MV_90_1_node_110 | 20 | n |  | TRUE
56 | bus_MV_90_1_node_111 | 20 | n |  | TRUE
57 | bus_MV_90_1_node_116 | 20 | n |  | TRUE
58 | bus_MV_90_1_node_167 | 20 | n |  | TRUE
59 | bus_MV_90_1_node_114 | 20 | n |  | TRUE
60 | bus_MV_90_1_node_115 | 20 | n |  | TRUE
61 | bus_MV_90_1_node_166 | 20 | n |  | TRUE
62 | bus_MV_90_1_node_127 | 20 | n |  | TRUE
63 | bus_MV_90_1_node_128 | 20 | n |  | TRUE
64 | bus_MV_90_1_node_129 | 20 | n |  | TRUE
65 | bus_MV_90_1_node_130 | 20 | n |  | TRUE
66 | bus_MV_90_1_node_183 | 20 | n |  | TRUE
67 | bus_MV_90_1_node_131 | 20 | n |  | TRUE
68 | bus_MV_90_1_node_132 | 20 | n |  | TRUE
69 | bus_MV_90_1_node_133 | 20 | n |  | TRUE
70 | bus_MV_90_1_node_190 | 20 | n |  | TRUE
71 | bus_MV_90_1_node_168 | 20 | n |  | TRUE
72 | bus_MV_90_1_node_169 | 20 | n |  | TRUE
73 | bus_MV_90_1_node_195 | 20 | n |  | TRUE
74 | bus_MV_90_1_node_182 | 20 | n |  | TRUE
75 | bus_HV_90_1_node_58 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_90_1_load_32 | 0 | 0.40557 | 0.19643 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_90_1_load_33 | 2 | 0.35585 | 0.17235 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_90_1_load_56 | 4 | 0.37968 | 0.18389 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_90_1_load_36 | 5 | 0.092541 | 0.04482 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_90_1_load_63 | 7 | 0.12672 | 0.061375 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_90_1_load_39 | 10 | 0.22641 | 0.10965 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_90_1_load_57 | 12 | 0.0753 | 0.036469 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_90_1_load_41 | 13 | 0.14947 | 0.072394 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_90_1_load_62 | 17 | 0.19536 | 0.094618 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_90_1_load_65 | 19 | 0.17517 | 0.08484 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_90_1_load_45 | 20 | 0.13772 | 0.066702 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_90_1_load_193 | 25 | 0.30731 | 0.14884 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_90_1_load_117 | 27 | 0.36181 | 0.17523 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_90_1_load_113 | 28 | 0.21635 | 0.10478 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_90_1_load_194 | 29 | 0.32013 | 0.15504 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_90_1_load_118 | 30 | 0.20565 | 0.099599 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_90_1_load_52 | 31 | 0.41483 | 0.20091 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_90_1_load_58 | 35 | 0.39468 | 0.19115 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_90_1_load_185 | 36 | 0.22851 | 0.11067 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_90_1_load_60 | 37 | 0.13009 | 0.063007 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_90_1_load_66 | 38 | 0.19505 | 0.094469 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_90_1_load_191 | 39 | 0.33057 | 0.1601 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_90_1_load_181 | 43 | 0.34343 | 0.16633 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_90_1_load_69 | 44 | 0.38788 | 0.18786 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_90_1_load_70 | 45 | 0.36738 | 0.17793 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_90_1_load_134 | 47 | 0.23418 | 0.11342 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_90_1_load_73 | 48 | 0.33781 | 0.16361 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_90_1_load_105 | 49 | 0.38862 | 0.18822 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_90_1_load_108 | 52 | 0.11247 | 0.054471 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_90_1_load_112 | 54 | 0.33551 | 0.1625 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_90_1_load_116 | 57 | 0.32172 | 0.15582 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_90_1_load_166 | 61 | 0.1268 | 0.061411 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_90_1_load_127 | 62 | 0.079152 | 0.038335 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_90_1_load_183 | 66 | 0.31721 | 0.15363 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_90_1_load_131 | 67 | 0.15031 | 0.072801 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_90_1_load_190 | 70 | 0.10275 | 0.049765 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_90_1_load_168 | 71 | 0.092921 | 0.045003 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_90_1_load_195 | 73 | 0.20888 | 0.10117 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_90_1_line_0 |  | 0 | 1 | 0.31533 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_90_1_line_1 |  | 1 | 2 | 0.012514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_90_1_line_2 |  | 2 | 3 | 0.018252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_90_1_line_3 |  | 3 | 4 | 0.012264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_90_1_line_4 |  | 4 | 35 | 0.23469 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_90_1_line_5 |  | 5 | 6 | 0.2767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_90_1_line_6 |  | 5 | 7 | 1.1232 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_90_1_line_7 |  | 5 | 8 | 1.0171 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_90_1_line_8 |  | 6 | 9 | 0.8304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_90_1_line_9 |  | 8 | 37 | 0.096984 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_90_1_line_10 |  | 9 | 10 | 0.099725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_90_1_line_11 |  | 10 | 11 | 0.094625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_90_1_line_12 |  | 11 | 12 | 3.9238 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_90_1_line_13 |  | 13 | 14 | 0.039652 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_90_1_line_14 |  | 14 | 15 | 0.1591 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
15 | MV_90_1_line_15 |  | 14 | 16 | 0.23819 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
16 | MV_90_1_line_16 |  | 15 | 17 | 0.29535 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
17 | MV_90_1_line_17 |  | 16 | 18 | 0.31102 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
18 | MV_90_1_line_18 |  | 16 | 19 | 0.14186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_90_1_line_19 |  | 17 | 35 | 0.60626 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
20 | MV_90_1_line_20 |  | 17 | 37 | 0.83135 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_90_1_line_21 |  | 18 | 23 | 0.79554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_90_1_line_22 |  | 18 | 20 | 0.11304 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
23 | MV_90_1_line_23 |  | 20 | 21 | 0.060038 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
24 | MV_90_1_line_24 |  | 21 | 22 | 0.76017 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
25 | MV_90_1_line_25 |  | 22 | 29 | 0.039555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_90_1_line_26 |  | 22 | 24 | 0.81777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_90_1_line_27 |  | 22 | 26 | 0.9098 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
28 | MV_90_1_line_28 |  | 23 | 30 | 0.034217 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_90_1_line_29 |  | 24 | 25 | 0.033191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_90_1_line_30 |  | 26 | 27 | 0.26551 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_90_1_line_31 |  | 26 | 28 | 0.66826 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
32 | MV_90_1_line_32 |  | 28 | 59 | 0.28876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_90_1_line_33 |  | 31 | 32 | 0.012253 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
34 | MV_90_1_line_34 |  | 31 | 33 | 0.10435 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
35 | MV_90_1_line_35 |  | 32 | 35 | 1.4374 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
36 | MV_90_1_line_36 |  | 33 | 34 | 0.64601 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
37 | MV_90_1_line_37 |  | 34 | 36 | 0.031545 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_90_1_line_38 |  | 36 | 74 | 1.3353 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
39 | MV_90_1_line_39 |  | 38 | 39 | 2.0028 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_90_1_line_40 |  | 38 | 40 | 1.1997 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_90_1_line_41 |  | 38 | 41 | 0.1489 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_90_1_line_42 |  | 40 | 48 | 0.014274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_90_1_line_43 |  | 41 | 42 | 0.7857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_90_1_line_44 |  | 42 | 43 | 0.05357 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_90_1_line_45 |  | 43 | 74 | 0.042861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_90_1_line_46 |  | 43 | 44 | 1.017 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_90_1_line_47 |  | 44 | 45 | 0.048263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_90_1_line_48 |  | 44 | 46 | 0.071234 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_90_1_line_49 |  | 46 | 47 | 1.3854 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_90_1_line_50 |  | 47 | 64 | 0.061453 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_90_1_line_51 |  | 49 | 50 | 0.076095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_90_1_line_52 |  | 50 | 55 | 0.22916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_90_1_line_53 |  | 51 | 52 | 0.020119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_90_1_line_54 |  | 51 | 53 | 0.25964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_90_1_line_55 |  | 51 | 54 | 0.17077 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_90_1_line_56 |  | 52 | 56 | 0.1122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_90_1_line_57 |  | 53 | 57 | 0.081134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_90_1_line_58 |  | 54 | 55 | 0.059565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_90_1_line_59 |  | 56 | 58 | 0.35085 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_90_1_line_60 |  | 58 | 72 | 0.12988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_90_1_line_61 |  | 59 | 60 | 0.60205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_90_1_line_62 |  | 60 | 61 | 0.039424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_90_1_line_63 |  | 61 | 71 | 0.76608 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_90_1_line_64 |  | 62 | 63 | 0.018914 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_90_1_line_65 |  | 63 | 64 | 0.87573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_90_1_line_66 |  | 64 | 65 | 0.82272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_90_1_line_67 |  | 64 | 66 | 0.24304 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_90_1_line_68 |  | 65 | 67 | 0.063867 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_90_1_line_69 |  | 67 | 68 | 0.01585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_90_1_line_70 |  | 68 | 69 | 0.28314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_90_1_line_71 |  | 69 | 70 | 0.054658 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_90_1_line_72 |  | 71 | 72 | 0.021659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_90_1_line_73 |  | 72 | 73 | 0.064018 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_90_1_trafo_58 | 25 MVA 110/20 kV | 75 | 35 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2597382.1627 | 1114623.8228
1 | 2597398.7871 | 1114308.9273
2 | 2597410.8703 | 1114305.5425
3 | 2597405.0018 | 1114288.2588
4 | 2597416.9154 | 1114285.2076
5 | 2596171.8522 | 1112218.9526
6 | 2596045.9973 | 1111988.7103
7 | 2597285.4852 | 1112365.2548
8 | 2596430.591 | 1113202.6319
9 | 2596301.3206 | 1111469.4565
10 | 2596367.8234 | 1111535.0813
11 | 2596335.3531 | 1111446.9688
12 | 2596535.0355 | 1107528.2882
13 | 2596710.5819 | 1114464.4354
14 | 2596721.7531 | 1114502.4813
15 | 2596735.3335 | 1114344.6517
16 | 2596604.6756 | 1114701.5895
17 | 2596770.308 | 1114051.3772
18 | 2596576.3865 | 1114584.8706
19 | 2596547.5726 | 1114828.6294
20 | 2596501.8695 | 1114604.1013
21 | 2596448.7886 | 1114611.7699
22 | 2596278.7714 | 1114221.8378
23 | 2596216.6502 | 1115268.2804
24 | 2596079.3244 | 1114592.1148
25 | 2596067.1525 | 1114622.9936
26 | 2596048.0685 | 1114070.6567
27 | 2595990.955 | 1114322.5522
28 | 2595567.4097 | 1113606.3999
29 | 2596302.0473 | 1114249.4813
30 | 2596204.6418 | 1115300.326
31 | 2598701.1442 | 1113478.1172
32 | 2598698.7065 | 1113490.1237
33 | 2598796.4983 | 1113435.7311
34 | 2599071.8465 | 1113106.3284
35 | 2597376.5581 | 1114054.0118
36 | 2599094.0478 | 1113083.8804
37 | 2596423.9355 | 1113295.615
38 | 2600998.5694 | 1112923.16
39 | 2602139.3762 | 1111277.0194
40 | 2600127.5022 | 1112098.2829
41 | 2600890.2003 | 1113025.2724
42 | 2600400.1403 | 1113484.3853
43 | 2600366.4122 | 1113526.0597
44 | 2599888.9172 | 1114423.9524
45 | 2599845.915 | 1114431.0129
46 | 2599881.1744 | 1114493.8092
47 | 2599771.6262 | 1115874.8588
48 | 2600134.2228 | 1112085.7212
49 | 2595953.4248 | 1114955.411
50 | 2595951.1718 | 1115025.7694
51 | 2595961.5328 | 1114695.1887
52 | 2595950.9135 | 1114680.1748
53 | 2595959.5202 | 1114437.719
54 | 2596044.6912 | 1114844.3395
55 | 2596032.4763 | 1114902.2872
56 | 2595914.6711 | 1114582.0428
57 | 2595978.3622 | 1114359.1787
58 | 2595829.3709 | 1114559.791
59 | 2595393.0065 | 1113757.1952
60 | 2595118.5585 | 1114075.7035
61 | 2595136.0609 | 1114111.0151
62 | 2599626.9649 | 1116426.6496
63 | 2599612.7857 | 1116439.1679
64 | 2599752.2754 | 1115931.343
65 | 2599881.6675 | 1116427.4033
66 | 2599509.5342 | 1115943.3777
67 | 2599945.3047 | 1116432.8154
68 | 2599960.5037 | 1116428.9687
69 | 2600189.0952 | 1116271.1803
70 | 2600148.6528 | 1116307.5864
71 | 2595841.5575 | 1114409.5938
72 | 2595844.8786 | 1114430.9724
73 | 2595854.6443 | 1114494.2411
74 | 2600367.9279 | 1113484.3059
75 | 2597376.5581 | 1114054.0118

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9992 | -0.0044846 | 0.40557 | 0.19643
1 | 0.99945 | -0.0029321 | 0 | 0
2 | 0.99945 | -0.0029925 | 0.35585 | 0.17235
3 | 0.99947 | -0.0031579 | 0 | 0
4 | 0.99948 | -0.0032688 | 0.37968 | 0.18389
5 | 0.99491 | -0.10105 | 0.092541 | 0.04482
6 | 0.99481 | -0.10061 | 0 | 0
7 | 0.99463 | -0.10285 | 0.12672 | 0.061375
8 | 0.9959 | -0.091324 | 0 | 0
9 | 0.99449 | -0.098598 | 0 | 0
10 | 0.99445 | -0.098286 | 0.22641 | 0.10965
11 | 0.99444 | -0.098234 | 0 | 0
12 | 0.99388 | -0.10263 | 0.0753 | 0.036469
13 | 0.99551 | -0.11847 | 0.14947 | 0.072394
14 | 0.99552 | -0.11839 | 0 | 0
15 | 0.99581 | -0.11458 | 0 | 0
16 | 0.9951 | -0.12386 | 0 | 0
17 | 0.99699 | -0.082202 | 0.19536 | 0.094618
18 | 0.99458 | -0.13061 | 0 | 0
19 | 0.99506 | -0.12358 | 0.17517 | 0.08484
20 | 0.9944 | -0.13286 | 0.13772 | 0.066702
21 | 0.99431 | -0.134 | 0 | 0
22 | 0.99317 | -0.14828 | 0 | 0
23 | 0.99437 | -0.12915 | 0 | 0
24 | 0.99285 | -0.14578 | 0 | 0
25 | 0.99284 | -0.14566 | 0.30731 | 0.14884
26 | 0.9921 | -0.16111 | 0 | 0
27 | 0.99198 | -0.16 | 0.36181 | 0.17523
28 | 0.99068 | -0.19834 | 0.21635 | 0.10478
29 | 0.99315 | -0.14812 | 0.32013 | 0.15504
30 | 0.99436 | -0.12907 | 0.20565 | 0.099599
31 | 0.99406 | -0.15321 | 0.41483 | 0.20091
32 | 0.99408 | -0.15294 | 0 | 0
33 | 0.99368 | -0.16311 | 0 | 0
34 | 0.9926 | -0.17572 | 0 | 0
35 | 1 | 0 | -9.0269 | -4.0663
36 | 0.99255 | -0.17633 | 0.22851 | 0.11067
37 | 0.99597 | -0.091691 | 0.13009 | 0.063007
38 | 0.98671 | -0.28567 | 0.19505 | 0.094469
39 | 0.98541 | -0.2941 | 0.33057 | 0.1601
40 | 0.98592 | -0.29081 | 0 | 0
41 | 0.98696 | -0.28402 | 0 | 0
42 | 0.98783 | -0.29168 | 0 | 0
43 | 0.98789 | -0.29216 | 0.34343 | 0.16633
44 | 0.98467 | -0.31768 | 0.38788 | 0.18786
45 | 0.98464 | -0.31746 | 0.36738 | 0.17793
46 | 0.98459 | -0.31714 | 0 | 0
47 | 0.98224 | -0.33851 | 0.23418 | 0.11342
48 | 0.98591 | -0.29076 | 0.33781 | 0.16361
49 | 0.98525 | -0.19081 | 0.38862 | 0.18822
50 | 0.98528 | -0.19117 | 0 | 0
51 | 0.98567 | -0.19078 | 0 | 0
52 | 0.9857 | -0.19102 | 0.11247 | 0.054471
53 | 0.98556 | -0.18984 | 0 | 0
54 | 0.98543 | -0.19245 | 0.33551 | 0.1625
55 | 0.9854 | -0.1922 | 0 | 0
56 | 0.98586 | -0.19249 | 0 | 0
57 | 0.98553 | -0.18952 | 0.32172 | 0.15582
58 | 0.98639 | -0.19694 | 0 | 0
59 | 0.9901 | -0.19368 | 0 | 0
60 | 0.98887 | -0.18354 | 0 | 0
61 | 0.98879 | -0.18285 | 0.1268 | 0.061411
62 | 0.9821 | -0.33796 | 0.079152 | 0.038335
63 | 0.9821 | -0.33794 | 0 | 0
64 | 0.98219 | -0.33821 | 0 | 0
65 | 0.98192 | -0.33659 | 0 | 0
66 | 0.98204 | -0.33918 | 0.31721 | 0.15363
67 | 0.98189 | -0.33684 | 0.15031 | 0.072801
68 | 0.98189 | -0.33683 | 0 | 0
69 | 0.98185 | -0.33655 | 0 | 0
70 | 0.98184 | -0.33649 | 0.10275 | 0.049765
71 | 0.98662 | -0.19886 | 0.092921 | 0.045003
72 | 0.98658 | -0.19854 | 0 | 0
73 | 0.98655 | -0.19871 | 0.20888 | 0.10117
74 | 0.98805 | -0.29345 | 0 | 0
75 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.40557 | -0.19643 | 0.40566 | 0.19611 | 9.5193e-05 | -0.00031631 | 0.013019 | 0.013014 | 0.013019 | 0.9992 | -0.0044846 | 0.99945 | -0.0029321 | 6.1995
1 | -0.40566 | -0.19611 | 0.40567 | 0.19581 | 2.8288e-06 | -0.00029762 | 0.013014 | 0.013011 | 0.013014 | 0.99945 | -0.0029321 | 0.99945 | -0.0029925 | 5.9156
2 | -0.76152 | -0.36816 | 0.76153 | 0.36773 | 1.454e-05 | -0.000431 | 0.024431 | 0.024425 | 0.024431 | 0.99945 | -0.0029925 | 0.99947 | -0.0031579 | 11.1049
3 | -0.76153 | -0.36773 | 0.76154 | 0.36744 | 9.7663e-06 | -0.00028961 | 0.024425 | 0.024422 | 0.024425 | 0.99947 | -0.0031579 | 0.99948 | -0.0032688 | 11.1024
4 | -1.1412 | -0.55133 | 1.1418 | 0.5514 | 0.00056028 | 7.0908e-05 | 0.036606 | 0.036603 | 0.036606 | 0.99948 | -0.0032688 | 1 | 0 | 17.4316
5 | 0.30189 | 0.11082 | -0.30186 | -0.11735 | 3.2391e-05 | -0.0065292 | 0.009331 | 0.009398 | 0.009398 | 0.99491 | -0.10105 | 0.99481 | -0.10061 | 4.2718
6 | 0.12676 | 0.060069 | -0.12672 | -0.061375 | 3.3284e-05 | -0.001306 | 0.00407 | 0.0040866 | 0.0040866 | 0.99491 | -0.10105 | 0.99463 | -0.10285 | 1.946
7 | -0.52119 | -0.21571 | 0.52167 | 0.21481 | 0.00048503 | -0.00089933 | 0.016366 | 0.016353 | 0.016366 | 0.99491 | -0.10105 | 0.9959 | -0.091324 | 7.7935
8 | 0.30186 | 0.11735 | -0.30176 | -0.13693 | 0.00010015 | -0.019585 | 0.009398 | 0.009619 | 0.009619 | 0.99481 | -0.10061 | 0.99449 | -0.098598 | 4.3723
9 | -0.52167 | -0.21481 | 0.52171 | 0.21252 | 3.4571e-05 | -0.0022866 | 0.016353 | 0.016328 | 0.016353 | 0.9959 | -0.091324 | 0.99597 | -0.091691 | 7.4332
10 | 0.30176 | 0.13693 | -0.30175 | -0.13928 | 1.2354e-05 | -0.0023511 | 0.009619 | 0.0096474 | 0.0096474 | 0.99449 | -0.098598 | 0.99445 | -0.098286 | 4.3852
11 | 0.075341 | 0.029631 | -0.07534 | -0.031865 | 7.0487e-07 | -0.002234 | 0.0023501 | 0.0023746 | 0.0023746 | 0.99445 | -0.098286 | 0.99444 | -0.098234 | 1.0794
12 | 0.07534 | 0.031865 | -0.0753 | -0.036469 | 4.0322e-05 | -0.0046044 | 0.0023746 | 0.0024301 | 0.0024301 | 0.99444 | -0.098234 | 0.99388 | -0.10263 | 1.1572
13 | -0.14947 | -0.072394 | 0.14948 | 0.072348 | 1.6384e-06 | -4.5887e-05 | 0.004816 | 0.0048154 | 0.004816 | 0.99551 | -0.11847 | 0.99552 | -0.11839 | 2.2934
14 | -3.4791 | -1.5019 | 3.48 | 1.4972 | 0.00092734 | -0.004737 | 0.10988 | 0.10982 | 0.10988 | 0.99552 | -0.11839 | 0.99581 | -0.11458 | 30.3545
15 | 3.3296 | 1.4295 | -3.3283 | -1.4367 | 0.0012713 | -0.0071711 | 0.10507 | 0.10517 | 0.10517 | 0.99552 | -0.11839 | 0.9951 | -0.12386 | 29.0512
16 | -3.48 | -1.4972 | 3.4833 | 1.5005 | 0.0032699 | 0.0033716 | 0.10982 | 0.10982 | 0.10982 | 0.99581 | -0.11458 | 0.99699 | -0.082202 | 31.3775
17 | 3.1531 | 1.3552 | -3.1517 | -1.3647 | 0.0014909 | -0.0094765 | 0.099563 | 0.099684 | 0.099684 | 0.9951 | -0.12386 | 0.99458 | -0.13061 | 27.5371
18 | 0.17518 | 0.081487 | -0.17517 | -0.08484 | 5.9933e-06 | -0.0033521 | 0.0056048 | 0.0056465 | 0.0056465 | 0.9951 | -0.12386 | 0.99506 | -0.12358 | 2.5666
19 | -4.3311 | -1.8701 | 4.3414 | 1.8812 | 0.010383 | 0.011117 | 0.13659 | 0.13659 | 0.13659 | 0.99699 | -0.082202 | 1 | 0 | 39.0271
20 | 0.65243 | 0.27493 | -0.6518 | -0.27553 | 0.0006228 | -0.0005954 | 0.0205 | 0.020511 | 0.020511 | 0.99699 | -0.082202 | 0.99597 | -0.091691 | 9.767
21 | 0.20569 | 0.08002 | -0.20565 | -0.098792 | 4.5009e-05 | -0.018772 | 0.0064061 | 0.0066233 | 0.0066233 | 0.99458 | -0.13061 | 0.99437 | -0.12915 | 3.0106
22 | 2.946 | 1.2847 | -2.9455 | -1.2882 | 0.00047531 | -0.0034898 | 0.093283 | 0.093328 | 0.093328 | 0.99458 | -0.13061 | 0.9944 | -0.13286 | 25.7811
23 | 2.8078 | 1.2215 | -2.8075 | -1.2233 | 0.00022918 | -0.0018699 | 0.088889 | 0.088912 | 0.088912 | 0.9944 | -0.13286 | 0.99431 | -0.134 | 24.5614
24 | 2.8075 | 1.2233 | -2.8046 | -1.247 | 0.0029124 | -0.023636 | 0.088912 | 0.089214 | 0.089214 | 0.99431 | -0.134 | 0.99317 | -0.14828 | 24.6447
25 | 0.32013 | 0.15412 | -0.32013 | -0.15504 | 5.6381e-06 | -0.00092987 | 0.010327 | 0.010339 | 0.010339 | 0.99317 | -0.14828 | 0.99315 | -0.14812 | 4.6995
26 | 0.30742 | 0.12884 | -0.30732 | -0.14806 | 0.00010485 | -0.019222 | 0.0096885 | 0.0099183 | 0.0099183 | 0.99317 | -0.14828 | 0.99285 | -0.14578 | 4.5083
27 | 2.1771 | 0.96402 | -2.1749 | -0.99324 | 0.0021157 | -0.029216 | 0.069205 | 0.069572 | 0.069572 | 0.99317 | -0.14828 | 0.9921 | -0.16111 | 19.2188
28 | 0.20565 | 0.098792 | -0.20565 | -0.099599 | 2.007e-06 | -0.00080719 | 0.0066233 | 0.0066335 | 0.0066335 | 0.99437 | -0.12915 | 0.99436 | -0.12907 | 3.0152
29 | 0.30732 | 0.14806 | -0.30731 | -0.14884 | 4.3633e-06 | -0.00077987 | 0.0099183 | 0.0099282 | 0.0099282 | 0.99285 | -0.14578 | 0.99284 | -0.14566 | 4.5128
30 | 0.36186 | 0.16901 | -0.36181 | -0.17523 | 4.8187e-05 | -0.0062245 | 0.011621 | 0.011699 | 0.011699 | 0.9921 | -0.16111 | 0.99198 | -0.16 | 5.3177
31 | 1.8131 | 0.82423 | -1.811 | -0.8227 | 0.0020606 | 0.0015315 | 0.057952 | 0.057962 | 0.057962 | 0.9921 | -0.16111 | 0.99068 | -0.19834 | 16.5604
32 | 1.5947 | 0.71792 | -1.5937 | -0.72438 | 0.0010027 | -0.0064651 | 0.050959 | 0.051041 | 0.051041 | 0.99068 | -0.19834 | 0.9901 | -0.19368 | 23.2003
33 | -3.513 | -1.6064 | 3.5131 | 1.6061 | 7.4473e-05 | -0.00036126 | 0.11218 | 0.11217 | 0.11218 | 0.99406 | -0.15321 | 0.99408 | -0.15294 | 30.9888
34 | 3.0982 | 1.4055 | -3.0973 | -1.4046 | 0.00093506 | 0.00093999 | 0.098798 | 0.098799 | 0.098799 | 0.99406 | -0.15321 | 0.99368 | -0.16311 | 28.2284
35 | -3.5131 | -1.6061 | 3.5297 | 1.6233 | 0.0166 | 0.017192 | 0.11217 | 0.11215 | 0.11217 | 0.99408 | -0.15294 | 1 | 0 | 32.0499
36 | 3.0973 | 1.4046 | -3.0942 | -1.4242 | 0.0030539 | -0.01964 | 0.098799 | 0.099064 | 0.099064 | 0.99368 | -0.16311 | 0.9926 | -0.17572 | 27.3656
37 | 3.0942 | 1.4242 | -3.0941 | -1.4252 | 0.00014954 | -0.0009575 | 0.099064 | 0.099077 | 0.099077 | 0.9926 | -0.17572 | 0.99255 | -0.17633 | 27.3692
38 | 2.8656 | 1.3145 | -2.8553 | -1.3044 | 0.010309 | 0.010145 | 0.091693 | 0.091713 | 0.091713 | 0.99255 | -0.17633 | 0.98805 | -0.29345 | 26.2038
39 | 0.33099 | 0.15804 | -0.33057 | -0.1601 | 0.00041202 | -0.0020667 | 0.010731 | 0.01076 | 0.01076 | 0.98671 | -0.28567 | 0.98541 | -0.2941 | 5.1239
40 | 0.33807 | 0.16205 | -0.33782 | -0.16328 | 0.00025756 | -0.0012319 | 0.010968 | 0.010986 | 0.010986 | 0.98671 | -0.28567 | 0.98592 | -0.29081 | 5.2314
41 | -0.86411 | -0.41456 | 0.86432 | 0.41451 | 0.00020856 | -4.2471e-05 | 0.02804 | 0.028037 | 0.02804 | 0.98671 | -0.28567 | 0.98696 | -0.28402 | 13.3522
42 | 0.33782 | 0.16328 | -0.33781 | -0.16361 | 2.3008e-06 | -0.00033059 | 0.010986 | 0.01099 | 0.01099 | 0.98592 | -0.29081 | 0.98591 | -0.29076 | 4.9956
43 | -0.86432 | -0.41451 | 0.86514 | 0.39647 | 0.00081782 | -0.018047 | 0.028037 | 0.02781 | 0.028037 | 0.98696 | -0.28402 | 0.98783 | -0.29168 | 12.7443
44 | -0.86514 | -0.39647 | 0.8652 | 0.39523 | 5.5281e-05 | -0.0012318 | 0.02781 | 0.027795 | 0.02781 | 0.98783 | -0.29168 | 0.98789 | -0.29216 | 12.6411
45 | -2.8548 | -1.3052 | 2.8553 | 1.3044 | 0.00048136 | -0.0008561 | 0.091726 | 0.091713 | 0.091726 | 0.98789 | -0.29216 | 0.98805 | -0.29345 | 41.6934
46 | 1.6461 | 0.74364 | -1.6411 | -0.74166 | 0.0050495 | 0.0019819 | 0.052783 | 0.052797 | 0.052797 | 0.98789 | -0.29216 | 0.98467 | -0.31768 | 25.1416
47 | 0.36739 | 0.17682 | -0.36738 | -0.17793 | 9.2171e-06 | -0.0011145 | 0.011953 | 0.011968 | 0.011968 | 0.98467 | -0.31768 | 0.98464 | -0.31746 | 5.4398
48 | 0.88583 | 0.37699 | -0.88576 | -0.37861 | 7.5804e-05 | -0.0016264 | 0.028224 | 0.028243 | 0.028243 | 0.98467 | -0.31768 | 0.98459 | -0.31714 | 12.8377
49 | 0.88576 | 0.37861 | -0.88379 | -0.37898 | 0.0019702 | -0.00036541 | 0.028243 | 0.028261 | 0.028261 | 0.98459 | -0.31714 | 0.98224 | -0.33851 | 13.4578
50 | 0.6496 | 0.26556 | -0.64957 | -0.26696 | 3.4926e-05 | -0.0014052 | 0.020625 | 0.020641 | 0.020641 | 0.98224 | -0.33851 | 0.98219 | -0.33821 | 9.3823
51 | -0.38862 | -0.18822 | 0.38863 | 0.18646 | 1.6231e-05 | -0.0017589 | 0.012652 | 0.012629 | 0.012652 | 0.98525 | -0.19081 | 0.98528 | -0.19117 | 5.7507
52 | -0.38863 | -0.18646 | 0.38868 | 0.18116 | 4.8537e-05 | -0.0052979 | 0.012629 | 0.012563 | 0.012629 | 0.98528 | -0.19117 | 0.9854 | -0.1922 | 5.7405
53 | -1.0461 | -0.49011 | 1.0462 | 0.48965 | 3.0742e-05 | -0.00045759 | 0.033834 | 0.033829 | 0.033834 | 0.98567 | -0.19078 | 0.9857 | -0.19102 | 15.3793
54 | 0.32177 | 0.14793 | -0.32173 | -0.15394 | 3.7555e-05 | -0.0060109 | 0.010372 | 0.010447 | 0.010447 | 0.98567 | -0.19078 | 0.98556 | -0.18984 | 4.7485
55 | 0.72438 | 0.34219 | -0.72421 | -0.34228 | 0.00016751 | -9.3089e-05 | 0.023463 | 0.023465 | 0.023465 | 0.98567 | -0.19078 | 0.98543 | -0.19245 | 11.174
56 | -1.1586 | -0.54413 | 1.1589 | 0.54158 | 0.00021032 | -0.0025409 | 0.037488 | 0.037456 | 0.037488 | 0.9857 | -0.19102 | 0.98586 | -0.19249 | 17.04
57 | 0.32173 | 0.15394 | -0.32172 | -0.15582 | 1.1848e-05 | -0.0018781 | 0.010447 | 0.010471 | 0.010471 | 0.98556 | -0.18984 | 0.98553 | -0.18952 | 4.7594
58 | 0.38869 | 0.17978 | -0.38868 | -0.18116 | 1.2533e-05 | -0.0013773 | 0.012546 | 0.012563 | 0.012563 | 0.98543 | -0.19245 | 0.9854 | -0.1922 | 5.7103
59 | -1.1589 | -0.54158 | 1.1595 | 0.53363 | 0.00065534 | -0.0079516 | 0.037456 | 0.037355 | 0.037456 | 0.98586 | -0.19249 | 0.98639 | -0.19694 | 17.0253
60 | -1.1595 | -0.53363 | 1.1598 | 0.53069 | 0.00024171 | -0.002946 | 0.037355 | 0.037319 | 0.037355 | 0.98639 | -0.19694 | 0.98658 | -0.19854 | 16.9797
61 | 1.5937 | 0.72438 | -1.5916 | -0.73784 | 0.0021009 | -0.013451 | 0.051041 | 0.051212 | 0.051212 | 0.9901 | -0.19368 | 0.98887 | -0.18354 | 23.2781
62 | 1.5916 | 0.73784 | -1.5914 | -0.73871 | 0.00013806 | -0.00087942 | 0.051212 | 0.051223 | 0.051223 | 0.98887 | -0.18354 | 0.98879 | -0.18285 | 23.2833
63 | 1.4646 | 0.6773 | -1.4616 | -0.6763 | 0.00303 | 0.0010057 | 0.047111 | 0.047122 | 0.047122 | 0.98879 | -0.18285 | 0.98662 | -0.19886 | 22.4388
64 | -0.079152 | -0.038335 | 0.079152 | 0.038313 | 2.2518e-07 | -2.1638e-05 | 0.0025851 | 0.0025848 | 0.0025851 | 0.9821 | -0.33796 | 0.9821 | -0.33794 | 1.231
65 | -0.079152 | -0.038313 | 0.079159 | 0.018146 | 7.1331e-06 | -0.020167 | 0.0025848 | 0.0023869 | 0.0025848 | 0.9821 | -0.33794 | 0.98219 | -0.33821 | 1.1749
66 | 0.25315 | 0.095435 | -0.25308 | -0.11436 | 7.1244e-05 | -0.018923 | 0.0079515 | 0.0081646 | 0.0081646 | 0.98219 | -0.33821 | 0.98192 | -0.33659 | 3.7112
67 | 0.31726 | 0.15338 | -0.31721 | -0.15363 | 4.6466e-05 | -0.00025075 | 0.010357 | 0.010361 | 0.010361 | 0.98219 | -0.33821 | 0.98204 | -0.33918 | 4.9337
68 | 0.25308 | 0.11436 | -0.25307 | -0.11443 | 7.5863e-06 | -6.8759e-05 | 0.0081646 | 0.0081655 | 0.0081655 | 0.98192 | -0.33659 | 0.98189 | -0.33684 | 3.8883
69 | 0.10276 | 0.041626 | -0.10276 | -0.041991 | 2.2509e-07 | -0.00036479 | 0.0032595 | 0.0032636 | 0.0032636 | 0.98189 | -0.33684 | 0.98189 | -0.33683 | 1.4834
70 | 0.10276 | 0.041991 | -0.10275 | -0.048507 | 4.1188e-06 | -0.0065162 | 0.0032636 | 0.0033408 | 0.0033408 | 0.98189 | -0.33683 | 0.98185 | -0.33655 | 1.5185
71 | 0.10275 | 0.048507 | -0.10275 | -0.049765 | 8.1825e-07 | -0.0012578 | 0.0033408 | 0.0033567 | 0.0033567 | 0.98185 | -0.33655 | 0.98184 | -0.33649 | 1.5258
72 | 1.3687 | 0.63129 | -1.3686 | -0.63178 | 5.6244e-05 | -0.00048667 | 0.044101 | 0.044107 | 0.044107 | 0.98662 | -0.19886 | 0.98658 | -0.19854 | 20.0488
73 | 0.20889 | 0.10109 | -0.20888 | -0.10117 | 5.2597e-06 | -7.1091e-05 | 0.0067902 | 0.0067912 | 0.0067912 | 0.98658 | -0.19854 | 0.98655 | -0.19871 | 3.2339

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.4216 | 4.2575

## res_load
| p_mw | q_mvar
0 | 0.40557 | 0.19643
1 | 0.35585 | 0.17235
2 | 0.37968 | 0.18389
3 | 0.092541 | 0.04482
4 | 0.12672 | 0.061375
5 | 0.22641 | 0.10965
6 | 0.0753 | 0.036469
7 | 0.14947 | 0.072394
8 | 0.19536 | 0.094618
9 | 0.17517 | 0.08484
10 | 0.13772 | 0.066702
11 | 0.30731 | 0.14884
12 | 0.36181 | 0.17523
13 | 0.21635 | 0.10478
14 | 0.32013 | 0.15504
15 | 0.20565 | 0.099599
16 | 0.41483 | 0.20091
17 | 0.39468 | 0.19115
18 | 0.22851 | 0.11067
19 | 0.13009 | 0.063007
20 | 0.19505 | 0.094469
21 | 0.33057 | 0.1601
22 | 0.34343 | 0.16633
23 | 0.38788 | 0.18786
24 | 0.36738 | 0.17793
25 | 0.23418 | 0.11342
26 | 0.33781 | 0.16361
27 | 0.38862 | 0.18822
28 | 0.11247 | 0.054471
29 | 0.33551 | 0.1625
30 | 0.32172 | 0.15582
31 | 0.1268 | 0.061411
32 | 0.079152 | 0.038335
33 | 0.31721 | 0.15363
34 | 0.15031 | 0.072801
35 | 0.10275 | 0.049765
36 | 0.092921 | 0.045003
37 | 0.20888 | 0.10117

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1