## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_91_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_91_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_91_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_91_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_91_0_node_24 | 20 | n |  | TRUE
5 | bus_MV_91_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_91_0_node_60 | 20 | n |  | TRUE
7 | bus_MV_91_0_node_23 | 20 | n |  | TRUE
8 | bus_MV_91_0_node_63 | 20 | n |  | TRUE
9 | bus_MV_91_0_node_64 | 20 | n |  | TRUE
10 | bus_MV_91_0_node_13 | 20 | n |  | TRUE
11 | bus_MV_91_0_node_21 | 20 | n |  | TRUE
12 | bus_MV_91_0_node_5 | 20 | n |  | TRUE
13 | bus_MV_91_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_91_0_node_139 | 20 | n |  | TRUE
15 | bus_MV_91_0_node_7 | 20 | n |  | TRUE
16 | bus_MV_91_0_node_38 | 20 | n |  | TRUE
17 | bus_MV_91_0_node_39 | 20 | n |  | TRUE
18 | bus_MV_91_0_node_40 | 20 | n |  | TRUE
19 | bus_MV_91_0_node_41 | 20 | n |  | TRUE
20 | bus_MV_91_0_node_42 | 20 | n |  | TRUE
21 | bus_MV_91_0_node_58 | 20 | n |  | TRUE
22 | bus_MV_91_0_node_17 | 20 | n |  | TRUE
23 | bus_MV_91_0_node_53 | 20 | n |  | TRUE
24 | bus_MV_91_0_node_57 | 20 | n |  | TRUE
25 | bus_MV_91_0_node_52 | 20 | n |  | TRUE
26 | bus_MV_91_0_node_8 | 20 | n |  | TRUE
27 | bus_MV_91_0_node_9 | 20 | n |  | TRUE
28 | bus_MV_91_0_node_76 | 20 | n |  | TRUE
29 | bus_MV_91_0_node_32 | 20 | n |  | TRUE
30 | bus_MV_91_0_node_33 | 20 | n |  | TRUE
31 | bus_MV_91_0_node_31 | 20 | n |  | TRUE
32 | bus_MV_91_0_node_78 | 20 | n |  | TRUE
33 | bus_MV_91_0_node_80 | 20 | n |  | TRUE
34 | bus_MV_91_0_node_10 | 20 | n |  | TRUE
35 | bus_MV_91_0_node_11 | 20 | n |  | TRUE
36 | bus_MV_91_0_node_12 | 20 | n |  | TRUE
37 | bus_MV_91_0_node_161 | 20 | n |  | TRUE
38 | bus_MV_91_0_node_85 | 20 | n |  | TRUE
39 | bus_MV_91_0_node_14 | 20 | n |  | TRUE
40 | bus_MV_91_0_node_16 | 20 | n |  | TRUE
41 | bus_MV_91_0_node_18 | 20 | n |  | TRUE
42 | bus_MV_91_0_node_51 | 20 | n |  | TRUE
43 | bus_MV_91_0_node_144 | 20 | n |  | TRUE
44 | bus_MV_91_0_node_81 | 20 | n |  | TRUE
45 | bus_MV_91_0_node_19 | 20 | n |  | TRUE
46 | bus_MV_91_0_node_22 | 20 | n |  | TRUE
47 | bus_MV_91_0_node_20 | 20 | n |  | TRUE
48 | bus_MV_91_0_node_28 | 20 | n |  | TRUE
49 | bus_MV_91_0_node_29 | 20 | n |  | TRUE
50 | bus_MV_91_0_node_59 | 20 | n |  | TRUE
51 | bus_MV_91_0_node_25 | 20 | n |  | TRUE
52 | bus_MV_91_0_node_26 | 20 | n |  | TRUE
53 | bus_MV_91_0_node_27 | 20 | n |  | TRUE
54 | bus_MV_91_0_node_84 | 20 | n |  | TRUE
55 | bus_MV_91_0_node_30 | 20 | n |  | TRUE
56 | bus_MV_91_0_node_49 | 20 | n |  | TRUE
57 | bus_MV_91_0_node_77 | 20 | n |  | TRUE
58 | bus_MV_91_0_node_48 | 20 | n |  | TRUE
59 | bus_MV_91_0_node_34 | 20 | n |  | TRUE
60 | bus_MV_91_0_node_68 | 20 | n |  | TRUE
61 | bus_MV_91_0_node_69 | 20 | n |  | TRUE
62 | bus_MV_91_0_node_67 | 20 | n |  | TRUE
63 | bus_MV_91_0_node_35 | 20 | n |  | TRUE
64 | bus_MV_91_0_node_36 | 20 | n |  | TRUE
65 | bus_MV_91_0_node_37 | 20 | n |  | TRUE
66 | bus_MV_91_0_node_73 | 20 | n |  | TRUE
67 | bus_MV_91_0_node_45 | 20 | n |  | TRUE
68 | bus_MV_91_0_node_86 | 20 | n |  | TRUE
69 | bus_MV_91_0_node_71 | 20 | n |  | TRUE
70 | bus_MV_91_0_node_43 | 20 | n |  | TRUE
71 | bus_MV_91_0_node_44 | 20 | n |  | TRUE
72 | bus_MV_91_0_node_74 | 20 | n |  | TRUE
73 | bus_MV_91_0_node_46 | 20 | n |  | TRUE
74 | bus_MV_91_0_node_47 | 20 | n |  | TRUE
75 | bus_MV_91_0_node_79 | 20 | n |  | TRUE
76 | bus_MV_91_0_node_55 | 20 | n |  | TRUE
77 | bus_MV_91_0_node_50 | 20 | n |  | TRUE
78 | bus_MV_91_0_node_56 | 20 | n |  | TRUE
79 | bus_MV_91_0_node_54 | 20 | n |  | TRUE
80 | bus_MV_91_0_node_142 | 20 | n |  | TRUE
81 | bus_MV_91_0_node_66 | 20 | n |  | TRUE
82 | bus_MV_91_0_node_70 | 20 | n |  | TRUE
83 | bus_MV_91_0_node_61 | 20 | n |  | TRUE
84 | bus_MV_91_0_node_62 | 20 | n |  | TRUE
85 | bus_MV_91_0_node_143 | 20 | n |  | TRUE
86 | bus_MV_91_0_node_141 | 20 | n |  | TRUE
87 | bus_MV_91_0_node_167 | 20 | n |  | TRUE
88 | bus_MV_91_0_node_140 | 20 | n |  | TRUE
89 | bus_MV_91_0_node_65 | 20 | n |  | TRUE
90 | bus_MV_91_0_node_166 | 20 | n |  | TRUE
91 | bus_MV_91_0_node_82 | 20 | n |  | TRUE
92 | bus_MV_91_0_node_72 | 20 | n |  | TRUE
93 | bus_MV_91_0_node_162 | 20 | n |  | TRUE
94 | bus_HV_91_0_node_50 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_91_0_load_0 | 0 | 0.14552 | 0.07048 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_91_0_load_3 | 3 | 0.10269 | 0.049736 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_91_0_load_60 | 6 | 0.14835 | 0.071849 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_91_0_load_63 | 8 | 0.12214 | 0.059157 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_91_0_load_21 | 11 | 0.12626 | 0.06115 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_91_0_load_5 | 12 | 0.15751 | 0.076286 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_91_0_load_139 | 14 | 0.12779 | 0.061893 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_91_0_load_38 | 16 | 0.12399 | 0.060052 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_91_0_load_40 | 18 | 0.091838 | 0.044479 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_91_0_load_41 | 19 | 0.080228 | 0.038856 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_91_0_load_42 | 20 | 0.16315 | 0.079017 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_91_0_load_57 | 24 | 0.11842 | 0.057355 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_91_0_load_52 | 25 | 0.15058 | 0.07293 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_91_0_load_8 | 26 | 0.1492 | 0.072262 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_91_0_load_76 | 28 | 0.072883 | 0.035299 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_91_0_load_33 | 30 | 0.16297 | 0.078931 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_91_0_load_31 | 31 | 0.13133 | 0.063607 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_91_0_load_78 | 32 | 0.16418 | 0.079518 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_91_0_load_80 | 33 | 0.094875 | 0.04595 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_91_0_load_10 | 34 | 0.097902 | 0.047416 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_91_0_load_161 | 37 | 0.10984 | 0.053196 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_91_0_load_14 | 39 | 0.059692 | 0.02891 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_91_0_load_51 | 42 | 0.13619 | 0.065958 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_91_0_load_144 | 43 | 0.12287 | 0.059508 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_91_0_load_81 | 44 | 0.1455 | 0.07047 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_91_0_load_19 | 45 | 0.089761 | 0.043473 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_91_0_load_20 | 47 | 0.11042 | 0.053477 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_91_0_load_59 | 50 | 0.15486 | 0.075004 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_91_0_load_25 | 51 | 0.10941 | 0.052991 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_91_0_load_84 | 54 | 0.15956 | 0.077277 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_91_0_load_30 | 55 | 0.15762 | 0.076337 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_91_0_load_77 | 57 | 0.154 | 0.074584 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_91_0_load_48 | 58 | 0.15863 | 0.076829 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_91_0_load_34 | 59 | 0.15587 | 0.075492 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_91_0_load_69 | 61 | 0.10971 | 0.053133 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_91_0_load_67 | 62 | 0.10078 | 0.048812 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_91_0_load_35 | 63 | 0.16404 | 0.079448 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_91_0_load_73 | 66 | 0.10523 | 0.050963 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_91_0_load_86 | 68 | 0.082924 | 0.040162 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_91_0_load_71 | 69 | 0.119 | 0.057636 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_91_0_load_74 | 72 | 0.078114 | 0.037833 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_91_0_load_46 | 73 | 0.11661 | 0.056475 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_91_0_load_79 | 75 | 0.16071 | 0.077836 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_91_0_load_55 | 76 | 0.12358 | 0.059852 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_91_0_load_50 | 77 | 0.073062 | 0.035386 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_91_0_load_54 | 79 | 0.1045 | 0.050612 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_91_0_load_61 | 83 | 0.16057 | 0.077768 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_91_0_load_143 | 85 | 0.15202 | 0.073627 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_91_0_load_167 | 87 | 0.070841 | 0.03431 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_91_0_load_140 | 88 | 0.071812 | 0.03478 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_91_0_load_166 | 90 | 0.12859 | 0.062279 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_91_0_load_82 | 91 | 0.15768 | 0.076369 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_91_0_load_162 | 93 | 0.065145 | 0.031551 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_91_0_line_0 |  | 0 | 1 | 0.02041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_91_0_line_1 |  | 0 | 2 | 0.056211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_91_0_line_2 |  | 1 | 3 | 0.067819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_91_0_line_3 |  | 1 | 4 | 0.16593 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_91_0_line_4 |  | 2 | 5 | 0.11797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_91_0_line_5 |  | 3 | 7 | 0.12388 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_91_0_line_6 |  | 4 | 6 | 0.071138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_91_0_line_7 |  | 5 | 8 | 0.057242 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_91_0_line_8 |  | 6 | 50 | 0.13963 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_91_0_line_9 |  | 7 | 11 | 0.10322 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_91_0_line_10 |  | 8 | 9 | 0.054896 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_91_0_line_11 |  | 8 | 10 | 0.064616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_91_0_line_12 |  | 9 | 89 | 0.069636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_91_0_line_13 |  | 10 | 35 | 0.14593 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_91_0_line_14 |  | 11 | 46 | 0.081604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_91_0_line_15 |  | 12 | 13 | 0.064721 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_91_0_line_16 |  | 12 | 14 | 0.90942 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_91_0_line_17 |  | 13 | 15 | 0.13406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_91_0_line_18 |  | 13 | 16 | 0.22542 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_91_0_line_19 |  | 14 | 20 | 1.2107 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_91_0_line_20 |  | 14 | 21 | 0.066572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_91_0_line_21 |  | 15 | 19 | 0.031461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_91_0_line_22 |  | 16 | 22 | 0.074389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_91_0_line_23 |  | 17 | 18 | 0.079019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_91_0_line_24 |  | 17 | 19 | 0.076738 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_91_0_line_25 |  | 18 | 68 | 0.15389 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_91_0_line_26 |  | 20 | 70 | 0.006124 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_91_0_line_27 |  | 21 | 80 | 0.52888 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_91_0_line_28 |  | 22 | 43 | 1.0648 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_91_0_line_29 |  | 23 | 24 | 0.046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_91_0_line_30 |  | 23 | 25 | 0.023743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_91_0_line_31 |  | 25 | 78 | 0.17162 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_91_0_line_32 |  | 26 | 27 | 0.007769 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_91_0_line_33 |  | 27 | 28 | 0.073256 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_91_0_line_34 |  | 28 | 32 | 0.10822 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_91_0_line_35 |  | 28 | 33 | 0.10148 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_91_0_line_36 |  | 29 | 30 | 0.076505 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
37 | MV_91_0_line_37 |  | 29 | 31 | 0.040921 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_91_0_line_38 |  | 30 | 42 | 0.10098 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
39 | MV_91_0_line_39 |  | 31 | 55 | 0.051678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_91_0_line_40 |  | 32 | 57 | 0.04396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_91_0_line_41 |  | 33 | 41 | 0.085472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_91_0_line_42 |  | 34 | 35 | 0.10396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_91_0_line_43 |  | 35 | 36 | 0.038694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_91_0_line_44 |  | 36 | 37 | 0.052754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_91_0_line_45 |  | 37 | 38 | 0.046717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_91_0_line_46 |  | 38 | 53 | 0.13279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_91_0_line_47 |  | 39 | 40 | 0.16059 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_91_0_line_48 |  | 40 | 41 | 0.18603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_91_0_line_49 |  | 41 | 44 | 0.040891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_91_0_line_50 |  | 42 | 56 | 0.011832 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
51 | MV_91_0_line_51 |  | 45 | 46 | 0.16156 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_91_0_line_52 |  | 46 | 47 | 0.066934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_91_0_line_53 |  | 47 | 48 | 0.020181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_91_0_line_54 |  | 48 | 49 | 0.079681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_91_0_line_55 |  | 49 | 55 | 0.01262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_91_0_line_56 |  | 50 | 84 | 0.14436 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_91_0_line_57 |  | 50 | 87 | 0.15671 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_91_0_line_58 |  | 51 | 52 | 0.11047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_91_0_line_59 |  | 52 | 53 | 0.066045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_91_0_line_60 |  | 53 | 54 | 0.073383 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_91_0_line_61 |  | 56 | 57 | 0.083359 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_91_0_line_62 |  | 56 | 58 | 0.078246 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
63 | MV_91_0_line_63 |  | 58 | 77 | 0.080461 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
64 | MV_91_0_line_64 |  | 58 | 74 | 0.063591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_91_0_line_65 |  | 58 | 75 | 0.15746 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_91_0_line_66 |  | 59 | 60 | 0.040266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_91_0_line_67 |  | 60 | 61 | 0.041397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_91_0_line_68 |  | 60 | 62 | 0.05677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_91_0_line_69 |  | 61 | 82 | 0.019838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_91_0_line_70 |  | 63 | 64 | 0.028597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_91_0_line_71 |  | 64 | 65 | 0.07445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_91_0_line_72 |  | 65 | 66 | 0.031792 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_91_0_line_73 |  | 66 | 67 | 0.054594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_91_0_line_74 |  | 67 | 70 | 0.042017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_91_0_line_75 |  | 68 | 69 | 0.53787 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_91_0_line_76 |  | 69 | 92 | 0.008161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_91_0_line_77 |  | 70 | 71 | 0.05233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_91_0_line_78 |  | 71 | 72 | 0.047464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_91_0_line_79 |  | 73 | 74 | 0.058953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_91_0_line_80 |  | 75 | 76 | 0.08367 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_91_0_line_81 |  | 76 | 81 | 0.093358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_91_0_line_82 |  | 76 | 79 | 0.004148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_91_0_line_83 |  | 78 | 79 | 0.086736 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_91_0_line_84 |  | 80 | 85 | 0.022484 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_91_0_line_85 |  | 80 | 86 | 0.024526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_91_0_line_86 |  | 81 | 82 | 0.01627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_91_0_line_87 |  | 83 | 84 | 0.025941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_91_0_line_88 |  | 86 | 88 | 0.042657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_91_0_line_89 |  | 87 | 88 | 0.08883 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_91_0_line_90 |  | 89 | 90 | 0.15101 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_91_0_line_91 |  | 90 | 91 | 0.43282 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_91_0_line_92 |  | 92 | 93 | 2.0187 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_91_0_trafo_50 | 25 MVA 110/20 kV | 94 | 77 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2583258.1775 | 1117216.7578
1 | 2583260.3218 | 1117196.8198
2 | 2583218.4927 | 1117256.4433
3 | 2583249.7335 | 1117130.6165
4 | 2583394.7763 | 1117099.5888
5 | 2583107.5281 | 1117259.1546
6 | 2583455.7117 | 1117062.5918
7 | 2583241.1157 | 1117007.0349
8 | 2583052.7915 | 1117275.9054
9 | 2583035.6419 | 1117328.0572
10 | 2582988.5733 | 1117283.0565
11 | 2583230.9885 | 1116909.7928
12 | 2584264.0501 | 1115895.9509
13 | 2584207.8568 | 1115863.5596
14 | 2584283.9632 | 1116805.1562
15 | 2584288.1431 | 1115756.4635
16 | 2584225.8505 | 1115638.8569
17 | 2584359.3192 | 1115674.9381
18 | 2584433.6869 | 1115650.6113
19 | 2584308.3686 | 1115732.3211
20 | 2584418.5066 | 1115601.9599
21 | 2584265.3375 | 1116867.5831
22 | 2584154.0315 | 1115619.2912
23 | 2583796.7847 | 1116710.6136
24 | 2583826.7121 | 1116745.6061
25 | 2583774.093 | 1116717.0223
26 | 2583230.7307 | 1116545.3578
27 | 2583238.0022 | 1116548.1501
28 | 2583297.1264 | 1116504.8979
29 | 2583375.7438 | 1116646.7841
30 | 2583425.1879 | 1116589.3529
31 | 2583349.8107 | 1116678.4936
32 | 2583401.1834 | 1116475.1757
33 | 2583237.8843 | 1116422.5105
34 | 2582853.5675 | 1117171.9841
35 | 2582843.9266 | 1117269.304
36 | 2582806.1248 | 1117278.0605
37 | 2582824.6702 | 1117326.3204
38 | 2582833.8761 | 1117369.0486
39 | 2583276.582 | 1116080.7563
40 | 2583169.2951 | 1116194.6111
41 | 2583266.2764 | 1116342.1475
42 | 2583506.3281 | 1116529.2451
43 | 2583666.0667 | 1114672.8494
44 | 2583290.7175 | 1116309.319
45 | 2583030.6797 | 1116843.1648
46 | 2583192.1731 | 1116838.4434
47 | 2583220.8693 | 1116779.4788
48 | 2583235.4731 | 1116765.5424
49 | 2583296.6968 | 1116714.714
50 | 2583577.3993 | 1116994.1141
51 | 2582883.3229 | 1117650.6249
52 | 2582857.4494 | 1117557.0522
53 | 2582830.7911 | 1117497.1207
54 | 2582903.8364 | 1117490.0874
55 | 2583306.9359 | 1116707.3371
56 | 2583504.513 | 1116517.5554
57 | 2583442.7989 | 1116461.5191
58 | 2583567.8608 | 1116479.597
59 | 2583406.252 | 1116745.9046
60 | 2583428.5966 | 1116779.0706
61 | 2583464.9362 | 1116759.1832
62 | 2583379.5725 | 1116807.2414
63 | 2584470.2104 | 1115442.5845
64 | 2584447.4725 | 1115425.2421
65 | 2584399.8073 | 1115482.4269
66 | 2584379.4888 | 1115506.9027
67 | 2584400.3025 | 1115557.3849
68 | 2584534.7416 | 1115766.6752
69 | 2585072.5578 | 1115774.5342
70 | 2584416.3147 | 1115596.2405
71 | 2584462.9296 | 1115572.1971
72 | 2584500.2222 | 1115543.4869
73 | 2583624.042 | 1116372.0465
74 | 2583595.7057 | 1116423.5823
75 | 2583547.789 | 1116635.7721
76 | 2583585.1405 | 1116710.6418
77 | 2583643.6899 | 1116506.504
78 | 2583620.5956 | 1116793.7865
79 | 2583588.0201 | 1116713.6355
80 | 2583793.8454 | 1117107.1952
81 | 2583498.3283 | 1116745.2515
82 | 2583483.2006 | 1116751.3515
83 | 2583724.2878 | 1116924.5258
84 | 2583714.2403 | 1116948.1312
85 | 2583775.933 | 1117093.5811
86 | 2583775.1791 | 1117123.1645
87 | 2583648.1718 | 1117133.9352
88 | 2583737.0022 | 1117133.906
89 | 2583014.4265 | 1117394.383
90 | 2583149.7258 | 1117461.4476
91 | 2583475.8629 | 1117745.994
92 | 2585078.6586 | 1115769.0941
93 | 2586020.5794 | 1113983.6086
94 | 2583643.6899 | 1116506.504

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99547 | -0.02221 | 0.14552 | 0.07048
1 | 0.9955 | -0.02243 | 0 | 0
2 | 0.99541 | -0.021701 | 0 | 0
3 | 0.99578 | -0.024862 | 0.10269 | 0.049736
4 | 0.99478 | -0.027422 | 0 | 0
5 | 0.99527 | -0.020616 | 0 | 0
6 | 0.99457 | -0.025625 | 0.14835 | 0.071849
7 | 0.99659 | -0.01913 | 0 | 0
8 | 0.99518 | -0.021341 | 0.12214 | 0.059157
9 | 0.99516 | -0.021162 | 0 | 0
10 | 0.99514 | -0.021041 | 0 | 0
11 | 0.99703 | -0.022942 | 0.12626 | 0.06115
12 | 0.9899 | -0.054526 | 0.15751 | 0.076286
13 | 0.98984 | -0.054039 | 0 | 0
14 | 0.99139 | -0.043938 | 0.12779 | 0.061893
15 | 0.98977 | -0.053386 | 0 | 0
16 | 0.98973 | -0.054787 | 0.12399 | 0.060052
17 | 0.9897 | -0.053604 | 0 | 0
18 | 0.98966 | -0.05328 | 0.091838 | 0.044479
19 | 0.98975 | -0.053229 | 0.080228 | 0.038856
20 | 0.99019 | -0.05245 | 0.16315 | 0.079017
21 | 0.99151 | -0.045033 | 0 | 0
22 | 0.98972 | -0.054685 | 0 | 0
23 | 0.99891 | -0.02063 | 0 | 0
24 | 0.9989 | -0.020566 | 0.11842 | 0.057355
25 | 0.99891 | -0.020662 | 0.15058 | 0.07293
26 | 0.99896 | -0.021254 | 0.1492 | 0.072262
27 | 0.99896 | -0.021268 | 0 | 0
28 | 0.99898 | -0.021134 | 0.072883 | 0.035299
29 | 0.99858 | -0.034418 | 0 | 0
30 | 0.99874 | -0.03257 | 0.16297 | 0.078931
31 | 0.99849 | -0.035405 | 0.13133 | 0.063607
32 | 0.99909 | -0.020342 | 0.16418 | 0.079518
33 | 0.99893 | -0.021601 | 0.094875 | 0.04595
34 | 0.99504 | -0.020225 | 0.097902 | 0.047416
35 | 0.99505 | -0.02034 | 0 | 0
36 | 0.99503 | -0.020188 | 0 | 0
37 | 0.99501 | -0.019978 | 0.10984 | 0.053196
38 | 0.99499 | -0.01985 | 0 | 0
39 | 0.99888 | -0.02129 | 0.059692 | 0.02891
40 | 0.99889 | -0.021385 | 0 | 0
41 | 0.9989 | -0.021447 | 0 | 0
42 | 0.99924 | -0.020035 | 0.13619 | 0.065958
43 | 0.98947 | -0.056357 | 0.12287 | 0.059508
44 | 0.9989 | -0.021377 | 0.1455 | 0.07047
45 | 0.99737 | -0.026243 | 0.089761 | 0.043473
46 | 0.9974 | -0.026065 | 0 | 0
47 | 0.9977 | -0.02869 | 0.11042 | 0.053477
48 | 0.9978 | -0.029506 | 0 | 0
49 | 0.99817 | -0.032722 | 0 | 0
50 | 0.99401 | -0.029555 | 0.15486 | 0.075004
51 | 0.99492 | -0.019258 | 0.10941 | 0.052991
52 | 0.99494 | -0.019395 | 0 | 0
53 | 0.99494 | -0.019468 | 0 | 0
54 | 0.99492 | -0.019611 | 0.15956 | 0.077277
55 | 0.99823 | -0.03323 | 0.15762 | 0.076337
56 | 0.99926 | -0.01973 | 0 | 0
57 | 0.99913 | -0.020669 | 0.154 | 0.074584
58 | 0.99948 | -0.017315 | 0.15863 | 0.076829
59 | 0.99895 | -0.019635 | 0.15587 | 0.075492
60 | 0.99896 | -0.019709 | 0 | 0
61 | 0.99897 | -0.019829 | 0.10971 | 0.053133
62 | 0.99895 | -0.019643 | 0.10078 | 0.048812
63 | 0.99012 | -0.051881 | 0.16404 | 0.079448
64 | 0.99013 | -0.051937 | 0 | 0
65 | 0.99015 | -0.052079 | 0 | 0
66 | 0.99015 | -0.052137 | 0.10523 | 0.050963
67 | 0.99017 | -0.052303 | 0 | 0
68 | 0.98958 | -0.05383 | 0.082924 | 0.040162
69 | 0.98939 | -0.055187 | 0.119 | 0.057636
70 | 0.99019 | -0.052427 | 0 | 0
71 | 0.99018 | -0.052383 | 0 | 0
72 | 0.99018 | -0.05234 | 0.078114 | 0.037833
73 | 0.99946 | -0.017155 | 0.11661 | 0.056475
74 | 0.99947 | -0.017235 | 0 | 0
75 | 0.99917 | -0.019409 | 0.16071 | 0.077836
76 | 0.99903 | -0.020358 | 0.12358 | 0.059852
77 | 1 | 0 | -6.4693 | -3.0368
78 | 0.999 | -0.020077 | 0 | 0
79 | 0.99903 | -0.02034 | 0.1045 | 0.050612
80 | 0.99303 | -0.034213 | 0 | 0
81 | 0.99899 | -0.019979 | 0 | 0
82 | 0.99898 | -0.019912 | 0 | 0
83 | 0.99396 | -0.029798 | 0.16057 | 0.077768
84 | 0.99396 | -0.029847 | 0 | 0
85 | 0.99303 | -0.034172 | 0.15202 | 0.073627
86 | 0.99308 | -0.034658 | 0 | 0
87 | 0.99347 | -0.033353 | 0.070841 | 0.03431
88 | 0.99317 | -0.03543 | 0.071812 | 0.03478
89 | 0.99513 | -0.020927 | 0 | 0
90 | 0.99505 | -0.021463 | 0.12859 | 0.062279
91 | 0.99491 | -0.022305 | 0.15768 | 0.076369
92 | 0.98939 | -0.055181 | 0 | 0
93 | 0.98913 | -0.057012 | 0.065145 | 0.031551
94 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -1.0311 | -0.47341 | 1.0311 | 0.47294 | 2.949e-05 | -0.00047417 | 0.032901 | 0.032895 | 0.032901 | 0.99547 | -0.02221 | 0.9955 | -0.02243 | 14.9551
1 | 0.88555 | 0.40293 | -0.88549 | -0.40425 | 5.9767e-05 | -0.0013122 | 0.028213 | 0.028229 | 0.028229 | 0.99547 | -0.02221 | 0.99541 | -0.021701 | 12.8315
2 | -3.2806 | -1.5316 | 3.2816 | 1.5303 | 0.00099777 | -0.0013092 | 0.10499 | 0.10497 | 0.10499 | 0.9955 | -0.02243 | 0.99578 | -0.024862 | 47.7219
3 | 2.2495 | 1.0587 | -2.2479 | -1.0579 | 0.0015366 | 0.00076632 | 0.072094 | 0.072096 | 0.072096 | 0.9955 | -0.02243 | 0.99478 | -0.027422 | 34.3316
4 | 0.88549 | 0.40425 | -0.88537 | -0.407 | 0.00012566 | -0.0027533 | 0.028229 | 0.028263 | 0.028263 | 0.99541 | -0.021701 | 0.99527 | -0.020616 | 12.8469
5 | -3.3843 | -1.5801 | 3.3869 | 1.5815 | 0.0025876 | 0.001474 | 0.10828 | 0.10827 | 0.10828 | 0.99578 | -0.024862 | 0.99659 | -0.01913 | 51.5599
6 | 2.2479 | 1.0579 | -2.2474 | -1.0595 | 0.00049378 | -0.001534 | 0.072096 | 0.072117 | 0.072117 | 0.99478 | -0.027422 | 0.99457 | -0.025625 | 32.7805
7 | 0.88537 | 0.407 | -0.88529 | -0.40702 | 8.1471e-05 | -1.6654e-05 | 0.028263 | 0.028264 | 0.028264 | 0.99527 | -0.020616 | 0.99518 | -0.021341 | 13.459
8 | 2.0991 | 0.98762 | -2.098 | -0.98708 | 0.0011279 | 0.00054172 | 0.067333 | 0.067335 | 0.067335 | 0.99457 | -0.025625 | 0.99401 | -0.029555 | 32.0644
9 | -3.3869 | -1.5815 | 3.3885 | 1.5796 | 0.001615 | -0.0019698 | 0.10827 | 0.10824 | 0.10827 | 0.99659 | -0.01913 | 0.99703 | -0.022942 | 49.2155
10 | 0.28633 | 0.13504 | -0.28632 | -0.13634 | 6.191e-06 | -0.0012962 | 0.0091831 | 0.0091992 | 0.0091992 | 0.99518 | -0.021341 | 0.99516 | -0.021162 | 4.1815
11 | 0.47681 | 0.21281 | -0.47679 | -0.21434 | 1.9813e-05 | -0.001522 | 0.015146 | 0.015164 | 0.015164 | 0.99518 | -0.021341 | 0.99514 | -0.021041 | 6.8929
12 | 0.28632 | 0.13634 | -0.28631 | -0.13798 | 7.8848e-06 | -0.0016442 | 0.0091992 | 0.0092199 | 0.0092199 | 0.99516 | -0.021162 | 0.99513 | -0.020927 | 4.1908
13 | 0.47679 | 0.21434 | -0.47675 | -0.21777 | 4.492e-05 | -0.0034367 | 0.015164 | 0.015206 | 0.015206 | 0.99514 | -0.021041 | 0.99505 | -0.02034 | 6.9117
14 | -3.5147 | -1.6407 | 3.5161 | 1.6392 | 0.0013737 | -0.0015301 | 0.11231 | 0.11228 | 0.11231 | 0.99703 | -0.022942 | 0.9974 | -0.026065 | 51.0479
15 | 0.68624 | 0.31843 | -0.6862 | -0.31994 | 4.209e-05 | -0.0015017 | 0.022062 | 0.02208 | 0.02208 | 0.9899 | -0.054526 | 0.98984 | -0.054039 | 10.0366
16 | -0.84375 | -0.39472 | 0.84495 | 0.3944 | 0.0011951 | -0.00031687 | 0.027165 | 0.027152 | 0.027165 | 0.9899 | -0.054526 | 0.99139 | -0.043938 | 12.9357
17 | 0.43928 | 0.20359 | -0.43925 | -0.20672 | 3.5779e-05 | -0.0031252 | 0.01412 | 0.014159 | 0.014159 | 0.98984 | -0.054039 | 0.98977 | -0.053386 | 6.4359
18 | 0.24692 | 0.11635 | -0.24689 | -0.11659 | 2.5461e-05 | -0.00024769 | 0.0079604 | 0.0079637 | 0.0079637 | 0.98984 | -0.054039 | 0.98973 | -0.054787 | 3.7922
19 | 0.51113 | 0.23831 | -0.51055 | -0.23937 | 0.00058231 | -0.0010541 | 0.016421 | 0.016439 | 0.016439 | 0.99139 | -0.043938 | 0.99019 | -0.05245 | 7.8281
20 | -1.4839 | -0.69461 | 1.4841 | 0.69311 | 0.00020219 | -0.0015024 | 0.047707 | 0.047688 | 0.047707 | 0.99139 | -0.043938 | 0.99151 | -0.045033 | 21.6852
21 | 0.43925 | 0.20672 | -0.43924 | -0.20745 | 8.4255e-06 | -0.00073336 | 0.014159 | 0.014168 | 0.014168 | 0.98977 | -0.053386 | 0.98975 | -0.053229 | 6.44
22 | 0.1229 | 0.056543 | -0.1229 | -0.058282 | 1.5546e-06 | -0.0017394 | 0.0039458 | 0.0039673 | 0.0039673 | 0.98973 | -0.054787 | 0.98972 | -0.054685 | 1.8033
23 | 0.35899 | 0.16867 | -0.35898 | -0.17051 | 1.4148e-05 | -0.0018437 | 0.011569 | 0.011592 | 0.011592 | 0.9897 | -0.053604 | 0.98966 | -0.05328 | 5.2693
24 | -0.35899 | -0.16867 | 0.35901 | 0.16859 | 1.8299e-05 | -7.8275e-05 | 0.011569 | 0.011568 | 0.011569 | 0.9897 | -0.053604 | 0.98975 | -0.053229 | 5.5092
25 | 0.26714 | 0.12603 | -0.26712 | -0.1262 | 2.036e-05 | -0.00016717 | 0.008616 | 0.0086182 | 0.0086182 | 0.98966 | -0.05328 | 0.98958 | -0.05383 | 4.1039
26 | 0.3474 | 0.16035 | -0.3474 | -0.16049 | 1.0174e-06 | -0.00014306 | 0.011155 | 0.011156 | 0.011156 | 0.99019 | -0.05245 | 0.99019 | -0.052427 | 5.0711
27 | -1.4841 | -0.69311 | 1.4862 | 0.69383 | 0.0021426 | 0.00072041 | 0.047688 | 0.047681 | 0.047688 | 0.99151 | -0.045033 | 0.99303 | -0.034213 | 22.7087
28 | 0.1229 | 0.058282 | -0.12287 | -0.059508 | 2.9978e-05 | -0.0012261 | 0.0039673 | 0.003983 | 0.003983 | 0.98972 | -0.054685 | 0.98947 | -0.056357 | 1.8967
29 | 0.11842 | 0.056259 | -0.11842 | -0.057355 | 8.8476e-07 | -0.0010956 | 0.0037889 | 0.0038026 | 0.0038026 | 0.99891 | -0.02063 | 0.9989 | -0.020566 | 1.7284
30 | -0.11842 | -0.056259 | 0.11842 | 0.055694 | 4.5419e-07 | -0.00056552 | 0.0037889 | 0.0037819 | 0.0037889 | 0.99891 | -0.02063 | 0.99891 | -0.020662 | 1.7222
31 | -0.269 | -0.12862 | 0.26903 | 0.12843 | 2.2698e-05 | -0.00019024 | 0.0086169 | 0.0086144 | 0.0086169 | 0.99891 | -0.020662 | 0.999 | -0.020077 | 4.1033
32 | -0.1492 | -0.072262 | 0.1492 | 0.072077 | 2.3793e-07 | -0.00018504 | 0.0047906 | 0.0047883 | 0.0047906 | 0.99896 | -0.021254 | 0.99896 | -0.021268 | 2.1776
33 | -0.1492 | -0.072077 | 0.14921 | 0.071991 | 2.9919e-06 | -8.54e-05 | 0.0047883 | 0.0047872 | 0.0047883 | 0.99896 | -0.021268 | 0.99898 | -0.021134 | 2.2801
34 | -0.52218 | -0.24124 | 0.52224 | 0.24115 | 5.3267e-05 | -9.5579e-05 | 0.016622 | 0.01662 | 0.016622 | 0.99898 | -0.021134 | 0.99909 | -0.020342 | 7.9152
35 | 0.30009 | 0.13395 | -0.30008 | -0.13406 | 1.6308e-05 | -0.00011067 | 0.0094965 | 0.0094979 | 0.0094979 | 0.99898 | -0.021134 | 0.99893 | -0.021601 | 4.5228
36 | -4.0099 | -1.8705 | 4.0105 | 1.8684 | 0.00060445 | -0.0021783 | 0.12791 | 0.12788 | 0.12791 | 0.99858 | -0.034418 | 0.99874 | -0.03257 | 35.3351
37 | 4.0099 | 1.8705 | -4.0096 | -1.8717 | 0.00032343 | -0.0011647 | 0.12791 | 0.12793 | 0.12793 | 0.99858 | -0.034418 | 0.99849 | -0.035405 | 35.3399
38 | -4.1735 | -1.9473 | 4.1751 | 1.949 | 0.0016425 | 0.0017521 | 0.13311 | 0.13311 | 0.13311 | 0.99874 | -0.03257 | 0.99924 | -0.020035 | 38.0327
39 | 3.8783 | 1.8081 | -3.8772 | -1.809 | 0.001056 | -0.00091659 | 0.12371 | 0.12373 | 0.12373 | 0.99849 | -0.035405 | 0.99823 | -0.03323 | 56.2395
40 | -0.68642 | -0.32067 | 0.68645 | 0.31963 | 2.8107e-05 | -0.0010394 | 0.021891 | 0.021878 | 0.021891 | 0.99909 | -0.020342 | 0.99913 | -0.020669 | 9.9503
41 | 0.2052 | 0.088115 | -0.2052 | -0.09015 | 4.7696e-06 | -0.0020349 | 0.0064537 | 0.0064771 | 0.0064771 | 0.99893 | -0.021601 | 0.9989 | -0.021447 | 2.9441
42 | -0.097902 | -0.047416 | 0.097904 | 0.044959 | 1.3688e-06 | -0.0024571 | 0.0031559 | 0.0031255 | 0.0031559 | 0.99504 | -0.020225 | 0.99505 | -0.02034 | 1.4345
43 | 0.37885 | 0.17281 | -0.37884 | -0.17373 | 7.5452e-06 | -0.00091248 | 0.01208 | 0.012091 | 0.012091 | 0.99505 | -0.02034 | 0.99503 | -0.020188 | 5.496
44 | 0.37884 | 0.17373 | -0.37883 | -0.17497 | 1.0309e-05 | -0.001244 | 0.012091 | 0.012106 | 0.012106 | 0.99503 | -0.020188 | 0.99501 | -0.019978 | 5.5029
45 | 0.26899 | 0.12177 | -0.26899 | -0.12288 | 4.584e-06 | -0.0011029 | 0.0085666 | 0.0085798 | 0.0085798 | 0.99501 | -0.019978 | 0.99499 | -0.01985 | 3.8999
46 | 0.26899 | 0.12288 | -0.26897 | -0.12601 | 1.3108e-05 | -0.0031349 | 0.0085798 | 0.0086181 | 0.0086181 | 0.99499 | -0.01985 | 0.99494 | -0.019468 | 3.9173
47 | -0.059692 | -0.02891 | 0.059693 | 0.025085 | 7.6855e-07 | -0.0038256 | 0.0019168 | 0.0018712 | 0.0019168 | 0.99888 | -0.02129 | 0.99889 | -0.021385 | 0.87127
48 | -0.059693 | -0.025085 | 0.059694 | 0.020653 | 8.4757e-07 | -0.0044316 | 0.0018712 | 0.0018254 | 0.0018712 | 0.99889 | -0.021385 | 0.9989 | -0.021447 | 0.85056
49 | 0.1455 | 0.069496 | -0.1455 | -0.07047 | 1.1885e-06 | -0.00097382 | 0.00466 | 0.0046722 | 0.0046722 | 0.9989 | -0.021447 | 0.9989 | -0.021377 | 2.1237
50 | -4.3113 | -2.015 | 4.3114 | 2.0147 | 0.00010802 | -0.00032681 | 0.13748 | 0.13748 | 0.13748 | 0.99924 | -0.020035 | 0.99926 | -0.01973 | 37.979
51 | -0.089761 | -0.043473 | 0.089763 | 0.043283 | 2.3967e-06 | -0.00019036 | 0.0028867 | 0.0028843 | 0.0028867 | 0.99737 | -0.026243 | 0.9974 | -0.026065 | 1.3746
52 | -3.6059 | -1.6825 | 3.6071 | 1.6812 | 0.001185 | -0.0012388 | 0.11517 | 0.11515 | 0.11517 | 0.9974 | -0.026065 | 0.9977 | -0.02869 | 52.3481
53 | -3.7175 | -1.7347 | 3.7178 | 1.7343 | 0.00037955 | -0.00036709 | 0.1187 | 0.11869 | 0.1187 | 0.9977 | -0.02869 | 0.9978 | -0.029506 | 53.9526
54 | -3.7178 | -1.7343 | 3.7193 | 1.7329 | 0.0014982 | -0.0014504 | 0.11869 | 0.11867 | 0.11869 | 0.9978 | -0.029506 | 0.99817 | -0.032722 | 53.9499
55 | -3.7193 | -1.7329 | 3.7196 | 1.7327 | 0.00023723 | -0.00022986 | 0.11867 | 0.11866 | 0.11867 | 0.99817 | -0.032722 | 0.99823 | -0.03323 | 53.9394
56 | 0.16058 | 0.07699 | -0.16057 | -0.077156 | 6.8823e-06 | -0.00016596 | 0.0051717 | 0.0051739 | 0.0051739 | 0.99401 | -0.029555 | 0.99396 | -0.029847 | 2.4638
57 | 1.7825 | 0.83509 | -1.7816 | -0.8347 | 0.00091252 | 0.00038682 | 0.057167 | 0.057169 | 0.057169 | 0.99401 | -0.029555 | 0.99347 | -0.033353 | 27.2233
58 | -0.10941 | -0.052991 | 0.10941 | 0.05038 | 1.8179e-06 | -0.0026104 | 0.0035273 | 0.0034949 | 0.0035273 | 0.99492 | -0.019258 | 0.99494 | -0.019395 | 1.6033
59 | -0.10941 | -0.05038 | 0.10941 | 0.04882 | 1.0712e-06 | -0.0015607 | 0.0034949 | 0.0034762 | 0.0034949 | 0.99494 | -0.019395 | 0.99494 | -0.019468 | 1.5886
60 | 0.15956 | 0.077192 | -0.15956 | -0.077277 | 3.4588e-06 | -8.4553e-05 | 0.0051428 | 0.0051439 | 0.0051439 | 0.99494 | -0.019468 | 0.99492 | -0.019611 | 2.4495
61 | 0.84055 | 0.39418 | -0.84044 | -0.39421 | 0.00010684 | -3.2435e-05 | 0.02682 | 0.026821 | 0.026821 | 0.99926 | -0.01973 | 0.99913 | -0.020669 | 12.772
62 | -5.152 | -2.4088 | 5.153 | 2.4069 | 0.00102 | -0.0019397 | 0.1643 | 0.16427 | 0.1643 | 0.99926 | -0.01973 | 0.99948 | -0.017315 | 45.3865
63 | -6.4529 | -3.0229 | 6.4553 | 3.0263 | 0.0024294 | 0.0034132 | 0.20581 | 0.20581 | 0.20581 | 0.99948 | -0.017315 | 1 | 0 | 50.1979
64 | 0.11661 | 0.053553 | -0.11661 | -0.05507 | 1.1719e-06 | -0.0015164 | 0.0037062 | 0.0037247 | 0.0037247 | 0.99948 | -0.017315 | 0.99947 | -0.017235 | 1.693
65 | 1.0246 | 0.4856 | -1.0243 | -0.4856 | 0.00030091 | 7.5731e-07 | 0.032749 | 0.032752 | 0.032752 | 0.99948 | -0.017315 | 0.99917 | -0.019409 | 15.596
66 | -0.15587 | -0.075492 | 0.15587 | 0.074533 | 1.3432e-06 | -0.00095899 | 0.0050048 | 0.0049928 | 0.0050048 | 0.99895 | -0.019635 | 0.99896 | -0.019709 | 2.2749
67 | -0.25666 | -0.12199 | 0.25666 | 0.12101 | 3.7213e-06 | -0.00098525 | 0.0082119 | 0.0081997 | 0.0082119 | 0.99896 | -0.019709 | 0.99897 | -0.019829 | 3.7327
68 | 0.10078 | 0.047459 | -0.10078 | -0.048812 | 7.895e-07 | -0.0013524 | 0.0032192 | 0.003236 | 0.003236 | 0.99896 | -0.019709 | 0.99895 | -0.019643 | 1.4709
69 | -0.36637 | -0.17414 | 0.36637 | 0.17367 | 3.6372e-06 | -0.00047161 | 0.011722 | 0.011716 | 0.011722 | 0.99897 | -0.019829 | 0.99898 | -0.019912 | 5.3282
70 | -0.16404 | -0.079448 | 0.16404 | 0.078779 | 1.0763e-06 | -0.00066904 | 0.0053141 | 0.0053056 | 0.0053141 | 0.99012 | -0.051881 | 0.99013 | -0.051937 | 2.4155
71 | -0.16404 | -0.078779 | 0.16404 | 0.077037 | 2.7862e-06 | -0.0017419 | 0.0053056 | 0.0052838 | 0.0053056 | 0.99013 | -0.051937 | 0.99015 | -0.052079 | 2.4116
72 | -0.16404 | -0.077037 | 0.16404 | 0.076293 | 1.1829e-06 | -0.00074384 | 0.0052838 | 0.0052746 | 0.0052838 | 0.99015 | -0.052079 | 0.99015 | -0.052137 | 2.4017
73 | -0.26927 | -0.12726 | 0.26928 | 0.12598 | 5.4849e-06 | -0.0012763 | 0.008683 | 0.0086672 | 0.008683 | 0.99015 | -0.052137 | 0.99017 | -0.052303 | 3.9468
74 | -0.26928 | -0.12598 | 0.26928 | 0.125 | 4.2078e-06 | -0.00098234 | 0.0086672 | 0.008655 | 0.0086672 | 0.99017 | -0.052303 | 0.99019 | -0.052427 | 3.9396
75 | 0.1842 | 0.08604 | -0.18416 | -0.086648 | 3.3751e-05 | -0.00060754 | 0.0059306 | 0.0059384 | 0.0059384 | 0.98958 | -0.05383 | 0.98939 | -0.055187 | 2.8278
76 | 0.065161 | 0.029012 | -0.065161 | -0.029203 | 4.7242e-08 | -0.00019072 | 0.0020811 | 0.0020834 | 0.0020834 | 0.98939 | -0.055187 | 0.98939 | -0.055181 | 0.94701
77 | 0.078115 | 0.035497 | -0.078115 | -0.036722 | 4.3974e-07 | -0.0012249 | 0.0025014 | 0.0025164 | 0.0025164 | 0.99019 | -0.052427 | 0.99018 | -0.052383 | 1.1438
78 | 0.078115 | 0.036722 | -0.078114 | -0.037833 | 4.0346e-07 | -0.001111 | 0.0025164 | 0.0025304 | 0.0025304 | 0.99018 | -0.052383 | 0.99018 | -0.05234 | 1.1502
79 | -0.11661 | -0.056475 | 0.11661 | 0.05507 | 1.097e-06 | -0.0014057 | 0.0037422 | 0.0037247 | 0.0037422 | 0.99946 | -0.017155 | 0.99947 | -0.017235 | 1.701
80 | 0.86362 | 0.40777 | -0.86351 | -0.4078 | 0.0001135 | -2.8611e-05 | 0.027593 | 0.027594 | 0.027594 | 0.99917 | -0.019409 | 0.99903 | -0.020358 | 13.14
81 | 0.36639 | 0.17106 | -0.36637 | -0.17328 | 1.7054e-05 | -0.0022196 | 0.011684 | 0.011711 | 0.011711 | 0.99903 | -0.020358 | 0.99899 | -0.019979 | 5.3234
82 | 0.37354 | 0.17688 | -0.37354 | -0.17698 | 7.8989e-07 | -9.8612e-05 | 0.011943 | 0.011944 | 0.011944 | 0.99903 | -0.020358 | 0.99903 | -0.02034 | 5.429
83 | -0.26903 | -0.12843 | 0.26904 | 0.12637 | 8.5671e-06 | -0.0020643 | 0.0086144 | 0.0085888 | 0.0086144 | 0.999 | -0.020077 | 0.99903 | -0.02034 | 3.9156
84 | 0.15202 | 0.073097 | -0.15202 | -0.073627 | 7.2272e-07 | -0.00052916 | 0.0049036 | 0.0049103 | 0.0049103 | 0.99303 | -0.034213 | 0.99303 | -0.034172 | 2.2319
85 | -1.6382 | -0.76693 | 1.6383 | 0.76638 | 9.0522e-05 | -0.00055063 | 0.052584 | 0.052577 | 0.052584 | 0.99303 | -0.034213 | 0.99308 | -0.034658 | 23.9017
86 | 0.36637 | 0.17328 | -0.36637 | -0.17367 | 2.9804e-06 | -0.00038679 | 0.011711 | 0.011716 | 0.011716 | 0.99899 | -0.019979 | 0.99898 | -0.019912 | 5.3256
87 | -0.16057 | -0.077768 | 0.16057 | 0.077156 | 9.2843e-07 | -0.00061163 | 0.0051816 | 0.0051739 | 0.0051816 | 0.99396 | -0.029798 | 0.99396 | -0.029847 | 2.3553
88 | -1.6383 | -0.76638 | 1.6385 | 0.76542 | 0.00015738 | -0.00095784 | 0.052577 | 0.052564 | 0.052577 | 0.99308 | -0.034658 | 0.99317 | -0.03543 | 23.8985
89 | 1.7108 | 0.80039 | -1.7103 | -0.8002 | 0.00047672 | 0.00019397 | 0.054882 | 0.054883 | 0.054883 | 0.99347 | -0.033353 | 0.99317 | -0.03543 | 26.1349
90 | 0.28631 | 0.13798 | -0.28629 | -0.13815 | 2.2876e-05 | -0.00016418 | 0.0092199 | 0.0092221 | 0.0092221 | 0.99513 | -0.020927 | 0.99505 | -0.021463 | 4.3915
91 | 0.1577 | 0.07587 | -0.15768 | -0.076369 | 1.9903e-05 | -0.00049906 | 0.0050771 | 0.0050835 | 0.0050835 | 0.99505 | -0.021463 | 0.99491 | -0.022305 | 2.4207
92 | 0.065161 | 0.029203 | -0.065145 | -0.031551 | 1.5827e-05 | -0.0023485 | 0.0020834 | 0.0021125 | 0.0021125 | 0.98939 | -0.055181 | 0.98913 | -0.057012 | 1.0059

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.5424 | 3.0722

## res_load
| p_mw | q_mvar
0 | 0.14552 | 0.07048
1 | 0.10269 | 0.049736
2 | 0.14835 | 0.071849
3 | 0.12214 | 0.059157
4 | 0.12626 | 0.06115
5 | 0.15751 | 0.076286
6 | 0.12779 | 0.061893
7 | 0.12399 | 0.060052
8 | 0.091838 | 0.044479
9 | 0.080228 | 0.038856
10 | 0.16315 | 0.079017
11 | 0.11842 | 0.057355
12 | 0.15058 | 0.07293
13 | 0.1492 | 0.072262
14 | 0.072883 | 0.035299
15 | 0.16297 | 0.078931
16 | 0.13133 | 0.063607
17 | 0.16418 | 0.079518
18 | 0.094875 | 0.04595
19 | 0.097902 | 0.047416
20 | 0.10984 | 0.053196
21 | 0.059692 | 0.02891
22 | 0.13619 | 0.065958
23 | 0.12287 | 0.059508
24 | 0.1455 | 0.07047
25 | 0.089761 | 0.043473
26 | 0.11042 | 0.053477
27 | 0.15486 | 0.075004
28 | 0.10941 | 0.052991
29 | 0.15956 | 0.077277
30 | 0.15762 | 0.076337
31 | 0.154 | 0.074584
32 | 0.15863 | 0.076829
33 | 0.15587 | 0.075492
34 | 0.10971 | 0.053133
35 | 0.10078 | 0.048812
36 | 0.16404 | 0.079448
37 | 0.10523 | 0.050963
38 | 0.082924 | 0.040162
39 | 0.119 | 0.057636
40 | 0.078114 | 0.037833
41 | 0.11661 | 0.056475
42 | 0.16071 | 0.077836
43 | 0.12358 | 0.059852
44 | 0.073062 | 0.035386
45 | 0.1045 | 0.050612
46 | 0.16057 | 0.077768
47 | 0.15202 | 0.073627
48 | 0.070841 | 0.03431
49 | 0.071812 | 0.03478
50 | 0.12859 | 0.062279
51 | 0.15768 | 0.076369
52 | 0.065145 | 0.031551

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1