## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_96_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_96_0_node_44 | 20 | n |  | TRUE
2 | bus_MV_96_0_node_131 | 20 | n |  | TRUE
3 | bus_MV_96_0_node_41 | 20 | n |  | TRUE
4 | bus_MV_96_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_96_0_node_5 | 20 | n |  | TRUE
6 | bus_MV_96_0_node_106 | 20 | n |  | TRUE
7 | bus_MV_96_0_node_107 | 20 | n |  | TRUE
8 | bus_MV_96_0_node_103 | 20 | n |  | TRUE
9 | bus_MV_96_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_96_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_96_0_node_129 | 20 | n |  | TRUE
12 | bus_MV_96_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_96_0_node_116 | 20 | n |  | TRUE
14 | bus_MV_96_0_node_30 | 20 | n |  | TRUE
15 | bus_MV_96_0_node_9 | 20 | n |  | TRUE
16 | bus_MV_96_0_node_10 | 20 | n |  | TRUE
17 | bus_MV_96_0_node_12 | 20 | n |  | TRUE
18 | bus_MV_96_0_node_21 | 20 | n |  | TRUE
19 | bus_MV_96_0_node_117 | 20 | n |  | TRUE
20 | bus_MV_96_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_96_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_96_0_node_27 | 20 | n |  | TRUE
23 | bus_MV_96_0_node_13 | 20 | n |  | TRUE
24 | bus_MV_96_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_96_0_node_14 | 20 | n |  | TRUE
26 | bus_MV_96_0_node_115 | 20 | n |  | TRUE
27 | bus_MV_96_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_96_0_node_15 | 20 | n |  | TRUE
29 | bus_MV_96_0_node_28 | 20 | n |  | TRUE
30 | bus_MV_96_0_node_29 | 20 | n |  | TRUE
31 | bus_MV_96_0_node_94 | 20 | n |  | TRUE
32 | bus_MV_96_0_node_96 | 20 | n |  | TRUE
33 | bus_MV_96_0_node_19 | 20 | n |  | TRUE
34 | bus_MV_96_0_node_18 | 20 | n |  | TRUE
35 | bus_MV_96_0_node_22 | 20 | n |  | TRUE
36 | bus_MV_96_0_node_23 | 20 | n |  | TRUE
37 | bus_MV_96_0_node_24 | 20 | n |  | TRUE
38 | bus_MV_96_0_node_25 | 20 | n |  | TRUE
39 | bus_MV_96_0_node_120 | 20 | n |  | TRUE
40 | bus_MV_96_0_node_128 | 20 | n |  | TRUE
41 | bus_MV_96_0_node_26 | 20 | n |  | TRUE
42 | bus_MV_96_0_node_118 | 20 | n |  | TRUE
43 | bus_MV_96_0_node_119 | 20 | n |  | TRUE
44 | bus_MV_96_0_node_125 | 20 | n |  | TRUE
45 | bus_MV_96_0_node_93 | 20 | n |  | TRUE
46 | bus_MV_96_0_node_31 | 20 | n |  | TRUE
47 | bus_MV_96_0_node_32 | 20 | n |  | TRUE
48 | bus_MV_96_0_node_33 | 20 | n |  | TRUE
49 | bus_MV_96_0_node_34 | 20 | n |  | TRUE
50 | bus_MV_96_0_node_35 | 20 | n |  | TRUE
51 | bus_MV_96_0_node_37 | 20 | n |  | TRUE
52 | bus_MV_96_0_node_130 | 20 | n |  | TRUE
53 | bus_MV_96_0_node_64 | 20 | n |  | TRUE
54 | bus_MV_96_0_node_114 | 20 | n |  | TRUE
55 | bus_MV_96_0_node_36 | 20 | n |  | TRUE
56 | bus_MV_96_0_node_52 | 20 | n |  | TRUE
57 | bus_MV_96_0_node_39 | 20 | n |  | TRUE
58 | bus_MV_96_0_node_38 | 20 | n |  | TRUE
59 | bus_MV_96_0_node_50 | 20 | n |  | TRUE
60 | bus_MV_96_0_node_66 | 20 | n |  | TRUE
61 | bus_MV_96_0_node_65 | 20 | n |  | TRUE
62 | bus_MV_96_0_node_63 | 20 | n |  | TRUE
63 | bus_MV_96_0_node_112 | 20 | n |  | TRUE
64 | bus_MV_96_0_node_124 | 20 | n |  | TRUE
65 | bus_MV_96_0_node_53 | 20 | n |  | TRUE
66 | bus_MV_96_0_node_40 | 20 | n |  | TRUE
67 | bus_MV_96_0_node_42 | 20 | n |  | TRUE
68 | bus_MV_96_0_node_43 | 20 | n |  | TRUE
69 | bus_MV_96_0_node_45 | 20 | n |  | TRUE
70 | bus_MV_96_0_node_46 | 20 | n |  | TRUE
71 | bus_MV_96_0_node_54 | 20 | n |  | TRUE
72 | bus_MV_96_0_node_105 | 20 | n |  | TRUE
73 | bus_MV_96_0_node_55 | 20 | n |  | TRUE
74 | bus_MV_96_0_node_104 | 20 | n |  | TRUE
75 | bus_MV_96_0_node_57 | 20 | n |  | TRUE
76 | bus_MV_96_0_node_56 | 20 | n |  | TRUE
77 | bus_MV_96_0_node_47 | 20 | n |  | TRUE
78 | bus_MV_96_0_node_48 | 20 | n |  | TRUE
79 | bus_MV_96_0_node_113 | 20 | n |  | TRUE
80 | bus_MV_96_0_node_51 | 20 | n |  | TRUE
81 | bus_MV_96_0_node_60 | 20 | n |  | TRUE
82 | bus_MV_96_0_node_121 | 20 | n |  | TRUE
83 | bus_MV_96_0_node_69 | 20 | n |  | TRUE
84 | bus_MV_96_0_node_70 | 20 | n |  | TRUE
85 | bus_MV_96_0_node_71 | 20 | n |  | TRUE
86 | bus_MV_96_0_node_72 | 20 | n |  | TRUE
87 | bus_MV_96_0_node_73 | 20 | n |  | TRUE
88 | bus_MV_96_0_node_67 | 20 | n |  | TRUE
89 | bus_MV_96_0_node_76 | 20 | n |  | TRUE
90 | bus_MV_96_0_node_75 | 20 | n |  | TRUE
91 | bus_MV_96_0_node_122 | 20 | n |  | TRUE
92 | bus_MV_96_0_node_123 | 20 | n |  | TRUE
93 | bus_MV_96_0_node_59 | 20 | n |  | TRUE
94 | bus_MV_96_0_node_58 | 20 | n |  | TRUE
95 | bus_MV_96_0_node_74 | 20 | n |  | TRUE
96 | bus_MV_96_0_node_61 | 20 | n |  | TRUE
97 | bus_MV_96_0_node_62 | 20 | n |  | TRUE
98 | bus_MV_96_0_node_97 | 20 | n |  | TRUE
99 | bus_MV_96_0_node_98 | 20 | n |  | TRUE
100 | bus_MV_96_0_node_77 | 20 | n |  | TRUE
101 | bus_MV_96_0_node_79 | 20 | n |  | TRUE
102 | bus_MV_96_0_node_80 | 20 | n |  | TRUE
103 | bus_MV_96_0_node_126 | 20 | n |  | TRUE
104 | bus_MV_96_0_node_127 | 20 | n |  | TRUE
105 | bus_MV_96_0_node_87 | 20 | n |  | TRUE
106 | bus_MV_96_0_node_88 | 20 | n |  | TRUE
107 | bus_MV_96_0_node_81 | 20 | n |  | TRUE
108 | bus_MV_96_0_node_83 | 20 | n |  | TRUE
109 | bus_MV_96_0_node_85 | 20 | n |  | TRUE
110 | bus_MV_96_0_node_89 | 20 | n |  | TRUE
111 | bus_MV_96_0_node_99 | 20 | n |  | TRUE
112 | bus_MV_96_0_node_100 | 20 | n |  | TRUE
113 | bus_MV_96_0_node_102 | 20 | n |  | TRUE
114 | bus_MV_96_0_node_101 | 20 | n |  | TRUE
115 | bus_MV_96_0_node_86 | 20 | n |  | TRUE
116 | bus_MV_96_0_node_90 | 20 | n |  | TRUE
117 | bus_MV_96_0_node_92 | 20 | n |  | TRUE
118 | bus_MV_96_0_node_91 | 20 | n |  | TRUE
119 | bus_MV_96_0_node_95 | 20 | n |  | TRUE
120 | bus_MV_96_0_node_110 | 20 | n |  | TRUE
121 | bus_MV_96_0_node_108 | 20 | n |  | TRUE
122 | bus_MV_96_0_node_111 | 20 | n |  | TRUE
123 | bus_HV_96_0_node_3 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_96_0_load_0 | 0 | 0.33995 | 0.16465 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_96_0_load_131 | 2 | 0.2017 | 0.097688 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_96_0_load_5 | 5 | 0.22059 | 0.10684 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_96_0_load_106 | 6 | 0.27969 | 0.13546 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_96_0_load_6 | 9 | 0.17246 | 0.083528 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_96_0_load_129 | 11 | 0.21943 | 0.10627 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_96_0_load_30 | 14 | 0.38283 | 0.18541 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_96_0_load_21 | 18 | 0.23873 | 0.11562 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_96_0_load_117 | 19 | 0.38833 | 0.18807 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_96_0_load_27 | 22 | 0.29622 | 0.14347 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_96_0_load_20 | 24 | 0.36918 | 0.1788 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_96_0_load_14 | 25 | 0.30333 | 0.14691 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_96_0_load_15 | 28 | 0.30819 | 0.14926 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_96_0_load_94 | 31 | 0.071597 | 0.034676 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_96_0_load_96 | 32 | 0.18574 | 0.089958 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_96_0_load_19 | 33 | 0.084291 | 0.040824 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_96_0_load_18 | 34 | 0.41533 | 0.20115 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_96_0_load_22 | 35 | 0.26307 | 0.12741 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_96_0_load_128 | 40 | 0.38547 | 0.18669 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_96_0_load_26 | 41 | 0.24956 | 0.12087 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_96_0_load_119 | 43 | 0.10112 | 0.048977 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_96_0_load_125 | 44 | 0.34502 | 0.1671 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_96_0_load_31 | 46 | 0.29167 | 0.14126 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_96_0_load_37 | 51 | 0.41437 | 0.20069 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_96_0_load_130 | 52 | 0.35095 | 0.16997 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_96_0_load_114 | 54 | 0.18926 | 0.091664 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_96_0_load_52 | 56 | 0.38713 | 0.1875 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_96_0_load_65 | 61 | 0.21018 | 0.10179 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_96_0_load_112 | 63 | 0.23984 | 0.11616 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_96_0_load_124 | 64 | 0.25952 | 0.12569 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_96_0_load_40 | 66 | 0.29463 | 0.14269 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_96_0_load_46 | 70 | 0.087268 | 0.042266 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_96_0_load_105 | 72 | 0.099497 | 0.048188 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_96_0_load_104 | 74 | 0.09167 | 0.044398 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_96_0_load_56 | 76 | 0.21483 | 0.10405 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_96_0_load_47 | 77 | 0.39829 | 0.1929 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_96_0_load_113 | 79 | 0.25189 | 0.122 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_96_0_load_60 | 81 | 0.16024 | 0.07761 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_96_0_load_69 | 83 | 0.22707 | 0.10997 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_96_0_load_72 | 86 | 0.23089 | 0.11183 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_96_0_load_67 | 88 | 0.2296 | 0.1112 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_96_0_load_122 | 91 | 0.25726 | 0.12459 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_96_0_load_59 | 93 | 0.25658 | 0.12427 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_96_0_load_58 | 94 | 0.2344 | 0.11353 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_96_0_load_74 | 95 | 0.31746 | 0.15375 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_96_0_load_61 | 96 | 0.23883 | 0.11567 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_96_0_load_62 | 97 | 0.3697 | 0.17906 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_96_0_load_97 | 98 | 0.1295 | 0.062718 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_96_0_load_77 | 100 | 0.093011 | 0.045047 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_96_0_load_80 | 102 | 0.12165 | 0.05892 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_96_0_load_127 | 104 | 0.30824 | 0.14929 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_96_0_load_88 | 106 | 0.25867 | 0.12528 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_96_0_load_81 | 107 | 0.32376 | 0.1568 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_96_0_load_100 | 112 | 0.14469 | 0.070074 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_96_0_load_101 | 114 | 0.19254 | 0.093251 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_96_0_load_86 | 115 | 0.29694 | 0.14381 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_96_0_load_90 | 116 | 0.37058 | 0.17948 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_96_0_load_110 | 120 | 0.069384 | 0.033604 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_96_0_line_0 |  | 0 | 1 | 0.8899 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
1 | MV_96_0_line_1 |  | 1 | 2 | 0.10428 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_96_0_line_2 |  | 1 | 3 | 0.19436 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
3 | MV_96_0_line_3 |  | 3 | 68 | 0.089678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_96_0_line_4 |  | 3 | 66 | 0.086721 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
5 | MV_96_0_line_5 |  | 4 | 5 | 0.021838 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
6 | MV_96_0_line_6 |  | 5 | 6 | 0.74056 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
7 | MV_96_0_line_7 |  | 6 | 7 | 0.12141 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
8 | MV_96_0_line_8 |  | 6 | 8 | 0.12878 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
9 | MV_96_0_line_9 |  | 7 | 121 | 0.23429 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
10 | MV_96_0_line_10 |  | 8 | 112 | 0.45058 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
11 | MV_96_0_line_11 |  | 8 | 113 | 0.25093 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
12 | MV_96_0_line_12 |  | 9 | 10 | 0.035413 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
13 | MV_96_0_line_13 |  | 9 | 11 | 0.1185 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
14 | MV_96_0_line_14 |  | 10 | 12 | 0.35121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_96_0_line_15 |  | 11 | 13 | 0.15943 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
16 | MV_96_0_line_16 |  | 12 | 14 | 0.006364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_96_0_line_17 |  | 13 | 26 | 0.11778 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
18 | MV_96_0_line_18 |  | 15 | 16 | 0.25801 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
19 | MV_96_0_line_19 |  | 15 | 17 | 0.33876 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
20 | MV_96_0_line_20 |  | 15 | 18 | 0.085461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_96_0_line_21 |  | 16 | 19 | 0.062598 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
22 | MV_96_0_line_22 |  | 17 | 23 | 0.27706 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_96_0_line_23 |  | 17 | 24 | 0.020424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_96_0_line_24 |  | 17 | 20 | 0.10149 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
25 | MV_96_0_line_25 |  | 19 | 26 | 0.047206 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
26 | MV_96_0_line_26 |  | 20 | 21 | 0.04357 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
27 | MV_96_0_line_27 |  | 20 | 22 | 0.055567 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
28 | MV_96_0_line_28 |  | 21 | 27 | 0.20708 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
29 | MV_96_0_line_29 |  | 21 | 28 | 0.040793 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
30 | MV_96_0_line_30 |  | 22 | 29 | 0.00177 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
31 | MV_96_0_line_31 |  | 23 | 25 | 0.004046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_96_0_line_32 |  | 27 | 33 | 0.049098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_96_0_line_33 |  | 27 | 34 | 0.093194 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
34 | MV_96_0_line_34 |  | 29 | 30 | 0.050862 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_96_0_line_35 |  | 30 | 31 | 0.054371 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_96_0_line_36 |  | 30 | 32 | 0.077286 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
37 | MV_96_0_line_37 |  | 31 | 45 | 0.015837 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
38 | MV_96_0_line_38 |  | 35 | 36 | 0.093865 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_96_0_line_39 |  | 36 | 37 | 0.25689 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
40 | MV_96_0_line_40 |  | 36 | 38 | 0.64567 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_96_0_line_41 |  | 37 | 39 | 0.76942 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
42 | MV_96_0_line_42 |  | 37 | 40 | 0.095579 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
43 | MV_96_0_line_43 |  | 38 | 41 | 0.093812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_96_0_line_44 |  | 39 | 44 | 0.003168 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
45 | MV_96_0_line_45 |  | 39 | 42 | 0.4054 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
46 | MV_96_0_line_46 |  | 42 | 43 | 0.033618 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
47 | MV_96_0_line_47 |  | 43 | 122 | 0.058166 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
48 | MV_96_0_line_48 |  | 44 | 110 | 0.046792 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
49 | MV_96_0_line_49 |  | 45 | 118 | 0.10573 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
50 | MV_96_0_line_50 |  | 46 | 47 | 0.00464 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
51 | MV_96_0_line_51 |  | 46 | 48 | 0.061086 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
52 | MV_96_0_line_52 |  | 47 | 49 | 0.19091 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
53 | MV_96_0_line_53 |  | 48 | 50 | 0.13097 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_96_0_line_54 |  | 48 | 51 | 0.10821 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
55 | MV_96_0_line_55 |  | 49 | 52 | 0.10297 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
56 | MV_96_0_line_56 |  | 49 | 53 | 0.50606 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
57 | MV_96_0_line_57 |  | 50 | 54 | 0.063303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_96_0_line_58 |  | 51 | 58 | 0.006335 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
59 | MV_96_0_line_59 |  | 52 | 59 | 0.067687 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
60 | MV_96_0_line_60 |  | 53 | 60 | 0.47348 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
61 | MV_96_0_line_61 |  | 53 | 61 | 0.003797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_96_0_line_62 |  | 53 | 62 | 0.080342 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
63 | MV_96_0_line_63 |  | 55 | 56 | 0.041927 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_96_0_line_64 |  | 55 | 57 | 0.08425 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
65 | MV_96_0_line_65 |  | 56 | 65 | 0.004682 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_96_0_line_66 |  | 57 | 58 | 0.055271 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_96_0_line_67 |  | 59 | 78 | 0.21106 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
68 | MV_96_0_line_68 |  | 60 | 63 | 0.055976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_96_0_line_69 |  | 60 | 64 | 0.64876 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
70 | MV_96_0_line_70 |  | 62 | 97 | 0.023785 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
71 | MV_96_0_line_71 |  | 64 | 92 | 0.0575 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
72 | MV_96_0_line_72 |  | 65 | 71 | 0.25031 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
73 | MV_96_0_line_73 |  | 66 | 67 | 0.097215 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
74 | MV_96_0_line_74 |  | 67 | 69 | 0.19307 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
75 | MV_96_0_line_75 |  | 68 | 70 | 0.12603 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_96_0_line_76 |  | 69 | 71 | 0.1469 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
77 | MV_96_0_line_77 |  | 69 | 72 | 0.0045529 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_96_0_line_78 |  | 71 | 73 | 0.26423 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
79 | MV_96_0_line_79 |  | 71 | 74 | 0.01323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_96_0_line_80 |  | 73 | 75 | 0.37337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_96_0_line_81 |  | 73 | 76 | 0.10997 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
82 | MV_96_0_line_82 |  | 75 | 93 | 0.05442 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_96_0_line_83 |  | 76 | 94 | 0.33252 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
84 | MV_96_0_line_84 |  | 77 | 78 | 0.2812 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
85 | MV_96_0_line_85 |  | 78 | 79 | 0.97283 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
86 | MV_96_0_line_86 |  | 79 | 87 | 0.024114 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
87 | MV_96_0_line_87 |  | 79 | 89 | 0.072154 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_96_0_line_88 |  | 80 | 81 | 0.016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_96_0_line_89 |  | 80 | 82 | 0.41778 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
90 | MV_96_0_line_90 |  | 82 | 91 | 0.002514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_96_0_line_91 |  | 82 | 92 | 0.23824 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
92 | MV_96_0_line_92 |  | 83 | 84 | 0.027707 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
93 | MV_96_0_line_93 |  | 83 | 85 | 0.13455 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
94 | MV_96_0_line_94 |  | 84 | 86 | 0.008866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_96_0_line_95 |  | 84 | 87 | 0.1211 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
96 | MV_96_0_line_96 |  | 85 | 88 | 0.83608 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
97 | MV_96_0_line_97 |  | 89 | 90 | 0.20421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_96_0_line_98 |  | 90 | 95 | 0.003321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_96_0_line_99 |  | 96 | 97 | 0.40705 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
100 | MV_96_0_line_100 |  | 96 | 98 | 0.73183 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
101 | MV_96_0_line_101 |  | 98 | 99 | 0.27007 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
102 | MV_96_0_line_102 |  | 99 | 111 | 0.28826 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
103 | MV_96_0_line_103 |  | 100 | 101 | 0.077709 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
104 | MV_96_0_line_104 |  | 101 | 102 | 0.12731 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
105 | MV_96_0_line_105 |  | 101 | 103 | 0.81497 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
106 | MV_96_0_line_106 |  | 103 | 104 | 0.077233 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
107 | MV_96_0_line_107 |  | 103 | 105 | 0.1025 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
108 | MV_96_0_line_108 |  | 103 | 106 | 0.15801 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
109 | MV_96_0_line_109 |  | 105 | 115 | 0.026758 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
110 | MV_96_0_line_110 |  | 106 | 109 | 0.056862 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
111 | MV_96_0_line_111 |  | 107 | 108 | 0.076467 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
112 | MV_96_0_line_112 |  | 108 | 109 | 0.067358 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
113 | MV_96_0_line_113 |  | 109 | 110 | 0.35858 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
114 | MV_96_0_line_114 |  | 111 | 112 | 0.007958 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
115 | MV_96_0_line_115 |  | 113 | 114 | 0.070623 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
116 | MV_96_0_line_116 |  | 116 | 117 | 0.029275 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
117 | MV_96_0_line_117 |  | 116 | 118 | 0.092221 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
118 | MV_96_0_line_118 |  | 117 | 119 | 0.22494 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
119 | MV_96_0_line_119 |  | 119 | 120 | 0.057778 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
120 | MV_96_0_line_120 |  | 120 | 121 | 0.045269 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
121 | MV_96_0_line_121 |  | 121 | 122 | 0.20371 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_96_0_trafo_3 | 25 MVA 110/20 kV | 123 | 4 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2597105.2816 | 1123412.0999
1 | 2596241.7397 | 1123197.1357
2 | 2596335.0046 | 1123243.7891
3 | 2596161.9046 | 1123054.2059
4 | 2597171.0696 | 1122873.8053
5 | 2597189.8784 | 1122877.4091
6 | 2597596.2552 | 1122258.3047
7 | 2597701.6129 | 1122316.4798
8 | 2597585.3956 | 1122161.0616
9 | 2598956.7703 | 1122755.4547
10 | 2598992.1108 | 1122757.7272
11 | 2598841.6567 | 1122783.6019
12 | 2599169.0308 | 1122576.2318
13 | 2598756.0833 | 1122696.8442
14 | 2599167.474 | 1122582.4018
15 | 2598673.2855 | 1122385.0328
16 | 2598791.9277 | 1122491.4585
17 | 2598444.0796 | 1122435.5259
18 | 2598616.0943 | 1122344.9823
19 | 2598749.6636 | 1122537.6346
20 | 2598371.0707 | 1122504.3796
21 | 2598352.0344 | 1122542.9038
22 | 2598317.9804 | 1122487.9756
23 | 2598551.8543 | 1122612.9845
24 | 2598452.8658 | 1122417.0812
25 | 2598554.2131 | 1122609.6934
26 | 2598770.5629 | 1122579.9618
27 | 2598397.6604 | 1122673.6437
28 | 2598371.6083 | 1122578.6935
29 | 2598316.3145 | 1122487.3647
30 | 2598268.7603 | 1122469.3477
31 | 2598218.6938 | 1122448.1452
32 | 2598254.4629 | 1122545.3001
33 | 2598442.6063 | 1122662.9707
34 | 2598440.9735 | 1122756.161
35 | 2598818.9065 | 1122027.2929
36 | 2598871.8035 | 1121949.6665
37 | 2598690.7838 | 1121949.3271
38 | 2599043.7807 | 1122244.8456
39 | 2598332.3933 | 1122005.9805
40 | 2598648.8345 | 1122035.2455
41 | 2599015.4247 | 1122334.2719
42 | 2598058.1768 | 1122127.6806
43 | 2598024.9981 | 1122121.6999
44 | 2598333.2639 | 1122002.9344
45 | 2598205.9255 | 1122439.4299
46 | 2595782.4715 | 1123104.6878
47 | 2595778.4295 | 1123102.3895
48 | 2595833.8011 | 1123137.123
49 | 2595642.6545 | 1122990.0437
50 | 2595765.0786 | 1123194.6552
51 | 2595908.5788 | 1123215.3426
52 | 2595586.3718 | 1122904.9547
53 | 2595901.1605 | 1122755.9234
54 | 2595707.0943 | 1123172.1079
55 | 2595833.9274 | 1123328.2162
56 | 2595866.7596 | 1123352.305
57 | 2595892.9783 | 1123268.1235
58 | 2595913.524 | 1123219.3189
59 | 2595537.8347 | 1122857.968
60 | 2595694.8537 | 1122474.4983
61 | 2595900.9626 | 1122759.7142
62 | 2595973.3712 | 1122750.1378
63 | 2595724.685 | 1122511.1836
64 | 2595328.2385 | 1121939.2577
65 | 2595871.4477 | 1123352.5686
66 | 2596118.6347 | 1123129.1818
67 | 2596072.2921 | 1123208.4398
68 | 2596197.0678 | 1122973.3661
69 | 2596091.8624 | 1123315.2013
70 | 2596269.4386 | 1122870.192
71 | 2596031.0473 | 1123368.2675
72 | 2596096.1811 | 1123316.5546
73 | 2595916.7748 | 1123540.1733
74 | 2596044.267 | 1123368.0343
75 | 2595603.2594 | 1123656.8537
76 | 2595943.5632 | 1123646.8181
77 | 2595273.5949 | 1122479.7537
78 | 2595369.1684 | 1122744.219
79 | 2594482.3249 | 1123144.1021
80 | 2594857.4986 | 1122139.732
81 | 2594869.3611 | 1122150.5048
82 | 2595090.2591 | 1121792.7996
83 | 2594446.7214 | 1123289.4284
84 | 2594462.4613 | 1123267.6364
85 | 2594320.6479 | 1123281.3763
86 | 2594458.7297 | 1123259.5915
87 | 2594485.2 | 1123168.0445
88 | 2593823.6636 | 1123953.7088
89 | 2594424.6166 | 1123100.7902
90 | 2594275.4672 | 1122962.3859
91 | 2595091.854 | 1121790.8529
92 | 2595270.6569 | 1121936.0793
93 | 2595577.1102 | 1123609.1276
94 | 2596167.3118 | 1123892.8006
95 | 2594273.5806 | 1122965.1224
96 | 2596191.0071 | 1122396.9107
97 | 2595996.6387 | 1122754.5576
98 | 2596651.2673 | 1121827.9327
99 | 2596902.9799 | 1121927.6555
100 | 2598227.5249 | 1121071.9442
101 | 2598301.402 | 1121096.045
102 | 2598423.9089 | 1121115.0975
103 | 2598033.179 | 1121865.6165
104 | 2597997.2942 | 1121934.0066
105 | 2598011.6816 | 1121765.3971
106 | 2598177.722 | 1121801.7862
107 | 2598180.8476 | 1121625.3846
108 | 2598169.5108 | 1121700.9917
109 | 2598159.521 | 1121767.6052
110 | 2598346.1148 | 1121957.942
111 | 2597160.4521 | 1122009.9552
112 | 2597163.5874 | 1122002.639
113 | 2597703.9214 | 1122047.7587
114 | 2597674.5641 | 1122111.9906
115 | 2597984.9272 | 1121764.9616
116 | 2598148.226 | 1122312.3859
117 | 2598120.0449 | 1122304.1798
118 | 2598236.6485 | 1122338.5824
119 | 2597914.7126 | 1122216.0954
120 | 2597867.5438 | 1122182.7398
121 | 2597828.6278 | 1122159.6436
122 | 2597967.3099 | 1122113.0711
123 | 2597171.0696 | 1122873.8053

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98687 | -0.43328 | 0.33995 | 0.16465
1 | 0.98702 | -0.42817 | 0 | 0
2 | 0.98698 | -0.42843 | 0.2017 | 0.097688
3 | 0.98704 | -0.42774 | 0 | 0
4 | 1 | 0 | -14.5481 | -6.3222
5 | 0.99993 | -0.0013415 | 0.22059 | 0.10684
6 | 0.99481 | -0.18523 | 0.27969 | 0.13546
7 | 0.99464 | -0.18876 | 0 | 0
8 | 0.99461 | -0.18926 | 0 | 0
9 | 0.99327 | -0.22064 | 0.17246 | 0.083528
10 | 0.99326 | -0.22087 | 0 | 0
11 | 0.9933 | -0.21953 | 0.21943 | 0.10627
12 | 0.99309 | -0.21934 | 0 | 0
13 | 0.99333 | -0.21903 | 0 | 0
14 | 0.99309 | -0.21931 | 0.38283 | 0.18541
15 | 0.99347 | -0.21554 | 0 | 0
16 | 0.9934 | -0.21678 | 0 | 0
17 | 0.99357 | -0.21353 | 0 | 0
18 | 0.99344 | -0.2153 | 0.23873 | 0.11562
19 | 0.99337 | -0.21803 | 0.38833 | 0.18807
20 | 0.99361 | -0.21264 | 0 | 0
21 | 0.99361 | -0.21278 | 0 | 0
22 | 0.99369 | -0.20987 | 0.29622 | 0.14347
23 | 0.99346 | -0.21257 | 0 | 0
24 | 0.99356 | -0.21343 | 0.36918 | 0.1788
25 | 0.99346 | -0.21255 | 0.30333 | 0.14691
26 | 0.99335 | -0.21866 | 0 | 0
27 | 0.99358 | -0.21319 | 0 | 0
28 | 0.9936 | -0.21299 | 0.30819 | 0.14926
29 | 0.99369 | -0.20985 | 0 | 0
30 | 0.99373 | -0.20918 | 0 | 0
31 | 0.99377 | -0.20842 | 0.071597 | 0.034676
32 | 0.99372 | -0.20941 | 0.18574 | 0.089958
33 | 0.99358 | -0.21315 | 0.084291 | 0.040824
34 | 0.99356 | -0.21384 | 0.41533 | 0.20115
35 | 0.99371 | -0.20772 | 0.26307 | 0.12741
36 | 0.99375 | -0.20802 | 0 | 0
37 | 0.99377 | -0.20739 | 0 | 0
38 | 0.99369 | -0.20842 | 0 | 0
39 | 0.99391 | -0.20405 | 0 | 0
40 | 0.99376 | -0.20753 | 0.38547 | 0.18669
41 | 0.99366 | -0.20814 | 0.24956 | 0.12087
42 | 0.99414 | -0.19923 | 0 | 0
43 | 0.99416 | -0.19882 | 0.10112 | 0.048977
44 | 0.99391 | -0.20408 | 0.34502 | 0.1671
45 | 0.99378 | -0.20819 | 0 | 0
46 | 0.98756 | -0.41363 | 0.29167 | 0.14126
47 | 0.98757 | -0.41357 | 0 | 0
48 | 0.98752 | -0.41437 | 0 | 0
49 | 0.98769 | -0.41103 | 0 | 0
50 | 0.98749 | -0.41409 | 0 | 0
51 | 0.98739 | -0.41937 | 0.41437 | 0.20069
52 | 0.98765 | -0.41188 | 0.35095 | 0.16997
53 | 0.98825 | -0.39997 | 0 | 0
54 | 0.98748 | -0.41395 | 0.18926 | 0.091664
55 | 0.98727 | -0.42327 | 0 | 0
56 | 0.98725 | -0.42367 | 0.38713 | 0.1875
57 | 0.98736 | -0.41997 | 0 | 0
58 | 0.98738 | -0.41943 | 0 | 0
59 | 0.98762 | -0.41235 | 0 | 0
60 | 0.98816 | -0.40184 | 0 | 0
61 | 0.98825 | -0.39996 | 0.21018 | 0.10179
62 | 0.98836 | -0.39781 | 0 | 0
63 | 0.98814 | -0.40168 | 0.23984 | 0.11616
64 | 0.98794 | -0.4095 | 0.25952 | 0.12569
65 | 0.98724 | -0.42371 | 0 | 0
66 | 0.98705 | -0.42751 | 0.29463 | 0.14269
67 | 0.98707 | -0.42714 | 0 | 0
68 | 0.98703 | -0.42765 | 0 | 0
69 | 0.98711 | -0.42637 | 0 | 0
70 | 0.98701 | -0.42779 | 0.087268 | 0.042266
71 | 0.98715 | -0.42572 | 0 | 0
72 | 0.98711 | -0.42637 | 0.099497 | 0.048188
73 | 0.9871 | -0.42651 | 0 | 0
74 | 0.98714 | -0.42571 | 0.09167 | 0.044398
75 | 0.98698 | -0.42544 | 0 | 0
76 | 0.98709 | -0.42671 | 0.21483 | 0.10405
77 | 0.98749 | -0.41567 | 0.39829 | 0.1929
78 | 0.98755 | -0.41378 | 0 | 0
79 | 0.98693 | -0.43485 | 0.25189 | 0.122
80 | 0.98788 | -0.41114 | 0 | 0
81 | 0.98788 | -0.41111 | 0.16024 | 0.07761
82 | 0.98792 | -0.41001 | 0 | 0
83 | 0.9869 | -0.43554 | 0.22707 | 0.10997
84 | 0.98691 | -0.43549 | 0 | 0
85 | 0.9869 | -0.43567 | 0 | 0
86 | 0.9869 | -0.43546 | 0.23089 | 0.11183
87 | 0.98693 | -0.43514 | 0 | 0
88 | 0.9868 | -0.43892 | 0.2296 | 0.1112
89 | 0.98689 | -0.43517 | 0 | 0
90 | 0.98681 | -0.43441 | 0 | 0
91 | 0.98792 | -0.41 | 0.25726 | 0.12459
92 | 0.98794 | -0.4096 | 0 | 0
93 | 0.98695 | -0.42562 | 0.25658 | 0.12427
94 | 0.98705 | -0.42802 | 0.2344 | 0.11353
95 | 0.9868 | -0.43439 | 0.31746 | 0.15375
96 | 0.98972 | -0.34985 | 0.23883 | 0.11567
97 | 0.98839 | -0.39716 | 0.3697 | 0.17906
98 | 0.99218 | -0.26218 | 0.1295 | 0.062718
99 | 0.99259 | -0.25417 | 0 | 0
100 | 0.9936 | -0.21288 | 0.093011 | 0.045047
101 | 0.99361 | -0.21276 | 0 | 0
102 | 0.9936 | -0.21282 | 0.12165 | 0.05892
103 | 0.99369 | -0.2097 | 0 | 0
104 | 0.99368 | -0.21009 | 0.30824 | 0.14929
105 | 0.99368 | -0.21021 | 0 | 0
106 | 0.99376 | -0.20751 | 0.25867 | 0.12528
107 | 0.99376 | -0.20746 | 0.32376 | 0.1568
108 | 0.99377 | -0.20736 | 0 | 0
109 | 0.99377 | -0.20727 | 0 | 0
110 | 0.99388 | -0.20521 | 0 | 0
111 | 0.99302 | -0.24558 | 0 | 0
112 | 0.99304 | -0.24534 | 0.14469 | 0.070074
113 | 0.9946 | -0.18946 | 0 | 0
114 | 0.99459 | -0.18969 | 0.19254 | 0.093251
115 | 0.99367 | -0.21034 | 0.29694 | 0.14381
116 | 0.99402 | -0.20121 | 0.37058 | 0.17948
117 | 0.99404 | -0.20075 | 0 | 0
118 | 0.99386 | -0.20668 | 0 | 0
119 | 0.99423 | -0.19719 | 0 | 0
120 | 0.99427 | -0.19627 | 0.069384 | 0.033604
121 | 0.99431 | -0.19554 | 0 | 0
122 | 0.99419 | -0.19809 | 0 | 0
123 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.33995 | -0.16465 | 0.33999 | 0.16246 | 3.862e-05 | -0.002188 | 0.011049 | 0.011021 | 0.011049 | 0.98687 | -0.43328 | 0.98702 | -0.42817 | 1.3475
1 | 0.20171 | 0.097572 | -0.2017 | -0.097688 | 7.9814e-06 | -0.00011628 | 0.0065534 | 0.0065549 | 0.0065549 | 0.98702 | -0.42817 | 0.98698 | -0.42843 | 3.1214
2 | -0.5417 | -0.26003 | 0.54171 | 0.24557 | 1.0872e-05 | -0.014457 | 0.017574 | 0.017395 | 0.017574 | 0.98702 | -0.42817 | 0.98704 | -0.42774 | 2.0872
3 | 0.087271 | 0.040035 | -0.08727 | -0.04212 | 9.5272e-07 | -0.0020857 | 0.0028081 | 0.0028341 | 0.0028341 | 0.98704 | -0.42774 | 0.98703 | -0.42765 | 1.2882
4 | -0.62898 | -0.28561 | 0.62899 | 0.27916 | 6.4528e-06 | -0.0064494 | 0.020203 | 0.020126 | 0.020203 | 0.98704 | -0.42774 | 0.98705 | -0.42751 | 2.3994
5 | 14.5341 | 6.3117 | -14.5332 | -6.3126 | 0.00083619 | -0.00090074 | 0.45742 | 0.45744 | 0.45744 | 1 | 0 | 0.99993 | -0.0013415 | 54.3273
6 | 14.3126 | 6.2057 | -14.2591 | -6.1301 | 0.053537 | 0.075604 | 0.45037 | 0.45039 | 0.45039 | 0.99993 | -0.0013415 | 0.99481 | -0.18523 | 54.9253
7 | 6.6288 | 2.7923 | -6.6278 | -2.8006 | 0.00096844 | -0.0082897 | 0.20872 | 0.20883 | 0.20883 | 0.99481 | -0.18523 | 0.99464 | -0.18876 | 24.8013
8 | 7.3506 | 3.2023 | -7.3493 | -3.2109 | 0.0012764 | -0.008564 | 0.23266 | 0.23278 | 0.23278 | 0.99481 | -0.18523 | 0.99461 | -0.18926 | 27.6457
9 | 6.6278 | 2.8006 | -6.6259 | -2.8166 | 0.0018716 | -0.015985 | 0.20883 | 0.20903 | 0.20903 | 0.99464 | -0.18876 | 0.99431 | -0.19554 | 24.8252
10 | 7.1568 | 3.1368 | -7.1485 | -3.126 | 0.0082603 | 0.010807 | 0.22679 | 0.22681 | 0.22681 | 0.99461 | -0.18926 | 0.99304 | -0.24534 | 27.6595
11 | 0.19254 | 0.074108 | -0.19254 | -0.093071 | 1.7043e-06 | -0.018964 | 0.005988 | 0.006207 | 0.006207 | 0.99461 | -0.18926 | 0.9946 | -0.18946 | 0.73717
12 | 0.3829 | 0.17692 | -0.3829 | -0.17701 | 1.8969e-06 | -8.7697e-05 | 0.012259 | 0.01226 | 0.01226 | 0.99327 | -0.22064 | 0.99326 | -0.22087 | 1.4951
13 | -0.55537 | -0.26045 | 0.55538 | 0.26017 | 1.342e-05 | -0.00028323 | 0.017828 | 0.017824 | 0.017828 | 0.99327 | -0.22064 | 0.9933 | -0.21953 | 2.1741
14 | 0.3829 | 0.17701 | -0.38283 | -0.18526 | 7.1061e-05 | -0.0082505 | 0.01226 | 0.012363 | 0.012363 | 0.99326 | -0.22087 | 0.99309 | -0.21934 | 5.6194
15 | -0.77481 | -0.36644 | 0.77482 | 0.35444 | 1.7995e-05 | -0.012002 | 0.024909 | 0.024762 | 0.024909 | 0.9933 | -0.21953 | 0.99333 | -0.21903 | 2.9583
16 | 0.38283 | 0.18526 | -0.38283 | -0.18541 | 1.2987e-06 | -0.00014947 | 0.012363 | 0.012365 | 0.012365 | 0.99309 | -0.21934 | 0.99309 | -0.21931 | 5.6203
17 | -0.77482 | -0.35444 | 0.77484 | 0.34557 | 1.3158e-05 | -0.0088669 | 0.024762 | 0.024655 | 0.024762 | 0.99333 | -0.21903 | 0.99335 | -0.21866 | 2.9408
18 | 1.1633 | 0.51403 | -1.1632 | -0.53343 | 6.4882e-05 | -0.019395 | 0.036955 | 0.037187 | 0.037187 | 0.99347 | -0.21554 | 0.9934 | -0.21678 | 4.4165
19 | -1.402 | -0.62764 | 1.4021 | 0.6022 | 0.00012267 | -0.025436 | 0.044634 | 0.044336 | 0.044634 | 0.99347 | -0.21554 | 0.99357 | -0.21353 | 5.301
20 | 0.23873 | 0.11361 | -0.23873 | -0.11562 | 6.7556e-06 | -0.0020118 | 0.0076823 | 0.0077077 | 0.0077077 | 0.99347 | -0.21554 | 0.99344 | -0.2153 | 3.5035
21 | 1.1632 | 0.53343 | -1.1632 | -0.53354 | 3.0853e-05 | -0.00011524 | 0.037187 | 0.037189 | 0.037189 | 0.9934 | -0.21678 | 0.99337 | -0.21803 | 4.5352
22 | 0.30337 | 0.1403 | -0.30333 | -0.14682 | 3.5171e-05 | -0.0065192 | 0.0097111 | 0.0097922 | 0.0097922 | 0.99357 | -0.21353 | 0.99346 | -0.21257 | 4.451
23 | 0.36918 | 0.17832 | -0.36918 | -0.1788 | 3.8709e-06 | -0.00048024 | 0.011912 | 0.011918 | 0.011918 | 0.99357 | -0.21353 | 0.99356 | -0.21343 | 5.4173
24 | -2.0747 | -0.92082 | 2.0748 | 0.91324 | 8.0664e-05 | -0.0075809 | 0.065949 | 0.065859 | 0.065949 | 0.99357 | -0.21353 | 0.99361 | -0.21264 | 7.8324
25 | 0.77485 | 0.34547 | -0.77484 | -0.34557 | 1.0227e-05 | -0.00010578 | 0.024654 | 0.024655 | 0.024655 | 0.99337 | -0.21803 | 0.99335 | -0.21866 | 3.0068
26 | 0.80783 | 0.37086 | -0.80783 | -0.37414 | 5.3259e-06 | -0.0032816 | 0.025825 | 0.025865 | 0.025865 | 0.99361 | -0.21264 | 0.99361 | -0.21278 | 3.0719
27 | -2.8826 | -1.2841 | 2.8828 | 1.2842 | 0.00016646 | 9.8978e-05 | 0.091682 | 0.09168 | 0.091682 | 0.99361 | -0.21264 | 0.99369 | -0.20987 | 11.1807
28 | 0.49964 | 0.22498 | -0.49963 | -0.24059 | 9.7187e-06 | -0.015611 | 0.01592 | 0.016111 | 0.016111 | 0.99361 | -0.21278 | 0.99358 | -0.21319 | 1.9135
29 | 0.30819 | 0.14916 | -0.30819 | -0.14926 | 1.4388e-06 | -0.00010217 | 0.0099475 | 0.0099489 | 0.0099489 | 0.99361 | -0.21278 | 0.9936 | -0.21299 | 1.2133
30 | -3.179 | -1.4277 | 3.179 | 1.4275 | 3.3197e-06 | -0.00013049 | 0.10124 | 0.10124 | 0.10124 | 0.99369 | -0.20987 | 0.99369 | -0.20985 | 12.0234
31 | 0.30333 | 0.14682 | -0.30333 | -0.14691 | 5.1801e-07 | -9.519e-05 | 0.0097922 | 0.0097934 | 0.0097934 | 0.99346 | -0.21257 | 0.99346 | -0.21255 | 4.4516
32 | 0.084291 | 0.039667 | -0.084291 | -0.040824 | 4.8273e-07 | -0.0011571 | 0.0027066 | 0.0027211 | 0.0027211 | 0.99358 | -0.21319 | 0.99358 | -0.21315 | 1.2369
33 | 0.41534 | 0.20092 | -0.41533 | -0.20115 | 5.9697e-06 | -0.00022952 | 0.013405 | 0.013408 | 0.013408 | 0.99358 | -0.21319 | 0.99356 | -0.21384 | 1.6351
34 | -3.179 | -1.4275 | 3.1791 | 1.4238 | 9.5349e-05 | -0.0037498 | 0.10124 | 0.10119 | 0.10124 | 0.99369 | -0.20985 | 0.99373 | -0.20918 | 12.0232
35 | -3.3648 | -1.5135 | 3.3649 | 1.5095 | 0.00011425 | -0.0039975 | 0.10718 | 0.10713 | 0.10718 | 0.99373 | -0.20918 | 0.99377 | -0.20842 | 12.7293
36 | 0.18574 | 0.089762 | -0.18574 | -0.089958 | 9.8963e-07 | -0.00019613 | 0.0059927 | 0.0059952 | 0.0059952 | 0.99373 | -0.20918 | 0.99372 | -0.20941 | 0.73113
37 | -3.4365 | -1.5442 | 3.4366 | 1.5431 | 3.4709e-05 | -0.0011631 | 0.10944 | 0.10943 | 0.10944 | 0.99377 | -0.20842 | 0.99378 | -0.20819 | 12.9978
38 | -0.26307 | -0.12741 | 0.26308 | 0.1252 | 9.0058e-06 | -0.0022104 | 0.0084915 | 0.0084637 | 0.0084915 | 0.99371 | -0.20772 | 0.99375 | -0.20802 | 3.8598
39 | -0.51266 | -0.20381 | 0.51267 | 0.18443 | 1.1921e-05 | -0.019372 | 0.016026 | 0.015827 | 0.016026 | 0.99375 | -0.20802 | 0.99377 | -0.20739 | 1.9033
40 | 0.24958 | 0.078603 | -0.24957 | -0.11866 | 1.2125e-05 | -0.040054 | 0.0076011 | 0.0080278 | 0.0080278 | 0.99375 | -0.20802 | 0.99369 | -0.20842 | 1.2583
41 | -0.89815 | -0.36392 | 0.89826 | 0.30595 | 0.00010917 | -0.057965 | 0.02815 | 0.027561 | 0.02815 | 0.99377 | -0.20739 | 0.99391 | -0.20405 | 3.3432
42 | 0.38548 | 0.17948 | -0.38547 | -0.18669 | 2.6878e-06 | -0.0072094 | 0.012352 | 0.012442 | 0.012442 | 0.99377 | -0.20739 | 0.99376 | -0.20753 | 1.4776
43 | 0.24957 | 0.11866 | -0.24956 | -0.12087 | 8.099e-06 | -0.0022092 | 0.0080278 | 0.0080556 | 0.0080556 | 0.99369 | -0.20842 | 0.99366 | -0.20814 | 3.6616
44 | 1.7475 | 0.79115 | -1.7475 | -0.79138 | 1.7997e-06 | -0.00023746 | 0.055715 | 0.055718 | 0.055718 | 0.99391 | -0.20405 | 0.99391 | -0.20408 | 6.6173
45 | -2.6458 | -1.0971 | 2.6463 | 1.067 | 0.00051133 | -0.030136 | 0.08319 | 0.082853 | 0.08319 | 0.99391 | -0.20405 | 0.99414 | -0.19923 | 9.88
46 | -2.6463 | -1.067 | 2.6463 | 1.0645 | 4.2218e-05 | -0.0024998 | 0.082853 | 0.082826 | 0.082853 | 0.99414 | -0.19923 | 0.99416 | -0.19882 | 9.84
47 | -2.7475 | -1.1134 | 2.7475 | 1.1091 | 7.883e-05 | -0.0043201 | 0.086081 | 0.086033 | 0.086081 | 0.99416 | -0.19882 | 0.99419 | -0.19809 | 10.2234
48 | 1.4025 | 0.62428 | -1.4025 | -0.62435 | 3.3156e-05 | -7.1651e-05 | 0.044588 | 0.04459 | 0.04459 | 0.99391 | -0.20408 | 0.99388 | -0.20521 | 5.4377
49 | -3.4366 | -1.5431 | 3.4368 | 1.5353 | 0.00023149 | -0.0077662 | 0.10943 | 0.10933 | 0.10943 | 0.99378 | -0.20819 | 0.99386 | -0.20668 | 12.9961
50 | -3.104 | -1.3718 | 3.104 | 1.3714 | 8.355e-06 | -0.00033808 | 0.099198 | 0.099194 | 0.099198 | 0.98756 | -0.41363 | 0.98757 | -0.41357 | 11.7812
51 | 2.8123 | 1.2305 | -2.8122 | -1.235 | 9.0061e-05 | -0.004469 | 0.089731 | 0.089784 | 0.089784 | 0.98756 | -0.41363 | 0.98752 | -0.41437 | 10.6632
52 | -3.104 | -1.3714 | 3.1043 | 1.3575 | 0.00034317 | -0.013912 | 0.099194 | 0.099026 | 0.099194 | 0.98757 | -0.41357 | 0.98769 | -0.41103 | 11.7807
53 | 0.18927 | 0.087143 | -0.18927 | -0.090191 | 6.5272e-06 | -0.0030476 | 0.0060911 | 0.0061289 | 0.0061289 | 0.98752 | -0.41437 | 0.98749 | -0.41409 | 2.7859
54 | 2.6229 | 1.1478 | -2.6227 | -1.1477 | 0.00027016 | 0.000118 | 0.083694 | 0.083697 | 0.083697 | 0.98752 | -0.41437 | 0.98739 | -0.41937 | 10.207
55 | 2.007 | 0.91276 | -2.007 | -0.92036 | 7.8365e-05 | -0.0076025 | 0.064442 | 0.064535 | 0.064535 | 0.98769 | -0.41103 | 0.98765 | -0.41188 | 7.6645
56 | -5.1114 | -2.2703 | 5.1138 | 2.2348 | 0.0024678 | -0.035475 | 0.16346 | 0.16302 | 0.16346 | 0.98769 | -0.41103 | 0.98825 | -0.39997 | 19.4138
57 | 0.18927 | 0.090191 | -0.18926 | -0.091664 | 3.1841e-06 | -0.0014729 | 0.0061289 | 0.0061476 | 0.0061476 | 0.98749 | -0.41409 | 0.98748 | -0.41395 | 2.7943
58 | 2.2083 | 0.94703 | -2.2083 | -0.94749 | 5.7215e-06 | -0.00046663 | 0.070249 | 0.070254 | 0.070254 | 0.98739 | -0.41937 | 0.98738 | -0.41943 | 8.3437
59 | 1.656 | 0.75039 | -1.656 | -0.7554 | 3.5019e-05 | -0.0050123 | 0.05314 | 0.053201 | 0.053201 | 0.98765 | -0.41188 | 0.98762 | -0.41235 | 6.3185
60 | 0.91706 | 0.38248 | -0.91698 | -0.41774 | 7.4014e-05 | -0.035259 | 0.029024 | 0.029437 | 0.029437 | 0.98825 | -0.39997 | 0.98816 | -0.40184 | 3.4961
61 | 0.21018 | 0.10171 | -0.21018 | -0.10179 | 2.3587e-07 | -8.847e-05 | 0.0068205 | 0.0068217 | 0.0068217 | 0.98825 | -0.39997 | 0.98825 | -0.39996 | 3.1008
62 | -6.2411 | -2.719 | 6.2416 | 2.7135 | 0.00058118 | -0.0054622 | 0.19885 | 0.19879 | 0.19885 | 0.98825 | -0.39997 | 0.98836 | -0.39781 | 23.617
63 | 2.2081 | 0.95156 | -2.208 | -0.95465 | 3.7943e-05 | -0.0030874 | 0.070304 | 0.07034 | 0.07034 | 0.98727 | -0.42327 | 0.98725 | -0.42367 | 8.3539
64 | -2.2081 | -0.95156 | 2.2082 | 0.95156 | 0.00014841 | 2.2683e-06 | 0.070304 | 0.070301 | 0.070304 | 0.98727 | -0.42327 | 0.98736 | -0.41997 | 8.5737
65 | 1.8209 | 0.76715 | -1.8209 | -0.7675 | 2.8603e-06 | -0.00034603 | 0.057777 | 0.057781 | 0.057781 | 0.98725 | -0.42367 | 0.98724 | -0.42371 | 6.8623
66 | -2.2082 | -0.95156 | 2.2083 | 0.94749 | 4.9955e-05 | -0.004071 | 0.070301 | 0.070254 | 0.070301 | 0.98736 | -0.41997 | 0.98738 | -0.41943 | 8.3493
67 | 1.656 | 0.7554 | -1.6559 | -0.77103 | 0.00010972 | -0.015627 | 0.053201 | 0.053394 | 0.053394 | 0.98762 | -0.41235 | 0.98755 | -0.41378 | 6.3413
68 | 0.23984 | 0.11485 | -0.23984 | -0.11616 | 4.5194e-06 | -0.0013037 | 0.0077685 | 0.007785 | 0.007785 | 0.98816 | -0.40184 | 0.98814 | -0.40168 | 3.5387
69 | 0.67714 | 0.30289 | -0.67703 | -0.30437 | 0.00010868 | -0.0014822 | 0.02167 | 0.02169 | 0.02169 | 0.98816 | -0.40184 | 0.98794 | -0.4095 | 2.6451
70 | -6.2416 | -2.7135 | 6.2418 | 2.7119 | 0.00017198 | -0.0016174 | 0.19879 | 0.19876 | 0.19879 | 0.98836 | -0.39781 | 0.98839 | -0.39716 | 23.6087
71 | 0.41752 | 0.17868 | -0.41751 | -0.18297 | 1.8598e-06 | -0.0042862 | 0.01327 | 0.01332 | 0.01332 | 0.98794 | -0.4095 | 0.98794 | -0.4096 | 1.5819
72 | 1.8209 | 0.7675 | -1.8207 | -0.786 | 0.00015349 | -0.018497 | 0.057781 | 0.057994 | 0.057994 | 0.98724 | -0.42371 | 0.98715 | -0.42572 | 6.8877
73 | -0.92362 | -0.42185 | 0.92363 | 0.41463 | 1.5643e-05 | -0.0072223 | 0.029696 | 0.029609 | 0.029696 | 0.98705 | -0.42751 | 0.98707 | -0.42714 | 3.5269
74 | -0.92363 | -0.41463 | 0.92366 | 0.40029 | 3.0797e-05 | -0.014345 | 0.029609 | 0.029439 | 0.029609 | 0.98707 | -0.42714 | 0.98711 | -0.42637 | 3.5165
75 | 0.08727 | 0.04212 | -0.087268 | -0.042266 | 1.8047e-06 | -0.00014544 | 0.0028341 | 0.002836 | 0.002836 | 0.98703 | -0.42765 | 0.98701 | -0.42779 | 1.3505
76 | -1.0232 | -0.44837 | 1.0232 | 0.43746 | 2.8579e-05 | -0.010911 | 0.032669 | 0.032542 | 0.032669 | 0.98711 | -0.42637 | 0.98715 | -0.42572 | 3.8799
77 | 0.099497 | 0.048083 | -0.099497 | -0.048188 | 6.3487e-08 | -0.0001059 | 0.0032317 | 0.003233 | 0.003233 | 0.98711 | -0.42637 | 0.98711 | -0.42637 | 1.4696
78 | 0.70589 | 0.30445 | -0.70587 | -0.3241 | 2.4689e-05 | -0.019649 | 0.022481 | 0.022715 | 0.022715 | 0.98715 | -0.42572 | 0.9871 | -0.42651 | 2.6977
79 | 0.09167 | 0.04409 | -0.09167 | -0.044398 | 1.565e-07 | -0.00030777 | 0.0029747 | 0.0029786 | 0.0029786 | 0.98715 | -0.42572 | 0.98714 | -0.42571 | 1.3539
80 | 0.25662 | 0.11553 | -0.25659 | -0.12421 | 3.4201e-05 | -0.008675 | 0.0082304 | 0.0083379 | 0.0083379 | 0.9871 | -0.42651 | 0.98698 | -0.42544 | 3.7899
81 | 0.44924 | 0.20856 | -0.44924 | -0.21674 | 4.2518e-06 | -0.0081825 | 0.014485 | 0.014587 | 0.014587 | 0.9871 | -0.42651 | 0.98709 | -0.42671 | 1.7324
82 | 0.25659 | 0.12421 | -0.25658 | -0.12427 | 6.7414e-06 | -5.9062e-05 | 0.0083379 | 0.0083387 | 0.0083387 | 0.98698 | -0.42544 | 0.98695 | -0.42562 | 3.9708
83 | 0.23441 | 0.1127 | -0.2344 | -0.11353 | 6.8662e-06 | -0.00082874 | 0.0076063 | 0.007617 | 0.007617 | 0.98709 | -0.42671 | 0.98705 | -0.42802 | 0.9289
84 | -0.39829 | -0.1929 | 0.39831 | 0.19222 | 1.6762e-05 | -0.00068562 | 0.012937 | 0.012928 | 0.012937 | 0.98749 | -0.41567 | 0.98755 | -0.41378 | 1.5777
85 | 1.2576 | 0.57881 | -1.257 | -0.58044 | 0.00056821 | -0.0016318 | 0.040467 | 0.040497 | 0.040497 | 0.98755 | -0.41378 | 0.98693 | -0.43485 | 4.9387
86 | 0.6876 | 0.30958 | -0.68759 | -0.30964 | 4.1812e-06 | -5.4749e-05 | 0.022057 | 0.022057 | 0.022057 | 0.98693 | -0.43485 | 0.98693 | -0.43514 | 2.6899
87 | 0.31751 | 0.14886 | -0.31749 | -0.14894 | 1.3526e-05 | -7.5425e-05 | 0.010257 | 0.010258 | 0.010258 | 0.98693 | -0.43485 | 0.98689 | -0.43517 | 4.8848
88 | 0.16025 | 0.077237 | -0.16024 | -0.07761 | 5.777e-07 | -0.00037264 | 0.0051982 | 0.0052029 | 0.0052029 | 0.98788 | -0.41114 | 0.98788 | -0.41111 | 2.365
89 | -0.16025 | -0.077237 | 0.16025 | 0.076188 | 4.013e-06 | -0.0010497 | 0.0051982 | 0.0051849 | 0.0051982 | 0.98788 | -0.41114 | 0.98792 | -0.41001 | 0.63392
90 | 0.25726 | 0.12454 | -0.25726 | -0.12459 | 2.3406e-07 | -5.8513e-05 | 0.0083517 | 0.0083524 | 0.0083524 | 0.98792 | -0.41001 | 0.98792 | -0.41 | 3.7966
91 | -0.41751 | -0.20072 | 0.41751 | 0.18297 | 7.8588e-06 | -0.017758 | 0.013536 | 0.01332 | 0.013536 | 0.98792 | -0.41001 | 0.98794 | -0.4096 | 1.6077
92 | -0.45669 | -0.20908 | 0.45669 | 0.20702 | 1.0926e-06 | -0.0020608 | 0.014692 | 0.014667 | 0.014692 | 0.9869 | -0.43554 | 0.98691 | -0.43549 | 1.7449
93 | 0.22962 | 0.099106 | -0.22962 | -0.10912 | 1.3392e-06 | -0.010012 | 0.0073154 | 0.0074363 | 0.0074363 | 0.9869 | -0.43554 | 0.9869 | -0.43567 | 0.88318
94 | 0.23089 | 0.11162 | -0.23089 | -0.11183 | 6.6629e-07 | -0.00020598 | 0.0075016 | 0.0075042 | 0.0075042 | 0.98691 | -0.43549 | 0.9869 | -0.43546 | 3.411
95 | -0.68758 | -0.31864 | 0.68759 | 0.30964 | 1.0836e-05 | -0.0090023 | 0.022167 | 0.022057 | 0.022167 | 0.98691 | -0.43549 | 0.98693 | -0.43514 | 2.6326
96 | 0.22962 | 0.10912 | -0.2296 | -0.1112 | 1.6537e-05 | -0.0020838 | 0.0074363 | 0.007463 | 0.007463 | 0.9869 | -0.43567 | 0.9868 | -0.43892 | 0.91012
97 | 0.31749 | 0.14894 | -0.31746 | -0.15368 | 2.8853e-05 | -0.0047397 | 0.010258 | 0.010318 | 0.010318 | 0.98689 | -0.43517 | 0.98681 | -0.43441 | 4.6899
98 | 0.31746 | 0.15368 | -0.31746 | -0.15375 | 4.7199e-07 | -7.7074e-05 | 0.010318 | 0.010319 | 0.010319 | 0.98681 | -0.43441 | 0.9868 | -0.43439 | 4.6904
99 | 6.618 | 2.8993 | -6.6115 | -2.891 | 0.0064433 | 0.0082979 | 0.21074 | 0.21075 | 0.21075 | 0.98972 | -0.34985 | 0.98839 | -0.39716 | 25.7015
100 | -6.8568 | -3.0149 | 6.8692 | 3.0311 | 0.012448 | 0.016162 | 0.21847 | 0.21845 | 0.21847 | 0.98972 | -0.34985 | 0.99218 | -0.26218 | 26.6433
101 | -6.9987 | -3.0938 | 7.0012 | 3.0757 | 0.0024471 | -0.018075 | 0.22264 | 0.2224 | 0.22264 | 0.99218 | -0.26218 | 0.99259 | -0.25417 | 26.4414
102 | -7.0012 | -3.0757 | 7.0038 | 3.0564 | 0.0026062 | -0.019316 | 0.2224 | 0.22215 | 0.2224 | 0.99259 | -0.25417 | 0.99302 | -0.24558 | 26.4131
103 | -0.093011 | -0.045047 | 0.093011 | 0.044849 | 2.4947e-07 | -0.00019824 | 0.0030025 | 0.003 | 0.0030025 | 0.9936 | -0.21288 | 0.99361 | -0.21276 | 0.36616
104 | 0.12166 | 0.049318 | -0.12165 | -0.05892 | 3.4863e-07 | -0.0096024 | 0.0038139 | 0.0039272 | 0.0039272 | 0.99361 | -0.21276 | 0.9936 | -0.21282 | 0.46641
105 | -0.21467 | -0.094167 | 0.21468 | 0.092103 | 1.3424e-05 | -0.0020636 | 0.0068104 | 0.0067863 | 0.0068104 | 0.99361 | -0.21276 | 0.99369 | -0.2097 | 0.83054
106 | 0.30824 | 0.14909 | -0.30824 | -0.14929 | 2.7243e-06 | -0.00019347 | 0.0099472 | 0.0099497 | 0.0099497 | 0.99369 | -0.2097 | 0.99368 | -0.21009 | 1.2134
107 | 0.29694 | 0.14349 | -0.29694 | -0.14375 | 3.3543e-06 | -0.00025714 | 0.0095807 | 0.009584 | 0.009584 | 0.99369 | -0.2097 | 0.99368 | -0.21021 | 1.1688
108 | -0.81986 | -0.38469 | 0.8199 | 0.38434 | 3.8972e-05 | -0.00034749 | 0.026309 | 0.026304 | 0.026309 | 0.99369 | -0.2097 | 0.99376 | -0.20751 | 3.2084
109 | 0.29694 | 0.14375 | -0.29694 | -0.14381 | 8.7604e-07 | -6.7126e-05 | 0.009584 | 0.0095849 | 0.0095849 | 0.99368 | -0.21021 | 0.99367 | -0.21034 | 1.1689
110 | -1.0786 | -0.50962 | 1.0786 | 0.50534 | 1.2476e-05 | -0.004279 | 0.034652 | 0.034599 | 0.034652 | 0.99376 | -0.20751 | 0.99377 | -0.20727 | 4.1155
111 | -0.32376 | -0.1568 | 0.32376 | 0.15104 | 1.5175e-06 | -0.0057683 | 0.01045 | 0.010378 | 0.01045 | 0.99376 | -0.20746 | 0.99377 | -0.20736 | 1.2411
112 | -0.32376 | -0.15104 | 0.32376 | 0.14596 | 1.3197e-06 | -0.0050813 | 0.010378 | 0.010316 | 0.010378 | 0.99377 | -0.20736 | 0.99377 | -0.20727 | 1.2325
113 | -1.4023 | -0.65129 | 1.4025 | 0.62435 | 0.00013141 | -0.026939 | 0.044915 | 0.04459 | 0.044915 | 0.99377 | -0.20727 | 0.99388 | -0.20521 | 5.3343
114 | -7.0038 | -3.0564 | 7.0039 | 3.0559 | 7.1865e-05 | -0.0005336 | 0.22215 | 0.22214 | 0.22215 | 0.99302 | -0.24558 | 0.99304 | -0.24534 | 26.383
115 | 0.19254 | 0.093071 | -0.19254 | -0.093251 | 9.7007e-07 | -0.00017944 | 0.006207 | 0.0062093 | 0.0062093 | 0.9946 | -0.18946 | 0.99459 | -0.18969 | 0.75723
116 | -3.8078 | -1.7151 | 3.8078 | 1.713 | 7.8786e-05 | -0.0021377 | 0.12128 | 0.12126 | 0.12128 | 0.99402 | -0.20121 | 0.99404 | -0.20075 | 14.4041
117 | 3.4372 | 1.5356 | -3.4368 | -1.5353 | 0.00039288 | 0.00033297 | 0.10933 | 0.10933 | 0.10933 | 0.99402 | -0.20121 | 0.99386 | -0.20668 | 13.3332
118 | -3.8078 | -1.713 | 3.8084 | 1.6965 | 0.00060424 | -0.016431 | 0.12126 | 0.12105 | 0.12126 | 0.99404 | -0.20075 | 0.99423 | -0.19719 | 14.4009
119 | -3.8084 | -1.6965 | 3.8086 | 1.6923 | 0.00015488 | -0.0042216 | 0.12105 | 0.121 | 0.12105 | 0.99423 | -0.19719 | 0.99427 | -0.19627 | 14.377
120 | -3.878 | -1.7259 | 3.8781 | 1.7226 | 0.00012578 | -0.0033039 | 0.12324 | 0.1232 | 0.12324 | 0.99427 | -0.19627 | 0.99431 | -0.19554 | 14.6366
121 | 2.7478 | 1.094 | -2.7475 | -1.1091 | 0.0002754 | -0.015133 | 0.085867 | 0.086033 | 0.086033 | 0.99431 | -0.19554 | 0.99419 | -0.19809 | 10.2177

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.5481 | 6.3222

## res_load
| p_mw | q_mvar
0 | 0.33995 | 0.16465
1 | 0.2017 | 0.097688
2 | 0.22059 | 0.10684
3 | 0.27969 | 0.13546
4 | 0.17246 | 0.083528
5 | 0.21943 | 0.10627
6 | 0.38283 | 0.18541
7 | 0.23873 | 0.11562
8 | 0.38833 | 0.18807
9 | 0.29622 | 0.14347
10 | 0.36918 | 0.1788
11 | 0.30333 | 0.14691
12 | 0.30819 | 0.14926
13 | 0.071597 | 0.034676
14 | 0.18574 | 0.089958
15 | 0.084291 | 0.040824
16 | 0.41533 | 0.20115
17 | 0.26307 | 0.12741
18 | 0.38547 | 0.18669
19 | 0.24956 | 0.12087
20 | 0.10112 | 0.048977
21 | 0.34502 | 0.1671
22 | 0.29167 | 0.14126
23 | 0.41437 | 0.20069
24 | 0.35095 | 0.16997
25 | 0.18926 | 0.091664
26 | 0.38713 | 0.1875
27 | 0.21018 | 0.10179
28 | 0.23984 | 0.11616
29 | 0.25952 | 0.12569
30 | 0.29463 | 0.14269
31 | 0.087268 | 0.042266
32 | 0.099497 | 0.048188
33 | 0.09167 | 0.044398
34 | 0.21483 | 0.10405
35 | 0.39829 | 0.1929
36 | 0.25189 | 0.122
37 | 0.16024 | 0.07761
38 | 0.22707 | 0.10997
39 | 0.23089 | 0.11183
40 | 0.2296 | 0.1112
41 | 0.25726 | 0.12459
42 | 0.25658 | 0.12427
43 | 0.2344 | 0.11353
44 | 0.31746 | 0.15375
45 | 0.23883 | 0.11567
46 | 0.3697 | 0.17906
47 | 0.1295 | 0.062718
48 | 0.093011 | 0.045047
49 | 0.12165 | 0.05892
50 | 0.30824 | 0.14929
51 | 0.25867 | 0.12528
52 | 0.32376 | 0.1568
53 | 0.14469 | 0.070074
54 | 0.19254 | 0.093251
55 | 0.29694 | 0.14381
56 | 0.37058 | 0.17948
57 | 0.069384 | 0.033604

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1